## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-541_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-541_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-541_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-541_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-541_0_4_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_261-541_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-541_0_4_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_261-541_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-541_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-541_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-541_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-541_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-541_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-541_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_261-541_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-541_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_261-541_0_4_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_261-541_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_261-541_0_4_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_261-541_0_4_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_261-541_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-541_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_261-541_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_261-541_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_261-541_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-541_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_261-541_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-541_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_261-541_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_261-541_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_261-541_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_261-541_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_261-541_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_261-541_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_261-541_0_4_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_261-541_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_261-541_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_261-541_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_261-541_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_261-541_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_261-541_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_261-541_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_261-541_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_261-541_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_261-541_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_261-541_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_261-541_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_261-541_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_261-541_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_261-541_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_261-541_0_4_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_261-541_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_261-541_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_261-541_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_261-541_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_261-541_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_261-541_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_261-541_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_261-541_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_261-541_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_261-541_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_261-541_0_4_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_261-541_0_4_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_261-541_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_261-541_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_261-541_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_261-541_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_261-541_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_261-541_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_261-541_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_261-541_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_261-541_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_261-541_0_4_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_261-541_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_261-541_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_261-541_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_261-541_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_261-541_0_4_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_261-541_0_4_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_261-541_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_261-541_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_261-541_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_261-541_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_261-541_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_261-541_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_261-541_0_4_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_261-541_0_4_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_261-541_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_261-541_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_261-541_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_261-541_0_4_node_90 | 0.4 | n |  | TRUE
91 | bus_MV_546_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-541_0_4_load_0 | 0 | 0.0010227 | 0.00025632 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-541_0_4_load_1 | 1 | 0.0014756 | 0.00036982 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-541_0_4_load_2 | 2 | 0.0053165 | 0.0013324 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-541_0_4_load_3 | 3 | 0.0016747 | 0.00041971 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-541_0_4_load_55 | 6 | 0.0045713 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-541_0_4_load_6 | 8 | 0.0010361 | 0.00025967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-541_0_4_load_7 | 9 | 0.0011112 | 0.00027849 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-541_0_4_load_8 | 10 | 0.0016411 | 0.0004113 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-541_0_4_load_9 | 11 | 0.0017727 | 0.00044429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-541_0_4_load_13 | 14 | 0.0011737 | 0.00029416 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-541_0_4_load_54 | 16 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-541_0_4_load_15 | 17 | 0.0011002 | 0.00027575 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-541_0_4_load_69 | 18 | 0.0022866 | 0.00057308 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-541_0_4_load_91 | 19 | 0.0027644 | 0.00069282 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-541_0_4_load_16 | 20 | 0.0017999 | 0.00045111 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-541_0_4_load_49 | 21 | 0.0022043 | 0.00055245 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-541_0_4_load_40 | 22 | 0.0014075 | 0.00035275 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-541_0_4_load_17 | 23 | 0.0011177 | 0.00028013 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-541_0_4_load_18 | 24 | 0.0011349 | 0.00028443 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-541_0_4_load_34 | 25 | 0.001128 | 0.0002827 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-541_0_4_load_19 | 26 | 0.0016668 | 0.00041775 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-541_0_4_load_20 | 27 | 0.0016651 | 0.00041731 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-541_0_4_load_22 | 29 | 0.0032396 | 0.00081193 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-541_0_4_load_23 | 30 | 0.004085 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-541_0_4_load_24 | 31 | 0.0026724 | 0.00066978 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-541_0_4_load_25 | 32 | 0.0016668 | 0.00041775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-541_0_4_load_27 | 36 | 0.001673 | 0.0004193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-541_0_4_load_51 | 37 | 0.0032686 | 0.00081919 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-541_0_4_load_33 | 39 | 0.0026946 | 0.00067533 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-541_0_4_load_28 | 40 | 0.0016346 | 0.00040968 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-541_0_4_load_29 | 41 | 0.0039233 | 0.00098327 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-541_0_4_load_32 | 42 | 0.0016589 | 0.00041577 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-541_0_4_load_36 | 44 | 0.0062171 | 0.0015581 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-541_0_4_load_37 | 45 | 0.0026342 | 0.0006602 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-541_0_4_load_38 | 46 | 0.0008642 | 0.00021659 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-541_0_4_load_39 | 47 | 0.0034684 | 0.00086928 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-541_0_4_load_58 | 49 | 0.0019219 | 0.00048168 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-541_0_4_load_59 | 50 | 0.0016367 | 0.00041019 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-541_0_4_load_41 | 51 | 0.0077571 | 0.0019441 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-541_0_4_load_42 | 52 | 0.0019324 | 0.00048431 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-541_0_4_load_43 | 53 | 0.0032836 | 0.00082296 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-541_0_4_load_44 | 54 | 0.0019324 | 0.00048431 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-541_0_4_load_47 | 57 | 0.0010116 | 0.00025352 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-541_0_4_load_48 | 58 | 0.00083795 | 0.00021001 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-541_0_4_load_68 | 59 | 0.0065975 | 0.0016535 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-541_0_4_load_73 | 60 | 0.0010128 | 0.00025384 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-541_0_4_load_87 | 61 | 0.00081363 | 0.00020392 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-541_0_4_load_86 | 62 | 0.00067565 | 0.00016933 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-541_0_4_load_64 | 64 | 0.0021612 | 0.00054164 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-541_0_4_load_60 | 65 | 0.0021725 | 0.00054448 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-541_0_4_load_65 | 66 | 0.0024637 | 0.00061746 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-541_0_4_load_66 | 67 | 0.0021908 | 0.00054906 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-541_0_4_load_61 | 68 | 0.0017452 | 0.0004374 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-541_0_4_load_62 | 71 | 0.010998 | 0.0027564 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-541_0_4_load_94 | 72 | 0.0028773 | 0.00072111 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-541_0_4_load_70 | 73 | 0.0018843 | 0.00047226 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-541_0_4_load_71 | 75 | 0.0018836 | 0.00047207 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-541_0_4_load_76 | 76 | 0.00059019 | 0.00014791 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-541_0_4_load_82 | 78 | 0.00080026 | 0.00020056 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-541_0_4_load_83 | 79 | 0.00071375 | 0.00017888 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-541_0_4_load_84 | 80 | 0.00068431 | 0.0001715 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-541_0_4_load_74 | 81 | 0.00057401 | 0.00014386 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-541_0_4_load_75 | 82 | 0.00056159 | 0.00014075 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-541_0_4_load_77 | 83 | 0.00056715 | 0.00014214 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-541_0_4_load_79 | 84 | 0.00077901 | 0.00019524 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_261-541_0_4_load_93 | 85 | 0.00069585 | 0.0001744 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_261-541_0_4_load_92 | 86 | 0.000947 | 0.00023734 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_261-541_0_4_load_88 | 87 | 0.00067781 | 0.00016987 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_261-541_0_4_load_89 | 88 | 0.00071553 | 0.00017933 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_261-541_0_4_load_85 | 89 | 0.00067574 | 0.00016936 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_261-541_0_4_load_90 | 90 | 0.0006804 | 0.00017052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-541_0_4_line_0 |  | 0 | 1 | 0.004808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-541_0_4_line_1 |  | 0 | 2 | 0.0001139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-541_0_4_line_2 |  | 1 | 3 | 0.0094313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-541_0_4_line_3 |  | 2 | 4 | 0.16582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-541_0_4_line_4 |  | 3 | 5 | 0.025578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-541_0_4_line_5 |  | 4 | 6 | 0.041446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-541_0_4_line_6 |  | 5 | 7 | 0.005368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-541_0_4_line_7 |  | 6 | 20 | 0.13816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-541_0_4_line_8 |  | 7 | 8 | 0.024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-541_0_4_line_9 |  | 9 | 10 | 0.03668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-541_0_4_line_10 |  | 9 | 11 | 0.036036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-541_0_4_line_11 |  | 10 | 12 | 0.028824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-541_0_4_line_12 |  | 12 | 13 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-541_0_4_line_13 |  | 12 | 14 | 0.022452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-541_0_4_line_14 |  | 13 | 15 | 0.007508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-541_0_4_line_15 |  | 13 | 16 | 0.02096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-541_0_4_line_16 |  | 14 | 17 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-541_0_4_line_17 |  | 15 | 18 | 0.030385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-541_0_4_line_18 |  | 16 | 19 | 0.020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-541_0_4_line_19 |  | 17 | 20 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-541_0_4_line_20 |  | 18 | 56 | 0.00025382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-541_0_4_line_21 |  | 20 | 23 | 0.018983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-541_0_4_line_22 |  | 21 | 22 | 0.0022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-541_0_4_line_23 |  | 22 | 25 | 0.018534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-541_0_4_line_24 |  | 23 | 24 | 0.0030846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-541_0_4_line_25 |  | 24 | 25 | 0.015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-541_0_4_line_26 |  | 26 | 27 | 0.0062324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-541_0_4_line_27 |  | 26 | 28 | 0.0069799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-541_0_4_line_28 |  | 27 | 29 | 0.0034273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-541_0_4_line_29 |  | 28 | 30 | 0.003157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-541_0_4_line_30 |  | 28 | 31 | 0.0094072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-541_0_4_line_31 |  | 29 | 32 | 0.002807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-541_0_4_line_32 |  | 31 | 33 | 0.031932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-541_0_4_line_33 |  | 32 | 34 | 0.005558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-541_0_4_line_34 |  | 33 | 35 | 0.01222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-541_0_4_line_35 |  | 33 | 36 | 0.013366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-541_0_4_line_36 |  | 34 | 37 | 0.002504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-541_0_4_line_37 |  | 34 | 38 | 0.028213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-541_0_4_line_38 |  | 35 | 39 | 0.0038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-541_0_4_line_39 |  | 36 | 40 | 0.018845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-541_0_4_line_40 |  | 38 | 63 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-541_0_4_line_41 |  | 38 | 64 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-541_0_4_line_42 |  | 38 | 65 | 0.013807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-541_0_4_line_43 |  | 40 | 41 | 0.005571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-541_0_4_line_44 |  | 41 | 42 | 0.0036393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-541_0_4_line_45 |  | 43 | 44 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-541_0_4_line_46 |  | 43 | 45 | 0.023893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-541_0_4_line_47 |  | 44 | 46 | 0.069637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-541_0_4_line_48 |  | 45 | 47 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-541_0_4_line_49 |  | 46 | 48 | 0.008727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-541_0_4_line_50 |  | 48 | 49 | 0.04331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-541_0_4_line_51 |  | 48 | 50 | 0.011457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-541_0_4_line_52 |  | 50 | 69 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-541_0_4_line_53 |  | 51 | 52 | 0.010147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-541_0_4_line_54 |  | 51 | 53 | 0.0075613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-541_0_4_line_55 |  | 52 | 54 | 0.009732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-541_0_4_line_56 |  | 53 | 55 | 0.0051324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-541_0_4_line_57 |  | 54 | 56 | 0.022715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-541_0_4_line_58 |  | 55 | 57 | 0.024257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-541_0_4_line_59 |  | 55 | 58 | 0.013861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-541_0_4_line_60 |  | 56 | 59 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-541_0_4_line_61 |  | 57 | 60 | 0.0056054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-541_0_4_line_62 |  | 58 | 61 | 0.0075595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-541_0_4_line_63 |  | 61 | 62 | 0.0039774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-541_0_4_line_64 |  | 62 | 89 | 0.0069384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-541_0_4_line_65 |  | 63 | 66 | 0.0069235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-541_0_4_line_66 |  | 64 | 67 | 0.017164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-541_0_4_line_67 |  | 65 | 68 | 0.00065186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-541_0_4_line_68 |  | 66 | 73 | 0.0050468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-541_0_4_line_69 |  | 67 | 74 | 0.004724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-541_0_4_line_70 |  | 68 | 71 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-541_0_4_line_71 |  | 69 | 70 | 0.013913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-541_0_4_line_72 |  | 70 | 77 | 0.022821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-541_0_4_line_73 |  | 71 | 72 | 0.072274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-541_0_4_line_74 |  | 73 | 75 | 0.016769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-541_0_4_line_75 |  | 74 | 76 | 0.027383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-541_0_4_line_76 |  | 76 | 81 | 0.0071038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-541_0_4_line_77 |  | 77 | 78 | 0.012238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-541_0_4_line_78 |  | 77 | 79 | 0.020201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-541_0_4_line_79 |  | 77 | 80 | 0.0083891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-541_0_4_line_80 |  | 78 | 87 | 0.0072021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-541_0_4_line_81 |  | 79 | 88 | 0.00103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-541_0_4_line_82 |  | 80 | 89 | 0.0070045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-541_0_4_line_83 |  | 81 | 82 | 0.020843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-541_0_4_line_84 |  | 82 | 83 | 0.0068889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-541_0_4_line_85 |  | 83 | 84 | 0.0068211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-541_0_4_line_86 |  | 84 | 85 | 0.0071756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_261-541_0_4_line_87 |  | 85 | 86 | 0.012476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-541_0_4_line_88 |  | 86 | 88 | 0.0073218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-541_0_4_line_89 |  | 87 | 90 | 0.0033744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-541_0_4_trafo_81 | 0.63 MVA 20/0.4 kV | 91 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2683978.0317 | 1252769.7935 | 2683981.5609 | 1252773.0588
1 | 2683978.0317 | 1252769.7935 | 2683977.9481 | 1252769.7162
2 | 2683984.3491 | 1252782.0351 | 2683983.0289 | 1252776.5044 | 2683981.5609 | 1252773.0588 | 2683981.5609 | 1252773.0588
3 | 2683977.9481 | 1252769.7162 | 2683892.1134 | 1252627.8379
4 | 2683980.1204 | 1252800.6592 | 2683988.3288 | 1252798.7074 | 2683984.3491 | 1252782.0351
5 | 2683892.1134 | 1252627.8379 | 2683907.1569 | 1252631.9318 | 2683915.1502 | 1252629.7322 | 2683925.9999 | 1252626.7392 | 2683930.1204 | 1252621.9606
6 | 2683981.3216 | 1252805.8912 | 2683980.1204 | 1252800.6592
7 | 2684051.7861 | 1252556.4884 | 2683930.1204 | 1252621.9606
8 | 2683981.3216 | 1252805.8912 | 2683984.4407 | 1252805.2016 | 2683992.5777 | 1252802.9597 | 2684005.3711 | 1252799.5818
9 | 2684080.1108 | 1252535.565 | 2684061.269 | 1252504.0945
10 | 2684042.7582 | 1252473.1767 | 2684061.269 | 1252504.0945
11 | 2684094.9171 | 1252560.2952 | 2684080.1108 | 1252535.565
12 | 2684094.9171 | 1252560.2952 | 2684104.5153 | 1252576.3546
13 | 2684094.9171 | 1252560.2952 | 2684075.391 | 1252571.3785
14 | 2684108.2795 | 1252582.8574 | 2684104.5153 | 1252576.3546
15 | 2684104.5153 | 1252576.3546 | 2684086.5686 | 1252587.1828
16 | 2684075.391 | 1252571.3785 | 2684064.4531 | 1252577.587 | 2684061.2162 | 1252572.1956
17 | 2684108.2795 | 1252582.8574 | 2684090.7985 | 1252593.0947 | 2684096.0204 | 1252601.7711
18 | 2684086.5686 | 1252587.1828 | 2684069.2771 | 1252597.6158
19 | 2684061.2162 | 1252572.1956 | 2684051.7861 | 1252556.4884
20 | 2684096.1513 | 1252601.9885 | 2684096.0204 | 1252601.7711
21 | 2684042.0149 | 1252540.2131 | 2684051.7861 | 1252556.4884
22 | 2684022.888 | 1252508.3545 | 2684021.7063 | 1252506.3862
23 | 2684022.888 | 1252508.3545 | 2684032.4277 | 1252524.2443
24 | 2684042.0149 | 1252540.2131 | 2684040.4272 | 1252537.5686
25 | 2684040.4272 | 1252537.5686 | 2684032.4277 | 1252524.2443
26 | 2684242.6361 | 1252717.2238 | 2684237.2554 | 1252720.3688
27 | 2684248.6646 | 1252713.7058 | 2684243.4365 | 1252716.756 | 2684242.6361 | 1252717.2238
28 | 2684234.2965 | 1252722.0983 | 2684237.2554 | 1252720.3688
29 | 2684248.6646 | 1252713.7058 | 2684250.1874 | 1252716.474
30 | 2684248.6646 | 1252713.7058 | 2684256.7922 | 1252708.9691
31 | 2684234.2965 | 1252722.0983 | 2684231.8731 | 1252723.5148
32 | 2684284.3785 | 1252692.8869 | 2684261.9441 | 1252705.9666 | 2684256.7922 | 1252708.9691
33 | 2684227.0746 | 1252726.3195 | 2684231.8731 | 1252723.5148
34 | 2684278.1055 | 1252682.3898 | 2684284.3785 | 1252692.8869
35 | 2684284.3785 | 1252692.8869 | 2684291.4088 | 1252704.2544
36 | 2684227.0746 | 1252726.3195 | 2684228.3571 | 1252728.4727
37 | 2684227.0746 | 1252726.3195 | 2684218.4491 | 1252731.056 | 2684202.2859 | 1252739.9219
38 | 2684278.1055 | 1252682.3898 | 2684276.0826 | 1252679.093
39 | 2684301.3195 | 1252720.2829 | 2684297.7827 | 1252714.5606 | 2684291.4088 | 1252704.2544
40 | 2684196.9181 | 1252731.0389 | 2684202.2859 | 1252739.9219
41 | 2684202.2859 | 1252739.9219 | 2684190.7571 | 1252748.2199 | 2684188.3461 | 1252749.5311 | 2684180.7099 | 1252753.6924 | 2684177.0268 | 1252755.4345
42 | 2684202.2859 | 1252739.9219 | 2684208.4583 | 1252747.949 | 2684210.246 | 1252751.1673
43 | 2684304.2484 | 1252725.0218 | 2684301.3195 | 1252720.2829
44 | 2684304.2484 | 1252725.0218 | 2684306.1618 | 1252728.1176
45 | 2684217.7808 | 1252593.3984 | 2684213.7204 | 1252608.3135
46 | 2684217.7808 | 1252593.3984 | 2684205.2467 | 1252573.0568
47 | 2684213.7204 | 1252608.3135 | 2684198.6058 | 1252663.8345 | 2684186.8258 | 1252661.0898
48 | 2684205.2467 | 1252573.0568 | 2684201.7583 | 1252567.3956 | 2684197.8448 | 1252563.9707 | 2684197.8448 | 1252563.9707
49 | 2684178.3264 | 1252659.1095 | 2684186.8258 | 1252661.0898
50 | 2684189.3519 | 1252617.2235 | 2684178.3264 | 1252659.1095
51 | 2684178.3264 | 1252659.1095 | 2684167.1175 | 1252656.7393
52 | 2684152.1219 | 1252656.5576 | 2684159.7789 | 1252655.1875 | 2684167.1175 | 1252656.7393
53 | 2684103.0429 | 1252630.5968 | 2684111.4702 | 1252624.9455 | 2684111.4702 | 1252624.9455
54 | 2684103.0429 | 1252630.5968 | 2684103.0429 | 1252630.5968 | 2684107.3089 | 1252636.8398 | 2684107.3089 | 1252636.8398
55 | 2684111.4702 | 1252624.9455 | 2684106.4796 | 1252616.5906
56 | 2684112.4384 | 1252637.0127 | 2684107.3089 | 1252636.8398
57 | 2684096.1513 | 1252601.9885 | 2684104.4459 | 1252615.7722 | 2684102.8558 | 1252616.6725 | 2684103.8466 | 1252618.121 | 2684106.4796 | 1252616.5906
58 | 2684135.2321 | 1252628.9191 | 2684121.378 | 1252635.1382 | 2684112.4384 | 1252637.0127
59 | 2684112.4384 | 1252637.0127 | 2684119.8686 | 1252648.7144
60 | 2684096.1513 | 1252601.9885 | 2684088.5565 | 1252613.3226 | 2684080.7992 | 1252617.884
61 | 2684135.2321 | 1252628.9191 | 2684138.155 | 1252633.7022
62 | 2684123.9208 | 1252655.0961 | 2684119.8686 | 1252648.7144
63 | 2684126.0528 | 1252658.4538 | 2684123.9208 | 1252655.0961
64 | 2684126.0528 | 1252658.4538 | 2684129.7721 | 1252664.3111
65 | 2684196.9181 | 1252731.0389 | 2684193.3363 | 1252725.114
66 | 2684177.0268 | 1252755.4345 | 2684162.7712 | 1252762.1773 | 2684161.5058 | 1252762.7623
67 | 2684210.5625 | 1252751.7371 | 2684210.246 | 1252751.1673
68 | 2684193.3363 | 1252725.114 | 2684192.6194 | 1252723.928 | 2684190.726 | 1252720.7947
69 | 2684157.2179 | 1252764.7448 | 2684161.5058 | 1252762.7623
70 | 2684217.8844 | 1252764.918 | 2684210.5625 | 1252751.7371
71 | 2684152.1219 | 1252656.5576 | 2684159.1661 | 1252668.5667
72 | 2684138.0237 | 1252677.3063 | 2684159.1661 | 1252668.5667
73 | 2684217.8844 | 1252764.918 | 2684191.5324 | 1252832.2164
74 | 2684182.0531 | 1252706.4421 | 2684190.726 | 1252720.7947
75 | 2684157.2179 | 1252764.7448 | 2684142.9111 | 1252741.3964
76 | 2684139.1995 | 1252735.3393 | 2684142.9111 | 1252741.3964
77 | 2684138.0237 | 1252677.3063 | 2684138.9197 | 1252679.5763 | 2684144.078 | 1252687.9055
78 | 2684138.0237 | 1252677.3063 | 2684119.473 | 1252685.3031
79 | 2684138.0237 | 1252677.3063 | 2684133.5268 | 1252670.2243
80 | 2684147.8701 | 1252694.0285 | 2684144.078 | 1252687.9055
81 | 2684118.5272 | 1252685.7108 | 2684119.473 | 1252685.3031
82 | 2684133.5268 | 1252670.2243 | 2684129.7721 | 1252664.3111
83 | 2684139.1995 | 1252735.3393 | 2684128.3097 | 1252717.5674
84 | 2684124.7105 | 1252711.6935 | 2684128.3097 | 1252717.5674
85 | 2684124.7105 | 1252711.6935 | 2684121.1467 | 1252705.8775
86 | 2684121.1467 | 1252705.8775 | 2684117.3976 | 1252699.7591
87 | 2684111.8035 | 1252688.6092 | 2684111.8035 | 1252688.6092 | 2684117.1599 | 1252699.3712 | 2684117.3976 | 1252699.7591
88 | 2684118.5272 | 1252685.7108 | 2684111.8035 | 1252688.6092
89 | 2684149.6467 | 1252696.8972 | 2684147.8701 | 1252694.0285

## bus_geodata
| x | y | coords
0 | 2683978.0317 | 1252769.7935
1 | 2683981.5609 | 1252773.0588
2 | 2683977.9481 | 1252769.7162
3 | 2683984.3491 | 1252782.0351
4 | 2683892.1134 | 1252627.8379
5 | 2683980.1204 | 1252800.6592
6 | 2683930.1204 | 1252621.9606
7 | 2683981.3216 | 1252805.8912
8 | 2684005.3711 | 1252799.5818
9 | 2684061.269 | 1252504.0945
10 | 2684080.1108 | 1252535.565
11 | 2684042.7582 | 1252473.1767
12 | 2684094.9171 | 1252560.2952
13 | 2684104.5153 | 1252576.3546
14 | 2684075.391 | 1252571.3785
15 | 2684108.2795 | 1252582.8574
16 | 2684086.5686 | 1252587.1828
17 | 2684061.2162 | 1252572.1956
18 | 2684096.0204 | 1252601.7711
19 | 2684069.2771 | 1252597.6158
20 | 2684051.7861 | 1252556.4884
21 | 2684021.7063 | 1252506.3862
22 | 2684022.888 | 1252508.3545
23 | 2684042.0149 | 1252540.2131
24 | 2684040.4272 | 1252537.5686
25 | 2684032.4277 | 1252524.2443
26 | 2684242.6361 | 1252717.2238
27 | 2684237.2554 | 1252720.3688
28 | 2684248.6646 | 1252713.7058
29 | 2684234.2965 | 1252722.0983
30 | 2684250.1874 | 1252716.474
31 | 2684256.7923 | 1252708.9691
32 | 2684231.8731 | 1252723.5148
33 | 2684284.3785 | 1252692.8869
34 | 2684227.0746 | 1252726.3195
35 | 2684278.1055 | 1252682.3898
36 | 2684291.4088 | 1252704.2544
37 | 2684228.3571 | 1252728.4727
38 | 2684202.2859 | 1252739.9219
39 | 2684276.0826 | 1252679.093
40 | 2684301.3195 | 1252720.2829
41 | 2684304.2484 | 1252725.0218
42 | 2684306.1618 | 1252728.1176
43 | 2684217.7808 | 1252593.3984
44 | 2684213.7204 | 1252608.3135
45 | 2684205.2467 | 1252573.0568
46 | 2684186.8258 | 1252661.0898
47 | 2684197.8448 | 1252563.9707
48 | 2684178.3264 | 1252659.1095
49 | 2684189.3519 | 1252617.2235
50 | 2684167.1175 | 1252656.7393
51 | 2684103.0429 | 1252630.5968
52 | 2684111.4702 | 1252624.9455
53 | 2684107.3089 | 1252636.8398
54 | 2684106.4796 | 1252616.5906
55 | 2684112.4384 | 1252637.0127
56 | 2684096.1513 | 1252601.9885
57 | 2684135.2321 | 1252628.9191
58 | 2684119.8686 | 1252648.7144
59 | 2684080.7992 | 1252617.884
60 | 2684138.155 | 1252633.7022
61 | 2684123.9208 | 1252655.0961
62 | 2684126.0528 | 1252658.4538
63 | 2684196.9181 | 1252731.0389
64 | 2684177.0268 | 1252755.4345
65 | 2684210.246 | 1252751.1673
66 | 2684193.3363 | 1252725.114
67 | 2684161.5058 | 1252762.7623
68 | 2684210.5625 | 1252751.7371
69 | 2684152.1219 | 1252656.5576
70 | 2684159.1661 | 1252668.5667
71 | 2684217.8844 | 1252764.918
72 | 2684191.5324 | 1252832.2164
73 | 2684190.726 | 1252720.7946
74 | 2684157.2179 | 1252764.7448
75 | 2684182.0531 | 1252706.4421
76 | 2684142.9111 | 1252741.3964
77 | 2684138.0237 | 1252677.3063
78 | 2684144.078 | 1252687.9055
79 | 2684119.473 | 1252685.3031
80 | 2684133.5268 | 1252670.2243
81 | 2684139.1995 | 1252735.3393
82 | 2684128.3097 | 1252717.5674
83 | 2684124.7105 | 1252711.6935
84 | 2684121.1467 | 1252705.8775
85 | 2684117.3976 | 1252699.7591
86 | 2684111.8035 | 1252688.6092
87 | 2684147.8701 | 1252694.0285
88 | 2684118.5272 | 1252685.7108
89 | 2684129.7721 | 1252664.3111
90 | 2684149.6467 | 1252696.8972
91 | 2684149.6467 | 1252696.8972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98784 | -0.23446 | 0.0010227 | 0.00025632
1 | 0.98782 | -0.23482 | 0.0014756 | 0.00036982
2 | 0.98784 | -0.23445 | 0.0053165 | 0.0013324
3 | 0.9878 | -0.23527 | 0.0016747 | 0.00041971
4 | 0.98944 | -0.20331 | 0 | 0
5 | 0.98778 | -0.23575 | 0 | 0
6 | 0.98984 | -0.19554 | 0.0045713 | 0.0011457
7 | 0.98777 | -0.23585 | 0 | 0
8 | 0.98775 | -0.23631 | 0.0010361 | 0.00025967
9 | 0.99291 | -0.13615 | 0.0011112 | 0.00027849
10 | 0.99301 | -0.13428 | 0.0016411 | 0.0004113
11 | 0.99285 | -0.13728 | 0.0017727 | 0.00044429
12 | 0.99313 | -0.13198 | 0 | 0
13 | 0.99365 | -0.12184 | 0 | 0
14 | 0.99259 | -0.14237 | 0.0011737 | 0.00029416
15 | 0.99389 | -0.11722 | 0 | 0
16 | 0.99358 | -0.12336 | 0.0013646 | 0.000342
17 | 0.99216 | -0.15072 | 0.0011002 | 0.00027575
18 | 0.99486 | -0.098559 | 0.0022866 | 0.00057308
19 | 0.99352 | -0.12435 | 0.0027644 | 0.00069282
20 | 0.99176 | -0.15848 | 0.0017999 | 0.00045111
21 | 0.99149 | -0.16373 | 0.0022043 | 0.00055245
22 | 0.99149 | -0.16364 | 0.0014075 | 0.00035275
23 | 0.99164 | -0.16083 | 0.0011177 | 0.00028013
24 | 0.99162 | -0.16115 | 0.0011349 | 0.00028443
25 | 0.99155 | -0.16246 | 0.001128 | 0.0002827
26 | 0.98973 | -0.1975 | 0.0016668 | 0.00041775
27 | 0.98984 | -0.19528 | 0.0016651 | 0.00041731
28 | 0.98961 | -0.19978 | 0 | 0
29 | 0.98991 | -0.19396 | 0.0032396 | 0.00081193
30 | 0.9896 | -0.20001 | 0.004085 | 0.0010238
31 | 0.98949 | -0.20217 | 0.0026724 | 0.00066978
32 | 0.98998 | -0.19271 | 0.0016668 | 0.00041775
33 | 0.98915 | -0.20875 | 0 | 0
34 | 0.99011 | -0.19009 | 0 | 0
35 | 0.98912 | -0.20934 | 0 | 0
36 | 0.98904 | -0.21087 | 0.001673 | 0.0004193
37 | 0.9901 | -0.19023 | 0.0032686 | 0.00081919
38 | 0.99088 | -0.17512 | 0 | 0
39 | 0.98911 | -0.20953 | 0.0026946 | 0.00067533
40 | 0.98892 | -0.21329 | 0.0016346 | 0.00040968
41 | 0.98889 | -0.21385 | 0.0039233 | 0.00098327
42 | 0.98888 | -0.21396 | 0.0016589 | 0.00041577
43 | 0.99808 | -0.03688 | 0 | 0
44 | 0.99817 | -0.035229 | 0.0062171 | 0.0015581
45 | 0.99795 | -0.039432 | 0.0026342 | 0.0006602
46 | 0.99895 | -0.020229 | 0.0008642 | 0.00021659
47 | 0.99791 | -0.040151 | 0.0034684 | 0.00086928
48 | 0.99905 | -0.018219 | 0 | 0
49 | 0.99898 | -0.019674 | 0.0019219 | 0.00048168
50 | 0.99921 | -0.015197 | 0.0016367 | 0.00041019
51 | 0.99663 | -0.064633 | 0.0077571 | 0.0019441
52 | 0.99618 | -0.073111 | 0.0019324 | 0.00048431
53 | 0.99701 | -0.057292 | 0.0032836 | 0.00082296
54 | 0.99578 | -0.080919 | 0.0019324 | 0.00048431
55 | 0.99728 | -0.052017 | 0 | 0
56 | 0.99487 | -0.098393 | 0 | 0
57 | 0.99724 | -0.052878 | 0.0010116 | 0.00025352
58 | 0.99805 | -0.037293 | 0.00083795 | 0.00021001
59 | 0.99473 | -0.10102 | 0.0065975 | 0.0016535
60 | 0.99723 | -0.052977 | 0.0010128 | 0.00025384
61 | 0.99847 | -0.029162 | 0.00081363 | 0.00020392
62 | 0.9987 | -0.02483 | 0.00067565 | 0.00016933
63 | 0.99082 | -0.17627 | 0 | 0
64 | 0.99235 | -0.14674 | 0.0021612 | 0.00054164
65 | 0.99066 | -0.17949 | 0.0021725 | 0.00054448
66 | 0.99078 | -0.17704 | 0.0024637 | 0.00061746
67 | 0.99323 | -0.12973 | 0.0021908 | 0.00054906
68 | 0.99065 | -0.17967 | 0.0017452 | 0.0004374
69 | 0.99944 | -0.01073 | 0 | 0
70 | 0.99965 | -0.0066648 | 0 | 0
71 | 0.99046 | -0.18338 | 0.010998 | 0.0027564
72 | 0.99027 | -0.18708 | 0.0028773 | 0.00072111
73 | 0.99077 | -0.17738 | 0.0018843 | 0.00047226
74 | 0.99348 | -0.12487 | 0 | 0
75 | 0.99074 | -0.17794 | 0.0018836 | 0.00047207
76 | 0.99494 | -0.096748 | 0.00059019 | 0.00014791
77 | 1 | 0 | -0.15021 | -0.03759
78 | 0.99998 | -0.00046052 | 0.00080026 | 0.00020056
79 | 0.99881 | -0.022696 | 0.00071375 | 0.00017888
80 | 0.99951 | -0.0094134 | 0.00068431 | 0.0001715
81 | 0.99533 | -0.089392 | 0.00057401 | 0.00014386
82 | 0.99646 | -0.067634 | 0.00056159 | 0.00014075
83 | 0.99684 | -0.060386 | 0.00056715 | 0.00014214
84 | 0.99722 | -0.053146 | 0.00077901 | 0.00019524
85 | 0.99762 | -0.045438 | 0.00069585 | 0.0001744
86 | 0.99833 | -0.0319 | 0.000947 | 0.00023734
87 | 0.99997 | -0.00063105 | 0.00067781 | 0.00016987
88 | 0.99875 | -0.023842 | 0.00071553 | 0.00017933
89 | 0.9991 | -0.017197 | 0.00067574 | 0.00016936
90 | 0.99997 | -0.00067107 | 0.0006804 | 0.00017052
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0041865 | 0.0010484 | -0.0041864 | -0.0010484 | 7.1697e-08 | -1.5666e-08 | 0.006306 | 0.006306 | 0.006306 | 0.98784 | -0.23446 | 0.98782 | -0.23482 | 1.7324
1 | -0.0052092 | -0.0013047 | 0.0052092 | 0.0013047 | 2.6301e-09 | 2.2396e-10 | 0.0078465 | 0.0078465 | 0.0078465 | 0.98784 | -0.23446 | 0.98784 | -0.23445 | 2.1556
2 | 0.0027108 | 0.00067861 | -0.0027108 | -0.00067869 | 5.8968e-08 | -8.2995e-08 | 0.0040832 | 0.0040833 | 0.0040833 | 0.98782 | -0.23482 | 0.9878 | -0.23527 | 1.1218
3 | -0.010526 | -0.0026372 | 0.010541 | 0.0026451 | 1.5631e-05 | 7.8775e-06 | 0.015855 | 0.015854 | 0.015855 | 0.98784 | -0.23445 | 0.98944 | -0.20331 | 4.3558
4 | 0.0010361 | 0.00025898 | -0.0010361 | -0.0002593 | 2.3361e-08 | -3.1247e-07 | 0.0015606 | 0.0015607 | 0.0015607 | 0.9878 | -0.23527 | 0.98778 | -0.23575 | 0.42876
5 | -0.010541 | -0.0026451 | 0.010545 | 0.002647 | 3.9066e-06 | 1.9677e-06 | 0.015854 | 0.015854 | 0.015854 | 0.98944 | -0.20331 | 0.98984 | -0.19554 | 4.3556
6 | 0.0010361 | 0.0002593 | -0.0010361 | -0.00025936 | 4.9032e-09 | -6.5575e-08 | 0.0015607 | 0.0015607 | 0.0015607 | 0.98778 | -0.23575 | 0.98777 | -0.23585 | 0.42877
7 | -0.015117 | -0.0037927 | 0.015143 | 0.003808 | 2.6758e-05 | 1.5346e-05 | 0.022726 | 0.022725 | 0.022726 | 0.98984 | -0.19554 | 0.99176 | -0.15848 | 6.2434
8 | 0.0010361 | 0.00025936 | -0.0010361 | -0.00025967 | 2.2716e-08 | -3.0375e-07 | 0.0015607 | 0.0015608 | 0.0015608 | 0.98777 | -0.23585 | 0.98775 | -0.23631 | 0.4288
9 | -0.002884 | -0.00072238 | 0.0028843 | 0.00072207 | 2.5692e-07 | -3.1003e-07 | 0.004322 | 0.0043218 | 0.004322 | 0.99291 | -0.13615 | 0.99301 | -0.13428 | 1.1874
10 | 0.0017728 | 0.00044389 | -0.0017727 | -0.00044429 | 9.5384e-08 | -4.0501e-07 | 0.0026567 | 0.0026569 | 0.0026569 | 0.99291 | -0.13615 | 0.99285 | -0.13728 | 0.72991
11 | -0.0045254 | -0.0011334 | 0.0045259 | 0.0011333 | 4.9701e-07 | -5.4839e-08 | 0.006781 | 0.0067809 | 0.006781 | 0.99301 | -0.13428 | 0.99313 | -0.13198 | 1.8629
12 | -0.030769 | -0.0077346 | 0.030784 | 0.0077439 | 1.4905e-05 | 9.2972e-06 | 0.046109 | 0.046109 | 0.046109 | 0.99313 | -0.13198 | 0.99365 | -0.12184 | 12.6674
13 | 0.026243 | 0.0066013 | -0.02623 | -0.0065932 | 1.3023e-05 | 8.0443e-06 | 0.039329 | 0.039329 | 0.039329 | 0.99313 | -0.13198 | 0.99259 | -0.14237 | 10.8046
14 | -0.034913 | -0.0087784 | 0.034921 | 0.0087833 | 7.6992e-06 | 4.8302e-06 | 0.052293 | 0.052293 | 0.052293 | 0.99365 | -0.12184 | 0.99389 | -0.11722 | 14.3662
15 | 0.0041294 | 0.0010346 | -0.0041291 | -0.0010346 | 3.0056e-07 | -7.9122e-08 | 0.0061837 | 0.0061838 | 0.0061838 | 0.99365 | -0.12184 | 0.99358 | -0.12336 | 1.6989
16 | 0.025056 | 0.0062991 | -0.025046 | -0.0062929 | 9.9854e-06 | 6.1469e-06 | 0.037569 | 0.037569 | 0.037569 | 0.99259 | -0.14237 | 0.99216 | -0.15072 | 10.3212
17 | -0.034921 | -0.0087833 | 0.034952 | 0.0088028 | 3.1158e-05 | 1.9547e-05 | 0.052293 | 0.052293 | 0.052293 | 0.99389 | -0.11722 | 0.99486 | -0.098559 | 14.3662
18 | 0.0027645 | 0.00069264 | -0.0027644 | -0.00069282 | 1.2981e-07 | -1.7846e-07 | 0.0041402 | 0.0041403 | 0.0041403 | 0.99358 | -0.12336 | 0.99352 | -0.12435 | 1.1374
19 | 0.023946 | 0.0060172 | -0.023937 | -0.0060117 | 8.8638e-06 | 5.4364e-06 | 0.035919 | 0.035919 | 0.035919 | 0.99216 | -0.15072 | 0.99176 | -0.15848 | 9.8679
20 | -0.037239 | -0.0093759 | 0.037239 | 0.0093761 | 2.9544e-07 | 1.8578e-07 | 0.055713 | 0.055713 | 0.055713 | 0.99486 | -0.098559 | 0.99487 | -0.098393 | 15.3058
21 | 0.0069938 | 0.0017526 | -0.006993 | -0.0017523 | 7.8384e-07 | 2.5673e-07 | 0.010493 | 0.010493 | 0.010493 | 0.99176 | -0.15848 | 0.99164 | -0.16083 | 2.8828
22 | -0.0022043 | -0.00055245 | 0.0022043 | 0.00055243 | 9.422e-09 | -2.3578e-08 | 0.0033082 | 0.0033082 | 0.0033082 | 0.99149 | -0.16373 | 0.99149 | -0.16364 | 0.90885
23 | -0.0036118 | -0.00090518 | 0.003612 | 0.00090507 | 2.0421e-07 | -1.0835e-07 | 0.0054205 | 0.0054204 | 0.0054205 | 0.99149 | -0.16364 | 0.99155 | -0.16246 | 1.4892
24 | 0.0058753 | 0.0014722 | -0.0058752 | -0.0014722 | 8.9904e-08 | 1.7746e-08 | 0.0088161 | 0.0088161 | 0.0088161 | 0.99164 | -0.16083 | 0.99162 | -0.16115 | 2.422
25 | 0.0047403 | 0.0011878 | -0.00474 | -0.0011878 | 2.9488e-07 | -1.175e-08 | 0.0071132 | 0.0071132 | 0.0071132 | 0.99162 | -0.16115 | 0.99155 | -0.16246 | 1.9542
26 | -0.020018 | -0.0050192 | 0.02002 | 0.0050205 | 2.1171e-06 | 1.2748e-06 | 0.030097 | 0.030097 | 0.030097 | 0.98973 | -0.1975 | 0.98984 | -0.19528 | 8.2684
27 | 0.018351 | 0.0046015 | -0.018349 | -0.0046003 | 1.9926e-06 | 1.1856e-06 | 0.027591 | 0.027591 | 0.027591 | 0.98973 | -0.1975 | 0.98961 | -0.19978 | 7.58
28 | -0.021685 | -0.0054378 | 0.021687 | 0.0054386 | 1.3659e-06 | 8.3013e-07 | 0.0326 | 0.0326 | 0.0326 | 0.98984 | -0.19528 | 0.98991 | -0.19396 | 8.9561
29 | 0.0040851 | 0.0010238 | -0.004085 | -0.0010238 | 4.4667e-08 | -1.1974e-08 | 0.0061425 | 0.0061425 | 0.0061425 | 0.98961 | -0.19978 | 0.9896 | -0.20001 | 1.6875
30 | 0.014264 | 0.0035765 | -0.014263 | -0.0035756 | 1.6229e-06 | 9.1782e-07 | 0.021449 | 0.021449 | 0.021449 | 0.98961 | -0.19978 | 0.98949 | -0.20217 | 5.8925
31 | -0.024926 | -0.0062506 | 0.024928 | 0.0062515 | 1.4779e-06 | 9.0976e-07 | 0.03747 | 0.03747 | 0.03747 | 0.98991 | -0.19396 | 0.98998 | -0.19271 | 10.2939
32 | 0.01159 | 0.0029058 | -0.011586 | -0.0029039 | 3.6379e-06 | 1.9182e-06 | 0.01743 | 0.01743 | 0.01743 | 0.98949 | -0.20217 | 0.98915 | -0.20875 | 4.7885
33 | -0.026595 | -0.0066692 | 0.026598 | 0.0066713 | 3.3307e-06 | 2.0602e-06 | 0.039975 | 0.039975 | 0.039975 | 0.98998 | -0.19271 | 0.99011 | -0.19009 | 10.9822
34 | 0.0026947 | 0.00067518 | -0.0026946 | -0.00067529 | 7.5301e-08 | -1.0866e-07 | 0.0040537 | 0.0040537 | 0.0040537 | 0.98915 | -0.20875 | 0.98912 | -0.20934 | 1.1137
35 | 0.0088918 | 0.0022287 | -0.0088909 | -0.0022283 | 8.9681e-07 | 4.0241e-07 | 0.013376 | 0.013376 | 0.013376 | 0.98915 | -0.20875 | 0.98904 | -0.21087 | 3.6748
36 | 0.0032686 | 0.00081917 | -0.0032686 | -0.00081919 | 2.2659e-08 | -1.7702e-08 | 0.0049123 | 0.0049123 | 0.0049123 | 0.99011 | -0.19009 | 0.9901 | -0.19023 | 1.3495
37 | -0.029867 | -0.0074905 | 0.029888 | 0.0075037 | 2.1317e-05 | 1.328e-05 | 0.044888 | 0.044887 | 0.044888 | 0.99011 | -0.19009 | 0.99088 | -0.17512 | 12.3318
38 | 0.0026946 | 0.00067529 | -0.0026946 | -0.00067533 | 2.3835e-08 | -3.4392e-08 | 0.0040537 | 0.0040537 | 0.0040537 | 0.98912 | -0.20934 | 0.98911 | -0.20953 | 1.1137
39 | 0.0072179 | 0.001809 | -0.007217 | -0.0018087 | 8.3337e-07 | 2.9154e-07 | 0.010859 | 0.010859 | 0.010859 | 0.98904 | -0.21087 | 0.98892 | -0.21329 | 2.9834
40 | 0.0062323 | 0.0015617 | -0.0062319 | -0.0015616 | 3.4065e-07 | 8.4435e-08 | 0.009359 | 0.009359 | 0.009359 | 0.99088 | -0.17512 | 0.99082 | -0.17627 | 2.5712
41 | -0.05392 | -0.013528 | 0.053993 | 0.013574 | 7.3081e-05 | 4.6388e-05 | 0.080977 | 0.080977 | 0.080977 | 0.99088 | -0.17512 | 0.99235 | -0.14674 | 22.2466
42 | 0.0178 | 0.0044625 | -0.017796 | -0.0044603 | 3.6997e-06 | 2.19e-06 | 0.026731 | 0.026731 | 0.026731 | 0.99088 | -0.17512 | 0.99066 | -0.17949 | 7.3437
43 | 0.0055824 | 0.001399 | -0.0055823 | -0.001399 | 1.474e-07 | 2.2862e-08 | 0.0083998 | 0.0083998 | 0.0083998 | 0.98892 | -0.21329 | 0.98889 | -0.21385 | 2.3076
44 | 0.001659 | 0.00041573 | -0.0016589 | -0.00041577 | 8.5043e-09 | -4.1247e-08 | 0.0024963 | 0.0024963 | 0.0024963 | 0.98889 | -0.21385 | 0.98888 | -0.21396 | 0.68579
45 | -0.0061035 | -0.0015296 | 0.006104 | 0.0015297 | 4.7998e-07 | 1.0515e-07 | 0.0090996 | 0.0090995 | 0.0090996 | 0.99808 | -0.03688 | 0.99817 | -0.035229 | 2.4999
46 | 0.0061035 | 0.0015296 | -0.0061028 | -0.0015294 | 7.4191e-07 | 1.626e-07 | 0.0090996 | 0.0090997 | 0.0090997 | 0.99808 | -0.03688 | 0.99795 | -0.039432 | 2.4999
47 | -0.012321 | -0.0030878 | 0.01233 | 0.0030925 | 8.8098e-06 | 4.7273e-06 | 0.018368 | 0.018367 | 0.018368 | 0.99817 | -0.035229 | 0.99895 | -0.020229 | 5.046
48 | 0.0034686 | 0.0008692 | -0.0034684 | -0.00086928 | 1.1886e-07 | -7.875e-08 | 0.0051718 | 0.0051719 | 0.0051719 | 0.99795 | -0.039432 | 0.99791 | -0.040151 | 1.4209
49 | -0.013194 | -0.0033091 | 0.013195 | 0.0033098 | 1.2642e-06 | 6.9484e-07 | 0.019655 | 0.019655 | 0.019655 | 0.99895 | -0.020229 | 0.99905 | -0.018219 | 5.3996
50 | 0.0019221 | 0.0004812 | -0.0019219 | -0.00048168 | 1.331e-07 | -4.8189e-07 | 0.0028626 | 0.0028628 | 0.0028628 | 0.99905 | -0.018219 | 0.99898 | -0.019674 | 0.78648
51 | -0.015117 | -0.003791 | 0.01512 | 0.0037923 | 2.1783e-06 | 1.2441e-06 | 0.022517 | 0.022517 | 0.022517 | 0.99905 | -0.018219 | 0.99921 | -0.015197 | 6.186
52 | -0.016756 | -0.0042025 | 0.01676 | 0.0042045 | 3.5681e-06 | 2.0834e-06 | 0.024954 | 0.024954 | 0.024954 | 0.99921 | -0.015197 | 0.99944 | -0.01073 | 6.8556
53 | 0.047775 | 0.012045 | -0.047756 | -0.012032 | 1.9374e-05 | 1.2267e-05 | 0.071356 | 0.071356 | 0.071356 | 0.99663 | -0.064633 | 0.99618 | -0.073111 | 19.6033
54 | -0.055532 | -0.013989 | 0.055552 | 0.014001 | 1.9504e-05 | 1.2384e-05 | 0.082938 | 0.082938 | 0.082938 | 0.99663 | -0.064633 | 0.99701 | -0.057292 | 22.7851
55 | 0.045823 | 0.011548 | -0.045806 | -0.011537 | 1.7109e-05 | 1.0823e-05 | 0.06847 | 0.06847 | 0.06847 | 0.99618 | -0.073111 | 0.99578 | -0.080919 | 18.8104
56 | -0.058835 | -0.014824 | 0.05885 | 0.014834 | 1.485e-05 | 9.437e-06 | 0.087839 | 0.087838 | 0.087839 | 0.99701 | -0.057292 | 0.99728 | -0.052017 | 24.1315
57 | 0.043874 | 0.011053 | -0.043837 | -0.01103 | 3.6636e-05 | 2.3152e-05 | 0.065582 | 0.065582 | 0.065582 | 0.99578 | -0.080919 | 0.99487 | -0.098393 | 18.0171
58 | 0.0020245 | 0.00050703 | -0.0020244 | -0.0005073 | 8.2998e-08 | -2.6337e-07 | 0.0030206 | 0.0030207 | 0.0030207 | 0.99728 | -0.052017 | 0.99724 | -0.052878 | 0.82986
59 | -0.060875 | -0.015341 | 0.060918 | 0.015368 | 4.2911e-05 | 2.7282e-05 | 0.090859 | 0.090859 | 0.090859 | 0.99728 | -0.052017 | 0.99805 | -0.037293 | 24.9613
60 | 0.0065984 | 0.0016537 | -0.0065975 | -0.0016535 | 8.2702e-07 | 2.3532e-07 | 0.0098691 | 0.0098692 | 0.0098692 | 0.99487 | -0.098393 | 0.99473 | -0.10102 | 2.7113
61 | 0.0010129 | 0.00025377 | -0.0010128 | -0.00025384 | 4.8012e-09 | -7.0061e-08 | 0.0015113 | 0.0015113 | 0.0015113 | 0.99724 | -0.052878 | 0.99723 | -0.052977 | 0.4152
62 | -0.061756 | -0.015578 | 0.06178 | 0.015593 | 2.405e-05 | 1.5293e-05 | 0.092108 | 0.092108 | 0.092108 | 0.99805 | -0.037293 | 0.99847 | -0.029162 | 25.3045
63 | -0.062593 | -0.015797 | 0.062606 | 0.015805 | 1.2989e-05 | 8.2612e-06 | 0.093321 | 0.093321 | 0.093321 | 0.99847 | -0.029162 | 0.9987 | -0.02483 | 25.6376
64 | -0.063282 | -0.015975 | 0.063305 | 0.015989 | 2.3151e-05 | 1.4726e-05 | 0.094328 | 0.094327 | 0.094328 | 0.9987 | -0.02483 | 0.9991 | -0.017197 | 25.9142
65 | 0.0062319 | 0.0015616 | -0.0062317 | -0.0015616 | 2.2741e-07 | 5.6377e-08 | 0.009359 | 0.0093591 | 0.0093591 | 0.99082 | -0.17627 | 0.99078 | -0.17704 | 2.5712
66 | -0.056154 | -0.014116 | 0.0562 | 0.014145 | 4.5652e-05 | 2.8995e-05 | 0.084218 | 0.084218 | 0.084218 | 0.99235 | -0.14674 | 0.99323 | -0.12973 | 23.1368
67 | 0.015624 | 0.0039158 | -0.015624 | -0.0039157 | 1.3463e-07 | 7.7769e-08 | 0.023468 | 0.023468 | 0.023468 | 0.99066 | -0.17949 | 0.99065 | -0.17967 | 6.4472
68 | 0.003768 | 0.00094412 | -0.003768 | -0.00094415 | 6.0607e-08 | -2.6206e-08 | 0.005659 | 0.005659 | 0.005659 | 0.99078 | -0.17704 | 0.99077 | -0.17738 | 1.5547
69 | -0.058391 | -0.014694 | 0.058404 | 0.014703 | 1.3563e-05 | 8.6191e-06 | 0.0875 | 0.0875 | 0.0875 | 0.99323 | -0.12973 | 0.99348 | -0.12487 | 24.0385
70 | 0.013879 | 0.0034783 | -0.013876 | -0.0034769 | 2.4572e-06 | 1.3785e-06 | 0.020846 | 0.020846 | 0.020846 | 0.99065 | -0.17967 | 0.99046 | -0.18338 | 5.7271
71 | -0.01676 | -0.0042045 | 0.016763 | 0.0042064 | 3.2489e-06 | 1.897e-06 | 0.024954 | 0.024954 | 0.024954 | 0.99944 | -0.01073 | 0.99965 | -0.0066648 | 6.8556
72 | -0.016763 | -0.0042064 | 0.016768 | 0.0042095 | 5.3291e-06 | 3.1113e-06 | 0.024954 | 0.024954 | 0.024954 | 0.99965 | -0.0066648 | 1 | 0 | 6.8556
73 | 0.0028778 | 0.00072051 | -0.0028773 | -0.00072111 | 5.0659e-07 | -6.0578e-07 | 0.0043232 | 0.0043235 | 0.0043235 | 0.99046 | -0.18338 | 0.99027 | -0.18708 | 1.1878
74 | 0.0018836 | 0.00047189 | -0.0018836 | -0.00047207 | 5.0327e-08 | -1.8374e-07 | 0.0028289 | 0.002829 | 0.002829 | 0.99077 | -0.17738 | 0.99074 | -0.17794 | 0.7772
75 | -0.058404 | -0.014703 | 0.058483 | 0.014753 | 7.8619e-05 | 4.9961e-05 | 0.0875 | 0.0875 | 0.0875 | 0.99348 | -0.12487 | 0.99494 | -0.096748 | 24.0385
76 | -0.059073 | -0.0149 | 0.059094 | 0.014914 | 2.0809e-05 | 1.3226e-05 | 0.088383 | 0.088383 | 0.088383 | 0.99494 | -0.096748 | 0.99533 | -0.089392 | 24.2809
77 | 0.0021585 | 0.0005407 | -0.0021585 | -0.00054083 | 4.7341e-08 | -1.3025e-07 | 0.0032118 | 0.0032119 | 0.0032119 | 1 | 0 | 0.99998 | -0.00046052 | 0.88239
78 | 0.064915 | 0.016475 | -0.064844 | -0.01643 | 7.0787e-05 | 4.5039e-05 | 0.096667 | 0.096667 | 0.096667 | 1 | 0 | 0.99881 | -0.022696 | 26.5568
79 | 0.064718 | 0.016364 | -0.064689 | -0.016345 | 2.9206e-05 | 1.8582e-05 | 0.096353 | 0.096353 | 0.096353 | 1 | 0 | 0.99951 | -0.0094134 | 26.4705
80 | 0.0013582 | 0.00034027 | -0.0013582 | -0.00034036 | 1.1032e-08 | -8.7421e-08 | 0.0020211 | 0.0020211 | 0.0020211 | 0.99998 | -0.00046052 | 0.99997 | -0.00063105 | 0.55524
81 | 0.06413 | 0.016251 | -0.064127 | -0.016249 | 3.5304e-06 | 2.246e-06 | 0.095603 | 0.095603 | 0.095603 | 0.99881 | -0.022696 | 0.99875 | -0.023842 | 26.2647
82 | 0.064005 | 0.016174 | -0.063981 | -0.016159 | 2.3873e-05 | 1.5187e-05 | 0.095334 | 0.095334 | 0.095334 | 0.99951 | -0.0094134 | 0.9991 | -0.017197 | 26.1906
83 | -0.059668 | -0.015058 | 0.05973 | 0.015097 | 6.2247e-05 | 3.9567e-05 | 0.089241 | 0.089241 | 0.089241 | 0.99533 | -0.089392 | 0.99646 | -0.067634 | 24.5167
84 | -0.060292 | -0.015238 | 0.060313 | 0.015251 | 2.0962e-05 | 1.3326e-05 | 0.090079 | 0.090079 | 0.090079 | 0.99646 | -0.067634 | 0.99684 | -0.060386 | 24.747
85 | -0.06088 | -0.015393 | 0.060901 | 0.015407 | 2.1147e-05 | 1.3445e-05 | 0.090926 | 0.090926 | 0.090926 | 0.99684 | -0.060386 | 0.99722 | -0.053146 | 24.9796
86 | -0.06168 | -0.015602 | 0.061703 | 0.015617 | 2.2819e-05 | 1.4511e-05 | 0.092088 | 0.092088 | 0.092088 | 0.99722 | -0.053146 | 0.99762 | -0.045438 | 25.2989
87 | -0.062399 | -0.015791 | 0.062439 | 0.015817 | 4.0575e-05 | 2.5805e-05 | 0.093126 | 0.093126 | 0.093126 | 0.99762 | -0.045438 | 0.99833 | -0.0319 | 25.5841
88 | -0.063386 | -0.016054 | 0.063411 | 0.01607 | 2.4539e-05 | 1.5609e-05 | 0.094537 | 0.094537 | 0.094537 | 0.99833 | -0.0319 | 0.99875 | -0.023842 | 25.9718
89 | 0.0006804 | 0.00017048 | -0.0006804 | -0.00017052 | 1.2972e-09 | -4.3436e-08 | 0.0010125 | 0.0010125 | 0.0010125 | 0.99997 | -0.00063105 | 0.99997 | -0.00067107 | 0.27815

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15021 | 0.03759

## res_load
| p_mw | q_mvar
0 | 0.0010227 | 0.00025632
1 | 0.0014756 | 0.00036982
2 | 0.0053165 | 0.0013324
3 | 0.0016747 | 0.00041971
4 | 0.0045713 | 0.0011457
5 | 0.0010361 | 0.00025967
6 | 0.0011112 | 0.00027849
7 | 0.0016411 | 0.0004113
8 | 0.0017727 | 0.00044429
9 | 0.0011737 | 0.00029416
10 | 0.0013646 | 0.000342
11 | 0.0011002 | 0.00027575
12 | 0.0022866 | 0.00057308
13 | 0.0027644 | 0.00069282
14 | 0.0017999 | 0.00045111
15 | 0.0022043 | 0.00055245
16 | 0.0014075 | 0.00035275
17 | 0.0011177 | 0.00028013
18 | 0.0011349 | 0.00028443
19 | 0.001128 | 0.0002827
20 | 0.0016668 | 0.00041775
21 | 0.0016651 | 0.00041731
22 | 0.0032396 | 0.00081193
23 | 0.004085 | 0.0010238
24 | 0.0026724 | 0.00066978
25 | 0.0016668 | 0.00041775
26 | 0.001673 | 0.0004193
27 | 0.0032686 | 0.00081919
28 | 0.0026946 | 0.00067533
29 | 0.0016346 | 0.00040968
30 | 0.0039233 | 0.00098327
31 | 0.0016589 | 0.00041577
32 | 0.0062171 | 0.0015581
33 | 0.0026342 | 0.0006602
34 | 0.0008642 | 0.00021659
35 | 0.0034684 | 0.00086928
36 | 0.0019219 | 0.00048168
37 | 0.0016367 | 0.00041019
38 | 0.0077571 | 0.0019441
39 | 0.0019324 | 0.00048431
40 | 0.0032836 | 0.00082296
41 | 0.0019324 | 0.00048431
42 | 0.0010116 | 0.00025352
43 | 0.00083795 | 0.00021001
44 | 0.0065975 | 0.0016535
45 | 0.0010128 | 0.00025384
46 | 0.00081363 | 0.00020392
47 | 0.00067565 | 0.00016933
48 | 0.0021612 | 0.00054164
49 | 0.0021725 | 0.00054448
50 | 0.0024637 | 0.00061746
51 | 0.0021908 | 0.00054906
52 | 0.0017452 | 0.0004374
53 | 0.010998 | 0.0027564
54 | 0.0028773 | 0.00072111
55 | 0.0018843 | 0.00047226
56 | 0.0018836 | 0.00047207
57 | 0.00059019 | 0.00014791
58 | 0.00080026 | 0.00020056
59 | 0.00071375 | 0.00017888
60 | 0.00068431 | 0.0001715
61 | 0.00057401 | 0.00014386
62 | 0.00056159 | 0.00014075
63 | 0.00056715 | 0.00014214
64 | 0.00077901 | 0.00019524
65 | 0.00069585 | 0.0001744
66 | 0.000947 | 0.00023734
67 | 0.00067781 | 0.00016987
68 | 0.00071553 | 0.00017933
69 | 0.00067574 | 0.00016936
70 | 0.0006804 | 0.00017052

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1