## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-542_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-542_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-542_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-542_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-542_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-542_0_6_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_261-542_0_6_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_261-542_0_6_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_261-542_0_6_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_261-542_0_6_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_261-542_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-542_0_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_261-542_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-542_0_6_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_261-542_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_261-542_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_261-542_0_6_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_261-542_0_6_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_261-542_0_6_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_261-542_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_261-542_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_261-542_0_6_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_261-542_0_6_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_261-542_0_6_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_261-542_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_261-542_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_261-542_0_6_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_261-542_0_6_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_261-542_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_261-542_0_6_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_261-542_0_6_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_261-542_0_6_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_261-542_0_6_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_261-542_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_261-542_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_261-542_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_261-542_0_6_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_261-542_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_261-542_0_6_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_261-542_0_6_node_15 | 0.4 | n |  | TRUE
40 | bus_LV_261-542_0_6_node_10 | 0.4 | n |  | TRUE
41 | bus_LV_261-542_0_6_node_12 | 0.4 | n |  | TRUE
42 | bus_LV_261-542_0_6_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_261-542_0_6_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_261-542_0_6_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_261-542_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_261-542_0_6_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_261-542_0_6_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_261-542_0_6_node_16 | 0.4 | n |  | TRUE
49 | bus_LV_261-542_0_6_node_18 | 0.4 | n |  | TRUE
50 | bus_LV_261-542_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_261-542_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_261-542_0_6_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_261-542_0_6_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_261-542_0_6_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_261-542_0_6_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_261-542_0_6_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_261-542_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_261-542_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_261-542_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_261-542_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_261-542_0_6_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_261-542_0_6_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_261-542_0_6_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_261-542_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_261-542_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_261-542_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_261-542_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_MV_546_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-542_0_6_load_0 | 0 | 0.0025802 | 0.00064666 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-542_0_6_load_1 | 1 | 0.0026131 | 0.00065489 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-542_0_6_load_30 | 5 | 0.0091918 | 0.0023037 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-542_0_6_load_32 | 6 | 0.0017721 | 0.00044414 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-542_0_6_load_57 | 7 | 0.0024286 | 0.00060867 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-542_0_6_load_28 | 9 | 0.0039753 | 0.00099631 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-542_0_6_load_9 | 12 | 0.0045268 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-542_0_6_load_5 | 13 | 0.0023937 | 0.00059992 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-542_0_6_load_7 | 15 | 0.0045517 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-542_0_6_load_60 | 17 | 0.0063847 | 0.0016002 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-542_0_6_load_39 | 22 | 0.0036778 | 0.00092174 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-542_0_6_load_68 | 23 | 0.0050263 | 0.0012597 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-542_0_6_load_40 | 27 | 0.0039349 | 0.00098617 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-542_0_6_load_50 | 29 | 0.023376 | 0.0058587 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-542_0_6_load_56 | 31 | 0.028971 | 0.0072609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-542_0_6_load_47 | 34 | 0.038181 | 0.009569 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-542_0_6_load_45 | 35 | 0.0077658 | 0.0019463 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-542_0_6_load_49 | 36 | 0.012605 | 0.0031592 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-542_0_6_load_35 | 37 | 0.016594 | 0.0041589 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-542_0_6_load_19 | 38 | 0.021415 | 0.005367 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-542_0_6_load_15 | 39 | 0.0064295 | 0.0016114 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-542_0_6_load_10 | 40 | 0.0013238 | 0.00033178 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-542_0_6_load_12 | 41 | 0.0017122 | 0.00042913 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-542_0_6_load_34 | 42 | 0.079072 | 0.019817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-542_0_6_load_59 | 44 | 0.015384 | 0.0038557 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-542_0_6_load_33 | 45 | 0.028534 | 0.0071513 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-542_0_6_load_66 | 46 | 0.017983 | 0.0045069 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-542_0_6_load_16 | 48 | 0.0077299 | 0.0019373 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-542_0_6_load_18 | 49 | 0.0042756 | 0.0010716 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-542_0_6_load_48 | 50 | 0.0083506 | 0.0020929 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-542_0_6_load_46 | 51 | 0.0028611 | 0.00071706 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-542_0_6_load_55 | 52 | 0.028951 | 0.0072557 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-542_0_6_load_53 | 53 | 0.028775 | 0.0072116 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-542_0_6_load_29 | 55 | 0.0012773 | 0.00032013 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-542_0_6_load_31 | 56 | 0.014975 | 0.003753 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-542_0_6_load_38 | 58 | 0.0028136 | 0.00070515 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-542_0_6_load_67 | 59 | 0.0027451 | 0.00068798 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-542_0_6_load_44 | 61 | 0.003452 | 0.00086515 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-542_0_6_load_41 | 62 | 0.0030647 | 0.00076807 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-542_0_6_load_42 | 63 | 0.0050008 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-542_0_6_load_61 | 65 | 0.019262 | 0.0048276 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-542_0_6_load_65 | 66 | 0.016472 | 0.0041283 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-542_0_6_load_64 | 67 | 0.040769 | 0.010218 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-542_0_6_line_0 |  | 0 | 1 | 0.00035864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-542_0_6_line_1 |  | 0 | 2 | 0.01485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-542_0_6_line_2 |  | 2 | 3 | 0.02062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-542_0_6_line_3 |  | 2 | 4 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-542_0_6_line_4 |  | 3 | 5 | 0.023911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-542_0_6_line_5 |  | 3 | 6 | 0.012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-542_0_6_line_6 |  | 4 | 7 | 0.017307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-542_0_6_line_7 |  | 4 | 8 | 0.02126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-542_0_6_line_8 |  | 5 | 9 | 0.0075549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-542_0_6_line_9 |  | 6 | 10 | 0.00093942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-542_0_6_line_10 |  | 8 | 11 | 0.051681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-542_0_6_line_11 |  | 8 | 12 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-542_0_6_line_12 |  | 9 | 55 | 0.016066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-542_0_6_line_13 |  | 10 | 16 | 0.14779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-542_0_6_line_14 |  | 10 | 14 | 0.021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-542_0_6_line_15 |  | 11 | 43 | 0.012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-542_0_6_line_16 |  | 11 | 44 | 0.015962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-542_0_6_line_17 |  | 11 | 24 | 0.036531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-542_0_6_line_18 |  | 12 | 40 | 0.012042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-542_0_6_line_19 |  | 13 | 14 | 0.010664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-542_0_6_line_20 |  | 14 | 15 | 0.0091716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-542_0_6_line_21 |  | 16 | 17 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-542_0_6_line_22 |  | 16 | 18 | 0.16683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-542_0_6_line_23 |  | 16 | 19 | 0.19619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-542_0_6_line_24 |  | 18 | 23 | 0.14464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-542_0_6_line_25 |  | 19 | 38 | 0.030212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-542_0_6_line_26 |  | 19 | 39 | 0.037902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-542_0_6_line_27 |  | 20 | 21 | 0.076452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-542_0_6_line_28 |  | 20 | 22 | 0.056076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-542_0_6_line_29 |  | 21 | 37 | 0.024166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-542_0_6_line_30 |  | 22 | 27 | 0.037207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-542_0_6_line_31 |  | 24 | 25 | 0.043486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-542_0_6_line_32 |  | 24 | 26 | 0.023873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-542_0_6_line_33 |  | 24 | 27 | 0.060887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-542_0_6_line_34 |  | 25 | 36 | 0.013213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-542_0_6_line_35 |  | 25 | 33 | 0.022011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-542_0_6_line_36 |  | 26 | 31 | 0.007029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-542_0_6_line_37 |  | 26 | 32 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-542_0_6_line_38 |  | 28 | 29 | 0.006194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-542_0_6_line_39 |  | 28 | 30 | 0.030077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-542_0_6_line_40 |  | 30 | 53 | 0.005205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-542_0_6_line_41 |  | 30 | 32 | 0.048176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-542_0_6_line_42 |  | 32 | 52 | 0.009082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-542_0_6_line_43 |  | 33 | 34 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-542_0_6_line_44 |  | 33 | 35 | 0.072963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-542_0_6_line_45 |  | 34 | 50 | 0.008263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-542_0_6_line_46 |  | 35 | 51 | 0.0092898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-542_0_6_line_47 |  | 37 | 54 | 0.008794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-542_0_6_line_48 |  | 39 | 48 | 0.013584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-542_0_6_line_49 |  | 40 | 41 | 0.001896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-542_0_6_line_50 |  | 41 | 42 | 0.0026812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-542_0_6_line_51 |  | 42 | 45 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-542_0_6_line_52 |  | 43 | 46 | 0.009054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-542_0_6_line_53 |  | 43 | 47 | 0.020418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-542_0_6_line_54 |  | 47 | 64 | 0.002636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-542_0_6_line_55 |  | 47 | 65 | 0.007102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-542_0_6_line_56 |  | 48 | 49 | 0.028572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-542_0_6_line_57 |  | 54 | 57 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-542_0_6_line_58 |  | 54 | 58 | 0.008915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-542_0_6_line_59 |  | 55 | 56 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-542_0_6_line_60 |  | 57 | 59 | 0.00886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-542_0_6_line_61 |  | 57 | 60 | 0.002636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-542_0_6_line_62 |  | 60 | 61 | 0.014527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-542_0_6_line_63 |  | 60 | 62 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-542_0_6_line_64 |  | 62 | 63 | 0.0075345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-542_0_6_line_65 |  | 64 | 66 | 0.007625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-542_0_6_line_66 |  | 64 | 67 | 0.007397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-542_0_6_trafo_14 | 0.63 MVA 20/0.4 kV | 68 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2684041.631 | 1252984.0252 | 2684041.4405 | 1252983.7213
1 | 2684030.3999 | 1252974.3362 | 2684037.3249 | 1252978.2485 | 2684039.0152 | 1252979.8514 | 2684041.4405 | 1252983.7213
2 | 2684030.3999 | 1252974.3362 | 2684012.9684 | 1252985.4307
3 | 2684051.6465 | 1252960.8274 | 2684036.888 | 1252970.214 | 2684030.3999 | 1252974.3362
4 | 2684012.9684 | 1252985.4307 | 2684004.7254 | 1252972.2817 | 2684004.9647 | 1252968.182 | 2684007.7951 | 1252964.9642
5 | 2684012.9684 | 1252985.4307 | 2684002.278 | 1252992.2145
6 | 2684051.6465 | 1252960.8274 | 2684060.31 | 1252974.6496 | 2684061.1997 | 1252974.173
7 | 2684069.737 | 1252949.5755 | 2684051.6465 | 1252960.8274
8 | 2684007.7951 | 1252964.9642 | 2684007.7951 | 1252964.9642 | 2684014.1835 | 1252960.9313
9 | 2684001.4848 | 1252992.7178 | 2684002.278 | 1252992.2145
10 | 2684069.737 | 1252949.5755 | 2684096.5137 | 1252989.8526 | 2684099.3086 | 1252988.0687
11 | 2684069.737 | 1252949.5755 | 2684084.5584 | 1252940.0753
12 | 2684027.7691 | 1252952.355 | 2684014.1835 | 1252960.9313
13 | 2683936.505 | 1252966.9331 | 2683937.8801 | 1252969.4767 | 2683951.1381 | 1252994.0497 | 2683931.4413 | 1253005.2569 | 2683936.0192 | 1253013.439 | 2683944.7287 | 1253028.8184 | 2683949.2902 | 1253025.9142 | 2683957.9258 | 1253020.4213 | 2683960.8881 | 1253018.5397 | 2683964.7413 | 1253016.0924 | 2683996.4205 | 1252995.9485 | 2684001.4848 | 1252992.7178
14 | 2684001.4848 | 1252992.7178 | 2684013.4712 | 1253011.1572
15 | 2684109.6888 | 1252981.4332 | 2684099.3086 | 1252988.0687
16 | 2684097.4797 | 1252976.0336 | 2684093.4301 | 1252978.4891 | 2684095.8008 | 1252982.6593 | 2684099.3086 | 1252988.0687
17 | 2684099.3086 | 1252988.0687 | 2684096.5137 | 1252989.8526 | 2684101.6932 | 1252997.6431 | 2684114.9041 | 1253017.5123
18 | 2684094.6967 | 1252933.5769 | 2684084.5584 | 1252940.0753
19 | 2684013.4712 | 1253011.1572 | 2684022.5154 | 1253005.5074
20 | 2684013.4712 | 1253011.1572 | 2684005.7422 | 1253016.095
21 | 2683951.0418 | 1252958.7996 | 2683936.505 | 1252966.9331
22 | 2683850.001 | 1252854.3346 | 2683849.5676 | 1252856.6969 | 2683849.7928 | 1252858.3791 | 2683852.3003 | 1252861.4391 | 2683856.28 | 1252862.3183 | 2683885.0796 | 1252907.4933 | 2683894.9209 | 1252926.636 | 2683894.3492 | 1252934.4894 | 2683895.885 | 1252939.0145 | 2683900.8396 | 1252948.3139 | 2683916.6586 | 1252978.0381 | 2683936.505 | 1252966.9331
23 | 2683936.505 | 1252966.9331 | 2683916.6586 | 1252978.0381 | 2683900.8396 | 1252948.3139 | 2683895.885 | 1252939.0145 | 2683894.3492 | 1252934.4894 | 2683894.9209 | 1252926.636 | 2683910.0695 | 1252919.534 | 2683923.802 | 1252916.504 | 2683940.808 | 1252909.8733 | 2683943.1129 | 1252908.049 | 2683944.8589 | 1252906.2613 | 2683946.9606 | 1252904.9345 | 2684004.0315 | 1252887.6859
24 | 2683850.001 | 1252854.3346 | 2683851.931 | 1252851.2818 | 2683857.509 | 1252848.0138 | 2683872.758 | 1252839.6901 | 2683885.7154 | 1252833.858 | 2683899.412 | 1252829.115 | 2683932.8332 | 1252820.2928 | 2683975.3003 | 1252810.6095 | 2683978.8269 | 1252810.4482 | 2683981.991 | 1252811.3715 | 2683985.8136 | 1252810.5584
25 | 2684004.0315 | 1252887.6859 | 2683997.9613 | 1252858.0886
26 | 2684004.0315 | 1252887.6859 | 2684041.6071 | 1252882.7221
27 | 2683987.0886 | 1253103.7197 | 2683983.8073 | 1253098.8361 | 2683976.5053 | 1253087.9911 | 2683974.2206 | 1253084.1336 | 2683971 | 1253076.56 | 2683969.5593 | 1253073.3261 | 2683974.1519 | 1253070.3556 | 2683981.4711 | 1253065.6224 | 2683997.2979 | 1253055.3835 | 2684000.1006 | 1253053.5774 | 2684004.1906 | 1253050.9334
28 | 2683987.0886 | 1253103.7197 | 2684033.5812 | 1253072.3669
29 | 2684004.1906 | 1253050.9334 | 2684019.9289 | 1253040.5487 | 2684024.359 | 1253037.6205
30 | 2684033.5812 | 1253072.3669 | 2684038.8467 | 1253068.8161 | 2684058.2305 | 1253055.7368 | 2684064.4252 | 1253051.5586
31 | 2684154.5779 | 1253022.6906 | 2684149.4283 | 1253018.6478 | 2684144.0794 | 1253015.3471 | 2684137.4038 | 1253013.0061 | 2684130.4437 | 1253012.1066 | 2684123.0375 | 1253013.3802 | 2684117.3879 | 1253015.8463 | 2684114.9041 | 1253017.5123
32 | 2684114.9041 | 1253017.5123 | 2684116.692 | 1253020.2063 | 2684120.22 | 1253025.7829 | 2684127.7186 | 1253037.6538
33 | 2684114.9041 | 1253017.5123 | 2684064.4252 | 1253051.5586
34 | 2684164.8339 | 1253018.422 | 2684163.759 | 1253016.5275 | 2684154.5779 | 1253022.6906
35 | 2684172.1222 | 1253036.0499 | 2684157.2647 | 1253024.797 | 2684154.5779 | 1253022.6906
36 | 2684127.7186 | 1253037.6538 | 2684121.1326 | 1253040.1622
37 | 2684127.7186 | 1253037.6538 | 2684131.5269 | 1253043.6791 | 2684136.5607 | 1253051.6232
38 | 2684076.572 | 1253071.42 | 2684071.2222 | 1253074.5686
39 | 2684076.572 | 1253071.42 | 2684086.2075 | 1253085.8565 | 2684096.7085 | 1253078.6779
40 | 2684096.7085 | 1253078.6779 | 2684099.7119 | 1253082.9348
41 | 2684136.5607 | 1253051.6232 | 2684124.3912 | 1253059.3896 | 2684096.7085 | 1253078.6779
42 | 2684142.7948 | 1253053.7022 | 2684140.19 | 1253049.5399 | 2684136.5607 | 1253051.6232
43 | 2684172.1222 | 1253036.0499 | 2684180.5289 | 1253030.2205 | 2684184.2863 | 1253027.6164
44 | 2684172.1222 | 1253036.0499 | 2684185.0534 | 1253045.8521 | 2684192.5993 | 1253049.6066 | 2684198.9561 | 1253051.0091 | 2684206.6057 | 1253050.6509 | 2684215.4348 | 1253048.0189 | 2684234.5718 | 1253041.1857 | 2684238.9096 | 1253039.634
45 | 2684188.7989 | 1253034.5384 | 2684184.2863 | 1253027.6164 | 2684184.2863 | 1253027.6164
46 | 2684238.9096 | 1253039.634 | 2684247.6566 | 1253036.505
47 | 2684031.6985 | 1253032.7765 | 2684024.5073 | 1253037.5225 | 2684024.359 | 1253037.6205
48 | 2684054.9175 | 1252880.0477 | 2684044.2401 | 1252882.3743 | 2684041.6071 | 1252882.7221
49 | 2684094.6967 | 1252933.5769 | 2684096.2929 | 1252932.5537
50 | 2684098.5502 | 1252931.1069 | 2684096.2929 | 1252932.5537
51 | 2684107.9888 | 1252925.0569 | 2684098.5502 | 1252931.1069
52 | 2684109.6888 | 1252981.4332 | 2684114.5077 | 1252989.1074
53 | 2684126.8853 | 1252970.4246 | 2684122.1787 | 1252973.4379 | 2684121.1963 | 1252974.0688 | 2684109.6888 | 1252981.4332
54 | 2684129.1092 | 1252968.9996 | 2684126.8853 | 1252970.4246
55 | 2684123.1679 | 1252964.3673 | 2684126.8853 | 1252970.4246
56 | 2684082.3521 | 1252872.1851 | 2684064.9367 | 1252877.8645 | 2684054.9175 | 1252880.0477
57 | 2684031.6985 | 1253032.7765 | 2684039.56 | 1253027.5952 | 2684047.414 | 1253022.4138
58 | 2684036.398 | 1253040.3599 | 2684031.6985 | 1253032.7765
59 | 2684039.6478 | 1252944.8563 | 2684027.7691 | 1252952.355
60 | 2684051.9926 | 1253030.0067 | 2684047.414 | 1253022.4138
61 | 2684047.414 | 1253022.4138 | 2684049.6157 | 1253020.955
62 | 2684044.4985 | 1253009.307 | 2684042.814 | 1253010.484 | 2684049.6157 | 1253020.955
63 | 2684049.6157 | 1253020.955 | 2684056.6622 | 1253016.307 | 2684060.4929 | 1253013.7812
64 | 2684060.4929 | 1253013.7812 | 2684066.7831 | 1253009.6336
65 | 2684129.1092 | 1252968.9996 | 2684133.4498 | 1252975.277
66 | 2684135.3541 | 1252965.0075 | 2684129.1092 | 1252968.9996

## bus_geodata
| x | y | coords
0 | 2684041.4405 | 1252983.7213
1 | 2684041.631 | 1252984.0252
2 | 2684030.3999 | 1252974.3362
3 | 2684012.9684 | 1252985.4307
4 | 2684051.6465 | 1252960.8274
5 | 2684007.7951 | 1252964.9642
6 | 2684002.278 | 1252992.2145
7 | 2684061.1997 | 1252974.173
8 | 2684069.737 | 1252949.5755
9 | 2684014.1835 | 1252960.9313
10 | 2684001.4848 | 1252992.7178
11 | 2684099.3086 | 1252988.0687
12 | 2684084.5584 | 1252940.0753
13 | 2684022.5154 | 1253005.5074
14 | 2684013.4712 | 1253011.1572
15 | 2684005.7422 | 1253016.095
16 | 2683936.505 | 1252966.9331
17 | 2683951.0418 | 1252958.7996
18 | 2683850.001 | 1252854.3346
19 | 2684004.0315 | 1252887.6859
20 | 2683987.0886 | 1253103.7197
21 | 2684004.1906 | 1253050.9334
22 | 2684033.5812 | 1253072.3669
23 | 2683985.8136 | 1252810.5584
24 | 2684114.9041 | 1253017.5123
25 | 2684154.5779 | 1253022.6906
26 | 2684127.7186 | 1253037.6538
27 | 2684064.4252 | 1253051.5586
28 | 2684076.572 | 1253071.42
29 | 2684071.2222 | 1253074.5686
30 | 2684096.7085 | 1253078.6779
31 | 2684121.1326 | 1253040.1622
32 | 2684136.5607 | 1253051.6232
33 | 2684172.1222 | 1253036.0499
34 | 2684184.2863 | 1253027.6164
35 | 2684238.9096 | 1253039.634
36 | 2684164.8339 | 1253018.422
37 | 2684024.359 | 1253037.6205
38 | 2683997.9613 | 1252858.0886
39 | 2684041.6071 | 1252882.7221
40 | 2684094.6967 | 1252933.5769
41 | 2684096.2929 | 1252932.5537
42 | 2684098.5502 | 1252931.1069
43 | 2684109.6888 | 1252981.4332
44 | 2684097.4797 | 1252976.0336
45 | 2684107.9888 | 1252925.0569
46 | 2684114.5077 | 1252989.1074
47 | 2684126.8853 | 1252970.4246
48 | 2684054.9175 | 1252880.0477
49 | 2684082.3521 | 1252872.1851
50 | 2684188.7989 | 1253034.5384
51 | 2684247.6566 | 1253036.505
52 | 2684142.7948 | 1253053.7022
53 | 2684099.7119 | 1253082.9348
54 | 2684031.6985 | 1253032.7765
55 | 2684027.7691 | 1252952.355
56 | 2684039.6478 | 1252944.8563
57 | 2684047.414 | 1253022.4138
58 | 2684036.398 | 1253040.3599
59 | 2684051.9926 | 1253030.0067
60 | 2684049.6157 | 1253020.955
61 | 2684044.4985 | 1253009.307
62 | 2684060.4929 | 1253013.7812
63 | 2684066.7831 | 1253009.6336
64 | 2684129.1092 | 1252968.9996
65 | 2684123.1679 | 1252964.3673
66 | 2684133.4498 | 1252975.2771
67 | 2684135.3541 | 1252965.0075
68 | 2684096.5137 | 1252989.8526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99078 | -0.17595 | 0.0025802 | 0.00064666
1 | 0.99078 | -0.17596 | 0.0026131 | 0.00065489
2 | 0.99085 | -0.17458 | 0 | 0
3 | 0.98914 | -0.20737 | 0 | 0
4 | 0.99305 | -0.13246 | 0 | 0
5 | 0.9885 | -0.21991 | 0.0091918 | 0.0023037
6 | 0.98844 | -0.22091 | 0.0017721 | 0.00044414
7 | 0.99301 | -0.13321 | 0.0024286 | 0.00060867
8 | 0.99496 | -0.096067 | 0 | 0
9 | 0.98836 | -0.22264 | 0.0039753 | 0.00099631
10 | 0.98839 | -0.22189 | 0 | 0
11 | 1 | 0 | -0.54944 | -0.13906
12 | 0.9931 | -0.13183 | 0.0045268 | 0.0011345
13 | 0.98822 | -0.22507 | 0.0023937 | 0.00059992
14 | 0.98825 | -0.22461 | 0 | 0
15 | 0.98821 | -0.22536 | 0.0045517 | 0.0011408
16 | 0.98134 | -0.35808 | 0 | 0
17 | 0.98124 | -0.36 | 0.0063847 | 0.0016002
18 | 0.98056 | -0.37329 | 0 | 0
19 | 0.97405 | -0.50067 | 0 | 0
20 | 0.99099 | -0.17292 | 0 | 0
21 | 0.98862 | -0.21872 | 0 | 0
22 | 0.99272 | -0.13946 | 0.0036778 | 0.00092174
23 | 0.97989 | -0.38649 | 0.0050263 | 0.0012597
24 | 0.9963 | -0.070664 | 0 | 0
25 | 0.99353 | -0.12409 | 0 | 0
26 | 0.9939 | -0.11692 | 0 | 0
27 | 0.994 | -0.11491 | 0.0039349 | 0.00098617
28 | 0.98973 | -0.19763 | 0 | 0
29 | 0.9896 | -0.20021 | 0.023376 | 0.0058587
30 | 0.99037 | -0.18513 | 0 | 0
31 | 0.99371 | -0.12051 | 0.028971 | 0.0072609
32 | 0.99267 | -0.14059 | 0 | 0
33 | 0.99238 | -0.14633 | 0 | 0
34 | 0.99175 | -0.15852 | 0.038181 | 0.009569
35 | 0.99167 | -0.16006 | 0.0077658 | 0.0019463
36 | 0.99338 | -0.12703 | 0.012605 | 0.0031592
37 | 0.98788 | -0.23325 | 0.016594 | 0.0041589
38 | 0.97345 | -0.51256 | 0.021415 | 0.005367
39 | 0.9734 | -0.51351 | 0.0064295 | 0.0016114
40 | 0.99188 | -0.15541 | 0.0013238 | 0.00033178
41 | 0.99169 | -0.15908 | 0.0017122 | 0.00042913
42 | 0.99143 | -0.16419 | 0.079072 | 0.019817
43 | 0.99894 | -0.02027 | 0 | 0
44 | 0.99978 | -0.004281 | 0.015384 | 0.0038557
45 | 0.99114 | -0.16987 | 0.028534 | 0.0071513
46 | 0.9988 | -0.023114 | 0.017983 | 0.0045069
47 | 0.99752 | -0.047593 | 0 | 0
48 | 0.97325 | -0.51651 | 0.0077299 | 0.0019373
49 | 0.97314 | -0.51876 | 0.0042756 | 0.0010716
50 | 0.99169 | -0.15975 | 0.0083506 | 0.0020929
51 | 0.99165 | -0.16053 | 0.0028611 | 0.00071706
52 | 0.99243 | -0.14524 | 0.028951 | 0.0072557
53 | 0.99024 | -0.18779 | 0.028775 | 0.0072116
54 | 0.98774 | -0.23593 | 0 | 0
55 | 0.98812 | -0.2273 | 0.0012773 | 0.00032013
56 | 0.98793 | -0.23105 | 0.014975 | 0.003753
57 | 0.98749 | -0.24072 | 0 | 0
58 | 0.98772 | -0.23638 | 0.0028136 | 0.00070515
59 | 0.98747 | -0.24115 | 0.0027451 | 0.00068798
60 | 0.98747 | -0.24126 | 0 | 0
61 | 0.98742 | -0.24216 | 0.003452 | 0.00086515
62 | 0.98737 | -0.24314 | 0.0030647 | 0.00076807
63 | 0.98733 | -0.24381 | 0.0050008 | 0.0012533
64 | 0.99739 | -0.050236 | 0 | 0
65 | 0.9974 | -0.049989 | 0.019262 | 0.0048276
66 | 0.99727 | -0.052437 | 0.016472 | 0.0041283
67 | 0.99711 | -0.055521 | 0.040769 | 0.010218
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0026131 | 0.00065489 | -0.0026131 | -0.00065489 | 2.0711e-09 | -3.2934e-09 | 0.0039245 | 0.0039245 | 0.0039245 | 0.99078 | -0.17595 | 0.99078 | -0.17596 | 1.0781
1 | -0.0051933 | -0.0013015 | 0.0051936 | 0.0013016 | 3.3877e-07 | 2.5549e-08 | 0.0077996 | 0.0077995 | 0.0077996 | 0.99078 | -0.17595 | 0.99085 | -0.17458 | 2.1427
2 | 0.090255 | 0.022942 | -0.090113 | -0.022851 | 0.0001423 | 9.0805e-05 | 0.13566 | 0.13566 | 0.13566 | 0.99085 | -0.17458 | 0.98914 | -0.20737 | 37.2681
3 | -0.095448 | -0.024244 | 0.095642 | 0.024368 | 0.0001939 | 0.00012377 | 0.14346 | 0.14346 | 0.14346 | 0.99085 | -0.17458 | 0.99305 | -0.13246 | 39.4108
4 | 0.029446 | 0.0073893 | -0.029428 | -0.0073784 | 1.7597e-05 | 1.0955e-05 | 0.0443 | 0.0443 | 0.0443 | 0.98914 | -0.20737 | 0.9885 | -0.21991 | 12.1704
5 | 0.060667 | 0.015462 | -0.060627 | -0.015437 | 3.9626e-05 | 2.5198e-05 | 0.091356 | 0.091356 | 0.091356 | 0.98914 | -0.20737 | 0.98844 | -0.22091 | 25.0978
6 | 0.0024287 | 0.0006085 | -0.0024286 | -0.00060867 | 8.5954e-08 | -1.6889e-07 | 0.0036392 | 0.0036393 | 0.0036393 | 0.99305 | -0.13246 | 0.99301 | -0.13321 | 0.99979
7 | -0.098071 | -0.024976 | 0.098244 | 0.025086 | 0.0001725 | 0.00011012 | 0.14709 | 0.14709 | 0.14709 | 0.99305 | -0.13246 | 0.99496 | -0.096067 | 40.4105
8 | 0.020236 | 0.0050747 | -0.020234 | -0.0050731 | 2.6291e-06 | 1.5858e-06 | 0.030463 | 0.030463 | 0.030463 | 0.9885 | -0.21991 | 0.98836 | -0.22264 | 8.3691
9 | 0.058855 | 0.014993 | -0.058852 | -0.014991 | 2.7709e-06 | 1.7613e-06 | 0.088688 | 0.088688 | 0.088688 | 0.98844 | -0.22091 | 0.98839 | -0.22189 | 24.3649
10 | -0.21379 | -0.05419 | 0.21478 | 0.054823 | 0.00099195 | 0.0006335 | 0.31995 | 0.31995 | 0.31995 | 0.99496 | -0.096067 | 1 | 0 | 43.9488
11 | 0.11554 | 0.029103 | -0.11535 | -0.028977 | 0.00019725 | 0.00012601 | 0.17285 | 0.17285 | 0.17285 | 0.99496 | -0.096067 | 0.9931 | -0.13183 | 47.4873
12 | 0.016258 | 0.0040768 | -0.016255 | -0.0040747 | 3.61e-06 | 2.1046e-06 | 0.024478 | 0.024479 | 0.024479 | 0.98836 | -0.22264 | 0.98812 | -0.2273 | 6.7249
13 | 0.051906 | 0.01325 | -0.051567 | -0.013035 | 0.00033918 | 0.00021519 | 0.07823 | 0.078231 | 0.078231 | 0.98839 | -0.22189 | 0.98134 | -0.35808 | 21.4921
14 | 0.0069466 | 0.0017409 | -0.0069457 | -0.0017406 | 9.0124e-07 | 2.9521e-07 | 0.010458 | 0.010458 | 0.010458 | 0.98839 | -0.22189 | 0.98825 | -0.22461 | 2.8731
15 | 0.094702 | 0.023817 | -0.09461 | -0.023759 | 9.1595e-05 | 5.846e-05 | 0.14095 | 0.14095 | 0.14095 | 1 | 0 | 0.99894 | -0.02027 | 38.7217
16 | 0.015387 | 0.0038575 | -0.015384 | -0.0038557 | 3.1382e-06 | 1.7991e-06 | 0.022897 | 0.022897 | 0.022897 | 1 | 0 | 0.99978 | -0.004281 | 6.2904
17 | 0.22292 | 0.05656 | -0.22216 | -0.056078 | 0.00075477 | 0.0004821 | 0.33195 | 0.33195 | 0.33195 | 1 | 0 | 0.9963 | -0.070664 | 45.5977
18 | 0.11082 | 0.027843 | -0.1107 | -0.027763 | 0.00012455 | 7.9553e-05 | 0.16607 | 0.16607 | 0.16607 | 0.9931 | -0.13183 | 0.99188 | -0.15541 | 45.6239
19 | -0.0023937 | -0.00059992 | 0.0023938 | 0.00059981 | 5.195e-08 | -1.0338e-07 | 0.0036043 | 0.0036043 | 0.0036043 | 0.98822 | -0.22507 | 0.98825 | -0.22461 | 0.99019
20 | 0.0045519 | 0.0011408 | -0.0045517 | -0.0011408 | 1.6156e-07 | -1.4108e-08 | 0.0068538 | 0.0068539 | 0.0068539 | 0.98825 | -0.22461 | 0.98821 | -0.22536 | 1.8829
21 | 0.0063853 | 0.0016003 | -0.0063847 | -0.0016002 | 5.843e-07 | 1.6398e-07 | 0.0096821 | 0.0096822 | 0.0096822 | 0.98134 | -0.35808 | 0.98124 | -0.36 | 2.6599
22 | 0.0050331 | 0.0012601 | -0.0050294 | -0.0012599 | 3.6437e-06 | 2.2586e-07 | 0.0076312 | 0.007632 | 0.007632 | 0.98134 | -0.35808 | 0.98056 | -0.37329 | 2.0967
23 | 0.040148 | 0.010175 | -0.039875 | -0.010002 | 0.00027303 | 0.00017228 | 0.060918 | 0.060919 | 0.060919 | 0.98134 | -0.35808 | 0.97405 | -0.50067 | 16.7359
24 | 0.0050294 | 0.0012599 | -0.0050263 | -0.0012597 | 3.1595e-06 | 1.9888e-07 | 0.007632 | 0.0076327 | 0.0076327 | 0.98056 | -0.37329 | 0.97989 | -0.38649 | 2.0969
25 | 0.021427 | 0.0053744 | -0.021415 | -0.005367 | 1.214e-05 | 7.3938e-06 | 0.032734 | 0.032734 | 0.032734 | 0.97405 | -0.50067 | 0.97345 | -0.51256 | 8.993
26 | 0.018448 | 0.0046279 | -0.018437 | -0.0046211 | 1.129e-05 | 6.7545e-06 | 0.028184 | 0.028185 | 0.028185 | 0.97405 | -0.50067 | 0.9734 | -0.51351 | 7.743
27 | 0.033774 | 0.0085027 | -0.0337 | -0.0084565 | 7.3773e-05 | 4.6232e-05 | 0.050727 | 0.050727 | 0.050727 | 0.99099 | -0.17292 | 0.98862 | -0.21872 | 13.9361
28 | -0.033774 | -0.0085027 | 0.033828 | 0.0085366 | 5.4111e-05 | 3.3908e-05 | 0.050727 | 0.050727 | 0.050727 | 0.99099 | -0.17292 | 0.99272 | -0.13946 | 13.936
29 | 0.0337 | 0.0084565 | -0.033677 | -0.0084419 | 2.332e-05 | 1.4615e-05 | 0.050727 | 0.050728 | 0.050728 | 0.98862 | -0.21872 | 0.98788 | -0.23325 | 13.9361
30 | -0.037506 | -0.0094584 | 0.03755 | 0.0094861 | 4.413e-05 | 2.7762e-05 | 0.05624 | 0.056239 | 0.05624 | 0.99272 | -0.13946 | 0.994 | -0.11491 | 15.4504
31 | 0.070039 | 0.017658 | -0.069861 | -0.017545 | 0.00017857 | 0.00011372 | 0.10464 | 0.10464 | 0.10464 | 0.9963 | -0.070664 | 0.99353 | -0.12409 | 28.7482
32 | 0.11055 | 0.027892 | -0.11031 | -0.027736 | 0.00024426 | 0.00015601 | 0.16518 | 0.16518 | 0.16518 | 0.9963 | -0.070664 | 0.9939 | -0.11692 | 45.3787
33 | 0.041573 | 0.010528 | -0.041485 | -0.010472 | 8.8137e-05 | 5.5616e-05 | 0.06213 | 0.06213 | 0.06213 | 0.9963 | -0.070664 | 0.994 | -0.11491 | 17.0686
34 | 0.012607 | 0.0031602 | -0.012605 | -0.0031592 | 1.7666e-06 | 9.5953e-07 | 0.018882 | 0.018882 | 0.018882 | 0.99353 | -0.12409 | 0.99338 | -0.12703 | 5.1874
35 | 0.057253 | 0.014385 | -0.057193 | -0.014346 | 6.0709e-05 | 3.8569e-05 | 0.085761 | 0.085761 | 0.085761 | 0.99353 | -0.12409 | 0.99238 | -0.14633 | 23.5608
36 | 0.028976 | 0.007264 | -0.028971 | -0.0072609 | 4.9608e-06 | 3.0838e-06 | 0.043382 | 0.043382 | 0.043382 | 0.9939 | -0.11692 | 0.99371 | -0.12051 | 11.9182
37 | 0.081331 | 0.020472 | -0.081239 | -0.020413 | 9.1893e-05 | 5.8598e-05 | 0.1218 | 0.1218 | 0.1218 | 0.9939 | -0.11692 | 0.99267 | -0.14059 | 33.4605
38 | 0.023379 | 0.0058604 | -0.023376 | -0.0058587 | 2.8698e-06 | 1.7571e-06 | 0.03515 | 0.03515 | 0.03515 | 0.98973 | -0.19763 | 0.9896 | -0.20021 | 9.6566
39 | -0.023379 | -0.0058604 | 0.023393 | 0.005869 | 1.3935e-05 | 8.5318e-06 | 0.03515 | 0.03515 | 0.03515 | 0.98973 | -0.19763 | 0.99037 | -0.18513 | 9.6566
40 | 0.028778 | 0.0072138 | -0.028775 | -0.0072116 | 3.6493e-06 | 2.2686e-06 | 0.043239 | 0.043239 | 0.043239 | 0.99037 | -0.18513 | 0.99024 | -0.18779 | 11.8789
41 | -0.052171 | -0.013083 | 0.052282 | 0.013153 | 0.00011101 | 7.0427e-05 | 0.078389 | 0.078389 | 0.078389 | 0.99037 | -0.18513 | 0.99267 | -0.14059 | 21.5355
42 | 0.028957 | 0.0072597 | -0.028951 | -0.0072557 | 6.4172e-06 | 3.9896e-06 | 0.043407 | 0.043408 | 0.043408 | 0.99267 | -0.14059 | 0.99243 | -0.14524 | 11.9251
43 | 0.046559 | 0.011679 | -0.046532 | -0.011662 | 2.7055e-05 | 1.7124e-05 | 0.069816 | 0.069816 | 0.069816 | 0.99238 | -0.14633 | 0.99175 | -0.15852 | 19.1802
44 | 0.010634 | 0.0026668 | -0.010627 | -0.0026633 | 6.957e-06 | 3.5105e-06 | 0.015946 | 0.015946 | 0.015946 | 0.99238 | -0.14633 | 0.99167 | -0.16006 | 4.3807
45 | 0.0083511 | 0.0020931 | -0.0083506 | -0.0020929 | 4.8648e-07 | 2.0473e-07 | 0.01253 | 0.01253 | 0.01253 | 0.99175 | -0.15852 | 0.99169 | -0.15975 | 3.4423
46 | 0.0028612 | 0.00071698 | -0.0028611 | -0.00071706 | 6.4209e-08 | -7.8757e-08 | 0.0042932 | 0.0042932 | 0.0042932 | 0.99167 | -0.16006 | 0.99165 | -0.16053 | 1.1795
47 | 0.017083 | 0.004283 | -0.017081 | -0.0042817 | 2.1836e-06 | 1.2849e-06 | 0.025732 | 0.025732 | 0.025732 | 0.98788 | -0.23325 | 0.98774 | -0.23593 | 7.0693
48 | 0.012008 | 0.0030097 | -0.012006 | -0.0030088 | 1.7164e-06 | 9.2965e-07 | 0.018356 | 0.018356 | 0.018356 | 0.9734 | -0.51351 | 0.97325 | -0.51651 | 5.0429
49 | 0.10937 | 0.027431 | -0.10935 | -0.027419 | 1.9143e-05 | 1.2227e-05 | 0.16409 | 0.16409 | 0.16409 | 0.99188 | -0.15541 | 0.99169 | -0.15908 | 45.0783
50 | 0.10764 | 0.02699 | -0.10761 | -0.026973 | 2.623e-05 | 1.6753e-05 | 0.16152 | 0.16152 | 0.16152 | 0.99169 | -0.15908 | 0.99143 | -0.16419 | 44.3725
51 | 0.028542 | 0.0071561 | -0.028534 | -0.0071513 | 7.7152e-06 | 4.7932e-06 | 0.042839 | 0.042839 | 0.042839 | 0.99143 | -0.16419 | 0.99114 | -0.16987 | 11.7689
52 | 0.017985 | 0.0045083 | -0.017983 | -0.0045069 | 2.4369e-06 | 1.4411e-06 | 0.026791 | 0.026791 | 0.026791 | 0.99894 | -0.02027 | 0.9988 | -0.023114 | 7.3601
53 | 0.076625 | 0.019251 | -0.076525 | -0.019187 | 9.9782e-05 | 6.3593e-05 | 0.11416 | 0.11416 | 0.11416 | 0.99894 | -0.02027 | 0.99752 | -0.047593 | 31.3616
54 | 0.057261 | 0.014358 | -0.057253 | -0.014354 | 7.2125e-06 | 4.5816e-06 | 0.085419 | 0.085419 | 0.085419 | 0.99752 | -0.047593 | 0.99739 | -0.050236 | 23.4667
55 | 0.019265 | 0.0048289 | -0.019262 | -0.0048276 | 2.1994e-06 | 1.3149e-06 | 0.028737 | 0.028737 | 0.028737 | 0.99752 | -0.047593 | 0.9974 | -0.049989 | 7.8949
56 | 0.004276 | 0.0010715 | -0.0042756 | -0.0010716 | 4.5796e-07 | -6.1928e-08 | 0.0065376 | 0.0065377 | 0.0065377 | 0.97325 | -0.51651 | 0.97314 | -0.51876 | 1.7961
57 | 0.014267 | 0.0035766 | -0.014264 | -0.0035748 | 3.2547e-06 | 1.8426e-06 | 0.021494 | 0.021494 | 0.021494 | 0.98774 | -0.23593 | 0.98749 | -0.24072 | 5.9048
58 | 0.0028136 | 0.00070507 | -0.0028136 | -0.00070515 | 6.0065e-08 | -7.5664e-08 | 0.0042387 | 0.0042387 | 0.0042387 | 0.98774 | -0.23593 | 0.98772 | -0.23638 | 1.1645
59 | 0.014977 | 0.0037546 | -0.014975 | -0.003753 | 2.6799e-06 | 1.5352e-06 | 0.022555 | 0.022555 | 0.022555 | 0.98812 | -0.2273 | 0.98793 | -0.23105 | 6.1964
60 | 0.0027451 | 0.0006879 | -0.0027451 | -0.00068798 | 5.685e-08 | -7.6961e-08 | 0.0041365 | 0.0041365 | 0.0041365 | 0.98749 | -0.24072 | 0.98747 | -0.24115 | 1.1364
61 | 0.011519 | 0.0028869 | -0.011518 | -0.0028867 | 2.9781e-07 | 1.5687e-07 | 0.017357 | 0.017357 | 0.017357 | 0.98749 | -0.24072 | 0.98747 | -0.24126 | 4.7684
62 | 0.0034521 | 0.00086506 | -0.003452 | -0.00086515 | 1.4742e-07 | -9.1479e-08 | 0.005202 | 0.0052021 | 0.0052021 | 0.98747 | -0.24126 | 0.98742 | -0.24216 | 1.4291
63 | 0.0080663 | 0.0020217 | -0.0080656 | -0.0020214 | 7.2193e-07 | 2.9537e-07 | 0.012155 | 0.012155 | 0.012155 | 0.98747 | -0.24126 | 0.98737 | -0.24314 | 3.3393
64 | 0.0050009 | 0.0012533 | -0.0050008 | -0.0012533 | 1.6049e-07 | 6.3496e-09 | 0.0075366 | 0.0075367 | 0.0075367 | 0.98737 | -0.24314 | 0.98733 | -0.24381 | 2.0705
65 | 0.016474 | 0.0041293 | -0.016472 | -0.0041283 | 1.7273e-06 | 1.006e-06 | 0.024578 | 0.024578 | 0.024578 | 0.99739 | -0.050236 | 0.99727 | -0.052437 | 6.7522
66 | 0.040779 | 0.010224 | -0.040769 | -0.010218 | 1.0268e-05 | 6.4749e-06 | 0.060841 | 0.060841 | 0.060841 | 0.99739 | -0.050236 | 0.99711 | -0.055521 | 16.7145

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54944 | 0.13906

## res_load
| p_mw | q_mvar
0 | 0.0025802 | 0.00064666
1 | 0.0026131 | 0.00065489
2 | 0.0091918 | 0.0023037
3 | 0.0017721 | 0.00044414
4 | 0.0024286 | 0.00060867
5 | 0.0039753 | 0.00099631
6 | 0.0045268 | 0.0011345
7 | 0.0023937 | 0.00059992
8 | 0.0045517 | 0.0011408
9 | 0.0063847 | 0.0016002
10 | 0.0036778 | 0.00092174
11 | 0.0050263 | 0.0012597
12 | 0.0039349 | 0.00098617
13 | 0.023376 | 0.0058587
14 | 0.028971 | 0.0072609
15 | 0.038181 | 0.009569
16 | 0.0077658 | 0.0019463
17 | 0.012605 | 0.0031592
18 | 0.016594 | 0.0041589
19 | 0.021415 | 0.005367
20 | 0.0064295 | 0.0016114
21 | 0.0013238 | 0.00033178
22 | 0.0017122 | 0.00042913
23 | 0.079072 | 0.019817
24 | 0.015384 | 0.0038557
25 | 0.028534 | 0.0071513
26 | 0.017983 | 0.0045069
27 | 0.0077299 | 0.0019373
28 | 0.0042756 | 0.0010716
29 | 0.0083506 | 0.0020929
30 | 0.0028611 | 0.00071706
31 | 0.028951 | 0.0072557
32 | 0.028775 | 0.0072116
33 | 0.0012773 | 0.00032013
34 | 0.014975 | 0.003753
35 | 0.0028136 | 0.00070515
36 | 0.0027451 | 0.00068798
37 | 0.003452 | 0.00086515
38 | 0.0030647 | 0.00076807
39 | 0.0050008 | 0.0012533
40 | 0.019262 | 0.0048276
41 | 0.016472 | 0.0041283
42 | 0.040769 | 0.010218

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1