## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-550_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-550_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-550_0_4_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_261-550_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_261-550_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-550_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_261-550_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_261-550_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_261-550_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-550_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_261-550_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_261-550_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_261-550_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_261-550_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_261-550_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_261-550_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_261-550_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_261-550_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_261-550_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_261-550_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_261-550_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_261-550_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_261-550_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_261-550_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_261-550_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_261-550_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_261-550_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_MV_537_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-550_0_4_load_0 | 0 | 0.033139 | 0.0083054 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-550_0_4_load_17 | 2 | 0.032056 | 0.0080339 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-550_0_4_load_24 | 7 | 0.025454 | 0.0063793 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-550_0_4_load_21 | 10 | 0.029041 | 0.0072783 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-550_0_4_load_18 | 11 | 0.022796 | 0.0057132 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-550_0_4_load_23 | 12 | 0.021918 | 0.0054932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-550_0_4_load_22 | 14 | 0.012659 | 0.0031727 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-550_0_4_load_32 | 15 | 0.027884 | 0.0069883 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-550_0_4_load_34 | 16 | 0.0069843 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-550_0_4_load_25 | 17 | 0.017545 | 0.0043971 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-550_0_4_load_19 | 19 | 0.02577 | 0.0064585 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-550_0_4_load_26 | 20 | 0.018029 | 0.0045184 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-550_0_4_load_20 | 21 | 0.032568 | 0.0081622 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-550_0_4_load_29 | 22 | 0.03058 | 0.007664 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-550_0_4_load_33 | 23 | 0.018333 | 0.0045947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-550_0_4_load_31 | 24 | 0.031769 | 0.0079621 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-550_0_4_load_27 | 25 | 0.0091395 | 0.0022906 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-550_0_4_line_0 |  | 0 | 1 | 0.020447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-550_0_4_line_1 |  | 1 | 2 | 0.0031665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-550_0_4_line_2 |  | 1 | 3 | 0.004052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-550_0_4_line_3 |  | 3 | 11 | 0.0077724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-550_0_4_line_4 |  | 4 | 5 | 0.001354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-550_0_4_line_5 |  | 4 | 6 | 0.0091215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-550_0_4_line_6 |  | 4 | 7 | 0.031842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-550_0_4_line_7 |  | 5 | 15 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-550_0_4_line_8 |  | 6 | 17 | 0.012003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-550_0_4_line_9 |  | 6 | 8 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-550_0_4_line_10 |  | 8 | 9 | 0.022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-550_0_4_line_11 |  | 8 | 10 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-550_0_4_line_12 |  | 9 | 12 | 0.012389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-550_0_4_line_13 |  | 9 | 13 | 0.023426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-550_0_4_line_14 |  | 9 | 14 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-550_0_4_line_15 |  | 10 | 21 | 0.0014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-550_0_4_line_16 |  | 11 | 18 | 0.033987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-550_0_4_line_17 |  | 13 | 16 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-550_0_4_line_18 |  | 15 | 22 | 0.01038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-550_0_4_line_19 |  | 16 | 23 | 0.015325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-550_0_4_line_20 |  | 17 | 20 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-550_0_4_line_21 |  | 18 | 19 | 0.013648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-550_0_4_line_22 |  | 19 | 21 | 0.024816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-550_0_4_line_23 |  | 22 | 24 | 0.02293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-550_0_4_line_24 |  | 22 | 26 | 0.053623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-550_0_4_line_25 |  | 25 | 26 | 0.040542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-550_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 27 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2683368.9167 | 1248670.1918 | 2683371.5973 | 1248673.9768 | 2683380.8769 | 1248686.7761
1 | 2683368.9167 | 1248670.1918 | 2683367.0893 | 1248667.6058
2 | 2683372.3309 | 1248667.9938 | 2683368.9167 | 1248670.1918
3 | 2683372.3309 | 1248667.9938 | 2683375.7072 | 1248665.8063 | 2683373.5433 | 1248662.7444
4 | 2683424.6044 | 1248656.843 | 2683424.0809 | 1248658.0921
5 | 2683415.1258 | 1248656.3648 | 2683416.3688 | 1248656.5825 | 2683419.5028 | 1248657.127 | 2683423.3053 | 1248657.9255 | 2683424.0809 | 1248658.0921
6 | 2683424.0809 | 1248658.0921 | 2683420.6126 | 1248670.5636 | 2683417.4692 | 1248689.1975
7 | 2683424.6044 | 1248656.843 | 2683439.8469 | 1248659.9681
8 | 2683415.1258 | 1248656.3648 | 2683413.0559 | 1248668.1876
9 | 2683417.4698 | 1248641.1421 | 2683415.1258 | 1248656.3648
10 | 2683417.4698 | 1248641.1421 | 2683420.1843 | 1248623.7452 | 2683420.881 | 1248619.3184
11 | 2683417.4698 | 1248641.1421 | 2683402.7884 | 1248638.2117
12 | 2683420.881 | 1248619.3184 | 2683408.7463 | 1248616.8196
13 | 2683420.881 | 1248619.3184 | 2683420.1843 | 1248623.7452 | 2683421.676 | 1248623.9997 | 2683421.8116 | 1248624.0239 | 2683425.7837 | 1248624.5802 | 2683429.4429 | 1248624.8318 | 2683430.3715 | 1248624.856 | 2683433.8833 | 1248625.3836 | 2683438.9629 | 1248626.1334
14 | 2683420.881 | 1248619.3184 | 2683426.3719 | 1248586.4015
15 | 2683401.3988 | 1248637.9343 | 2683402.7884 | 1248638.2117
16 | 2683363.6183 | 1248630.7882 | 2683363.8589 | 1248634.0829 | 2683364.9931 | 1248642.0381 | 2683366.0978 | 1248647.7912 | 2683367.665 | 1248652.3388 | 2683369.3055 | 1248655.9757 | 2683372.5085 | 1248661.2802 | 2683373.5433 | 1248662.7444
17 | 2683438.9629 | 1248626.1334 | 2683450.9966 | 1248611.2597
18 | 2683449.9554 | 1248662.2926 | 2683447.0824 | 1248661.4516 | 2683439.8469 | 1248659.9681
19 | 2683460.6356 | 1248599.3458 | 2683450.9966 | 1248611.2597
20 | 2683413.0559 | 1248668.1876 | 2683410.145 | 1248684.8136
21 | 2683363.6183 | 1248630.7882 | 2683368.3833 | 1248631.3445 | 2683377.0623 | 1248633.0768
22 | 2683377.0623 | 1248633.0768 | 2683401.3988 | 1248637.9343
23 | 2683449.9554 | 1248662.2926 | 2683449.3877 | 1248685.2153
24 | 2683501.8277 | 1248676.4112 | 2683482.6655 | 1248671.7823 | 2683449.9554 | 1248662.2926
25 | 2683501.8277 | 1248676.4112 | 2683497.9222 | 1248685.5963 | 2683495.5839 | 1248695.0481 | 2683491.7197 | 1248715.5107

## bus_geodata
| x | y | coords
0 | 2683380.8769 | 1248686.7761
1 | 2683368.9167 | 1248670.1918
2 | 2683367.0893 | 1248667.6058
3 | 2683372.3309 | 1248667.9938
4 | 2683424.0809 | 1248658.0921
5 | 2683424.6044 | 1248656.843
6 | 2683415.1258 | 1248656.3648
7 | 2683417.4692 | 1248689.1975
8 | 2683417.4698 | 1248641.1421
9 | 2683420.881 | 1248619.3184
10 | 2683402.7884 | 1248638.2117
11 | 2683373.5433 | 1248662.7444
12 | 2683408.7463 | 1248616.8196
13 | 2683438.9629 | 1248626.1334
14 | 2683426.3719 | 1248586.4015
15 | 2683439.8469 | 1248659.9681
16 | 2683450.9966 | 1248611.2597
17 | 2683413.0559 | 1248668.1876
18 | 2683363.6183 | 1248630.7882
19 | 2683377.0623 | 1248633.0768
20 | 2683410.145 | 1248684.8136
21 | 2683401.3988 | 1248637.9343
22 | 2683449.9554 | 1248662.2926
23 | 2683460.6356 | 1248599.3458
24 | 2683449.3877 | 1248685.2153
25 | 2683491.7197 | 1248715.5107
26 | 2683501.8277 | 1248676.4111
27 | 2683419.5028 | 1248657.127

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9893 | -0.20598 | 0.033139 | 0.0083054
1 | 0.98992 | -0.19392 | 0 | 0
2 | 0.98983 | -0.19573 | 0.032056 | 0.0080339
3 | 0.99016 | -0.18922 | 0 | 0
4 | 0.99896 | -0.019867 | 0 | 0
5 | 0.99884 | -0.022217 | 0 | 0
6 | 1 | 0 | -0.39899 | -0.10023
7 | 0.99823 | -0.034033 | 0.025454 | 0.0063793
8 | 0.99835 | -0.031634 | 0 | 0
9 | 0.99714 | -0.054799 | 0 | 0
10 | 0.99715 | -0.054618 | 0.029041 | 0.0072783
11 | 0.99063 | -0.18022 | 0.022796 | 0.0057132
12 | 0.9969 | -0.05956 | 0.021918 | 0.0054932
13 | 0.9966 | -0.065201 | 0 | 0
14 | 0.99676 | -0.062208 | 0.012659 | 0.0031727
15 | 0.99744 | -0.049268 | 0.027884 | 0.0069883
16 | 0.99616 | -0.073706 | 0.0069843 | 0.0017504
17 | 0.99961 | -0.0074449 | 0.017545 | 0.0043971
18 | 0.99337 | -0.12725 | 0 | 0
19 | 0.99447 | -0.10606 | 0.02577 | 0.0064585
20 | 0.99934 | -0.012754 | 0.018029 | 0.0045184
21 | 0.99705 | -0.056435 | 0.032568 | 0.0081622
22 | 0.99676 | -0.062277 | 0.03058 | 0.007664
23 | 0.99591 | -0.078642 | 0.018333 | 0.0045947
24 | 0.9961 | -0.075065 | 0.031769 | 0.0079621
25 | 0.99598 | -0.077389 | 0.0091395 | 0.0022906
26 | 0.99631 | -0.070881 | 0 | 0
27 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033139 | -0.0083054 | 0.033158 | 0.0083174 | 1.905e-05 | 1.193e-05 | 0.049845 | 0.049845 | 0.049845 | 0.9893 | -0.20598 | 0.98992 | -0.19392 | 13.6936
1 | 0.032058 | 0.0080356 | -0.032056 | -0.0080339 | 2.7575e-06 | 1.7241e-06 | 0.048189 | 0.048189 | 0.048189 | 0.98992 | -0.19392 | 0.98983 | -0.19573 | 13.2389
2 | -0.065217 | -0.016353 | 0.065231 | 0.016362 | 1.4603e-05 | 9.2941e-06 | 0.098034 | 0.098034 | 0.098034 | 0.98992 | -0.19392 | 0.99016 | -0.18922 | 26.9324
3 | -0.065231 | -0.016362 | 0.065259 | 0.01638 | 2.8012e-05 | 1.7828e-05 | 0.098034 | 0.098034 | 0.098034 | 0.99016 | -0.18922 | 0.99063 | -0.18022 | 26.9324
4 | 0.099582 | 0.025037 | -0.099571 | -0.02503 | 1.1176e-05 | 7.135e-06 | 0.14836 | 0.14836 | 0.14836 | 0.99896 | -0.019867 | 0.99884 | -0.022217 | 40.7586
5 | -0.12505 | -0.031427 | 0.12517 | 0.031503 | 0.00011873 | 7.5865e-05 | 0.1863 | 0.1863 | 0.1863 | 0.99896 | -0.019867 | 1 | 0 | 51.1824
6 | 0.025471 | 0.0063899 | -0.025454 | -0.0063793 | 1.7191e-05 | 1.0585e-05 | 0.037943 | 0.037943 | 0.037943 | 0.99896 | -0.019867 | 0.99823 | -0.034033 | 10.4239
7 | 0.099571 | 0.02503 | -0.099442 | -0.024948 | 0.00012843 | 8.1993e-05 | 0.14836 | 0.14836 | 0.14836 | 0.99884 | -0.022217 | 0.99744 | -0.049268 | 40.7586
8 | 0.03559 | 0.0089261 | -0.035578 | -0.0089182 | 1.2625e-05 | 7.9224e-06 | 0.052961 | 0.052961 | 0.052961 | 1 | 0 | 0.99961 | -0.0074449 | 14.5498
9 | 0.23658 | 0.059801 | -0.23622 | -0.059572 | 0.00035828 | 0.00022889 | 0.35221 | 0.35221 | 0.35221 | 1 | 0 | 0.99835 | -0.031634 | 48.3811
10 | 0.059998 | 0.015075 | -0.059932 | -0.015033 | 6.6261e-05 | 4.2119e-05 | 0.08944 | 0.08944 | 0.08944 | 0.99835 | -0.031634 | 0.99714 | -0.054799 | 24.5713
11 | 0.17622 | 0.044497 | -0.17603 | -0.044373 | 0.00019383 | 0.00012366 | 0.26278 | 0.26278 | 0.26278 | 0.99835 | -0.031634 | 0.99715 | -0.054618 | 36.0955
12 | 0.021923 | 0.0054963 | -0.021918 | -0.0054932 | 4.9728e-06 | 3.0211e-06 | 0.032716 | 0.032716 | 0.032716 | 0.99714 | -0.054799 | 0.9969 | -0.05956 | 8.988
13 | 0.025345 | 0.0063618 | -0.025332 | -0.0063541 | 1.2568e-05 | 7.7384e-06 | 0.037825 | 0.037825 | 0.037825 | 0.99714 | -0.054799 | 0.9966 | -0.065201 | 10.3915
14 | 0.012664 | 0.0031752 | -0.012659 | -0.0031727 | 4.4696e-06 | 2.4254e-06 | 0.018898 | 0.018899 | 0.018899 | 0.99714 | -0.054799 | 0.99676 | -0.062208 | 5.1919
15 | 0.14699 | 0.037095 | -0.14698 | -0.037087 | 1.2794e-05 | 8.1514e-06 | 0.21944 | 0.21944 | 0.21944 | 0.99715 | -0.054618 | 0.99705 | -0.056435 | 30.1427
16 | -0.088055 | -0.022093 | 0.088278 | 0.022236 | 0.000223 | 0.00014228 | 0.13228 | 0.13228 | 0.13228 | 0.99063 | -0.18022 | 0.99337 | -0.12725 | 36.3394
17 | 0.025332 | 0.0063541 | -0.025322 | -0.0063477 | 1.0265e-05 | 6.3203e-06 | 0.037825 | 0.037825 | 0.037825 | 0.9966 | -0.065201 | 0.99616 | -0.073706 | 10.3915
18 | 0.071559 | 0.01796 | -0.071514 | -0.017932 | 4.4366e-05 | 2.8259e-05 | 0.10676 | 0.10676 | 0.10676 | 0.99744 | -0.049268 | 0.99676 | -0.062277 | 29.3306
19 | 0.018338 | 0.0045973 | -0.018333 | -0.0045947 | 4.3121e-06 | 2.5603e-06 | 0.027392 | 0.027392 | 0.027392 | 0.99616 | -0.073706 | 0.99591 | -0.078642 | 7.5254
20 | 0.018033 | 0.0045211 | -0.018029 | -0.0045184 | 4.5613e-06 | 2.698e-06 | 0.026845 | 0.026845 | 0.026845 | 0.99961 | -0.0074449 | 0.99934 | -0.012754 | 7.3749
21 | -0.088278 | -0.022236 | 0.088368 | 0.022293 | 8.9546e-05 | 5.7133e-05 | 0.13228 | 0.13228 | 0.13228 | 0.99337 | -0.12725 | 0.99447 | -0.10606 | 36.3394
22 | -0.11414 | -0.028751 | 0.11441 | 0.028925 | 0.0002716 | 0.0001735 | 0.17083 | 0.17083 | 0.17083 | 0.99447 | -0.10606 | 0.99705 | -0.056435 | 46.9326
23 | 0.031789 | 0.0079742 | -0.031769 | -0.0079621 | 1.9367e-05 | 1.2096e-05 | 0.047458 | 0.047458 | 0.047458 | 0.99676 | -0.062277 | 0.9961 | -0.075065 | 13.038
24 | 0.0091461 | 0.0022936 | -0.0091424 | -0.0022919 | 3.7491e-06 | 1.7008e-06 | 0.013654 | 0.013655 | 0.013655 | 0.99676 | -0.062277 | 0.99631 | -0.070881 | 3.7512
25 | -0.0091395 | -0.0022906 | 0.0091424 | 0.0022919 | 2.8346e-06 | 1.2864e-06 | 0.013655 | 0.013655 | 0.013655 | 0.99598 | -0.077389 | 0.99631 | -0.070881 | 3.7513

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39899 | 0.10023

## res_load
| p_mw | q_mvar
0 | 0.033139 | 0.0083054
1 | 0.032056 | 0.0080339
2 | 0.025454 | 0.0063793
3 | 0.029041 | 0.0072783
4 | 0.022796 | 0.0057132
5 | 0.021918 | 0.0054932
6 | 0.012659 | 0.0031727
7 | 0.027884 | 0.0069883
8 | 0.0069843 | 0.0017504
9 | 0.017545 | 0.0043971
10 | 0.02577 | 0.0064585
11 | 0.018029 | 0.0045184
12 | 0.032568 | 0.0081622
13 | 0.03058 | 0.007664
14 | 0.018333 | 0.0045947
15 | 0.031769 | 0.0079621
16 | 0.0091395 | 0.0022906

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1