## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-554_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-554_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-554_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-554_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-554_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_261-554_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_261-554_0_4_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_261-554_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-554_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-554_0_4_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_261-554_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-554_0_4_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_261-554_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-554_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_261-554_0_4_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_261-554_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_261-554_0_4_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_261-554_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-554_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-554_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_261-554_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-554_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_261-554_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_261-554_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_261-554_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_261-554_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_261-554_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_261-554_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_261-554_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_261-554_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_261-554_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_261-554_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_261-554_0_4_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_261-554_0_4_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_261-554_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_261-554_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_261-554_0_4_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_261-554_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_261-554_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_261-554_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_261-554_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_261-554_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_261-554_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_261-554_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_261-554_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_261-554_0_4_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_261-554_0_4_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_261-554_0_4_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_261-554_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_261-554_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_261-554_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_261-554_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_261-554_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_261-554_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_261-554_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_261-554_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_261-554_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_261-554_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_261-554_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_261-554_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_261-554_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_261-554_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_261-554_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_261-554_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_261-554_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_261-554_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_261-554_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_261-554_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_MV_545_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-554_0_4_load_0 | 0 | 0.0033131 | 0.00083035 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-554_0_4_load_3 | 3 | 0.0024274 | 0.00060837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-554_0_4_load_19 | 5 | 0.0043373 | 0.001087 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-554_0_4_load_71 | 6 | 0.0035734 | 0.00089558 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-554_0_4_load_70 | 9 | 0.0016385 | 0.00041066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-554_0_4_load_69 | 11 | 0.0012141 | 0.00030429 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-554_0_4_load_26 | 13 | 0.0091735 | 0.0022991 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-554_0_4_load_67 | 14 | 0.0090156 | 0.0022595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-554_0_4_load_60 | 15 | 0.0091096 | 0.0022831 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-554_0_4_load_59 | 16 | 0.0090679 | 0.0022726 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-554_0_4_load_25 | 19 | 0.0030027 | 0.00075254 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-554_0_4_load_49 | 22 | 0.0040735 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-554_0_4_load_28 | 25 | 0.012729 | 0.0031902 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-554_0_4_load_27 | 26 | 0.01256 | 0.0031477 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-554_0_4_load_61 | 29 | 0.0179 | 0.0044862 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-554_0_4_load_53 | 30 | 0.0091991 | 0.0023055 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-554_0_4_load_68 | 32 | 0.0011589 | 0.00029044 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-554_0_4_load_63 | 33 | 0.016763 | 0.0042012 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-554_0_4_load_24 | 34 | 0.0076494 | 0.0019171 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-554_0_4_load_58 | 35 | 0.0091855 | 0.0023021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-554_0_4_load_55 | 37 | 0.053745 | 0.01347 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-554_0_4_load_33 | 39 | 0.0023315 | 0.00058432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-554_0_4_load_29 | 40 | 0.0041519 | 0.0010406 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-554_0_4_load_50 | 41 | 0.0040511 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-554_0_4_load_48 | 42 | 0.013151 | 0.0032961 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-554_0_4_load_54 | 43 | 0.0053253 | 0.0013347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-554_0_4_load_62 | 44 | 0.0067214 | 0.0016845 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-554_0_4_load_21 | 45 | 0.0073841 | 0.0018506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-554_0_4_load_22 | 46 | 0.0066972 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-554_0_4_load_23 | 47 | 0.0074425 | 0.0018653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-554_0_4_load_30 | 48 | 0.0090278 | 0.0022626 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-554_0_4_load_32 | 49 | 0.0087816 | 0.0022009 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-554_0_4_load_34 | 50 | 0.0088421 | 0.002216 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-554_0_4_load_35 | 51 | 0.0027695 | 0.0006941 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-554_0_4_load_36 | 52 | 0.0073547 | 0.0018433 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-554_0_4_load_52 | 53 | 0.0073612 | 0.0018449 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-554_0_4_load_37 | 55 | 0.0099235 | 0.0024871 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-554_0_4_load_38 | 56 | 0.020971 | 0.0052559 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-554_0_4_load_40 | 58 | 0.0075216 | 0.0018851 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-554_0_4_load_42 | 59 | 0.0080415 | 0.0020154 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-554_0_4_load_43 | 60 | 0.0065393 | 0.0016389 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-554_0_4_load_66 | 61 | 0.0081214 | 0.0020354 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-554_0_4_load_57 | 62 | 0.0092321 | 0.0023138 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-554_0_4_load_65 | 63 | 0.0080124 | 0.0020081 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-554_0_4_load_45 | 64 | 0.0063992 | 0.0016038 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-554_0_4_load_56 | 65 | 0.024593 | 0.0061636 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-554_0_4_load_51 | 66 | 0.0027428 | 0.00068742 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-554_0_4_load_64 | 67 | 0.0080798 | 0.002025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-554_0_4_line_0 |  | 0 | 1 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-554_0_4_line_1 |  | 0 | 2 | 0.018162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-554_0_4_line_2 |  | 1 | 3 | 0.0078665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-554_0_4_line_3 |  | 1 | 4 | 0.020513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-554_0_4_line_4 |  | 2 | 5 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-554_0_4_line_5 |  | 3 | 6 | 0.0058274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-554_0_4_line_6 |  | 4 | 15 | 0.013962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-554_0_4_line_7 |  | 4 | 16 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-554_0_4_line_8 |  | 6 | 7 | 0.034111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-554_0_4_line_9 |  | 7 | 8 | 0.012444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-554_0_4_line_10 |  | 7 | 9 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-554_0_4_line_11 |  | 8 | 10 | 0.014905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-554_0_4_line_12 |  | 8 | 11 | 6.6459e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-554_0_4_line_13 |  | 10 | 12 | 0.010821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-554_0_4_line_14 |  | 10 | 13 | 0.008122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-554_0_4_line_15 |  | 12 | 14 | 0.012636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-554_0_4_line_16 |  | 13 | 18 | 0.019963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-554_0_4_line_17 |  | 14 | 34 | 0.016074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-554_0_4_line_18 |  | 15 | 29 | 0.033084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-554_0_4_line_19 |  | 16 | 35 | 0.016592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-554_0_4_line_20 |  | 17 | 18 | 0.0069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-554_0_4_line_21 |  | 17 | 19 | 0.010029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-554_0_4_line_22 |  | 20 | 21 | 0.004931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-554_0_4_line_23 |  | 20 | 22 | 0.0152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-554_0_4_line_24 |  | 21 | 39 | 0.0093586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-554_0_4_line_25 |  | 21 | 40 | 0.041332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-554_0_4_line_26 |  | 22 | 41 | 0.030723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-554_0_4_line_27 |  | 23 | 24 | 0.027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-554_0_4_line_28 |  | 23 | 25 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-554_0_4_line_29 |  | 23 | 26 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-554_0_4_line_30 |  | 24 | 30 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-554_0_4_line_31 |  | 25 | 42 | 0.0065528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-554_0_4_line_32 |  | 27 | 28 | 0.017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-554_0_4_line_33 |  | 27 | 29 | 0.029083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-554_0_4_line_34 |  | 28 | 33 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-554_0_4_line_35 |  | 28 | 31 | 0.072802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-554_0_4_line_36 |  | 30 | 43 | 0.027205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_261-554_0_4_line_37 |  | 31 | 32 | 0.071453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-554_0_4_line_38 |  | 33 | 44 | 0.016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-554_0_4_line_39 |  | 34 | 46 | 0.0060986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-554_0_4_line_40 |  | 35 | 62 | 0.022484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-554_0_4_line_41 |  | 36 | 37 | 0.055369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-554_0_4_line_42 |  | 36 | 38 | 0.085991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-554_0_4_line_43 |  | 37 | 65 | 0.038328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-554_0_4_line_44 |  | 38 | 64 | 0.027939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-554_0_4_line_45 |  | 38 | 60 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-554_0_4_line_46 |  | 39 | 43 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_261-554_0_4_line_47 |  | 40 | 48 | 0.0088916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-554_0_4_line_48 |  | 41 | 66 | 0.036806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-554_0_4_line_49 |  | 44 | 67 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_261-554_0_4_line_50 |  | 45 | 46 | 0.011966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-554_0_4_line_51 |  | 45 | 47 | 0.01766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-554_0_4_line_52 |  | 48 | 49 | 0.03079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_261-554_0_4_line_53 |  | 49 | 50 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_261-554_0_4_line_54 |  | 50 | 51 | 0.013344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_261-554_0_4_line_55 |  | 51 | 52 | 0.01351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-554_0_4_line_56 |  | 52 | 53 | 0.01338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_261-554_0_4_line_57 |  | 53 | 54 | 0.034443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_261-554_0_4_line_58 |  | 54 | 61 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_261-554_0_4_line_59 |  | 55 | 56 | 0.0033569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-554_0_4_line_60 |  | 55 | 57 | 0.028675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_261-554_0_4_line_61 |  | 56 | 58 | 0.023176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-554_0_4_line_62 |  | 57 | 59 | 0.011055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_261-554_0_4_line_63 |  | 58 | 60 | 0.021946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-554_0_4_line_64 |  | 59 | 62 | 0.017303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_261-554_0_4_line_65 |  | 61 | 63 | 0.021292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_261-554_0_4_line_66 |  | 63 | 67 | 0.0099887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-554_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 68 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2681358.3979 | 1245836.3586 | 2681348.5885 | 1245827.2058
1 | 2681335.309 | 1245814.8152 | 2681348.5885 | 1245827.2058
2 | 2681358.3979 | 1245836.3586 | 2681364.1995 | 1245841.6712
3 | 2681344.2731 | 1245843.2143 | 2681348.6383 | 1245847.2104 | 2681352.3673 | 1245843.0585 | 2681353.1344 | 1245842.2129 | 2681354.178 | 1245841.0486 | 2681358.3979 | 1245836.3586
4 | 2681335.309 | 1245814.8152 | 2681346.5355 | 1245802.7826 | 2681349.5261 | 1245799.4402
5 | 2681368.4972 | 1245845.6066 | 2681364.1995 | 1245841.6712
6 | 2681344.2731 | 1245843.2143 | 2681333.9814 | 1245833.779
7 | 2681344.2731 | 1245843.2143 | 2681335.0973 | 1245864.0576
8 | 2681393.6546 | 1245868.6435 | 2681368.4972 | 1245845.6066
9 | 2681402.8935 | 1245877.0097 | 2681393.6546 | 1245868.6435
10 | 2681393.6546 | 1245868.6435 | 2681400.2408 | 1245855.0204
11 | 2681392.8521 | 1245888.0244 | 2681397.3778 | 1245883.0717 | 2681402.8935 | 1245877.0097
12 | 2681402.9459 | 1245877.0505 | 2681402.8935 | 1245877.0097
13 | 2681385.0523 | 1245880.5008 | 2681392.8521 | 1245888.0244
14 | 2681392.8521 | 1245888.0244 | 2681398.4692 | 1245893.8908
15 | 2681385.0523 | 1245880.5008 | 2681376.6324 | 1245889.9222
16 | 2681410.1404 | 1245909.9331 | 2681408.1316 | 1245906.0138 | 2681403.5111 | 1245899.1565 | 2681398.4692 | 1245893.8908
17 | 2681365.5752 | 1245901.3488 | 2681369.1879 | 1245896.3057 | 2681373.8415 | 1245893.045 | 2681376.6324 | 1245889.9222
18 | 2681333.9814 | 1245833.779 | 2681309.5947 | 1245811.4217
19 | 2681328.1784 | 1245879.1298 | 2681329.7834 | 1245876.1285 | 2681335.0973 | 1245864.0576
20 | 2681412.3097 | 1245916.4676 | 2681410.9401 | 1245911.6675 | 2681410.1404 | 1245909.9331
21 | 2681412.3097 | 1245916.4676 | 2681408.2611 | 1245916.3898 | 2681402.6354 | 1245918.4154
22 | 2681150.0719 | 1246011.6215 | 2681145.838 | 1246009.0728
23 | 2681145.838 | 1246009.0728 | 2681153.7341 | 1245996.0852
24 | 2681150.0719 | 1246011.6215 | 2681158.0964 | 1246016.4371
25 | 2681150.0719 | 1246011.6215 | 2681150.3276 | 1246009.5012 | 2681150.7742 | 1246007.7839 | 2681151.6681 | 1246005.9503 | 2681161.3217 | 1245990.1042 | 2681166.876 | 1245982.8527 | 2681172.0862 | 1245977.1924
26 | 2681153.7341 | 1245996.0852 | 2681160.9026 | 1245984.2942 | 2681170.9045 | 1245972.8116 | 2681172.1499 | 1245971.6605
27 | 2681239.5804 | 1246055.6898 | 2681214.7654 | 1246043.8081
28 | 2681239.5804 | 1246055.6898 | 2681243.9706 | 1246045.635
29 | 2681239.5804 | 1246055.6898 | 2681254.2642 | 1246062.7418
30 | 2681214.7654 | 1246043.8081 | 2681204.0199 | 1246038.6793
31 | 2681246.5927 | 1246039.6297 | 2681243.9706 | 1246045.635
32 | 2681273.5856 | 1245787.3938 | 2681285.6549 | 1245793.2412 | 2681289.034 | 1245790.908
33 | 2681289.034 | 1245790.908 | 2681295.0433 | 1245797.8843 | 2681301.1294 | 1245803.6608 | 2681309.5947 | 1245811.4217
34 | 2681273.5856 | 1245787.3938 | 2681267.4475 | 1245806.3457 | 2681265.5414 | 1245812.5951
35 | 2681225.422 | 1245813.6087 | 2681249.7392 | 1245774.7802 | 2681263.8366 | 1245782.6012 | 2681265.3662 | 1245783.4561 | 2681273.5856 | 1245787.3938
36 | 2681204.0199 | 1246038.6793 | 2681179.468 | 1246026.9609
37 | 2681225.422 | 1245813.6087 | 2681192.9579 | 1245866.4027 | 2681191.3471 | 1245867.6149 | 2681189.187 | 1245868.1079 | 2681187.0722 | 1245868.0567 | 2681184.0259 | 1245867.3405
38 | 2681260.5502 | 1245828.3789 | 2681261.9255 | 1245824.4499 | 2681265.5414 | 1245812.5951
39 | 2681364.6392 | 1245907.3403 | 2681364.6392 | 1245907.3403 | 2681364.7535 | 1245904.5176 | 2681365.5752 | 1245901.3488 | 2681365.5752 | 1245901.3488
40 | 2681312.6225 | 1245894.9078 | 2681317.3665 | 1245890.68 | 2681325.4331 | 1245884.2637 | 2681328.1784 | 1245879.1298
41 | 2681348.1339 | 1246062.349 | 2681344.0503 | 1246063.1713 | 2681338.2252 | 1246062.6244 | 2681332.7436 | 1246061.2594 | 2681329.0986 | 1246059.8528 | 2681325.8791 | 1246057.1734 | 2681323.5601 | 1246053.2832 | 2681321.8713 | 1246047.5114 | 2681321.3421 | 1246041.4775 | 2681320.9385 | 1246026.4751
42 | 2681329.5988 | 1245988.1519 | 2681327.3513 | 1245994.4701 | 2681327.21 | 1245999.8165 | 2681329.3009 | 1246025.286 | 2681329.7719 | 1246040.5146 | 2681329.667 | 1246048.1632 | 2681330.2279 | 1246051.8847 | 2681331.888 | 1246054.7874 | 2681334.2991 | 1246056.922 | 2681337.0316 | 1246058.2048 | 2681339.635 | 1246058.9855 | 2681345.7615 | 1246060.1482 | 2681348.1339 | 1246062.349
43 | 2681323.4526 | 1245988.4234 | 2681321.1007 | 1245999.5993 | 2681320.4465 | 1246008.1855 | 2681320.9385 | 1246026.4751
44 | 2681329.5988 | 1245988.1519 | 2681334.7629 | 1245991.7364 | 2681356.4057 | 1245991.0896
45 | 2681329.5988 | 1245988.1519 | 2681329.7489 | 1245977.2127 | 2681329.7245 | 1245976.733
46 | 2681158.0964 | 1246016.4371 | 2681160.728 | 1246018.0164 | 2681179.468 | 1246026.9609
47 | 2681172.0862 | 1245977.1924 | 2681173.6481 | 1245975.4956 | 2681178.5006 | 1245971.0436
48 | 2681172.1499 | 1245971.6605 | 2681192.9659 | 1245952.4209 | 2681197.2418 | 1245945.1204
49 | 2681260.5502 | 1245828.3789 | 2681257.2074 | 1245837.9284 | 2681252.8491 | 1245851.0671 | 2681252.8491 | 1245851.0671
50 | 2681371.5471 | 1245917.0866 | 2681367.5589 | 1245912.0504 | 2681364.6392 | 1245907.3403
51 | 2681371.5471 | 1245917.0866 | 2681375.8108 | 1245920.214 | 2681379.6513 | 1245924.4475 | 2681380.8528 | 1245927.7331 | 2681382.6227 | 1245930.3481
52 | 2681178.5006 | 1245971.0436 | 2681184.2761 | 1245965.745 | 2681195.3732 | 1245955.3894 | 2681196.6443 | 1245954.7063 | 2681198.4933 | 1245954.3091 | 2681200.0215 | 1245954.1632 | 2681202.7767 | 1245953.2447
53 | 2681202.7767 | 1245953.2447 | 2681202.7767 | 1245953.2447 | 2681205.1419 | 1245951.5647 | 2681206.9187 | 1245949.2652 | 2681207.938 | 1245946.5549 | 2681208.1222 | 1245943.5886 | 2681207.5546 | 1245941.3217
54 | 2681205.0157 | 1245929.8917 | 2681205.0157 | 1245929.8917 | 2681203.2188 | 1245935.8603 | 2681205.8543 | 1245938.1648 | 2681207.3987 | 1245940.6988 | 2681207.5546 | 1245941.3217
55 | 2681205.0157 | 1245929.8917 | 2681206.5774 | 1245927.3001 | 2681210.5314 | 1245923.2513 | 2681214.7493 | 1245920.9073
56 | 2681214.7493 | 1245920.9073 | 2681214.7493 | 1245920.9073 | 2681221.9336 | 1245919.3156 | 2681227.9416 | 1245918.9174
57 | 2681252.1515 | 1245901.9612 | 2681248.5686 | 1245900.9781 | 2681246.7061 | 1245908.4247 | 2681245.0529 | 1245911.6266 | 2681242.7186 | 1245914.3633 | 2681239.8866 | 1245916.4705 | 2681236.656 | 1245917.894 | 2681233.1939 | 1245918.5693 | 2681227.9416 | 1245918.9174
58 | 2681252.1515 | 1245901.9612 | 2681255.9587 | 1245883.2776 | 2681256.1201 | 1245881.7969
59 | 2681313.4883 | 1245936.2729 | 2681311.6249 | 1245933.4807
60 | 2681291.4518 | 1245913.7749 | 2681293.409 | 1245914.847 | 2681304.8821 | 1245923.3771 | 2681311.6249 | 1245933.4807
61 | 2681313.4883 | 1245936.2729 | 2681326.3535 | 1245955.5507
62 | 2681291.4518 | 1245913.7749 | 2681299.7049 | 1245906.4198
63 | 2681329.7245 | 1245976.733 | 2681328.8799 | 1245960.155 | 2681328.7872 | 1245959.1975 | 2681326.3535 | 1245955.5507
64 | 2681299.7049 | 1245906.4198 | 2681312.6225 | 1245894.9078
65 | 2681255.5766 | 1245860.6762 | 2681256.0492 | 1245862.3414 | 2681257.0996 | 1245872.8078 | 2681256.1201 | 1245881.7969
66 | 2681255.5766 | 1245860.6762 | 2681252.8491 | 1245851.0671

## bus_geodata
| x | y | coords
0 | 2681348.5885 | 1245827.2058
1 | 2681358.3979 | 1245836.3586
2 | 2681335.309 | 1245814.8152
3 | 2681364.1995 | 1245841.6712
4 | 2681344.2731 | 1245843.2143
5 | 2681349.5261 | 1245799.4402
6 | 2681368.4972 | 1245845.6066
7 | 2681393.6546 | 1245868.6435
8 | 2681402.8935 | 1245877.0097
9 | 2681400.2408 | 1245855.0204
10 | 2681392.8521 | 1245888.0244
11 | 2681402.9459 | 1245877.0505
12 | 2681385.0523 | 1245880.5008
13 | 2681398.4692 | 1245893.8908
14 | 2681376.6324 | 1245889.9222
15 | 2681333.9814 | 1245833.779
16 | 2681335.0973 | 1245864.0576
17 | 2681412.3097 | 1245916.4676
18 | 2681410.1404 | 1245909.9331
19 | 2681402.6354 | 1245918.4154
20 | 2681145.838 | 1246009.0728
21 | 2681150.0719 | 1246011.6215
22 | 2681153.7341 | 1245996.0852
23 | 2681239.5804 | 1246055.6898
24 | 2681214.7654 | 1246043.808
25 | 2681243.9706 | 1246045.635
26 | 2681254.2642 | 1246062.7418
27 | 2681289.034 | 1245790.908
28 | 2681273.5856 | 1245787.3938
29 | 2681309.5947 | 1245811.4217
30 | 2681204.0199 | 1246038.6793
31 | 2681225.422 | 1245813.6087
32 | 2681184.0259 | 1245867.3405
33 | 2681265.5414 | 1245812.5951
34 | 2681365.5752 | 1245901.3488
35 | 2681328.1784 | 1245879.1298
36 | 2681348.1339 | 1246062.349
37 | 2681320.9385 | 1246026.4751
38 | 2681329.5988 | 1245988.1519
39 | 2681158.0964 | 1246016.4371
40 | 2681172.0862 | 1245977.1924
41 | 2681172.1499 | 1245971.6605
42 | 2681246.5927 | 1246039.6297
43 | 2681179.468 | 1246026.9609
44 | 2681260.5502 | 1245828.3789
45 | 2681371.5471 | 1245917.0866
46 | 2681364.6392 | 1245907.3403
47 | 2681382.6227 | 1245930.3481
48 | 2681178.5006 | 1245971.0436
49 | 2681202.7767 | 1245953.2447
50 | 2681207.5546 | 1245941.3217
51 | 2681205.0157 | 1245929.8917
52 | 2681214.7493 | 1245920.9073
53 | 2681227.9416 | 1245918.9174
54 | 2681252.1515 | 1245901.9612
55 | 2681311.6249 | 1245933.4807
56 | 2681313.4883 | 1245936.2729
57 | 2681291.4518 | 1245913.7749
58 | 2681326.3535 | 1245955.5507
59 | 2681299.7049 | 1245906.4198
60 | 2681329.7245 | 1245976.733
61 | 2681256.1201 | 1245881.7969
62 | 2681312.6225 | 1245894.9078
63 | 2681255.5766 | 1245860.6762
64 | 2681356.4057 | 1245991.0896
65 | 2681323.4526 | 1245988.4234
66 | 2681197.2418 | 1245945.1204
67 | 2681252.8491 | 1245851.0671
68 | 2681291.4518 | 1245913.7749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98846 | -0.22015 | 0.0033131 | 0.00083035
1 | 0.98855 | -0.21831 | 0 | 0
2 | 0.98838 | -0.22155 | 0 | 0
3 | 0.98812 | -0.22663 | 0.0024274 | 0.00060837
4 | 0.98981 | -0.19388 | 0 | 0
5 | 0.9883 | -0.22317 | 0.0043373 | 0.001087
6 | 0.98782 | -0.23254 | 0.0035734 | 0.00089558
7 | 0.98614 | -0.26502 | 0 | 0
8 | 0.98555 | -0.27653 | 0 | 0
9 | 0.98612 | -0.26547 | 0.0016385 | 0.00041066
10 | 0.98486 | -0.29001 | 0 | 0
11 | 0.98555 | -0.27653 | 0.0012141 | 0.00030429
12 | 0.98448 | -0.29744 | 0 | 0
13 | 0.98477 | -0.29179 | 0.0091735 | 0.0022991
14 | 0.98403 | -0.30613 | 0.0090156 | 0.0022595
15 | 0.98899 | -0.20965 | 0.0091096 | 0.0022831
16 | 0.99162 | -0.1592 | 0.0090679 | 0.0022726
17 | 0.98469 | -0.29324 | 0 | 0
18 | 0.98471 | -0.29287 | 0 | 0
19 | 0.98467 | -0.29378 | 0.0030027 | 0.00075254
20 | 0.97501 | -0.48144 | 0 | 0
21 | 0.97506 | -0.48046 | 0 | 0
22 | 0.97486 | -0.48447 | 0.0040735 | 0.0010209
23 | 0.9723 | -0.53496 | 0 | 0
24 | 0.97328 | -0.51553 | 0 | 0
25 | 0.97203 | -0.5402 | 0.012729 | 0.0031902
26 | 0.97211 | -0.53873 | 0.01256 | 0.0031477
27 | 0.98567 | -0.27371 | 0 | 0
28 | 0.98478 | -0.29079 | 0 | 0
29 | 0.98714 | -0.24534 | 0.0179 | 0.0044862
30 | 0.97371 | -0.50711 | 0.0091991 | 0.0023055
31 | 0.98471 | -0.29232 | 0 | 0
32 | 0.98463 | -0.29381 | 0.0011589 | 0.00029044
33 | 0.98346 | -0.31653 | 0.016763 | 0.0042012
34 | 0.9836 | -0.31457 | 0.0076494 | 0.0019171
35 | 0.99298 | -0.13313 | 0.0091855 | 0.0023021
36 | 0.98858 | -0.21862 | 0 | 0
37 | 0.98458 | -0.29629 | 0.053745 | 0.01347
38 | 0.99479 | -0.099223 | 0 | 0
39 | 0.9749 | -0.48362 | 0.0023315 | 0.00058432
40 | 0.97591 | -0.46376 | 0.0041519 | 0.0010406
41 | 0.97467 | -0.4883 | 0.0040511 | 0.0010153
42 | 0.97195 | -0.54179 | 0.013151 | 0.0032961
43 | 0.97431 | -0.4952 | 0.0053253 | 0.0013347
44 | 0.98271 | -0.33101 | 0.0067214 | 0.0016845
45 | 0.98332 | -0.32013 | 0.0073841 | 0.0018506
46 | 0.98348 | -0.31693 | 0.0066972 | 0.0016785
47 | 0.9832 | -0.3225 | 0.0074425 | 0.0018653
48 | 0.97611 | -0.45994 | 0.0090278 | 0.0022626
49 | 0.97687 | -0.44506 | 0.0087816 | 0.0022009
50 | 0.97725 | -0.43754 | 0.0088421 | 0.002216
51 | 0.97765 | -0.42967 | 0.0027695 | 0.0006941
52 | 0.97807 | -0.42148 | 0.0073547 | 0.0018433
53 | 0.97851 | -0.41278 | 0.0073612 | 0.0018449
54 | 0.97974 | -0.38889 | 0 | 0
55 | 1 | 0 | -0.42033 | -0.10731
56 | 0.99963 | -0.0070106 | 0.020971 | 0.0052559
57 | 0.99741 | -0.048904 | 0 | 0
58 | 0.99752 | -0.047037 | 0.0075216 | 0.0018851
59 | 0.99641 | -0.067825 | 0.0080415 | 0.0020154
60 | 0.99568 | -0.082192 | 0.0065393 | 0.0016389
61 | 0.98047 | -0.37465 | 0.0081214 | 0.0020354
62 | 0.9949 | -0.0967 | 0.0092321 | 0.0023138
63 | 0.98128 | -0.35889 | 0.0080124 | 0.0020081
64 | 0.99463 | -0.10237 | 0.0063992 | 0.0016038
65 | 0.98371 | -0.31325 | 0.024593 | 0.0061636
66 | 0.97457 | -0.49015 | 0.0027428 | 0.00068742
67 | 0.98168 | -0.35102 | 0.0080798 | 0.002025
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007651 | -0.0019173 | 0.0076517 | 0.0019175 | 6.6741e-07 | 2.5516e-07 | 0.011518 | 0.011518 | 0.011518 | 0.98846 | -0.22015 | 0.98855 | -0.21831 | 3.1642
1 | 0.0043379 | 0.0010869 | -0.0043376 | -0.001087 | 2.9044e-07 | -4.6911e-08 | 0.0065301 | 0.0065302 | 0.0065302 | 0.98846 | -0.22015 | 0.98838 | -0.22155 | 1.794
2 | 0.05945 | 0.014987 | -0.059426 | -0.014972 | 2.3639e-05 | 1.5028e-05 | 0.089518 | 0.089518 | 0.089518 | 0.98855 | -0.21831 | 0.98812 | -0.22663 | 24.5929
3 | -0.067102 | -0.016904 | 0.06718 | 0.016954 | 7.8525e-05 | 4.9993e-05 | 0.10104 | 0.10104 | 0.10104 | 0.98855 | -0.21831 | 0.98981 | -0.19388 | 27.7571
4 | 0.0043376 | 0.001087 | -0.0043373 | -0.001087 | 3.3489e-07 | -5.4041e-08 | 0.0065302 | 0.0065303 | 0.0065303 | 0.98838 | -0.22155 | 0.9883 | -0.22317 | 1.794
5 | 0.056999 | 0.014364 | -0.056983 | -0.014353 | 1.6111e-05 | 1.0236e-05 | 0.085863 | 0.085863 | 0.085863 | 0.98812 | -0.22663 | 0.98782 | -0.23254 | 23.5886
6 | 0.19233 | 0.048968 | -0.19219 | -0.048875 | 0.00014619 | 9.3021e-05 | 0.28941 | 0.28941 | 0.28941 | 0.98981 | -0.19388 | 0.98899 | -0.20965 | 26.503
7 | -0.25951 | -0.065922 | 0.25995 | 0.066199 | 0.00043398 | 0.00027687 | 0.39045 | 0.39045 | 0.39045 | 0.98981 | -0.19388 | 0.99162 | -0.1592 | 35.7554
8 | 0.053409 | 0.013458 | -0.053326 | -0.013405 | 8.2853e-05 | 5.259e-05 | 0.08048 | 0.08048 | 0.08048 | 0.98782 | -0.23254 | 0.98614 | -0.26502 | 22.1099
9 | 0.051688 | 0.012995 | -0.051659 | -0.012977 | 2.8396e-05 | 1.8015e-05 | 0.078008 | 0.078008 | 0.078008 | 0.98614 | -0.26502 | 0.98555 | -0.27653 | 21.4307
10 | 0.0016386 | 0.00041048 | -0.0016385 | -0.00041066 | 3.4687e-08 | -1.7085e-07 | 0.0024724 | 0.0024725 | 0.0024725 | 0.98614 | -0.26502 | 0.98612 | -0.26547 | 0.67925
11 | 0.050445 | 0.012672 | -0.050413 | -0.012652 | 3.2432e-05 | 2.0567e-05 | 0.076174 | 0.076175 | 0.076175 | 0.98555 | -0.27653 | 0.98486 | -0.29001 | 20.9271
12 | 0.0012141 | 0.00030429 | -0.0012141 | -0.00030429 | 8.5023e-11 | -7.9616e-10 | 0.0018331 | 0.0018331 | 0.0018331 | 0.98555 | -0.27653 | 0.98555 | -0.27653 | 0.5036
13 | 0.038235 | 0.0095999 | -0.038222 | -0.0095914 | 1.3545e-05 | 8.5313e-06 | 0.057776 | 0.057776 | 0.057776 | 0.98486 | -0.29001 | 0.98448 | -0.29744 | 15.8724
14 | 0.012178 | 0.0030519 | -0.012177 | -0.0030514 | 1.031e-06 | 5.5653e-07 | 0.018399 | 0.018399 | 0.018399 | 0.98486 | -0.29001 | 0.98477 | -0.29179 | 5.0547
15 | 0.038222 | 0.0095914 | -0.038206 | -0.0095814 | 1.5817e-05 | 9.9622e-06 | 0.057776 | 0.057776 | 0.057776 | 0.98448 | -0.29744 | 0.98403 | -0.30613 | 15.8725
16 | 0.003003 | 0.00075225 | -0.0030028 | -0.00075241 | 1.5413e-07 | -1.5533e-07 | 0.0045374 | 0.0045375 | 0.0045375 | 0.98477 | -0.29179 | 0.98471 | -0.29287 | 1.2466
17 | 0.02919 | 0.0073219 | -0.029179 | -0.0073145 | 1.1746e-05 | 7.313e-06 | 0.044143 | 0.044143 | 0.044143 | 0.98403 | -0.30613 | 0.9836 | -0.31457 | 12.1271
18 | 0.18308 | 0.046591 | -0.18276 | -0.046392 | 0.00031436 | 0.00019992 | 0.27571 | 0.27571 | 0.27571 | 0.98899 | -0.20965 | 0.98714 | -0.24534 | 25.248
19 | -0.26902 | -0.068472 | 0.26935 | 0.068688 | 0.00033861 | 0.00021607 | 0.40406 | 0.40406 | 0.40406 | 0.99162 | -0.1592 | 0.99298 | -0.13313 | 37.0014
20 | -0.0030027 | -0.00075246 | 0.0030028 | 0.00075241 | 5.3275e-08 | -5.3679e-08 | 0.0045376 | 0.0045375 | 0.0045376 | 0.98469 | -0.29324 | 0.98471 | -0.29287 | 1.2466
21 | 0.0030027 | 0.00075246 | -0.0030027 | -0.00075254 | 7.7432e-08 | -7.8012e-08 | 0.0045376 | 0.0045376 | 0.0045376 | 0.98469 | -0.29324 | 0.98467 | -0.29378 | 1.2466
22 | -0.01087 | -0.0027246 | 0.010871 | 0.0027248 | 5.0893e-07 | 2.6421e-07 | 0.01659 | 0.01659 | 0.01659 | 0.97501 | -0.48144 | 0.97506 | -0.48046 | 4.5577
23 | 0.01087 | 0.0027246 | -0.010869 | -0.0027237 | 1.5688e-06 | 8.1448e-07 | 0.01659 | 0.01659 | 0.01659 | 0.97501 | -0.48144 | 0.97486 | -0.48447 | 4.5577
24 | 0.055422 | 0.013936 | -0.055413 | -0.013931 | 8.3715e-06 | 5.0076e-06 | 0.084594 | 0.084594 | 0.084594 | 0.97506 | -0.48046 | 0.9749 | -0.48362 | 7.7467
25 | -0.066293 | -0.016661 | 0.066345 | 0.016693 | 5.2896e-05 | 3.2305e-05 | 0.10118 | 0.10118 | 0.10118 | 0.97506 | -0.48046 | 0.97591 | -0.46376 | 9.2659
26 | 0.0067954 | 0.0017028 | -0.0067942 | -0.0017024 | 1.2395e-06 | 4.1031e-07 | 0.010372 | 0.010372 | 0.010372 | 0.97486 | -0.48447 | 0.97467 | -0.4883 | 2.8496
27 | -0.03845 | -0.0096398 | 0.038485 | 0.0096622 | 3.5639e-05 | 2.2468e-05 | 0.058845 | 0.058845 | 0.058845 | 0.9723 | -0.53496 | 0.97328 | -0.51553 | 16.1662
28 | 0.025888 | 0.0064908 | -0.025881 | -0.0064868 | 6.4584e-06 | 3.9973e-06 | 0.03962 | 0.03962 | 0.03962 | 0.9723 | -0.53496 | 0.97203 | -0.5402 | 10.8846
29 | 0.012562 | 0.003149 | -0.01256 | -0.0031477 | 2.2577e-06 | 1.243e-06 | 0.019225 | 0.019225 | 0.019225 | 0.9723 | -0.53496 | 0.97211 | -0.53873 | 5.2816
30 | -0.038485 | -0.0096622 | 0.038501 | 0.009672 | 1.5461e-05 | 9.7471e-06 | 0.058845 | 0.058845 | 0.058845 | 0.97328 | -0.51553 | 0.97371 | -0.50711 | 16.1662
31 | 0.013152 | 0.0032966 | -0.013151 | -0.0032961 | 9.9616e-07 | 5.5632e-07 | 0.020134 | 0.020134 | 0.020134 | 0.97203 | -0.5402 | 0.97195 | -0.54179 | 5.5314
32 | 0.16464 | 0.041763 | -0.1645 | -0.041677 | 0.00013515 | 8.5829e-05 | 0.24873 | 0.24873 | 0.24873 | 0.98567 | -0.27371 | 0.98478 | -0.29079 | 22.7771
33 | -0.16464 | -0.041763 | 0.16486 | 0.041905 | 0.0002249 | 0.00014282 | 0.24873 | 0.24873 | 0.24873 | 0.98567 | -0.27371 | 0.98714 | -0.24534 | 22.7771
34 | 0.16334 | 0.041388 | -0.16314 | -0.04126 | 0.00020171 | 0.00012808 | 0.24697 | 0.24698 | 0.24698 | 0.98478 | -0.29079 | 0.98346 | -0.31653 | 22.6168
35 | 0.0011591 | 0.00028872 | -0.001159 | -0.00028959 | 8.3693e-08 | -8.7263e-07 | 0.0017507 | 0.001751 | 0.001751 | 0.98478 | -0.29079 | 0.98471 | -0.29232 | 0.48106
36 | -0.0477 | -0.011978 | 0.047727 | 0.011994 | 2.7111e-05 | 1.6674e-05 | 0.072903 | 0.072903 | 0.072903 | 0.97371 | -0.50711 | 0.97431 | -0.4952 | 10.0141
37 | 0.001159 | 0.00028959 | -0.0011589 | -0.00029044 | 8.2172e-08 | -8.563e-07 | 0.001751 | 0.0017514 | 0.0017514 | 0.98471 | -0.29232 | 0.98463 | -0.29381 | 0.48114
38 | 0.14638 | 0.037059 | -0.14628 | -0.036994 | 0.00010164 | 6.4421e-05 | 0.22161 | 0.22161 | 0.22161 | 0.98346 | -0.31653 | 0.98271 | -0.33101 | 20.2942
39 | 0.021529 | 0.0053974 | -0.021527 | -0.005396 | 2.4261e-06 | 1.4753e-06 | 0.032571 | 0.032571 | 0.032571 | 0.9836 | -0.31457 | 0.98348 | -0.31693 | 8.948
40 | -0.27854 | -0.07099 | 0.27903 | 0.071303 | 0.00049063 | 0.00031313 | 0.41782 | 0.41782 | 0.41782 | 0.99298 | -0.13313 | 0.9949 | -0.0967 | 38.2619
41 | 0.078649 | 0.019831 | -0.078358 | -0.019646 | 0.0002912 | 0.00018566 | 0.11843 | 0.11843 | 0.11843 | 0.98858 | -0.21862 | 0.98458 | -0.29629 | 32.5346
42 | -0.078649 | -0.019831 | 0.079101 | 0.02012 | 0.00045225 | 0.00028833 | 0.11843 | 0.11843 | 0.11843 | 0.98858 | -0.21862 | 0.99479 | -0.099223 | 32.5346
43 | 0.024613 | 0.0061759 | -0.024593 | -0.0061636 | 1.9891e-05 | 1.2243e-05 | 0.037201 | 0.037201 | 0.037201 | 0.98458 | -0.29629 | 0.98371 | -0.31325 | 10.22
44 | 0.0064002 | 0.0016041 | -0.0063992 | -0.0016038 | 9.6025e-07 | 2.5189e-07 | 0.0095735 | 0.0095736 | 0.0095736 | 0.99479 | -0.099223 | 0.99463 | -0.10237 | 2.6301
45 | -0.085502 | -0.021724 | 0.085572 | 0.021768 | 7.0166e-05 | 4.4758e-05 | 0.128 | 0.128 | 0.128 | 0.99479 | -0.099223 | 0.99568 | -0.082192 | 35.1645
46 | 0.053082 | 0.013347 | -0.053052 | -0.013329 | 2.9346e-05 | 1.8188e-05 | 0.081035 | 0.081036 | 0.081036 | 0.9749 | -0.48362 | 0.97431 | -0.4952 | 11.1313
47 | -0.070497 | -0.017734 | 0.07051 | 0.017742 | 1.2848e-05 | 7.889e-06 | 0.10751 | 0.10751 | 0.10751 | 0.97591 | -0.46376 | 0.97611 | -0.45994 | 9.8456
48 | 0.0027431 | 0.00068711 | -0.0027428 | -0.00068742 | 2.4206e-07 | -3.0375e-07 | 0.0041877 | 0.0041879 | 0.0041879 | 0.97467 | -0.4883 | 0.97457 | -0.49015 | 1.1505
49 | 0.13956 | 0.03531 | -0.13942 | -0.035225 | 0.00013389 | 8.4782e-05 | 0.21143 | 0.21144 | 0.21144 | 0.98271 | -0.33101 | 0.98168 | -0.35102 | 19.3622
50 | -0.014827 | -0.0037162 | 0.01483 | 0.0037175 | 2.2591e-06 | 1.294e-06 | 0.022438 | 0.022438 | 0.022438 | 0.98332 | -0.32013 | 0.98348 | -0.31693 | 6.1642
51 | 0.0074433 | 0.0018656 | -0.0074425 | -0.0018653 | 8.402e-07 | 3.1374e-07 | 0.011264 | 0.011264 | 0.011264 | 0.98332 | -0.32013 | 0.9832 | -0.3225 | 3.0945
52 | -0.079538 | -0.020005 | 0.079595 | 0.02004 | 5.6607e-05 | 3.5073e-05 | 0.12128 | 0.12128 | 0.12128 | 0.97611 | -0.45994 | 0.97687 | -0.44506 | 11.1059
53 | -0.088376 | -0.02224 | 0.088408 | 0.02226 | 3.1756e-05 | 1.9797e-05 | 0.13465 | 0.13465 | 0.13465 | 0.97687 | -0.44506 | 0.97725 | -0.43754 | 12.3308
54 | -0.09725 | -0.024476 | 0.097287 | 0.024499 | 3.6592e-05 | 2.2917e-05 | 0.14812 | 0.14812 | 0.14812 | 0.97725 | -0.43754 | 0.97765 | -0.42967 | 13.5637
55 | -0.10006 | -0.025193 | 0.1001 | 0.025218 | 3.9188e-05 | 2.4572e-05 | 0.15233 | 0.15233 | 0.15233 | 0.97765 | -0.42967 | 0.97807 | -0.42148 | 13.9497
56 | -0.10745 | -0.027061 | 0.10749 | 0.027089 | 4.4719e-05 | 2.8116e-05 | 0.16352 | 0.16352 | 0.16352 | 0.97807 | -0.42148 | 0.97851 | -0.41278 | 14.9743
57 | -0.11486 | -0.028934 | 0.11499 | 0.029017 | 0.00013142 | 8.281e-05 | 0.17471 | 0.17471 | 0.17471 | 0.97851 | -0.41278 | 0.97974 | -0.38889 | 15.9994
58 | -0.11499 | -0.029017 | 0.11507 | 0.029066 | 7.8437e-05 | 4.9423e-05 | 0.17471 | 0.17471 | 0.17471 | 0.97974 | -0.38889 | 0.98047 | -0.37465 | 15.9994
59 | 0.12099 | 0.030797 | -0.12095 | -0.030771 | 4.088e-05 | 2.6119e-05 | 0.18021 | 0.18021 | 0.18021 | 1 | 0 | 0.99963 | -0.0070106 | 49.5078
60 | 0.29768 | 0.076513 | -0.29698 | -0.076063 | 0.00070546 | 0.00045037 | 0.44364 | 0.44364 | 0.44364 | 1 | 0 | 0.99741 | -0.048904 | 40.626
61 | 0.099982 | 0.025515 | -0.099789 | -0.025392 | 0.00019293 | 0.00012317 | 0.14899 | 0.14899 | 0.14899 | 0.99963 | -0.0070106 | 0.99752 | -0.047037 | 40.9317
62 | 0.29698 | 0.076063 | -0.29671 | -0.075889 | 0.00027197 | 0.00017363 | 0.44364 | 0.44364 | 0.44364 | 0.99741 | -0.048904 | 0.99641 | -0.067825 | 40.626
63 | 0.092267 | 0.023507 | -0.092111 | -0.023407 | 0.00015621 | 9.9687e-05 | 0.13777 | 0.13777 | 0.13777 | 0.99752 | -0.047037 | 0.99568 | -0.082192 | 37.8493
64 | 0.28866 | 0.073874 | -0.28826 | -0.073617 | 0.00040295 | 0.00025721 | 0.43163 | 0.43163 | 0.43163 | 0.99641 | -0.067825 | 0.9949 | -0.0967 | 39.5263
65 | -0.12319 | -0.031102 | 0.12328 | 0.031161 | 9.3109e-05 | 5.8784e-05 | 0.18704 | 0.18704 | 0.18704 | 0.98047 | -0.37465 | 0.98128 | -0.35889 | 17.1281
66 | -0.13129 | -0.033169 | 0.13134 | 0.0332 | 4.9539e-05 | 3.1326e-05 | 0.19919 | 0.19919 | 0.19919 | 0.98128 | -0.35889 | 0.98168 | -0.35102 | 18.2407

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43025 | 0.1098

## res_load
| p_mw | q_mvar
0 | 0.0033131 | 0.00083035
1 | 0.0024274 | 0.00060837
2 | 0.0043373 | 0.001087
3 | 0.0035734 | 0.00089558
4 | 0.0016385 | 0.00041066
5 | 0.0012141 | 0.00030429
6 | 0.0091735 | 0.0022991
7 | 0.0090156 | 0.0022595
8 | 0.0091096 | 0.0022831
9 | 0.0090679 | 0.0022726
10 | 0.0030027 | 0.00075254
11 | 0.0040735 | 0.0010209
12 | 0.012729 | 0.0031902
13 | 0.01256 | 0.0031477
14 | 0.0179 | 0.0044862
15 | 0.0091991 | 0.0023055
16 | 0.0011589 | 0.00029044
17 | 0.016763 | 0.0042012
18 | 0.0076494 | 0.0019171
19 | 0.0091855 | 0.0023021
20 | 0.053745 | 0.01347
21 | 0.0023315 | 0.00058432
22 | 0.0041519 | 0.0010406
23 | 0.0040511 | 0.0010153
24 | 0.013151 | 0.0032961
25 | 0.0053253 | 0.0013347
26 | 0.0067214 | 0.0016845
27 | 0.0073841 | 0.0018506
28 | 0.0066972 | 0.0016785
29 | 0.0074425 | 0.0018653
30 | 0.0090278 | 0.0022626
31 | 0.0087816 | 0.0022009
32 | 0.0088421 | 0.002216
33 | 0.0027695 | 0.0006941
34 | 0.0073547 | 0.0018433
35 | 0.0073612 | 0.0018449
36 | 0.0099235 | 0.0024871
37 | 0.020971 | 0.0052559
38 | 0.0075216 | 0.0018851
39 | 0.0080415 | 0.0020154
40 | 0.0065393 | 0.0016389
41 | 0.0081214 | 0.0020354
42 | 0.0092321 | 0.0023138
43 | 0.0080124 | 0.0020081
44 | 0.0063992 | 0.0016038
45 | 0.024593 | 0.0061636
46 | 0.0027428 | 0.00068742
47 | 0.0080798 | 0.002025

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1