## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-562_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_261-562_1_3_node_58 | 0.4 | n |  | TRUE
2 | bus_LV_261-562_1_3_node_87 | 0.4 | n |  | TRUE
3 | bus_LV_261-562_1_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_261-562_1_3_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_261-562_1_3_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_261-562_1_3_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_261-562_1_3_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_261-562_1_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_261-562_1_3_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_261-562_1_3_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_261-562_1_3_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_261-562_1_3_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_261-562_1_3_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_261-562_1_3_node_147 | 0.4 | n |  | TRUE
15 | bus_LV_261-562_1_3_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_261-562_1_3_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_261-562_1_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_261-562_1_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_261-562_1_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_261-562_1_3_node_148 | 0.4 | n |  | TRUE
21 | bus_LV_261-562_1_3_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_261-562_1_3_node_149 | 0.4 | n |  | TRUE
23 | bus_LV_261-562_1_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-562_1_3_node_150 | 0.4 | n |  | TRUE
25 | bus_LV_261-562_1_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_261-562_1_3_node_151 | 0.4 | n |  | TRUE
27 | bus_LV_261-562_1_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_261-562_1_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_261-562_1_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_261-562_1_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_261-562_1_3_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_261-562_1_3_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_261-562_1_3_node_124 | 0.4 | n |  | TRUE
34 | bus_LV_261-562_1_3_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_261-562_1_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_261-562_1_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_261-562_1_3_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_261-562_1_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_261-562_1_3_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_261-562_1_3_node_125 | 0.4 | n |  | TRUE
41 | bus_LV_261-562_1_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_261-562_1_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_261-562_1_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_261-562_1_3_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_261-562_1_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_261-562_1_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_261-562_1_3_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_261-562_1_3_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_261-562_1_3_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_261-562_1_3_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_261-562_1_3_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_261-562_1_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_261-562_1_3_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_261-562_1_3_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_261-562_1_3_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_261-562_1_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_261-562_1_3_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_261-562_1_3_node_123 | 0.4 | n |  | TRUE
59 | bus_LV_261-562_1_3_node_126 | 0.4 | n |  | TRUE
60 | bus_MV_543_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-562_1_3_load_128 | 0 | 0.0026944 | 0.00067528 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-562_1_3_load_58 | 1 | 0.0026886 | 0.00067383 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-562_1_3_load_87 | 2 | 0.0063175 | 0.0015833 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-562_1_3_load_129 | 3 | 0.0032794 | 0.00082189 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-562_1_3_load_130 | 5 | 0.0041951 | 0.0010514 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-562_1_3_load_132 | 6 | 0.0019674 | 0.00049307 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-562_1_3_load_131 | 7 | 0.0067761 | 0.0016983 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-562_1_3_load_133 | 9 | 0.0021872 | 0.00054816 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-562_1_3_load_136 | 13 | 0.0035651 | 0.00089349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-562_1_3_load_147 | 14 | 0.0034356 | 0.00086103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-562_1_3_load_140 | 15 | 0.0038094 | 0.00095471 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-562_1_3_load_141 | 16 | 0.0058511 | 0.0014664 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-562_1_3_load_60 | 19 | 0.010555 | 0.0026454 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-562_1_3_load_148 | 20 | 0.0041185 | 0.0010322 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-562_1_3_load_85 | 21 | 0.010705 | 0.0026829 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-562_1_3_load_149 | 22 | 0.0019325 | 0.00048432 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-562_1_3_load_150 | 24 | 0.041619 | 0.010431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-562_1_3_load_151 | 26 | 0.0044076 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-562_1_3_load_63 | 31 | 0.0095263 | 0.0023875 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-562_1_3_load_61 | 32 | 0.0062777 | 0.0015733 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-562_1_3_load_124 | 33 | 0.0090593 | 0.0022705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-562_1_3_load_69 | 34 | 0.0034118 | 0.00085509 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-562_1_3_load_70 | 36 | 0.0026782 | 0.00067122 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-562_1_3_load_91 | 37 | 0.017872 | 0.0044792 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-562_1_3_load_62 | 39 | 0.011678 | 0.0029267 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-562_1_3_load_56 | 41 | 0.023499 | 0.0058894 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-562_1_3_load_57 | 42 | 0.0085585 | 0.002145 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-562_1_3_load_59 | 43 | 0.01056 | 0.0026465 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-562_1_3_load_64 | 44 | 0.0032155 | 0.00080588 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-562_1_3_load_65 | 45 | 0.0066485 | 0.0016663 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-562_1_3_load_66 | 46 | 0.0079575 | 0.0019943 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-562_1_3_load_68 | 48 | 0.0055178 | 0.0013829 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-562_1_3_load_84 | 49 | 0.0065027 | 0.0016297 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-562_1_3_load_73 | 50 | 0.0069892 | 0.0017516 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-562_1_3_load_78 | 51 | 0.0033414 | 0.00083742 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-562_1_3_load_74 | 52 | 0.002275 | 0.00057016 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-562_1_3_load_75 | 53 | 0.0021064 | 0.00052793 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-562_1_3_load_76 | 54 | 0.0025267 | 0.00063325 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-562_1_3_load_77 | 55 | 0.0029826 | 0.00074751 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-562_1_3_load_79 | 56 | 0.0031112 | 0.00077975 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-562_1_3_load_83 | 57 | 0.0075199 | 0.0018847 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-562_1_3_load_123 | 58 | 0.0058516 | 0.0014665 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-562_1_3_load_126 | 59 | 0.0058334 | 0.001462 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-562_1_3_line_0 |  | 0 | 1 | 0.020945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-562_1_3_line_1 |  | 0 | 2 | 0.0006782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-562_1_3_line_2 |  | 1 | 42 | 0.030215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-562_1_3_line_3 |  | 2 | 47 | 0.019884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-562_1_3_line_4 |  | 3 | 4 | 0.057888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-562_1_3_line_5 |  | 4 | 5 | 0.024581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-562_1_3_line_6 |  | 5 | 6 | 0.018696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-562_1_3_line_7 |  | 6 | 9 | 0.035188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-562_1_3_line_8 |  | 7 | 8 | 0.029204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-562_1_3_line_9 |  | 8 | 23 | 0.061339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-562_1_3_line_10 |  | 8 | 27 | 0.10326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-562_1_3_line_11 |  | 9 | 10 | 0.0087097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-562_1_3_line_12 |  | 10 | 25 | 0.031109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-562_1_3_line_13 |  | 10 | 28 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-562_1_3_line_14 |  | 10 | 29 | 0.023371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-562_1_3_line_15 |  | 11 | 12 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-562_1_3_line_16 |  | 11 | 13 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-562_1_3_line_17 |  | 12 | 14 | 0.04258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-562_1_3_line_18 |  | 13 | 15 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-562_1_3_line_19 |  | 14 | 20 | 0.025239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-562_1_3_line_20 |  | 15 | 16 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-562_1_3_line_21 |  | 17 | 18 | 0.14551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-562_1_3_line_22 |  | 17 | 19 | 0.072173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-562_1_3_line_23 |  | 18 | 21 | 0.02781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-562_1_3_line_24 |  | 19 | 43 | 0.00082691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-562_1_3_line_25 |  | 20 | 22 | 0.024276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-562_1_3_line_26 |  | 21 | 57 | 0.019861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-562_1_3_line_27 |  | 22 | 23 | 0.017094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-562_1_3_line_28 |  | 23 | 40 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-562_1_3_line_29 |  | 24 | 25 | 0.035649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-562_1_3_line_30 |  | 25 | 33 | 0.055491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-562_1_3_line_31 |  | 26 | 27 | 0.067208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-562_1_3_line_32 |  | 28 | 31 | 0.0018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-562_1_3_line_33 |  | 28 | 34 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-562_1_3_line_34 |  | 29 | 37 | 0.015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-562_1_3_line_35 |  | 30 | 31 | 0.019551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-562_1_3_line_36 |  | 30 | 32 | 0.021257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-562_1_3_line_37 |  | 32 | 38 | 0.022566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-562_1_3_line_38 |  | 33 | 58 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-562_1_3_line_39 |  | 34 | 35 | 0.0041237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_261-562_1_3_line_40 |  | 35 | 36 | 0.0060966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_261-562_1_3_line_41 |  | 36 | 51 | 0.020682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_261-562_1_3_line_42 |  | 38 | 39 | 0.0098584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-562_1_3_line_43 |  | 40 | 59 | 0.018564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-562_1_3_line_44 |  | 40 | 58 | 0.033442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-562_1_3_line_45 |  | 41 | 42 | 0.0013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-562_1_3_line_46 |  | 44 | 45 | 0.013841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-562_1_3_line_47 |  | 44 | 46 | 0.0054567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-562_1_3_line_48 |  | 45 | 47 | 0.0036081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-562_1_3_line_49 |  | 46 | 48 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-562_1_3_line_50 |  | 47 | 49 | 0.034886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-562_1_3_line_51 |  | 48 | 50 | 0.011632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-562_1_3_line_52 |  | 49 | 57 | 0.0010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-562_1_3_line_53 |  | 50 | 52 | 0.0029157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-562_1_3_line_54 |  | 51 | 56 | 0.0032431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_261-562_1_3_line_55 |  | 52 | 53 | 0.0059565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-562_1_3_line_56 |  | 53 | 54 | 0.014406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-562_1_3_line_57 |  | 54 | 55 | 0.010543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_261-562_1_3_line_58 |  | 55 | 56 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-562_1_3_trafo_76 | 0.63 MVA 20/0.4 kV | 60 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2685231.1601 | 1251132.6041 | 2685220.948 | 1251129.8274 | 2685210.9502 | 1251127.1052
1 | 2685210.9502 | 1251127.1052 | 2685210.2958 | 1251126.9271
2 | 2685260.213 | 1251140.8901 | 2685247.9356 | 1251137.1655 | 2685231.1601 | 1251132.6041
3 | 2685191.1106 | 1251121.7035 | 2685210.2958 | 1251126.9271
4 | 2685099.8147 | 1251160.4988 | 2685135.6546 | 1251153.8307 | 2685139.5816 | 1251174.9013
5 | 2685099.8147 | 1251160.4988 | 2685095.9748 | 1251157.1745 | 2685082.0247 | 1251143.5468
6 | 2685068.6508 | 1251130.4819 | 2685082.0247 | 1251143.5468
7 | 2685068.6508 | 1251130.4819 | 2685068.2144 | 1251130.0556 | 2685058.3123 | 1251120.9734 | 2685052.9003 | 1251114.6243 | 2685046.9023 | 1251104.3972 | 2685046.572 | 1251103.514
8 | 2685183.2198 | 1251239.9456 | 2685170.217 | 1251227.605 | 2685162.097 | 1251219.7796
9 | 2685138.7346 | 1251208.4382 | 2685157.6953 | 1251226.9579 | 2685163.3137 | 1251232.5873 | 2685175.9646 | 1251245.2453 | 2685179.3662 | 1251242.8257 | 2685183.2198 | 1251239.9456
10 | 2685104.4521 | 1251280.6334 | 2685138.41 | 1251250.9766 | 2685155.6362 | 1251235.7571 | 2685163.3137 | 1251232.5873 | 2685175.9646 | 1251245.2453 | 2685179.3662 | 1251242.8257 | 2685183.2198 | 1251239.9456
11 | 2685043.8697 | 1251095.3135 | 2685043.7836 | 1251096.0573 | 2685046.572 | 1251103.514
12 | 2685043.8697 | 1251095.3135 | 2685038.9743 | 1251096.622 | 2685043.6175 | 1251107.0965 | 2685048.985 | 1251116.5473 | 2685046.2018 | 1251119.0092
13 | 2685043.8697 | 1251095.3135 | 2685044.1005 | 1251093.4376 | 2685046.1684 | 1251090.8432 | 2685049.0956 | 1251089.9178 | 2685053.3909 | 1251089.9239 | 2685053.6597 | 1251087.5037 | 2685054.1358 | 1251083.2629
14 | 2685023.9066 | 1251089.7785 | 2685029.1188 | 1251090.5983 | 2685032.5513 | 1251092.8604 | 2685035.5042 | 1251096.4499 | 2685035.8749 | 1251097.4449 | 2685038.9743 | 1251096.622 | 2685043.8697 | 1251095.3135
15 | 2685071.8291 | 1251229.9937 | 2685057.7476 | 1251241.2334
16 | 2685071.8291 | 1251229.9937 | 2685063.8051 | 1251222.7674
17 | 2685057.7476 | 1251241.2334 | 2685080.209 | 1251259.892 | 2685089.4477 | 1251250.2143
18 | 2685051.9217 | 1251212.0655 | 2685063.8051 | 1251222.7674
19 | 2685089.4477 | 1251250.2143 | 2685094.1884 | 1251245.2484 | 2685098.1371 | 1251245.205 | 2685108.1939 | 1251234.8643
20 | 2685051.9217 | 1251212.0655 | 2685040.5402 | 1251201.8155
21 | 2685208.8205 | 1251040.3747 | 2685212.5765 | 1250999.1644 | 2685211.1 | 1250996.3189 | 2685214.5561 | 1250957.595 | 2685214.14 | 1250954.5089 | 2685207.3511 | 1250953.6107 | 2685176.5311 | 1250949.7092 | 2685155.6884 | 1250947.041
22 | 2685155.6884 | 1250947.041 | 2685150.5732 | 1250989.3549 | 2685121.1452 | 1250992.0484
23 | 2685208.8205 | 1251040.3747 | 2685204.6097 | 1251063.3537 | 2685202.0585 | 1251066.9975
24 | 2685120.3217 | 1250992.1238 | 2685121.1452 | 1250992.0484
25 | 2685126.1891 | 1251220.0493 | 2685121.0005 | 1251224.8514 | 2685118.2729 | 1251224.5008 | 2685108.1939 | 1251234.8643
26 | 2685198.1611 | 1251086.4728 | 2685202.0585 | 1251066.9975 | 2685202.0585 | 1251066.9975
27 | 2685138.7346 | 1251208.4382 | 2685126.1891 | 1251220.0493
28 | 2685138.7346 | 1251208.4382 | 2685122.4032 | 1251192.9142
29 | 2685046.2018 | 1251119.0092 | 2685039.3816 | 1251125.0381 | 2685021.2225 | 1251144.4016
30 | 2685046.2018 | 1251119.0092 | 2685051.8628 | 1251125.8956 | 2685061.9407 | 1251135.3474 | 2685083.9706 | 1251156.2237 | 2685085.6993 | 1251157.9024
31 | 2685104.4521 | 1251280.6334 | 2685089.3653 | 1251294.0714 | 2685075.4399 | 1251280.7948 | 2685068.7553 | 1251276.34 | 2685053.8511 | 1251263.4098
32 | 2685054.1358 | 1251083.2629 | 2685052.2685 | 1251082.9507
33 | 2685054.1358 | 1251083.2629 | 2685069.4966 | 1251085.4628
34 | 2685023.9066 | 1251089.7785 | 2685008.7424 | 1251089.6609 | 2685008.2279 | 1251089.6741
35 | 2685038.5768 | 1251072.2536 | 2685039.2236 | 1251075.5765 | 2685040.7059 | 1251078.5444 | 2685042.3906 | 1251080.559 | 2685045.3321 | 1251081.791 | 2685052.2685 | 1251082.9507
36 | 2685038.5768 | 1251072.2536 | 2685037.5649 | 1251067.024 | 2685034.8256 | 1251051.3307
37 | 2685030.9453 | 1251029.1006 | 2685034.8256 | 1251051.3307
38 | 2685098.0996 | 1251169.9442 | 2685085.6993 | 1251157.9024
39 | 2685068.7062 | 1251089.51 | 2685069.4966 | 1251085.4628
40 | 2685068.7062 | 1251089.51 | 2685074.7095 | 1251090.5728
41 | 2685094.8621 | 1251095.0955 | 2685086.2733 | 1251092.6201 | 2685074.7095 | 1251090.5728
42 | 2685030.9453 | 1251029.1006 | 2685029.6514 | 1251019.3275
43 | 2685122.4032 | 1251192.9142 | 2685107.249 | 1251203.6371
44 | 2685122.4032 | 1251192.9142 | 2685106.0302 | 1251177.6454 | 2685098.0996 | 1251169.9442
45 | 2685260.213 | 1251140.8901 | 2685261.4885 | 1251141.2771
46 | 2685174.2697 | 1251117.1375 | 2685187.6282 | 1251120.7593
47 | 2685169.0031 | 1251115.7096 | 2685174.2697 | 1251117.1375
48 | 2685191.1106 | 1251121.7035 | 2685187.6282 | 1251120.7593
49 | 2685169.0031 | 1251115.7096 | 2685151.7558 | 1251111.0334
50 | 2685191.1106 | 1251121.7035 | 2685197.9564 | 1251087.4954
51 | 2685151.7558 | 1251111.0334 | 2685140.5287 | 1251107.9895
52 | 2685198.1611 | 1251086.4728 | 2685197.9564 | 1251087.4954
53 | 2685137.7145 | 1251107.2265 | 2685140.5287 | 1251107.9895
54 | 2685094.8621 | 1251095.0955 | 2685097.9783 | 1251095.9937
55 | 2685137.7145 | 1251107.2265 | 2685131.9656 | 1251105.6678
56 | 2685131.9656 | 1251105.6678 | 2685124.8474 | 1251103.7379 | 2685118.0911 | 1251101.7906
57 | 2685107.9609 | 1251098.8709 | 2685118.0911 | 1251101.7906
58 | 2685107.9609 | 1251098.8709 | 2685097.9783 | 1251095.9937

## bus_geodata
| x | y | coords
0 | 2685210.9502 | 1251127.1052
1 | 2685231.1601 | 1251132.6041
2 | 2685210.2958 | 1251126.9271
3 | 2685139.5816 | 1251174.9013
4 | 2685099.8147 | 1251160.4988
5 | 2685082.0247 | 1251143.5468
6 | 2685068.6508 | 1251130.4819
7 | 2685162.097 | 1251219.7796
8 | 2685183.2198 | 1251239.9456
9 | 2685046.572 | 1251103.514
10 | 2685043.8697 | 1251095.3135
11 | 2685071.8291 | 1251229.9937
12 | 2685057.7476 | 1251241.2334
13 | 2685063.8051 | 1251222.7674
14 | 2685089.4477 | 1251250.2143
15 | 2685051.9217 | 1251212.0655
16 | 2685040.5402 | 1251201.8155
17 | 2685155.6884 | 1250947.041
18 | 2685208.8205 | 1251040.3747
19 | 2685121.1452 | 1250992.0484
20 | 2685108.1939 | 1251234.8643
21 | 2685202.0585 | 1251066.9975
22 | 2685126.1891 | 1251220.0493
23 | 2685138.7346 | 1251208.4382
24 | 2685021.2225 | 1251144.4016
25 | 2685046.2018 | 1251119.0092
26 | 2685053.8511 | 1251263.4098
27 | 2685104.4521 | 1251280.6334
28 | 2685054.1358 | 1251083.2629
29 | 2685023.9066 | 1251089.7785
30 | 2685038.5768 | 1251072.2536
31 | 2685052.2685 | 1251082.9507
32 | 2685034.8256 | 1251051.3307
33 | 2685085.6993 | 1251157.9024
34 | 2685069.4966 | 1251085.4628
35 | 2685068.7062 | 1251089.51
36 | 2685074.7095 | 1251090.5728
37 | 2685008.2279 | 1251089.6741
38 | 2685030.9453 | 1251029.1006
39 | 2685029.6514 | 1251019.3275
40 | 2685122.4032 | 1251192.9142
41 | 2685261.4885 | 1251141.2771
42 | 2685260.213 | 1251140.8901
43 | 2685120.3217 | 1250992.1238
44 | 2685174.2697 | 1251117.1375
45 | 2685187.6282 | 1251120.7593
46 | 2685169.0031 | 1251115.7096
47 | 2685191.1106 | 1251121.7035
48 | 2685151.7558 | 1251111.0334
49 | 2685197.9564 | 1251087.4954
50 | 2685140.5287 | 1251107.9895
51 | 2685094.8621 | 1251095.0955
52 | 2685137.7145 | 1251107.2265
53 | 2685131.9656 | 1251105.6678
54 | 2685118.0911 | 1251101.7906
55 | 2685107.9609 | 1251098.8709
56 | 2685097.9783 | 1251095.9937
57 | 2685198.1611 | 1251086.4728
58 | 2685098.0996 | 1251169.9442
59 | 2685107.249 | 1251203.6371
60 | 2685068.7062 | 1251089.51

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99158 | -0.16165 | 0.0026944 | 0.00067528
1 | 0.99091 | -0.17456 | 0.0026886 | 0.00067383
2 | 0.9916 | -0.1612 | 0.0063175 | 0.0015833
3 | 0.99182 | -0.15678 | 0.0032794 | 0.00082189
4 | 0.99199 | -0.15342 | 0 | 0
5 | 0.99206 | -0.15199 | 0.0041951 | 0.0010514
6 | 0.99219 | -0.14951 | 0.0019674 | 0.00049307
7 | 0.98357 | -0.31667 | 0.0067761 | 0.0016983
8 | 0.98375 | -0.3131 | 0 | 0
9 | 0.9925 | -0.14363 | 0.0021872 | 0.00054816
10 | 0.99259 | -0.14184 | 0 | 0
11 | 0.98243 | -0.33886 | 0 | 0
12 | 0.98265 | -0.33456 | 0 | 0
13 | 0.9823 | -0.34144 | 0.0035651 | 0.00089349
14 | 0.98317 | -0.3244 | 0.0034356 | 0.00086103
15 | 0.98216 | -0.34423 | 0.0038094 | 0.00095471
16 | 0.98208 | -0.34585 | 0.0058511 | 0.0014664
17 | 0.98694 | -0.25137 | 0 | 0
18 | 0.98977 | -0.19654 | 0 | 0
19 | 0.98554 | -0.27868 | 0.010555 | 0.0026454
20 | 0.98356 | -0.31682 | 0.0041185 | 0.0010322
21 | 0.99031 | -0.1861 | 0.010705 | 0.0026829
22 | 0.98403 | -0.30773 | 0.0019325 | 0.00048432
23 | 0.98438 | -0.30075 | 0 | 0
24 | 0.98847 | -0.2214 | 0.041619 | 0.010431
25 | 0.98983 | -0.19497 | 0 | 0
26 | 0.98306 | -0.32665 | 0.0044076 | 0.0011047
27 | 0.98333 | -0.32131 | 0 | 0
28 | 0.99481 | -0.09904 | 0 | 0
29 | 0.99221 | -0.14923 | 0 | 0
30 | 0.99445 | -0.10614 | 0 | 0
31 | 0.99477 | -0.099956 | 0.0095263 | 0.0023875
32 | 0.9941 | -0.11287 | 0.0062777 | 0.0015733
33 | 0.98704 | -0.24908 | 0.0090593 | 0.0022705
34 | 0.99591 | -0.078119 | 0.0034118 | 0.00085509
35 | 0.9962 | -0.072443 | 0 | 0
36 | 0.99664 | -0.064059 | 0.0026782 | 0.00067122
37 | 0.99195 | -0.15419 | 0.017872 | 0.0044792
38 | 0.99386 | -0.11752 | 0 | 0
39 | 0.99375 | -0.11955 | 0.011678 | 0.0029267
40 | 0.98509 | -0.28703 | 0 | 0
41 | 0.98999 | -0.19233 | 0.023499 | 0.0058894
42 | 0.99002 | -0.19177 | 0.0085585 | 0.002145
43 | 0.98553 | -0.27884 | 0.01056 | 0.0026465
44 | 0.99391 | -0.11653 | 0.0032155 | 0.00080588
45 | 0.99269 | -0.14007 | 0.0066485 | 0.0016663
46 | 0.99441 | -0.10696 | 0.0079575 | 0.0019943
47 | 0.9924 | -0.14579 | 0 | 0
48 | 0.99617 | -0.073183 | 0.0055178 | 0.0013829
49 | 0.99093 | -0.17414 | 0.0065027 | 0.0016297
50 | 0.99737 | -0.050133 | 0.0069892 | 0.0017516
51 | 0.99815 | -0.035185 | 0.0033414 | 0.00083742
52 | 0.99769 | -0.044008 | 0.002275 | 0.00057016
53 | 0.99836 | -0.031269 | 0.0021064 | 0.00052793
54 | 1 | 0 | -0.29741 | -0.075148
55 | 0.99918 | -0.015521 | 0.0029826 | 0.00074751
56 | 0.99839 | -0.03057 | 0.0031112 | 0.00077975
57 | 0.99089 | -0.17487 | 0.0075199 | 0.0018847
58 | 0.98631 | -0.26319 | 0.0058516 | 0.0014665
59 | 0.98499 | -0.28898 | 0.0058334 | 0.001462
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.034795 | 0.0087385 | -0.034773 | -0.008725 | 2.1419e-05 | 1.3438e-05 | 0.052221 | 0.052221 | 0.052221 | 0.99158 | -0.16165 | 0.99091 | -0.17456 | 14.3465
1 | -0.037489 | -0.0094138 | 0.03749 | 0.0094143 | 8.0511e-07 | 5.0652e-07 | 0.056264 | 0.056264 | 0.056264 | 0.99158 | -0.16165 | 0.9916 | -0.1612 | 15.4573
2 | 0.032085 | 0.0080512 | -0.032058 | -0.0080348 | 2.6306e-05 | 1.6447e-05 | 0.048184 | 0.048184 | 0.048184 | 0.99091 | -0.17456 | 0.99002 | -0.19177 | 13.2373
3 | -0.043807 | -0.010998 | 0.043839 | 0.011018 | 3.2229e-05 | 2.037e-05 | 0.065745 | 0.065745 | 0.065745 | 0.9916 | -0.1612 | 0.9924 | -0.14579 | 18.0617
4 | -0.0032794 | -0.00082189 | 0.0032799 | 0.00082148 | 5.2545e-07 | -4.1092e-07 | 0.00492 | 0.0049197 | 0.00492 | 0.99182 | -0.15678 | 0.99199 | -0.15342 | 1.3517
5 | -0.0032799 | -0.00082148 | 0.0032801 | 0.0008213 | 2.231e-07 | -1.7457e-07 | 0.0049197 | 0.0049196 | 0.0049197 | 0.99199 | -0.15342 | 0.99206 | -0.15199 | 1.3516
6 | -0.0074752 | -0.0018727 | 0.0074761 | 0.001873 | 8.8135e-07 | 3.2263e-07 | 0.011212 | 0.011212 | 0.011212 | 0.99206 | -0.15199 | 0.99219 | -0.14951 | 3.0802
7 | -0.0094435 | -0.0023661 | 0.0094461 | 0.0023673 | 2.6467e-06 | 1.2393e-06 | 0.014162 | 0.014162 | 0.014162 | 0.99219 | -0.14951 | 0.9925 | -0.14363 | 3.8908
8 | -0.0067761 | -0.0016983 | 0.0067773 | 0.0016986 | 1.1509e-06 | 3.6585e-07 | 0.010251 | 0.010251 | 0.010251 | 0.98357 | -0.31667 | 0.98375 | -0.3131 | 2.8163
9 | -0.011188 | -0.0028029 | 0.011194 | 0.0028064 | 6.5868e-06 | 3.4363e-06 | 0.016922 | 0.016922 | 0.016922 | 0.98375 | -0.3131 | 0.98438 | -0.30075 | 4.649
10 | 0.0044105 | 0.0011043 | -0.0044088 | -0.0011045 | 1.7233e-06 | -2.0755e-07 | 0.0066709 | 0.0066714 | 0.0066714 | 0.98375 | -0.3131 | 0.98333 | -0.32131 | 1.8328
11 | -0.011633 | -0.0029155 | 0.011634 | 0.002916 | 9.9357e-07 | 5.2332e-07 | 0.017441 | 0.017441 | 0.017441 | 0.9925 | -0.14363 | 0.99259 | -0.14184 | 4.7916
12 | 0.096844 | 0.024491 | -0.096598 | -0.024334 | 0.00024616 | 0.00015714 | 0.14526 | 0.14526 | 0.14526 | 0.99259 | -0.14184 | 0.98983 | -0.19497 | 39.9066
13 | -0.12636 | -0.031893 | 0.12662 | 0.032058 | 0.0002596 | 0.0001659 | 0.18951 | 0.18951 | 0.18951 | 0.99259 | -0.14184 | 0.99481 | -0.09904 | 52.0634
14 | 0.017883 | 0.0044854 | -0.017876 | -0.0044817 | 6.2992e-06 | 3.7296e-06 | 0.02681 | 0.02681 | 0.02681 | 0.99259 | -0.14184 | 0.99221 | -0.14923 | 7.3653
15 | -0.013229 | -0.0033163 | 0.013232 | 0.0033178 | 2.7079e-06 | 1.5053e-06 | 0.020037 | 0.020037 | 0.020037 | 0.98243 | -0.33886 | 0.98265 | -0.33456 | 5.5047
16 | 0.013229 | 0.0033163 | -0.013227 | -0.0033153 | 1.6258e-06 | 9.0378e-07 | 0.020037 | 0.020037 | 0.020037 | 0.98243 | -0.33886 | 0.9823 | -0.34144 | 5.5047
17 | -0.013232 | -0.0033178 | 0.013238 | 0.0033213 | 6.4106e-06 | 3.5631e-06 | 0.020037 | 0.020037 | 0.020037 | 0.98265 | -0.33456 | 0.98317 | -0.3244 | 5.5047
18 | 0.0096622 | 0.0024219 | -0.0096609 | -0.0024212 | 1.2848e-06 | 6.1983e-07 | 0.014637 | 0.014637 | 0.014637 | 0.9823 | -0.34144 | 0.98216 | -0.34423 | 4.0211
19 | -0.016674 | -0.0041823 | 0.01668 | 0.0041859 | 6.0278e-06 | 3.5376e-06 | 0.025236 | 0.025236 | 0.025236 | 0.98317 | -0.3244 | 0.98356 | -0.31682 | 6.9331
20 | 0.0058516 | 0.0014665 | -0.0058511 | -0.0014664 | 4.5143e-07 | 9.5096e-08 | 0.0088654 | 0.0088655 | 0.0088655 | 0.98216 | -0.34423 | 0.98208 | -0.34585 | 2.4356
21 | -0.021143 | -0.0053086 | 0.021198 | 0.0053423 | 5.5455e-05 | 3.3627e-05 | 0.03188 | 0.03188 | 0.03188 | 0.98694 | -0.25137 | 0.98977 | -0.19654 | 8.7583
22 | 0.021143 | 0.0053086 | -0.021115 | -0.005292 | 2.7508e-05 | 1.6684e-05 | 0.03188 | 0.031881 | 0.031881 | 0.98694 | -0.25137 | 0.98554 | -0.27868 | 8.7584
23 | -0.021198 | -0.0053423 | 0.021209 | 0.0053487 | 1.0599e-05 | 6.4255e-06 | 0.03188 | 0.031879 | 0.03188 | 0.98977 | -0.19654 | 0.99031 | -0.1861 | 8.7581
24 | 0.01056 | 0.0026466 | -0.01056 | -0.0026465 | 7.8827e-08 | 3.9912e-08 | 0.015944 | 0.015944 | 0.015944 | 0.98554 | -0.27868 | 0.98553 | -0.27884 | 4.3802
25 | -0.020798 | -0.0052181 | 0.020807 | 0.0052235 | 9.0141e-06 | 5.4608e-06 | 0.031467 | 0.031467 | 0.031467 | 0.98356 | -0.31682 | 0.98403 | -0.30773 | 8.6448
26 | -0.031913 | -0.0080316 | 0.031931 | 0.0080423 | 1.7135e-05 | 1.071e-05 | 0.047964 | 0.047964 | 0.047964 | 0.99031 | -0.1861 | 0.99089 | -0.17487 | 13.177
27 | -0.02274 | -0.0057079 | 0.022747 | 0.0057125 | 7.581e-06 | 4.6346e-06 | 0.034389 | 0.034389 | 0.034389 | 0.98403 | -0.30773 | 0.98438 | -0.30075 | 9.4476
28 | -0.033942 | -0.0085189 | 0.033964 | 0.0085328 | 2.2212e-05 | 1.3929e-05 | 0.051311 | 0.051311 | 0.051311 | 0.98438 | -0.30075 | 0.98509 | -0.28703 | 14.0965
29 | -0.041619 | -0.010431 | 0.041671 | 0.010464 | 5.2474e-05 | 3.3126e-05 | 0.062652 | 0.062652 | 0.062652 | 0.98847 | -0.2214 | 0.98983 | -0.19497 | 17.2121
30 | 0.054927 | 0.01387 | -0.054785 | -0.01378 | 0.00014201 | 9.0172e-05 | 0.082608 | 0.082609 | 0.082609 | 0.98983 | -0.19497 | 0.98704 | -0.24908 | 22.6947
31 | -0.0044076 | -0.0011047 | 0.0044088 | 0.0011045 | 1.1218e-06 | -1.3441e-07 | 0.0066717 | 0.0066714 | 0.0066717 | 0.98306 | -0.32665 | 0.98333 | -0.32131 | 1.8329
32 | 0.027498 | 0.0068968 | -0.027496 | -0.0068961 | 1.2011e-06 | 7.4412e-07 | 0.041132 | 0.041132 | 0.041132 | 0.99481 | -0.09904 | 0.99477 | -0.099956 | 11.3
33 | -0.15412 | -0.038955 | 0.15427 | 0.039054 | 0.00015478 | 9.8653e-05 | 0.23064 | 0.23064 | 0.23064 | 0.99481 | -0.09904 | 0.99591 | -0.078119 | 31.6817
34 | 0.017876 | 0.0044817 | -0.017872 | -0.0044792 | 4.2261e-06 | 2.5023e-06 | 0.02681 | 0.02681 | 0.02681 | 0.99221 | -0.14923 | 0.99195 | -0.15419 | 7.3653
35 | -0.017965 | -0.0045054 | 0.01797 | 0.0045085 | 5.2982e-06 | 3.1371e-06 | 0.026882 | 0.026882 | 0.026882 | 0.99445 | -0.10614 | 0.99477 | -0.099956 | 7.3852
36 | 0.017965 | 0.0045054 | -0.017959 | -0.004502 | 5.7607e-06 | 3.4111e-06 | 0.026882 | 0.026882 | 0.026882 | 0.99445 | -0.10614 | 0.9941 | -0.11287 | 7.3853
37 | 0.011681 | 0.0029286 | -0.011679 | -0.0029273 | 2.5873e-06 | 1.3634e-06 | 0.017486 | 0.017486 | 0.017486 | 0.9941 | -0.11287 | 0.99386 | -0.11752 | 4.8038
38 | 0.045725 | 0.01151 | -0.045695 | -0.01149 | 3.0817e-05 | 1.9502e-05 | 0.068951 | 0.068951 | 0.068951 | 0.98704 | -0.24908 | 0.98631 | -0.26319 | 18.9427
39 | -0.15769 | -0.039909 | 0.15773 | 0.039936 | 4.2969e-05 | 2.7393e-05 | 0.23574 | 0.23574 | 0.23574 | 0.99591 | -0.078119 | 0.9962 | -0.072443 | 32.3819
40 | -0.15773 | -0.039936 | 0.15779 | 0.039977 | 6.3527e-05 | 4.0498e-05 | 0.23574 | 0.23574 | 0.23574 | 0.9962 | -0.072443 | 0.99664 | -0.064059 | 32.3819
41 | -0.16047 | -0.040648 | 0.16069 | 0.04079 | 0.00022288 | 0.0001421 | 0.23974 | 0.23974 | 0.23974 | 0.99664 | -0.064059 | 0.99815 | -0.035185 | 32.9312
42 | 0.011679 | 0.0029273 | -0.011678 | -0.0029267 | 1.1303e-06 | 5.9567e-07 | 0.017486 | 0.017486 | 0.017486 | 0.99386 | -0.11752 | 0.99375 | -0.11955 | 4.8038
43 | 0.0058339 | 0.0014621 | -0.0058334 | -0.001462 | 5.4063e-07 | 1.0969e-07 | 0.0088124 | 0.0088125 | 0.0088125 | 0.98509 | -0.28703 | 0.98499 | -0.28898 | 2.421
44 | -0.039798 | -0.0099949 | 0.039843 | 0.010023 | 4.5333e-05 | 2.8587e-05 | 0.060123 | 0.060123 | 0.060123 | 0.98509 | -0.28703 | 0.98631 | -0.26319 | 16.5174
45 | -0.023499 | -0.0058894 | 0.0235 | 0.0058898 | 6.2352e-07 | 3.8192e-07 | 0.03532 | 0.03532 | 0.03532 | 0.98999 | -0.19233 | 0.99002 | -0.19177 | 9.7034
46 | 0.096638 | 0.024366 | -0.096529 | -0.024297 | 0.00010872 | 6.9403e-05 | 0.14473 | 0.14473 | 0.14473 | 0.99391 | -0.11653 | 0.99269 | -0.14007 | 39.7614
47 | -0.099854 | -0.025172 | 0.099899 | 0.025201 | 4.5762e-05 | 2.9217e-05 | 0.14955 | 0.14955 | 0.14955 | 0.99391 | -0.11653 | 0.99441 | -0.10696 | 41.084
48 | 0.089881 | 0.022631 | -0.089856 | -0.022615 | 2.4574e-05 | 1.5681e-05 | 0.13477 | 0.13477 | 0.13477 | 0.99269 | -0.14007 | 0.9924 | -0.14579 | 37.0236
49 | -0.10786 | -0.027196 | 0.10803 | 0.027307 | 0.00017468 | 0.00011156 | 0.16145 | 0.16145 | 0.16145 | 0.99441 | -0.10696 | 0.99617 | -0.073183 | 44.3552
50 | 0.046017 | 0.011597 | -0.045955 | -0.011558 | 6.2324e-05 | 3.9437e-05 | 0.069021 | 0.069021 | 0.069021 | 0.9924 | -0.14579 | 0.99093 | -0.17414 | 18.9619
51 | -0.11355 | -0.02869 | 0.11368 | 0.02877 | 0.00012561 | 8.0242e-05 | 0.16969 | 0.16969 | 0.16969 | 0.99617 | -0.073183 | 0.99737 | -0.050133 | 46.6195
52 | 0.039452 | 0.0099278 | -0.03945 | -0.0099269 | 1.3732e-06 | 8.6544e-07 | 0.059257 | 0.059257 | 0.059257 | 0.99093 | -0.17414 | 0.99089 | -0.17487 | 16.2793
53 | -0.12066 | -0.030522 | 0.1207 | 0.030545 | 3.5474e-05 | 2.2665e-05 | 0.18012 | 0.18012 | 0.18012 | 0.99737 | -0.050133 | 0.99769 | -0.044008 | 49.4841
54 | -0.16403 | -0.041628 | 0.16407 | 0.041651 | 3.6416e-05 | 2.3222e-05 | 0.24472 | 0.24472 | 0.24472 | 0.99815 | -0.035185 | 0.99839 | -0.03057 | 33.6154
55 | -0.12297 | -0.031115 | 0.12305 | 0.031163 | 7.5226e-05 | 4.8067e-05 | 0.18352 | 0.18352 | 0.18352 | 0.99769 | -0.044008 | 0.99836 | -0.031269 | 50.4163
56 | -0.12516 | -0.031691 | 0.12534 | 0.031811 | 0.00018822 | 0.00012027 | 0.18665 | 0.18665 | 0.18665 | 0.99836 | -0.031269 | 1 | 0 | 51.2788
57 | 0.17041 | 0.043337 | -0.17029 | -0.043255 | 0.00012733 | 8.1214e-05 | 0.2538 | 0.2538 | 0.2538 | 1 | 0 | 0.99918 | -0.015521 | 34.8624
58 | 0.1673 | 0.042508 | -0.16718 | -0.042431 | 0.00012112 | 7.7245e-05 | 0.24936 | 0.24936 | 0.24936 | 0.99918 | -0.015521 | 0.99839 | -0.03057 | 34.2523

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29993 | 0.075781

## res_load
| p_mw | q_mvar
0 | 0.0026944 | 0.00067528
1 | 0.0026886 | 0.00067383
2 | 0.0063175 | 0.0015833
3 | 0.0032794 | 0.00082189
4 | 0.0041951 | 0.0010514
5 | 0.0019674 | 0.00049307
6 | 0.0067761 | 0.0016983
7 | 0.0021872 | 0.00054816
8 | 0.0035651 | 0.00089349
9 | 0.0034356 | 0.00086103
10 | 0.0038094 | 0.00095471
11 | 0.0058511 | 0.0014664
12 | 0.010555 | 0.0026454
13 | 0.0041185 | 0.0010322
14 | 0.010705 | 0.0026829
15 | 0.0019325 | 0.00048432
16 | 0.041619 | 0.010431
17 | 0.0044076 | 0.0011047
18 | 0.0095263 | 0.0023875
19 | 0.0062777 | 0.0015733
20 | 0.0090593 | 0.0022705
21 | 0.0034118 | 0.00085509
22 | 0.0026782 | 0.00067122
23 | 0.017872 | 0.0044792
24 | 0.011678 | 0.0029267
25 | 0.023499 | 0.0058894
26 | 0.0085585 | 0.002145
27 | 0.01056 | 0.0026465
28 | 0.0032155 | 0.00080588
29 | 0.0066485 | 0.0016663
30 | 0.0079575 | 0.0019943
31 | 0.0055178 | 0.0013829
32 | 0.0065027 | 0.0016297
33 | 0.0069892 | 0.0017516
34 | 0.0033414 | 0.00083742
35 | 0.002275 | 0.00057016
36 | 0.0021064 | 0.00052793
37 | 0.0025267 | 0.00063325
38 | 0.0029826 | 0.00074751
39 | 0.0031112 | 0.00077975
40 | 0.0075199 | 0.0018847
41 | 0.0058516 | 0.0014665
42 | 0.0058334 | 0.001462

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1