## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-583_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-583_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-583_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-583_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-583_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-583_0_5_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_261-583_0_5_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_261-583_0_5_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_261-583_0_5_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_261-583_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-583_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-583_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-583_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-583_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-583_0_5_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_261-583_0_5_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_261-583_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_261-583_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_261-583_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-583_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-583_0_5_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_261-583_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_261-583_0_5_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_261-583_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_261-583_0_5_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_261-583_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_261-583_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-583_0_5_node_94 | 0.4 | n |  | TRUE
28 | bus_LV_261-583_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_261-583_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_261-583_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_261-583_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_261-583_0_5_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_261-583_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_261-583_0_5_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_261-583_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_261-583_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_261-583_0_5_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_261-583_0_5_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_261-583_0_5_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_261-583_0_5_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_261-583_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_261-583_0_5_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_261-583_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_261-583_0_5_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_261-583_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_261-583_0_5_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_261-583_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_261-583_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_261-583_0_5_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_261-583_0_5_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_261-583_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_261-583_0_5_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_261-583_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_261-583_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_261-583_0_5_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_261-583_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_261-583_0_5_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_261-583_0_5_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_261-583_0_5_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_261-583_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_261-583_0_5_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_261-583_0_5_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_261-583_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_261-583_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_261-583_0_5_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_261-583_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_261-583_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_261-583_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_261-583_0_5_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_261-583_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_261-583_0_5_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_261-583_0_5_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_261-583_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_261-583_0_5_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_261-583_0_5_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_261-583_0_5_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_261-583_0_5_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_261-583_0_5_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_261-583_0_5_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_261-583_0_5_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_261-583_0_5_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_261-583_0_5_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_261-583_0_5_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_261-583_0_5_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_261-583_0_5_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_261-583_0_5_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_261-583_0_5_node_47 | 0.4 | n |  | TRUE
88 | bus_LV_261-583_0_5_node_48 | 0.4 | n |  | TRUE
89 | bus_LV_261-583_0_5_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_261-583_0_5_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_529_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-583_0_5_load_0 | 0 | 0.0016665 | 0.00041766 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-583_0_5_load_1 | 1 | 0.0016714 | 0.00041889 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-583_0_5_load_2 | 2 | 0.0017302 | 0.00043363 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-583_0_5_load_3 | 3 | 0.0016539 | 0.00041451 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-583_0_5_load_4 | 4 | 0.001707 | 0.00042781 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-583_0_5_load_70 | 5 | 0.0016915 | 0.00042392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-583_0_5_load_71 | 6 | 0.00166 | 0.00041603 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-583_0_5_load_69 | 7 | 0.0016624 | 0.00041664 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-583_0_5_load_72 | 8 | 0.0016686 | 0.00041819 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-583_0_5_load_5 | 9 | 0.0012811 | 0.00032107 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-583_0_5_load_6 | 10 | 0.0012718 | 0.00031875 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-583_0_5_load_7 | 11 | 0.0013047 | 0.00032699 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-583_0_5_load_8 | 12 | 0.0012773 | 0.00032012 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-583_0_5_load_9 | 13 | 0.001319 | 0.00033057 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-583_0_5_load_68 | 14 | 0.0012783 | 0.00032038 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-583_0_5_load_63 | 15 | 0.0012862 | 0.00032234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-583_0_5_load_10 | 16 | 0.0075126 | 0.0018828 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-583_0_5_load_12 | 18 | 0.0058646 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-583_0_5_load_38 | 20 | 0.0094078 | 0.0023578 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-583_0_5_load_39 | 22 | 0.005399 | 0.0013531 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-583_0_5_load_64 | 24 | 0.0023025 | 0.00057706 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-583_0_5_load_94 | 27 | 0.01697 | 0.004253 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-583_0_5_load_42 | 29 | 0.0053646 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-583_0_5_load_43 | 30 | 0.0049774 | 0.0012475 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-583_0_5_load_93 | 32 | 0.017958 | 0.0045007 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-583_0_5_load_40 | 34 | 0.0053722 | 0.0013464 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-583_0_5_load_41 | 35 | 0.0054183 | 0.001358 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-583_0_5_load_53 | 37 | 0.0016318 | 0.00040896 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-583_0_5_load_76 | 40 | 0.014145 | 0.003545 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-583_0_5_load_88 | 42 | 0.012246 | 0.0030691 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-583_0_5_load_87 | 44 | 0.014224 | 0.0035648 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-583_0_5_load_83 | 46 | 0.013727 | 0.0034402 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-583_0_5_load_95 | 52 | 0.011047 | 0.0027686 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-583_0_5_load_46 | 54 | 0.013223 | 0.003314 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-583_0_5_load_75 | 57 | 0.011619 | 0.002912 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-583_0_5_load_96 | 58 | 0.014258 | 0.0035734 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-583_0_5_load_67 | 59 | 0.01564 | 0.0039197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-583_0_5_load_50 | 60 | 0.013237 | 0.0033174 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-583_0_5_load_66 | 62 | 0.0091132 | 0.002284 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-583_0_5_load_56 | 63 | 0.014654 | 0.0036725 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-583_0_5_load_54 | 64 | 0.014164 | 0.0035498 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-583_0_5_load_58 | 65 | 0.012319 | 0.0030874 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-583_0_5_load_44 | 66 | 0.0049765 | 0.0012472 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-583_0_5_load_52 | 67 | 0.0016289 | 0.00040825 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-583_0_5_load_60 | 68 | 0.0022668 | 0.00056812 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-583_0_5_load_74 | 69 | 0.014188 | 0.0035558 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-583_0_5_load_55 | 70 | 0.014174 | 0.0035522 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-583_0_5_load_77 | 71 | 0.0059838 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-583_0_5_load_86 | 72 | 0.011415 | 0.0028609 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-583_0_5_load_73 | 73 | 0.0016624 | 0.00041663 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-583_0_5_load_45 | 74 | 0.011888 | 0.0029795 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-583_0_5_load_51 | 75 | 0.0016278 | 0.00040796 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-583_0_5_load_84 | 76 | 0.011362 | 0.0028477 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-583_0_5_load_85 | 77 | 0.0099432 | 0.002492 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-583_0_5_load_65 | 78 | 0.012622 | 0.0031634 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-583_0_5_load_49 | 79 | 0.011936 | 0.0029914 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-583_0_5_load_79 | 80 | 0.0091558 | 0.0022947 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-583_0_5_load_89 | 82 | 0.010232 | 0.0025644 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-583_0_5_load_92 | 83 | 0.0071826 | 0.0018001 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-583_0_5_load_90 | 85 | 0.01102 | 0.002762 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-583_0_5_load_78 | 86 | 0.0082446 | 0.0020663 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-583_0_5_load_47 | 87 | 0.010029 | 0.0025136 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-583_0_5_load_48 | 88 | 0.012319 | 0.0030874 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-583_0_5_load_61 | 89 | 0.0018412 | 0.00046145 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-583_0_5_load_91 | 90 | 0.015032 | 0.0037674 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-583_0_5_line_0 |  | 0 | 1 | 0.0061984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-583_0_5_line_1 |  | 0 | 2 | 0.0063064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-583_0_5_line_2 |  | 1 | 3 | 0.0061739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-583_0_5_line_3 |  | 2 | 4 | 0.018048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-583_0_5_line_4 |  | 3 | 5 | 0.0062083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-583_0_5_line_5 |  | 4 | 6 | 0.0062717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-583_0_5_line_6 |  | 5 | 7 | 0.0062241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-583_0_5_line_7 |  | 6 | 8 | 0.0062023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-583_0_5_line_8 |  | 7 | 13 | 0.0062664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-583_0_5_line_9 |  | 8 | 73 | 0.0062074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-583_0_5_line_10 |  | 9 | 10 | 0.0061965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-583_0_5_line_11 |  | 9 | 11 | 0.0062748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-583_0_5_line_12 |  | 10 | 12 | 0.0061874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-583_0_5_line_13 |  | 11 | 13 | 0.018041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-583_0_5_line_14 |  | 12 | 14 | 0.0062032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-583_0_5_line_15 |  | 14 | 15 | 0.0062231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-583_0_5_line_16 |  | 15 | 89 | 0.0062907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-583_0_5_line_17 |  | 16 | 17 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-583_0_5_line_18 |  | 17 | 18 | 0.013424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-583_0_5_line_19 |  | 17 | 19 | 0.060095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-583_0_5_line_20 |  | 18 | 20 | 0.017539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-583_0_5_line_21 |  | 19 | 23 | 0.056716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-583_0_5_line_22 |  | 19 | 24 | 0.03159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-583_0_5_line_23 |  | 20 | 21 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-583_0_5_line_24 |  | 21 | 22 | 0.013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-583_0_5_line_25 |  | 22 | 34 | 0.017547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-583_0_5_line_26 |  | 23 | 39 | 0.012666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-583_0_5_line_27 |  | 23 | 40 | 0.026104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-583_0_5_line_28 |  | 24 | 38 | 0.015712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-583_0_5_line_29 |  | 25 | 26 | 0.051677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-583_0_5_line_30 |  | 25 | 27 | 0.0071311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-583_0_5_line_31 |  | 26 | 31 | 0.082998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-583_0_5_line_32 |  | 26 | 32 | 0.0047172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-583_0_5_line_33 |  | 28 | 29 | 0.013149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-583_0_5_line_34 |  | 28 | 30 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-583_0_5_line_35 |  | 29 | 35 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-583_0_5_line_36 |  | 30 | 66 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-583_0_5_line_37 |  | 31 | 54 | 0.021124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-583_0_5_line_38 |  | 33 | 34 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-583_0_5_line_39 |  | 33 | 35 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-583_0_5_line_40 |  | 36 | 37 | 0.089015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-583_0_5_line_41 |  | 36 | 38 | 0.003749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-583_0_5_line_42 |  | 37 | 67 | 0.014709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-583_0_5_line_43 |  | 38 | 68 | 0.0096091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-583_0_5_line_44 |  | 39 | 69 | 0.014261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_261-583_0_5_line_45 |  | 39 | 70 | 0.028918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-583_0_5_line_46 |  | 40 | 71 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-583_0_5_line_47 |  | 41 | 42 | 0.03 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-583_0_5_line_48 |  | 41 | 43 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-583_0_5_line_49 |  | 41 | 44 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-583_0_5_line_50 |  | 42 | 53 | 0.063827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-583_0_5_line_51 |  | 43 | 59 | 0.016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-583_0_5_line_52 |  | 43 | 45 | 0.016127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_261-583_0_5_line_53 |  | 44 | 72 | 0.017558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-583_0_5_line_54 |  | 45 | 46 | 0.011453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_261-583_0_5_line_55 |  | 46 | 47 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-583_0_5_line_56 |  | 47 | 48 | 0.0098655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-583_0_5_line_57 |  | 47 | 49 | 0.018909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-583_0_5_line_58 |  | 48 | 60 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-583_0_5_line_59 |  | 49 | 65 | 0.0069631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-583_0_5_line_60 |  | 50 | 51 | 0.064167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-583_0_5_line_61 |  | 50 | 52 | 0.009396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-583_0_5_line_62 |  | 50 | 53 | 0.13992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-583_0_5_line_63 |  | 51 | 58 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-583_0_5_line_64 |  | 54 | 74 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-583_0_5_line_65 |  | 55 | 56 | 0.013346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_261-583_0_5_line_66 |  | 55 | 57 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_261-583_0_5_line_67 |  | 56 | 61 | 0.046438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-583_0_5_line_68 |  | 56 | 62 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_261-583_0_5_line_69 |  | 57 | 69 | 0.0016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_261-583_0_5_line_70 |  | 59 | 78 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_261-583_0_5_line_71 |  | 60 | 79 | 0.018283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-583_0_5_line_72 |  | 61 | 82 | 0.022175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-583_0_5_line_73 |  | 62 | 78 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_261-583_0_5_line_74 |  | 63 | 64 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-583_0_5_line_75 |  | 64 | 70 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-583_0_5_line_76 |  | 67 | 75 | 0.0079473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-583_0_5_line_77 |  | 68 | 89 | 0.018472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-583_0_5_line_78 |  | 71 | 86 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-583_0_5_line_79 |  | 72 | 77 | 0.014713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-583_0_5_line_80 |  | 74 | 87 | 0.01504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-583_0_5_line_81 |  | 76 | 77 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-583_0_5_line_82 |  | 79 | 88 | 0.0075969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-583_0_5_line_83 |  | 80 | 81 | 0.001771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-583_0_5_line_84 |  | 81 | 83 | 0.013896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-583_0_5_line_85 |  | 82 | 84 | 0.013999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-583_0_5_line_86 |  | 83 | 90 | 0.0073123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_261-583_0_5_line_87 |  | 84 | 85 | 0.0047897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-583_0_5_line_88 |  | 85 | 90 | 0.0089077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-583_0_5_line_89 |  | 87 | 88 | 0.0074475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-583_0_5_trafo_24 | 0.63 MVA 20/0.4 kV | 91 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2681191.5137 | 1246869.5828 | 2681195.6137 | 1246864.9341
1 | 2681191.5137 | 1246869.5828 | 2681187.3422 | 1246874.3125
2 | 2681199.6975 | 1246860.3038 | 2681195.6137 | 1246864.9341
3 | 2681187.3422 | 1246874.3125 | 2681175.4043 | 1246887.848
4 | 2681203.8041 | 1246855.6477 | 2681199.6975 | 1246860.3038
5 | 2681175.4043 | 1246887.848 | 2681171.2558 | 1246892.5517
6 | 2681207.9211 | 1246850.9798 | 2681203.8041 | 1246855.6477
7 | 2681171.2558 | 1246892.5517 | 2681167.1532 | 1246897.2033
8 | 2681212.0661 | 1246846.2801 | 2681207.9211 | 1246850.9798
9 | 2681167.1532 | 1246897.2033 | 2681163.0472 | 1246901.8587
10 | 2681228.1502 | 1246828.0436 | 2681232.2489 | 1246823.3963
11 | 2681228.1502 | 1246828.0436 | 2681223.9996 | 1246832.7496
12 | 2681232.2489 | 1246823.3963 | 2681236.3417 | 1246818.7559
13 | 2681223.9996 | 1246832.7496 | 2681212.0661 | 1246846.2801
14 | 2681240.4448 | 1246814.1037 | 2681236.3417 | 1246818.7559
15 | 2681244.5612 | 1246809.4364 | 2681240.4448 | 1246814.1037
16 | 2681248.7223 | 1246804.7185 | 2681244.5612 | 1246809.4364
17 | 2681225.6832 | 1246773.1668 | 2681236.0529 | 1246762.0758
18 | 2681225.6832 | 1246773.1668 | 2681216.5129 | 1246782.9709
19 | 2681225.6832 | 1246773.1668 | 2681213.1266 | 1246761.6754 | 2681211.8434 | 1246760.5014 | 2681229.7918 | 1246741.2665 | 2681231.1193 | 1246739.7613 | 2681232.8705 | 1246738.7624 | 2681233.7346 | 1246738.5518 | 2681234.8549 | 1246738.3893 | 2681237.2062 | 1246738.7995 | 2681239.2211 | 1246740.0614 | 2681241.7127 | 1246743.4647
20 | 2681204.5321 | 1246795.7798 | 2681216.5129 | 1246782.9709
21 | 2681192.3351 | 1246727.6214 | 2681201.1724 | 1246728.2762 | 2681209.0874 | 1246726.2164 | 2681215.0914 | 1246726.3432 | 2681222.3179 | 1246728.2213 | 2681227.4619 | 1246729.9152 | 2681230.45 | 1246734.0258 | 2681233.7346 | 1246738.5518 | 2681234.8549 | 1246738.3893 | 2681237.2062 | 1246738.7995 | 2681239.2211 | 1246740.0614 | 2681241.7127 | 1246743.4647
22 | 2681241.7127 | 1246743.4647 | 2681258.2005 | 1246770.4112
23 | 2681195.2772 | 1246805.6742 | 2681204.5321 | 1246795.7798
24 | 2681195.2772 | 1246805.6742 | 2681185.7585 | 1246815.8546
25 | 2681173.7742 | 1246828.6719 | 2681185.7585 | 1246815.8546
26 | 2681192.3351 | 1246727.6214 | 2681188.7692 | 1246732.5985 | 2681184.0458 | 1246737.1483
27 | 2681192.3351 | 1246727.6214 | 2681192.5329 | 1246724.2106 | 2681192.5618 | 1246719.8967 | 2681188.6938 | 1246701.9348
28 | 2681267.0009 | 1246783.418 | 2681264.5379 | 1246780.1374 | 2681259.4829 | 1246772.5071 | 2681258.2005 | 1246770.4112
29 | 2681046.6629 | 1246830.9601 | 2681042.9826 | 1246834.9238 | 2681066.8578 | 1246857.2998 | 2681070.6396 | 1246858.6191 | 2681077.5524 | 1246865.1962
30 | 2681077.5524 | 1246865.1962 | 2681072.7425 | 1246870.4609
31 | 2680988.9156 | 1246786.3499 | 2680990.4236 | 1246800.3807 | 2681004.956 | 1246797.7773 | 2681011.822 | 1246799.4945 | 2681017.1167 | 1246802.8804 | 2681046.6629 | 1246830.9601
32 | 2681046.6629 | 1246830.9601 | 2681049.8722 | 1246827.503
33 | 2681134.0751 | 1246871.1289 | 2681143.0557 | 1246861.5246
34 | 2681134.0751 | 1246871.1289 | 2681124.9822 | 1246880.8501
35 | 2681143.0557 | 1246861.5246 | 2681155.0793 | 1246848.6658
36 | 2681114.0067 | 1246892.5839 | 2681124.9822 | 1246880.8501
37 | 2680988.9156 | 1246786.3499 | 2681009.5966 | 1246782.044
38 | 2681162.9625 | 1246840.235 | 2681173.7742 | 1246828.6719
39 | 2681162.9625 | 1246840.235 | 2681155.0793 | 1246848.6658
40 | 2681269.2563 | 1246786.4178 | 2681210.281 | 1246853.0935
41 | 2681269.2563 | 1246786.4178 | 2681267.0009 | 1246783.418
42 | 2681210.281 | 1246853.0935 | 2681200.5362 | 1246864.1108
43 | 2681267.0009 | 1246783.418 | 2681264.1307 | 1246787.2482 | 2681260.9405 | 1246790.8652
44 | 2681184.0458 | 1246737.1483 | 2681177.7813 | 1246731.2249 | 2681173.6852 | 1246727.3493
45 | 2681184.0458 | 1246737.1483 | 2681164.3285 | 1246758.3024
46 | 2681188.6938 | 1246701.9348 | 2681185.5667 | 1246687.4132
47 | 2681081.5797 | 1246719.9008 | 2681075.5517 | 1246690.5127
48 | 2681081.5797 | 1246719.9008 | 2681087.6329 | 1246718.6382 | 2681092.3982 | 1246717.647 | 2681093.0573 | 1246717.5115
49 | 2681081.5797 | 1246719.9008 | 2681065.8233 | 1246723.1918
50 | 2681062.7268 | 1246627.9872 | 2681075.5517 | 1246690.5127
51 | 2681093.0573 | 1246717.5115 | 2681108.9509 | 1246714.1916
52 | 2681093.0573 | 1246717.5115 | 2681092.3982 | 1246717.647 | 2681094.0379 | 1246726.4536 | 2681095.2196 | 1246732.8411
53 | 2681048.6358 | 1246726.7817 | 2681065.8233 | 1246723.1918
54 | 2681095.2196 | 1246732.8411 | 2681095.666 | 1246735.0044 | 2681097.5371 | 1246744.0573
55 | 2681101.0083 | 1246760.8518 | 2681097.5371 | 1246744.0573
56 | 2681092.2512 | 1246764.835 | 2681096.3118 | 1246761.7883 | 2681101.0083 | 1246760.8518
57 | 2681101.0083 | 1246760.8518 | 2681108.2575 | 1246759.4166 | 2681108.6683 | 1246761.4125 | 2681110.5734 | 1246770.7009
58 | 2681092.2512 | 1246764.835 | 2681074.8494 | 1246768.4581
59 | 2681110.5734 | 1246770.7009 | 2681111.8241 | 1246777.5508
60 | 2681006.3098 | 1246704.2498 | 2681000.8898 | 1246676.311 | 2681007.2094 | 1246674.9074 | 2681035.8315 | 1246668.9607
61 | 2681045.0377 | 1246666.9516 | 2681035.8315 | 1246668.9607
62 | 2681035.8315 | 1246668.9607 | 2681007.2094 | 1246674.9074 | 2681005.1011 | 1246662.236 | 2680991.2621 | 1246647.2472 | 2681000.1259 | 1246644.8665 | 2680999.6184 | 1246641.0902 | 2681059.4919 | 1246628.6546 | 2681062.7268 | 1246627.9872
63 | 2681008.3466 | 1246716.62 | 2681006.3098 | 1246704.2498
64 | 2681009.5966 | 1246782.044 | 2681027.4971 | 1246778.3171
65 | 2681160.9035 | 1246716.9724 | 2681159.9353 | 1246712.6449 | 2681158.0526 | 1246703.935
66 | 2681160.9035 | 1246716.9724 | 2681164.4914 | 1246718.6561 | 2681168.8021 | 1246722.7291 | 2681172.4541 | 1246726.1845
67 | 2681134.8383 | 1246679.0659 | 2681151.9213 | 1246675.586 | 2681158.0526 | 1246703.935
68 | 2681158.0526 | 1246703.935 | 2681142.4447 | 1246707.1952
69 | 2681173.6852 | 1246727.3493 | 2681172.4541 | 1246726.1845
70 | 2681126.1176 | 1246710.6057 | 2681108.9509 | 1246714.1916
71 | 2681056.9499 | 1246772.1849 | 2681074.8494 | 1246768.4581
72 | 2681134.8383 | 1246679.0659 | 2681113.9601 | 1246683.3057 | 2681113.7843 | 1246682.4534
73 | 2681126.1176 | 1246710.6057 | 2681142.4447 | 1246707.1952
74 | 2681152.2323 | 1246771.2802 | 2681139.856 | 1246784.5584
75 | 2681152.2323 | 1246771.2802 | 2681164.3285 | 1246758.3024
76 | 2681195.2709 | 1246870.0636 | 2681200.5362 | 1246864.1108
77 | 2681260.9405 | 1246790.8652 | 2681248.7223 | 1246804.7185
78 | 2681185.5667 | 1246687.4132 | 2681182.6397 | 1246673.8211
79 | 2681034.2337 | 1246729.7899 | 2681048.6358 | 1246726.7817
80 | 2681042.2213 | 1246775.2514 | 2681027.4971 | 1246778.3171
81 | 2681019.8472 | 1246732.7948 | 2681034.2337 | 1246729.7899
82 | 2681056.9499 | 1246772.1849 | 2681049.5124 | 1246773.7334
83 | 2681128.9307 | 1246650.9202 | 2681130.663 | 1246650.5519
84 | 2681128.9307 | 1246650.9202 | 2681115.3387 | 1246653.8086
85 | 2681110.9563 | 1246668.7429 | 2681113.7843 | 1246682.4534
86 | 2681108.1861 | 1246655.3286 | 2681108.1861 | 1246655.3286 | 2681115.3387 | 1246653.8086
87 | 2681110.9563 | 1246668.7429 | 2681109.9876 | 1246664.0522
88 | 2681109.9876 | 1246664.0522 | 2681108.1861 | 1246655.3286
89 | 2681042.2213 | 1246775.2514 | 2681049.5124 | 1246773.7334

## bus_geodata
| x | y | coords
0 | 2681191.5137 | 1246869.5828
1 | 2681195.6137 | 1246864.9341
2 | 2681187.3422 | 1246874.3125
3 | 2681199.6975 | 1246860.3038
4 | 2681175.4043 | 1246887.848
5 | 2681203.8041 | 1246855.6477
6 | 2681171.2558 | 1246892.5517
7 | 2681207.9211 | 1246850.9798
8 | 2681167.1532 | 1246897.2033
9 | 2681228.1502 | 1246828.0436
10 | 2681232.2489 | 1246823.3963
11 | 2681223.9996 | 1246832.7496
12 | 2681236.3417 | 1246818.7559
13 | 2681212.0661 | 1246846.2801
14 | 2681240.4448 | 1246814.1037
15 | 2681244.5612 | 1246809.4364
16 | 2681236.0529 | 1246762.0758
17 | 2681225.6832 | 1246773.1668
18 | 2681216.5129 | 1246782.9709
19 | 2681241.7127 | 1246743.4647
20 | 2681204.5321 | 1246795.7798
21 | 2681195.2772 | 1246805.6742
22 | 2681185.7585 | 1246815.8546
23 | 2681192.3351 | 1246727.6214
24 | 2681258.2005 | 1246770.4112
25 | 2681077.5524 | 1246865.1962
26 | 2681046.6629 | 1246830.9601
27 | 2681072.7425 | 1246870.4609
28 | 2681134.0751 | 1246871.1289
29 | 2681143.0557 | 1246861.5246
30 | 2681124.9822 | 1246880.8501
31 | 2680988.9156 | 1246786.3499
32 | 2681049.8722 | 1246827.503
33 | 2681162.9625 | 1246840.235
34 | 2681173.7742 | 1246828.6719
35 | 2681155.0793 | 1246848.6658
36 | 2681269.2563 | 1246786.4178
37 | 2681210.281 | 1246853.0935
38 | 2681267.0009 | 1246783.418
39 | 2681184.0458 | 1246737.1483
40 | 2681188.6938 | 1246701.9348
41 | 2681081.5796 | 1246719.9008
42 | 2681075.5517 | 1246690.5127
43 | 2681093.0573 | 1246717.5115
44 | 2681065.8233 | 1246723.1918
45 | 2681095.2196 | 1246732.8411
46 | 2681097.5371 | 1246744.0573
47 | 2681101.0083 | 1246760.8518
48 | 2681092.2512 | 1246764.835
49 | 2681110.5734 | 1246770.7009
50 | 2681035.8315 | 1246668.9607
51 | 2681006.3098 | 1246704.2498
52 | 2681045.0377 | 1246666.9516
53 | 2681062.7268 | 1246627.9872
54 | 2681009.5966 | 1246782.044
55 | 2681160.9035 | 1246716.9724
56 | 2681158.0526 | 1246703.935
57 | 2681172.4541 | 1246726.1845
58 | 2681008.3466 | 1246716.62
59 | 2681108.9509 | 1246714.1916
60 | 2681074.8494 | 1246768.4581
61 | 2681134.8383 | 1246679.0659
62 | 2681142.4447 | 1246707.1952
63 | 2681139.856 | 1246784.5584
64 | 2681152.2323 | 1246771.2802
65 | 2681111.8241 | 1246777.5508
66 | 2681114.0067 | 1246892.5839
67 | 2681200.5362 | 1246864.1108
68 | 2681260.9405 | 1246790.8652
69 | 2681173.6852 | 1246727.3493
70 | 2681164.3285 | 1246758.3024
71 | 2681185.5667 | 1246687.4132
72 | 2681048.6358 | 1246726.7817
73 | 2681163.0472 | 1246901.8587
74 | 2681027.4971 | 1246778.3171
75 | 2681195.2709 | 1246870.0636
76 | 2681019.8472 | 1246732.7948
77 | 2681034.2337 | 1246729.7899
78 | 2681126.1176 | 1246710.6057
79 | 2681056.9499 | 1246772.1849
80 | 2681130.663 | 1246650.5519
81 | 2681128.9307 | 1246650.9202
82 | 2681113.7843 | 1246682.4534
83 | 2681115.3387 | 1246653.8086
84 | 2681110.9563 | 1246668.7429
85 | 2681109.9876 | 1246664.0522
86 | 2681182.6397 | 1246673.8211
87 | 2681042.2213 | 1246775.2514
88 | 2681049.5124 | 1246773.7334
89 | 2681248.7223 | 1246804.7185
90 | 2681108.1861 | 1246655.3286
91 | 2681101.4334 | 1246762.9147

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97682 | -0.44704 | 0.0016665 | 0.00041766
1 | 0.97688 | -0.4459 | 0.0016714 | 0.00041889
2 | 0.97677 | -0.44801 | 0.0017302 | 0.00043363
3 | 0.97695 | -0.44457 | 0.0016539 | 0.00041451
4 | 0.97666 | -0.45022 | 0.001707 | 0.00042781
5 | 0.97702 | -0.44305 | 0.0016915 | 0.00042392
6 | 0.97663 | -0.45079 | 0.00166 | 0.00041603
7 | 0.97711 | -0.44133 | 0.0016624 | 0.00041664
8 | 0.97661 | -0.45117 | 0.0016686 | 0.00041819
9 | 0.97763 | -0.43123 | 0.0012811 | 0.00032107
10 | 0.97774 | -0.4289 | 0.0012718 | 0.00031875
11 | 0.97751 | -0.43345 | 0.0013047 | 0.00032699
12 | 0.97787 | -0.42642 | 0.0012773 | 0.00032012
13 | 0.97721 | -0.43941 | 0.001319 | 0.00033057
14 | 0.978 | -0.42379 | 0.0012783 | 0.00032038
15 | 0.97815 | -0.42102 | 0.0012862 | 0.00032234
16 | 0.97749 | -0.43375 | 0.0075126 | 0.0018828
17 | 0.9776 | -0.43166 | 0 | 0
18 | 0.97701 | -0.44313 | 0.0058646 | 0.0014698
19 | 0.98063 | -0.37234 | 0 | 0
20 | 0.97635 | -0.45624 | 0.0094078 | 0.0023578
21 | 0.97595 | -0.46405 | 0 | 0
22 | 0.97554 | -0.47209 | 0.005399 | 0.0013531
23 | 0.98545 | -0.27884 | 0 | 0
24 | 0.97954 | -0.3936 | 0.0023025 | 0.00057706
25 | 0.98889 | -0.21403 | 0 | 0
26 | 0.98969 | -0.19841 | 0 | 0
27 | 0.98878 | -0.21619 | 0.01697 | 0.004253
28 | 0.97421 | -0.49825 | 0 | 0
29 | 0.97433 | -0.49585 | 0.0053646 | 0.0013445
30 | 0.97409 | -0.50068 | 0.0049774 | 0.0012475
31 | 0.99235 | -0.14696 | 0 | 0
32 | 0.98962 | -0.19992 | 0.017958 | 0.0045007
33 | 0.97481 | -0.4865 | 0 | 0
34 | 0.97511 | -0.48048 | 0.0053722 | 0.0013464
35 | 0.97459 | -0.4909 | 0.0054183 | 0.001358
36 | 0.97902 | -0.40387 | 0 | 0
37 | 0.97862 | -0.41179 | 0.0016318 | 0.00040896
38 | 0.97904 | -0.40354 | 0 | 0
39 | 0.98685 | -0.25165 | 0 | 0
40 | 0.98476 | -0.29214 | 0.014145 | 0.003545
41 | 0.99404 | -0.11367 | 0 | 0
42 | 0.993 | -0.13357 | 0.012246 | 0.0030691
43 | 0.99494 | -0.096213 | 0 | 0
44 | 0.99335 | -0.12701 | 0.014224 | 0.0035648
45 | 0.99674 | -0.061908 | 0 | 0
46 | 0.99802 | -0.03762 | 0.013727 | 0.0034402
47 | 1 | 0 | -0.50397 | -0.12807
48 | 0.99903 | -0.018514 | 0 | 0
49 | 0.99979 | -0.0040611 | 0 | 0
50 | 0.98827 | -0.22516 | 0 | 0
51 | 0.98743 | -0.24151 | 0 | 0
52 | 0.98817 | -0.22702 | 0.011047 | 0.0027686
53 | 0.99152 | -0.16217 | 0 | 0
54 | 0.99303 | -0.13391 | 0.013223 | 0.003314
55 | 0.98889 | -0.21238 | 0 | 0
56 | 0.98966 | -0.19744 | 0 | 0
57 | 0.98802 | -0.22911 | 0.011619 | 0.002912
58 | 0.98726 | -0.2447 | 0.014258 | 0.0035734
59 | 0.99355 | -0.1228 | 0.01564 | 0.0039197
60 | 0.99728 | -0.051963 | 0.013237 | 0.0033174
61 | 0.98741 | -0.24103 | 0 | 0
62 | 0.99085 | -0.17465 | 0.0091132 | 0.002284
63 | 0.98499 | -0.28788 | 0.014654 | 0.0036725
64 | 0.98524 | -0.2831 | 0.014164 | 0.0035498
65 | 0.99971 | -0.005557 | 0.012319 | 0.0030874
66 | 0.97402 | -0.50215 | 0.0049765 | 0.0012472
67 | 0.97857 | -0.41267 | 0.0016289 | 0.00040825
68 | 0.97877 | -0.40877 | 0.0022668 | 0.00056812
69 | 0.98793 | -0.2309 | 0.014188 | 0.0035558
70 | 0.98571 | -0.27392 | 0.014174 | 0.0035522
71 | 0.98457 | -0.29594 | 0.0059838 | 0.0014997
72 | 0.99282 | -0.13717 | 0.011415 | 0.0028609
73 | 0.9766 | -0.45136 | 0.0016624 | 0.00041663
74 | 0.99383 | -0.11836 | 0.011888 | 0.0029795
75 | 0.97856 | -0.4129 | 0.0016278 | 0.00040796
76 | 0.99238 | -0.14567 | 0.011362 | 0.0028477
77 | 0.99253 | -0.14271 | 0.0099432 | 0.002492
78 | 0.99213 | -0.14998 | 0.012622 | 0.0031634
79 | 0.99571 | -0.082235 | 0.011936 | 0.0029914
80 | 0.98511 | -0.28593 | 0.0091558 | 0.0022947
81 | 0.98512 | -0.28564 | 0 | 0
82 | 0.98634 | -0.26191 | 0.010232 | 0.0025644
83 | 0.98524 | -0.28335 | 0.0071826 | 0.0018001
84 | 0.98579 | -0.27255 | 0 | 0
85 | 0.98561 | -0.27619 | 0.01102 | 0.002762
86 | 0.98446 | -0.298 | 0.0082446 | 0.0020663
87 | 0.99466 | -0.10244 | 0.010029 | 0.0025136
88 | 0.99514 | -0.093245 | 0.012319 | 0.0030874
89 | 0.9783 | -0.41806 | 0.0018412 | 0.00046145
90 | 0.98535 | -0.28121 | 0.015032 | 0.0037674
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010096 | -0.0025302 | 0.010096 | 0.0025305 | 5.4978e-07 | 2.7426e-07 | 0.015379 | 0.015379 | 0.015379 | 0.97682 | -0.44704 | 0.97688 | -0.4459 | 4.2251
1 | 0.0084294 | 0.0021126 | -0.008429 | -0.0021124 | 3.8994e-07 | 1.7062e-07 | 0.012841 | 0.012841 | 0.012841 | 0.97682 | -0.44704 | 0.97677 | -0.44801 | 3.5277
2 | -0.011768 | -0.0029494 | 0.011769 | 0.0029498 | 7.4391e-07 | 3.988e-07 | 0.017925 | 0.017925 | 0.017925 | 0.97688 | -0.4459 | 0.97695 | -0.44457 | 4.9245
3 | 0.0066988 | 0.0016788 | -0.0066981 | -0.0016786 | 7.0483e-07 | 2.2521e-07 | 0.010205 | 0.010205 | 0.010205 | 0.97677 | -0.44801 | 0.97666 | -0.45022 | 2.8036
4 | -0.013422 | -0.0033643 | 0.013423 | 0.0033649 | 9.7308e-07 | 5.4503e-07 | 0.020444 | 0.020444 | 0.020444 | 0.97695 | -0.44457 | 0.97702 | -0.44305 | 5.6166
5 | 0.0049912 | 0.0012508 | -0.004991 | -0.0012507 | 1.36e-07 | 8.5589e-09 | 0.0076044 | 0.0076044 | 0.0076044 | 0.97666 | -0.45022 | 0.97663 | -0.45079 | 2.0891
6 | -0.015115 | -0.0037888 | 0.015116 | 0.0037895 | 1.2369e-06 | 7.1366e-07 | 0.02302 | 0.02302 | 0.02302 | 0.97702 | -0.44305 | 0.97711 | -0.44133 | 6.3243
7 | 0.003331 | 0.00083471 | -0.003331 | -0.00083475 | 5.9909e-08 | -3.9268e-08 | 0.0050752 | 0.0050752 | 0.0050752 | 0.97663 | -0.45079 | 0.97661 | -0.45117 | 1.3943
8 | -0.016779 | -0.0042061 | 0.01678 | 0.004207 | 1.5343e-06 | 9.0343e-07 | 0.025552 | 0.025552 | 0.025552 | 0.97711 | -0.44133 | 0.97721 | -0.43941 | 7.0198
9 | 0.0016624 | 0.00041656 | -0.0016624 | -0.00041663 | 1.4934e-08 | -6.8113e-08 | 0.0025329 | 0.0025329 | 0.0025329 | 0.97661 | -0.45117 | 0.9766 | -0.45136 | 0.69585
10 | -0.020692 | -0.00519 | 0.020694 | 0.0051914 | 2.3051e-06 | 1.3976e-06 | 0.031496 | 0.031496 | 0.031496 | 0.97763 | -0.43123 | 0.97774 | -0.4289 | 8.6528
11 | 0.019411 | 0.0048689 | -0.019409 | -0.0048677 | 2.0542e-06 | 1.236e-06 | 0.029546 | 0.029546 | 0.029546 | 0.97763 | -0.43123 | 0.97751 | -0.43345 | 8.1172
12 | -0.021966 | -0.0055101 | 0.021969 | 0.0055117 | 2.5933e-06 | 1.5821e-06 | 0.033432 | 0.033432 | 0.033432 | 0.97774 | -0.4289 | 0.97787 | -0.42642 | 9.1846
13 | 0.018104 | 0.0045407 | -0.018099 | -0.0045376 | 5.1389e-06 | 3.0628e-06 | 0.02756 | 0.02756 | 0.02756 | 0.97751 | -0.43345 | 0.97721 | -0.43941 | 7.5715
14 | -0.023246 | -0.0058318 | 0.023249 | 0.0058336 | 2.9111e-06 | 1.7852e-06 | 0.035375 | 0.035375 | 0.035375 | 0.97787 | -0.42642 | 0.978 | -0.42379 | 9.7185
15 | -0.024527 | -0.006154 | 0.024531 | 0.006156 | 3.2504e-06 | 2.0021e-06 | 0.03732 | 0.03732 | 0.03732 | 0.978 | -0.42379 | 0.97815 | -0.42102 | 10.2528
16 | -0.025817 | -0.0064783 | 0.02582 | 0.0064806 | 3.6392e-06 | 2.2501e-06 | 0.039277 | 0.039277 | 0.039277 | 0.97815 | -0.42102 | 0.9783 | -0.41806 | 10.7904
17 | -0.0075126 | -0.0018828 | 0.0075133 | 0.0018831 | 7.4469e-07 | 2.8625e-07 | 0.011436 | 0.011436 | 0.011436 | 0.97749 | -0.43375 | 0.9776 | -0.43166 | 3.1418
18 | 0.046883 | 0.011788 | -0.046857 | -0.011771 | 2.5645e-05 | 1.6245e-05 | 0.071374 | 0.071374 | 0.071374 | 0.9776 | -0.43166 | 0.97701 | -0.44313 | 19.6083
19 | -0.054396 | -0.013671 | 0.05455 | 0.013769 | 0.00015454 | 9.815e-05 | 0.08281 | 0.08281 | 0.08281 | 0.9776 | -0.43166 | 0.98063 | -0.37234 | 22.7501
20 | 0.040992 | 0.010302 | -0.040967 | -0.010285 | 2.5644e-05 | 1.6193e-05 | 0.062442 | 0.062442 | 0.062442 | 0.97701 | -0.44313 | 0.97635 | -0.45624 | 17.1545
21 | -0.091746 | -0.023128 | 0.092158 | 0.023391 | 0.00041249 | 0.00026328 | 0.13926 | 0.13926 | 0.13926 | 0.98063 | -0.37234 | 0.98545 | -0.27884 | 38.2594
22 | 0.037195 | 0.0093587 | -0.037158 | -0.0093349 | 3.7755e-05 | 2.3765e-05 | 0.056454 | 0.056454 | 0.056454 | 0.98063 | -0.37234 | 0.97954 | -0.3936 | 15.5093
23 | 0.031559 | 0.0079275 | -0.031547 | -0.0079202 | 1.1757e-05 | 7.3548e-06 | 0.048104 | 0.048104 | 0.048104 | 0.97635 | -0.45624 | 0.97595 | -0.46405 | 13.2155
24 | 0.031547 | 0.0079202 | -0.031535 | -0.0079126 | 1.2094e-05 | 7.5662e-06 | 0.048104 | 0.048104 | 0.048104 | 0.97595 | -0.46405 | 0.97554 | -0.47209 | 13.2155
25 | 0.026136 | 0.0065595 | -0.026125 | -0.006553 | 1.046e-05 | 6.4751e-06 | 0.039869 | 0.039869 | 0.039869 | 0.97554 | -0.47209 | 0.97511 | -0.48048 | 10.9531
26 | -0.12055 | -0.030515 | 0.12071 | 0.030615 | 0.00015758 | 0.00010069 | 0.18214 | 0.18214 | 0.18214 | 0.98545 | -0.27884 | 0.98685 | -0.25165 | 50.039
27 | 0.028394 | 0.0071239 | -0.028376 | -0.0071128 | 1.7998e-05 | 1.1186e-05 | 0.042878 | 0.042878 | 0.042878 | 0.98545 | -0.27884 | 0.98476 | -0.29214 | 11.7797
28 | 0.034855 | 0.0087578 | -0.034839 | -0.0087475 | 1.6524e-05 | 1.0377e-05 | 0.052956 | 0.052956 | 0.052956 | 0.97954 | -0.3936 | 0.97904 | -0.40354 | 14.5485
29 | -0.016971 | -0.004254 | 0.016984 | 0.0042615 | 1.2638e-05 | 7.4251e-06 | 0.025538 | 0.025538 | 0.025538 | 0.98889 | -0.21403 | 0.98969 | -0.19841 | 7.0159
30 | 0.016971 | 0.004254 | -0.01697 | -0.004253 | 1.744e-06 | 1.0247e-06 | 0.025538 | 0.025538 | 0.025538 | 0.98889 | -0.21403 | 0.98878 | -0.21619 | 7.0159
31 | -0.034944 | -0.008763 | 0.035029 | 0.0088169 | 8.5917e-05 | 5.3917e-05 | 0.05254 | 0.05254 | 0.05254 | 0.98969 | -0.19841 | 0.99235 | -0.14696 | 14.4341
32 | 0.017959 | 0.0045015 | -0.017958 | -0.0045007 | 1.2898e-06 | 7.6485e-07 | 0.027002 | 0.027002 | 0.027002 | 0.98969 | -0.19841 | 0.98962 | -0.19992 | 7.4183
33 | -0.0099554 | -0.0024953 | 0.0099565 | 0.0024958 | 1.1401e-06 | 5.6593e-07 | 0.015206 | 0.015206 | 0.015206 | 0.97421 | -0.49825 | 0.97433 | -0.49585 | 4.1775
34 | 0.0099554 | 0.0024953 | -0.0099543 | -0.0024947 | 1.1542e-06 | 5.7296e-07 | 0.015206 | 0.015206 | 0.015206 | 0.97421 | -0.49825 | 0.97409 | -0.50068 | 4.1775
35 | -0.015321 | -0.0038403 | 0.015325 | 0.0038424 | 3.6144e-06 | 2.0939e-06 | 0.023399 | 0.023399 | 0.023399 | 0.97433 | -0.49585 | 0.97459 | -0.4909 | 6.4282
36 | 0.0049768 | 0.0012472 | -0.0049765 | -0.0012472 | 3.4824e-07 | 2.2886e-08 | 0.0076025 | 0.0076026 | 0.0076026 | 0.97409 | -0.50068 | 0.97402 | -0.50215 | 2.0886
37 | -0.035029 | -0.0088169 | 0.035051 | 0.0088306 | 2.1867e-05 | 1.3722e-05 | 0.05254 | 0.05254 | 0.05254 | 0.99235 | -0.14696 | 0.99303 | -0.13391 | 14.434
38 | -0.020747 | -0.005203 | 0.020753 | 0.0052066 | 5.9546e-06 | 3.6135e-06 | 0.031671 | 0.031671 | 0.031671 | 0.97481 | -0.4865 | 0.97511 | -0.48048 | 8.7009
39 | 0.020747 | 0.005203 | -0.020743 | -0.0052004 | 4.3417e-06 | 2.6348e-06 | 0.031671 | 0.031671 | 0.031671 | 0.97481 | -0.4865 | 0.97459 | -0.4909 | 8.7009
40 | 0.0048905 | 0.001225 | -0.0048886 | -0.001225 | 1.8443e-06 | 6.1472e-08 | 0.0074328 | 0.0074332 | 0.0074332 | 0.97902 | -0.40387 | 0.97862 | -0.41179 | 2.0421
41 | -0.0048905 | -0.001225 | 0.0048905 | 0.001225 | 7.767e-08 | 2.5659e-09 | 0.0074328 | 0.0074328 | 0.0074328 | 0.97902 | -0.40387 | 0.97904 | -0.40354 | 2.042
42 | 0.0032569 | 0.00081602 | -0.0032567 | -0.00081612 | 1.3527e-07 | -9.8224e-08 | 0.0049521 | 0.0049522 | 0.0049522 | 0.97862 | -0.41179 | 0.97857 | -0.41267 | 1.3605
43 | 0.029948 | 0.0075224 | -0.029941 | -0.0075178 | 7.4677e-06 | 4.6585e-06 | 0.045524 | 0.045524 | 0.045524 | 0.97904 | -0.40354 | 0.97877 | -0.40877 | 12.5065
44 | -0.16376 | -0.041429 | 0.16393 | 0.041533 | 0.00016322 | 0.00010409 | 0.24707 | 0.24707 | 0.24707 | 0.98685 | -0.25165 | 0.98793 | -0.2309 | 33.9377
45 | 0.043053 | 0.010813 | -0.043007 | -0.010784 | 4.5711e-05 | 2.8886e-05 | 0.064925 | 0.064925 | 0.064925 | 0.98685 | -0.25165 | 0.98571 | -0.27392 | 17.8365
46 | 0.014232 | 0.0035678 | -0.014229 | -0.0035663 | 2.5762e-06 | 1.4598e-06 | 0.021505 | 0.021505 | 0.021505 | 0.98476 | -0.29214 | 0.98457 | -0.29594 | 5.908
47 | 0.037712 | 0.0095102 | -0.037676 | -0.0094876 | 3.5879e-05 | 2.2574e-05 | 0.056474 | 0.056474 | 0.056474 | 0.99404 | -0.11367 | 0.993 | -0.13357 | 15.5148
48 | -0.08471 | -0.021309 | 0.08478 | 0.021354 | 7.0723e-05 | 4.5111e-05 | 0.12683 | 0.12683 | 0.12683 | 0.99404 | -0.11367 | 0.99494 | -0.096213 | 34.8443
49 | 0.046998 | 0.011798 | -0.046968 | -0.01178 | 2.9882e-05 | 1.8916e-05 | 0.07036 | 0.07036 | 0.07036 | 0.99404 | -0.11367 | 0.99335 | -0.12701 | 19.3296
50 | 0.02543 | 0.0064185 | -0.025395 | -0.006397 | 3.4787e-05 | 2.1439e-05 | 0.038123 | 0.038123 | 0.038123 | 0.993 | -0.13357 | 0.99152 | -0.16217 | 10.4734
51 | 0.28151 | 0.07169 | -0.28115 | -0.071459 | 0.00036045 | 0.00023006 | 0.42143 | 0.42143 | 0.42143 | 0.99494 | -0.096213 | 0.99355 | -0.1228 | 38.5921
52 | -0.36629 | -0.093043 | 0.3669 | 0.09343 | 0.00060593 | 0.00038717 | 0.54826 | 0.54826 | 0.54826 | 0.99494 | -0.096213 | 0.99674 | -0.061908 | 50.2068
53 | 0.032744 | 0.0082148 | -0.032728 | -0.0082049 | 1.5843e-05 | 9.9125e-06 | 0.049053 | 0.049053 | 0.049053 | 0.99335 | -0.12701 | 0.99282 | -0.13717 | 13.4761
54 | -0.3669 | -0.09343 | 0.36733 | 0.093705 | 0.00043033 | 0.00027496 | 0.54826 | 0.54826 | 0.54826 | 0.99674 | -0.061908 | 0.99802 | -0.03762 | 50.2067
55 | -0.38105 | -0.097146 | 0.38175 | 0.097589 | 0.00069337 | 0.00044308 | 0.56872 | 0.56872 | 0.56872 | 0.99802 | -0.03762 | 1 | 0 | 52.0809
56 | 0.10825 | 0.027393 | -0.10815 | -0.027331 | 9.6093e-05 | 6.137e-05 | 0.16116 | 0.16116 | 0.16116 | 1 | 0 | 0.99903 | -0.018514 | 44.2761
57 | 0.012322 | 0.0030892 | -0.01232 | -0.0030879 | 2.3841e-06 | 1.2778e-06 | 0.018336 | 0.018336 | 0.018336 | 1 | 0 | 0.99979 | -0.0040611 | 5.0374
58 | 0.10815 | 0.027331 | -0.10798 | -0.027221 | 0.00017313 | 0.00011057 | 0.16116 | 0.16117 | 0.16117 | 0.99903 | -0.018514 | 0.99728 | -0.051963 | 44.2761
59 | 0.01232 | 0.0030879 | -0.012319 | -0.0030874 | 8.7791e-07 | 4.7056e-07 | 0.018336 | 0.018336 | 0.018336 | 0.99979 | -0.0040611 | 0.99971 | -0.005557 | 5.0374
60 | 0.014271 | 0.0035809 | -0.01426 | -0.0035746 | 1.1112e-05 | 6.2903e-06 | 0.021489 | 0.02149 | 0.02149 | 0.98827 | -0.22516 | 0.98743 | -0.24151 | 5.9038
61 | 0.011048 | 0.0027691 | -0.011047 | -0.0027686 | 9.7498e-07 | 5.0361e-07 | 0.016635 | 0.016635 | 0.016635 | 0.98827 | -0.22516 | 0.98817 | -0.22702 | 4.5699
62 | -0.025319 | -0.00635 | 0.025395 | 0.006397 | 7.6262e-05 | 4.7009e-05 | 0.038124 | 0.038123 | 0.038124 | 0.98827 | -0.22516 | 0.99152 | -0.16217 | 10.4736
63 | 0.01426 | 0.0035746 | -0.014258 | -0.0035734 | 2.1711e-06 | 1.2292e-06 | 0.02149 | 0.02149 | 0.02149 | 0.98743 | -0.24151 | 0.98726 | -0.2447 | 5.9038
64 | -0.048274 | -0.012145 | 0.04831 | 0.012167 | 3.5895e-05 | 2.2736e-05 | 0.072354 | 0.072354 | 0.072354 | 0.99303 | -0.13391 | 0.99383 | -0.11836 | 19.8774
65 | -0.1899 | -0.048107 | 0.19004 | 0.048194 | 0.00013639 | 8.6775e-05 | 0.28593 | 0.28593 | 0.28593 | 0.98889 | -0.21238 | 0.98966 | -0.19744 | 26.1845
66 | 0.1899 | 0.048107 | -0.18975 | -0.04801 | 0.0001525 | 9.7023e-05 | 0.28593 | 0.28593 | 0.28593 | 0.98889 | -0.21238 | 0.98802 | -0.22911 | 26.1845
67 | 0.052824 | 0.013316 | -0.052714 | -0.013246 | 0.00010993 | 6.976e-05 | 0.079452 | 0.079452 | 0.079452 | 0.98966 | -0.19744 | 0.98741 | -0.24103 | 21.8275
68 | -0.24286 | -0.06151 | 0.24313 | 0.06168 | 0.00026609 | 0.00016968 | 0.36539 | 0.36539 | 0.36539 | 0.98966 | -0.19744 | 0.99085 | -0.17465 | 33.4603
69 | 0.17813 | 0.045098 | -0.17811 | -0.045089 | 1.5266e-05 | 9.7049e-06 | 0.26844 | 0.26844 | 0.26844 | 0.98802 | -0.22911 | 0.98793 | -0.2309 | 24.582
70 | 0.26551 | 0.06754 | -0.26516 | -0.067318 | 0.00034725 | 0.00022156 | 0.398 | 0.398 | 0.398 | 0.99355 | -0.1228 | 0.99213 | -0.14998 | 36.4471
71 | 0.09474 | 0.023903 | -0.094603 | -0.023816 | 0.00013711 | 8.7514e-05 | 0.14141 | 0.14141 | 0.14141 | 0.99728 | -0.051963 | 0.99571 | -0.082235 | 38.8503
72 | 0.052714 | 0.013246 | -0.052662 | -0.013213 | 5.2493e-05 | 3.3312e-05 | 0.079452 | 0.079452 | 0.079452 | 0.98741 | -0.24103 | 0.98634 | -0.26191 | 21.8276
73 | -0.25224 | -0.063964 | 0.25254 | 0.064155 | 0.0002996 | 0.0001911 | 0.37907 | 0.37907 | 0.37907 | 0.99085 | -0.17465 | 0.99213 | -0.14998 | 34.7135
74 | -0.014654 | -0.0036725 | 0.014657 | 0.0036744 | 3.3357e-06 | 1.9037e-06 | 0.022137 | 0.022137 | 0.022137 | 0.98499 | -0.28788 | 0.98524 | -0.2831 | 6.0816
75 | -0.028821 | -0.0072242 | 0.028833 | 0.007232 | 1.2605e-05 | 7.8414e-06 | 0.043529 | 0.043528 | 0.043529 | 0.98524 | -0.2831 | 0.98571 | -0.27392 | 11.9584
76 | 0.0016278 | 0.00040787 | -0.0016278 | -0.00040796 | 1.8259e-08 | -8.8155e-08 | 0.0024752 | 0.0024752 | 0.0024752 | 0.97857 | -0.41267 | 0.97856 | -0.4129 | 0.68001
77 | 0.027674 | 0.0069496 | -0.027662 | -0.006942 | 1.2264e-05 | 7.617e-06 | 0.042077 | 0.042077 | 0.042077 | 0.97877 | -0.40877 | 0.9783 | -0.41806 | 11.5597
78 | 0.0082454 | 0.0020666 | -0.0082446 | -0.0020663 | 8.0969e-07 | 3.414e-07 | 0.012462 | 0.012462 | 0.012462 | 0.98457 | -0.29594 | 0.98446 | -0.298 | 3.4236
79 | 0.021313 | 0.0053439 | -0.021307 | -0.0053405 | 5.63e-06 | 3.413e-06 | 0.031944 | 0.031944 | 0.031944 | 0.99282 | -0.13717 | 0.99253 | -0.14271 | 8.7758
80 | -0.060199 | -0.015147 | 0.060245 | 0.015176 | 4.584e-05 | 2.9142e-05 | 0.090154 | 0.090154 | 0.090154 | 0.99383 | -0.11836 | 0.99466 | -0.10244 | 24.7675
81 | -0.011362 | -0.0028477 | 0.011364 | 0.0028485 | 1.5998e-06 | 8.3393e-07 | 0.017037 | 0.017037 | 0.017037 | 0.99238 | -0.14567 | 0.99253 | -0.14271 | 4.6806
82 | 0.082667 | 0.020824 | -0.082624 | -0.020797 | 4.3506e-05 | 2.7745e-05 | 0.12358 | 0.12358 | 0.12358 | 0.99571 | -0.082235 | 0.99514 | -0.093245 | 33.95
83 | -0.0091558 | -0.0022947 | 0.0091559 | 0.0022947 | 1.2703e-07 | 5.8749e-08 | 0.01383 | 0.01383 | 0.01383 | 0.98511 | -0.28593 | 0.98512 | -0.28564 | 3.7994
84 | -0.0091559 | -0.0022947 | 0.0091569 | 0.0022952 | 9.9665e-07 | 4.6092e-07 | 0.01383 | 0.01383 | 0.01383 | 0.98512 | -0.28564 | 0.98524 | -0.28335 | 3.7994
85 | 0.04243 | 0.010649 | -0.042409 | -0.010635 | 2.1514e-05 | 1.359e-05 | 0.064016 | 0.064016 | 0.064016 | 0.98634 | -0.26191 | 0.98579 | -0.27255 | 17.5869
86 | -0.01634 | -0.0040953 | 0.016341 | 0.0040963 | 1.6699e-06 | 9.7562e-07 | 0.024678 | 0.024678 | 0.024678 | 0.98524 | -0.28335 | 0.98535 | -0.28121 | 6.7796
87 | 0.042409 | 0.010635 | -0.042401 | -0.01063 | 7.3607e-06 | 4.6498e-06 | 0.064016 | 0.064016 | 0.064016 | 0.98579 | -0.27255 | 0.98561 | -0.27619 | 17.5869
88 | 0.031381 | 0.0078684 | -0.031373 | -0.0078637 | 7.4982e-06 | 4.6854e-06 | 0.047378 | 0.047378 | 0.047378 | 0.98561 | -0.27619 | 0.98535 | -0.28121 | 13.016
89 | -0.070274 | -0.01769 | 0.070305 | 0.017709 | 3.0883e-05 | 1.9669e-05 | 0.10516 | 0.10516 | 0.10516 | 0.99466 | -0.10244 | 0.99514 | -0.093245 | 28.8894

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50397 | 0.12807

## res_load
| p_mw | q_mvar
0 | 0.0016665 | 0.00041766
1 | 0.0016714 | 0.00041889
2 | 0.0017302 | 0.00043363
3 | 0.0016539 | 0.00041451
4 | 0.001707 | 0.00042781
5 | 0.0016915 | 0.00042392
6 | 0.00166 | 0.00041603
7 | 0.0016624 | 0.00041664
8 | 0.0016686 | 0.00041819
9 | 0.0012811 | 0.00032107
10 | 0.0012718 | 0.00031875
11 | 0.0013047 | 0.00032699
12 | 0.0012773 | 0.00032012
13 | 0.001319 | 0.00033057
14 | 0.0012783 | 0.00032038
15 | 0.0012862 | 0.00032234
16 | 0.0075126 | 0.0018828
17 | 0.0058646 | 0.0014698
18 | 0.0094078 | 0.0023578
19 | 0.005399 | 0.0013531
20 | 0.0023025 | 0.00057706
21 | 0.01697 | 0.004253
22 | 0.0053646 | 0.0013445
23 | 0.0049774 | 0.0012475
24 | 0.017958 | 0.0045007
25 | 0.0053722 | 0.0013464
26 | 0.0054183 | 0.001358
27 | 0.0016318 | 0.00040896
28 | 0.014145 | 0.003545
29 | 0.012246 | 0.0030691
30 | 0.014224 | 0.0035648
31 | 0.013727 | 0.0034402
32 | 0.011047 | 0.0027686
33 | 0.013223 | 0.003314
34 | 0.011619 | 0.002912
35 | 0.014258 | 0.0035734
36 | 0.01564 | 0.0039197
37 | 0.013237 | 0.0033174
38 | 0.0091132 | 0.002284
39 | 0.014654 | 0.0036725
40 | 0.014164 | 0.0035498
41 | 0.012319 | 0.0030874
42 | 0.0049765 | 0.0012472
43 | 0.0016289 | 0.00040825
44 | 0.0022668 | 0.00056812
45 | 0.014188 | 0.0035558
46 | 0.014174 | 0.0035522
47 | 0.0059838 | 0.0014997
48 | 0.011415 | 0.0028609
49 | 0.0016624 | 0.00041663
50 | 0.011888 | 0.0029795
51 | 0.0016278 | 0.00040796
52 | 0.011362 | 0.0028477
53 | 0.0099432 | 0.002492
54 | 0.012622 | 0.0031634
55 | 0.011936 | 0.0029914
56 | 0.0091558 | 0.0022947
57 | 0.010232 | 0.0025644
58 | 0.0071826 | 0.0018001
59 | 0.01102 | 0.002762
60 | 0.0082446 | 0.0020663
61 | 0.010029 | 0.0025136
62 | 0.012319 | 0.0030874
63 | 0.0018412 | 0.00046145
64 | 0.015032 | 0.0037674

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1