## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-589_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-589_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-589_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-589_0_7_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_261-589_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-589_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-589_0_7_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_261-589_0_7_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_261-589_0_7_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_261-589_0_7_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_261-589_0_7_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_261-589_0_7_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_261-589_0_7_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-589_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-589_0_7_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_261-589_0_7_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_261-589_0_7_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_261-589_0_7_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_261-589_0_7_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_261-589_0_7_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-589_0_7_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_261-589_0_7_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_261-589_0_7_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_261-589_0_7_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_261-589_0_7_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_261-589_0_7_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_261-589_0_7_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_261-589_0_7_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_261-589_0_7_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_261-589_0_7_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_261-589_0_7_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_261-589_0_7_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_261-589_0_7_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_261-589_0_7_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_261-589_0_7_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_261-589_0_7_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_261-589_0_7_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_261-589_0_7_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_261-589_0_7_node_6 | 0.4 | n |  | TRUE
39 | bus_LV_261-589_0_7_node_8 | 0.4 | n |  | TRUE
40 | bus_LV_261-589_0_7_node_12 | 0.4 | n |  | TRUE
41 | bus_LV_261-589_0_7_node_13 | 0.4 | n |  | TRUE
42 | bus_LV_261-589_0_7_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_261-589_0_7_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_261-589_0_7_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_261-589_0_7_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_261-589_0_7_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_261-589_0_7_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_261-589_0_7_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_261-589_0_7_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_261-589_0_7_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_261-589_0_7_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_261-589_0_7_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_261-589_0_7_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_261-589_0_7_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_261-589_0_7_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_261-589_0_7_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_261-589_0_7_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_261-589_0_7_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_261-589_0_7_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_261-589_0_7_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_261-589_0_7_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_261-589_0_7_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_261-589_0_7_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_261-589_0_7_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_261-589_0_7_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_261-589_0_7_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_261-589_0_7_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_261-589_0_7_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_261-589_0_7_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_261-589_0_7_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_261-589_0_7_node_65 | 0.4 | n |  | TRUE
72 | bus_MV_529_1_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-589_0_7_load_0 | 0 | 0.0041465 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-589_0_7_load_1 | 1 | 0.024859 | 0.0062302 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-589_0_7_load_4 | 4 | 0.094128 | 0.023591 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-589_0_7_load_5 | 5 | 0.0075529 | 0.0018929 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-589_0_7_load_77 | 8 | 0.006777 | 0.0016985 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-589_0_7_load_47 | 11 | 0.0073016 | 0.00183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-589_0_7_load_11 | 14 | 0.011395 | 0.0028559 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-589_0_7_load_7 | 15 | 0.0056611 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-589_0_7_load_50 | 18 | 0.0062561 | 0.0015679 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-589_0_7_load_55 | 20 | 0.0056824 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-589_0_7_load_49 | 21 | 0.0068391 | 0.001714 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-589_0_7_load_53 | 22 | 0.0069122 | 0.0017324 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-589_0_7_load_67 | 26 | 0.0073888 | 0.0018518 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-589_0_7_load_71 | 30 | 0.010152 | 0.0025443 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-589_0_7_load_61 | 31 | 0.0050962 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-589_0_7_load_60 | 32 | 0.0094555 | 0.0023698 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-589_0_7_load_70 | 33 | 0.00674 | 0.0016892 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-589_0_7_load_73 | 34 | 0.0099683 | 0.0024983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-589_0_7_load_69 | 36 | 0.0064451 | 0.0016153 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-589_0_7_load_42 | 37 | 0.013368 | 0.0033503 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-589_0_7_load_6 | 38 | 0.011203 | 0.0028077 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-589_0_7_load_8 | 39 | 0.003741 | 0.00093759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-589_0_7_load_36 | 42 | 0.0090906 | 0.0022783 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-589_0_7_load_32 | 43 | 0.0061065 | 0.0015304 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-589_0_7_load_40 | 44 | 0.003432 | 0.00086014 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-589_0_7_load_45 | 46 | 0.0042404 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-589_0_7_load_46 | 47 | 0.034087 | 0.008543 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-589_0_7_load_66 | 48 | 0.018675 | 0.0046803 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-589_0_7_load_48 | 50 | 0.0080192 | 0.0020098 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-589_0_7_load_39 | 53 | 0.008379 | 0.0021 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-589_0_7_load_78 | 54 | 0.016982 | 0.004256 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-589_0_7_load_51 | 55 | 0.0067758 | 0.0016982 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-589_0_7_load_72 | 56 | 0.011077 | 0.0027762 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-589_0_7_load_76 | 57 | 0.0096561 | 0.0024201 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-589_0_7_load_56 | 59 | 0.011946 | 0.0029939 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-589_0_7_load_44 | 62 | 0.021529 | 0.0053957 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-589_0_7_load_34 | 63 | 0.0087103 | 0.002183 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-589_0_7_load_35 | 64 | 0.00687 | 0.0017218 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-589_0_7_load_41 | 65 | 0.0035305 | 0.00088482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-589_0_7_load_57 | 66 | 0.0055218 | 0.0013839 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-589_0_7_load_52 | 67 | 0.0039812 | 0.00099778 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-589_0_7_load_58 | 68 | 0.012514 | 0.0031363 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-589_0_7_load_62 | 69 | 0.016465 | 0.0041265 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-589_0_7_load_64 | 70 | 0.0060462 | 0.0015153 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-589_0_7_load_65 | 71 | 0.022441 | 0.0056242 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-589_0_7_line_0 |  | 0 | 1 | 0.0022527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-589_0_7_line_1 |  | 1 | 2 | 0.027147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-589_0_7_line_2 |  | 2 | 6 | 0.040861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-589_0_7_line_3 |  | 3 | 4 | 0.0084099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-589_0_7_line_4 |  | 3 | 5 | 0.038681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-589_0_7_line_5 |  | 4 | 7 | 0.040196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-589_0_7_line_6 |  | 5 | 8 | 0.065491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-589_0_7_line_7 |  | 6 | 33 | 0.050221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-589_0_7_line_8 |  | 7 | 13 | 0.040951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-589_0_7_line_9 |  | 9 | 10 | 0.051483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-589_0_7_line_10 |  | 9 | 11 | 0.018768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-589_0_7_line_11 |  | 9 | 12 | 0.049399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-589_0_7_line_12 |  | 10 | 62 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-589_0_7_line_13 |  | 10 | 37 | 0.017476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-589_0_7_line_14 |  | 11 | 47 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-589_0_7_line_15 |  | 12 | 34 | 0.016225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-589_0_7_line_16 |  | 13 | 14 | 0.050014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-589_0_7_line_17 |  | 13 | 15 | 0.046237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-589_0_7_line_18 |  | 14 | 40 | 0.028423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-589_0_7_line_19 |  | 15 | 38 | 0.0056475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-589_0_7_line_20 |  | 16 | 17 | 0.03079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-589_0_7_line_21 |  | 16 | 18 | 0.080049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-589_0_7_line_22 |  | 17 | 22 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-589_0_7_line_23 |  | 17 | 20 | 0.04364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-589_0_7_line_24 |  | 19 | 20 | 0.014498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-589_0_7_line_25 |  | 19 | 21 | 0.031072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-589_0_7_line_26 |  | 21 | 50 | 0.018218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-589_0_7_line_27 |  | 22 | 55 | 0.022517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-589_0_7_line_28 |  | 23 | 24 | 0.038903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-589_0_7_line_29 |  | 23 | 25 | 0.055964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-589_0_7_line_30 |  | 23 | 26 | 0.046476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-589_0_7_line_31 |  | 24 | 56 | 0.012594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-589_0_7_line_32 |  | 25 | 32 | 0.046373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-589_0_7_line_33 |  | 27 | 28 | 0.017722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-589_0_7_line_34 |  | 27 | 29 | 0.019395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-589_0_7_line_35 |  | 27 | 30 | 0.0029036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-589_0_7_line_36 |  | 28 | 31 | 0.020069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-589_0_7_line_37 |  | 28 | 32 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-589_0_7_line_38 |  | 29 | 35 | 0.019533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_261-589_0_7_line_39 |  | 29 | 36 | 0.017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-589_0_7_line_40 |  | 31 | 57 | 0.0075907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-589_0_7_line_41 |  | 33 | 36 | 0.02297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-589_0_7_line_42 |  | 34 | 61 | 0.0094307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-589_0_7_line_43 |  | 35 | 37 | 0.014937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-589_0_7_line_44 |  | 38 | 39 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-589_0_7_line_45 |  | 40 | 41 | 0.017048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-589_0_7_line_46 |  | 41 | 42 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-589_0_7_line_47 |  | 41 | 43 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-589_0_7_line_48 |  | 42 | 44 | 0.00056333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-589_0_7_line_49 |  | 43 | 45 | 0.014601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_261-589_0_7_line_50 |  | 44 | 65 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-589_0_7_line_51 |  | 45 | 63 | 0.017553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-589_0_7_line_52 |  | 45 | 64 | 0.029046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-589_0_7_line_53 |  | 46 | 47 | 0.0092131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-589_0_7_line_54 |  | 48 | 49 | 0.0024777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-589_0_7_line_55 |  | 49 | 71 | 0.023611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-589_0_7_line_56 |  | 49 | 69 | 0.02372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-589_0_7_line_57 |  | 50 | 64 | 0.0027718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-589_0_7_line_58 |  | 51 | 52 | 0.002867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-589_0_7_line_59 |  | 51 | 53 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-589_0_7_line_60 |  | 52 | 54 | 0.026506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-589_0_7_line_61 |  | 53 | 60 | 0.023887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-589_0_7_line_62 |  | 55 | 67 | 0.018863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-589_0_7_line_63 |  | 56 | 71 | 0.022148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-589_0_7_line_64 |  | 58 | 59 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_261-589_0_7_line_65 |  | 58 | 60 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_261-589_0_7_line_66 |  | 59 | 66 | 0.028499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_261-589_0_7_line_67 |  | 60 | 63 | 0.020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_261-589_0_7_line_68 |  | 61 | 68 | 0.014663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_261-589_0_7_line_69 |  | 66 | 68 | 0.00076211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_261-589_0_7_line_70 |  | 69 | 70 | 0.026723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-589_0_7_trafo_28 | 0.63 MVA 20/0.4 kV | 72 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2679280.8116 | 1247553.7164 | 2679282.4684 | 1247555.2426
1 | 2679301.6402 | 1247574.3239 | 2679295.1246 | 1247567.3317 | 2679292.2879 | 1247565.3924 | 2679284.4873 | 1247557.9049 | 2679282.4684 | 1247555.2426 | 2679282.4684 | 1247555.2426
2 | 2679289.904 | 1247604.6891 | 2679292.981 | 1247602.2173 | 2679296.4093 | 1247599.4612 | 2679295.799 | 1247596.5286 | 2679295.66 | 1247592.8019 | 2679297.2839 | 1247591.1112 | 2679294.3161 | 1247587.6802 | 2679291.2961 | 1247584.1928 | 2679301.6402 | 1247574.3239
3 | 2679242.7637 | 1247506.4431 | 2679237.2927 | 1247512.8302
4 | 2679242.7637 | 1247506.4431 | 2679263.2176 | 1247485.0231 | 2679269.6744 | 1247491.3837
5 | 2679207.531 | 1247485.813 | 2679237.2927 | 1247512.8302
6 | 2679316.3063 | 1247506.3809 | 2679300.7407 | 1247521.8737 | 2679272.5664 | 1247494.2325 | 2679269.6744 | 1247491.3837
7 | 2679289.904 | 1247604.6891 | 2679278.4186 | 1247605.0247 | 2679269.3109 | 1247608.8613 | 2679241.6803 | 1247616.8423 | 2679241.5957 | 1247616.8667
8 | 2679179.6832 | 1247455.7415 | 2679185.0043 | 1247462.2618 | 2679207.531 | 1247485.813
9 | 2679213.5348 | 1247606.2697 | 2679176.88 | 1247570.0094
10 | 2679176.88 | 1247570.0094 | 2679189.8564 | 1247556.4506
11 | 2679141.6935 | 1247587.2301 | 2679151.0866 | 1247595.9507 | 2679176.88 | 1247570.0094
12 | 2679213.5348 | 1247606.2697 | 2679226.8867 | 1247604.2845
13 | 2679213.5348 | 1247606.2697 | 2679208.9387 | 1247608.2431 | 2679199.9782 | 1247616.922
14 | 2679182.3671 | 1247549.401 | 2679189.8564 | 1247556.4506
15 | 2679141.6935 | 1247587.2301 | 2679130.078 | 1247598.5581
16 | 2679179.6832 | 1247455.7415 | 2679174.911 | 1247452.2308 | 2679170.4983 | 1247448.9473 | 2679166.3447 | 1247448.8918 | 2679162.7785 | 1247450.6566 | 2679158.7152 | 1247443.8419 | 2679149.3258 | 1247448.9647 | 2679149.5135 | 1247450.1792 | 2679140.0445 | 1247454.9369
17 | 2679179.6832 | 1247455.7415 | 2679183.8944 | 1247452.6177 | 2679196.0217 | 1247441.5716 | 2679211.523 | 1247426.7567 | 2679213.6326 | 1247424.4211
18 | 2679126.0286 | 1247471.7816 | 2679123.3284 | 1247469.2215 | 2679126.4184 | 1247465.2153 | 2679125.2402 | 1247462.3753 | 2679140.0445 | 1247454.9369
19 | 2679217.418 | 1247420.2299 | 2679213.6326 | 1247424.4211
20 | 2678981.0772 | 1247495.1442 | 2679003.8111 | 1247474.3097
21 | 2678981.0772 | 1247495.1442 | 2678996.9346 | 1247518.7281 | 2679018.17 | 1247545.1302 | 2679025.353 | 1247545.1481 | 2679033.8574 | 1247538.8802
22 | 2679003.8111 | 1247474.3097 | 2679014.5265 | 1247486.4736
23 | 2679003.8111 | 1247474.3097 | 2679007.1557 | 1247471.5967 | 2679029.2892 | 1247456.147 | 2679039.5811 | 1247449.3358
24 | 2679051.6712 | 1247441.3345 | 2679039.5811 | 1247449.3358
25 | 2679051.6712 | 1247441.3345 | 2679072.1632 | 1247464.691
26 | 2679084.1784 | 1247478.3857 | 2679072.1632 | 1247464.691
27 | 2679029.4103 | 1247503.3696 | 2679014.5265 | 1247486.4736
28 | 2679116.4159 | 1247658.8449 | 2679111.8803 | 1247676.097 | 2679112.8411 | 1247679.3788 | 2679109.4016 | 1247694.8664 | 2679109.9454 | 1247696.5638
29 | 2679109.9454 | 1247696.5638 | 2679109.338 | 1247699.0686 | 2679158.93 | 1247711.0724 | 2679161.2263 | 1247711.6257
30 | 2679109.9454 | 1247696.5638 | 2679111.5539 | 1247695.4622 | 2679122.6945 | 1247652.3518
31 | 2679116.4159 | 1247658.8449 | 2679104.1322 | 1247656.0652
32 | 2679161.2263 | 1247711.6257 | 2679164.5332 | 1247708.3341 | 2679166.6335 | 1247704.337 | 2679169.8245 | 1247692.193 | 2679174.5073 | 1247670.1506 | 2679175.0161 | 1247668.1117
33 | 2679180.4072 | 1247651.4269 | 2679184.6685 | 1247653.0294 | 2679188.2707 | 1247646.2948 | 2679193.1996 | 1247648.8069
34 | 2679205.6637 | 1247634.007 | 2679203.6467 | 1247635.7258 | 2679199.9837 | 1247639.6575 | 2679195.5431 | 1247645.8249 | 2679193.1996 | 1247648.8069
35 | 2679193.1996 | 1247648.8069 | 2679191.9517 | 1247651.4287
36 | 2679180.4072 | 1247651.4269 | 2679169.6328 | 1247648.303 | 2679163.0146 | 1247642.4264
37 | 2679180.4072 | 1247651.4269 | 2679176.8775 | 1247660.6531 | 2679175.0161 | 1247668.1117
38 | 2679189.6074 | 1247627.6546 | 2679193.3054 | 1247628.449 | 2679195.7774 | 1247628.293 | 2679198.4186 | 1247626.7828 | 2679201.6163 | 1247629.9722 | 2679205.6637 | 1247634.007
39 | 2679205.6637 | 1247634.007 | 2679210.882 | 1247629.5623 | 2679219.9312 | 1247624.3227
40 | 2679157.3386 | 1247637.3865 | 2679163.0146 | 1247642.4264
41 | 2679219.9312 | 1247624.3227 | 2679221.5998 | 1247623.3565 | 2679228.9189 | 1247620.53 | 2679241.5957 | 1247616.8667
42 | 2679123.3265 | 1247605.1425 | 2679130.078 | 1247598.5581
43 | 2679189.6074 | 1247627.6546 | 2679191.5559 | 1247625.4123 | 2679193.527 | 1247623.1704 | 2679199.9782 | 1247616.922
44 | 2679217.418 | 1247420.2299 | 2679228.2829 | 1247408.2005 | 2679234.8861 | 1247402.2833
45 | 2679129.3894 | 1247488.2161 | 2679125.8301 | 1247478.1613 | 2679126.0286 | 1247471.7816
46 | 2679129.3894 | 1247488.2161 | 2679141.3197 | 1247482.4357
47 | 2679129.3894 | 1247488.2161 | 2679116.6745 | 1247495.7159
48 | 2679141.3197 | 1247482.4357 | 2679141.8266 | 1247482.1901
49 | 2679104.098 | 1247503.134 | 2679116.6745 | 1247495.7159
50 | 2679141.8266 | 1247482.1901 | 2679157.3316 | 1247474.6777
51 | 2679104.098 | 1247503.134 | 2679109.9526 | 1247517.2224 | 2679110.6414 | 1247519.4136
52 | 2679104.098 | 1247503.134 | 2679097.4138 | 1247493.4712 | 2679086.0064 | 1247480.4693
53 | 2679182.3671 | 1247549.401 | 2679188.6198 | 1247542.6345
54 | 2679059.501 | 1247645.9654 | 2679057.0837 | 1247645.4217
55 | 2679059.501 | 1247645.9654 | 2679082.5302 | 1247651.1768
56 | 2679059.501 | 1247645.9654 | 2679062.104 | 1247630.8892 | 2679063.8862 | 1247628.6558 | 2679065.1714 | 1247623.2431
57 | 2679084.1784 | 1247478.3857 | 2679086.0064 | 1247480.4693
58 | 2679083.8382 | 1247555.3351 | 2679082.0402 | 1247553.0984
59 | 2679083.8382 | 1247555.3351 | 2679085.9647 | 1247551.6386 | 2679084.8311 | 1247547.7206 | 2679093.4683 | 1247545.1784 | 2679093.6163 | 1247545.1414
60 | 2679082.0402 | 1247553.0984 | 2679060.4279 | 1247568.4437
61 | 2679116.6941 | 1247538.9948 | 2679107.2916 | 1247541.7269 | 2679093.6163 | 1247545.1414
62 | 2679029.4103 | 1247503.3696 | 2679041.8792 | 1247517.5243
63 | 2679104.1322 | 1247656.0652 | 2679082.5302 | 1247651.1768
64 | 2679122.6927 | 1247560.4015 | 2679109.3321 | 1247573.1976
65 | 2679122.6927 | 1247560.4015 | 2679116.6941 | 1247538.9948
66 | 2679109.3321 | 1247573.1976 | 2679101.2696 | 1247580.9195 | 2679112.9412 | 1247593.7372
67 | 2679116.6941 | 1247538.9948 | 2679114.3435 | 1247531.1911 | 2679110.6414 | 1247519.4136
68 | 2679123.3265 | 1247605.1425 | 2679113.4543 | 1247594.3007
69 | 2679112.9412 | 1247593.7372 | 2679113.4543 | 1247594.3007
70 | 2679071.3449 | 1247597.2435 | 2679065.1714 | 1247623.2431

## bus_geodata
| x | y | coords
0 | 2679280.8116 | 1247553.7164
1 | 2679282.4684 | 1247555.2426
2 | 2679301.6402 | 1247574.3239
3 | 2679242.7637 | 1247506.4431
4 | 2679237.2927 | 1247512.8302
5 | 2679269.6744 | 1247491.3837
6 | 2679289.904 | 1247604.6891
7 | 2679207.531 | 1247485.813
8 | 2679316.3063 | 1247506.3809
9 | 2679176.88 | 1247570.0094
10 | 2679213.5348 | 1247606.2697
11 | 2679189.8564 | 1247556.4506
12 | 2679141.6935 | 1247587.2301
13 | 2679179.6832 | 1247455.7415
14 | 2679140.0445 | 1247454.9369
15 | 2679213.6326 | 1247424.4211
16 | 2678981.0772 | 1247495.1442
17 | 2679003.8111 | 1247474.3097
18 | 2679033.8574 | 1247538.8802
19 | 2679051.6712 | 1247441.3345
20 | 2679039.5811 | 1247449.3358
21 | 2679072.1632 | 1247464.691
22 | 2679014.5265 | 1247486.4736
23 | 2679109.9454 | 1247696.5638
24 | 2679116.4159 | 1247658.8449
25 | 2679161.2263 | 1247711.6257
26 | 2679122.6945 | 1247652.3518
27 | 2679193.1996 | 1247648.8069
28 | 2679180.4072 | 1247651.4269
29 | 2679205.6637 | 1247634.007
30 | 2679191.9517 | 1247651.4287
31 | 2679163.0146 | 1247642.4264
32 | 2679175.0161 | 1247668.1117
33 | 2679241.5957 | 1247616.8667
34 | 2679130.078 | 1247598.5581
35 | 2679189.6074 | 1247627.6546
36 | 2679219.9312 | 1247624.3227
37 | 2679199.9782 | 1247616.922
38 | 2679217.418 | 1247420.2299
39 | 2679234.8861 | 1247402.2833
40 | 2679126.0286 | 1247471.7816
41 | 2679129.3894 | 1247488.2161
42 | 2679141.3197 | 1247482.4357
43 | 2679116.6745 | 1247495.7159
44 | 2679141.8266 | 1247482.1901
45 | 2679104.098 | 1247503.134
46 | 2679188.6198 | 1247542.6345
47 | 2679182.3671 | 1247549.401
48 | 2679057.0837 | 1247645.4217
49 | 2679059.501 | 1247645.9654
50 | 2679084.1784 | 1247478.3857
51 | 2679083.8382 | 1247555.3351
52 | 2679082.0402 | 1247553.0984
53 | 2679093.6163 | 1247545.1414
54 | 2679060.4279 | 1247568.4437
55 | 2679029.4103 | 1247503.3696
56 | 2679104.1322 | 1247656.0652
57 | 2679157.3386 | 1247637.3865
58 | 2679122.6927 | 1247560.4015
59 | 2679109.3321 | 1247573.1976
60 | 2679116.6941 | 1247538.9948
61 | 2679123.3265 | 1247605.1425
62 | 2679226.8867 | 1247604.2845
63 | 2679110.6414 | 1247519.4136
64 | 2679086.0064 | 1247480.4693
65 | 2679157.3316 | 1247474.6777
66 | 2679112.9412 | 1247593.7372
67 | 2679041.8792 | 1247517.5243
68 | 2679113.4543 | 1247594.3007
69 | 2679065.1714 | 1247623.2431
70 | 2679071.3449 | 1247597.2435
71 | 2679082.5302 | 1247651.1768
72 | 2679151.0866 | 1247595.9507

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98928 | -0.20533 | 0.0041465 | 0.0010392
1 | 0.98929 | -0.20516 | 0.024859 | 0.0062302
2 | 0.99001 | -0.19115 | 0 | 0
3 | 0.97234 | -0.53337 | 0 | 0
4 | 0.97245 | -0.53115 | 0.094128 | 0.023591
5 | 0.97182 | -0.54359 | 0.0075529 | 0.0018929
6 | 0.9911 | -0.17009 | 0 | 0
7 | 0.97652 | -0.45113 | 0 | 0
8 | 0.97141 | -0.55179 | 0.006777 | 0.0016985
9 | 1 | 0 | -0.53701 | -0.13734
10 | 0.99694 | -0.058074 | 0 | 0
11 | 0.99922 | -0.014938 | 0.0073016 | 0.00183
12 | 0.9956 | -0.083029 | 0 | 0
13 | 0.97859 | -0.41062 | 0 | 0
14 | 0.98059 | -0.37154 | 0.011395 | 0.0028559
15 | 0.9777 | -0.42798 | 0.0056611 | 0.0014188
16 | 0.97953 | -0.39285 | 0 | 0
17 | 0.97971 | -0.38935 | 0 | 0
18 | 0.97907 | -0.40195 | 0.0062561 | 0.0015679
19 | 0.98107 | -0.36262 | 0 | 0
20 | 0.98067 | -0.3704 | 0.0056824 | 0.0014241
21 | 0.98192 | -0.34597 | 0.0068391 | 0.001714
22 | 0.97944 | -0.39455 | 0.0069122 | 0.0017324
23 | 0.98071 | -0.36994 | 0 | 0
24 | 0.978 | -0.42276 | 0 | 0
25 | 0.98498 | -0.28704 | 0 | 0
26 | 0.98039 | -0.37617 | 0.0073888 | 0.0018518
27 | 0.99176 | -0.1568 | 0 | 0
28 | 0.99001 | -0.19025 | 0 | 0
29 | 0.99385 | -0.11686 | 0 | 0
30 | 0.99173 | -0.15732 | 0.010152 | 0.0025443
31 | 0.98974 | -0.19551 | 0.0050962 | 0.0012772
32 | 0.98852 | -0.21889 | 0.0094555 | 0.0023698
33 | 0.99243 | -0.14428 | 0.00674 | 0.0016892
34 | 0.99416 | -0.11046 | 0.0099683 | 0.0024983
35 | 0.99528 | -0.089554 | 0 | 0
36 | 0.99318 | -0.12976 | 0.0064451 | 0.0016153
37 | 0.99601 | -0.075665 | 0.013368 | 0.0033503
38 | 0.97763 | -0.42952 | 0.011203 | 0.0028077
39 | 0.97754 | -0.43123 | 0.003741 | 0.00093759
40 | 0.98183 | -0.34744 | 0 | 0
41 | 0.98258 | -0.33302 | 0 | 0
42 | 0.98238 | -0.33686 | 0.0090906 | 0.0022783
43 | 0.98329 | -0.31913 | 0.0061065 | 0.0015304
44 | 0.98238 | -0.33694 | 0.003432 | 0.00086014
45 | 0.98403 | -0.30487 | 0 | 0
46 | 0.99883 | -0.022504 | 0.0042404 | 0.0010628
47 | 0.99886 | -0.021822 | 0.034087 | 0.008543
48 | 0.97487 | -0.48434 | 0.018675 | 0.0046803
49 | 0.97491 | -0.4835 | 0 | 0
50 | 0.98254 | -0.33398 | 0.0080192 | 0.0020098
51 | 0.98578 | -0.27126 | 0 | 0
52 | 0.98573 | -0.27213 | 0 | 0
53 | 0.98605 | -0.26593 | 0.008379 | 0.0021
54 | 0.98532 | -0.28021 | 0.016982 | 0.004256
55 | 0.97922 | -0.39895 | 0.0067758 | 0.0016982
56 | 0.97713 | -0.43992 | 0.011077 | 0.0027762
57 | 0.98968 | -0.19682 | 0.0096561 | 0.0024201
58 | 0.98831 | -0.22222 | 0 | 0
59 | 0.98973 | -0.19496 | 0.011946 | 0.0029939
60 | 0.98661 | -0.25508 | 0 | 0
61 | 0.99335 | -0.12589 | 0 | 0
62 | 0.99667 | -0.063172 | 0.021529 | 0.0053957
63 | 0.98519 | -0.28236 | 0.0087103 | 0.002183
64 | 0.98265 | -0.33175 | 0.00687 | 0.0017218
65 | 0.98232 | -0.33803 | 0.0035305 | 0.00088482
66 | 0.99203 | -0.15112 | 0.0055218 | 0.0013839
67 | 0.97915 | -0.40032 | 0.0039812 | 0.00099778
68 | 0.99209 | -0.14992 | 0.012514 | 0.0031363
69 | 0.97442 | -0.49329 | 0.016465 | 0.0041265
70 | 0.97427 | -0.49626 | 0.0060462 | 0.0015153
71 | 0.97582 | -0.46568 | 0.022441 | 0.0056242
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0041465 | -0.0010392 | 0.0041466 | 0.0010392 | 3.286e-08 | -7.8927e-09 | 0.006237 | 0.006237 | 0.006237 | 0.98928 | -0.20533 | 0.98929 | -0.20516 | 1.7135
1 | -0.029005 | -0.0072694 | 0.029025 | 0.0072815 | 1.9377e-05 | 1.2052e-05 | 0.043628 | 0.043628 | 0.043628 | 0.98929 | -0.20516 | 0.99001 | -0.19115 | 11.9857
2 | -0.029025 | -0.0072815 | 0.029054 | 0.0072996 | 2.9165e-05 | 1.814e-05 | 0.043628 | 0.043628 | 0.043628 | 0.99001 | -0.19115 | 0.9911 | -0.17009 | 11.9856
3 | -0.01434 | -0.0035963 | 0.014341 | 0.0035972 | 1.5188e-06 | 8.6772e-07 | 0.021945 | 0.021945 | 0.021945 | 0.97234 | -0.53337 | 0.97245 | -0.53115 | 6.029
4 | 0.01434 | 0.0035963 | -0.014333 | -0.0035923 | 6.9858e-06 | 3.9914e-06 | 0.021945 | 0.021946 | 0.021946 | 0.97234 | -0.53337 | 0.97182 | -0.54359 | 6.029
5 | -0.10847 | -0.027188 | 0.10888 | 0.027453 | 0.00041525 | 0.00026526 | 0.16598 | 0.16598 | 0.16598 | 0.97245 | -0.53115 | 0.97652 | -0.45113 | 45.5981
6 | 0.0067796 | 0.0016994 | -0.006777 | -0.0016985 | 2.6466e-06 | 8.827e-07 | 0.010381 | 0.010381 | 0.010381 | 0.97182 | -0.54359 | 0.97141 | -0.55179 | 2.8519
7 | -0.029054 | -0.0072996 | 0.02909 | 0.0073219 | 3.5846e-05 | 2.2293e-05 | 0.043628 | 0.043627 | 0.043628 | 0.9911 | -0.17009 | 0.99243 | -0.14428 | 11.9856
8 | -0.10888 | -0.027453 | 0.1091 | 0.027587 | 0.00021152 | 0.00013435 | 0.16598 | 0.16598 | 0.16598 | 0.97652 | -0.45113 | 0.97859 | -0.41062 | 22.799
9 | 0.19621 | 0.050204 | -0.19566 | -0.049854 | 0.00054994 | 0.00034994 | 0.29233 | 0.29233 | 0.29233 | 1 | 0 | 0.99694 | -0.058074 | 26.7701
10 | 0.045674 | 0.011464 | -0.045642 | -0.011444 | 3.2514e-05 | 2.0563e-05 | 0.06797 | 0.06797 | 0.06797 | 1 | 0 | 0.99922 | -0.014938 | 18.673
11 | 0.29347 | 0.075671 | -0.29229 | -0.074917 | 0.0011816 | 0.00075431 | 0.43745 | 0.43745 | 0.43745 | 1 | 0 | 0.9956 | -0.083029 | 40.0594
12 | 0.021534 | 0.0053988 | -0.021529 | -0.0053957 | 5.2297e-06 | 3.171e-06 | 0.032142 | 0.032142 | 0.032142 | 0.99694 | -0.058074 | 0.99667 | -0.063172 | 8.8303
13 | 0.17413 | 0.044455 | -0.17398 | -0.044361 | 0.00014789 | 9.3965e-05 | 0.26019 | 0.26019 | 0.26019 | 0.99694 | -0.058074 | 0.99601 | -0.075665 | 23.8267
14 | 0.03834 | 0.0096136 | -0.038327 | -0.0096057 | 1.2574e-05 | 7.9125e-06 | 0.057096 | 0.057097 | 0.057097 | 0.99922 | -0.014938 | 0.99886 | -0.021822 | 15.6859
15 | 0.29229 | 0.074917 | -0.2919 | -0.074669 | 0.0003881 | 0.00024775 | 0.43745 | 0.43745 | 0.43745 | 0.9956 | -0.083029 | 0.99416 | -0.11046 | 40.0594
16 | -0.12972 | -0.032762 | 0.12996 | 0.032916 | 0.00024346 | 0.00015392 | 0.19734 | 0.19734 | 0.19734 | 0.97859 | -0.41062 | 0.98059 | -0.37154 | 18.0713
17 | 0.020623 | 0.0051749 | -0.020606 | -0.0051646 | 1.7054e-05 | 1.0334e-05 | 0.031362 | 0.031362 | 0.031362 | 0.97859 | -0.41062 | 0.9777 | -0.42798 | 8.6159
18 | -0.14136 | -0.035772 | 0.14152 | 0.035876 | 0.00016366 | 0.00010367 | 0.21463 | 0.21463 | 0.21463 | 0.98059 | -0.37154 | 0.98183 | -0.34744 | 19.6547
19 | 0.014945 | 0.0037458 | -0.014944 | -0.0037452 | 1.0957e-06 | 6.3045e-07 | 0.022746 | 0.022746 | 0.022746 | 0.9777 | -0.42798 | 0.97763 | -0.42952 | 6.2489
20 | -0.0062589 | -0.0015687 | 0.0062599 | 0.0015689 | 1.0438e-06 | 2.8037e-07 | 0.0095079 | 0.0095078 | 0.0095079 | 0.97953 | -0.39285 | 0.97971 | -0.38935 | 2.6121
21 | 0.0062589 | 0.0015687 | -0.0062561 | -0.0015679 | 2.7138e-06 | 7.2967e-07 | 0.0095079 | 0.0095083 | 0.0095083 | 0.97953 | -0.39285 | 0.97907 | -0.40195 | 2.6122
22 | 0.017676 | 0.004432 | -0.017672 | -0.0044294 | 4.3817e-06 | 2.6002e-06 | 0.026848 | 0.026848 | 0.026848 | 0.97971 | -0.38935 | 0.97944 | -0.39455 | 7.3758
23 | -0.023936 | -0.006001 | 0.023958 | 0.0060142 | 2.163e-05 | 1.3293e-05 | 0.036356 | 0.036355 | 0.036356 | 0.97971 | -0.38935 | 0.98067 | -0.3704 | 9.9878
24 | 0.029651 | 0.0074452 | -0.02964 | -0.0074384 | 1.0998e-05 | 6.8559e-06 | 0.044977 | 0.044977 | 0.044977 | 0.98107 | -0.36262 | 0.98067 | -0.3704 | 12.3564
25 | -0.029651 | -0.0074452 | 0.029675 | 0.0074599 | 2.3571e-05 | 1.4693e-05 | 0.044977 | 0.044977 | 0.044977 | 0.98107 | -0.36262 | 0.98192 | -0.34597 | 12.3564
26 | -0.036514 | -0.009174 | 0.036535 | 0.0091871 | 2.0924e-05 | 1.3161e-05 | 0.055341 | 0.055341 | 0.055341 | 0.98192 | -0.34597 | 0.98254 | -0.33398 | 15.2036
27 | 0.010759 | 0.002697 | -0.010757 | -0.0026959 | 2.2562e-06 | 1.1607e-06 | 0.016346 | 0.016347 | 0.016347 | 0.97944 | -0.39455 | 0.97922 | -0.39895 | 4.4908
28 | 0.07508 | 0.018961 | -0.07489 | -0.018841 | 0.00018949 | 0.00012079 | 0.11397 | 0.11397 | 0.11397 | 0.98071 | -0.36994 | 0.978 | -0.42276 | 31.3104
29 | -0.082471 | -0.020814 | 0.0828 | 0.021024 | 0.00032888 | 0.00020977 | 0.12518 | 0.12518 | 0.12518 | 0.98071 | -0.36994 | 0.98498 | -0.28704 | 34.3912
30 | 0.0073909 | 0.0018526 | -0.0073888 | -0.0018518 | 2.1919e-06 | 8.1655e-07 | 0.011214 | 0.011215 | 0.011215 | 0.98071 | -0.36994 | 0.98039 | -0.37617 | 3.0809
31 | 0.07489 | 0.018841 | -0.074829 | -0.018802 | 6.1346e-05 | 3.9104e-05 | 0.11397 | 0.11397 | 0.11397 | 0.978 | -0.42276 | 0.97713 | -0.43992 | 31.3104
32 | -0.0828 | -0.021024 | 0.083072 | 0.021198 | 0.00027252 | 0.00017382 | 0.12518 | 0.12518 | 0.12518 | 0.98498 | -0.28704 | 0.98852 | -0.21889 | 34.3911
33 | 0.10759 | 0.02746 | -0.10741 | -0.027349 | 0.00017354 | 0.00011084 | 0.1616 | 0.1616 | 0.1616 | 0.99176 | -0.1568 | 0.99001 | -0.19025 | 44.3947
34 | -0.11774 | -0.030004 | 0.11797 | 0.030149 | 0.00022742 | 0.0001453 | 0.17683 | 0.17683 | 0.17683 | 0.99176 | -0.1568 | 0.99385 | -0.11686 | 48.5792
35 | 0.010152 | 0.0025444 | -0.010152 | -0.0025443 | 2.5263e-07 | 1.2422e-07 | 0.015232 | 0.015232 | 0.015232 | 0.99176 | -0.1568 | 0.99173 | -0.15732 | 4.1846
36 | 0.014757 | 0.0036997 | -0.014753 | -0.0036976 | 3.7024e-06 | 2.1116e-06 | 0.02218 | 0.02218 | 0.02218 | 0.99001 | -0.19025 | 0.98974 | -0.19551 | 6.0935
37 | 0.092656 | 0.023649 | -0.092528 | -0.023567 | 0.00012803 | 8.1717e-05 | 0.13942 | 0.13942 | 0.13942 | 0.99001 | -0.19025 | 0.98852 | -0.21889 | 38.3013
38 | -0.16029 | -0.040808 | 0.1605 | 0.040943 | 0.00021134 | 0.00013475 | 0.24022 | 0.24022 | 0.24022 | 0.99385 | -0.11686 | 0.99528 | -0.089554 | 32.9968
39 | 0.042326 | 0.010659 | -0.0423 | -0.010642 | 2.6085e-05 | 1.647e-05 | 0.063389 | 0.063389 | 0.063389 | 0.99385 | -0.11686 | 0.99318 | -0.12976 | 17.4146
40 | 0.0096567 | 0.0024203 | -0.0096561 | -0.0024201 | 6e-07 | 2.8645e-07 | 0.014518 | 0.014518 | 0.014518 | 0.98974 | -0.19551 | 0.98968 | -0.19682 | 3.9886
41 | -0.03583 | -0.0090111 | 0.035855 | 0.0090267 | 2.4869e-05 | 1.5619e-05 | 0.053733 | 0.053733 | 0.053733 | 0.99243 | -0.14428 | 0.99318 | -0.12976 | 14.7618
42 | 0.28194 | 0.072171 | -0.28173 | -0.072037 | 0.00021046 | 0.00013433 | 0.42253 | 0.42253 | 0.42253 | 0.99416 | -0.11046 | 0.99335 | -0.12589 | 38.6931
43 | -0.1605 | -0.040943 | 0.16061 | 0.041011 | 0.00010774 | 6.8371e-05 | 0.24022 | 0.24022 | 0.24022 | 0.99528 | -0.089554 | 0.99601 | -0.075665 | 21.9979
44 | 0.0037413 | 0.00093747 | -0.003741 | -0.00093759 | 3.0494e-07 | -1.1924e-07 | 0.0056945 | 0.0056946 | 0.0056946 | 0.97763 | -0.42952 | 0.97754 | -0.43123 | 1.5645
45 | -0.14152 | -0.035876 | 0.14162 | 0.035938 | 9.8165e-05 | 6.2179e-05 | 0.21463 | 0.21463 | 0.21463 | 0.98183 | -0.34744 | 0.98258 | -0.33302 | 19.6546
46 | 0.016056 | 0.0040249 | -0.016053 | -0.0040232 | 2.9394e-06 | 1.7133e-06 | 0.024316 | 0.024316 | 0.024316 | 0.98258 | -0.33302 | 0.98238 | -0.33686 | 6.6802
47 | -0.15768 | -0.039963 | 0.15778 | 0.04003 | 0.00010535 | 6.6865e-05 | 0.23894 | 0.23894 | 0.23894 | 0.98258 | -0.33302 | 0.98329 | -0.31913 | 21.8814
48 | 0.0069627 | 0.0017449 | -0.0069627 | -0.0017449 | 2.3497e-08 | 7.9055e-09 | 0.010546 | 0.010546 | 0.010546 | 0.98238 | -0.33686 | 0.98238 | -0.33694 | 2.8974
49 | -0.16389 | -0.04156 | 0.164 | 0.041632 | 0.00011242 | 7.1394e-05 | 0.24819 | 0.24818 | 0.24819 | 0.98329 | -0.31913 | 0.98403 | -0.30487 | 22.7276
50 | 0.0035307 | 0.00088472 | -0.0035305 | -0.00088482 | 1.8478e-07 | -9.9862e-08 | 0.0053479 | 0.005348 | 0.005348 | 0.98238 | -0.33694 | 0.98232 | -0.33803 | 1.4692
51 | -0.21549 | -0.054595 | 0.21573 | 0.054744 | 0.00023329 | 0.00014864 | 0.32607 | 0.32607 | 0.32607 | 0.98403 | -0.30487 | 0.98519 | -0.28236 | 29.8602
52 | 0.051495 | 0.012964 | -0.051428 | -0.012922 | 6.608e-05 | 4.1923e-05 | 0.077889 | 0.077889 | 0.077889 | 0.98403 | -0.30487 | 0.98265 | -0.33175 | 21.3981
53 | -0.0042404 | -0.0010628 | 0.0042406 | 0.0010627 | 1.3788e-07 | -3.235e-08 | 0.0063172 | 0.0063172 | 0.0063172 | 0.99883 | -0.022504 | 0.99886 | -0.021822 | 1.7355
54 | -0.018675 | -0.0046803 | 0.018675 | 0.0046807 | 7.5492e-07 | 4.5226e-07 | 0.028504 | 0.028504 | 0.028504 | 0.97487 | -0.48434 | 0.97491 | -0.4835 | 7.8309
55 | -0.041198 | -0.010329 | 0.041233 | 0.010351 | 3.5011e-05 | 2.2112e-05 | 0.062882 | 0.062882 | 0.062882 | 0.97491 | -0.4835 | 0.97582 | -0.46568 | 17.2752
56 | 0.022522 | 0.0056484 | -0.022512 | -0.005642 | 1.0512e-05 | 6.4321e-06 | 0.034377 | 0.034378 | 0.034378 | 0.97491 | -0.4835 | 0.97442 | -0.49329 | 9.4444
57 | -0.044554 | -0.011197 | 0.044559 | 0.0112 | 4.7339e-06 | 2.9946e-06 | 0.067486 | 0.067486 | 0.067486 | 0.98254 | -0.33398 | 0.98265 | -0.33175 | 18.5401
58 | 0.016989 | 0.0042603 | -0.016988 | -0.0042599 | 7.071e-07 | 4.16e-07 | 0.025645 | 0.025645 | 0.025645 | 0.98578 | -0.27126 | 0.98573 | -0.27213 | 7.0455
59 | -0.016989 | -0.0042603 | 0.016993 | 0.0042628 | 4.3159e-06 | 2.539e-06 | 0.025645 | 0.025645 | 0.025645 | 0.98578 | -0.27126 | 0.98605 | -0.26593 | 7.0455
60 | 0.016988 | 0.0042599 | -0.016982 | -0.004256 | 6.5373e-06 | 3.8461e-06 | 0.025645 | 0.025646 | 0.025646 | 0.98573 | -0.27213 | 0.98532 | -0.28021 | 7.0455
61 | -0.025372 | -0.0063628 | 0.025385 | 0.0063709 | 1.3133e-05 | 8.1e-06 | 0.03829 | 0.03829 | 0.03829 | 0.98605 | -0.26593 | 0.98661 | -0.25508 | 10.5192
62 | 0.0039815 | 0.00099771 | -0.0039812 | -0.00099778 | 2.5894e-07 | -7.1561e-08 | 0.0060502 | 0.0060502 | 0.0060502 | 0.97922 | -0.39895 | 0.97915 | -0.40032 | 1.6622
63 | 0.063752 | 0.016025 | -0.063674 | -0.015976 | 7.8311e-05 | 4.9842e-05 | 0.097101 | 0.097102 | 0.097102 | 0.97713 | -0.43992 | 0.97582 | -0.46568 | 26.6762
64 | -0.25051 | -0.063738 | 0.25084 | 0.063948 | 0.00032958 | 0.00021022 | 0.37752 | 0.37752 | 0.37752 | 0.98831 | -0.22222 | 0.98973 | -0.19496 | 34.5713
65 | 0.25051 | 0.063738 | -0.25012 | -0.063486 | 0.00039599 | 0.00025258 | 0.37752 | 0.37752 | 0.37752 | 0.98831 | -0.22222 | 0.98661 | -0.25508 | 34.5713
66 | -0.26279 | -0.066942 | 0.26335 | 0.067298 | 0.00055717 | 0.00035549 | 0.39548 | 0.39548 | 0.39548 | 0.98973 | -0.19496 | 0.99203 | -0.15112 | 36.2159
67 | 0.22473 | 0.057115 | -0.22444 | -0.056927 | 0.00029482 | 0.0001879 | 0.33923 | 0.33923 | 0.33923 | 0.98661 | -0.25508 | 0.98519 | -0.28236 | 31.065
68 | 0.28173 | 0.072037 | -0.2814 | -0.071828 | 0.00032723 | 0.00020886 | 0.42253 | 0.42253 | 0.42253 | 0.99335 | -0.12589 | 0.99209 | -0.14992 | 38.6931
69 | -0.26887 | -0.068682 | 0.26888 | 0.068692 | 1.553e-05 | 9.9098e-06 | 0.40376 | 0.40376 | 0.40376 | 0.99203 | -0.15112 | 0.99209 | -0.14992 | 36.9744
70 | 0.006047 | 0.0015155 | -0.0060462 | -0.0015153 | 8.5452e-07 | 2.1407e-07 | 0.0092343 | 0.0092344 | 0.0092344 | 0.97442 | -0.49329 | 0.97427 | -0.49626 | 2.5369

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53701 | 0.13734

## res_load
| p_mw | q_mvar
0 | 0.0041465 | 0.0010392
1 | 0.024859 | 0.0062302
2 | 0.094128 | 0.023591
3 | 0.0075529 | 0.0018929
4 | 0.006777 | 0.0016985
5 | 0.0073016 | 0.00183
6 | 0.011395 | 0.0028559
7 | 0.0056611 | 0.0014188
8 | 0.0062561 | 0.0015679
9 | 0.0056824 | 0.0014241
10 | 0.0068391 | 0.001714
11 | 0.0069122 | 0.0017324
12 | 0.0073888 | 0.0018518
13 | 0.010152 | 0.0025443
14 | 0.0050962 | 0.0012772
15 | 0.0094555 | 0.0023698
16 | 0.00674 | 0.0016892
17 | 0.0099683 | 0.0024983
18 | 0.0064451 | 0.0016153
19 | 0.013368 | 0.0033503
20 | 0.011203 | 0.0028077
21 | 0.003741 | 0.00093759
22 | 0.0090906 | 0.0022783
23 | 0.0061065 | 0.0015304
24 | 0.003432 | 0.00086014
25 | 0.0042404 | 0.0010628
26 | 0.034087 | 0.008543
27 | 0.018675 | 0.0046803
28 | 0.0080192 | 0.0020098
29 | 0.008379 | 0.0021
30 | 0.016982 | 0.004256
31 | 0.0067758 | 0.0016982
32 | 0.011077 | 0.0027762
33 | 0.0096561 | 0.0024201
34 | 0.011946 | 0.0029939
35 | 0.021529 | 0.0053957
36 | 0.0087103 | 0.002183
37 | 0.00687 | 0.0017218
38 | 0.0035305 | 0.00088482
39 | 0.0055218 | 0.0013839
40 | 0.0039812 | 0.00099778
41 | 0.012514 | 0.0031363
42 | 0.016465 | 0.0041265
43 | 0.0060462 | 0.0015153
44 | 0.022441 | 0.0056242

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1