## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-58_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-58_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-58_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-58_0_5_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_261-58_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-58_0_5_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_261-58_0_5_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_261-58_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-58_0_5_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_261-58_0_5_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_261-58_0_5_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_261-58_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-58_0_5_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_261-58_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_261-58_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-58_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_261-58_0_5_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_261-58_0_5_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_261-58_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-58_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-58_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-58_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_261-58_0_5_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_261-58_0_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_261-58_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_261-58_0_5_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_261-58_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-58_0_5_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_261-58_0_5_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_261-58_0_5_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_261-58_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_261-58_0_5_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_261-58_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_261-58_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-58_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_261-58_0_5_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_261-58_0_5_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_261-58_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_261-58_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_261-58_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_261-58_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-58_0_5_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_261-58_0_5_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_261-58_0_5_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_261-58_0_5_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_261-58_0_5_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_261-58_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_261-58_0_5_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_261-58_0_5_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_261-58_0_5_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_261-58_0_5_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_261-58_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_261-58_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_261-58_0_5_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_261-58_0_5_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_261-58_0_5_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_261-58_0_5_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_261-58_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_261-58_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_261-58_0_5_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_261-58_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_261-58_0_5_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_261-58_0_5_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_261-58_0_5_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_261-58_0_5_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_261-58_0_5_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_261-58_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_261-58_0_5_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_261-58_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_261-58_0_5_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_261-58_0_5_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_261-58_0_5_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_261-58_0_5_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_261-58_0_5_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_261-58_0_5_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_261-58_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_261-58_0_5_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_261-58_0_5_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_261-58_0_5_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_261-58_0_5_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_261-58_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_261-58_0_5_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_261-58_0_5_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_261-58_0_5_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_261-58_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_261-58_0_5_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_261-58_0_5_node_90 | 0.4 | n |  | TRUE
87 | bus_MV_542_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-58_0_5_load_0 | 0 | 0.0060811 | 0.0015241 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-58_0_5_load_3 | 2 | 0.0061438 | 0.0015398 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-58_0_5_load_31 | 3 | 0.0061401 | 0.0015388 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-58_0_5_load_84 | 6 | 0.0083849 | 0.0021015 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-58_0_5_load_75 | 10 | 0.0057991 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-58_0_5_load_23 | 13 | 0.010468 | 0.0026236 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-58_0_5_load_57 | 16 | 0.0020165 | 0.00050539 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-58_0_5_load_91 | 17 | 0.0023705 | 0.00059409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-58_0_5_load_25 | 21 | 0.0062276 | 0.0015608 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-58_0_5_load_26 | 22 | 0.006143 | 0.0015396 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-58_0_5_load_72 | 23 | 0.0060276 | 0.0015106 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-58_0_5_load_85 | 25 | 0.0084272 | 0.0021121 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-58_0_5_load_45 | 27 | 0.005831 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-58_0_5_load_42 | 28 | 0.0070638 | 0.0017704 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-58_0_5_load_69 | 29 | 0.0081042 | 0.0020311 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-58_0_5_load_87 | 31 | 0.011216 | 0.0028109 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-58_0_5_load_30 | 32 | 0.0061602 | 0.0015439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-58_0_5_load_29 | 33 | 0.0064925 | 0.0016272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-58_0_5_load_70 | 35 | 0.0034623 | 0.00086774 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-58_0_5_load_56 | 36 | 0.0024474 | 0.00061338 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-58_0_5_load_33 | 37 | 0.0085993 | 0.0021552 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-58_0_5_load_32 | 38 | 0.0086246 | 0.0021615 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-58_0_5_load_35 | 39 | 0.0088125 | 0.0022086 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-58_0_5_load_36 | 40 | 0.0085953 | 0.0021542 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-58_0_5_load_68 | 41 | 0.0098728 | 0.0024744 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-58_0_5_load_67 | 42 | 0.0056015 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-58_0_5_load_83 | 44 | 0.015571 | 0.0039025 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-58_0_5_load_92 | 45 | 0.054118 | 0.013563 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-58_0_5_load_46 | 46 | 0.0060595 | 0.0015187 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-58_0_5_load_66 | 47 | 0.0022838 | 0.00057238 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-58_0_5_load_24 | 48 | 0.0083356 | 0.0020891 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-58_0_5_load_55 | 49 | 0.001539 | 0.0003857 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-58_0_5_load_28 | 51 | 0.0061408 | 0.001539 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-58_0_5_load_27 | 52 | 0.006143 | 0.0015396 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-58_0_5_load_71 | 53 | 0.0068478 | 0.0017162 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-58_0_5_load_65 | 54 | 0.0019685 | 0.00049336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-58_0_5_load_63 | 55 | 0.0021743 | 0.00054494 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-58_0_5_load_86 | 56 | 0.0081272 | 0.0020369 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-58_0_5_load_43 | 57 | 0.0056227 | 0.0014092 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-58_0_5_load_61 | 59 | 0.003671 | 0.00092003 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-58_0_5_load_44 | 60 | 0.0034126 | 0.00085529 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-58_0_5_load_37 | 61 | 0.032382 | 0.0081157 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-58_0_5_load_38 | 62 | 0.0019601 | 0.00049124 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-58_0_5_load_39 | 63 | 0.01175 | 0.0029448 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-58_0_5_load_40 | 64 | 0.0019567 | 0.0004904 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-58_0_5_load_41 | 65 | 0.01195 | 0.002995 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-58_0_5_load_58 | 68 | 0.011867 | 0.0029741 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-58_0_5_load_50 | 70 | 0.0042496 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-58_0_5_load_59 | 71 | 0.0097319 | 0.0024391 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-58_0_5_load_76 | 72 | 0.0049401 | 0.0012381 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-58_0_5_load_94 | 74 | 0.046524 | 0.01166 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-58_0_5_load_88 | 76 | 0.013231 | 0.0033161 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-58_0_5_load_77 | 77 | 0.0042496 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-58_0_5_load_93 | 78 | 0.054554 | 0.013673 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-58_0_5_load_82 | 79 | 0.00253 | 0.00063408 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-58_0_5_load_81 | 80 | 0.0024027 | 0.00060217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-58_0_5_load_64 | 81 | 0.0021728 | 0.00054456 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-58_0_5_load_73 | 82 | 0.0071241 | 0.0017855 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-58_0_5_load_74 | 83 | 0.0039165 | 0.00098157 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-58_0_5_load_79 | 84 | 0.0024109 | 0.00060424 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-58_0_5_load_80 | 85 | 0.0025403 | 0.00063665 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-58_0_5_load_90 | 86 | 0.022107 | 0.0055407 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-58_0_5_line_0 |  | 0 | 1 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-58_0_5_line_1 |  | 1 | 2 | 0.015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-58_0_5_line_2 |  | 2 | 3 | 0.017396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-58_0_5_line_3 |  | 3 | 32 | 0.017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-58_0_5_line_4 |  | 4 | 5 | 0.03843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-58_0_5_line_5 |  | 4 | 6 | 0.01148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-58_0_5_line_6 |  | 5 | 39 | 0.039294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-58_0_5_line_7 |  | 5 | 40 | 0.019441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-58_0_5_line_8 |  | 5 | 38 | 0.0079142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-58_0_5_line_9 |  | 6 | 18 | 0.0090856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-58_0_5_line_10 |  | 7 | 8 | 0.019849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-58_0_5_line_11 |  | 7 | 9 | 0.033232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-58_0_5_line_12 |  | 7 | 10 | 0.03727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-58_0_5_line_13 |  | 8 | 45 | 0.020153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-58_0_5_line_14 |  | 9 | 46 | 0.02148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-58_0_5_line_15 |  | 10 | 47 | 0.023158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-58_0_5_line_16 |  | 11 | 12 | 0.007103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-58_0_5_line_17 |  | 11 | 13 | 0.017904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-58_0_5_line_18 |  | 12 | 24 | 0.018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-58_0_5_line_19 |  | 12 | 25 | 0.004653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-58_0_5_line_20 |  | 13 | 48 | 0.019545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-58_0_5_line_21 |  | 14 | 15 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-58_0_5_line_22 |  | 14 | 16 | 0.038465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-58_0_5_line_23 |  | 14 | 17 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-58_0_5_line_24 |  | 15 | 23 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-58_0_5_line_25 |  | 16 | 49 | 0.023087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-58_0_5_line_26 |  | 17 | 50 | 0.012949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-58_0_5_line_27 |  | 18 | 19 | 0.06912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-58_0_5_line_28 |  | 19 | 29 | 0.031713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-58_0_5_line_29 |  | 19 | 30 | 0.073471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-58_0_5_line_30 |  | 19 | 31 | 0.015466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-58_0_5_line_31 |  | 19 | 26 | 0.015349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-58_0_5_line_32 |  | 20 | 21 | 0.0154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-58_0_5_line_33 |  | 20 | 22 | 0.013865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-58_0_5_line_34 |  | 21 | 48 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-58_0_5_line_35 |  | 22 | 52 | 0.017292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-58_0_5_line_36 |  | 23 | 53 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-58_0_5_line_37 |  | 24 | 32 | 0.065926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-58_0_5_line_38 |  | 25 | 56 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-58_0_5_line_39 |  | 26 | 27 | 0.03069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-58_0_5_line_40 |  | 26 | 28 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-58_0_5_line_41 |  | 28 | 57 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-58_0_5_line_42 |  | 29 | 58 | 0.038921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-58_0_5_line_43 |  | 30 | 33 | 0.028022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-58_0_5_line_44 |  | 31 | 56 | 0.015987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-58_0_5_line_45 |  | 34 | 35 | 0.083147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-58_0_5_line_46 |  | 34 | 36 | 0.063468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-58_0_5_line_47 |  | 35 | 43 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-58_0_5_line_48 |  | 36 | 49 | 0.010188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-58_0_5_line_49 |  | 37 | 38 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-58_0_5_line_50 |  | 41 | 42 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-58_0_5_line_51 |  | 42 | 64 | 0.019911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-58_0_5_line_52 |  | 43 | 44 | 0.03243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-58_0_5_line_53 |  | 46 | 69 | 0.037622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-58_0_5_line_54 |  | 47 | 81 | 0.0076145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-58_0_5_line_55 |  | 50 | 86 | 0.032506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-58_0_5_line_56 |  | 50 | 76 | 0.074098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-58_0_5_line_57 |  | 51 | 52 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-58_0_5_line_58 |  | 53 | 82 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-58_0_5_line_59 |  | 54 | 55 | 0.0083402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-58_0_5_line_60 |  | 55 | 81 | 0.007441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-58_0_5_line_61 |  | 57 | 60 | 0.025835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-58_0_5_line_62 |  | 58 | 71 | 0.019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_261-58_0_5_line_63 |  | 58 | 69 | 0.015851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-58_0_5_line_64 |  | 59 | 60 | 0.004341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-58_0_5_line_65 |  | 61 | 62 | 0.0068544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-58_0_5_line_66 |  | 61 | 63 | 0.03976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-58_0_5_line_67 |  | 62 | 64 | 0.0070146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-58_0_5_line_68 |  | 63 | 65 | 0.026449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-58_0_5_line_69 |  | 65 | 66 | 0.012802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_261-58_0_5_line_70 |  | 66 | 67 | 0.038712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_261-58_0_5_line_71 |  | 66 | 68 | 0.013347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_261-58_0_5_line_72 |  | 67 | 78 | 0.03084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-58_0_5_line_73 |  | 67 | 73 | 0.003612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-58_0_5_line_74 |  | 68 | 71 | 0.030467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_261-58_0_5_line_75 |  | 69 | 70 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-58_0_5_line_76 |  | 70 | 72 | 0.0017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-58_0_5_line_77 |  | 72 | 77 | 0.0093951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-58_0_5_line_78 |  | 73 | 74 | 0.024139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-58_0_5_line_79 |  | 73 | 75 | 0.047162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-58_0_5_line_80 |  | 75 | 76 | 0.012796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-58_0_5_line_81 |  | 77 | 84 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-58_0_5_line_82 |  | 79 | 80 | 0.0027565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-58_0_5_line_83 |  | 80 | 85 | 0.0050553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-58_0_5_line_84 |  | 82 | 83 | 0.0029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-58_0_5_line_85 |  | 84 | 85 | 0.0033455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-58_0_5_trafo_41 | 0.63 MVA 20/0.4 kV | 87 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2683529.3178 | 1249637.2221 | 2683530.6111 | 1249622.1098
1 | 2683529.3178 | 1249637.2221 | 2683528.5578 | 1249646.1402 | 2683528.0391 | 1249652.6539
2 | 2683528.0391 | 1249652.6539 | 2683526.6582 | 1249669.9946
3 | 2683526.6582 | 1249669.9946 | 2683525.2763 | 1249687.3483
4 | 2683507.093 | 1249741.3419 | 2683508.8536 | 1249746.604 | 2683503.8129 | 1249752.2705 | 2683496.8683 | 1249751.0607 | 2683492.388 | 1249752.3319 | 2683480.6464 | 1249759.3162
5 | 2683480.6464 | 1249759.3162 | 2683486.6782 | 1249769.0843
6 | 2683507.093 | 1249741.3419 | 2683502.5056 | 1249706.8183 | 2683501.8469 | 1249702.4
7 | 2683507.093 | 1249741.3419 | 2683509.0736 | 1249760.6815
8 | 2683507.093 | 1249741.3419 | 2683506.6576 | 1249733.4397
9 | 2683491.1647 | 1249776.9774 | 2683489.1728 | 1249773.1243 | 2683486.6782 | 1249769.0843
10 | 2683693.1623 | 1249825.3617 | 2683697.8533 | 1249815.0647 | 2683692.9288 | 1249811.9595 | 2683690.6543 | 1249810.4819
11 | 2683693.1623 | 1249825.3617 | 2683686.8093 | 1249823.971 | 2683683.7717 | 1249823.5945 | 2683676.8063 | 1249823.863 | 2683668.5452 | 1249826.0592 | 2683660.9349 | 1249829.2208
12 | 2683693.1623 | 1249825.3617 | 2683678.2671 | 1249859.5256
13 | 2683692.8778 | 1249790.4539 | 2683690.6543 | 1249810.4819
14 | 2683660.9349 | 1249829.2208 | 2683653.0066 | 1249831.9109 | 2683642.8184 | 1249833.157 | 2683639.9863 | 1249832.8982
15 | 2683669.0116 | 1249880.7538 | 2683678.2671 | 1249859.5256
16 | 2683537.3529 | 1249754.4113 | 2683537.2121 | 1249750.4731 | 2683536.8487 | 1249747.3323
17 | 2683536.8487 | 1249747.3323 | 2683536.4969 | 1249740.1553 | 2683536.8401 | 1249730.8088 | 2683536.9447 | 1249729.4476
18 | 2683519.0479 | 1249752.9634 | 2683521.5896 | 1249753.1661 | 2683524.0485 | 1249753.3564 | 2683527.5706 | 1249753.6396 | 2683531.4248 | 1249753.9385 | 2683534.3436 | 1249754.1687 | 2683537.3529 | 1249754.4113
19 | 2683537.3529 | 1249754.4113 | 2683537.0452 | 1249759.0541
20 | 2683536.9447 | 1249729.4476 | 2683538.4425 | 1249709.9602
21 | 2683704.7959 | 1249615.481 | 2683696.3261 | 1249611.047 | 2683683.2741 | 1249603.3236
22 | 2683704.7959 | 1249615.481 | 2683730.1753 | 1249628.7603 | 2683739.0761 | 1249632.9114
23 | 2683704.7959 | 1249615.481 | 2683700.5268 | 1249642.2887
24 | 2683683.2741 | 1249603.3236 | 2683681.549 | 1249607.3134 | 2683678.6202 | 1249623.2225
25 | 2683760.3608 | 1249641.8067 | 2683749.4763 | 1249637.7619 | 2683739.0761 | 1249632.9114
26 | 2683698.4903 | 1249655.0769 | 2683700.5268 | 1249642.2887
27 | 2683491.1647 | 1249776.9774 | 2683493.6948 | 1249782.8285 | 2683498.8584 | 1249798.4351 | 2683500.9546 | 1249803.4572 | 2683501.9813 | 1249804.5391 | 2683503.0692 | 1249805.5663 | 2683504.1346 | 1249806.0484 | 2683505.3963 | 1249806.5332 | 2683506.8596 | 1249806.6428 | 2683508.4068 | 1249806.1531 | 2683509.0923 | 1249805.7291 | 2683510.2924 | 1249804.1559 | 2683516.0188 | 1249807.6837 | 2683519.058 | 1249809.5501 | 2683523.0366 | 1249810.6625 | 2683526.767 | 1249811.7047 | 2683530.3729 | 1249811.9335 | 2683530.7463 | 1249807.4132 | 2683533.7617 | 1249807.7559
28 | 2683533.7617 | 1249807.7559 | 2683546.8719 | 1249809.1862 | 2683565.3399 | 1249810.6444
29 | 2683511.5798 | 1249842.9807 | 2683510.9153 | 1249839.2352 | 2683509.7755 | 1249834.9271 | 2683508.3441 | 1249832.027 | 2683504.9867 | 1249827.0204 | 2683502.8215 | 1249824.21 | 2683505.682 | 1249822.1488 | 2683508.1459 | 1249820.3711 | 2683509.0755 | 1249813.3456 | 2683510.2924 | 1249804.1559 | 2683516.0188 | 1249807.6837 | 2683519.058 | 1249809.5501 | 2683523.0366 | 1249810.6625 | 2683526.767 | 1249811.7047 | 2683530.3729 | 1249811.9335 | 2683530.7463 | 1249807.4132 | 2683533.7617 | 1249807.7559
30 | 2683533.7617 | 1249807.7559 | 2683534.081 | 1249800.0992 | 2683534.7059 | 1249792.3218
31 | 2683533.1075 | 1249823.0914 | 2683533.5714 | 1249812.1454 | 2683533.7617 | 1249807.7559
32 | 2683540.9644 | 1249677.1492 | 2683539.7842 | 1249692.5037
33 | 2683540.9644 | 1249677.1492 | 2683542.2147 | 1249663.3406
34 | 2683539.7842 | 1249692.5037 | 2683538.4425 | 1249709.9602
35 | 2683542.2147 | 1249663.3406 | 2683543.774 | 1249646.119
36 | 2683676.6232 | 1249634.0702 | 2683678.6202 | 1249623.2225
37 | 2683519.0479 | 1249752.9634 | 2683521.7314 | 1249731.8633 | 2683525.2763 | 1249687.3483
38 | 2683537.0452 | 1249759.0541 | 2683535.8968 | 1249776.3801
39 | 2683533.1075 | 1249823.0914 | 2683563.6681 | 1249825.9018
40 | 2683533.1075 | 1249823.0914 | 2683532.1197 | 1249839.072
41 | 2683532.6377 | 1249854.8794 | 2683531.9923 | 1249841.1336 | 2683532.1197 | 1249839.072
42 | 2683604.1396 | 1249813.708 | 2683565.3399 | 1249810.6444
43 | 2683511.5798 | 1249842.9807 | 2683513.2668 | 1249851.8555 | 2683516.2248 | 1249864.8402 | 2683517.0905 | 1249870.4447
44 | 2683535.8968 | 1249776.3801 | 2683535.4731 | 1249782.7726 | 2683534.7059 | 1249792.3218
45 | 2683828.9864 | 1249664.9614 | 2683822.6617 | 1249672.233 | 2683768.6296 | 1249722.0749
46 | 2683828.9864 | 1249664.9614 | 2683821.903 | 1249663.4157 | 2683818.7194 | 1249658.9451 | 2683799.5097 | 1249654.7148 | 2683778.3423 | 1249648.4888 | 2683769.9105 | 1249645.3555
47 | 2683760.0956 | 1249729.9471 | 2683768.6296 | 1249722.0749
48 | 2683760.3608 | 1249641.8067 | 2683769.9105 | 1249645.3555
49 | 2683506.42 | 1249715.3315 | 2683506.1009 | 1249723.3368 | 2683506.6576 | 1249733.4397
50 | 2683617.1638 | 1249639.3809 | 2683611.795 | 1249625.9986 | 2683610.1042 | 1249621.85
51 | 2683617.1638 | 1249639.3809 | 2683618.2284 | 1249642.0346 | 2683620.2534 | 1249652.104 | 2683620.6143 | 1249658.8755
52 | 2683760.0956 | 1249729.9471 | 2683760.9592 | 1249735.6191 | 2683759.518 | 1249744.0939 | 2683756.4796 | 1249761.9309
53 | 2683602.5203 | 1249829.4747 | 2683639.9863 | 1249832.8982
54 | 2683669.0116 | 1249880.7538 | 2683665.9684 | 1249887.7337
55 | 2683698.4903 | 1249655.0769 | 2683691.3974 | 1249686.8004
56 | 2683698.4903 | 1249655.0769 | 2683700.3765 | 1249661.5973 | 2683697.2917 | 1249696.6242 | 2683699.6005 | 1249698.8807 | 2683697.0049 | 1249724.4075 | 2683695.4843 | 1249727.2925
57 | 2683545.3331 | 1249628.9002 | 2683543.774 | 1249646.119
58 | 2683676.6232 | 1249634.0702 | 2683674.7902 | 1249644.0273
59 | 2683662.9946 | 1249894.5546 | 2683659.6613 | 1249902.1997
60 | 2683662.9946 | 1249894.5546 | 2683665.9684 | 1249887.7337
61 | 2683536.2364 | 1249880.4586 | 2683534.6309 | 1249870.3369 | 2683532.6543 | 1249855.2312 | 2683532.6377 | 1249854.8794
62 | 2683604.1396 | 1249813.708 | 2683605.3882 | 1249803.885 | 2683606.499 | 1249794.7454
63 | 2683604.1396 | 1249813.708 | 2683602.5203 | 1249829.4747
64 | 2683536.9165 | 1249884.746 | 2683536.2364 | 1249880.4586
65 | 2683620.2048 | 1249672.6897 | 2683620.9877 | 1249665.8802
66 | 2683620.2048 | 1249672.6897 | 2683619.4039 | 1249679.6569 | 2683618.422 | 1249688.2384 | 2683615.6647 | 1249712.1901
67 | 2683620.6143 | 1249658.8755 | 2683620.9877 | 1249665.8802 | 2683620.9877 | 1249665.8802
68 | 2683612.6399 | 1249738.4654 | 2683615.6647 | 1249712.1901
69 | 2683611.1758 | 1249751.183 | 2683612.6399 | 1249738.4654
70 | 2683611.1758 | 1249751.183 | 2683649.7675 | 1249755.4416
71 | 2683611.1758 | 1249751.183 | 2683609.7865 | 1249764.4575
72 | 2683641.0904 | 1249729.8669 | 2683647.7641 | 1249731.5512 | 2683648.9404 | 1249746.1008 | 2683649.7675 | 1249755.4416
73 | 2683649.7675 | 1249755.4416 | 2683652.0688 | 1249758.2318
74 | 2683609.7865 | 1249764.4575 | 2683607.3444 | 1249787.7895 | 2683606.499 | 1249794.7454
75 | 2683602.5203 | 1249829.4747 | 2683601.1889 | 1249844.8283
76 | 2683601.1889 | 1249844.8283 | 2683601.0379 | 1249846.5695
77 | 2683601.0379 | 1249846.5695 | 2683600.2262 | 1249855.9295
78 | 2683652.0688 | 1249758.2318 | 2683642.9306 | 1249764.7855 | 2683639.6836 | 1249769.0762 | 2683639.5772 | 1249776.6136
79 | 2683689.5178 | 1249738.6124 | 2683676.2946 | 1249737.1469 | 2683667.065 | 1249750.7044 | 2683660.1674 | 1249756.8561 | 2683652.0688 | 1249758.2318
80 | 2683689.5178 | 1249738.6124 | 2683695.4843 | 1249727.2925
81 | 2683600.2262 | 1249855.9295 | 2683599.896 | 1249859.7379 | 2683599.3194 | 1249873.9654
82 | 2683599.1985 | 1249885.1215 | 2683599.2184 | 1249882.365
83 | 2683599.255 | 1249877.3098 | 2683599.2184 | 1249882.365
84 | 2683674.254 | 1249646.9399 | 2683674.7902 | 1249644.0273
85 | 2683599.255 | 1249877.3098 | 2683599.2704 | 1249875.1739 | 2683599.3194 | 1249873.9654

## bus_geodata
| x | y | coords
0 | 2683530.6111 | 1249622.1098
1 | 2683529.3178 | 1249637.2221
2 | 2683528.0391 | 1249652.6539
3 | 2683526.6582 | 1249669.9946
4 | 2683480.6464 | 1249759.3162
5 | 2683507.093 | 1249741.3419
6 | 2683486.6782 | 1249769.0843
7 | 2683693.1623 | 1249825.3617
8 | 2683690.6543 | 1249810.4819
9 | 2683660.9349 | 1249829.2208
10 | 2683678.2671 | 1249859.5256
11 | 2683536.8487 | 1249747.3323
12 | 2683537.3529 | 1249754.4113
13 | 2683536.9447 | 1249729.4476
14 | 2683704.7959 | 1249615.481
15 | 2683683.2741 | 1249603.3236
16 | 2683739.0761 | 1249632.9114
17 | 2683700.5268 | 1249642.2887
18 | 2683491.1647 | 1249776.9774
19 | 2683533.7617 | 1249807.7559
20 | 2683540.9644 | 1249677.1492
21 | 2683539.7842 | 1249692.5037
22 | 2683542.2147 | 1249663.3406
23 | 2683678.6202 | 1249623.2225
24 | 2683519.0479 | 1249752.9634
25 | 2683537.0452 | 1249759.0541
26 | 2683533.1075 | 1249823.0914
27 | 2683563.6681 | 1249825.9018
28 | 2683532.1197 | 1249839.072
29 | 2683565.3399 | 1249810.6444
30 | 2683511.5798 | 1249842.9807
31 | 2683534.7059 | 1249792.3218
32 | 2683525.2763 | 1249687.3483
33 | 2683517.0905 | 1249870.4447
34 | 2683828.9864 | 1249664.9614
35 | 2683768.6296 | 1249722.0749
36 | 2683769.9105 | 1249645.3555
37 | 2683506.42 | 1249715.3315
38 | 2683506.6576 | 1249733.4397
39 | 2683501.8469 | 1249702.4
40 | 2683509.0736 | 1249760.6814
41 | 2683610.1042 | 1249621.85
42 | 2683617.1638 | 1249639.3809
43 | 2683760.0956 | 1249729.9471
44 | 2683756.4796 | 1249761.9309
45 | 2683692.8778 | 1249790.4539
46 | 2683639.9863 | 1249832.8982
47 | 2683669.0116 | 1249880.7539
48 | 2683538.4425 | 1249709.9602
49 | 2683760.3608 | 1249641.8067
50 | 2683698.4903 | 1249655.0769
51 | 2683545.3331 | 1249628.9002
52 | 2683543.774 | 1249646.119
53 | 2683676.6232 | 1249634.0702
54 | 2683659.6613 | 1249902.1997
55 | 2683662.9946 | 1249894.5546
56 | 2683535.8968 | 1249776.3801
57 | 2683532.6377 | 1249854.8794
58 | 2683604.1396 | 1249813.708
59 | 2683536.9165 | 1249884.746
60 | 2683536.2364 | 1249880.4586
61 | 2683620.2048 | 1249672.6897
62 | 2683620.9877 | 1249665.8802
63 | 2683615.6647 | 1249712.1901
64 | 2683620.6143 | 1249658.8755
65 | 2683612.6399 | 1249738.4654
66 | 2683611.1758 | 1249751.183
67 | 2683649.7675 | 1249755.4416
68 | 2683609.7865 | 1249764.4575
69 | 2683602.5203 | 1249829.4747
70 | 2683601.1889 | 1249844.8283
71 | 2683606.499 | 1249794.7454
72 | 2683601.0379 | 1249846.5695
73 | 2683652.0688 | 1249758.2318
74 | 2683639.5772 | 1249776.6136
75 | 2683689.5178 | 1249738.6124
76 | 2683695.4843 | 1249727.2925
77 | 2683600.2262 | 1249855.9295
78 | 2683641.0904 | 1249729.8669
79 | 2683599.1985 | 1249885.1215
80 | 2683599.2184 | 1249882.365
81 | 2683665.9684 | 1249887.7337
82 | 2683674.7902 | 1249644.0273
83 | 2683674.254 | 1249646.9399
84 | 2683599.3194 | 1249873.9654
85 | 2683599.255 | 1249877.3098
86 | 2683691.3974 | 1249686.8004
87 | 2683611.1758 | 1249751.183

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98365 | -0.31491 | 0.0060811 | 0.0015241
1 | 0.98373 | -0.31324 | 0 | 0
2 | 0.98382 | -0.31155 | 0.0061438 | 0.0015398
3 | 0.98402 | -0.30772 | 0.0061401 | 0.0015388
4 | 0.98688 | -0.25206 | 0 | 0
5 | 0.98565 | -0.27591 | 0 | 0
6 | 0.98724 | -0.24495 | 0.0083849 | 0.0021015
7 | 0.98697 | -0.25015 | 0 | 0
8 | 0.98598 | -0.26939 | 0 | 0
9 | 0.98907 | -0.2095 | 0 | 0
10 | 0.98648 | -0.25976 | 0.0057991 | 0.0014534
11 | 0.98593 | -0.27038 | 0 | 0
12 | 0.98622 | -0.26484 | 0 | 0
13 | 0.98522 | -0.28434 | 0.010468 | 0.0026236
14 | 0.98313 | -0.32451 | 0 | 0
15 | 0.98258 | -0.33516 | 0 | 0
16 | 0.98223 | -0.3419 | 0.0020165 | 0.00050539
17 | 0.98436 | -0.30057 | 0.0023705 | 0.00059409
18 | 0.9876 | -0.23796 | 0 | 0
19 | 0.99034 | -0.18497 | 0 | 0
20 | 0.98396 | -0.3088 | 0 | 0
21 | 0.98422 | -0.30369 | 0.0062276 | 0.0015608
22 | 0.98373 | -0.3134 | 0.006143 | 0.0015396
23 | 0.98213 | -0.34402 | 0.0060276 | 0.0015106
24 | 0.9858 | -0.27292 | 0 | 0
25 | 0.98651 | -0.25918 | 0.0084272 | 0.0021121
26 | 0.98998 | -0.19196 | 0 | 0
27 | 0.98981 | -0.19514 | 0.005831 | 0.0014614
28 | 0.98969 | -0.19759 | 0.0070638 | 0.0017704
29 | 0.99283 | -0.13693 | 0.0081042 | 0.0020311
30 | 0.9899 | -0.19345 | 0 | 0
31 | 0.98897 | -0.21132 | 0.011216 | 0.0028109
32 | 0.98431 | -0.30197 | 0.0061602 | 0.0015439
33 | 0.98973 | -0.19669 | 0.0064925 | 0.0016272
34 | 0.98042 | -0.37735 | 0 | 0
35 | 0.97895 | -0.40609 | 0.0034623 | 0.00086774
36 | 0.98154 | -0.35546 | 0.0024474 | 0.00061338
37 | 0.98538 | -0.28116 | 0.0085993 | 0.0021552
38 | 0.98553 | -0.27836 | 0.0086246 | 0.0021615
39 | 0.98533 | -0.28213 | 0.0088125 | 0.0022086
40 | 0.9855 | -0.27891 | 0.0085953 | 0.0021542
41 | 0.99592 | -0.078557 | 0.0098728 | 0.0024744
42 | 0.99609 | -0.075279 | 0.0056015 | 0.0014039
43 | 0.97879 | -0.40938 | 0 | 0
44 | 0.97832 | -0.41857 | 0.015571 | 0.0039025
45 | 0.98498 | -0.28897 | 0.054118 | 0.013563
46 | 0.99042 | -0.18331 | 0.0060595 | 0.0015187
47 | 0.9863 | -0.26333 | 0.0022838 | 0.00057238
48 | 0.98462 | -0.29593 | 0.0083356 | 0.0020891
49 | 0.98174 | -0.35151 | 0.001539 | 0.0003857
50 | 0.98497 | -0.28862 | 0 | 0
51 | 0.98343 | -0.31914 | 0.0061408 | 0.001539
52 | 0.98353 | -0.31723 | 0.006143 | 0.0015396
53 | 0.98195 | -0.34759 | 0.0068478 | 0.0017162
54 | 0.98621 | -0.26504 | 0.0019685 | 0.00049336
55 | 0.98622 | -0.26474 | 0.0021743 | 0.00054494
56 | 0.98773 | -0.23544 | 0.0081272 | 0.0020369
57 | 0.9895 | -0.20117 | 0.0056227 | 0.0014092
58 | 0.99443 | -0.10619 | 0 | 0
59 | 0.98932 | -0.20471 | 0.003671 | 0.00092003
60 | 0.98934 | -0.20442 | 0.0034126 | 0.00085529
61 | 0.9966 | -0.065388 | 0.032382 | 0.0081157
62 | 0.99648 | -0.067721 | 0.0019601 | 0.00049124
63 | 0.99847 | -0.02933 | 0.01175 | 0.0029448
64 | 0.99637 | -0.069868 | 0.0019567 | 0.0004904
65 | 1 | 0 | -0.55698 | -0.14133
66 | 0.99857 | -0.027164 | 0 | 0
67 | 0.99524 | -0.090902 | 0 | 0
68 | 0.99766 | -0.044591 | 0.011867 | 0.0029741
69 | 0.99301 | -0.13358 | 0 | 0
70 | 0.99268 | -0.13994 | 0.0042496 | 0.0010651
71 | 0.99565 | -0.0829 | 0.0097319 | 0.0024391
72 | 0.99265 | -0.14053 | 0.0049401 | 0.0012381
73 | 0.99479 | -0.099372 | 0 | 0
74 | 0.99377 | -0.11917 | 0.046524 | 0.01166
75 | 0.99102 | -0.17164 | 0 | 0
76 | 0.99 | -0.19135 | 0.013231 | 0.0033161
77 | 0.99253 | -0.14287 | 0.0042496 | 0.0010651
78 | 0.9937 | -0.12055 | 0.054554 | 0.013673
79 | 0.99231 | -0.14704 | 0.00253 | 0.00063408
80 | 0.99232 | -0.14692 | 0.0024027 | 0.00060217
81 | 0.98625 | -0.26419 | 0.0021728 | 0.00054456
82 | 0.98184 | -0.34961 | 0.0071241 | 0.0017855
83 | 0.98183 | -0.34982 | 0.0039165 | 0.00098157
84 | 0.99236 | -0.14603 | 0.0024109 | 0.00060424
85 | 0.99234 | -0.14648 | 0.0025403 | 0.00063665
86 | 0.98431 | -0.30154 | 0.022107 | 0.0055407
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0060811 | -0.0015241 | 0.0060816 | 0.0015242 | 4.8133e-07 | 1.155e-07 | 0.0091992 | 0.0091991 | 0.0091992 | 0.98365 | -0.31491 | 0.98373 | -0.31324 | 2.5273
1 | -0.0060816 | -0.0015242 | 0.0060821 | 0.0015243 | 4.9139e-07 | 1.1788e-07 | 0.0091991 | 0.0091991 | 0.0091991 | 0.98373 | -0.31324 | 0.98382 | -0.31155 | 2.5272
2 | -0.012226 | -0.0030641 | 0.012228 | 0.0030653 | 2.2306e-06 | 1.2066e-06 | 0.018492 | 0.018491 | 0.018492 | 0.98382 | -0.31155 | 0.98402 | -0.30772 | 5.0801
3 | -0.018368 | -0.0046041 | 0.018373 | 0.0046071 | 5.0367e-06 | 3.0023e-06 | 0.027776 | 0.027776 | 0.027776 | 0.98402 | -0.30772 | 0.98431 | -0.30197 | 7.6309
4 | 0.034678 | 0.0087076 | -0.034639 | -0.0086829 | 3.9409e-05 | 2.4732e-05 | 0.052294 | 0.052294 | 0.052294 | 0.98688 | -0.25206 | 0.98565 | -0.27591 | 14.3664
5 | -0.034678 | -0.0087076 | 0.03469 | 0.008715 | 1.1773e-05 | 7.3879e-06 | 0.052294 | 0.052294 | 0.052294 | 0.98688 | -0.25206 | 0.98724 | -0.24495 | 14.3664
6 | 0.0088151 | 0.0022098 | -0.0088125 | -0.0022086 | 2.6098e-06 | 1.1696e-06 | 0.013308 | 0.013308 | 0.013308 | 0.98565 | -0.27591 | 0.98533 | -0.28213 | 3.6561
7 | 0.0085965 | 0.0021547 | -0.0085953 | -0.0021542 | 1.2279e-06 | 5.3811e-07 | 0.012978 | 0.012978 | 0.012978 | 0.98565 | -0.27591 | 0.9855 | -0.27891 | 3.5654
8 | 0.017227 | 0.0043184 | -0.017225 | -0.0043172 | 2.0074e-06 | 1.1839e-06 | 0.026008 | 0.026008 | 0.026008 | 0.98565 | -0.27591 | 0.98553 | -0.27836 | 7.145
9 | -0.043075 | -0.010816 | 0.043089 | 0.010826 | 1.4365e-05 | 9.0772e-06 | 0.064932 | 0.064932 | 0.064932 | 0.98724 | -0.24495 | 0.9876 | -0.23796 | 17.8384
10 | 0.054219 | 0.013627 | -0.054169 | -0.013595 | 4.9753e-05 | 3.1589e-05 | 0.081757 | 0.081757 | 0.081757 | 0.98697 | -0.25015 | 0.98598 | -0.26939 | 22.4606
11 | -0.068626 | -0.01724 | 0.068759 | 0.017325 | 0.00013344 | 8.4976e-05 | 0.10348 | 0.10348 | 0.10348 | 0.98697 | -0.25015 | 0.98907 | -0.2095 | 28.4281
12 | 0.014407 | 0.003613 | -0.0144 | -0.0036092 | 6.5945e-06 | 3.7444e-06 | 0.021722 | 0.021722 | 0.021722 | 0.98697 | -0.25015 | 0.98648 | -0.25976 | 5.9675
13 | 0.054169 | 0.013595 | -0.054118 | -0.013563 | 5.0515e-05 | 3.2073e-05 | 0.081757 | 0.081757 | 0.081757 | 0.98598 | -0.26939 | 0.98498 | -0.28897 | 22.4607
14 | -0.068759 | -0.017325 | 0.068845 | 0.01738 | 8.6252e-05 | 5.4925e-05 | 0.10348 | 0.10348 | 0.10348 | 0.98907 | -0.2095 | 0.99042 | -0.18331 | 28.4281
15 | 0.0086014 | 0.0021558 | -0.0085999 | -0.0021552 | 1.4619e-06 | 6.4001e-07 | 0.012974 | 0.012975 | 0.012975 | 0.98648 | -0.25976 | 0.9863 | -0.26333 | 3.5644
16 | -0.043526 | -0.010934 | 0.043538 | 0.010941 | 1.1498e-05 | 7.2679e-06 | 0.065701 | 0.065701 | 0.065701 | 0.98593 | -0.27038 | 0.98622 | -0.26484 | 18.0496
17 | 0.043526 | 0.010934 | -0.043497 | -0.010915 | 2.8981e-05 | 1.832e-05 | 0.065701 | 0.065701 | 0.065701 | 0.98593 | -0.27038 | 0.98522 | -0.28434 | 18.0496
18 | 0.024577 | 0.0061778 | -0.024567 | -0.006172 | 9.4718e-06 | 5.8278e-06 | 0.037088 | 0.037089 | 0.037089 | 0.98622 | -0.26484 | 0.9858 | -0.27292 | 10.1892
19 | -0.068115 | -0.017119 | 0.068133 | 0.01713 | 1.8436e-05 | 1.1739e-05 | 0.10279 | 0.10279 | 0.10279 | 0.98622 | -0.26484 | 0.98651 | -0.25918 | 28.2387
20 | 0.033029 | 0.0082916 | -0.03301 | -0.0082801 | 1.8243e-05 | 1.1426e-05 | 0.04989 | 0.04989 | 0.04989 | 0.98522 | -0.28434 | 0.98462 | -0.29593 | 13.706
21 | 0.023942 | 0.00601 | -0.02393 | -0.0060025 | 1.2151e-05 | 7.4641e-06 | 0.036242 | 0.036242 | 0.036242 | 0.98313 | -0.32451 | 0.98258 | -0.33516 | 9.9565
22 | 0.025127 | 0.0063295 | -0.025106 | -0.0063167 | 2.0876e-05 | 1.2873e-05 | 0.038043 | 0.038043 | 0.038043 | 0.98313 | -0.32451 | 0.98223 | -0.3419 | 10.4514
23 | -0.04907 | -0.012339 | 0.049126 | 0.012375 | 5.6173e-05 | 3.5606e-05 | 0.074284 | 0.074284 | 0.074284 | 0.98313 | -0.32451 | 0.98436 | -0.30057 | 20.4078
24 | 0.02393 | 0.0060025 | -0.02392 | -0.0059963 | 1.0109e-05 | 6.2097e-06 | 0.036242 | 0.036242 | 0.036242 | 0.98258 | -0.33516 | 0.98213 | -0.34402 | 9.9565
25 | 0.02309 | 0.0058113 | -0.023079 | -0.0058048 | 1.0599e-05 | 6.491e-06 | 0.034988 | 0.034988 | 0.034988 | 0.98223 | -0.3419 | 0.98174 | -0.35151 | 9.6121
26 | -0.051496 | -0.012969 | 0.051526 | 0.012988 | 2.9444e-05 | 1.8679e-05 | 0.077868 | 0.077868 | 0.077868 | 0.98436 | -0.30057 | 0.98497 | -0.28862 | 21.3922
27 | -0.043089 | -0.010826 | 0.043198 | 0.010895 | 0.00010928 | 6.9053e-05 | 0.064932 | 0.064931 | 0.064932 | 0.9876 | -0.23796 | 0.99034 | -0.18497 | 17.8384
28 | -0.17152 | -0.043235 | 0.17192 | 0.043487 | 0.00039521 | 0.00025212 | 0.25781 | 0.25781 | 0.25781 | 0.99034 | -0.18497 | 0.99283 | -0.13693 | 35.413
29 | 0.0064961 | 0.0016282 | -0.0064935 | -0.0016274 | 2.625e-06 | 7.3503e-07 | 0.0097606 | 0.009761 | 0.009761 | 0.99034 | -0.18497 | 0.9899 | -0.19345 | 2.6816
30 | 0.096209 | 0.024285 | -0.096088 | -0.024208 | 0.0001213 | 7.7432e-05 | 0.14462 | 0.14462 | 0.14462 | 0.99034 | -0.18497 | 0.98897 | -0.21132 | 39.7305
31 | 0.025619 | 0.0064264 | -0.025611 | -0.0064211 | 8.53e-06 | 5.2618e-06 | 0.038496 | 0.038496 | 0.038496 | 0.99034 | -0.18497 | 0.98998 | -0.19196 | 10.5758
32 | -0.018434 | -0.004622 | 0.018438 | 0.0046246 | 4.488e-06 | 2.6766e-06 | 0.027877 | 0.027877 | 0.027877 | 0.98396 | -0.3088 | 0.98422 | -0.30369 | 7.6586
33 | 0.018434 | 0.004622 | -0.01843 | -0.0046196 | 4.0407e-06 | 2.41e-06 | 0.027877 | 0.027878 | 0.027878 | 0.98396 | -0.3088 | 0.98373 | -0.3134 | 7.6587
34 | -0.024666 | -0.0061854 | 0.024675 | 0.006191 | 9.1309e-06 | 5.6212e-06 | 0.037293 | 0.037293 | 0.037293 | 0.98422 | -0.30369 | 0.98462 | -0.29593 | 10.2452
35 | 0.012287 | 0.00308 | -0.012284 | -0.0030788 | 2.2399e-06 | 1.214e-06 | 0.018585 | 0.018585 | 0.018585 | 0.98373 | -0.3134 | 0.98353 | -0.31723 | 5.1059
36 | 0.017893 | 0.0044856 | -0.01789 | -0.0044838 | 3.0398e-06 | 1.8059e-06 | 0.02711 | 0.02711 | 0.02711 | 0.98213 | -0.34402 | 0.98195 | -0.34759 | 7.4477
37 | 0.024567 | 0.006172 | -0.024533 | -0.006151 | 3.4007e-05 | 2.0925e-05 | 0.037089 | 0.037089 | 0.037089 | 0.9858 | -0.27292 | 0.98431 | -0.30197 | 10.1892
38 | -0.07656 | -0.019242 | 0.076647 | 0.019298 | 8.6865e-05 | 5.5372e-05 | 0.1155 | 0.1155 | 0.1155 | 0.98651 | -0.25918 | 0.98773 | -0.23544 | 31.7309
39 | 0.0058319 | 0.0014616 | -0.005831 | -0.0014614 | 8.8432e-07 | 1.7144e-07 | 0.0087658 | 0.0087659 | 0.0087659 | 0.98998 | -0.19196 | 0.98981 | -0.19514 | 2.4082
40 | 0.019779 | 0.0049596 | -0.019773 | -0.0049564 | 5.3069e-06 | 3.1906e-06 | 0.02973 | 0.02973 | 0.02973 | 0.98998 | -0.19196 | 0.98969 | -0.19759 | 8.1676
41 | 0.01271 | 0.003186 | -0.012707 | -0.0031848 | 2.1672e-06 | 1.1837e-06 | 0.019109 | 0.019109 | 0.019109 | 0.98969 | -0.19759 | 0.9895 | -0.20117 | 5.2499
42 | -0.18002 | -0.045518 | 0.18029 | 0.045686 | 0.0002659 | 0.00016816 | 0.26995 | 0.26995 | 0.26995 | 0.99283 | -0.13693 | 0.99443 | -0.10619 | 18.5407
43 | 0.0064935 | 0.0016274 | -0.0064925 | -0.0016272 | 1.0012e-06 | 2.8059e-07 | 0.009761 | 0.0097611 | 0.0097611 | 0.9899 | -0.19345 | 0.98973 | -0.19669 | 2.6816
44 | 0.084872 | 0.021397 | -0.084774 | -0.021335 | 9.7829e-05 | 6.2405e-05 | 0.12774 | 0.12774 | 0.12774 | 0.98897 | -0.21132 | 0.98773 | -0.23544 | 35.0945
45 | 0.019069 | 0.0047913 | -0.019043 | -0.0047756 | 2.6125e-05 | 1.5673e-05 | 0.028946 | 0.028946 | 0.028946 | 0.98042 | -0.37735 | 0.97895 | -0.40609 | 7.9522
46 | -0.019069 | -0.0047913 | 0.019089 | 0.0048032 | 1.9941e-05 | 1.1961e-05 | 0.028946 | 0.028945 | 0.028946 | 0.98042 | -0.37735 | 0.98154 | -0.35546 | 7.9521
47 | 0.01558 | 0.0039078 | -0.015578 | -0.0039064 | 2.4421e-06 | 1.417e-06 | 0.023683 | 0.023683 | 0.023683 | 0.97895 | -0.40609 | 0.97879 | -0.40938 | 6.5064
48 | -0.021536 | -0.0054166 | 0.02154 | 0.0054191 | 4.074e-06 | 2.4786e-06 | 0.032656 | 0.032656 | 0.032656 | 0.98154 | -0.35546 | 0.98174 | -0.35151 | 8.9713
49 | -0.0085993 | -0.0021552 | 0.0086004 | 0.0021557 | 1.1464e-06 | 5.0274e-07 | 0.012986 | 0.012986 | 0.012986 | 0.98538 | -0.28116 | 0.98553 | -0.27836 | 3.5675
50 | -0.0098728 | -0.0024744 | 0.0098743 | 0.0024751 | 1.5421e-06 | 7.41e-07 | 0.014751 | 0.014751 | 0.014751 | 0.99592 | -0.078557 | 0.99609 | -0.075279 | 4.0525
51 | -0.015476 | -0.003879 | 0.01548 | 0.0038812 | 3.9908e-06 | 2.2949e-06 | 0.023119 | 0.023119 | 0.023119 | 0.99609 | -0.075279 | 0.99637 | -0.069868 | 6.3513
52 | 0.015578 | 0.0039064 | -0.015571 | -0.0039025 | 6.8213e-06 | 3.9582e-06 | 0.023683 | 0.023683 | 0.023683 | 0.97879 | -0.40938 | 0.97832 | -0.41857 | 6.5064
53 | -0.074905 | -0.018899 | 0.075084 | 0.019012 | 0.00017882 | 0.00011396 | 0.11258 | 0.11258 | 0.11258 | 0.99042 | -0.18331 | 0.99301 | -0.13358 | 30.9291
54 | 0.0063161 | 0.0015828 | -0.0063158 | -0.0015827 | 2.5928e-07 | 6.8763e-08 | 0.0095289 | 0.009529 | 0.009529 | 0.9863 | -0.26333 | 0.98625 | -0.26419 | 2.6179
55 | 0.022121 | 0.005549 | -0.022107 | -0.0055407 | 1.3615e-05 | 8.3003e-06 | 0.033421 | 0.033421 | 0.033421 | 0.98497 | -0.28862 | 0.98431 | -0.30154 | 9.1815
56 | -0.073647 | -0.018537 | 0.073991 | 0.018756 | 0.00034414 | 0.0002193 | 0.11129 | 0.11129 | 0.11129 | 0.98497 | -0.28862 | 0.99 | -0.19135 | 30.5737
57 | -0.0061408 | -0.001539 | 0.0061414 | 0.0015392 | 5.5973e-07 | 1.3884e-07 | 0.0092916 | 0.0092915 | 0.0092916 | 0.98343 | -0.31914 | 0.98353 | -0.31723 | 2.5526
58 | 0.011042 | 0.0027676 | -0.011041 | -0.002767 | 1.063e-06 | 5.5225e-07 | 0.016733 | 0.016733 | 0.016733 | 0.98195 | -0.34759 | 0.98184 | -0.34961 | 4.5969
59 | -0.0019685 | -0.00049336 | 0.0019686 | 0.00049327 | 2.7591e-08 | -8.8764e-08 | 0.0029702 | 0.0029701 | 0.0029702 | 0.98621 | -0.26504 | 0.98622 | -0.26474 | 0.81599
60 | -0.0041429 | -0.0010382 | 0.004143 | 0.0010382 | 1.0902e-07 | -2.5176e-08 | 0.0062508 | 0.0062507 | 0.0062508 | 0.98622 | -0.26474 | 0.98625 | -0.26419 | 1.7172
61 | 0.0070848 | 0.0017757 | -0.0070837 | -0.0017753 | 1.0997e-06 | 3.7201e-07 | 0.010654 | 0.010654 | 0.010654 | 0.9895 | -0.20117 | 0.98934 | -0.20442 | 2.927
62 | -0.27884 | -0.070633 | 0.27915 | 0.070832 | 0.00031226 | 0.00019886 | 0.4175 | 0.4175 | 0.4175 | 0.99443 | -0.10619 | 0.99565 | -0.0829 | 28.6745
63 | 0.098547 | 0.024947 | -0.098418 | -0.024864 | 0.00012941 | 8.2616e-05 | 0.14755 | 0.14755 | 0.14755 | 0.99443 | -0.10619 | 0.99301 | -0.13358 | 40.5355
64 | -0.003671 | -0.00092003 | 0.003671 | 0.00092001 | 4.9628e-08 | -2.398e-08 | 0.0055214 | 0.0055214 | 0.0055214 | 0.98932 | -0.20471 | 0.98934 | -0.20442 | 1.5169
65 | 0.019401 | 0.0048652 | -0.019398 | -0.0048639 | 2.1569e-06 | 1.2911e-06 | 0.028968 | 0.028968 | 0.028968 | 0.9966 | -0.065388 | 0.99648 | -0.067721 | 7.9582
66 | -0.051783 | -0.012981 | 0.051872 | 0.013038 | 8.9133e-05 | 5.6526e-05 | 0.077318 | 0.077317 | 0.077318 | 0.9966 | -0.065388 | 0.99847 | -0.02933 | 21.2411
67 | 0.017438 | 0.0043727 | -0.017437 | -0.0043717 | 1.7838e-06 | 1.0503e-06 | 0.026041 | 0.026041 | 0.026041 | 0.99648 | -0.067721 | 0.99637 | -0.069868 | 7.1541
68 | -0.063622 | -0.015982 | 0.063711 | 0.016039 | 8.9189e-05 | 5.6735e-05 | 0.094828 | 0.094828 | 0.094828 | 0.99847 | -0.02933 | 1 | 0 | 26.0517
69 | 0.49162 | 0.12529 | -0.49097 | -0.12488 | 0.00064354 | 0.0004112 | 0.73227 | 0.73227 | 0.73227 | 1 | 0 | 0.99857 | -0.027164 | 50.2934
70 | 0.18944 | 0.048133 | -0.18886 | -0.047763 | 0.00057939 | 0.0003698 | 0.28253 | 0.28253 | 0.28253 | 0.99857 | -0.027164 | 0.99524 | -0.090902 | 38.8089
71 | 0.30153 | 0.076746 | -0.30128 | -0.076584 | 0.0002531 | 0.00016128 | 0.44974 | 0.44974 | 0.44974 | 0.99857 | -0.027164 | 0.99766 | -0.044591 | 30.889
72 | 0.054631 | 0.013722 | -0.054554 | -0.013673 | 7.718e-05 | 4.8995e-05 | 0.081692 | 0.081692 | 0.081692 | 0.99524 | -0.090902 | 0.9937 | -0.12055 | 22.4429
73 | 0.13423 | 0.034042 | -0.13418 | -0.034007 | 5.4634e-05 | 3.4919e-05 | 0.20084 | 0.20084 | 0.20084 | 0.99524 | -0.090902 | 0.99479 | -0.099372 | 55.1749
74 | 0.28941 | 0.07361 | -0.28888 | -0.073271 | 0.00053315 | 0.00033963 | 0.43204 | 0.43204 | 0.43204 | 0.99766 | -0.044591 | 0.99565 | -0.0829 | 29.6734
75 | 0.023334 | 0.0058516 | -0.023327 | -0.0058473 | 7.0664e-06 | 4.3232e-06 | 0.034967 | 0.034968 | 0.034968 | 0.99301 | -0.13358 | 0.99268 | -0.13994 | 9.6065
76 | 0.019077 | 0.0047823 | -0.019077 | -0.0047819 | 5.3599e-07 | 3.2044e-07 | 0.028597 | 0.028597 | 0.028597 | 0.99268 | -0.13994 | 0.99265 | -0.14053 | 7.8564
77 | 0.014137 | 0.0035438 | -0.014135 | -0.0035429 | 1.5823e-06 | 8.912e-07 | 0.021192 | 0.021192 | 0.021192 | 0.99265 | -0.14053 | 0.99253 | -0.14287 | 5.822
78 | 0.046568 | 0.011688 | -0.046524 | -0.01166 | 4.3928e-05 | 2.7801e-05 | 0.069662 | 0.069662 | 0.069662 | 0.99479 | -0.099372 | 0.99377 | -0.11917 | 19.138
79 | 0.087609 | 0.022319 | -0.087305 | -0.022125 | 0.00030432 | 0.00019415 | 0.13117 | 0.13118 | 0.13118 | 0.99479 | -0.099372 | 0.99102 | -0.17164 | 36.0371
80 | 0.087305 | 0.022125 | -0.087222 | -0.022072 | 8.2568e-05 | 5.2679e-05 | 0.13118 | 0.13118 | 0.13118 | 0.99102 | -0.17164 | 0.99 | -0.19135 | 36.0371
81 | 0.0098856 | 0.0024779 | -0.0098842 | -0.0024772 | 1.4878e-06 | 7.188e-07 | 0.014821 | 0.014821 | 0.014821 | 0.99253 | -0.14287 | 0.99236 | -0.14603 | 4.0717
82 | -0.00253 | -0.00063408 | 0.00253 | 0.00063405 | 1.4878e-08 | -2.6088e-08 | 0.0037938 | 0.0037938 | 0.0037938 | 0.99231 | -0.14704 | 0.99232 | -0.14692 | 1.0423
83 | -0.0049327 | -0.0012362 | 0.0049328 | 0.0012362 | 1.0372e-07 | 1.0718e-09 | 0.0073967 | 0.0073967 | 0.0073967 | 0.99232 | -0.14692 | 0.99234 | -0.14648 | 2.0321
84 | 0.0039166 | 0.00098156 | -0.0039165 | -0.00098157 | 3.9127e-08 | -1.2413e-08 | 0.0059357 | 0.0059357 | 0.0059357 | 0.98184 | -0.34961 | 0.98183 | -0.34982 | 1.6307
85 | 0.0074732 | 0.0018729 | -0.0074731 | -0.0018729 | 1.5753e-07 | 5.7601e-08 | 0.011206 | 0.011206 | 0.011206 | 0.99236 | -0.14603 | 0.99234 | -0.14648 | 3.0785

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56893 | 0.14432

## res_load
| p_mw | q_mvar
0 | 0.0060811 | 0.0015241
1 | 0.0061438 | 0.0015398
2 | 0.0061401 | 0.0015388
3 | 0.0083849 | 0.0021015
4 | 0.0057991 | 0.0014534
5 | 0.010468 | 0.0026236
6 | 0.0020165 | 0.00050539
7 | 0.0023705 | 0.00059409
8 | 0.0062276 | 0.0015608
9 | 0.006143 | 0.0015396
10 | 0.0060276 | 0.0015106
11 | 0.0084272 | 0.0021121
12 | 0.005831 | 0.0014614
13 | 0.0070638 | 0.0017704
14 | 0.0081042 | 0.0020311
15 | 0.011216 | 0.0028109
16 | 0.0061602 | 0.0015439
17 | 0.0064925 | 0.0016272
18 | 0.0034623 | 0.00086774
19 | 0.0024474 | 0.00061338
20 | 0.0085993 | 0.0021552
21 | 0.0086246 | 0.0021615
22 | 0.0088125 | 0.0022086
23 | 0.0085953 | 0.0021542
24 | 0.0098728 | 0.0024744
25 | 0.0056015 | 0.0014039
26 | 0.015571 | 0.0039025
27 | 0.054118 | 0.013563
28 | 0.0060595 | 0.0015187
29 | 0.0022838 | 0.00057238
30 | 0.0083356 | 0.0020891
31 | 0.001539 | 0.0003857
32 | 0.0061408 | 0.001539
33 | 0.006143 | 0.0015396
34 | 0.0068478 | 0.0017162
35 | 0.0019685 | 0.00049336
36 | 0.0021743 | 0.00054494
37 | 0.0081272 | 0.0020369
38 | 0.0056227 | 0.0014092
39 | 0.003671 | 0.00092003
40 | 0.0034126 | 0.00085529
41 | 0.032382 | 0.0081157
42 | 0.0019601 | 0.00049124
43 | 0.01175 | 0.0029448
44 | 0.0019567 | 0.0004904
45 | 0.01195 | 0.002995
46 | 0.011867 | 0.0029741
47 | 0.0042496 | 0.0010651
48 | 0.0097319 | 0.0024391
49 | 0.0049401 | 0.0012381
50 | 0.046524 | 0.01166
51 | 0.013231 | 0.0033161
52 | 0.0042496 | 0.0010651
53 | 0.054554 | 0.013673
54 | 0.00253 | 0.00063408
55 | 0.0024027 | 0.00060217
56 | 0.0021728 | 0.00054456
57 | 0.0071241 | 0.0017855
58 | 0.0039165 | 0.00098157
59 | 0.0024109 | 0.00060424
60 | 0.0025403 | 0.00063665
61 | 0.022107 | 0.0055407

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1