## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-5_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-5_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-5_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-5_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-5_0_7_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_261-5_0_7_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_261-5_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-5_0_7_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_261-5_0_7_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_261-5_0_7_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-5_0_7_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_261-5_0_7_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_261-5_0_7_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_261-5_0_7_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-5_0_7_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_261-5_0_7_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-5_0_7_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_261-5_0_7_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_261-5_0_7_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-5_0_7_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_261-5_0_7_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_261-5_0_7_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_261-5_0_7_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_261-5_0_7_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-5_0_7_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_261-5_0_7_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_261-5_0_7_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-5_0_7_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_261-5_0_7_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_261-5_0_7_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_261-5_0_7_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_261-5_0_7_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_261-5_0_7_node_19 | 0.4 | n |  | TRUE
33 | bus_MV_531_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-5_0_7_load_0 | 0 | 0.02528 | 0.0063358 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-5_0_7_load_17 | 4 | 0.018899 | 0.0047364 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-5_0_7_load_25 | 5 | 0.032074 | 0.0080385 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-5_0_7_load_24 | 8 | 0.038763 | 0.0097148 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-5_0_7_load_23 | 10 | 0.019119 | 0.0047917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-5_0_7_load_28 | 14 | 0.024052 | 0.0060279 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-5_0_7_load_21 | 16 | 0.076719 | 0.019228 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-5_0_7_load_27 | 17 | 0.045354 | 0.011367 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-5_0_7_load_35 | 19 | 0.0027291 | 0.00068397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-5_0_7_load_30 | 20 | 0.024897 | 0.0062398 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-5_0_7_load_33 | 21 | 0.022517 | 0.0056434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-5_0_7_load_20 | 22 | 0.021541 | 0.0053988 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-5_0_7_load_34 | 25 | 0.0080484 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-5_0_7_load_18 | 26 | 0.026388 | 0.0066133 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-5_0_7_load_32 | 27 | 0.019367 | 0.0048538 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-5_0_7_load_26 | 28 | 0.030086 | 0.0075403 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-5_0_7_load_29 | 29 | 0.024199 | 0.0060648 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-5_0_7_load_36 | 30 | 0.0047403 | 0.001188 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-5_0_7_load_31 | 31 | 0.081361 | 0.020391 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-5_0_7_load_19 | 32 | 0.061315 | 0.015367 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-5_0_7_line_0 |  | 0 | 1 | 0.0028866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-5_0_7_line_1 |  | 0 | 2 | 0.034061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-5_0_7_line_2 |  | 1 | 3 | 0.055769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-5_0_7_line_3 |  | 2 | 4 | 0.0079117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-5_0_7_line_4 |  | 3 | 5 | 0.037961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-5_0_7_line_5 |  | 4 | 27 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-5_0_7_line_6 |  | 5 | 28 | 0.02077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-5_0_7_line_7 |  | 6 | 7 | 0.007565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-5_0_7_line_8 |  | 6 | 8 | 0.0048821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-5_0_7_line_9 |  | 7 | 12 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-5_0_7_line_10 |  | 7 | 21 | 0.015772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-5_0_7_line_11 |  | 8 | 9 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-5_0_7_line_12 |  | 9 | 10 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-5_0_7_line_13 |  | 11 | 12 | 0.004998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-5_0_7_line_14 |  | 11 | 13 | 0.10704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-5_0_7_line_15 |  | 11 | 14 | 0.003568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-5_0_7_line_16 |  | 12 | 22 | 0.026157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-5_0_7_line_17 |  | 13 | 15 | 0.073747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-5_0_7_line_18 |  | 13 | 16 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-5_0_7_line_19 |  | 14 | 29 | 0.0099867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-5_0_7_line_20 |  | 15 | 17 | 0.016862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-5_0_7_line_21 |  | 18 | 19 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-5_0_7_line_22 |  | 18 | 20 | 0.022063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-5_0_7_line_23 |  | 19 | 30 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-5_0_7_line_24 |  | 20 | 29 | 0.006466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-5_0_7_line_25 |  | 21 | 31 | 0.015026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-5_0_7_line_26 |  | 22 | 32 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-5_0_7_line_27 |  | 23 | 24 | 0.034821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-5_0_7_line_28 |  | 23 | 25 | 0.14065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-5_0_7_line_29 |  | 24 | 26 | 0.042967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-5_0_7_line_30 |  | 26 | 32 | 0.04784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-5_0_7_line_31 |  | 27 | 31 | 0.016248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-5_0_7_trafo_11 | 0.63 MVA 20/0.4 kV | 33 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2682652.5384 | 1247406.532 | 2682649.7681 | 1247407.3429
1 | 2682618.7284 | 1247421.1716 | 2682642.9667 | 1247409.334 | 2682649.7681 | 1247407.3429
2 | 2682682.6528 | 1247372.0152 | 2682681.1946 | 1247372.5842 | 2682683.6757 | 1247377.7448 | 2682682.9832 | 1247378.1132 | 2682682.2216 | 1247378.5585 | 2682683.7316 | 1247383.4832 | 2682684.8046 | 1247387.7902 | 2682652.5384 | 1247406.532
3 | 2682618.7284 | 1247421.1716 | 2682622.6098 | 1247428.0658
4 | 2682682.6528 | 1247372.0152 | 2682685.5786 | 1247378.3273 | 2682685.4765 | 1247381.8618 | 2682690.1607 | 1247398.5728 | 2682690.7904 | 1247401.0834 | 2682692.9436 | 1247408.2927
5 | 2682622.6098 | 1247428.0658 | 2682627.658 | 1247437.0327
6 | 2682695.2316 | 1247428.6786 | 2682695.546 | 1247417.0059 | 2682692.9436 | 1247408.2927
7 | 2682650.4286 | 1247478.1997 | 2682653.7736 | 1247479.3694 | 2682657.5915 | 1247478.0438
8 | 2682657.5915 | 1247478.0438 | 2682662.1432 | 1247476.2784
9 | 2682640.5207 | 1247481.8198 | 2682642.3505 | 1247481.1448 | 2682646.1618 | 1247479.7525 | 2682649.7757 | 1247478.4352 | 2682650.4286 | 1247478.1997
10 | 2682650.4286 | 1247478.1997 | 2682642.8638 | 1247464.3604
11 | 2682677.6725 | 1247469.1061 | 2682674.1401 | 1247471.6253 | 2682662.1432 | 1247476.2784
12 | 2682677.6725 | 1247469.1061 | 2682669.3235 | 1247457.4941
13 | 2682640.5207 | 1247481.8198 | 2682637.0786 | 1247485.4523
14 | 2682637.0786 | 1247485.4523 | 2682637.7531 | 1247487.4521 | 2682638.1159 | 1247488.5246 | 2682639.2113 | 1247491.7644 | 2682639.4362 | 1247492.4236 | 2682640.3939 | 1247495.2501 | 2682640.938 | 1247496.8589 | 2682642.0842 | 1247500.244 | 2682642.5269 | 1247501.54 | 2682644.8255 | 1247500.8271 | 2682646.0613 | 1247501.0445 | 2682647.0021 | 1247501.8248 | 2682665.4215 | 1247557.3112 | 2682670.6828 | 1247571.6395 | 2682672.5869 | 1247575.9248 | 2682675.607 | 1247581.9713
15 | 2682637.0786 | 1247485.4523 | 2682633.7166 | 1247486.6473
16 | 2682640.5207 | 1247481.8198 | 2682631.1523 | 1247457.3976
17 | 2682675.607 | 1247581.9713 | 2682679.8133 | 1247577.7046 | 2682683.5062 | 1247573.9645 | 2682689.34 | 1247582.4409 | 2682694.2607 | 1247581.6534 | 2682709.4643 | 1247589.3266 | 2682713.2223 | 1247591.7475 | 2682727.7942 | 1247570.5463
18 | 2682675.607 | 1247581.9713 | 2682686.317 | 1247598.8629
19 | 2682624.3067 | 1247489.9919 | 2682633.7166 | 1247486.6473
20 | 2682727.7942 | 1247570.5463 | 2682721.8081 | 1247567.0268 | 2682730.1203 | 1247561.6169
21 | 2682597.51 | 1247499.7783 | 2682593.801 | 1247490.5865 | 2682593.5403 | 1247489.9444
22 | 2682597.51 | 1247499.7783 | 2682610.0162 | 1247495.0712 | 2682618.2141 | 1247492.1574
23 | 2682593.5403 | 1247489.9444 | 2682591.4495 | 1247484.794 | 2682586.9948 | 1247473.1923
24 | 2682624.3067 | 1247489.9919 | 2682618.2141 | 1247492.1574
25 | 2682642.8638 | 1247464.3604 | 2682636.8685 | 1247453.3925 | 2682635.629 | 1247451.1908
26 | 2682623.7463 | 1247443.2133 | 2682623.7463 | 1247443.2133 | 2682627.7136 | 1247450.1403 | 2682630.7176 | 1247456.2644 | 2682631.1523 | 1247457.3976
27 | 2682572.1533 | 1247368.5621 | 2682551.0267 | 1247340.8365
28 | 2682551.0267 | 1247340.8365 | 2682550.5211 | 1247348.9354 | 2682553.3712 | 1247361.2397 | 2682552.2034 | 1247369.6963 | 2682552.1459 | 1247373.8208 | 2682553.2562 | 1247377.0831 | 2682560.8761 | 1247390.7659 | 2682564.5239 | 1247400.0234 | 2682576.0434 | 1247430.3617 | 2682585.1331 | 1247449.6802 | 2682594.9917 | 1247471.9802
29 | 2682572.1533 | 1247368.5621 | 2682597.1148 | 1247403.5353
30 | 2682597.1148 | 1247403.5353 | 2682617.3552 | 1247431.8937 | 2682623.7463 | 1247443.2133
31 | 2682627.658 | 1247437.0327 | 2682635.629 | 1247451.1908

## bus_geodata
| x | y | coords
0 | 2682649.7681 | 1247407.3429
1 | 2682652.5384 | 1247406.532
2 | 2682618.7284 | 1247421.1716
3 | 2682682.6528 | 1247372.0152
4 | 2682622.6098 | 1247428.0658
5 | 2682692.9436 | 1247408.2927
6 | 2682657.5915 | 1247478.0438
7 | 2682650.4286 | 1247478.1997
8 | 2682662.1432 | 1247476.2784
9 | 2682677.6725 | 1247469.1061
10 | 2682669.3235 | 1247457.4941
11 | 2682637.0786 | 1247485.4523
12 | 2682640.5207 | 1247481.8198
13 | 2682675.607 | 1247581.9713
14 | 2682633.7166 | 1247486.6473
15 | 2682727.7942 | 1247570.5463
16 | 2682686.317 | 1247598.8629
17 | 2682730.1203 | 1247561.6169
18 | 2682597.51 | 1247499.7783
19 | 2682593.5403 | 1247489.9444
20 | 2682618.2141 | 1247492.1574
21 | 2682642.8638 | 1247464.3604
22 | 2682631.1523 | 1247457.3976
23 | 2682551.0267 | 1247340.8365
24 | 2682572.1533 | 1247368.5621
25 | 2682594.9917 | 1247471.9802
26 | 2682597.1148 | 1247403.5353
27 | 2682627.658 | 1247437.0327
28 | 2682695.2316 | 1247428.6786
29 | 2682624.3067 | 1247489.9919
30 | 2682586.9948 | 1247473.1923
31 | 2682635.629 | 1247451.1908
32 | 2682623.7463 | 1247443.2133
33 | 2682646.1618 | 1247479.7525

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99123 | -0.16827 | 0.02528 | 0.0063358
1 | 0.99106 | -0.17146 | 0 | 0
2 | 0.99396 | -0.11558 | 0 | 0
3 | 0.98787 | -0.23317 | 0 | 0
4 | 0.9946 | -0.10338 | 0.018899 | 0.0047364
5 | 0.9857 | -0.27541 | 0.032074 | 0.0080385
6 | 0.9996 | -0.0076351 | 0 | 0
7 | 1 | 0 | -0.61313 | -0.15481
8 | 0.99935 | -0.012566 | 0.038763 | 0.0097148
9 | 0.99905 | -0.018309 | 0 | 0
10 | 0.9988 | -0.023085 | 0.019119 | 0.0047917
11 | 0.99851 | -0.028483 | 0 | 0
12 | 0.99897 | -0.019631 | 0 | 0
13 | 0.98646 | -0.25972 | 0 | 0
14 | 0.99824 | -0.033512 | 0.024052 | 0.0060279
15 | 0.98337 | -0.31982 | 0 | 0
16 | 0.98505 | -0.28724 | 0.076719 | 0.019228
17 | 0.98267 | -0.33361 | 0.045354 | 0.011367
18 | 0.99739 | -0.049951 | 0 | 0
19 | 0.99732 | -0.051339 | 0.0027291 | 0.00068397
20 | 0.99754 | -0.047064 | 0.024897 | 0.0062398
21 | 0.9989 | -0.021061 | 0.022517 | 0.0056434
22 | 0.99617 | -0.073371 | 0.021541 | 0.0053988
23 | 0.9927 | -0.14049 | 0 | 0
24 | 0.99295 | -0.13553 | 0 | 0
25 | 0.99166 | -0.16054 | 0.0080484 | 0.0020171
26 | 0.99327 | -0.12942 | 0.026388 | 0.0066133
27 | 0.9956 | -0.084123 | 0.019367 | 0.0048538
28 | 0.98512 | -0.28663 | 0.030086 | 0.0075403
29 | 0.99773 | -0.043398 | 0.024199 | 0.0060648
30 | 0.99724 | -0.052833 | 0.0047403 | 0.001188
31 | 0.99748 | -0.048276 | 0.081361 | 0.020391
32 | 0.99477 | -0.10035 | 0.061315 | 0.015367
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.062495 | 0.015792 | -0.062486 | -0.015786 | 9.537e-06 | 6.0665e-06 | 0.093863 | 0.093863 | 0.093863 | 0.99123 | -0.16827 | 0.99106 | -0.17146 | 25.7866
1 | -0.087775 | -0.022128 | 0.087997 | 0.022269 | 0.00022193 | 0.00014159 | 0.13181 | 0.13181 | 0.13181 | 0.99123 | -0.16827 | 0.99396 | -0.11558 | 36.2124
2 | 0.062486 | 0.015786 | -0.062302 | -0.015669 | 0.00018425 | 0.00011721 | 0.093863 | 0.093863 | 0.093863 | 0.99106 | -0.17146 | 0.98787 | -0.23317 | 25.7866
3 | -0.087997 | -0.022269 | 0.088049 | 0.022302 | 5.1549e-05 | 3.2889e-05 | 0.13181 | 0.13181 | 0.13181 | 0.99396 | -0.11558 | 0.9946 | -0.10338 | 36.2123
4 | 0.062302 | 0.015669 | -0.062176 | -0.015589 | 0.00012542 | 7.9782e-05 | 0.093863 | 0.093863 | 0.093863 | 0.98787 | -0.23317 | 0.9857 | -0.27541 | 25.7867
5 | -0.10695 | -0.027039 | 0.10705 | 0.027102 | 9.8894e-05 | 6.3159e-05 | 0.16009 | 0.16009 | 0.16009 | 0.9946 | -0.10338 | 0.9956 | -0.084123 | 43.9799
6 | 0.030102 | 0.0075503 | -0.030086 | -0.0075403 | 1.6086e-05 | 1.003e-05 | 0.045445 | 0.045445 | 0.045445 | 0.9857 | -0.27541 | 0.98512 | -0.28663 | 12.4848
7 | -0.057905 | -0.014521 | 0.057926 | 0.014534 | 2.108e-05 | 1.3392e-05 | 0.086201 | 0.086201 | 0.086201 | 0.9996 | -0.0076351 | 1 | 0 | 23.6815
8 | 0.057905 | 0.014521 | -0.057891 | -0.014512 | 1.3604e-05 | 8.6424e-06 | 0.086201 | 0.086201 | 0.086201 | 0.9996 | -0.0076351 | 0.99935 | -0.012566 | 23.6815
9 | 0.32254 | 0.081824 | -0.32224 | -0.08163 | 0.00030417 | 0.00019425 | 0.48029 | 0.48029 | 0.48029 | 1 | 0 | 0.99897 | -0.019631 | 43.983
10 | 0.23101 | 0.058451 | -0.23078 | -0.058302 | 0.00023323 | 0.00014864 | 0.34395 | 0.34395 | 0.34395 | 1 | 0 | 0.9989 | -0.021061 | 31.4971
11 | 0.019129 | 0.0047974 | -0.019123 | -0.0047943 | 5.2349e-06 | 3.125e-06 | 0.028483 | 0.028484 | 0.028484 | 0.99935 | -0.012566 | 0.99905 | -0.018309 | 7.8251
12 | 0.019123 | 0.0047943 | -0.019119 | -0.0047917 | 4.3512e-06 | 2.5976e-06 | 0.028484 | 0.028484 | 0.028484 | 0.99905 | -0.018309 | 0.9988 | -0.023085 | 7.8252
13 | -0.20437 | -0.051872 | 0.20446 | 0.051927 | 8.7058e-05 | 5.5586e-05 | 0.30479 | 0.30479 | 0.30479 | 0.99851 | -0.028483 | 0.99897 | -0.019631 | 41.8672
14 | 0.1237 | 0.031634 | -0.12233 | -0.03076 | 0.0013675 | 0.00087379 | 0.18457 | 0.18457 | 0.18457 | 0.99851 | -0.028483 | 0.98646 | -0.25972 | 50.7059
15 | 0.08067 | 0.020238 | -0.080651 | -0.020225 | 1.934e-05 | 1.2331e-05 | 0.12023 | 0.12023 | 0.12023 | 0.99851 | -0.028483 | 0.99824 | -0.033512 | 33.0289
16 | 0.11778 | 0.029703 | -0.11748 | -0.02951 | 0.00030212 | 0.00019302 | 0.1755 | 0.1755 | 0.1755 | 0.99897 | -0.019631 | 0.99617 | -0.073371 | 48.2146
17 | 0.045515 | 0.011468 | -0.045384 | -0.011386 | 0.00013044 | 8.2544e-05 | 0.068678 | 0.068678 | 0.068678 | 0.98646 | -0.25972 | 0.98337 | -0.31982 | 18.8677
18 | 0.076819 | 0.019292 | -0.076719 | -0.019228 | 0.00010074 | 6.4216e-05 | 0.11589 | 0.11589 | 0.11589 | 0.98646 | -0.25972 | 0.98505 | -0.28724 | 31.8384
19 | 0.056599 | 0.014198 | -0.056573 | -0.014181 | 2.666e-05 | 1.6932e-05 | 0.084373 | 0.084373 | 0.084373 | 0.99824 | -0.033512 | 0.99773 | -0.043398 | 23.1795
20 | 0.045384 | 0.011386 | -0.045354 | -0.011367 | 2.9824e-05 | 1.8874e-05 | 0.068678 | 0.068678 | 0.068678 | 0.98337 | -0.31982 | 0.98267 | -0.33361 | 18.8677
21 | 0.0074702 | 0.0018722 | -0.0074697 | -0.001872 | 4.9396e-07 | 1.7774e-07 | 0.011145 | 0.011145 | 0.011145 | 0.99739 | -0.049951 | 0.99732 | -0.051339 | 3.0618
22 | -0.0074702 | -0.0018722 | 0.0074712 | 0.0018725 | 1.0276e-06 | 3.697e-07 | 0.011145 | 0.011145 | 0.011145 | 0.99739 | -0.049951 | 0.99754 | -0.047064 | 3.0618
23 | 0.0047406 | 0.001188 | -0.0047403 | -0.001188 | 3.3743e-07 | -1.8725e-08 | 0.0070731 | 0.0070731 | 0.0070731 | 0.99732 | -0.051339 | 0.99724 | -0.052833 | 1.9432
24 | -0.032368 | -0.0081123 | 0.032374 | 0.0081158 | 5.6527e-06 | 3.5333e-06 | 0.048283 | 0.048283 | 0.048283 | 0.99754 | -0.047064 | 0.99773 | -0.043398 | 13.2646
25 | 0.20826 | 0.052659 | -0.20799 | -0.052486 | 0.00027146 | 0.00017334 | 0.31041 | 0.31041 | 0.31041 | 0.9989 | -0.021061 | 0.99748 | -0.048276 | 42.6381
26 | 0.095934 | 0.024111 | -0.095811 | -0.024032 | 0.00012339 | 7.8759e-05 | 0.14332 | 0.14332 | 0.14332 | 0.99617 | -0.073371 | 0.99477 | -0.10035 | 39.3747
27 | -0.0080561 | -0.0020202 | 0.008058 | 0.002021 | 1.9043e-06 | 7.6844e-07 | 0.012076 | 0.012076 | 0.012076 | 0.9927 | -0.14049 | 0.99295 | -0.13553 | 3.3176
28 | 0.0080561 | 0.0020202 | -0.0080484 | -0.0020171 | 7.6922e-06 | 3.1065e-06 | 0.012076 | 0.012077 | 0.012077 | 0.9927 | -0.14049 | 0.99166 | -0.16054 | 3.3178
29 | -0.008058 | -0.002021 | 0.0080604 | 0.0020219 | 2.3497e-06 | 9.4785e-07 | 0.012076 | 0.012076 | 0.012076 | 0.99295 | -0.13553 | 0.99327 | -0.12942 | 3.3176
30 | -0.034448 | -0.0086353 | 0.034496 | 0.0086652 | 4.7779e-05 | 2.9958e-05 | 0.051607 | 0.051607 | 0.051607 | 0.99327 | -0.12942 | 0.99477 | -0.10035 | 14.1778
31 | -0.12641 | -0.031956 | 0.12663 | 0.032095 | 0.00021772 | 0.00013913 | 0.18903 | 0.18903 | 0.18903 | 0.9956 | -0.084123 | 0.99748 | -0.048276 | 51.932

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61313 | 0.15481

## res_load
| p_mw | q_mvar
0 | 0.02528 | 0.0063358
1 | 0.018899 | 0.0047364
2 | 0.032074 | 0.0080385
3 | 0.038763 | 0.0097148
4 | 0.019119 | 0.0047917
5 | 0.024052 | 0.0060279
6 | 0.076719 | 0.019228
7 | 0.045354 | 0.011367
8 | 0.0027291 | 0.00068397
9 | 0.024897 | 0.0062398
10 | 0.022517 | 0.0056434
11 | 0.021541 | 0.0053988
12 | 0.0080484 | 0.0020171
13 | 0.026388 | 0.0066133
14 | 0.019367 | 0.0048538
15 | 0.030086 | 0.0075403
16 | 0.024199 | 0.0060648
17 | 0.0047403 | 0.001188
18 | 0.081361 | 0.020391
19 | 0.061315 | 0.015367

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1