## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-615_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-615_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-615_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-615_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-615_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-615_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-615_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-615_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_261-615_0_5_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_261-615_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-615_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-615_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-615_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-615_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_261-615_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-615_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_261-615_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-615_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_261-615_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_261-615_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-615_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-615_0_5_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_261-615_0_5_node_88 | 0.4 | n |  | TRUE
23 | bus_LV_261-615_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_261-615_0_5_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_261-615_0_5_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_261-615_0_5_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_261-615_0_5_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_261-615_0_5_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_261-615_0_5_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_261-615_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_261-615_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-615_0_5_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_261-615_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_261-615_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_261-615_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_261-615_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_261-615_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_261-615_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_261-615_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_261-615_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_261-615_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_261-615_0_5_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_261-615_0_5_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_261-615_0_5_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_261-615_0_5_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_261-615_0_5_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_261-615_0_5_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_261-615_0_5_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_261-615_0_5_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_261-615_0_5_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_261-615_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_261-615_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_261-615_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_261-615_0_5_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_261-615_0_5_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_261-615_0_5_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_261-615_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_261-615_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_261-615_0_5_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_261-615_0_5_node_89 | 0.4 | n |  | TRUE
61 | bus_LV_261-615_0_5_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_261-615_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_261-615_0_5_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_261-615_0_5_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_261-615_0_5_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_261-615_0_5_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_261-615_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_261-615_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_261-615_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_261-615_0_5_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_261-615_0_5_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_261-615_0_5_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_261-615_0_5_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_261-615_0_5_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_261-615_0_5_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_261-615_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_261-615_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_261-615_0_5_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_261-615_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_261-615_0_5_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_261-615_0_5_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_261-615_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_261-615_0_5_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_261-615_0_5_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_261-615_0_5_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_261-615_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_261-615_0_5_node_84 | 0.4 | n |  | TRUE
88 | bus_MV_389_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-615_0_5_load_0 | 0 | 0.0031381 | 0.00078647 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-615_0_5_load_1 | 1 | 0.0046839 | 0.0011739 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-615_0_5_load_2 | 2 | 0.0032468 | 0.00081372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-615_0_5_load_3 | 3 | 0.0023377 | 0.00058589 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-615_0_5_load_4 | 4 | 0.0039817 | 0.00099792 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-615_0_5_load_5 | 5 | 0.002295 | 0.00057519 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-615_0_5_load_6 | 6 | 0.015208 | 0.0038116 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-615_0_5_load_25 | 7 | 0.0023798 | 0.00059643 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-615_0_5_load_26 | 8 | 0.0022716 | 0.00056931 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-615_0_5_load_7 | 9 | 0.0043731 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-615_0_5_load_8 | 10 | 0.004299 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-615_0_5_load_9 | 11 | 0.0016774 | 0.0004204 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-615_0_5_load_10 | 12 | 0.0017518 | 0.00043904 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-615_0_5_load_11 | 13 | 0.026568 | 0.0066585 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-615_0_5_load_12 | 14 | 0.0046257 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-615_0_5_load_14 | 16 | 0.0046092 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-615_0_5_load_15 | 17 | 0.006388 | 0.001601 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-615_0_5_load_24 | 18 | 0.0045577 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-615_0_5_load_18 | 19 | 0.0040682 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-615_0_5_load_88 | 22 | 0.008904 | 0.0022316 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-615_0_5_load_23 | 23 | 0.0047726 | 0.0011961 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-615_0_5_load_82 | 24 | 0.019564 | 0.0049033 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-615_0_5_load_58 | 27 | 0.0017738 | 0.00044457 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-615_0_5_load_79 | 28 | 0.0015202 | 0.00038099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-615_0_5_load_87 | 29 | 0.019412 | 0.0048652 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-615_0_5_load_21 | 30 | 0.0060395 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-615_0_5_load_19 | 31 | 0.005444 | 0.0013644 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-615_0_5_load_83 | 32 | 0.013421 | 0.0033636 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-615_0_5_load_20 | 33 | 0.0055262 | 0.001385 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-615_0_5_load_22 | 34 | 0.001702 | 0.00042656 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-615_0_5_load_27 | 35 | 0.0022592 | 0.00056621 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-615_0_5_load_28 | 36 | 0.0082657 | 0.0020716 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-615_0_5_load_29 | 37 | 0.0033132 | 0.00083037 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-615_0_5_load_31 | 39 | 0.0014582 | 0.00036545 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-615_0_5_load_32 | 40 | 0.0015178 | 0.0003804 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-615_0_5_load_68 | 42 | 0.0038361 | 0.00096142 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-615_0_5_load_65 | 43 | 0.0019815 | 0.00049662 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-615_0_5_load_80 | 44 | 0.0018799 | 0.00047114 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-615_0_5_load_56 | 48 | 0.0018078 | 0.00045307 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-615_0_5_load_70 | 49 | 0.0023893 | 0.00059881 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-615_0_5_load_66 | 50 | 0.0038283 | 0.00095946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-615_0_5_load_35 | 51 | 0.0060717 | 0.0015217 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-615_0_5_load_36 | 52 | 0.0060141 | 0.0015073 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-615_0_5_load_38 | 54 | 0.0057965 | 0.0014527 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-615_0_5_load_41 | 56 | 0.0071157 | 0.0017834 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-615_0_5_load_55 | 58 | 0.0048307 | 0.0012107 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-615_0_5_load_77 | 59 | 0.0076614 | 0.0019201 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-615_0_5_load_89 | 60 | 0.0029179 | 0.0007313 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-615_0_5_load_78 | 61 | 0.0049825 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-615_0_5_load_54 | 62 | 0.0039473 | 0.00098928 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-615_0_5_load_75 | 64 | 0.0028969 | 0.00072604 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-615_0_5_load_76 | 65 | 0.0041221 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-615_0_5_load_42 | 66 | 0.0066777 | 0.0016736 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-615_0_5_load_43 | 67 | 0.0041358 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-615_0_5_load_45 | 68 | 0.0065995 | 0.001654 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-615_0_5_load_46 | 69 | 0.006555 | 0.0016428 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-615_0_5_load_47 | 70 | 0.0012446 | 0.00031193 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-615_0_5_load_48 | 71 | 0.0011895 | 0.00029812 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-615_0_5_load_49 | 72 | 0.0011999 | 0.00030072 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-615_0_5_load_50 | 73 | 0.0043896 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-615_0_5_load_51 | 74 | 0.006048 | 0.0015158 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-615_0_5_load_69 | 75 | 0.0018004 | 0.00045122 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-615_0_5_load_67 | 76 | 0.002378 | 0.00059599 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-615_0_5_load_52 | 77 | 0.0040432 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-615_0_5_load_53 | 78 | 0.0039244 | 0.00098354 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_261-615_0_5_load_57 | 79 | 0.0015759 | 0.00039495 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_261-615_0_5_load_59 | 80 | 0.0013262 | 0.00033238 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_261-615_0_5_load_60 | 81 | 0.0013372 | 0.00033514 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_261-615_0_5_load_63 | 82 | 0.0021395 | 0.00053621 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_261-615_0_5_load_64 | 83 | 0.0016808 | 0.00042125 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_261-615_0_5_load_81 | 84 | 0.0015419 | 0.00038643 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_261-615_0_5_load_85 | 85 | 0.0014931 | 0.0003742 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_261-615_0_5_load_86 | 86 | 0.0052912 | 0.0013261 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_261-615_0_5_load_84 | 87 | 0.013213 | 0.0033116 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-615_0_5_line_0 |  | 0 | 1 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-615_0_5_line_1 |  | 0 | 2 | 0.0044785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-615_0_5_line_2 |  | 1 | 3 | 0.0035624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-615_0_5_line_3 |  | 2 | 4 | 0.010014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-615_0_5_line_4 |  | 3 | 5 | 0.021611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-615_0_5_line_5 |  | 4 | 6 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-615_0_5_line_6 |  | 5 | 7 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-615_0_5_line_7 |  | 7 | 8 | 0.021743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-615_0_5_line_8 |  | 8 | 35 | 0.020503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-615_0_5_line_9 |  | 9 | 10 | 0.00072489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-615_0_5_line_10 |  | 9 | 11 | 0.00065762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-615_0_5_line_11 |  | 10 | 12 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-615_0_5_line_12 |  | 11 | 13 | 0.037741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-615_0_5_line_13 |  | 12 | 14 | 0.0021027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-615_0_5_line_14 |  | 13 | 15 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-615_0_5_line_15 |  | 14 | 16 | 0.005089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-615_0_5_line_16 |  | 15 | 17 | 0.0095893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-615_0_5_line_17 |  | 16 | 18 | 0.0052596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-615_0_5_line_18 |  | 17 | 19 | 0.0017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-615_0_5_line_19 |  | 18 | 23 | 0.0050616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-615_0_5_line_20 |  | 19 | 24 | 0.027297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-615_0_5_line_21 |  | 20 | 21 | 0.19601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-615_0_5_line_22 |  | 20 | 22 | 0.065319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-615_0_5_line_23 |  | 21 | 28 | 0.059399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-615_0_5_line_24 |  | 22 | 29 | 0.015713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-615_0_5_line_25 |  | 23 | 34 | 0.023397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-615_0_5_line_26 |  | 24 | 32 | 0.00034219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-615_0_5_line_27 |  | 25 | 26 | 0.00467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-615_0_5_line_28 |  | 25 | 27 | 0.013286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-615_0_5_line_29 |  | 26 | 28 | 0.014784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-615_0_5_line_30 |  | 26 | 44 | 0.030708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-615_0_5_line_31 |  | 26 | 39 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_261-615_0_5_line_32 |  | 27 | 48 | 0.0014188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-615_0_5_line_33 |  | 29 | 87 | 0.0039411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-615_0_5_line_34 |  | 30 | 31 | 0.0051566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-615_0_5_line_35 |  | 31 | 33 | 0.0049558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-615_0_5_line_36 |  | 32 | 87 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_261-615_0_5_line_37 |  | 33 | 34 | 0.0079294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-615_0_5_line_38 |  | 35 | 36 | 0.021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_261-615_0_5_line_39 |  | 36 | 37 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_261-615_0_5_line_40 |  | 37 | 38 | 0.042162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_261-615_0_5_line_41 |  | 38 | 39 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-615_0_5_line_42 |  | 38 | 40 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-615_0_5_line_43 |  | 38 | 41 | 0.0058245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-615_0_5_line_44 |  | 41 | 42 | 0.017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-615_0_5_line_45 |  | 41 | 43 | 0.037974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-615_0_5_line_46 |  | 42 | 49 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-615_0_5_line_47 |  | 43 | 50 | 0.0083384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-615_0_5_line_48 |  | 44 | 84 | 0.006744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-615_0_5_line_49 |  | 45 | 46 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-615_0_5_line_50 |  | 45 | 47 | 0.004776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-615_0_5_line_51 |  | 46 | 63 | 0.019899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-615_0_5_line_52 |  | 46 | 64 | 0.012971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-615_0_5_line_53 |  | 47 | 65 | 0.051646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-615_0_5_line_54 |  | 47 | 49 | 0.011983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-615_0_5_line_55 |  | 48 | 79 | 0.006065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-615_0_5_line_56 |  | 50 | 76 | 0.0016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-615_0_5_line_57 |  | 51 | 52 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-615_0_5_line_58 |  | 51 | 53 | 0.034923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-615_0_5_line_59 |  | 52 | 54 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-615_0_5_line_60 |  | 53 | 55 | 0.12383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-615_0_5_line_61 |  | 54 | 56 | 0.014919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-615_0_5_line_62 |  | 55 | 60 | 0.17465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-615_0_5_line_63 |  | 56 | 61 | 0.023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-615_0_5_line_64 |  | 57 | 58 | 0.019046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-615_0_5_line_65 |  | 57 | 59 | 0.019537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-615_0_5_line_66 |  | 58 | 62 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-615_0_5_line_67 |  | 59 | 63 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-615_0_5_line_68 |  | 61 | 63 | 0.0089345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-615_0_5_line_69 |  | 62 | 78 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-615_0_5_line_70 |  | 65 | 69 | 0.018225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-615_0_5_line_71 |  | 66 | 67 | 0.017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-615_0_5_line_72 |  | 67 | 68 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-615_0_5_line_73 |  | 68 | 69 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-615_0_5_line_74 |  | 70 | 71 | 0.0016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-615_0_5_line_75 |  | 70 | 72 | 0.00016882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-615_0_5_line_76 |  | 71 | 73 | 0.015989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-615_0_5_line_77 |  | 73 | 74 | 0.009351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-615_0_5_line_78 |  | 74 | 75 | 0.017267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-615_0_5_line_79 |  | 75 | 76 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-615_0_5_line_80 |  | 77 | 78 | 0.013984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-615_0_5_line_81 |  | 79 | 80 | 0.019561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-615_0_5_line_82 |  | 80 | 81 | 0.0070478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-615_0_5_line_83 |  | 81 | 82 | 0.01828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-615_0_5_line_84 |  | 82 | 83 | 0.0080906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-615_0_5_line_85 |  | 84 | 85 | 0.0069286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-615_0_5_line_86 |  | 85 | 86 | 0.0022985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-615_0_5_trafo_26 | 0.63 MVA 20/0.4 kV | 88 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2677894.6918 | 1249690.3693 | 2677908.9503 | 1249681.8973
1 | 2677894.6918 | 1249690.3693 | 2677890.8416 | 1249692.6569
2 | 2677908.9503 | 1249681.8973 | 2677912.0129 | 1249680.0776
3 | 2677890.8416 | 1249692.6569 | 2677884.3963 | 1249696.4865 | 2677881.8984 | 1249696.794
4 | 2677930.5915 | 1249669.0388 | 2677912.0129 | 1249680.0776
5 | 2677869.301 | 1249698.3451 | 2677881.8984 | 1249696.794
6 | 2677930.5915 | 1249669.0388 | 2677950.754 | 1249657.0589
7 | 2677950.754 | 1249657.0589 | 2677969.4462 | 1249645.9527
8 | 2677969.4462 | 1249645.9527 | 2677973.7609 | 1249643.389 | 2677986.4274 | 1249634.4821
9 | 2677996.4007 | 1249750.6986 | 2677995.782 | 1249751.0763
10 | 2677996.9621 | 1249750.356 | 2677996.4007 | 1249750.6986
11 | 2677995.782 | 1249751.0763 | 2677977.5104 | 1249762.2283
12 | 2678027.5573 | 1249728.926 | 2678026.2324 | 1249731.4882 | 2678020.824 | 1249735.6756 | 2678009.6866 | 1249742.5897 | 2677996.9621 | 1249750.356
13 | 2677977.5104 | 1249762.2283 | 2677975.7156 | 1249763.3237
14 | 2678037.5605 | 1249723.2868 | 2678027.5573 | 1249728.926
15 | 2677975.7156 | 1249763.3237 | 2677971.3717 | 1249765.9749
16 | 2678037.5605 | 1249723.2868 | 2678046.0404 | 1249718.8095
17 | 2677971.3717 | 1249765.9749 | 2677971.2023 | 1249766.0783 | 2677966.8581 | 1249768.6749
18 | 2678047.6004 | 1249717.9858 | 2678046.0404 | 1249718.8095
19 | 2677966.8581 | 1249768.6749 | 2677962.5134 | 1249771.2718
20 | 2678047.6004 | 1249717.9858 | 2678048.1216 | 1249717.7107 | 2678057.5879 | 1249713.2765 | 2678067.9598 | 1249709.4547 | 2678072.5297 | 1249706.9733
21 | 2678162.848 | 1249660.1689 | 2678138.8142 | 1249610.3824 | 2678129.0639 | 1249590.5283 | 2678127.6927 | 1249586.8631 | 2678127.5397 | 1249582.4356 | 2678129.1925 | 1249578.4879 | 2678142.2528 | 1249566.0731 | 2678134.3744 | 1249557.7188 | 2678117.8265 | 1249540.288 | 2678114.2312 | 1249537.5163 | 2678110.6025 | 1249535.556 | 2678102.136 | 1249532.8536 | 2678096.4124 | 1249531.1436 | 2678093.8004 | 1249529.9528 | 2678090.8016 | 1249528.3232 | 2678088.5789 | 1249526.815 | 2678086.2983 | 1249524.55 | 2678076.8747 | 1249514.2517 | 2678074.7769 | 1249512.4339
22 | 2678162.848 | 1249660.1689 | 2678104.6319 | 1249689.79
23 | 2678074.7769 | 1249512.4339 | 2678072.5372 | 1249512.2153 | 2678070.0866 | 1249513.1059 | 2678035.1907 | 1249546.0706 | 2678030.425 | 1249550.5457
24 | 2678090.7218 | 1249697.0949 | 2678097.3681 | 1249693.4859 | 2678104.6319 | 1249689.79
25 | 2677962.5134 | 1249771.2718 | 2677944.5359 | 1249782.0171 | 2677942.4016 | 1249783.2255
26 | 2678072.5297 | 1249706.9733 | 2678072.8304 | 1249706.81
27 | 2678016.5454 | 1249557.1667 | 2678019.6479 | 1249560.6656
28 | 2678016.5454 | 1249557.1667 | 2678007.919 | 1249547.0616
29 | 2678019.6479 | 1249560.6656 | 2678030.425 | 1249550.5457
30 | 2678019.6479 | 1249560.6656 | 2678040.0239 | 1249583.6392
31 | 2678019.6479 | 1249560.6656 | 2678011.1645 | 1249568.6447
32 | 2678006.9978 | 1249545.9826 | 2678007.919 | 1249547.0616
33 | 2678090.7218 | 1249697.0949 | 2678087.2583 | 1249698.9756
34 | 2677926.7018 | 1249792.115 | 2677931.189 | 1249789.5743
35 | 2677935.5015 | 1249787.1325 | 2677931.189 | 1249789.5743
36 | 2678087.2583 | 1249698.9756 | 2678072.8304 | 1249706.81
37 | 2677935.5015 | 1249787.1325 | 2677942.4016 | 1249783.2255
38 | 2678003.6348 | 1249621.244 | 2677989.8262 | 1249632.0921 | 2677986.4274 | 1249634.4821
39 | 2678003.6348 | 1249621.244 | 2678005.1387 | 1249620.0625 | 2678015.9724 | 1249610.3357
40 | 2678003.0575 | 1249576.2698 | 2678018.3705 | 1249593.4505 | 2678020.4584 | 1249597.1696 | 2678020.8868 | 1249600.7556 | 2678020.6038 | 1249604.4769 | 2678018.1742 | 1249608.3588 | 2678015.9724 | 1249610.3357
41 | 2678003.0575 | 1249576.2698 | 2678011.1645 | 1249568.6447
42 | 2678003.0575 | 1249576.2698 | 2677993.7674 | 1249584.8278
43 | 2677999.0034 | 1249574.5041 | 2678000.2878 | 1249573.2979 | 2678003.0575 | 1249576.2698
44 | 2677999.0034 | 1249574.5041 | 2677985.5049 | 1249586.0364
45 | 2677999.0034 | 1249574.5041 | 2677974.148 | 1249545.7949
46 | 2677985.5049 | 1249586.0364 | 2677975.1465 | 1249594.886
47 | 2677974.148 | 1249545.7949 | 2677968.6902 | 1249539.4908
48 | 2678040.0239 | 1249583.6392 | 2678044.4988 | 1249588.6846
49 | 2677968.6239 | 1249606.2944 | 2677958.4337 | 1249613.5101
50 | 2677965.836 | 1249602.4104 | 2677968.6239 | 1249606.2944
51 | 2677938.8798 | 1249616.7887 | 2677943.326 | 1249616.8695 | 2677946.8269 | 1249616.493 | 2677950.7572 | 1249615.6218 | 2677958.4337 | 1249613.5101
52 | 2677958.4337 | 1249613.5101 | 2677965.8956 | 1249624.1199
53 | 2677965.836 | 1249602.4104 | 2677963.3296 | 1249598.9305 | 2677958.9853 | 1249602.0089 | 2677953.9133 | 1249604.722 | 2677946.9594 | 1249606.4207 | 2677940.1595 | 1249606.7538 | 2677935.068 | 1249605.7861 | 2677928.8763 | 1249603.5031 | 2677925.5639 | 1249601.6026 | 2677922.6026 | 1249599.4176 | 2677920.3971 | 1249597.3344
54 | 2677965.836 | 1249602.4104 | 2677968.5106 | 1249600.5554 | 2677975.1465 | 1249594.886
55 | 2678006.9978 | 1249545.9826 | 2678003.06 | 1249541.3698
56 | 2677967.5976 | 1249538.2288 | 2677968.6902 | 1249539.4908
57 | 2677867.6192 | 1249663.4343 | 2677871.3946 | 1249660.8452 | 2677884.1787 | 1249652.0775
58 | 2677844.3788 | 1249652.2175 | 2677846.1569 | 1249654.8094 | 2677847.281 | 1249656.6032 | 2677851.5053 | 1249662.0849 | 2677853.4636 | 1249664.7459 | 2677857.2991 | 1249670.5116 | 2677867.6192 | 1249663.4343
59 | 2677900.5825 | 1249640.8273 | 2677884.1787 | 1249652.0775
60 | 2677757.9086 | 1249631.5899 | 2677773.2265 | 1249642.1096 | 2677780.1188 | 1249650.2727 | 2677791.5611 | 1249642.5505 | 2677816.5835 | 1249677.6378 | 2677844.3788 | 1249652.2175
61 | 2677913.9313 | 1249636.9755 | 2677913.9313 | 1249636.9755 | 2677907.6167 | 1249636.003 | 2677900.5825 | 1249640.8273
62 | 2677623.8122 | 1249740.3343 | 2677637.0161 | 1249732.4125 | 2677642.0373 | 1249730.0988 | 2677648.0991 | 1249727.3095 | 2677657.6402 | 1249722.909 | 2677667.284 | 1249717.0088 | 2677676.0907 | 1249711.6091 | 2677680.337 | 1249708.5069 | 2677690.0799 | 1249701.385 | 2677700.6463 | 1249693.6511 | 2677706.2276 | 1249690.0883 | 2677719.0851 | 1249678.0814 | 2677757.9086 | 1249631.5899
63 | 2677933.642 | 1249623.4929 | 2677913.9313 | 1249636.9755
64 | 2677905.9248 | 1249594.7061 | 2677893.223 | 1249580.5134
65 | 2677905.9248 | 1249594.7061 | 2677914.46 | 1249604.2364 | 2677918.0042 | 1249608.0302 | 2677919.2251 | 1249608.9886
66 | 2677893.223 | 1249580.5134 | 2677881.1138 | 1249566.9827
67 | 2677938.8798 | 1249616.7887 | 2677933.6781 | 1249616.1643 | 2677929.5247 | 1249615.0534 | 2677924.806 | 1249612.723 | 2677920.9862 | 1249610.3711 | 2677919.2251 | 1249608.9886
68 | 2677938.8798 | 1249616.7887 | 2677937.3602 | 1249620.9496 | 2677933.642 | 1249623.4929
69 | 2677881.1138 | 1249566.9827 | 2677877.8709 | 1249563.3591 | 2677872.0156 | 1249556.6424
70 | 2677920.3971 | 1249597.3344 | 2677919.3435 | 1249596.3392 | 2677908.1338 | 1249583.8589
71 | 2677871.2328 | 1249542.0433 | 2677882.6394 | 1249555.1664
72 | 2677882.6394 | 1249555.1664 | 2677889.6144 | 1249563.191 | 2677894.2296 | 1249568.3442
73 | 2677894.2296 | 1249568.3442 | 2677904.9214 | 1249580.2824 | 2677908.1338 | 1249583.8589
74 | 2677926.7335 | 1249494.0302 | 2677927.7883 | 1249495.2777
75 | 2677926.7335 | 1249494.0302 | 2677926.6245 | 1249493.9013
76 | 2677938.1124 | 1249507.4873 | 2677927.7883 | 1249495.2777
77 | 2677938.1124 | 1249507.4873 | 2677944.1502 | 1249514.6279 | 2677944.1502 | 1249514.6279
78 | 2677956.8548 | 1249525.8203 | 2677949.186 | 1249516.9624 | 2677944.1502 | 1249514.6279
79 | 2677956.8548 | 1249525.8203 | 2677967.5976 | 1249538.2288
80 | 2677862.8403 | 1249546.0896 | 2677864.4666 | 1249547.9829 | 2677872.0156 | 1249556.6424
81 | 2678003.06 | 1249541.3698 | 2677990.3597 | 1249526.4925
82 | 2677985.7838 | 1249521.1323 | 2677990.3597 | 1249526.4925
83 | 2677985.7838 | 1249521.1323 | 2677973.9151 | 1249507.2292
84 | 2677968.6621 | 1249501.0758 | 2677973.9151 | 1249507.2292
85 | 2678044.4988 | 1249588.6846 | 2678049.0963 | 1249593.8681
86 | 2678050.6214 | 1249595.5877 | 2678049.0963 | 1249593.8681

## bus_geodata
| x | y | coords
0 | 2677894.6918 | 1249690.3693
1 | 2677908.9503 | 1249681.8973
2 | 2677890.8416 | 1249692.6569
3 | 2677912.0129 | 1249680.0776
4 | 2677881.8984 | 1249696.794
5 | 2677930.5915 | 1249669.0388
6 | 2677869.301 | 1249698.3451
7 | 2677950.754 | 1249657.0589
8 | 2677969.4462 | 1249645.9527
9 | 2677996.4007 | 1249750.6986
10 | 2677995.782 | 1249751.0763
11 | 2677996.9621 | 1249750.356
12 | 2677977.5104 | 1249762.2283
13 | 2678027.5573 | 1249728.926
14 | 2677975.7156 | 1249763.3237
15 | 2678037.5605 | 1249723.2868
16 | 2677971.3717 | 1249765.9749
17 | 2678046.0404 | 1249718.8095
18 | 2677966.8581 | 1249768.6749
19 | 2678047.6004 | 1249717.9858
20 | 2678162.848 | 1249660.1689
21 | 2678074.7769 | 1249512.4339
22 | 2678104.6319 | 1249689.79
23 | 2677962.5134 | 1249771.2718
24 | 2678072.5297 | 1249706.9733
25 | 2678016.5454 | 1249557.1667
26 | 2678019.6479 | 1249560.6656
27 | 2678007.919 | 1249547.0616
28 | 2678030.425 | 1249550.5457
29 | 2678090.7218 | 1249697.0949
30 | 2677926.7018 | 1249792.115
31 | 2677931.189 | 1249789.5743
32 | 2678072.8304 | 1249706.81
33 | 2677935.5015 | 1249787.1325
34 | 2677942.4016 | 1249783.2255
35 | 2677986.4274 | 1249634.4821
36 | 2678003.6348 | 1249621.244
37 | 2678015.9724 | 1249610.3357
38 | 2678003.0575 | 1249576.2698
39 | 2678011.1645 | 1249568.6447
40 | 2677993.7674 | 1249584.8278
41 | 2677999.0034 | 1249574.5041
42 | 2677985.5049 | 1249586.0364
43 | 2677974.148 | 1249545.7949
44 | 2678040.0239 | 1249583.6392
45 | 2677968.6239 | 1249606.2944
46 | 2677958.4337 | 1249613.5101
47 | 2677965.836 | 1249602.4104
48 | 2678006.9978 | 1249545.9826
49 | 2677975.1465 | 1249594.886
50 | 2677968.6902 | 1249539.4908
51 | 2677867.6192 | 1249663.4343
52 | 2677884.1787 | 1249652.0775
53 | 2677844.3788 | 1249652.2175
54 | 2677900.5825 | 1249640.8273
55 | 2677757.9086 | 1249631.5899
56 | 2677913.9313 | 1249636.9755
57 | 2677905.9248 | 1249594.7061
58 | 2677893.223 | 1249580.5134
59 | 2677919.2251 | 1249608.9886
60 | 2677623.8122 | 1249740.3343
61 | 2677933.642 | 1249623.4929
62 | 2677881.1138 | 1249566.9827
63 | 2677938.8798 | 1249616.7887
64 | 2677965.8956 | 1249624.1199
65 | 2677920.3971 | 1249597.3344
66 | 2677871.2328 | 1249542.0433
67 | 2677882.6394 | 1249555.1664
68 | 2677894.2296 | 1249568.3442
69 | 2677908.1338 | 1249583.8589
70 | 2677926.7335 | 1249494.0302
71 | 2677927.7883 | 1249495.2777
72 | 2677926.6245 | 1249493.9013
73 | 2677938.1124 | 1249507.4873
74 | 2677944.1502 | 1249514.6279
75 | 2677956.8548 | 1249525.8203
76 | 2677967.5976 | 1249538.2288
77 | 2677862.8403 | 1249546.0896
78 | 2677872.0156 | 1249556.6424
79 | 2678003.06 | 1249541.3698
80 | 2677990.3597 | 1249526.4925
81 | 2677985.7838 | 1249521.1323
82 | 2677973.9151 | 1249507.2292
83 | 2677968.6621 | 1249501.0758
84 | 2678044.4988 | 1249588.6846
85 | 2678049.0963 | 1249593.8681
86 | 2678050.6214 | 1249595.5877
87 | 2678087.2583 | 1249698.9756
88 | 2677969.4462 | 1249645.9527

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9974 | -0.050071 | 0.0031381 | 0.00078647
1 | 0.99778 | -0.042642 | 0.0046839 | 0.0011739
2 | 0.9973 | -0.051832 | 0.0032468 | 0.00081372
3 | 0.99788 | -0.040755 | 0.0023377 | 0.00058589
4 | 0.99713 | -0.0552 | 0.0039817 | 0.00099792
5 | 0.99852 | -0.028432 | 0.002295 | 0.00057519
6 | 0.99695 | -0.058584 | 0.015208 | 0.0038116
7 | 0.99926 | -0.014136 | 0.0023798 | 0.00059643
8 | 1 | 0 | -0.36414 | -0.092964
9 | 0.97196 | -0.54088 | 0.0043731 | 0.001096
10 | 0.97193 | -0.54146 | 0.004299 | 0.0010774
11 | 0.97199 | -0.5403 | 0.0016774 | 0.0004204
12 | 0.97115 | -0.55689 | 0.0017518 | 0.00043904
13 | 0.97373 | -0.50598 | 0.026568 | 0.0066585
14 | 0.97107 | -0.55833 | 0.0046257 | 0.0011593
15 | 0.97454 | -0.48996 | 0 | 0
16 | 0.97092 | -0.56141 | 0.0046092 | 0.0011552
17 | 0.97522 | -0.4766 | 0.006388 | 0.001601
18 | 0.97078 | -0.56413 | 0.0045577 | 0.0011423
19 | 0.97536 | -0.47394 | 0.0040682 | 0.0010196
20 | 0.98162 | -0.35141 | 0 | 0
21 | 0.98896 | -0.20982 | 0 | 0
22 | 0.97918 | -0.39907 | 0.008904 | 0.0022316
23 | 0.97067 | -0.56633 | 0.0047726 | 0.0011961
24 | 0.97756 | -0.43083 | 0.019564 | 0.0049033
25 | 0.9917 | -0.15763 | 0 | 0
26 | 0.99175 | -0.15667 | 0 | 0
27 | 0.99156 | -0.16037 | 0.0017738 | 0.00044457
28 | 0.99119 | -0.16732 | 0.0015202 | 0.00038099
29 | 0.97862 | -0.40993 | 0.019412 | 0.0048652
30 | 0.97005 | -0.57856 | 0.0060395 | 0.0015136
31 | 0.97008 | -0.57799 | 0.005444 | 0.0013644
32 | 0.97759 | -0.43016 | 0.013421 | 0.0033636
33 | 0.97013 | -0.57693 | 0.0055262 | 0.001385
34 | 0.97026 | -0.57444 | 0.001702 | 0.00042656
35 | 0.99848 | -0.028613 | 0.0022592 | 0.00056621
36 | 0.99689 | -0.058796 | 0.0082657 | 0.0020716
37 | 0.99571 | -0.081157 | 0.0033132 | 0.00083037
38 | 0.99273 | -0.13802 | 0 | 0
39 | 0.99225 | -0.14716 | 0.0014582 | 0.00036545
40 | 0.99271 | -0.13835 | 0.0015178 | 0.0003804
41 | 0.99209 | -0.15024 | 0 | 0
42 | 0.99055 | -0.18001 | 0.0038361 | 0.00096142
43 | 0.99126 | -0.16644 | 0.0019815 | 0.00049662
44 | 0.99146 | -0.16222 | 0.0018799 | 0.00047114
45 | 0.98818 | -0.22598 | 0 | 0
46 | 0.98749 | -0.23938 | 0 | 0
47 | 0.98844 | -0.22085 | 0 | 0
48 | 0.99155 | -0.16062 | 0.0018078 | 0.00045307
49 | 0.98941 | -0.20199 | 0.0023893 | 0.00059881
50 | 0.99109 | -0.1697 | 0.0038283 | 0.00095946
51 | 0.98483 | -0.29121 | 0.0060717 | 0.0015217
52 | 0.98499 | -0.28796 | 0.0060141 | 0.0015073
53 | 0.98473 | -0.29305 | 0 | 0
54 | 0.98527 | -0.2826 | 0.0057965 | 0.0014527
55 | 0.9844 | -0.29956 | 0 | 0
56 | 0.98555 | -0.27702 | 0.0071157 | 0.0017834
57 | 0.98565 | -0.27508 | 0 | 0
58 | 0.98536 | -0.2808 | 0.0048307 | 0.0012107
59 | 0.98595 | -0.26921 | 0.0076614 | 0.0019201
60 | 0.98393 | -0.30874 | 0.0029179 | 0.0007313
61 | 0.98617 | -0.26506 | 0.0049825 | 0.0012487
62 | 0.98516 | -0.28469 | 0.0039473 | 0.00098928
63 | 0.98644 | -0.25979 | 0 | 0
64 | 0.98745 | -0.24006 | 0.0028969 | 0.00072604
65 | 0.98711 | -0.24677 | 0.0041221 | 0.0010331
66 | 0.98609 | -0.26656 | 0.0066777 | 0.0016736
67 | 0.9862 | -0.26448 | 0.0041358 | 0.0010365
68 | 0.98637 | -0.26108 | 0.0065995 | 0.001654
69 | 0.98671 | -0.25458 | 0.006555 | 0.0016428
70 | 0.99047 | -0.18162 | 0.0012446 | 0.00031193
71 | 0.99048 | -0.18155 | 0.0011895 | 0.00029812
72 | 0.99047 | -0.18162 | 0.0011999 | 0.00030072
73 | 0.99053 | -0.18051 | 0.0043896 | 0.0011001
74 | 0.9906 | -0.17918 | 0.006048 | 0.0015158
75 | 0.99082 | -0.17487 | 0.0018004 | 0.00045122
76 | 0.99106 | -0.17024 | 0.002378 | 0.00059599
77 | 0.98501 | -0.28768 | 0.0040432 | 0.0010133
78 | 0.98506 | -0.28666 | 0.0039244 | 0.00098354
79 | 0.9915 | -0.16149 | 0.0015759 | 0.00039495
80 | 0.99138 | -0.16374 | 0.0013262 | 0.00033238
81 | 0.99135 | -0.16438 | 0.0013372 | 0.00033514
82 | 0.99129 | -0.16562 | 0.0021395 | 0.00053621
83 | 0.99128 | -0.16586 | 0.0016808 | 0.00042125
84 | 0.99141 | -0.16322 | 0.0015419 | 0.00038643
85 | 0.99137 | -0.16405 | 0.0014931 | 0.0003742
86 | 0.99136 | -0.16427 | 0.0052912 | 0.0013261
87 | 0.9785 | -0.41231 | 0.013213 | 0.0033116
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025582 | -0.0064141 | 0.025591 | 0.0064197 | 9.0603e-06 | 5.5821e-06 | 0.038167 | 0.038167 | 0.038167 | 0.9974 | -0.050071 | 0.99778 | -0.042642 | 10.4855
1 | 0.022444 | 0.0056276 | -0.022442 | -0.0056265 | 1.8831e-06 | 1.1468e-06 | 0.033486 | 0.033486 | 0.033486 | 0.9974 | -0.050071 | 0.9973 | -0.051832 | 9.1994
2 | -0.030275 | -0.0075936 | 0.030278 | 0.0075953 | 2.7235e-06 | 1.6965e-06 | 0.045152 | 0.045152 | 0.045152 | 0.99778 | -0.042642 | 0.99788 | -0.040755 | 12.4045
3 | 0.019196 | 0.0048127 | -0.019193 | -0.0048109 | 3.0805e-06 | 1.8409e-06 | 0.028641 | 0.028641 | 0.028641 | 0.9973 | -0.051832 | 0.99713 | -0.0552 | 7.8685
4 | -0.032616 | -0.0081811 | 0.032635 | 0.0081931 | 1.9171e-05 | 1.1987e-05 | 0.048638 | 0.048638 | 0.048638 | 0.99788 | -0.040755 | 0.99852 | -0.028432 | 13.3622
5 | 0.015211 | 0.003813 | -0.015208 | -0.0038116 | 2.4525e-06 | 1.4041e-06 | 0.022699 | 0.0227 | 0.0227 | 0.99713 | -0.0552 | 0.99695 | -0.058584 | 6.2361
6 | -0.03493 | -0.0087683 | 0.034954 | 0.0087833 | 2.3835e-05 | 1.4947e-05 | 0.052058 | 0.052058 | 0.052058 | 0.99852 | -0.028432 | 0.99926 | -0.014136 | 14.3017
7 | -0.037334 | -0.0093797 | 0.037359 | 0.0093955 | 2.5207e-05 | 1.5848e-05 | 0.055602 | 0.055602 | 0.055602 | 0.99926 | -0.014136 | 1 | 0 | 15.2753
8 | 0.32513 | 0.083568 | -0.32468 | -0.08328 | 0.00045129 | 0.00028775 | 0.48454 | 0.48454 | 0.48454 | 1 | 0 | 0.99848 | -0.028613 | 33.2786
9 | 0.043381 | 0.010892 | -0.04338 | -0.010891 | 1.1993e-06 | 7.5855e-07 | 0.066421 | 0.066421 | 0.066421 | 0.97196 | -0.54088 | 0.97193 | -0.54146 | 18.2476
10 | -0.047754 | -0.011988 | 0.047756 | 0.011989 | 1.3184e-06 | 8.3561e-07 | 0.073116 | 0.073116 | 0.073116 | 0.97196 | -0.54088 | 0.97199 | -0.5403 | 20.0869
11 | 0.039081 | 0.0098139 | -0.039052 | -0.0097958 | 2.8744e-05 | 1.8131e-05 | 0.05984 | 0.05984 | 0.05984 | 0.97193 | -0.54146 | 0.97115 | -0.55689 | 16.4395
12 | -0.049433 | -0.012409 | 0.049514 | 0.012461 | 8.1069e-05 | 5.1416e-05 | 0.075684 | 0.075684 | 0.075684 | 0.97199 | -0.5403 | 0.97373 | -0.50598 | 20.7924
13 | 0.0373 | 0.0093568 | -0.037298 | -0.0093551 | 2.5759e-06 | 1.6225e-06 | 0.057156 | 0.057156 | 0.057156 | 0.97115 | -0.55689 | 0.97107 | -0.55833 | 15.7021
14 | -0.076082 | -0.019119 | 0.07614 | 0.019156 | 5.8228e-05 | 3.7123e-05 | 0.11628 | 0.11628 | 0.11628 | 0.97373 | -0.50598 | 0.97454 | -0.48996 | 31.9462
15 | 0.032672 | 0.0081958 | -0.032667 | -0.0081928 | 4.7838e-06 | 2.9987e-06 | 0.050068 | 0.050068 | 0.050068 | 0.97107 | -0.55833 | 0.97092 | -0.56141 | 13.7548
16 | -0.07614 | -0.019156 | 0.076189 | 0.019187 | 4.8625e-05 | 3.1e-05 | 0.11628 | 0.11628 | 0.11628 | 0.97454 | -0.48996 | 0.97522 | -0.4766 | 31.9461
17 | 0.028058 | 0.0070377 | -0.028055 | -0.0070354 | 3.6475e-06 | 2.2693e-06 | 0.043004 | 0.043004 | 0.043004 | 0.97092 | -0.56141 | 0.97078 | -0.56413 | 11.8142
18 | -0.082577 | -0.020788 | 0.082587 | 0.020795 | 1.0508e-05 | 6.7029e-06 | 0.12603 | 0.12603 | 0.12603 | 0.97522 | -0.4766 | 0.97536 | -0.47394 | 34.6239
19 | 0.023497 | 0.0058931 | -0.023494 | -0.0058916 | 2.4624e-06 | 1.5133e-06 | 0.036018 | 0.036018 | 0.036018 | 0.97078 | -0.56413 | 0.97067 | -0.56633 | 9.8949
20 | -0.086655 | -0.021815 | 0.086834 | 0.021929 | 0.000179 | 0.00011422 | 0.13224 | 0.13224 | 0.13224 | 0.97536 | -0.47394 | 0.97756 | -0.43083 | 36.3289
21 | -0.16192 | -0.040964 | 0.16303 | 0.041663 | 0.0011083 | 0.0006993 | 0.24559 | 0.24558 | 0.24559 | 0.98162 | -0.35141 | 0.98896 | -0.20982 | 16.8671
22 | 0.16192 | 0.040964 | -0.16155 | -0.040731 | 0.00036933 | 0.00023308 | 0.24559 | 0.24559 | 0.24559 | 0.98162 | -0.35141 | 0.97918 | -0.39907 | 16.8672
23 | -0.16303 | -0.041663 | 0.16336 | 0.041875 | 0.00033585 | 0.00021189 | 0.24558 | 0.24558 | 0.24558 | 0.98896 | -0.20982 | 0.99119 | -0.16732 | 16.8669
24 | 0.15265 | 0.038499 | -0.15257 | -0.038449 | 7.9326e-05 | 4.9978e-05 | 0.23206 | 0.23206 | 0.23206 | 0.97918 | -0.39907 | 0.97862 | -0.40993 | 15.9379
25 | 0.018722 | 0.0046955 | -0.018715 | -0.0046912 | 7.2275e-06 | 4.3365e-06 | 0.028701 | 0.028701 | 0.028701 | 0.97067 | -0.56633 | 0.97026 | -0.57444 | 7.885
26 | -0.1064 | -0.026832 | 0.1064 | 0.026834 | 3.3684e-06 | 2.1515e-06 | 0.16202 | 0.16202 | 0.16202 | 0.97756 | -0.43083 | 0.97759 | -0.43016 | 44.5103
27 | -0.011644 | -0.0029186 | 0.011645 | 0.0029189 | 5.346e-07 | 2.8189e-07 | 0.017472 | 0.017472 | 0.017472 | 0.9917 | -0.15763 | 0.99175 | -0.15667 | 4.8
28 | 0.011644 | 0.0029186 | -0.011643 | -0.0029178 | 1.521e-06 | 8.0202e-07 | 0.017472 | 0.017472 | 0.017472 | 0.9917 | -0.15763 | 0.99156 | -0.16037 | 4.8
29 | 0.16497 | 0.04231 | -0.16488 | -0.042256 | 8.5149e-05 | 5.3732e-05 | 0.24786 | 0.24786 | 0.24786 | 0.99175 | -0.15667 | 0.99119 | -0.16732 | 17.0235
30 | 0.010209 | 0.0025595 | -0.010207 | -0.0025581 | 2.7022e-06 | 1.3333e-06 | 0.015318 | 0.015319 | 0.015319 | 0.99175 | -0.15667 | 0.99146 | -0.16222 | 4.2084
31 | -0.18682 | -0.047788 | 0.18691 | 0.047843 | 8.5999e-05 | 5.4438e-05 | 0.28065 | 0.28065 | 0.28065 | 0.99175 | -0.15667 | 0.99225 | -0.14716 | 19.2756
32 | 0.0098689 | 0.0024732 | -0.0098688 | -0.0024731 | 1.167e-07 | 5.6387e-08 | 0.01481 | 0.01481 | 0.01481 | 0.99156 | -0.16037 | 0.99155 | -0.16062 | 4.0687
33 | 0.13315 | 0.033584 | -0.13314 | -0.033575 | 1.5157e-05 | 9.5023e-06 | 0.20254 | 0.20254 | 0.20254 | 0.97862 | -0.40993 | 0.9785 | -0.41231 | 13.9107
34 | -0.0060395 | -0.0015136 | 0.0060397 | 0.0015137 | 1.6597e-07 | 4.2558e-08 | 0.0092644 | 0.0092643 | 0.0092644 | 0.97005 | -0.57856 | 0.97008 | -0.57799 | 2.5452
35 | -0.011484 | -0.0028781 | 0.011484 | 0.0028784 | 5.7665e-07 | 3.0787e-07 | 0.017615 | 0.017615 | 0.017615 | 0.97008 | -0.57799 | 0.97013 | -0.57693 | 4.8393
36 | -0.11982 | -0.030198 | 0.11993 | 0.030263 | 0.00010247 | 6.5167e-05 | 0.18245 | 0.18245 | 0.18245 | 0.97759 | -0.43016 | 0.9785 | -0.41231 | 25.0612
37 | -0.017011 | -0.0042634 | 0.017013 | 0.0042646 | 2.0242e-06 | 1.1976e-06 | 0.026091 | 0.026091 | 0.026091 | 0.97013 | -0.57693 | 0.97026 | -0.57444 | 7.1679
38 | 0.32242 | 0.082714 | -0.32195 | -0.082414 | 0.00047134 | 0.00030052 | 0.48117 | 0.48117 | 0.48117 | 0.99848 | -0.028613 | 0.99689 | -0.058796 | 33.0474
39 | 0.31368 | 0.080342 | -0.31334 | -0.080126 | 0.00033943 | 0.00021638 | 0.46883 | 0.46883 | 0.46883 | 0.99689 | -0.058796 | 0.99571 | -0.081157 | 32.2
40 | 0.31003 | 0.079295 | -0.30918 | -0.078753 | 0.00085056 | 0.00054217 | 0.46388 | 0.46388 | 0.46388 | 0.99571 | -0.081157 | 0.99273 | -0.13802 | 31.86
41 | 0.18845 | 0.048261 | -0.18837 | -0.048208 | 8.3469e-05 | 5.2845e-05 | 0.28284 | 0.28284 | 0.28284 | 0.99273 | -0.13802 | 0.99225 | -0.14716 | 19.4258
42 | 0.0015178 | 0.00038025 | -0.0015178 | -0.0003804 | 2.4517e-08 | -1.4762e-07 | 0.0022751 | 0.0022751 | 0.0022751 | 0.99273 | -0.13802 | 0.99271 | -0.13835 | 0.62503
43 | 0.11921 | 0.030112 | -0.11914 | -0.030067 | 6.9803e-05 | 4.4598e-05 | 0.17877 | 0.17877 | 0.17877 | 0.99273 | -0.13802 | 0.99209 | -0.15024 | 49.1124
44 | 0.095051 | 0.02402 | -0.094915 | -0.023933 | 0.00013545 | 8.6458e-05 | 0.14263 | 0.14263 | 0.14263 | 0.99209 | -0.15024 | 0.99055 | -0.18001 | 39.1853
45 | 0.024089 | 0.0060475 | -0.024071 | -0.0060361 | 1.8594e-05 | 1.141e-05 | 0.036135 | 0.036135 | 0.036135 | 0.99209 | -0.15024 | 0.99126 | -0.16644 | 9.9272
46 | 0.091079 | 0.022972 | -0.090983 | -0.022911 | 9.5711e-05 | 6.108e-05 | 0.13687 | 0.13687 | 0.13687 | 0.99055 | -0.18001 | 0.98941 | -0.20199 | 37.6021
47 | 0.022089 | 0.0055395 | -0.022086 | -0.0055374 | 3.4384e-06 | 2.0931e-06 | 0.03316 | 0.03316 | 0.03316 | 0.99126 | -0.16644 | 0.99109 | -0.1697 | 9.11
48 | 0.0083269 | 0.002087 | -0.0083265 | -0.0020868 | 3.9499e-07 | 1.6582e-07 | 0.012497 | 0.012497 | 0.012497 | 0.99146 | -0.16222 | 0.99141 | -0.16322 | 3.4333
49 | 0.060358 | 0.01518 | -0.060319 | -0.015156 | 3.862e-05 | 2.4557e-05 | 0.090907 | 0.090907 | 0.090907 | 0.98818 | -0.22598 | 0.98749 | -0.23938 | 24.9744
50 | -0.060358 | -0.01518 | 0.060373 | 0.01519 | 1.4801e-05 | 9.4114e-06 | 0.090907 | 0.090907 | 0.090907 | 0.98818 | -0.22598 | 0.98844 | -0.22085 | 24.9744
51 | 0.057422 | 0.01443 | -0.057366 | -0.014394 | 5.5887e-05 | 3.5513e-05 | 0.086542 | 0.086542 | 0.086542 | 0.98749 | -0.23938 | 0.98644 | -0.25979 | 23.7752
52 | 0.002897 | 0.00072593 | -0.0028969 | -0.00072604 | 9.2696e-08 | -1.0661e-07 | 0.0043654 | 0.0043655 | 0.0043655 | 0.98749 | -0.23938 | 0.98745 | -0.24006 | 1.1993
53 | 0.028142 | 0.0070714 | -0.028107 | -0.0070498 | 3.4771e-05 | 2.1593e-05 | 0.042372 | 0.042372 | 0.042372 | 0.98844 | -0.22085 | 0.98711 | -0.24677 | 11.6406
54 | -0.088514 | -0.022261 | 0.088594 | 0.022312 | 7.982e-05 | 5.0931e-05 | 0.13328 | 0.13328 | 0.13328 | 0.98844 | -0.22085 | 0.98941 | -0.20199 | 36.615
55 | 0.008061 | 0.0020201 | -0.0080607 | -0.0020199 | 3.3283e-07 | 1.3479e-07 | 0.012097 | 0.012097 | 0.012097 | 0.99155 | -0.16062 | 0.9915 | -0.16149 | 3.3234
56 | 0.018258 | 0.0045779 | -0.018257 | -0.0045776 | 4.7038e-07 | 2.7953e-07 | 0.027413 | 0.027413 | 0.027413 | 0.99109 | -0.1697 | 0.99106 | -0.17024 | 7.5309
57 | -0.0089921 | -0.0022503 | 0.0089935 | 0.002251 | 1.3897e-06 | 6.3389e-07 | 0.013585 | 0.013585 | 0.013585 | 0.98483 | -0.29121 | 0.98499 | -0.28796 | 3.7323
58 | 0.0029204 | 0.00072862 | -0.0029201 | -0.0007289 | 2.5486e-07 | -2.8122e-07 | 0.0044113 | 0.0044115 | 0.0044115 | 0.98483 | -0.29121 | 0.98473 | -0.29305 | 1.2119
59 | -0.015008 | -0.0037583 | 0.015011 | 0.0037605 | 3.8337e-06 | 2.2003e-06 | 0.022671 | 0.022671 | 0.022671 | 0.98499 | -0.28796 | 0.98527 | -0.2826 | 6.2282
60 | 0.0029201 | 0.0007289 | -0.0029192 | -0.0007299 | 9.0384e-07 | -9.9637e-07 | 0.0044115 | 0.0044121 | 0.0044121 | 0.98473 | -0.29305 | 0.9844 | -0.29956 | 1.2121
61 | -0.020808 | -0.0052132 | 0.020814 | 0.0052166 | 5.5247e-06 | 3.3458e-06 | 0.031425 | 0.031425 | 0.031425 | 0.98527 | -0.2826 | 0.98555 | -0.27702 | 8.6332
62 | 0.0029192 | 0.0007299 | -0.0029179 | -0.0007313 | 1.2752e-06 | -1.4032e-06 | 0.0044121 | 0.0044128 | 0.0044128 | 0.9844 | -0.29956 | 0.98393 | -0.30874 | 1.2123
63 | -0.027929 | -0.0069999 | 0.027945 | 0.0070098 | 1.5924e-05 | 9.8869e-06 | 0.042169 | 0.042168 | 0.042169 | 0.98555 | -0.27702 | 0.98617 | -0.26506 | 11.5848
64 | 0.016753 | 0.0042009 | -0.016749 | -0.0041982 | 4.5692e-06 | 2.6816e-06 | 0.025293 | 0.025293 | 0.025293 | 0.98565 | -0.27508 | 0.98536 | -0.2808 | 6.9486
65 | -0.016753 | -0.0042009 | 0.016758 | 0.0042037 | 4.6869e-06 | 2.7505e-06 | 0.025293 | 0.025293 | 0.025293 | 0.98565 | -0.27508 | 0.98595 | -0.26921 | 6.9485
66 | 0.011918 | 0.0029876 | -0.011916 | -0.0029864 | 2.2057e-06 | 1.1804e-06 | 0.017998 | 0.017998 | 0.017998 | 0.98536 | -0.2808 | 0.98516 | -0.28469 | 4.9445
67 | -0.024419 | -0.0061238 | 0.02443 | 0.0061305 | 1.0965e-05 | 6.7427e-06 | 0.036855 | 0.036855 | 0.036855 | 0.98595 | -0.26921 | 0.98644 | -0.25979 | 10.1251
68 | -0.032928 | -0.0082585 | 0.032936 | 0.0082637 | 8.2714e-06 | 5.1796e-06 | 0.049686 | 0.049686 | 0.049686 | 0.98617 | -0.26506 | 0.98644 | -0.25979 | 13.6501
69 | 0.0079685 | 0.0019971 | -0.0079677 | -0.0019968 | 7.4822e-07 | 3.035e-07 | 0.012036 | 0.012036 | 0.012036 | 0.98516 | -0.28469 | 0.98506 | -0.28666 | 3.3066
70 | 0.023985 | 0.0060167 | -0.023976 | -0.0060112 | 8.9351e-06 | 5.4856e-06 | 0.036158 | 0.036158 | 0.036158 | 0.98711 | -0.24677 | 0.98671 | -0.25458 | 9.9335
71 | -0.0066777 | -0.0016736 | 0.0066784 | 0.0016738 | 6.6208e-07 | 2.0189e-07 | 0.010077 | 0.010077 | 0.010077 | 0.98609 | -0.26656 | 0.9862 | -0.26448 | 2.7683
72 | -0.010814 | -0.0027103 | 0.010816 | 0.0027112 | 1.7522e-06 | 8.9743e-07 | 0.016317 | 0.016317 | 0.016317 | 0.9862 | -0.26448 | 0.98637 | -0.26108 | 4.4827
73 | -0.017415 | -0.0043652 | 0.017421 | 0.0043684 | 5.3926e-06 | 3.1853e-06 | 0.026273 | 0.026273 | 0.026273 | 0.98637 | -0.26108 | 0.98671 | -0.25458 | 7.2178
74 | -0.0024445 | -0.00061265 | 0.0024445 | 0.00061263 | 8.2618e-09 | -1.5738e-08 | 0.0036724 | 0.0036724 | 0.0036724 | 0.99047 | -0.18162 | 0.99048 | -0.18155 | 1.0089
75 | 0.0011999 | 0.00030071 | -0.0011999 | -0.00030072 | 2.0603e-10 | -2.0412e-09 | 0.0018026 | 0.0018026 | 0.0018026 | 0.99047 | -0.18162 | 0.99047 | -0.18162 | 0.49522
76 | -0.003634 | -0.00091075 | 0.0036342 | 0.00091066 | 1.7871e-07 | -9.143e-08 | 0.0054594 | 0.0054594 | 0.0054594 | 0.99048 | -0.18155 | 0.99053 | -0.18051 | 1.4998
77 | -0.0080238 | -0.0020108 | 0.0080243 | 0.002011 | 5.0948e-07 | 2.0569e-07 | 0.012054 | 0.012054 | 0.012054 | 0.99053 | -0.18051 | 0.9906 | -0.17918 | 3.3114
78 | -0.014072 | -0.0035268 | 0.014075 | 0.0035284 | 2.8933e-06 | 1.6294e-06 | 0.021138 | 0.021138 | 0.021138 | 0.9906 | -0.17918 | 0.99082 | -0.17487 | 5.8073
79 | -0.015876 | -0.0039796 | 0.015879 | 0.0039817 | 3.4987e-06 | 2.0277e-06 | 0.023842 | 0.023842 | 0.023842 | 0.99082 | -0.17487 | 0.99106 | -0.17024 | 6.5501
80 | -0.0040432 | -0.0010133 | 0.0040434 | 0.0010133 | 1.9563e-07 | -5.2804e-08 | 0.0061079 | 0.0061078 | 0.0061079 | 0.98501 | -0.28768 | 0.98506 | -0.28666 | 1.678
81 | 0.0064848 | 0.001625 | -0.0064841 | -0.0016248 | 6.9477e-07 | 1.924e-07 | 0.0097321 | 0.0097322 | 0.0097322 | 0.9915 | -0.16149 | 0.99138 | -0.16374 | 2.6737
82 | 0.0051579 | 0.0012924 | -0.0051577 | -0.0012924 | 1.584e-07 | 1.0503e-08 | 0.0077416 | 0.0077417 | 0.0077417 | 0.99138 | -0.16374 | 0.99135 | -0.16438 | 2.1268
83 | 0.0038205 | 0.00095727 | -0.0038203 | -0.00095736 | 2.2543e-07 | -9.1401e-08 | 0.0057345 | 0.0057346 | 0.0057346 | 0.99135 | -0.16438 | 0.99129 | -0.16562 | 1.5754
84 | 0.0016808 | 0.00042115 | -0.0016808 | -0.00042125 | 1.9313e-08 | -9.194e-08 | 0.002523 | 0.0025231 | 0.0025231 | 0.99129 | -0.16562 | 0.99128 | -0.16586 | 0.69315
85 | 0.0067846 | 0.0017004 | -0.0067843 | -0.0017003 | 2.6942e-07 | 8.3091e-08 | 0.010183 | 0.010183 | 0.010183 | 0.99141 | -0.16322 | 0.99137 | -0.16405 | 2.7976
86 | 0.0052913 | 0.0013261 | -0.0052912 | -0.0013261 | 5.4367e-08 | 5.1593e-09 | 0.007942 | 0.0079421 | 0.0079421 | 0.99137 | -0.16405 | 0.99136 | -0.16427 | 2.1819

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36641 | 0.093533

## res_load
| p_mw | q_mvar
0 | 0.0031381 | 0.00078647
1 | 0.0046839 | 0.0011739
2 | 0.0032468 | 0.00081372
3 | 0.0023377 | 0.00058589
4 | 0.0039817 | 0.00099792
5 | 0.002295 | 0.00057519
6 | 0.015208 | 0.0038116
7 | 0.0023798 | 0.00059643
8 | 0.0022716 | 0.00056931
9 | 0.0043731 | 0.001096
10 | 0.004299 | 0.0010774
11 | 0.0016774 | 0.0004204
12 | 0.0017518 | 0.00043904
13 | 0.026568 | 0.0066585
14 | 0.0046257 | 0.0011593
15 | 0.0046092 | 0.0011552
16 | 0.006388 | 0.001601
17 | 0.0045577 | 0.0011423
18 | 0.0040682 | 0.0010196
19 | 0.008904 | 0.0022316
20 | 0.0047726 | 0.0011961
21 | 0.019564 | 0.0049033
22 | 0.0017738 | 0.00044457
23 | 0.0015202 | 0.00038099
24 | 0.019412 | 0.0048652
25 | 0.0060395 | 0.0015136
26 | 0.005444 | 0.0013644
27 | 0.013421 | 0.0033636
28 | 0.0055262 | 0.001385
29 | 0.001702 | 0.00042656
30 | 0.0022592 | 0.00056621
31 | 0.0082657 | 0.0020716
32 | 0.0033132 | 0.00083037
33 | 0.0014582 | 0.00036545
34 | 0.0015178 | 0.0003804
35 | 0.0038361 | 0.00096142
36 | 0.0019815 | 0.00049662
37 | 0.0018799 | 0.00047114
38 | 0.0018078 | 0.00045307
39 | 0.0023893 | 0.00059881
40 | 0.0038283 | 0.00095946
41 | 0.0060717 | 0.0015217
42 | 0.0060141 | 0.0015073
43 | 0.0057965 | 0.0014527
44 | 0.0071157 | 0.0017834
45 | 0.0048307 | 0.0012107
46 | 0.0076614 | 0.0019201
47 | 0.0029179 | 0.0007313
48 | 0.0049825 | 0.0012487
49 | 0.0039473 | 0.00098928
50 | 0.0028969 | 0.00072604
51 | 0.0041221 | 0.0010331
52 | 0.0066777 | 0.0016736
53 | 0.0041358 | 0.0010365
54 | 0.0065995 | 0.001654
55 | 0.006555 | 0.0016428
56 | 0.0012446 | 0.00031193
57 | 0.0011895 | 0.00029812
58 | 0.0011999 | 0.00030072
59 | 0.0043896 | 0.0011001
60 | 0.006048 | 0.0015158
61 | 0.0018004 | 0.00045122
62 | 0.002378 | 0.00059599
63 | 0.0040432 | 0.0010133
64 | 0.0039244 | 0.00098354
65 | 0.0015759 | 0.00039495
66 | 0.0013262 | 0.00033238
67 | 0.0013372 | 0.00033514
68 | 0.0021395 | 0.00053621
69 | 0.0016808 | 0.00042125
70 | 0.0015419 | 0.00038643
71 | 0.0014931 | 0.0003742
72 | 0.0052912 | 0.0013261
73 | 0.013213 | 0.0033116

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1