## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-625_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-625_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-625_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-625_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-625_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-625_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_261-625_0_6_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_261-625_0_6_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_261-625_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-625_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_261-625_0_6_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_261-625_0_6_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_261-625_0_6_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_261-625_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-625_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_261-625_0_6_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_261-625_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-625_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_261-625_0_6_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_261-625_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_261-625_0_6_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_261-625_0_6_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_261-625_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-625_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-625_0_6_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_261-625_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_261-625_0_6_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_261-625_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_261-625_0_6_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_261-625_0_6_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_261-625_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_261-625_0_6_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_261-625_0_6_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_261-625_0_6_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_261-625_0_6_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_261-625_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_261-625_0_6_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_261-625_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_261-625_0_6_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_261-625_0_6_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_261-625_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_261-625_0_6_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_261-625_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_261-625_0_6_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_261-625_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_261-625_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_261-625_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_261-625_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_261-625_0_6_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_261-625_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_261-625_0_6_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_261-625_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_261-625_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_261-625_0_6_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_261-625_0_6_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_261-625_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_261-625_0_6_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_261-625_0_6_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_261-625_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_261-625_0_6_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_261-625_0_6_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_261-625_0_6_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_261-625_0_6_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_261-625_0_6_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_261-625_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_261-625_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_261-625_0_6_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_261-625_0_6_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_261-625_0_6_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_261-625_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_261-625_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_261-625_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_MV_389_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-625_0_6_load_0 | 0 | 0.008068 | 0.002022 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-625_0_6_load_1 | 1 | 0.012117 | 0.0030368 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-625_0_6_load_4 | 4 | 0.0063923 | 0.0016021 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-625_0_6_load_75 | 6 | 0.010878 | 0.0027264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-625_0_6_load_76 | 11 | 0.0071916 | 0.0018024 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-625_0_6_load_46 | 15 | 0.0070501 | 0.0017669 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-625_0_6_load_57 | 18 | 0.0049189 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-625_0_6_load_60 | 20 | 0.0073743 | 0.0018482 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-625_0_6_load_58 | 21 | 0.013865 | 0.0034749 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-625_0_6_load_35 | 24 | 0.009222 | 0.0023112 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-625_0_6_load_39 | 26 | 0.05605 | 0.014048 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-625_0_6_load_69 | 28 | 0.0074712 | 0.0018724 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-625_0_6_load_31 | 29 | 0.027777 | 0.0069615 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-625_0_6_load_63 | 31 | 0.004036 | 0.0010115 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-625_0_6_load_48 | 34 | 0.013492 | 0.0033815 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-625_0_6_load_33 | 35 | 0.017291 | 0.0043336 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-625_0_6_load_64 | 36 | 0.0073994 | 0.0018545 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-625_0_6_load_50 | 38 | 0.0067329 | 0.0016874 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-625_0_6_load_70 | 39 | 0.007854 | 0.0019684 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-625_0_6_load_74 | 41 | 0.0054693 | 0.0013707 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-625_0_6_load_72 | 43 | 0.0055866 | 0.0014001 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-625_0_6_load_32 | 44 | 0.0051192 | 0.001283 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-625_0_6_load_36 | 46 | 0.041809 | 0.010478 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-625_0_6_load_68 | 48 | 0.0063412 | 0.0015893 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-625_0_6_load_62 | 50 | 0.009952 | 0.0024942 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-625_0_6_load_56 | 51 | 0.011665 | 0.0029235 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-625_0_6_load_53 | 52 | 0.013185 | 0.0033046 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-625_0_6_load_67 | 54 | 0.012265 | 0.003074 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-625_0_6_load_66 | 55 | 0.010153 | 0.0025446 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-625_0_6_load_65 | 56 | 0.0067405 | 0.0016893 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-625_0_6_load_71 | 57 | 0.0067264 | 0.0016858 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-625_0_6_load_47 | 58 | 0.006121 | 0.0015341 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-625_0_6_load_45 | 59 | 0.014043 | 0.0035196 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-625_0_6_load_73 | 60 | 0.0051187 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-625_0_6_load_77 | 61 | 0.0072188 | 0.0018092 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-625_0_6_load_78 | 62 | 0.0078659 | 0.0019714 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-625_0_6_load_37 | 63 | 0.023427 | 0.0058713 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-625_0_6_load_59 | 64 | 0.010719 | 0.0026865 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-625_0_6_load_61 | 65 | 0.0045413 | 0.0011381 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-625_0_6_load_41 | 66 | 0.01064 | 0.0026665 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-625_0_6_load_42 | 67 | 0.010452 | 0.0026196 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-625_0_6_load_44 | 68 | 0.012885 | 0.0032292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-625_0_6_load_51 | 69 | 0.005041 | 0.0012634 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-625_0_6_load_55 | 71 | 0.0073042 | 0.0018306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-625_0_6_line_0 |  | 0 | 1 | 0.033692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_261-625_0_6_line_1 |  | 0 | 2 | 0.046605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_261-625_0_6_line_2 |  | 1 | 3 | 0.020638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_261-625_0_6_line_3 |  | 2 | 4 | 0.030865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_261-625_0_6_line_4 |  | 3 | 5 | 0.06995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_261-625_0_6_line_5 |  | 3 | 6 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-625_0_6_line_6 |  | 4 | 7 | 0.012165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_261-625_0_6_line_7 |  | 5 | 12 | 0.031474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_261-625_0_6_line_8 |  | 7 | 40 | 0.059826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_261-625_0_6_line_9 |  | 8 | 9 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-625_0_6_line_10 |  | 8 | 10 | 0.026669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-625_0_6_line_11 |  | 8 | 11 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-625_0_6_line_12 |  | 9 | 27 | 0.02556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-625_0_6_line_13 |  | 9 | 28 | 0.0028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-625_0_6_line_14 |  | 10 | 45 | 0.014192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-625_0_6_line_15 |  | 12 | 46 | 0.024296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_261-625_0_6_line_16 |  | 12 | 37 | 0.003962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-625_0_6_line_17 |  | 13 | 14 | 0.050661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_261-625_0_6_line_18 |  | 13 | 15 | 0.010577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_261-625_0_6_line_19 |  | 14 | 25 | 0.02417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_261-625_0_6_line_20 |  | 14 | 26 | 0.043581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-625_0_6_line_21 |  | 15 | 47 | 0.050934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_261-625_0_6_line_22 |  | 16 | 17 | 0.029358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-625_0_6_line_23 |  | 16 | 18 | 0.012514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-625_0_6_line_24 |  | 17 | 30 | 0.019582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-625_0_6_line_25 |  | 17 | 31 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-625_0_6_line_26 |  | 19 | 20 | 0.033896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-625_0_6_line_27 |  | 19 | 21 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-625_0_6_line_28 |  | 20 | 48 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-625_0_6_line_29 |  | 21 | 49 | 0.016088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_261-625_0_6_line_30 |  | 22 | 23 | 0.026034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-625_0_6_line_31 |  | 22 | 24 | 0.025068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-625_0_6_line_32 |  | 23 | 25 | 0.031118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_261-625_0_6_line_33 |  | 23 | 29 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_261-625_0_6_line_34 |  | 25 | 35 | 0.024039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-625_0_6_line_35 |  | 27 | 36 | 0.034872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-625_0_6_line_36 |  | 28 | 48 | 0.057841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-625_0_6_line_37 |  | 29 | 44 | 0.043004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_261-625_0_6_line_38 |  | 30 | 39 | 0.019495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-625_0_6_line_39 |  | 31 | 50 | 0.0040127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-625_0_6_line_40 |  | 32 | 33 | 0.030801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-625_0_6_line_41 |  | 32 | 34 | 0.024685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-625_0_6_line_42 |  | 33 | 51 | 0.017097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-625_0_6_line_43 |  | 33 | 52 | 0.024979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-625_0_6_line_44 |  | 34 | 53 | 0.035992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-625_0_6_line_45 |  | 36 | 56 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-625_0_6_line_46 |  | 37 | 38 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-625_0_6_line_47 |  | 38 | 53 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-625_0_6_line_48 |  | 39 | 57 | 0.0055949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-625_0_6_line_49 |  | 40 | 41 | 0.049663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_261-625_0_6_line_50 |  | 41 | 60 | 0.018615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_261-625_0_6_line_51 |  | 42 | 43 | 0.0034054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_261-625_0_6_line_52 |  | 42 | 44 | 0.02003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_261-625_0_6_line_53 |  | 43 | 60 | 0.021948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_261-625_0_6_line_54 |  | 45 | 61 | 0.006847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-625_0_6_line_55 |  | 45 | 62 | 0.001231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-625_0_6_line_56 |  | 46 | 63 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_261-625_0_6_line_57 |  | 47 | 59 | 0.029642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_261-625_0_6_line_58 |  | 47 | 66 | 0.025287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_261-625_0_6_line_59 |  | 49 | 64 | 0.012544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-625_0_6_line_60 |  | 49 | 63 | 0.040179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_261-625_0_6_line_61 |  | 50 | 65 | 0.0079961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-625_0_6_line_62 |  | 53 | 69 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-625_0_6_line_63 |  | 54 | 55 | 0.031524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_261-625_0_6_line_64 |  | 55 | 68 | 0.022525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_261-625_0_6_line_65 |  | 58 | 59 | 0.063483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-625_0_6_line_66 |  | 64 | 65 | 0.022431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-625_0_6_line_67 |  | 66 | 67 | 0.022902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_261-625_0_6_line_68 |  | 67 | 68 | 0.00069682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_261-625_0_6_line_69 |  | 69 | 70 | 0.0042178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-625_0_6_line_70 |  | 70 | 71 | 0.021882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-625_0_6_trafo_58 | 0.63 MVA 20/0.4 kV | 72 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2678678.5869 | 1248808.3589 | 2678701.6326 | 1248794.5863 | 2678707.913 | 1248791.8645
1 | 2678640.2783 | 1248834.746 | 2678642.8583 | 1248833.2347 | 2678652.0589 | 1248825.6401 | 2678664.7749 | 1248816.6133 | 2678678.5869 | 1248808.3589
2 | 2678726.8495 | 1248783.6575 | 2678707.913 | 1248791.8645
3 | 2678640.2783 | 1248834.746 | 2678612.1938 | 1248821.9422
4 | 2678726.8495 | 1248783.6575 | 2678733.655 | 1248780.7124 | 2678753.9977 | 1248821.1676 | 2678766.5176 | 1248813.8397 | 2678768.0282 | 1248811.547
5 | 2678726.8495 | 1248783.6575 | 2678734.057 | 1248797.5527
6 | 2678601.1024 | 1248816.9469 | 2678605.637 | 1248818.9529 | 2678612.1938 | 1248821.9422
7 | 2678775.4173 | 1248781.1785 | 2678770.0651 | 1248808.2939 | 2678768.0282 | 1248811.547
8 | 2678546.7877 | 1248791.542 | 2678577.4907 | 1248806.5152 | 2678601.1024 | 1248816.9469
9 | 2678879.0843 | 1248607.8191 | 2678875.5051 | 1248610.0509 | 2678879.5122 | 1248617.0871 | 2678883.9915 | 1248624.9524
10 | 2678879.0843 | 1248607.8191 | 2678875.5051 | 1248610.0509 | 2678856.7925 | 1248622.4555
11 | 2678879.0843 | 1248607.8191 | 2678887.5523 | 1248602.539 | 2678891.071 | 1248600.7305
12 | 2678883.9915 | 1248624.9524 | 2678887.0684 | 1248623.003 | 2678899.0161 | 1248615.5899 | 2678906.1896 | 1248612.2496
13 | 2678883.9915 | 1248624.9524 | 2678881.5741 | 1248626.478
14 | 2678856.7925 | 1248622.4555 | 2678848.5868 | 1248610.8601
15 | 2678775.4173 | 1248781.1785 | 2678777.4884 | 1248773.0779 | 2678782.5251 | 1248757.9597
16 | 2678775.4173 | 1248781.1785 | 2678779.263 | 1248782.1748
17 | 2678687.6642 | 1248659.0798 | 2678689.5391 | 1248664.0417 | 2678687.1312 | 1248666.2335 | 2678685.4509 | 1248670.5033 | 2678686.1692 | 1248673.8486 | 2678693.7937 | 1248689.4166 | 2678695.3921 | 1248691.8841 | 2678699.3603 | 1248694.4609 | 2678708.2464 | 1248696.3469
18 | 2678687.6642 | 1248659.0798 | 2678697.481 | 1248655.142
19 | 2678708.2464 | 1248696.3469 | 2678711.0394 | 1248706.1022 | 2678713.6661 | 1248715.2993 | 2678711.4399 | 1248719.1614
20 | 2678708.2464 | 1248696.3469 | 2678714.6367 | 1248695.6756 | 2678726.8724 | 1248693.2697 | 2678739.9438 | 1248689.3515 | 2678750.2724 | 1248685.4532
21 | 2678739.6913 | 1248628.2258 | 2678731.6527 | 1248637.5703 | 2678726.0852 | 1248641.6771 | 2678717.7493 | 1248646.6923 | 2678708.1635 | 1248650.857 | 2678697.481 | 1248655.142
22 | 2678866.4986 | 1248734.0882 | 2678866.7147 | 1248738.2719 | 2678872.6765 | 1248738.0177 | 2678881.0008 | 1248736.7164 | 2678887.294 | 1248735.388 | 2678891.4375 | 1248733.8643
23 | 2678891.4375 | 1248733.8643 | 2678892.9971 | 1248737.5433 | 2678892.5713 | 1248740.0283 | 2678890.4801 | 1248745.649
24 | 2678866.4986 | 1248734.0882 | 2678871.874 | 1248733.6261 | 2678882.0103 | 1248732.36 | 2678882.2066 | 1248728.393
25 | 2678866.4986 | 1248734.0882 | 2678852.5561 | 1248732.1808
26 | 2678795.3744 | 1248683.6614 | 2678816.5476 | 1248671.3338 | 2678824.2635 | 1248665.9723
27 | 2678795.3744 | 1248683.6614 | 2678803.1897 | 1248698.6347
28 | 2678824.2635 | 1248665.9723 | 2678832.7984 | 1248660.0416 | 2678833.9272 | 1248659.2636
29 | 2678810.3973 | 1248713.0158 | 2678806.1629 | 1248704.331 | 2678803.1897 | 1248698.6347
30 | 2678675.5815 | 1248701.1502 | 2678679.0865 | 1248698.2279 | 2678680.5305 | 1248710.6228 | 2678681.5673 | 1248719.5542
31 | 2678675.5815 | 1248701.1502 | 2678672.7283 | 1248694.2184 | 2678668.2564 | 1248682.3615 | 2678666.3203 | 1248677.8604
32 | 2678681.5673 | 1248719.5542 | 2678689.609 | 1248719.6276 | 2678696.3463 | 1248722.9528 | 2678702.3095 | 1248721.453 | 2678711.4399 | 1248719.1614
33 | 2678681.5673 | 1248719.5542 | 2678670.6333 | 1248720.0106
34 | 2678711.4399 | 1248719.1614 | 2678711.8258 | 1248724.2147 | 2678720.1257 | 1248741.2735
35 | 2678906.1896 | 1248612.2496 | 2678906.9415 | 1248613.6273 | 2678913.5478 | 1248640.9685 | 2678915.4739 | 1248645.7707
36 | 2678881.5741 | 1248626.478 | 2678877.3656 | 1248629.134 | 2678862.0287 | 1248639.8378 | 2678841.2814 | 1248654.1946 | 2678833.9272 | 1248659.2636
37 | 2678670.6333 | 1248720.0106 | 2678665.6015 | 1248720.2206 | 2678652.8252 | 1248721.263 | 2678627.7969 | 1248723.7285
38 | 2678882.2066 | 1248728.393 | 2678874.1812 | 1248710.6266
39 | 2678852.5561 | 1248732.1808 | 2678848.5804 | 1248731.6369
40 | 2678864.2538 | 1248827.282 | 2678835.8934 | 1248839.4915
41 | 2678835.8934 | 1248839.4915 | 2678829.0961 | 1248828.204 | 2678825.215 | 1248817.3689
42 | 2678864.2538 | 1248827.282 | 2678879.9688 | 1248820.5479
43 | 2678864.2538 | 1248827.282 | 2678862.2585 | 1248822.8633 | 2678853.8605 | 1248804.5676
44 | 2678805.0161 | 1248788.8552 | 2678806.0353 | 1248791.7153 | 2678816.9576 | 1248800.0443 | 2678823.7735 | 1248813.3446 | 2678825.215 | 1248817.3689
45 | 2678915.4739 | 1248645.7707 | 2678921.1445 | 1248659.9097
46 | 2678779.263 | 1248782.1748 | 2678790.5016 | 1248785.0901
47 | 2678805.0161 | 1248788.8552 | 2678790.5016 | 1248785.0901
48 | 2678871.878 | 1248705.5278 | 2678874.1812 | 1248710.6266
49 | 2678546.7877 | 1248791.542 | 2678548.9635 | 1248787.4901 | 2678553.2069 | 1248780.1298 | 2678557.2488 | 1248775.4466 | 2678557.4405 | 1248772.9473 | 2678561.8863 | 1248766.8462 | 2678575.2271 | 1248751.5103
50 | 2678590.0926 | 1248741.0252 | 2678580.6285 | 1248745.3011 | 2678575.2271 | 1248751.5103
51 | 2678607.8635 | 1248725.6922 | 2678608.2339 | 1248729.0774
52 | 2678607.8635 | 1248725.6922 | 2678627.7969 | 1248723.7285
53 | 2678608.2339 | 1248729.0774 | 2678608.2339 | 1248729.0774 | 2678602.1664 | 1248733.8893 | 2678596.26 | 1248736.235 | 2678591.1963 | 1248740.5265 | 2678590.0926 | 1248741.0252
54 | 2678848.5868 | 1248610.8601 | 2678843.1615 | 1248615.0577
55 | 2678848.5868 | 1248610.8601 | 2678849.5263 | 1248610.0609
56 | 2678787.7553 | 1248744.7277 | 2678783.5922 | 1248754.7567 | 2678782.5251 | 1248757.9597
57 | 2678739.6913 | 1248628.2258 | 2678733.1611 | 1248619.5327 | 2678723.5516 | 1248603.41
58 | 2678739.6913 | 1248628.2258 | 2678756.2024 | 1248609.0737
59 | 2678810.3973 | 1248713.0158 | 2678821.2507 | 1248719.3058
60 | 2678810.3973 | 1248713.0158 | 2678803.1071 | 1248720.6023 | 2678791.7934 | 1248731.471 | 2678791.0974 | 1248736.6766 | 2678787.7553 | 1248744.7277
61 | 2678840.6581 | 1248730.5531 | 2678840.6581 | 1248730.5531 | 2678848.5804 | 1248731.6369
62 | 2678805.0161 | 1248788.8552 | 2678817.0803 | 1248788.5487 | 2678825.7407 | 1248785.1922
63 | 2678802.5568 | 1248546.9169 | 2678784.9912 | 1248573.0929
64 | 2678771.5064 | 1248591.1135 | 2678780.3653 | 1248579.9864 | 2678784.9912 | 1248573.0929
65 | 2678723.5516 | 1248603.41 | 2678719.1327 | 1248595.996 | 2678715.4473 | 1248585.7618 | 2678712.8678 | 1248579.8344 | 2678711.0957 | 1248569.9703 | 2678711.8364 | 1248559.1278 | 2678715.3992 | 1248549.0233 | 2678718.2988 | 1248543.8784
66 | 2678840.6581 | 1248730.5531 | 2678821.2507 | 1248719.3058
67 | 2678771.0723 | 1248591.6586 | 2678769.3365 | 1248593.8389 | 2678756.2024 | 1248609.0737
68 | 2678771.0723 | 1248591.6586 | 2678771.5064 | 1248591.1135
69 | 2678829.6735 | 1248783.6681 | 2678825.7407 | 1248785.1922
70 | 2678850.1308 | 1248775.7454 | 2678829.6735 | 1248783.6681

## bus_geodata
| x | y | coords
0 | 2678678.5869 | 1248808.3589
1 | 2678707.913 | 1248791.8645
2 | 2678640.2783 | 1248834.746
3 | 2678726.8495 | 1248783.6575
4 | 2678612.1938 | 1248821.9422
5 | 2678768.0283 | 1248811.547
6 | 2678734.057 | 1248797.5527
7 | 2678601.1024 | 1248816.9469
8 | 2678879.0843 | 1248607.8191
9 | 2678883.9915 | 1248624.9524
10 | 2678856.7925 | 1248622.4555
11 | 2678891.071 | 1248600.7305
12 | 2678775.4173 | 1248781.1785
13 | 2678687.6642 | 1248659.0798
14 | 2678708.2464 | 1248696.3469
15 | 2678697.481 | 1248655.1421
16 | 2678891.4375 | 1248733.8643
17 | 2678866.4986 | 1248734.0882
18 | 2678890.4801 | 1248745.649
19 | 2678795.3744 | 1248683.6614
20 | 2678824.2635 | 1248665.9723
21 | 2678803.1897 | 1248698.6347
22 | 2678675.5815 | 1248701.1502
23 | 2678681.5673 | 1248719.5542
24 | 2678666.3203 | 1248677.8604
25 | 2678711.4399 | 1248719.1614
26 | 2678750.2724 | 1248685.4532
27 | 2678906.1896 | 1248612.2496
28 | 2678881.5741 | 1248626.478
29 | 2678670.6333 | 1248720.0106
30 | 2678882.2066 | 1248728.393
31 | 2678852.5561 | 1248732.1808
32 | 2678835.8934 | 1248839.4915
33 | 2678864.2538 | 1248827.282
34 | 2678825.215 | 1248817.3689
35 | 2678720.1257 | 1248741.2735
36 | 2678915.4739 | 1248645.7707
37 | 2678779.263 | 1248782.1748
38 | 2678790.5016 | 1248785.0901
39 | 2678874.1812 | 1248710.6266
40 | 2678546.7877 | 1248791.542
41 | 2678575.2271 | 1248751.5103
42 | 2678607.8635 | 1248725.6922
43 | 2678608.2339 | 1248729.0774
44 | 2678627.7969 | 1248723.7285
45 | 2678848.5868 | 1248610.8601
46 | 2678782.5251 | 1248757.9597
47 | 2678739.6913 | 1248628.2258
48 | 2678833.9272 | 1248659.2636
49 | 2678810.3973 | 1248713.0158
50 | 2678848.5804 | 1248731.6369
51 | 2678879.9688 | 1248820.5479
52 | 2678853.8605 | 1248804.5676
53 | 2678805.0161 | 1248788.8552
54 | 2678802.5568 | 1248546.9169
55 | 2678784.9912 | 1248573.0929
56 | 2678921.1445 | 1248659.9097
57 | 2678871.878 | 1248705.5278
58 | 2678718.2988 | 1248543.8784
59 | 2678723.5516 | 1248603.41
60 | 2678590.0926 | 1248741.0252
61 | 2678843.1615 | 1248615.0577
62 | 2678849.5263 | 1248610.0609
63 | 2678787.7553 | 1248744.7277
64 | 2678821.2507 | 1248719.3058
65 | 2678840.6581 | 1248730.5531
66 | 2678756.2024 | 1248609.0737
67 | 2678771.0723 | 1248591.6586
68 | 2678771.5064 | 1248591.1135
69 | 2678825.7407 | 1248785.1922
70 | 2678829.6735 | 1248783.6681
71 | 2678850.1308 | 1248775.7454
72 | 2678810.3973 | 1248713.0158

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98646 | -0.25739 | 0.008068 | 0.002022
1 | 0.9879 | -0.22969 | 0.012117 | 0.0030368
2 | 0.98453 | -0.29448 | 0 | 0
3 | 0.98883 | -0.21188 | 0 | 0
4 | 0.98325 | -0.31912 | 0.0063923 | 0.0016021
5 | 0.99213 | -0.14904 | 0 | 0
6 | 0.98868 | -0.21491 | 0.010878 | 0.0027264
7 | 0.98276 | -0.32857 | 0 | 0
8 | 0.99395 | -0.11636 | 0 | 0
9 | 0.99438 | -0.10797 | 0 | 0
10 | 0.99358 | -0.12346 | 0 | 0
11 | 0.99386 | -0.11813 | 0.0071916 | 0.0018024
12 | 0.99361 | -0.1209 | 0 | 0
13 | 0.97169 | -0.54505 | 0 | 0
14 | 0.97248 | -0.52942 | 0 | 0
15 | 0.97153 | -0.54832 | 0.0070501 | 0.0017669
16 | 0.9967 | -0.063145 | 0 | 0
17 | 0.99683 | -0.060611 | 0 | 0
18 | 0.99664 | -0.064225 | 0.0049189 | 0.0012328
19 | 0.99911 | -0.016975 | 0 | 0
20 | 0.99733 | -0.051133 | 0.0073743 | 0.0018482
21 | 1 | 0 | -0.49071 | -0.12537
22 | 0.9738 | -0.50343 | 0 | 0
23 | 0.97403 | -0.49901 | 0 | 0
24 | 0.97359 | -0.50768 | 0.009222 | 0.0023112
25 | 0.97311 | -0.51698 | 0 | 0
26 | 0.9702 | -0.57454 | 0.05605 | 0.014048
27 | 0.99405 | -0.11434 | 0 | 0
28 | 0.99448 | -0.10613 | 0.0074712 | 0.0018724
29 | 0.97437 | -0.49233 | 0.027777 | 0.0069615
30 | 0.99657 | -0.065621 | 0 | 0
31 | 0.99708 | -0.055798 | 0.004036 | 0.0010115
32 | 0.99027 | -0.18552 | 0 | 0
33 | 0.98957 | -0.19914 | 0 | 0
34 | 0.99083 | -0.17463 | 0.013492 | 0.0033815
35 | 0.97273 | -0.52463 | 0.017291 | 0.0043336
36 | 0.9936 | -0.12304 | 0.0073994 | 0.0018545
37 | 0.99341 | -0.12492 | 0 | 0
38 | 0.99279 | -0.1367 | 0.0067329 | 0.0016874
39 | 0.99631 | -0.070611 | 0.007854 | 0.0019684
40 | 0.98036 | -0.37518 | 0 | 0
41 | 0.97836 | -0.41404 | 0.0054693 | 0.0013707
42 | 0.97667 | -0.44716 | 0 | 0
43 | 0.97679 | -0.44468 | 0.0055866 | 0.0014001
44 | 0.97592 | -0.46175 | 0.0051192 | 0.001283
45 | 0.99338 | -0.12724 | 0 | 0
46 | 0.99501 | -0.094324 | 0.041809 | 0.010478
47 | 0.9708 | -0.56273 | 0 | 0
48 | 0.99679 | -0.061494 | 0.0063412 | 0.0015893
49 | 0.99874 | -0.023822 | 0 | 0
50 | 0.99716 | -0.054142 | 0.009952 | 0.0024942
51 | 0.98939 | -0.20269 | 0.011665 | 0.0029235
52 | 0.98927 | -0.205 | 0.013185 | 0.0033046
53 | 0.9921 | -0.15015 | 0 | 0
54 | 0.97011 | -0.57624 | 0.012265 | 0.003074
55 | 0.97024 | -0.57385 | 0.010153 | 0.0025446
56 | 0.99351 | -0.12486 | 0.0067405 | 0.0016893
57 | 0.99627 | -0.071271 | 0.0067264 | 0.0016858
58 | 0.97015 | -0.57546 | 0.006121 | 0.0015341
59 | 0.97052 | -0.56826 | 0.014043 | 0.0035196
60 | 0.97763 | -0.42828 | 0.0051187 | 0.0012829
61 | 0.99334 | -0.12812 | 0.0072188 | 0.0018092
62 | 0.99338 | -0.12742 | 0.0078659 | 0.0019714
63 | 0.99594 | -0.076695 | 0.023427 | 0.0058713
64 | 0.99818 | -0.034514 | 0.010719 | 0.0026865
65 | 0.99741 | -0.049449 | 0.0045413 | 0.0011381
66 | 0.97053 | -0.56801 | 0.01064 | 0.0026665
67 | 0.97033 | -0.57189 | 0.010452 | 0.0026196
68 | 0.97033 | -0.57198 | 0.012885 | 0.0032292
69 | 0.99186 | -0.15482 | 0.005041 | 0.0012634
70 | 0.99183 | -0.15537 | 0 | 0
71 | 0.99168 | -0.1582 | 0.0073042 | 0.0018306
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23268 | -0.059436 | 0.23299 | 0.059634 | 0.00031201 | 0.00019753 | 0.35139 | 0.35139 | 0.35139 | 0.98646 | -0.25739 | 0.9879 | -0.22969 | 19.3071
1 | 0.22461 | 0.057414 | -0.22421 | -0.057159 | 0.00040221 | 0.00025445 | 0.33922 | 0.33922 | 0.33922 | 0.98646 | -0.25739 | 0.98453 | -0.29448 | 18.6385
2 | -0.24511 | -0.06267 | 0.24532 | 0.062804 | 0.00021149 | 0.00013403 | 0.36964 | 0.36964 | 0.36964 | 0.9879 | -0.22969 | 0.98883 | -0.21188 | 20.3098
3 | 0.22421 | 0.057159 | -0.22395 | -0.056991 | 0.00026638 | 0.00016852 | 0.33922 | 0.33922 | 0.33922 | 0.98453 | -0.29448 | 0.98325 | -0.31912 | 18.6385
4 | -0.2562 | -0.065532 | 0.25698 | 0.066027 | 0.00078171 | 0.00049579 | 0.38601 | 0.38601 | 0.38601 | 0.98883 | -0.21188 | 0.99213 | -0.14904 | 21.2094
5 | 0.01088 | 0.0027272 | -0.010878 | -0.0027264 | 1.5735e-06 | 8.0629e-07 | 0.016373 | 0.016373 | 0.016373 | 0.98883 | -0.21188 | 0.98868 | -0.21491 | 4.498
6 | 0.21755 | 0.055389 | -0.21745 | -0.055326 | 9.9082e-05 | 6.2642e-05 | 0.32955 | 0.32955 | 0.32955 | 0.98325 | -0.31912 | 0.98276 | -0.32857 | 18.107
7 | -0.25698 | -0.066027 | 0.25734 | 0.06625 | 0.00035173 | 0.00022307 | 0.38601 | 0.38601 | 0.38601 | 0.99213 | -0.14904 | 0.99361 | -0.1209 | 21.2093
8 | 0.21745 | 0.055326 | -0.21697 | -0.055018 | 0.00048729 | 0.00030809 | 0.32955 | 0.32955 | 0.32955 | 0.98276 | -0.32857 | 0.98036 | -0.37518 | 18.1071
9 | -0.022285 | -0.0055878 | 0.022294 | 0.0055932 | 8.9188e-06 | 5.431e-06 | 0.033364 | 0.033363 | 0.033364 | 0.99395 | -0.11636 | 0.99438 | -0.10797 | 9.1658
10 | 0.015093 | 0.0037852 | -0.015088 | -0.0037823 | 5.1063e-06 | 2.9225e-06 | 0.022596 | 0.022596 | 0.022596 | 0.99395 | -0.11636 | 0.99358 | -0.12346 | 6.2078
11 | 0.0071922 | 0.0018026 | -0.0071916 | -0.0018024 | 6.0587e-07 | 2.0715e-07 | 0.010767 | 0.010767 | 0.010767 | 0.99395 | -0.11636 | 0.99386 | -0.11813 | 2.9581
12 | 0.014151 | 0.0035497 | -0.014146 | -0.0035473 | 4.2984e-06 | 2.4195e-06 | 0.021176 | 0.021177 | 0.021177 | 0.99438 | -0.10797 | 0.99405 | -0.11434 | 5.8177
13 | -0.036445 | -0.0091429 | 0.036448 | 0.0091449 | 3.1886e-06 | 2.0036e-06 | 0.05454 | 0.05454 | 0.05454 | 0.99438 | -0.10797 | 0.99448 | -0.10613 | 14.9835
14 | 0.015088 | 0.0037823 | -0.015085 | -0.0037807 | 2.7174e-06 | 1.5554e-06 | 0.022596 | 0.022596 | 0.022596 | 0.99358 | -0.12346 | 0.99338 | -0.12724 | 6.2078
15 | -0.31492 | -0.080741 | 0.31532 | 0.080999 | 0.00040641 | 0.00025853 | 0.47226 | 0.47226 | 0.47226 | 0.99361 | -0.1209 | 0.99501 | -0.094324 | 25.9483
16 | 0.05758 | 0.01449 | -0.057569 | -0.014483 | 1.1053e-05 | 7.0226e-06 | 0.086252 | 0.086252 | 0.086252 | 0.99361 | -0.1209 | 0.99341 | -0.12492 | 23.6955
17 | -0.083709 | -0.021007 | 0.083771 | 0.021044 | 6.2445e-05 | 3.6825e-05 | 0.1282 | 0.1282 | 0.1282 | 0.97169 | -0.54505 | 0.97248 | -0.52942 | 7.0439
18 | 0.083709 | 0.021007 | -0.083696 | -0.020999 | 1.3038e-05 | 7.6891e-06 | 0.1282 | 0.1282 | 0.1282 | 0.97169 | -0.54505 | 0.97153 | -0.54832 | 7.0439
19 | -0.13994 | -0.035168 | 0.14003 | 0.03522 | 8.3143e-05 | 5.1711e-05 | 0.21416 | 0.21416 | 0.21416 | 0.97248 | -0.52942 | 0.97311 | -0.51698 | 11.7672
20 | 0.056171 | 0.014124 | -0.05605 | -0.014048 | 0.00012078 | 7.6757e-05 | 0.085966 | 0.085966 | 0.085966 | 0.97248 | -0.52942 | 0.9702 | -0.57454 | 23.617
21 | 0.076646 | 0.019233 | -0.076593 | -0.019202 | 5.2652e-05 | 3.0546e-05 | 0.1174 | 0.1174 | 0.1174 | 0.97153 | -0.54832 | 0.9708 | -0.56273 | 6.4507
22 | -0.0049192 | -0.0012328 | 0.0049198 | 0.0012328 | 5.9377e-07 | -2.6518e-09 | 0.007344 | 0.0073439 | 0.007344 | 0.9967 | -0.063145 | 0.99683 | -0.060611 | 2.0176
23 | 0.0049192 | 0.0012328 | -0.0049189 | -0.0012328 | 2.5311e-07 | -1.0955e-09 | 0.007344 | 0.0073441 | 0.0073441 | 0.9967 | -0.063145 | 0.99664 | -0.064225 | 2.0176
24 | 0.014588 | 0.0036582 | -0.014584 | -0.0036562 | 3.4823e-06 | 1.9735e-06 | 0.021776 | 0.021777 | 0.021777 | 0.99683 | -0.060611 | 0.99657 | -0.065621 | 5.9826
25 | -0.019507 | -0.004891 | 0.019512 | 0.0048937 | 4.475e-06 | 2.6805e-06 | 0.02912 | 0.02912 | 0.02912 | 0.99683 | -0.060611 | 0.99708 | -0.055798 | 8.0001
26 | 0.057848 | 0.01459 | -0.057753 | -0.01453 | 9.4421e-05 | 5.9986e-05 | 0.086187 | 0.086187 | 0.086187 | 0.99911 | -0.016975 | 0.99733 | -0.051133 | 23.6778
27 | -0.057848 | -0.01459 | 0.057895 | 0.01462 | 4.7049e-05 | 2.989e-05 | 0.086187 | 0.086187 | 0.086187 | 0.99911 | -0.016975 | 1 | 0 | 23.6777
28 | 0.050379 | 0.012682 | -0.050354 | -0.012666 | 2.4937e-05 | 1.5806e-05 | 0.075185 | 0.075185 | 0.075185 | 0.99733 | -0.051133 | 0.99679 | -0.061494 | 20.6552
29 | 0.43116 | 0.11075 | -0.43066 | -0.11043 | 0.00049813 | 0.00031775 | 0.64253 | 0.64253 | 0.64253 | 1 | 0 | 0.99874 | -0.023822 | 35.3039
30 | -0.0092239 | -0.0023121 | 0.0092258 | 0.0023131 | 1.9394e-06 | 9.1727e-07 | 0.014095 | 0.014095 | 0.014095 | 0.9738 | -0.50343 | 0.97403 | -0.49901 | 3.8722
31 | 0.0092239 | 0.0023121 | -0.009222 | -0.0023112 | 1.8675e-06 | 8.8341e-07 | 0.014095 | 0.014095 | 0.014095 | 0.9738 | -0.50343 | 0.97359 | -0.50768 | 3.8722
32 | 0.15746 | 0.039642 | -0.15732 | -0.039557 | 0.00013512 | 8.454e-05 | 0.24061 | 0.24061 | 0.24061 | 0.97403 | -0.49901 | 0.97311 | -0.51698 | 13.2206
33 | -0.16668 | -0.041955 | 0.16674 | 0.041988 | 5.3248e-05 | 3.3397e-05 | 0.25471 | 0.25471 | 0.25471 | 0.97403 | -0.49901 | 0.97437 | -0.49233 | 13.9949
34 | 0.017298 | 0.0043374 | -0.017291 | -0.0043336 | 6.3072e-06 | 3.7381e-06 | 0.026451 | 0.026451 | 0.026451 | 0.97311 | -0.51698 | 0.97273 | -0.52463 | 7.2668
35 | 0.014146 | 0.0035473 | -0.01414 | -0.003544 | 5.8643e-06 | 3.3013e-06 | 0.021177 | 0.021177 | 0.021177 | 0.99405 | -0.11434 | 0.9936 | -0.12304 | 5.8178
36 | -0.043919 | -0.011017 | 0.044013 | 0.011077 | 9.368e-05 | 5.9203e-05 | 0.065719 | 0.065719 | 0.065719 | 0.99448 | -0.10613 | 0.99679 | -0.061494 | 18.0546
37 | -0.19451 | -0.04895 | 0.1948 | 0.049129 | 0.00028475 | 0.00017956 | 0.29713 | 0.29713 | 0.29713 | 0.97437 | -0.49233 | 0.97592 | -0.46175 | 16.3257
38 | 0.014584 | 0.0036562 | -0.014581 | -0.0036543 | 3.4668e-06 | 1.9648e-06 | 0.021777 | 0.021777 | 0.021777 | 0.99657 | -0.065621 | 0.99631 | -0.070611 | 5.9826
39 | -0.023548 | -0.0059052 | 0.02355 | 0.0059063 | 1.8585e-06 | 1.1371e-06 | 0.035143 | 0.035143 | 0.035143 | 0.99708 | -0.055798 | 0.99716 | -0.054142 | 9.6548
40 | 0.024872 | 0.006241 | -0.024856 | -0.0062311 | 1.6136e-05 | 9.9308e-06 | 0.037376 | 0.037376 | 0.037376 | 0.99027 | -0.18552 | 0.98957 | -0.19914 | 10.2682
41 | -0.024872 | -0.006241 | 0.024885 | 0.006249 | 1.2932e-05 | 7.9585e-06 | 0.037376 | 0.037376 | 0.037376 | 0.99027 | -0.18552 | 0.99083 | -0.17463 | 10.2681
42 | 0.011667 | 0.0029245 | -0.011665 | -0.0029235 | 1.9732e-06 | 1.0433e-06 | 0.017543 | 0.017543 | 0.017543 | 0.98957 | -0.19914 | 0.98939 | -0.20269 | 4.8196
43 | 0.013189 | 0.0033066 | -0.013185 | -0.0033046 | 3.6845e-06 | 2.0373e-06 | 0.019833 | 0.019833 | 0.019833 | 0.98957 | -0.19914 | 0.98927 | -0.205 | 5.4486
44 | -0.038377 | -0.0096305 | 0.038422 | 0.0096587 | 4.4839e-05 | 2.8233e-05 | 0.057638 | 0.057638 | 0.057638 | 0.99083 | -0.17463 | 0.9921 | -0.15015 | 15.8347
45 | 0.0067411 | 0.0016895 | -0.0067405 | -0.0016893 | 5.8222e-07 | 1.7533e-07 | 0.010095 | 0.010095 | 0.010095 | 0.9936 | -0.12304 | 0.99351 | -0.12486 | 2.7735
46 | 0.057569 | 0.014483 | -0.057537 | -0.014463 | 3.2391e-05 | 2.058e-05 | 0.086252 | 0.086252 | 0.086252 | 0.99341 | -0.12492 | 0.99279 | -0.1367 | 23.6955
47 | 0.050804 | 0.012775 | -0.050771 | -0.012755 | 3.2616e-05 | 2.0681e-05 | 0.07616 | 0.07616 | 0.07616 | 0.99279 | -0.1367 | 0.9921 | -0.15015 | 20.9232
48 | 0.0067266 | 0.0016859 | -0.0067264 | -0.0016858 | 2.1176e-07 | 6.2669e-08 | 0.010046 | 0.010046 | 0.010046 | 0.99631 | -0.070611 | 0.99627 | -0.071271 | 2.76
49 | 0.21697 | 0.055018 | -0.21656 | -0.054762 | 0.00040452 | 0.00025577 | 0.32955 | 0.32955 | 0.32955 | 0.98036 | -0.37518 | 0.97836 | -0.41404 | 18.1071
50 | 0.21109 | 0.053392 | -0.21095 | -0.053301 | 0.00014407 | 9.1035e-05 | 0.32123 | 0.32123 | 0.32123 | 0.97836 | -0.41404 | 0.97763 | -0.42828 | 17.6501
51 | -0.20006 | -0.050501 | 0.20008 | 0.050516 | 2.3748e-05 | 1.4986e-05 | 0.30493 | 0.30493 | 0.30493 | 0.97667 | -0.44716 | 0.97679 | -0.44468 | 16.7545
52 | 0.20006 | 0.050501 | -0.19992 | -0.050412 | 0.00013968 | 8.8145e-05 | 0.30493 | 0.30493 | 0.30493 | 0.97667 | -0.44716 | 0.97592 | -0.46175 | 16.7545
53 | -0.20567 | -0.051916 | 0.20583 | 0.052018 | 0.00016172 | 0.00010213 | 0.31344 | 0.31344 | 0.31344 | 0.97679 | -0.44468 | 0.97763 | -0.42828 | 17.2221
54 | 0.0072191 | 0.0018093 | -0.0072188 | -0.0018092 | 3.0025e-07 | 1.0352e-07 | 0.010814 | 0.010814 | 0.010814 | 0.99338 | -0.12724 | 0.99334 | -0.12812 | 2.9708
55 | 0.007866 | 0.0019714 | -0.0078659 | -0.0019714 | 6.4088e-08 | 2.508e-08 | 0.011783 | 0.011783 | 0.011783 | 0.99338 | -0.12724 | 0.99338 | -0.12742 | 3.237
56 | -0.35713 | -0.091478 | 0.35744 | 0.091672 | 0.00030533 | 0.00019449 | 0.53478 | 0.53478 | 0.53478 | 0.99501 | -0.094324 | 0.99594 | -0.076695 | 29.3837
57 | 0.020172 | 0.0050569 | -0.020166 | -0.0050542 | 5.3133e-06 | 2.6677e-06 | 0.030919 | 0.030919 | 0.030919 | 0.9708 | -0.56273 | 0.97052 | -0.56826 | 4.2472
58 | 0.056421 | 0.014145 | -0.056407 | -0.014138 | 1.4185e-05 | 7.5153e-06 | 0.086483 | 0.086484 | 0.086484 | 0.9708 | -0.56273 | 0.97053 | -0.56801 | 4.7518
59 | 0.048822 | 0.012263 | -0.048797 | -0.012247 | 2.4896e-05 | 1.5769e-05 | 0.072749 | 0.072749 | 0.072749 | 0.99874 | -0.023822 | 0.99818 | -0.034514 | 19.9859
60 | 0.38184 | 0.098167 | -0.38086 | -0.097543 | 0.00097832 | 0.0006235 | 0.56978 | 0.56978 | 0.56978 | 0.99874 | -0.023822 | 0.99594 | -0.076695 | 31.3068
61 | -0.033502 | -0.0084005 | 0.033509 | 0.0084052 | 7.4946e-06 | 4.6922e-06 | 0.049994 | 0.049994 | 0.049994 | 0.99716 | -0.054142 | 0.99741 | -0.049449 | 13.7347
62 | 0.012349 | 0.0030959 | -0.012346 | -0.0030944 | 2.7476e-06 | 1.4828e-06 | 0.018522 | 0.018523 | 0.018523 | 0.9921 | -0.15015 | 0.99186 | -0.15482 | 5.0886
63 | -0.012265 | -0.003074 | 0.012267 | 0.0030737 | 1.3946e-06 | -2.7524e-07 | 0.018813 | 0.018813 | 0.018813 | 0.97011 | -0.57624 | 0.97024 | -0.57385 | 1.7228
64 | -0.02242 | -0.0056183 | 0.022422 | 0.0056182 | 1.9973e-06 | -1.1278e-07 | 0.034384 | 0.034384 | 0.034384 | 0.97024 | -0.57385 | 0.97033 | -0.57198 | 1.8892
65 | -0.006121 | -0.0015341 | 0.0061231 | 0.0015346 | 2.0982e-06 | 5.5868e-07 | 0.0093883 | 0.009388 | 0.0093883 | 0.97015 | -0.57546 | 0.97052 | -0.56826 | 2.5792
66 | 0.038077 | 0.0095604 | -0.03805 | -0.0095434 | 2.7109e-05 | 1.7056e-05 | 0.056769 | 0.056769 | 0.056769 | 0.99818 | -0.034514 | 0.99741 | -0.049449 | 15.596
67 | 0.045767 | 0.011471 | -0.045759 | -0.011467 | 8.4575e-06 | 3.9981e-06 | 0.070171 | 0.070171 | 0.070171 | 0.97053 | -0.56801 | 0.97033 | -0.57189 | 3.8556
68 | 0.035307 | 0.0088475 | -0.035307 | -0.0088474 | 1.532e-07 | 5.5011e-08 | 0.054143 | 0.054143 | 0.054143 | 0.97033 | -0.57189 | 0.97033 | -0.57198 | 2.9749
69 | 0.0073054 | 0.001831 | -0.0073052 | -0.001831 | 1.8998e-07 | 6.7155e-08 | 0.01096 | 0.01096 | 0.01096 | 0.99186 | -0.15482 | 0.99183 | -0.15537 | 3.0109
70 | 0.0073052 | 0.001831 | -0.0073042 | -0.0018306 | 9.8566e-07 | 3.4846e-07 | 0.01096 | 0.01096 | 0.01096 | 0.99183 | -0.15537 | 0.99168 | -0.1582 | 3.011

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50457 | 0.12884

## res_load
| p_mw | q_mvar
0 | 0.008068 | 0.002022
1 | 0.012117 | 0.0030368
2 | 0.0063923 | 0.0016021
3 | 0.010878 | 0.0027264
4 | 0.0071916 | 0.0018024
5 | 0.0070501 | 0.0017669
6 | 0.0049189 | 0.0012328
7 | 0.0073743 | 0.0018482
8 | 0.013865 | 0.0034749
9 | 0.009222 | 0.0023112
10 | 0.05605 | 0.014048
11 | 0.0074712 | 0.0018724
12 | 0.027777 | 0.0069615
13 | 0.004036 | 0.0010115
14 | 0.013492 | 0.0033815
15 | 0.017291 | 0.0043336
16 | 0.0073994 | 0.0018545
17 | 0.0067329 | 0.0016874
18 | 0.007854 | 0.0019684
19 | 0.0054693 | 0.0013707
20 | 0.0055866 | 0.0014001
21 | 0.0051192 | 0.001283
22 | 0.041809 | 0.010478
23 | 0.0063412 | 0.0015893
24 | 0.009952 | 0.0024942
25 | 0.011665 | 0.0029235
26 | 0.013185 | 0.0033046
27 | 0.012265 | 0.003074
28 | 0.010153 | 0.0025446
29 | 0.0067405 | 0.0016893
30 | 0.0067264 | 0.0016858
31 | 0.006121 | 0.0015341
32 | 0.014043 | 0.0035196
33 | 0.0051187 | 0.0012829
34 | 0.0072188 | 0.0018092
35 | 0.0078659 | 0.0019714
36 | 0.023427 | 0.0058713
37 | 0.010719 | 0.0026865
38 | 0.0045413 | 0.0011381
39 | 0.01064 | 0.0026665
40 | 0.010452 | 0.0026196
41 | 0.012885 | 0.0032292
42 | 0.005041 | 0.0012634
43 | 0.0073042 | 0.0018306

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1