## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-627_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-627_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-627_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_261-627_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_261-627_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_261-627_0_4_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_261-627_0_4_node_85 | 0.4 | n |  | TRUE
7 | bus_LV_261-627_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_261-627_0_4_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_261-627_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_261-627_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-627_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-627_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-627_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_261-627_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_261-627_0_4_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_261-627_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_261-627_0_4_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_261-627_0_4_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_261-627_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-627_0_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_261-627_0_4_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_261-627_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-627_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_261-627_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_261-627_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_261-627_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_261-627_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_261-627_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_261-627_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_261-627_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_261-627_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_261-627_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-627_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_261-627_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-627_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_261-627_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_261-627_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_261-627_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_261-627_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_261-627_0_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_261-627_0_4_node_15 | 0.4 | n |  | TRUE
42 | bus_LV_261-627_0_4_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_261-627_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_261-627_0_4_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_261-627_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_261-627_0_4_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_261-627_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_261-627_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_261-627_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_261-627_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_261-627_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_261-627_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_261-627_0_4_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_261-627_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_261-627_0_4_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_261-627_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_261-627_0_4_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_261-627_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_261-627_0_4_node_27 | 0.4 | n |  | TRUE
60 | bus_LV_261-627_0_4_node_28 | 0.4 | n |  | TRUE
61 | bus_LV_261-627_0_4_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_261-627_0_4_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_261-627_0_4_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_261-627_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_261-627_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_261-627_0_4_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_261-627_0_4_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_261-627_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_261-627_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_261-627_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_261-627_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_261-627_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_261-627_0_4_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_261-627_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_261-627_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_261-627_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_261-627_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_261-627_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_261-627_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_MV_529_1_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-627_0_4_load_0 | 0 | 0.0089242 | 0.0022366 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-627_0_4_load_10 | 4 | 0.0046884 | 0.001175 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-627_0_4_load_85 | 6 | 0.0079893 | 0.0020023 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-627_0_4_load_69 | 8 | 0.0041819 | 0.0010481 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-627_0_4_load_65 | 9 | 0.0075825 | 0.0019004 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-627_0_4_load_8 | 10 | 0.0026444 | 0.00066275 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-627_0_4_load_7 | 11 | 0.0026917 | 0.0006746 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-627_0_4_load_59 | 13 | 0.010044 | 0.0025173 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-627_0_4_load_11 | 14 | 0.0039124 | 0.00098054 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-627_0_4_load_52 | 15 | 0.0023348 | 0.00058516 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-627_0_4_load_73 | 17 | 0.0029516 | 0.00073974 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-627_0_4_load_63 | 18 | 0.0028073 | 0.00070358 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-627_0_4_load_75 | 21 | 0.0030758 | 0.00077086 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-627_0_4_load_14 | 24 | 0.007002 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-627_0_4_load_37 | 26 | 0.0036876 | 0.00092419 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-627_0_4_load_33 | 28 | 0.0045518 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-627_0_4_load_54 | 29 | 0.0092919 | 0.0023288 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-627_0_4_load_34 | 30 | 0.0085757 | 0.0021493 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-627_0_4_load_32 | 31 | 0.0094543 | 0.0023695 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-627_0_4_load_57 | 33 | 0.016171 | 0.0040529 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-627_0_4_load_44 | 36 | 0.0094434 | 0.0023667 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-627_0_4_load_36 | 39 | 0.0092335 | 0.0023141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-627_0_4_load_74 | 40 | 0.0038181 | 0.00095691 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-627_0_4_load_15 | 41 | 0.0061613 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-627_0_4_load_17 | 42 | 0.014094 | 0.0035324 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-627_0_4_load_56 | 43 | 0.010411 | 0.0026092 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-627_0_4_load_77 | 44 | 0.079683 | 0.019971 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-627_0_4_load_55 | 45 | 0.0030553 | 0.00076574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-627_0_4_load_66 | 46 | 0.0037607 | 0.00094252 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-627_0_4_load_62 | 47 | 0.0040636 | 0.0010184 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-627_0_4_load_47 | 48 | 0.0056023 | 0.0014041 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-627_0_4_load_46 | 49 | 0.0046295 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-627_0_4_load_35 | 50 | 0.0040719 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-627_0_4_load_79 | 53 | 0.0062983 | 0.0015785 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-627_0_4_load_43 | 54 | 0.0056005 | 0.0014036 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-627_0_4_load_80 | 55 | 0.011182 | 0.0028024 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-627_0_4_load_84 | 57 | 0.0094189 | 0.0023606 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-627_0_4_load_81 | 58 | 0.020403 | 0.0051134 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-627_0_4_load_27 | 59 | 0.01015 | 0.0025439 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-627_0_4_load_29 | 61 | 0.0034956 | 0.00087607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-627_0_4_load_42 | 64 | 0.0052702 | 0.0013208 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-627_0_4_load_45 | 65 | 0.0045939 | 0.0011513 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-627_0_4_load_82 | 66 | 0.010247 | 0.0025681 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-627_0_4_load_83 | 67 | 0.018193 | 0.0045596 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-627_0_4_load_48 | 68 | 0.0030965 | 0.00077606 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-627_0_4_load_49 | 69 | 0.0026798 | 0.00067161 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-627_0_4_load_51 | 70 | 0.0033159 | 0.00083104 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-627_0_4_load_53 | 71 | 0.0021866 | 0.00054802 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-627_0_4_load_60 | 72 | 0.002054 | 0.00051478 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-627_0_4_load_76 | 73 | 0.00289 | 0.00072431 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-627_0_4_load_61 | 74 | 0.0061281 | 0.0015358 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-627_0_4_load_68 | 76 | 0.0023723 | 0.00059455 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-627_0_4_load_71 | 77 | 0.0036699 | 0.00091976 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-627_0_4_load_70 | 78 | 0.0031596 | 0.00079187 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-627_0_4_load_72 | 79 | 0.0030506 | 0.00076454 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-627_0_4_line_0 |  | 0 | 1 | 0.029997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-627_0_4_line_1 |  | 1 | 2 | 0.00636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-627_0_4_line_2 |  | 2 | 3 | 0.028485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-627_0_4_line_3 |  | 2 | 4 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-627_0_4_line_4 |  | 3 | 5 | 0.015073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-627_0_4_line_5 |  | 3 | 6 | 0.017223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-627_0_4_line_6 |  | 4 | 12 | 0.0040171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-627_0_4_line_7 |  | 5 | 13 | 0.011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-627_0_4_line_8 |  | 7 | 8 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-627_0_4_line_9 |  | 7 | 9 | 0.00069282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-627_0_4_line_10 |  | 8 | 17 | 0.018638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-627_0_4_line_11 |  | 9 | 18 | 0.033149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-627_0_4_line_12 |  | 10 | 11 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-627_0_4_line_13 |  | 11 | 12 | 0.031738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-627_0_4_line_14 |  | 12 | 14 | 0.014511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-627_0_4_line_15 |  | 14 | 15 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-627_0_4_line_16 |  | 15 | 16 | 0.0055594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-627_0_4_line_17 |  | 16 | 71 | 0.012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-627_0_4_line_18 |  | 16 | 68 | 0.0033699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-627_0_4_line_19 |  | 17 | 77 | 0.0071382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-627_0_4_line_20 |  | 18 | 47 | 0.0019042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-627_0_4_line_21 |  | 19 | 20 | 0.005067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-627_0_4_line_22 |  | 19 | 21 | 0.02087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-627_0_4_line_23 |  | 19 | 22 | 0.009353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-627_0_4_line_24 |  | 20 | 46 | 0.038468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-627_0_4_line_25 |  | 20 | 47 | 0.0097336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-627_0_4_line_26 |  | 21 | 40 | 0.019646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-627_0_4_line_27 |  | 22 | 23 | 0.012805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-627_0_4_line_28 |  | 22 | 24 | 0.032426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-627_0_4_line_29 |  | 23 | 25 | 0.007397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-627_0_4_line_30 |  | 23 | 26 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-627_0_4_line_31 |  | 24 | 41 | 0.017764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-627_0_4_line_32 |  | 25 | 30 | 0.029463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-627_0_4_line_33 |  | 25 | 31 | 0.038705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-627_0_4_line_34 |  | 26 | 39 | 0.016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-627_0_4_line_35 |  | 27 | 28 | 0.010919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-627_0_4_line_36 |  | 27 | 29 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-627_0_4_line_37 |  | 29 | 34 | 0.020383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-627_0_4_line_38 |  | 30 | 50 | 0.036446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-627_0_4_line_39 |  | 32 | 33 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-627_0_4_line_40 |  | 32 | 34 | 0.038057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-627_0_4_line_41 |  | 32 | 35 | 0.18135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-627_0_4_line_42 |  | 34 | 36 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-627_0_4_line_43 |  | 35 | 44 | 0.022858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-627_0_4_line_44 |  | 36 | 54 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_261-627_0_4_line_45 |  | 37 | 38 | 0.06416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-627_0_4_line_46 |  | 37 | 39 | 0.10774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-627_0_4_line_47 |  | 38 | 55 | 0.046536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-627_0_4_line_48 |  | 38 | 56 | 0.055634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-627_0_4_line_49 |  | 41 | 42 | 0.03195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-627_0_4_line_50 |  | 42 | 43 | 0.021091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-627_0_4_line_51 |  | 43 | 45 | 0.0071665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-627_0_4_line_52 |  | 46 | 75 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-627_0_4_line_53 |  | 48 | 49 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-627_0_4_line_54 |  | 49 | 65 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_261-627_0_4_line_55 |  | 50 | 62 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-627_0_4_line_56 |  | 51 | 52 | 0.093338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-627_0_4_line_57 |  | 51 | 53 | 0.04206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-627_0_4_line_58 |  | 52 | 57 | 0.027934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-627_0_4_line_59 |  | 52 | 56 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-627_0_4_line_60 |  | 54 | 64 | 0.027691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_261-627_0_4_line_61 |  | 56 | 58 | 0.039827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-627_0_4_line_62 |  | 59 | 60 | 0.01614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-627_0_4_line_63 |  | 60 | 61 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_261-627_0_4_line_64 |  | 60 | 62 | 0.02268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_261-627_0_4_line_65 |  | 60 | 63 | 0.041414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-627_0_4_line_66 |  | 61 | 64 | 0.027764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_261-627_0_4_line_67 |  | 62 | 65 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_261-627_0_4_line_68 |  | 63 | 66 | 0.004488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-627_0_4_line_69 |  | 63 | 67 | 0.005043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-627_0_4_line_70 |  | 68 | 69 | 0.016546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-627_0_4_line_71 |  | 69 | 70 | 0.007881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-627_0_4_line_72 |  | 70 | 72 | 0.00012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-627_0_4_line_73 |  | 71 | 73 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-627_0_4_line_74 |  | 72 | 74 | 0.010663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-627_0_4_line_75 |  | 74 | 75 | 0.01446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-627_0_4_line_76 |  | 75 | 76 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-627_0_4_line_77 |  | 77 | 78 | 0.013542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-627_0_4_line_78 |  | 78 | 79 | 0.0014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-627_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 80 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2678772.1406 | 1248123.2666 | 2678761.8704 | 1248119.761 | 2678749.208 | 1248105.4022
1 | 2678772.1406 | 1248123.2666 | 2678776.4102 | 1248118.5421
2 | 2678776.4102 | 1248118.5421 | 2678787.9145 | 1248129.2027 | 2678794.6886 | 1248135.4862 | 2678797.0244 | 1248138.1747
3 | 2678776.4102 | 1248118.5421 | 2678787.5431 | 1248103.989
4 | 2678793.0452 | 1248152.2988 | 2678795.6747 | 1248139.1464 | 2678797.0244 | 1248138.1747
5 | 2678813.8456 | 1248135.7743 | 2678803.013 | 1248135.9415 | 2678797.9469 | 1248137.5198 | 2678797.0244 | 1248138.1747
6 | 2678789.9839 | 1248100.7984 | 2678787.5431 | 1248103.989
7 | 2678793.0452 | 1248152.2988 | 2678804.9509 | 1248152.079
8 | 2678839.0093 | 1247962.1602 | 2678833.8865 | 1247969.1305 | 2678829.1809 | 1247976.9418
9 | 2678839.4819 | 1247962.6668 | 2678839.0093 | 1247962.1602
10 | 2678819.5634 | 1247992.907 | 2678829.1809 | 1247976.9418
11 | 2678863.6411 | 1247985.2578 | 2678850.4994 | 1247974.4774 | 2678839.4819 | 1247962.6668
12 | 2678766.9544 | 1248079.0106 | 2678754.9688 | 1248066.0563
13 | 2678789.9839 | 1248100.7984 | 2678774.2032 | 1248086.8453 | 2678766.9544 | 1248079.0106
14 | 2678789.9839 | 1248100.7984 | 2678799.2396 | 1248089.6227
15 | 2678799.2396 | 1248089.6227 | 2678808.007 | 1248079.0365
16 | 2678811.553 | 1248074.7549 | 2678808.007 | 1248079.0365
17 | 2678811.553 | 1248074.7549 | 2678801.9315 | 1248066.3747
18 | 2678811.553 | 1248074.7549 | 2678813.703 | 1248072.16
19 | 2678819.5634 | 1247992.907 | 2678815.8801 | 1247999.0215
20 | 2678865.1133 | 1247986.4655 | 2678863.6411 | 1247985.2578
21 | 2678873.2085 | 1247991.6475 | 2678878.2117 | 1247992.5369
22 | 2678878.2117 | 1247992.5369 | 2678879.2726 | 1247987.1693 | 2678881.9607 | 1247984.3808 | 2678884.6405 | 1247973.1714
23 | 2678878.2117 | 1247992.5369 | 2678877.4101 | 1247996.5847 | 2678877.3557 | 1248001.81
24 | 2678873.2085 | 1247991.6475 | 2678872.2122 | 1247997.8387 | 2678870.5919 | 1248003.2545 | 2678868.3626 | 1248006.1825 | 2678853.7772 | 1248023.7904
25 | 2678873.2085 | 1247991.6475 | 2678869.9543 | 1247990.4367 | 2678865.1133 | 1247986.4655
26 | 2678888.7971 | 1247953.971 | 2678885.4558 | 1247969.7611 | 2678884.6405 | 1247973.1714
27 | 2678877.3557 | 1248001.81 | 2678884.033 | 1248002.3215 | 2678890.1126 | 1248002.9139
28 | 2678877.3557 | 1248001.81 | 2678877.3554 | 1248008.0701 | 2678878.7348 | 1248034.1993
29 | 2678890.1126 | 1248002.9139 | 2678889.8329 | 1248010.3044
30 | 2678890.1126 | 1248002.9139 | 2678890.978 | 1247994.6416 | 2678892.2255 | 1247987.1773
31 | 2678878.7348 | 1248034.1993 | 2678879.6713 | 1248051.9385
32 | 2678889.8329 | 1248010.3044 | 2678893.821 | 1248011.992 | 2678912.8294 | 1248028.4329
33 | 2678889.8329 | 1248010.3044 | 2678889.4245 | 1248026.2328 | 2678889.6656 | 1248033.6525 | 2678890.7075 | 1248048.9644
34 | 2678896.0099 | 1247970.7173 | 2678895.7758 | 1247971.811 | 2678892.7506 | 1247984.0352 | 2678892.2255 | 1247987.1773
35 | 2678894.8509 | 1248109.3544 | 2678894.1031 | 1248098.4607
36 | 2678894.8509 | 1248109.3544 | 2678895.8381 | 1248124.5815
37 | 2678897.1567 | 1248144.9221 | 2678895.8381 | 1248124.5815
38 | 2678941.0433 | 1248051.4396 | 2678932.8866 | 1248045.7809 | 2678912.8294 | 1248028.4329
39 | 2678887.4364 | 1248164.229 | 2678869.9892 | 1248164.8641 | 2678868.6643 | 1248164.9615
40 | 2678887.4364 | 1248164.229 | 2678887.7512 | 1248168.3807 | 2678893.0771 | 1248168.2737 | 2678891.6003 | 1248145.3262 | 2678897.1567 | 1248144.9221
41 | 2678887.4364 | 1248164.229 | 2678887.7512 | 1248168.3807 | 2678893.0771 | 1248168.2737 | 2678895.7981 | 1248199.8885 | 2678900.864 | 1248199.4556 | 2678901.932 | 1248208.8655 | 2678903.1114 | 1248208.77 | 2678929.892 | 1248209.3713 | 2678963.4388 | 1248185.6562 | 2678992.8217 | 1248161.0073 | 2678997.2848 | 1248161.6117 | 2679005.9731 | 1248172.1573
42 | 2678897.1567 | 1248144.9221 | 2678905.3818 | 1248144.3311 | 2678909.4293 | 1248143.1196
43 | 2679005.9731 | 1248172.1573 | 2679014.4161 | 1248182.3995 | 2679015.0205 | 1248189.7462 | 2679016.4671 | 1248191.4208
44 | 2678927.7404 | 1248127.0184 | 2678919.288 | 1248136.8107 | 2678912.3882 | 1248142.2339 | 2678909.4293 | 1248143.1196
45 | 2678982.792 | 1247889.009 | 2678971.2259 | 1247882.4058 | 2678962.3958 | 1247877.3623 | 2678923.0862 | 1247866.9203
46 | 2678923.0862 | 1247866.9203 | 2678920.9247 | 1247873.2628 | 2678918.976 | 1247875.5385 | 2678917.0834 | 1247879.2716 | 2678912.2448 | 1247897.2092 | 2678909.5599 | 1247908.2593 | 2678906.3183 | 1247922.5488 | 2678896.0099 | 1247970.7173
47 | 2678982.792 | 1247889.009 | 2678978.997 | 1247892.6723 | 2678970.2119 | 1247932.9957
48 | 2678982.792 | 1247889.009 | 2678999.4019 | 1247903.652 | 2679004.7357 | 1247909.772 | 2679018.2865 | 1247931.2237
49 | 2678881.3556 | 1248083.8439 | 2678879.6713 | 1248051.9385
50 | 2678881.3556 | 1248083.8439 | 2678881.5113 | 1248086.7938 | 2678882.895 | 1248104.8778
51 | 2678883.4418 | 1248112.0235 | 2678882.895 | 1248104.8778
52 | 2678845.396 | 1248033.9084 | 2678853.7772 | 1248023.7904
53 | 2678929.9033 | 1248085.4917 | 2678923.0224 | 1248093.451 | 2678921.3311 | 1248095.1839
54 | 2678941.68 | 1248071.7891 | 2678940.3277 | 1248073.4334 | 2678929.9033 | 1248085.4917
55 | 2678952.1042 | 1248059.1131 | 2678941.0433 | 1248051.4396
56 | 2679024.0781 | 1247940.3853 | 2679031.4262 | 1247939.8829 | 2679039.6696 | 1247951.5234 | 2679061.1295 | 1247981.9094 | 2679070.5891 | 1247992.9658 | 2679073.9267 | 1247996.9799 | 2679083.0775 | 1248008.5325
57 | 2679083.0775 | 1248008.5325 | 2679057.1892 | 1248041.6811
58 | 2679022.1807 | 1247966.568 | 2679027.6654 | 1247946.0706 | 2679024.0781 | 1247940.3853
59 | 2679018.2865 | 1247931.2237 | 2679024.0781 | 1247940.3853
60 | 2678945.0356 | 1248105.4061 | 2678934.2232 | 1248119.5079 | 2678927.7404 | 1248127.0184
61 | 2679009.8145 | 1247970.1392 | 2679018.2865 | 1247931.2237
62 | 2678970.9152 | 1248071.7839 | 2678984.0268 | 1248081.1965
63 | 2678970.9152 | 1248071.7839 | 2678961.9508 | 1248083.3894
64 | 2678952.1042 | 1248059.1131 | 2678966.6111 | 1248068.88 | 2678970.9152 | 1248071.7839
65 | 2678956.8543 | 1248041.0187 | 2678951.5372 | 1248052.3562 | 2678963.8376 | 1248060.5037 | 2678965.7188 | 1248063.8645 | 2678966.6111 | 1248068.88 | 2678970.9152 | 1248071.7839
66 | 2678945.0356 | 1248105.4061 | 2678957.3047 | 1248089.4044 | 2678961.9508 | 1248083.3894
67 | 2678952.1042 | 1248059.1131 | 2678941.68 | 1248071.7891
68 | 2678952.6617 | 1248039.3839 | 2678956.8543 | 1248041.0187
69 | 2678961.8703 | 1248040.3739 | 2678956.8543 | 1248041.0187
70 | 2678813.703 | 1248072.16 | 2678824.2596 | 1248059.4189
71 | 2678829.2877 | 1248053.3502 | 2678824.2596 | 1248059.4189
72 | 2678829.3677 | 1248053.2536 | 2678829.2877 | 1248053.3502
73 | 2678786.346 | 1248046.0769 | 2678787.0118 | 1248053.3799 | 2678801.9315 | 1248066.3747
74 | 2678829.3677 | 1248053.2536 | 2678836.1707 | 1248045.0428
75 | 2678845.396 | 1248033.9084 | 2678836.1707 | 1248045.0428
76 | 2678845.396 | 1248033.9084 | 2678833.8296 | 1248026.7126
77 | 2678808.8925 | 1248010.621 | 2678815.8801 | 1247999.0215
78 | 2678808.1371 | 1248011.8749 | 2678808.8925 | 1248010.621

## bus_geodata
| x | y | coords
0 | 2678749.208 | 1248105.4022
1 | 2678772.1406 | 1248123.2666
2 | 2678776.4102 | 1248118.5421
3 | 2678797.0244 | 1248138.1747
4 | 2678787.5431 | 1248103.989
5 | 2678793.0452 | 1248152.2988
6 | 2678813.8456 | 1248135.7743
7 | 2678839.0093 | 1247962.1602
8 | 2678829.1809 | 1247976.9418
9 | 2678839.4819 | 1247962.6668
10 | 2678754.9688 | 1248066.0563
11 | 2678766.9544 | 1248079.0106
12 | 2678789.9839 | 1248100.7984
13 | 2678804.9509 | 1248152.079
14 | 2678799.2396 | 1248089.6227
15 | 2678808.007 | 1248079.0365
16 | 2678811.553 | 1248074.7549
17 | 2678819.5634 | 1247992.907
18 | 2678863.6411 | 1247985.2578
19 | 2678878.2117 | 1247992.5369
20 | 2678873.2085 | 1247991.6475
21 | 2678884.6405 | 1247973.1714
22 | 2678877.3557 | 1248001.81
23 | 2678890.1126 | 1248002.9139
24 | 2678878.7348 | 1248034.1993
25 | 2678889.8329 | 1248010.3044
26 | 2678892.2255 | 1247987.1773
27 | 2678894.8509 | 1248109.3544
28 | 2678894.1031 | 1248098.4607
29 | 2678895.8381 | 1248124.5815
30 | 2678912.8294 | 1248028.4329
31 | 2678890.7075 | 1248048.9644
32 | 2678887.4364 | 1248164.2291
33 | 2678868.6643 | 1248164.9615
34 | 2678897.1567 | 1248144.9221
35 | 2679005.9731 | 1248172.1573
36 | 2678909.4293 | 1248143.1196
37 | 2678923.0862 | 1247866.9203
38 | 2678982.792 | 1247889.009
39 | 2678896.0099 | 1247970.7173
40 | 2678888.7971 | 1247953.971
41 | 2678879.6713 | 1248051.9385
42 | 2678881.3556 | 1248083.8439
43 | 2678882.895 | 1248104.8778
44 | 2679016.4671 | 1248191.4208
45 | 2678883.4418 | 1248112.0235
46 | 2678853.7772 | 1248023.7904
47 | 2678865.1133 | 1247986.4655
48 | 2678921.3311 | 1248095.1839
49 | 2678929.9033 | 1248085.4917
50 | 2678941.0433 | 1248051.4396
51 | 2679083.0775 | 1248008.5325
52 | 2679024.0781 | 1247940.3853
53 | 2679057.1892 | 1248041.6811
54 | 2678927.7404 | 1248127.0184
55 | 2678970.2119 | 1247932.9957
56 | 2679018.2865 | 1247931.2237
57 | 2679022.1807 | 1247966.568
58 | 2679009.8145 | 1247970.1392
59 | 2678984.0268 | 1248081.1965
60 | 2678970.9152 | 1248071.7839
61 | 2678961.9508 | 1248083.3894
62 | 2678952.1042 | 1248059.1131
63 | 2678956.8543 | 1248041.0187
64 | 2678945.0356 | 1248105.4061
65 | 2678941.68 | 1248071.7891
66 | 2678952.6617 | 1248039.3839
67 | 2678961.8703 | 1248040.3739
68 | 2678813.703 | 1248072.16
69 | 2678824.2596 | 1248059.4189
70 | 2678829.2877 | 1248053.3502
71 | 2678801.9315 | 1248066.3747
72 | 2678829.3677 | 1248053.2536
73 | 2678786.346 | 1248046.0769
74 | 2678836.1707 | 1248045.0428
75 | 2678845.396 | 1248033.9084
76 | 2678833.8296 | 1248026.7126
77 | 2678815.8801 | 1247999.0215
78 | 2678808.8925 | 1248010.621
79 | 2678808.1371 | 1248011.8749
80 | 2678952.1042 | 1248059.1131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97904 | -0.40387 | 0.0089242 | 0.0022366
1 | 0.97929 | -0.399 | 0 | 0
2 | 0.97934 | -0.39797 | 0 | 0
3 | 0.97886 | -0.40731 | 0 | 0
4 | 0.9798 | -0.38899 | 0.0046884 | 0.001175
5 | 0.97872 | -0.41006 | 0 | 0
6 | 0.97874 | -0.40981 | 0.0079893 | 0.0020023
7 | 0.98624 | -0.26342 | 0 | 0
8 | 0.98597 | -0.26884 | 0.0041819 | 0.0010481
9 | 0.98626 | -0.26321 | 0.0075825 | 0.0019004
10 | 0.97971 | -0.39061 | 0.0026444 | 0.00066275
11 | 0.97976 | -0.38976 | 0.0026917 | 0.0006746
12 | 0.97991 | -0.38669 | 0 | 0
13 | 0.97861 | -0.41223 | 0.010044 | 0.0025173
14 | 0.98041 | -0.37695 | 0.0039124 | 0.00098054
15 | 0.98093 | -0.36676 | 0.0023348 | 0.00058516
16 | 0.98115 | -0.36241 | 0 | 0
17 | 0.98575 | -0.27313 | 0.0029516 | 0.00073974
18 | 0.98701 | -0.24861 | 0.0028073 | 0.00070358
19 | 0.98782 | -0.23285 | 0 | 0
20 | 0.98733 | -0.24219 | 0 | 0
21 | 0.98769 | -0.23542 | 0.0030758 | 0.00077086
22 | 0.98877 | -0.21448 | 0 | 0
23 | 0.98966 | -0.19728 | 0 | 0
24 | 0.98755 | -0.23805 | 0.007002 | 0.0017549
25 | 0.99014 | -0.18802 | 0 | 0
26 | 0.98877 | -0.21432 | 0.0036876 | 0.00092419
27 | 0.9887 | -0.21493 | 0 | 0
28 | 0.98866 | -0.21581 | 0.0045518 | 0.0011408
29 | 0.98876 | -0.21369 | 0.0092919 | 0.0023288
30 | 0.99214 | -0.1496 | 0.0085757 | 0.0021493
31 | 0.9898 | -0.19453 | 0.0094543 | 0.0023695
32 | 0.98562 | -0.27389 | 0 | 0
33 | 0.98534 | -0.27934 | 0.016171 | 0.0040529
34 | 0.98902 | -0.20866 | 0 | 0
35 | 0.97211 | -0.53678 | 0 | 0
36 | 0.9903 | -0.18431 | 0.0094434 | 0.0023667
37 | 0.98316 | -0.32286 | 0 | 0
38 | 0.98035 | -0.37775 | 0 | 0
39 | 0.98789 | -0.23137 | 0.0092335 | 0.0023141
40 | 0.98762 | -0.23676 | 0.0038181 | 0.00095691
41 | 0.987 | -0.24876 | 0.0061613 | 0.0015442
42 | 0.98619 | -0.26453 | 0.014094 | 0.0035324
43 | 0.98593 | -0.26962 | 0.010411 | 0.0026092
44 | 0.9704 | -0.57043 | 0.079683 | 0.019971
45 | 0.98591 | -0.27001 | 0.0030553 | 0.00076574
46 | 0.98478 | -0.29165 | 0.0037607 | 0.00094252
47 | 0.98705 | -0.24767 | 0.0040636 | 0.0010184
48 | 0.99993 | -0.0012639 | 0.0056023 | 0.0014041
49 | 1 | 0 | -0.42364 | -0.10829
50 | 0.99471 | -0.10044 | 0.0040719 | 0.0010205
51 | 0.97778 | -0.42809 | 0 | 0
52 | 0.97833 | -0.41737 | 0 | 0
53 | 0.97754 | -0.43292 | 0.0062983 | 0.0015785
54 | 0.99167 | -0.15809 | 0.0056005 | 0.0014036
55 | 0.97987 | -0.38719 | 0.011182 | 0.0028024
56 | 0.97848 | -0.41427 | 0 | 0
57 | 0.97808 | -0.42216 | 0.0094189 | 0.0023606
58 | 0.97773 | -0.42907 | 0.020403 | 0.0051134
59 | 0.99432 | -0.10782 | 0.01015 | 0.0025439
60 | 0.99447 | -0.10493 | 0 | 0
61 | 0.99386 | -0.11644 | 0.0034956 | 0.00087607
62 | 0.99567 | -0.082027 | 0 | 0
63 | 0.99339 | -0.12571 | 0 | 0
64 | 0.99274 | -0.1377 | 0.0052702 | 0.0013208
65 | 0.99772 | -0.043126 | 0.0045939 | 0.0011513
66 | 0.99335 | -0.12653 | 0.010247 | 0.0025681
67 | 0.99331 | -0.12733 | 0.018193 | 0.0045596
68 | 0.9813 | -0.35946 | 0.0030965 | 0.00077606
69 | 0.98209 | -0.34408 | 0.0026798 | 0.00067161
70 | 0.98249 | -0.33638 | 0.0033159 | 0.00083104
71 | 0.98109 | -0.36358 | 0.0021866 | 0.00054802
72 | 0.98249 | -0.33625 | 0.002054 | 0.00051478
73 | 0.98102 | -0.365 | 0.00289 | 0.00072431
74 | 0.98308 | -0.3248 | 0.0061281 | 0.0015358
75 | 0.98396 | -0.30772 | 0 | 0
76 | 0.98393 | -0.3083 | 0.0023723 | 0.00059455
77 | 0.98568 | -0.27439 | 0.0036699 | 0.00091976
78 | 0.9856 | -0.2759 | 0.0031596 | 0.00079187
79 | 0.9856 | -0.27598 | 0.0030506 | 0.00076454
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0089242 | -0.0022366 | 0.0089263 | 0.0022376 | 2.0694e-06 | 9.4713e-07 | 0.013564 | 0.013564 | 0.013564 | 0.97904 | -0.40387 | 0.97929 | -0.399 | 3.7263
1 | -0.0089263 | -0.0022376 | 0.0089267 | 0.0022378 | 4.3877e-07 | 2.0079e-07 | 0.013564 | 0.013563 | 0.013564 | 0.97929 | -0.399 | 0.97934 | -0.39797 | 3.7262
2 | 0.018045 | 0.0045259 | -0.018037 | -0.0045211 | 8.0305e-06 | 4.7813e-06 | 0.027419 | 0.027419 | 0.027419 | 0.97934 | -0.39797 | 0.97886 | -0.40731 | 7.5326
3 | -0.026971 | -0.0067637 | 0.026983 | 0.0067708 | 1.154e-05 | 7.1551e-06 | 0.040982 | 0.040982 | 0.040982 | 0.97934 | -0.39797 | 0.9798 | -0.38899 | 11.2588
4 | 0.010046 | 0.0025184 | -0.010045 | -0.0025178 | 1.3184e-06 | 6.543e-07 | 0.015272 | 0.015272 | 0.015272 | 0.97886 | -0.40731 | 0.97872 | -0.41006 | 4.1957
5 | 0.0079903 | 0.0020027 | -0.0079893 | -0.0020023 | 9.5289e-07 | 3.9338e-07 | 0.012146 | 0.012147 | 0.012147 | 0.97886 | -0.40731 | 0.97874 | -0.40981 | 3.337
6 | -0.031671 | -0.0079459 | 0.031675 | 0.007948 | 3.4856e-06 | 2.1802e-06 | 0.048102 | 0.048102 | 0.048102 | 0.9798 | -0.38899 | 0.97991 | -0.38669 | 13.2149
7 | 0.010045 | 0.0025178 | -0.010044 | -0.0025173 | 1.0384e-06 | 5.1539e-07 | 0.015272 | 0.015272 | 0.015272 | 0.97872 | -0.41006 | 0.97861 | -0.41223 | 4.1957
8 | 0.017022 | 0.0042684 | -0.017017 | -0.0042658 | 4.3953e-06 | 2.5863e-06 | 0.025682 | 0.025683 | 0.025683 | 0.98624 | -0.26342 | 0.98597 | -0.26884 | 7.0557
9 | -0.017022 | -0.0042684 | 0.017022 | 0.0042685 | 1.7137e-07 | 1.0083e-07 | 0.025682 | 0.025682 | 0.025682 | 0.98624 | -0.26342 | 0.98626 | -0.26321 | 7.0556
10 | 0.012835 | 0.0032177 | -0.012833 | -0.0032163 | 2.6227e-06 | 1.4409e-06 | 0.019371 | 0.019371 | 0.019371 | 0.98597 | -0.26884 | 0.98575 | -0.27313 | 5.3218
11 | -0.024604 | -0.0061689 | 0.024621 | 0.0061794 | 1.7131e-05 | 1.054e-05 | 0.037123 | 0.037123 | 0.037123 | 0.98626 | -0.26321 | 0.98701 | -0.24861 | 10.1985
12 | -0.0026444 | -0.00066275 | 0.0026445 | 0.0006626 | 1.0676e-07 | -1.5392e-07 | 0.0040164 | 0.0040163 | 0.0040164 | 0.97971 | -0.39061 | 0.97976 | -0.38976 | 1.1034
13 | -0.0053362 | -0.0013372 | 0.005337 | 0.0013373 | 7.8171e-07 | 1.0053e-07 | 0.0081043 | 0.0081042 | 0.0081043 | 0.97976 | -0.38976 | 0.97991 | -0.38669 | 2.2265
14 | -0.037012 | -0.0092853 | 0.037029 | 0.0092962 | 1.7191e-05 | 1.0819e-05 | 0.056206 | 0.056206 | 0.056206 | 0.97991 | -0.38669 | 0.98041 | -0.37695 | 15.4413
15 | -0.040941 | -0.010277 | 0.040961 | 0.010289 | 1.9906e-05 | 1.2567e-05 | 0.062144 | 0.062144 | 0.062144 | 0.98041 | -0.37695 | 0.98093 | -0.36676 | 17.0726
16 | -0.043296 | -0.010874 | 0.043305 | 0.01088 | 8.995e-06 | 5.6866e-06 | 0.065686 | 0.065686 | 0.065686 | 0.98093 | -0.36676 | 0.98115 | -0.36241 | 18.0456
17 | 0.0050771 | 0.0012721 | -0.0050768 | -0.0012721 | 2.8368e-07 | 2.042e-08 | 0.0076998 | 0.0076999 | 0.0076999 | 0.98115 | -0.36241 | 0.98109 | -0.36358 | 2.1154
18 | -0.048382 | -0.012152 | 0.048389 | 0.012157 | 6.8056e-06 | 4.313e-06 | 0.073386 | 0.073386 | 0.073386 | 0.98115 | -0.36241 | 0.9813 | -0.35946 | 20.1609
19 | 0.0098811 | 0.0024766 | -0.0098805 | -0.0024763 | 5.9555e-07 | 2.9016e-07 | 0.014916 | 0.014916 | 0.014916 | 0.98575 | -0.27313 | 0.98568 | -0.27439 | 4.0978
20 | -0.027429 | -0.006883 | 0.02743 | 0.0068837 | 1.2212e-06 | 7.5726e-07 | 0.041355 | 0.041355 | 0.041355 | 0.98701 | -0.24861 | 0.98705 | -0.24767 | 11.3612
21 | 0.10371 | 0.026194 | -0.10367 | -0.026164 | 4.642e-05 | 2.9644e-05 | 0.1563 | 0.1563 | 0.1563 | 0.98782 | -0.23285 | 0.98733 | -0.24219 | 42.9397
22 | 0.006895 | 0.0017279 | -0.0068941 | -0.0017277 | 8.4427e-07 | 2.732e-07 | 0.010386 | 0.010386 | 0.010386 | 0.98782 | -0.23285 | 0.98769 | -0.23542 | 2.8534
23 | -0.11061 | -0.027922 | 0.1107 | 0.027984 | 9.7451e-05 | 6.2248e-05 | 0.16669 | 0.16669 | 0.16669 | 0.98782 | -0.23285 | 0.98877 | -0.21448 | 45.7931
24 | 0.072164 | 0.018257 | -0.071993 | -0.018148 | 0.00017082 | 0.00010884 | 0.10882 | 0.10882 | 0.10882 | 0.98733 | -0.24219 | 0.98478 | -0.29165 | 29.8956
25 | 0.031502 | 0.0079073 | -0.031494 | -0.0079022 | 8.2289e-06 | 5.1421e-06 | 0.047481 | 0.047481 | 0.047481 | 0.98733 | -0.24219 | 0.98705 | -0.24767 | 13.0442
26 | 0.0038183 | 0.00095681 | -0.0038181 | -0.00095691 | 2.438e-07 | -9.5384e-08 | 0.0057525 | 0.0057526 | 0.0057526 | 0.98769 | -0.23542 | 0.98762 | -0.23676 | 1.5804
27 | -0.15152 | -0.038245 | 0.15164 | 0.038324 | 0.00012494 | 7.9633e-05 | 0.22812 | 0.22812 | 0.22812 | 0.98877 | -0.21448 | 0.98966 | -0.19728 | 31.3346
28 | 0.040811 | 0.010261 | -0.040765 | -0.010232 | 4.5885e-05 | 2.8951e-05 | 0.061429 | 0.061429 | 0.061429 | 0.98877 | -0.21448 | 0.98755 | -0.23805 | 16.8761
29 | -0.21239 | -0.053745 | 0.21248 | 0.053805 | 9.4397e-05 | 6.0129e-05 | 0.31952 | 0.31952 | 0.31952 | 0.98966 | -0.19728 | 0.99014 | -0.18802 | 29.26
30 | 0.060745 | 0.015421 | -0.060695 | -0.015389 | 4.9769e-05 | 3.1648e-05 | 0.091404 | 0.091404 | 0.091404 | 0.98966 | -0.19728 | 0.98877 | -0.21432 | 25.111
31 | 0.033763 | 0.0084769 | -0.033746 | -0.0084661 | 1.7244e-05 | 1.0809e-05 | 0.050879 | 0.050879 | 0.050879 | 0.98755 | -0.23805 | 0.987 | -0.24876 | 13.9777
32 | -0.22194 | -0.056176 | 0.22235 | 0.056437 | 0.00041018 | 0.00026138 | 0.33373 | 0.33373 | 0.33373 | 0.99014 | -0.18802 | 0.99214 | -0.1496 | 30.5615
33 | 0.0094572 | 0.0023709 | -0.0094543 | -0.0023695 | 2.932e-06 | 1.3788e-06 | 0.014213 | 0.014213 | 0.014213 | 0.99014 | -0.18802 | 0.9898 | -0.19453 | 3.9047
34 | 0.057007 | 0.014465 | -0.056961 | -0.014435 | 4.6706e-05 | 2.9675e-05 | 0.085855 | 0.085855 | 0.085855 | 0.98877 | -0.21432 | 0.98789 | -0.23137 | 23.5864
35 | 0.004552 | 0.0011408 | -0.0045518 | -0.0011408 | 1.9218e-07 | -1.7032e-08 | 0.0068508 | 0.0068509 | 0.0068509 | 0.9887 | -0.21493 | 0.98866 | -0.21581 | 1.8821
36 | -0.004552 | -0.0011408 | 0.0045522 | 0.0011407 | 2.6856e-07 | -2.3826e-08 | 0.0068508 | 0.0068507 | 0.0068508 | 0.9887 | -0.21493 | 0.98876 | -0.21369 | 1.8821
37 | -0.013844 | -0.0034695 | 0.013847 | 0.0034714 | 3.3179e-06 | 1.862e-06 | 0.020834 | 0.020834 | 0.020834 | 0.98876 | -0.21369 | 0.98902 | -0.20866 | 5.7237
38 | -0.23092 | -0.058587 | 0.23147 | 0.058936 | 0.00054727 | 0.00034884 | 0.34659 | 0.34659 | 0.34659 | 0.99214 | -0.1496 | 0.99471 | -0.10044 | 31.7393
39 | 0.016176 | 0.0040554 | -0.016171 | -0.0040529 | 4.2018e-06 | 2.4498e-06 | 0.024421 | 0.024421 | 0.024421 | 0.98562 | -0.27389 | 0.98534 | -0.27934 | 6.7092
40 | -0.097002 | -0.024755 | 0.097309 | 0.024951 | 0.00030674 | 0.00019583 | 0.14661 | 0.14661 | 0.14661 | 0.98562 | -0.27389 | 0.98902 | -0.20866 | 40.2765
41 | 0.080827 | 0.0207 | -0.079811 | -0.020052 | 0.0010153 | 0.00064751 | 0.12219 | 0.12219 | 0.12219 | 0.98562 | -0.27389 | 0.97211 | -0.53678 | 33.5677
42 | -0.11116 | -0.028422 | 0.11129 | 0.028506 | 0.00013112 | 8.3755e-05 | 0.16744 | 0.16744 | 0.16744 | 0.98902 | -0.20866 | 0.9903 | -0.18431 | 46.0001
43 | 0.079811 | 0.020052 | -0.079683 | -0.019971 | 0.00012797 | 8.1619e-05 | 0.12219 | 0.12219 | 0.12219 | 0.97211 | -0.53678 | 0.9704 | -0.57043 | 33.5677
44 | -0.12073 | -0.030873 | 0.12088 | 0.03097 | 0.0001534 | 9.7538e-05 | 0.18163 | 0.18163 | 0.18163 | 0.9903 | -0.18431 | 0.99167 | -0.15809 | 24.9491
45 | 0.047518 | 0.011989 | -0.047394 | -0.01191 | 0.00012454 | 7.8897e-05 | 0.071947 | 0.071947 | 0.071947 | 0.98316 | -0.32286 | 0.98035 | -0.37775 | 19.7658
46 | -0.047518 | -0.011989 | 0.047727 | 0.012121 | 0.00020915 | 0.00013248 | 0.071947 | 0.071947 | 0.071947 | 0.98316 | -0.32286 | 0.98789 | -0.23137 | 19.7657
47 | 0.011187 | 0.0028051 | -0.011182 | -0.0028024 | 5.0318e-06 | 2.6339e-06 | 0.01698 | 0.016981 | 0.016981 | 0.98035 | -0.37775 | 0.97987 | -0.38719 | 4.665
48 | 0.036207 | 0.0091046 | -0.036144 | -0.0090649 | 6.3034e-05 | 3.9642e-05 | 0.054967 | 0.054967 | 0.054967 | 0.98035 | -0.37775 | 0.97848 | -0.41427 | 15.1009
49 | 0.027585 | 0.006922 | -0.027564 | -0.0069091 | 2.0724e-05 | 1.2856e-05 | 0.04159 | 0.04159 | 0.04159 | 0.987 | -0.24876 | 0.98619 | -0.26453 | 11.4259
50 | 0.01347 | 0.0033767 | -0.013466 | -0.0033749 | 3.2669e-06 | 1.8218e-06 | 0.020324 | 0.020324 | 0.020324 | 0.98619 | -0.26453 | 0.98593 | -0.26962 | 5.5835
51 | 0.0030554 | 0.00076569 | -0.0030553 | -0.00076574 | 5.7147e-08 | -5.4817e-08 | 0.0046113 | 0.0046114 | 0.0046114 | 0.98593 | -0.26962 | 0.98591 | -0.27001 | 1.2669
52 | 0.068232 | 0.017206 | -0.06818 | -0.017172 | 5.2409e-05 | 3.3375e-05 | 0.10314 | 0.10314 | 0.10314 | 0.98478 | -0.29165 | 0.98396 | -0.30772 | 28.3345
53 | -0.0056023 | -0.0014041 | 0.0056026 | 0.0014041 | 3.3733e-07 | 4.6105e-08 | 0.0083369 | 0.0083368 | 0.0083369 | 0.99993 | -0.0012639 | 1 | 0 | 2.2903
54 | 0.41639 | 0.10689 | -0.41552 | -0.10633 | 0.00086957 | 0.00055582 | 0.62049 | 0.62049 | 0.62049 | 1 | 0 | 0.99772 | -0.043126 | 56.8216
55 | -0.23554 | -0.059956 | 0.23575 | 0.060089 | 0.00020931 | 0.00013343 | 0.35268 | 0.35268 | 0.35268 | 0.99471 | -0.10044 | 0.99567 | -0.082027 | 32.2971
56 | -0.0062998 | -0.0015789 | 0.006303 | 0.0015798 | 3.217e-06 | 8.8753e-07 | 0.0095872 | 0.0095868 | 0.0095872 | 0.97778 | -0.42809 | 0.97833 | -0.41737 | 2.6338
57 | 0.0062998 | 0.0015789 | -0.0062983 | -0.0015785 | 1.4497e-06 | 4.0042e-07 | 0.0095872 | 0.0095874 | 0.0095874 | 0.97778 | -0.42809 | 0.97754 | -0.43292 | 2.6339
58 | 0.0094211 | 0.0023616 | -0.0094189 | -0.0023606 | 2.1509e-06 | 1.0259e-06 | 0.014329 | 0.01433 | 0.01433 | 0.97833 | -0.41737 | 0.97808 | -0.42216 | 3.9367
59 | -0.015724 | -0.0039414 | 0.015726 | 0.0039428 | 2.323e-06 | 1.3507e-06 | 0.023916 | 0.023916 | 0.023916 | 0.97833 | -0.41737 | 0.97848 | -0.41427 | 6.5704
60 | -0.12649 | -0.032374 | 0.12661 | 0.032453 | 0.000125 | 7.8927e-05 | 0.19003 | 0.19003 | 0.19003 | 0.99167 | -0.15809 | 0.99274 | -0.1377 | 17.4023
61 | 0.020417 | 0.0051221 | -0.020403 | -0.0051134 | 1.44e-05 | 8.7161e-06 | 0.031051 | 0.031051 | 0.031051 | 0.97848 | -0.41427 | 0.97773 | -0.42907 | 8.5306
62 | -0.01015 | -0.0025439 | 0.010152 | 0.0025445 | 1.3965e-06 | 6.8439e-07 | 0.01519 | 0.01519 | 0.01519 | 0.99432 | -0.10782 | 0.99447 | -0.10493 | 4.173
63 | 0.13559 | 0.034784 | -0.13551 | -0.034736 | 7.5662e-05 | 4.7853e-05 | 0.20316 | 0.20317 | 0.20317 | 0.99447 | -0.10493 | 0.99386 | -0.11644 | 18.6049
64 | -0.17421 | -0.044474 | 0.1744 | 0.044597 | 0.00019306 | 0.00012268 | 0.26096 | 0.26096 | 0.26096 | 0.99447 | -0.10493 | 0.99567 | -0.082027 | 23.8972
65 | 0.02847 | 0.0071462 | -0.028442 | -0.0071287 | 2.8188e-05 | 1.7504e-05 | 0.042603 | 0.042603 | 0.042603 | 0.99447 | -0.10493 | 0.99339 | -0.12571 | 11.7042
66 | 0.13202 | 0.03386 | -0.13188 | -0.033774 | 0.00013597 | 8.594e-05 | 0.19793 | 0.19793 | 0.19793 | 0.99386 | -0.11644 | 0.99274 | -0.1377 | 18.1256
67 | -0.41015 | -0.10469 | 0.41093 | 0.10518 | 0.00077249 | 0.00049375 | 0.61364 | 0.61364 | 0.61364 | 0.99567 | -0.082027 | 0.99772 | -0.043126 | 56.1942
68 | 0.010247 | 0.0025683 | -0.010247 | -0.0025681 | 3.9654e-07 | 1.9568e-07 | 0.01535 | 0.01535 | 0.01535 | 0.99339 | -0.12571 | 0.99335 | -0.12653 | 4.2169
69 | 0.018194 | 0.0045604 | -0.018193 | -0.0045596 | 1.4047e-06 | 8.337e-07 | 0.027254 | 0.027254 | 0.027254 | 0.99339 | -0.12571 | 0.99331 | -0.12733 | 7.4873
70 | -0.051485 | -0.012933 | 0.051523 | 0.012957 | 3.7829e-05 | 2.4001e-05 | 0.078081 | 0.078081 | 0.078081 | 0.9813 | -0.35946 | 0.98209 | -0.34408 | 21.4509
71 | -0.054203 | -0.013628 | 0.054223 | 0.013641 | 1.9941e-05 | 1.2662e-05 | 0.082141 | 0.082141 | 0.082141 | 0.98209 | -0.34408 | 0.98249 | -0.33638 | 22.5663
72 | -0.057539 | -0.014472 | 0.057539 | 0.014472 | 3.5736e-07 | 2.2712e-07 | 0.087163 | 0.087163 | 0.087163 | 0.98249 | -0.33638 | 0.98249 | -0.33625 | 23.946
73 | 0.0028902 | 0.00072409 | -0.00289 | -0.00072431 | 1.9541e-07 | -2.1737e-07 | 0.0043835 | 0.0043836 | 0.0043836 | 0.98109 | -0.36358 | 0.98102 | -0.365 | 1.2043
74 | -0.059593 | -0.014987 | 0.059626 | 0.015008 | 3.2587e-05 | 2.072e-05 | 0.090274 | 0.090274 | 0.090274 | 0.98249 | -0.33625 | 0.98308 | -0.3248 | 24.8006
75 | -0.065754 | -0.016544 | 0.065808 | 0.016578 | 5.3737e-05 | 3.4208e-05 | 0.09955 | 0.09955 | 0.09955 | 0.98308 | -0.3248 | 0.98396 | -0.30772 | 27.3489
76 | 0.0023724 | 0.00059442 | -0.0023723 | -0.00059455 | 6.5749e-08 | -1.3094e-07 | 0.0035876 | 0.0035877 | 0.0035877 | 0.98396 | -0.30772 | 0.98393 | -0.3083 | 0.98562
77 | 0.0062106 | 0.0015565 | -0.0062102 | -0.0015564 | 4.4639e-07 | 1.131e-07 | 0.0093757 | 0.0093758 | 0.0093758 | 0.98568 | -0.27439 | 0.9856 | -0.2759 | 2.5758
78 | 0.0030506 | 0.00076453 | -0.0030506 | -0.00076454 | 1.1644e-08 | -1.1203e-08 | 0.0046056 | 0.0046056 | 0.0046056 | 0.9856 | -0.2759 | 0.9856 | -0.27598 | 1.2653

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42827 | 0.10945

## res_load
| p_mw | q_mvar
0 | 0.0089242 | 0.0022366
1 | 0.0046884 | 0.001175
2 | 0.0079893 | 0.0020023
3 | 0.0041819 | 0.0010481
4 | 0.0075825 | 0.0019004
5 | 0.0026444 | 0.00066275
6 | 0.0026917 | 0.0006746
7 | 0.010044 | 0.0025173
8 | 0.0039124 | 0.00098054
9 | 0.0023348 | 0.00058516
10 | 0.0029516 | 0.00073974
11 | 0.0028073 | 0.00070358
12 | 0.0030758 | 0.00077086
13 | 0.007002 | 0.0017549
14 | 0.0036876 | 0.00092419
15 | 0.0045518 | 0.0011408
16 | 0.0092919 | 0.0023288
17 | 0.0085757 | 0.0021493
18 | 0.0094543 | 0.0023695
19 | 0.016171 | 0.0040529
20 | 0.0094434 | 0.0023667
21 | 0.0092335 | 0.0023141
22 | 0.0038181 | 0.00095691
23 | 0.0061613 | 0.0015442
24 | 0.014094 | 0.0035324
25 | 0.010411 | 0.0026092
26 | 0.079683 | 0.019971
27 | 0.0030553 | 0.00076574
28 | 0.0037607 | 0.00094252
29 | 0.0040636 | 0.0010184
30 | 0.0056023 | 0.0014041
31 | 0.0046295 | 0.0011603
32 | 0.0040719 | 0.0010205
33 | 0.0062983 | 0.0015785
34 | 0.0056005 | 0.0014036
35 | 0.011182 | 0.0028024
36 | 0.0094189 | 0.0023606
37 | 0.020403 | 0.0051134
38 | 0.01015 | 0.0025439
39 | 0.0034956 | 0.00087607
40 | 0.0052702 | 0.0013208
41 | 0.0045939 | 0.0011513
42 | 0.010247 | 0.0025681
43 | 0.018193 | 0.0045596
44 | 0.0030965 | 0.00077606
45 | 0.0026798 | 0.00067161
46 | 0.0033159 | 0.00083104
47 | 0.0021866 | 0.00054802
48 | 0.002054 | 0.00051478
49 | 0.00289 | 0.00072431
50 | 0.0061281 | 0.0015358
51 | 0.0023723 | 0.00059455
52 | 0.0036699 | 0.00091976
53 | 0.0031596 | 0.00079187
54 | 0.0030506 | 0.00076454

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1