## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-62_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-62_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-62_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-62_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-62_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-62_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-62_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-62_0_3_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_261-62_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_261-62_0_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_261-62_0_3_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_261-62_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_261-62_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_261-62_0_3_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_261-62_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_261-62_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_261-62_0_3_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_261-62_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_261-62_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-62_0_3_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_261-62_0_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_261-62_0_3_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_261-62_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_261-62_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_261-62_0_3_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_261-62_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_261-62_0_3_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_261-62_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_261-62_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_261-62_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_261-62_0_3_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_261-62_0_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_261-62_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_261-62_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_261-62_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_261-62_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_261-62_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_261-62_0_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_261-62_0_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_261-62_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_261-62_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_261-62_0_3_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_261-62_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_261-62_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_261-62_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-62_0_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_261-62_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_261-62_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_261-62_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_261-62_0_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_261-62_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_261-62_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_261-62_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_261-62_0_3_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_261-62_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_261-62_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_261-62_0_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_261-62_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_261-62_0_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_261-62_0_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_261-62_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_261-62_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_261-62_0_3_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_261-62_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_261-62_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_261-62_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_261-62_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_261-62_0_3_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_261-62_0_3_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_261-62_0_3_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_261-62_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_261-62_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_261-62_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_261-62_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_MV_359_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-62_0_3_load_0 | 0 | 0.018966 | 0.0047534 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-62_0_3_load_1 | 1 | 0.0021538 | 0.00053979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-62_0_3_load_5 | 4 | 0.018947 | 0.0047484 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-62_0_3_load_6 | 5 | 0.011928 | 0.0029895 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-62_0_3_load_74 | 7 | 0.0076001 | 0.0019048 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-62_0_3_load_78 | 9 | 0.0095027 | 0.0023816 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-62_0_3_load_83 | 13 | 0.0065453 | 0.0016404 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-62_0_3_load_82 | 16 | 0.0092415 | 0.0023161 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-62_0_3_load_7 | 17 | 0.005382 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-62_0_3_load_55 | 19 | 0.008624 | 0.0021614 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-62_0_3_load_60 | 21 | 0.009181 | 0.002301 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-62_0_3_load_77 | 24 | 0.0057383 | 0.0014382 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-62_0_3_load_75 | 26 | 0.0057932 | 0.0014519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-62_0_3_load_76 | 30 | 0.0065828 | 0.0016498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-62_0_3_load_46 | 31 | 0.010647 | 0.0026685 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-62_0_3_load_47 | 33 | 0.040562 | 0.010166 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-62_0_3_load_63 | 35 | 0.0038096 | 0.00095478 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-62_0_3_load_68 | 37 | 0.01203 | 0.0030151 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-62_0_3_load_58 | 38 | 0.0026938 | 0.00067514 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-62_0_3_load_64 | 39 | 0.0017966 | 0.00045028 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-62_0_3_load_73 | 41 | 0.027104 | 0.0067928 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-62_0_3_load_53 | 43 | 0.0076668 | 0.0019215 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-62_0_3_load_44 | 45 | 0.0017001 | 0.00042609 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-62_0_3_load_48 | 47 | 0.0069537 | 0.0017428 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-62_0_3_load_66 | 48 | 0.0032788 | 0.00082175 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-62_0_3_load_65 | 49 | 0.0063139 | 0.0015824 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-62_0_3_load_45 | 50 | 0.010852 | 0.0027198 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-62_0_3_load_35 | 51 | 0.010735 | 0.0026904 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-62_0_3_load_61 | 52 | 0.0019991 | 0.00050101 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-62_0_3_load_80 | 53 | 0.0085999 | 0.0021553 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-62_0_3_load_56 | 55 | 0.0022002 | 0.00055143 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-62_0_3_load_72 | 56 | 0.0055693 | 0.0013958 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-62_0_3_load_54 | 57 | 0.0073608 | 0.0018448 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-62_0_3_load_69 | 58 | 0.0042023 | 0.0010532 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-62_0_3_load_70 | 59 | 0.0017411 | 0.00043636 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-62_0_3_load_67 | 60 | 0.0038644 | 0.0009685 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-62_0_3_load_36 | 61 | 0.0017777 | 0.00044553 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-62_0_3_load_51 | 63 | 0.0052068 | 0.001305 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-62_0_3_load_52 | 64 | 0.005241 | 0.0013135 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-62_0_3_load_49 | 65 | 0.0060888 | 0.001526 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-62_0_3_load_50 | 66 | 0.0061116 | 0.0015317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-62_0_3_load_39 | 67 | 0.0046951 | 0.0011767 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-62_0_3_load_81 | 69 | 0.0067937 | 0.0017027 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-62_0_3_load_57 | 70 | 0.0045784 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-62_0_3_load_59 | 71 | 0.028999 | 0.0072678 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-62_0_3_load_62 | 72 | 0.0033882 | 0.00084918 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-62_0_3_load_71 | 73 | 0.010981 | 0.0027521 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-62_0_3_line_0 |  | 0 | 1 | 0.019729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-62_0_3_line_1 |  | 0 | 2 | 0.012576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-62_0_3_line_2 |  | 1 | 3 | 0.006852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-62_0_3_line_3 |  | 2 | 4 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-62_0_3_line_4 |  | 2 | 5 | 0.028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-62_0_3_line_5 |  | 3 | 6 | 0.007006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-62_0_3_line_6 |  | 5 | 7 | 0.0079708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-62_0_3_line_7 |  | 6 | 17 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-62_0_3_line_8 |  | 7 | 25 | 0.0081997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-62_0_3_line_9 |  | 8 | 9 | 0.024674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-62_0_3_line_10 |  | 8 | 10 | 0.046869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-62_0_3_line_11 |  | 8 | 11 | 0.037979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-62_0_3_line_12 |  | 10 | 53 | 0.027548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-62_0_3_line_13 |  | 10 | 54 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-62_0_3_line_14 |  | 11 | 25 | 0.020302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-62_0_3_line_15 |  | 11 | 26 | 0.015801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-62_0_3_line_16 |  | 12 | 13 | 0.030403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-62_0_3_line_17 |  | 12 | 14 | 0.045194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-62_0_3_line_18 |  | 12 | 15 | 0.050305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-62_0_3_line_19 |  | 14 | 37 | 0.018988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-62_0_3_line_20 |  | 14 | 40 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-62_0_3_line_21 |  | 14 | 44 | 0.036954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-62_0_3_line_22 |  | 15 | 16 | 0.037614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-62_0_3_line_23 |  | 18 | 19 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-62_0_3_line_24 |  | 18 | 20 | 0.00296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-62_0_3_line_25 |  | 18 | 21 | 0.042044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-62_0_3_line_26 |  | 19 | 42 | 0.036502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-62_0_3_line_27 |  | 20 | 51 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-62_0_3_line_28 |  | 20 | 22 | 0.000979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-62_0_3_line_29 |  | 21 | 52 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-62_0_3_line_30 |  | 22 | 23 | 0.014131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-62_0_3_line_31 |  | 22 | 24 | 0.037352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-62_0_3_line_32 |  | 23 | 32 | 0.007496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-62_0_3_line_33 |  | 23 | 33 | 0.038225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-62_0_3_line_34 |  | 24 | 30 | 0.014404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-62_0_3_line_35 |  | 25 | 34 | 0.006366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-62_0_3_line_36 |  | 27 | 28 | 0.013648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-62_0_3_line_37 |  | 27 | 29 | 0.003908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_261-62_0_3_line_38 |  | 27 | 30 | 0.029426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_261-62_0_3_line_39 |  | 28 | 31 | 0.0025424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-62_0_3_line_40 |  | 29 | 35 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_261-62_0_3_line_41 |  | 31 | 50 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-62_0_3_line_42 |  | 32 | 46 | 0.0083271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-62_0_3_line_43 |  | 32 | 47 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-62_0_3_line_44 |  | 34 | 50 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-62_0_3_line_45 |  | 35 | 39 | 0.027233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_261-62_0_3_line_46 |  | 36 | 37 | 0.036564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-62_0_3_line_47 |  | 36 | 38 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-62_0_3_line_48 |  | 36 | 39 | 0.033023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-62_0_3_line_49 |  | 38 | 55 | 0.0055607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-62_0_3_line_50 |  | 40 | 41 | 0.041794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-62_0_3_line_51 |  | 41 | 56 | 0.040198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-62_0_3_line_52 |  | 42 | 43 | 0.012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-62_0_3_line_53 |  | 43 | 57 | 0.032452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-62_0_3_line_54 |  | 44 | 45 | 0.02699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-62_0_3_line_55 |  | 46 | 48 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-62_0_3_line_56 |  | 46 | 49 | 0.019466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-62_0_3_line_57 |  | 48 | 60 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-62_0_3_line_58 |  | 51 | 61 | 0.039622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-62_0_3_line_59 |  | 52 | 72 | 0.014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-62_0_3_line_60 |  | 54 | 69 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-62_0_3_line_61 |  | 54 | 68 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-62_0_3_line_62 |  | 55 | 70 | 0.026122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-62_0_3_line_63 |  | 56 | 73 | 0.0071039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-62_0_3_line_64 |  | 58 | 59 | 0.025058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-62_0_3_line_65 |  | 59 | 73 | 0.0067742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-62_0_3_line_66 |  | 61 | 62 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-62_0_3_line_67 |  | 62 | 63 | 0.030785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-62_0_3_line_68 |  | 62 | 64 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-62_0_3_line_69 |  | 62 | 65 | 0.018301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-62_0_3_line_70 |  | 65 | 66 | 0.00090801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-62_0_3_line_71 |  | 67 | 68 | 0.020116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-62_0_3_line_72 |  | 70 | 71 | 0.00080644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-62_0_3_trafo_64 | 0.63 MVA 20/0.4 kV | 74 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682325.5072 | 1244605.2602 | 2682332.2905 | 1244590.7882 | 2682334.3477 | 1244587.6573
1 | 2682341.2538 | 1244577.1471 | 2682334.3477 | 1244587.6573
2 | 2682331.7395 | 1244608.1487 | 2682325.5072 | 1244605.2602
3 | 2682341.2538 | 1244577.1471 | 2682329.7722 | 1244569.7245
4 | 2682341.2538 | 1244577.1471 | 2682350.8853 | 1244562.1922 | 2682357.1714 | 1244553.6964
5 | 2682331.7395 | 1244608.1487 | 2682338.1458 | 1244611.0286
6 | 2682357.1714 | 1244553.6964 | 2682361.9124 | 1244547.2889
7 | 2682338.1458 | 1244611.0286 | 2682334.3786 | 1244619.4602 | 2682332.6572 | 1244627.275
8 | 2682366.7896 | 1244540.6973 | 2682361.9124 | 1244547.2889
9 | 2682395.1688 | 1244565.5872 | 2682411.4048 | 1244552.3141 | 2682414.8341 | 1244550.8051
10 | 2682395.1688 | 1244565.5872 | 2682396.9049 | 1244572.8054 | 2682400.9572 | 1244587.3723 | 2682404.5851 | 1244600.3877 | 2682407.6224 | 1244610.7707
11 | 2682381.8254 | 1244541.4622 | 2682385.7285 | 1244536.3126 | 2682388.7938 | 1244538.7013 | 2682391.2894 | 1244549.4549 | 2682395.1688 | 1244565.5872
12 | 2682407.6224 | 1244610.7707 | 2682406.4209 | 1244585.747 | 2682407.3298 | 1244583.4246
13 | 2682407.6224 | 1244610.7707 | 2682408.7982 | 1244614.8011 | 2682410.9265 | 1244622.0693
14 | 2682366.7896 | 1244540.6973 | 2682371.952 | 1244543.9046 | 2682377.8411 | 1244547.5668 | 2682381.8254 | 1244541.4622
15 | 2682381.8254 | 1244541.4622 | 2682382.7547 | 1244546.3786 | 2682384.5595 | 1244554.6319 | 2682385.1183 | 1244556.9136
16 | 2682481.0166 | 1244572.8074 | 2682480.3705 | 1244574.1661 | 2682490.6617 | 1244596.0139 | 2682491.2535 | 1244600.7367
17 | 2682481.0166 | 1244572.8074 | 2682482.292 | 1244574.026 | 2682498.5424 | 1244590.6862 | 2682503.6531 | 1244596.5171 | 2682507.1284 | 1244590.0718 | 2682509.4584 | 1244585.5565
18 | 2682441.5322 | 1244541.6805 | 2682456.9081 | 1244551.6903 | 2682481.0166 | 1244572.8074
19 | 2682509.4584 | 1244585.5565 | 2682506.8711 | 1244584.6643 | 2682503.9917 | 1244582.5005 | 2682494.4693 | 1244574.1744
20 | 2682509.4584 | 1244585.5565 | 2682512.4504 | 1244585.5982 | 2682515.691 | 1244584.6203 | 2682518.9555 | 1244581.9193
21 | 2682509.4584 | 1244585.5565 | 2682507.1284 | 1244590.0718 | 2682503.6531 | 1244596.5171 | 2682504.9909 | 1244600.85 | 2682505.5594 | 1244605.072 | 2682505.7338 | 1244608.2879 | 2682511.3015 | 1244609.5107 | 2682509.8784 | 1244616.1957
22 | 2682441.5322 | 1244541.6805 | 2682452.2838 | 1244551.6371 | 2682462.1266 | 1244561.7257 | 2682467.8528 | 1244565.1411 | 2682467.6176 | 1244567.3839
23 | 2682430.2752 | 1244437.0703 | 2682435.2371 | 1244420.6083
24 | 2682430.2752 | 1244437.0703 | 2682429.3143 | 1244439.8701
25 | 2682430.2752 | 1244437.0703 | 2682452.7883 | 1244444.166 | 2682464.6154 | 1244446.3542 | 2682471.0164 | 1244445.9875
26 | 2682446.3216 | 1244385.8338 | 2682445.7886 | 1244387.2052 | 2682436.5897 | 1244416.1206 | 2682435.2371 | 1244420.6083
27 | 2682429.3143 | 1244439.8701 | 2682448.4054 | 1244445.7614
28 | 2682429.0067 | 1244440.7999 | 2682429.3143 | 1244439.8701
29 | 2682471.0164 | 1244445.9875 | 2682473.9864 | 1244445.8174 | 2682481.1859 | 1244444.3831 | 2682490.3872 | 1244439.2073 | 2682491.4608 | 1244437.9751
30 | 2682415.6567 | 1244436.1666 | 2682422.6439 | 1244438.5876 | 2682429.0067 | 1244440.7999
31 | 2682429.0067 | 1244440.7999 | 2682422.5883 | 1244459.9802 | 2682417.548 | 1244472.9974 | 2682416.2962 | 1244475.907
32 | 2682415.6567 | 1244436.1666 | 2682418.083 | 1244429.0729
33 | 2682415.6567 | 1244436.1666 | 2682410.4416 | 1244451.4275 | 2682405.6158 | 1244463.6916 | 2682402.3418 | 1244471.9876
34 | 2682410.5421 | 1244489.1106 | 2682411.1519 | 1244487.8638 | 2682416.2962 | 1244475.907
35 | 2682369.9573 | 1244535.1706 | 2682366.7896 | 1244540.6973
36 | 2682385.1639 | 1244509.5075 | 2682391.4771 | 1244512.5641 | 2682397.4449 | 1244515.4601
37 | 2682397.4449 | 1244515.4601 | 2682395.8761 | 1244519.041
38 | 2682397.4449 | 1244515.4601 | 2682404.0114 | 1244502.4641 | 2682410.5421 | 1244489.1106
39 | 2682385.1639 | 1244509.5075 | 2682383.8678 | 1244511.6948
40 | 2682395.8761 | 1244519.041 | 2682401.8422 | 1244522.6042 | 2682407.2595 | 1244523.7803 | 2682413.9845 | 1244524.5741
41 | 2682375.3454 | 1244526.0774 | 2682383.8678 | 1244511.6948
42 | 2682418.083 | 1244429.0729 | 2682419.2301 | 1244425.3862 | 2682420.4461 | 1244421.0888
43 | 2682418.083 | 1244429.0729 | 2682407.2038 | 1244424.4382
44 | 2682369.9573 | 1244535.1706 | 2682375.3454 | 1244526.0774
45 | 2682413.9845 | 1244524.5741 | 2682418.5768 | 1244525.1162 | 2682426.4271 | 1244526.871 | 2682434.3496 | 1244528.8714 | 2682440.4696 | 1244530.7206
46 | 2682466.9434 | 1244550.1064 | 2682494.4693 | 1244574.1744
47 | 2682466.9434 | 1244550.1064 | 2682472.6687 | 1244543.2699 | 2682474.2139 | 1244540.1063
48 | 2682466.9434 | 1244550.1064 | 2682458.0956 | 1244542.3778 | 2682452.8849 | 1244537.7576 | 2682447.3427 | 1244534.1446 | 2682441.4086 | 1244531.0043 | 2682440.4696 | 1244530.7206
49 | 2682476.6544 | 1244535.1098 | 2682474.2139 | 1244540.1063
50 | 2682518.9555 | 1244581.9193 | 2682520.7218 | 1244579.3531 | 2682529.5374 | 1244555.7252 | 2682534.1444 | 1244543.0782
51 | 2682547.9031 | 1244505.3084 | 2682534.1444 | 1244543.0782
52 | 2682446.3216 | 1244385.8338 | 2682458.6813 | 1244389.3026
53 | 2682489.2744 | 1244399.1405 | 2682484.8254 | 1244397.8888 | 2682484.4365 | 1244397.0495 | 2682476.5844 | 1244394.3272 | 2682458.6813 | 1244389.3026
54 | 2682509.8784 | 1244616.1957 | 2682505.8164 | 1244639.2783 | 2682505.5981 | 1244642.8239
55 | 2682420.4461 | 1244421.0888 | 2682422.8465 | 1244412.5938 | 2682425.5186 | 1244403.6666
56 | 2682420.4461 | 1244421.0888 | 2682414.9491 | 1244419.1111 | 2682402.4095 | 1244413.7837
57 | 2682430.7225 | 1244386.2811 | 2682425.5186 | 1244403.6666
58 | 2682448.4054 | 1244445.7614 | 2682458.4816 | 1244448.8708 | 2682464.2894 | 1244449.6854 | 2682469.4572 | 1244449.2458 | 2682477.3596 | 1244448.3439 | 2682482.8964 | 1244448.5432 | 2682484.978 | 1244452.5682
59 | 2682497.3953 | 1244425.4002 | 2682496.5786 | 1244428.2076 | 2682494.3501 | 1244434.659 | 2682491.4608 | 1244437.9751
60 | 2682410.9265 | 1244622.0693 | 2682418.6362 | 1244612.7251
61 | 2682414.672 | 1244637.4992 | 2682412.3192 | 1244626.8032 | 2682410.9265 | 1244622.0693
62 | 2682476.6544 | 1244535.1098 | 2682488.1192 | 1244511.6381
63 | 2682550.3346 | 1244498.6336 | 2682547.9031 | 1244505.3084
64 | 2682560.8672 | 1244468.6013 | 2682558.469 | 1244476.3033 | 2682552.6533 | 1244492.2685
65 | 2682550.3346 | 1244498.6336 | 2682552.6533 | 1244492.2685
66 | 2682491.705 | 1244461.2749 | 2682488.7987 | 1244459.9558 | 2682484.978 | 1244452.5682
67 | 2682491.705 | 1244461.2749 | 2682495.3088 | 1244462.437 | 2682490.5218 | 1244480.5947 | 2682491.0244 | 1244482.492 | 2682492.9143 | 1244482.9964 | 2682494.9436 | 1244481.0788 | 2682496.4721 | 1244480.9444
68 | 2682505.1991 | 1244450.6548 | 2682493.637 | 1244457.6658 | 2682491.705 | 1244461.2749
69 | 2682491.705 | 1244461.2749 | 2682483.371 | 1244477.5685
70 | 2682482.9575 | 1244478.3769 | 2682483.371 | 1244477.5685
71 | 2682414.672 | 1244637.4992 | 2682415.8965 | 1244646.7229 | 2682416.5698 | 1244652.6476 | 2682416.8276 | 1244657.4891
72 | 2682488.4731 | 1244510.9135 | 2682488.1192 | 1244511.6381

## bus_geodata
| x | y | coords
0 | 2682334.3477 | 1244587.6573
1 | 2682325.5072 | 1244605.2602
2 | 2682341.2538 | 1244577.1471
3 | 2682331.7395 | 1244608.1487
4 | 2682329.7722 | 1244569.7245
5 | 2682357.1714 | 1244553.6964
6 | 2682338.1458 | 1244611.0286
7 | 2682361.9124 | 1244547.2889
8 | 2682395.1688 | 1244565.5872
9 | 2682414.8341 | 1244550.8051
10 | 2682407.6224 | 1244610.7707
11 | 2682381.8254 | 1244541.4622
12 | 2682481.0166 | 1244572.8074
13 | 2682491.2535 | 1244600.7367
14 | 2682509.4584 | 1244585.5565
15 | 2682441.5322 | 1244541.6805
16 | 2682467.6176 | 1244567.3839
17 | 2682332.6572 | 1244627.275
18 | 2682430.2752 | 1244437.0703
19 | 2682435.2371 | 1244420.6083
20 | 2682429.3143 | 1244439.8701
21 | 2682471.0164 | 1244445.9875
22 | 2682429.0067 | 1244440.7999
23 | 2682415.6567 | 1244436.1666
24 | 2682416.2962 | 1244475.907
25 | 2682366.7896 | 1244540.6973
26 | 2682385.1183 | 1244556.9136
27 | 2682397.4449 | 1244515.4601
28 | 2682385.1639 | 1244509.5075
29 | 2682395.8761 | 1244519.041
30 | 2682410.5421 | 1244489.1106
31 | 2682383.8678 | 1244511.6948
32 | 2682418.083 | 1244429.0729
33 | 2682402.3418 | 1244471.9876
34 | 2682369.9573 | 1244535.1706
35 | 2682413.9845 | 1244524.5741
36 | 2682466.9434 | 1244550.1064
37 | 2682494.4693 | 1244574.1744
38 | 2682474.2139 | 1244540.1063
39 | 2682440.4696 | 1244530.7206
40 | 2682518.9555 | 1244581.9193
41 | 2682534.1444 | 1244543.0782
42 | 2682446.3216 | 1244385.8338
43 | 2682458.6813 | 1244389.3026
44 | 2682509.8784 | 1244616.1957
45 | 2682505.5981 | 1244642.8239
46 | 2682420.4461 | 1244421.0888
47 | 2682407.2038 | 1244424.4382
48 | 2682425.5186 | 1244403.6666
49 | 2682402.4095 | 1244413.7837
50 | 2682375.3454 | 1244526.0774
51 | 2682448.4054 | 1244445.7614
52 | 2682491.4608 | 1244437.9751
53 | 2682407.3298 | 1244583.4246
54 | 2682410.9265 | 1244622.0693
55 | 2682476.6544 | 1244535.1098
56 | 2682547.9031 | 1244505.3084
57 | 2682489.2744 | 1244399.1405
58 | 2682560.8672 | 1244468.6013
59 | 2682552.6533 | 1244492.2685
60 | 2682430.7225 | 1244386.2811
61 | 2682484.978 | 1244452.5682
62 | 2682491.705 | 1244461.2749
63 | 2682496.4721 | 1244480.9444
64 | 2682505.1991 | 1244450.6548
65 | 2682483.371 | 1244477.5685
66 | 2682482.9575 | 1244478.3769
67 | 2682416.8276 | 1244657.4891
68 | 2682414.672 | 1244637.4992
69 | 2682418.6362 | 1244612.7251
70 | 2682488.1192 | 1244511.6381
71 | 2682488.4731 | 1244510.9135
72 | 2682497.3953 | 1244425.4002
73 | 2682550.3346 | 1244498.6336
74 | 2682466.9434 | 1244550.1064

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98624 | -0.26448 | 0.018966 | 0.0047534
1 | 0.9861 | -0.26714 | 0.0021538 | 0.00053979
2 | 0.98654 | -0.25851 | 0 | 0
3 | 0.98607 | -0.2678 | 0 | 0
4 | 0.9863 | -0.26315 | 0.018947 | 0.0047484
5 | 0.98773 | -0.23545 | 0.011928 | 0.0029895
6 | 0.98603 | -0.26848 | 0 | 0
7 | 0.98815 | -0.22729 | 0.0076001 | 0.0019048
8 | 0.98694 | -0.2507 | 0 | 0
9 | 0.98673 | -0.25489 | 0.0095027 | 0.0023816
10 | 0.98608 | -0.26756 | 0 | 0
11 | 0.98798 | -0.2306 | 0 | 0
12 | 0.99198 | -0.15399 | 0 | 0
13 | 0.9918 | -0.15752 | 0.0065453 | 0.0016404
14 | 0.99264 | -0.14136 | 0 | 0
15 | 0.99156 | -0.16223 | 0 | 0
16 | 0.99124 | -0.1684 | 0.0092415 | 0.0023161
17 | 0.98595 | -0.27014 | 0.005382 | 0.0013489
18 | 0.98507 | -0.28665 | 0 | 0
19 | 0.9847 | -0.29396 | 0.008624 | 0.0021614
20 | 0.98518 | -0.28462 | 0 | 0
21 | 0.98451 | -0.29766 | 0.009181 | 0.002301
22 | 0.98524 | -0.28333 | 0 | 0
23 | 0.98445 | -0.29881 | 0 | 0
24 | 0.98987 | -0.19363 | 0.0057383 | 0.0014382
25 | 0.98864 | -0.21778 | 0 | 0
26 | 0.98789 | -0.23224 | 0.0057932 | 0.0014519
27 | 0.99372 | -0.11963 | 0 | 0
28 | 0.99219 | -0.14903 | 0 | 0
29 | 0.9942 | -0.11037 | 0 | 0
30 | 0.99173 | -0.1578 | 0.0065828 | 0.0016498
31 | 0.99191 | -0.15452 | 0.010647 | 0.0026685
32 | 0.98431 | -0.30156 | 0 | 0
33 | 0.98302 | -0.32674 | 0.040562 | 0.010166
34 | 0.98922 | -0.20639 | 0 | 0
35 | 0.99659 | -0.064864 | 0.0038096 | 0.00095478
36 | 0.99645 | -0.067928 | 0 | 0
37 | 0.9938 | -0.11885 | 0.01203 | 0.0030151
38 | 0.99601 | -0.076332 | 0.0026938 | 0.00067514
39 | 1 | 0 | -0.396 | -0.10053
40 | 0.99215 | -0.15066 | 0 | 0
41 | 0.99026 | -0.18743 | 0.027104 | 0.0067928
42 | 0.98419 | -0.30382 | 0 | 0
43 | 0.98402 | -0.30729 | 0.0076668 | 0.0019215
44 | 0.99258 | -0.14247 | 0 | 0
45 | 0.99254 | -0.14329 | 0.0017001 | 0.00042609
46 | 0.98421 | -0.30358 | 0 | 0
47 | 0.98423 | -0.30304 | 0.0069537 | 0.0017428
48 | 0.98409 | -0.30591 | 0.0032788 | 0.00082175
49 | 0.98409 | -0.30579 | 0.0063139 | 0.0015824
50 | 0.9902 | -0.18752 | 0.010852 | 0.0027198
51 | 0.98453 | -0.29724 | 0.010735 | 0.0026904
52 | 0.9844 | -0.29984 | 0.0019991 | 0.00050101
53 | 0.98586 | -0.27181 | 0.0085999 | 0.0021553
54 | 0.98595 | -0.26999 | 0 | 0
55 | 0.99583 | -0.079828 | 0.0022002 | 0.00055143
56 | 0.98943 | -0.20352 | 0.0055693 | 0.0013958
57 | 0.9838 | -0.3116 | 0.0073608 | 0.0018448
58 | 0.98918 | -0.20825 | 0.0042023 | 0.0010532
59 | 0.98928 | -0.20638 | 0.0017411 | 0.00043636
60 | 0.98402 | -0.30717 | 0.0038644 | 0.0009685
61 | 0.98364 | -0.31466 | 0.0017777 | 0.00044553
62 | 0.9834 | -0.31936 | 0 | 0
63 | 0.98325 | -0.32225 | 0.0052068 | 0.001305
64 | 0.98331 | -0.32102 | 0.005241 | 0.0013135
65 | 0.98319 | -0.32338 | 0.0060888 | 0.001526
66 | 0.98319 | -0.32348 | 0.0061116 | 0.0015317
67 | 0.9858 | -0.27302 | 0.0046951 | 0.0011767
68 | 0.98589 | -0.27132 | 0 | 0
69 | 0.98588 | -0.27146 | 0.0067937 | 0.0017027
70 | 0.99503 | -0.095256 | 0.0045784 | 0.0011475
71 | 0.99501 | -0.095668 | 0.028999 | 0.0072678
72 | 0.98435 | -0.3007 | 0.0033882 | 0.00084918
73 | 0.98932 | -0.20566 | 0.010981 | 0.0027521
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0075375 | 0.0018891 | -0.0075366 | -0.0018887 | 9.5688e-07 | 3.6068e-07 | 0.011373 | 0.011373 | 0.011373 | 0.98624 | -0.26448 | 0.9861 | -0.26714 | 3.1243
1 | -0.026504 | -0.0066425 | 0.026511 | 0.0066472 | 7.5412e-06 | 4.6659e-06 | 0.039988 | 0.039988 | 0.039988 | 0.98624 | -0.26448 | 0.98654 | -0.25851 | 10.9858
2 | 0.0053828 | 0.001349 | -0.0053826 | -0.0013489 | 1.6953e-07 | 2.1088e-08 | 0.0081226 | 0.0081226 | 0.0081226 | 0.9861 | -0.26714 | 0.98607 | -0.2678 | 2.2315
3 | 0.018951 | 0.004751 | -0.018947 | -0.0047484 | 4.189e-06 | 2.5065e-06 | 0.028584 | 0.028584 | 0.028584 | 0.98654 | -0.25851 | 0.9863 | -0.26315 | 7.8528
4 | -0.045462 | -0.011398 | 0.045512 | 0.01143 | 5.0002e-05 | 3.1639e-05 | 0.068572 | 0.068572 | 0.068572 | 0.98654 | -0.25851 | 0.98773 | -0.23545 | 18.8386
5 | 0.0053826 | 0.0013489 | -0.0053825 | -0.0013489 | 1.7334e-07 | 2.1569e-08 | 0.0081226 | 0.0081226 | 0.0081226 | 0.98607 | -0.2678 | 0.98603 | -0.26848 | 2.2315
6 | -0.05744 | -0.014419 | 0.057463 | 0.014433 | 2.2387e-05 | 1.4225e-05 | 0.086542 | 0.086542 | 0.086542 | 0.98773 | -0.23545 | 0.98815 | -0.22729 | 23.7754
7 | 0.0053825 | 0.0013489 | -0.005382 | -0.0013489 | 4.2647e-07 | 5.3098e-08 | 0.0081226 | 0.0081227 | 0.0081227 | 0.98603 | -0.26848 | 0.98595 | -0.27014 | 2.2315
8 | -0.065063 | -0.016338 | 0.065092 | 0.016357 | 2.9524e-05 | 1.879e-05 | 0.097987 | 0.097987 | 0.097987 | 0.98815 | -0.22729 | 0.98864 | -0.21778 | 26.9195
9 | 0.0095046 | 0.0023825 | -0.0095027 | -0.0023816 | 1.9001e-06 | 9.0085e-07 | 0.01433 | 0.01433 | 0.01433 | 0.98694 | -0.2507 | 0.98673 | -0.25489 | 3.9369
10 | 0.020109 | 0.005046 | -0.020093 | -0.0050363 | 1.6158e-05 | 9.7429e-06 | 0.030321 | 0.030321 | 0.030321 | 0.98694 | -0.2507 | 0.98608 | -0.26756 | 8.3299
11 | -0.029614 | -0.0074285 | 0.029642 | 0.0074462 | 2.8395e-05 | 1.7687e-05 | 0.044651 | 0.044651 | 0.044651 | 0.98694 | -0.2507 | 0.98798 | -0.2306 | 12.2667
12 | 0.0086017 | 0.0021561 | -0.0085999 | -0.0021553 | 1.7406e-06 | 7.6263e-07 | 0.01298 | 0.01298 | 0.01298 | 0.98608 | -0.26756 | 0.98586 | -0.27181 | 3.566
13 | 0.011491 | 0.0028802 | -0.01149 | -0.0028795 | 1.3272e-06 | 6.9929e-07 | 0.017341 | 0.017341 | 0.017341 | 0.98608 | -0.26756 | 0.98595 | -0.26999 | 4.7639
14 | -0.035436 | -0.0088982 | 0.035457 | 0.0089118 | 2.1691e-05 | 1.3622e-05 | 0.053377 | 0.053377 | 0.053377 | 0.98798 | -0.2306 | 0.98864 | -0.21778 | 14.6639
15 | 0.0057936 | 0.001452 | -0.0057932 | -0.0014519 | 4.5117e-07 | 8.6422e-08 | 0.0087259 | 0.008726 | 0.008726 | 0.98798 | -0.2306 | 0.98789 | -0.23224 | 2.3972
16 | 0.0065464 | 0.0016407 | -0.0065453 | -0.0016404 | 1.0994e-06 | 3.1122e-07 | 0.00982 | 0.0098201 | 0.0098201 | 0.99198 | -0.15399 | 0.9918 | -0.15752 | 2.6978
17 | -0.015794 | -0.0039598 | 0.015804 | 0.0039653 | 9.5134e-06 | 5.5048e-06 | 0.023693 | 0.023692 | 0.023693 | 0.99198 | -0.15399 | 0.99264 | -0.14136 | 6.509
18 | 0.0092479 | 0.0023191 | -0.0092443 | -0.0023174 | 3.6305e-06 | 1.6744e-06 | 0.013873 | 0.013873 | 0.013873 | 0.99198 | -0.15399 | 0.99156 | -0.16223 | 3.8112
19 | -0.06723 | -0.016902 | 0.067303 | 0.016948 | 7.2348e-05 | 4.6057e-05 | 0.1008 | 0.1008 | 0.1008 | 0.99264 | -0.14136 | 0.9938 | -0.11885 | 27.6924
20 | 0.049726 | 0.012511 | -0.049704 | -0.012497 | 2.2077e-05 | 1.3992e-05 | 0.074559 | 0.074559 | 0.074559 | 0.99264 | -0.14136 | 0.99215 | -0.15066 | 20.4833
21 | 0.0017003 | 0.00042536 | -0.0017002 | -0.00042578 | 9.0013e-08 | -4.2006e-07 | 0.0025485 | 0.0025487 | 0.0025487 | 0.99264 | -0.14136 | 0.99258 | -0.14247 | 0.70019
22 | 0.0092443 | 0.0023174 | -0.0092415 | -0.0023161 | 2.7147e-06 | 1.2524e-06 | 0.013873 | 0.013873 | 0.013873 | 0.99156 | -0.16223 | 0.99124 | -0.1684 | 3.8113
23 | 0.023671 | 0.0059387 | -0.023663 | -0.0059337 | 8.2444e-06 | 5.0576e-06 | 0.035759 | 0.035759 | 0.035759 | 0.98507 | -0.28665 | 0.9847 | -0.29396 | 9.8238
24 | -0.038248 | -0.0095942 | 0.038251 | 0.0095966 | 3.7056e-06 | 2.3339e-06 | 0.057778 | 0.057778 | 0.057778 | 0.98507 | -0.28665 | 0.98518 | -0.28462 | 15.8732
25 | 0.014577 | 0.0036555 | -0.014569 | -0.0036512 | 7.6448e-06 | 4.3577e-06 | 0.02202 | 0.02202 | 0.02202 | 0.98507 | -0.28665 | 0.98451 | -0.29766 | 6.0495
26 | 0.015039 | 0.0037723 | -0.015032 | -0.0037682 | 7.07e-06 | 4.0607e-06 | 0.022727 | 0.022727 | 0.022727 | 0.9847 | -0.29396 | 0.98419 | -0.30382 | 6.2436
27 | 0.035211 | 0.0088424 | -0.03519 | -0.0088291 | 2.1196e-05 | 1.3311e-05 | 0.053189 | 0.053189 | 0.053189 | 0.98518 | -0.28462 | 0.98453 | -0.29724 | 14.6124
28 | -0.073462 | -0.018439 | 0.073467 | 0.018442 | 4.5207e-06 | 2.8808e-06 | 0.11097 | 0.11097 | 0.11097 | 0.98518 | -0.28462 | 0.98524 | -0.28333 | 30.4856
29 | 0.005388 | 0.0013502 | -0.0053874 | -0.0013501 | 5.5974e-07 | 7.2062e-08 | 0.0081435 | 0.0081436 | 0.0081436 | 0.98451 | -0.29766 | 0.9844 | -0.29984 | 2.2373
30 | 0.061078 | 0.015347 | -0.061032 | -0.015318 | 4.5106e-05 | 2.8688e-05 | 0.09226 | 0.09226 | 0.09226 | 0.98524 | -0.28333 | 0.98445 | -0.29881 | 25.3461
31 | -0.13454 | -0.033789 | 0.13512 | 0.034158 | 0.00057851 | 0.00036977 | 0.20323 | 0.20323 | 0.20323 | 0.98524 | -0.28333 | 0.98987 | -0.19363 | 55.8316
32 | 0.020417 | 0.0051183 | -0.020414 | -0.0051167 | 2.6772e-06 | 1.6181e-06 | 0.030861 | 0.030861 | 0.030861 | 0.98445 | -0.29881 | 0.98431 | -0.30156 | 8.4783
33 | 0.040616 | 0.0102 | -0.040562 | -0.010166 | 5.4038e-05 | 3.4099e-05 | 0.061399 | 0.061399 | 0.061399 | 0.98445 | -0.29881 | 0.98302 | -0.32674 | 16.8678
34 | -0.14086 | -0.035597 | 0.1411 | 0.035752 | 0.00024243 | 0.00015497 | 0.21185 | 0.21185 | 0.21185 | 0.98987 | -0.19363 | 0.99173 | -0.1578 | 58.2014
35 | -0.10055 | -0.025269 | 0.1006 | 0.025304 | 5.4694e-05 | 3.4923e-05 | 0.15136 | 0.15136 | 0.15136 | 0.98864 | -0.21778 | 0.98922 | -0.20639 | 41.5834
36 | 0.12258 | 0.030994 | -0.1224 | -0.030883 | 0.0001726 | 0.00011029 | 0.18364 | 0.18364 | 0.18364 | 0.99372 | -0.11963 | 0.99219 | -0.14903 | 50.4517
37 | -0.27053 | -0.068568 | 0.27065 | 0.068645 | 0.00012041 | 7.6962e-05 | 0.40537 | 0.40537 | 0.40537 | 0.99372 | -0.11963 | 0.9942 | -0.11037 | 55.6832
38 | 0.14796 | 0.037574 | -0.14769 | -0.037401 | 0.00027125 | 0.00017284 | 0.22173 | 0.22173 | 0.22173 | 0.99372 | -0.11963 | 0.99173 | -0.1578 | 30.4574
39 | 0.1224 | 0.030883 | -0.12237 | -0.030863 | 3.2154e-05 | 2.0546e-05 | 0.18364 | 0.18364 | 0.18364 | 0.99219 | -0.14903 | 0.99191 | -0.15452 | 50.4518
40 | -0.27065 | -0.068645 | 0.27125 | 0.069024 | 0.00059356 | 0.00037938 | 0.40537 | 0.40537 | 0.40537 | 0.9942 | -0.11037 | 0.99659 | -0.064864 | 55.6832
41 | 0.11172 | 0.028194 | -0.11155 | -0.028082 | 0.00017625 | 0.00011259 | 0.16767 | 0.16767 | 0.16767 | 0.99191 | -0.15452 | 0.9902 | -0.18752 | 46.0636
42 | 0.01346 | 0.0033738 | -0.013459 | -0.003373 | 1.2929e-06 | 7.2165e-07 | 0.020348 | 0.020348 | 0.020348 | 0.98431 | -0.30156 | 0.98421 | -0.30358 | 5.5902
43 | 0.0069542 | 0.0017429 | -0.0069537 | -0.0017428 | 4.9011e-07 | 1.6337e-07 | 0.010513 | 0.010513 | 0.010513 | 0.98431 | -0.30156 | 0.98423 | -0.30304 | 2.8882
44 | -0.1006 | -0.025304 | 0.1007 | 0.025362 | 9.081e-05 | 5.7983e-05 | 0.15136 | 0.15136 | 0.15136 | 0.98922 | -0.20639 | 0.9902 | -0.18752 | 41.5834
45 | -0.27506 | -0.069979 | 0.27592 | 0.07053 | 0.00086279 | 0.00055147 | 0.41106 | 0.41106 | 0.41106 | 0.99659 | -0.064864 | 1 | 0 | 56.4645
46 | 0.079526 | 0.020086 | -0.079333 | -0.019963 | 0.00019356 | 0.0001234 | 0.11881 | 0.11881 | 0.11881 | 0.99645 | -0.067928 | 0.9938 | -0.11885 | 32.641
47 | 0.038518 | 0.0096711 | -0.038502 | -0.0096613 | 1.5435e-05 | 9.7163e-06 | 0.057526 | 0.057526 | 0.057526 | 0.99645 | -0.067928 | 0.99601 | -0.076332 | 15.8037
48 | -0.11804 | -0.029757 | 0.11843 | 0.030003 | 0.00038507 | 0.00024601 | 0.17634 | 0.17634 | 0.17634 | 0.99645 | -0.067928 | 1 | 0 | 48.4446
49 | 0.035809 | 0.0089862 | -0.035803 | -0.0089825 | 5.9687e-06 | 3.7476e-06 | 0.053501 | 0.053501 | 0.053501 | 0.99601 | -0.076332 | 0.99583 | -0.079828 | 14.6981
50 | 0.049704 | 0.012497 | -0.049617 | -0.012442 | 8.7127e-05 | 5.5222e-05 | 0.074559 | 0.074559 | 0.074559 | 0.99215 | -0.15066 | 0.99026 | -0.18743 | 20.4834
51 | 0.022513 | 0.0056489 | -0.022496 | -0.0056384 | 1.7254e-05 | 1.0526e-05 | 0.033832 | 0.033832 | 0.033832 | 0.99026 | -0.18743 | 0.98943 | -0.20352 | 9.2945
52 | 0.015032 | 0.0037682 | -0.015029 | -0.0037668 | 2.4864e-06 | 1.4282e-06 | 0.022727 | 0.022727 | 0.022727 | 0.98419 | -0.30382 | 0.98402 | -0.30729 | 6.2436
53 | 0.0073623 | 0.0018453 | -0.0073608 | -0.0018448 | 1.5084e-06 | 5.5324e-07 | 0.011133 | 0.011133 | 0.011133 | 0.98402 | -0.30729 | 0.9838 | -0.3116 | 3.0586
54 | 0.0017002 | 0.00042578 | -0.0017001 | -0.00042609 | 6.5749e-08 | -3.0675e-07 | 0.0025487 | 0.0025488 | 0.0025488 | 0.99258 | -0.14247 | 0.99254 | -0.14329 | 0.70023
55 | 0.0071442 | 0.0017904 | -0.0071434 | -0.0017902 | 7.9391e-07 | 2.7752e-07 | 0.010801 | 0.010801 | 0.010801 | 0.98421 | -0.30358 | 0.98409 | -0.30591 | 2.9674
56 | 0.0063146 | 0.0015826 | -0.0063139 | -0.0015824 | 6.6534e-07 | 1.7847e-07 | 0.009547 | 0.009547 | 0.009547 | 0.98421 | -0.30358 | 0.98409 | -0.30579 | 2.6228
57 | 0.0038646 | 0.00096842 | -0.0038644 | -0.0009685 | 2.3238e-07 | -8.1826e-08 | 0.0058435 | 0.0058436 | 0.0058436 | 0.98409 | -0.30591 | 0.98402 | -0.30717 | 1.6054
58 | 0.024455 | 0.0061387 | -0.024435 | -0.0061262 | 2.0302e-05 | 1.249e-05 | 0.036964 | 0.036965 | 0.036965 | 0.98453 | -0.29724 | 0.98364 | -0.31466 | 10.1551
59 | 0.0033884 | 0.00084908 | -0.0033882 | -0.00084918 | 1.3918e-07 | -9.0777e-08 | 0.0051218 | 0.0051219 | 0.0051219 | 0.9844 | -0.29984 | 0.98435 | -0.3007 | 1.4071
60 | 0.0067941 | 0.0017028 | -0.0067937 | -0.0017027 | 4.7712e-07 | 1.5104e-07 | 0.010254 | 0.010254 | 0.010254 | 0.98595 | -0.26999 | 0.98588 | -0.27146 | 2.817
61 | 0.0046958 | 0.0011767 | -0.0046955 | -0.0011767 | 2.9918e-07 | -1.1099e-08 | 0.0070868 | 0.0070869 | 0.0070869 | 0.98595 | -0.26999 | 0.98589 | -0.27132 | 1.947
62 | 0.033602 | 0.008431 | -0.033578 | -0.0084156 | 2.4699e-05 | 1.5468e-05 | 0.050213 | 0.050214 | 0.050214 | 0.99583 | -0.079828 | 0.99503 | -0.095256 | 13.7949
63 | 0.016927 | 0.0042426 | -0.016925 | -0.0042416 | 1.7263e-06 | 1.0136e-06 | 0.025456 | 0.025456 | 0.025456 | 0.98943 | -0.20352 | 0.98932 | -0.20566 | 6.9935
64 | -0.0042023 | -0.0010532 | 0.0042027 | 0.0010531 | 3.755e-07 | -8.1383e-08 | 0.0063215 | 0.0063214 | 0.0063215 | 0.98918 | -0.20825 | 0.98928 | -0.20638 | 1.7367
65 | -0.0059438 | -0.0014895 | 0.005944 | 0.0014895 | 2.0304e-07 | 4.2966e-08 | 0.0089402 | 0.0089402 | 0.0089402 | 0.98928 | -0.20638 | 0.98932 | -0.20566 | 2.4561
66 | 0.022657 | 0.0056807 | -0.022652 | -0.0056776 | 5.0702e-06 | 3.0989e-06 | 0.034275 | 0.034275 | 0.034275 | 0.98364 | -0.31466 | 0.9834 | -0.31936 | 9.4163
67 | 0.0052076 | 0.001305 | -0.0052068 | -0.001305 | 7.168e-07 | 6.8233e-08 | 0.0078797 | 0.0078798 | 0.0078798 | 0.9834 | -0.31936 | 0.98325 | -0.32225 | 2.1648
68 | 0.0052414 | 0.0013136 | -0.005241 | -0.0013135 | 4.1479e-07 | 4.2381e-08 | 0.007931 | 0.0079311 | 0.0079311 | 0.9834 | -0.31936 | 0.98331 | -0.32102 | 2.1789
69 | 0.012203 | 0.003059 | -0.0122 | -0.0030577 | 2.3399e-06 | 1.2654e-06 | 0.018465 | 0.018465 | 0.018465 | 0.9834 | -0.31936 | 0.98319 | -0.32338 | 5.0728
70 | 0.0061117 | 0.0015317 | -0.0061116 | -0.0015317 | 2.9133e-08 | 7.1294e-09 | 0.0092497 | 0.0092497 | 0.0092497 | 0.98319 | -0.32338 | 0.98319 | -0.32348 | 2.5411
71 | -0.0046951 | -0.0011767 | 0.0046955 | 0.0011767 | 3.7887e-07 | -1.4009e-08 | 0.007087 | 0.0070869 | 0.007087 | 0.9858 | -0.27302 | 0.98589 | -0.27132 | 1.947
72 | 0.028999 | 0.0072681 | -0.028999 | -0.0072678 | 5.6875e-07 | 3.5352e-07 | 0.043367 | 0.043367 | 0.043367 | 0.99503 | -0.095256 | 0.99501 | -0.095668 | 11.914

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3978 | 0.10098

## res_load
| p_mw | q_mvar
0 | 0.018966 | 0.0047534
1 | 0.0021538 | 0.00053979
2 | 0.018947 | 0.0047484
3 | 0.011928 | 0.0029895
4 | 0.0076001 | 0.0019048
5 | 0.0095027 | 0.0023816
6 | 0.0065453 | 0.0016404
7 | 0.0092415 | 0.0023161
8 | 0.005382 | 0.0013489
9 | 0.008624 | 0.0021614
10 | 0.009181 | 0.002301
11 | 0.0057383 | 0.0014382
12 | 0.0057932 | 0.0014519
13 | 0.0065828 | 0.0016498
14 | 0.010647 | 0.0026685
15 | 0.040562 | 0.010166
16 | 0.0038096 | 0.00095478
17 | 0.01203 | 0.0030151
18 | 0.0026938 | 0.00067514
19 | 0.0017966 | 0.00045028
20 | 0.027104 | 0.0067928
21 | 0.0076668 | 0.0019215
22 | 0.0017001 | 0.00042609
23 | 0.0069537 | 0.0017428
24 | 0.0032788 | 0.00082175
25 | 0.0063139 | 0.0015824
26 | 0.010852 | 0.0027198
27 | 0.010735 | 0.0026904
28 | 0.0019991 | 0.00050101
29 | 0.0085999 | 0.0021553
30 | 0.0022002 | 0.00055143
31 | 0.0055693 | 0.0013958
32 | 0.0073608 | 0.0018448
33 | 0.0042023 | 0.0010532
34 | 0.0017411 | 0.00043636
35 | 0.0038644 | 0.0009685
36 | 0.0017777 | 0.00044553
37 | 0.0052068 | 0.001305
38 | 0.005241 | 0.0013135
39 | 0.0060888 | 0.001526
40 | 0.0061116 | 0.0015317
41 | 0.0046951 | 0.0011767
42 | 0.0067937 | 0.0017027
43 | 0.0045784 | 0.0011475
44 | 0.028999 | 0.0072678
45 | 0.0033882 | 0.00084918
46 | 0.010981 | 0.0027521

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1