## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-637_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-637_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-637_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-637_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-637_0_5_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_261-637_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_261-637_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-637_0_5_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_261-637_0_5_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_261-637_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_261-637_0_5_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_261-637_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-637_0_5_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_261-637_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_261-637_0_5_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_261-637_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-637_0_5_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_261-637_0_5_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_261-637_0_5_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_261-637_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-637_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_261-637_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_261-637_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-637_0_5_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_261-637_0_5_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_261-637_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_261-637_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_261-637_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_261-637_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_261-637_0_5_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_261-637_0_5_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_261-637_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-637_0_5_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_261-637_0_5_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_261-637_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_261-637_0_5_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_261-637_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_261-637_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_261-637_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_261-637_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_261-637_0_5_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_261-637_0_5_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_261-637_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_261-637_0_5_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_261-637_0_5_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_261-637_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_261-637_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_261-637_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_261-637_0_5_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_261-637_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_261-637_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_261-637_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_261-637_0_5_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_261-637_0_5_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_261-637_0_5_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_261-637_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_261-637_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_261-637_0_5_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_261-637_0_5_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_261-637_0_5_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_261-637_0_5_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_261-637_0_5_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_261-637_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_261-637_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_MV_527_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-637_0_5_load_0 | 0 | 0.0021641 | 0.00054236 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-637_0_5_load_55 | 4 | 0.0028031 | 0.00070252 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-637_0_5_load_21 | 5 | 0.004321 | 0.0010829 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-637_0_5_load_57 | 8 | 0.0010104 | 0.00025324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-637_0_5_load_28 | 10 | 0.042303 | 0.010602 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-637_0_5_load_32 | 12 | 0.012617 | 0.0031622 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-637_0_5_load_31 | 14 | 0.016331 | 0.004093 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-637_0_5_load_66 | 17 | 0.040152 | 0.010063 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-637_0_5_load_67 | 18 | 0.042329 | 0.010609 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-637_0_5_load_34 | 21 | 0.017876 | 0.0044801 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-637_0_5_load_47 | 24 | 0.0091549 | 0.0022944 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-637_0_5_load_49 | 26 | 0.0089973 | 0.0022549 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-637_0_5_load_22 | 27 | 0.014575 | 0.0036527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-637_0_5_load_48 | 30 | 0.0021127 | 0.0005295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-637_0_5_load_39 | 32 | 0.0099764 | 0.0025003 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-637_0_5_load_59 | 35 | 0.058981 | 0.014782 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-637_0_5_load_24 | 37 | 0.031661 | 0.007935 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-637_0_5_load_30 | 38 | 0.0014305 | 0.00035853 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-637_0_5_load_25 | 39 | 0.022429 | 0.0056213 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-637_0_5_load_58 | 41 | 0.00057441 | 0.00014396 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-637_0_5_load_33 | 42 | 0.015529 | 0.0038921 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-637_0_5_load_68 | 43 | 0.017453 | 0.0043741 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-637_0_5_load_69 | 44 | 0.01733 | 0.0043432 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-637_0_5_load_53 | 46 | 0.0085549 | 0.0021441 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-637_0_5_load_46 | 48 | 0.010004 | 0.0025073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-637_0_5_load_52 | 50 | 0.0086901 | 0.0021779 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-637_0_5_load_54 | 52 | 0.009169 | 0.002298 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-637_0_5_load_23 | 53 | 0.038153 | 0.009562 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-637_0_5_load_38 | 54 | 0.009153 | 0.002294 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-637_0_5_load_42 | 55 | 0.0015809 | 0.00039622 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-637_0_5_load_70 | 57 | 0.0014395 | 0.00036076 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-637_0_5_load_64 | 59 | 0.0014402 | 0.00036095 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-637_0_5_load_65 | 60 | 0.0014396 | 0.00036081 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-637_0_5_load_60 | 62 | 0.0025191 | 0.00063134 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-637_0_5_load_63 | 63 | 0.0025261 | 0.00063311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-637_0_5_line_0 |  | 0 | 1 | 0.022495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-637_0_5_line_1 |  | 1 | 2 | 0.07663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-637_0_5_line_2 |  | 1 | 3 | 0.083632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-637_0_5_line_3 |  | 2 | 4 | 0.035163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-637_0_5_line_4 |  | 3 | 5 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-637_0_5_line_5 |  | 4 | 40 | 0.0065415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-637_0_5_line_6 |  | 6 | 7 | 0.085994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-637_0_5_line_7 |  | 6 | 8 | 0.024656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-637_0_5_line_8 |  | 7 | 38 | 0.032535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-637_0_5_line_9 |  | 7 | 39 | 0.01656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-637_0_5_line_10 |  | 8 | 40 | 0.033059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-637_0_5_line_11 |  | 9 | 10 | 0.032864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-637_0_5_line_12 |  | 9 | 11 | 0.064209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-637_0_5_line_13 |  | 9 | 12 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-637_0_5_line_14 |  | 10 | 36 | 0.007393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-637_0_5_line_15 |  | 11 | 13 | 0.038392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-637_0_5_line_16 |  | 11 | 14 | 0.021588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-637_0_5_line_17 |  | 12 | 42 | 0.016787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-637_0_5_line_18 |  | 13 | 25 | 0.010335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-637_0_5_line_19 |  | 15 | 16 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-637_0_5_line_20 |  | 15 | 17 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-637_0_5_line_21 |  | 15 | 18 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-637_0_5_line_22 |  | 16 | 43 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-637_0_5_line_23 |  | 16 | 44 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-637_0_5_line_24 |  | 16 | 45 | 0.015067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-637_0_5_line_25 |  | 19 | 20 | 0.07324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-637_0_5_line_26 |  | 19 | 21 | 0.037919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-637_0_5_line_27 |  | 20 | 27 | 0.032848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-637_0_5_line_28 |  | 21 | 42 | 0.020193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-637_0_5_line_29 |  | 22 | 23 | 0.025454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-637_0_5_line_30 |  | 22 | 24 | 0.012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-637_0_5_line_31 |  | 23 | 46 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-637_0_5_line_32 |  | 23 | 47 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-637_0_5_line_33 |  | 24 | 48 | 0.034475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-637_0_5_line_34 |  | 25 | 26 | 0.026271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-637_0_5_line_35 |  | 26 | 49 | 0.0027839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-637_0_5_line_36 |  | 27 | 53 | 0.0077426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-637_0_5_line_37 |  | 28 | 29 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-637_0_5_line_38 |  | 28 | 30 | 0.01996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-637_0_5_line_39 |  | 29 | 47 | 0.026163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-637_0_5_line_40 |  | 29 | 54 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-637_0_5_line_41 |  | 31 | 32 | 0.019498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-637_0_5_line_42 |  | 31 | 33 | 0.035291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-637_0_5_line_43 |  | 32 | 54 | 0.034669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-637_0_5_line_44 |  | 33 | 55 | 0.0067014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-637_0_5_line_45 |  | 34 | 35 | 0.009467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-637_0_5_line_46 |  | 34 | 36 | 0.064819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-637_0_5_line_47 |  | 36 | 37 | 0.028267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-637_0_5_line_48 |  | 37 | 39 | 0.031559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_261-637_0_5_line_49 |  | 38 | 45 | 0.020471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-637_0_5_line_50 |  | 40 | 41 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-637_0_5_line_51 |  | 45 | 56 | 0.006911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-637_0_5_line_52 |  | 47 | 50 | 0.019398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-637_0_5_line_53 |  | 49 | 50 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-637_0_5_line_54 |  | 49 | 51 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-637_0_5_line_55 |  | 51 | 52 | 0.0027979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-637_0_5_line_56 |  | 56 | 57 | 0.013413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-637_0_5_line_57 |  | 56 | 58 | 0.02175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-637_0_5_line_58 |  | 58 | 59 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-637_0_5_line_59 |  | 58 | 60 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-637_0_5_line_60 |  | 58 | 61 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-637_0_5_line_61 |  | 61 | 63 | 0.013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-637_0_5_line_62 |  | 61 | 62 | 0.00622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-637_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 64 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2679105.8478 | 1248186.2657 | 2679110.975 | 1248208.1688
1 | 2679105.8478 | 1248186.2657 | 2679115.2065 | 1248182.7881 | 2679120.8428 | 1248181.4956 | 2679135.6551 | 1248183.6171 | 2679141.3136 | 1248186.3168 | 2679145.3134 | 1248188.2382 | 2679151.3899 | 1248195.836 | 2679154.5031 | 1248201.9375 | 2679159.459 | 1248202.3929 | 2679163.4158 | 1248215.4441
2 | 2679105.8478 | 1248186.2657 | 2679103.5526 | 1248176.5947 | 2679142.018 | 1248161.8528 | 2679147.1878 | 1248159.8648 | 2679145.3804 | 1248153.2581 | 2679139.0798 | 1248134.1601
3 | 2679163.4158 | 1248215.4441 | 2679157.7649 | 1248220.6614 | 2679148.8961 | 1248225.3464 | 2679132.3398 | 1248230.8344
4 | 2679139.0798 | 1248134.1601 | 2679125.175 | 1248141.2303
5 | 2679126.1305 | 1248232.8926 | 2679132.3398 | 1248230.8344
6 | 2679135.4713 | 1248289.5585 | 2679136.0595 | 1248291.3232 | 2679137.2572 | 1248294.9529 | 2679172.7659 | 1248282.6958 | 2679180.3685 | 1248280.0731 | 2679179.6416 | 1248277.9508 | 2679190.9103 | 1248276.7782 | 2679200.3432 | 1248269.4321 | 2679204.3413 | 1248277.6916
7 | 2679135.4713 | 1248289.5585 | 2679129.3777 | 1248265.6673
8 | 2679204.3413 | 1248277.6916 | 2679213.0796 | 1248272.0264 | 2679226.3458 | 1248261.5404 | 2679231.0113 | 1248259.2184
9 | 2679204.3413 | 1248277.6916 | 2679207.5824 | 1248284.3842 | 2679213.4508 | 1248291.3698
10 | 2679126.1305 | 1248232.8926 | 2679126.727 | 1248249.8684 | 2679127.4407 | 1248258.0728 | 2679129.3777 | 1248265.6673
11 | 2679284.5081 | 1248303.7819 | 2679259.1478 | 1248324.6833
12 | 2679284.5081 | 1248303.7819 | 2679291.4422 | 1248298.0593 | 2679304.5466 | 1248287.26 | 2679307.6089 | 1248284.7324 | 2679319.0061 | 1248285.2408 | 2679329.1493 | 1248279.5724 | 2679340.3526 | 1248280.4673
13 | 2679284.5081 | 1248303.7819 | 2679296.5718 | 1248318.1482
14 | 2679253.4427 | 1248329.3853 | 2679259.1478 | 1248324.6833
15 | 2679340.3526 | 1248280.4673 | 2679341.6805 | 1248279.4399 | 2679349.2811 | 1248273.5818 | 2679360.0588 | 1248263.9634 | 2679369.5141 | 1248255.5283
16 | 2679340.3526 | 1248280.4673 | 2679352.9822 | 1248296.6704 | 2679353.6491 | 1248297.4738
17 | 2679296.5718 | 1248318.1482 | 2679307.3669 | 1248331.0038
18 | 2679369.5141 | 1248255.5283 | 2679373.4889 | 1248251.9789 | 2679377.2266 | 1248248.6487
19 | 2679257.898 | 1248259.416 | 2679271.5982 | 1248275.2107
20 | 2679281.5794 | 1248266.9714 | 2679271.5982 | 1248275.2107
21 | 2679262.2992 | 1248282.7029 | 2679271.5982 | 1248275.2107
22 | 2679257.898 | 1248259.416 | 2679248.6762 | 1248266.7759
23 | 2679267.5507 | 1248250.3273 | 2679257.898 | 1248259.416
24 | 2679248.0132 | 1248248.02 | 2679257.898 | 1248259.416
25 | 2679319.7553 | 1248420.5385 | 2679333.5414 | 1248418.0322 | 2679318.7285 | 1248398.5086 | 2679344.7368 | 1248375.5065
26 | 2679344.7368 | 1248375.5065 | 2679320.3523 | 1248346.4677
27 | 2679319.7553 | 1248420.5385 | 2679298.1951 | 1248395.7567
28 | 2679320.3523 | 1248346.4677 | 2679307.3669 | 1248331.0038
29 | 2679319.8926 | 1248197.0105 | 2679318.8135 | 1248198.0746 | 2679300.3171 | 1248213.3384
30 | 2679300.3171 | 1248213.3384 | 2679291.6234 | 1248204.1341
31 | 2679319.8926 | 1248197.0105 | 2679331.6698 | 1248211.3333
32 | 2679319.8926 | 1248197.0105 | 2679324.2384 | 1248192.8323 | 2679327.6978 | 1248189.4205
33 | 2679291.6234 | 1248204.1341 | 2679267.9512 | 1248179.0716
34 | 2679377.2266 | 1248248.6487 | 2679371.2115 | 1248241.5741 | 2679369.185 | 1248239.5011 | 2679360.3393 | 1248228.5385
35 | 2679358.5911 | 1248226.3719 | 2679360.3393 | 1248228.5385
36 | 2679293.1131 | 1248389.9153 | 2679298.1951 | 1248395.7567
37 | 2679355.7267 | 1248159.407 | 2679346.7556 | 1248167.2037 | 2679349.842 | 1248170.781 | 2679347.7787 | 1248172.588
38 | 2679355.7267 | 1248159.407 | 2679366.2932 | 1248171.2125 | 2679369.0374 | 1248174.2808
39 | 2679347.7787 | 1248172.588 | 2679347.4661 | 1248172.8062 | 2679329.0024 | 1248188.4372 | 2679327.6978 | 1248189.4205
40 | 2679347.7787 | 1248172.588 | 2679339.5175 | 1248162.8847
41 | 2679304.208 | 1248121.8126 | 2679308.6968 | 1248126.6984 | 2679310.8162 | 1248129.173 | 2679317.043 | 1248136.4869
42 | 2679304.208 | 1248121.8126 | 2679280.4933 | 1248141.5432 | 2679277.0335 | 1248144.4213
43 | 2679339.5175 | 1248162.8847 | 2679317.043 | 1248136.4869
44 | 2679277.0335 | 1248144.4213 | 2679278.1707 | 1248145.793 | 2679281.3621 | 1248149.537
45 | 2679216.2093 | 1248385.3508 | 2679213.4758 | 1248376.2855
46 | 2679213.4758 | 1248376.2855 | 2679214.0096 | 1248369.1207 | 2679216.0328 | 1248360.1412 | 2679220.4541 | 1248356.5087 | 2679230.2971 | 1248348.4232 | 2679246.417 | 1248335.1845 | 2679253.4427 | 1248329.3853
47 | 2679253.4427 | 1248329.3853 | 2679246.5744 | 1248321.7212 | 2679240.0721 | 1248314.3623 | 2679238.4365 | 1248312.4279 | 2679233.7502 | 1248315.5343
48 | 2679233.7502 | 1248315.5343 | 2679233.7502 | 1248315.5343 | 2679213.4508 | 1248291.3698
49 | 2679248.0132 | 1248248.02 | 2679238.9212 | 1248255.2816 | 2679231.0113 | 1248259.2184
50 | 2679126.1305 | 1248232.8926 | 2679123.6006 | 1248231.7469 | 2679122.392 | 1248231.197 | 2679113.8428 | 1248233.0949
51 | 2679243.4838 | 1248242.789 | 2679248.0132 | 1248248.02
52 | 2679327.6978 | 1248189.4205 | 2679340.1398 | 1248204.3024
53 | 2679358.5911 | 1248226.3719 | 2679340.1398 | 1248204.3024
54 | 2679349.9752 | 1248233.5952 | 2679354.3681 | 1248229.8402 | 2679358.5911 | 1248226.3719
55 | 2679349.9752 | 1248233.5952 | 2679351.7958 | 1248235.7197
56 | 2679253.7576 | 1248234.1311 | 2679243.4838 | 1248242.789
57 | 2679229.2106 | 1248226.3419 | 2679243.4838 | 1248242.789
58 | 2679229.2106 | 1248226.3419 | 2679220.4823 | 1248233.5083
59 | 2679239.6612 | 1248217.4528 | 2679229.2106 | 1248226.3419
60 | 2679229.2106 | 1248226.3419 | 2679220.6794 | 1248216.5096
61 | 2679230.4048 | 1248206.4989 | 2679220.6794 | 1248216.5096
62 | 2679216.7258 | 1248211.6977 | 2679220.6794 | 1248216.5096

## bus_geodata
| x | y | coords
0 | 2679110.975 | 1248208.1688
1 | 2679105.8478 | 1248186.2657
2 | 2679163.4158 | 1248215.4441
3 | 2679139.0798 | 1248134.1601
4 | 2679132.3398 | 1248230.8344
5 | 2679125.175 | 1248141.2303
6 | 2679135.4713 | 1248289.5585
7 | 2679204.3413 | 1248277.6916
8 | 2679129.3777 | 1248265.6673
9 | 2679284.5081 | 1248303.7819
10 | 2679259.1478 | 1248324.6833
11 | 2679340.3526 | 1248280.4673
12 | 2679296.5718 | 1248318.1482
13 | 2679369.5141 | 1248255.5283
14 | 2679353.6491 | 1248297.4738
15 | 2679271.5982 | 1248275.2107
16 | 2679257.898 | 1248259.416
17 | 2679281.5794 | 1248266.9714
18 | 2679262.2992 | 1248282.7029
19 | 2679344.7368 | 1248375.5065
20 | 2679319.7553 | 1248420.5385
21 | 2679320.3523 | 1248346.4677
22 | 2679300.3171 | 1248213.3384
23 | 2679319.8926 | 1248197.0105
24 | 2679291.6234 | 1248204.1341
25 | 2679377.2266 | 1248248.6487
26 | 2679360.3393 | 1248228.5385
27 | 2679298.1951 | 1248395.7567
28 | 2679355.7267 | 1248159.407
29 | 2679347.7787 | 1248172.588
30 | 2679369.0374 | 1248174.2808
31 | 2679304.208 | 1248121.8126
32 | 2679317.043 | 1248136.4869
33 | 2679277.0335 | 1248144.4213
34 | 2679213.4758 | 1248376.2855
35 | 2679216.2093 | 1248385.3508
36 | 2679253.4427 | 1248329.3853
37 | 2679233.7502 | 1248315.5343
38 | 2679231.0113 | 1248259.2184
39 | 2679213.4508 | 1248291.3698
40 | 2679126.1305 | 1248232.8926
41 | 2679113.8428 | 1248233.0949
42 | 2679307.3669 | 1248331.0038
43 | 2679248.6762 | 1248266.7759
44 | 2679267.5507 | 1248250.3273
45 | 2679248.0132 | 1248248.02
46 | 2679331.6698 | 1248211.3333
47 | 2679327.6978 | 1248189.4205
48 | 2679267.9512 | 1248179.0716
49 | 2679358.5911 | 1248226.3719
50 | 2679340.1398 | 1248204.3024
51 | 2679349.9752 | 1248233.5952
52 | 2679351.7958 | 1248235.7197
53 | 2679293.1131 | 1248389.9153
54 | 2679339.5175 | 1248162.8847
55 | 2679281.3621 | 1248149.537
56 | 2679243.4838 | 1248242.789
57 | 2679253.7576 | 1248234.1311
58 | 2679229.2106 | 1248226.3419
59 | 2679220.4823 | 1248233.5083
60 | 2679239.6612 | 1248217.4528
61 | 2679220.6794 | 1248216.5096
62 | 2679216.7258 | 1248211.6977
63 | 2679230.4048 | 1248206.4989
64 | 2679291.4422 | 1248298.0593

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98815 | -0.22714 | 0.0021641 | 0.00054236
1 | 0.98819 | -0.22627 | 0 | 0
2 | 0.98865 | -0.2174 | 0 | 0
3 | 0.98786 | -0.23273 | 0 | 0
4 | 0.98886 | -0.21333 | 0.0028031 | 0.00070252
5 | 0.9878 | -0.23393 | 0.004321 | 0.0010829
6 | 0.98946 | -0.20165 | 0 | 0
7 | 0.99032 | -0.18501 | 0 | 0
8 | 0.98921 | -0.20643 | 0.0010104 | 0.00025324
9 | 1 | 0 | -0.49337 | -0.12514
10 | 0.99704 | -0.056365 | 0.042303 | 0.010602
11 | 0.99447 | -0.10549 | 0 | 0
12 | 0.99831 | -0.032345 | 0.012617 | 0.0031622
13 | 0.99174 | -0.15801 | 0 | 0
14 | 0.99415 | -0.11171 | 0.016331 | 0.004093
15 | 0.98084 | -0.3689 | 0 | 0
16 | 0.98243 | -0.33774 | 0 | 0
17 | 0.98036 | -0.3783 | 0.040152 | 0.010063
18 | 0.98037 | -0.37804 | 0.042329 | 0.010609
19 | 0.99384 | -0.11792 | 0 | 0
20 | 0.9903 | -0.18631 | 0 | 0
21 | 0.99568 | -0.082701 | 0.017876 | 0.0044801
22 | 0.98577 | -0.27385 | 0 | 0
23 | 0.98621 | -0.26511 | 0 | 0
24 | 0.98554 | -0.2782 | 0.0091549 | 0.0022944
25 | 0.991 | -0.1722 | 0 | 0
26 | 0.98914 | -0.20835 | 0.0089973 | 0.0022549
27 | 0.98871 | -0.21714 | 0.014575 | 0.0036527
28 | 0.9859 | -0.27114 | 0 | 0
29 | 0.98594 | -0.27041 | 0 | 0
30 | 0.98587 | -0.2719 | 0.0021127 | 0.0005295
31 | 0.9853 | -0.28289 | 0 | 0
32 | 0.98533 | -0.28234 | 0.0099764 | 0.0025003
33 | 0.98525 | -0.28389 | 0 | 0
34 | 0.99298 | -0.13461 | 0 | 0
35 | 0.99247 | -0.14448 | 0.058981 | 0.014782
36 | 0.99647 | -0.067261 | 0 | 0
37 | 0.99479 | -0.099243 | 0.031661 | 0.007935
38 | 0.98646 | -0.25934 | 0.0014305 | 0.00035853
39 | 0.99244 | -0.1442 | 0.022429 | 0.0056213
40 | 0.98891 | -0.21225 | 0 | 0
41 | 0.98891 | -0.21238 | 0.00057441 | 0.00014396
42 | 0.99698 | -0.057667 | 0.015529 | 0.0038921
43 | 0.98224 | -0.34146 | 0.017453 | 0.0043741
44 | 0.98222 | -0.34189 | 0.01733 | 0.0043432
45 | 0.98407 | -0.30589 | 0 | 0
46 | 0.98607 | -0.26795 | 0.0085549 | 0.0021441
47 | 0.98649 | -0.25971 | 0 | 0
48 | 0.98522 | -0.28439 | 0.010004 | 0.0025073
49 | 0.98896 | -0.21175 | 0 | 0
50 | 0.98739 | -0.24216 | 0.0086901 | 0.0021779
51 | 0.98887 | -0.21358 | 0 | 0
52 | 0.98884 | -0.21404 | 0.009169 | 0.002298
53 | 0.98844 | -0.22241 | 0.038153 | 0.009562
54 | 0.9857 | -0.27514 | 0.009153 | 0.002294
55 | 0.98524 | -0.28408 | 0.0015809 | 0.00039622
56 | 0.98401 | -0.30706 | 0 | 0
57 | 0.98399 | -0.3074 | 0.0014395 | 0.00036076
58 | 0.98385 | -0.31016 | 0 | 0
59 | 0.98383 | -0.31045 | 0.0014402 | 0.00036095
60 | 0.98383 | -0.31051 | 0.0014396 | 0.00036081
61 | 0.98379 | -0.31134 | 0 | 0
62 | 0.98377 | -0.31162 | 0.0025191 | 0.00063134
63 | 0.98376 | -0.31197 | 0.0025261 | 0.00063311
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021641 | -0.00054236 | 0.0021641 | 0.00054213 | 8.9581e-08 | -2.3085e-07 | 0.0032588 | 0.0032587 | 0.0032588 | 0.98815 | -0.22714 | 0.98819 | -0.22627 | 0.89527
1 | -0.0064867 | -0.0016248 | 0.0064894 | 0.0016256 | 2.7414e-06 | 7.7228e-07 | 0.0097673 | 0.009767 | 0.0097673 | 0.98819 | -0.22627 | 0.98865 | -0.2174 | 2.6833
2 | 0.0043225 | 0.0010827 | -0.0043212 | -0.0010829 | 1.3287e-06 | -2.2074e-07 | 0.0065086 | 0.006509 | 0.006509 | 0.98819 | -0.22627 | 0.98786 | -0.23273 | 1.7882
3 | -0.0064894 | -0.0016256 | 0.0064907 | 0.0016259 | 1.2579e-06 | 3.5403e-07 | 0.009767 | 0.0097668 | 0.009767 | 0.98865 | -0.2174 | 0.98886 | -0.21333 | 2.6832
4 | 0.0043212 | 0.0010829 | -0.004321 | -0.0010829 | 2.4784e-07 | -4.1082e-08 | 0.006509 | 0.0065091 | 0.0065091 | 0.98786 | -0.23273 | 0.9878 | -0.23393 | 1.7882
5 | -0.0092938 | -0.0023285 | 0.0092942 | 0.0023287 | 4.7976e-07 | 2.2312e-07 | 0.013985 | 0.013985 | 0.013985 | 0.98886 | -0.21333 | 0.98891 | -0.21225 | 3.842
6 | -0.010884 | -0.0027283 | 0.010893 | 0.0027327 | 8.6401e-06 | 4.4242e-06 | 0.016369 | 0.016368 | 0.016369 | 0.98946 | -0.20165 | 0.99032 | -0.18501 | 4.4969
7 | 0.010884 | 0.0027283 | -0.010882 | -0.002727 | 2.4774e-06 | 1.2689e-06 | 0.016369 | 0.016369 | 0.016369 | 0.98946 | -0.20165 | 0.98921 | -0.20643 | 4.4969
8 | 0.12915 | 0.032789 | -0.12869 | -0.032495 | 0.00046016 | 0.00029408 | 0.1942 | 0.1942 | 0.1942 | 0.99032 | -0.18501 | 0.98646 | -0.25934 | 53.3529
9 | -0.14004 | -0.035522 | 0.14032 | 0.035698 | 0.00027535 | 0.00017601 | 0.21057 | 0.21057 | 0.21057 | 0.99032 | -0.18501 | 0.99244 | -0.1442 | 57.8496
10 | 0.0098714 | 0.0024738 | -0.0098687 | -0.0024725 | 2.7335e-06 | 1.3252e-06 | 0.014849 | 0.014849 | 0.014849 | 0.98921 | -0.20643 | 0.98891 | -0.21225 | 4.0794
11 | 0.2975 | 0.075793 | -0.2967 | -0.075278 | 0.00080663 | 0.00051495 | 0.44312 | 0.44312 | 0.44312 | 1 | 0 | 0.99704 | -0.056365 | 40.5791
12 | 0.094777 | 0.024157 | -0.094297 | -0.02385 | 0.00047988 | 0.00030628 | 0.14117 | 0.14117 | 0.14117 | 1 | 0 | 0.99447 | -0.10549 | 38.7838
13 | 0.099444 | 0.025191 | -0.09929 | -0.025092 | 0.00015424 | 9.8466e-05 | 0.14807 | 0.14807 | 0.14807 | 1 | 0 | 0.99831 | -0.032345 | 40.6784
14 | 0.25439 | 0.064676 | -0.25426 | -0.064591 | 0.00013344 | 8.511e-05 | 0.37999 | 0.37999 | 0.37999 | 0.99704 | -0.056365 | 0.99647 | -0.067261 | 34.7976
15 | 0.077961 | 0.019755 | -0.077765 | -0.01963 | 0.00019617 | 0.00012505 | 0.11673 | 0.11673 | 0.11673 | 0.99447 | -0.10549 | 0.99174 | -0.15801 | 32.0684
16 | 0.016336 | 0.0040958 | -0.016331 | -0.004093 | 4.8372e-06 | 2.8158e-06 | 0.024444 | 0.024444 | 0.024444 | 0.99447 | -0.10549 | 0.99415 | -0.11171 | 6.7154
17 | 0.086673 | 0.02193 | -0.086568 | -0.021863 | 0.00010518 | 6.7098e-05 | 0.12926 | 0.12926 | 0.12926 | 0.99831 | -0.032345 | 0.99698 | -0.057667 | 35.5118
18 | 0.077765 | 0.01963 | -0.077712 | -0.019596 | 5.2808e-05 | 3.3664e-05 | 0.11673 | 0.11673 | 0.11673 | 0.99174 | -0.15801 | 0.991 | -0.1722 | 32.0684
19 | -0.082517 | -0.020695 | 0.08264 | 0.020773 | 0.00012273 | 7.8282e-05 | 0.12519 | 0.12519 | 0.12519 | 0.98084 | -0.3689 | 0.98243 | -0.33774 | 34.393
20 | 0.04017 | 0.010074 | -0.040152 | -0.010063 | 1.7996e-05 | 1.1355e-05 | 0.060944 | 0.060944 | 0.060944 | 0.98084 | -0.3689 | 0.98036 | -0.3783 | 16.7427
21 | 0.042347 | 0.01062 | -0.042329 | -0.010609 | 1.8452e-05 | 1.1659e-05 | 0.064247 | 0.064247 | 0.064247 | 0.98084 | -0.3689 | 0.98037 | -0.37804 | 17.6502
22 | 0.017456 | 0.004376 | -0.017453 | -0.0043741 | 3.0876e-06 | 1.827e-06 | 0.02644 | 0.02644 | 0.02644 | 0.98243 | -0.33774 | 0.98224 | -0.34146 | 7.2637
23 | 0.017333 | 0.0043452 | -0.01733 | -0.0043432 | 3.4218e-06 | 2.0224e-06 | 0.026253 | 0.026253 | 0.026253 | 0.98243 | -0.33774 | 0.98222 | -0.34189 | 7.2125
24 | -0.11743 | -0.029494 | 0.11761 | 0.029608 | 0.00017878 | 0.00011423 | 0.17788 | 0.17788 | 0.17788 | 0.98243 | -0.33774 | 0.98407 | -0.30589 | 48.8691
25 | 0.052988 | 0.01338 | -0.052815 | -0.01327 | 0.00017302 | 0.00010979 | 0.07937 | 0.079371 | 0.079371 | 0.99384 | -0.11792 | 0.9903 | -0.18631 | 21.8051
26 | -0.052988 | -0.01338 | 0.053077 | 0.013437 | 8.9579e-05 | 5.6838e-05 | 0.07937 | 0.07937 | 0.07937 | 0.99384 | -0.11792 | 0.99568 | -0.082701 | 21.8051
27 | 0.052815 | 0.01327 | -0.052737 | -0.013221 | 7.76e-05 | 4.9242e-05 | 0.079371 | 0.079371 | 0.079371 | 0.9903 | -0.18631 | 0.98871 | -0.21714 | 21.8052
28 | -0.070953 | -0.017917 | 0.071038 | 0.017971 | 8.5219e-05 | 5.4277e-05 | 0.10608 | 0.10608 | 0.10608 | 0.99568 | -0.082701 | 0.99698 | -0.057667 | 29.1442
29 | -0.019166 | -0.0048056 | 0.019174 | 0.0048104 | 7.9901e-06 | 4.789e-06 | 0.028932 | 0.028932 | 0.028932 | 0.98577 | -0.27385 | 0.98621 | -0.26511 | 7.9484
30 | 0.019166 | 0.0048056 | -0.019162 | -0.0048032 | 3.9743e-06 | 2.3822e-06 | 0.028932 | 0.028932 | 0.028932 | 0.98577 | -0.27385 | 0.98554 | -0.2782 | 7.9484
31 | 0.0085561 | 0.0021446 | -0.0085549 | -0.0021441 | 1.1589e-06 | 5.0511e-07 | 0.01291 | 0.01291 | 0.01291 | 0.98621 | -0.26511 | 0.98607 | -0.26795 | 3.5466
32 | -0.02773 | -0.006955 | 0.027737 | 0.0069594 | 7.1377e-06 | 4.4294e-06 | 0.041842 | 0.041842 | 0.041842 | 0.98621 | -0.26511 | 0.98649 | -0.25971 | 11.495
33 | 0.010007 | 0.0025088 | -0.010004 | -0.0025073 | 2.9516e-06 | 1.4499e-06 | 0.01511 | 0.01511 | 0.01511 | 0.98554 | -0.2782 | 0.98522 | -0.28439 | 4.1511
34 | 0.077712 | 0.019596 | -0.077578 | -0.01951 | 0.00013424 | 8.5574e-05 | 0.11673 | 0.11673 | 0.11673 | 0.991 | -0.1722 | 0.98914 | -0.20835 | 32.0685
35 | 0.068581 | 0.017255 | -0.06857 | -0.017248 | 1.1117e-05 | 7.0794e-06 | 0.10319 | 0.10319 | 0.10319 | 0.98914 | -0.20835 | 0.98896 | -0.21175 | 28.35
36 | 0.038163 | 0.0095681 | -0.038153 | -0.009562 | 9.5783e-06 | 6.0308e-06 | 0.057436 | 0.057436 | 0.057436 | 0.98871 | -0.21714 | 0.98844 | -0.22241 | 15.7792
37 | -0.0021128 | -0.00052929 | 0.0021129 | 0.00052909 | 7.3681e-08 | -1.9927e-07 | 0.0031887 | 0.0031886 | 0.0031887 | 0.9859 | -0.27114 | 0.98594 | -0.27041 | 0.87603
38 | 0.0021128 | 0.00052929 | -0.0021127 | -0.0005295 | 7.611e-08 | -2.0581e-07 | 0.0031887 | 0.0031888 | 0.0031888 | 0.9859 | -0.27114 | 0.98587 | -0.2719 | 0.87605
39 | -0.022832 | -0.0057238 | 0.022844 | 0.0057309 | 1.165e-05 | 7.1222e-06 | 0.034459 | 0.034459 | 0.034459 | 0.98594 | -0.27041 | 0.98649 | -0.25971 | 9.4668
40 | 0.020719 | 0.0051947 | -0.020714 | -0.0051919 | 4.673e-06 | 2.8283e-06 | 0.031271 | 0.031271 | 0.031271 | 0.98594 | -0.27041 | 0.9857 | -0.27514 | 8.5908
41 | -0.001581 | -0.00039574 | 0.0015811 | 0.00039552 | 4.1677e-08 | -2.2168e-07 | 0.0023875 | 0.0023874 | 0.0023875 | 0.9853 | -0.28289 | 0.98533 | -0.28234 | 0.6559
42 | 0.001581 | 0.00039574 | -0.0015809 | -0.00039614 | 7.5441e-08 | -4.0118e-07 | 0.0023875 | 0.0023876 | 0.0023876 | 0.9853 | -0.28289 | 0.98525 | -0.28389 | 0.65595
43 | -0.011557 | -0.0028958 | 0.011561 | 0.0028979 | 3.9603e-06 | 2.0928e-06 | 0.017453 | 0.017453 | 0.017453 | 0.98533 | -0.28234 | 0.9857 | -0.27514 | 4.7949
44 | 0.0015809 | 0.00039614 | -0.0015809 | -0.00039622 | 1.4327e-08 | -7.6174e-08 | 0.0023876 | 0.0023877 | 0.0023877 | 0.98525 | -0.28389 | 0.98524 | -0.28408 | 0.65595
45 | 0.059008 | 0.0148 | -0.058981 | -0.014782 | 2.7762e-05 | 1.7645e-05 | 0.08843 | 0.08843 | 0.08843 | 0.99298 | -0.13461 | 0.99247 | -0.14448 | 24.2941
46 | -0.059008 | -0.0148 | 0.059198 | 0.01492 | 0.00019008 | 0.00012081 | 0.08843 | 0.08843 | 0.08843 | 0.99298 | -0.13461 | 0.99647 | -0.067261 | 24.2941
47 | 0.19506 | 0.04967 | -0.19476 | -0.049479 | 0.00030036 | 0.00019113 | 0.29156 | 0.29156 | 0.29156 | 0.99647 | -0.067261 | 0.99479 | -0.099243 | 26.6996
48 | 0.1631 | 0.041544 | -0.16275 | -0.041319 | 0.00035288 | 0.00022503 | 0.2442 | 0.2442 | 0.2442 | 0.99479 | -0.099243 | 0.99244 | -0.1442 | 33.5442
49 | 0.12726 | 0.032136 | -0.12697 | -0.031955 | 0.00028313 | 0.00018095 | 0.19205 | 0.19205 | 0.19205 | 0.98646 | -0.25934 | 0.98407 | -0.30589 | 52.7601
50 | 0.00057441 | 0.0001438 | -0.00057441 | -0.00014396 | 3.6031e-09 | -1.6272e-07 | 0.00086426 | 0.00086432 | 0.00086432 | 0.98891 | -0.21225 | 0.98891 | -0.21238 | 0.23745
51 | 0.0093667 | 0.0023471 | -0.0093662 | -0.0023468 | 5.1988e-07 | 2.4493e-07 | 0.014163 | 0.014163 | 0.014163 | 0.98407 | -0.30589 | 0.98401 | -0.30706 | 3.891
52 | -0.050581 | -0.01269 | 0.050623 | 0.012717 | 4.2349e-05 | 2.6855e-05 | 0.076301 | 0.076301 | 0.076301 | 0.98649 | -0.25971 | 0.98739 | -0.24216 | 20.9618
53 | 0.0594 | 0.01495 | -0.059313 | -0.014895 | 8.6211e-05 | 5.4806e-05 | 0.089397 | 0.089397 | 0.089397 | 0.98896 | -0.21175 | 0.98739 | -0.24216 | 24.5596
54 | 0.00917 | 0.0022984 | -0.0091692 | -0.002298 | 8.0268e-07 | 3.6946e-07 | 0.013797 | 0.013797 | 0.013797 | 0.98896 | -0.21175 | 0.98887 | -0.21358 | 3.7905
55 | 0.0091692 | 0.002298 | -0.009169 | -0.002298 | 1.9974e-07 | 9.1939e-08 | 0.013797 | 0.013797 | 0.013797 | 0.98887 | -0.21358 | 0.98884 | -0.21404 | 3.7905
56 | 0.0014395 | 0.00036061 | -0.0014395 | -0.00036076 | 2.3833e-08 | -1.5513e-07 | 0.0021767 | 0.0021768 | 0.0021768 | 0.98401 | -0.30706 | 0.98399 | -0.3074 | 0.59802
57 | 0.0079267 | 0.0019862 | -0.0079255 | -0.0019857 | 1.1719e-06 | 4.7376e-07 | 0.011987 | 0.011987 | 0.011987 | 0.98401 | -0.30706 | 0.98385 | -0.31016 | 3.293
58 | 0.0014402 | 0.00036082 | -0.0014402 | -0.00036095 | 2.006e-08 | -1.3033e-07 | 0.0021782 | 0.0021783 | 0.0021783 | 0.98385 | -0.31016 | 0.98383 | -0.31045 | 0.59843
59 | 0.0014397 | 0.00036065 | -0.0014396 | -0.00036081 | 2.4351e-08 | -1.5835e-07 | 0.0021774 | 0.0021774 | 0.0021774 | 0.98385 | -0.31016 | 0.98383 | -0.31051 | 0.59819
60 | 0.0050456 | 0.0012643 | -0.0050453 | -0.0012643 | 2.8391e-07 | 1.6616e-08 | 0.0076311 | 0.0076312 | 0.0076312 | 0.98385 | -0.31016 | 0.98379 | -0.31134 | 2.0965
61 | 0.0025262 | 0.00063298 | -0.0025261 | -0.00063311 | 7.6309e-08 | -1.2813e-07 | 0.0038209 | 0.003821 | 0.003821 | 0.98379 | -0.31134 | 0.98376 | -0.31197 | 1.0497
62 | 0.0025191 | 0.00063128 | -0.0025191 | -0.00063134 | 3.3863e-08 | -5.7304e-08 | 0.0038102 | 0.0038103 | 0.0038103 | 0.98379 | -0.31134 | 0.98377 | -0.31162 | 1.0468

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49337 | 0.12514

## res_load
| p_mw | q_mvar
0 | 0.0021641 | 0.00054236
1 | 0.0028031 | 0.00070252
2 | 0.004321 | 0.0010829
3 | 0.0010104 | 0.00025324
4 | 0.042303 | 0.010602
5 | 0.012617 | 0.0031622
6 | 0.016331 | 0.004093
7 | 0.040152 | 0.010063
8 | 0.042329 | 0.010609
9 | 0.017876 | 0.0044801
10 | 0.0091549 | 0.0022944
11 | 0.0089973 | 0.0022549
12 | 0.014575 | 0.0036527
13 | 0.0021127 | 0.0005295
14 | 0.0099764 | 0.0025003
15 | 0.058981 | 0.014782
16 | 0.031661 | 0.007935
17 | 0.0014305 | 0.00035853
18 | 0.022429 | 0.0056213
19 | 0.00057441 | 0.00014396
20 | 0.015529 | 0.0038921
21 | 0.017453 | 0.0043741
22 | 0.01733 | 0.0043432
23 | 0.0085549 | 0.0021441
24 | 0.010004 | 0.0025073
25 | 0.0086901 | 0.0021779
26 | 0.009169 | 0.002298
27 | 0.038153 | 0.009562
28 | 0.009153 | 0.002294
29 | 0.0015809 | 0.00039622
30 | 0.0014395 | 0.00036076
31 | 0.0014402 | 0.00036095
32 | 0.0014396 | 0.00036081
33 | 0.0025191 | 0.00063134
34 | 0.0025261 | 0.00063311

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1