## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-642_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-642_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-642_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-642_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-642_0_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_261-642_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_261-642_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-642_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-642_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_261-642_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-642_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_261-642_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_261-642_0_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_261-642_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-642_0_3_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_261-642_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_261-642_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-642_0_3_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_261-642_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-642_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_261-642_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_261-642_0_3_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_261-642_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_261-642_0_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_261-642_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_261-642_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_261-642_0_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_261-642_0_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_261-642_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_261-642_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_261-642_0_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_261-642_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_261-642_0_3_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_261-642_0_3_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_261-642_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_261-642_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_261-642_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_261-642_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_261-642_0_3_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_261-642_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_261-642_0_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_261-642_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_261-642_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_261-642_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_261-642_0_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_261-642_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_261-642_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_261-642_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_261-642_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_261-642_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_261-642_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_261-642_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_261-642_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_261-642_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_261-642_0_3_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_261-642_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_261-642_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_261-642_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_261-642_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_261-642_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_261-642_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_MV_529_1_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-642_0_3_load_0 | 0 | 0.0050624 | 0.0012687 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-642_0_3_load_1 | 1 | 0.0054342 | 0.0013619 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-642_0_3_load_33 | 5 | 0.0066492 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-642_0_3_load_34 | 8 | 0.015564 | 0.0039008 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-642_0_3_load_55 | 11 | 0.0047274 | 0.0011848 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-642_0_3_load_56 | 12 | 0.0061158 | 0.0015328 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-642_0_3_load_65 | 14 | 0.015889 | 0.0039822 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-642_0_3_load_53 | 17 | 0.0045353 | 0.0011366 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-642_0_3_load_64 | 21 | 0.012395 | 0.0031066 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-642_0_3_load_47 | 23 | 0.012049 | 0.0030197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-642_0_3_load_43 | 24 | 0.014413 | 0.0036122 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-642_0_3_load_63 | 26 | 0.0073475 | 0.0018415 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-642_0_3_load_52 | 27 | 0.02548 | 0.0063858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-642_0_3_load_49 | 28 | 0.035744 | 0.0089583 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-642_0_3_load_39 | 31 | 0.0096388 | 0.0024157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-642_0_3_load_60 | 32 | 0.0041963 | 0.0010517 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-642_0_3_load_58 | 33 | 0.0095682 | 0.002398 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-642_0_3_load_36 | 36 | 0.029544 | 0.0074044 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-642_0_3_load_66 | 38 | 0.0034512 | 0.00086495 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-642_0_3_load_62 | 40 | 0.0039108 | 0.00098014 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-642_0_3_load_61 | 41 | 0.0039481 | 0.00098948 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-642_0_3_load_35 | 43 | 0.021897 | 0.0054878 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-642_0_3_load_54 | 44 | 0.0062371 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-642_0_3_load_51 | 45 | 0.0086069 | 0.0021571 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-642_0_3_load_48 | 46 | 0.0049781 | 0.0012476 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-642_0_3_load_40 | 48 | 0.009485 | 0.0023772 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-642_0_3_load_59 | 49 | 0.0071975 | 0.0018039 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-642_0_3_load_28 | 50 | 0.0048455 | 0.0012144 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-642_0_3_load_42 | 52 | 0.013241 | 0.0033184 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-642_0_3_load_30 | 53 | 0.024238 | 0.0060747 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-642_0_3_load_27 | 54 | 0.008129 | 0.0020373 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-642_0_3_load_32 | 55 | 0.0046124 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-642_0_3_load_57 | 57 | 0.0055382 | 0.001388 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-642_0_3_load_41 | 58 | 0.003296 | 0.00082605 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-642_0_3_load_45 | 59 | 0.027323 | 0.0068477 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-642_0_3_load_50 | 60 | 0.006331 | 0.0015867 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-642_0_3_line_0 |  | 0 | 1 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-642_0_3_line_1 |  | 0 | 2 | 0.020855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-642_0_3_line_2 |  | 2 | 3 | 0.044785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-642_0_3_line_3 |  | 3 | 4 | 0.013074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-642_0_3_line_4 |  | 3 | 5 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-642_0_3_line_5 |  | 4 | 28 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-642_0_3_line_6 |  | 4 | 15 | 0.0098797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-642_0_3_line_7 |  | 5 | 42 | 0.027016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-642_0_3_line_8 |  | 6 | 7 | 0.084404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-642_0_3_line_9 |  | 6 | 8 | 0.063033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-642_0_3_line_10 |  | 7 | 12 | 0.077064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-642_0_3_line_11 |  | 8 | 43 | 0.007585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-642_0_3_line_12 |  | 9 | 10 | 0.004492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-642_0_3_line_13 |  | 9 | 11 | 0.039024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-642_0_3_line_14 |  | 10 | 25 | 0.010769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-642_0_3_line_15 |  | 11 | 44 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-642_0_3_line_16 |  | 12 | 16 | 0.031517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-642_0_3_line_17 |  | 13 | 14 | 0.003215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-642_0_3_line_18 |  | 13 | 15 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-642_0_3_line_19 |  | 15 | 27 | 0.049284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-642_0_3_line_20 |  | 16 | 17 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-642_0_3_line_21 |  | 17 | 44 | 0.015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-642_0_3_line_22 |  | 18 | 19 | 0.023681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-642_0_3_line_23 |  | 18 | 20 | 0.061849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-642_0_3_line_24 |  | 18 | 21 | 0.038577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-642_0_3_line_25 |  | 19 | 31 | 0.01964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-642_0_3_line_26 |  | 19 | 25 | 0.014714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-642_0_3_line_27 |  | 20 | 32 | 0.019962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-642_0_3_line_28 |  | 20 | 33 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-642_0_3_line_29 |  | 21 | 29 | 0.02529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-642_0_3_line_30 |  | 22 | 23 | 0.0096093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-642_0_3_line_31 |  | 22 | 24 | 0.012337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-642_0_3_line_32 |  | 23 | 30 | 0.031904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-642_0_3_line_33 |  | 25 | 26 | 0.00070224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-642_0_3_line_34 |  | 26 | 45 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_261-642_0_3_line_35 |  | 28 | 46 | 0.0328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-642_0_3_line_36 |  | 29 | 30 | 0.028861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-642_0_3_line_37 |  | 30 | 47 | 0.016537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-642_0_3_line_38 |  | 31 | 48 | 0.017877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-642_0_3_line_39 |  | 32 | 40 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-642_0_3_line_40 |  | 33 | 49 | 0.01663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-642_0_3_line_41 |  | 34 | 35 | 0.024814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-642_0_3_line_42 |  | 34 | 36 | 0.035555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-642_0_3_line_43 |  | 35 | 50 | 0.0072791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-642_0_3_line_44 |  | 35 | 37 | 0.008793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-642_0_3_line_45 |  | 36 | 51 | 0.0090271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-642_0_3_line_46 |  | 37 | 38 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-642_0_3_line_47 |  | 39 | 40 | 0.026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-642_0_3_line_48 |  | 39 | 41 | 0.012829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-642_0_3_line_49 |  | 42 | 55 | 0.027979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-642_0_3_line_50 |  | 42 | 53 | 0.0010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-642_0_3_line_51 |  | 45 | 60 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_261-642_0_3_line_52 |  | 46 | 60 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-642_0_3_line_53 |  | 47 | 59 | 0.016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-642_0_3_line_54 |  | 48 | 58 | 0.016547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-642_0_3_line_55 |  | 48 | 52 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-642_0_3_line_56 |  | 50 | 54 | 0.014631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-642_0_3_line_57 |  | 51 | 56 | 0.03763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-642_0_3_line_58 |  | 56 | 57 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-642_0_3_line_59 |  | 57 | 58 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-642_0_3_trafo_50 | 0.63 MVA 20/0.4 kV | 61 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2679552.8834 | 1247079.229 | 2679554.8583 | 1247066.6145
1 | 2679557.7793 | 1247098.2859 | 2679553.9866 | 1247094.3988 | 2679552.7075 | 1247090.6456 | 2679552.3546 | 1247087.105 | 2679552.6438 | 1247080.7598 | 2679552.8834 | 1247079.229
2 | 2679557.7793 | 1247098.2859 | 2679561.14 | 1247101.7223 | 2679569.173 | 1247109.3579 | 2679580.6552 | 1247123.3999 | 2679582.9265 | 1247124.7091 | 2679585.4663 | 1247125.1435 | 2679587.2389 | 1247125.3341 | 2679589.2115 | 1247128.6296
3 | 2679591.9309 | 1247140.4414 | 2679591.2683 | 1247139.1538 | 2679590.3128 | 1247137.184 | 2679590.6791 | 1247135.2208 | 2679591.6496 | 1247132.6986 | 2679589.2115 | 1247128.6296
4 | 2679589.2115 | 1247128.6296 | 2679603.0484 | 1247119.6724
5 | 2679591.9309 | 1247140.4414 | 2679600.7005 | 1247157.5999
6 | 2679591.9309 | 1247140.4414 | 2679586.9725 | 1247142.9211 | 2679583.094 | 1247144.8593
7 | 2679625.7271 | 1247104.9914 | 2679603.0484 | 1247119.6724
8 | 2679504.65 | 1247179.021 | 2679497.0755 | 1247191.8288 | 2679492.0382 | 1247201.8908 | 2679488.948 | 1247210.3889 | 2679487.378 | 1247217.0616 | 2679486.0337 | 1247224.36 | 2679485.3031 | 1247229.276 | 2679485.1211 | 1247236.6456 | 2679485.4082 | 1247245.0889 | 2679486.1219 | 1247253.2711 | 2679487.4186 | 1247259.0927
9 | 2679504.65 | 1247179.021 | 2679545.0633 | 1247199.2443 | 2679555.6713 | 1247184.8977
10 | 2679487.4186 | 1247259.0927 | 2679502.8944 | 1247254.7081 | 2679505.1846 | 1247250.1021 | 2679517.5476 | 1247234.512 | 2679528.7009 | 1247233.6498 | 2679531.4539 | 1247240.147 | 2679549.0519 | 1247241.9955
11 | 2679560.1809 | 1247178.7988 | 2679555.6713 | 1247184.8977
12 | 2679633.9529 | 1247235.4523 | 2679634.0555 | 1247236.8102 | 2679633.8357 | 1247238.553 | 2679633.5457 | 1247239.8945
13 | 2679633.5457 | 1247239.8945 | 2679632.5977 | 1247241.861 | 2679631.3003 | 1247243.4114 | 2679629.2668 | 1247245.2187 | 2679610.5812 | 1247252.9179 | 2679599.5871 | 1247257.444
14 | 2679633.9529 | 1247235.4523 | 2679638.3784 | 1247232.7097 | 2679643.1012 | 1247229.771
15 | 2679599.5871 | 1247257.444 | 2679585.5762 | 1247263.212 | 2679584.8896 | 1247263.4754
16 | 2679554.5121 | 1247273.0358 | 2679549.0519 | 1247241.9955
17 | 2679568.4913 | 1247133.1327 | 2679566.4187 | 1247135.5955
18 | 2679583.094 | 1247144.8593 | 2679580.4868 | 1247140.4434 | 2679575.3156 | 1247138.517 | 2679571.3333 | 1247135.2501 | 2679569.7253 | 1247134.0499 | 2679568.4913 | 1247133.1327
19 | 2679583.094 | 1247144.8593 | 2679588.1893 | 1247155.2464 | 2679596.55 | 1247172.2265 | 2679605.3538 | 1247188.8234
20 | 2679554.5121 | 1247273.0358 | 2679568.8266 | 1247269.6364 | 2679570.1316 | 1247269.1359
21 | 2679570.1316 | 1247269.1359 | 2679584.8896 | 1247263.4754
22 | 2679650.8914 | 1247257.7071 | 2679654.9395 | 1247255.5043 | 2679659.6118 | 1247252.9541 | 2679656.8621 | 1247248.4694 | 2679651.8783 | 1247241.5975
23 | 2679650.8914 | 1247257.7071 | 2679654.9395 | 1247255.5043 | 2679659.6118 | 1247252.9541 | 2679670.9823 | 1247270.2082 | 2679682.0106 | 1247289.3147 | 2679683.8937 | 1247290.2741 | 2679685.8304 | 1247290.6114 | 2679687.3104 | 1247290.6536 | 2679689.1034 | 1247293.8133
24 | 2679650.8914 | 1247257.7071 | 2679661.0961 | 1247272.8996 | 2679671.2766 | 1247290.4337
25 | 2679651.8783 | 1247241.5975 | 2679669.3541 | 1247232.6356
26 | 2679651.8783 | 1247241.5975 | 2679649.0127 | 1247237.8674 | 2679643.1012 | 1247229.771
27 | 2679689.1034 | 1247293.8133 | 2679690.8448 | 1247296.8834 | 2679689.549 | 1247298.8785 | 2679689.3692 | 1247301.5781 | 2679689.5227 | 1247303.0812 | 2679693.3943 | 1247310.6387 | 2679693.9285 | 1247311.8734
28 | 2679689.1034 | 1247293.8133 | 2679703.1615 | 1247286.4625
29 | 2679683.0697 | 1247312.7905 | 2679676.2307 | 1247298.9663 | 2679671.2766 | 1247290.4337
30 | 2679631.9837 | 1247282.5045 | 2679639.068 | 1247288.9968
31 | 2679631.9837 | 1247282.5045 | 2679620.575 | 1247287.1992
32 | 2679654.2339 | 1247315.3161 | 2679650.9962 | 1247299.9281 | 2679639.068 | 1247288.9968
33 | 2679643.1012 | 1247229.771 | 2679642.7057 | 1247229.1908
34 | 2679642.7057 | 1247229.1908 | 2679633.9823 | 1247216.3944 | 2679633.7008 | 1247215.9631
35 | 2679600.7005 | 1247157.5999 | 2679603.1923 | 1247162.4752 | 2679613.2911 | 1247181.6469 | 2679615.8795 | 1247186.6754
36 | 2679683.0697 | 1247312.7905 | 2679654.2339 | 1247315.3161
37 | 2679654.2339 | 1247315.3161 | 2679639.1476 | 1247322.1852
38 | 2679685.2618 | 1247224.4779 | 2679669.3541 | 1247232.6356
39 | 2679700.7718 | 1247327.6893 | 2679693.9285 | 1247311.8734
40 | 2679703.1615 | 1247286.4625 | 2679717.8981 | 1247278.7569
41 | 2679713.3544 | 1247132.3439 | 2679699.1782 | 1247111.9497
42 | 2679713.3544 | 1247132.3439 | 2679684.0172 | 1247152.431
43 | 2679699.1782 | 1247111.9497 | 2679695.0235 | 1247105.9728
44 | 2679699.1782 | 1247111.9497 | 2679706.3403 | 1247106.82
45 | 2679688.4665 | 1247160.2854 | 2679684.0172 | 1247152.431
46 | 2679701.9303 | 1247089.2924 | 2679706.3403 | 1247106.82
47 | 2679710.6638 | 1247352.6125 | 2679705.8263 | 1247339.3712 | 2679700.7718 | 1247327.6893
48 | 2679710.6638 | 1247352.6125 | 2679718.702 | 1247350.8415 | 2679723.0709 | 1247349.4092
49 | 2679625.7271 | 1247104.9914 | 2679640.3895 | 1247128.8211
50 | 2679625.7271 | 1247104.9914 | 2679626.6189 | 1247104.427
51 | 2679633.7008 | 1247215.9631 | 2679624.4641 | 1247201.8116 | 2679624.0444 | 1247201.1301
52 | 2679624.0444 | 1247201.1301 | 2679619.6368 | 1247193.9744 | 2679615.8795 | 1247186.6754
53 | 2679639.1476 | 1247322.1852 | 2679645.8275 | 1247337.4097
54 | 2679685.2618 | 1247224.4779 | 2679676.2348 | 1247210.6105
55 | 2679685.2618 | 1247224.4779 | 2679703.9311 | 1247213.8389
56 | 2679686.6727 | 1247093.9594 | 2679695.0235 | 1247105.9728
57 | 2679656.8866 | 1247180.8873 | 2679688.4665 | 1247160.2854
58 | 2679656.8866 | 1247180.8873 | 2679665.1608 | 1247193.5982
59 | 2679665.1608 | 1247193.5982 | 2679676.2348 | 1247210.6105

## bus_geodata
| x | y | coords
0 | 2679552.8834 | 1247079.229
1 | 2679554.8583 | 1247066.6145
2 | 2679557.7793 | 1247098.2859
3 | 2679589.2115 | 1247128.6296
4 | 2679591.9309 | 1247140.4414
5 | 2679603.0484 | 1247119.6724
6 | 2679504.65 | 1247179.021
7 | 2679487.4186 | 1247259.0927
8 | 2679555.6713 | 1247184.8977
9 | 2679633.5457 | 1247239.8945
10 | 2679633.9529 | 1247235.4523
11 | 2679599.5871 | 1247257.444
12 | 2679549.0519 | 1247241.9955
13 | 2679568.4913 | 1247133.1327
14 | 2679566.4187 | 1247135.5955
15 | 2679583.094 | 1247144.8593
16 | 2679554.5121 | 1247273.0358
17 | 2679570.1316 | 1247269.1359
18 | 2679650.8914 | 1247257.7071
19 | 2679651.8783 | 1247241.5975
20 | 2679689.1034 | 1247293.8133
21 | 2679671.2766 | 1247290.4337
22 | 2679631.9837 | 1247282.5045
23 | 2679639.068 | 1247288.9968
24 | 2679620.575 | 1247287.1992
25 | 2679643.1012 | 1247229.771
26 | 2679642.7057 | 1247229.1908
27 | 2679605.3538 | 1247188.8234
28 | 2679600.7005 | 1247157.5999
29 | 2679683.0697 | 1247312.7905
30 | 2679654.2339 | 1247315.3161
31 | 2679669.3541 | 1247232.6356
32 | 2679693.9285 | 1247311.8734
33 | 2679703.1615 | 1247286.4625
34 | 2679713.3545 | 1247132.3439
35 | 2679699.1782 | 1247111.9497
36 | 2679684.0172 | 1247152.431
37 | 2679706.3403 | 1247106.82
38 | 2679701.9303 | 1247089.2924
39 | 2679710.6638 | 1247352.6125
40 | 2679700.7718 | 1247327.6893
41 | 2679723.0709 | 1247349.4092
42 | 2679625.7271 | 1247104.9914
43 | 2679560.1809 | 1247178.7988
44 | 2679584.8896 | 1247263.4754
45 | 2679633.7008 | 1247215.9631
46 | 2679615.8795 | 1247186.6754
47 | 2679639.1476 | 1247322.1852
48 | 2679685.2618 | 1247224.4779
49 | 2679717.8981 | 1247278.7569
50 | 2679695.0235 | 1247105.9728
51 | 2679688.4665 | 1247160.2854
52 | 2679703.9311 | 1247213.8389
53 | 2679626.6189 | 1247104.427
54 | 2679686.6727 | 1247093.9594
55 | 2679640.3895 | 1247128.8211
56 | 2679656.8866 | 1247180.8873
57 | 2679665.1608 | 1247193.5982
58 | 2679676.2348 | 1247210.6105
59 | 2679645.8275 | 1247337.4097
60 | 2679624.0444 | 1247201.1301
61 | 2679643.1012 | 1247229.771

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99164 | -0.16066 | 0.0050624 | 0.0012687
1 | 0.99158 | -0.16189 | 0.0054342 | 0.0013619
2 | 0.99184 | -0.15678 | 0 | 0
3 | 0.99227 | -0.14845 | 0 | 0
4 | 0.99282 | -0.13781 | 0 | 0
5 | 0.99174 | -0.15882 | 0.0066492 | 0.0016665
6 | 0.98405 | -0.30655 | 0 | 0
7 | 0.98697 | -0.2498 | 0 | 0
8 | 0.98187 | -0.34914 | 0.015564 | 0.0039008
9 | 0.99518 | -0.091986 | 0 | 0
10 | 0.99542 | -0.087316 | 0 | 0
11 | 0.99305 | -0.13265 | 0.0047274 | 0.0011848
12 | 0.98964 | -0.19827 | 0.0061158 | 0.0015328
13 | 0.99217 | -0.15048 | 0 | 0
14 | 0.99212 | -0.15139 | 0.015889 | 0.0039822
15 | 0.99245 | -0.14504 | 0 | 0
16 | 0.99091 | -0.17386 | 0 | 0
17 | 0.99156 | -0.1614 | 0.0045353 | 0.0011366
18 | 0.99271 | -0.13942 | 0 | 0
19 | 0.99478 | -0.099709 | 0 | 0
20 | 0.99108 | -0.171 | 0 | 0
21 | 0.99037 | -0.18468 | 0.012395 | 0.0031066
22 | 0.98679 | -0.25416 | 0 | 0
23 | 0.98692 | -0.25168 | 0.012049 | 0.0030197
24 | 0.98662 | -0.25734 | 0.014413 | 0.0036122
25 | 0.99601 | -0.07613 | 0 | 0
26 | 0.99608 | -0.074642 | 0.0073475 | 0.0018415
27 | 0.9913 | -0.16729 | 0.02548 | 0.0063858
28 | 0.99436 | -0.10809 | 0.035744 | 0.0089583
29 | 0.98912 | -0.20889 | 0 | 0
30 | 0.98769 | -0.23658 | 0 | 0
31 | 0.99321 | -0.12991 | 0.0096388 | 0.0024157
32 | 0.99086 | -0.17528 | 0.0041963 | 0.0010517
33 | 0.99084 | -0.17572 | 0.0095682 | 0.002398
34 | 0.987 | -0.2502 | 0 | 0
35 | 0.98662 | -0.25749 | 0 | 0
36 | 0.98753 | -0.23975 | 0.029544 | 0.0074044
37 | 0.98659 | -0.25804 | 0 | 0
38 | 0.98654 | -0.25915 | 0.0034512 | 0.00086495
39 | 0.99064 | -0.17956 | 0 | 0
40 | 0.99074 | -0.17768 | 0.0039108 | 0.00098014
41 | 0.99059 | -0.18046 | 0.0039481 | 0.00098948
42 | 0.99103 | -0.17264 | 0 | 0
43 | 0.98172 | -0.35215 | 0.021897 | 0.0054878
44 | 0.99226 | -0.14793 | 0.0062371 | 0.0015632
45 | 0.99791 | -0.039761 | 0.0086069 | 0.0021571
46 | 0.99805 | -0.037165 | 0.0049781 | 0.0012476
47 | 0.98728 | -0.24466 | 0 | 0
48 | 0.99194 | -0.15443 | 0.009485 | 0.0023772
49 | 0.99073 | -0.17785 | 0.0071975 | 0.0018039
50 | 0.98653 | -0.25918 | 0.0048455 | 0.0012144
51 | 0.98791 | -0.23234 | 0 | 0
52 | 0.99168 | -0.15948 | 0.013241 | 0.0033184
53 | 0.991 | -0.17309 | 0.024238 | 0.0060747
54 | 0.98643 | -0.26131 | 0.008129 | 0.0020373
55 | 0.99091 | -0.17493 | 0.0046124 | 0.001156
56 | 0.9895 | -0.20149 | 0 | 0
57 | 0.99014 | -0.18909 | 0.0055382 | 0.001388
58 | 0.9911 | -0.17051 | 0.003296 | 0.00082605
59 | 0.98686 | -0.25278 | 0.027323 | 0.0068477
60 | 1 | 0 | -0.39054 | -0.098852
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0054345 | 0.001362 | -0.0054342 | -0.0013619 | 3.1841e-07 | 3.9071e-08 | 0.0081548 | 0.0081548 | 0.0081548 | 0.99164 | -0.16066 | 0.99158 | -0.16189 | 2.2403
1 | -0.010497 | -0.0026307 | 0.010499 | 0.0026317 | 1.9403e-06 | 9.7268e-07 | 0.015751 | 0.015751 | 0.015751 | 0.99164 | -0.16066 | 0.99184 | -0.15678 | 4.3272
2 | -0.010499 | -0.0026317 | 0.010503 | 0.0026338 | 4.1665e-06 | 2.0883e-06 | 0.015751 | 0.015751 | 0.015751 | 0.99184 | -0.15678 | 0.99227 | -0.14845 | 4.3272
3 | -0.046041 | -0.011554 | 0.046064 | 0.011569 | 2.3374e-05 | 1.4791e-05 | 0.069048 | 0.069048 | 0.069048 | 0.99227 | -0.14845 | 0.99282 | -0.13781 | 18.9692
4 | 0.035538 | 0.0089203 | -0.03552 | -0.0089093 | 1.7558e-05 | 1.1024e-05 | 0.053297 | 0.053297 | 0.053297 | 0.99227 | -0.14845 | 0.99174 | -0.15882 | 14.6421
5 | -0.087479 | -0.021965 | 0.087603 | 0.022045 | 0.00012424 | 7.9267e-05 | 0.13113 | 0.13113 | 0.13113 | 0.99282 | -0.13781 | 0.99436 | -0.10809 | 36.0234
6 | 0.041415 | 0.010396 | -0.041401 | -0.010387 | 1.4277e-05 | 9.0097e-06 | 0.062077 | 0.062077 | 0.062077 | 0.99282 | -0.13781 | 0.99245 | -0.14504 | 17.0542
7 | 0.028871 | 0.0072428 | -0.028852 | -0.007231 | 1.9013e-05 | 1.182e-05 | 0.043321 | 0.043321 | 0.043321 | 0.99174 | -0.15882 | 0.99103 | -0.17264 | 11.9013
8 | -0.037541 | -0.0094385 | 0.037643 | 0.0095028 | 0.00010203 | 6.4225e-05 | 0.056777 | 0.056777 | 0.056777 | 0.98405 | -0.30655 | 0.98697 | -0.2498 | 15.5981
9 | 0.037541 | 0.0094385 | -0.037464 | -0.0093906 | 7.6199e-05 | 4.7968e-05 | 0.056777 | 0.056777 | 0.056777 | 0.98405 | -0.30655 | 0.98187 | -0.34914 | 15.5982
10 | -0.037643 | -0.0095028 | 0.037736 | 0.0095614 | 9.3158e-05 | 5.8633e-05 | 0.056777 | 0.056776 | 0.056777 | 0.98697 | -0.2498 | 0.98964 | -0.19827 | 15.598
11 | 0.0219 | 0.0054898 | -0.021897 | -0.0054878 | 3.1332e-06 | 1.9093e-06 | 0.033189 | 0.03319 | 0.03319 | 0.98187 | -0.34914 | 0.98172 | -0.35215 | 9.118
12 | -0.059617 | -0.015147 | 0.05963 | 0.015156 | 1.3407e-05 | 8.5222e-06 | 0.089214 | 0.089214 | 0.089214 | 0.99518 | -0.091986 | 0.99542 | -0.087316 | 24.5094
13 | 0.059617 | 0.015147 | -0.059501 | -0.015073 | 0.00011648 | 7.4038e-05 | 0.089214 | 0.089214 | 0.089214 | 0.99518 | -0.091986 | 0.99305 | -0.13265 | 24.5094
14 | -0.05963 | -0.015156 | 0.059663 | 0.015176 | 3.2142e-05 | 2.0431e-05 | 0.089214 | 0.089214 | 0.089214 | 0.99542 | -0.087316 | 0.99601 | -0.07613 | 24.5094
15 | 0.054773 | 0.013888 | -0.054733 | -0.013863 | 4.0187e-05 | 2.5514e-05 | 0.082131 | 0.082131 | 0.082131 | 0.99305 | -0.13265 | 0.99226 | -0.14793 | 22.5634
16 | -0.043852 | -0.011094 | 0.043903 | 0.011127 | 5.1439e-05 | 3.2515e-05 | 0.065972 | 0.065972 | 0.065972 | 0.98964 | -0.19827 | 0.99091 | -0.17386 | 18.1241
17 | 0.01589 | 0.0039826 | -0.015889 | -0.0039822 | 6.8469e-07 | 3.9669e-07 | 0.023831 | 0.023831 | 0.023831 | 0.99217 | -0.15048 | 0.99212 | -0.15139 | 6.547
18 | -0.01589 | -0.0039826 | 0.015894 | 0.003985 | 4.1191e-06 | 2.3864e-06 | 0.023831 | 0.023831 | 0.023831 | 0.99217 | -0.15048 | 0.99245 | -0.14504 | 6.547
19 | 0.025507 | 0.0064025 | -0.02548 | -0.0063858 | 2.7035e-05 | 1.6666e-05 | 0.038246 | 0.038247 | 0.038247 | 0.99245 | -0.14504 | 0.9913 | -0.16729 | 10.5073
20 | -0.043903 | -0.011127 | 0.043929 | 0.011143 | 2.6294e-05 | 1.662e-05 | 0.065972 | 0.065972 | 0.065972 | 0.99091 | -0.17386 | 0.99156 | -0.1614 | 18.1241
21 | -0.048465 | -0.01228 | 0.048496 | 0.0123 | 3.1395e-05 | 1.9889e-05 | 0.072778 | 0.072778 | 0.072778 | 0.99156 | -0.1614 | 0.99226 | -0.14793 | 19.9939
22 | -0.095374 | -0.024044 | 0.095556 | 0.02416 | 0.00018162 | 0.00011593 | 0.14301 | 0.14301 | 0.14301 | 0.99271 | -0.13942 | 0.99478 | -0.099709 | 39.2884
23 | 0.028873 | 0.0072542 | -0.028829 | -0.0072272 | 4.3455e-05 | 2.7013e-05 | 0.043285 | 0.043285 | 0.043285 | 0.99271 | -0.13942 | 0.99108 | -0.171 | 11.8915
24 | 0.066501 | 0.01679 | -0.066357 | -0.016698 | 0.00014387 | 9.1578e-05 | 0.099725 | 0.099725 | 0.099725 | 0.99271 | -0.13942 | 0.99037 | -0.18468 | 27.397
25 | 0.087605 | 0.022122 | -0.087478 | -0.022042 | 0.00012658 | 8.0759e-05 | 0.1311 | 0.1311 | 0.1311 | 0.99478 | -0.099709 | 0.99321 | -0.12991 | 36.0168
26 | -0.18316 | -0.046282 | 0.18337 | 0.046414 | 0.00020729 | 0.00013228 | 0.27411 | 0.27411 | 0.27411 | 0.99478 | -0.099709 | 0.99601 | -0.07613 | 37.6525
27 | 0.012059 | 0.0030228 | -0.012057 | -0.0030215 | 2.454e-06 | 1.3134e-06 | 0.018106 | 0.018106 | 0.018106 | 0.99108 | -0.171 | 0.99086 | -0.17528 | 4.9741
28 | 0.01677 | 0.0042043 | -0.016766 | -0.0042021 | 3.7717e-06 | 2.2095e-06 | 0.025179 | 0.025179 | 0.025179 | 0.99108 | -0.171 | 0.99084 | -0.17572 | 6.9174
29 | 0.053962 | 0.013591 | -0.053899 | -0.013552 | 6.2378e-05 | 3.9597e-05 | 0.081101 | 0.081101 | 0.081101 | 0.99037 | -0.18468 | 0.98912 | -0.20889 | 22.2805
30 | -0.014415 | -0.0036135 | 0.014417 | 0.0036144 | 1.7027e-06 | 9.6694e-07 | 0.021737 | 0.021737 | 0.021737 | 0.98679 | -0.25416 | 0.98692 | -0.25168 | 5.9718
31 | 0.014415 | 0.0036135 | -0.014413 | -0.0036122 | 2.186e-06 | 1.2415e-06 | 0.021737 | 0.021737 | 0.021737 | 0.98679 | -0.25416 | 0.98662 | -0.25734 | 5.9718
32 | -0.026465 | -0.0066341 | 0.026485 | 0.0066459 | 1.905e-05 | 1.1784e-05 | 0.039904 | 0.039903 | 0.039904 | 0.98692 | -0.25168 | 0.98769 | -0.23658 | 10.9625
33 | -0.24303 | -0.061591 | 0.24305 | 0.061602 | 1.7381e-05 | 1.1106e-05 | 0.36332 | 0.36332 | 0.36332 | 0.99601 | -0.07613 | 0.99608 | -0.074642 | 49.9072
34 | -0.2504 | -0.063443 | 0.25082 | 0.063712 | 0.00042035 | 0.00026861 | 0.3743 | 0.3743 | 0.3743 | 0.99608 | -0.074642 | 0.99791 | -0.039761 | 51.4149
35 | -0.12335 | -0.031003 | 0.12377 | 0.031271 | 0.00041921 | 0.00026787 | 0.18461 | 0.18461 | 0.18461 | 0.99436 | -0.10809 | 0.99805 | -0.037165 | 50.7182
36 | 0.053899 | 0.013552 | -0.053828 | -0.013507 | 7.1186e-05 | 4.5189e-05 | 0.081101 | 0.081101 | 0.081101 | 0.98912 | -0.20889 | 0.98769 | -0.23658 | 22.2806
37 | 0.027344 | 0.0068608 | -0.027333 | -0.0068543 | 1.0525e-05 | 6.5247e-06 | 0.041198 | 0.041198 | 0.041198 | 0.98769 | -0.23658 | 0.98728 | -0.24466 | 11.3181
38 | 0.077839 | 0.019626 | -0.077748 | -0.019568 | 9.1239e-05 | 5.8162e-05 | 0.11666 | 0.11666 | 0.11666 | 0.99321 | -0.12991 | 0.99194 | -0.15443 | 32.0495
39 | 0.0078603 | 0.0019698 | -0.0078594 | -0.0019694 | 9.0045e-07 | 3.5434e-07 | 0.011804 | 0.011804 | 0.011804 | 0.99086 | -0.17528 | 0.99074 | -0.17768 | 3.2429
40 | 0.0071982 | 0.0018041 | -0.0071975 | -0.0018039 | 7.2874e-07 | 2.5223e-07 | 0.01081 | 0.01081 | 0.01081 | 0.99084 | -0.17572 | 0.99073 | -0.17785 | 2.9698
41 | 0.016434 | 0.0041208 | -0.016428 | -0.0041174 | 5.7122e-06 | 3.3388e-06 | 0.024776 | 0.024776 | 0.024776 | 0.987 | -0.2502 | 0.98662 | -0.25749 | 6.8067
42 | -0.016434 | -0.0041208 | 0.016442 | 0.0041255 | 8.1847e-06 | 4.7836e-06 | 0.024776 | 0.024776 | 0.024776 | 0.987 | -0.2502 | 0.98753 | -0.23975 | 6.8067
43 | 0.012976 | 0.0032526 | -0.012975 | -0.0032521 | 1.0455e-06 | 5.7619e-07 | 0.019571 | 0.019571 | 0.019571 | 0.98662 | -0.25749 | 0.98653 | -0.25918 | 5.3767
44 | 0.0034515 | 0.00086478 | -0.0034514 | -0.00086484 | 8.9347e-08 | -5.5107e-08 | 0.0052054 | 0.0052054 | 0.0052054 | 0.98662 | -0.25749 | 0.98659 | -0.25804 | 1.4301
45 | -0.045986 | -0.01153 | 0.046002 | 0.01154 | 1.6254e-05 | 1.0287e-05 | 0.069293 | 0.069293 | 0.069293 | 0.98753 | -0.23975 | 0.98791 | -0.23234 | 19.0366
46 | 0.0034514 | 0.00086484 | -0.0034512 | -0.00086495 | 1.8364e-07 | -1.1324e-07 | 0.0052054 | 0.0052055 | 0.0052055 | 0.98659 | -0.25804 | 0.98654 | -0.25915 | 1.4301
47 | -0.0039483 | -0.00098943 | 0.0039486 | 0.00098931 | 3.538e-07 | -1.1898e-07 | 0.0059305 | 0.0059304 | 0.0059305 | 0.99064 | -0.17956 | 0.99074 | -0.17768 | 1.6293
48 | 0.0039483 | 0.00098943 | -0.0039481 | -0.00098948 | 1.692e-07 | -5.687e-08 | 0.0059305 | 0.0059306 | 0.0059306 | 0.99064 | -0.17956 | 0.99059 | -0.18046 | 1.6293
49 | 0.0046129 | 0.0011559 | -0.0046124 | -0.001156 | 5.0335e-07 | -3.8325e-08 | 0.0069262 | 0.0069263 | 0.0069263 | 0.99103 | -0.17264 | 0.99091 | -0.17493 | 1.9028
50 | 0.024239 | 0.006075 | -0.024238 | -0.0060747 | 5.2422e-07 | 3.219e-07 | 0.036395 | 0.036395 | 0.036395 | 0.99103 | -0.17264 | 0.991 | -0.17309 | 9.9985
51 | -0.25942 | -0.065869 | 0.25992 | 0.066187 | 0.00049738 | 0.00031786 | 0.38713 | 0.38713 | 0.38713 | 0.99791 | -0.039761 | 1 | 0 | 53.1778
52 | -0.12874 | -0.032518 | 0.12897 | 0.032665 | 0.00022975 | 0.00014682 | 0.19204 | 0.19204 | 0.19204 | 0.99805 | -0.037165 | 1 | 0 | 52.7571
53 | 0.027333 | 0.0068543 | -0.027323 | -0.0068477 | 1.0582e-05 | 6.5598e-06 | 0.041198 | 0.041198 | 0.041198 | 0.98728 | -0.24466 | 0.98686 | -0.25278 | 11.3181
54 | 0.055019 | 0.01387 | -0.054977 | -0.013844 | 4.2298e-05 | 2.6858e-05 | 0.082564 | 0.082564 | 0.082564 | 0.99194 | -0.15443 | 0.9911 | -0.17051 | 22.6825
55 | 0.013244 | 0.0033202 | -0.013241 | -0.0033184 | 3.1807e-06 | 1.7583e-06 | 0.019868 | 0.019868 | 0.019868 | 0.99194 | -0.15443 | 0.99168 | -0.15948 | 5.4582
56 | 0.0081298 | 0.0020376 | -0.008129 | -0.0020373 | 8.2499e-07 | 3.4121e-07 | 0.012262 | 0.012262 | 0.012262 | 0.98653 | -0.25918 | 0.98643 | -0.26131 | 3.3688
57 | -0.046002 | -0.01154 | 0.04607 | 0.011583 | 6.7755e-05 | 4.2881e-05 | 0.069293 | 0.069293 | 0.069293 | 0.98791 | -0.23234 | 0.9895 | -0.20149 | 19.0365
58 | -0.04607 | -0.011583 | 0.046097 | 0.0116 | 2.7309e-05 | 1.7283e-05 | 0.069293 | 0.069293 | 0.069293 | 0.9895 | -0.20149 | 0.99014 | -0.18909 | 19.0365
59 | -0.051635 | -0.012988 | 0.051681 | 0.013018 | 4.5857e-05 | 2.9087e-05 | 0.077616 | 0.077616 | 0.077616 | 0.99014 | -0.18909 | 0.9911 | -0.17051 | 21.323

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39687 | 0.10044

## res_load
| p_mw | q_mvar
0 | 0.0050624 | 0.0012687
1 | 0.0054342 | 0.0013619
2 | 0.0066492 | 0.0016665
3 | 0.015564 | 0.0039008
4 | 0.0047274 | 0.0011848
5 | 0.0061158 | 0.0015328
6 | 0.015889 | 0.0039822
7 | 0.0045353 | 0.0011366
8 | 0.012395 | 0.0031066
9 | 0.012049 | 0.0030197
10 | 0.014413 | 0.0036122
11 | 0.0073475 | 0.0018415
12 | 0.02548 | 0.0063858
13 | 0.035744 | 0.0089583
14 | 0.0096388 | 0.0024157
15 | 0.0041963 | 0.0010517
16 | 0.0095682 | 0.002398
17 | 0.029544 | 0.0074044
18 | 0.0034512 | 0.00086495
19 | 0.0039108 | 0.00098014
20 | 0.0039481 | 0.00098948
21 | 0.021897 | 0.0054878
22 | 0.0062371 | 0.0015632
23 | 0.0086069 | 0.0021571
24 | 0.0049781 | 0.0012476
25 | 0.009485 | 0.0023772
26 | 0.0071975 | 0.0018039
27 | 0.0048455 | 0.0012144
28 | 0.013241 | 0.0033184
29 | 0.024238 | 0.0060747
30 | 0.008129 | 0.0020373
31 | 0.0046124 | 0.001156
32 | 0.0055382 | 0.001388
33 | 0.003296 | 0.00082605
34 | 0.027323 | 0.0068477
35 | 0.006331 | 0.0015867

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1