## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-644_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-644_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-644_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-644_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-644_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-644_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-644_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-644_0_3_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_261-644_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_261-644_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-644_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_261-644_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-644_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-644_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_261-644_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_261-644_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-644_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_261-644_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-644_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-644_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-644_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_261-644_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_261-644_0_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_261-644_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_261-644_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_261-644_0_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_261-644_0_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_261-644_0_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_261-644_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_261-644_0_3_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_261-644_0_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_261-644_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_261-644_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_261-644_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_261-644_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_261-644_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_261-644_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_261-644_0_3_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_261-644_0_3_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_261-644_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_261-644_0_3_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_261-644_0_3_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_261-644_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_261-644_0_3_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_261-644_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_261-644_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_261-644_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_261-644_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_261-644_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_261-644_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_261-644_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_261-644_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_261-644_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_261-644_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_261-644_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_261-644_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_261-644_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_261-644_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_261-644_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_261-644_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_261-644_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_MV_529_1_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-644_0_3_load_0 | 0 | 0.0055132 | 0.0013817 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-644_0_3_load_1 | 1 | 0.0051626 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-644_0_3_load_2 | 2 | 0.0068666 | 0.0017209 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-644_0_3_load_3 | 3 | 0.0071129 | 0.0017827 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-644_0_3_load_4 | 4 | 0.0072101 | 0.001807 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-644_0_3_load_5 | 5 | 0.0096861 | 0.0024276 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-644_0_3_load_10 | 8 | 0.0068684 | 0.0017214 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-644_0_3_load_6 | 9 | 0.00512 | 0.0012832 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-644_0_3_load_7 | 11 | 0.0055699 | 0.001396 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-644_0_3_load_9 | 12 | 0.0066707 | 0.0016718 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-644_0_3_load_31 | 13 | 0.015702 | 0.0039352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-644_0_3_load_11 | 15 | 0.017649 | 0.0044233 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-644_0_3_load_26 | 18 | 0.0040556 | 0.0010164 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-644_0_3_load_24 | 20 | 0.0039561 | 0.00099148 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-644_0_3_load_39 | 21 | 0.0086012 | 0.0021557 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-644_0_3_load_48 | 25 | 0.0062746 | 0.0015726 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-644_0_3_load_64 | 26 | 0.0011781 | 0.00029527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-644_0_3_load_49 | 27 | 0.0035649 | 0.00089345 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-644_0_3_load_57 | 29 | 0.0067798 | 0.0016992 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-644_0_3_load_61 | 30 | 0.0031525 | 0.00079008 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-644_0_3_load_25 | 31 | 0.0036124 | 0.00090534 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-644_0_3_load_38 | 32 | 0.0085756 | 0.0021492 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-644_0_3_load_22 | 34 | 0.0068893 | 0.0017266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-644_0_3_load_59 | 37 | 0.0087647 | 0.0021966 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-644_0_3_load_65 | 38 | 0.013924 | 0.0034898 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-644_0_3_load_63 | 40 | 0.0019603 | 0.00049131 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-644_0_3_load_19 | 41 | 0.032255 | 0.0080838 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-644_0_3_load_20 | 43 | 0.0066086 | 0.0016563 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-644_0_3_load_54 | 45 | 0.0085108 | 0.002133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-644_0_3_load_50 | 46 | 0.0092649 | 0.002322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-644_0_3_load_60 | 47 | 0.008651 | 0.0021682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-644_0_3_load_58 | 48 | 0.005266 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-644_0_3_load_34 | 49 | 0.003643 | 0.00091303 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-644_0_3_load_33 | 50 | 0.0045785 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-644_0_3_load_44 | 53 | 0.0056155 | 0.0014074 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-644_0_3_load_47 | 55 | 0.0076415 | 0.0019151 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-644_0_3_load_51 | 56 | 0.0059792 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-644_0_3_load_45 | 57 | 0.0063482 | 0.001591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-644_0_3_load_52 | 58 | 0.0040325 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-644_0_3_load_53 | 59 | 0.0050101 | 0.0012556 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-644_0_3_load_62 | 60 | 0.0026676 | 0.00066856 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-644_0_3_line_0 |  | 0 | 1 | 0.0078971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-644_0_3_line_1 |  | 0 | 2 | 0.024224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-644_0_3_line_2 |  | 1 | 3 | 0.012107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-644_0_3_line_3 |  | 2 | 4 | 0.032431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-644_0_3_line_4 |  | 2 | 5 | 0.027803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-644_0_3_line_5 |  | 4 | 6 | 0.0063984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-644_0_3_line_6 |  | 5 | 7 | 0.014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-644_0_3_line_7 |  | 6 | 8 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-644_0_3_line_8 |  | 6 | 9 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-644_0_3_line_9 |  | 7 | 10 | 0.066875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-644_0_3_line_10 |  | 8 | 13 | 0.040107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-644_0_3_line_11 |  | 9 | 11 | 0.01092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-644_0_3_line_12 |  | 10 | 26 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-644_0_3_line_13 |  | 10 | 16 | 0.004414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-644_0_3_line_14 |  | 11 | 12 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-644_0_3_line_15 |  | 13 | 14 | 0.0050885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-644_0_3_line_16 |  | 14 | 46 | 0.020513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-644_0_3_line_17 |  | 15 | 16 | 0.14009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-644_0_3_line_18 |  | 17 | 18 | 0.012284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-644_0_3_line_19 |  | 17 | 19 | 0.14435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-644_0_3_line_20 |  | 17 | 20 | 0.031533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-644_0_3_line_21 |  | 18 | 27 | 0.015188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-644_0_3_line_22 |  | 19 | 21 | 0.021776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-644_0_3_line_23 |  | 19 | 22 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-644_0_3_line_24 |  | 20 | 31 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-644_0_3_line_25 |  | 21 | 32 | 0.020913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-644_0_3_line_26 |  | 22 | 33 | 0.022707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-644_0_3_line_27 |  | 22 | 34 | 0.036715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-644_0_3_line_28 |  | 23 | 24 | 0.033647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-644_0_3_line_29 |  | 23 | 25 | 0.012956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-644_0_3_line_30 |  | 24 | 28 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-644_0_3_line_31 |  | 24 | 29 | 0.022168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-644_0_3_line_32 |  | 25 | 39 | 0.0073993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-644_0_3_line_33 |  | 26 | 40 | 0.029105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-644_0_3_line_34 |  | 28 | 30 | 0.014395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-644_0_3_line_35 |  | 29 | 48 | 0.016088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-644_0_3_line_36 |  | 33 | 47 | 0.023378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-644_0_3_line_37 |  | 33 | 44 | 0.032632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_261-644_0_3_line_38 |  | 34 | 43 | 0.016356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-644_0_3_line_39 |  | 35 | 36 | 0.018988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-644_0_3_line_40 |  | 35 | 37 | 0.021102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-644_0_3_line_41 |  | 36 | 38 | 0.004241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-644_0_3_line_42 |  | 36 | 39 | 0.046402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-644_0_3_line_43 |  | 37 | 47 | 0.020906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-644_0_3_line_44 |  | 39 | 53 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-644_0_3_line_45 |  | 40 | 60 | 0.012649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-644_0_3_line_46 |  | 41 | 42 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-644_0_3_line_47 |  | 42 | 44 | 0.004646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-644_0_3_line_48 |  | 44 | 45 | 0.028666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_261-644_0_3_line_49 |  | 45 | 46 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_261-644_0_3_line_50 |  | 48 | 51 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-644_0_3_line_51 |  | 49 | 50 | 0.017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-644_0_3_line_52 |  | 50 | 52 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-644_0_3_line_53 |  | 51 | 52 | 0.003351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-644_0_3_line_54 |  | 53 | 57 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-644_0_3_line_55 |  | 54 | 55 | 0.013445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-644_0_3_line_56 |  | 54 | 56 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-644_0_3_line_57 |  | 55 | 57 | 0.017863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-644_0_3_line_58 |  | 56 | 58 | 0.014363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-644_0_3_line_59 |  | 58 | 59 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-644_0_3_trafo_50 | 0.63 MVA 20/0.4 kV | 61 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2679869.7279 | 1247138.5578 | 2679876.7943 | 1247142.0832
1 | 2679852.0584 | 1247122.8028 | 2679861.1723 | 1247134.2894 | 2679869.7279 | 1247138.5578
2 | 2679883.2203 | 1247152.3439 | 2679876.7943 | 1247142.0832
3 | 2679852.0584 | 1247122.8028 | 2679842.7362 | 1247130.1493 | 2679828.4376 | 1247139.6193 | 2679825.5599 | 1247141.4522
4 | 2679852.0584 | 1247122.8028 | 2679871.3978 | 1247107.5632 | 2679873.5662 | 1247105.2366
5 | 2679820.1632 | 1247144.8895 | 2679825.5599 | 1247141.4522
6 | 2679883.5464 | 1247094.5284 | 2679873.5662 | 1247105.2366
7 | 2679820.1632 | 1247144.8895 | 2679809.6029 | 1247151.619 | 2679807.6003 | 1247152.8127
8 | 2679820.1632 | 1247144.8895 | 2679826.322 | 1247154.8018 | 2679833.8933 | 1247156.8719 | 2679836.604 | 1247159.0408
9 | 2679883.5464 | 1247094.5284 | 2679889.0017 | 1247098.9051 | 2679892.51 | 1247102.5884 | 2679916.0794 | 1247138.9101 | 2679922.3312 | 1247148.6348
10 | 2679773.1501 | 1247173.3487 | 2679807.6003 | 1247152.8127
11 | 2679836.604 | 1247159.0408 | 2679843.7879 | 1247164.7887 | 2679844.7289 | 1247166.2276
12 | 2679922.3312 | 1247148.6348 | 2679913.9834 | 1247155.6254
13 | 2679924.7591 | 1247152.3257 | 2679922.3312 | 1247148.6348
14 | 2679852.9729 | 1247178.8336 | 2679844.7289 | 1247166.2276
15 | 2679768.7793 | 1247175.9542 | 2679773.1501 | 1247173.3487
16 | 2679768.7793 | 1247175.9542 | 2679778.8292 | 1247193.8371
17 | 2679924.7591 | 1247152.3257 | 2679922.1111 | 1247157.1158 | 2679915.576 | 1247179.5996 | 2679911.4551 | 1247198.3911 | 2679903.0969 | 1247216.0358 | 2679901.0805 | 1247222.1686 | 2679900.7899 | 1247225.7896 | 2679901.8286 | 1247229.4284 | 2679909.7684 | 1247242.8118 | 2679915.4735 | 1247250.5054 | 2679892.2338 | 1247267.0933 | 2679892.8727 | 1247271.9273
18 | 2679738.4131 | 1247344.3795 | 2679750.4501 | 1247341.9262
19 | 2679734.6095 | 1247270.0187 | 2679689.1034 | 1247293.8133 | 2679690.8448 | 1247296.8834 | 2679689.549 | 1247298.8785 | 2679689.3692 | 1247301.5781 | 2679689.5227 | 1247303.0812 | 2679693.3943 | 1247310.6387 | 2679705.8263 | 1247339.3712 | 2679710.6638 | 1247352.6125 | 2679718.702 | 1247350.8415 | 2679738.4131 | 1247344.3795
20 | 2679738.4131 | 1247344.3795 | 2679737.989 | 1247329.8632 | 2679742.2141 | 1247313.3858
21 | 2679765.3324 | 1247338.893 | 2679750.4501 | 1247341.9262
22 | 2679734.6095 | 1247270.0187 | 2679726.7311 | 1247250.354 | 2679726.4413 | 1247249.8376
23 | 2679748.3632 | 1247262.8317 | 2679734.6095 | 1247270.0187
24 | 2679753.8922 | 1247311.1301 | 2679742.2141 | 1247313.3858
25 | 2679726.4413 | 1247249.8376 | 2679716.2052 | 1247231.6006
26 | 2679748.3632 | 1247262.8317 | 2679768.53 | 1247252.2841
27 | 2679748.3632 | 1247262.8317 | 2679757.6107 | 1247287.3962 | 2679768.0621 | 1247286.8181
28 | 2679713.3544 | 1247132.3439 | 2679699.1782 | 1247111.9497 | 2679706.3403 | 1247106.82
29 | 2679713.3544 | 1247132.3439 | 2679720.7502 | 1247142.9814
30 | 2679701.9303 | 1247089.2924 | 2679706.3403 | 1247106.82
31 | 2679706.3403 | 1247106.82 | 2679706.5698 | 1247107.7237 | 2679709.6727 | 1247114.0367 | 2679712.9775 | 1247117.6838 | 2679714.0606 | 1247118.0319 | 2679721.459 | 1247114.633
32 | 2679724.9741 | 1247149.0567 | 2679720.7502 | 1247142.9814
33 | 2679913.9834 | 1247155.6254 | 2679911.7726 | 1247157.4767 | 2679907.7528 | 1247159.2461 | 2679904.241 | 1247160.3106 | 2679900.2728 | 1247161.6137 | 2679896.7774 | 1247161.4665 | 2679894.0386 | 1247161.7854 | 2679890.5674 | 1247163.7623 | 2679887.7768 | 1247166.2414
34 | 2679701.9303 | 1247089.2924 | 2679714.8644 | 1247083.5399 | 2679715.0996 | 1247083.4931
35 | 2679721.459 | 1247114.633 | 2679736.0778 | 1247107.917
36 | 2679768.53 | 1247252.2841 | 2679757.2682 | 1247231.7979
37 | 2679768.53 | 1247252.2841 | 2679791.0246 | 1247240.5226 | 2679798.1625 | 1247238.873
38 | 2679768.0621 | 1247286.8181 | 2679784.3932 | 1247285.9148
39 | 2679737.0315 | 1247194.9855 | 2679734.1769 | 1247196.615 | 2679725.919 | 1247183.261
40 | 2679737.0315 | 1247194.9855 | 2679747.1972 | 1247213.4778
41 | 2679725.919 | 1247183.261 | 2679723.5186 | 1247179.7595
42 | 2679724.9741 | 1247149.0567 | 2679734.7774 | 1247164.3329 | 2679740.4817 | 1247173.2272 | 2679725.919 | 1247183.261
43 | 2679747.1972 | 1247213.4778 | 2679757.2682 | 1247231.7979
44 | 2679724.9741 | 1247149.0567 | 2679737.1159 | 1247141.5478 | 2679739.4911 | 1247140.6675
45 | 2679878.7296 | 1247175.076 | 2679885.6973 | 1247168.0887 | 2679887.7768 | 1247166.2414
46 | 2679802.7013 | 1247237.8222 | 2679807.4134 | 1247254.1975 | 2679807.4134 | 1247254.1975
47 | 2679802.7013 | 1247237.8222 | 2679798.1625 | 1247238.873
48 | 2679798.1625 | 1247238.873 | 2679794.8277 | 1247222.3049 | 2679789.0633 | 1247212.0476
49 | 2679778.8292 | 1247193.8371 | 2679789.0633 | 1247212.0476
50 | 2679750.2027 | 1247101.4279 | 2679736.0778 | 1247107.917
51 | 2679779.9105 | 1247083.6454 | 2679765.0047 | 1247093.0543
52 | 2679752.0078 | 1247104.2542 | 2679763.004 | 1247094.3171 | 2679765.0047 | 1247093.0543
53 | 2679752.0078 | 1247104.2542 | 2679750.2027 | 1247101.4279
54 | 2679753.8188 | 1247135.3573 | 2679739.4911 | 1247140.6675
55 | 2679781.5529 | 1247120.9526 | 2679769.3962 | 1247126.6953
56 | 2679781.5529 | 1247120.9526 | 2679791.4511 | 1247116.2713 | 2679795.732 | 1247112.6077
57 | 2679753.8188 | 1247135.3573 | 2679754.8046 | 1247134.992 | 2679764.0678 | 1247129.2123 | 2679769.3962 | 1247126.6953
58 | 2679795.732 | 1247112.6077 | 2679797.9238 | 1247110.7321 | 2679807.4076 | 1247104.2661
59 | 2679820.5416 | 1247093.6526 | 2679819.1561 | 1247094.5838 | 2679814.2846 | 1247099.5774 | 2679807.4076 | 1247104.2661

## bus_geodata
| x | y | coords
0 | 2679869.7279 | 1247138.5578
1 | 2679876.7943 | 1247142.0832
2 | 2679852.0584 | 1247122.8028
3 | 2679883.2203 | 1247152.3439
4 | 2679825.5599 | 1247141.4522
5 | 2679873.5662 | 1247105.2366
6 | 2679820.1632 | 1247144.8895
7 | 2679883.5464 | 1247094.5284
8 | 2679807.6003 | 1247152.8127
9 | 2679836.604 | 1247159.0408
10 | 2679922.3312 | 1247148.6348
11 | 2679844.7289 | 1247166.2276
12 | 2679852.9729 | 1247178.8336
13 | 2679773.1501 | 1247173.3487
14 | 2679768.7793 | 1247175.9542
15 | 2679892.8727 | 1247271.9273
16 | 2679924.7591 | 1247152.3257
17 | 2679738.4131 | 1247344.3795
18 | 2679750.4501 | 1247341.9262
19 | 2679734.6095 | 1247270.0187
20 | 2679742.2141 | 1247313.3858
21 | 2679726.4413 | 1247249.8376
22 | 2679748.3632 | 1247262.8317
23 | 2679713.3545 | 1247132.3439
24 | 2679706.3403 | 1247106.82
25 | 2679720.7502 | 1247142.9814
26 | 2679913.9834 | 1247155.6254
27 | 2679765.3324 | 1247338.893
28 | 2679701.9303 | 1247089.2924
29 | 2679721.459 | 1247114.633
30 | 2679715.0996 | 1247083.4931
31 | 2679753.8922 | 1247311.1301
32 | 2679716.2052 | 1247231.6006
33 | 2679768.53 | 1247252.2841
34 | 2679768.0621 | 1247286.8181
35 | 2679737.0315 | 1247194.9855
36 | 2679725.919 | 1247183.261
37 | 2679747.1972 | 1247213.4778
38 | 2679723.5186 | 1247179.7595
39 | 2679724.9741 | 1247149.0567
40 | 2679887.7768 | 1247166.2414
41 | 2679807.4134 | 1247254.1975
42 | 2679802.7013 | 1247237.8222
43 | 2679784.3932 | 1247285.9148
44 | 2679798.1625 | 1247238.873
45 | 2679789.0633 | 1247212.0476
46 | 2679778.8292 | 1247193.8371
47 | 2679757.2682 | 1247231.7979
48 | 2679736.0778 | 1247107.917
49 | 2679779.9105 | 1247083.6454
50 | 2679765.0047 | 1247093.0543
51 | 2679750.2027 | 1247101.4279
52 | 2679752.0078 | 1247104.2542
53 | 2679739.4911 | 1247140.6675
54 | 2679781.5529 | 1247120.9526
55 | 2679769.3962 | 1247126.6953
56 | 2679795.732 | 1247112.6077
57 | 2679753.8188 | 1247135.3573
58 | 2679807.4076 | 1247104.2661
59 | 2679820.5416 | 1247093.6526
60 | 2679878.7296 | 1247175.076
61 | 2679768.7793 | 1247175.9542

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99065 | -0.17967 | 0.0055132 | 0.0013817
1 | 0.99056 | -0.18139 | 0.0051626 | 0.0012939
2 | 0.99104 | -0.17202 | 0.0068666 | 0.0017209
3 | 0.99048 | -0.18292 | 0.0071129 | 0.0017827
4 | 0.99276 | -0.13881 | 0.0072101 | 0.001807
5 | 0.9902 | -0.18839 | 0.0096861 | 0.0024276
6 | 0.99314 | -0.13145 | 0 | 0
7 | 0.98988 | -0.1945 | 0 | 0
8 | 0.99426 | -0.10985 | 0.0068684 | 0.0017214
9 | 0.99278 | -0.13851 | 0.00512 | 0.0012832
10 | 0.98844 | -0.22245 | 0 | 0
11 | 0.99266 | -0.14087 | 0.0055699 | 0.001396
12 | 0.99256 | -0.14265 | 0.0066707 | 0.0016718
13 | 0.99754 | -0.046949 | 0.015702 | 0.0039352
14 | 0.99803 | -0.037599 | 0 | 0
15 | 0.98609 | -0.26806 | 0.017649 | 0.0044233
16 | 0.98837 | -0.22384 | 0 | 0
17 | 0.99043 | -0.18374 | 0 | 0
18 | 0.99034 | -0.18541 | 0.0040556 | 0.0010164
19 | 0.99243 | -0.14485 | 0 | 0
20 | 0.99021 | -0.18798 | 0.0039561 | 0.00099148
21 | 0.99209 | -0.15148 | 0.0086012 | 0.0021557
22 | 0.99289 | -0.13599 | 0 | 0
23 | 0.98398 | -0.30832 | 0 | 0
24 | 0.98325 | -0.32252 | 0 | 0
25 | 0.98426 | -0.30286 | 0.0062746 | 0.0015726
26 | 0.98838 | -0.22357 | 0.0011781 | 0.00029527
27 | 0.99029 | -0.18637 | 0.0035649 | 0.00089345
28 | 0.9832 | -0.32355 | 0 | 0
29 | 0.98284 | -0.33063 | 0.0067798 | 0.0016992
30 | 0.98316 | -0.32437 | 0.0031525 | 0.00079008
31 | 0.99017 | -0.18875 | 0.0036124 | 0.00090534
32 | 0.99193 | -0.15465 | 0.0085756 | 0.0021492
33 | 0.99384 | -0.11759 | 0 | 0
34 | 0.99244 | -0.14475 | 0.0068893 | 0.0017266
35 | 0.98859 | -0.21884 | 0 | 0
36 | 0.98722 | -0.24537 | 0 | 0
37 | 0.99011 | -0.18943 | 0.0087647 | 0.0021966
38 | 0.98716 | -0.24643 | 0.013924 | 0.0034898
39 | 0.98446 | -0.29891 | 0 | 0
40 | 0.98826 | -0.22598 | 0.0019603 | 0.00049131
41 | 0.99533 | -0.08922 | 0.032255 | 0.0080838
42 | 0.99583 | -0.079555 | 0 | 0
43 | 0.99234 | -0.14667 | 0.0066086 | 0.0016563
44 | 0.99597 | -0.076921 | 0 | 0
45 | 0.99825 | -0.033248 | 0.0085108 | 0.002133
46 | 1 | 0 | -0.29154 | -0.073672
47 | 0.99178 | -0.15714 | 0.008651 | 0.0021682
48 | 0.98264 | -0.33454 | 0.005266 | 0.0013198
49 | 0.98231 | -0.34106 | 0.003643 | 0.00091303
50 | 0.98237 | -0.3399 | 0.0045785 | 0.0011475
51 | 0.98252 | -0.33685 | 0 | 0
52 | 0.9825 | -0.33735 | 0 | 0
53 | 0.98393 | -0.30938 | 0.0056155 | 0.0014074
54 | 0.98296 | -0.32831 | 0 | 0
55 | 0.98314 | -0.32467 | 0.0076415 | 0.0019151
56 | 0.98273 | -0.3328 | 0.0059792 | 0.0014985
57 | 0.98352 | -0.31737 | 0.0063482 | 0.001591
58 | 0.98261 | -0.33515 | 0.0040325 | 0.0010106
59 | 0.98253 | -0.33668 | 0.0050101 | 0.0012556
60 | 0.98823 | -0.22658 | 0.0026676 | 0.00066856
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012277 | 0.0030773 | -0.012276 | -0.0030767 | 1.0071e-06 | 5.4288e-07 | 0.018441 | 0.018441 | 0.018441 | 0.99065 | -0.17967 | 0.99056 | -0.18139 | 5.0662
1 | -0.01779 | -0.004459 | 0.017797 | 0.0044628 | 6.4867e-06 | 3.8395e-06 | 0.026722 | 0.026722 | 0.026722 | 0.99065 | -0.17967 | 0.99104 | -0.17202 | 7.3413
2 | 0.0071135 | 0.0017828 | -0.0071129 | -0.0017827 | 5.1842e-07 | 1.7595e-07 | 0.010686 | 0.010686 | 0.010686 | 0.99056 | -0.18139 | 0.99048 | -0.18292 | 2.9357
3 | -0.057908 | -0.014552 | 0.058 | 0.014611 | 9.1969e-05 | 5.8442e-05 | 0.086961 | 0.086961 | 0.086961 | 0.99104 | -0.17202 | 0.99276 | -0.13881 | 23.8904
4 | 0.033245 | 0.0083683 | -0.033219 | -0.0083521 | 2.5991e-05 | 1.6276e-05 | 0.049929 | 0.049929 | 0.049929 | 0.99104 | -0.17202 | 0.9902 | -0.18839 | 13.7167
5 | -0.06521 | -0.016418 | 0.065233 | 0.016432 | 2.2935e-05 | 1.4595e-05 | 0.097768 | 0.097768 | 0.097768 | 0.99276 | -0.13881 | 0.99314 | -0.13145 | 26.8593
6 | 0.023533 | 0.0059245 | -0.023526 | -0.0059203 | 6.8684e-06 | 4.2076e-06 | 0.035373 | 0.035373 | 0.035373 | 0.9902 | -0.18839 | 0.98988 | -0.1945 | 9.7179
7 | -0.082602 | -0.020788 | 0.082687 | 0.020842 | 8.5358e-05 | 5.4437e-05 | 0.12379 | 0.12379 | 0.12379 | 0.99314 | -0.13145 | 0.99426 | -0.10985 | 34.0086
8 | 0.017368 | 0.0043553 | -0.017363 | -0.0043519 | 5.8388e-06 | 3.4394e-06 | 0.026024 | 0.026024 | 0.026024 | 0.99314 | -0.13145 | 0.99278 | -0.13851 | 7.1494
9 | 0.023526 | 0.0059203 | -0.023494 | -0.0059011 | 3.138e-05 | 1.9225e-05 | 0.035373 | 0.035374 | 0.035374 | 0.98988 | -0.1945 | 0.98844 | -0.22245 | 9.718
10 | -0.089555 | -0.022563 | 0.089826 | 0.022736 | 0.00027034 | 0.0001725 | 0.13407 | 0.13407 | 0.13407 | 0.99426 | -0.10985 | 0.99754 | -0.046949 | 36.8326
11 | 0.012243 | 0.0030687 | -0.012241 | -0.0030679 | 1.3788e-06 | 7.4125e-07 | 0.01835 | 0.01835 | 0.01835 | 0.99278 | -0.13851 | 0.99266 | -0.14087 | 5.0411
12 | 0.005807 | 0.001455 | -0.0058067 | -0.001455 | 3.1203e-07 | 6.0145e-08 | 0.0087418 | 0.0087419 | 0.0087419 | 0.98844 | -0.22245 | 0.98838 | -0.22357 | 2.4016
13 | 0.017687 | 0.004446 | -0.017686 | -0.0044453 | 1.174e-06 | 6.9477e-07 | 0.026632 | 0.026632 | 0.026632 | 0.98844 | -0.22245 | 0.98837 | -0.22384 | 7.3164
14 | 0.0066712 | 0.001672 | -0.0066707 | -0.0016718 | 5.6488e-07 | 1.6683e-07 | 0.01 | 0.01 | 0.01 | 0.99266 | -0.14087 | 0.99256 | -0.14265 | 2.7474
15 | -0.10553 | -0.026671 | 0.10557 | 0.026701 | 4.733e-05 | 3.0225e-05 | 0.15749 | 0.15749 | 0.15749 | 0.99754 | -0.046949 | 0.99803 | -0.037599 | 43.2671
16 | -0.10557 | -0.026701 | 0.10577 | 0.026823 | 0.0001908 | 0.00012185 | 0.15749 | 0.15749 | 0.15749 | 0.99803 | -0.037599 | 1 | 0 | 43.2671
17 | -0.017649 | -0.0044233 | 0.017686 | 0.0044453 | 3.726e-05 | 2.2055e-05 | 0.026632 | 0.026632 | 0.026632 | 0.98609 | -0.26806 | 0.98837 | -0.22384 | 7.3166
18 | 0.0076213 | 0.00191 | -0.0076207 | -0.0019098 | 6.0397e-07 | 2.2846e-07 | 0.01145 | 0.01145 | 0.01145 | 0.99043 | -0.18374 | 0.99034 | -0.18541 | 3.1457
19 | -0.015191 | -0.0038073 | 0.01522 | 0.0038235 | 2.8196e-05 | 1.6184e-05 | 0.022823 | 0.022823 | 0.022823 | 0.99043 | -0.18374 | 0.99243 | -0.14485 | 6.2702
20 | 0.0075701 | 0.0018973 | -0.0075686 | -0.0018968 | 1.5296e-06 | 5.7322e-07 | 0.011373 | 0.011373 | 0.011373 | 0.99043 | -0.18374 | 0.99021 | -0.18798 | 3.1246
21 | 0.0035651 | 0.00089336 | -0.0035649 | -0.00089345 | 1.6343e-07 | -9.0827e-08 | 0.0053566 | 0.0053566 | 0.0053566 | 0.99034 | -0.18541 | 0.99029 | -0.18637 | 1.4716
22 | 0.017184 | 0.0043087 | -0.017178 | -0.0043055 | 5.421e-06 | 3.1881e-06 | 0.025765 | 0.025765 | 0.025765 | 0.99243 | -0.14485 | 0.99209 | -0.15148 | 7.0783
23 | -0.032403 | -0.0081322 | 0.032417 | 0.0081408 | 1.3707e-05 | 8.5723e-06 | 0.048588 | 0.048588 | 0.048588 | 0.99243 | -0.14485 | 0.99289 | -0.13599 | 13.3483
24 | 0.0036125 | 0.00090527 | -0.0036124 | -0.00090534 | 1.3144e-07 | -6.887e-08 | 0.0054286 | 0.0054286 | 0.0054286 | 0.99021 | -0.18798 | 0.99017 | -0.18875 | 1.4914
25 | 0.0085769 | 0.0021498 | -0.0085756 | -0.0021492 | 1.2979e-06 | 5.6064e-07 | 0.012864 | 0.012864 | 0.012864 | 0.99209 | -0.15148 | 0.99193 | -0.15465 | 3.5342
26 | -0.045921 | -0.011527 | 0.045961 | 0.011552 | 4.0337e-05 | 2.5522e-05 | 0.068827 | 0.068826 | 0.068827 | 0.99289 | -0.13599 | 0.99384 | -0.11759 | 18.9084
27 | 0.013504 | 0.0033862 | -0.013498 | -0.0033831 | 5.6396e-06 | 3.1347e-06 | 0.020239 | 0.020239 | 0.020239 | 0.99289 | -0.13599 | 0.99244 | -0.14475 | 5.5602
28 | 0.023449 | 0.005886 | -0.023433 | -0.0058763 | 1.5868e-05 | 9.7287e-06 | 0.035463 | 0.035463 | 0.035463 | 0.98398 | -0.30832 | 0.98325 | -0.32252 | 9.7427
29 | -0.023449 | -0.005886 | 0.023455 | 0.0058897 | 6.1102e-06 | 3.7459e-06 | 0.035463 | 0.035463 | 0.035463 | 0.98398 | -0.30832 | 0.98426 | -0.30286 | 9.7426
30 | 0.0031527 | 0.00078985 | -0.0031526 | -0.00078998 | 1.5427e-07 | -1.3047e-07 | 0.0047711 | 0.0047712 | 0.0047712 | 0.98325 | -0.32252 | 0.9832 | -0.32355 | 1.3108
31 | 0.02028 | 0.0050864 | -0.020272 | -0.0050817 | 7.831e-06 | 4.7308e-06 | 0.030692 | 0.030692 | 0.030692 | 0.98325 | -0.32252 | 0.98284 | -0.33063 | 8.432
32 | -0.029729 | -0.0074623 | 0.029735 | 0.0074658 | 5.6062e-06 | 3.4939e-06 | 0.044949 | 0.044949 | 0.044949 | 0.98426 | -0.30286 | 0.98446 | -0.29891 | 12.3487
33 | 0.0046285 | 0.0011597 | -0.004628 | -0.0011598 | 5.2997e-07 | -3.379e-08 | 0.0069682 | 0.0069683 | 0.0069683 | 0.98838 | -0.22357 | 0.98826 | -0.22598 | 1.9144
34 | 0.0031526 | 0.00078998 | -0.0031525 | -0.00079008 | 1.2289e-07 | -1.0391e-07 | 0.0047712 | 0.0047713 | 0.0047713 | 0.9832 | -0.32355 | 0.98316 | -0.32437 | 1.3108
35 | 0.013492 | 0.0033825 | -0.01349 | -0.0033811 | 2.5175e-06 | 1.4074e-06 | 0.020428 | 0.020428 | 0.020428 | 0.98284 | -0.33063 | 0.98264 | -0.33454 | 5.612
36 | 0.09644 | 0.024468 | -0.096257 | -0.024351 | 0.00018305 | 0.00011685 | 0.1445 | 0.1445 | 0.1445 | 0.99384 | -0.11759 | 0.99178 | -0.15714 | 39.6976
37 | -0.1424 | -0.036021 | 0.14268 | 0.036198 | 0.00027844 | 0.00017735 | 0.21333 | 0.21333 | 0.21333 | 0.99384 | -0.11759 | 0.99597 | -0.076921 | 29.303
38 | 0.0066092 | 0.0016564 | -0.0066086 | -0.0016563 | 6.023e-07 | 1.7415e-07 | 0.0099095 | 0.0099095 | 0.0099095 | 0.99244 | -0.14475 | 0.99234 | -0.14667 | 2.7224
39 | 0.078595 | 0.019829 | -0.078495 | -0.019766 | 9.9731e-05 | 6.3585e-05 | 0.11835 | 0.11835 | 0.11835 | 0.98859 | -0.21884 | 0.98722 | -0.24537 | 32.5131
40 | -0.078595 | -0.019829 | 0.078706 | 0.0199 | 0.00011084 | 7.0664e-05 | 0.11835 | 0.11835 | 0.11835 | 0.98859 | -0.21884 | 0.99011 | -0.18943 | 32.5131
41 | 0.013925 | 0.0034902 | -0.013924 | -0.0034898 | 7.0063e-07 | 3.9418e-07 | 0.020989 | 0.020989 | 0.020989 | 0.98722 | -0.24537 | 0.98716 | -0.24643 | 5.7662
42 | 0.06457 | 0.016275 | -0.064405 | -0.016171 | 0.00016494 | 0.00010497 | 0.097359 | 0.097359 | 0.097359 | 0.98722 | -0.24537 | 0.98446 | -0.29891 | 26.747
43 | -0.087471 | -0.022097 | 0.087606 | 0.022183 | 0.00013561 | 8.6519e-05 | 0.13152 | 0.13152 | 0.13152 | 0.99011 | -0.18943 | 0.99178 | -0.15714 | 36.1319
44 | 0.03467 | 0.0087047 | -0.034653 | -0.0086938 | 1.7314e-05 | 1.0868e-05 | 0.05241 | 0.05241 | 0.05241 | 0.98446 | -0.29891 | 0.98393 | -0.30938 | 14.3983
45 | 0.0026677 | 0.00066845 | -0.0026676 | -0.00066856 | 7.653e-08 | -1.1309e-07 | 0.0040167 | 0.0040167 | 0.0040167 | 0.98826 | -0.22598 | 0.98823 | -0.22658 | 1.1035
46 | -0.032255 | -0.0080838 | 0.03227 | 0.0080931 | 1.4858e-05 | 9.2876e-06 | 0.048221 | 0.048221 | 0.048221 | 0.99533 | -0.08922 | 0.99583 | -0.079555 | 13.2474
47 | -0.03227 | -0.0080931 | 0.032274 | 0.0080956 | 4.0511e-06 | 2.5323e-06 | 0.048221 | 0.048221 | 0.048221 | 0.99583 | -0.079555 | 0.99597 | -0.076921 | 13.2474
48 | -0.17495 | -0.044293 | 0.17532 | 0.044528 | 0.00036768 | 0.00023457 | 0.26155 | 0.26155 | 0.26155 | 0.99597 | -0.076921 | 0.99825 | -0.033248 | 35.9266
49 | -0.18383 | -0.046661 | 0.18413 | 0.046849 | 0.00029455 | 0.00018796 | 0.27423 | 0.27423 | 0.27423 | 0.99825 | -0.033248 | 1 | 0 | 37.6692
50 | 0.0082239 | 0.0020613 | -0.0082229 | -0.0020609 | 9.0403e-07 | 3.8169e-07 | 0.012454 | 0.012454 | 0.012454 | 0.98264 | -0.33454 | 0.98252 | -0.33685 | 3.4213
51 | -0.003643 | -0.00091303 | 0.0036432 | 0.00091293 | 2.013e-07 | -9.4322e-08 | 0.0055185 | 0.0055184 | 0.0055185 | 0.98231 | -0.34106 | 0.98237 | -0.3399 | 1.5161
52 | -0.0082218 | -0.0020604 | 0.0082228 | 0.0020608 | 9.9959e-07 | 4.2211e-07 | 0.012454 | 0.012454 | 0.012454 | 0.98237 | -0.3399 | 0.9825 | -0.33735 | 3.4213
53 | 0.0082229 | 0.0020609 | -0.0082228 | -0.0020608 | 1.9489e-07 | 8.2293e-08 | 0.012454 | 0.012454 | 0.012454 | 0.98252 | -0.33685 | 0.9825 | -0.33735 | 3.4213
54 | 0.029038 | 0.0072865 | -0.029027 | -0.0072796 | 1.1052e-05 | 6.8791e-06 | 0.043917 | 0.043917 | 0.043917 | 0.98393 | -0.30938 | 0.98352 | -0.31737 | 12.0652
55 | -0.015026 | -0.0037671 | 0.015029 | 0.0037686 | 2.6089e-06 | 1.4992e-06 | 0.022748 | 0.022748 | 0.022748 | 0.98296 | -0.32831 | 0.98314 | -0.32467 | 6.2493
56 | 0.015026 | 0.0037671 | -0.015023 | -0.0037653 | 3.218e-06 | 1.8494e-06 | 0.022748 | 0.022748 | 0.022748 | 0.98296 | -0.32831 | 0.98273 | -0.3328 | 6.2494
57 | -0.02267 | -0.0056838 | 0.022678 | 0.0056886 | 7.8867e-06 | 4.8209e-06 | 0.034313 | 0.034313 | 0.034313 | 0.98314 | -0.32467 | 0.98352 | -0.31737 | 9.4267
58 | 0.009044 | 0.0022668 | -0.0090429 | -0.0022663 | 1.0101e-06 | 4.6448e-07 | 0.013694 | 0.013694 | 0.013694 | 0.98273 | -0.3328 | 0.98261 | -0.33515 | 3.7621
59 | 0.0050105 | 0.0012557 | -0.0050101 | -0.0012556 | 3.6635e-07 | 1.9537e-08 | 0.0075876 | 0.0075876 | 0.0075876 | 0.98261 | -0.33515 | 0.98253 | -0.33668 | 2.0845

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30081 | 0.075994

## res_load
| p_mw | q_mvar
0 | 0.0055132 | 0.0013817
1 | 0.0051626 | 0.0012939
2 | 0.0068666 | 0.0017209
3 | 0.0071129 | 0.0017827
4 | 0.0072101 | 0.001807
5 | 0.0096861 | 0.0024276
6 | 0.0068684 | 0.0017214
7 | 0.00512 | 0.0012832
8 | 0.0055699 | 0.001396
9 | 0.0066707 | 0.0016718
10 | 0.015702 | 0.0039352
11 | 0.017649 | 0.0044233
12 | 0.0040556 | 0.0010164
13 | 0.0039561 | 0.00099148
14 | 0.0086012 | 0.0021557
15 | 0.0062746 | 0.0015726
16 | 0.0011781 | 0.00029527
17 | 0.0035649 | 0.00089345
18 | 0.0067798 | 0.0016992
19 | 0.0031525 | 0.00079008
20 | 0.0036124 | 0.00090534
21 | 0.0085756 | 0.0021492
22 | 0.0068893 | 0.0017266
23 | 0.0087647 | 0.0021966
24 | 0.013924 | 0.0034898
25 | 0.0019603 | 0.00049131
26 | 0.032255 | 0.0080838
27 | 0.0066086 | 0.0016563
28 | 0.0085108 | 0.002133
29 | 0.0092649 | 0.002322
30 | 0.008651 | 0.0021682
31 | 0.005266 | 0.0013198
32 | 0.003643 | 0.00091303
33 | 0.0045785 | 0.0011475
34 | 0.0056155 | 0.0014074
35 | 0.0076415 | 0.0019151
36 | 0.0059792 | 0.0014985
37 | 0.0063482 | 0.001591
38 | 0.0040325 | 0.0010106
39 | 0.0050101 | 0.0012556
40 | 0.0026676 | 0.00066856

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1