## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-650_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-650_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-650_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-650_0_4_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_261-650_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-650_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-650_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_261-650_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-650_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_261-650_0_4_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_261-650_0_4_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_261-650_0_4_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_261-650_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-650_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_261-650_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-650_0_4_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_261-650_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_261-650_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-650_0_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_261-650_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_261-650_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_261-650_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_261-650_0_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_261-650_0_4_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_261-650_0_4_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_261-650_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_261-650_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_261-650_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_261-650_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_261-650_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_261-650_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_261-650_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_261-650_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-650_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-650_0_4_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_261-650_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_261-650_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_261-650_0_4_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_261-650_0_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_261-650_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_261-650_0_4_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_261-650_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_261-650_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_261-650_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_261-650_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_261-650_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_261-650_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_261-650_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_261-650_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_261-650_0_4_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_261-650_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_261-650_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_261-650_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_261-650_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_261-650_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_261-650_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_261-650_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_261-650_0_4_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_261-650_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_261-650_0_4_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_261-650_0_4_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_261-650_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_261-650_0_4_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_261-650_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_261-650_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_261-650_0_4_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_261-650_0_4_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_261-650_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_261-650_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_261-650_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_261-650_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_261-650_0_4_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_261-650_0_4_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_261-650_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_261-650_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_261-650_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_261-650_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_261-650_0_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_261-650_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_261-650_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_261-650_0_4_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_261-650_0_4_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_261-650_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_261-650_0_4_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_261-650_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_261-650_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_MV_529_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-650_0_4_load_0 | 0 | 0.0049347 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-650_0_4_load_1 | 1 | 0.0049346 | 0.0012367 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-650_0_4_load_25 | 3 | 0.0050939 | 0.0012766 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-650_0_4_load_26 | 6 | 0.0050934 | 0.0012765 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-650_0_4_load_83 | 9 | 0.049514 | 0.012409 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-650_0_4_load_44 | 10 | 0.018898 | 0.0047364 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-650_0_4_load_61 | 11 | 0.017865 | 0.0044774 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-650_0_4_load_78 | 15 | 0.0059018 | 0.0014791 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-650_0_4_load_42 | 18 | 0.005368 | 0.0013454 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-650_0_4_load_41 | 20 | 0.0028217 | 0.00070719 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-650_0_4_load_72 | 22 | 0.0050688 | 0.0012704 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-650_0_4_load_77 | 23 | 0.008317 | 0.0020844 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-650_0_4_load_86 | 24 | 0.0095391 | 0.0023907 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-650_0_4_load_30 | 26 | 0.0091065 | 0.0022823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-650_0_4_load_37 | 30 | 0.012168 | 0.0030495 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-650_0_4_load_29 | 33 | 0.0078842 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-650_0_4_load_81 | 34 | 0.0065 | 0.0016291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-650_0_4_load_28 | 35 | 0.0077684 | 0.0019469 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-650_0_4_load_73 | 36 | 0.0083157 | 0.0020841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-650_0_4_load_85 | 37 | 0.0023469 | 0.00058818 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-650_0_4_load_68 | 38 | 0.005513 | 0.0013817 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-650_0_4_load_76 | 40 | 0.0055142 | 0.001382 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-650_0_4_load_43 | 41 | 0.0051521 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-650_0_4_load_40 | 42 | 0.0023128 | 0.00057963 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-650_0_4_load_45 | 46 | 0.0051517 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-650_0_4_load_59 | 47 | 0.0054187 | 0.0013581 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-650_0_4_load_58 | 48 | 0.0054233 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-650_0_4_load_71 | 49 | 0.0082857 | 0.0020766 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-650_0_4_load_75 | 50 | 0.0051096 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-650_0_4_load_39 | 51 | 0.0078854 | 0.0019763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-650_0_4_load_27 | 52 | 0.0075794 | 0.0018996 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-650_0_4_load_31 | 53 | 0.010009 | 0.0025084 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-650_0_4_load_32 | 55 | 0.0054929 | 0.0013766 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-650_0_4_load_38 | 56 | 0.0078694 | 0.0019723 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-650_0_4_load_80 | 57 | 0.0061685 | 0.001546 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-650_0_4_load_69 | 59 | 0.0079885 | 0.0020021 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-650_0_4_load_66 | 60 | 0.0054894 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-650_0_4_load_35 | 61 | 0.0055169 | 0.0013827 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-650_0_4_load_33 | 62 | 0.0054917 | 0.0013764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-650_0_4_load_55 | 63 | 0.0065421 | 0.0016396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-650_0_4_load_82 | 65 | 0.0035905 | 0.00089986 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-650_0_4_load_79 | 66 | 0.0063498 | 0.0015914 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-650_0_4_load_51 | 67 | 0.0043347 | 0.0010864 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-650_0_4_load_56 | 68 | 0.0065438 | 0.00164 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-650_0_4_load_46 | 69 | 0.004343 | 0.0010885 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-650_0_4_load_48 | 70 | 0.0049755 | 0.001247 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-650_0_4_load_90 | 71 | 0.0061546 | 0.0015425 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-650_0_4_load_91 | 72 | 0.0090759 | 0.0022746 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-650_0_4_load_52 | 73 | 0.0051241 | 0.0012842 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-650_0_4_load_53 | 74 | 0.0043514 | 0.0010906 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-650_0_4_load_63 | 75 | 0.0055335 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-650_0_4_load_64 | 76 | 0.0055363 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-650_0_4_load_84 | 77 | 0.0061934 | 0.0015522 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-650_0_4_load_57 | 78 | 0.005487 | 0.0013752 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-650_0_4_load_62 | 79 | 0.0058852 | 0.001475 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-650_0_4_load_87 | 80 | 0.0050769 | 0.0012724 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-650_0_4_load_88 | 81 | 0.004909 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-650_0_4_load_70 | 82 | 0.0079803 | 0.0020001 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-650_0_4_load_74 | 84 | 0.0056484 | 0.0014156 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-650_0_4_load_89 | 85 | 0.0049557 | 0.001242 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-650_0_4_line_0 |  | 0 | 1 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-650_0_4_line_1 |  | 1 | 2 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-650_0_4_line_2 |  | 2 | 3 | 0.015674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-650_0_4_line_3 |  | 3 | 6 | 0.018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-650_0_4_line_4 |  | 4 | 5 | 0.028899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-650_0_4_line_5 |  | 4 | 6 | 0.021635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-650_0_4_line_6 |  | 5 | 10 | 0.018233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-650_0_4_line_7 |  | 5 | 11 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-650_0_4_line_8 |  | 7 | 8 | 0.13841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-650_0_4_line_9 |  | 7 | 9 | 0.011183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-650_0_4_line_10 |  | 8 | 19 | 0.03153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-650_0_4_line_11 |  | 8 | 20 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-650_0_4_line_12 |  | 8 | 16 | 0.02974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-650_0_4_line_13 |  | 11 | 39 | 0.012565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-650_0_4_line_14 |  | 12 | 13 | 0.024201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-650_0_4_line_15 |  | 12 | 14 | 0.021981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-650_0_4_line_16 |  | 12 | 15 | 0.012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-650_0_4_line_17 |  | 13 | 34 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-650_0_4_line_18 |  | 13 | 27 | 0.033744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-650_0_4_line_19 |  | 14 | 24 | 0.029539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-650_0_4_line_20 |  | 15 | 40 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-650_0_4_line_21 |  | 16 | 17 | 0.041358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-650_0_4_line_22 |  | 16 | 18 | 0.001278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-650_0_4_line_23 |  | 17 | 25 | 0.034738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-650_0_4_line_24 |  | 17 | 26 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-650_0_4_line_25 |  | 18 | 41 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-650_0_4_line_26 |  | 19 | 37 | 0.008409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-650_0_4_line_27 |  | 20 | 42 | 0.018705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-650_0_4_line_28 |  | 21 | 22 | 0.006899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-650_0_4_line_29 |  | 21 | 23 | 0.0056728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-650_0_4_line_30 |  | 22 | 49 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_261-650_0_4_line_31 |  | 23 | 50 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-650_0_4_line_32 |  | 25 | 36 | 0.023754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-650_0_4_line_33 |  | 26 | 53 | 0.015092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-650_0_4_line_34 |  | 27 | 28 | 0.041355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-650_0_4_line_35 |  | 27 | 29 | 0.028345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-650_0_4_line_36 |  | 27 | 30 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-650_0_4_line_37 |  | 28 | 35 | 0.0010858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-650_0_4_line_38 |  | 29 | 54 | 0.030673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-650_0_4_line_39 |  | 29 | 55 | 0.015633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-650_0_4_line_40 |  | 30 | 56 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-650_0_4_line_41 |  | 31 | 32 | 0.03045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-650_0_4_line_42 |  | 31 | 33 | 0.019852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-650_0_4_line_43 |  | 32 | 38 | 0.01884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-650_0_4_line_44 |  | 33 | 51 | 0.016283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-650_0_4_line_45 |  | 34 | 57 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-650_0_4_line_46 |  | 35 | 52 | 0.018717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-650_0_4_line_47 |  | 36 | 49 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-650_0_4_line_48 |  | 38 | 61 | 0.023091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-650_0_4_line_49 |  | 39 | 79 | 0.0080933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-650_0_4_line_50 |  | 39 | 48 | 0.042223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-650_0_4_line_51 |  | 40 | 84 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-650_0_4_line_52 |  | 43 | 44 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-650_0_4_line_53 |  | 43 | 45 | 0.031403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-650_0_4_line_54 |  | 43 | 46 | 0.015353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-650_0_4_line_55 |  | 44 | 71 | 0.011231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-650_0_4_line_56 |  | 44 | 72 | 0.011972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-650_0_4_line_57 |  | 45 | 67 | 0.013873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_261-650_0_4_line_58 |  | 45 | 54 | 0.031004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_261-650_0_4_line_59 |  | 46 | 69 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-650_0_4_line_60 |  | 47 | 48 | 0.030643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-650_0_4_line_61 |  | 50 | 84 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_261-650_0_4_line_62 |  | 51 | 56 | 0.028375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-650_0_4_line_63 |  | 54 | 63 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-650_0_4_line_64 |  | 55 | 62 | 0.021799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-650_0_4_line_65 |  | 57 | 66 | 0.02101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-650_0_4_line_66 |  | 58 | 59 | 0.0016031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-650_0_4_line_67 |  | 58 | 60 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-650_0_4_line_68 |  | 59 | 83 | 0.028844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-650_0_4_line_69 |  | 60 | 78 | 0.021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-650_0_4_line_70 |  | 63 | 68 | 0.022757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-650_0_4_line_71 |  | 64 | 65 | 0.0024533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-650_0_4_line_72 |  | 64 | 66 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-650_0_4_line_73 |  | 65 | 77 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-650_0_4_line_74 |  | 67 | 73 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_261-650_0_4_line_75 |  | 69 | 70 | 0.017594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-650_0_4_line_76 |  | 73 | 74 | 0.021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_261-650_0_4_line_77 |  | 74 | 75 | 0.026714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-650_0_4_line_78 |  | 75 | 76 | 0.022726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-650_0_4_line_79 |  | 76 | 83 | 0.019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-650_0_4_line_80 |  | 79 | 80 | 0.021177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-650_0_4_line_81 |  | 80 | 81 | 0.019021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-650_0_4_line_82 |  | 80 | 82 | 0.036531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-650_0_4_line_83 |  | 81 | 85 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-650_0_4_line_84 |  | 82 | 83 | 0.00081788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-650_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 86 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2680764.1893 | 1246861.1958 | 2680747.0444 | 1246855.4137
1 | 2680732.918 | 1246851.5297 | 2680746.653 | 1246856.4202 | 2680747.0444 | 1246855.4137
2 | 2680732.918 | 1246851.5297 | 2680719.322 | 1246846.9747 | 2680719.7246 | 1246845.7014
3 | 2680719.7246 | 1246845.7014 | 2680702.5787 | 1246839.9862
4 | 2680670.6863 | 1246866.505 | 2680682.3024 | 1246840.0326
5 | 2680682.3024 | 1246840.0326 | 2680685.1434 | 1246841.1053 | 2680693.3309 | 1246841.7505 | 2680699.1302 | 1246840.2617 | 2680702.2309 | 1246841.1156 | 2680702.5787 | 1246839.9862
6 | 2680670.6863 | 1246866.505 | 2680664.0844 | 1246883.5003
7 | 2680670.6863 | 1246866.505 | 2680685.5408 | 1246871.7094
8 | 2680609.6004 | 1246868.3536 | 2680616.45 | 1246869.6143 | 2680650.0874 | 1246875.8317 | 2680649.283 | 1246881.1023 | 2680629.4052 | 1246937.3842 | 2680624.3535 | 1246951.6704 | 2680623.2224 | 1246956.5252 | 2680614.4998 | 1246954.6831 | 2680613.8985 | 1246957.7883
9 | 2680609.6004 | 1246868.3536 | 2680598.6553 | 1246866.0588
10 | 2680583.2962 | 1246956.1713 | 2680587.0429 | 1246956.7337 | 2680588.7349 | 1246955.6337 | 2680590.567 | 1246954.7802 | 2680593.9396 | 1246953.9698 | 2680613.8985 | 1246957.7883
11 | 2680613.8985 | 1246957.7883 | 2680611.3321 | 1246971.1762
12 | 2680613.8985 | 1246957.7883 | 2680620.0617 | 1246958.9729 | 2680622.3803 | 1246960.1164 | 2680624.0233 | 1246962.0624 | 2680624.9382 | 1246963.1089 | 2680625.5634 | 1246964.3516 | 2680625.835 | 1246965.4895 | 2680625.8569 | 1246966.6573 | 2680625.1699 | 1246969.4055 | 2680629.8451 | 1246970.5699 | 2680635.2431 | 1246971.911
13 | 2680697.399 | 1246875.8641 | 2680685.5408 | 1246871.7094
14 | 2680792.2245 | 1247052.8285 | 2680784.235 | 1247066.4963 | 2680780.5818 | 1247074.0409
15 | 2680780.5818 | 1247074.0409 | 2680790.3682 | 1247075.9645 | 2680802.3002 | 1247077.3058
16 | 2680780.5818 | 1247074.0409 | 2680767.8496 | 1247071.537
17 | 2680792.2245 | 1247052.8285 | 2680782.5562 | 1247045.0133 | 2680780.4678 | 1247043.6567
18 | 2680792.2245 | 1247052.8285 | 2680798.6721 | 1247044.2211 | 2680804.5455 | 1247037.285 | 2680811.69 | 1247029.6434 | 2680809.207 | 1247027.2634
19 | 2680802.3002 | 1247077.3058 | 2680805.0823 | 1247074.9309 | 2680824.7851 | 1247058.1496
20 | 2680767.8496 | 1247071.537 | 2680750.0424 | 1247068.035
21 | 2680625.6161 | 1247012.1205 | 2680631.2517 | 1246986.5563 | 2680635.2431 | 1246971.911
22 | 2680635.2431 | 1246971.911 | 2680635.5789 | 1246970.6779
23 | 2680626.7089 | 1247043.4026 | 2680622.4412 | 1247041.1652 | 2680620.9629 | 1247038.2207 | 2680620.8366 | 1247036.3955 | 2680620.8418 | 1247033.7936 | 2680625.6161 | 1247012.1205
24 | 2680625.6161 | 1247012.1205 | 2680639.2025 | 1247014.7466
25 | 2680640.6835 | 1246952.5547 | 2680638.217 | 1246960.9879 | 2680635.5789 | 1246970.6779
26 | 2680583.2962 | 1246956.1713 | 2680581.6896 | 1246964.4254
27 | 2680611.3321 | 1246971.1762 | 2680607.8105 | 1246989.5467
28 | 2680684.2114 | 1247054.9486 | 2680677.4338 | 1247053.66
29 | 2680684.2114 | 1247054.9486 | 2680689.7843 | 1247056.0083
30 | 2680665.323 | 1247051.3574 | 2680677.4338 | 1247053.66
31 | 2680705.0778 | 1247059.1648 | 2680693.848 | 1247056.781 | 2680689.7843 | 1247056.0083
32 | 2680626.7089 | 1247043.4026 | 2680637.2188 | 1247046.0141 | 2680649.9155 | 1247048.428
33 | 2680654.0201 | 1247017.6107 | 2680639.2025 | 1247014.7466
34 | 2680809.207 | 1247027.2634 | 2680811.69 | 1247029.6434 | 2680820.9251 | 1247021.0407 | 2680839.5823 | 1247003.9603
35 | 2680809.207 | 1247027.2634 | 2680801.242 | 1247023.0518 | 2680791.7671 | 1247019.3311 | 2680782.9668 | 1247016.5537
36 | 2680809.207 | 1247027.2634 | 2680809.7574 | 1247022.3562 | 2680808.7153 | 1247017.3383 | 2680811.1801 | 1247009.4856
37 | 2680839.5823 | 1247003.9603 | 2680840.3831 | 1247003.2271
38 | 2680752.9231 | 1247009.9953 | 2680773.7002 | 1247014.1702 | 2680782.9668 | 1247016.5537
39 | 2680782.9668 | 1247016.5537 | 2680783.605 | 1247012.4038 | 2680782.4002 | 1247008.2399 | 2680784.4153 | 1247001.4323
40 | 2680811.1801 | 1247009.4856 | 2680815.8464 | 1246994.6189 | 2680814.6521 | 1246986.9193 | 2680814.6521 | 1246986.9193
41 | 2680818.835 | 1246919.4826 | 2680821.9975 | 1246920.7933 | 2680830.2602 | 1246924.2307 | 2680846.0336 | 1246933.0632
42 | 2680833.622 | 1246948.5831 | 2680846.0336 | 1246933.0632
43 | 2680818.835 | 1246919.4826 | 2680808.7544 | 1246930.8091 | 2680807.5681 | 1246934.2895
44 | 2680833.622 | 1246948.5831 | 2680829.6719 | 1246959.0592 | 2680825.6616 | 1246960.6501 | 2680825.362 | 1246961.3626
45 | 2680780.4678 | 1247043.6567 | 2680775.8772 | 1247040.6747 | 2680766.0293 | 1247038.2722 | 2680766.0293 | 1247038.2722
46 | 2680854.1867 | 1246990.5871 | 2680840.3831 | 1247003.2271
47 | 2680665.323 | 1247051.3574 | 2680649.9155 | 1247048.428
48 | 2680795.0164 | 1246950.3878 | 2680795.1204 | 1246950.1152 | 2680798.158 | 1246950.0566 | 2680802.7898 | 1246948.3073 | 2680807.5681 | 1246934.2895
49 | 2680697.399 | 1246875.8641 | 2680705.0366 | 1246878.5414
50 | 2680697.399 | 1246875.8641 | 2680696.4799 | 1246878.4535 | 2680688.3482 | 1246888.1388 | 2680680.4163 | 1246908.6681 | 2680676.5297 | 1246907.8368 | 2680676.2156 | 1246908.6222
51 | 2680732.6279 | 1247064.6102 | 2680750.0424 | 1247068.035
52 | 2680691.5565 | 1246998.1626 | 2680690.9175 | 1246999.5994 | 2680687.1435 | 1247019.9073
53 | 2680722.4851 | 1247004.0989 | 2680691.5565 | 1246998.1626
54 | 2680691.5565 | 1246998.1626 | 2680693.0792 | 1246994.514 | 2680691.2168 | 1246987.0499 | 2680692.232 | 1246983.485
55 | 2680687.1435 | 1247019.9073 | 2680698.1392 | 1247022.3476
56 | 2680687.1435 | 1247019.9073 | 2680675.3927 | 1247017.4457
57 | 2680722.4851 | 1247004.0989 | 2680723.2004 | 1247000.3837 | 2680721.8695 | 1246994.3835 | 2680722.9269 | 1246990.5845
58 | 2680722.4851 | 1247004.0989 | 2680738.1863 | 1247007.1371 | 2680752.9231 | 1247009.9953
59 | 2680697.0706 | 1246966.4934 | 2680692.232 | 1246983.485
60 | 2680676.2156 | 1246908.6222 | 2680672.8541 | 1246917.0268 | 2680669.7206 | 1246918.0294 | 2680664.7637 | 1246934.7853 | 2680664.9507 | 1246935.5911
61 | 2680732.6279 | 1247064.6102 | 2680706.8336 | 1247059.5375 | 2680705.0778 | 1247059.1648
62 | 2680825.362 | 1246961.3626 | 2680822.0859 | 1246969.152 | 2680818.2236 | 1246972.6353 | 2680814.6521 | 1246986.9193
63 | 2680752.9231 | 1247009.9953 | 2680753.3167 | 1247006.6093 | 2680752.1702 | 1247002.046 | 2680754.6134 | 1246993.124
64 | 2680784.4153 | 1247001.4323 | 2680787.8483 | 1246989.834 | 2680783.103 | 1246982.1749 | 2680783.3267 | 1246981.5185
65 | 2680748.3898 | 1247032.1965 | 2680748.8425 | 1247032.2782 | 2680748.348 | 1247034.7511 | 2680766.0293 | 1247038.2722
66 | 2680789.002 | 1246907.9678 | 2680787.489 | 1246907.4378
67 | 2680789.002 | 1246907.9678 | 2680778.5661 | 1246920.9796 | 2680777.4865 | 1246923.9503
68 | 2680760.2671 | 1246897.9025 | 2680787.489 | 1246907.4378
69 | 2680766.0839 | 1246940.5795 | 2680766.0839 | 1246940.5795 | 2680773.1663 | 1246935.8391 | 2680777.4865 | 1246923.9503
70 | 2680754.6134 | 1246993.124 | 2680760.624 | 1246971.1747
71 | 2680734.0823 | 1247026.7066 | 2680733.5402 | 1247028.7896 | 2680733.2454 | 1247028.7298
72 | 2680734.0823 | 1247026.7066 | 2680737.7134 | 1247027.4343 | 2680739.1895 | 1247030.5345 | 2680748.3898 | 1247032.1965
73 | 2680722.5493 | 1247026.5606 | 2680733.2454 | 1247028.7298
74 | 2680727.4607 | 1246974.2952 | 2680722.9269 | 1246990.5845
75 | 2680701.8892 | 1246949.5723 | 2680697.0706 | 1246966.4934
76 | 2680727.3435 | 1246954.6512 | 2680731.6153 | 1246959.3683 | 2680727.4607 | 1246974.2952
77 | 2680736.1352 | 1246929.4252 | 2680727.3435 | 1246954.6512 | 2680727.3435 | 1246954.6512
78 | 2680736.1352 | 1246929.4252 | 2680736.1797 | 1246929.2974 | 2680743.662 | 1246926.8086 | 2680747.9027 | 1246912.7282
79 | 2680760.2671 | 1246897.9025 | 2680748.7415 | 1246909.9432 | 2680747.9027 | 1246912.7282
80 | 2680725.0213 | 1246885.547 | 2680705.0366 | 1246878.5414
81 | 2680725.0213 | 1246885.547 | 2680718.3429 | 1246903.3568
82 | 2680725.0213 | 1246885.547 | 2680759.4952 | 1246897.6319
83 | 2680707.0911 | 1246921.9073 | 2680714.2977 | 1246914.1441 | 2680718.3429 | 1246903.3568
84 | 2680760.2671 | 1246897.9025 | 2680759.4952 | 1246897.6319

## bus_geodata
| x | y | coords
0 | 2680764.1893 | 1246861.1958
1 | 2680747.0444 | 1246855.4137
2 | 2680732.918 | 1246851.5297
3 | 2680719.7246 | 1246845.7014
4 | 2680682.3024 | 1246840.0326
5 | 2680670.6863 | 1246866.505
6 | 2680702.5787 | 1246839.9862
7 | 2680609.6004 | 1246868.3536
8 | 2680613.8985 | 1246957.7883
9 | 2680598.6553 | 1246866.0588
10 | 2680664.0844 | 1246883.5003
11 | 2680685.5408 | 1246871.7094
12 | 2680780.5818 | 1247074.0409
13 | 2680792.2245 | 1247052.8285
14 | 2680802.3002 | 1247077.3058
15 | 2680767.8496 | 1247071.537
16 | 2680635.2431 | 1246971.911
17 | 2680625.6161 | 1247012.1205
18 | 2680635.5789 | 1246970.6779
19 | 2680583.2962 | 1246956.1713
20 | 2680611.3321 | 1246971.1762
21 | 2680684.2114 | 1247054.9486
22 | 2680677.4338 | 1247053.66
23 | 2680689.7843 | 1247056.0083
24 | 2680824.7851 | 1247058.1496
25 | 2680626.7089 | 1247043.4026
26 | 2680639.2025 | 1247014.7466
27 | 2680809.207 | 1247027.2634
28 | 2680839.5823 | 1247003.9603
29 | 2680782.9668 | 1247016.5537
30 | 2680811.1801 | 1247009.4856
31 | 2680846.0336 | 1246933.0632
32 | 2680818.835 | 1246919.4826
33 | 2680833.622 | 1246948.5831
34 | 2680780.4678 | 1247043.6567
35 | 2680840.3831 | 1247003.2271
36 | 2680649.9155 | 1247048.428
37 | 2680581.6896 | 1246964.4254
38 | 2680807.5681 | 1246934.2895
39 | 2680697.399 | 1246875.8641
40 | 2680750.0424 | 1247068.035
41 | 2680640.6835 | 1246952.5547
42 | 2680607.8105 | 1246989.5467
43 | 2680691.5565 | 1246998.1626
44 | 2680687.1435 | 1247019.9073
45 | 2680722.4851 | 1247004.0989
46 | 2680692.232 | 1246983.485
47 | 2680664.9507 | 1246935.5911
48 | 2680676.2156 | 1246908.6222
49 | 2680665.323 | 1247051.3574
50 | 2680705.0778 | 1247059.1648
51 | 2680825.362 | 1246961.3626
52 | 2680854.1867 | 1246990.5871
53 | 2680654.0201 | 1247017.6107
54 | 2680752.9231 | 1247009.9953
55 | 2680784.4153 | 1247001.4323
56 | 2680814.6521 | 1246986.9193
57 | 2680766.0293 | 1247038.2722
58 | 2680789.002 | 1246907.9678
59 | 2680787.489 | 1246907.4378
60 | 2680777.4865 | 1246923.9503
61 | 2680795.0164 | 1246950.3878
62 | 2680783.3267 | 1246981.5185
63 | 2680754.6134 | 1246993.124
64 | 2680734.0823 | 1247026.7066
65 | 2680733.2454 | 1247028.7298
66 | 2680748.3898 | 1247032.1965
67 | 2680722.9269 | 1246990.5845
68 | 2680760.624 | 1246971.1747
69 | 2680697.0706 | 1246966.4934
70 | 2680701.8892 | 1246949.5723
71 | 2680698.1392 | 1247022.3476
72 | 2680675.3927 | 1247017.4457
73 | 2680727.4607 | 1246974.2952
74 | 2680727.3435 | 1246954.6512
75 | 2680736.1352 | 1246929.4252
76 | 2680747.9027 | 1246912.7282
77 | 2680722.5493 | 1247026.5606
78 | 2680766.0839 | 1246940.5795
79 | 2680705.0366 | 1246878.5414
80 | 2680725.0213 | 1246885.547
81 | 2680718.3429 | 1246903.3568
82 | 2680759.4952 | 1246897.6319
83 | 2680760.2671 | 1246897.9025
84 | 2680732.6279 | 1247064.6102
85 | 2680707.0911 | 1246921.9073
86 | 2680722.4851 | 1247004.0989

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98455 | -0.2977 | 0.0049347 | 0.0012368
1 | 0.98463 | -0.2961 | 0.0049346 | 0.0012367
2 | 0.98477 | -0.29332 | 0 | 0
3 | 0.98491 | -0.29054 | 0.0050939 | 0.0012766
4 | 0.98556 | -0.27789 | 0 | 0
5 | 0.9861 | -0.26749 | 0 | 0
6 | 0.98516 | -0.28568 | 0.0050934 | 0.0012765
7 | 0.97419 | -0.4985 | 0 | 0
8 | 0.97738 | -0.43577 | 0 | 0
9 | 0.97367 | -0.50868 | 0.049514 | 0.012409
10 | 0.98578 | -0.27367 | 0.018898 | 0.0047364
11 | 0.98666 | -0.25651 | 0.017865 | 0.0044774
12 | 0.98524 | -0.28254 | 0 | 0
13 | 0.98635 | -0.26107 | 0 | 0
14 | 0.98505 | -0.28631 | 0 | 0
15 | 0.98468 | -0.29333 | 0.0059018 | 0.0014791
16 | 0.9779 | -0.42546 | 0 | 0
17 | 0.97877 | -0.40851 | 0 | 0
18 | 0.97789 | -0.42571 | 0.005368 | 0.0013454
19 | 0.97731 | -0.43712 | 0 | 0
20 | 0.97731 | -0.43705 | 0.0028217 | 0.00070719
21 | 0.98143 | -0.35663 | 0 | 0
22 | 0.9812 | -0.36114 | 0.0050688 | 0.0012704
23 | 0.98162 | -0.35292 | 0.008317 | 0.0020844
24 | 0.98479 | -0.29137 | 0.0095391 | 0.0023907
25 | 0.9797 | -0.39027 | 0 | 0
26 | 0.97852 | -0.41332 | 0.0091065 | 0.0022823
27 | 0.9882 | -0.22544 | 0 | 0
28 | 0.98761 | -0.23677 | 0 | 0
29 | 0.99029 | -0.18515 | 0 | 0
30 | 0.98741 | -0.24074 | 0.012168 | 0.0030495
31 | 0.98548 | -0.27832 | 0 | 0
32 | 0.98517 | -0.28435 | 0 | 0
33 | 0.98568 | -0.27439 | 0.0078842 | 0.001976
34 | 0.98595 | -0.26878 | 0.0065 | 0.0016291
35 | 0.9876 | -0.23707 | 0.0077684 | 0.0019469
36 | 0.98034 | -0.37782 | 0.0083157 | 0.0020841
37 | 0.97729 | -0.43748 | 0.0023469 | 0.00058818
38 | 0.98498 | -0.28809 | 0.005513 | 0.0013817
39 | 0.98732 | -0.24373 | 0 | 0
40 | 0.98394 | -0.30779 | 0.0055142 | 0.001382
41 | 0.9778 | -0.42748 | 0.0051521 | 0.0012912
42 | 0.97727 | -0.43784 | 0.0023128 | 0.00057963
43 | 0.99432 | -0.10816 | 0 | 0
44 | 0.99401 | -0.11413 | 0 | 0
45 | 0.99517 | -0.091727 | 0 | 0
46 | 0.99411 | -0.11208 | 0.0051517 | 0.0012911
47 | 0.98674 | -0.25489 | 0.0054187 | 0.0013581
48 | 0.9869 | -0.25192 | 0.0054233 | 0.0013592
49 | 0.9808 | -0.36882 | 0.0082857 | 0.0020766
50 | 0.98218 | -0.34194 | 0.0051096 | 0.0012806
51 | 0.98596 | -0.26887 | 0.0078854 | 0.0019763
52 | 0.98747 | -0.2396 | 0.0075794 | 0.0018996
53 | 0.97838 | -0.41607 | 0.010009 | 0.0025084
54 | 0.99265 | -0.13977 | 0 | 0
55 | 0.99013 | -0.18821 | 0.0054929 | 0.0013766
56 | 0.98666 | -0.25524 | 0.0078694 | 0.0019723
57 | 0.98563 | -0.27502 | 0.0061685 | 0.001546
58 | 0.99178 | -0.15736 | 0 | 0
59 | 0.9918 | -0.15705 | 0.0079885 | 0.0020021
60 | 0.99158 | -0.16122 | 0.0054894 | 0.0013758
61 | 0.98486 | -0.29037 | 0.0055169 | 0.0013827
62 | 0.99002 | -0.19033 | 0.0054917 | 0.0013764
63 | 0.99244 | -0.14379 | 0.0065421 | 0.0016396
64 | 0.98517 | -0.284 | 0 | 0
65 | 0.98515 | -0.28443 | 0.0035905 | 0.00089986
66 | 0.98532 | -0.2811 | 0.0063498 | 0.0015914
67 | 0.99642 | -0.067899 | 0.0043347 | 0.0010864
68 | 0.99231 | -0.14642 | 0.0065438 | 0.00164
69 | 0.99396 | -0.11498 | 0.004343 | 0.0010885
70 | 0.99388 | -0.11652 | 0.0049755 | 0.001247
71 | 0.99394 | -0.11535 | 0.0061546 | 0.0015425
72 | 0.99391 | -0.11605 | 0.0090759 | 0.0022746
73 | 0.99797 | -0.038509 | 0.0051241 | 0.0012842
74 | 1 | 0 | -0.4366 | -0.11127
75 | 0.9969 | -0.059092 | 0.0055335 | 0.0013868
76 | 0.99437 | -0.10744 | 0.0055363 | 0.0013875
77 | 0.98509 | -0.28565 | 0.0061934 | 0.0015522
78 | 0.99148 | -0.16328 | 0.005487 | 0.0013752
79 | 0.98782 | -0.23394 | 0.0058852 | 0.001475
80 | 0.98925 | -0.20616 | 0.0050769 | 0.0012724
81 | 0.98908 | -0.2095 | 0.004909 | 0.0012303
82 | 0.99223 | -0.14875 | 0.0079803 | 0.0020001
83 | 0.9923 | -0.14736 | 0 | 0
84 | 0.98324 | -0.32137 | 0.0056484 | 0.0014156
85 | 0.98898 | -0.21146 | 0.0049557 | 0.001242
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0049347 | -0.0012368 | 0.0049351 | 0.0012368 | 3.7742e-07 | 1.1432e-08 | 0.0074582 | 0.0074581 | 0.0074582 | 0.98455 | -0.2977 | 0.98463 | -0.2961 | 2.049
1 | -0.0098697 | -0.0024735 | 0.009871 | 0.0024741 | 1.3064e-06 | 6.3691e-07 | 0.014916 | 0.014915 | 0.014916 | 0.98463 | -0.2961 | 0.98477 | -0.29332 | 4.0977
2 | -0.009871 | -0.0024741 | 0.0098723 | 0.0024748 | 1.3076e-06 | 6.3744e-07 | 0.014915 | 0.014915 | 0.014915 | 0.98477 | -0.29332 | 0.98491 | -0.29054 | 4.0977
3 | -0.014966 | -0.0037514 | 0.01497 | 0.0037534 | 3.4651e-06 | 1.9876e-06 | 0.022611 | 0.022611 | 0.022611 | 0.98491 | -0.29054 | 0.98516 | -0.28568 | 6.2119
4 | -0.020071 | -0.0050344 | 0.02008 | 0.0050404 | 9.9522e-06 | 6.001e-06 | 0.030304 | 0.030304 | 0.030304 | 0.98556 | -0.27789 | 0.9861 | -0.26749 | 8.3254
5 | 0.020071 | 0.0050344 | -0.020063 | -0.0050299 | 7.4507e-06 | 4.4928e-06 | 0.030304 | 0.030304 | 0.030304 | 0.98556 | -0.27789 | 0.98516 | -0.28568 | 8.3254
6 | 0.018904 | 0.0047397 | -0.018898 | -0.0047364 | 5.564e-06 | 3.3284e-06 | 0.028527 | 0.028527 | 0.028527 | 0.9861 | -0.26749 | 0.98578 | -0.27367 | 7.837
7 | -0.038984 | -0.0097802 | 0.039005 | 0.009793 | 2.0429e-05 | 1.2874e-05 | 0.058831 | 0.058831 | 0.058831 | 0.9861 | -0.26749 | 0.98666 | -0.25651 | 16.1623
8 | -0.049538 | -0.012425 | 0.049687 | 0.012516 | 0.0001486 | 9.1643e-05 | 0.07567 | 0.075669 | 0.07567 | 0.97419 | -0.4985 | 0.97738 | -0.43577 | 10.3943
9 | 0.049538 | 0.012425 | -0.049514 | -0.012409 | 2.4013e-05 | 1.5229e-05 | 0.07567 | 0.07567 | 0.07567 | 0.97419 | -0.4985 | 0.97367 | -0.50868 | 20.7885
10 | 0.0023471 | 0.0005878 | -0.0023469 | -0.0005881 | 1.5096e-07 | -2.985e-07 | 0.0035731 | 0.0035733 | 0.0035733 | 0.97738 | -0.43577 | 0.97731 | -0.43712 | 0.98167
11 | 0.0051349 | 0.0012867 | -0.0051345 | -0.0012866 | 3.1241e-07 | 2.9114e-08 | 0.0078175 | 0.0078176 | 0.0078176 | 0.97738 | -0.43577 | 0.97731 | -0.43705 | 2.1477
12 | -0.057169 | -0.014391 | 0.057197 | 0.014408 | 2.8176e-05 | 1.6914e-05 | 0.08706 | 0.087059 | 0.08706 | 0.97738 | -0.43577 | 0.9779 | -0.42546 | 7.9725
13 | -0.05687 | -0.01427 | 0.056905 | 0.014292 | 3.4666e-05 | 2.2025e-05 | 0.085774 | 0.085774 | 0.085774 | 0.98666 | -0.25651 | 0.98732 | -0.24373 | 23.5642
14 | -0.14928 | -0.037766 | 0.14943 | 0.037863 | 0.00015394 | 9.7596e-05 | 0.22558 | 0.22558 | 0.22558 | 0.98524 | -0.28254 | 0.98635 | -0.26107 | 20.6577
15 | 0.0095431 | 0.0023926 | -0.0095414 | -0.0023918 | 1.7124e-06 | 8.1609e-07 | 0.014413 | 0.014414 | 0.014414 | 0.98524 | -0.28254 | 0.98505 | -0.28631 | 3.9598
16 | 0.13973 | 0.035373 | -0.13966 | -0.035327 | 7.2329e-05 | 4.5795e-05 | 0.21117 | 0.21117 | 0.21117 | 0.98524 | -0.28254 | 0.98468 | -0.29333 | 19.3378
17 | 0.028826 | 0.0072327 | -0.028815 | -0.0072261 | 1.0584e-05 | 6.5834e-06 | 0.04349 | 0.04349 | 0.04349 | 0.98635 | -0.26107 | 0.98595 | -0.26878 | 11.9479
18 | -0.17826 | -0.045096 | 0.17856 | 0.04529 | 0.00030538 | 0.00019415 | 0.26907 | 0.26907 | 0.26907 | 0.98635 | -0.26107 | 0.9882 | -0.22544 | 24.6403
19 | 0.0095414 | 0.0023918 | -0.0095391 | -0.0023907 | 2.3013e-06 | 1.0969e-06 | 0.014414 | 0.014414 | 0.014414 | 0.98505 | -0.28631 | 0.98479 | -0.29137 | 3.9598
20 | 0.13376 | 0.033848 | -0.13367 | -0.033789 | 9.2795e-05 | 5.8697e-05 | 0.20225 | 0.20225 | 0.20225 | 0.98468 | -0.29333 | 0.98394 | -0.30779 | 18.5211
21 | -0.067718 | -0.017044 | 0.067772 | 0.017078 | 5.4917e-05 | 3.3589e-05 | 0.10307 | 0.10307 | 0.10307 | 0.9779 | -0.42546 | 0.97877 | -0.40851 | 9.4384
22 | 0.010521 | 0.0026367 | -0.010521 | -0.0026366 | 1.2282e-07 | 6.2571e-08 | 0.016009 | 0.016009 | 0.016009 | 0.9779 | -0.42546 | 0.97789 | -0.42571 | 4.398
23 | -0.086893 | -0.021872 | 0.086969 | 0.021919 | 7.5816e-05 | 4.7211e-05 | 0.13214 | 0.13214 | 0.13214 | 0.97877 | -0.40851 | 0.9797 | -0.39027 | 12.1005
24 | 0.019121 | 0.004794 | -0.019117 | -0.0047914 | 4.3852e-06 | 2.6327e-06 | 0.02907 | 0.02907 | 0.02907 | 0.97877 | -0.40851 | 0.97852 | -0.41332 | 7.9863
25 | 0.0051525 | 0.0012913 | -0.0051521 | -0.0012912 | 4.3405e-07 | 4.159e-08 | 0.0078404 | 0.0078404 | 0.0078404 | 0.97789 | -0.42571 | 0.9778 | -0.42748 | 2.154
26 | 0.0023469 | 0.0005881 | -0.0023469 | -0.00058818 | 4.0264e-08 | -7.9599e-08 | 0.0035733 | 0.0035733 | 0.0035733 | 0.97731 | -0.43712 | 0.97729 | -0.43748 | 0.98168
27 | 0.0023128 | 0.00057945 | -0.0023128 | -0.00057963 | 8.698e-08 | -1.7871e-07 | 0.0035214 | 0.0035214 | 0.0035214 | 0.97731 | -0.43705 | 0.97727 | -0.43784 | 0.96743
28 | 0.10879 | 0.027447 | -0.10877 | -0.027432 | 2.3483e-05 | 1.4767e-05 | 0.16502 | 0.16502 | 0.16502 | 0.98143 | -0.35663 | 0.9812 | -0.36114 | 15.1113
29 | -0.10879 | -0.027447 | 0.10881 | 0.027459 | 1.9309e-05 | 1.2143e-05 | 0.16502 | 0.16502 | 0.16502 | 0.98143 | -0.35663 | 0.98162 | -0.35292 | 15.1113
30 | 0.1037 | 0.026162 | -0.10366 | -0.026138 | 3.8143e-05 | 2.3944e-05 | 0.15733 | 0.15733 | 0.15733 | 0.9812 | -0.36114 | 0.9808 | -0.36882 | 14.4074
31 | -0.11713 | -0.029544 | 0.11719 | 0.029582 | 6.1587e-05 | 3.8823e-05 | 0.17762 | 0.17762 | 0.17762 | 0.98162 | -0.35292 | 0.98218 | -0.34194 | 16.2659
32 | -0.086969 | -0.021919 | 0.087021 | 0.021951 | 5.1843e-05 | 3.2281e-05 | 0.13214 | 0.13214 | 0.13214 | 0.9797 | -0.39027 | 0.98034 | -0.37782 | 12.1004
33 | 0.01001 | 0.0025091 | -0.010009 | -0.0025084 | 1.3114e-06 | 6.4972e-07 | 0.015222 | 0.015222 | 0.015222 | 0.97852 | -0.41332 | 0.97838 | -0.41607 | 4.1819
34 | 0.015357 | 0.0038518 | -0.015349 | -0.003847 | 8.2939e-06 | 4.7786e-06 | 0.023126 | 0.023126 | 0.023126 | 0.9882 | -0.22544 | 0.98761 | -0.23677 | 6.3533
35 | -0.24085 | -0.060935 | 0.24131 | 0.061232 | 0.00046653 | 0.00029749 | 0.36287 | 0.36287 | 0.36287 | 0.9882 | -0.22544 | 0.99029 | -0.18515 | 33.2297
36 | 0.046925 | 0.011793 | -0.046891 | -0.011771 | 3.4262e-05 | 2.1693e-05 | 0.070671 | 0.070671 | 0.070671 | 0.9882 | -0.22544 | 0.98741 | -0.24074 | 19.4151
37 | 0.015349 | 0.003847 | -0.015349 | -0.0038468 | 2.1776e-07 | 1.2547e-07 | 0.023126 | 0.023126 | 0.023126 | 0.98761 | -0.23677 | 0.9876 | -0.23707 | 6.3533
38 | -0.2523 | -0.063986 | 0.25285 | 0.064338 | 0.00055183 | 0.00035199 | 0.37938 | 0.37938 | 0.37938 | 0.99029 | -0.18515 | 0.99265 | -0.13977 | 34.7414
39 | 0.010987 | 0.0027539 | -0.010985 | -0.0027531 | 1.5978e-06 | 8.2147e-07 | 0.016509 | 0.016509 | 0.016509 | 0.99029 | -0.18515 | 0.99013 | -0.18821 | 4.5354
40 | 0.034723 | 0.0087215 | -0.034699 | -0.0087065 | 2.4007e-05 | 1.5066e-05 | 0.052334 | 0.052335 | 0.052335 | 0.98741 | -0.24074 | 0.98666 | -0.25524 | 14.3776
41 | 0.011036 | 0.0027671 | -0.011033 | -0.0027655 | 3.1708e-06 | 1.6415e-06 | 0.016664 | 0.016664 | 0.016664 | 0.98548 | -0.27832 | 0.98517 | -0.28435 | 4.578
42 | -0.011036 | -0.0027671 | 0.011038 | 0.0027682 | 2.0672e-06 | 1.07e-06 | 0.016664 | 0.016664 | 0.016664 | 0.98548 | -0.27832 | 0.98568 | -0.27439 | 4.5779
43 | 0.011033 | 0.0027655 | -0.011031 | -0.0027645 | 1.9618e-06 | 1.0157e-06 | 0.016664 | 0.016664 | 0.016664 | 0.98517 | -0.28435 | 0.98498 | -0.28809 | 4.578
44 | -0.018922 | -0.0047441 | 0.018927 | 0.0047471 | 4.9827e-06 | 2.9813e-06 | 0.028566 | 0.028566 | 0.028566 | 0.98568 | -0.27439 | 0.98596 | -0.26887 | 7.8478
45 | 0.022315 | 0.0055971 | -0.022309 | -0.005593 | 6.6407e-06 | 4.051e-06 | 0.03368 | 0.03368 | 0.03368 | 0.98595 | -0.26878 | 0.98563 | -0.27502 | 9.2529
46 | 0.0075803 | 0.0018999 | -0.0075794 | -0.0018996 | 9.1557e-07 | 3.465e-07 | 0.011421 | 0.011421 | 0.011421 | 0.9876 | -0.23707 | 0.98747 | -0.2396 | 3.1377
47 | -0.095337 | -0.024036 | 0.095378 | 0.024061 | 4.1081e-05 | 2.5698e-05 | 0.14476 | 0.14476 | 0.14476 | 0.98034 | -0.37782 | 0.9808 | -0.36882 | 13.2563
48 | 0.0055175 | 0.0013828 | -0.0055169 | -0.0013827 | 6.0163e-07 | 9.1174e-08 | 0.0083354 | 0.0083355 | 0.0083355 | 0.98498 | -0.28809 | 0.98486 | -0.29037 | 2.29
49 | -0.067752 | -0.017012 | 0.067783 | 0.017032 | 3.1651e-05 | 2.0153e-05 | 0.10212 | 0.10212 | 0.10212 | 0.98732 | -0.24373 | 0.98782 | -0.23394 | 28.0555
50 | 0.010847 | 0.0027195 | -0.010843 | -0.0027174 | 4.2318e-06 | 2.1686e-06 | 0.016348 | 0.016348 | 0.016348 | 0.98732 | -0.24373 | 0.9869 | -0.25192 | 4.4913
51 | 0.12815 | 0.032407 | -0.12807 | -0.032355 | 8.342e-05 | 5.2713e-05 | 0.19391 | 0.19391 | 0.19391 | 0.98394 | -0.30779 | 0.98324 | -0.32137 | 17.7575
52 | 0.015236 | 0.0038201 | -0.015232 | -0.0038176 | 4.3338e-06 | 2.4854e-06 | 0.022802 | 0.022802 | 0.022802 | 0.99432 | -0.10816 | 0.99401 | -0.11413 | 6.2642
53 | -0.029711 | -0.0074488 | 0.029734 | 0.0074633 | 2.3282e-05 | 1.4493e-05 | 0.044464 | 0.044464 | 0.044464 | 0.99432 | -0.10816 | 0.99517 | -0.091727 | 12.2153
54 | 0.014475 | 0.0036287 | -0.014472 | -0.0036272 | 2.7017e-06 | 1.53e-06 | 0.021662 | 0.021662 | 0.021662 | 0.99432 | -0.10816 | 0.99411 | -0.11208 | 5.9511
55 | 0.006155 | 0.0015426 | -0.0061546 | -0.0015425 | 3.5755e-07 | 8.3261e-08 | 0.0092139 | 0.009214 | 0.009214 | 0.99401 | -0.11413 | 0.99394 | -0.11535 | 2.5313
56 | 0.0090768 | 0.002275 | -0.0090759 | -0.0022746 | 8.289e-07 | 3.7532e-07 | 0.013588 | 0.013588 | 0.013588 | 0.99401 | -0.11413 | 0.99391 | -0.11605 | 3.7329
57 | -0.29629 | -0.075476 | 0.29663 | 0.075694 | 0.00034102 | 0.00021771 | 0.44346 | 0.44346 | 0.44346 | 0.99517 | -0.091727 | 0.99642 | -0.067899 | 40.6099
58 | 0.26656 | 0.068013 | -0.26594 | -0.067619 | 0.00061697 | 0.00039366 | 0.399 | 0.399 | 0.399 | 0.99517 | -0.091727 | 0.99265 | -0.13977 | 36.5382
59 | 0.0093202 | 0.0023361 | -0.0093189 | -0.0023355 | 1.2894e-06 | 5.9622e-07 | 0.013951 | 0.013951 | 0.013951 | 0.99411 | -0.11208 | 0.99396 | -0.11498 | 3.8327
60 | -0.0054187 | -0.0013581 | 0.0054195 | 0.0013582 | 7.6728e-07 | 9.9571e-08 | 0.0081715 | 0.0081713 | 0.0081715 | 0.98674 | -0.25489 | 0.9869 | -0.25192 | 2.2449
61 | -0.1223 | -0.030863 | 0.12242 | 0.030939 | 0.00012062 | 7.6127e-05 | 0.18536 | 0.18536 | 0.18536 | 0.98218 | -0.34194 | 0.98324 | -0.32137 | 16.9747
62 | -0.026812 | -0.0067234 | 0.02683 | 0.0067342 | 1.7424e-05 | 1.0789e-05 | 0.040467 | 0.040466 | 0.040467 | 0.98596 | -0.26887 | 0.98666 | -0.25524 | 11.1172
63 | 0.013089 | 0.0032812 | -0.013087 | -0.0032799 | 2.507e-06 | 1.38e-06 | 0.019621 | 0.019621 | 0.019621 | 0.99265 | -0.13977 | 0.99244 | -0.14379 | 5.3905
64 | 0.0054923 | 0.0013764 | -0.0054917 | -0.0013764 | 5.5694e-07 | 7.6102e-08 | 0.008254 | 0.0082541 | 0.0082541 | 0.99013 | -0.18821 | 0.99002 | -0.19033 | 2.2676
65 | 0.01614 | 0.0040471 | -0.016136 | -0.0040443 | 4.6784e-06 | 2.7265e-06 | 0.024368 | 0.024368 | 0.024368 | 0.98563 | -0.27502 | 0.98532 | -0.2811 | 6.6945
66 | -0.010979 | -0.0027521 | 0.010979 | 0.0027521 | 1.6312e-07 | 8.3711e-08 | 0.016472 | 0.016472 | 0.016472 | 0.99178 | -0.15736 | 0.9918 | -0.15705 | 4.5254
67 | 0.010979 | 0.0027521 | -0.010977 | -0.002751 | 2.0188e-06 | 1.0361e-06 | 0.016472 | 0.016473 | 0.016473 | 0.99178 | -0.15736 | 0.99158 | -0.16122 | 4.5254
68 | -0.018968 | -0.0047542 | 0.018976 | 0.0047595 | 8.7595e-06 | 5.2337e-06 | 0.028458 | 0.028458 | 0.028458 | 0.9918 | -0.15705 | 0.9923 | -0.14736 | 7.8181
69 | 0.0054875 | 0.0013752 | -0.005487 | -0.0013752 | 5.384e-07 | 7.15e-08 | 0.0082348 | 0.0082349 | 0.0082349 | 0.99158 | -0.16122 | 0.99148 | -0.16328 | 2.2623
70 | 0.0065446 | 0.0016403 | -0.0065438 | -0.00164 | 8.2173e-07 | 2.3188e-07 | 0.0098126 | 0.0098127 | 0.0098127 | 0.99244 | -0.14379 | 0.99231 | -0.14642 | 2.6958
71 | 0.0097845 | 0.0024523 | -0.0097843 | -0.0024522 | 2.0093e-07 | 9.7358e-08 | 0.014779 | 0.014779 | 0.014779 | 0.98517 | -0.284 | 0.98515 | -0.28443 | 4.0601
72 | -0.0097845 | -0.0024523 | 0.0097858 | 0.0024529 | 1.3503e-06 | 6.5421e-07 | 0.014779 | 0.014779 | 0.014779 | 0.98517 | -0.284 | 0.98532 | -0.2811 | 4.0601
73 | 0.0061938 | 0.0015523 | -0.0061934 | -0.0015522 | 3.5821e-07 | 9.0299e-08 | 0.0093554 | 0.0093554 | 0.0093554 | 0.98515 | -0.28443 | 0.98509 | -0.28565 | 2.5702
74 | -0.30097 | -0.07678 | 0.30139 | 0.077053 | 0.00042787 | 0.00027317 | 0.44993 | 0.44993 | 0.44993 | 0.99642 | -0.067899 | 0.99797 | -0.038509 | 41.2027
75 | 0.0049759 | 0.001247 | -0.0049755 | -0.001247 | 3.6611e-07 | 6.2887e-09 | 0.0074492 | 0.0074493 | 0.0074493 | 0.99396 | -0.11498 | 0.99388 | -0.11652 | 2.0465
76 | -0.30652 | -0.078338 | 0.30709 | 0.078703 | 0.00057206 | 0.00036526 | 0.45757 | 0.45757 | 0.45757 | 0.99797 | -0.038509 | 1 | 0 | 41.9023
77 | 0.12785 | 0.032563 | -0.12749 | -0.032331 | 0.0003633 | 0.00023216 | 0.19043 | 0.19043 | 0.19043 | 1 | 0 | 0.9969 | -0.059092 | 52.3171
78 | 0.12196 | 0.030944 | -0.12168 | -0.030764 | 0.00028283 | 0.00018072 | 0.18217 | 0.18217 | 0.18217 | 0.9969 | -0.059092 | 0.99437 | -0.10744 | 50.048
79 | 0.11614 | 0.029376 | -0.11592 | -0.029234 | 0.00022198 | 0.00014181 | 0.17389 | 0.17389 | 0.17389 | 0.99437 | -0.10744 | 0.9923 | -0.14736 | 47.772
80 | -0.073668 | -0.018507 | 0.073766 | 0.018569 | 9.7823e-05 | 6.2335e-05 | 0.11099 | 0.11099 | 0.11099 | 0.98782 | -0.23394 | 0.98925 | -0.20616 | 30.4909
81 | 0.0098667 | 0.0024731 | -0.0098651 | -0.0024723 | 1.5711e-06 | 7.6136e-07 | 0.014841 | 0.014841 | 0.014841 | 0.98925 | -0.20616 | 0.98908 | -0.2095 | 4.0773
82 | -0.08871 | -0.022315 | 0.088954 | 0.022471 | 0.00024402 | 0.0001557 | 0.13346 | 0.13346 | 0.13346 | 0.98925 | -0.20616 | 0.99223 | -0.14875 | 36.6662
83 | 0.0049561 | 0.001242 | -0.0049557 | -0.001242 | 4.6103e-07 | 1.1275e-08 | 0.0074562 | 0.0074563 | 0.0074563 | 0.98908 | -0.2095 | 0.98898 | -0.21146 | 2.0484
84 | -0.096934 | -0.024471 | 0.096941 | 0.024475 | 6.487e-06 | 4.1411e-06 | 0.14543 | 0.14543 | 0.14543 | 0.99223 | -0.14875 | 0.9923 | -0.14736 | 39.954

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44095 | 0.11236

## res_load
| p_mw | q_mvar
0 | 0.0049347 | 0.0012368
1 | 0.0049346 | 0.0012367
2 | 0.0050939 | 0.0012766
3 | 0.0050934 | 0.0012765
4 | 0.049514 | 0.012409
5 | 0.018898 | 0.0047364
6 | 0.017865 | 0.0044774
7 | 0.0059018 | 0.0014791
8 | 0.005368 | 0.0013454
9 | 0.0028217 | 0.00070719
10 | 0.0050688 | 0.0012704
11 | 0.008317 | 0.0020844
12 | 0.0095391 | 0.0023907
13 | 0.0091065 | 0.0022823
14 | 0.012168 | 0.0030495
15 | 0.0078842 | 0.001976
16 | 0.0065 | 0.0016291
17 | 0.0077684 | 0.0019469
18 | 0.0083157 | 0.0020841
19 | 0.0023469 | 0.00058818
20 | 0.005513 | 0.0013817
21 | 0.0055142 | 0.001382
22 | 0.0051521 | 0.0012912
23 | 0.0023128 | 0.00057963
24 | 0.0051517 | 0.0012911
25 | 0.0054187 | 0.0013581
26 | 0.0054233 | 0.0013592
27 | 0.0082857 | 0.0020766
28 | 0.0051096 | 0.0012806
29 | 0.0078854 | 0.0019763
30 | 0.0075794 | 0.0018996
31 | 0.010009 | 0.0025084
32 | 0.0054929 | 0.0013766
33 | 0.0078694 | 0.0019723
34 | 0.0061685 | 0.001546
35 | 0.0079885 | 0.0020021
36 | 0.0054894 | 0.0013758
37 | 0.0055169 | 0.0013827
38 | 0.0054917 | 0.0013764
39 | 0.0065421 | 0.0016396
40 | 0.0035905 | 0.00089986
41 | 0.0063498 | 0.0015914
42 | 0.0043347 | 0.0010864
43 | 0.0065438 | 0.00164
44 | 0.004343 | 0.0010885
45 | 0.0049755 | 0.001247
46 | 0.0061546 | 0.0015425
47 | 0.0090759 | 0.0022746
48 | 0.0051241 | 0.0012842
49 | 0.0043514 | 0.0010906
50 | 0.0055335 | 0.0013868
51 | 0.0055363 | 0.0013875
52 | 0.0061934 | 0.0015522
53 | 0.005487 | 0.0013752
54 | 0.0058852 | 0.001475
55 | 0.0050769 | 0.0012724
56 | 0.004909 | 0.0012303
57 | 0.0079803 | 0.0020001
58 | 0.0056484 | 0.0014156
59 | 0.0049557 | 0.001242

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1