## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-651_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-651_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-651_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-651_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-651_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-651_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-651_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-651_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-651_0_5_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_261-651_0_5_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_261-651_0_5_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_261-651_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-651_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-651_0_5_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_261-651_0_5_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_261-651_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_261-651_0_5_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_261-651_0_5_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_261-651_0_5_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_261-651_0_5_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_261-651_0_5_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_261-651_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_261-651_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_261-651_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_261-651_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-651_0_5_node_91 | 0.4 | n |  | TRUE
26 | bus_LV_261-651_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_261-651_0_5_node_94 | 0.4 | n |  | TRUE
28 | bus_LV_261-651_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_261-651_0_5_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_261-651_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_261-651_0_5_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_261-651_0_5_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_261-651_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_261-651_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_261-651_0_5_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_261-651_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_261-651_0_5_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_261-651_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_261-651_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_261-651_0_5_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_261-651_0_5_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_261-651_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_261-651_0_5_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_261-651_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_261-651_0_5_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_261-651_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_261-651_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_261-651_0_5_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_261-651_0_5_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_261-651_0_5_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_261-651_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_261-651_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_261-651_0_5_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_261-651_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_261-651_0_5_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_261-651_0_5_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_261-651_0_5_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_261-651_0_5_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_261-651_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_261-651_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_261-651_0_5_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_261-651_0_5_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_261-651_0_5_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_261-651_0_5_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_261-651_0_5_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_261-651_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_261-651_0_5_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_261-651_0_5_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_261-651_0_5_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_261-651_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_261-651_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_261-651_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_261-651_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_261-651_0_5_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_261-651_0_5_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_261-651_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_261-651_0_5_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_261-651_0_5_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_261-651_0_5_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_261-651_0_5_node_40 | 0.4 | n |  | TRUE
81 | bus_LV_261-651_0_5_node_36 | 0.4 | n |  | TRUE
82 | bus_LV_261-651_0_5_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_261-651_0_5_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_261-651_0_5_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_261-651_0_5_node_45 | 0.4 | n |  | TRUE
86 | bus_LV_261-651_0_5_node_46 | 0.4 | n |  | TRUE
87 | bus_LV_261-651_0_5_node_47 | 0.4 | n |  | TRUE
88 | bus_LV_261-651_0_5_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_261-651_0_5_node_63 | 0.4 | n |  | TRUE
90 | bus_LV_261-651_0_5_node_64 | 0.4 | n |  | TRUE
91 | bus_LV_261-651_0_5_node_75 | 0.4 | n |  | TRUE
92 | bus_MV_529_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-651_0_5_load_0 | 0 | 0.0081964 | 0.0020542 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-651_0_5_load_1 | 1 | 0.0082433 | 0.002066 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-651_0_5_load_3 | 3 | 0.0081215 | 0.0020354 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-651_0_5_load_5 | 5 | 0.008119 | 0.0020348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-651_0_5_load_85 | 8 | 0.0057293 | 0.0014359 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-651_0_5_load_67 | 9 | 0.0080094 | 0.0020074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-651_0_5_load_9 | 12 | 0.0067975 | 0.0017036 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-651_0_5_load_77 | 14 | 0.0051849 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-651_0_5_load_74 | 15 | 0.0051635 | 0.0012941 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-651_0_5_load_83 | 16 | 0.0057885 | 0.0014507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-651_0_5_load_68 | 17 | 0.0057735 | 0.001447 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-651_0_5_load_37 | 18 | 0.0075404 | 0.0018898 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-651_0_5_load_70 | 19 | 0.0072491 | 0.0018168 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-651_0_5_load_69 | 20 | 0.0094982 | 0.0023805 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-651_0_5_load_91 | 25 | 0.0078129 | 0.0019581 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-651_0_5_load_94 | 27 | 0.052366 | 0.013124 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-651_0_5_load_61 | 29 | 0.0056215 | 0.0014089 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-651_0_5_load_59 | 31 | 0.0028487 | 0.00071395 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-651_0_5_load_56 | 32 | 0.009345 | 0.0023421 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-651_0_5_load_60 | 34 | 0.0051395 | 0.0012881 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-651_0_5_load_66 | 35 | 0.010716 | 0.0026857 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-651_0_5_load_97 | 37 | 0.010927 | 0.0027387 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-651_0_5_load_57 | 40 | 0.0089875 | 0.0022525 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-651_0_5_load_54 | 41 | 0.0094794 | 0.0023758 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-651_0_5_load_44 | 43 | 0.0096441 | 0.002417 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-651_0_5_load_93 | 45 | 0.01169 | 0.0029297 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-651_0_5_load_81 | 48 | 0.0075798 | 0.0018997 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-651_0_5_load_87 | 49 | 0.0082074 | 0.002057 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-651_0_5_load_49 | 52 | 0.0050807 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-651_0_5_load_89 | 53 | 0.0080881 | 0.0020271 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-651_0_5_load_82 | 56 | 0.0075731 | 0.001898 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-651_0_5_load_90 | 58 | 0.0092212 | 0.0023111 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-651_0_5_load_95 | 62 | 0.0053617 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-651_0_5_load_96 | 63 | 0.014838 | 0.0037188 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-651_0_5_load_48 | 65 | 0.012877 | 0.0032273 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-651_0_5_load_73 | 67 | 0.0075806 | 0.0018999 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-651_0_5_load_71 | 68 | 0.0075065 | 0.0018813 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-651_0_5_load_84 | 69 | 0.0059665 | 0.0014953 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-651_0_5_load_62 | 70 | 0.005632 | 0.0014115 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-651_0_5_load_55 | 71 | 0.0061629 | 0.0015446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-651_0_5_load_65 | 72 | 0.0089534 | 0.0022439 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-651_0_5_load_58 | 73 | 0.0090333 | 0.002264 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-651_0_5_load_43 | 74 | 0.0095949 | 0.0024047 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-651_0_5_load_86 | 75 | 0.0083547 | 0.0020939 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-651_0_5_load_53 | 76 | 0.00906 | 0.0022706 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-651_0_5_load_88 | 77 | 0.0081429 | 0.0020408 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-651_0_5_load_79 | 78 | 0.0051065 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-651_0_5_load_78 | 79 | 0.0070314 | 0.0017622 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-651_0_5_load_40 | 80 | 0.012651 | 0.0031706 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-651_0_5_load_36 | 81 | 0.0073105 | 0.0018322 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-651_0_5_load_52 | 82 | 0.0026784 | 0.00067126 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-651_0_5_load_50 | 83 | 0.010662 | 0.0026721 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-651_0_5_load_51 | 84 | 0.0077223 | 0.0019354 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-651_0_5_load_47 | 87 | 0.0096267 | 0.0024127 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-651_0_5_load_92 | 88 | 0.0067521 | 0.0016922 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-651_0_5_load_63 | 89 | 0.0089151 | 0.0022343 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-651_0_5_load_64 | 90 | 0.010735 | 0.0026903 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-651_0_5_load_75 | 91 | 0.0053076 | 0.0013302 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-651_0_5_line_0 |  | 0 | 1 | 0.031782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-651_0_5_line_1 |  | 0 | 2 | 0.0083095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-651_0_5_line_2 |  | 1 | 3 | 0.020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-651_0_5_line_3 |  | 2 | 4 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-651_0_5_line_4 |  | 2 | 5 | 0.042647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-651_0_5_line_5 |  | 2 | 6 | 0.012695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-651_0_5_line_6 |  | 3 | 7 | 0.02504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-651_0_5_line_7 |  | 4 | 8 | 0.0071943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-651_0_5_line_8 |  | 5 | 9 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-651_0_5_line_9 |  | 6 | 10 | 0.008485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-651_0_5_line_10 |  | 7 | 11 | 0.01061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-651_0_5_line_11 |  | 7 | 12 | 0.011525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-651_0_5_line_12 |  | 8 | 16 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-651_0_5_line_13 |  | 9 | 17 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-651_0_5_line_14 |  | 10 | 18 | 0.0097026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-651_0_5_line_15 |  | 10 | 13 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-651_0_5_line_16 |  | 11 | 21 | 0.009123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-651_0_5_line_17 |  | 12 | 22 | 0.0097583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-651_0_5_line_18 |  | 13 | 14 | 0.025933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-651_0_5_line_19 |  | 13 | 15 | 0.013041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-651_0_5_line_20 |  | 14 | 62 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-651_0_5_line_21 |  | 15 | 91 | 0.00024682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-651_0_5_line_22 |  | 16 | 69 | 0.02404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-651_0_5_line_23 |  | 17 | 86 | 0.019587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-651_0_5_line_24 |  | 18 | 81 | 0.020484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-651_0_5_line_25 |  | 19 | 20 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-651_0_5_line_26 |  | 20 | 87 | 0.019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-651_0_5_line_27 |  | 21 | 49 | 0.029331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-651_0_5_line_28 |  | 21 | 44 | 0.045002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-651_0_5_line_29 |  | 22 | 25 | 0.021884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-651_0_5_line_30 |  | 22 | 26 | 0.012043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-651_0_5_line_31 |  | 23 | 24 | 0.034313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-651_0_5_line_32 |  | 23 | 25 | 0.009945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-651_0_5_line_33 |  | 24 | 35 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-651_0_5_line_34 |  | 24 | 28 | 0.02651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-651_0_5_line_35 |  | 26 | 27 | 0.004958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-651_0_5_line_36 |  | 28 | 29 | 0.016617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-651_0_5_line_37 |  | 29 | 70 | 0.02311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-651_0_5_line_38 |  | 30 | 31 | 0.035002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-651_0_5_line_39 |  | 30 | 32 | 0.040026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-651_0_5_line_40 |  | 31 | 33 | 0.037011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-651_0_5_line_41 |  | 32 | 71 | 0.00313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-651_0_5_line_42 |  | 33 | 34 | 0.0027795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-651_0_5_line_43 |  | 35 | 72 | 0.0014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-651_0_5_line_44 |  | 36 | 37 | 0.005507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-651_0_5_line_45 |  | 36 | 38 | 0.042746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-651_0_5_line_46 |  | 38 | 42 | 0.031089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-651_0_5_line_47 |  | 38 | 43 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-651_0_5_line_48 |  | 39 | 40 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-651_0_5_line_49 |  | 39 | 41 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-651_0_5_line_50 |  | 40 | 73 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-651_0_5_line_51 |  | 41 | 71 | 0.020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-651_0_5_line_52 |  | 42 | 63 | 0.006417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-651_0_5_line_53 |  | 43 | 74 | 0.024406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-651_0_5_line_54 |  | 44 | 45 | 0.01285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-651_0_5_line_55 |  | 46 | 47 | 0.026372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-651_0_5_line_56 |  | 46 | 48 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-651_0_5_line_57 |  | 47 | 53 | 0.010951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-651_0_5_line_58 |  | 48 | 56 | 0.019085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-651_0_5_line_59 |  | 49 | 75 | 0.032469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-651_0_5_line_60 |  | 50 | 51 | 0.035611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-651_0_5_line_61 |  | 50 | 52 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-651_0_5_line_62 |  | 51 | 76 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-651_0_5_line_63 |  | 52 | 65 | 0.0304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-651_0_5_line_64 |  | 53 | 77 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-651_0_5_line_65 |  | 54 | 55 | 0.019852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-651_0_5_line_66 |  | 54 | 56 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-651_0_5_line_67 |  | 55 | 68 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-651_0_5_line_68 |  | 55 | 57 | 0.020148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-651_0_5_line_69 |  | 57 | 58 | 0.020664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-651_0_5_line_70 |  | 59 | 60 | 0.046491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-651_0_5_line_71 |  | 59 | 61 | 0.022818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-651_0_5_line_72 |  | 59 | 62 | 0.014298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-651_0_5_line_73 |  | 60 | 64 | 0.0090738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-651_0_5_line_74 |  | 60 | 65 | 0.017234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-651_0_5_line_75 |  | 61 | 79 | 0.012992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-651_0_5_line_76 |  | 64 | 80 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-651_0_5_line_77 |  | 66 | 67 | 0.0062205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-651_0_5_line_78 |  | 66 | 68 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-651_0_5_line_79 |  | 72 | 89 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-651_0_5_line_80 |  | 73 | 86 | 0.010521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-651_0_5_line_81 |  | 74 | 85 | 0.02807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-651_0_5_line_82 |  | 75 | 77 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-651_0_5_line_83 |  | 76 | 84 | 0.016993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-651_0_5_line_84 |  | 78 | 79 | 0.018333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-651_0_5_line_85 |  | 82 | 83 | 0.00017382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-651_0_5_line_86 |  | 83 | 84 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_261-651_0_5_line_87 |  | 85 | 86 | 0.003975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-651_0_5_line_88 |  | 85 | 87 | 0.0076919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-651_0_5_line_89 |  | 86 | 88 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_261-651_0_5_line_90 |  | 89 | 90 | 0.002028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-651_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 92 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2680909.2585 | 1246872.0915 | 2680939.7751 | 1246880.9692
1 | 2680901.2798 | 1246869.7703 | 2680909.2585 | 1246872.0915
2 | 2680959.1502 | 1246886.6057 | 2680939.7751 | 1246880.9692
3 | 2680901.2798 | 1246869.7703 | 2680898.6094 | 1246880.008
4 | 2680901.2798 | 1246869.7703 | 2680902.3082 | 1246865.8259 | 2680900.4906 | 1246864.5002 | 2680898.6139 | 1246861.9727 | 2680898.0994 | 1246860.9205 | 2680897.595 | 1246859.1345 | 2680897.4396 | 1246856.1302 | 2680899.4292 | 1246846.517 | 2680900.0258 | 1246839.887 | 2680900.1164 | 1246833.2501 | 2680899.8361 | 1246829.2338
5 | 2680891.3641 | 1246861.8071 | 2680901.2798 | 1246869.7703
6 | 2680982.4977 | 1246895.0304 | 2680973.3267 | 1246890.0683 | 2680967.2908 | 1246888.974 | 2680959.1502 | 1246886.6057
7 | 2680898.6094 | 1246880.008 | 2680905.516 | 1246882.0223
8 | 2680899.8361 | 1246829.2338 | 2680899.6931 | 1246827.1843 | 2680898.9976 | 1246822.2379 | 2680896.8342 | 1246810.8554
9 | 2680883.038 | 1246863.5615 | 2680891.3641 | 1246861.8071
10 | 2680982.4977 | 1246895.0304 | 2680979.0218 | 1246905.057
11 | 2680982.4977 | 1246895.0304 | 2680984.2434 | 1246890.0062 | 2680988.8406 | 1246885.8365
12 | 2680919.0001 | 1246885.9548 | 2680905.516 | 1246882.0223
13 | 2680893.1116 | 1246791.2689 | 2680896.8342 | 1246810.8554
14 | 2680883.038 | 1246863.5615 | 2680873.7262 | 1246860.8353
15 | 2680880.002 | 1246874.5725 | 2680883.038 | 1246863.5615
16 | 2680979.0218 | 1246905.057 | 2680984.787 | 1246912.1409
17 | 2680994.3995 | 1246878.1584 | 2680992.9633 | 1246882.0972 | 2680988.8406 | 1246885.8365
18 | 2680880.002 | 1246874.5725 | 2680855.1203 | 1246867.2639
19 | 2680880.002 | 1246874.5725 | 2680876.4334 | 1246887.1155
20 | 2680841.3979 | 1246863.2332 | 2680855.1203 | 1246867.2639
21 | 2680876.3659 | 1246887.3528 | 2680876.4334 | 1246887.1155
22 | 2680919.0001 | 1246885.9548 | 2680927.8487 | 1246888.5354 | 2680942.0772 | 1246892.6886
23 | 2680889.4543 | 1246772.0267 | 2680893.1116 | 1246791.2689
24 | 2680854.0678 | 1246855.08 | 2680873.7262 | 1246860.8353
25 | 2680890.6184 | 1246799.9868 | 2680894.2862 | 1246819.6356
26 | 2680890.6184 | 1246799.9868 | 2680886.95 | 1246780.3351
27 | 2680984.787 | 1246912.1409 | 2680964.6192 | 1246921.4056 | 2680958.1516 | 1246924.4226
28 | 2680954.6733 | 1246935.5691 | 2680982.5943 | 1246922.2405 | 2680987.8782 | 1246919.7664 | 2680985.9051 | 1246914.9026 | 2680984.787 | 1246912.1409
29 | 2680994.3995 | 1246878.1584 | 2680990.3565 | 1246856.6514
30 | 2680994.3995 | 1246878.1584 | 2681000.3019 | 1246877.4163 | 2681006.3482 | 1246876.6538
31 | 2680988.5192 | 1246846.8775 | 2680982.1811 | 1246813.1553
32 | 2680988.5192 | 1246846.8775 | 2680990.3565 | 1246856.6514
33 | 2680982.1811 | 1246813.1553 | 2680967.4033 | 1246816.0486
34 | 2680977.2792 | 1246787.1027 | 2680982.1811 | 1246813.1553
35 | 2681006.3482 | 1246876.6538 | 2681005.475 | 1246871.7733
36 | 2680977.2792 | 1246787.1027 | 2680960.9367 | 1246790.1129
37 | 2680938.2095 | 1246794.2992 | 2680960.9367 | 1246790.1129
38 | 2680933.7241 | 1246680.0969 | 2680941.6474 | 1246689.6008 | 2680951.5362 | 1246703.4236 | 2680954.2806 | 1246708.3419
39 | 2680933.7241 | 1246680.0969 | 2680913.3894 | 1246698.7664 | 2680903.9374 | 1246706.8245
40 | 2680968.3329 | 1246742.4591 | 2680965.1871 | 1246731.6305 | 2680957.1257 | 1246713.4406 | 2680954.2806 | 1246708.3419
41 | 2680901.5555 | 1246708.8551 | 2680903.9374 | 1246706.8245
42 | 2680968.3329 | 1246742.4591 | 2680968.982 | 1246745.1618
43 | 2680967.4033 | 1246816.0486 | 2680966.0267 | 1246816.3181
44 | 2680857.5654 | 1246681.3591 | 2680853.0128 | 1246684.4771
45 | 2680849.3183 | 1246710.5346 | 2680851.9369 | 1246707.9685 | 2680860.1426 | 1246701.2087 | 2680866.0028 | 1246696.93 | 2680866.8693 | 1246686.5787 | 2680859.7202 | 1246683.4456 | 2680857.5654 | 1246681.3591
46 | 2680826.4358 | 1246700.5711 | 2680833.5895 | 1246695.0646 | 2680841.7368 | 1246703.1037 | 2680849.3183 | 1246710.5346
47 | 2680849.3183 | 1246710.5346 | 2680858.0143 | 1246719.3374 | 2680863.5085 | 1246725.788
48 | 2680873.4529 | 1246732.8132 | 2680879.0484 | 1246741.8406 | 2680880.6562 | 1246745.1575
49 | 2680873.4529 | 1246732.8132 | 2680886.1874 | 1246721.9568
50 | 2680887.2756 | 1246761.7339 | 2680883.861 | 1246751.769 | 2680880.6562 | 1246745.1575
51 | 2680901.5555 | 1246708.8551 | 2680886.1874 | 1246721.9568
52 | 2680826.4358 | 1246700.5711 | 2680824.795 | 1246706.7755
53 | 2680876.6379 | 1246746.2787 | 2680875.2277 | 1246743.3673 | 2680870.2598 | 1246734.849 | 2680865.747 | 1246728.4161 | 2680863.5085 | 1246725.788
54 | 2680954.6733 | 1246935.5691 | 2680954.1725 | 1246948.4095
55 | 2680867.4958 | 1246978.4 | 2680876.3589 | 1246971.0488 | 2680884.1063 | 1246965.1835 | 2680888.2052 | 1246962.0816
56 | 2680867.4958 | 1246978.4 | 2680859.025 | 1246972.5024 | 2680857.3523 | 1246971.0176
57 | 2680888.2052 | 1246962.0816 | 2680897.3844 | 1246956.1094
58 | 2680857.3523 | 1246971.0176 | 2680845.5903 | 1246960.5772 | 2680844.674 | 1246957.974 | 2680844.218 | 1246957.5865
59 | 2680928.8267 | 1246938.3583 | 2680938.0102 | 1246933.8182 | 2680958.1516 | 1246924.4226
60 | 2680744.3355 | 1246816.9266 | 2680742.0881 | 1246816.0954 | 2680755.9385 | 1246785.9064
61 | 2680744.3355 | 1246816.9266 | 2680755.7471 | 1246820.8341
62 | 2680755.9385 | 1246785.9064 | 2680770.3085 | 1246789.9678
63 | 2680755.7471 | 1246820.8341 | 2680784.5078 | 1246830.6824
64 | 2680897.3844 | 1246956.1094 | 2680905.8649 | 1246950.5918 | 2680912.6562 | 1246946.7797
65 | 2680833.622 | 1246948.5831 | 2680846.0336 | 1246933.0632
66 | 2680833.622 | 1246948.5831 | 2680844.218 | 1246957.5865
67 | 2680846.0336 | 1246933.0632 | 2680836.8956 | 1246927.9463
68 | 2680862.4702 | 1246944.7847 | 2680846.0336 | 1246933.0632
69 | 2680862.4702 | 1246944.7847 | 2680866.4401 | 1246940.6136 | 2680872.8003 | 1246927.1331
70 | 2680800.8122 | 1246836.2653 | 2680799.7183 | 1246840.0309 | 2680798.7194 | 1246843.4865 | 2680796.9433 | 1246850.2005 | 2680827.6796 | 1246859.2036
71 | 2680827.6796 | 1246859.2036 | 2680820.0887 | 1246880.727
72 | 2680827.6796 | 1246859.2036 | 2680841.3979 | 1246863.2332
73 | 2680800.8122 | 1246836.2653 | 2680803.4836 | 1246837.0245 | 2680806.694 | 1246836.4789 | 2680809.6453 | 1246837.2086
74 | 2680800.8122 | 1246836.2653 | 2680784.5078 | 1246830.6824
75 | 2680820.0887 | 1246880.727 | 2680809.0563 | 1246877.0852 | 2680809.4821 | 1246875.7789
76 | 2680809.6453 | 1246837.2086 | 2680814.6371 | 1246838.433 | 2680817.4437 | 1246839.2496 | 2680818.3738 | 1246841.9532 | 2680824.8545 | 1246843.8365
77 | 2680821.9975 | 1246920.7933 | 2680824.4148 | 1246915.2556 | 2680824.2455 | 1246915.2
78 | 2680821.9975 | 1246920.7933 | 2680830.2602 | 1246924.2307 | 2680836.8956 | 1246927.9463
79 | 2680943.2306 | 1246820.7813 | 2680966.0267 | 1246816.3181
80 | 2680889.4543 | 1246772.0267 | 2680887.2756 | 1246761.7339
81 | 2680885.5385 | 1246772.7738 | 2680883.9964 | 1246765.1028 | 2680881.7457 | 1246757.8668 | 2680878.3724 | 1246749.8594 | 2680876.6379 | 1246746.2787
82 | 2680928.8267 | 1246938.3583 | 2680919.0345 | 1246943.1994 | 2680912.6562 | 1246946.7797
83 | 2680786.6608 | 1246794.5895 | 2680770.3085 | 1246789.9678
84 | 2680809.4821 | 1246875.7789 | 2680792.1118 | 1246869.9158
85 | 2680803.1223 | 1246799.242 | 2680802.955 | 1246799.1947
86 | 2680786.6608 | 1246794.5895 | 2680802.955 | 1246799.1947
87 | 2680885.5385 | 1246772.7738 | 2680889.4543 | 1246772.0267
88 | 2680885.5385 | 1246772.7738 | 2680886.95 | 1246780.3351
89 | 2680909.2601 | 1246768.283 | 2680889.4543 | 1246772.0267
90 | 2680943.2306 | 1246820.7813 | 2680941.2404 | 1246821.1709

## bus_geodata
| x | y | coords
0 | 2680909.2585 | 1246872.0915
1 | 2680939.7751 | 1246880.9692
2 | 2680901.2798 | 1246869.7703
3 | 2680959.1502 | 1246886.6057
4 | 2680898.6094 | 1246880.008
5 | 2680899.8361 | 1246829.2338
6 | 2680891.3641 | 1246861.8071
7 | 2680982.4977 | 1246895.0304
8 | 2680905.516 | 1246882.0223
9 | 2680896.8342 | 1246810.8554
10 | 2680883.038 | 1246863.5615
11 | 2680979.0218 | 1246905.057
12 | 2680988.8406 | 1246885.8365
13 | 2680880.002 | 1246874.5725
14 | 2680855.1203 | 1246867.2639
15 | 2680876.4335 | 1246887.1155
16 | 2680919.0001 | 1246885.9548
17 | 2680893.1116 | 1246791.2689
18 | 2680873.7262 | 1246860.8353
19 | 2680894.2862 | 1246819.6356
20 | 2680890.6184 | 1246799.9868
21 | 2680984.787 | 1246912.1409
22 | 2680994.3995 | 1246878.1584
23 | 2680988.5192 | 1246846.8775
24 | 2680982.1811 | 1246813.1553
25 | 2680990.3565 | 1246856.6514
26 | 2681006.3482 | 1246876.6538
27 | 2681005.475 | 1246871.7733
28 | 2680977.2792 | 1246787.1027
29 | 2680960.9367 | 1246790.1129
30 | 2680933.7241 | 1246680.0969
31 | 2680954.2806 | 1246708.3419
32 | 2680903.9374 | 1246706.8245
33 | 2680968.3329 | 1246742.4591
34 | 2680968.982 | 1246745.1618
35 | 2680967.4033 | 1246816.0486
36 | 2680857.5654 | 1246681.3591
37 | 2680853.0128 | 1246684.4771
38 | 2680849.3183 | 1246710.5346
39 | 2680873.4529 | 1246732.8132
40 | 2680880.6562 | 1246745.1575
41 | 2680886.1874 | 1246721.9568
42 | 2680826.4358 | 1246700.5711
43 | 2680863.5085 | 1246725.788
44 | 2680954.6733 | 1246935.5691
45 | 2680954.1725 | 1246948.4095
46 | 2680867.4958 | 1246978.4
47 | 2680888.2052 | 1246962.0816
48 | 2680857.3523 | 1246971.0176
49 | 2680958.1516 | 1246924.4226
50 | 2680744.3355 | 1246816.9266
51 | 2680755.9385 | 1246785.9064
52 | 2680755.7471 | 1246820.8341
53 | 2680897.3844 | 1246956.1094
54 | 2680833.622 | 1246948.5831
55 | 2680846.0336 | 1246933.0632
56 | 2680844.218 | 1246957.5865
57 | 2680862.4702 | 1246944.7847
58 | 2680872.8003 | 1246927.1331
59 | 2680827.6796 | 1246859.2036
60 | 2680800.8122 | 1246836.2653
61 | 2680820.0887 | 1246880.727
62 | 2680841.3979 | 1246863.2332
63 | 2680824.795 | 1246706.7755
64 | 2680809.6453 | 1246837.2086
65 | 2680784.5078 | 1246830.6824
66 | 2680821.9975 | 1246920.7933
67 | 2680824.2455 | 1246915.2
68 | 2680836.8956 | 1246927.9463
69 | 2680942.0772 | 1246892.6886
70 | 2680938.2095 | 1246794.2992
71 | 2680901.5555 | 1246708.8551
72 | 2680966.0267 | 1246816.3181
73 | 2680887.2756 | 1246761.7339
74 | 2680876.6379 | 1246746.2787
75 | 2680928.8267 | 1246938.3583
76 | 2680770.3085 | 1246789.9678
77 | 2680912.6562 | 1246946.7797
78 | 2680792.1118 | 1246869.9158
79 | 2680809.4821 | 1246875.7789
80 | 2680824.8545 | 1246843.8365
81 | 2680854.0678 | 1246855.08
82 | 2680803.1223 | 1246799.242
83 | 2680802.955 | 1246799.1947
84 | 2680786.6608 | 1246794.5895
85 | 2680885.5385 | 1246772.7738
86 | 2680889.4543 | 1246772.0267
87 | 2680886.95 | 1246780.3351
88 | 2680909.2601 | 1246768.283
89 | 2680943.2306 | 1246820.7813
90 | 2680941.2404 | 1246821.1709
91 | 2680876.3659 | 1246887.3529
92 | 2680901.2798 | 1246869.7703

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99481 | -0.09872 | 0.0081964 | 0.0020542
1 | 0.99268 | -0.13946 | 0.0082433 | 0.002066
2 | 0.99539 | -0.087698 | 0 | 0
3 | 0.99138 | -0.16443 | 0.0081215 | 0.0020354
4 | 0.99522 | -0.090953 | 0 | 0
5 | 1 | 0 | -0.50247 | -0.12769
6 | 0.99412 | -0.11202 | 0 | 0
7 | 0.98906 | -0.20928 | 0 | 0
8 | 0.99511 | -0.093167 | 0.0057293 | 0.0014359
9 | 0.99878 | -0.02324 | 0.0080094 | 0.0020074
10 | 0.99327 | -0.1283 | 0 | 0
11 | 0.98823 | -0.22516 | 0 | 0
12 | 0.98781 | -0.23345 | 0.0067975 | 0.0017036
13 | 0.99228 | -0.14727 | 0 | 0
14 | 0.99029 | -0.18564 | 0.0051849 | 0.0012994
15 | 0.99216 | -0.14969 | 0.0051635 | 0.0012941
16 | 0.99495 | -0.096074 | 0.0057885 | 0.0014507
17 | 0.99632 | -0.070353 | 0.0057735 | 0.001447
18 | 0.99314 | -0.13085 | 0.0075404 | 0.0018898
19 | 0.99313 | -0.13193 | 0.0072491 | 0.0018168
20 | 0.99326 | -0.12937 | 0.0094982 | 0.0023805
21 | 0.98752 | -0.23884 | 0 | 0
22 | 0.98681 | -0.25277 | 0 | 0
23 | 0.98517 | -0.2847 | 0 | 0
24 | 0.98357 | -0.31592 | 0 | 0
25 | 0.98563 | -0.27567 | 0.0078129 | 0.0019581
26 | 0.98623 | -0.26407 | 0 | 0
27 | 0.98599 | -0.26872 | 0.052366 | 0.013124
28 | 0.98329 | -0.32129 | 0 | 0
29 | 0.98312 | -0.32466 | 0.0056215 | 0.0014089
30 | 0.99112 | -0.17076 | 0 | 0
31 | 0.99087 | -0.17573 | 0.0028487 | 0.00071395
32 | 0.99142 | -0.16509 | 0.009345 | 0.0023421
33 | 0.99069 | -0.17911 | 0 | 0
34 | 0.99068 | -0.17936 | 0.0051395 | 0.0012881
35 | 0.98302 | -0.32659 | 0.010716 | 0.0026857
36 | 0.99089 | -0.17531 | 0 | 0
37 | 0.99083 | -0.17638 | 0.010927 | 0.0027387
38 | 0.99132 | -0.16703 | 0 | 0
39 | 0.99241 | -0.14595 | 0 | 0
40 | 0.99284 | -0.1376 | 0.0089875 | 0.0022525
41 | 0.9919 | -0.15572 | 0.0094794 | 0.0023758
42 | 0.99089 | -0.17521 | 0 | 0
43 | 0.99181 | -0.1575 | 0.0096441 | 0.002417
44 | 0.98704 | -0.24825 | 0 | 0
45 | 0.9869 | -0.25094 | 0.01169 | 0.0029297
46 | 0.98055 | -0.37455 | 0 | 0
47 | 0.98151 | -0.3557 | 0 | 0
48 | 0.98009 | -0.38354 | 0.0075798 | 0.0018997
49 | 0.98557 | -0.2768 | 0.0082074 | 0.002057
50 | 0.98361 | -0.31532 | 0 | 0
51 | 0.98262 | -0.33466 | 0 | 0
52 | 0.98394 | -0.30877 | 0.0050807 | 0.0012733
53 | 0.98191 | -0.34789 | 0.0080881 | 0.0020271
54 | 0.97921 | -0.40073 | 0 | 0
55 | 0.97877 | -0.40951 | 0 | 0
56 | 0.97953 | -0.39459 | 0.0075731 | 0.001898
57 | 0.97859 | -0.41289 | 0 | 0
58 | 0.97842 | -0.41636 | 0.0092212 | 0.0023111
59 | 0.9883 | -0.22413 | 0 | 0
60 | 0.9857 | -0.27465 | 0 | 0
61 | 0.98805 | -0.22907 | 0 | 0
62 | 0.98926 | -0.20555 | 0.0053617 | 0.0013438
63 | 0.99081 | -0.1769 | 0.014838 | 0.0037188
64 | 0.98559 | -0.27671 | 0 | 0
65 | 0.98493 | -0.28952 | 0.012877 | 0.0032273
66 | 0.9785 | -0.41467 | 0 | 0
67 | 0.97846 | -0.41553 | 0.0075806 | 0.0018999
68 | 0.97862 | -0.41238 | 0.0075065 | 0.0018813
69 | 0.99482 | -0.0986 | 0.0059665 | 0.0014953
70 | 0.983 | -0.32701 | 0.005632 | 0.0014115
71 | 0.99147 | -0.16413 | 0.0061629 | 0.0015446
72 | 0.98299 | -0.32731 | 0.0089534 | 0.0022439
73 | 0.99352 | -0.12434 | 0.0090333 | 0.002264
74 | 0.9926 | -0.1422 | 0.0095949 | 0.0024047
75 | 0.98364 | -0.31419 | 0.0083547 | 0.0020939
76 | 0.9822 | -0.34279 | 0.00906 | 0.0022706
77 | 0.9827 | -0.33251 | 0.0081429 | 0.0020408
78 | 0.98781 | -0.23356 | 0.0051065 | 0.0012798
79 | 0.9879 | -0.23189 | 0.0070314 | 0.0017622
80 | 0.98538 | -0.28072 | 0.012651 | 0.0031706
81 | 0.993 | -0.1335 | 0.0073105 | 0.0018322
82 | 0.98166 | -0.35335 | 0.0026784 | 0.00067126
83 | 0.98166 | -0.35334 | 0.010662 | 0.0026721
84 | 0.98187 | -0.34926 | 0.0077223 | 0.0019354
85 | 0.99375 | -0.11988 | 0 | 0
86 | 0.99401 | -0.11487 | 0 | 0
87 | 0.99357 | -0.12346 | 0.0096267 | 0.0024127
88 | 0.99389 | -0.11726 | 0.0067521 | 0.0016922
89 | 0.98256 | -0.33555 | 0.0089151 | 0.0022343
90 | 0.98254 | -0.33594 | 0.010735 | 0.0026903
91 | 0.99216 | -0.14971 | 0.0053076 | 0.0013302
92 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.22002 | 0.055973 | -0.21959 | -0.055699 | 0.00043104 | 0.00027463 | 0.32939 | 0.32939 | 0.32939 | 0.99481 | -0.09872 | 0.99268 | -0.13946 | 30.1643
1 | -0.22821 | -0.058027 | 0.22834 | 0.058105 | 0.00012124 | 7.7271e-05 | 0.34165 | 0.34165 | 0.34165 | 0.99481 | -0.09872 | 0.99539 | -0.087698 | 31.287
2 | 0.21134 | 0.053633 | -0.21109 | -0.053471 | 0.00025352 | 0.00016147 | 0.31704 | 0.31704 | 0.31704 | 0.99268 | -0.13946 | 0.99138 | -0.16443 | 29.0328
3 | 0.017491 | 0.0043857 | -0.017489 | -0.0043841 | 2.7128e-06 | 1.5987e-06 | 0.026149 | 0.026149 | 0.026149 | 0.99539 | -0.087698 | 0.99522 | -0.090953 | 7.1837
4 | -0.35544 | -0.0903 | 0.35695 | 0.091263 | 0.0015075 | 0.00096316 | 0.53179 | 0.53179 | 0.53179 | 0.99539 | -0.087698 | 1 | 0 | 48.6985
5 | 0.10962 | 0.027809 | -0.10949 | -0.027728 | 0.00012802 | 8.1768e-05 | 0.16399 | 0.16399 | 0.16399 | 0.99539 | -0.087698 | 0.99412 | -0.11202 | 45.051
6 | 0.20297 | 0.051436 | -0.20253 | -0.051157 | 0.00043631 | 0.0002786 | 0.30485 | 0.30485 | 0.30485 | 0.99138 | -0.16443 | 0.98906 | -0.20928 | 41.8747
7 | 0.017489 | 0.0043841 | -0.017487 | -0.004383 | 1.8447e-06 | 1.0871e-06 | 0.026149 | 0.026149 | 0.026149 | 0.99522 | -0.090953 | 0.99511 | -0.093167 | 7.1837
8 | 0.14387 | 0.036425 | -0.14371 | -0.036323 | 0.00016034 | 0.00010213 | 0.21421 | 0.21421 | 0.21421 | 1 | 0 | 0.99878 | -0.02324 | 29.4247
9 | 0.10949 | 0.027728 | -0.1094 | -0.027673 | 8.5565e-05 | 5.4652e-05 | 0.16399 | 0.16399 | 0.16399 | 0.99412 | -0.11202 | 0.99327 | -0.1283 | 45.051
10 | 0.084509 | 0.021396 | -0.084445 | -0.021355 | 6.4395e-05 | 4.1077e-05 | 0.12722 | 0.12722 | 0.12722 | 0.98906 | -0.20928 | 0.98823 | -0.22516 | 34.9504
11 | 0.11802 | 0.029761 | -0.11789 | -0.029674 | 0.00013637 | 8.7128e-05 | 0.17763 | 0.17763 | 0.17763 | 0.98906 | -0.20928 | 0.98781 | -0.23345 | 48.7992
12 | 0.011757 | 0.0029471 | -0.011756 | -0.0029462 | 1.6281e-06 | 8.5956e-07 | 0.017581 | 0.017581 | 0.017581 | 0.99511 | -0.093167 | 0.99495 | -0.096074 | 4.8301
13 | 0.1357 | 0.034315 | -0.13539 | -0.03412 | 0.00030591 | 0.00019552 | 0.20228 | 0.20228 | 0.20228 | 0.99878 | -0.02324 | 0.99632 | -0.070353 | 55.5712
14 | 0.014854 | 0.0037233 | -0.014852 | -0.0037223 | 1.8017e-06 | 1.0275e-06 | 0.022252 | 0.022252 | 0.022252 | 0.99327 | -0.1283 | 0.99314 | -0.13085 | 6.1133
15 | 0.094549 | 0.02395 | -0.094463 | -0.023895 | 8.6036e-05 | 5.4915e-05 | 0.14173 | 0.14173 | 0.14173 | 0.99327 | -0.1283 | 0.99228 | -0.14727 | 38.9378
16 | 0.084445 | 0.021355 | -0.084389 | -0.021319 | 5.537e-05 | 3.532e-05 | 0.12722 | 0.12722 | 0.12722 | 0.98823 | -0.22516 | 0.98752 | -0.23884 | 34.9504
17 | 0.11109 | 0.027971 | -0.11099 | -0.027905 | 0.00010253 | 6.5496e-05 | 0.16739 | 0.16739 | 0.16739 | 0.98781 | -0.23345 | 0.98681 | -0.25277 | 45.9861
18 | 0.083991 | 0.02127 | -0.083836 | -0.021171 | 0.00015446 | 9.8522e-05 | 0.12603 | 0.12603 | 0.12603 | 0.99228 | -0.14727 | 0.99029 | -0.18564 | 34.6234
19 | 0.010472 | 0.0026249 | -0.010471 | -0.0026243 | 1.2061e-06 | 6.0345e-07 | 0.015704 | 0.015704 | 0.015704 | 0.99228 | -0.14727 | 0.99216 | -0.14969 | 4.3144
20 | 0.078651 | 0.019872 | -0.078576 | -0.019824 | 7.4981e-05 | 4.7804e-05 | 0.11824 | 0.11824 | 0.11824 | 0.99029 | -0.18564 | 0.98926 | -0.20555 | 32.4831
21 | 0.0053077 | 0.0013302 | -0.0053076 | -0.0013302 | 5.8647e-09 | 5.664e-10 | 0.0079603 | 0.0079603 | 0.0079603 | 0.99216 | -0.14969 | 0.99216 | -0.14971 | 2.1869
22 | 0.0059672 | 0.0014955 | -0.0059665 | -0.0014953 | 7.1799e-07 | 1.4735e-07 | 0.0089244 | 0.0089245 | 0.0089245 | 0.99495 | -0.096074 | 0.99482 | -0.0986 | 2.4518
23 | 0.12962 | 0.032673 | -0.12935 | -0.032497 | 0.00027546 | 0.00017604 | 0.19366 | 0.19366 | 0.19366 | 0.99632 | -0.070353 | 0.99401 | -0.11487 | 53.2023
24 | 0.0073114 | 0.0018325 | -0.0073105 | -0.0018322 | 9.2181e-07 | 3.2494e-07 | 0.010955 | 0.010955 | 0.010955 | 0.99314 | -0.13085 | 0.993 | -0.1335 | 3.0096
25 | -0.0072491 | -0.0018168 | 0.00725 | 0.0018171 | 8.8425e-07 | 3.0724e-07 | 0.010861 | 0.010861 | 0.010861 | 0.99313 | -0.13193 | 0.99326 | -0.12937 | 2.9839
26 | -0.016748 | -0.0041976 | 0.016753 | 0.0042003 | 4.7195e-06 | 2.7616e-06 | 0.025091 | 0.025091 | 0.025091 | 0.99326 | -0.12937 | 0.99357 | -0.12346 | 6.893
27 | 0.072693 | 0.018386 | -0.072561 | -0.018302 | 0.00013211 | 8.4175e-05 | 0.10959 | 0.10959 | 0.10959 | 0.98752 | -0.23884 | 0.98557 | -0.2768 | 30.1085
28 | 0.011696 | 0.0029333 | -0.011691 | -0.0029305 | 5.2422e-06 | 2.7796e-06 | 0.017625 | 0.017625 | 0.017625 | 0.98752 | -0.23884 | 0.98704 | -0.24825 | 4.842
29 | 0.058581 | 0.014756 | -0.058517 | -0.014715 | 6.4073e-05 | 4.0727e-05 | 0.088361 | 0.088361 | 0.088361 | 0.98681 | -0.25277 | 0.98563 | -0.27567 | 24.2749
30 | 0.052406 | 0.013149 | -0.052378 | -0.013132 | 2.8206e-05 | 1.7898e-05 | 0.079029 | 0.079029 | 0.079029 | 0.98681 | -0.25277 | 0.98623 | -0.26407 | 21.7112
31 | 0.050682 | 0.012743 | -0.050607 | -0.012695 | 7.5433e-05 | 4.7841e-05 | 0.076566 | 0.076566 | 0.076566 | 0.98517 | -0.2847 | 0.98357 | -0.31592 | 21.0346
32 | -0.050682 | -0.012743 | 0.050704 | 0.012757 | 2.1863e-05 | 1.3865e-05 | 0.076566 | 0.076566 | 0.076566 | 0.98517 | -0.2847 | 0.98563 | -0.27567 | 21.0345
33 | 0.039348 | 0.0098722 | -0.039328 | -0.0098596 | 2.0013e-05 | 1.2617e-05 | 0.059532 | 0.059532 | 0.059532 | 0.98357 | -0.31592 | 0.98302 | -0.32659 | 16.355
34 | 0.011259 | 0.002823 | -0.011256 | -0.0028215 | 2.8844e-06 | 1.5097e-06 | 0.017034 | 0.017034 | 0.017034 | 0.98357 | -0.31592 | 0.98329 | -0.32129 | 4.6796
35 | 0.052378 | 0.013132 | -0.052366 | -0.013124 | 1.1612e-05 | 7.3685e-06 | 0.079029 | 0.079029 | 0.079029 | 0.98623 | -0.26407 | 0.98599 | -0.26872 | 21.7112
36 | 0.011256 | 0.0028215 | -0.011254 | -0.0028205 | 1.8081e-06 | 9.4643e-07 | 0.017034 | 0.017034 | 0.017034 | 0.98329 | -0.32129 | 0.98312 | -0.32466 | 4.6796
37 | 0.0056327 | 0.0014116 | -0.005632 | -0.0014115 | 6.2987e-07 | 1.1012e-07 | 0.0085254 | 0.0085255 | 0.0085255 | 0.98312 | -0.32466 | 0.983 | -0.32701 | 2.3422
38 | 0.007991 | 0.0020028 | -0.0079891 | -0.0020021 | 1.8892e-06 | 7.5814e-07 | 0.011997 | 0.011997 | 0.011997 | 0.99112 | -0.17076 | 0.99087 | -0.17573 | 3.296
39 | -0.007991 | -0.0020028 | 0.0079931 | 0.0020037 | 2.1604e-06 | 8.6665e-07 | 0.011997 | 0.011997 | 0.011997 | 0.99112 | -0.17076 | 0.99142 | -0.16509 | 3.2959
40 | 0.0051404 | 0.0012881 | -0.0051396 | -0.0012881 | 8.2707e-07 | 5.2675e-08 | 0.0077194 | 0.0077196 | 0.0077196 | 0.99087 | -0.17573 | 0.99069 | -0.17911 | 2.1208
41 | -0.017338 | -0.0043458 | 0.017339 | 0.0043463 | 7.9484e-07 | 4.6834e-07 | 0.026023 | 0.026023 | 0.026023 | 0.99142 | -0.16509 | 0.99147 | -0.16413 | 7.1492
42 | 0.0051396 | 0.0012881 | -0.0051395 | -0.0012881 | 6.2114e-08 | 3.9636e-09 | 0.0077196 | 0.0077196 | 0.0077196 | 0.99069 | -0.17911 | 0.99068 | -0.17936 | 2.1208
43 | 0.028612 | 0.007174 | -0.028611 | -0.0071733 | 9.8676e-07 | 6.1374e-07 | 0.043311 | 0.043311 | 0.043311 | 0.98302 | -0.32659 | 0.98299 | -0.32731 | 11.8987
44 | 0.010928 | 0.002739 | -0.010927 | -0.0027387 | 5.5615e-07 | 2.85e-07 | 0.016411 | 0.016411 | 0.016411 | 0.99089 | -0.17531 | 0.99083 | -0.17638 | 4.5084
45 | -0.010928 | -0.002739 | 0.010932 | 0.0027412 | 4.3169e-06 | 2.2119e-06 | 0.016411 | 0.01641 | 0.016411 | 0.99089 | -0.17531 | 0.99132 | -0.16703 | 4.5084
46 | 0.014845 | 0.0037228 | -0.01484 | -0.0037195 | 5.7896e-06 | 3.3047e-06 | 0.022284 | 0.022285 | 0.022285 | 0.99132 | -0.16703 | 0.99089 | -0.17521 | 6.1221
47 | -0.025778 | -0.006464 | 0.025789 | 0.0064712 | 1.1705e-05 | 7.2224e-06 | 0.038695 | 0.038695 | 0.038695 | 0.99132 | -0.16703 | 0.99181 | -0.1575 | 10.6304
48 | -0.033006 | -0.008282 | 0.033019 | 0.0082902 | 1.3142e-05 | 8.2259e-06 | 0.049493 | 0.049493 | 0.049493 | 0.99241 | -0.14595 | 0.99284 | -0.1376 | 13.597
49 | 0.033006 | 0.008282 | -0.032991 | -0.0082724 | 1.5372e-05 | 9.6217e-06 | 0.049493 | 0.049493 | 0.049493 | 0.99241 | -0.14595 | 0.9919 | -0.15572 | 13.597
50 | -0.042007 | -0.010543 | 0.042033 | 0.010559 | 2.6582e-05 | 1.6781e-05 | 0.062963 | 0.062963 | 0.062963 | 0.99284 | -0.1376 | 0.99352 | -0.12434 | 17.2975
51 | 0.023511 | 0.0058966 | -0.023502 | -0.0058908 | 9.4219e-06 | 5.7695e-06 | 0.035272 | 0.035272 | 0.035272 | 0.9919 | -0.15572 | 0.99147 | -0.16413 | 9.6902
52 | 0.01484 | 0.0037195 | -0.014838 | -0.0037188 | 1.195e-06 | 6.8215e-07 | 0.022285 | 0.022285 | 0.022285 | 0.99089 | -0.17521 | 0.99081 | -0.1769 | 6.1221
53 | -0.035433 | -0.0088883 | 0.035459 | 0.0089045 | 2.5868e-05 | 1.624e-05 | 0.053164 | 0.053164 | 0.053164 | 0.99181 | -0.1575 | 0.9926 | -0.1422 | 14.6054
54 | 0.011691 | 0.0029305 | -0.01169 | -0.0029297 | 1.4969e-06 | 7.9381e-07 | 0.017625 | 0.017625 | 0.017625 | 0.98704 | -0.24825 | 0.9869 | -0.25094 | 4.8421
55 | -0.039518 | -0.0099248 | 0.039554 | 0.0099472 | 3.5577e-05 | 2.2436e-05 | 0.059978 | 0.059978 | 0.059978 | 0.98055 | -0.37455 | 0.98151 | -0.3557 | 16.4774
56 | 0.039518 | 0.0099248 | -0.039501 | -0.0099141 | 1.6941e-05 | 1.0684e-05 | 0.059978 | 0.059978 | 0.059978 | 0.98055 | -0.37455 | 0.98009 | -0.38354 | 16.4775
57 | -0.039554 | -0.0099472 | 0.039569 | 0.0099566 | 1.4773e-05 | 9.3162e-06 | 0.059978 | 0.059978 | 0.059978 | 0.98151 | -0.3557 | 0.98191 | -0.34789 | 16.4774
58 | 0.031922 | 0.0080144 | -0.031905 | -0.0080039 | 1.6814e-05 | 1.0521e-05 | 0.04847 | 0.04847 | 0.04847 | 0.98009 | -0.38354 | 0.97953 | -0.39459 | 13.316
59 | 0.064354 | 0.016245 | -0.064239 | -0.016172 | 0.00011505 | 7.3216e-05 | 0.097203 | 0.097203 | 0.097203 | 0.98557 | -0.2768 | 0.98364 | -0.31419 | 26.7042
60 | 0.030171 | 0.0075795 | -0.030143 | -0.0075621 | 2.7829e-05 | 1.7359e-05 | 0.04565 | 0.04565 | 0.04565 | 0.98361 | -0.31532 | 0.98262 | -0.33466 | 12.5412
61 | -0.030171 | -0.0075795 | 0.030181 | 0.0075853 | 9.4261e-06 | 5.8795e-06 | 0.04565 | 0.04565 | 0.04565 | 0.98361 | -0.31532 | 0.98394 | -0.30877 | 12.5411
62 | 0.030143 | 0.0075621 | -0.030132 | -0.0075548 | 1.167e-05 | 7.2795e-06 | 0.04565 | 0.04565 | 0.04565 | 0.98262 | -0.33466 | 0.9822 | -0.34279 | 12.5412
63 | -0.035261 | -0.0088587 | 0.035294 | 0.008879 | 3.2426e-05 | 2.0366e-05 | 0.053333 | 0.053333 | 0.053333 | 0.98394 | -0.30877 | 0.98493 | -0.28952 | 14.652
64 | -0.047657 | -0.011984 | 0.047692 | 0.012006 | 3.5036e-05 | 2.2196e-05 | 0.072235 | 0.072235 | 0.072235 | 0.98191 | -0.34789 | 0.9827 | -0.33251 | 19.8447
65 | 0.024325 | 0.0061015 | -0.024315 | -0.0060953 | 1.0173e-05 | 6.2609e-06 | 0.036966 | 0.036966 | 0.036966 | 0.97921 | -0.40073 | 0.97877 | -0.40951 | 10.1554
66 | -0.024325 | -0.0061015 | 0.024332 | 0.0061059 | 7.125e-06 | 4.385e-06 | 0.036966 | 0.036966 | 0.036966 | 0.97921 | -0.40073 | 0.97953 | -0.39459 | 10.1554
67 | 0.01509 | 0.0037828 | -0.015088 | -0.0037816 | 2.0671e-06 | 1.1914e-06 | 0.022942 | 0.022942 | 0.022942 | 0.97877 | -0.40951 | 0.97862 | -0.41238 | 6.3028
68 | 0.0092242 | 0.0023125 | -0.0092228 | -0.0023118 | 1.4859e-06 | 6.9782e-07 | 0.014024 | 0.014024 | 0.014024 | 0.97877 | -0.40951 | 0.97859 | -0.41289 | 3.8527
69 | 0.0092228 | 0.0023118 | -0.0092212 | -0.0023111 | 1.524e-06 | 7.158e-07 | 0.014024 | 0.014024 | 0.014024 | 0.97859 | -0.41289 | 0.97842 | -0.41636 | 3.8528
70 | 0.061007 | 0.015394 | -0.060859 | -0.015301 | 0.00014721 | 9.3622e-05 | 0.091891 | 0.091891 | 0.091891 | 0.9883 | -0.22413 | 0.9857 | -0.27465 | 25.2448
71 | 0.012143 | 0.0030445 | -0.01214 | -0.0030429 | 2.8603e-06 | 1.5383e-06 | 0.018283 | 0.018283 | 0.018283 | 0.9883 | -0.22413 | 0.98805 | -0.22907 | 5.0228
72 | -0.073149 | -0.018439 | 0.073214 | 0.01848 | 6.5082e-05 | 4.1469e-05 | 0.11017 | 0.11017 | 0.11017 | 0.9883 | -0.22413 | 0.98926 | -0.20555 | 30.2675
73 | 0.012654 | 0.0031726 | -0.012653 | -0.0031719 | 1.2418e-06 | 6.7911e-07 | 0.019104 | 0.019104 | 0.019104 | 0.9857 | -0.27465 | 0.98559 | -0.27671 | 5.2483
74 | 0.048205 | 0.012128 | -0.048171 | -0.012106 | 3.4239e-05 | 2.1693e-05 | 0.072787 | 0.072787 | 0.072787 | 0.9857 | -0.27465 | 0.98493 | -0.28952 | 19.9965
75 | 0.01214 | 0.0030429 | -0.012138 | -0.0030421 | 1.6286e-06 | 8.7591e-07 | 0.018283 | 0.018283 | 0.018283 | 0.98805 | -0.22907 | 0.9879 | -0.23189 | 5.0229
76 | 0.012653 | 0.0031719 | -0.012651 | -0.0031706 | 2.4184e-06 | 1.3226e-06 | 0.019104 | 0.019104 | 0.019104 | 0.98559 | -0.27671 | 0.98538 | -0.28072 | 5.2483
77 | 0.0075809 | 0.0019 | -0.0075806 | -0.0018999 | 3.1002e-07 | 1.2028e-07 | 0.011528 | 0.011528 | 0.011528 | 0.9785 | -0.41467 | 0.97846 | -0.41553 | 3.1671
78 | -0.0075809 | -0.0019 | 0.0075817 | 0.0019003 | 8.2502e-07 | 3.2005e-07 | 0.011528 | 0.011528 | 0.011528 | 0.9785 | -0.41467 | 0.97862 | -0.41238 | 3.1671
79 | 0.019658 | 0.0049294 | -0.01965 | -0.0049248 | 7.7139e-06 | 4.6425e-06 | 0.029758 | 0.029758 | 0.029758 | 0.98299 | -0.32731 | 0.98256 | -0.33555 | 8.1753
80 | -0.051067 | -0.012823 | 0.05109 | 0.012838 | 2.3084e-05 | 1.4638e-05 | 0.076492 | 0.076492 | 0.076492 | 0.99352 | -0.12434 | 0.99401 | -0.11487 | 21.0143
81 | -0.045054 | -0.011309 | 0.045102 | 0.01134 | 4.8028e-05 | 3.0374e-05 | 0.067547 | 0.067547 | 0.067547 | 0.9926 | -0.1422 | 0.99375 | -0.11988 | 18.557
82 | 0.055884 | 0.014078 | -0.055835 | -0.014047 | 4.8909e-05 | 3.107e-05 | 0.084565 | 0.084565 | 0.084565 | 0.98364 | -0.31419 | 0.9827 | -0.33251 | 23.2321
83 | 0.021072 | 0.0052842 | -0.021065 | -0.0052802 | 6.4944e-06 | 3.9414e-06 | 0.031924 | 0.031924 | 0.031924 | 0.9822 | -0.34279 | 0.98187 | -0.34926 | 8.7704
84 | -0.0051065 | -0.0012798 | 0.0051069 | 0.0012798 | 4.0679e-07 | 2.5634e-08 | 0.0076923 | 0.0076922 | 0.0076923 | 0.98781 | -0.23356 | 0.9879 | -0.23189 | 2.1133
85 | -0.0026784 | -0.00067126 | 0.0026784 | 0.00067126 | 1.0743e-09 | -1.5096e-09 | 0.0040599 | 0.0040599 | 0.0040599 | 0.98166 | -0.35335 | 0.98166 | -0.35334 | 1.1154
86 | -0.01334 | -0.0033434 | 0.013343 | 0.0033448 | 2.5964e-06 | 1.4476e-06 | 0.020221 | 0.020221 | 0.020221 | 0.98166 | -0.35334 | 0.98187 | -0.34926 | 5.5553
87 | -0.071486 | -0.017955 | 0.071503 | 0.017966 | 1.7084e-05 | 1.0882e-05 | 0.10706 | 0.10706 | 0.10706 | 0.99375 | -0.11988 | 0.99401 | -0.11487 | 29.4108
88 | 0.026384 | 0.0066158 | -0.02638 | -0.006613 | 4.5023e-06 | 2.7818e-06 | 0.039508 | 0.039508 | 0.039508 | 0.99375 | -0.11988 | 0.99357 | -0.12346 | 10.8538
89 | 0.0067529 | 0.0016925 | -0.0067521 | -0.0016922 | 7.7024e-07 | 2.3245e-07 | 0.010109 | 0.010109 | 0.010109 | 0.99401 | -0.11487 | 0.99389 | -0.11726 | 2.7772
90 | 0.010735 | 0.0026904 | -0.010735 | -0.0026903 | 2.01e-07 | 1.0295e-07 | 0.016257 | 0.016257 | 0.016257 | 0.98256 | -0.33555 | 0.98254 | -0.33594 | 4.4662

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51059 | 0.12972

## res_load
| p_mw | q_mvar
0 | 0.0081964 | 0.0020542
1 | 0.0082433 | 0.002066
2 | 0.0081215 | 0.0020354
3 | 0.008119 | 0.0020348
4 | 0.0057293 | 0.0014359
5 | 0.0080094 | 0.0020074
6 | 0.0067975 | 0.0017036
7 | 0.0051849 | 0.0012994
8 | 0.0051635 | 0.0012941
9 | 0.0057885 | 0.0014507
10 | 0.0057735 | 0.001447
11 | 0.0075404 | 0.0018898
12 | 0.0072491 | 0.0018168
13 | 0.0094982 | 0.0023805
14 | 0.0078129 | 0.0019581
15 | 0.052366 | 0.013124
16 | 0.0056215 | 0.0014089
17 | 0.0028487 | 0.00071395
18 | 0.009345 | 0.0023421
19 | 0.0051395 | 0.0012881
20 | 0.010716 | 0.0026857
21 | 0.010927 | 0.0027387
22 | 0.0089875 | 0.0022525
23 | 0.0094794 | 0.0023758
24 | 0.0096441 | 0.002417
25 | 0.01169 | 0.0029297
26 | 0.0075798 | 0.0018997
27 | 0.0082074 | 0.002057
28 | 0.0050807 | 0.0012733
29 | 0.0080881 | 0.0020271
30 | 0.0075731 | 0.001898
31 | 0.0092212 | 0.0023111
32 | 0.0053617 | 0.0013438
33 | 0.014838 | 0.0037188
34 | 0.012877 | 0.0032273
35 | 0.0075806 | 0.0018999
36 | 0.0075065 | 0.0018813
37 | 0.0059665 | 0.0014953
38 | 0.005632 | 0.0014115
39 | 0.0061629 | 0.0015446
40 | 0.0089534 | 0.0022439
41 | 0.0090333 | 0.002264
42 | 0.0095949 | 0.0024047
43 | 0.0083547 | 0.0020939
44 | 0.00906 | 0.0022706
45 | 0.0081429 | 0.0020408
46 | 0.0051065 | 0.0012798
47 | 0.0070314 | 0.0017622
48 | 0.012651 | 0.0031706
49 | 0.0073105 | 0.0018322
50 | 0.0026784 | 0.00067126
51 | 0.010662 | 0.0026721
52 | 0.0077223 | 0.0019354
53 | 0.0096267 | 0.0024127
54 | 0.0067521 | 0.0016922
55 | 0.0089151 | 0.0022343
56 | 0.010735 | 0.0026903
57 | 0.0053076 | 0.0013302

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1