## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-654_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-654_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-654_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-654_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-654_0_5_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_261-654_0_5_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_261-654_0_5_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_261-654_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-654_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-654_0_5_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_261-654_0_5_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_261-654_0_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_261-654_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-654_0_5_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_261-654_0_5_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_261-654_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-654_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-654_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_261-654_0_5_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_261-654_0_5_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_261-654_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-654_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_261-654_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_261-654_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-654_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_261-654_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_261-654_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_261-654_0_5_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_261-654_0_5_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_261-654_0_5_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_261-654_0_5_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_261-654_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-654_0_5_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_261-654_0_5_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_261-654_0_5_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_261-654_0_5_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_261-654_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-654_0_5_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_261-654_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_261-654_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_261-654_0_5_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_261-654_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_261-654_0_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_261-654_0_5_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_261-654_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-654_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_261-654_0_5_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_261-654_0_5_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_261-654_0_5_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_261-654_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_261-654_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_261-654_0_5_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_261-654_0_5_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_261-654_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_261-654_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_261-654_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_261-654_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_261-654_0_5_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_261-654_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_261-654_0_5_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_261-654_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_261-654_0_5_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_261-654_0_5_node_66 | 0.4 | n |  | TRUE
63 | bus_MV_545_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-654_0_5_load_0 | 0 | 0.005206 | 0.0013047 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-654_0_5_load_3 | 2 | 0.0057659 | 0.0014451 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-654_0_5_load_27 | 4 | 0.0098133 | 0.0024594 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-654_0_5_load_53 | 6 | 0.0094365 | 0.002365 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-654_0_5_load_52 | 9 | 0.015087 | 0.0037811 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-654_0_5_load_62 | 10 | 0.012464 | 0.0031237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-654_0_5_load_37 | 11 | 0.012319 | 0.0030875 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-654_0_5_load_63 | 14 | 0.015186 | 0.0038059 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-654_0_5_load_47 | 18 | 0.0031017 | 0.00077735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-654_0_5_load_31 | 19 | 0.0025189 | 0.00063128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-654_0_5_load_41 | 26 | 0.0078223 | 0.0019605 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-654_0_5_load_67 | 27 | 0.014862 | 0.0037247 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-654_0_5_load_39 | 28 | 0.0065419 | 0.0016396 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-654_0_5_load_46 | 29 | 0.023758 | 0.0059544 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-654_0_5_load_45 | 30 | 0.016166 | 0.0040515 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-654_0_5_load_44 | 32 | 0.035329 | 0.0088543 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-654_0_5_load_68 | 33 | 0.035648 | 0.0089341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-654_0_5_load_70 | 34 | 0.013017 | 0.0032622 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-654_0_5_load_69 | 35 | 0.024297 | 0.0060894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-654_0_5_load_26 | 38 | 0.003619 | 0.00090701 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-654_0_5_load_32 | 39 | 0.0063549 | 0.0015927 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-654_0_5_load_61 | 40 | 0.0082142 | 0.0020587 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-654_0_5_load_35 | 41 | 0.0099505 | 0.0024938 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-654_0_5_load_48 | 42 | 0.013825 | 0.0034649 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-654_0_5_load_60 | 43 | 0.0073554 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-654_0_5_load_25 | 44 | 0.0036378 | 0.00091171 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-654_0_5_load_29 | 45 | 0.0024517 | 0.00061445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-654_0_5_load_51 | 47 | 0.017536 | 0.004395 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-654_0_5_load_42 | 48 | 0.024011 | 0.0060178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-654_0_5_load_43 | 49 | 0.018372 | 0.0046045 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-654_0_5_load_38 | 50 | 0.012387 | 0.0031046 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-654_0_5_load_65 | 51 | 0.0096361 | 0.002415 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-654_0_5_load_34 | 53 | 0.012453 | 0.003121 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-654_0_5_load_28 | 54 | 0.0038827 | 0.00097309 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-654_0_5_load_30 | 55 | 0.0057006 | 0.0014287 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-654_0_5_load_33 | 56 | 0.0088517 | 0.0022185 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-654_0_5_load_57 | 57 | 0.010901 | 0.0027322 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-654_0_5_load_54 | 58 | 0.0089571 | 0.0022449 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-654_0_5_load_64 | 59 | 0.0095469 | 0.0023927 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-654_0_5_load_58 | 60 | 0.0086109 | 0.0021581 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-654_0_5_load_59 | 61 | 0.015054 | 0.0037729 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-654_0_5_load_66 | 62 | 0.028655 | 0.0071816 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-654_0_5_line_0 |  | 0 | 1 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-654_0_5_line_1 |  | 1 | 2 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-654_0_5_line_2 |  | 1 | 3 | 0.027499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-654_0_5_line_3 |  | 2 | 4 | 0.034044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-654_0_5_line_4 |  | 3 | 5 | 0.005748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-654_0_5_line_5 |  | 3 | 6 | 0.048133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-654_0_5_line_6 |  | 4 | 38 | 0.030452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-654_0_5_line_7 |  | 5 | 26 | 0.036386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-654_0_5_line_8 |  | 5 | 39 | 0.012426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-654_0_5_line_9 |  | 7 | 8 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-654_0_5_line_10 |  | 7 | 9 | 0.024998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-654_0_5_line_11 |  | 7 | 10 | 0.016796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-654_0_5_line_12 |  | 8 | 11 | 0.013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-654_0_5_line_13 |  | 9 | 13 | 0.0054671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-654_0_5_line_14 |  | 10 | 40 | 0.017166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-654_0_5_line_15 |  | 11 | 41 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-654_0_5_line_16 |  | 12 | 13 | 0.004866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-654_0_5_line_17 |  | 12 | 14 | 0.0032925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-654_0_5_line_18 |  | 13 | 42 | 0.028329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-654_0_5_line_19 |  | 15 | 16 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-654_0_5_line_20 |  | 15 | 17 | 0.13654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-654_0_5_line_21 |  | 16 | 18 | 0.048395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-654_0_5_line_22 |  | 16 | 19 | 0.019747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-654_0_5_line_23 |  | 17 | 34 | 0.007059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-654_0_5_line_24 |  | 19 | 45 | 0.020233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-654_0_5_line_25 |  | 20 | 21 | 0.004966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-654_0_5_line_26 |  | 20 | 22 | 0.039949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-654_0_5_line_27 |  | 21 | 31 | 0.002972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-654_0_5_line_28 |  | 21 | 32 | 0.040064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-654_0_5_line_29 |  | 22 | 29 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-654_0_5_line_30 |  | 22 | 30 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-654_0_5_line_31 |  | 23 | 24 | 0.005939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-654_0_5_line_32 |  | 23 | 25 | 0.022475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-654_0_5_line_33 |  | 23 | 26 | 0.014485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-654_0_5_line_34 |  | 24 | 35 | 0.052275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-654_0_5_line_35 |  | 24 | 36 | 0.0061823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-654_0_5_line_36 |  | 25 | 27 | 0.055234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-654_0_5_line_37 |  | 25 | 28 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-654_0_5_line_38 |  | 28 | 50 | 0.013822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-654_0_5_line_39 |  | 29 | 51 | 0.01497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-654_0_5_line_40 |  | 30 | 36 | 0.024427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-654_0_5_line_41 |  | 31 | 33 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-654_0_5_line_42 |  | 32 | 49 | 0.021463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-654_0_5_line_43 |  | 36 | 37 | 0.030991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_261-654_0_5_line_44 |  | 37 | 52 | 0.033219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-654_0_5_line_45 |  | 37 | 53 | 0.015032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-654_0_5_line_46 |  | 38 | 44 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-654_0_5_line_47 |  | 39 | 55 | 0.019788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-654_0_5_line_48 |  | 40 | 43 | 0.013752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-654_0_5_line_49 |  | 41 | 56 | 0.013862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-654_0_5_line_50 |  | 42 | 46 | 0.036331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-654_0_5_line_51 |  | 45 | 54 | 0.019915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-654_0_5_line_52 |  | 46 | 47 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-654_0_5_line_53 |  | 48 | 49 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-654_0_5_line_54 |  | 51 | 59 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-654_0_5_line_55 |  | 52 | 57 | 0.013299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-654_0_5_line_56 |  | 52 | 58 | 0.034746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-654_0_5_line_57 |  | 53 | 56 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-654_0_5_line_58 |  | 54 | 55 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-654_0_5_line_59 |  | 57 | 60 | 0.015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-654_0_5_line_60 |  | 59 | 62 | 0.0086227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-654_0_5_line_61 |  | 60 | 61 | 0.009396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-654_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 63 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2680933.7241 | 1246680.0969 | 2680941.6474 | 1246689.6008 | 2680943.1146 | 1246691.6517
1 | 2680933.7241 | 1246680.0969 | 2680922.5531 | 1246668.5653
2 | 2680928.4687 | 1246660.5443 | 2680925.5206 | 1246663.4506 | 2680937.8093 | 1246676.3499 | 2680933.7241 | 1246680.0969
3 | 2680922.5531 | 1246668.5653 | 2680898.8655 | 1246644.1129
4 | 2680924.4761 | 1246656.3979 | 2680928.4687 | 1246660.5443
5 | 2680928.4687 | 1246660.5443 | 2680931.4214 | 1246663.3977 | 2680942.5608 | 1246674.7136 | 2680950.042 | 1246683.3998 | 2680956.0585 | 1246691.4655 | 2680959.5995 | 1246697.061
6 | 2680877.6772 | 1246622.2406 | 2680898.8655 | 1246644.1129
7 | 2680924.4761 | 1246656.3979 | 2680950.7512 | 1246631.227
8 | 2680924.4761 | 1246656.3979 | 2680915.9371 | 1246647.3713
9 | 2681059.4919 | 1246628.6546 | 2681062.7268 | 1246627.9872 | 2681064.9164 | 1246627.5279 | 2681068.2427 | 1246626.8062 | 2681071.4395 | 1246626.1605 | 2681073.2957 | 1246625.7745
10 | 2681073.2957 | 1246625.7745 | 2681067.8274 | 1246601.3819
11 | 2681073.2957 | 1246625.7745 | 2681089.7533 | 1246622.4208
12 | 2681059.4919 | 1246628.6546 | 2681046.6331 | 1246631.3253
13 | 2681062.4643 | 1246602.4428 | 2681067.8274 | 1246601.3819
14 | 2681106.5734 | 1246618.9933 | 2681089.7533 | 1246622.4208
15 | 2681029.8181 | 1246634.8178 | 2681046.6331 | 1246631.3253
16 | 2681062.4643 | 1246602.4428 | 2681057.7052 | 1246603.523
17 | 2681057.7052 | 1246603.523 | 2681054.4639 | 1246604.1013
18 | 2681062.4643 | 1246602.4428 | 2681056.7369 | 1246574.6983
19 | 2680836.2462 | 1246579.4721 | 2680840.1976 | 1246575.5676 | 2680845.068 | 1246570.7527 | 2680848.7062 | 1246574.8608
20 | 2680836.2462 | 1246579.4721 | 2680834.8188 | 1246578.8856 | 2680833.2866 | 1246578.7868 | 2680831.5268 | 1246579.3077 | 2680829.9113 | 1246580.3309 | 2680828.6559 | 1246581.5368 | 2680814.4534 | 1246603.6928 | 2680799.6102 | 1246626.8519 | 2680809.6219 | 1246636.1284 | 2680814.8029 | 1246636.7883 | 2680819.5013 | 1246647.9049 | 2680823.9162 | 1246648.232 | 2680835.3727 | 1246654.0479 | 2680839.63 | 1246657.0636 | 2680841.8171 | 1246666.2001 | 2680852.141 | 1246670.8553
21 | 2680848.7062 | 1246574.8608 | 2680850.6632 | 1246574.8319 | 2680869.8156 | 1246555.9014 | 2680883.3559 | 1246569.9462
22 | 2680848.7062 | 1246574.8608 | 2680849.4985 | 1246578.8078 | 2680860.0828 | 1246589.8601 | 2680860.3751 | 1246590.1596
23 | 2680852.141 | 1246670.8553 | 2680856.3283 | 1246665.1638
24 | 2680860.3751 | 1246590.1596 | 2680874.509 | 1246604.6382
25 | 2680956.2933 | 1246549.8211 | 2680955.2794 | 1246544.9592
26 | 2680956.2933 | 1246549.8211 | 2680957.3217 | 1246554.7276 | 2680960.587 | 1246554.0494 | 2680967.2968 | 1246584.9302
27 | 2680955.2794 | 1246544.9592 | 2680954.677 | 1246542.0489
28 | 2680955.2794 | 1246544.9592 | 2680975.2071 | 1246541.1952 | 2680994.5922 | 1246537.2416
29 | 2680967.2968 | 1246584.9302 | 2680989.0716 | 1246580.2299
30 | 2680967.2968 | 1246584.9302 | 2680969.2332 | 1246587.514 | 2680972.3042 | 1246602.2856
31 | 2680965.0317 | 1246625.7623 | 2680961.2109 | 1246621.2069
32 | 2680961.2109 | 1246621.2069 | 2680953.204 | 1246613.9479 | 2680947.8203 | 1246613.752 | 2680943.5162 | 1246609.1788
33 | 2680961.2109 | 1246621.2069 | 2680950.7512 | 1246631.227
34 | 2680965.0317 | 1246625.7623 | 2680992.8084 | 1246656.2638 | 2680984.6005 | 1246663.7238
35 | 2680965.0317 | 1246625.7623 | 2680966.5506 | 1246623.5148 | 2680969.7349 | 1246624.8926
36 | 2680904.8346 | 1246592.1832 | 2680912.2713 | 1246600.2683 | 2680913.5589 | 1246598.9182 | 2680933.0387 | 1246619.0875 | 2680943.5162 | 1246609.1788
37 | 2680943.5162 | 1246609.1788 | 2680936.6237 | 1246601.8418
38 | 2680936.6237 | 1246601.8418 | 2680927.1598 | 1246591.7674
39 | 2681003.7043 | 1246577.0714 | 2680989.0716 | 1246580.2299
40 | 2680969.7349 | 1246624.8926 | 2680971.6268 | 1246619.6813 | 2680974.177 | 1246617.7035 | 2680974.5073 | 1246612.8823 | 2680972.3042 | 1246602.2856
41 | 2680954.677 | 1246542.0489 | 2680960.0639 | 1246540.9105 | 2680964.7688 | 1246539.9295 | 2680975.7419 | 1246537.6191
42 | 2680994.5922 | 1246537.2416 | 2681015.6227 | 1246532.9525
43 | 2680991.2621 | 1246647.2472 | 2680969.7349 | 1246624.8926
44 | 2680991.2621 | 1246647.2472 | 2681005.1011 | 1246662.236 | 2681007.2094 | 1246674.9074
45 | 2680991.2621 | 1246647.2472 | 2681000.1259 | 1246644.8665 | 2680999.6184 | 1246641.0902 | 2681001.6197 | 1246640.6745
46 | 2680862.3735 | 1246606.4429 | 2680877.6772 | 1246622.2406
47 | 2680902.2117 | 1246633.1176 | 2680914.8322 | 1246646.2033 | 2680915.9371 | 1246647.3713
48 | 2681120.0488 | 1246616.2474 | 2681106.5734 | 1246618.9933
49 | 2681029.8181 | 1246634.8178 | 2681016.2462 | 1246637.6366
50 | 2681049.392 | 1246539.118 | 2681056.7369 | 1246574.6983
51 | 2680888.4201 | 1246618.8886 | 2680874.509 | 1246604.6382
52 | 2681049.392 | 1246539.118 | 2681064.9691 | 1246536.3955 | 2681066.4781 | 1246534.8817 | 2681074.4167 | 1246533.5457
53 | 2681036.8492 | 1246528.6234 | 2681015.6227 | 1246532.9525
54 | 2681016.3242 | 1246574.3473 | 2681003.7043 | 1246577.0714
55 | 2681007.2094 | 1246674.9074 | 2681020.2306 | 1246672.202
56 | 2681007.2094 | 1246674.9074 | 2681000.8898 | 1246676.311 | 2681006.274 | 1246704.0657
57 | 2681001.6197 | 1246640.6745 | 2681016.2462 | 1246637.6366
58 | 2680902.2117 | 1246633.1176 | 2680894.1088 | 1246624.7161 | 2680888.4201 | 1246618.8886
59 | 2681035.8315 | 1246668.9607 | 2681020.2306 | 1246672.202
60 | 2681024.7528 | 1246572.5279 | 2681016.3242 | 1246574.3473
61 | 2681045.0377 | 1246666.9516 | 2681035.8315 | 1246668.9607

## bus_geodata
| x | y | coords
0 | 2680943.1146 | 1246691.6517
1 | 2680933.7241 | 1246680.0969
2 | 2680922.5531 | 1246668.5653
3 | 2680928.4687 | 1246660.5443
4 | 2680898.8655 | 1246644.1129
5 | 2680924.4761 | 1246656.3979
6 | 2680959.5995 | 1246697.061
7 | 2681073.2957 | 1246625.7745
8 | 2681059.4919 | 1246628.6546
9 | 2681067.8274 | 1246601.3819
10 | 2681089.7533 | 1246622.4208
11 | 2681046.6331 | 1246631.3253
12 | 2681057.7052 | 1246603.523
13 | 2681062.4643 | 1246602.4428
14 | 2681054.4639 | 1246604.1013
15 | 2680836.2462 | 1246579.4721
16 | 2680848.7062 | 1246574.8608
17 | 2680852.141 | 1246670.8553
18 | 2680883.3559 | 1246569.9462
19 | 2680860.3751 | 1246590.1596
20 | 2680956.2933 | 1246549.8211
21 | 2680955.2794 | 1246544.9592
22 | 2680967.2968 | 1246584.9302
23 | 2680961.2109 | 1246621.2069
24 | 2680965.0317 | 1246625.7623
25 | 2680943.5162 | 1246609.1788
26 | 2680950.7512 | 1246631.227
27 | 2680904.8346 | 1246592.1832
28 | 2680936.6237 | 1246601.8418
29 | 2680989.0716 | 1246580.2299
30 | 2680972.3042 | 1246602.2856
31 | 2680954.677 | 1246542.0489
32 | 2680994.5922 | 1246537.2416
33 | 2680975.7419 | 1246537.6191
34 | 2680856.3283 | 1246665.1638
35 | 2680984.6005 | 1246663.7238
36 | 2680969.7349 | 1246624.8926
37 | 2680991.2621 | 1246647.2472
38 | 2680877.6772 | 1246622.2406
39 | 2680915.9371 | 1246647.3713
40 | 2681106.5734 | 1246618.9933
41 | 2681029.8181 | 1246634.8178
42 | 2681056.7369 | 1246574.6983
43 | 2681120.0488 | 1246616.2474
44 | 2680862.3735 | 1246606.4429
45 | 2680874.509 | 1246604.6382
46 | 2681049.392 | 1246539.118
47 | 2681074.4167 | 1246533.5457
48 | 2681036.8492 | 1246528.6234
49 | 2681015.6227 | 1246532.9525
50 | 2680927.1598 | 1246591.7674
51 | 2681003.7043 | 1246577.0714
52 | 2681007.2094 | 1246674.9074
53 | 2681001.6197 | 1246640.6745
54 | 2680888.4201 | 1246618.8886
55 | 2680902.2117 | 1246633.1176
56 | 2681016.2462 | 1246637.6366
57 | 2681020.2306 | 1246672.202
58 | 2681006.274 | 1246704.0657
59 | 2681016.3242 | 1246574.3473
60 | 2681035.8315 | 1246668.9607
61 | 2681045.0377 | 1246666.9516
62 | 2681024.7528 | 1246572.5279
63 | 2680967.2968 | 1246584.9302

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98794 | -0.23154 | 0.005206 | 0.0013047
1 | 0.98801 | -0.23015 | 0 | 0
2 | 0.98768 | -0.2367 | 0.0057659 | 0.0014451
3 | 0.98872 | -0.21639 | 0 | 0
4 | 0.98714 | -0.24709 | 0.0098133 | 0.0024594
5 | 0.98892 | -0.21255 | 0 | 0
6 | 0.98831 | -0.2245 | 0.0094365 | 0.002365
7 | 0.98258 | -0.33507 | 0 | 0
8 | 0.98375 | -0.31227 | 0 | 0
9 | 0.98116 | -0.36292 | 0.015087 | 0.0037811
10 | 0.98215 | -0.34357 | 0.012464 | 0.0031237
11 | 0.98484 | -0.29108 | 0.012319 | 0.0030875
12 | 0.98086 | -0.36887 | 0 | 0
13 | 0.98092 | -0.36753 | 0 | 0
14 | 0.98081 | -0.36978 | 0.015186 | 0.0038059
15 | 0.98624 | -0.26458 | 0 | 0
16 | 0.98646 | -0.2604 | 0 | 0
17 | 0.98461 | -0.29648 | 0 | 0
18 | 0.98632 | -0.26309 | 0.0031017 | 0.00077735
19 | 0.98675 | -0.2547 | 0.0025189 | 0.00063128
20 | 0.99357 | -0.12309 | 0 | 0
21 | 0.99305 | -0.13304 | 0 | 0
22 | 0.99771 | -0.043464 | 0 | 0
23 | 0.99251 | -0.14322 | 0 | 0
24 | 0.99314 | -0.13102 | 0 | 0
25 | 0.99181 | -0.15667 | 0 | 0
26 | 0.99141 | -0.16435 | 0.0078223 | 0.0019605
27 | 0.99106 | -0.17122 | 0.014862 | 0.0037247
28 | 0.99164 | -0.16004 | 0.0065419 | 0.0016396
29 | 1 | 0 | -0.50126 | -0.12717
30 | 0.99631 | -0.070232 | 0.016166 | 0.0040515
31 | 0.99295 | -0.13491 | 0 | 0
32 | 0.9902 | -0.18823 | 0.035329 | 0.0088543
33 | 0.99225 | -0.14848 | 0.035648 | 0.0089341
34 | 0.98452 | -0.29814 | 0.013017 | 0.0032622
35 | 0.99198 | -0.1535 | 0.024297 | 0.0060894
36 | 0.99394 | -0.11569 | 0 | 0
37 | 0.99141 | -0.16414 | 0 | 0
38 | 0.98694 | -0.25105 | 0.003619 | 0.00090701
39 | 0.9885 | -0.22076 | 0.0063549 | 0.0015927
40 | 0.9819 | -0.3484 | 0.0082142 | 0.0020587
41 | 0.98646 | -0.25966 | 0.0099505 | 0.0024938
42 | 0.9801 | -0.38364 | 0.013825 | 0.0034649
43 | 0.98181 | -0.35023 | 0.0073554 | 0.0018434
44 | 0.98687 | -0.25248 | 0.0036378 | 0.00091171
45 | 0.9871 | -0.24795 | 0.0024517 | 0.00061445
46 | 0.97951 | -0.39521 | 0 | 0
47 | 0.97909 | -0.4035 | 0.017536 | 0.004395
48 | 0.98889 | -0.21368 | 0.024011 | 0.0060178
49 | 0.98936 | -0.20441 | 0.018372 | 0.0046045
50 | 0.99148 | -0.16308 | 0.012387 | 0.0031046
51 | 0.99935 | -0.01249 | 0.0096361 | 0.002415
52 | 0.99009 | -0.18982 | 0 | 0
53 | 0.98956 | -0.19973 | 0.012453 | 0.003121
54 | 0.98748 | -0.24044 | 0.0038827 | 0.00097309
55 | 0.98794 | -0.23159 | 0.0057006 | 0.0014287
56 | 0.9879 | -0.2319 | 0.0088517 | 0.0022185
57 | 0.98966 | -0.198 | 0.010901 | 0.0027322
58 | 0.9898 | -0.19535 | 0.0089571 | 0.0022449
59 | 0.9989 | -0.021101 | 0.0095469 | 0.0023927
60 | 0.98932 | -0.20471 | 0.0086109 | 0.0021581
61 | 0.98919 | -0.20723 | 0.015054 | 0.0037729
62 | 0.99868 | -0.025418 | 0.028655 | 0.0071816
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.005206 | -0.0013047 | 0.0052063 | 0.0013048 | 3.4342e-07 | 2.9045e-08 | 0.0078411 | 0.007841 | 0.0078411 | 0.98794 | -0.23154 | 0.98801 | -0.23015 | 2.1541
1 | 0.022853 | 0.0057329 | -0.022846 | -0.0057286 | 7.1331e-06 | 4.3596e-06 | 0.03442 | 0.03442 | 0.03442 | 0.98801 | -0.23015 | 0.98768 | -0.2367 | 9.4561
2 | -0.028059 | -0.0070377 | 0.028078 | 0.0070491 | 1.8418e-05 | 1.1435e-05 | 0.042261 | 0.042261 | 0.042261 | 0.98801 | -0.23015 | 0.98872 | -0.21639 | 11.6103
3 | 0.01708 | 0.0042835 | -0.017072 | -0.0042785 | 8.4543e-06 | 4.9753e-06 | 0.025734 | 0.025734 | 0.025734 | 0.98768 | -0.2367 | 0.98714 | -0.24709 | 7.0697
4 | -0.037518 | -0.0094158 | 0.037525 | 0.0094202 | 6.8733e-06 | 4.3252e-06 | 0.056469 | 0.056469 | 0.056469 | 0.98872 | -0.21639 | 0.98892 | -0.21255 | 15.5134
5 | 0.0094401 | 0.0023667 | -0.0094365 | -0.002365 | 3.6435e-06 | 1.7148e-06 | 0.014208 | 0.014208 | 0.014208 | 0.98872 | -0.21639 | 0.98831 | -0.2245 | 3.9032
6 | 0.0072584 | 0.0018191 | -0.007257 | -0.0018186 | 1.3671e-06 | 4.857e-07 | 0.010941 | 0.010941 | 0.010941 | 0.98714 | -0.24709 | 0.98694 | -0.25105 | 3.0059
7 | -0.074635 | -0.018749 | 0.074807 | 0.018859 | 0.00017213 | 0.0001097 | 0.11232 | 0.11232 | 0.11232 | 0.98892 | -0.21255 | 0.99141 | -0.16435 | 30.8564
8 | 0.03711 | 0.0093287 | -0.037095 | -0.0093196 | 1.4534e-05 | 9.1421e-06 | 0.055849 | 0.055849 | 0.055849 | 0.98892 | -0.21255 | 0.9885 | -0.22076 | 15.343
9 | -0.089818 | -0.022567 | 0.089915 | 0.022629 | 9.7862e-05 | 6.2453e-05 | 0.13604 | 0.13604 | 0.13604 | 0.98258 | -0.33507 | 0.98375 | -0.31227 | 37.3733
10 | 0.061769 | 0.015531 | -0.061687 | -0.015479 | 8.2057e-05 | 5.22e-05 | 0.09356 | 0.09356 | 0.09356 | 0.98258 | -0.33507 | 0.98116 | -0.36292 | 25.7033
11 | 0.028049 | 0.0070352 | -0.028038 | -0.0070282 | 1.1365e-05 | 7.0612e-06 | 0.042479 | 0.042479 | 0.042479 | 0.98258 | -0.33507 | 0.98215 | -0.34357 | 11.6701
12 | -0.089915 | -0.022629 | 0.090007 | 0.022687 | 9.1144e-05 | 5.8165e-05 | 0.13604 | 0.13604 | 0.13604 | 0.98375 | -0.31227 | 0.98484 | -0.29108 | 37.3733
13 | 0.0466 | 0.011698 | -0.04659 | -0.011692 | 1.0242e-05 | 6.4857e-06 | 0.07068 | 0.07068 | 0.07068 | 0.98116 | -0.36292 | 0.98092 | -0.36753 | 19.4175
14 | 0.015574 | 0.0039044 | -0.01557 | -0.0039024 | 3.584e-06 | 2.0765e-06 | 0.023596 | 0.023596 | 0.023596 | 0.98215 | -0.34357 | 0.9819 | -0.3484 | 6.4824
15 | -0.10233 | -0.025775 | 0.10248 | 0.025873 | 0.00015403 | 9.8361e-05 | 0.15465 | 0.15465 | 0.15465 | 0.98484 | -0.29108 | 0.98646 | -0.25966 | 42.4868
16 | -0.015187 | -0.0038063 | 0.015187 | 0.0038069 | 9.6856e-07 | 5.5846e-07 | 0.023039 | 0.023039 | 0.023039 | 0.98086 | -0.36887 | 0.98092 | -0.36753 | 6.3294
17 | 0.015187 | 0.0038063 | -0.015186 | -0.0038059 | 6.5535e-07 | 3.7787e-07 | 0.023039 | 0.023039 | 0.023039 | 0.98086 | -0.36887 | 0.98081 | -0.36978 | 6.3294
18 | 0.031402 | 0.0078848 | -0.031378 | -0.0078698 | 2.4112e-05 | 1.5074e-05 | 0.047641 | 0.047641 | 0.047641 | 0.98092 | -0.36753 | 0.9801 | -0.38364 | 13.0882
19 | -0.013037 | -0.0032738 | 0.01304 | 0.0032752 | 2.5965e-06 | 1.4334e-06 | 0.019673 | 0.019673 | 0.019673 | 0.98624 | -0.26458 | 0.98646 | -0.2604 | 5.4046
20 | 0.013037 | 0.0032738 | -0.013018 | -0.0032628 | 1.9817e-05 | 1.0943e-05 | 0.019673 | 0.019673 | 0.019673 | 0.98624 | -0.26458 | 0.98461 | -0.29648 | 5.4047
21 | 0.0031021 | 0.00077699 | -0.0031017 | -0.00077735 | 3.9736e-07 | -3.6343e-07 | 0.0046791 | 0.0046794 | 0.0046794 | 0.98646 | -0.2604 | 0.98632 | -0.26309 | 1.2855
22 | -0.016142 | -0.0040522 | 0.016146 | 0.0040547 | 4.3913e-06 | 2.5583e-06 | 0.024352 | 0.024352 | 0.024352 | 0.98646 | -0.2604 | 0.98675 | -0.2547 | 6.69
23 | 0.013018 | 0.0032628 | -0.013017 | -0.0032622 | 1.0245e-06 | 5.6593e-07 | 0.019673 | 0.019673 | 0.019673 | 0.98461 | -0.29648 | 0.98452 | -0.29814 | 5.4047
24 | -0.018665 | -0.004686 | 0.018671 | 0.0046896 | 6.0125e-06 | 3.5895e-06 | 0.02815 | 0.02815 | 0.02815 | 0.98675 | -0.2547 | 0.9871 | -0.24795 | 7.7335
25 | 0.11369 | 0.02862 | -0.11363 | -0.028585 | 5.4016e-05 | 3.4506e-05 | 0.17031 | 0.17031 | 0.17031 | 0.99357 | -0.12309 | 0.99305 | -0.13304 | 46.7888
26 | -0.11369 | -0.02862 | 0.11412 | 0.028897 | 0.00043454 | 0.00027758 | 0.17031 | 0.17031 | 0.17031 | 0.99357 | -0.12309 | 0.99771 | -0.043464 | 46.7888
27 | 0.035674 | 0.0089506 | -0.035671 | -0.0089486 | 3.185e-06 | 2e-06 | 0.053458 | 0.053458 | 0.053458 | 0.99305 | -0.13304 | 0.99295 | -0.13491 | 14.6863
28 | 0.077961 | 0.019635 | -0.077756 | -0.019504 | 0.00020515 | 0.00013078 | 0.11685 | 0.11685 | 0.11685 | 0.99305 | -0.13304 | 0.9902 | -0.18823 | 32.1025
29 | -0.45077 | -0.11454 | 0.45172 | 0.11514 | 0.00094548 | 0.00060394 | 0.67285 | 0.67285 | 0.67285 | 0.99771 | -0.043464 | 1 | 0 | 46.2123
30 | 0.33665 | 0.085643 | -0.33622 | -0.085366 | 0.00043366 | 0.00027659 | 0.50254 | 0.50254 | 0.50254 | 0.99771 | -0.043464 | 0.99631 | -0.070232 | 34.5151
31 | -0.11654 | -0.029363 | 0.11661 | 0.029407 | 6.8033e-05 | 4.3464e-05 | 0.17478 | 0.17478 | 0.17478 | 0.99251 | -0.14322 | 0.99314 | -0.13102 | 48.016
32 | 0.033828 | 0.008491 | -0.033806 | -0.0084775 | 2.1682e-05 | 1.3586e-05 | 0.050721 | 0.050721 | 0.050721 | 0.99251 | -0.14322 | 0.99181 | -0.15667 | 13.9343
33 | 0.082713 | 0.020872 | -0.082629 | -0.020819 | 8.3596e-05 | 5.3315e-05 | 0.12406 | 0.12406 | 0.12406 | 0.99251 | -0.14322 | 0.99141 | -0.16435 | 34.0818
34 | 0.024323 | 0.0061054 | -0.024297 | -0.0060894 | 2.604e-05 | 1.599e-05 | 0.036447 | 0.036447 | 0.036447 | 0.99314 | -0.13102 | 0.99198 | -0.1535 | 10.0129
35 | -0.14093 | -0.035512 | 0.14103 | 0.035578 | 0.00010344 | 6.6119e-05 | 0.21122 | 0.21122 | 0.21122 | 0.99314 | -0.13102 | 0.99394 | -0.11569 | 58.0288
36 | 0.014872 | 0.0037305 | -0.014862 | -0.0037247 | 1.0313e-05 | 5.8879e-06 | 0.022313 | 0.022314 | 0.022314 | 0.99181 | -0.15667 | 0.99106 | -0.17122 | 6.1301
37 | 0.018934 | 0.0047469 | -0.018931 | -0.0047451 | 3.0464e-06 | 1.8198e-06 | 0.028407 | 0.028407 | 0.028407 | 0.99181 | -0.15667 | 0.99164 | -0.16004 | 7.8042
38 | 0.012389 | 0.0031055 | -0.012387 | -0.0031046 | 1.7915e-06 | 9.6827e-07 | 0.018591 | 0.018591 | 0.018591 | 0.99164 | -0.16004 | 0.99148 | -0.16308 | 5.1074
39 | 0.047888 | 0.012021 | -0.047859 | -0.012003 | 2.851e-05 | 1.805e-05 | 0.071265 | 0.071265 | 0.071265 | 1 | 0 | 0.99935 | -0.01249 | 19.5782
40 | 0.32005 | 0.081315 | -0.31935 | -0.080868 | 0.00069881 | 0.00044629 | 0.4784 | 0.4784 | 0.4784 | 0.99631 | -0.070232 | 0.99394 | -0.11569 | 43.8092
41 | 0.035671 | 0.0089486 | -0.035648 | -0.0089341 | 2.3068e-05 | 1.4486e-05 | 0.053458 | 0.053458 | 0.053458 | 0.99295 | -0.13491 | 0.99225 | -0.14848 | 14.6864
42 | 0.042427 | 0.010649 | -0.042394 | -0.010629 | 3.2724e-05 | 2.0667e-05 | 0.063763 | 0.063763 | 0.063763 | 0.9902 | -0.18823 | 0.98936 | -0.20441 | 17.5172
43 | 0.17832 | 0.04529 | -0.1779 | -0.045025 | 0.00041478 | 0.00026466 | 0.26717 | 0.26717 | 0.26717 | 0.99394 | -0.11569 | 0.99141 | -0.16414 | 36.6995
44 | 0.043602 | 0.010957 | -0.043549 | -0.010923 | 5.3368e-05 | 3.3728e-05 | 0.065453 | 0.065453 | 0.065453 | 0.99141 | -0.16414 | 0.99009 | -0.18982 | 17.9816
45 | 0.1343 | 0.034068 | -0.13407 | -0.033922 | 0.00022938 | 0.00014661 | 0.20172 | 0.20172 | 0.20172 | 0.99141 | -0.16414 | 0.98956 | -0.19973 | 55.4175
46 | 0.003638 | 0.00091158 | -0.0036378 | -0.00091171 | 2.4815e-07 | -1.2224e-07 | 0.005485 | 0.0054851 | 0.0054851 | 0.98694 | -0.25105 | 0.98687 | -0.25248 | 1.5069
47 | 0.03074 | 0.0077269 | -0.030724 | -0.007717 | 1.5895e-05 | 9.9193e-06 | 0.046282 | 0.046282 | 0.046282 | 0.9885 | -0.22076 | 0.98794 | -0.23159 | 12.715
48 | 0.007356 | 0.0018437 | -0.0073554 | -0.0018434 | 6.4088e-07 | 2.3623e-07 | 0.011148 | 0.011148 | 0.011148 | 0.9819 | -0.3484 | 0.98181 | -0.35023 | 3.0626
49 | -0.11243 | -0.028367 | 0.11258 | 0.028463 | 0.00014963 | 9.5584e-05 | 0.16966 | 0.16966 | 0.16966 | 0.98646 | -0.25966 | 0.9879 | -0.2319 | 46.6103
50 | 0.017553 | 0.0044049 | -0.017543 | -0.0043991 | 9.6771e-06 | 5.7358e-06 | 0.026651 | 0.026652 | 0.026652 | 0.9801 | -0.38364 | 0.97951 | -0.39521 | 7.3219
51 | -0.021123 | -0.0053041 | 0.021131 | 0.0053087 | 7.5737e-06 | 4.5925e-06 | 0.031846 | 0.031846 | 0.031846 | 0.9871 | -0.24795 | 0.98748 | -0.24044 | 8.7488
52 | 0.017543 | 0.0043991 | -0.017536 | -0.004395 | 6.9258e-06 | 4.1054e-06 | 0.026652 | 0.026652 | 0.026652 | 0.97951 | -0.39521 | 0.97909 | -0.4035 | 7.3219
53 | -0.024011 | -0.0060178 | 0.024022 | 0.0060243 | 1.0605e-05 | 6.5092e-06 | 0.036131 | 0.036131 | 0.036131 | 0.98889 | -0.21368 | 0.98936 | -0.20441 | 9.9261
54 | 0.038223 | 0.0095878 | -0.038208 | -0.0095779 | 1.5684e-05 | 9.8687e-06 | 0.056917 | 0.056917 | 0.056917 | 0.99935 | -0.01249 | 0.9989 | -0.021101 | 15.6365
55 | 0.034589 | 0.0086773 | -0.034576 | -0.0086688 | 1.3479e-05 | 8.4556e-06 | 0.051988 | 0.051988 | 0.051988 | 0.99009 | -0.18982 | 0.98966 | -0.198 | 14.2823
56 | 0.0089595 | 0.0022459 | -0.0089571 | -0.0022449 | 2.3626e-06 | 1.0653e-06 | 0.013466 | 0.013466 | 0.013466 | 0.99009 | -0.18982 | 0.9898 | -0.19535 | 3.6994
57 | 0.12162 | 0.030801 | -0.12143 | -0.030681 | 0.00018759 | 0.00011987 | 0.18299 | 0.18299 | 0.18299 | 0.98956 | -0.19973 | 0.9879 | -0.2319 | 50.2732
58 | -0.025013 | -0.0062817 | 0.025024 | 0.0062883 | 1.056e-05 | 6.5045e-06 | 0.037696 | 0.037696 | 0.037696 | 0.98748 | -0.24044 | 0.98794 | -0.23159 | 10.3561
59 | 0.023674 | 0.0059367 | -0.023667 | -0.005932 | 7.5715e-06 | 4.6411e-06 | 0.035597 | 0.035597 | 0.035597 | 0.98966 | -0.198 | 0.98932 | -0.20471 | 9.7794
60 | 0.028661 | 0.0071852 | -0.028655 | -0.0071816 | 5.8943e-06 | 3.6595e-06 | 0.042695 | 0.042695 | 0.042695 | 0.9989 | -0.021101 | 0.99868 | -0.025418 | 11.7295
61 | 0.015056 | 0.0037739 | -0.015054 | -0.0037729 | 1.8069e-06 | 1.0358e-06 | 0.022645 | 0.022645 | 0.022645 | 0.98932 | -0.20471 | 0.98919 | -0.20723 | 6.2213

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52502 | 0.13312

## res_load
| p_mw | q_mvar
0 | 0.005206 | 0.0013047
1 | 0.0057659 | 0.0014451
2 | 0.0098133 | 0.0024594
3 | 0.0094365 | 0.002365
4 | 0.015087 | 0.0037811
5 | 0.012464 | 0.0031237
6 | 0.012319 | 0.0030875
7 | 0.015186 | 0.0038059
8 | 0.0031017 | 0.00077735
9 | 0.0025189 | 0.00063128
10 | 0.0078223 | 0.0019605
11 | 0.014862 | 0.0037247
12 | 0.0065419 | 0.0016396
13 | 0.023758 | 0.0059544
14 | 0.016166 | 0.0040515
15 | 0.035329 | 0.0088543
16 | 0.035648 | 0.0089341
17 | 0.013017 | 0.0032622
18 | 0.024297 | 0.0060894
19 | 0.003619 | 0.00090701
20 | 0.0063549 | 0.0015927
21 | 0.0082142 | 0.0020587
22 | 0.0099505 | 0.0024938
23 | 0.013825 | 0.0034649
24 | 0.0073554 | 0.0018434
25 | 0.0036378 | 0.00091171
26 | 0.0024517 | 0.00061445
27 | 0.017536 | 0.004395
28 | 0.024011 | 0.0060178
29 | 0.018372 | 0.0046045
30 | 0.012387 | 0.0031046
31 | 0.0096361 | 0.002415
32 | 0.012453 | 0.003121
33 | 0.0038827 | 0.00097309
34 | 0.0057006 | 0.0014287
35 | 0.0088517 | 0.0022185
36 | 0.010901 | 0.0027322
37 | 0.0089571 | 0.0022449
38 | 0.0095469 | 0.0023927
39 | 0.0086109 | 0.0021581
40 | 0.015054 | 0.0037729
41 | 0.028655 | 0.0071816

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1