## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-660_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-660_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-660_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-660_0_3_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_261-660_0_3_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_261-660_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-660_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_261-660_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_261-660_0_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_261-660_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-660_0_3_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_261-660_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_261-660_0_3_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_261-660_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-660_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-660_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-660_0_3_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_261-660_0_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_261-660_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_261-660_0_3_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_261-660_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_261-660_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_261-660_0_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_261-660_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_261-660_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_261-660_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_261-660_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_261-660_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_261-660_0_3_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_261-660_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_261-660_0_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_261-660_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-660_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_261-660_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_261-660_0_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_261-660_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_261-660_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_261-660_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_261-660_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_261-660_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_261-660_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_261-660_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_261-660_0_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_261-660_0_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_261-660_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_261-660_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_MV_551_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-660_0_3_load_0 | 0 | 0.010139 | 0.002541 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-660_0_3_load_1 | 1 | 0.011812 | 0.0029604 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-660_0_3_load_24 | 3 | 0.003756 | 0.00094135 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-660_0_3_load_48 | 6 | 0.0060671 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-660_0_3_load_47 | 8 | 0.0077422 | 0.0019404 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-660_0_3_load_71 | 10 | 0.0031863 | 0.00079855 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-660_0_3_load_70 | 12 | 0.0104 | 0.0026065 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-660_0_3_load_69 | 16 | 0.012425 | 0.0031139 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-660_0_3_load_72 | 17 | 0.013103 | 0.0032838 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-660_0_3_load_63 | 18 | 0.0078184 | 0.0019595 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-660_0_3_load_56 | 19 | 0.022201 | 0.0055642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-660_0_3_load_33 | 20 | 0.0042785 | 0.0010723 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-660_0_3_load_41 | 22 | 0.0054582 | 0.0013679 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-660_0_3_load_43 | 24 | 0.025887 | 0.0064878 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-660_0_3_load_42 | 25 | 0.0062948 | 0.0015776 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-660_0_3_load_45 | 26 | 0.001912 | 0.00047919 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-660_0_3_load_46 | 27 | 0.0036833 | 0.00092312 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-660_0_3_load_62 | 28 | 0.0058401 | 0.0014637 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-660_0_3_load_53 | 30 | 0.015048 | 0.0037715 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-660_0_3_load_20 | 31 | 0.0074171 | 0.0018589 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-660_0_3_load_31 | 32 | 0.0036416 | 0.00091267 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-660_0_3_load_23 | 33 | 0.0027763 | 0.00069581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-660_0_3_load_73 | 34 | 0.003197 | 0.00080123 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-660_0_3_load_29 | 35 | 0.0035317 | 0.00088512 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-660_0_3_load_26 | 36 | 0.0020682 | 0.00051835 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-660_0_3_load_27 | 37 | 0.0022408 | 0.0005616 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-660_0_3_load_28 | 38 | 0.016153 | 0.0040484 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-660_0_3_load_30 | 39 | 0.0038069 | 0.00095409 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-660_0_3_load_32 | 40 | 0.0026727 | 0.00066985 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-660_0_3_load_34 | 41 | 0.0026339 | 0.00066012 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-660_0_3_load_52 | 42 | 0.0073466 | 0.0018412 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-660_0_3_load_50 | 43 | 0.0055254 | 0.0013848 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-660_0_3_load_51 | 44 | 0.0047331 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-660_0_3_load_49 | 45 | 0.01053 | 0.0026391 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-660_0_3_line_0 |  | 0 | 1 | 0.032751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-660_0_3_line_1 |  | 1 | 2 | 0.022651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-660_0_3_line_2 |  | 2 | 3 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-660_0_3_line_3 |  | 2 | 4 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-660_0_3_line_4 |  | 3 | 25 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-660_0_3_line_5 |  | 4 | 26 | 0.0050172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-660_0_3_line_6 |  | 4 | 27 | 0.030178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-660_0_3_line_7 |  | 5 | 6 | 0.027387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-660_0_3_line_8 |  | 5 | 7 | 0.08805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-660_0_3_line_9 |  | 5 | 8 | 0.027113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-660_0_3_line_10 |  | 7 | 19 | 0.036992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-660_0_3_line_11 |  | 8 | 27 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-660_0_3_line_12 |  | 9 | 10 | 0.011409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-660_0_3_line_13 |  | 9 | 11 | 0.021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-660_0_3_line_14 |  | 9 | 12 | 0.021761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-660_0_3_line_15 |  | 11 | 20 | 0.032083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-660_0_3_line_16 |  | 11 | 21 | 0.006689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-660_0_3_line_17 |  | 11 | 22 | 0.01217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-660_0_3_line_18 |  | 12 | 16 | 0.04029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-660_0_3_line_19 |  | 13 | 14 | 0.0297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-660_0_3_line_20 |  | 13 | 15 | 0.05958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-660_0_3_line_21 |  | 13 | 16 | 0.014251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-660_0_3_line_22 |  | 14 | 17 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-660_0_3_line_23 |  | 15 | 18 | 0.01112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-660_0_3_line_24 |  | 18 | 28 | 0.030089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-660_0_3_line_25 |  | 19 | 29 | 0.041722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-660_0_3_line_26 |  | 20 | 32 | 0.023466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-660_0_3_line_27 |  | 21 | 23 | 0.050197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-660_0_3_line_28 |  | 21 | 24 | 0.023879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-660_0_3_line_29 |  | 22 | 25 | 0.02271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-660_0_3_line_30 |  | 23 | 33 | 0.019763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-660_0_3_line_31 |  | 23 | 31 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-660_0_3_line_32 |  | 26 | 35 | 0.0098749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_261-660_0_3_line_33 |  | 29 | 30 | 0.023736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-660_0_3_line_34 |  | 32 | 39 | 0.036009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-660_0_3_line_35 |  | 33 | 34 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-660_0_3_line_36 |  | 35 | 37 | 0.0010876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-660_0_3_line_37 |  | 36 | 37 | 8.2052e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-660_0_3_line_38 |  | 36 | 38 | 0.0098501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-660_0_3_line_39 |  | 39 | 40 | 0.016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-660_0_3_line_40 |  | 40 | 41 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-660_0_3_line_41 |  | 41 | 42 | 0.02112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-660_0_3_line_42 |  | 42 | 43 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-660_0_3_line_43 |  | 43 | 45 | 0.02708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-660_0_3_line_44 |  | 44 | 45 | 0.028001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-660_0_3_trafo_29 | 0.63 MVA 20/0.4 kV | 46 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2685328.021 | 1251184.771 | 2685333.2902 | 1251184.407 | 2685357.5063 | 1251171.4403
1 | 2685377.4752 | 1251160.7478 | 2685357.5063 | 1251171.4403
2 | 2685377.4752 | 1251160.7478 | 2685388.586 | 1251154.7994
3 | 2685387.6225 | 1251178.9632 | 2685380.181 | 1251165.7572 | 2685377.4752 | 1251160.7478
4 | 2685408.5224 | 1251144.1262 | 2685388.586 | 1251154.7994
5 | 2685387.6225 | 1251178.9632 | 2685391.3715 | 1251182.2975
6 | 2685387.6225 | 1251178.9632 | 2685362.7487 | 1251196.0522
7 | 2685320.2727 | 1251220.2577 | 2685322.8654 | 1251227.3559 | 2685329.7382 | 1251245.9569
8 | 2685320.2727 | 1251220.2577 | 2685316.6606 | 1251222.096 | 2685344.0754 | 1251296.6579 | 2685345.9708 | 1251300.7994
9 | 2685320.2727 | 1251220.2577 | 2685337.5367 | 1251211.3662 | 2685344.1724 | 1251207.4718
10 | 2685345.9708 | 1251300.7994 | 2685376.6745 | 1251280.167
11 | 2685362.7487 | 1251196.0522 | 2685357.5824 | 1251199.6016 | 2685344.1724 | 1251207.4718
12 | 2685427.885 | 1251112.727 | 2685432.3387 | 1251109.5999 | 2685437.2132 | 1251106.1575
13 | 2685427.885 | 1251112.727 | 2685429.4793 | 1251115.2407 | 2685431.5313 | 1251118.4727 | 2685432.8645 | 1251117.6358 | 2685434.2129 | 1251116.7879 | 2685435.9252 | 1251119.4924 | 2685438.0879 | 1251122.9039 | 2685439.8002 | 1251125.6084 | 2685438.5429 | 1251126.4242
14 | 2685427.885 | 1251112.727 | 2685409.3589 | 1251124.1429
15 | 2685438.5429 | 1251126.4242 | 2685448.7263 | 1251142.6499 | 2685454.1617 | 1251154.3781
16 | 2685444.0924 | 1251122.6903 | 2685439.8002 | 1251125.6084 | 2685438.5429 | 1251126.4242
17 | 2685438.5429 | 1251126.4242 | 2685428.3195 | 1251133.0271
18 | 2685374.3094 | 1251143.9868 | 2685398.439 | 1251130.8718 | 2685409.3589 | 1251124.1429
19 | 2685333.8423 | 1251154.4703 | 2685337.5902 | 1251155.2693 | 2685346.1156 | 1251151.4114 | 2685352.2324 | 1251148.6418 | 2685361.7886 | 1251150.7922
20 | 2685351.5936 | 1251099.7292 | 2685349.4308 | 1251121.4699 | 2685348.7516 | 1251127.22 | 2685348.3122 | 1251135.1864 | 2685348.8922 | 1251139.9872 | 2685350.4303 | 1251145.3578 | 2685352.2324 | 1251148.6418 | 2685361.7886 | 1251150.7922
21 | 2685361.7886 | 1251150.7922 | 2685374.3094 | 1251143.9868
22 | 2685333.8423 | 1251154.4703 | 2685328.9624 | 1251154.7002 | 2685312.4106 | 1251152.9255
23 | 2685351.5936 | 1251099.7292 | 2685361.7442 | 1251095.1876
24 | 2685389.2097 | 1251082.8989 | 2685361.7442 | 1251095.1876
25 | 2685411.3042 | 1251256.8964 | 2685376.6745 | 1251280.167
26 | 2685454.1617 | 1251154.3781 | 2685464.029 | 1251175.669
27 | 2685466.1486 | 1251167.8089 | 2685446.749 | 1251128.4885 | 2685444.0924 | 1251122.6903
28 | 2685444.0924 | 1251122.6903 | 2685452.6907 | 1251116.9322 | 2685463.0746 | 1251108.2578
29 | 2685428.3195 | 1251133.0271 | 2685423.7906 | 1251135.9521 | 2685408.5224 | 1251144.1262
30 | 2685466.1486 | 1251167.8089 | 2685481.5745 | 1251155.4546
31 | 2685466.1486 | 1251167.8089 | 2685468.4249 | 1251172.7566 | 2685473.7353 | 1251184.5741
32 | 2685396.7354 | 1251190.5886 | 2685391.3715 | 1251182.2975 | 2685391.3715 | 1251182.2975
33 | 2685411.3042 | 1251256.8964 | 2685430.9995 | 1251243.6488
34 | 2685464.029 | 1251175.669 | 2685470.433 | 1251189.487 | 2685471.8115 | 1251192.8316 | 2685472.6089 | 1251195.6341 | 2685472.4463 | 1251198.534 | 2685471.928 | 1251201.4954 | 2685470.697 | 1251204.1463 | 2685468.931 | 1251206.7339 | 2685467.0701 | 1251208.0543
35 | 2685491.0455 | 1251152.601 | 2685488.9974 | 1251151.1926 | 2685485.8831 | 1251152.0039 | 2685481.5745 | 1251155.4546
36 | 2685396.7354 | 1251190.5886 | 2685397.3262 | 1251191.5018
37 | 2685397.3708 | 1251191.5707 | 2685397.3262 | 1251191.5018
38 | 2685402.7212 | 1251199.8409 | 2685397.3708 | 1251191.5707
39 | 2685453.354 | 1251217.2732 | 2685465.5675 | 1251209.1205 | 2685467.0701 | 1251208.0543
40 | 2685439.0684 | 1251226.809 | 2685453.354 | 1251217.2732
41 | 2685421.5027 | 1251238.5343 | 2685439.0684 | 1251226.809
42 | 2685402.1845 | 1251251.4294 | 2685421.5027 | 1251238.5343
43 | 2685379.6612 | 1251266.4641 | 2685402.1845 | 1251251.4294
44 | 2685379.6612 | 1251266.4641 | 2685356.372 | 1251282.0099

## bus_geodata
| x | y | coords
0 | 2685328.021 | 1251184.771
1 | 2685357.5063 | 1251171.4403
2 | 2685377.4752 | 1251160.7478
3 | 2685388.586 | 1251154.7994
4 | 2685387.6225 | 1251178.9632
5 | 2685320.2727 | 1251220.2577
6 | 2685329.7382 | 1251245.9569
7 | 2685345.9708 | 1251300.7994
8 | 2685344.1724 | 1251207.4718
9 | 2685427.885 | 1251112.727
10 | 2685437.2132 | 1251106.1575
11 | 2685438.5429 | 1251126.4242
12 | 2685409.3589 | 1251124.1429
13 | 2685361.7886 | 1251150.7922
14 | 2685333.8423 | 1251154.4703
15 | 2685351.5936 | 1251099.7292
16 | 2685374.3094 | 1251143.9868
17 | 2685312.4106 | 1251152.9255
18 | 2685361.7442 | 1251095.1876
19 | 2685376.6745 | 1251280.167
20 | 2685454.1617 | 1251154.3781
21 | 2685444.0924 | 1251122.6903
22 | 2685428.3195 | 1251133.0271
23 | 2685466.1486 | 1251167.8089
24 | 2685463.0746 | 1251108.2578
25 | 2685408.5224 | 1251144.1262
26 | 2685391.3715 | 1251182.2975
27 | 2685362.7487 | 1251196.0522
28 | 2685389.2097 | 1251082.8989
29 | 2685411.3042 | 1251256.8964
30 | 2685430.9995 | 1251243.6488
31 | 2685473.7353 | 1251184.5741
32 | 2685464.029 | 1251175.669
33 | 2685481.5745 | 1251155.4546
34 | 2685491.0455 | 1251152.601
35 | 2685396.7354 | 1251190.5886
36 | 2685397.3708 | 1251191.5707
37 | 2685397.3262 | 1251191.5018
38 | 2685402.7212 | 1251199.8409
39 | 2685467.0701 | 1251208.0543
40 | 2685453.354 | 1251217.2732
41 | 2685439.0684 | 1251226.809
42 | 2685421.5027 | 1251238.5343
43 | 2685402.1845 | 1251251.4294
44 | 2685356.372 | 1251282.0099
45 | 2685379.6612 | 1251266.4641
46 | 2685402.7212 | 1251199.8409

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.996 | -0.07643 | 0.010139 | 0.002541
1 | 0.9963 | -0.070597 | 0.011812 | 0.0029604
2 | 0.99676 | -0.06187 | 0 | 0
3 | 0.99587 | -0.078771 | 0.003756 | 0.00094135
4 | 0.99843 | -0.029991 | 0 | 0
5 | 0.99482 | -0.099148 | 0 | 0
6 | 0.99467 | -0.10208 | 0.0060671 | 0.0015206
7 | 0.99182 | -0.15709 | 0 | 0
8 | 0.9959 | -0.078483 | 0.0077422 | 0.0019404
9 | 0.99025 | -0.18714 | 0 | 0
10 | 0.99021 | -0.18779 | 0.0031863 | 0.00079855
11 | 0.99131 | -0.16661 | 0 | 0
12 | 0.98926 | -0.20634 | 0.0104 | 0.0026065
13 | 0.98746 | -0.24132 | 0 | 0
14 | 0.9871 | -0.24828 | 0 | 0
15 | 0.98671 | -0.25588 | 0 | 0
16 | 0.98781 | -0.23451 | 0.012425 | 0.0031139
17 | 0.98684 | -0.25333 | 0.013103 | 0.0032838
18 | 0.98657 | -0.2586 | 0.0078184 | 0.0019595
19 | 0.99056 | -0.18154 | 0.022201 | 0.0055642
20 | 0.98998 | -0.19235 | 0.0042785 | 0.0010723
21 | 0.99107 | -0.17127 | 0 | 0
22 | 0.99284 | -0.13703 | 0.0054582 | 0.0013679
23 | 0.99045 | -0.18321 | 0 | 0
24 | 0.9905 | -0.18225 | 0.025887 | 0.0064878
25 | 0.99433 | -0.10842 | 0.0062948 | 0.0015776
26 | 0.99895 | -0.019932 | 0.001912 | 0.00047919
27 | 0.99692 | -0.058924 | 0.0036833 | 0.00092312
28 | 0.98641 | -0.26175 | 0.0058401 | 0.0014637
29 | 0.98998 | -0.1927 | 0 | 0
30 | 0.98965 | -0.19906 | 0.015048 | 0.0037715
31 | 0.99033 | -0.18563 | 0.0074171 | 0.0018589
32 | 0.9891 | -0.20943 | 0.0036416 | 0.00091267
33 | 0.99035 | -0.1853 | 0.0027763 | 0.00069581
34 | 0.99031 | -0.18594 | 0.003197 | 0.00080123
35 | 1 | 0 | -0.25552 | -0.06442
36 | 0.99998 | -0.00041398 | 0.0020682 | 0.00051835
37 | 0.99998 | -0.00038791 | 0.0022408 | 0.0005616
38 | 0.99983 | -0.0031877 | 0.016153 | 0.0040484
39 | 0.98786 | -0.23336 | 0.0038069 | 0.00095409
40 | 0.98735 | -0.24324 | 0.0026727 | 0.00066985
41 | 0.98687 | -0.25269 | 0.0026339 | 0.00066012
42 | 0.98632 | -0.26333 | 0.0073466 | 0.0018412
43 | 0.98588 | -0.27199 | 0.0055254 | 0.0013848
44 | 0.98537 | -0.28179 | 0.0047331 | 0.0011862
45 | 0.9855 | -0.27941 | 0.01053 | 0.0026391
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010139 | -0.002541 | 0.010142 | 0.0025424 | 2.8179e-06 | 1.3771e-06 | 0.015147 | 0.015147 | 0.015147 | 0.996 | -0.07643 | 0.9963 | -0.070597 | 4.1613
1 | -0.021954 | -0.0055028 | 0.021963 | 0.0055084 | 9.1325e-06 | 5.5497e-06 | 0.032789 | 0.032789 | 0.032789 | 0.9963 | -0.070597 | 0.99676 | -0.06187 | 9.008
2 | 0.15386 | 0.03899 | -0.15373 | -0.038911 | 0.00012483 | 7.9563e-05 | 0.22984 | 0.22984 | 0.22984 | 0.99676 | -0.06187 | 0.99587 | -0.078771 | 31.5712
3 | -0.17582 | -0.044499 | 0.17609 | 0.044671 | 0.00026949 | 0.00017193 | 0.26263 | 0.26263 | 0.26263 | 0.99676 | -0.06187 | 0.99843 | -0.029991 | 36.0752
4 | 0.14998 | 0.03797 | -0.14976 | -0.037834 | 0.00021318 | 0.00013585 | 0.22423 | 0.22423 | 0.22423 | 0.99587 | -0.078771 | 0.99433 | -0.10842 | 30.8003
5 | -0.23116 | -0.058596 | 0.23127 | 0.058668 | 0.00011181 | 7.1424e-05 | 0.34474 | 0.34474 | 0.34474 | 0.99843 | -0.029991 | 0.99895 | -0.019932 | 47.355
6 | 0.05507 | 0.013926 | -0.054994 | -0.013877 | 7.6314e-05 | 4.8447e-05 | 0.082118 | 0.082118 | 0.082118 | 0.99843 | -0.029991 | 0.99692 | -0.058924 | 22.5598
7 | 0.006068 | 0.0015207 | -0.0060671 | -0.0015206 | 8.4604e-07 | 1.8593e-07 | 0.0090762 | 0.0090763 | 0.0090763 | 0.99482 | -0.099148 | 0.99467 | -0.10208 | 2.4935
8 | 0.037409 | 0.0094352 | -0.037306 | -0.0093702 | 0.00010346 | 6.5074e-05 | 0.055976 | 0.055977 | 0.055977 | 0.99482 | -0.099148 | 0.99182 | -0.15709 | 15.3782
9 | -0.043477 | -0.010956 | 0.04352 | 0.010983 | 4.3027e-05 | 2.7185e-05 | 0.065052 | 0.065052 | 0.065052 | 0.99482 | -0.099148 | 0.9959 | -0.078483 | 17.8715
10 | 0.037306 | 0.0093702 | -0.037262 | -0.0093428 | 4.3466e-05 | 2.7342e-05 | 0.055977 | 0.055977 | 0.055977 | 0.99182 | -0.15709 | 0.99056 | -0.18154 | 15.3782
11 | -0.051262 | -0.012924 | 0.05131 | 0.012954 | 4.803e-05 | 3.0455e-05 | 0.07662 | 0.07662 | 0.07662 | 0.9959 | -0.078483 | 0.99692 | -0.058924 | 21.0495
12 | 0.0031864 | 0.00079847 | -0.0031863 | -0.00079855 | 9.8086e-08 | -8.3997e-08 | 0.004788 | 0.0047881 | 0.0047881 | 0.99025 | -0.18714 | 0.99021 | -0.18779 | 1.3154
13 | -0.052899 | -0.013304 | 0.052951 | 0.013337 | 5.1941e-05 | 3.296e-05 | 0.079506 | 0.079506 | 0.079506 | 0.99025 | -0.18714 | 0.99131 | -0.16661 | 21.8422
14 | 0.049712 | 0.012505 | -0.049667 | -0.012477 | 4.5557e-05 | 2.8877e-05 | 0.074718 | 0.074718 | 0.074718 | 0.99025 | -0.18714 | 0.98926 | -0.20634 | 20.5268
15 | 0.045359 | 0.011439 | -0.045304 | -0.011404 | 5.5817e-05 | 3.531e-05 | 0.068113 | 0.068113 | 0.068113 | 0.99131 | -0.16661 | 0.98998 | -0.19235 | 18.7123
16 | 0.039308 | 0.0098622 | -0.0393 | -0.0098567 | 8.7341e-06 | 5.5036e-06 | 0.059008 | 0.059008 | 0.059008 | 0.99131 | -0.16661 | 0.99107 | -0.17127 | 16.211
17 | -0.13762 | -0.034638 | 0.13781 | 0.034763 | 0.00019485 | 0.00012455 | 0.20663 | 0.20663 | 0.20663 | 0.99131 | -0.16661 | 0.99284 | -0.13703 | 56.7654
18 | 0.039267 | 0.0098701 | -0.039214 | -0.0098369 | 5.2726e-05 | 3.3228e-05 | 0.059074 | 0.059075 | 0.059075 | 0.98926 | -0.20634 | 0.98781 | -0.23451 | 16.2293
19 | 0.01311 | 0.0032879 | -0.013106 | -0.0032855 | 4.3472e-06 | 2.4024e-06 | 0.019757 | 0.019757 | 0.019757 | 0.98746 | -0.24132 | 0.9871 | -0.24828 | 5.4277
20 | 0.013671 | 0.0034296 | -0.013661 | -0.0034243 | 9.4829e-06 | 5.3075e-06 | 0.020602 | 0.020602 | 0.020602 | 0.98746 | -0.24132 | 0.98671 | -0.25588 | 5.6599
21 | -0.026781 | -0.0067175 | 0.026789 | 0.0067229 | 8.7043e-06 | 5.3884e-06 | 0.040358 | 0.040358 | 0.040358 | 0.98746 | -0.24132 | 0.98781 | -0.23451 | 11.0874
22 | 0.013106 | 0.0032855 | -0.013103 | -0.0032838 | 3.1517e-06 | 1.7419e-06 | 0.019757 | 0.019757 | 0.019757 | 0.9871 | -0.24828 | 0.98684 | -0.25333 | 5.4277
23 | 0.013661 | 0.0034243 | -0.013659 | -0.0034233 | 1.77e-06 | 9.9075e-07 | 0.020602 | 0.020602 | 0.020602 | 0.98671 | -0.25588 | 0.98657 | -0.2586 | 5.6599
24 | 0.0058409 | 0.0014638 | -0.0058401 | -0.0014637 | 8.7574e-07 | 1.7632e-07 | 0.0088097 | 0.0088099 | 0.0088099 | 0.98657 | -0.2586 | 0.98641 | -0.26175 | 2.4203
25 | 0.015061 | 0.0037787 | -0.015053 | -0.0037741 | 8.0097e-06 | 4.5894e-06 | 0.022626 | 0.022626 | 0.022626 | 0.99056 | -0.18154 | 0.98998 | -0.1927 | 6.216
26 | 0.041025 | 0.010332 | -0.040992 | -0.010311 | 3.348e-05 | 2.1126e-05 | 0.061682 | 0.061682 | 0.061682 | 0.98998 | -0.19235 | 0.9891 | -0.20943 | 16.9456
27 | 0.013399 | 0.0033605 | -0.013392 | -0.0033563 | 7.6196e-06 | 4.2301e-06 | 0.020119 | 0.020119 | 0.020119 | 0.99107 | -0.17127 | 0.99045 | -0.18321 | 5.5273
28 | 0.0259 | 0.0064962 | -0.025887 | -0.0064878 | 1.3542e-05 | 8.3596e-06 | 0.038889 | 0.038889 | 0.038889 | 0.99107 | -0.17127 | 0.9905 | -0.18225 | 10.6838
29 | -0.14327 | -0.036131 | 0.14347 | 0.036256 | 0.00019648 | 0.00012516 | 0.21481 | 0.21481 | 0.21481 | 0.99284 | -0.13703 | 0.99433 | -0.10842 | 29.5064
30 | 0.005974 | 0.0014971 | -0.0059734 | -0.001497 | 5.9698e-07 | 1.2774e-07 | 0.008975 | 0.0089751 | 0.0089751 | 0.99045 | -0.18321 | 0.99035 | -0.1853 | 2.4657
31 | 0.0074179 | 0.0018592 | -0.0074171 | -0.0018589 | 8.5707e-07 | 3.1172e-07 | 0.011144 | 0.011144 | 0.011144 | 0.99045 | -0.18321 | 0.99033 | -0.18563 | 3.0617
32 | -0.23318 | -0.059147 | 0.23341 | 0.05929 | 0.0002237 | 0.00014291 | 0.34759 | 0.34759 | 0.34759 | 0.99895 | -0.019932 | 1 | 0 | 47.7463
33 | 0.015053 | 0.0037741 | -0.015048 | -0.0037715 | 4.5568e-06 | 2.6113e-06 | 0.022626 | 0.022626 | 0.022626 | 0.98998 | -0.1927 | 0.98965 | -0.19906 | 6.216
34 | 0.03735 | 0.009398 | -0.037307 | -0.0093712 | 4.2655e-05 | 2.6838e-05 | 0.056203 | 0.056204 | 0.056204 | 0.9891 | -0.20943 | 0.98786 | -0.23336 | 15.4405
35 | 0.0031971 | 0.00080115 | -0.003197 | -0.00080123 | 9.7122e-08 | -8.2258e-08 | 0.0048036 | 0.0048037 | 0.0048037 | 0.99035 | -0.1853 | 0.99031 | -0.18594 | 1.3197
36 | 0.020465 | 0.0051298 | -0.020464 | -0.0051296 | 3.7823e-07 | 2.278e-07 | 0.030452 | 0.030452 | 0.030452 | 1 | 0 | 0.99998 | -0.00038791 | 8.366
37 | -0.018224 | -0.004568 | 0.018224 | 0.004568 | 2.2627e-08 | 1.3405e-08 | 0.027118 | 0.027118 | 0.027118 | 0.99998 | -0.00041398 | 0.99998 | -0.00038791 | 7.45
38 | 0.016155 | 0.0040496 | -0.016153 | -0.0040484 | 2.1348e-06 | 1.237e-06 | 0.02404 | 0.02404 | 0.02404 | 0.99998 | -0.00041398 | 0.99983 | -0.0031877 | 6.6045
39 | 0.033501 | 0.0084171 | -0.033485 | -0.0084072 | 1.5786e-05 | 9.8917e-06 | 0.050469 | 0.050469 | 0.050469 | 0.98786 | -0.23336 | 0.98735 | -0.24324 | 13.8652
40 | 0.030812 | 0.0077373 | -0.030798 | -0.0077287 | 1.3892e-05 | 8.6712e-06 | 0.046441 | 0.046441 | 0.046441 | 0.98735 | -0.24324 | 0.98687 | -0.25269 | 12.7586
41 | 0.028164 | 0.0070686 | -0.02815 | -0.0070597 | 1.4285e-05 | 8.8727e-06 | 0.04247 | 0.04247 | 0.04247 | 0.98687 | -0.25269 | 0.98632 | -0.26333 | 11.6676
42 | 0.020803 | 0.0052185 | -0.020795 | -0.0052133 | 8.5804e-06 | 5.1952e-06 | 0.031387 | 0.031387 | 0.031387 | 0.98632 | -0.26333 | 0.98588 | -0.27199 | 8.6227
43 | 0.015269 | 0.0038284 | -0.015264 | -0.0038253 | 5.3941e-06 | 3.107e-06 | 0.023047 | 0.023047 | 0.023047 | 0.98588 | -0.27199 | 0.9855 | -0.27941 | 6.3316
44 | -0.0047331 | -0.0011862 | 0.0047336 | 0.0011862 | 5.3641e-07 | -1.3427e-08 | 0.0071474 | 0.0071473 | 0.0071474 | 0.98537 | -0.28179 | 0.9855 | -0.27941 | 1.9636

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25905 | 0.065305

## res_load
| p_mw | q_mvar
0 | 0.010139 | 0.002541
1 | 0.011812 | 0.0029604
2 | 0.003756 | 0.00094135
3 | 0.0060671 | 0.0015206
4 | 0.0077422 | 0.0019404
5 | 0.0031863 | 0.00079855
6 | 0.0104 | 0.0026065
7 | 0.012425 | 0.0031139
8 | 0.013103 | 0.0032838
9 | 0.0078184 | 0.0019595
10 | 0.022201 | 0.0055642
11 | 0.0042785 | 0.0010723
12 | 0.0054582 | 0.0013679
13 | 0.025887 | 0.0064878
14 | 0.0062948 | 0.0015776
15 | 0.001912 | 0.00047919
16 | 0.0036833 | 0.00092312
17 | 0.0058401 | 0.0014637
18 | 0.015048 | 0.0037715
19 | 0.0074171 | 0.0018589
20 | 0.0036416 | 0.00091267
21 | 0.0027763 | 0.00069581
22 | 0.003197 | 0.00080123
23 | 0.0035317 | 0.00088512
24 | 0.0020682 | 0.00051835
25 | 0.0022408 | 0.0005616
26 | 0.016153 | 0.0040484
27 | 0.0038069 | 0.00095409
28 | 0.0026727 | 0.00066985
29 | 0.0026339 | 0.00066012
30 | 0.0073466 | 0.0018412
31 | 0.0055254 | 0.0013848
32 | 0.0047331 | 0.0011862
33 | 0.01053 | 0.0026391

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1