## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-661_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-661_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-661_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-661_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-661_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-661_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-661_0_6_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_261-661_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-661_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-661_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-661_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-661_0_6_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_261-661_0_6_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_261-661_0_6_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_261-661_0_6_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_261-661_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-661_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-661_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-661_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-661_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-661_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-661_0_6_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_261-661_0_6_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_261-661_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-661_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_261-661_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-661_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_261-661_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_261-661_0_6_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_261-661_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_261-661_0_6_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_261-661_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_MV_550_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-661_0_6_load_0 | 0 | 0.038497 | 0.0096482 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-661_0_6_load_1 | 1 | 0.03772 | 0.0094535 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-661_0_6_load_3 | 3 | 0.0088708 | 0.0022232 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-661_0_6_load_4 | 4 | 0.020959 | 0.0052528 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-661_0_6_load_5 | 5 | 0.031922 | 0.0080004 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-661_0_6_load_23 | 6 | 0.0089886 | 0.0022527 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-661_0_6_load_6 | 7 | 0.020092 | 0.0050355 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-661_0_6_load_8 | 8 | 0.017042 | 0.0042712 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-661_0_6_load_7 | 9 | 0.029908 | 0.0074956 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-661_0_6_load_21 | 11 | 0.073183 | 0.018341 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-661_0_6_load_22 | 12 | 0.021217 | 0.0053174 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-661_0_6_load_19 | 13 | 0.034816 | 0.0087256 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-661_0_6_load_32 | 14 | 0.022907 | 0.0057411 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-661_0_6_load_10 | 15 | 0.0063488 | 0.0015912 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-661_0_6_load_11 | 16 | 0.0062128 | 0.0015571 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-661_0_6_load_12 | 17 | 0.0083545 | 0.0020938 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-661_0_6_load_13 | 18 | 0.0076139 | 0.0019082 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-661_0_6_load_14 | 19 | 0.0075014 | 0.00188 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-661_0_6_load_15 | 20 | 0.0059148 | 0.0014824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-661_0_6_load_33 | 21 | 0.010653 | 0.0026699 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-661_0_6_load_28 | 22 | 0.0085146 | 0.002134 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-661_0_6_load_16 | 23 | 0.0071646 | 0.0017956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-661_0_6_load_17 | 24 | 0.0038607 | 0.00096758 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-661_0_6_load_18 | 25 | 0.0081758 | 0.002049 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-661_0_6_load_20 | 26 | 0.0030596 | 0.0007668 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-661_0_6_load_34 | 27 | 0.0053272 | 0.0013351 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-661_0_6_load_27 | 28 | 0.023157 | 0.0058037 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-661_0_6_load_24 | 29 | 0.04134 | 0.010361 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-661_0_6_load_25 | 30 | 0.025413 | 0.0063692 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-661_0_6_line_0 |  | 0 | 1 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-661_0_6_line_1 |  | 0 | 2 | 0.01146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-661_0_6_line_2 |  | 1 | 3 | 0.022482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-661_0_6_line_3 |  | 2 | 4 | 0.026587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-661_0_6_line_4 |  | 2 | 5 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-661_0_6_line_5 |  | 3 | 6 | 0.01308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-661_0_6_line_6 |  | 4 | 7 | 0.0024942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-661_0_6_line_7 |  | 5 | 8 | 0.025035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-661_0_6_line_8 |  | 7 | 9 | 0.011733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-661_0_6_line_9 |  | 8 | 10 | 0.013308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-661_0_6_line_10 |  | 10 | 11 | 0.018698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-661_0_6_line_11 |  | 10 | 12 | 0.0026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-661_0_6_line_12 |  | 11 | 13 | 0.0097281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-661_0_6_line_13 |  | 12 | 14 | 0.015451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-661_0_6_line_14 |  | 13 | 24 | 0.009076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-661_0_6_line_15 |  | 14 | 28 | 0.0015126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-661_0_6_line_16 |  | 15 | 16 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-661_0_6_line_17 |  | 15 | 17 | 0.00015291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-661_0_6_line_18 |  | 16 | 18 | 0.0045519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-661_0_6_line_19 |  | 17 | 19 | 0.023779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-661_0_6_line_20 |  | 18 | 20 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-661_0_6_line_21 |  | 19 | 21 | 0.0023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-661_0_6_line_22 |  | 21 | 22 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-661_0_6_line_23 |  | 22 | 31 | 0.034898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-661_0_6_line_24 |  | 23 | 24 | 0.011552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-661_0_6_line_25 |  | 23 | 25 | 0.0052959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-661_0_6_line_26 |  | 25 | 26 | 0.0012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-661_0_6_line_27 |  | 26 | 27 | 0.0070653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-661_0_6_line_28 |  | 28 | 30 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-661_0_6_line_29 |  | 29 | 30 | 0.0061981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-661_0_6_line_30 |  | 29 | 31 | 0.0074248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-661_0_6_trafo_8 | 0.63 MVA 20/0.4 kV | 32 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2683777.1382 | 1248376.5109 | 2683777.2715 | 1248392.963
1 | 2683777.0454 | 1248365.0517 | 2683777.1382 | 1248376.5109
2 | 2683777.4535 | 1248415.4442 | 2683777.2715 | 1248392.963
3 | 2683777.0454 | 1248365.0517 | 2683776.9091 | 1248338.4652
4 | 2683777.0454 | 1248365.0517 | 2683766.0668 | 1248365.0784
5 | 2683777.4535 | 1248415.4442 | 2683777.5594 | 1248428.5234
6 | 2683776.9091 | 1248338.4652 | 2683776.8963 | 1248335.971
7 | 2683766.0668 | 1248365.0784 | 2683756.9175 | 1248365.1007 | 2683741.1704 | 1248364.589 | 2683741.0423 | 1248364.6108
8 | 2683776.8361 | 1248324.2382 | 2683776.8963 | 1248335.971
9 | 2683727.9219 | 1248366.8369 | 2683741.0423 | 1248364.6108
10 | 2683727.9219 | 1248366.8369 | 2683729.6142 | 1248385.4586
11 | 2683727.9219 | 1248366.8369 | 2683727.6592 | 1248364.2265
12 | 2683730.4947 | 1248395.1468 | 2683729.6142 | 1248385.4586
13 | 2683726.112 | 1248348.8536 | 2683727.6592 | 1248364.2265
14 | 2683730.4947 | 1248395.1468 | 2683731.3161 | 1248404.1856
15 | 2683726.112 | 1248348.8536 | 2683725.9605 | 1248347.3486
16 | 2683683.3144 | 1248372.4065 | 2683678.7305 | 1248384.7655
17 | 2683683.3676 | 1248372.2631 | 2683683.3144 | 1248372.4065
18 | 2683677.1476 | 1248389.0333 | 2683678.7305 | 1248384.7655
19 | 2683683.3676 | 1248372.2631 | 2683691.6368 | 1248349.968
20 | 2683671.1987 | 1248405.0725 | 2683677.1476 | 1248389.0333
21 | 2683691.6368 | 1248349.968 | 2683692.467 | 1248347.7296
22 | 2683696.6827 | 1248336.3635 | 2683692.467 | 1248347.7296
23 | 2683721.892 | 1248319.4834 | 2683706.2854 | 1248320.7752 | 2683703.0502 | 1248322.0415 | 2683700.7365 | 1248325.4336 | 2683696.6827 | 1248336.3635
24 | 2683731.3161 | 1248404.1856 | 2683731.3337 | 1248404.3796 | 2683732.3852 | 1248415.6882
25 | 2683732.8754 | 1248420.9613 | 2683732.3852 | 1248415.6882
26 | 2683732.8754 | 1248420.9613 | 2683732.9955 | 1248422.2525
27 | 2683733.6496 | 1248429.2874 | 2683732.9955 | 1248422.2525
28 | 2683724.3399 | 1248332.8465 | 2683725.3656 | 1248341.4376 | 2683725.9605 | 1248347.3486
29 | 2683724.3399 | 1248332.8465 | 2683723.6052 | 1248326.6921
30 | 2683721.892 | 1248319.4834 | 2683723.3936 | 1248324.9198 | 2683723.6052 | 1248326.6921

## bus_geodata
| x | y | coords
0 | 2683777.1382 | 1248376.5109
1 | 2683777.2715 | 1248392.963
2 | 2683777.0454 | 1248365.0517
3 | 2683777.4535 | 1248415.4442
4 | 2683776.9091 | 1248338.4652
5 | 2683766.0668 | 1248365.0784
6 | 2683777.5594 | 1248428.5234
7 | 2683776.8963 | 1248335.971
8 | 2683741.0423 | 1248364.6108
9 | 2683776.8361 | 1248324.2382
10 | 2683727.9219 | 1248366.8369
11 | 2683729.6142 | 1248385.4586
12 | 2683727.6592 | 1248364.2265
13 | 2683730.4947 | 1248395.1468
14 | 2683726.112 | 1248348.8536
15 | 2683683.3144 | 1248372.4065
16 | 2683678.7305 | 1248384.7655
17 | 2683683.3676 | 1248372.2631
18 | 2683677.1476 | 1248389.0333
19 | 2683691.6368 | 1248349.968
20 | 2683671.1987 | 1248405.0725
21 | 2683692.467 | 1248347.7296
22 | 2683696.6827 | 1248336.3635
23 | 2683732.3852 | 1248415.6882
24 | 2683731.3161 | 1248404.1856
25 | 2683732.8754 | 1248420.9613
26 | 2683732.9955 | 1248422.2525
27 | 2683733.6496 | 1248429.2874
28 | 2683725.9605 | 1248347.3486
29 | 2683723.6052 | 1248326.6921
30 | 2683724.3399 | 1248332.8465
31 | 2683721.892 | 1248319.4834
32 | 2683727.9219 | 1248366.8369

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9967 | -0.063437 | 0.038497 | 0.0096482
1 | 0.99587 | -0.079495 | 0.03772 | 0.0094535
2 | 0.99768 | -0.044541 | 0 | 0
3 | 0.9955 | -0.086554 | 0.0088708 | 0.0022232
4 | 0.99596 | -0.077633 | 0.020959 | 0.0052528
5 | 0.9985 | -0.02869 | 0.031922 | 0.0080004
6 | 0.99539 | -0.088622 | 0.0089886 | 0.0022527
7 | 0.99585 | -0.079825 | 0.020092 | 0.0050355
8 | 1 | 0 | -0.53136 | -0.13354
9 | 0.99553 | -0.085994 | 0.029908 | 0.0074956
10 | 0.99866 | -0.025606 | 0 | 0
11 | 0.99636 | -0.070016 | 0.073183 | 0.018341
12 | 0.99851 | -0.028589 | 0.021217 | 0.0053174
13 | 0.9958 | -0.08068 | 0.034816 | 0.0087256
14 | 0.99769 | -0.044262 | 0.022907 | 0.0057411
15 | 0.99151 | -0.16342 | 0.0063488 | 0.0015912
16 | 0.99127 | -0.16803 | 0.0062128 | 0.0015571
17 | 0.99152 | -0.16335 | 0.0083545 | 0.0020938
18 | 0.99122 | -0.16913 | 0.0076139 | 0.0019082
19 | 0.99227 | -0.14884 | 0.0075014 | 0.00188
20 | 0.99113 | -0.17092 | 0.0059148 | 0.0014824
21 | 0.99236 | -0.14706 | 0.010653 | 0.0026699
22 | 0.99294 | -0.13578 | 0.0085146 | 0.002134
23 | 0.99532 | -0.089904 | 0.0071646 | 0.0017956
24 | 0.99557 | -0.085082 | 0.0038607 | 0.00096758
25 | 0.99524 | -0.091447 | 0.0081758 | 0.002049
26 | 0.99524 | -0.091638 | 0.0030596 | 0.0007668
27 | 0.9952 | -0.092301 | 0.0053272 | 0.0013351
28 | 0.99759 | -0.046263 | 0.023157 | 0.0058037
29 | 0.9953 | -0.090166 | 0.04134 | 0.010361
30 | 0.99588 | -0.079 | 0.025413 | 0.0063692
31 | 0.99489 | -0.098154 | 0 | 0
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.055629 | 0.01396 | -0.055586 | -0.013933 | 4.2562e-05 | 2.7025e-05 | 0.083057 | 0.083057 | 0.083057 | 0.9967 | -0.063437 | 0.99587 | -0.079495 | 22.8179
1 | -0.094125 | -0.023609 | 0.09421 | 0.023663 | 8.4868e-05 | 5.4166e-05 | 0.14053 | 0.14053 | 0.14053 | 0.9967 | -0.063437 | 0.99768 | -0.044541 | 38.6073
2 | 0.017866 | 0.0044799 | -0.01786 | -0.0044764 | 6.0086e-06 | 3.5531e-06 | 0.026696 | 0.026697 | 0.026697 | 0.99587 | -0.079495 | 0.9955 | -0.086554 | 7.3342
3 | 0.071084 | 0.017864 | -0.070972 | -0.017793 | 0.0001121 | 7.14e-05 | 0.10604 | 0.10604 | 0.10604 | 0.99768 | -0.044541 | 0.99596 | -0.077633 | 29.1313
4 | -0.16529 | -0.041527 | 0.16542 | 0.041607 | 0.00012515 | 7.9808e-05 | 0.24657 | 0.24657 | 0.24657 | 0.99768 | -0.044541 | 0.9985 | -0.02869 | 33.8693
5 | 0.0089895 | 0.0022531 | -0.0089886 | -0.0022527 | 8.8559e-07 | 3.9674e-07 | 0.013437 | 0.013437 | 0.013437 | 0.9955 | -0.086554 | 0.99539 | -0.088622 | 3.6915
6 | 0.050014 | 0.01254 | -0.050008 | -0.012537 | 5.2226e-06 | 3.31e-06 | 0.074725 | 0.074725 | 0.074725 | 0.99596 | -0.077633 | 0.99585 | -0.079825 | 20.5287
7 | -0.19734 | -0.049607 | 0.19761 | 0.049779 | 0.00027075 | 0.00017229 | 0.29414 | 0.29414 | 0.29414 | 0.9985 | -0.02869 | 1 | 0 | 26.9359
8 | 0.029917 | 0.0075011 | -0.029908 | -0.0074956 | 8.7926e-06 | 5.4747e-06 | 0.044703 | 0.044703 | 0.044703 | 0.99585 | -0.079825 | 0.99553 | -0.085994 | 12.2811
9 | 0.3321 | 0.083758 | -0.33169 | -0.083498 | 0.00040653 | 0.00025966 | 0.49435 | 0.49435 | 0.49435 | 1 | 0 | 0.99866 | -0.025606 | 45.2703
10 | 0.13592 | 0.034193 | -0.13563 | -0.034009 | 0.00028772 | 0.0001839 | 0.20257 | 0.20257 | 0.20257 | 0.99866 | -0.025606 | 0.99636 | -0.070016 | 55.6498
11 | 0.19577 | 0.049305 | -0.19574 | -0.049288 | 2.7922e-05 | 1.7767e-05 | 0.29179 | 0.29179 | 0.29179 | 0.99866 | -0.025606 | 0.99851 | -0.028589 | 26.7204
12 | 0.062448 | 0.015668 | -0.062416 | -0.015647 | 3.1735e-05 | 2.0184e-05 | 0.093269 | 0.093269 | 0.093269 | 0.99636 | -0.070016 | 0.9958 | -0.08068 | 25.6234
13 | 0.17453 | 0.04397 | -0.1744 | -0.043887 | 0.00013073 | 8.3059e-05 | 0.26017 | 0.26017 | 0.26017 | 0.99851 | -0.028589 | 0.99769 | -0.044262 | 23.825
14 | 0.0276 | 0.0069218 | -0.027595 | -0.0069182 | 5.7898e-06 | 3.5874e-06 | 0.041245 | 0.041245 | 0.041245 | 0.9958 | -0.08068 | 0.99557 | -0.085082 | 11.3309
15 | 0.15149 | 0.038146 | -0.15147 | -0.038137 | 1.4487e-05 | 9.2319e-06 | 0.226 | 0.226 | 0.226 | 0.99769 | -0.044262 | 0.99759 | -0.046263 | 31.0444
16 | 0.019747 | 0.0049508 | -0.019743 | -0.0049482 | 4.3416e-06 | 2.6086e-06 | 0.029636 | 0.029636 | 0.029636 | 0.99151 | -0.16342 | 0.99127 | -0.16803 | 8.1418
17 | -0.026096 | -0.006542 | 0.026096 | 0.006542 | 8.7953e-08 | 5.4318e-08 | 0.039164 | 0.039164 | 0.039164 | 0.99151 | -0.16342 | 0.99152 | -0.16335 | 10.7594
18 | 0.01353 | 0.0033911 | -0.013529 | -0.0033907 | 7.0412e-07 | 3.9196e-07 | 0.02031 | 0.02031 | 0.02031 | 0.99127 | -0.16803 | 0.99122 | -0.16913 | 5.5797
19 | -0.034451 | -0.0086358 | 0.034474 | 0.0086508 | 2.3837e-05 | 1.4949e-05 | 0.051702 | 0.051702 | 0.051702 | 0.99152 | -0.16335 | 0.99227 | -0.14884 | 14.2039
20 | 0.0059153 | 0.0014825 | -0.0059148 | -0.0014824 | 5.0587e-07 | 1.0327e-07 | 0.0088801 | 0.0088802 | 0.0088802 | 0.99122 | -0.16913 | 0.99113 | -0.17092 | 2.4396
21 | -0.041976 | -0.010531 | 0.041979 | 0.010533 | 3.5479e-06 | 2.2398e-06 | 0.062951 | 0.062951 | 0.062951 | 0.99227 | -0.14884 | 0.99236 | -0.14706 | 17.2943
22 | -0.052632 | -0.013203 | 0.052661 | 0.013221 | 2.8318e-05 | 1.7967e-05 | 0.078925 | 0.078925 | 0.078925 | 0.99236 | -0.14706 | 0.99294 | -0.13578 | 21.6828
23 | -0.061175 | -0.015355 | 0.061285 | 0.015425 | 0.00011001 | 6.9953e-05 | 0.091685 | 0.091685 | 0.091685 | 0.99294 | -0.13578 | 0.99489 | -0.098154 | 25.1883
24 | -0.023729 | -0.0059473 | 0.023734 | 0.0059507 | 5.4516e-06 | 3.3388e-06 | 0.035474 | 0.035474 | 0.035474 | 0.99532 | -0.089904 | 0.99557 | -0.085082 | 9.7457
25 | 0.016564 | 0.0041517 | -0.016563 | -0.004151 | 1.2178e-06 | 7.1058e-07 | 0.024763 | 0.024763 | 0.024763 | 0.99532 | -0.089904 | 0.99524 | -0.091447 | 6.8031
26 | 0.008387 | 0.002102 | -0.0083869 | -0.0021019 | 7.6465e-08 | 3.2086e-08 | 0.01254 | 0.01254 | 0.01254 | 0.99524 | -0.091447 | 0.99524 | -0.091638 | 3.4449
27 | 0.0053273 | 0.0013351 | -0.0053272 | -0.0013351 | 1.6809e-07 | 1.5771e-08 | 0.0079651 | 0.0079651 | 0.0079651 | 0.99524 | -0.091638 | 0.9952 | -0.092301 | 2.1882
28 | 0.12832 | 0.032333 | -0.12812 | -0.032205 | 0.0002006 | 0.0001282 | 0.19146 | 0.19146 | 0.19146 | 0.99759 | -0.046263 | 0.99588 | -0.079 | 52.5995
29 | -0.10265 | -0.025801 | 0.1027 | 0.025836 | 5.4758e-05 | 3.4965e-05 | 0.15349 | 0.15349 | 0.15349 | 0.9953 | -0.090166 | 0.99588 | -0.079 | 42.1677
30 | 0.061309 | 0.01544 | -0.061285 | -0.015425 | 2.3405e-05 | 1.4883e-05 | 0.091685 | 0.091685 | 0.091685 | 0.9953 | -0.090166 | 0.99489 | -0.098154 | 25.1882

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5484 | 0.13781

## res_load
| p_mw | q_mvar
0 | 0.038497 | 0.0096482
1 | 0.03772 | 0.0094535
2 | 0.0088708 | 0.0022232
3 | 0.020959 | 0.0052528
4 | 0.031922 | 0.0080004
5 | 0.0089886 | 0.0022527
6 | 0.020092 | 0.0050355
7 | 0.017042 | 0.0042712
8 | 0.029908 | 0.0074956
9 | 0.073183 | 0.018341
10 | 0.021217 | 0.0053174
11 | 0.034816 | 0.0087256
12 | 0.022907 | 0.0057411
13 | 0.0063488 | 0.0015912
14 | 0.0062128 | 0.0015571
15 | 0.0083545 | 0.0020938
16 | 0.0076139 | 0.0019082
17 | 0.0075014 | 0.00188
18 | 0.0059148 | 0.0014824
19 | 0.010653 | 0.0026699
20 | 0.0085146 | 0.002134
21 | 0.0071646 | 0.0017956
22 | 0.0038607 | 0.00096758
23 | 0.0081758 | 0.002049
24 | 0.0030596 | 0.0007668
25 | 0.0053272 | 0.0013351
26 | 0.023157 | 0.0058037
27 | 0.04134 | 0.010361
28 | 0.025413 | 0.0063692

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1