## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-667_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-667_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-667_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-667_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-667_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-667_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-667_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_261-667_0_5_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_261-667_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_261-667_0_5_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_261-667_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-667_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_261-667_0_5_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_261-667_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-667_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_261-667_0_5_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_261-667_0_5_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_261-667_0_5_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_261-667_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-667_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_261-667_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_261-667_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_261-667_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-667_0_5_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_261-667_0_5_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_261-667_0_5_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_261-667_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_261-667_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_261-667_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_261-667_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_261-667_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_261-667_0_5_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_261-667_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_261-667_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_261-667_0_5_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_261-667_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_261-667_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_261-667_0_5_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_261-667_0_5_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_261-667_0_5_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_261-667_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_261-667_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_261-667_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_261-667_0_5_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_261-667_0_5_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_261-667_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_261-667_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_261-667_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_261-667_0_5_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_261-667_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_MV_533_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-667_0_5_load_0 | 0 | 0.011565 | 0.0028985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-667_0_5_load_1 | 1 | 0.0063056 | 0.0015803 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-667_0_5_load_3 | 3 | 0.0080052 | 0.0020063 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-667_0_5_load_56 | 7 | 0.006084 | 0.0015248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-667_0_5_load_58 | 9 | 0.0093372 | 0.0023401 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-667_0_5_load_46 | 12 | 0.011811 | 0.0029602 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-667_0_5_load_54 | 14 | 0.014941 | 0.0037446 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-667_0_5_load_53 | 15 | 0.015689 | 0.0039319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-667_0_5_load_36 | 16 | 0.019005 | 0.0047631 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-667_0_5_load_42 | 17 | 0.075687 | 0.018969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-667_0_5_load_34 | 20 | 0.012183 | 0.0030532 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-667_0_5_load_49 | 21 | 0.014584 | 0.0036551 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-667_0_5_load_38 | 23 | 0.013193 | 0.0033066 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-667_0_5_load_37 | 24 | 0.027323 | 0.0068478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-667_0_5_load_40 | 25 | 0.013911 | 0.0034863 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-667_0_5_load_39 | 27 | 0.022267 | 0.0055805 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-667_0_5_load_35 | 31 | 0.011852 | 0.0029703 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-667_0_5_load_29 | 32 | 0.010595 | 0.0026553 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-667_0_5_load_27 | 33 | 0.0089704 | 0.0022482 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-667_0_5_load_47 | 34 | 0.018354 | 0.0045999 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-667_0_5_load_41 | 35 | 0.034043 | 0.0085321 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-667_0_5_load_32 | 36 | 0.012311 | 0.0030855 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-667_0_5_load_55 | 37 | 0.0060285 | 0.0015109 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-667_0_5_load_57 | 38 | 0.011769 | 0.0029495 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-667_0_5_load_45 | 39 | 0.012156 | 0.0030466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-667_0_5_load_50 | 40 | 0.013141 | 0.0032934 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-667_0_5_load_43 | 41 | 0.0075772 | 0.001899 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-667_0_5_load_44 | 42 | 0.012123 | 0.0030382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-667_0_5_load_48 | 43 | 0.014284 | 0.0035798 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-667_0_5_load_52 | 44 | 0.01349 | 0.0033809 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-667_0_5_load_28 | 45 | 0.0096221 | 0.0024115 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-667_0_5_load_33 | 46 | 0.026167 | 0.0065582 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-667_0_5_load_31 | 47 | 0.025652 | 0.0064291 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-667_0_5_load_51 | 48 | 0.01318 | 0.0033033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-667_0_5_load_30 | 49 | 0.025362 | 0.0063563 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-667_0_5_line_0 |  | 0 | 1 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-667_0_5_line_1 |  | 0 | 2 | 0.0055877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-667_0_5_line_2 |  | 1 | 3 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-667_0_5_line_3 |  | 2 | 4 | 0.022092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-667_0_5_line_4 |  | 4 | 8 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-667_0_5_line_5 |  | 4 | 9 | 0.0054279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-667_0_5_line_6 |  | 5 | 6 | 0.019998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-667_0_5_line_7 |  | 5 | 7 | 0.026328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-667_0_5_line_8 |  | 6 | 35 | 0.013137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-667_0_5_line_9 |  | 6 | 10 | 0.00203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-667_0_5_line_10 |  | 7 | 37 | 0.0089898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-667_0_5_line_11 |  | 8 | 16 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-667_0_5_line_12 |  | 8 | 17 | 0.020477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-667_0_5_line_13 |  | 9 | 38 | 0.015719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_261-667_0_5_line_14 |  | 10 | 11 | 0.030848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_261-667_0_5_line_15 |  | 10 | 12 | 0.025291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_261-667_0_5_line_16 |  | 11 | 25 | 0.022826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-667_0_5_line_17 |  | 11 | 26 | 0.014769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-667_0_5_line_18 |  | 11 | 27 | 0.012114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-667_0_5_line_19 |  | 12 | 39 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-667_0_5_line_20 |  | 13 | 14 | 0.0095738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-667_0_5_line_21 |  | 13 | 15 | 0.0040356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-667_0_5_line_22 |  | 14 | 26 | 0.0092234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-667_0_5_line_23 |  | 16 | 18 | 0.0091887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-667_0_5_line_24 |  | 18 | 19 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-667_0_5_line_25 |  | 18 | 20 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-667_0_5_line_26 |  | 19 | 21 | 0.019854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-667_0_5_line_27 |  | 20 | 31 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-667_0_5_line_28 |  | 21 | 40 | 0.020483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-667_0_5_line_29 |  | 22 | 23 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-667_0_5_line_30 |  | 22 | 24 | 0.012035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-667_0_5_line_31 |  | 23 | 27 | 0.013884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-667_0_5_line_32 |  | 25 | 44 | 0.010696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-667_0_5_line_33 |  | 26 | 36 | 0.015206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-667_0_5_line_34 |  | 28 | 29 | 0.004762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-667_0_5_line_35 |  | 28 | 30 | 0.010411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-667_0_5_line_36 |  | 28 | 31 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-667_0_5_line_37 |  | 29 | 34 | 0.0091792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-667_0_5_line_38 |  | 30 | 32 | 0.024736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-667_0_5_line_39 |  | 30 | 33 | 0.012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-667_0_5_line_40 |  | 33 | 45 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-667_0_5_line_41 |  | 34 | 43 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-667_0_5_line_42 |  | 36 | 49 | 0.012749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-667_0_5_line_43 |  | 37 | 38 | 0.013433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_261-667_0_5_line_44 |  | 39 | 42 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-667_0_5_line_45 |  | 41 | 42 | 0.0025469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-667_0_5_line_46 |  | 44 | 48 | 0.0097675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-667_0_5_line_47 |  | 46 | 47 | 0.021498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-667_0_5_line_48 |  | 47 | 49 | 0.016508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-667_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 50 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681324.537 | 1247175.8932 | 2681312.2734 | 1247173.4863
1 | 2681330.0201 | 1247176.9693 | 2681324.537 | 1247175.8932
2 | 2681312.2734 | 1247173.4863 | 2681294.4616 | 1247169.9905
3 | 2681330.0201 | 1247176.9693 | 2681335.708 | 1247178.0815 | 2681342.5417 | 1247179.365 | 2681351.7263 | 1247181.0811
4 | 2681348.6016 | 1247196.8498 | 2681348.9017 | 1247195.3528 | 2681349.8836 | 1247190.4071 | 2681350.2084 | 1247188.7548 | 2681350.4517 | 1247187.535 | 2681351.7263 | 1247181.0811
5 | 2681351.7263 | 1247181.0811 | 2681357.0611 | 1247182.0817
6 | 2681416.658 | 1247213.607 | 2681417.2436 | 1247210.5684 | 2681418.6353 | 1247203.2933 | 2681418.9199 | 1247201.8183 | 2681419.1885 | 1247200.4099 | 2681420.4252 | 1247193.9666
7 | 2681420.4252 | 1247193.9666 | 2681394.5486 | 1247189.113
8 | 2681416.658 | 1247213.607 | 2681411.5457 | 1247211.2907 | 2681404.1869 | 1247209.722
9 | 2681416.658 | 1247213.607 | 2681417.1398 | 1247214.2808 | 2681417.4562 | 1247215.4415
10 | 2681385.7128 | 1247187.4558 | 2681394.5486 | 1247189.113
11 | 2681348.6016 | 1247196.8498 | 2681336.2368 | 1247194.5469
12 | 2681348.6016 | 1247196.8498 | 2681354.1168 | 1247197.8818 | 2681357.0145 | 1247200.301 | 2681367.8997 | 1247202.4293
13 | 2681357.0611 | 1247182.0817 | 2681372.5105 | 1247184.9795
14 | 2681417.4562 | 1247215.4415 | 2681427.827 | 1247217.1296 | 2681423.1014 | 1247222.9579 | 2681429.764 | 1247225.6958 | 2681426.6885 | 1247228.5223 | 2681425.7441 | 1247229.6324
15 | 2681417.4562 | 1247215.4415 | 2681416.896 | 1247217.1796 | 2681411.316 | 1247226.3652 | 2681409.978 | 1247228.0815 | 2681404.1648 | 1247236.8747
16 | 2681425.7441 | 1247229.6324 | 2681428.2445 | 1247231.8238 | 2681429.8567 | 1247233.7919 | 2681437.0639 | 1247249.1411
17 | 2681425.7441 | 1247229.6324 | 2681426.6885 | 1247228.5223 | 2681429.764 | 1247225.6958 | 2681433.537 | 1247222.6787 | 2681436.1108 | 1247226.1277
18 | 2681425.7441 | 1247229.6324 | 2681421.9361 | 1247234.0945 | 2681418.5028 | 1247239.3142
19 | 2681396.2555 | 1247248.8385 | 2681404.1648 | 1247236.8747
20 | 2681453.7621 | 1247219.6653 | 2681444.7719 | 1247222.9567
21 | 2681453.7621 | 1247219.6653 | 2681457.5509 | 1247218.2755
22 | 2681436.1108 | 1247226.1277 | 2681444.7719 | 1247222.9567
23 | 2681327.2034 | 1247192.8645 | 2681336.2368 | 1247194.5469
24 | 2681315.4649 | 1247190.6575 | 2681322.0122 | 1247191.8926 | 2681327.2034 | 1247192.8645
25 | 2681327.2034 | 1247192.8645 | 2681314.3462 | 1247208.6103
26 | 2681315.4649 | 1247190.6575 | 2681295.9539 | 1247186.9807
27 | 2681305.6701 | 1247219.2356 | 2681314.3462 | 1247208.6103
28 | 2681295.9539 | 1247186.9807 | 2681275.8256 | 1247183.1875
29 | 2681399.5244 | 1247268.1673 | 2681410.8733 | 1247250.9134
30 | 2681399.5244 | 1247268.1673 | 2681409.6608 | 1247274.6545
31 | 2681410.8733 | 1247250.9134 | 2681418.5028 | 1247239.3142
32 | 2681441.6098 | 1247258.8225 | 2681437.0639 | 1247249.1411
33 | 2681436.1108 | 1247226.1277 | 2681442.6993 | 1247239.8322
34 | 2681293.0861 | 1247242.1884 | 2681289.4113 | 1247239.1469
35 | 2681281.3896 | 1247232.5099 | 2681284.6611 | 1247235.2123 | 2681289.4113 | 1247239.1469
36 | 2681289.4113 | 1247239.1469 | 2681305.6701 | 1247219.2356
37 | 2681293.0861 | 1247242.1884 | 2681300.158 | 1247248.0403
38 | 2681281.3896 | 1247232.5099 | 2681297.0073 | 1247213.3277
39 | 2681281.3896 | 1247232.5099 | 2681272.1356 | 1247224.8496
40 | 2681272.1356 | 1247224.8496 | 2681259.4069 | 1247214.3131
41 | 2681300.158 | 1247248.0403 | 2681314.3353 | 1247259.7718
42 | 2681448.2232 | 1247251.3222 | 2681442.6993 | 1247239.8322
43 | 2681385.7128 | 1247187.4558 | 2681372.5105 | 1247184.9795
44 | 2681387.3875 | 1247262.2525 | 2681396.2555 | 1247248.8385
45 | 2681387.3875 | 1247262.2525 | 2681385.983 | 1247264.3771
46 | 2681445.7613 | 1247267.6638 | 2681441.6098 | 1247258.8225
47 | 2681467.296 | 1247283.9867 | 2681466.1723 | 1247282.9154 | 2681462.883 | 1247278.7672 | 2681459.5605 | 1247273.7401 | 2681455.8437 | 1247267.1731 | 2681455.3761 | 1247266.2005
48 | 2681448.2232 | 1247251.3222 | 2681455.3761 | 1247266.2005

## bus_geodata
| x | y | coords
0 | 2681324.537 | 1247175.8932
1 | 2681312.2734 | 1247173.4863
2 | 2681330.0201 | 1247176.9693
3 | 2681294.4616 | 1247169.9905
4 | 2681351.7263 | 1247181.0811
5 | 2681420.4252 | 1247193.9666
6 | 2681416.658 | 1247213.607
7 | 2681394.5486 | 1247189.113
8 | 2681348.6016 | 1247196.8498
9 | 2681357.0611 | 1247182.0817
10 | 2681417.4562 | 1247215.4415
11 | 2681425.7441 | 1247229.6324
12 | 2681404.1648 | 1247236.8747
13 | 2681453.7621 | 1247219.6653
14 | 2681444.7719 | 1247222.9567
15 | 2681457.5509 | 1247218.2755
16 | 2681336.2368 | 1247194.5469
17 | 2681367.8997 | 1247202.4293
18 | 2681327.2034 | 1247192.8645
19 | 2681315.4649 | 1247190.6575
20 | 2681314.3461 | 1247208.6103
21 | 2681295.9539 | 1247186.9807
22 | 2681399.5244 | 1247268.1673
23 | 2681410.8733 | 1247250.9134
24 | 2681409.6608 | 1247274.6545
25 | 2681437.0639 | 1247249.1411
26 | 2681436.1108 | 1247226.1277
27 | 2681418.5028 | 1247239.3142
28 | 2681289.4113 | 1247239.1469
29 | 2681293.0861 | 1247242.1884
30 | 2681281.3896 | 1247232.5099
31 | 2681305.6701 | 1247219.2356
32 | 2681297.0073 | 1247213.3277
33 | 2681272.1356 | 1247224.8496
34 | 2681300.158 | 1247248.0403
35 | 2681404.1869 | 1247209.722
36 | 2681442.6993 | 1247239.8322
37 | 2681385.7128 | 1247187.4558
38 | 2681372.5105 | 1247184.9795
39 | 2681396.2555 | 1247248.8385
40 | 2681275.8256 | 1247183.1875
41 | 2681385.983 | 1247264.3771
42 | 2681387.3875 | 1247262.2525
43 | 2681314.3353 | 1247259.7717
44 | 2681441.6098 | 1247258.8225
45 | 2681259.4069 | 1247214.3131
46 | 2681467.296 | 1247283.9867
47 | 2681455.3761 | 1247266.2005
48 | 2681445.7613 | 1247267.6638
49 | 2681448.2232 | 1247251.3223
50 | 2681404.1648 | 1247236.8747

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99052 | -0.18163 | 0.011565 | 0.0028985
1 | 0.99036 | -0.1848 | 0.0063056 | 0.0015803
2 | 0.99065 | -0.17906 | 0 | 0
3 | 0.99023 | -0.18739 | 0.0080052 | 0.0020063
4 | 0.99118 | -0.16891 | 0 | 0
5 | 0.99559 | -0.084187 | 0 | 0
6 | 0.99682 | -0.060708 | 0 | 0
7 | 0.99397 | -0.11518 | 0.006084 | 0.0015248
8 | 0.98964 | -0.19866 | 0 | 0
9 | 0.99176 | -0.15764 | 0.0093372 | 0.0023401
10 | 0.99696 | -0.058025 | 0 | 0
11 | 0.9938 | -0.11867 | 0 | 0
12 | 1 | 0 | -0.56352 | -0.14279
13 | 0.99178 | -0.15769 | 0 | 0
14 | 0.99192 | -0.15503 | 0.014941 | 0.0037446
15 | 0.99172 | -0.15881 | 0.015689 | 0.0039319
16 | 0.9881 | -0.22838 | 0.019005 | 0.0047631
17 | 0.98822 | -0.22628 | 0.075687 | 0.018969
18 | 0.98714 | -0.24703 | 0 | 0
19 | 0.98684 | -0.25296 | 0 | 0
20 | 0.98553 | -0.2783 | 0.012183 | 0.0030532
21 | 0.98633 | -0.26282 | 0.014584 | 0.0036551
22 | 0.99208 | -0.15203 | 0 | 0
23 | 0.99259 | -0.14205 | 0.013193 | 0.0033066
24 | 0.99178 | -0.15786 | 0.027323 | 0.0068478
25 | 0.99296 | -0.13503 | 0.013911 | 0.0034863
26 | 0.99218 | -0.15003 | 0 | 0
27 | 0.99311 | -0.1321 | 0.022267 | 0.0055805
28 | 0.98313 | -0.32508 | 0 | 0
29 | 0.98299 | -0.32788 | 0 | 0
30 | 0.98285 | -0.33056 | 0 | 0
31 | 0.9846 | -0.29646 | 0.011852 | 0.0029703
32 | 0.98261 | -0.33529 | 0.010595 | 0.0026553
33 | 0.98264 | -0.33459 | 0.0089704 | 0.0022482
34 | 0.98271 | -0.33329 | 0.018354 | 0.0045999
35 | 0.99641 | -0.068556 | 0.034043 | 0.0085321
36 | 0.99093 | -0.17415 | 0.012311 | 0.0030855
37 | 0.99343 | -0.12555 | 0.0060285 | 0.0015109
38 | 0.99264 | -0.1407 | 0.011769 | 0.0029495
39 | 0.99959 | -0.0079665 | 0.012156 | 0.0030466
40 | 0.98608 | -0.26764 | 0.013141 | 0.0032934
41 | 0.99928 | -0.013831 | 0.0075772 | 0.001899
42 | 0.9993 | -0.013494 | 0.012123 | 0.0030382
43 | 0.98247 | -0.33803 | 0.014284 | 0.0035798
44 | 0.9927 | -0.14007 | 0.01349 | 0.0033809
45 | 0.9825 | -0.33746 | 0.0096221 | 0.0024115
46 | 0.98873 | -0.21688 | 0.026167 | 0.0065582
47 | 0.98924 | -0.20686 | 0.025652 | 0.0064291
48 | 0.99258 | -0.14235 | 0.01318 | 0.0033033
49 | 0.99003 | -0.19163 | 0.025362 | 0.0063563
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014314 | 0.0035882 | -0.014312 | -0.003587 | 2.1671e-06 | 1.2261e-06 | 0.021503 | 0.021504 | 0.021504 | 0.99052 | -0.18163 | 0.99036 | -0.1848 | 5.9076
1 | -0.025879 | -0.0064867 | 0.025882 | 0.0064887 | 3.1671e-06 | 1.955e-06 | 0.038877 | 0.038877 | 0.038877 | 0.99052 | -0.18163 | 0.99065 | -0.17906 | 10.6806
2 | 0.0080061 | 0.0020067 | -0.0080052 | -0.0020063 | 9.8498e-07 | 3.9686e-07 | 0.012029 | 0.012029 | 0.012029 | 0.99036 | -0.1848 | 0.99023 | -0.18739 | 3.3048
3 | -0.025882 | -0.0064887 | 0.025895 | 0.0064964 | 1.2522e-05 | 7.7293e-06 | 0.038877 | 0.038877 | 0.038877 | 0.99065 | -0.17906 | 0.99118 | -0.16891 | 10.6806
4 | 0.2093 | 0.052848 | -0.209 | -0.052658 | 0.00029784 | 0.0001902 | 0.31435 | 0.31435 | 0.31435 | 0.99118 | -0.16891 | 0.98964 | -0.19866 | 43.1795
5 | -0.23519 | -0.059345 | 0.23532 | 0.059426 | 0.00012698 | 8.1127e-05 | 0.35322 | 0.35322 | 0.35322 | 0.99118 | -0.16891 | 0.99176 | -0.15764 | 48.5198
6 | -0.26945 | -0.068335 | 0.26976 | 0.068528 | 0.00030451 | 0.00019385 | 0.40301 | 0.40301 | 0.40301 | 0.99559 | -0.084187 | 0.99682 | -0.060708 | 27.6794
7 | 0.26945 | 0.068335 | -0.26905 | -0.068079 | 0.00040089 | 0.0002552 | 0.40301 | 0.40301 | 0.40301 | 0.99559 | -0.084187 | 0.99397 | -0.11518 | 27.6794
8 | 0.034056 | 0.0085401 | -0.034043 | -0.0085321 | 1.2733e-05 | 7.9778e-06 | 0.05084 | 0.05084 | 0.05084 | 0.99682 | -0.060708 | 0.99641 | -0.068556 | 13.9669
9 | -0.30381 | -0.077068 | 0.30385 | 0.077093 | 3.9201e-05 | 2.4983e-05 | 0.45385 | 0.45385 | 0.45385 | 0.99682 | -0.060708 | 0.99696 | -0.058025 | 31.171
10 | 0.26297 | 0.066554 | -0.26284 | -0.066471 | 0.00013077 | 8.3226e-05 | 0.3939 | 0.3939 | 0.3939 | 0.99397 | -0.11518 | 0.99343 | -0.12555 | 27.0538
11 | 0.13321 | 0.033626 | -0.13302 | -0.033504 | 0.00018938 | 0.00012104 | 0.20038 | 0.20038 | 0.20038 | 0.98964 | -0.19866 | 0.9881 | -0.22838 | 55.0498
12 | 0.075786 | 0.019032 | -0.075687 | -0.018969 | 9.9735e-05 | 6.3568e-05 | 0.11397 | 0.11397 | 0.11397 | 0.98964 | -0.19866 | 0.98822 | -0.22628 | 31.3093
13 | -0.24465 | -0.061766 | 0.24485 | 0.061892 | 0.00019873 | 0.00012638 | 0.36723 | 0.36723 | 0.36723 | 0.99176 | -0.15764 | 0.99264 | -0.1407 | 25.2221
14 | 0.22467 | 0.056762 | -0.22402 | -0.056346 | 0.00065101 | 0.00041585 | 0.33549 | 0.33549 | 0.33549 | 0.99696 | -0.058025 | 0.9938 | -0.11867 | 46.0836
15 | -0.52852 | -0.13386 | 0.53 | 0.1348 | 0.0014773 | 0.00094414 | 0.78934 | 0.78934 | 0.78934 | 0.99696 | -0.058025 | 1 | 0 | 54.2128
16 | 0.040621 | 0.010195 | -0.040589 | -0.010175 | 3.167e-05 | 1.9973e-05 | 0.060826 | 0.060826 | 0.060826 | 0.9938 | -0.11867 | 0.99296 | -0.13503 | 16.7106
17 | 0.12053 | 0.030366 | -0.12035 | -0.03025 | 0.00018049 | 0.00011533 | 0.18053 | 0.18053 | 0.18053 | 0.9938 | -0.11867 | 0.99218 | -0.15003 | 49.5953
18 | 0.062863 | 0.015785 | -0.062823 | -0.01576 | 4.0255e-05 | 2.5606e-05 | 0.094135 | 0.094136 | 0.094136 | 0.9938 | -0.11867 | 0.99311 | -0.1321 | 25.8614
19 | 0.031873 | 0.0079945 | -0.031861 | -0.007987 | 1.2099e-05 | 7.5551e-06 | 0.04743 | 0.04743 | 0.04743 | 1 | 0 | 0.99959 | -0.0079665 | 13.0302
20 | -0.015689 | -0.0039324 | 0.015691 | 0.0039336 | 1.9894e-06 | 1.1496e-06 | 0.02354 | 0.02354 | 0.02354 | 0.99178 | -0.15769 | 0.99192 | -0.15503 | 6.4669
21 | 0.015689 | 0.0039324 | -0.015689 | -0.0039319 | 8.3858e-07 | 4.8462e-07 | 0.02354 | 0.02354 | 0.02354 | 0.99178 | -0.15769 | 0.99172 | -0.15881 | 6.467
22 | -0.030632 | -0.0076781 | 0.03064 | 0.0076827 | 7.3039e-06 | 4.5554e-06 | 0.045953 | 0.045953 | 0.045953 | 0.99192 | -0.15503 | 0.99218 | -0.15003 | 12.6245
23 | 0.11402 | 0.028741 | -0.11392 | -0.028676 | 0.00010166 | 6.4942e-05 | 0.17176 | 0.17176 | 0.17176 | 0.9881 | -0.22838 | 0.98714 | -0.24703 | 47.1872
24 | 0.027748 | 0.006963 | -0.027741 | -0.0069582 | 7.8377e-06 | 4.8635e-06 | 0.041831 | 0.041831 | 0.041831 | 0.98714 | -0.24703 | 0.98684 | -0.25296 | 11.4921
25 | 0.086167 | 0.021713 | -0.086038 | -0.021631 | 0.00012869 | 8.2104e-05 | 0.12993 | 0.12993 | 0.12993 | 0.98714 | -0.24703 | 0.98553 | -0.2783 | 35.6951
26 | 0.027741 | 0.0069582 | -0.027728 | -0.0069501 | 1.3028e-05 | 8.0846e-06 | 0.041831 | 0.041831 | 0.041831 | 0.98684 | -0.25296 | 0.98633 | -0.26282 | 11.4921
27 | 0.073856 | 0.018578 | -0.073792 | -0.018537 | 6.3994e-05 | 4.0782e-05 | 0.11154 | 0.11154 | 0.11154 | 0.98553 | -0.2783 | 0.9846 | -0.29646 | 30.6419
28 | 0.013144 | 0.003295 | -0.013141 | -0.0032934 | 3.0202e-06 | 1.6716e-06 | 0.019829 | 0.019829 | 0.019829 | 0.98633 | -0.26282 | 0.98608 | -0.26764 | 5.4477
29 | -0.027331 | -0.0068525 | 0.027344 | 0.0068606 | 1.3015e-05 | 8.0626e-06 | 0.040994 | 0.040994 | 0.040994 | 0.99208 | -0.15203 | 0.99259 | -0.14205 | 11.2622
30 | 0.027331 | 0.0068525 | -0.027323 | -0.0068478 | 7.5841e-06 | 4.6985e-06 | 0.040994 | 0.040994 | 0.040994 | 0.99208 | -0.15203 | 0.99178 | -0.15786 | 11.2622
31 | -0.040537 | -0.010167 | 0.040556 | 0.010179 | 1.9228e-05 | 1.2127e-05 | 0.060773 | 0.060772 | 0.060773 | 0.99259 | -0.14205 | 0.99311 | -0.1321 | 16.6958
32 | 0.026678 | 0.006689 | -0.026672 | -0.006685 | 6.411e-06 | 3.9647e-06 | 0.03998 | 0.03998 | 0.03998 | 0.99296 | -0.13503 | 0.9927 | -0.14007 | 10.9836
33 | 0.089711 | 0.022568 | -0.089608 | -0.022502 | 0.00010327 | 6.5896e-05 | 0.13457 | 0.13457 | 0.13457 | 0.99218 | -0.15003 | 0.99093 | -0.17415 | 36.9708
34 | 0.032653 | 0.0081895 | -0.032649 | -0.0081867 | 4.3621e-06 | 2.7314e-06 | 0.049424 | 0.049424 | 0.049424 | 0.98313 | -0.32508 | 0.98299 | -0.32788 | 13.5781
35 | 0.029202 | 0.0073238 | -0.029195 | -0.007319 | 7.6279e-06 | 4.7499e-06 | 0.044201 | 0.044201 | 0.044201 | 0.98313 | -0.32508 | 0.98285 | -0.33056 | 12.1431
36 | -0.061856 | -0.015513 | 0.06194 | 0.015567 | 8.4499e-05 | 5.3753e-05 | 0.093625 | 0.093625 | 0.093625 | 0.98313 | -0.32508 | 0.9846 | -0.29646 | 25.7212
37 | 0.032649 | 0.0081867 | -0.03264 | -0.0081815 | 8.4084e-06 | 5.2651e-06 | 0.049424 | 0.049424 | 0.049424 | 0.98299 | -0.32788 | 0.98271 | -0.33329 | 13.5781
38 | 0.010597 | 0.0026565 | -0.010595 | -0.0026553 | 2.3878e-06 | 1.2148e-06 | 0.016044 | 0.016044 | 0.016044 | 0.98285 | -0.33056 | 0.98261 | -0.33529 | 4.4078
39 | 0.018597 | 0.0046625 | -0.018594 | -0.0046604 | 3.5715e-06 | 2.1336e-06 | 0.028157 | 0.028157 | 0.028157 | 0.98285 | -0.33056 | 0.98264 | -0.33459 | 7.7354
40 | 0.0096234 | 0.0024122 | -0.0096221 | -0.0024115 | 1.3159e-06 | 6.3291e-07 | 0.014573 | 0.014573 | 0.014573 | 0.98264 | -0.33459 | 0.9825 | -0.33746 | 4.0035
41 | 0.014287 | 0.0035816 | -0.014284 | -0.0035798 | 3.2295e-06 | 1.8338e-06 | 0.021633 | 0.021633 | 0.021633 | 0.98271 | -0.33329 | 0.98247 | -0.33803 | 5.9432
42 | 0.077296 | 0.019416 | -0.077232 | -0.019375 | 6.4427e-05 | 4.1069e-05 | 0.11609 | 0.11609 | 0.11609 | 0.99093 | -0.17415 | 0.99003 | -0.19163 | 31.8919
43 | 0.25681 | 0.06496 | -0.25662 | -0.064842 | 0.00018654 | 0.00011869 | 0.38487 | 0.38487 | 0.38487 | 0.99343 | -0.12555 | 0.99264 | -0.1407 | 26.4337
44 | 0.019705 | 0.0049404 | -0.0197 | -0.0049373 | 5.189e-06 | 3.1102e-06 | 0.029334 | 0.029334 | 0.029334 | 0.99959 | -0.0079665 | 0.9993 | -0.013494 | 8.0589
45 | -0.0075772 | -0.001899 | 0.0075774 | 0.0018991 | 1.2159e-07 | 4.4454e-08 | 0.011283 | 0.011283 | 0.011283 | 0.99928 | -0.013831 | 0.9993 | -0.013494 | 3.0998
46 | 0.013182 | 0.0033041 | -0.01318 | -0.0033033 | 1.4301e-06 | 7.8899e-07 | 0.019759 | 0.019759 | 0.019759 | 0.9927 | -0.14007 | 0.99258 | -0.14235 | 5.4284
47 | -0.026167 | -0.0065582 | 0.02618 | 0.0065659 | 1.2503e-05 | 7.7258e-06 | 0.039381 | 0.039381 | 0.039381 | 0.98873 | -0.21688 | 0.98924 | -0.20686 | 10.8191
48 | -0.051832 | -0.012995 | 0.05187 | 0.013019 | 3.7632e-05 | 2.3873e-05 | 0.077967 | 0.077967 | 0.077967 | 0.98924 | -0.20686 | 0.99003 | -0.19163 | 21.4196

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57533 | 0.14575

## res_load
| p_mw | q_mvar
0 | 0.011565 | 0.0028985
1 | 0.0063056 | 0.0015803
2 | 0.0080052 | 0.0020063
3 | 0.006084 | 0.0015248
4 | 0.0093372 | 0.0023401
5 | 0.011811 | 0.0029602
6 | 0.014941 | 0.0037446
7 | 0.015689 | 0.0039319
8 | 0.019005 | 0.0047631
9 | 0.075687 | 0.018969
10 | 0.012183 | 0.0030532
11 | 0.014584 | 0.0036551
12 | 0.013193 | 0.0033066
13 | 0.027323 | 0.0068478
14 | 0.013911 | 0.0034863
15 | 0.022267 | 0.0055805
16 | 0.011852 | 0.0029703
17 | 0.010595 | 0.0026553
18 | 0.0089704 | 0.0022482
19 | 0.018354 | 0.0045999
20 | 0.034043 | 0.0085321
21 | 0.012311 | 0.0030855
22 | 0.0060285 | 0.0015109
23 | 0.011769 | 0.0029495
24 | 0.012156 | 0.0030466
25 | 0.013141 | 0.0032934
26 | 0.0075772 | 0.001899
27 | 0.012123 | 0.0030382
28 | 0.014284 | 0.0035798
29 | 0.01349 | 0.0033809
30 | 0.0096221 | 0.0024115
31 | 0.026167 | 0.0065582
32 | 0.025652 | 0.0064291
33 | 0.01318 | 0.0033033
34 | 0.025362 | 0.0063563

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1