## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-66_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-66_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-66_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-66_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-66_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-66_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-66_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_261-66_0_6_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_261-66_0_6_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_261-66_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_261-66_0_6_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_261-66_0_6_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_261-66_0_6_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_261-66_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-66_0_6_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_261-66_0_6_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_261-66_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-66_0_6_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_261-66_0_6_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_261-66_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-66_0_6_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_261-66_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-66_0_6_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_261-66_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-66_0_6_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_261-66_0_6_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_261-66_0_6_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_261-66_0_6_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_261-66_0_6_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_261-66_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_261-66_0_6_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_261-66_0_6_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_261-66_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_261-66_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-66_0_6_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_261-66_0_6_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_261-66_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_261-66_0_6_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_261-66_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_261-66_0_6_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_261-66_0_6_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_261-66_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_261-66_0_6_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_261-66_0_6_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_261-66_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_261-66_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-66_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_261-66_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_261-66_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_261-66_0_6_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_261-66_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_261-66_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_261-66_0_6_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_261-66_0_6_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_261-66_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_261-66_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_261-66_0_6_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_261-66_0_6_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_261-66_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_261-66_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_261-66_0_6_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_261-66_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_261-66_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_261-66_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_261-66_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_MV_547_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-66_0_6_load_0 | 0 | 0.020477 | 0.0051319 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-66_0_6_load_1 | 1 | 0.018097 | 0.0045355 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-66_0_6_load_3 | 3 | 0.0094707 | 0.0023736 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-66_0_6_load_4 | 4 | 0.006635 | 0.0016629 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-66_0_6_load_44 | 8 | 0.017907 | 0.0044878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-66_0_6_load_60 | 11 | 0.010658 | 0.0026712 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-66_0_6_load_68 | 14 | 0.0069737 | 0.0017478 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-66_0_6_load_69 | 15 | 0.0021356 | 0.00053523 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-66_0_6_load_62 | 18 | 0.035002 | 0.0087722 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-66_0_6_load_40 | 22 | 0.08061 | 0.020203 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-66_0_6_load_54 | 25 | 0.017454 | 0.0043744 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-66_0_6_load_55 | 26 | 0.0090778 | 0.0022751 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-66_0_6_load_38 | 28 | 0.026629 | 0.0066739 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-66_0_6_load_67 | 30 | 0.0070441 | 0.0017654 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-66_0_6_load_70 | 31 | 0.0022381 | 0.00056092 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-66_0_6_load_50 | 34 | 0.0083214 | 0.0020855 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-66_0_6_load_59 | 35 | 0.012196 | 0.0030567 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-66_0_6_load_65 | 37 | 0.033633 | 0.0084292 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-66_0_6_load_46 | 39 | 0.023526 | 0.0058961 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-66_0_6_load_45 | 40 | 0.013927 | 0.0034905 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-66_0_6_load_41 | 41 | 0.026526 | 0.006648 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-66_0_6_load_71 | 42 | 0.012702 | 0.0031833 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-66_0_6_load_61 | 43 | 0.013593 | 0.0034068 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-66_0_6_load_43 | 45 | 0.044266 | 0.011094 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-66_0_6_load_56 | 49 | 0.0051246 | 0.0012844 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-66_0_6_load_49 | 50 | 0.0060696 | 0.0015212 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-66_0_6_load_63 | 51 | 0.00631 | 0.0015814 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-66_0_6_load_74 | 53 | 0.011814 | 0.0029608 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-66_0_6_load_57 | 54 | 0.010745 | 0.0026931 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-66_0_6_load_66 | 55 | 0.0031306 | 0.0007846 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-66_0_6_load_64 | 56 | 0.016372 | 0.0041031 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-66_0_6_load_42 | 57 | 0.010338 | 0.002591 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-66_0_6_load_39 | 58 | 0.0149 | 0.0037343 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-66_0_6_load_58 | 59 | 0.0052549 | 0.001317 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-66_0_6_load_48 | 60 | 0.0095826 | 0.0024016 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-66_0_6_load_51 | 61 | 0.013231 | 0.0033159 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-66_0_6_load_52 | 62 | 0.010088 | 0.0025284 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-66_0_6_load_47 | 63 | 0.0051576 | 0.0012926 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-66_0_6_load_53 | 64 | 0.0063155 | 0.0015828 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-66_0_6_line_0 |  | 0 | 1 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-66_0_6_line_1 |  | 0 | 2 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-66_0_6_line_2 |  | 1 | 3 | 0.017378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-66_0_6_line_3 |  | 2 | 4 | 0.025008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-66_0_6_line_4 |  | 2 | 5 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-66_0_6_line_5 |  | 3 | 6 | 0.013047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-66_0_6_line_6 |  | 4 | 7 | 0.010761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-66_0_6_line_7 |  | 5 | 8 | 0.028591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-66_0_6_line_8 |  | 6 | 12 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-66_0_6_line_9 |  | 7 | 36 | 0.009083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-66_0_6_line_10 |  | 7 | 44 | 0.010222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-66_0_6_line_11 |  | 9 | 10 | 0.0077233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-66_0_6_line_12 |  | 9 | 11 | 0.028865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-66_0_6_line_13 |  | 10 | 26 | 0.0098707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-66_0_6_line_14 |  | 12 | 27 | 0.021781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-66_0_6_line_15 |  | 12 | 28 | 0.035989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-66_0_6_line_16 |  | 13 | 14 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-66_0_6_line_17 |  | 13 | 15 | 0.0094912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-66_0_6_line_18 |  | 14 | 55 | 0.060491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-66_0_6_line_19 |  | 15 | 31 | 0.0056864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-66_0_6_line_20 |  | 16 | 17 | 0.003603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-66_0_6_line_21 |  | 16 | 18 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-66_0_6_line_22 |  | 17 | 36 | 0.0074705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-66_0_6_line_23 |  | 17 | 37 | 0.044593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-66_0_6_line_24 |  | 18 | 19 | 0.043681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-66_0_6_line_25 |  | 19 | 20 | 0.001985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-66_0_6_line_26 |  | 19 | 21 | 0.0076128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-66_0_6_line_27 |  | 20 | 51 | 0.0083487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-66_0_6_line_28 |  | 20 | 48 | 0.0097035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-66_0_6_line_29 |  | 21 | 22 | 0.018535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-66_0_6_line_30 |  | 22 | 58 | 0.041198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-66_0_6_line_31 |  | 23 | 24 | 0.003942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-66_0_6_line_32 |  | 23 | 25 | 0.027501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-66_0_6_line_33 |  | 24 | 54 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-66_0_6_line_34 |  | 24 | 52 | 0.0069551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-66_0_6_line_35 |  | 26 | 59 | 0.01537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-66_0_6_line_36 |  | 27 | 42 | 0.043602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-66_0_6_line_37 |  | 27 | 29 | 0.013841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-66_0_6_line_38 |  | 29 | 30 | 0.038933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-66_0_6_line_39 |  | 29 | 31 | 0.021137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-66_0_6_line_40 |  | 32 | 33 | 0.0076968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-66_0_6_line_41 |  | 32 | 34 | 0.011448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-66_0_6_line_42 |  | 32 | 35 | 0.02527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-66_0_6_line_43 |  | 33 | 43 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-66_0_6_line_44 |  | 34 | 60 | 0.015555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-66_0_6_line_45 |  | 35 | 59 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-66_0_6_line_46 |  | 36 | 41 | 0.0039728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-66_0_6_line_47 |  | 37 | 56 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-66_0_6_line_48 |  | 38 | 39 | 0.003204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-66_0_6_line_49 |  | 38 | 40 | 0.023252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-66_0_6_line_50 |  | 40 | 46 | 0.015415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-66_0_6_line_51 |  | 41 | 57 | 0.049557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-66_0_6_line_52 |  | 44 | 45 | 0.0042487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-66_0_6_line_53 |  | 46 | 47 | 0.0070434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-66_0_6_line_54 |  | 47 | 48 | 0.002206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-66_0_6_line_55 |  | 47 | 49 | 0.023447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-66_0_6_line_56 |  | 48 | 50 | 0.0077496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-66_0_6_line_57 |  | 49 | 54 | 0.024395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-66_0_6_line_58 |  | 50 | 63 | 0.020968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-66_0_6_line_59 |  | 51 | 64 | 0.012582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-66_0_6_line_60 |  | 52 | 53 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-66_0_6_line_61 |  | 60 | 63 | 0.003053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-66_0_6_line_62 |  | 61 | 62 | 0.030735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-66_0_6_line_63 |  | 62 | 64 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-66_0_6_trafo_62 | 0.63 MVA 20/0.4 kV | 65 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2682018.6675 | 1246083.3448 | 2682007.5456 | 1246074.2481 | 2682005.2321 | 1246072.3125
1 | 2682025.5157 | 1246091.9984 | 2682025.3707 | 1246088.8274 | 2682018.6675 | 1246083.3448
2 | 2681991.9043 | 1246061.1614 | 2682005.2321 | 1246072.3125
3 | 2682025.5157 | 1246091.9984 | 2682041.147 | 1246072.477
4 | 2682025.5157 | 1246091.9984 | 2682028.7635 | 1246094.8009 | 2682033.2609 | 1246098.4769
5 | 2681981.8975 | 1246052.7891 | 2681991.9043 | 1246061.1614
6 | 2682047.6334 | 1246063.9171 | 2682045.2939 | 1246067.543 | 2682042.4758 | 1246070.8175 | 2682041.147 | 1246072.477
7 | 2682033.2609 | 1246098.4769 | 2682055.4038 | 1246116.5636
8 | 2681972.4875 | 1246047.0437 | 2681981.8975 | 1246052.7891
9 | 2682050.9234 | 1246055.4787 | 2682050.5137 | 1246057.241 | 2682049.2365 | 1246060.5368 | 2682047.6334 | 1246063.9171
10 | 2682047.6334 | 1246063.9171 | 2682051.9431 | 1246066.4119 | 2682056.4776 | 1246069.0432
11 | 2682198.8093 | 1246014.7408 | 2682199.5087 | 1246009.5244 | 2682199.807 | 1246007.0823
12 | 2682199.807 | 1246007.0823 | 2682171.1693 | 1246003.4666
13 | 2682198.8093 | 1246014.7408 | 2682189.0168 | 1246013.5003
14 | 2681964.952 | 1246067.4656 | 2681967.9324 | 1246058.4669 | 2681968.4295 | 1246056.9393 | 2681972.4875 | 1246047.0437
15 | 2681972.4875 | 1246047.0437 | 2681973.2067 | 1246044.2071 | 2681979.1265 | 1246011.6783
16 | 2682003.8402 | 1246099.0594 | 2682001.6239 | 1246103.621 | 2681999.4038 | 1246118.7031
17 | 2682003.8402 | 1246099.0594 | 2681996.7312 | 1246092.771
18 | 2681974.1168 | 1246166.2839 | 2681981.0734 | 1246166.4606 | 2681986.7196 | 1246164.0925 | 2681988.6827 | 1246159.8165 | 2681996.5532 | 1246138.1094 | 2681997.9715 | 1246128.4331 | 2681999.4038 | 1246118.7031
19 | 2681996.7312 | 1246092.771 | 2681992.4719 | 1246089.0035
20 | 2682058.3291 | 1246056.4596 | 2682058.9698 | 1246057.6583 | 2682059.8825 | 1246058.3158 | 2682060.9823 | 1246058.5534
21 | 2682060.9823 | 1246058.5534 | 2682075.3172 | 1246060.3548
22 | 2682050.9234 | 1246055.4787 | 2682054.3777 | 1246055.9157 | 2682058.3291 | 1246056.4596
23 | 2682058.3291 | 1246056.4596 | 2682058.3479 | 1246055.1033 | 2682066.0984 | 1246012.5673
24 | 2682118.6573 | 1246065.8013 | 2682075.3172 | 1246060.3548
25 | 2682118.9414 | 1246063.8371 | 2682118.6573 | 1246065.8013
26 | 2682117.5707 | 1246073.3362 | 2682118.0969 | 1246069.7075 | 2682118.6573 | 1246065.8013
27 | 2682118.9414 | 1246063.8371 | 2682119.9447 | 1246055.549
28 | 2682118.9414 | 1246063.8371 | 2682123.1798 | 1246064.3851 | 2682128.5647 | 1246065.0824
29 | 2682117.5707 | 1246073.3362 | 2682115.2568 | 1246075.6614 | 2682113.0218 | 1246090.7513
30 | 2682107.8492 | 1246131.6164 | 2682110.4643 | 1246108.0187 | 2682113.0218 | 1246090.7513
31 | 2682191.8474 | 1246071.1077 | 2682191.3248 | 1246075.0144
32 | 2682191.8474 | 1246071.1077 | 2682195.2185 | 1246043.8137
33 | 2682191.3248 | 1246075.0144 | 2682175.7552 | 1246073.1018
34 | 2682190.3906 | 1246081.9065 | 2682190.8956 | 1246078.1774 | 2682191.3248 | 1246075.0144
35 | 2682189.0168 | 1246013.5003 | 2682173.7687 | 1246011.5688
36 | 2681964.952 | 1246067.4656 | 2681957.9415 | 1246090.9081 | 2681955.4529 | 1246102.5933 | 2681954.2997 | 1246109.6869
37 | 2681964.952 | 1246067.4656 | 2681969.5008 | 1246070.7086 | 2681976.2268 | 1246075.4939
38 | 2681976.2268 | 1246075.4939 | 2681973.7914 | 1246080.0525 | 2681968.8862 | 1246113.459
39 | 2681976.2268 | 1246075.4939 | 2681984.9789 | 1246082.3754 | 2681992.4719 | 1246089.0035
40 | 2682135.3347 | 1246006.7002 | 2682135.9547 | 1246001.7607 | 2682136.2943 | 1245999.0634
41 | 2682135.3347 | 1246006.7002 | 2682133.9003 | 1246018.0583
42 | 2682135.3347 | 1246006.7002 | 2682160.4046 | 1246009.8759
43 | 2682136.2943 | 1245999.0634 | 2682138.1493 | 1245984.2542
44 | 2682132.1256 | 1246033.5118 | 2682133.6035 | 1246020.4084 | 2682133.9003 | 1246018.0583
45 | 2682160.4046 | 1246009.8759 | 2682173.7687 | 1246011.5688
46 | 2682050.9234 | 1246055.4787 | 2682051.4301 | 1246053.2619 | 2682051.7345 | 1246051.5905
47 | 2682070.6278 | 1245987.7092 | 2682066.0984 | 1246012.5673
48 | 2682125.7626 | 1246113.0008 | 2682122.572 | 1246112.623
49 | 2682122.572 | 1246112.623 | 2682125.4359 | 1246089.5479
50 | 2682127.3346 | 1246074.2498 | 2682125.4359 | 1246089.5479
51 | 2682051.7345 | 1246051.5905 | 2682060.6165 | 1246002.8356
52 | 2682056.4776 | 1246069.0432 | 2682053.8464 | 1246072.3791
53 | 2682127.3346 | 1246074.2498 | 2682127.7814 | 1246070.898 | 2682128.2699 | 1246067.2688
54 | 2682128.5647 | 1246065.0824 | 2682128.2699 | 1246067.2688
55 | 2682128.2699 | 1246067.2688 | 2682151.5419 | 1246070.1275
56 | 2682128.5647 | 1246065.0824 | 2682129.4332 | 1246057.3816
57 | 2682151.5419 | 1246070.1275 | 2682175.7552 | 1246073.1018
58 | 2682129.4332 | 1246057.3816 | 2682131.7834 | 1246036.5456
59 | 2682119.9447 | 1246055.549 | 2682121.4569 | 1246043.0584
60 | 2682190.3906 | 1246081.9065 | 2682171.7555 | 1246079.6254
61 | 2682132.1256 | 1246033.5118 | 2682131.7834 | 1246036.5456
62 | 2682123.8038 | 1246023.6723 | 2682126.5772 | 1246000.7635 | 2682127.4506 | 1245993.1547
63 | 2682123.8038 | 1246023.6723 | 2682121.4569 | 1246043.0584

## bus_geodata
| x | y | coords
0 | 2682018.6675 | 1246083.3448
1 | 2682005.2321 | 1246072.3125
2 | 2682025.5157 | 1246091.9984
3 | 2681991.9043 | 1246061.1614
4 | 2682041.147 | 1246072.477
5 | 2682033.2609 | 1246098.4769
6 | 2681981.8975 | 1246052.7891
7 | 2682047.6334 | 1246063.9171
8 | 2682055.4038 | 1246116.5636
9 | 2682199.807 | 1246007.0823
10 | 2682198.8093 | 1246014.7408
11 | 2682171.1693 | 1246003.4666
12 | 2681972.4875 | 1246047.0437
13 | 2682003.8402 | 1246099.0594
14 | 2681999.4038 | 1246118.7031
15 | 2681996.7312 | 1246092.771
16 | 2682060.9823 | 1246058.5534
17 | 2682058.3291 | 1246056.4596
18 | 2682075.3172 | 1246060.3548
19 | 2682118.6573 | 1246065.8013
20 | 2682118.9414 | 1246063.8371
21 | 2682117.5707 | 1246073.3362
22 | 2682113.0218 | 1246090.7513
23 | 2682191.8474 | 1246071.1077
24 | 2682191.3248 | 1246075.0144
25 | 2682195.2185 | 1246043.8137
26 | 2682189.0168 | 1246013.5003
27 | 2681964.952 | 1246067.4656
28 | 2681979.1265 | 1246011.6783
29 | 2681976.2268 | 1246075.4939
30 | 2681968.8862 | 1246113.459
31 | 2681992.4719 | 1246089.0035
32 | 2682135.3347 | 1246006.7002
33 | 2682136.2943 | 1245999.0634
34 | 2682133.9003 | 1246018.0583
35 | 2682160.4046 | 1246009.8759
36 | 2682050.9234 | 1246055.4787
37 | 2682066.0984 | 1246012.5673
38 | 2682122.572 | 1246112.623
39 | 2682125.7626 | 1246113.0008
40 | 2682125.4359 | 1246089.5479
41 | 2682051.7345 | 1246051.5905
42 | 2681954.2997 | 1246109.6869
43 | 2682138.1493 | 1245984.2542
44 | 2682056.4776 | 1246069.0432
45 | 2682053.8464 | 1246072.3791
46 | 2682127.3346 | 1246074.2498
47 | 2682128.2699 | 1246067.2688
48 | 2682128.5647 | 1246065.0824
49 | 2682151.5419 | 1246070.1275
50 | 2682129.4332 | 1246057.3816
51 | 2682119.9447 | 1246055.549
52 | 2682190.3906 | 1246081.9065
53 | 2682171.7555 | 1246079.6254
54 | 2682175.7552 | 1246073.1018
55 | 2681974.1168 | 1246166.2839
56 | 2682070.6278 | 1245987.7092
57 | 2682060.6165 | 1246002.8356
58 | 2682107.8492 | 1246131.6164
59 | 2682173.7687 | 1246011.5688
60 | 2682132.1256 | 1246033.5118
61 | 2682127.4506 | 1245993.1547
62 | 2682123.8038 | 1246023.6723
63 | 2682131.7834 | 1246036.5456
64 | 2682121.4569 | 1246043.0584
65 | 2682060.9823 | 1246058.5534

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99191 | -0.15515 | 0.020477 | 0.0051319
1 | 0.9905 | -0.18243 | 0.018097 | 0.0045355
2 | 0.99309 | -0.13235 | 0 | 0
3 | 0.98938 | -0.20416 | 0.0094707 | 0.0023736
4 | 0.996 | -0.076465 | 0.006635 | 0.0016629
5 | 0.99293 | -0.13555 | 0 | 0
6 | 0.98865 | -0.21831 | 0 | 0
7 | 0.99732 | -0.051266 | 0 | 0
8 | 0.99246 | -0.1446 | 0.017907 | 0.0044878
9 | 0.99008 | -0.19093 | 0 | 0
10 | 0.99016 | -0.18947 | 0 | 0
11 | 0.9898 | -0.1964 | 0.010658 | 0.0026712
12 | 0.98803 | -0.23026 | 0 | 0
13 | 0.98664 | -0.25735 | 0 | 0
14 | 0.98645 | -0.26103 | 0.0069737 | 0.0017478
15 | 0.98673 | -0.25563 | 0.0021356 | 0.00053523
16 | 0.99884 | -0.022235 | 0 | 0
17 | 0.99855 | -0.027788 | 0 | 0
18 | 1 | 0 | -0.56369 | -0.14221
19 | 0.99609 | -0.074897 | 0 | 0
20 | 0.99597 | -0.077204 | 0 | 0
21 | 0.99543 | -0.087679 | 0 | 0
22 | 0.99381 | -0.11887 | 0.08061 | 0.020203
23 | 0.99274 | -0.13949 | 0 | 0
24 | 0.99281 | -0.13827 | 0 | 0
25 | 0.99231 | -0.14798 | 0.017454 | 0.0043744
26 | 0.99026 | -0.1876 | 0.0090778 | 0.0022751
27 | 0.98735 | -0.24358 | 0 | 0
28 | 0.98715 | -0.24739 | 0.026629 | 0.0066739
29 | 0.98708 | -0.24891 | 0 | 0
30 | 0.98682 | -0.25382 | 0.0070441 | 0.0017654
31 | 0.98679 | -0.25439 | 0.0022381 | 0.00056092
32 | 0.9917 | -0.15956 | 0 | 0
33 | 0.99161 | -0.16141 | 0 | 0
34 | 0.99223 | -0.14926 | 0.0083214 | 0.0020855
35 | 0.99084 | -0.17623 | 0.012196 | 0.0030567
36 | 0.99806 | -0.037134 | 0 | 0
37 | 0.99652 | -0.066847 | 0.033633 | 0.0084292
38 | 0.99382 | -0.11874 | 0 | 0
39 | 0.99375 | -0.12007 | 0.023526 | 0.0058961
40 | 0.99432 | -0.10909 | 0.013927 | 0.0034905
41 | 0.99792 | -0.039697 | 0.026526 | 0.006648
42 | 0.98684 | -0.25349 | 0.012702 | 0.0031833
43 | 0.99142 | -0.16501 | 0.013593 | 0.0034068
44 | 0.99691 | -0.059199 | 0 | 0
45 | 0.99674 | -0.062498 | 0.044266 | 0.011094
46 | 0.99484 | -0.09892 | 0 | 0
47 | 0.99508 | -0.094275 | 0 | 0
48 | 0.99525 | -0.091069 | 0 | 0
49 | 0.99412 | -0.11292 | 0.0051246 | 0.0012844
50 | 0.99468 | -0.10197 | 0.0060696 | 0.0015212
51 | 0.9957 | -0.082479 | 0.00631 | 0.0015814
52 | 0.99273 | -0.13972 | 0 | 0
53 | 0.99253 | -0.14365 | 0.011814 | 0.0029608
54 | 0.99323 | -0.13016 | 0.010745 | 0.0026931
55 | 0.98628 | -0.26442 | 0.0031306 | 0.0007846
56 | 0.99614 | -0.07411 | 0.016372 | 0.0041031
57 | 0.99746 | -0.048669 | 0.010338 | 0.002591
58 | 0.99325 | -0.12971 | 0.0149 | 0.0037343
59 | 0.99053 | -0.18221 | 0.0052549 | 0.001317
60 | 0.99308 | -0.13299 | 0.0095826 | 0.0024016
61 | 0.99457 | -0.10421 | 0.013231 | 0.0033159
62 | 0.99494 | -0.097051 | 0.010088 | 0.0025284
63 | 0.99327 | -0.12929 | 0.0051576 | 0.0012926
64 | 0.99536 | -0.089036 | 0.0063155 | 0.0015828
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.088749 | 0.022367 | -0.088634 | -0.022293 | 0.00011563 | 7.3781e-05 | 0.13318 | 0.13318 | 0.13318 | 0.99191 | -0.15515 | 0.9905 | -0.18243 | 36.5882
1 | -0.10923 | -0.027498 | 0.10935 | 0.027575 | 0.00011921 | 7.6143e-05 | 0.1639 | 0.1639 | 0.1639 | 0.99191 | -0.15515 | 0.99309 | -0.13235 | 45.0272
2 | 0.070537 | 0.017757 | -0.070464 | -0.017711 | 7.3213e-05 | 4.6633e-05 | 0.10599 | 0.10599 | 0.10599 | 0.9905 | -0.18243 | 0.98938 | -0.20416 | 29.1194
3 | -0.12726 | -0.032069 | 0.1276 | 0.032287 | 0.00034122 | 0.00021806 | 0.19075 | 0.19075 | 0.19075 | 0.99309 | -0.13235 | 0.996 | -0.076465 | 52.4029
4 | 0.017917 | 0.004494 | -0.017914 | -0.0044924 | 2.7296e-06 | 1.6163e-06 | 0.026848 | 0.026848 | 0.026848 | 0.99309 | -0.13235 | 0.99293 | -0.13555 | 7.3757
5 | 0.060993 | 0.015337 | -0.060952 | -0.015311 | 4.1188e-05 | 2.6193e-05 | 0.091751 | 0.091751 | 0.091751 | 0.98938 | -0.20416 | 0.98865 | -0.21831 | 25.2063
6 | -0.13424 | -0.03395 | 0.1344 | 0.034053 | 0.00016248 | 0.00010385 | 0.20066 | 0.20066 | 0.20066 | 0.996 | -0.076465 | 0.99732 | -0.051266 | 55.1261
7 | 0.017914 | 0.0044924 | -0.017907 | -0.0044878 | 7.7281e-06 | 4.5764e-06 | 0.026848 | 0.026848 | 0.026848 | 0.99293 | -0.13555 | 0.99246 | -0.1446 | 7.3758
8 | 0.060952 | 0.015311 | -0.060917 | -0.015289 | 3.4728e-05 | 2.2085e-05 | 0.091751 | 0.091751 | 0.091751 | 0.98865 | -0.21831 | 0.98803 | -0.23026 | 25.2063
9 | -0.17869 | -0.045163 | 0.17881 | 0.04524 | 0.00012118 | 7.7316e-05 | 0.26674 | 0.26674 | 0.26674 | 0.99732 | -0.051266 | 0.99806 | -0.037134 | 36.6406
10 | 0.04429 | 0.011109 | -0.044273 | -0.011099 | 1.6741e-05 | 1.0581e-05 | 0.066084 | 0.066084 | 0.066084 | 0.99732 | -0.051266 | 0.99691 | -0.059199 | 18.155
11 | -0.010661 | -0.0026726 | 0.010662 | 0.002673 | 7.4357e-07 | 3.7655e-07 | 0.016023 | 0.016023 | 0.016023 | 0.99008 | -0.19093 | 0.99016 | -0.18947 | 4.4019
12 | 0.010661 | 0.0026726 | -0.010658 | -0.0026712 | 2.7791e-06 | 1.4075e-06 | 0.016023 | 0.016023 | 0.016023 | 0.99008 | -0.19093 | 0.9898 | -0.1964 | 4.402
13 | -0.010662 | -0.002673 | 0.010663 | 0.0026735 | 9.5031e-07 | 4.8122e-07 | 0.016023 | 0.016023 | 0.016023 | 0.99016 | -0.18947 | 0.99026 | -0.1876 | 4.4019
14 | 0.034266 | 0.0086014 | -0.034244 | -0.0085878 | 2.1757e-05 | 1.3646e-05 | 0.051611 | 0.051611 | 0.051611 | 0.98803 | -0.23026 | 0.98735 | -0.24358 | 14.1788
15 | 0.026651 | 0.0066874 | -0.026629 | -0.0066739 | 2.1745e-05 | 1.3457e-05 | 0.04014 | 0.04014 | 0.04014 | 0.98803 | -0.23026 | 0.98715 | -0.24739 | 11.0276
16 | 0.010107 | 0.0025328 | -0.010105 | -0.0025319 | 1.77e-06 | 8.7338e-07 | 0.015242 | 0.015242 | 0.015242 | 0.98664 | -0.25735 | 0.98645 | -0.26103 | 4.1875
17 | -0.010107 | -0.0025328 | 0.010107 | 0.0025332 | 8.2689e-07 | 4.0799e-07 | 0.015242 | 0.015242 | 0.015242 | 0.98664 | -0.25735 | 0.98673 | -0.25563 | 4.1874
18 | 0.0031311 | 0.00078415 | -0.0031306 | -0.0007846 | 5.0602e-07 | -4.4826e-07 | 0.0047229 | 0.0047232 | 0.0047232 | 0.98645 | -0.26103 | 0.98628 | -0.26442 | 1.2976
19 | -0.012243 | -0.0030684 | 0.012244 | 0.0030688 | 7.2688e-07 | 3.9256e-07 | 0.018463 | 0.018463 | 0.018463 | 0.98673 | -0.25563 | 0.98679 | -0.25439 | 5.0722
20 | 0.26596 | 0.067185 | -0.26588 | -0.06714 | 7.0767e-05 | 4.5149e-05 | 0.39639 | 0.39639 | 0.39639 | 0.99884 | -0.022235 | 0.99855 | -0.027788 | 36.2998
21 | -0.26596 | -0.067185 | 0.26624 | 0.067366 | 0.00028377 | 0.00018104 | 0.39639 | 0.39639 | 0.39639 | 0.99884 | -0.022235 | 1 | 0 | 36.2998
22 | 0.21578 | 0.054545 | -0.21568 | -0.054484 | 9.6652e-05 | 6.1564e-05 | 0.32172 | 0.32172 | 0.32172 | 0.99855 | -0.027788 | 0.99806 | -0.037134 | 29.4614
23 | 0.050103 | 0.012595 | -0.05001 | -0.012536 | 9.3253e-05 | 5.91e-05 | 0.074676 | 0.074676 | 0.074676 | 0.99855 | -0.027788 | 0.99652 | -0.066847 | 20.5155
24 | 0.2958 | 0.074846 | -0.29475 | -0.07417 | 0.0010591 | 0.00067609 | 0.44041 | 0.44041 | 0.44041 | 1 | 0 | 0.99609 | -0.074897 | 40.3308
25 | 0.19903 | 0.050101 | -0.19901 | -0.050087 | 2.1945e-05 | 1.3967e-05 | 0.2974 | 0.2974 | 0.2974 | 0.99609 | -0.074897 | 0.99597 | -0.077204 | 27.234
26 | 0.095718 | 0.024069 | -0.09566 | -0.024032 | 5.8392e-05 | 3.7272e-05 | 0.14302 | 0.14302 | 0.14302 | 0.99609 | -0.074897 | 0.99543 | -0.087679 | 39.2905
27 | 0.035976 | 0.0090279 | -0.035967 | -0.0090222 | 9.0461e-06 | 5.6809e-06 | 0.053754 | 0.053754 | 0.053754 | 0.99597 | -0.077204 | 0.9957 | -0.082479 | 14.7675
28 | 0.16303 | 0.041059 | -0.16292 | -0.04099 | 0.000108 | 6.8869e-05 | 0.24364 | 0.24364 | 0.24364 | 0.99597 | -0.077204 | 0.99525 | -0.091069 | 33.4673
29 | 0.09566 | 0.024032 | -0.095518 | -0.023941 | 0.00014217 | 9.0746e-05 | 0.14302 | 0.14302 | 0.14302 | 0.99543 | -0.087679 | 0.99381 | -0.11887 | 39.2905
30 | 0.014908 | 0.0037387 | -0.0149 | -0.0037343 | 7.698e-06 | 4.3932e-06 | 0.022322 | 0.022322 | 0.022322 | 0.99381 | -0.11887 | 0.99325 | -0.12971 | 6.1325
31 | -0.017461 | -0.0043786 | 0.017462 | 0.0043792 | 1.0127e-06 | 5.9713e-07 | 0.026173 | 0.026173 | 0.026173 | 0.99274 | -0.13949 | 0.99281 | -0.13827 | 7.1905
32 | 0.017461 | 0.0043786 | -0.017454 | -0.0043744 | 7.0649e-06 | 4.1661e-06 | 0.026173 | 0.026173 | 0.026173 | 0.99274 | -0.13949 | 0.99231 | -0.14798 | 7.1905
33 | -0.029279 | -0.0073416 | 0.02929 | 0.0073486 | 1.1329e-05 | 7.0474e-06 | 0.043884 | 0.043884 | 0.043884 | 0.99281 | -0.13827 | 0.99323 | -0.13016 | 12.0562
34 | 0.011817 | 0.0029624 | -0.011816 | -0.002962 | 8.1814e-07 | 4.3368e-07 | 0.017711 | 0.017711 | 0.017711 | 0.99281 | -0.13827 | 0.99273 | -0.13972 | 4.8657
35 | -0.019741 | -0.0049486 | 0.019746 | 0.0049517 | 5.0717e-06 | 3.0481e-06 | 0.029664 | 0.029664 | 0.029664 | 0.99026 | -0.1876 | 0.99053 | -0.18221 | 8.1494
36 | 0.012708 | 0.0031866 | -0.012702 | -0.0031833 | 5.9975e-06 | 3.281e-06 | 0.019152 | 0.019152 | 0.019152 | 0.98735 | -0.24358 | 0.98684 | -0.25349 | 5.2616
37 | 0.021537 | 0.0054012 | -0.021531 | -0.0053979 | 5.4685e-06 | 3.3229e-06 | 0.032459 | 0.032459 | 0.032459 | 0.98735 | -0.24358 | 0.98708 | -0.24891 | 8.9173
38 | 0.0070457 | 0.001766 | -0.0070441 | -0.0017654 | 1.6471e-06 | 5.5663e-07 | 0.010621 | 0.010622 | 0.010622 | 0.98708 | -0.24891 | 0.98682 | -0.25382 | 2.918
39 | 0.014486 | 0.0036319 | -0.014482 | -0.0036297 | 3.78e-06 | 2.1491e-06 | 0.021837 | 0.021838 | 0.021838 | 0.98708 | -0.24891 | 0.98679 | -0.25439 | 5.9993
40 | 0.013597 | 0.0034088 | -0.013596 | -0.0034081 | 1.2014e-06 | 6.6959e-07 | 0.020402 | 0.020402 | 0.020402 | 0.9917 | -0.15956 | 0.99161 | -0.16141 | 5.6049
41 | -0.05083 | -0.012757 | 0.050855 | 0.012773 | 2.4977e-05 | 1.5838e-05 | 0.076276 | 0.076276 | 0.076276 | 0.9917 | -0.15956 | 0.99223 | -0.14926 | 20.9549
42 | 0.037234 | 0.0093483 | -0.037204 | -0.0093297 | 2.9584e-05 | 1.8608e-05 | 0.055874 | 0.055874 | 0.055874 | 0.9917 | -0.15956 | 0.99084 | -0.17623 | 15.35
43 | 0.013596 | 0.0034081 | -0.013593 | -0.0034068 | 2.3296e-06 | 1.2985e-06 | 0.020402 | 0.020402 | 0.020402 | 0.99161 | -0.16141 | 0.99142 | -0.16501 | 5.605
44 | -0.059177 | -0.014858 | 0.059223 | 0.014888 | 4.5951e-05 | 2.9207e-05 | 0.088755 | 0.088755 | 0.088755 | 0.99223 | -0.14926 | 0.99308 | -0.13299 | 24.3832
45 | 0.025008 | 0.0062731 | -0.025001 | -0.0062687 | 7.1257e-06 | 4.387e-06 | 0.037558 | 0.037558 | 0.037558 | 0.99084 | -0.17623 | 0.99053 | -0.18221 | 10.3181
46 | 0.036873 | 0.009244 | -0.036868 | -0.0092412 | 4.5026e-06 | 2.8298e-06 | 0.054975 | 0.054975 | 0.054975 | 0.99806 | -0.037134 | 0.99792 | -0.039697 | 15.1031
47 | 0.016377 | 0.0041064 | -0.016372 | -0.0041031 | 5.6669e-06 | 3.2977e-06 | 0.024455 | 0.024455 | 0.024455 | 0.99652 | -0.066847 | 0.99614 | -0.07411 | 6.7185
48 | 0.023527 | 0.005897 | -0.023526 | -0.0058961 | 1.491e-06 | 9.127e-07 | 0.035227 | 0.035227 | 0.035227 | 0.99382 | -0.11874 | 0.99375 | -0.12007 | 9.6776
49 | -0.023527 | -0.005897 | 0.023538 | 0.0059036 | 1.082e-05 | 6.6235e-06 | 0.035227 | 0.035226 | 0.035227 | 0.99382 | -0.11874 | 0.99432 | -0.10909 | 9.6776
50 | -0.037465 | -0.0093941 | 0.037483 | 0.0094055 | 1.8173e-05 | 1.1431e-05 | 0.056069 | 0.056069 | 0.056069 | 0.99432 | -0.10909 | 0.99484 | -0.09892 | 15.4036
51 | 0.010343 | 0.0025932 | -0.010338 | -0.002591 | 4.4203e-06 | 2.1818e-06 | 0.015422 | 0.015423 | 0.015423 | 0.99792 | -0.039697 | 0.99746 | -0.048669 | 4.237
52 | 0.044273 | 0.011099 | -0.044266 | -0.011094 | 6.958e-06 | 4.3977e-06 | 0.066084 | 0.066084 | 0.066084 | 0.99691 | -0.059199 | 0.99674 | -0.062498 | 18.155
53 | -0.037483 | -0.0094055 | 0.037492 | 0.0094108 | 8.3034e-06 | 5.2227e-06 | 0.056069 | 0.056069 | 0.056069 | 0.99484 | -0.09892 | 0.99508 | -0.094275 | 15.4035
54 | -0.082725 | -0.020783 | 0.082738 | 0.020791 | 1.2663e-05 | 8.0756e-06 | 0.12372 | 0.12372 | 0.12372 | 0.99508 | -0.094275 | 0.99525 | -0.091069 | 33.9896
55 | 0.045234 | 0.011372 | -0.045193 | -0.011347 | 4.0243e-05 | 2.5451e-05 | 0.067653 | 0.067653 | 0.067653 | 0.99508 | -0.094275 | 0.99412 | -0.11292 | 18.5861
56 | 0.080183 | 0.020199 | -0.080141 | -0.020172 | 4.1792e-05 | 2.6646e-05 | 0.11992 | 0.11992 | 0.11992 | 0.99525 | -0.091069 | 0.99468 | -0.10197 | 32.945
57 | 0.040069 | 0.010062 | -0.040036 | -0.010042 | 3.2915e-05 | 2.075e-05 | 0.059983 | 0.059983 | 0.059983 | 0.99412 | -0.11292 | 0.99323 | -0.13016 | 16.4788
58 | 0.074072 | 0.018651 | -0.073975 | -0.01859 | 9.6601e-05 | 6.1553e-05 | 0.11084 | 0.11084 | 0.11084 | 0.99468 | -0.10197 | 0.99327 | -0.12929 | 30.4505
59 | 0.029657 | 0.0074408 | -0.029648 | -0.007435 | 9.2692e-06 | 5.7687e-06 | 0.044324 | 0.044324 | 0.044324 | 0.9957 | -0.082479 | 0.99536 | -0.089036 | 12.1769
60 | 0.011816 | 0.002962 | -0.011814 | -0.0029608 | 2.2085e-06 | 1.1707e-06 | 0.017711 | 0.017711 | 0.017711 | 0.99273 | -0.13972 | 0.99253 | -0.14365 | 4.8657
61 | -0.068805 | -0.017289 | 0.068818 | 0.017297 | 1.2173e-05 | 7.7511e-06 | 0.10311 | 0.10311 | 0.10311 | 0.99308 | -0.13299 | 0.99327 | -0.12929 | 28.3278
62 | -0.013231 | -0.0033159 | 0.013235 | 0.0033184 | 4.5161e-06 | 2.4913e-06 | 0.019795 | 0.019795 | 0.019795 | 0.99457 | -0.10421 | 0.99494 | -0.097051 | 5.4381
63 | -0.023323 | -0.0058467 | 0.023332 | 0.0058522 | 8.9103e-06 | 5.4489e-06 | 0.034882 | 0.034882 | 0.034882 | 0.99494 | -0.097051 | 0.99536 | -0.089036 | 9.5831

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5987 | 0.15099

## res_load
| p_mw | q_mvar
0 | 0.020477 | 0.0051319
1 | 0.018097 | 0.0045355
2 | 0.0094707 | 0.0023736
3 | 0.006635 | 0.0016629
4 | 0.017907 | 0.0044878
5 | 0.010658 | 0.0026712
6 | 0.0069737 | 0.0017478
7 | 0.0021356 | 0.00053523
8 | 0.035002 | 0.0087722
9 | 0.08061 | 0.020203
10 | 0.017454 | 0.0043744
11 | 0.0090778 | 0.0022751
12 | 0.026629 | 0.0066739
13 | 0.0070441 | 0.0017654
14 | 0.0022381 | 0.00056092
15 | 0.0083214 | 0.0020855
16 | 0.012196 | 0.0030567
17 | 0.033633 | 0.0084292
18 | 0.023526 | 0.0058961
19 | 0.013927 | 0.0034905
20 | 0.026526 | 0.006648
21 | 0.012702 | 0.0031833
22 | 0.013593 | 0.0034068
23 | 0.044266 | 0.011094
24 | 0.0051246 | 0.0012844
25 | 0.0060696 | 0.0015212
26 | 0.00631 | 0.0015814
27 | 0.011814 | 0.0029608
28 | 0.010745 | 0.0026931
29 | 0.0031306 | 0.0007846
30 | 0.016372 | 0.0041031
31 | 0.010338 | 0.002591
32 | 0.0149 | 0.0037343
33 | 0.0052549 | 0.001317
34 | 0.0095826 | 0.0024016
35 | 0.013231 | 0.0033159
36 | 0.010088 | 0.0025284
37 | 0.0051576 | 0.0012926
38 | 0.0063155 | 0.0015828

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1