## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-671_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-671_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-671_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-671_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-671_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_261-671_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-671_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_261-671_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_261-671_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_261-671_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_261-671_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_261-671_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-671_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_261-671_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_261-671_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_261-671_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-671_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_261-671_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_261-671_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_261-671_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_261-671_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-671_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_261-671_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-671_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_261-671_0_4_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_261-671_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-671_0_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_261-671_0_4_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_261-671_0_4_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_261-671_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_261-671_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_261-671_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_261-671_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_261-671_0_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_261-671_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_261-671_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_261-671_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_261-671_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_261-671_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_261-671_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_261-671_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_261-671_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_261-671_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_261-671_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_261-671_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_261-671_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_261-671_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_261-671_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_261-671_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_261-671_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_261-671_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_MV_533_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-671_0_4_load_0 | 0 | 0.0071995 | 0.0018044 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-671_0_4_load_5 | 5 | 0.0073405 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-671_0_4_load_39 | 7 | 0.0080565 | 0.0020191 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-671_0_4_load_31 | 8 | 0.0080761 | 0.0020241 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-671_0_4_load_29 | 9 | 0.0079573 | 0.0019943 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-671_0_4_load_33 | 10 | 0.012075 | 0.0030263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-671_0_4_load_32 | 12 | 0.0071627 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-671_0_4_load_42 | 14 | 0.010878 | 0.0027264 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-671_0_4_load_30 | 17 | 0.0079617 | 0.0019954 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-671_0_4_load_49 | 18 | 0.0098156 | 0.00246 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-671_0_4_load_23 | 19 | 0.009164 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-671_0_4_load_56 | 24 | 0.011275 | 0.0028258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-671_0_4_load_44 | 26 | 0.0085232 | 0.0021361 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-671_0_4_load_43 | 27 | 0.011576 | 0.0029013 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-671_0_4_load_53 | 28 | 0.0083448 | 0.0020914 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-671_0_4_load_37 | 30 | 0.0091336 | 0.0022891 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-671_0_4_load_38 | 31 | 0.0082151 | 0.0020589 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-671_0_4_load_36 | 32 | 0.0082453 | 0.0020665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-671_0_4_load_55 | 33 | 0.0063532 | 0.0015923 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-671_0_4_load_45 | 34 | 0.008111 | 0.0020328 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-671_0_4_load_46 | 35 | 0.012445 | 0.0031189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-671_0_4_load_28 | 36 | 0.0080027 | 0.0020057 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-671_0_4_load_26 | 37 | 0.0081127 | 0.0020332 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-671_0_4_load_48 | 38 | 0.0077027 | 0.0019305 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-671_0_4_load_34 | 39 | 0.0055139 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-671_0_4_load_35 | 40 | 0.034798 | 0.0087212 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-671_0_4_load_24 | 41 | 0.039254 | 0.009838 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-671_0_4_load_57 | 42 | 0.012232 | 0.0030656 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-671_0_4_load_54 | 43 | 0.0063738 | 0.0015974 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-671_0_4_load_52 | 44 | 0.005493 | 0.0013767 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-671_0_4_load_50 | 45 | 0.0057425 | 0.0014392 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-671_0_4_load_41 | 46 | 0.0083301 | 0.0020877 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-671_0_4_load_40 | 47 | 0.012917 | 0.0032374 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-671_0_4_load_25 | 48 | 0.021426 | 0.0053699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-671_0_4_load_51 | 49 | 0.0062281 | 0.0015609 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-671_0_4_load_47 | 50 | 0.0078006 | 0.001955 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-671_0_4_line_0 |  | 0 | 1 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-671_0_4_line_1 |  | 1 | 2 | 0.007609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-671_0_4_line_2 |  | 1 | 3 | 0.008255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-671_0_4_line_3 |  | 2 | 7 | 0.010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-671_0_4_line_4 |  | 3 | 8 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-671_0_4_line_5 |  | 3 | 9 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-671_0_4_line_6 |  | 4 | 5 | 0.0077586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-671_0_4_line_7 |  | 4 | 6 | 0.0084473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-671_0_4_line_8 |  | 5 | 10 | 0.021585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-671_0_4_line_9 |  | 6 | 13 | 0.00529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-671_0_4_line_10 |  | 6 | 14 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-671_0_4_line_11 |  | 8 | 11 | 0.001488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-671_0_4_line_12 |  | 9 | 17 | 0.016808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-671_0_4_line_13 |  | 11 | 12 | 0.01289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-671_0_4_line_14 |  | 12 | 20 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-671_0_4_line_15 |  | 13 | 19 | 0.0099188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-671_0_4_line_16 |  | 13 | 15 | 0.0084778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-671_0_4_line_17 |  | 15 | 16 | 0.02068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-671_0_4_line_18 |  | 15 | 17 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-671_0_4_line_19 |  | 15 | 18 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-671_0_4_line_20 |  | 16 | 36 | 0.005205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-671_0_4_line_21 |  | 16 | 37 | 0.03611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-671_0_4_line_22 |  | 18 | 38 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-671_0_4_line_23 |  | 19 | 41 | 0.018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-671_0_4_line_24 |  | 20 | 21 | 0.026092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-671_0_4_line_25 |  | 21 | 33 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-671_0_4_line_26 |  | 22 | 23 | 0.016622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-671_0_4_line_27 |  | 22 | 24 | 0.033133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-671_0_4_line_28 |  | 23 | 28 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-671_0_4_line_29 |  | 24 | 42 | 0.019413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-671_0_4_line_30 |  | 25 | 26 | 0.019895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-671_0_4_line_31 |  | 25 | 27 | 0.0099306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-671_0_4_line_32 |  | 26 | 42 | 0.027658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-671_0_4_line_33 |  | 28 | 44 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-671_0_4_line_34 |  | 29 | 30 | 0.01374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-671_0_4_line_35 |  | 29 | 31 | 0.0053563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-671_0_4_line_36 |  | 29 | 32 | 0.018606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-671_0_4_line_37 |  | 30 | 45 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-671_0_4_line_38 |  | 31 | 46 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-671_0_4_line_39 |  | 32 | 36 | 0.0070597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-671_0_4_line_40 |  | 33 | 43 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-671_0_4_line_41 |  | 34 | 35 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-671_0_4_line_42 |  | 35 | 50 | 0.012909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-671_0_4_line_43 |  | 38 | 50 | 0.013202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-671_0_4_line_44 |  | 39 | 40 | 0.016109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-671_0_4_line_45 |  | 40 | 48 | 0.013104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-671_0_4_line_46 |  | 41 | 48 | 0.0088908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-671_0_4_line_47 |  | 44 | 49 | 0.0096326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-671_0_4_line_48 |  | 45 | 49 | 0.010236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-671_0_4_line_49 |  | 46 | 47 | 0.02874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-671_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 51 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2681451.2983 | 1247018.0396 | 2681452.9104 | 1247022.2093 | 2681456.085 | 1247029.7695 | 2681457.6779 | 1247033.4607
1 | 2681445.8145 | 1247013.0607 | 2681448.313 | 1247014.2959 | 2681450.0653 | 1247015.9656 | 2681451.2983 | 1247018.0396
2 | 2681459.0799 | 1247015.2222 | 2681451.2983 | 1247018.0396
3 | 2681445.8145 | 1247013.0607 | 2681443.0551 | 1247012.667 | 2681439.4586 | 1247013.2736 | 2681435.8347 | 1247013.8486
4 | 2681459.0799 | 1247015.2222 | 2681458.1839 | 1247011.1625 | 2681457.7815 | 1247007.4654 | 2681457.8973 | 1247003.9867 | 2681458.199 | 1247002.7294
5 | 2681459.0799 | 1247015.2222 | 2681463.1425 | 1247025.7746 | 2681467.2869 | 1247034.3257
6 | 2681465.182 | 1247057.1033 | 2681459.3774 | 1247062.2513
7 | 2681465.182 | 1247057.1033 | 2681467.1407 | 1247060.2436 | 2681469.6537 | 1247064.27
8 | 2681443.2287 | 1247076.5731 | 2681459.3774 | 1247062.2513
9 | 2681469.6537 | 1247064.27 | 2681471.0296 | 1247064.1888 | 2681472.9026 | 1247064.7705 | 2681474.3652 | 1247066.0805
10 | 2681469.6537 | 1247064.27 | 2681468.3704 | 1247064.7527 | 2681452.0717 | 1247079.2693
11 | 2681458.5463 | 1247001.2825 | 2681458.199 | 1247002.7294
12 | 2681467.2869 | 1247034.3257 | 2681474.0582 | 1247048.2966 | 2681474.6685 | 1247049.4246
13 | 2681458.5463 | 1247001.2825 | 2681459.1391 | 1246998.8222 | 2681461.9157 | 1246988.8423
14 | 2681465.0038 | 1246977.7429 | 2681461.9157 | 1246988.8423
15 | 2681474.3652 | 1247066.0805 | 2681479.7938 | 1247074.3818
16 | 2681474.3652 | 1247066.0805 | 2681477.9684 | 1247063.8839 | 2681481.6096 | 1247061.6768
17 | 2681500.1214 | 1247052.5578 | 2681491.9679 | 1247055.5035 | 2681481.6096 | 1247061.6768
18 | 2681481.6096 | 1247061.6768 | 2681478.7435 | 1247056.9562 | 2681474.6685 | 1247049.4246
19 | 2681481.6096 | 1247061.6768 | 2681487.0377 | 1247069.6016 | 2681493.2309 | 1247078.8633
20 | 2681500.1214 | 1247052.5578 | 2681505.0564 | 1247050.9031
21 | 2681500.1214 | 1247052.5578 | 2681492.4746 | 1247031.8376 | 2681492.1955 | 1247030.7107 | 2681492.334 | 1247029.4227 | 2681492.9346 | 1247028.5971 | 2681493.6551 | 1247027.8397 | 2681501.805 | 1247022.9566
22 | 2681501.8846 | 1247091.8047 | 2681493.2309 | 1247078.8633
23 | 2681479.7938 | 1247074.3818 | 2681489.8432 | 1247089.7493
24 | 2681465.0038 | 1246977.7429 | 2681467.7042 | 1246974.7333 | 2681470.5296 | 1246973.0709 | 2681481.2124 | 1246968.581 | 2681484.4814 | 1246967.6252 | 2681488.2877 | 1246967.1439
25 | 2681488.2877 | 1246967.1439 | 2681504.1282 | 1246970.41
26 | 2681574.3079 | 1247107.5512 | 2681578.4353 | 1247100.2026 | 2681582.5365 | 1247093.1094
27 | 2681582.5365 | 1247093.1094 | 2681580.307 | 1247093.7347 | 2681577.9963 | 1247093.6807 | 2681576.6565 | 1247093.3287 | 2681575.403 | 1247092.7443 | 2681558.9609 | 1247072.9425
28 | 2681574.3079 | 1247107.5512 | 2681564.8837 | 1247096.3467 | 2681560.2819 | 1247090.8527
29 | 2681558.9609 | 1247072.9425 | 2681546.5595 | 1247058.0072
30 | 2681562.1282 | 1247019.3748 | 2681549.6066 | 1247034.835
31 | 2681562.1282 | 1247019.3748 | 2681564.236 | 1247021.0049 | 2681569.9155 | 1247025.5368
32 | 2681549.6066 | 1247034.835 | 2681541.7947 | 1247044.4802 | 2681541.2814 | 1247046.6525 | 2681541.2357 | 1247048.8757 | 2681541.7025 | 1247051.1838 | 2681542.6776 | 1247053.3322 | 2681546.5595 | 1247058.0072
33 | 2681553.1631 | 1247082.3536 | 2681560.2819 | 1247090.8527
34 | 2681529.6177 | 1247043.9235 | 2681529.2604 | 1247045.1862 | 2681528.9126 | 1247048.5061 | 2681529.3652 | 1247051.8481 | 2681530.5986 | 1247054.9895 | 2681531.9524 | 1247056.9005
35 | 2681529.6177 | 1247043.9235 | 2681530.3762 | 1247042.0548 | 2681532.1974 | 1247039.2556
36 | 2681529.6177 | 1247043.9235 | 2681525.0969 | 1247044.1838 | 2681511.7499 | 1247048.6589
37 | 2681531.9524 | 1247056.9005 | 2681532.5475 | 1247057.7406 | 2681540.4051 | 1247067.1217
38 | 2681542.8697 | 1247027.3474 | 2681536.9762 | 1247034.5289 | 2681532.1974 | 1247039.2556 | 2681532.1974 | 1247039.2556
39 | 2681505.0564 | 1247050.9031 | 2681511.7499 | 1247048.6589
40 | 2681521.843 | 1246974.0627 | 2681504.1282 | 1246970.41
41 | 2681525.4994 | 1247120.1713 | 2681518.2151 | 1247112.165
42 | 2681518.2151 | 1247112.165 | 2681516.4903 | 1247110.2694 | 2681510.0257 | 1247102.191
43 | 2681510.0257 | 1247102.191 | 2681502.7516 | 1247093.1013 | 2681501.8846 | 1247091.8047
44 | 2681502.8888 | 1247107.4471 | 2681503.9854 | 1247108.852 | 2681511.5297 | 1247117.7956 | 2681513.2638 | 1247119.7684
45 | 2681502.8888 | 1247107.4471 | 2681496.8443 | 1247099.7028 | 2681494.9331 | 1247097.0369
46 | 2681494.9331 | 1247097.0369 | 2681491.241 | 1247091.8867 | 2681489.8432 | 1247089.7493
47 | 2681546.9779 | 1247074.9691 | 2681553.1631 | 1247082.3536
48 | 2681540.4051 | 1247067.1217 | 2681546.9779 | 1247074.9691
49 | 2681561.1018 | 1247005.1308 | 2681542.8697 | 1247027.3474

## bus_geodata
| x | y | coords
0 | 2681457.6779 | 1247033.4607
1 | 2681451.2983 | 1247018.0396
2 | 2681445.8145 | 1247013.0607
3 | 2681459.0799 | 1247015.2222
4 | 2681465.182 | 1247057.1033
5 | 2681459.3774 | 1247062.2513
6 | 2681469.6537 | 1247064.27
7 | 2681435.8347 | 1247013.8486
8 | 2681458.199 | 1247002.7294
9 | 2681467.2869 | 1247034.3257
10 | 2681443.2287 | 1247076.5731
11 | 2681458.5463 | 1247001.2825
12 | 2681461.9157 | 1246988.8423
13 | 2681474.3652 | 1247066.0805
14 | 2681452.0717 | 1247079.2693
15 | 2681481.6096 | 1247061.6768
16 | 2681500.1214 | 1247052.5578
17 | 2681474.6685 | 1247049.4246
18 | 2681493.2309 | 1247078.8633
19 | 2681479.7938 | 1247074.3818
20 | 2681465.0038 | 1246977.7429
21 | 2681488.2877 | 1246967.1439
22 | 2681582.5365 | 1247093.1094
23 | 2681574.3079 | 1247107.5512
24 | 2681558.9609 | 1247072.9425
25 | 2681562.1282 | 1247019.3748
26 | 2681549.6066 | 1247034.835
27 | 2681569.9155 | 1247025.5368
28 | 2681560.2819 | 1247090.8527
29 | 2681529.6177 | 1247043.9235
30 | 2681531.9524 | 1247056.9005
31 | 2681532.1974 | 1247039.2556
32 | 2681511.7499 | 1247048.6589
33 | 2681504.1282 | 1246970.41
34 | 2681525.4994 | 1247120.1713
35 | 2681518.2151 | 1247112.165
36 | 2681505.0564 | 1247050.9031
37 | 2681501.805 | 1247022.9566
38 | 2681501.8846 | 1247091.8047
39 | 2681513.2638 | 1247119.7684
40 | 2681502.8888 | 1247107.4471
41 | 2681489.8432 | 1247089.7493
42 | 2681546.5595 | 1247058.0072
43 | 2681521.843 | 1246974.0627
44 | 2681553.1631 | 1247082.3536
45 | 2681540.4051 | 1247067.1217
46 | 2681542.8697 | 1247027.3474
47 | 2681561.1018 | 1247005.1308
48 | 2681494.9331 | 1247097.0369
49 | 2681546.9779 | 1247074.9691
50 | 2681510.0257 | 1247102.191
51 | 2681481.6096 | 1247061.6768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9951 | -0.094186 | 0.0071995 | 0.0018044
1 | 0.99521 | -0.092071 | 0 | 0
2 | 0.99515 | -0.09315 | 0 | 0
3 | 0.99532 | -0.089855 | 0 | 0
4 | 0.9963 | -0.070909 | 0 | 0
5 | 0.99617 | -0.073554 | 0.0073405 | 0.0018397
6 | 0.99645 | -0.068029 | 0 | 0
7 | 0.99508 | -0.094583 | 0.0080565 | 0.0020191
8 | 0.995 | -0.096082 | 0.0080761 | 0.0020241
9 | 0.99614 | -0.074042 | 0.0079573 | 0.0019943
10 | 0.99593 | -0.078133 | 0.012075 | 0.0030263
11 | 0.99497 | -0.096603 | 0 | 0
12 | 0.99474 | -0.10112 | 0.0071627 | 0.0017951
13 | 0.9966 | -0.065216 | 0 | 0
14 | 0.99622 | -0.07246 | 0.010878 | 0.0027264
15 | 0.99769 | -0.044343 | 0 | 0
16 | 1 | 0 | -0.38138 | -0.095895
17 | 0.99693 | -0.058943 | 0.0079617 | 0.0019954
18 | 0.99682 | -0.061024 | 0.0098156 | 0.00246
19 | 0.9956 | -0.084409 | 0.009164 | 0.0022967
20 | 0.99461 | -0.1037 | 0 | 0
21 | 0.9943 | -0.10955 | 0 | 0
22 | 0.99183 | -0.15701 | 0 | 0
23 | 0.99249 | -0.14418 | 0 | 0
24 | 0.99051 | -0.18265 | 0.011275 | 0.0028258
25 | 0.98921 | -0.2078 | 0 | 0
26 | 0.98942 | -0.2037 | 0.0085232 | 0.0021361
27 | 0.98911 | -0.20985 | 0.011576 | 0.0029013
28 | 0.99337 | -0.12736 | 0.0083448 | 0.0020914
29 | 0.99682 | -0.060802 | 0 | 0
30 | 0.99584 | -0.079752 | 0.0091336 | 0.0022891
31 | 0.99668 | -0.06357 | 0.0082151 | 0.0020589
32 | 0.99866 | -0.025614 | 0.0082453 | 0.0020665
33 | 0.99412 | -0.11318 | 0.0063532 | 0.0015923
34 | 0.99565 | -0.083659 | 0.008111 | 0.0020328
35 | 0.99573 | -0.082116 | 0.012445 | 0.0031189
36 | 0.99941 | -0.01128 | 0.0080027 | 0.0020057
37 | 0.99973 | -0.0051076 | 0.0081127 | 0.0020332
38 | 0.99631 | -0.070876 | 0.0077027 | 0.0019305
39 | 0.99285 | -0.13767 | 0.0055139 | 0.0013819
40 | 0.99293 | -0.1361 | 0.034798 | 0.0087212
41 | 0.99391 | -0.11707 | 0.039254 | 0.009838
42 | 0.98993 | -0.1938 | 0.012232 | 0.0030656
43 | 0.99401 | -0.11522 | 0.0063738 | 0.0015974
44 | 0.99389 | -0.11719 | 0.005493 | 0.0013767
45 | 0.995 | -0.095953 | 0.0057425 | 0.0014392
46 | 0.99637 | -0.069542 | 0.0083301 | 0.0020877
47 | 0.99603 | -0.076062 | 0.012917 | 0.0032374
48 | 0.99341 | -0.12676 | 0.021426 | 0.0053699
49 | 0.9944 | -0.10744 | 0.0062281 | 0.0015609
50 | 0.99597 | -0.077452 | 0.0078006 | 0.001955
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0071995 | -0.0018044 | 0.0072002 | 0.0018046 | 7.2541e-07 | 2.4741e-07 | 0.010766 | 0.010766 | 0.010766 | 0.9951 | -0.094186 | 0.99521 | -0.092071 | 2.9576
1 | 0.0080574 | 0.0020195 | -0.008057 | -0.0020194 | 4.1414e-07 | 1.6618e-07 | 0.012047 | 0.012047 | 0.012047 | 0.99521 | -0.092071 | 0.99515 | -0.09315 | 3.3097
2 | -0.015258 | -0.0038241 | 0.015259 | 0.0038251 | 1.6111e-06 | 9.2381e-07 | 0.022813 | 0.022813 | 0.022813 | 0.99521 | -0.092071 | 0.99532 | -0.089855 | 6.2673
3 | 0.008057 | 0.0020194 | -0.0080565 | -0.0020191 | 5.4993e-07 | 2.2069e-07 | 0.012047 | 0.012047 | 0.012047 | 0.99515 | -0.09315 | 0.99508 | -0.094583 | 3.3097
4 | 0.027987 | 0.0070211 | -0.027979 | -0.0070159 | 8.3056e-06 | 5.1512e-06 | 0.041843 | 0.041843 | 0.041843 | 0.99532 | -0.089855 | 0.995 | -0.096082 | 11.4954
5 | -0.043246 | -0.010846 | 0.043279 | 0.010867 | 3.2623e-05 | 2.0608e-05 | 0.064656 | 0.064656 | 0.064656 | 0.99532 | -0.089855 | 0.99614 | -0.074042 | 17.7627
6 | 0.019421 | 0.0048689 | -0.019418 | -0.0048674 | 2.4479e-06 | 1.4656e-06 | 0.029006 | 0.029006 | 0.029006 | 0.9963 | -0.070909 | 0.99617 | -0.073554 | 7.9687
7 | -0.019421 | -0.0048689 | 0.019423 | 0.0048705 | 2.6652e-06 | 1.5957e-06 | 0.029006 | 0.029006 | 0.029006 | 0.9963 | -0.070909 | 0.99645 | -0.068029 | 7.9687
8 | 0.012078 | 0.0030277 | -0.012075 | -0.0030263 | 2.6346e-06 | 1.4052e-06 | 0.018041 | 0.018041 | 0.018041 | 0.99617 | -0.073554 | 0.99593 | -0.078133 | 4.9564
9 | -0.030304 | -0.007598 | 0.030308 | 0.0076005 | 4.0626e-06 | 2.5312e-06 | 0.045254 | 0.045254 | 0.045254 | 0.99645 | -0.068029 | 0.9966 | -0.065216 | 12.4325
10 | 0.010881 | 0.0027275 | -0.010878 | -0.0027264 | 2.2966e-06 | 1.1677e-06 | 0.016248 | 0.016248 | 0.016248 | 0.99645 | -0.068029 | 0.99622 | -0.07246 | 4.4639
11 | 0.019902 | 0.0049919 | -0.019902 | -0.0049916 | 4.9438e-07 | 2.9708e-07 | 0.029765 | 0.029765 | 0.029765 | 0.995 | -0.096082 | 0.99497 | -0.096603 | 8.1773
12 | -0.051236 | -0.012861 | 0.051273 | 0.012884 | 3.6927e-05 | 2.3415e-05 | 0.076542 | 0.076542 | 0.076542 | 0.99614 | -0.074042 | 0.99693 | -0.058943 | 21.0281
13 | 0.019902 | 0.0049916 | -0.019898 | -0.004989 | 4.2825e-06 | 2.5734e-06 | 0.029765 | 0.029765 | 0.029765 | 0.99497 | -0.096603 | 0.99474 | -0.10112 | 8.1773
14 | 0.012735 | 0.0031938 | -0.012733 | -0.003193 | 1.568e-06 | 8.5398e-07 | 0.019051 | 0.019051 | 0.019051 | 0.99474 | -0.10112 | 0.99461 | -0.1037 | 5.2337
15 | 0.11046 | 0.027802 | -0.11036 | -0.027738 | 0.00010123 | 6.4657e-05 | 0.16497 | 0.16497 | 0.16497 | 0.9966 | -0.065216 | 0.9956 | -0.084409 | 45.3218
16 | -0.14077 | -0.035403 | 0.14091 | 0.035493 | 0.0001405 | 8.9812e-05 | 0.21023 | 0.21023 | 0.21023 | 0.9966 | -0.065216 | 0.99769 | -0.044343 | 57.7543
17 | -0.24613 | -0.061938 | 0.24665 | 0.062272 | 0.00052277 | 0.00033403 | 0.36718 | 0.36718 | 0.36718 | 0.99769 | -0.044343 | 1 | 0 | 50.437
18 | 0.059276 | 0.014906 | -0.059235 | -0.01488 | 4.1302e-05 | 2.625e-05 | 0.088426 | 0.088426 | 0.088426 | 0.99769 | -0.044343 | 0.99693 | -0.058943 | 24.2928
19 | 0.045942 | 0.01154 | -0.045906 | -0.011516 | 3.6539e-05 | 2.3114e-05 | 0.06853 | 0.06853 | 0.06853 | 0.99769 | -0.044343 | 0.99682 | -0.061024 | 18.827
20 | 0.12496 | 0.031588 | -0.12489 | -0.031545 | 6.7557e-05 | 4.3168e-05 | 0.18604 | 0.18604 | 0.18604 | 1 | 0 | 0.99941 | -0.01128 | 51.1099
21 | 0.0081147 | 0.002034 | -0.0081127 | -0.0020332 | 1.9744e-06 | 7.8998e-07 | 0.012075 | 0.012075 | 0.012075 | 1 | 0 | 0.99973 | -0.0051076 | 3.3173
22 | 0.03609 | 0.0090564 | -0.036073 | -0.0090457 | 1.6947e-05 | 1.0643e-05 | 0.053878 | 0.053878 | 0.053878 | 0.99682 | -0.061024 | 0.99631 | -0.070876 | 14.8016
23 | 0.1012 | 0.025441 | -0.10104 | -0.02534 | 0.00015757 | 0.00010061 | 0.15127 | 0.15127 | 0.15127 | 0.9956 | -0.084409 | 0.99391 | -0.11707 | 41.5591
24 | 0.012733 | 0.003193 | -0.01273 | -0.003191 | 3.5511e-06 | 1.9342e-06 | 0.019051 | 0.019051 | 0.019051 | 0.99461 | -0.1037 | 0.9943 | -0.10955 | 5.2338
25 | 0.01273 | 0.003191 | -0.012728 | -0.0031898 | 2.2013e-06 | 1.1991e-06 | 0.019051 | 0.019051 | 0.019051 | 0.9943 | -0.10955 | 0.99412 | -0.11318 | 5.2338
26 | -0.04369 | -0.010981 | 0.043717 | 0.010998 | 2.6789e-05 | 1.6931e-05 | 0.065558 | 0.065558 | 0.065558 | 0.99183 | -0.15701 | 0.99249 | -0.14418 | 18.0104
27 | 0.04369 | 0.010981 | -0.043637 | -0.010947 | 5.3401e-05 | 3.375e-05 | 0.065558 | 0.065558 | 0.065558 | 0.99183 | -0.15701 | 0.99051 | -0.18265 | 18.0105
28 | -0.043717 | -0.010998 | 0.043752 | 0.01102 | 3.5147e-05 | 2.2212e-05 | 0.065558 | 0.065558 | 0.065558 | 0.99249 | -0.14418 | 0.99337 | -0.12736 | 18.0104
29 | 0.032361 | 0.0081213 | -0.032344 | -0.0081105 | 1.7209e-05 | 1.0764e-05 | 0.04862 | 0.04862 | 0.04862 | 0.99051 | -0.18265 | 0.98993 | -0.1938 | 13.3571
30 | -0.011578 | -0.0029019 | 0.01158 | 0.0029031 | 2.2628e-06 | 1.1927e-06 | 0.017416 | 0.017416 | 0.017416 | 0.98921 | -0.2078 | 0.98942 | -0.2037 | 4.7845
31 | 0.011578 | 0.0029019 | -0.011576 | -0.0029013 | 1.1295e-06 | 5.9541e-07 | 0.017416 | 0.017416 | 0.017416 | 0.98921 | -0.2078 | 0.98911 | -0.20985 | 4.7845
32 | -0.020103 | -0.0050392 | 0.020112 | 0.0050449 | 9.4807e-06 | 5.7123e-06 | 0.030234 | 0.030234 | 0.030234 | 0.98942 | -0.2037 | 0.98993 | -0.1938 | 8.306
33 | -0.052097 | -0.013111 | 0.052122 | 0.013127 | 2.5332e-05 | 1.6069e-05 | 0.078058 | 0.078058 | 0.078058 | 0.99337 | -0.12736 | 0.99389 | -0.11719 | 21.4445
34 | 0.078907 | 0.019913 | -0.078835 | -0.019867 | 7.1543e-05 | 4.5609e-05 | 0.11784 | 0.11784 | 0.11784 | 0.99682 | -0.060802 | 0.99584 | -0.079752 | 32.3727
35 | 0.029477 | 0.0073923 | -0.029473 | -0.0073899 | 3.8892e-06 | 2.4193e-06 | 0.044003 | 0.044003 | 0.044003 | 0.99682 | -0.060802 | 0.99668 | -0.06357 | 12.0887
36 | -0.10838 | -0.027305 | 0.10857 | 0.027422 | 0.00018274 | 0.00011671 | 0.16184 | 0.16184 | 0.16184 | 0.99682 | -0.060802 | 0.99866 | -0.025614 | 44.4614
37 | 0.069701 | 0.017578 | -0.069647 | -0.017544 | 5.4005e-05 | 3.4391e-05 | 0.10419 | 0.10419 | 0.10419 | 0.99584 | -0.079752 | 0.995 | -0.095953 | 28.6234
38 | 0.021258 | 0.005331 | -0.021251 | -0.0053273 | 6.0482e-06 | 3.6623e-06 | 0.031738 | 0.031738 | 0.031738 | 0.99668 | -0.06357 | 0.99637 | -0.069542 | 8.7193
39 | -0.11681 | -0.029488 | 0.11689 | 0.029539 | 8.0268e-05 | 5.1279e-05 | 0.17413 | 0.17413 | 0.17413 | 0.99866 | -0.025614 | 0.99941 | -0.01128 | 47.8366
40 | 0.0063744 | 0.0015976 | -0.0063738 | -0.0015974 | 6.175e-07 | 1.6072e-07 | 0.0095414 | 0.0095415 | 0.0095415 | 0.99412 | -0.11318 | 0.99401 | -0.11522 | 2.6213
41 | -0.008111 | -0.0020328 | 0.0081116 | 0.002033 | 5.9646e-07 | 2.4095e-07 | 0.012122 | 0.012122 | 0.012122 | 0.99565 | -0.083659 | 0.99573 | -0.082116 | 3.3302
42 | -0.020556 | -0.005152 | 0.020561 | 0.0051547 | 4.5684e-06 | 2.7558e-06 | 0.030719 | 0.030719 | 0.030719 | 0.99573 | -0.082116 | 0.99597 | -0.077452 | 8.4394
43 | 0.02837 | 0.0071153 | -0.028361 | -0.0071098 | 8.8891e-06 | 5.5172e-06 | 0.042374 | 0.042374 | 0.042374 | 0.99631 | -0.070876 | 0.99597 | -0.077452 | 11.6412
44 | -0.0055139 | -0.0013819 | 0.0055144 | 0.001382 | 4.1256e-07 | 5.5688e-08 | 0.008264 | 0.0082639 | 0.008264 | 0.99285 | -0.13767 | 0.99293 | -0.1361 | 2.2703
45 | -0.040312 | -0.010103 | 0.04033 | 0.010114 | 1.7935e-05 | 1.1309e-05 | 0.060413 | 0.060412 | 0.060413 | 0.99293 | -0.1361 | 0.99341 | -0.12676 | 16.5968
46 | 0.061785 | 0.015502 | -0.061756 | -0.015484 | 2.8531e-05 | 1.8144e-05 | 0.092506 | 0.092506 | 0.092506 | 0.99391 | -0.11707 | 0.99341 | -0.12676 | 25.4138
47 | -0.057615 | -0.014504 | 0.057642 | 0.014521 | 2.6891e-05 | 1.7086e-05 | 0.086282 | 0.086282 | 0.086282 | 0.99389 | -0.11719 | 0.9944 | -0.10744 | 23.7038
48 | 0.063905 | 0.016104 | -0.06387 | -0.016082 | 3.5084e-05 | 2.2321e-05 | 0.095601 | 0.095601 | 0.095601 | 0.995 | -0.095953 | 0.9944 | -0.10744 | 26.2641
49 | 0.012921 | 0.0032396 | -0.012917 | -0.0032374 | 4.0135e-06 | 2.1945e-06 | 0.019298 | 0.019298 | 0.019298 | 0.99637 | -0.069542 | 0.99603 | -0.076062 | 5.3016

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38138 | 0.095895

## res_load
| p_mw | q_mvar
0 | 0.0071995 | 0.0018044
1 | 0.0073405 | 0.0018397
2 | 0.0080565 | 0.0020191
3 | 0.0080761 | 0.0020241
4 | 0.0079573 | 0.0019943
5 | 0.012075 | 0.0030263
6 | 0.0071627 | 0.0017951
7 | 0.010878 | 0.0027264
8 | 0.0079617 | 0.0019954
9 | 0.0098156 | 0.00246
10 | 0.009164 | 0.0022967
11 | 0.011275 | 0.0028258
12 | 0.0085232 | 0.0021361
13 | 0.011576 | 0.0029013
14 | 0.0083448 | 0.0020914
15 | 0.0091336 | 0.0022891
16 | 0.0082151 | 0.0020589
17 | 0.0082453 | 0.0020665
18 | 0.0063532 | 0.0015923
19 | 0.008111 | 0.0020328
20 | 0.012445 | 0.0031189
21 | 0.0080027 | 0.0020057
22 | 0.0081127 | 0.0020332
23 | 0.0077027 | 0.0019305
24 | 0.0055139 | 0.0013819
25 | 0.034798 | 0.0087212
26 | 0.039254 | 0.009838
27 | 0.012232 | 0.0030656
28 | 0.0063738 | 0.0015974
29 | 0.005493 | 0.0013767
30 | 0.0057425 | 0.0014392
31 | 0.0083301 | 0.0020877
32 | 0.012917 | 0.0032374
33 | 0.021426 | 0.0053699
34 | 0.0062281 | 0.0015609
35 | 0.0078006 | 0.001955

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1