## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-673_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-673_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-673_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-673_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-673_0_4_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_261-673_0_4_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_261-673_0_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_261-673_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-673_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-673_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-673_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-673_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-673_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_261-673_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_261-673_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_261-673_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_261-673_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-673_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_261-673_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-673_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-673_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-673_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-673_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_261-673_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_261-673_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_261-673_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_261-673_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_261-673_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_261-673_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_261-673_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_261-673_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_261-673_0_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_261-673_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_261-673_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_261-673_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_261-673_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_261-673_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_261-673_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_261-673_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_261-673_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_261-673_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_261-673_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_261-673_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_261-673_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_261-673_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_261-673_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_261-673_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_261-673_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_261-673_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_261-673_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_261-673_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_261-673_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_261-673_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_261-673_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_MV_359_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-673_0_4_load_0 | 0 | 0.010046 | 0.0025178 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-673_0_4_load_1 | 1 | 0.0094278 | 0.0023628 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-673_0_4_load_2 | 2 | 0.0063601 | 0.001594 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-673_0_4_load_3 | 3 | 0.0048719 | 0.001221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-673_0_4_load_52 | 5 | 0.010327 | 0.0025882 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-673_0_4_load_5 | 7 | 0.0050832 | 0.001274 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-673_0_4_load_6 | 8 | 0.0056341 | 0.001412 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-673_0_4_load_7 | 9 | 0.010196 | 0.0025552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-673_0_4_load_9 | 11 | 0.0094725 | 0.002374 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-673_0_4_load_29 | 13 | 0.009789 | 0.0024534 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-673_0_4_load_49 | 14 | 0.0050612 | 0.0012684 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-673_0_4_load_26 | 15 | 0.012756 | 0.003197 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-673_0_4_load_10 | 18 | 0.0049206 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-673_0_4_load_11 | 19 | 0.0050711 | 0.0012709 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-673_0_4_load_15 | 21 | 0.012363 | 0.0030986 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-673_0_4_load_25 | 22 | 0.0053773 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-673_0_4_load_22 | 23 | 0.010284 | 0.0025773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-673_0_4_load_20 | 24 | 0.011273 | 0.0028254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-673_0_4_load_16 | 25 | 0.0075307 | 0.0018874 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-673_0_4_load_23 | 28 | 0.0037224 | 0.00093291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-673_0_4_load_27 | 29 | 0.01279 | 0.0032054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-673_0_4_load_18 | 30 | 0.010617 | 0.0026608 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-673_0_4_load_41 | 32 | 0.015236 | 0.0038185 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-673_0_4_load_17 | 33 | 0.011656 | 0.0029214 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-673_0_4_load_19 | 34 | 0.0098452 | 0.0024674 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-673_0_4_load_21 | 35 | 0.0065384 | 0.0016387 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-673_0_4_load_47 | 37 | 0.0053618 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-673_0_4_load_24 | 38 | 0.018641 | 0.0046718 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-673_0_4_load_55 | 39 | 0.015977 | 0.0040042 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-673_0_4_load_39 | 40 | 0.0052298 | 0.0013107 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-673_0_4_load_28 | 41 | 0.012915 | 0.0032369 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-673_0_4_load_31 | 42 | 0.0058193 | 0.0014584 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-673_0_4_load_32 | 43 | 0.0013228 | 0.00033152 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-673_0_4_load_33 | 44 | 0.0012425 | 0.00031139 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-673_0_4_load_36 | 45 | 0.0015095 | 0.00037831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-673_0_4_load_35 | 46 | 0.0014824 | 0.00037153 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-673_0_4_load_34 | 47 | 0.0014776 | 0.00037032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-673_0_4_load_37 | 48 | 0.00066651 | 0.00016704 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-673_0_4_load_54 | 50 | 0.0075702 | 0.0018973 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-673_0_4_load_53 | 51 | 0.0073323 | 0.0018376 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-673_0_4_load_50 | 52 | 0.0052055 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-673_0_4_load_48 | 53 | 0.005288 | 0.0013253 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-673_0_4_line_0 |  | 0 | 1 | 0.041536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-673_0_4_line_1 |  | 0 | 2 | 0.003988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-673_0_4_line_2 |  | 1 | 3 | 0.0020928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-673_0_4_line_3 |  | 3 | 4 | 0.040464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-673_0_4_line_4 |  | 4 | 5 | 0.007563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-673_0_4_line_5 |  | 4 | 6 | 0.019871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-673_0_4_line_6 |  | 6 | 14 | 0.018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-673_0_4_line_7 |  | 6 | 10 | 0.060254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-673_0_4_line_8 |  | 7 | 8 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-673_0_4_line_9 |  | 7 | 9 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-673_0_4_line_10 |  | 8 | 10 | 0.016816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-673_0_4_line_11 |  | 9 | 11 | 0.01523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-673_0_4_line_12 |  | 10 | 12 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-673_0_4_line_13 |  | 11 | 13 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-673_0_4_line_14 |  | 12 | 15 | 0.039147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-673_0_4_line_15 |  | 12 | 16 | 0.039675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-673_0_4_line_16 |  | 13 | 17 | 0.045716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-673_0_4_line_17 |  | 14 | 52 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-673_0_4_line_18 |  | 14 | 53 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-673_0_4_line_19 |  | 15 | 29 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-673_0_4_line_20 |  | 16 | 21 | 0.028536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-673_0_4_line_21 |  | 16 | 18 | 0.038916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-673_0_4_line_22 |  | 17 | 42 | 0.015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-673_0_4_line_23 |  | 18 | 19 | 0.013771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-673_0_4_line_24 |  | 19 | 20 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-673_0_4_line_25 |  | 20 | 22 | 0.0030169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-673_0_4_line_26 |  | 20 | 23 | 0.049131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-673_0_4_line_27 |  | 21 | 24 | 0.05481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-673_0_4_line_28 |  | 22 | 27 | 0.0093797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-673_0_4_line_29 |  | 23 | 28 | 0.0040057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-673_0_4_line_30 |  | 24 | 30 | 0.012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-673_0_4_line_31 |  | 25 | 26 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-673_0_4_line_32 |  | 26 | 31 | 0.027991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-673_0_4_line_33 |  | 26 | 32 | 0.022603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-673_0_4_line_34 |  | 27 | 40 | 0.032278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-673_0_4_line_35 |  | 28 | 38 | 0.0088683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-673_0_4_line_36 |  | 29 | 41 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-673_0_4_line_37 |  | 30 | 33 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-673_0_4_line_38 |  | 31 | 39 | 0.0035183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-673_0_4_line_39 |  | 31 | 38 | 0.028551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-673_0_4_line_40 |  | 33 | 34 | 0.022863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-673_0_4_line_41 |  | 34 | 35 | 0.022435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-673_0_4_line_42 |  | 35 | 36 | 0.026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-673_0_4_line_43 |  | 36 | 37 | 0.0083145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-673_0_4_line_44 |  | 42 | 43 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-673_0_4_line_45 |  | 43 | 44 | 0.022133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-673_0_4_line_46 |  | 44 | 45 | 0.021287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-673_0_4_line_47 |  | 45 | 46 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-673_0_4_line_48 |  | 46 | 47 | 7.8524e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-673_0_4_line_49 |  | 47 | 48 | 0.068753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-673_0_4_line_50 |  | 49 | 50 | 0.007142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-673_0_4_line_51 |  | 49 | 51 | 0.021227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-673_0_4_line_52 |  | 51 | 52 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-673_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 54 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2681618.3836 | 1242452.4701 | 2681619.7034 | 1242445.0278 | 2681623.6564 | 1242428.0588 | 2681614.3724 | 1242422.5939 | 2681608.9663 | 1242420.5446
1 | 2681618.3836 | 1242452.4701 | 2681617.6873 | 1242456.3968
2 | 2681608.9663 | 1242420.5446 | 2681607.0095 | 1242419.8028
3 | 2681569.1729 | 1242405.4603 | 2681607.0095 | 1242419.8028
4 | 2681569.1729 | 1242405.4603 | 2681566.2721 | 1242412.4476
5 | 2681569.1729 | 1242405.4603 | 2681573.1978 | 1242386.0016
6 | 2681573.1978 | 1242386.0016 | 2681563.9072 | 1242382.6604 | 2681565.3643 | 1242380.0563 | 2681559.9683 | 1242377.169
7 | 2681560.9987 | 1242329.7268 | 2681570.4787 | 1242342.9444 | 2681574.3249 | 1242352.9711 | 2681575.6153 | 1242363.5854 | 2681574.9371 | 1242374.9731 | 2681573.1978 | 1242386.0016
8 | 2681588.8211 | 1242345.7853 | 2681575.8371 | 1242336.2487
9 | 2681588.8211 | 1242345.7853 | 2681601.7308 | 1242355.2675
10 | 2681560.9987 | 1242329.7268 | 2681567.7194 | 1242330.2863 | 2681575.8371 | 1242336.2487
11 | 2681601.7308 | 1242355.2675 | 2681612.289 | 1242363.0224 | 2681614.1992 | 1242362.0795
12 | 2681550.6235 | 1242322.2345 | 2681560.9987 | 1242329.7268
13 | 2681614.1992 | 1242362.0795 | 2681625.4639 | 1242356.5186
14 | 2681550.6235 | 1242322.2345 | 2681562.2788 | 1242294.9083 | 2681564.7185 | 1242285.79
15 | 2681550.6235 | 1242322.2345 | 2681515.8632 | 1242302.9209
16 | 2681651.6114 | 1242320.5327 | 2681650.2178 | 1242321.8144 | 2681648.1993 | 1242327.8577 | 2681643.1424 | 1242339.3297 | 2681634.978 | 1242349.736 | 2681625.678 | 1242356.4129 | 2681625.4639 | 1242356.5186
17 | 2681559.9683 | 1242377.169 | 2681553.1464 | 1242390.5469
18 | 2681559.9683 | 1242377.169 | 2681566.6079 | 1242364.1671
19 | 2681569.783 | 1242266.8614 | 2681564.7185 | 1242285.79
20 | 2681515.8632 | 1242302.9209 | 2681521.6916 | 1242291.4038 | 2681523.4246 | 1242275.872
21 | 2681515.8632 | 1242302.9209 | 2681484.255 | 1242285.2742 | 2681481.7883 | 1242284.1391
22 | 2681651.6114 | 1242320.5327 | 2681649.6696 | 1242311.1103 | 2681648.6106 | 1242305.0865
23 | 2681469.2243 | 1242278.5399 | 2681470.0337 | 1242278.7299 | 2681481.7883 | 1242284.1391
24 | 2681456.4466 | 1242275.5411 | 2681469.2243 | 1242278.5399
25 | 2681456.4466 | 1242275.5411 | 2681453.4506 | 1242275.1861
26 | 2681456.4466 | 1242275.5411 | 2681444.4211 | 1242306.7319 | 2681458.1154 | 1242314.4147
27 | 2681523.4246 | 1242275.872 | 2681528.6478 | 1242267.6823 | 2681531.7535 | 1242222.6926 | 2681531.7535 | 1242222.6926
28 | 2681444.1361 | 1242274.0823 | 2681453.4506 | 1242275.1861
29 | 2681461.6088 | 1242316.3746 | 2681461.6088 | 1242316.3746 | 2681458.1154 | 1242314.4147
30 | 2681531.7535 | 1242222.6926 | 2681518.8481 | 1242221.2741
31 | 2681475.0404 | 1242363.3483 | 2681486.6808 | 1242357.9931
32 | 2681475.0404 | 1242363.3483 | 2681449.5738 | 1242351.5681
33 | 2681475.0404 | 1242363.3483 | 2681464.394 | 1242383.2872
34 | 2681429.753 | 1242302.9946 | 2681444.1361 | 1242274.0823
35 | 2681459.5509 | 1242325.0009 | 2681461.6088 | 1242316.3746
36 | 2681574.6718 | 1242248.5898 | 2681569.783 | 1242266.8614
37 | 2681518.8481 | 1242221.2741 | 2681516.0294 | 1242220.9643 | 2681510.5851 | 1242224.8813 | 2681499.8795 | 1242223.7546
38 | 2681449.5738 | 1242351.5681 | 2681446.3811 | 1242350.0899
39 | 2681449.5738 | 1242351.5681 | 2681456.6593 | 1242337.1216 | 2681459.5509 | 1242325.0009
40 | 2681477.4431 | 1242223.97 | 2681482.4137 | 1242224.4942 | 2681488.1035 | 1242222.5153 | 2681499.8795 | 1242223.7546
41 | 2681455.4686 | 1242224.0449 | 2681455.9089 | 1242223.8633 | 2681463.77 | 1242224.5161 | 2681467.3832 | 1242222.909 | 2681477.4431 | 1242223.97
42 | 2681431.0387 | 1242234.1183 | 2681455.4686 | 1242224.0449
43 | 2681431.0387 | 1242234.1183 | 2681425.7439 | 1242227.7078
44 | 2681648.6106 | 1242305.0865 | 2681644.9796 | 1242284.4328
45 | 2681644.9796 | 1242284.4328 | 2681643.5068 | 1242276.0559 | 2681640.9705 | 1242262.666
46 | 2681640.9705 | 1242262.666 | 2681637.9742 | 1242246.8477 | 2681637.0096 | 1242241.7503
47 | 2681637.0096 | 1242241.7503 | 2681633.1457 | 1242221.33
48 | 2681633.1457 | 1242221.33 | 2681633.1311 | 1242221.2529
49 | 2681633.1311 | 1242221.2529 | 2681696.1778 | 1242193.8281
50 | 2681522.7215 | 1242399.0842 | 2681519.1888 | 1242405.2957
51 | 2681522.7215 | 1242399.0842 | 2681533.2536 | 1242396.2602 | 2681543.5586 | 1242396.868
52 | 2681553.1464 | 1242390.5469 | 2681551.1733 | 1242394.4161 | 2681545.0526 | 1242396.9561 | 2681543.5586 | 1242396.868

## bus_geodata
| x | y | coords
0 | 2681618.3836 | 1242452.4701
1 | 2681608.9663 | 1242420.5446
2 | 2681617.6873 | 1242456.3968
3 | 2681607.0095 | 1242419.8028
4 | 2681569.1729 | 1242405.4603
5 | 2681566.2721 | 1242412.4476
6 | 2681573.1978 | 1242386.0016
7 | 2681588.8211 | 1242345.7853
8 | 2681575.8371 | 1242336.2487
9 | 2681601.7308 | 1242355.2675
10 | 2681560.9987 | 1242329.7268
11 | 2681614.1992 | 1242362.0795
12 | 2681550.6235 | 1242322.2345
13 | 2681625.4639 | 1242356.5186
14 | 2681559.9683 | 1242377.169
15 | 2681564.7185 | 1242285.79
16 | 2681515.8632 | 1242302.9209
17 | 2681651.6114 | 1242320.5327
18 | 2681481.7883 | 1242284.1391
19 | 2681469.2243 | 1242278.5399
20 | 2681456.4466 | 1242275.5411
21 | 2681523.4246 | 1242275.872
22 | 2681453.4506 | 1242275.1861
23 | 2681458.1154 | 1242314.4147
24 | 2681531.7535 | 1242222.6926
25 | 2681486.6808 | 1242357.9931
26 | 2681475.0404 | 1242363.3483
27 | 2681444.1361 | 1242274.0823
28 | 2681461.6088 | 1242316.3746
29 | 2681569.783 | 1242266.8614
30 | 2681518.8481 | 1242221.2741
31 | 2681449.5738 | 1242351.5681
32 | 2681464.394 | 1242383.2872
33 | 2681499.8795 | 1242223.7546
34 | 2681477.4431 | 1242223.97
35 | 2681455.4686 | 1242224.0449
36 | 2681431.0388 | 1242234.1183
37 | 2681425.7439 | 1242227.7078
38 | 2681459.5509 | 1242325.0009
39 | 2681446.3811 | 1242350.0899
40 | 2681429.753 | 1242302.9946
41 | 2681574.6718 | 1242248.5898
42 | 2681648.6106 | 1242305.0865
43 | 2681644.9796 | 1242284.4328
44 | 2681640.9705 | 1242262.666
45 | 2681637.0096 | 1242241.7503
46 | 2681633.1457 | 1242221.33
47 | 2681633.1311 | 1242221.2529
48 | 2681696.1778 | 1242193.8281
49 | 2681522.7215 | 1242399.0842
50 | 2681519.1888 | 1242405.2957
51 | 2681543.5586 | 1242396.868
52 | 2681553.1464 | 1242390.5469
53 | 2681566.6079 | 1242364.1671
54 | 2681560.9987 | 1242329.7268

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99206 | -0.15286 | 0.010046 | 0.0025178
1 | 0.99268 | -0.1408 | 0.0094278 | 0.0023628
2 | 0.99203 | -0.15331 | 0.0063601 | 0.001594
3 | 0.99273 | -0.13985 | 0.0048719 | 0.001221
4 | 0.99386 | -0.1179 | 0 | 0
5 | 0.99379 | -0.11927 | 0.010327 | 0.0025882
6 | 0.99461 | -0.10352 | 0 | 0
7 | 0.99701 | -0.057282 | 0.0050832 | 0.001274
8 | 0.99772 | -0.043714 | 0.0056341 | 0.001412
9 | 0.99639 | -0.069363 | 0.010196 | 0.0025552
10 | 0.99854 | -0.027914 | 0 | 0
11 | 0.99593 | -0.078135 | 0.0094725 | 0.002374
12 | 1 | 0 | -0.32714 | -0.082415
13 | 0.99567 | -0.083283 | 0.009789 | 0.0024534
14 | 0.99408 | -0.11369 | 0.0050612 | 0.0012684
15 | 0.99863 | -0.02628 | 0.012756 | 0.003197
16 | 0.9971 | -0.055364 | 0 | 0
17 | 0.9951 | -0.094162 | 0 | 0
18 | 0.99381 | -0.11834 | 0.0049206 | 0.0012332
19 | 0.99271 | -0.13952 | 0.0050711 | 0.0012709
20 | 0.99172 | -0.15857 | 0 | 0
21 | 0.99533 | -0.089273 | 0.012363 | 0.0030986
22 | 0.99169 | -0.15914 | 0.0053773 | 0.0013477
23 | 0.9885 | -0.22094 | 0.010284 | 0.0025773
24 | 0.99256 | -0.14274 | 0.011273 | 0.0028254
25 | 0.98612 | -0.26732 | 0.0075307 | 0.0018874
26 | 0.9862 | -0.26559 | 0 | 0
27 | 0.99165 | -0.16001 | 0 | 0
28 | 0.98827 | -0.22531 | 0.0037224 | 0.00093291
29 | 0.99817 | -0.035087 | 0.01279 | 0.0032054
30 | 0.99204 | -0.15286 | 0.010617 | 0.0026608
31 | 0.98679 | -0.25417 | 0 | 0
32 | 0.98589 | -0.27176 | 0.015236 | 0.0038185
33 | 0.99142 | -0.16488 | 0.011656 | 0.0029214
34 | 0.99096 | -0.1737 | 0.0098452 | 0.0024674
35 | 0.99072 | -0.17844 | 0.0065384 | 0.0016387
36 | 0.99059 | -0.18096 | 0 | 0
37 | 0.99055 | -0.18175 | 0.0053618 | 0.0013438
38 | 0.98781 | -0.23439 | 0.018641 | 0.0046718
39 | 0.98674 | -0.25518 | 0.015977 | 0.0040042
40 | 0.99149 | -0.163 | 0.0052298 | 0.0013107
41 | 0.99795 | -0.039361 | 0.012915 | 0.0032369
42 | 0.99491 | -0.097909 | 0.0058193 | 0.0014584
43 | 0.99476 | -0.10075 | 0.0013228 | 0.00033152
44 | 0.99463 | -0.10324 | 0.0012425 | 0.00031139
45 | 0.99453 | -0.10517 | 0.0015095 | 0.00037831
46 | 0.99446 | -0.1065 | 0.0014824 | 0.00037153
47 | 0.99446 | -0.1065 | 0.0014776 | 0.00037032
48 | 0.99442 | -0.10731 | 0.00066651 | 0.00016704
49 | 0.99349 | -0.12513 | 0 | 0
50 | 0.99344 | -0.12608 | 0.0075702 | 0.0018973
51 | 0.99364 | -0.12229 | 0.0073323 | 0.0018376
52 | 0.99381 | -0.11901 | 0.0052055 | 0.0013046
53 | 0.99401 | -0.11505 | 0.005288 | 0.0013253
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016406 | -0.0041118 | 0.016416 | 0.0041173 | 9.4325e-06 | 5.5002e-06 | 0.024609 | 0.024608 | 0.024609 | 0.99206 | -0.15286 | 0.99268 | -0.1408 | 6.7606
1 | 0.0063602 | 0.001594 | -0.0063601 | -0.001594 | 1.361e-07 | 3.5617e-08 | 0.0095399 | 0.00954 | 0.00954 | 0.99206 | -0.15286 | 0.99203 | -0.15331 | 2.6209
2 | -0.025844 | -0.0064802 | 0.025845 | 0.0064809 | 1.1778e-06 | 7.2675e-07 | 0.038741 | 0.038741 | 0.038741 | 0.99268 | -0.1408 | 0.99273 | -0.13985 | 10.643
3 | -0.030717 | -0.0077019 | 0.030749 | 0.007722 | 3.2168e-05 | 2.0064e-05 | 0.046043 | 0.046043 | 0.046043 | 0.99273 | -0.13985 | 0.99386 | -0.1179 | 12.6492
4 | 0.010328 | 0.0025885 | -0.010327 | -0.0025882 | 6.7811e-07 | 3.3599e-07 | 0.015463 | 0.015463 | 0.015463 | 0.99386 | -0.1179 | 0.99379 | -0.11927 | 4.248
5 | -0.041077 | -0.010311 | 0.041105 | 0.010328 | 2.8189e-05 | 1.7783e-05 | 0.061506 | 0.061506 | 0.061506 | 0.99386 | -0.1179 | 0.99461 | -0.10352 | 16.8972
6 | 0.030481 | 0.0076474 | -0.030466 | -0.0076382 | 1.4768e-05 | 9.2059e-06 | 0.045605 | 0.045605 | 0.045605 | 0.99461 | -0.10352 | 0.99408 | -0.11369 | 12.5289
7 | -0.071586 | -0.017976 | 0.071845 | 0.018141 | 0.00025923 | 0.00016512 | 0.10711 | 0.10711 | 0.10711 | 0.99461 | -0.10352 | 0.99854 | -0.027914 | 29.426
8 | -0.048117 | -0.012078 | 0.048148 | 0.012097 | 3.1161e-05 | 1.9733e-05 | 0.07182 | 0.07182 | 0.07182 | 0.99701 | -0.057282 | 0.99772 | -0.043714 | 19.7307
9 | 0.043034 | 0.010804 | -0.043009 | -0.010788 | 2.4783e-05 | 1.5652e-05 | 0.064233 | 0.064233 | 0.064233 | 0.99701 | -0.057282 | 0.99639 | -0.069363 | 17.6465
10 | -0.053782 | -0.01351 | 0.053823 | 0.013535 | 4.0583e-05 | 2.5754e-05 | 0.080222 | 0.080222 | 0.080222 | 0.99772 | -0.043714 | 0.99854 | -0.027914 | 22.0391
11 | 0.032813 | 0.0082329 | -0.0328 | -0.0082243 | 1.3717e-05 | 8.5807e-06 | 0.049007 | 0.049007 | 0.049007 | 0.99639 | -0.069363 | 0.99593 | -0.078135 | 13.4635
12 | -0.12567 | -0.031676 | 0.12584 | 0.031784 | 0.00016809 | 0.00010741 | 0.18733 | 0.18733 | 0.18733 | 0.99854 | -0.027914 | 1 | 0 | 51.465
13 | 0.023327 | 0.0058503 | -0.023322 | -0.0058468 | 5.723e-06 | 3.4993e-06 | 0.034854 | 0.034855 | 0.034855 | 0.99593 | -0.078135 | 0.99567 | -0.083283 | 9.5754
14 | 0.038523 | 0.0096778 | -0.038475 | -0.0096474 | 4.8251e-05 | 3.0368e-05 | 0.057331 | 0.057331 | 0.057331 | 1 | 0 | 0.99863 | -0.02628 | 15.7503
15 | 0.16113 | 0.040953 | -0.1607 | -0.04068 | 0.00042836 | 0.00027311 | 0.23996 | 0.23996 | 0.23996 | 1 | 0 | 0.9971 | -0.055364 | 32.962
16 | 0.013532 | 0.0033934 | -0.013525 | -0.0033895 | 7.0126e-06 | 3.8938e-06 | 0.020225 | 0.020225 | 0.020225 | 0.99567 | -0.083283 | 0.9951 | -0.094162 | 5.5563
17 | 0.020117 | 0.0050444 | -0.020112 | -0.0050414 | 5.1065e-06 | 3.0736e-06 | 0.030113 | 0.030113 | 0.030113 | 0.99408 | -0.11369 | 0.99381 | -0.11901 | 8.2729
18 | 0.0052883 | 0.0013253 | -0.005288 | -0.0013253 | 3.4306e-07 | 3.0301e-08 | 0.007916 | 0.007916 | 0.007916 | 0.99408 | -0.11369 | 0.99401 | -0.11505 | 2.1747
19 | 0.025719 | 0.0064504 | -0.025708 | -0.0064438 | 1.0792e-05 | 6.6507e-06 | 0.038324 | 0.038324 | 0.038324 | 0.99863 | -0.02628 | 0.99817 | -0.035087 | 10.5285
20 | 0.06796 | 0.017149 | -0.06785 | -0.017078 | 0.00011016 | 7.0131e-05 | 0.10146 | 0.10146 | 0.10146 | 0.9971 | -0.055364 | 0.99533 | -0.089273 | 27.8739
21 | 0.09274 | 0.023532 | -0.09246 | -0.023353 | 0.00027995 | 0.00017866 | 0.1385 | 0.1385 | 0.1385 | 0.9971 | -0.055364 | 0.99381 | -0.11834 | 38.0502
22 | 0.013525 | 0.0033895 | -0.013523 | -0.0033882 | 2.4139e-06 | 1.3405e-06 | 0.020225 | 0.020225 | 0.020225 | 0.9951 | -0.094162 | 0.99491 | -0.097909 | 5.5564
23 | 0.087539 | 0.02212 | -0.087451 | -0.022063 | 8.8804e-05 | 5.6656e-05 | 0.13114 | 0.13114 | 0.13114 | 0.99381 | -0.11834 | 0.99271 | -0.13952 | 36.0262
24 | 0.082379 | 0.020792 | -0.082304 | -0.020744 | 7.511e-05 | 4.7901e-05 | 0.12353 | 0.12353 | 0.12353 | 0.99271 | -0.13952 | 0.99172 | -0.15857 | 33.9379
25 | 0.010608 | 0.0026586 | -0.010608 | -0.0026585 | 2.8663e-07 | 1.4452e-07 | 0.015917 | 0.015917 | 0.015917 | 0.99172 | -0.15857 | 0.99169 | -0.15914 | 4.3728
26 | 0.071696 | 0.018086 | -0.071483 | -0.01795 | 0.00021338 | 0.00013593 | 0.10762 | 0.10762 | 0.10762 | 0.99172 | -0.15857 | 0.9885 | -0.22094 | 29.5652
27 | 0.055486 | 0.01398 | -0.055345 | -0.01389 | 0.00014152 | 8.9863e-05 | 0.082978 | 0.082978 | 0.082978 | 0.99533 | -0.089273 | 0.99256 | -0.14274 | 22.7962
28 | 0.0052307 | 0.0013108 | -0.0052305 | -0.0013108 | 2.1667e-07 | 1.7657e-08 | 0.0078486 | 0.0078486 | 0.0078486 | 0.99169 | -0.15914 | 0.99165 | -0.16001 | 2.1562
29 | 0.061199 | 0.015373 | -0.061186 | -0.015364 | 1.2752e-05 | 8.1098e-06 | 0.092137 | 0.092137 | 0.092137 | 0.9885 | -0.22094 | 0.98827 | -0.22531 | 25.3124
30 | 0.044072 | 0.011065 | -0.04405 | -0.011051 | 2.1258e-05 | 1.3437e-05 | 0.066078 | 0.066078 | 0.066078 | 0.99256 | -0.14274 | 0.99204 | -0.15286 | 18.1532
31 | -0.0075307 | -0.0018874 | 0.0075313 | 0.0018876 | 6.2046e-07 | 2.3361e-07 | 0.011364 | 0.011363 | 0.011364 | 0.98612 | -0.26732 | 0.9862 | -0.26559 | 3.1219
32 | -0.022772 | -0.0057086 | 0.022784 | 0.0057162 | 1.2392e-05 | 7.5733e-06 | 0.034359 | 0.034359 | 0.034359 | 0.9862 | -0.26559 | 0.98679 | -0.25417 | 9.4393
33 | 0.01524 | 0.003821 | -0.015236 | -0.0038185 | 4.4822e-06 | 2.5803e-06 | 0.022996 | 0.022996 | 0.022996 | 0.9862 | -0.26559 | 0.98589 | -0.27176 | 6.3175
34 | 0.0052305 | 0.0013108 | -0.0052298 | -0.0013107 | 7.4564e-07 | 6.0856e-08 | 0.0078486 | 0.0078488 | 0.0078488 | 0.99165 | -0.16001 | 0.99149 | -0.163 | 2.1563
35 | 0.057464 | 0.014432 | -0.057439 | -0.014416 | 2.4902e-05 | 1.5824e-05 | 0.086532 | 0.086532 | 0.086532 | 0.98827 | -0.22531 | 0.98781 | -0.23439 | 23.7726
36 | 0.012918 | 0.0032383 | -0.012915 | -0.0032369 | 2.6304e-06 | 1.4363e-06 | 0.019258 | 0.019258 | 0.019258 | 0.99817 | -0.035087 | 0.99795 | -0.039361 | 5.2906
37 | 0.033434 | 0.0083903 | -0.033414 | -0.0083783 | 1.9155e-05 | 1.1997e-05 | 0.050153 | 0.050153 | 0.050153 | 0.99204 | -0.15286 | 0.99142 | -0.16488 | 13.7783
38 | 0.015978 | 0.0040047 | -0.015977 | -0.0040042 | 7.6589e-07 | 4.4523e-07 | 0.024094 | 0.024094 | 0.024094 | 0.98679 | -0.25417 | 0.98674 | -0.25518 | 6.6191
39 | -0.038762 | -0.0097209 | 0.038798 | 0.0097439 | 3.6582e-05 | 2.3047e-05 | 0.058453 | 0.058452 | 0.058453 | 0.98679 | -0.25417 | 0.98781 | -0.23439 | 16.0584
40 | 0.021758 | 0.005457 | -0.021749 | -0.0054514 | 9.1443e-06 | 5.5577e-06 | 0.032658 | 0.032658 | 0.032658 | 0.99142 | -0.16488 | 0.99096 | -0.1737 | 8.972
41 | 0.011904 | 0.002984 | -0.011901 | -0.0029826 | 2.688e-06 | 1.4314e-06 | 0.017875 | 0.017875 | 0.017875 | 0.99096 | -0.1737 | 0.99072 | -0.17844 | 4.9106
42 | 0.0053627 | 0.0013439 | -0.005362 | -0.0013438 | 6.4287e-07 | 7.121e-08 | 0.0080544 | 0.0080546 | 0.0080546 | 0.99072 | -0.17844 | 0.99059 | -0.18096 | 2.2128
43 | 0.005362 | 0.0013438 | -0.0053618 | -0.0013438 | 2.0228e-07 | 2.2427e-08 | 0.0080546 | 0.0080546 | 0.0080546 | 0.99059 | -0.18096 | 0.99055 | -0.18175 | 2.2128
44 | 0.0077038 | 0.0019297 | -0.0077028 | -0.0019293 | 1.0439e-06 | 3.9584e-07 | 0.011522 | 0.011522 | 0.011522 | 0.99491 | -0.097909 | 0.99476 | -0.10075 | 3.1653
45 | 0.00638 | 0.0015978 | -0.0063792 | -0.0015976 | 7.559e-07 | 1.9647e-07 | 0.0095431 | 0.0095432 | 0.0095432 | 0.99476 | -0.10075 | 0.99463 | -0.10324 | 2.6218
46 | 0.0051367 | 0.0012862 | -0.0051363 | -0.0012862 | 4.7139e-07 | 2.5431e-08 | 0.0076844 | 0.0076845 | 0.0076845 | 0.99463 | -0.10324 | 0.99453 | -0.10517 | 2.1111
47 | 0.0036268 | 0.0009079 | -0.0036266 | -0.00090802 | 2.2946e-07 | -1.2281e-07 | 0.005426 | 0.0054261 | 0.0054261 | 0.99453 | -0.10517 | 0.99446 | -0.1065 | 1.4907
48 | 0.0021441 | 0.00053649 | -0.0021441 | -0.00053649 | 3.0114e-10 | -8.2448e-10 | 0.003208 | 0.003208 | 0.003208 | 0.99446 | -0.1065 | 0.99446 | -0.1065 | 0.88131
49 | 0.00066654 | 0.00016617 | -0.00066651 | -0.00016704 | 2.5637e-08 | -8.7559e-07 | 0.00099703 | 0.00099734 | 0.00099734 | 0.99446 | -0.1065 | 0.99442 | -0.10731 | 0.27399
50 | 0.0075706 | 0.0018974 | -0.0075702 | -0.0018973 | 3.4435e-07 | 1.2791e-07 | 0.011339 | 0.011339 | 0.011339 | 0.99349 | -0.12513 | 0.99344 | -0.12608 | 3.1151
51 | -0.0075706 | -0.0018974 | 0.0075716 | 0.0018978 | 1.0234e-06 | 3.8009e-07 | 0.011339 | 0.011339 | 0.011339 | 0.99349 | -0.12513 | 0.99364 | -0.12229 | 3.1151
52 | -0.014904 | -0.0037354 | 0.014906 | 0.0037368 | 2.3288e-06 | 1.329e-06 | 0.022319 | 0.022319 | 0.022319 | 0.99364 | -0.12229 | 0.99381 | -0.11901 | 6.1317

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32714 | 0.082415

## res_load
| p_mw | q_mvar
0 | 0.010046 | 0.0025178
1 | 0.0094278 | 0.0023628
2 | 0.0063601 | 0.001594
3 | 0.0048719 | 0.001221
4 | 0.010327 | 0.0025882
5 | 0.0050832 | 0.001274
6 | 0.0056341 | 0.001412
7 | 0.010196 | 0.0025552
8 | 0.0094725 | 0.002374
9 | 0.009789 | 0.0024534
10 | 0.0050612 | 0.0012684
11 | 0.012756 | 0.003197
12 | 0.0049206 | 0.0012332
13 | 0.0050711 | 0.0012709
14 | 0.012363 | 0.0030986
15 | 0.0053773 | 0.0013477
16 | 0.010284 | 0.0025773
17 | 0.011273 | 0.0028254
18 | 0.0075307 | 0.0018874
19 | 0.0037224 | 0.00093291
20 | 0.01279 | 0.0032054
21 | 0.010617 | 0.0026608
22 | 0.015236 | 0.0038185
23 | 0.011656 | 0.0029214
24 | 0.0098452 | 0.0024674
25 | 0.0065384 | 0.0016387
26 | 0.0053618 | 0.0013438
27 | 0.018641 | 0.0046718
28 | 0.015977 | 0.0040042
29 | 0.0052298 | 0.0013107
30 | 0.012915 | 0.0032369
31 | 0.0058193 | 0.0014584
32 | 0.0013228 | 0.00033152
33 | 0.0012425 | 0.00031139
34 | 0.0015095 | 0.00037831
35 | 0.0014824 | 0.00037153
36 | 0.0014776 | 0.00037032
37 | 0.00066651 | 0.00016704
38 | 0.0075702 | 0.0018973
39 | 0.0073323 | 0.0018376
40 | 0.0052055 | 0.0013046
41 | 0.005288 | 0.0013253

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1