## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-682_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-682_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-682_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-682_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-682_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_261-682_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_261-682_0_3_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_261-682_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-682_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-682_0_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_261-682_0_3_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_261-682_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-682_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-682_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_261-682_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_261-682_0_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_261-682_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-682_0_3_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_261-682_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-682_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_261-682_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_261-682_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_261-682_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_261-682_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_261-682_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-682_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_261-682_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_261-682_0_3_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_261-682_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_261-682_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_261-682_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_261-682_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_261-682_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_261-682_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_261-682_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_261-682_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_261-682_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_261-682_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_261-682_0_3_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_261-682_0_3_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_261-682_0_3_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_261-682_0_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_261-682_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_261-682_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_261-682_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_261-682_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_261-682_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_261-682_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_261-682_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_261-682_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_MV_536_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-682_0_3_load_0 | 0 | 0.013144 | 0.0032943 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-682_0_3_load_3 | 3 | 0.042405 | 0.010628 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-682_0_3_load_15 | 5 | 0.0086544 | 0.002169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-682_0_3_load_50 | 6 | 0.027238 | 0.0068265 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-682_0_3_load_52 | 9 | 0.0093548 | 0.0023445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-682_0_3_load_23 | 13 | 0.0050476 | 0.0012651 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-682_0_3_load_24 | 14 | 0.0085792 | 0.0021502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-682_0_3_load_34 | 15 | 0.0050731 | 0.0012714 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-682_0_3_load_43 | 17 | 0.012863 | 0.0032237 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-682_0_3_load_33 | 20 | 0.0053974 | 0.0013527 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-682_0_3_load_31 | 21 | 0.0049262 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-682_0_3_load_30 | 22 | 0.0091427 | 0.0022914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-682_0_3_load_29 | 23 | 0.014005 | 0.0035101 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-682_0_3_load_42 | 25 | 0.013293 | 0.0033315 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-682_0_3_load_51 | 27 | 0.021745 | 0.0054498 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-682_0_3_load_21 | 29 | 0.020323 | 0.0050934 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-682_0_3_load_22 | 30 | 0.0059816 | 0.0014991 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-682_0_3_load_25 | 31 | 0.0096921 | 0.0024291 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-682_0_3_load_45 | 33 | 0.0023251 | 0.00058272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-682_0_3_load_44 | 34 | 0.0025932 | 0.00064993 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-682_0_3_load_47 | 35 | 0.0038718 | 0.00097036 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-682_0_3_load_28 | 36 | 0.0029756 | 0.00074575 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-682_0_3_load_35 | 37 | 0.0055063 | 0.00138 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-682_0_3_load_16 | 38 | 0.005035 | 0.0012619 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-682_0_3_load_17 | 39 | 0.091873 | 0.023026 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-682_0_3_load_49 | 41 | 0.019316 | 0.0048412 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-682_0_3_load_26 | 42 | 0.0040521 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-682_0_3_load_27 | 43 | 0.0032539 | 0.0008155 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-682_0_3_load_48 | 44 | 0.016319 | 0.0040899 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-682_0_3_load_32 | 45 | 0.006351 | 0.0015917 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-682_0_3_load_46 | 46 | 0.0035179 | 0.00088168 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-682_0_3_load_39 | 47 | 0.0029792 | 0.00074665 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-682_0_3_load_36 | 48 | 0.01272 | 0.0031879 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-682_0_3_load_37 | 49 | 0.0028646 | 0.00071794 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-682_0_3_line_0 |  | 0 | 1 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-682_0_3_line_1 |  | 0 | 2 | 0.011576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-682_0_3_line_2 |  | 1 | 3 | 0.0046994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-682_0_3_line_3 |  | 2 | 4 | 0.004556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-682_0_3_line_4 |  | 2 | 5 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-682_0_3_line_5 |  | 3 | 6 | 0.020638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-682_0_3_line_6 |  | 4 | 14 | 0.012411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-682_0_3_line_7 |  | 5 | 24 | 0.0089926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-682_0_3_line_8 |  | 7 | 8 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-682_0_3_line_9 |  | 7 | 9 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-682_0_3_line_10 |  | 8 | 10 | 0.00774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-682_0_3_line_11 |  | 9 | 22 | 0.01033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-682_0_3_line_12 |  | 10 | 25 | 0.0094633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-682_0_3_line_13 |  | 10 | 26 | 0.009084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-682_0_3_line_14 |  | 11 | 12 | 0.003461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-682_0_3_line_15 |  | 11 | 13 | 0.014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-682_0_3_line_16 |  | 12 | 15 | 0.0056352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-682_0_3_line_17 |  | 13 | 29 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-682_0_3_line_18 |  | 14 | 30 | 0.012626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-682_0_3_line_19 |  | 15 | 37 | 0.010768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-682_0_3_line_20 |  | 16 | 17 | 0.0053769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-682_0_3_line_21 |  | 16 | 18 | 0.020143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-682_0_3_line_22 |  | 17 | 34 | 0.016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-682_0_3_line_23 |  | 18 | 22 | 0.020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-682_0_3_line_24 |  | 18 | 23 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-682_0_3_line_25 |  | 19 | 20 | 0.012614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-682_0_3_line_26 |  | 19 | 21 | 0.015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-682_0_3_line_27 |  | 20 | 37 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-682_0_3_line_28 |  | 24 | 32 | 0.008688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-682_0_3_line_29 |  | 24 | 38 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-682_0_3_line_30 |  | 26 | 28 | 0.007566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-682_0_3_line_31 |  | 26 | 48 | 0.010118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-682_0_3_line_32 |  | 27 | 28 | 0.00060387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-682_0_3_line_33 |  | 28 | 40 | 0.007772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-682_0_3_line_34 |  | 29 | 30 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-682_0_3_line_35 |  | 31 | 32 | 0.014472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-682_0_3_line_36 |  | 32 | 42 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-682_0_3_line_37 |  | 32 | 43 | 0.017371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_261-682_0_3_line_38 |  | 32 | 36 | 0.0098161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-682_0_3_line_39 |  | 33 | 34 | 0.024483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-682_0_3_line_40 |  | 35 | 36 | 0.0013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-682_0_3_line_41 |  | 38 | 39 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_261-682_0_3_line_42 |  | 40 | 41 | 0.014615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-682_0_3_line_43 |  | 41 | 44 | 0.00014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-682_0_3_line_44 |  | 42 | 45 | 0.0071007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-682_0_3_line_45 |  | 43 | 46 | 0.018434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_261-682_0_3_line_46 |  | 46 | 47 | 0.007833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-682_0_3_line_47 |  | 47 | 49 | 0.0078367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-682_0_3_line_48 |  | 48 | 49 | 0.019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-682_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 50 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2682573.1712 | 1248716.669 | 2682585.602 | 1248703.5482
1 | 2682593.5073 | 1248695.0918 | 2682589.4741 | 1248699.4611 | 2682585.602 | 1248703.5482
2 | 2682573.1712 | 1248716.669 | 2682569.9408 | 1248720.0819
3 | 2682593.5073 | 1248695.0918 | 2682596.605 | 1248691.7436
4 | 2682593.5073 | 1248695.0918 | 2682574.3581 | 1248677.3171
5 | 2682569.9408 | 1248720.0819 | 2682566.8555 | 1248723.3415 | 2682556.2787 | 1248733.9354 | 2682555.2547 | 1248734.521
6 | 2682596.605 | 1248691.7436 | 2682600.4597 | 1248687.7166 | 2682605.1924 | 1248682.7834
7 | 2682567.222 | 1248672.1088 | 2682569.0201 | 1248672.6009 | 2682570.6189 | 1248673.8463 | 2682574.3581 | 1248677.3171
8 | 2682507.7209 | 1248732.7809 | 2682509.0607 | 1248735.268 | 2682511.009 | 1248737.4412 | 2682510.0733 | 1248738.4734 | 2682508.6009 | 1248740.0874 | 2682507.5195 | 1248741.2732 | 2682506.0831 | 1248741.9315 | 2682504.7885 | 1248742.1581 | 2682500.9413 | 1248742.9385
9 | 2682500.9413 | 1248742.9385 | 2682499.4967 | 1248737.67 | 2682495.3894 | 1248730.5521 | 2682495.3319 | 1248730.4459
10 | 2682507.7209 | 1248732.7809 | 2682505.9453 | 1248729.5871 | 2682503.9561 | 1248726.0124
11 | 2682490.414 | 1248721.3618 | 2682495.3319 | 1248730.4459
12 | 2682503.9561 | 1248726.0124 | 2682499.1805 | 1248717.8424
13 | 2682503.9561 | 1248726.0124 | 2682508.1535 | 1248721.2339 | 2682510.1134 | 1248719.3265
14 | 2682644.76 | 1248637.8748 | 2682644.8628 | 1248641.3344
15 | 2682644.8628 | 1248641.3344 | 2682641.6776 | 1248644.459 | 2682635.0401 | 1248651.5122
16 | 2682644.76 | 1248637.8748 | 2682640.6989 | 1248633.9682
17 | 2682622.7239 | 1248664.5092 | 2682627.1972 | 1248659.8463 | 2682635.0401 | 1248651.5122
18 | 2682613.933 | 1248673.6725 | 2682605.1924 | 1248682.7834
19 | 2682632.9383 | 1248626.5028 | 2682640.6989 | 1248633.9682
20 | 2682485.9913 | 1248695.0062 | 2682489.6772 | 1248691.0915
21 | 2682480.2538 | 1248702.999 | 2682477.2696 | 1248698.1984 | 2682480.7089 | 1248694.1766 | 2682483.6701 | 1248690.8598 | 2682485.9913 | 1248695.0062
22 | 2682489.6772 | 1248691.0915 | 2682501.0182 | 1248679.0466
23 | 2682480.2538 | 1248702.999 | 2682481.9969 | 1248705.8142 | 2682490.414 | 1248721.3618
24 | 2682480.2538 | 1248702.999 | 2682472.8226 | 1248711.3932
25 | 2682615.4874 | 1248611.4029 | 2682618.829 | 1248614.3961 | 2682620.1422 | 1248614.4589 | 2682622.6274 | 1248616.584 | 2682625.1809 | 1248619.0404
26 | 2682615.4874 | 1248611.4029 | 2682604.6121 | 1248623.0331
27 | 2682632.9383 | 1248626.5028 | 2682625.1809 | 1248619.0404
28 | 2682567.222 | 1248672.1088 | 2682566.837 | 1248663.4304
29 | 2682567.222 | 1248672.1088 | 2682565.6396 | 1248672.3981 | 2682564.0538 | 1248673.4768 | 2682554.7009 | 1248683.3691
30 | 2682515.5605 | 1248724.595 | 2682512.2967 | 1248721.4362 | 2682510.1134 | 1248719.3265
31 | 2682510.1134 | 1248719.3265 | 2682514.8218 | 1248719.0696 | 2682518.5116 | 1248715.1227
32 | 2682515.1428 | 1248725.0312 | 2682515.5605 | 1248724.595
33 | 2682520.9924 | 1248719.0221 | 2682515.5605 | 1248724.595
34 | 2682622.7239 | 1248664.5092 | 2682613.933 | 1248673.6725
35 | 2682566.837 | 1248663.4304 | 2682577.3231 | 1248673.404
36 | 2682566.837 | 1248663.4304 | 2682579.1536 | 1248650.2588
37 | 2682566.837 | 1248663.4304 | 2682554.9741 | 1248676.1198
38 | 2682566.837 | 1248663.4304 | 2682559.7232 | 1248656.6665
39 | 2682517.8014 | 1248661.2215 | 2682501.0182 | 1248679.0466
40 | 2682559.7232 | 1248656.6665 | 2682558.7803 | 1248655.77
41 | 2682554.7009 | 1248683.3691 | 2682541.5496 | 1248697.2791
42 | 2682520.9924 | 1248719.0221 | 2682522.2813 | 1248720.2854 | 2682525.7877 | 1248721.7464 | 2682531.8655 | 1248726.1898 | 2682531.9375 | 1248727.671
43 | 2682531.9447 | 1248727.8207 | 2682531.9375 | 1248727.671
44 | 2682584.0034 | 1248645.0724 | 2682579.1536 | 1248650.2588
45 | 2682554.9741 | 1248676.1198 | 2682542.385 | 1248689.586
46 | 2682542.385 | 1248689.586 | 2682537.0357 | 1248695.308
47 | 2682537.0357 | 1248695.308 | 2682531.6839 | 1248701.0327
48 | 2682518.5116 | 1248715.1227 | 2682531.6839 | 1248701.0327

## bus_geodata
| x | y | coords
0 | 2682585.602 | 1248703.5482
1 | 2682573.1712 | 1248716.669
2 | 2682593.5073 | 1248695.0918
3 | 2682569.9408 | 1248720.0819
4 | 2682596.605 | 1248691.7436
5 | 2682574.3581 | 1248677.3171
6 | 2682555.2547 | 1248734.521
7 | 2682500.9413 | 1248742.9385
8 | 2682507.7209 | 1248732.7809
9 | 2682495.3319 | 1248730.4459
10 | 2682503.9561 | 1248726.0124
11 | 2682644.8628 | 1248641.3344
12 | 2682644.76 | 1248637.8748
13 | 2682635.0401 | 1248651.5122
14 | 2682605.1924 | 1248682.7834
15 | 2682640.6989 | 1248633.9682
16 | 2682485.9913 | 1248695.0062
17 | 2682489.6772 | 1248691.0915
18 | 2682480.2538 | 1248702.999
19 | 2682615.4874 | 1248611.4029
20 | 2682625.1809 | 1248619.0404
21 | 2682604.6121 | 1248623.0331
22 | 2682490.414 | 1248721.3618
23 | 2682472.8226 | 1248711.3932
24 | 2682567.222 | 1248672.1088
25 | 2682499.1805 | 1248717.8424
26 | 2682510.1134 | 1248719.3264
27 | 2682515.1428 | 1248725.0312
28 | 2682515.5605 | 1248724.595
29 | 2682622.7239 | 1248664.5092
30 | 2682613.933 | 1248673.6725
31 | 2682577.3231 | 1248673.404
32 | 2682566.837 | 1248663.4304
33 | 2682517.8014 | 1248661.2215
34 | 2682501.0182 | 1248679.0466
35 | 2682558.7803 | 1248655.77
36 | 2682559.7232 | 1248656.6665
37 | 2682632.9383 | 1248626.5028
38 | 2682554.7009 | 1248683.3691
39 | 2682541.5496 | 1248697.2791
40 | 2682520.9924 | 1248719.0221
41 | 2682531.9375 | 1248727.671
42 | 2682579.1536 | 1248650.2588
43 | 2682554.9741 | 1248676.1198
44 | 2682531.9447 | 1248727.8207
45 | 2682584.0034 | 1248645.0724
46 | 2682542.385 | 1248689.586
47 | 2682537.0357 | 1248695.308
48 | 2682518.5116 | 1248715.1227
49 | 2682531.6838 | 1248701.0327
50 | 2682520.9924 | 1248719.0221

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99336 | -0.12739 | 0.013144 | 0.0032943
1 | 0.9922 | -0.14965 | 0 | 0
2 | 0.99423 | -0.11048 | 0 | 0
3 | 0.99191 | -0.15545 | 0.042405 | 0.010628
4 | 0.99398 | -0.11537 | 0 | 0
5 | 0.99595 | -0.077452 | 0.0086544 | 0.002169
6 | 0.99139 | -0.16541 | 0.027238 | 0.0068265
7 | 0.98672 | -0.25544 | 0 | 0
8 | 0.98754 | -0.23948 | 0 | 0
9 | 0.98608 | -0.26787 | 0.0093548 | 0.0023445
10 | 0.9879 | -0.23253 | 0 | 0
11 | 0.99145 | -0.16423 | 0 | 0
12 | 0.99139 | -0.16552 | 0 | 0
13 | 0.99172 | -0.15899 | 0.0050476 | 0.0012651
14 | 0.99329 | -0.1287 | 0.0085792 | 0.0021502
15 | 0.99128 | -0.16761 | 0.0050731 | 0.0012714
16 | 0.98475 | -0.29387 | 0 | 0
17 | 0.98466 | -0.29559 | 0.012863 | 0.0032237
18 | 0.98508 | -0.28743 | 0 | 0
19 | 0.99096 | -0.1737 | 0 | 0
20 | 0.99102 | -0.1726 | 0.0053974 | 0.0013527
21 | 0.99089 | -0.1751 | 0.0049262 | 0.0012346
22 | 0.98569 | -0.27546 | 0.0091427 | 0.0022914
23 | 0.98493 | -0.29026 | 0.014005 | 0.0035101
24 | 0.99636 | -0.069434 | 0 | 0
25 | 0.98778 | -0.23477 | 0.013293 | 0.0033315
26 | 0.98843 | -0.22222 | 0 | 0
27 | 0.98802 | -0.2302 | 0.021745 | 0.0054498
28 | 0.98803 | -0.22996 | 0 | 0
29 | 0.99215 | -0.15076 | 0.020323 | 0.0050934
30 | 0.99268 | -0.14036 | 0.0059816 | 0.0014991
31 | 0.99578 | -0.080712 | 0.0096921 | 0.0024291
32 | 0.9959 | -0.078247 | 0 | 0
33 | 0.98453 | -0.29808 | 0.0023251 | 0.00058272
34 | 0.98459 | -0.29705 | 0.0025932 | 0.00064993
35 | 0.99584 | -0.079517 | 0.0038718 | 0.00097036
36 | 0.99584 | -0.079428 | 0.0029756 | 0.00074575
37 | 0.99112 | -0.17063 | 0.0055063 | 0.00138
38 | 0.99807 | -0.036836 | 0.005035 | 0.0012619
39 | 1 | 0 | -0.33511 | -0.084697
40 | 0.98778 | -0.23491 | 0 | 0
41 | 0.9873 | -0.24422 | 0.019316 | 0.0048412
42 | 0.99573 | -0.081545 | 0.0040521 | 0.0010156
43 | 0.99513 | -0.093145 | 0.0032539 | 0.0008155
44 | 0.9873 | -0.24426 | 0.016319 | 0.0040899
45 | 0.99569 | -0.082337 | 0.006351 | 0.0015917
46 | 0.99391 | -0.11638 | 0.0035179 | 0.00088168
47 | 0.99291 | -0.13568 | 0.0029792 | 0.00074665
48 | 0.98956 | -0.20041 | 0.01272 | 0.0031879
49 | 0.99193 | -0.15462 | 0.0028646 | 0.00071794
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.069749 | 0.017522 | -0.069675 | -0.017474 | 7.4011e-05 | 4.7133e-05 | 0.1045 | 0.1045 | 0.1045 | 0.99336 | -0.12739 | 0.9922 | -0.14965 | 28.7078
1 | -0.082894 | -0.020816 | 0.08296 | 0.020859 | 6.6949e-05 | 4.2698e-05 | 0.12419 | 0.12419 | 0.12419 | 0.99336 | -0.12739 | 0.99423 | -0.11048 | 34.1171
2 | 0.069675 | 0.017474 | -0.069656 | -0.017462 | 1.9243e-05 | 1.2255e-05 | 0.1045 | 0.1045 | 0.1045 | 0.9922 | -0.14965 | 0.99191 | -0.15545 | 28.7078
3 | 0.060962 | 0.015327 | -0.060948 | -0.015317 | 1.4228e-05 | 9.0467e-06 | 0.091256 | 0.091256 | 0.091256 | 0.99423 | -0.11048 | 0.99398 | -0.11537 | 25.0703
4 | -0.14392 | -0.036185 | 0.14415 | 0.03633 | 0.00022738 | 0.00014485 | 0.21544 | 0.21544 | 0.21544 | 0.99423 | -0.11048 | 0.99595 | -0.077452 | 29.5937
5 | 0.027251 | 0.0068345 | -0.027238 | -0.0068265 | 1.2935e-05 | 8.0121e-06 | 0.040882 | 0.040882 | 0.040882 | 0.99191 | -0.15545 | 0.99139 | -0.16541 | 11.2314
6 | 0.060948 | 0.015317 | -0.060909 | -0.015293 | 3.8757e-05 | 2.4644e-05 | 0.091256 | 0.091256 | 0.091256 | 0.99398 | -0.11537 | 0.99329 | -0.1287 | 25.0703
7 | -0.1528 | -0.038499 | 0.15286 | 0.038536 | 5.8625e-05 | 3.7169e-05 | 0.22837 | 0.22837 | 0.22837 | 0.99595 | -0.077452 | 0.99636 | -0.069434 | 20.9132
8 | -0.050356 | -0.012647 | 0.050394 | 0.012671 | 3.8386e-05 | 2.434e-05 | 0.075948 | 0.075948 | 0.075948 | 0.98672 | -0.25544 | 0.98754 | -0.23948 | 20.8649
9 | 0.050356 | 0.012647 | -0.050326 | -0.012628 | 2.9854e-05 | 1.893e-05 | 0.075948 | 0.075948 | 0.075948 | 0.98672 | -0.25544 | 0.98608 | -0.26787 | 20.8649
10 | -0.050394 | -0.012671 | 0.050411 | 0.012682 | 1.6742e-05 | 1.0616e-05 | 0.075948 | 0.075948 | 0.075948 | 0.98754 | -0.23948 | 0.9879 | -0.23253 | 20.8648
11 | 0.040971 | 0.010283 | -0.040956 | -0.010274 | 1.481e-05 | 9.3466e-06 | 0.061832 | 0.061832 | 0.061832 | 0.98608 | -0.26787 | 0.98569 | -0.27546 | 16.9867
12 | 0.013294 | 0.0033322 | -0.013293 | -0.0033315 | 1.4229e-06 | 7.8953e-07 | 0.020024 | 0.020024 | 0.020024 | 0.9879 | -0.23253 | 0.98778 | -0.23477 | 5.5012
13 | -0.063705 | -0.016014 | 0.063736 | 0.016034 | 3.1376e-05 | 1.9964e-05 | 0.095972 | 0.095972 | 0.095972 | 0.9879 | -0.23253 | 0.98843 | -0.22222 | 26.366
14 | 0.02091 | 0.0052426 | -0.020909 | -0.0052419 | 1.2783e-06 | 7.735e-07 | 0.031384 | 0.031384 | 0.031384 | 0.99145 | -0.16423 | 0.99139 | -0.16552 | 8.6219
15 | -0.02091 | -0.0052426 | 0.020915 | 0.0052458 | 5.2252e-06 | 3.1617e-06 | 0.031384 | 0.031384 | 0.031384 | 0.99145 | -0.16423 | 0.99172 | -0.15899 | 8.6219
16 | 0.020909 | 0.0052419 | -0.020907 | -0.0052406 | 2.0814e-06 | 1.2594e-06 | 0.031384 | 0.031384 | 0.031384 | 0.99139 | -0.16552 | 0.99128 | -0.16761 | 8.6219
17 | -0.025963 | -0.0065109 | 0.025973 | 0.0065171 | 1.0191e-05 | 6.2909e-06 | 0.038957 | 0.038957 | 0.038957 | 0.99172 | -0.15899 | 0.99215 | -0.15076 | 10.7026
18 | 0.05233 | 0.013143 | -0.052301 | -0.013124 | 2.9104e-05 | 1.8464e-05 | 0.078404 | 0.078404 | 0.078404 | 0.99329 | -0.1287 | 0.99268 | -0.14036 | 21.5395
19 | 0.015834 | 0.0039692 | -0.015831 | -0.0039678 | 2.2813e-06 | 1.3212e-06 | 0.023769 | 0.023769 | 0.023769 | 0.99128 | -0.16761 | 0.99112 | -0.17063 | 6.5298
20 | 0.017783 | 0.004457 | -0.017781 | -0.0044561 | 1.4559e-06 | 8.6338e-07 | 0.026871 | 0.026871 | 0.026871 | 0.98475 | -0.29387 | 0.98466 | -0.29559 | 7.3822
21 | -0.017783 | -0.004457 | 0.017788 | 0.0044602 | 5.454e-06 | 3.2342e-06 | 0.026871 | 0.026871 | 0.026871 | 0.98475 | -0.29387 | 0.98508 | -0.28743 | 7.3822
22 | 0.0049188 | 0.0012324 | -0.0049184 | -0.0012324 | 3.4278e-07 | 8.9574e-09 | 0.0074331 | 0.0074332 | 0.0074332 | 0.98466 | -0.29559 | 0.98459 | -0.29705 | 2.0421
23 | -0.031796 | -0.0079713 | 0.031814 | 0.0079827 | 1.8159e-05 | 1.1354e-05 | 0.04803 | 0.04803 | 0.04803 | 0.98508 | -0.28743 | 0.98569 | -0.27546 | 13.195
24 | 0.014007 | 0.0035111 | -0.014005 | -0.0035101 | 1.8822e-06 | 1.0619e-06 | 0.021159 | 0.021159 | 0.021159 | 0.98508 | -0.28743 | 0.98493 | -0.29026 | 5.8129
25 | -0.0049265 | -0.0012346 | 0.0049268 | 0.0012346 | 2.5886e-07 | 3.1507e-09 | 0.0073976 | 0.0073975 | 0.0073976 | 0.99096 | -0.1737 | 0.99102 | -0.1726 | 2.0323
26 | 0.0049265 | 0.0012346 | -0.0049262 | -0.0012346 | 3.2676e-07 | 4.0074e-09 | 0.0073976 | 0.0073977 | 0.0073977 | 0.99096 | -0.1737 | 0.99089 | -0.1751 | 2.0323
27 | -0.010324 | -0.0025874 | 0.010325 | 0.0025878 | 9.6999e-07 | 4.8209e-07 | 0.015502 | 0.015502 | 0.015502 | 0.99102 | -0.1726 | 0.99112 | -0.17063 | 4.2587
28 | 0.17446 | 0.044195 | -0.17438 | -0.044148 | 7.3816e-05 | 4.6903e-05 | 0.26071 | 0.26071 | 0.26071 | 0.99636 | -0.069434 | 0.9959 | -0.078247 | 23.8746
29 | -0.32732 | -0.082731 | 0.32783 | 0.083058 | 0.0005125 | 0.00032733 | 0.48908 | 0.48908 | 0.48908 | 0.99636 | -0.069434 | 0.99807 | -0.036836 | 44.7878
30 | 0.057426 | 0.01441 | -0.057404 | -0.014396 | 2.1208e-05 | 1.3476e-05 | 0.086457 | 0.086457 | 0.086457 | 0.98843 | -0.22222 | 0.98803 | -0.22996 | 23.7518
31 | -0.12116 | -0.030444 | 0.12129 | 0.030524 | 0.00012628 | 8.0689e-05 | 0.18243 | 0.18243 | 0.18243 | 0.98843 | -0.22222 | 0.98956 | -0.20041 | 50.1178
32 | -0.021745 | -0.0054498 | 0.021745 | 0.0054499 | 2.4287e-07 | 1.477e-07 | 0.032749 | 0.032749 | 0.032749 | 0.98802 | -0.2302 | 0.98803 | -0.22996 | 8.997
33 | 0.035659 | 0.0089463 | -0.035651 | -0.008941 | 8.407e-06 | 5.2809e-06 | 0.053708 | 0.053708 | 0.053708 | 0.98803 | -0.22996 | 0.98778 | -0.23491 | 14.7549
34 | -0.046296 | -0.011611 | 0.046319 | 0.011625 | 2.2959e-05 | 1.453e-05 | 0.069437 | 0.069437 | 0.069437 | 0.99215 | -0.15076 | 0.99268 | -0.14036 | 19.0762
35 | -0.0096921 | -0.0024291 | 0.0096932 | 0.0024296 | 1.1384e-06 | 5.4026e-07 | 0.014483 | 0.014483 | 0.014483 | 0.99578 | -0.080712 | 0.9959 | -0.078247 | 3.9789
36 | 0.010405 | 0.0026081 | -0.010403 | -0.0026073 | 1.6344e-06 | 8.1144e-07 | 0.015547 | 0.015547 | 0.015547 | 0.9959 | -0.078247 | 0.99573 | -0.081545 | 4.2711
37 | 0.14744 | 0.037394 | -0.14733 | -0.037327 | 0.00010552 | 6.6858e-05 | 0.22045 | 0.22045 | 0.22045 | 0.9959 | -0.078247 | 0.99513 | -0.093145 | 20.1877
38 | 0.0068478 | 0.0017162 | -0.0068474 | -0.0017161 | 3.8535e-07 | 1.189e-07 | 0.010232 | 0.010232 | 0.010232 | 0.9959 | -0.078247 | 0.99584 | -0.079428 | 2.8109
39 | -0.0023251 | -0.00058272 | 0.0023252 | 0.00058248 | 1.1337e-07 | -2.388e-07 | 0.0035141 | 0.003514 | 0.0035141 | 0.98453 | -0.29808 | 0.98459 | -0.29705 | 0.96541
40 | -0.0038718 | -0.00097036 | 0.0038718 | 0.00097036 | 1.633e-08 | -6.4759e-09 | 0.0057854 | 0.0057854 | 0.0057854 | 0.99584 | -0.079517 | 0.99584 | -0.079428 | 1.5894
41 | -0.33287 | -0.08432 | 0.33346 | 0.084697 | 0.00059008 | 0.0003769 | 0.49659 | 0.49659 | 0.49659 | 0.99807 | -0.036836 | 1 | 0 | 45.4752
42 | 0.035651 | 0.008941 | -0.035635 | -0.008931 | 1.5809e-05 | 9.931e-06 | 0.053708 | 0.053708 | 0.053708 | 0.98778 | -0.23491 | 0.9873 | -0.24422 | 14.7549
43 | 0.016319 | 0.0040899 | -0.016319 | -0.0040899 | 3.3977e-08 | 1.983e-08 | 0.024595 | 0.024595 | 0.024595 | 0.9873 | -0.24422 | 0.9873 | -0.24426 | 6.7569
44 | 0.0063512 | 0.0015918 | -0.006351 | -0.0015917 | 2.3987e-07 | 6.1159e-08 | 0.0094912 | 0.0094912 | 0.0094912 | 0.99573 | -0.081545 | 0.99569 | -0.082337 | 2.6075
45 | 0.14408 | 0.036511 | -0.14392 | -0.036409 | 0.00016064 | 0.00010233 | 0.21558 | 0.21558 | 0.21558 | 0.99513 | -0.093145 | 0.99391 | -0.11638 | 29.6133
46 | 0.1404 | 0.035527 | -0.14027 | -0.035444 | 0.00012993 | 8.3054e-05 | 0.21032 | 0.21032 | 0.21032 | 0.99391 | -0.11638 | 0.99291 | -0.13568 | 57.7796
47 | 0.13729 | 0.034698 | -0.13717 | -0.034618 | 0.00012453 | 7.9599e-05 | 0.20585 | 0.20585 | 0.20585 | 0.99291 | -0.13568 | 0.99193 | -0.15462 | 56.5531
48 | -0.13401 | -0.033712 | 0.1343 | 0.0339 | 0.00029384 | 0.00018781 | 0.20156 | 0.20156 | 0.20156 | 0.98956 | -0.20041 | 0.99193 | -0.15462 | 55.3725

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42698 | 0.10772

## res_load
| p_mw | q_mvar
0 | 0.013144 | 0.0032943
1 | 0.042405 | 0.010628
2 | 0.0086544 | 0.002169
3 | 0.027238 | 0.0068265
4 | 0.0093548 | 0.0023445
5 | 0.0050476 | 0.0012651
6 | 0.0085792 | 0.0021502
7 | 0.0050731 | 0.0012714
8 | 0.012863 | 0.0032237
9 | 0.0053974 | 0.0013527
10 | 0.0049262 | 0.0012346
11 | 0.0091427 | 0.0022914
12 | 0.014005 | 0.0035101
13 | 0.013293 | 0.0033315
14 | 0.021745 | 0.0054498
15 | 0.020323 | 0.0050934
16 | 0.0059816 | 0.0014991
17 | 0.0096921 | 0.0024291
18 | 0.0023251 | 0.00058272
19 | 0.0025932 | 0.00064993
20 | 0.0038718 | 0.00097036
21 | 0.0029756 | 0.00074575
22 | 0.0055063 | 0.00138
23 | 0.005035 | 0.0012619
24 | 0.091873 | 0.023026
25 | 0.019316 | 0.0048412
26 | 0.0040521 | 0.0010156
27 | 0.0032539 | 0.0008155
28 | 0.016319 | 0.0040899
29 | 0.006351 | 0.0015917
30 | 0.0035179 | 0.00088168
31 | 0.0029792 | 0.00074665
32 | 0.01272 | 0.0031879
33 | 0.0028646 | 0.00071794

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1