## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-695_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-695_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-695_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-695_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-695_0_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_261-695_0_4_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_261-695_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_261-695_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-695_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-695_0_4_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_261-695_0_4_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_261-695_0_4_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_261-695_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-695_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_261-695_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_261-695_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-695_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_261-695_0_4_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_261-695_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-695_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_261-695_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_261-695_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_261-695_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-695_0_4_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_261-695_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_261-695_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_261-695_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-695_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-695_0_4_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_261-695_0_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_261-695_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-695_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_261-695_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_261-695_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_261-695_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-695_0_4_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_261-695_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-695_0_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_261-695_0_4_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_261-695_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_261-695_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_261-695_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_261-695_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_261-695_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_261-695_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_261-695_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_261-695_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_261-695_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_261-695_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_261-695_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_261-695_0_4_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_261-695_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_261-695_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_261-695_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_261-695_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_261-695_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_261-695_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_261-695_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_261-695_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_261-695_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_261-695_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_261-695_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_261-695_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_MV_543_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-695_0_4_load_0 | 0 | 0.00128 | 0.0003208 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-695_0_4_load_26 | 4 | 0.036241 | 0.0090828 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-695_0_4_load_70 | 5 | 0.0082256 | 0.0020615 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-695_0_4_load_32 | 9 | 0.0036977 | 0.00092674 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-695_0_4_load_29 | 10 | 0.0033338 | 0.00083552 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-695_0_4_load_41 | 11 | 0.001238 | 0.00031027 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-695_0_4_load_59 | 14 | 0.0047786 | 0.0011976 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-695_0_4_load_28 | 17 | 0.01776 | 0.0044511 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-695_0_4_load_27 | 19 | 0.012851 | 0.0032207 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-695_0_4_load_48 | 21 | 0.013707 | 0.0034353 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-695_0_4_load_49 | 23 | 0.011557 | 0.0028964 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-695_0_4_load_51 | 24 | 0.035632 | 0.0089302 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-695_0_4_load_60 | 25 | 0.0074481 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-695_0_4_load_52 | 28 | 0.0040996 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-695_0_4_load_65 | 29 | 0.0056215 | 0.0014089 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-695_0_4_load_43 | 31 | 0.0038976 | 0.00097684 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-695_0_4_load_39 | 32 | 0.0017773 | 0.00044543 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-695_0_4_load_69 | 35 | 0.0014376 | 0.0003603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-695_0_4_load_68 | 37 | 0.0059489 | 0.0014909 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-695_0_4_load_67 | 38 | 0.0050318 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-695_0_4_load_64 | 39 | 0.0069136 | 0.0017327 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-695_0_4_load_31 | 40 | 0.0038475 | 0.00096428 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-695_0_4_load_30 | 41 | 0.0030152 | 0.00075568 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-695_0_4_load_38 | 42 | 0.0048158 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-695_0_4_load_40 | 43 | 0.001325 | 0.00033208 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-695_0_4_load_58 | 44 | 0.0056394 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-695_0_4_load_53 | 45 | 0.0070771 | 0.0017737 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-695_0_4_load_46 | 46 | 0.012783 | 0.0032036 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-695_0_4_load_47 | 47 | 0.011007 | 0.0027585 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-695_0_4_load_50 | 48 | 0.014441 | 0.0036193 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-695_0_4_load_61 | 49 | 0.0056035 | 0.0014044 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-695_0_4_load_66 | 50 | 0.012807 | 0.0032097 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-695_0_4_load_63 | 52 | 0.0079432 | 0.0019908 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-695_0_4_load_44 | 53 | 0.0098564 | 0.0024703 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-695_0_4_load_57 | 54 | 0.0078335 | 0.0019633 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-695_0_4_load_56 | 55 | 0.006092 | 0.0015268 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-695_0_4_load_45 | 56 | 0.006383 | 0.0015997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-695_0_4_load_37 | 57 | 0.0086524 | 0.0021685 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-695_0_4_load_35 | 59 | 0.016471 | 0.004128 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-695_0_4_load_34 | 60 | 0.005983 | 0.0014995 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-695_0_4_load_54 | 61 | 0.0094825 | 0.0023765 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-695_0_4_load_55 | 62 | 0.0079696 | 0.0019974 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-695_0_4_line_0 |  | 0 | 1 | 0.014182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-695_0_4_line_1 |  | 0 | 2 | 0.0049405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-695_0_4_line_2 |  | 1 | 3 | 0.040669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-695_0_4_line_3 |  | 2 | 4 | 0.055957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-695_0_4_line_4 |  | 3 | 5 | 0.004311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-695_0_4_line_5 |  | 3 | 6 | 0.043331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-695_0_4_line_6 |  | 6 | 18 | 0.0095017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-695_0_4_line_7 |  | 6 | 19 | 0.0058774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-695_0_4_line_8 |  | 7 | 8 | 0.009997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-695_0_4_line_9 |  | 7 | 9 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-695_0_4_line_10 |  | 7 | 10 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-695_0_4_line_11 |  | 8 | 11 | 0.002789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-695_0_4_line_12 |  | 9 | 42 | 0.019255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-695_0_4_line_13 |  | 10 | 41 | 0.0011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-695_0_4_line_14 |  | 11 | 43 | 0.017956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-695_0_4_line_15 |  | 12 | 13 | 0.006577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-695_0_4_line_16 |  | 12 | 14 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-695_0_4_line_17 |  | 13 | 25 | 0.0098502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-695_0_4_line_18 |  | 13 | 22 | 0.014997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-695_0_4_line_19 |  | 14 | 44 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-695_0_4_line_20 |  | 15 | 16 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-695_0_4_line_21 |  | 15 | 17 | 0.024917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-695_0_4_line_22 |  | 16 | 22 | 0.004108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-695_0_4_line_23 |  | 16 | 23 | 0.0092879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-695_0_4_line_24 |  | 18 | 20 | 0.0017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-695_0_4_line_25 |  | 18 | 21 | 0.0055816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-695_0_4_line_26 |  | 20 | 45 | 0.030063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-695_0_4_line_27 |  | 20 | 30 | 0.004935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-695_0_4_line_28 |  | 21 | 46 | 0.012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-695_0_4_line_29 |  | 22 | 24 | 0.038584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-695_0_4_line_30 |  | 23 | 47 | 0.011704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-695_0_4_line_31 |  | 24 | 48 | 0.034519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-695_0_4_line_32 |  | 25 | 49 | 0.0074101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-695_0_4_line_33 |  | 26 | 27 | 0.015069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-695_0_4_line_34 |  | 26 | 28 | 0.022068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-695_0_4_line_35 |  | 27 | 29 | 0.039262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-695_0_4_line_36 |  | 28 | 48 | 0.036545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-695_0_4_line_37 |  | 30 | 31 | 0.03668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-695_0_4_line_38 |  | 30 | 32 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-695_0_4_line_39 |  | 31 | 53 | 0.026084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-695_0_4_line_40 |  | 32 | 43 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-695_0_4_line_41 |  | 33 | 34 | 0.002585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-695_0_4_line_42 |  | 33 | 35 | 0.0033686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-695_0_4_line_43 |  | 34 | 38 | 0.02747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-695_0_4_line_44 |  | 34 | 39 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-695_0_4_line_45 |  | 35 | 50 | 0.02819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-695_0_4_line_46 |  | 36 | 37 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-695_0_4_line_47 |  | 36 | 38 | 0.016033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-695_0_4_line_48 |  | 39 | 52 | 0.024689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-695_0_4_line_49 |  | 40 | 41 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-695_0_4_line_50 |  | 42 | 58 | 0.016885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-695_0_4_line_51 |  | 45 | 61 | 0.0027751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-695_0_4_line_52 |  | 46 | 47 | 0.019679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_261-695_0_4_line_53 |  | 49 | 51 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-695_0_4_line_54 |  | 51 | 52 | 0.019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-695_0_4_line_55 |  | 53 | 56 | 0.026715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-695_0_4_line_56 |  | 54 | 55 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-695_0_4_line_57 |  | 55 | 62 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-695_0_4_line_58 |  | 57 | 58 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-695_0_4_line_59 |  | 58 | 60 | 0.02064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-695_0_4_line_60 |  | 59 | 60 | 0.0048844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-695_0_4_line_61 |  | 61 | 62 | 0.0061417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-695_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 63 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684056.6448 | 1251252.2812 | 2684055.3624 | 1251254.8761 | 2684051.2868 | 1251259.6107 | 2684050.6783 | 1251261.0031 | 2684051.1546 | 1251264.491
1 | 2684050.8835 | 1251269.4123 | 2684051.2321 | 1251265.0585 | 2684051.1546 | 1251264.491
2 | 2684056.6448 | 1251252.2812 | 2684053.649 | 1251245.8228 | 2684052.0092 | 1251242.219 | 2684048.2807 | 1251241.6435 | 2684040.9639 | 1251240.728 | 2684037.1361 | 1251239.7063 | 2684030.1674 | 1251243.5103 | 2684026.1874 | 1251246.3004 | 2684024.6747 | 1251247.0351
3 | 2684050.8835 | 1251269.4123 | 2684045.0345 | 1251270.9194 | 2684041.3182 | 1251268.9541 | 2684033.8411 | 1251272.4174 | 2684032.0282 | 1251271.9691 | 2684014.9684 | 1251279.9332 | 2684013.7374 | 1251283.6964 | 2684012.1041 | 1251286.0194 | 2684002.4081 | 1251288.3793
4 | 2684026.6358 | 1251250.8769 | 2684024.6747 | 1251247.0351
5 | 2683989.4306 | 1251244.3001 | 2683993.9391 | 1251242.0401 | 2683999.46 | 1251252.4928 | 2684004.4622 | 1251253.2087 | 2684014.793 | 1251251.8541 | 2684024.6747 | 1251247.0351
6 | 2683985.1196 | 1251235.8327 | 2683987.2421 | 1251239.9992 | 2683989.4306 | 1251244.3001
7 | 2683989.4306 | 1251244.3001 | 2683984.1752 | 1251246.9315
8 | 2684039.4375 | 1251208.3821 | 2684048.4085 | 1251203.9171
9 | 2684048.4085 | 1251203.9171 | 2684046.3339 | 1251200.6296 | 2684042.0201 | 1251187.0898
10 | 2684048.4085 | 1251203.9171 | 2684063.7065 | 1251196.1515
11 | 2684039.4375 | 1251208.3821 | 2684036.9481 | 1251209.6397
12 | 2684036.1747 | 1251168.7432 | 2684042.0201 | 1251187.0898
13 | 2684063.7065 | 1251196.1515 | 2684064.7063 | 1251195.644
14 | 2684020.921 | 1251217.736 | 2684036.9481 | 1251209.6397
15 | 2683914.9577 | 1251263.7932 | 2683915.4504 | 1251266.3131 | 2683915.5475 | 1251268.5162 | 2683914.6497 | 1251270.0824
16 | 2683914.6497 | 1251270.0824 | 2683903.325 | 1251274.9924 | 2683898.1774 | 1251277.4424
17 | 2683914.9577 | 1251263.7932 | 2683913.4473 | 1251259.046 | 2683910.3753 | 1251256.3561 | 2683910.139 | 1251255.6071
18 | 2683929.1573 | 1251258.9684 | 2683922.1485 | 1251261.3487 | 2683914.9577 | 1251263.7932
19 | 2683880.5808 | 1251285.8174 | 2683898.1774 | 1251277.4424
20 | 2683932.2319 | 1251261.4694 | 2683934.674 | 1251266.53 | 2683937.0208 | 1251271.3779
21 | 2683937.0208 | 1251271.3779 | 2683943.9056 | 1251267.0945 | 2683958.9356 | 1251259.569
22 | 2683932.2319 | 1251261.4694 | 2683930.8287 | 1251260.8824 | 2683929.85 | 1251260.1569 | 2683929.1573 | 1251258.9684
23 | 2683932.2319 | 1251261.4694 | 2683935.4023 | 1251260.9472 | 2683940.8246 | 1251258.2082
24 | 2683985.1196 | 1251235.8327 | 2683986.6402 | 1251235.0648
25 | 2683985.1196 | 1251235.8327 | 2683980.1376 | 1251238.3493
26 | 2683986.6402 | 1251235.0648 | 2683987.367 | 1251230.6607 | 2683980.5564 | 1251208.9479 | 2683979.7058 | 1251206.235
27 | 2683991.0503 | 1251232.8256 | 2683986.6402 | 1251235.0648
28 | 2683968.8366 | 1251244.058 | 2683980.1376 | 1251238.3493
29 | 2683929.1573 | 1251258.9684 | 2683926.0832 | 1251248.9729 | 2683925.767 | 1251241.4517 | 2683919.5195 | 1251222.071 | 2683919.4517 | 1251221.8454
30 | 2683951.2713 | 1251252.931 | 2683940.8246 | 1251258.2082
31 | 2683909.5044 | 1251188.7908 | 2683919.4517 | 1251221.8454
32 | 2683910.139 | 1251255.6071 | 2683907.9087 | 1251248.5406
33 | 2683876.8674 | 1251139.0273 | 2683883.7116 | 1251137.0782 | 2683891.3594 | 1251134.896
34 | 2683891.3594 | 1251134.896 | 2683891.3148 | 1251137.5084 | 2683891.3472 | 1251139.4881 | 2683894.6175 | 1251150.5649 | 2683898.0296 | 1251151.6251 | 2683898.7309 | 1251153.8708
35 | 2683876.8674 | 1251139.0273 | 2683879.0144 | 1251140.4031 | 2683890.0831 | 1251175.4064
36 | 2683909.5044 | 1251188.7908 | 2683906.0236 | 1251177.2241 | 2683898.7309 | 1251153.8708
37 | 2683991.0503 | 1251232.8256 | 2683980.1387 | 1251197.8064
38 | 2683991.0503 | 1251232.8256 | 2684005.7925 | 1251225.3784
39 | 2683972.3792 | 1251172.9033 | 2683980.1387 | 1251197.8064
40 | 2684020.921 | 1251217.736 | 2684005.7925 | 1251225.3784
41 | 2683846.7888 | 1251212.3454 | 2683846.0216 | 1251214.8142
42 | 2683846.7888 | 1251212.3454 | 2683849.9787 | 1251213.4283
43 | 2683846.0216 | 1251214.8142 | 2683841.0638 | 1251230.6893 | 2683838.2782 | 1251241.1639
44 | 2683846.0216 | 1251214.8142 | 2683863.3225 | 1251220.4594
45 | 2683876.6727 | 1251222.4901 | 2683849.9787 | 1251213.4283
46 | 2683836.0719 | 1251256.9717 | 2683836.8691 | 1251268.3804 | 2683838.102 | 1251275.4358
47 | 2683836.0719 | 1251256.9717 | 2683836.7184 | 1251247.0289 | 2683838.2782 | 1251241.1639
48 | 2683886.7603 | 1251228.2189 | 2683872.5613 | 1251223.474 | 2683863.3225 | 1251220.4594
49 | 2684080.0397 | 1251187.8604 | 2684064.7063 | 1251195.644
50 | 2684031.0489 | 1251152.6548 | 2684036.1747 | 1251168.7432
51 | 2683979.7058 | 1251206.235 | 2683978.8756 | 1251203.587
52 | 2683968.8366 | 1251244.058 | 2683951.2713 | 1251252.931
53 | 2683905.0848 | 1251234.4314 | 2683904.6752 | 1251238.2952 | 2683907.9087 | 1251248.5406
54 | 2683905.0848 | 1251234.4314 | 2683896.0852 | 1251231.335 | 2683886.7603 | 1251228.2189
55 | 2683972.3792 | 1251172.9033 | 2683970.9564 | 1251168.3371 | 2683964.7323 | 1251147.3059
56 | 2683971.064 | 1251178.6713 | 2683969.1092 | 1251172.4362 | 2683964.5704 | 1251157.5228
57 | 2683977.0383 | 1251197.7266 | 2683971.064 | 1251178.6713
58 | 2684031.0489 | 1251152.6548 | 2684026.7474 | 1251138.4079
59 | 2684031.0489 | 1251152.6548 | 2684050.74 | 1251146.4686
60 | 2684050.74 | 1251146.4686 | 2684055.3999 | 1251145.0047
61 | 2683977.0383 | 1251197.7266 | 2683978.8756 | 1251203.587

## bus_geodata
| x | y | coords
0 | 2684051.1546 | 1251264.491
1 | 2684056.6448 | 1251252.2812
2 | 2684050.8835 | 1251269.4123
3 | 2684024.6748 | 1251247.0351
4 | 2684002.4081 | 1251288.3793
5 | 2684026.6358 | 1251250.8769
6 | 2683989.4306 | 1251244.3001
7 | 2684048.4085 | 1251203.9171
8 | 2684039.4375 | 1251208.3821
9 | 2684042.0201 | 1251187.0898
10 | 2684063.7065 | 1251196.1515
11 | 2684036.9481 | 1251209.6397
12 | 2683914.6497 | 1251270.0824
13 | 2683914.9577 | 1251263.7932
14 | 2683898.1774 | 1251277.4424
15 | 2683937.0208 | 1251271.3779
16 | 2683932.2319 | 1251261.4694
17 | 2683958.9356 | 1251259.569
18 | 2683985.1196 | 1251235.8327
19 | 2683984.1752 | 1251246.9315
20 | 2683986.6402 | 1251235.0648
21 | 2683980.1376 | 1251238.3493
22 | 2683929.1573 | 1251258.9684
23 | 2683940.8246 | 1251258.2082
24 | 2683919.4517 | 1251221.8454
25 | 2683910.139 | 1251255.6071
26 | 2683891.3594 | 1251134.896
27 | 2683876.8674 | 1251139.0273
28 | 2683898.7309 | 1251153.8708
29 | 2683890.0831 | 1251175.4064
30 | 2683991.0503 | 1251232.8256
31 | 2683980.1387 | 1251197.8064
32 | 2684005.7925 | 1251225.3784
33 | 2683846.7888 | 1251212.3454
34 | 2683846.0216 | 1251214.8142
35 | 2683849.9787 | 1251213.4283
36 | 2683836.0719 | 1251256.9717
37 | 2683838.102 | 1251275.4358
38 | 2683838.2782 | 1251241.1639
39 | 2683863.3225 | 1251220.4594
40 | 2684080.0397 | 1251187.8604
41 | 2684064.7063 | 1251195.644
42 | 2684036.1747 | 1251168.7432
43 | 2684020.921 | 1251217.736
44 | 2683880.5808 | 1251285.8174
45 | 2683979.7058 | 1251206.235
46 | 2683968.8366 | 1251244.058
47 | 2683951.2713 | 1251252.931
48 | 2683909.5044 | 1251188.7908
49 | 2683907.9087 | 1251248.5406
50 | 2683876.6727 | 1251222.4901
51 | 2683905.0848 | 1251234.4314
52 | 2683886.7603 | 1251228.2189
53 | 2683972.3792 | 1251172.9033
54 | 2683964.5704 | 1251157.5228
55 | 2683971.064 | 1251178.6713
56 | 2683964.7323 | 1251147.3059
57 | 2684026.7474 | 1251138.4079
58 | 2684031.0489 | 1251152.6548
59 | 2684055.3999 | 1251145.0047
60 | 2684050.74 | 1251146.4686
61 | 2683978.8756 | 1251203.587
62 | 2683977.0383 | 1251197.7266
63 | 2683968.8366 | 1251244.058

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9943 | -0.10951 | 0.00128 | 0.0003208
1 | 0.99478 | -0.10013 | 0 | 0
2 | 0.99413 | -0.11267 | 0 | 0
3 | 0.99618 | -0.073294 | 0 | 0
4 | 0.99228 | -0.1485 | 0.036241 | 0.0090828
5 | 0.99615 | -0.073916 | 0.0082256 | 0.0020615
6 | 0.99799 | -0.038538 | 0 | 0
7 | 0.99494 | -0.097129 | 0 | 0
8 | 0.9954 | -0.088363 | 0 | 0
9 | 0.99429 | -0.10976 | 0.0036977 | 0.00092674
10 | 0.99478 | -0.10021 | 0.0033338 | 0.00083552
11 | 0.99552 | -0.085919 | 0.001238 | 0.00031027
12 | 0.99572 | -0.082059 | 0 | 0
13 | 0.99579 | -0.080854 | 0 | 0
14 | 0.99555 | -0.085364 | 0.0047786 | 0.0011976
15 | 0.99694 | -0.058654 | 0 | 0
16 | 0.99712 | -0.055226 | 0 | 0
17 | 0.99654 | -0.066417 | 0.01776 | 0.0044511
18 | 0.9985 | -0.028799 | 0 | 0
19 | 0.99792 | -0.03986 | 0.012851 | 0.0032207
20 | 0.99832 | -0.032151 | 0 | 0
21 | 0.99893 | -0.020442 | 0.013707 | 0.0034353
22 | 0.99666 | -0.064114 | 0 | 0
23 | 0.99772 | -0.043745 | 0.011557 | 0.0028964
24 | 0.99455 | -0.10469 | 0.035632 | 0.0089302
25 | 0.99531 | -0.090059 | 0.0074481 | 0.0018667
26 | 0.99335 | -0.12786 | 0 | 0
27 | 0.99328 | -0.12936 | 0 | 0
28 | 0.99347 | -0.12567 | 0.0040996 | 0.0010275
29 | 0.99308 | -0.13326 | 0.0056215 | 0.0014089
30 | 0.99799 | -0.038565 | 0 | 0
31 | 0.99732 | -0.051501 | 0.0038976 | 0.00097684
32 | 0.99717 | -0.054233 | 0.0017773 | 0.00044543
33 | 0.99258 | -0.14281 | 0 | 0
34 | 0.99261 | -0.14216 | 0 | 0
35 | 0.99253 | -0.14366 | 0.0014376 | 0.0003603
36 | 0.99225 | -0.14919 | 0 | 0
37 | 0.99215 | -0.15115 | 0.0059489 | 0.0014909
38 | 0.99234 | -0.1475 | 0.0050318 | 0.0012611
39 | 0.99303 | -0.13404 | 0.0069136 | 0.0017327
40 | 0.99472 | -0.10151 | 0.0038475 | 0.00096428
41 | 0.99478 | -0.10034 | 0.0030152 | 0.00075568
42 | 0.99366 | -0.12197 | 0.0048158 | 0.001207
43 | 0.99636 | -0.069809 | 0.001325 | 0.00033208
44 | 0.99545 | -0.087297 | 0.0056394 | 0.0014134
45 | 0.99727 | -0.05239 | 0.0070771 | 0.0017737
46 | 1 | 0 | -0.35197 | -0.088408
47 | 0.99853 | -0.028113 | 0.011007 | 0.0027585
48 | 0.99379 | -0.1194 | 0.014441 | 0.0036193
49 | 0.995 | -0.096018 | 0.0056035 | 0.0014044
50 | 0.9922 | -0.15005 | 0.012807 | 0.0032097
51 | 0.99446 | -0.10635 | 0 | 0
52 | 0.99376 | -0.12003 | 0.0079432 | 0.0019908
53 | 0.99693 | -0.058928 | 0.0098564 | 0.0024703
54 | 0.99666 | -0.064191 | 0.0078335 | 0.0019633
55 | 0.99682 | -0.061151 | 0.006092 | 0.0015268
56 | 0.99678 | -0.061919 | 0.006383 | 0.0015997
57 | 0.99306 | -0.13352 | 0.0086524 | 0.0021685
58 | 0.99318 | -0.13124 | 0 | 0
59 | 0.99268 | -0.14086 | 0.016471 | 0.004128
60 | 0.99275 | -0.13944 | 0.005983 | 0.0014995
61 | 0.99719 | -0.053916 | 0.0094825 | 0.0023765
62 | 0.99707 | -0.056274 | 0.0079696 | 0.0019974
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.037588 | -0.009446 | 0.037605 | 0.0094565 | 1.6834e-05 | 1.0589e-05 | 0.056262 | 0.056261 | 0.056262 | 0.9943 | -0.10951 | 0.99478 | -0.10013 | 15.4565
1 | 0.036308 | 0.0091252 | -0.036303 | -0.0091217 | 5.4719e-06 | 3.4379e-06 | 0.054346 | 0.054346 | 0.054346 | 0.9943 | -0.10951 | 0.99413 | -0.11267 | 14.9302
2 | -0.037605 | -0.0094565 | 0.037653 | 0.0094869 | 4.8274e-05 | 3.0366e-05 | 0.056261 | 0.056261 | 0.056261 | 0.99478 | -0.10013 | 0.99618 | -0.073294 | 15.4565
3 | 0.036303 | 0.0091217 | -0.036241 | -0.0090828 | 6.1976e-05 | 3.8941e-05 | 0.054346 | 0.054346 | 0.054346 | 0.99413 | -0.11267 | 0.99228 | -0.1485 | 14.9303
4 | 0.0082259 | 0.0020616 | -0.0082256 | -0.0020615 | 2.4407e-07 | 1.0008e-07 | 0.012287 | 0.012287 | 0.012287 | 0.99618 | -0.073294 | 0.99615 | -0.073916 | 3.3756
5 | -0.045879 | -0.011549 | 0.045955 | 0.011597 | 7.6353e-05 | 4.8301e-05 | 0.068548 | 0.068548 | 0.068548 | 0.99618 | -0.073294 | 0.99799 | -0.038538 | 18.832
6 | -0.058807 | -0.014818 | 0.058835 | 0.014835 | 2.7412e-05 | 1.7419e-05 | 0.08771 | 0.08771 | 0.08771 | 0.99799 | -0.038538 | 0.9985 | -0.028799 | 24.0963
7 | 0.012852 | 0.0032212 | -0.012851 | -0.0032207 | 8.0929e-07 | 4.4115e-07 | 0.019162 | 0.019162 | 0.019162 | 0.99799 | -0.038538 | 0.99792 | -0.03986 | 5.2643
8 | -0.049887 | -0.012529 | 0.049908 | 0.012542 | 2.0874e-05 | 1.323e-05 | 0.07462 | 0.07462 | 0.07462 | 0.99494 | -0.097129 | 0.9954 | -0.088363 | 20.5
9 | 0.039689 | 0.0099729 | -0.039665 | -0.0099578 | 2.392e-05 | 1.5074e-05 | 0.059367 | 0.059368 | 0.059368 | 0.99494 | -0.097129 | 0.99429 | -0.10976 | 16.3098
10 | 0.010198 | 0.0025561 | -0.010197 | -0.0025554 | 1.4967e-06 | 7.351e-07 | 0.015252 | 0.015252 | 0.015252 | 0.99494 | -0.097129 | 0.99478 | -0.10021 | 4.1902
11 | -0.049908 | -0.012542 | 0.049914 | 0.012546 | 5.8236e-06 | 3.6908e-06 | 0.07462 | 0.07462 | 0.07462 | 0.9954 | -0.088363 | 0.99552 | -0.085919 | 20.4999
12 | 0.035968 | 0.0090311 | -0.035947 | -0.0090179 | 2.0926e-05 | 1.3143e-05 | 0.053834 | 0.053834 | 0.053834 | 0.99429 | -0.10976 | 0.99366 | -0.12197 | 14.7895
13 | 0.006863 | 0.0017199 | -0.0068629 | -0.0017199 | 4.4309e-08 | 1.3802e-08 | 0.010266 | 0.010266 | 0.010266 | 0.99478 | -0.10021 | 0.99478 | -0.10034 | 2.8203
14 | -0.051152 | -0.012856 | 0.051192 | 0.012881 | 3.9376e-05 | 2.4967e-05 | 0.07647 | 0.07647 | 0.07647 | 0.99552 | -0.085919 | 0.99636 | -0.069809 | 21.0083
15 | -0.01042 | -0.0026119 | 0.010421 | 0.0026122 | 5.9806e-07 | 2.9721e-07 | 0.015572 | 0.015572 | 0.015572 | 0.99572 | -0.082059 | 0.99579 | -0.080854 | 4.278
16 | 0.01042 | 0.0026119 | -0.010418 | -0.0026111 | 1.6408e-06 | 8.1545e-07 | 0.015572 | 0.015572 | 0.015572 | 0.99572 | -0.082059 | 0.99555 | -0.085364 | 4.278
17 | 0.053256 | 0.013392 | -0.053233 | -0.013378 | 2.3403e-05 | 1.485e-05 | 0.079597 | 0.079597 | 0.079597 | 0.99579 | -0.080854 | 0.99531 | -0.090059 | 21.8673
18 | -0.063677 | -0.016005 | 0.063728 | 0.016037 | 5.0936e-05 | 3.2404e-05 | 0.095169 | 0.095169 | 0.095169 | 0.99579 | -0.080854 | 0.99666 | -0.064114 | 26.1453
19 | 0.0056399 | 0.0014134 | -0.0056394 | -0.0014134 | 5.1931e-07 | 7.8983e-08 | 0.0084297 | 0.0084298 | 0.0084298 | 0.99555 | -0.085364 | 0.99545 | -0.087297 | 2.3159
20 | -0.017766 | -0.0044549 | 0.017769 | 0.0044567 | 2.9022e-06 | 1.7139e-06 | 0.026519 | 0.026519 | 0.026519 | 0.99694 | -0.058654 | 0.99712 | -0.055226 | 7.2854
21 | 0.017766 | 0.0044549 | -0.01776 | -0.0044511 | 6.5711e-06 | 3.8807e-06 | 0.026519 | 0.026519 | 0.026519 | 0.99694 | -0.058654 | 0.99654 | -0.066417 | 7.2854
22 | 0.12371 | 0.031142 | -0.12366 | -0.031109 | 5.2534e-05 | 3.3568e-05 | 0.18467 | 0.18467 | 0.18467 | 0.99712 | -0.055226 | 0.99666 | -0.064114 | 50.7325
23 | -0.14148 | -0.035599 | 0.14156 | 0.035648 | 7.7668e-05 | 4.9465e-05 | 0.21119 | 0.21118 | 0.21119 | 0.99712 | -0.055226 | 0.99772 | -0.043745 | 29.0089
24 | 0.11307 | 0.02846 | -0.11305 | -0.028448 | 1.811e-05 | 1.1568e-05 | 0.16855 | 0.16855 | 0.16855 | 0.9985 | -0.028799 | 0.99832 | -0.032151 | 46.3046
25 | -0.17191 | -0.043295 | 0.17198 | 0.043339 | 6.8725e-05 | 4.3838e-05 | 0.25626 | 0.25626 | 0.25626 | 0.9985 | -0.028799 | 0.99893 | -0.020442 | 35.2004
26 | 0.038501 | 0.0096662 | -0.038464 | -0.0096428 | 3.7134e-05 | 2.3373e-05 | 0.057392 | 0.057392 | 0.057392 | 0.99832 | -0.032151 | 0.99727 | -0.05239 | 15.7672
27 | 0.074553 | 0.018782 | -0.07453 | -0.018767 | 2.2866e-05 | 1.457e-05 | 0.11116 | 0.11116 | 0.11116 | 0.99832 | -0.032151 | 0.99799 | -0.038565 | 30.5374
28 | -0.18568 | -0.046774 | 0.18586 | 0.04689 | 0.00018173 | 0.00011597 | 0.27668 | 0.27668 | 0.27668 | 0.99893 | -0.020442 | 1 | 0 | 38.0051
29 | 0.059932 | 0.015072 | -0.059816 | -0.014998 | 0.00011589 | 7.367e-05 | 0.089497 | 0.089498 | 0.089498 | 0.99666 | -0.064114 | 0.99455 | -0.10469 | 24.5873
30 | -0.15312 | -0.038545 | 0.15323 | 0.038618 | 0.0001145 | 7.2974e-05 | 0.22842 | 0.22842 | 0.22842 | 0.99772 | -0.043745 | 0.99853 | -0.028113 | 31.3765
31 | 0.024184 | 0.0060678 | -0.024167 | -0.0060574 | 1.695e-05 | 1.0401e-05 | 0.036186 | 0.036186 | 0.036186 | 0.99455 | -0.10469 | 0.99379 | -0.1194 | 9.9413
32 | 0.045785 | 0.011511 | -0.045772 | -0.011503 | 1.3024e-05 | 8.2393e-06 | 0.068462 | 0.068462 | 0.068462 | 0.99531 | -0.090059 | 0.995 | -0.096018 | 18.8083
33 | 0.0056229 | 0.0014091 | -0.0056225 | -0.001409 | 4.0092e-07 | 6.1524e-08 | 0.0084229 | 0.008423 | 0.008423 | 0.99335 | -0.12786 | 0.99328 | -0.12936 | 2.314
34 | -0.0056229 | -0.0014091 | 0.0056235 | 0.0014092 | 5.8711e-07 | 9.0034e-08 | 0.0084229 | 0.0084228 | 0.0084229 | 0.99335 | -0.12786 | 0.99347 | -0.12567 | 2.314
35 | 0.0056225 | 0.001409 | -0.0056215 | -0.0014089 | 1.0446e-06 | 1.6046e-07 | 0.008423 | 0.0084232 | 0.0084232 | 0.99328 | -0.12936 | 0.99308 | -0.13326 | 2.3141
36 | -0.0097231 | -0.0024366 | 0.009726 | 0.002438 | 2.9065e-06 | 1.3868e-06 | 0.014563 | 0.014563 | 0.014563 | 0.99347 | -0.12567 | 0.99379 | -0.1194 | 4.0009
37 | 0.020156 | 0.0050579 | -0.020144 | -0.0050504 | 1.2425e-05 | 7.4732e-06 | 0.030055 | 0.030055 | 0.030055 | 0.99799 | -0.038565 | 0.99732 | -0.051501 | 8.257
38 | 0.054374 | 0.013709 | -0.054333 | -0.013683 | 4.0738e-05 | 2.5857e-05 | 0.081101 | 0.081101 | 0.081101 | 0.99799 | -0.038565 | 0.99717 | -0.054233 | 22.2805
39 | 0.016246 | 0.0040736 | -0.01624 | -0.0040702 | 5.7475e-06 | 3.3382e-06 | 0.02424 | 0.02424 | 0.02424 | 0.99732 | -0.051501 | 0.99693 | -0.058928 | 6.6594
40 | 0.052556 | 0.013238 | -0.052517 | -0.013213 | 3.9116e-05 | 2.4813e-05 | 0.078449 | 0.078449 | 0.078449 | 0.99717 | -0.054233 | 0.99636 | -0.069809 | 21.5519
41 | -0.014249 | -0.0035725 | 0.014249 | 0.0035727 | 4.4235e-07 | 2.4969e-07 | 0.021362 | 0.021362 | 0.021362 | 0.99258 | -0.14281 | 0.99261 | -0.14216 | 5.8686
42 | 0.014249 | 0.0035725 | -0.014248 | -0.0035721 | 5.7644e-07 | 3.2539e-07 | 0.021362 | 0.021362 | 0.021362 | 0.99258 | -0.14281 | 0.99253 | -0.14366 | 5.8686
43 | 0.010985 | 0.0027537 | -0.010982 | -0.0027522 | 2.7934e-06 | 1.4328e-06 | 0.016467 | 0.016467 | 0.016467 | 0.99261 | -0.14216 | 0.99234 | -0.1475 | 4.524
44 | -0.025234 | -0.0063264 | 0.025244 | 0.0063324 | 9.7659e-06 | 6.0148e-06 | 0.037829 | 0.037829 | 0.037829 | 0.99261 | -0.14216 | 0.99303 | -0.13404 | 10.3925
45 | 0.012811 | 0.0032118 | -0.012807 | -0.0032097 | 3.8996e-06 | 2.1316e-06 | 0.019206 | 0.019207 | 0.019207 | 0.99253 | -0.14366 | 0.9922 | -0.15005 | 5.2765
46 | 0.0059495 | 0.0014911 | -0.0059489 | -0.0014909 | 5.552e-07 | 1.1512e-07 | 0.0089221 | 0.0089221 | 0.0089221 | 0.99225 | -0.14919 | 0.99215 | -0.15115 | 2.4511
47 | -0.0059495 | -0.0014911 | 0.00595 | 0.0014912 | 4.7859e-07 | 9.919e-08 | 0.0089221 | 0.008922 | 0.0089221 | 0.99225 | -0.14919 | 0.99234 | -0.1475 | 2.4511
48 | -0.032157 | -0.0080651 | 0.032179 | 0.0080785 | 2.1499e-05 | 1.344e-05 | 0.048188 | 0.048188 | 0.048188 | 0.99303 | -0.13404 | 0.99376 | -0.12003 | 13.2386
49 | -0.0038475 | -0.00096428 | 0.0038477 | 0.00096419 | 2.1361e-07 | -8.6521e-08 | 0.0057556 | 0.0057555 | 0.0057556 | 0.99472 | -0.10151 | 0.99478 | -0.10034 | 1.5812
50 | 0.031131 | 0.0078109 | -0.031117 | -0.0078024 | 1.3763e-05 | 8.5898e-06 | 0.046622 | 0.046622 | 0.046622 | 0.99366 | -0.12197 | 0.99318 | -0.13124 | 12.8083
51 | 0.031387 | 0.0078691 | -0.031384 | -0.0078677 | 2.2825e-06 | 1.4246e-06 | 0.046833 | 0.046833 | 0.046833 | 0.99727 | -0.05239 | 0.99719 | -0.053916 | 12.8661
52 | 0.16446 | 0.041517 | -0.16424 | -0.041376 | 0.00022116 | 0.00014103 | 0.24482 | 0.24482 | 0.24482 | 1 | 0 | 0.99853 | -0.028113 | 33.6295
53 | 0.040168 | 0.010098 | -0.040148 | -0.010086 | 1.9803e-05 | 1.2484e-05 | 0.060082 | 0.060082 | 0.060082 | 0.995 | -0.096018 | 0.99446 | -0.10635 | 16.5061
54 | 0.040148 | 0.010086 | -0.040122 | -0.010069 | 2.6193e-05 | 1.6513e-05 | 0.060082 | 0.060082 | 0.060082 | 0.99446 | -0.10635 | 0.99376 | -0.12003 | 16.5061
55 | 0.0063839 | 0.0016 | -0.006383 | -0.0015997 | 9.0961e-07 | 2.3387e-07 | 0.0095286 | 0.0095287 | 0.0095287 | 0.99693 | -0.058928 | 0.99678 | -0.061919 | 2.6178
56 | -0.0078335 | -0.0019633 | 0.0078347 | 0.0019637 | 1.1348e-06 | 4.3791e-07 | 0.011695 | 0.011695 | 0.011695 | 0.99666 | -0.064191 | 0.99682 | -0.061151 | 3.213
57 | -0.013927 | -0.0034905 | 0.01393 | 0.0034923 | 3.2366e-06 | 1.811e-06 | 0.020789 | 0.020789 | 0.020789 | 0.99682 | -0.061151 | 0.99707 | -0.056274 | 5.7114
58 | -0.0086524 | -0.0021685 | 0.0086533 | 0.0021689 | 9.3805e-07 | 4.0779e-07 | 0.012965 | 0.012965 | 0.012965 | 0.99306 | -0.13352 | 0.99318 | -0.13124 | 3.5618
59 | 0.022464 | 0.0056335 | -0.022455 | -0.0056281 | 8.768e-06 | 5.3445e-06 | 0.033657 | 0.033657 | 0.033657 | 0.99318 | -0.13124 | 0.99275 | -0.13944 | 9.2465
60 | -0.016471 | -0.004128 | 0.016472 | 0.0041286 | 1.1165e-06 | 6.5142e-07 | 0.02469 | 0.02469 | 0.02469 | 0.99268 | -0.14086 | 0.99275 | -0.13944 | 6.7829
61 | 0.021902 | 0.0054912 | -0.021899 | -0.0054897 | 2.4602e-06 | 1.4944e-06 | 0.032683 | 0.032683 | 0.032683 | 0.99719 | -0.053916 | 0.99707 | -0.056274 | 8.9788

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36475 | 0.091611

## res_load
| p_mw | q_mvar
0 | 0.00128 | 0.0003208
1 | 0.036241 | 0.0090828
2 | 0.0082256 | 0.0020615
3 | 0.0036977 | 0.00092674
4 | 0.0033338 | 0.00083552
5 | 0.001238 | 0.00031027
6 | 0.0047786 | 0.0011976
7 | 0.01776 | 0.0044511
8 | 0.012851 | 0.0032207
9 | 0.013707 | 0.0034353
10 | 0.011557 | 0.0028964
11 | 0.035632 | 0.0089302
12 | 0.0074481 | 0.0018667
13 | 0.0040996 | 0.0010275
14 | 0.0056215 | 0.0014089
15 | 0.0038976 | 0.00097684
16 | 0.0017773 | 0.00044543
17 | 0.0014376 | 0.0003603
18 | 0.0059489 | 0.0014909
19 | 0.0050318 | 0.0012611
20 | 0.0069136 | 0.0017327
21 | 0.0038475 | 0.00096428
22 | 0.0030152 | 0.00075568
23 | 0.0048158 | 0.001207
24 | 0.001325 | 0.00033208
25 | 0.0056394 | 0.0014134
26 | 0.0070771 | 0.0017737
27 | 0.012783 | 0.0032036
28 | 0.011007 | 0.0027585
29 | 0.014441 | 0.0036193
30 | 0.0056035 | 0.0014044
31 | 0.012807 | 0.0032097
32 | 0.0079432 | 0.0019908
33 | 0.0098564 | 0.0024703
34 | 0.0078335 | 0.0019633
35 | 0.006092 | 0.0015268
36 | 0.006383 | 0.0015997
37 | 0.0086524 | 0.0021685
38 | 0.016471 | 0.004128
39 | 0.005983 | 0.0014995
40 | 0.0094825 | 0.0023765
41 | 0.0079696 | 0.0019974

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1