## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-69_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-69_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-69_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-69_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-69_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_261-69_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-69_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-69_0_6_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_261-69_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-69_0_6_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_261-69_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-69_0_6_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_261-69_0_6_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_261-69_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_261-69_0_6_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_261-69_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_261-69_0_6_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_261-69_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-69_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_261-69_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-69_0_6_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_261-69_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_261-69_0_6_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_261-69_0_6_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-69_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_261-69_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_261-69_0_6_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_261-69_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-69_0_6_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_261-69_0_6_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_261-69_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_261-69_0_6_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_261-69_0_6_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_261-69_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-69_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_261-69_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_261-69_0_6_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_261-69_0_6_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_261-69_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_261-69_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_261-69_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_261-69_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_261-69_0_6_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_261-69_0_6_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_261-69_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_261-69_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_261-69_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_261-69_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_261-69_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_261-69_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_261-69_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_261-69_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_MV_524_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-69_0_6_load_0 | 0 | 0.0029908 | 0.00074957 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-69_0_6_load_3 | 3 | 0.047017 | 0.011784 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-69_0_6_load_43 | 7 | 0.035998 | 0.009022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-69_0_6_load_45 | 9 | 0.040333 | 0.010108 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-69_0_6_load_44 | 12 | 0.055841 | 0.013995 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-69_0_6_load_47 | 14 | 0.0049956 | 0.001252 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-69_0_6_load_48 | 20 | 0.040646 | 0.010187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-69_0_6_load_55 | 22 | 0.022819 | 0.0057189 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-69_0_6_load_46 | 23 | 0.098811 | 0.024764 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-69_0_6_load_52 | 26 | 0.0063453 | 0.0015903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-69_0_6_load_30 | 28 | 0.011438 | 0.0028667 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-69_0_6_load_54 | 29 | 0.08389 | 0.021025 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-69_0_6_load_56 | 31 | 0.00092437 | 0.00023167 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-69_0_6_load_50 | 32 | 0.0044529 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-69_0_6_load_29 | 33 | 0.00061276 | 0.00015357 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-69_0_6_load_53 | 37 | 0.064964 | 0.016282 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-69_0_6_load_34 | 40 | 0.0093486 | 0.002343 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-69_0_6_load_51 | 42 | 0.0042798 | 0.0010726 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-69_0_6_load_49 | 43 | 0.004403 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-69_0_6_load_37 | 44 | 0.0055262 | 0.001385 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-69_0_6_load_39 | 45 | 0.0019546 | 0.00048986 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-69_0_6_load_32 | 46 | 0.01369 | 0.0034311 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-69_0_6_load_33 | 47 | 0.0069279 | 0.0017363 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-69_0_6_load_35 | 48 | 0.00943 | 0.0023634 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-69_0_6_load_36 | 49 | 0.0019546 | 0.00048986 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-69_0_6_line_0 |  | 0 | 1 | 0.040231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-69_0_6_line_1 |  | 0 | 2 | 0.057592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-69_0_6_line_2 |  | 1 | 3 | 0.045851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-69_0_6_line_3 |  | 2 | 4 | 0.009975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-69_0_6_line_4 |  | 3 | 5 | 0.056679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-69_0_6_line_5 |  | 4 | 12 | 0.042618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-69_0_6_line_6 |  | 4 | 8 | 0.10189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-69_0_6_line_7 |  | 5 | 6 | 0.06285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-69_0_6_line_8 |  | 6 | 7 | 0.029105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-69_0_6_line_9 |  | 8 | 9 | 0.020737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-69_0_6_line_10 |  | 10 | 11 | 0.098944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-69_0_6_line_11 |  | 10 | 12 | 0.049025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-69_0_6_line_12 |  | 11 | 23 | 0.046219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-69_0_6_line_13 |  | 11 | 13 | 0.025079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-69_0_6_line_14 |  | 13 | 14 | 0.029482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-69_0_6_line_15 |  | 14 | 15 | 0.028335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-69_0_6_line_16 |  | 15 | 16 | 0.075797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-69_0_6_line_17 |  | 16 | 37 | 0.018668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-69_0_6_line_18 |  | 17 | 18 | 0.11209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_261-69_0_6_line_19 |  | 17 | 19 | 0.039825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-69_0_6_line_20 |  | 17 | 20 | 0.05004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-69_0_6_line_21 |  | 18 | 29 | 0.027171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-69_0_6_line_22 |  | 19 | 21 | 0.044902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-69_0_6_line_23 |  | 19 | 22 | 0.036848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-69_0_6_line_24 |  | 20 | 41 | 0.034702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-69_0_6_line_25 |  | 21 | 33 | 0.023373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-69_0_6_line_26 |  | 21 | 30 | 0.011723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-69_0_6_line_27 |  | 24 | 25 | 0.004871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-69_0_6_line_28 |  | 24 | 26 | 0.0098298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-69_0_6_line_29 |  | 25 | 32 | 0.021727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-69_0_6_line_30 |  | 25 | 27 | 0.030096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-69_0_6_line_31 |  | 26 | 42 | 0.012821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-69_0_6_line_32 |  | 27 | 28 | 0.019735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-69_0_6_line_33 |  | 28 | 39 | 0.050281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-69_0_6_line_34 |  | 30 | 31 | 0.026839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-69_0_6_line_35 |  | 32 | 43 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-69_0_6_line_36 |  | 34 | 35 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-69_0_6_line_37 |  | 34 | 36 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_261-69_0_6_line_38 |  | 34 | 37 | 0.016177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-69_0_6_line_39 |  | 35 | 44 | 0.0050975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-69_0_6_line_40 |  | 36 | 45 | 0.02755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-69_0_6_line_41 |  | 36 | 41 | 0.009469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_261-69_0_6_line_42 |  | 38 | 39 | 0.004184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-69_0_6_line_43 |  | 38 | 40 | 0.041769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-69_0_6_line_44 |  | 39 | 46 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-69_0_6_line_45 |  | 40 | 47 | 0.0036741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-69_0_6_line_46 |  | 45 | 51 | 0.018408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-69_0_6_line_47 |  | 47 | 48 | 0.0078989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-69_0_6_line_48 |  | 48 | 49 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-69_0_6_line_49 |  | 49 | 50 | 0.010414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-69_0_6_line_50 |  | 50 | 51 | 0.001208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-69_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 52 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2682956.7142 | 1252089.9876 | 2682959.8876 | 1252130.0937
1 | 2682963.8384 | 1252187.5493 | 2682962.4997 | 1252165.6586 | 2682960.4462 | 1252137.1529 | 2682959.8876 | 1252130.0937
2 | 2682956.7142 | 1252089.9876 | 2682910.9777 | 1252093.2259
3 | 2682963.8384 | 1252187.5493 | 2682969.3762 | 1252187.1599 | 2682973.7884 | 1252186.8436
4 | 2682854.4405 | 1252097.2289 | 2682910.9777 | 1252093.2259
5 | 2682973.7884 | 1252186.8436 | 2683016.3004 | 1252183.8406
6 | 2682973.7884 | 1252186.8436 | 2682978.7813 | 1252258.1892 | 2683009.0887 | 1252256.2567
7 | 2682854.4405 | 1252097.2289 | 2682852.4338 | 1252062.6305 | 2682880.5482 | 1252060.522
8 | 2682880.5482 | 1252060.522 | 2682879.6114 | 1252047.6437 | 2682895.7622 | 1252046.4764
9 | 2683009.0887 | 1252256.2567 | 2683009.2264 | 1252261.507 | 2683009.6336 | 1252269.6076 | 2683010.0574 | 1252276.9693
10 | 2683065.204 | 1252180.3861 | 2683064.3309 | 1252166.7637 | 2683149.4152 | 1252160.7969
11 | 2683065.204 | 1252180.3861 | 2683016.3004 | 1252183.8406
12 | 2683149.4152 | 1252160.7969 | 2683152.2467 | 1252206.9289
13 | 2683149.4152 | 1252160.7969 | 2683174.4992 | 1252158.9364
14 | 2683174.4992 | 1252158.9364 | 2683203.9154 | 1252156.9627
15 | 2683232.1868 | 1252155.0657 | 2683203.9154 | 1252156.9627
16 | 2683232.1868 | 1252155.0657 | 2683232.6293 | 1252163.8563 | 2683241.5825 | 1252163.1927 | 2683247.8697 | 1252162.6472 | 2683248.1588 | 1252166.2429 | 2683247.6895 | 1252174.9317 | 2683253.0307 | 1252174.5731 | 2683270.9208 | 1252173.3236 | 2683280.7267 | 1252171.0597 | 2683286.7624 | 1252170.6887
17 | 2683286.7624 | 1252170.6887 | 2683295.2576 | 1252173.6103 | 2683304.9275 | 1252173.0804
18 | 2683233.6955 | 1252017.6617 | 2683235.1868 | 1252034.5286 | 2683237.4986 | 1252039.7428 | 2683240.3118 | 1252042.0396 | 2683247.4697 | 1252042.3848 | 2683248.0231 | 1252052.9561 | 2683308.4977 | 1252050.6375 | 2683309.0257 | 1252058.1728
19 | 2683309.0257 | 1252058.1728 | 2683320.0641 | 1252057.3719 | 2683319.4709 | 1252050.1803 | 2683334.0994 | 1252049.5745 | 2683333.8794 | 1252042.6773
20 | 2683309.0257 | 1252058.1728 | 2683309.5496 | 1252065.4634 | 2683311.5773 | 1252094.08 | 2683313.6758 | 1252100.5033 | 2683314.2481 | 1252107.7658
21 | 2683249.8183 | 1252000.4197 | 2683244.9362 | 1251998.7165 | 2683233.6955 | 1252017.6617
22 | 2683333.8794 | 1252042.6773 | 2683334.0994 | 1252049.5745 | 2683336.4027 | 1252049.4846 | 2683336.8223 | 1252056.1399 | 2683365.7871 | 1252054.2236
23 | 2683307.4326 | 1252020.6556 | 2683333.6743 | 1252036.3363 | 2683333.8794 | 1252042.6773
24 | 2683317.9954 | 1252142.173 | 2683316.5769 | 1252137.3161 | 2683314.2481 | 1252107.7658
25 | 2683365.7871 | 1252054.2236 | 2683367.3806 | 1252077.5427
26 | 2683365.7871 | 1252054.2236 | 2683377.5195 | 1252053.4548
27 | 2683439.8566 | 1252033.5951 | 2683441.1065 | 1252034.8803 | 2683443.9814 | 1252036.0105
28 | 2683439.8566 | 1252033.5951 | 2683438.7863 | 1252029.21 | 2683438.6161 | 1252023.8968
29 | 2683443.9814 | 1252036.0105 | 2683446.5529 | 1252036.1691 | 2683457.0923 | 1252035.4392 | 2683465.6576 | 1252034.8425
30 | 2683430.015 | 1252053.9051 | 2683436.0503 | 1252053.5787 | 2683441.5189 | 1252053.2888 | 2683442.7243 | 1252051.838 | 2683444.3321 | 1252050.7598 | 2683444.1578 | 1252043.3074 | 2683443.9814 | 1252036.0105
31 | 2683438.2057 | 1252011.0824 | 2683438.6161 | 1252023.8968
32 | 2683430.015 | 1252053.9051 | 2683431.2644 | 1252056.3022 | 2683431.5278 | 1252057.9627 | 2683432.1933 | 1252073.2987
33 | 2683431.6458 | 1252122.9798 | 2683432.6361 | 1252121.7929 | 2683433.7638 | 1252118.8955 | 2683433.4542 | 1252105.5144 | 2683433.2998 | 1252098.7961 | 2683432.1933 | 1252073.2987
34 | 2683385.5664 | 1252073.2162 | 2683379.0979 | 1252073.7589 | 2683377.5195 | 1252053.4548
35 | 2683475.8928 | 1252034.1295 | 2683465.6576 | 1252034.8425
36 | 2683321.0502 | 1252171.816 | 2683332.2631 | 1252170.9396 | 2683334.4383 | 1252170.8368 | 2683336.7932 | 1252172.4378 | 2683341.1465 | 1252169.8749
37 | 2683321.0502 | 1252171.816 | 2683319.5193 | 1252151.3457
38 | 2683321.0502 | 1252171.816 | 2683312.857 | 1252172.6458 | 2683304.9275 | 1252173.0804
39 | 2683341.1465 | 1252169.8749 | 2683341.9936 | 1252170.8208 | 2683343.2349 | 1252171.1052 | 2683344.4044 | 1252170.599 | 2683345.0539 | 1252169.4962
40 | 2683319.5193 | 1252151.3457 | 2683337.9036 | 1252151.9936 | 2683344.4692 | 1252145.6145
41 | 2683319.5193 | 1252151.3457 | 2683318.5234 | 1252149.7083 | 2683317.9954 | 1252142.173
42 | 2683431.4209 | 1252127.1576 | 2683431.6458 | 1252122.9798
43 | 2683431.4209 | 1252127.1576 | 2683408.8617 | 1252128.7189 | 2683400.4385 | 1252129.2564 | 2683389.7499 | 1252130.0119
44 | 2683431.6458 | 1252122.9798 | 2683429.7694 | 1252123.8429 | 2683415.451 | 1252124.7431
45 | 2683386.0849 | 1252130.2709 | 2683389.7499 | 1252130.0119
46 | 2683349.5697 | 1252132.8656 | 2683343.5255 | 1252133.3031 | 2683343.7236 | 1252135.8523 | 2683344.4692 | 1252145.6145
47 | 2683386.0849 | 1252130.2709 | 2683378.2057 | 1252130.8278
48 | 2683361.166 | 1252132.0439 | 2683371.1851 | 1252131.3241 | 2683378.2057 | 1252130.8278
49 | 2683350.7785 | 1252132.7825 | 2683359.1496 | 1252132.1887 | 2683361.166 | 1252132.0439
50 | 2683350.7785 | 1252132.7825 | 2683349.5697 | 1252132.8656

## bus_geodata
| x | y | coords
0 | 2682959.8876 | 1252130.0937
1 | 2682956.7142 | 1252089.9876
2 | 2682963.8384 | 1252187.5493
3 | 2682910.9777 | 1252093.2259
4 | 2682973.7884 | 1252186.8436
5 | 2682854.4405 | 1252097.2289
6 | 2682880.5482 | 1252060.522
7 | 2682895.7622 | 1252046.4764
8 | 2683009.0887 | 1252256.2567
9 | 2683010.0574 | 1252276.9693
10 | 2683065.204 | 1252180.3861
11 | 2683149.4152 | 1252160.7969
12 | 2683016.3004 | 1252183.8406
13 | 2683174.4992 | 1252158.9364
14 | 2683203.9154 | 1252156.9627
15 | 2683232.1868 | 1252155.0657
16 | 2683286.7624 | 1252170.6887
17 | 2683309.0257 | 1252058.1728
18 | 2683233.6955 | 1252017.6617
19 | 2683333.8794 | 1252042.6773
20 | 2683314.2481 | 1252107.7658
21 | 2683365.7871 | 1252054.2236
22 | 2683307.4326 | 1252020.6556
23 | 2683152.2467 | 1252206.9289
24 | 2683439.8566 | 1252033.5951
25 | 2683443.9814 | 1252036.0105
26 | 2683438.6161 | 1252023.8968
27 | 2683430.015 | 1252053.9051
28 | 2683432.1933 | 1252073.2987
29 | 2683249.8183 | 1252000.4197
30 | 2683377.5195 | 1252053.4548
31 | 2683385.5664 | 1252073.2162
32 | 2683465.6576 | 1252034.8425
33 | 2683367.3806 | 1252077.5427
34 | 2683321.0502 | 1252171.816
35 | 2683341.1465 | 1252169.8749
36 | 2683319.5193 | 1252151.3457
37 | 2683304.9275 | 1252173.0804
38 | 2683431.4209 | 1252127.1576
39 | 2683431.6458 | 1252122.9798
40 | 2683389.7499 | 1252130.0119
41 | 2683317.9954 | 1252142.173
42 | 2683438.2057 | 1252011.0824
43 | 2683475.8928 | 1252034.1295
44 | 2683345.0539 | 1252169.4962
45 | 2683344.4692 | 1252145.6145
46 | 2683415.451 | 1252124.7431
47 | 2683386.0849 | 1252130.2709
48 | 2683378.2057 | 1252130.8278
49 | 2683361.166 | 1252132.0439
50 | 2683350.7785 | 1252132.7825
51 | 2683349.5697 | 1252132.8656
52 | 2683149.4152 | 1252160.7969

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98243 | -0.33606 | 0.0029908 | 0.00074957
1 | 0.97932 | -0.39657 | 0 | 0
2 | 0.98705 | -0.24702 | 0 | 0
3 | 0.97578 | -0.46599 | 0.047017 | 0.011784
4 | 0.98785 | -0.23168 | 0 | 0
5 | 0.97387 | -0.50342 | 0 | 0
6 | 0.97176 | -0.54509 | 0 | 0
7 | 0.97078 | -0.56445 | 0.035998 | 0.009022
8 | 0.98406 | -0.30537 | 0 | 0
9 | 0.98329 | -0.32043 | 0.040333 | 0.010108
10 | 0.99227 | -0.14682 | 0 | 0
11 | 0.99784 | -0.041036 | 0 | 0
12 | 0.98952 | -0.19968 | 0.055841 | 0.013995
13 | 1 | 0 | -0.59099 | -0.15146
14 | 0.99728 | -0.051295 | 0.0049956 | 0.001252
15 | 0.9947 | -0.10003 | 0 | 0
16 | 0.98782 | -0.23163 | 0 | 0
17 | 0.97984 | -0.38624 | 0 | 0
18 | 0.97546 | -0.47198 | 0 | 0
19 | 0.97894 | -0.40387 | 0 | 0
20 | 0.98152 | -0.35351 | 0.040646 | 0.010187
21 | 0.97888 | -0.40512 | 0 | 0
22 | 0.97817 | -0.41917 | 0.022819 | 0.0057189
23 | 0.99367 | -0.12132 | 0.098811 | 0.024764
24 | 0.97359 | -0.50912 | 0 | 0
25 | 0.97364 | -0.50816 | 0 | 0
26 | 0.97349 | -0.51104 | 0.0063453 | 0.0015903
27 | 0.97418 | -0.49739 | 0 | 0
28 | 0.97454 | -0.49033 | 0.011438 | 0.0028667
29 | 0.97334 | -0.51382 | 0.08389 | 0.021025
30 | 0.97887 | -0.40532 | 0 | 0
31 | 0.97885 | -0.40577 | 0.00092437 | 0.00023167
32 | 0.97346 | -0.5117 | 0.0044529 | 0.001116
33 | 0.97887 | -0.40538 | 0.00061276 | 0.00015357
34 | 0.98498 | -0.28645 | 0 | 0
35 | 0.98487 | -0.28857 | 0 | 0
36 | 0.98356 | -0.31393 | 0 | 0
37 | 0.98613 | -0.26433 | 0.064964 | 0.016282
38 | 0.97616 | -0.45842 | 0 | 0
39 | 0.97599 | -0.46184 | 0 | 0
40 | 0.9779 | -0.4244 | 0.0093486 | 0.002343
41 | 0.98313 | -0.3224 | 0 | 0
42 | 0.97344 | -0.51205 | 0.0042798 | 0.0010726
43 | 0.97342 | -0.51253 | 0.004403 | 0.0011035
44 | 0.98485 | -0.28908 | 0.0055262 | 0.001385
45 | 0.98166 | -0.35084 | 0.0019546 | 0.00048986
46 | 0.97578 | -0.46595 | 0.01369 | 0.0034311
47 | 0.97808 | -0.42078 | 0.0069279 | 0.0017363
48 | 0.97853 | -0.41202 | 0.00943 | 0.0023634
49 | 0.97964 | -0.39018 | 0.0019546 | 0.00048986
50 | 0.98034 | -0.37652 | 0 | 0
51 | 0.98042 | -0.37494 | 0 | 0
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.083705 | 0.021244 | -0.083462 | -0.021089 | 0.00024286 | 0.00015492 | 0.12688 | 0.12688 | 0.12688 | 0.98243 | -0.33606 | 0.97932 | -0.39657 | 34.8562
1 | -0.086696 | -0.021993 | 0.087068 | 0.022231 | 0.00037293 | 0.00023794 | 0.13141 | 0.13141 | 0.13141 | 0.98243 | -0.33606 | 0.98705 | -0.24702 | 36.1007
2 | 0.083462 | 0.021089 | -0.083185 | -0.020912 | 0.00027679 | 0.00017657 | 0.12688 | 0.12688 | 0.12688 | 0.97932 | -0.39657 | 0.97578 | -0.46599 | 34.8563
3 | -0.087068 | -0.022231 | 0.087133 | 0.022273 | 6.4591e-05 | 4.1211e-05 | 0.13141 | 0.13141 | 0.13141 | 0.98705 | -0.24702 | 0.98785 | -0.23168 | 36.1006
4 | 0.036168 | 0.0091288 | -0.036103 | -0.0090881 | 6.4712e-05 | 4.0709e-05 | 0.055178 | 0.055178 | 0.055178 | 0.97578 | -0.46599 | 0.97387 | -0.50342 | 15.1588
5 | -0.12764 | -0.032489 | 0.12783 | 0.032614 | 0.00019729 | 0.00012462 | 0.19244 | 0.19244 | 0.19244 | 0.98785 | -0.23168 | 0.98952 | -0.19968 | 17.6229
6 | 0.040505 | 0.010217 | -0.040362 | -0.010127 | 0.00014234 | 8.98e-05 | 0.061036 | 0.061036 | 0.061036 | 0.98785 | -0.23168 | 0.98406 | -0.30537 | 16.7683
7 | 0.036103 | 0.0090881 | -0.036032 | -0.0090429 | 7.1758e-05 | 4.5145e-05 | 0.055178 | 0.055178 | 0.055178 | 0.97387 | -0.50342 | 0.97176 | -0.54509 | 15.1589
8 | 0.036032 | 0.0090429 | -0.035998 | -0.009022 | 3.3231e-05 | 2.0908e-05 | 0.055178 | 0.055179 | 0.055179 | 0.97176 | -0.54509 | 0.97078 | -0.56445 | 15.1589
9 | 0.040362 | 0.010127 | -0.040333 | -0.010108 | 2.897e-05 | 1.8278e-05 | 0.061036 | 0.061037 | 0.061037 | 0.98406 | -0.30537 | 0.98329 | -0.32043 | 16.7683
10 | -0.18414 | -0.046907 | 0.18509 | 0.047507 | 0.00094495 | 0.00060091 | 0.27641 | 0.27641 | 0.27641 | 0.99227 | -0.14682 | 0.99784 | -0.041036 | 25.3125
11 | 0.18414 | 0.046907 | -0.18368 | -0.046609 | 0.00046822 | 0.00029776 | 0.27641 | 0.27641 | 0.27641 | 0.99227 | -0.14682 | 0.98952 | -0.19968 | 25.3125
12 | 0.099191 | 0.025007 | -0.098811 | -0.024764 | 0.00037948 | 0.00024227 | 0.14797 | 0.14797 | 0.14797 | 0.99784 | -0.041036 | 0.99367 | -0.12132 | 40.651
13 | -0.28428 | -0.072514 | 0.28484 | 0.072874 | 0.00056458 | 0.00036035 | 0.42438 | 0.42438 | 0.42438 | 0.99784 | -0.041036 | 1 | 0 | 38.8626
14 | 0.30449 | 0.078586 | -0.30373 | -0.078101 | 0.00075926 | 0.00048477 | 0.4539 | 0.4539 | 0.4539 | 1 | 0 | 0.99728 | -0.051295 | 41.5659
15 | 0.29874 | 0.076849 | -0.29803 | -0.076398 | 0.00070594 | 0.0004507 | 0.44645 | 0.44645 | 0.44645 | 0.99728 | -0.051295 | 0.9947 | -0.10003 | 40.8833
16 | 0.29803 | 0.076398 | -0.29614 | -0.075193 | 0.0018884 | 0.0012057 | 0.44645 | 0.44645 | 0.44645 | 0.9947 | -0.10003 | 0.98782 | -0.23163 | 40.8834
17 | 0.29614 | 0.075193 | -0.29568 | -0.074896 | 0.0004651 | 0.00029695 | 0.44645 | 0.44645 | 0.44645 | 0.98782 | -0.23163 | 0.98613 | -0.26433 | 40.8834
18 | 0.084403 | 0.02135 | -0.084058 | -0.021132 | 0.00034569 | 0.00021843 | 0.12825 | 0.12825 | 0.12825 | 0.97984 | -0.38624 | 0.97546 | -0.47198 | 17.6166
19 | 0.024393 | 0.0061257 | -0.024373 | -0.0061131 | 2.0499e-05 | 1.2618e-05 | 0.037048 | 0.037049 | 0.037049 | 0.97984 | -0.38624 | 0.97894 | -0.40387 | 10.1782
20 | -0.1088 | -0.027476 | 0.10897 | 0.027583 | 0.0001709 | 0.00010748 | 0.1653 | 0.1653 | 0.1653 | 0.97984 | -0.38624 | 0.98152 | -0.35351 | 15.137
21 | 0.084058 | 0.021132 | -0.08389 | -0.021025 | 0.00016759 | 0.00010692 | 0.12825 | 0.12825 | 0.12825 | 0.97546 | -0.47198 | 0.97334 | -0.51382 | 35.2332
22 | 0.0015373 | 0.00038398 | -0.0015372 | -0.00038449 | 9.191e-08 | -5.0568e-07 | 0.0023362 | 0.0023364 | 0.0023364 | 0.97894 | -0.40387 | 0.97888 | -0.40512 | 0.64187
23 | 0.022835 | 0.0057291 | -0.022819 | -0.0057189 | 1.665e-05 | 1.0193e-05 | 0.034712 | 0.034713 | 0.034713 | 0.97894 | -0.40387 | 0.97817 | -0.41917 | 9.5364
24 | -0.14961 | -0.03777 | 0.14984 | 0.037912 | 0.00022335 | 0.00014163 | 0.22692 | 0.22692 | 0.22692 | 0.98152 | -0.35351 | 0.98313 | -0.3224 | 20.7798
25 | 0.00061277 | 0.00015328 | -0.00061276 | -0.00015357 | 7.6042e-09 | -2.8896e-07 | 0.00093138 | 0.00093148 | 0.00093148 | 0.97888 | -0.40512 | 0.97887 | -0.40538 | 0.2559
26 | 0.0009244 | 0.0002312 | -0.00092439 | -0.00023135 | 8.6788e-09 | -1.4181e-07 | 0.001405 | 0.0014051 | 0.0014051 | 0.97888 | -0.40512 | 0.97887 | -0.40532 | 0.38601
27 | -0.010626 | -0.0026634 | 0.010627 | 0.0026636 | 4.8181e-07 | 2.4778e-07 | 0.016241 | 0.016241 | 0.016241 | 0.97359 | -0.50912 | 0.97364 | -0.50816 | 4.4618
28 | 0.010626 | 0.0026634 | -0.010625 | -0.0026629 | 9.7231e-07 | 5.0005e-07 | 0.016241 | 0.016241 | 0.016241 | 0.97359 | -0.50912 | 0.97349 | -0.51104 | 4.4618
29 | 0.0088576 | 0.0022202 | -0.0088561 | -0.0022195 | 1.4931e-06 | 6.8543e-07 | 0.013537 | 0.013537 | 0.013537 | 0.97364 | -0.50816 | 0.97346 | -0.5117 | 3.719
30 | -0.019484 | -0.0048838 | 0.019494 | 0.0048898 | 1.0008e-05 | 6.0304e-06 | 0.029778 | 0.029778 | 0.029778 | 0.97364 | -0.50816 | 0.97418 | -0.49739 | 8.1808
31 | 0.00428 | 0.0010726 | -0.0042798 | -0.0010726 | 2.0577e-07 | -2.7699e-08 | 0.0065421 | 0.0065422 | 0.0065422 | 0.97349 | -0.51104 | 0.97344 | -0.51205 | 1.7973
32 | -0.019494 | -0.0048898 | 0.019501 | 0.0048938 | 6.5623e-06 | 3.9541e-06 | 0.029778 | 0.029778 | 0.029778 | 0.97418 | -0.49739 | 0.97454 | -0.49033 | 8.1808
33 | -0.030939 | -0.0077604 | 0.030981 | 0.0077867 | 4.2083e-05 | 2.6306e-05 | 0.047243 | 0.047243 | 0.047243 | 0.97454 | -0.49033 | 0.97599 | -0.46184 | 12.9788
34 | 0.00092439 | 0.00023135 | -0.00092437 | -0.00023167 | 1.9872e-08 | -3.2466e-07 | 0.0014051 | 0.0014052 | 0.0014052 | 0.97887 | -0.40532 | 0.97885 | -0.40577 | 0.38605
35 | 0.0044032 | 0.0011035 | -0.004403 | -0.0011035 | 1.743e-07 | -1.5995e-08 | 0.0067307 | 0.0067307 | 0.0067307 | 0.97346 | -0.5117 | 0.97342 | -0.51253 | 1.8491
36 | 0.0055269 | 0.0013851 | -0.0055264 | -0.001385 | 5.5748e-07 | 8.54e-08 | 0.0083495 | 0.0083496 | 0.0083496 | 0.98498 | -0.28645 | 0.98487 | -0.28857 | 2.2938
37 | 0.22494 | 0.057073 | -0.22464 | -0.056883 | 0.00029677 | 0.00018915 | 0.34007 | 0.34007 | 0.34007 | 0.98498 | -0.28645 | 0.98356 | -0.31393 | 31.142
38 | -0.23047 | -0.058458 | 0.23071 | 0.058614 | 0.00024547 | 0.00015648 | 0.34842 | 0.34842 | 0.34842 | 0.98498 | -0.28645 | 0.98613 | -0.26433 | 31.9066
39 | 0.0055264 | 0.001385 | -0.0055262 | -0.001385 | 1.3327e-07 | 2.0425e-08 | 0.0083496 | 0.0083496 | 0.0083496 | 0.98487 | -0.28857 | 0.98485 | -0.28908 | 2.2939
40 | 0.074747 | 0.018933 | -0.074615 | -0.018849 | 0.00013228 | 8.4313e-05 | 0.11316 | 0.11316 | 0.11316 | 0.98356 | -0.31393 | 0.98166 | -0.35084 | 31.0868
41 | 0.1499 | 0.03795 | -0.14984 | -0.037912 | 6.0945e-05 | 3.8645e-05 | 0.22691 | 0.22692 | 0.22692 | 0.98356 | -0.31393 | 0.98313 | -0.3224 | 20.7798
42 | 0.044681 | 0.011224 | -0.044674 | -0.011219 | 7.2806e-06 | 4.6073e-06 | 0.06812 | 0.06812 | 0.06812 | 0.97616 | -0.45842 | 0.97599 | -0.46184 | 18.7142
43 | -0.044681 | -0.011224 | 0.044754 | 0.01127 | 7.2682e-05 | 4.5993e-05 | 0.06812 | 0.068119 | 0.06812 | 0.97616 | -0.45842 | 0.9779 | -0.4244 | 18.7142
44 | 0.013693 | 0.0034326 | -0.01369 | -0.0034311 | 2.6825e-06 | 1.5117e-06 | 0.020877 | 0.020877 | 0.020877 | 0.97599 | -0.46184 | 0.97578 | -0.46595 | 5.7355
45 | -0.054103 | -0.013613 | 0.054112 | 0.013619 | 9.3423e-06 | 5.9329e-06 | 0.082345 | 0.082345 | 0.082345 | 0.9779 | -0.4244 | 0.97808 | -0.42078 | 22.6222
46 | 0.072661 | 0.018359 | -0.072577 | -0.018305 | 8.3818e-05 | 5.3411e-05 | 0.11019 | 0.11019 | 0.11019 | 0.98166 | -0.35084 | 0.98042 | -0.37494 | 30.2729
47 | -0.06104 | -0.015355 | 0.061066 | 0.015371 | 2.5556e-05 | 1.6256e-05 | 0.092885 | 0.092885 | 0.092885 | 0.97808 | -0.42078 | 0.97853 | -0.41202 | 25.5177
48 | -0.070496 | -0.017735 | 0.070569 | 0.017782 | 7.3652e-05 | 4.6922e-05 | 0.10722 | 0.10722 | 0.10722 | 0.97853 | -0.41202 | 0.97964 | -0.39018 | 29.4573
49 | -0.072524 | -0.018272 | 0.072571 | 0.018302 | 4.7419e-05 | 3.0217e-05 | 0.11019 | 0.11019 | 0.11019 | 0.97964 | -0.39018 | 0.98034 | -0.37652 | 30.2729
50 | -0.072571 | -0.018302 | 0.072577 | 0.018305 | 5.5006e-06 | 3.5051e-06 | 0.11019 | 0.11019 | 0.11019 | 0.98034 | -0.37652 | 0.98042 | -0.37494 | 30.2729

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59099 | 0.15146

## res_load
| p_mw | q_mvar
0 | 0.0029908 | 0.00074957
1 | 0.047017 | 0.011784
2 | 0.035998 | 0.009022
3 | 0.040333 | 0.010108
4 | 0.055841 | 0.013995
5 | 0.0049956 | 0.001252
6 | 0.040646 | 0.010187
7 | 0.022819 | 0.0057189
8 | 0.098811 | 0.024764
9 | 0.0063453 | 0.0015903
10 | 0.011438 | 0.0028667
11 | 0.08389 | 0.021025
12 | 0.00092437 | 0.00023167
13 | 0.0044529 | 0.001116
14 | 0.00061276 | 0.00015357
15 | 0.064964 | 0.016282
16 | 0.0093486 | 0.002343
17 | 0.0042798 | 0.0010726
18 | 0.004403 | 0.0011035
19 | 0.0055262 | 0.001385
20 | 0.0019546 | 0.00048986
21 | 0.01369 | 0.0034311
22 | 0.0069279 | 0.0017363
23 | 0.00943 | 0.0023634
24 | 0.0019546 | 0.00048986

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1