## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-706_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-706_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-706_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-706_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-706_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-706_0_6_node_88 | 0.4 | n |  | TRUE
6 | bus_LV_261-706_0_6_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_261-706_0_6_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_261-706_0_6_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_261-706_0_6_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_261-706_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-706_0_6_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_261-706_0_6_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_261-706_0_6_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_261-706_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_261-706_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-706_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_261-706_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-706_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-706_0_6_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_261-706_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_261-706_0_6_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_261-706_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-706_0_6_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_261-706_0_6_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_261-706_0_6_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_261-706_0_6_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_261-706_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_261-706_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_261-706_0_6_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_261-706_0_6_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_261-706_0_6_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_261-706_0_6_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_261-706_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_261-706_0_6_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_261-706_0_6_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_261-706_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_261-706_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-706_0_6_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_261-706_0_6_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_261-706_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_261-706_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_261-706_0_6_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_261-706_0_6_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_261-706_0_6_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_261-706_0_6_node_5 | 0.4 | n |  | TRUE
46 | bus_LV_261-706_0_6_node_6 | 0.4 | n |  | TRUE
47 | bus_LV_261-706_0_6_node_8 | 0.4 | n |  | TRUE
48 | bus_LV_261-706_0_6_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_261-706_0_6_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_261-706_0_6_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_261-706_0_6_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_261-706_0_6_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_261-706_0_6_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_261-706_0_6_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_261-706_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_261-706_0_6_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_261-706_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_261-706_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_261-706_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_261-706_0_6_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_261-706_0_6_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_261-706_0_6_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_261-706_0_6_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_261-706_0_6_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_261-706_0_6_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_261-706_0_6_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_261-706_0_6_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_261-706_0_6_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_261-706_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_261-706_0_6_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_261-706_0_6_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_261-706_0_6_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_261-706_0_6_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_261-706_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_261-706_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_261-706_0_6_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_261-706_0_6_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_261-706_0_6_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_261-706_0_6_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_261-706_0_6_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_261-706_0_6_node_83 | 0.4 | n |  | TRUE
82 | bus_MV_530_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-706_0_6_load_0 | 0 | 0.0093907 | 0.0023535 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-706_0_6_load_1 | 1 | 0.0070513 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-706_0_6_load_88 | 5 | 0.0078828 | 0.0019756 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-706_0_6_load_86 | 6 | 0.012099 | 0.0030323 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-706_0_6_load_90 | 8 | 0.010263 | 0.0025722 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-706_0_6_load_47 | 11 | 0.015055 | 0.0037732 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-706_0_6_load_48 | 12 | 0.008036 | 0.002014 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-706_0_6_load_7 | 14 | 0.0069552 | 0.0017431 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-706_0_6_load_13 | 16 | 0.019292 | 0.0048351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-706_0_6_load_10 | 17 | 0.011541 | 0.0028923 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-706_0_6_load_50 | 21 | 0.025656 | 0.00643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-706_0_6_load_53 | 23 | 0.0063312 | 0.0015867 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-706_0_6_load_66 | 24 | 0.0066803 | 0.0016743 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-706_0_6_load_49 | 25 | 0.030231 | 0.0075766 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-706_0_6_load_51 | 26 | 0.0039083 | 0.00097952 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-706_0_6_load_80 | 29 | 0.014423 | 0.0036148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-706_0_6_load_64 | 30 | 0.012819 | 0.0032127 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-706_0_6_load_65 | 31 | 0.012756 | 0.003197 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-706_0_6_load_63 | 32 | 0.010887 | 0.0027285 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-706_0_6_load_57 | 35 | 0.011181 | 0.0028021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-706_0_6_load_56 | 38 | 0.0094578 | 0.0023703 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-706_0_6_load_67 | 39 | 0.0090144 | 0.0022592 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-706_0_6_load_68 | 42 | 0.0089931 | 0.0022539 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-706_0_6_load_61 | 44 | 0.011301 | 0.0028324 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-706_0_6_load_5 | 45 | 0.011181 | 0.0028021 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-706_0_6_load_6 | 46 | 0.0085464 | 0.0021419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-706_0_6_load_8 | 47 | 0.010222 | 0.0025618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-706_0_6_load_87 | 48 | 0.0090819 | 0.0022761 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-706_0_6_load_89 | 49 | 0.011312 | 0.0028351 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-706_0_6_load_52 | 50 | 0.0086845 | 0.0021765 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-706_0_6_load_81 | 51 | 0.0070783 | 0.001774 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-706_0_6_load_60 | 52 | 0.011178 | 0.0028014 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-706_0_6_load_85 | 53 | 0.0087482 | 0.0021925 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-706_0_6_load_62 | 54 | 0.011639 | 0.0029171 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-706_0_6_load_38 | 55 | 0.0061098 | 0.0015313 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-706_0_6_load_58 | 56 | 0.010063 | 0.002522 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-706_0_6_load_54 | 57 | 0.009402 | 0.0023564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-706_0_6_load_55 | 58 | 0.0064808 | 0.0016243 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-706_0_6_load_40 | 59 | 0.010184 | 0.0025523 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-706_0_6_load_41 | 60 | 0.008556 | 0.0021443 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-706_0_6_load_37 | 61 | 0.010057 | 0.0025204 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-706_0_6_load_36 | 62 | 0.0080417 | 0.0020154 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-706_0_6_load_79 | 63 | 0.0074011 | 0.0018549 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-706_0_6_load_75 | 65 | 0.0079708 | 0.0019977 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-706_0_6_load_74 | 66 | 0.0052957 | 0.0013272 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-706_0_6_load_78 | 67 | 0.0085214 | 0.0021357 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-706_0_6_load_44 | 68 | 0.0064395 | 0.0016139 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-706_0_6_load_46 | 70 | 0.0083813 | 0.0021005 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-706_0_6_load_43 | 71 | 0.038468 | 0.0096409 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-706_0_6_load_69 | 72 | 0.0081089 | 0.0020323 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-706_0_6_load_77 | 73 | 0.007816 | 0.0019589 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-706_0_6_load_70 | 74 | 0.0079503 | 0.0019925 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-706_0_6_load_59 | 75 | 0.0034963 | 0.00087626 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-706_0_6_load_84 | 76 | 0.008732 | 0.0021884 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-706_0_6_load_71 | 77 | 0.0080753 | 0.0020239 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-706_0_6_load_72 | 78 | 0.0077698 | 0.0019473 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-706_0_6_load_76 | 79 | 0.0079769 | 0.0019992 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-706_0_6_load_82 | 80 | 0.0080067 | 0.0020067 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-706_0_6_load_83 | 81 | 0.0086965 | 0.0021796 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-706_0_6_line_0 |  | 0 | 1 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-706_0_6_line_1 |  | 0 | 2 | 0.0085269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-706_0_6_line_2 |  | 1 | 3 | 0.022905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-706_0_6_line_3 |  | 2 | 4 | 0.008209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-706_0_6_line_4 |  | 3 | 5 | 0.018164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-706_0_6_line_5 |  | 4 | 6 | 0.0088461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-706_0_6_line_6 |  | 6 | 28 | 0.020505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-706_0_6_line_7 |  | 7 | 8 | 0.038142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-706_0_6_line_8 |  | 7 | 9 | 0.0074122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-706_0_6_line_9 |  | 9 | 26 | 0.0318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-706_0_6_line_10 |  | 10 | 11 | 0.011134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-706_0_6_line_11 |  | 10 | 12 | 0.028164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-706_0_6_line_12 |  | 10 | 13 | 0.012271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-706_0_6_line_13 |  | 10 | 14 | 0.022556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-706_0_6_line_14 |  | 11 | 16 | 0.0086686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-706_0_6_line_15 |  | 12 | 49 | 0.011476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-706_0_6_line_16 |  | 13 | 30 | 0.010703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-706_0_6_line_17 |  | 13 | 31 | 0.01673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-706_0_6_line_18 |  | 13 | 32 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-706_0_6_line_19 |  | 14 | 45 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-706_0_6_line_20 |  | 15 | 16 | 0.038116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-706_0_6_line_21 |  | 15 | 17 | 0.03425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-706_0_6_line_22 |  | 18 | 19 | 0.06341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-706_0_6_line_23 |  | 18 | 20 | 0.013681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-706_0_6_line_24 |  | 18 | 21 | 0.038378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-706_0_6_line_25 |  | 19 | 26 | 0.019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-706_0_6_line_26 |  | 20 | 25 | 0.0086381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-706_0_6_line_27 |  | 20 | 22 | 0.0069025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-706_0_6_line_28 |  | 22 | 23 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-706_0_6_line_29 |  | 22 | 24 | 0.0036248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-706_0_6_line_30 |  | 23 | 50 | 0.019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-706_0_6_line_31 |  | 24 | 34 | 0.024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-706_0_6_line_32 |  | 27 | 28 | 0.023718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-706_0_6_line_33 |  | 27 | 29 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-706_0_6_line_34 |  | 29 | 51 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-706_0_6_line_35 |  | 30 | 52 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-706_0_6_line_36 |  | 31 | 53 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-706_0_6_line_37 |  | 32 | 54 | 0.0029717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_261-706_0_6_line_38 |  | 33 | 34 | 0.005206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-706_0_6_line_39 |  | 33 | 35 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-706_0_6_line_40 |  | 34 | 55 | 0.0081623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-706_0_6_line_41 |  | 35 | 56 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-706_0_6_line_42 |  | 36 | 37 | 0.006834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-706_0_6_line_43 |  | 36 | 38 | 0.01709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-706_0_6_line_44 |  | 37 | 39 | 0.016675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-706_0_6_line_45 |  | 38 | 58 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-706_0_6_line_46 |  | 39 | 42 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-706_0_6_line_47 |  | 40 | 41 | 0.00865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-706_0_6_line_48 |  | 40 | 42 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-706_0_6_line_49 |  | 41 | 43 | 0.003303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_261-706_0_6_line_50 |  | 41 | 44 | 0.019849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_261-706_0_6_line_51 |  | 43 | 67 | 0.016735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-706_0_6_line_52 |  | 43 | 68 | 0.02365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-706_0_6_line_53 |  | 44 | 54 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_261-706_0_6_line_54 |  | 45 | 46 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-706_0_6_line_55 |  | 46 | 47 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-706_0_6_line_56 |  | 47 | 48 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-706_0_6_line_57 |  | 51 | 80 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-706_0_6_line_58 |  | 52 | 75 | 0.006506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_261-706_0_6_line_59 |  | 53 | 76 | 0.015119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-706_0_6_line_60 |  | 55 | 62 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-706_0_6_line_61 |  | 56 | 75 | 0.0085748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-706_0_6_line_62 |  | 57 | 58 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-706_0_6_line_63 |  | 59 | 60 | 0.0014324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-706_0_6_line_64 |  | 60 | 69 | 0.026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-706_0_6_line_65 |  | 61 | 62 | 0.01346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-706_0_6_line_66 |  | 63 | 64 | 0.0059756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-706_0_6_line_67 |  | 64 | 78 | 0.0099175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-706_0_6_line_68 |  | 65 | 66 | 0.0133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-706_0_6_line_69 |  | 66 | 79 | 0.013347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-706_0_6_line_70 |  | 67 | 73 | 0.016533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-706_0_6_line_71 |  | 68 | 71 | 0.010504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-706_0_6_line_72 |  | 69 | 70 | 0.015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-706_0_6_line_73 |  | 69 | 71 | 0.017517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-706_0_6_line_74 |  | 70 | 72 | 0.0005564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-706_0_6_line_75 |  | 72 | 74 | 0.016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-706_0_6_line_76 |  | 73 | 79 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-706_0_6_line_77 |  | 74 | 77 | 0.00062318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-706_0_6_line_78 |  | 76 | 81 | 0.01509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-706_0_6_line_79 |  | 77 | 78 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-706_0_6_line_80 |  | 80 | 81 | 0.014857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-706_0_6_trafo_63 | 0.63 MVA 20/0.4 kV | 82 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682133.9339 | 1249804.9808 | 2682140.8809 | 1249819.7917
1 | 2682130.3129 | 1249797.2609 | 2682133.9339 | 1249804.9808
2 | 2682150.5843 | 1249840.4071 | 2682147.9372 | 1249833.0983 | 2682145.9777 | 1249830.6583 | 2682140.8809 | 1249819.7917
3 | 2682126.5939 | 1249789.9373 | 2682130.3129 | 1249797.2609
4 | 2682150.5843 | 1249840.4071 | 2682152.934 | 1249841.3848 | 2682156.562 | 1249841.6575 | 2682160.7107 | 1249840.8589 | 2682167.7098 | 1249837.518
5 | 2682126.5939 | 1249789.9373 | 2682122.992 | 1249781.8577
6 | 2682114.643 | 1249763.1297 | 2682122.992 | 1249781.8577
7 | 2682403.7253 | 1249691.4322 | 2682406.6671 | 1249685.68 | 2682422.518 | 1249668.1651 | 2682417.4758 | 1249663.7028 | 2682417.4071 | 1249662.3787
8 | 2682396.6209 | 1249693.5462 | 2682400.3514 | 1249692.4305 | 2682403.7253 | 1249691.4322
9 | 2682396.6209 | 1249693.5462 | 2682394.3424 | 1249691.2461 | 2682391.5066 | 1249683.9569 | 2682388.5583 | 1249681.4918 | 2682383.9079 | 1249677.0906 | 2682380.1665 | 1249669.7665 | 2682379.3986 | 1249667.6292
10 | 2682237.2896 | 1249740.1016 | 2682242.4191 | 1249749.9834
11 | 2682237.2896 | 1249740.1016 | 2682264.5888 | 1249733.1768
12 | 2682231.5659 | 1249729.2475 | 2682234.3773 | 1249734.5015 | 2682237.2896 | 1249740.1016
13 | 2682237.2896 | 1249740.1016 | 2682215.3959 | 1249745.5261
14 | 2682242.4191 | 1249749.9834 | 2682246.4128 | 1249757.6772
15 | 2682264.5888 | 1249733.1768 | 2682275.7127 | 1249730.3551
16 | 2682231.5659 | 1249729.2475 | 2682241.9342 | 1249726.5908
17 | 2682231.5659 | 1249729.2475 | 2682215.351 | 1249733.3661
18 | 2682231.5659 | 1249729.2475 | 2682219.5039 | 1249706.6662
19 | 2682195.3774 | 1249750.4859 | 2682215.3959 | 1249745.5261
20 | 2682264.8278 | 1249790.5877 | 2682257.277 | 1249775.3828 | 2682256.8951 | 1249774.6103 | 2682254.4169 | 1249773.097 | 2682246.4128 | 1249757.6772
21 | 2682264.8278 | 1249790.5877 | 2682295.677 | 1249775.7088
22 | 2682347.935 | 1249694.0256 | 2682352.2437 | 1249692.5955 | 2682348.3567 | 1249680.5326 | 2682345.8873 | 1249669.6903 | 2682350.393 | 1249662.2362 | 2682357.6171 | 1249659.6569 | 2682367.346 | 1249655.6001 | 2682372.948 | 1249649.6736
23 | 2682347.935 | 1249694.0256 | 2682343.0266 | 1249695.692 | 2682334.947 | 1249698.4374
24 | 2682347.935 | 1249694.0256 | 2682354.9086 | 1249714.3598 | 2682357.869 | 1249723.0073 | 2682360.1476 | 1249729.6439 | 2682360.3769 | 1249730.3309
25 | 2682372.948 | 1249649.6736 | 2682379.3986 | 1249667.6292
26 | 2682334.947 | 1249698.4374 | 2682332.6947 | 1249706.7767
27 | 2682334.947 | 1249698.4374 | 2682331.4936 | 1249697.5443 | 2682328.282 | 1249696.6435
28 | 2682328.282 | 1249696.6435 | 2682328.5167 | 1249696.0574 | 2682332.6273 | 1249681.3694
29 | 2682328.282 | 1249696.6435 | 2682326.9374 | 1249700.0096
30 | 2682334.0977 | 1249663.1161 | 2682336.1918 | 1249668.6326 | 2682332.6273 | 1249681.3694
31 | 2682306.7114 | 1249710.6543 | 2682324.8321 | 1249705.2797 | 2682326.9374 | 1249700.0096
32 | 2682102.3296 | 1249747.2141 | 2682101.3673 | 1249751.2704 | 2682110.6375 | 1249754.1342 | 2682114.643 | 1249763.1297
33 | 2682102.3296 | 1249747.2141 | 2682114.4493 | 1249750.4065 | 2682121.6066 | 1249750.9523
34 | 2682121.6066 | 1249750.9523 | 2682130.3115 | 1249751.616 | 2682140.209 | 1249750.8051
35 | 2682241.9342 | 1249726.5908 | 2682255.7952 | 1249723.039
36 | 2682215.351 | 1249733.3661 | 2682200.2894 | 1249737.1916
37 | 2682219.5039 | 1249706.6662 | 2682218.1038 | 1249704.045
38 | 2682301.7073 | 1249712.1415 | 2682306.7114 | 1249710.6543
39 | 2682301.7073 | 1249712.1415 | 2682296.8924 | 1249712.5083 | 2682284.4578 | 1249715.6945
40 | 2682306.7114 | 1249710.6543 | 2682302.1216 | 1249703.9047
41 | 2682270.404 | 1249719.2957 | 2682284.4578 | 1249715.6945
42 | 2682256.7364 | 1249645.2012 | 2682250.6962 | 1249648.4309
43 | 2682256.7364 | 1249645.2012 | 2682266.4562 | 1249659.2574
44 | 2682250.6962 | 1249648.4309 | 2682235.9841 | 1249656.279
45 | 2682273.8669 | 1249670.055 | 2682272.636 | 1249668.1944 | 2682266.4562 | 1249659.2574
46 | 2682235.9841 | 1249656.279 | 2682225.5575 | 1249661.841
47 | 2682202.2091 | 1249674.2886 | 2682209.8616 | 1249670.2139
48 | 2682209.8616 | 1249670.2139 | 2682225.5575 | 1249661.841
49 | 2682202.2091 | 1249674.2886 | 2682199.2953 | 1249675.8605
50 | 2682202.2091 | 1249674.2886 | 2682211.5611 | 1249691.7966
51 | 2682199.2953 | 1249675.8605 | 2682191.3205 | 1249661.1473
52 | 2682199.2953 | 1249675.8605 | 2682178.4731 | 1249687.0736
53 | 2682211.5611 | 1249691.7966 | 2682218.1038 | 1249704.045
54 | 2682195.3774 | 1249750.4859 | 2682180.4342 | 1249754.1883
55 | 2682163.9855 | 1249758.2637 | 2682180.4342 | 1249754.1883
56 | 2682147.206 | 1249762.2085 | 2682159.6441 | 1249759.3393 | 2682163.9855 | 1249758.2637
57 | 2682156.5642 | 1249748.1025 | 2682147.9546 | 1249750.1705 | 2682140.209 | 1249750.8051
58 | 2682262.0975 | 1249721.4241 | 2682255.7952 | 1249723.039
59 | 2682185.6355 | 1249740.9137 | 2682200.2894 | 1249737.1916
60 | 2682302.1216 | 1249703.9047 | 2682290.9077 | 1249687.4135
61 | 2682270.404 | 1249719.2957 | 2682262.0975 | 1249721.4241
62 | 2682280.6498 | 1249680.3089 | 2682273.8669 | 1249670.055
63 | 2682130.7082 | 1249712.8219 | 2682129.4476 | 1249713.5022
64 | 2682153.8025 | 1249700.3591 | 2682130.7082 | 1249712.8219
65 | 2682290.9077 | 1249687.4135 | 2682283.3392 | 1249676.2833
66 | 2682126.265 | 1249648.0834 | 2682123.3738 | 1249642.8537
67 | 2682126.265 | 1249648.0834 | 2682130.8872 | 1249656.8579
68 | 2682169.5057 | 1249620.8998 | 2682163.1681 | 1249609.2073
69 | 2682169.5057 | 1249620.8998 | 2682175.8659 | 1249632.6341
70 | 2682183.4421 | 1249646.612 | 2682191.3205 | 1249661.1473
71 | 2682178.4731 | 1249687.0736 | 2682169.2251 | 1249692.0538
72 | 2682153.8025 | 1249700.3591 | 2682146.4404 | 1249686.3833
73 | 2682153.8025 | 1249700.3591 | 2682169.2251 | 1249692.0538
74 | 2682146.4404 | 1249686.3833 | 2682146.1811 | 1249685.8911
75 | 2682138.6397 | 1249671.5749 | 2682146.1811 | 1249685.8911
76 | 2682183.4421 | 1249646.612 | 2682175.8659 | 1249632.6341
77 | 2682138.6397 | 1249671.5749 | 2682138.3493 | 1249671.0236
78 | 2682171.0094 | 1249744.6287 | 2682185.6355 | 1249740.9137
79 | 2682138.3493 | 1249671.0236 | 2682130.8872 | 1249656.8579
80 | 2682156.5642 | 1249748.1025 | 2682170.7124 | 1249744.7041 | 2682171.0094 | 1249744.6287

## bus_geodata
| x | y | coords
0 | 2682133.9339 | 1249804.9808
1 | 2682140.8809 | 1249819.7917
2 | 2682130.3129 | 1249797.2609
3 | 2682150.5843 | 1249840.4071
4 | 2682126.5939 | 1249789.9373
5 | 2682167.7098 | 1249837.518
6 | 2682122.992 | 1249781.8577
7 | 2682403.7253 | 1249691.4322
8 | 2682417.4071 | 1249662.3787
9 | 2682396.6209 | 1249693.5462
10 | 2682237.2896 | 1249740.1016
11 | 2682242.4191 | 1249749.9834
12 | 2682264.5888 | 1249733.1768
13 | 2682231.5659 | 1249729.2475
14 | 2682215.3959 | 1249745.5261
15 | 2682264.8278 | 1249790.5877
16 | 2682246.4128 | 1249757.6772
17 | 2682295.677 | 1249775.7088
18 | 2682347.935 | 1249694.0256
19 | 2682372.948 | 1249649.6736
20 | 2682334.947 | 1249698.4374
21 | 2682360.3769 | 1249730.3309
22 | 2682328.282 | 1249696.6435
23 | 2682332.6273 | 1249681.3694
24 | 2682326.9374 | 1249700.0096
25 | 2682332.6947 | 1249706.7767
26 | 2682379.3986 | 1249667.6292
27 | 2682102.3296 | 1249747.2141
28 | 2682114.643 | 1249763.1297
29 | 2682121.6066 | 1249750.9523
30 | 2682241.9342 | 1249726.5908
31 | 2682215.351 | 1249733.3661
32 | 2682219.5039 | 1249706.6662
33 | 2682301.7073 | 1249712.1415
34 | 2682306.7114 | 1249710.6543
35 | 2682284.4578 | 1249715.6945
36 | 2682256.7364 | 1249645.2012
37 | 2682250.6962 | 1249648.4309
38 | 2682266.4562 | 1249659.2574
39 | 2682235.9841 | 1249656.279
40 | 2682209.8616 | 1249670.2139
41 | 2682202.2091 | 1249674.2886
42 | 2682225.5575 | 1249661.841
43 | 2682199.2954 | 1249675.8605
44 | 2682211.5611 | 1249691.7966
45 | 2682195.3774 | 1249750.4859
46 | 2682180.4342 | 1249754.1883
47 | 2682163.9855 | 1249758.2637
48 | 2682147.206 | 1249762.2085
49 | 2682275.7127 | 1249730.3551
50 | 2682334.0977 | 1249663.1161
51 | 2682140.209 | 1249750.8051
52 | 2682255.7952 | 1249723.039
53 | 2682200.2894 | 1249737.1916
54 | 2682218.1038 | 1249704.045
55 | 2682302.1216 | 1249703.9047
56 | 2682270.404 | 1249719.2957
57 | 2682280.6498 | 1249680.3089
58 | 2682273.8669 | 1249670.055
59 | 2682129.4476 | 1249713.5022
60 | 2682130.7082 | 1249712.8219
61 | 2682283.3392 | 1249676.2833
62 | 2682290.9077 | 1249687.4135
63 | 2682123.3738 | 1249642.8537
64 | 2682126.265 | 1249648.0834
65 | 2682163.1681 | 1249609.2073
66 | 2682169.5057 | 1249620.8998
67 | 2682191.3205 | 1249661.1473
68 | 2682178.4731 | 1249687.0736
69 | 2682153.8025 | 1249700.3591
70 | 2682146.4404 | 1249686.3833
71 | 2682169.2251 | 1249692.0538
72 | 2682146.1811 | 1249685.8911
73 | 2682183.4421 | 1249646.612
74 | 2682138.6397 | 1249671.5749
75 | 2682262.0975 | 1249721.4241
76 | 2682185.6355 | 1249740.9137
77 | 2682138.3493 | 1249671.0236
78 | 2682130.8872 | 1249656.8579
79 | 2682175.8659 | 1249632.6341
80 | 2682156.5642 | 1249748.1025
81 | 2682171.0094 | 1249744.6287
82 | 2682231.5659 | 1249729.2475

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98655 | -0.25909 | 0.0093907 | 0.0023535
1 | 0.98633 | -0.26347 | 0.0070513 | 0.0017672
2 | 0.98674 | -0.25538 | 0 | 0
3 | 0.98616 | -0.26671 | 0 | 0
4 | 0.98692 | -0.25181 | 0 | 0
5 | 0.98603 | -0.26927 | 0.0078828 | 0.0019756
6 | 0.98712 | -0.24796 | 0.012099 | 0.0030323
7 | 0.98544 | -0.28047 | 0 | 0
8 | 0.98508 | -0.28749 | 0.010263 | 0.0025722
9 | 0.98551 | -0.2791 | 0 | 0
10 | 0.99578 | -0.080772 | 0 | 0
11 | 0.99532 | -0.089757 | 0.015055 | 0.0037732
12 | 0.99528 | -0.090355 | 0.008036 | 0.002014
13 | 0.99703 | -0.056811 | 0 | 0
14 | 0.99483 | -0.099022 | 0.0069552 | 0.0017431
15 | 0.99467 | -0.10221 | 0 | 0
16 | 0.99507 | -0.094461 | 0.019292 | 0.0048351
17 | 0.99431 | -0.10917 | 0.011541 | 0.0028923
18 | 0.98689 | -0.2523 | 0 | 0
19 | 0.98606 | -0.2684 | 0 | 0
20 | 0.98739 | -0.24255 | 0 | 0
21 | 0.98598 | -0.26993 | 0.025656 | 0.00643
22 | 0.98784 | -0.23391 | 0 | 0
23 | 0.98762 | -0.23817 | 0.0063312 | 0.0015867
24 | 0.98812 | -0.2284 | 0.0066803 | 0.0016743
25 | 0.98715 | -0.24722 | 0.030231 | 0.0075766
26 | 0.98581 | -0.27324 | 0.0039083 | 0.00097952
27 | 0.9886 | -0.21918 | 0 | 0
28 | 0.98781 | -0.2346 | 0 | 0
29 | 0.98926 | -0.20639 | 0.014423 | 0.0036148
30 | 0.99649 | -0.06712 | 0.012819 | 0.0032127
31 | 0.99542 | -0.087623 | 0.012756 | 0.003197
32 | 1 | 0 | -0.60176 | -0.15199
33 | 0.99075 | -0.1775 | 0 | 0
34 | 0.99019 | -0.18823 | 0 | 0
35 | 0.99263 | -0.14119 | 0.011181 | 0.0028021
36 | 0.99583 | -0.080085 | 0 | 0
37 | 0.99599 | -0.077041 | 0 | 0
38 | 0.99544 | -0.087699 | 0.0094578 | 0.0023703
39 | 0.99637 | -0.069619 | 0.0090144 | 0.0022592
40 | 0.99744 | -0.048974 | 0 | 0
41 | 0.99779 | -0.042407 | 0 | 0
42 | 0.99674 | -0.062494 | 0.0089931 | 0.0022539
43 | 0.99756 | -0.046713 | 0 | 0
44 | 0.99895 | -0.020161 | 0.011301 | 0.0028324
45 | 0.9941 | -0.11321 | 0.011181 | 0.0028021
46 | 0.99371 | -0.12077 | 0.0085464 | 0.0021419
47 | 0.99341 | -0.12655 | 0.010222 | 0.0025618
48 | 0.99327 | -0.12932 | 0.0090819 | 0.0022761
49 | 0.99517 | -0.09264 | 0.011312 | 0.0028351
50 | 0.98746 | -0.24114 | 0.0086845 | 0.0021765
51 | 0.99013 | -0.1895 | 0.0070783 | 0.001774
52 | 0.99582 | -0.079845 | 0.011178 | 0.0028014
53 | 0.99411 | -0.11284 | 0.0087482 | 0.0021925
54 | 0.99981 | -0.0037165 | 0.011639 | 0.0029171
55 | 0.99001 | -0.19174 | 0.0061098 | 0.0015313
56 | 0.99432 | -0.10861 | 0.010063 | 0.002522
57 | 0.99514 | -0.093393 | 0.009402 | 0.0023564
58 | 0.99525 | -0.091359 | 0.0064808 | 0.0016243
59 | 0.99262 | -0.14185 | 0.010184 | 0.0025523
60 | 0.99264 | -0.14159 | 0.008556 | 0.0021443
61 | 0.98956 | -0.20057 | 0.010057 | 0.0025204
62 | 0.98968 | -0.19816 | 0.0080417 | 0.0020154
63 | 0.99157 | -0.16219 | 0.0074011 | 0.0018549
64 | 0.99162 | -0.16141 | 0 | 0
65 | 0.99599 | -0.077067 | 0.0079708 | 0.0019977
66 | 0.99608 | -0.075205 | 0.0052957 | 0.0013272
67 | 0.99699 | -0.057736 | 0.0085214 | 0.0021357
68 | 0.99516 | -0.092943 | 0.0064395 | 0.0016139
69 | 0.99309 | -0.1329 | 0 | 0
70 | 0.9924 | -0.14622 | 0.0083813 | 0.0021005
71 | 0.99415 | -0.11235 | 0.038468 | 0.0096409
72 | 0.99238 | -0.14661 | 0.0081089 | 0.0020323
73 | 0.99655 | -0.066165 | 0.007816 | 0.0019589
74 | 0.99192 | -0.15554 | 0.0079503 | 0.0019925
75 | 0.9954 | -0.087893 | 0.0034963 | 0.00087626
76 | 0.99295 | -0.13509 | 0.008732 | 0.0021884
77 | 0.9919 | -0.1558 | 0.0080753 | 0.0020239
78 | 0.99168 | -0.1601 | 0.0077698 | 0.0019473
79 | 0.99624 | -0.072094 | 0.0079769 | 0.0019992
80 | 0.99102 | -0.17239 | 0.0080067 | 0.0020067
81 | 0.99192 | -0.15502 | 0.0086965 | 0.0021796
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014939 | 0.0037455 | -0.014936 | -0.0037437 | 3.115e-06 | 1.7847e-06 | 0.022534 | 0.022534 | 0.022534 | 0.98655 | -0.25909 | 0.98633 | -0.26347 | 6.1906
1 | -0.02433 | -0.006099 | 0.024334 | 0.0061017 | 4.3062e-06 | 2.6471e-06 | 0.036698 | 0.036698 | 0.036698 | 0.98655 | -0.25909 | 0.98674 | -0.25538 | 10.0817
2 | 0.007885 | 0.0019765 | -0.0078837 | -0.001976 | 1.2155e-06 | 4.8563e-07 | 0.011896 | 0.011896 | 0.011896 | 0.98633 | -0.26347 | 0.98616 | -0.26671 | 3.2681
3 | -0.024334 | -0.0061017 | 0.024338 | 0.0061042 | 4.1457e-06 | 2.5483e-06 | 0.036698 | 0.036697 | 0.036698 | 0.98674 | -0.25538 | 0.98692 | -0.25181 | 10.0817
4 | 0.0078837 | 0.001976 | -0.0078828 | -0.0019756 | 9.6389e-07 | 3.8518e-07 | 0.011896 | 0.011896 | 0.011896 | 0.98616 | -0.26671 | 0.98603 | -0.26927 | 3.2681
5 | -0.024338 | -0.0061042 | 0.024343 | 0.006107 | 4.4674e-06 | 2.7461e-06 | 0.036697 | 0.036697 | 0.036697 | 0.98692 | -0.25181 | 0.98712 | -0.24796 | 10.0817
6 | -0.036442 | -0.0091393 | 0.036465 | 0.0091539 | 2.3206e-05 | 1.4589e-05 | 0.054936 | 0.054936 | 0.054936 | 0.98712 | -0.24796 | 0.98781 | -0.2346 | 15.0923
7 | 0.010267 | 0.0025739 | -0.010263 | -0.0025722 | 3.4377e-06 | 1.7143e-06 | 0.015503 | 0.015503 | 0.015503 | 0.98544 | -0.28047 | 0.98508 | -0.28749 | 4.259
8 | -0.010267 | -0.0025739 | 0.010267 | 0.0025742 | 6.6803e-07 | 3.331e-07 | 0.015503 | 0.015503 | 0.015503 | 0.98544 | -0.28047 | 0.98551 | -0.2791 | 4.259
9 | -0.010267 | -0.0025742 | 0.01027 | 0.0025757 | 2.866e-06 | 1.4289e-06 | 0.015503 | 0.015503 | 0.015503 | 0.98551 | -0.2791 | 0.98581 | -0.27324 | 4.259
10 | 0.045923 | 0.011522 | -0.045903 | -0.011509 | 1.9664e-05 | 1.244e-05 | 0.068628 | 0.068628 | 0.068628 | 0.99578 | -0.080772 | 0.99532 | -0.089757 | 18.8539
11 | 0.019358 | 0.004855 | -0.019349 | -0.0048498 | 8.8385e-06 | 5.2905e-06 | 0.028929 | 0.028929 | 0.028929 | 0.99578 | -0.080772 | 0.99528 | -0.090355 | 7.9475
12 | -0.11135 | -0.027954 | 0.11148 | 0.028035 | 0.00012743 | 8.1394e-05 | 0.16641 | 0.16641 | 0.16641 | 0.99578 | -0.080772 | 0.99703 | -0.056811 | 45.7168
13 | 0.046069 | 0.011577 | -0.046028 | -0.011552 | 4.0098e-05 | 2.537e-05 | 0.068852 | 0.068852 | 0.068852 | 0.99578 | -0.080772 | 0.99483 | -0.099022 | 18.9155
14 | 0.030848 | 0.007736 | -0.030841 | -0.0077317 | 6.9145e-06 | 4.3127e-06 | 0.04612 | 0.04612 | 0.04612 | 0.99532 | -0.089757 | 0.99507 | -0.094461 | 12.6704
15 | 0.011313 | 0.0028357 | -0.011312 | -0.0028351 | 1.2313e-06 | 6.3888e-07 | 0.016914 | 0.016915 | 0.016915 | 0.99528 | -0.090355 | 0.99517 | -0.09264 | 4.6468
16 | 0.16584 | 0.042001 | -0.16576 | -0.041949 | 8.2062e-05 | 5.2101e-05 | 0.24766 | 0.24766 | 0.24766 | 0.99703 | -0.056811 | 0.99649 | -0.06712 | 22.6797
17 | 0.10553 | 0.026702 | -0.10537 | -0.026603 | 0.00015579 | 9.949e-05 | 0.15758 | 0.15758 | 0.15758 | 0.99703 | -0.056811 | 0.99542 | -0.087623 | 43.2924
18 | -0.38284 | -0.096738 | 0.38389 | 0.097406 | 0.0010458 | 0.00066828 | 0.57165 | 0.57165 | 0.57165 | 0.99703 | -0.056811 | 1 | 0 | 52.3494
19 | 0.039073 | 0.0098085 | -0.039047 | -0.0097919 | 2.6422e-05 | 1.6642e-05 | 0.058449 | 0.058449 | 0.058449 | 0.99483 | -0.099022 | 0.9941 | -0.11321 | 16.0575
20 | -0.011544 | -0.0028944 | 0.011549 | 0.0028966 | 4.2633e-06 | 2.2336e-06 | 0.017271 | 0.017271 | 0.017271 | 0.99467 | -0.10221 | 0.99507 | -0.094461 | 4.7447
21 | 0.011544 | 0.0028944 | -0.011541 | -0.0028923 | 3.831e-06 | 2.0075e-06 | 0.017271 | 0.017271 | 0.017271 | 0.99467 | -0.10221 | 0.99431 | -0.10917 | 4.7447
22 | 0.014193 | 0.0035632 | -0.014182 | -0.003557 | 1.0892e-05 | 6.161e-06 | 0.021402 | 0.021402 | 0.021402 | 0.98689 | -0.2523 | 0.98606 | -0.2684 | 5.8796
23 | -0.03987 | -0.010007 | 0.039889 | 0.010018 | 1.8544e-05 | 1.1693e-05 | 0.060121 | 0.060121 | 0.060121 | 0.98689 | -0.2523 | 0.98739 | -0.24255 | 16.5167
24 | 0.025678 | 0.0064434 | -0.025656 | -0.00643 | 2.1576e-05 | 1.3319e-05 | 0.038719 | 0.038719 | 0.038719 | 0.98689 | -0.2523 | 0.98598 | -0.26993 | 10.6372
25 | 0.014182 | 0.003557 | -0.014178 | -0.0035552 | 3.2771e-06 | 1.8541e-06 | 0.021402 | 0.021402 | 0.021402 | 0.98606 | -0.2684 | 0.98581 | -0.27324 | 5.8797
26 | 0.030238 | 0.0075808 | -0.030231 | -0.0075766 | 6.7267e-06 | 4.1946e-06 | 0.04557 | 0.04557 | 0.04557 | 0.98739 | -0.24255 | 0.98715 | -0.24722 | 12.5191
27 | -0.070127 | -0.017599 | 0.070156 | 0.017617 | 2.8914e-05 | 1.8417e-05 | 0.10569 | 0.10569 | 0.10569 | 0.98739 | -0.24255 | 0.98784 | -0.23391 | 29.0358
28 | 0.01502 | 0.0037656 | -0.015017 | -0.0037638 | 3.0492e-06 | 1.7482e-06 | 0.022626 | 0.022626 | 0.022626 | 0.98784 | -0.23391 | 0.98762 | -0.23817 | 6.2158
29 | -0.085175 | -0.021383 | 0.085198 | 0.021397 | 2.2381e-05 | 1.4277e-05 | 0.12832 | 0.12832 | 0.12832 | 0.98784 | -0.23391 | 0.98812 | -0.2284 | 35.2516
30 | 0.0086857 | 0.0021771 | -0.0086845 | -0.0021765 | 1.2284e-06 | 5.4144e-07 | 0.013087 | 0.013087 | 0.013087 | 0.98762 | -0.23817 | 0.98746 | -0.24114 | 3.5952
31 | -0.091878 | -0.023072 | 0.092055 | 0.023184 | 0.00017647 | 0.00011262 | 0.13838 | 0.13838 | 0.13838 | 0.98812 | -0.2284 | 0.99019 | -0.18823 | 38.0154
32 | 0.036492 | 0.0091707 | -0.036465 | -0.0091539 | 2.6843e-05 | 1.6875e-05 | 0.054936 | 0.054936 | 0.054936 | 0.9886 | -0.21918 | 0.98781 | -0.2346 | 15.0923
33 | -0.036492 | -0.0091707 | 0.036514 | 0.0091848 | 2.2308e-05 | 1.4024e-05 | 0.054936 | 0.054936 | 0.054936 | 0.9886 | -0.21918 | 0.98926 | -0.20639 | 15.0922
34 | -0.050938 | -0.0128 | 0.050979 | 0.012826 | 4.1093e-05 | 2.606e-05 | 0.076631 | 0.07663 | 0.076631 | 0.98926 | -0.20639 | 0.99013 | -0.1895 | 21.0523
35 | 0.15294 | 0.038736 | -0.15284 | -0.038677 | 9.3403e-05 | 5.9219e-05 | 0.22852 | 0.22852 | 0.22852 | 0.99649 | -0.06712 | 0.99582 | -0.079845 | 20.9268
36 | 0.092615 | 0.023406 | -0.092503 | -0.023334 | 0.00011181 | 7.1356e-05 | 0.13852 | 0.13852 | 0.13852 | 0.99542 | -0.087623 | 0.99411 | -0.11284 | 38.0538
37 | 0.21622 | 0.054582 | -0.21619 | -0.054558 | 3.8487e-05 | 2.4515e-05 | 0.32188 | 0.32188 | 0.32188 | 1 | 0 | 0.99981 | -0.0037165 | 29.4764
38 | 0.11633 | 0.029296 | -0.11627 | -0.029258 | 5.9632e-05 | 3.8097e-05 | 0.17477 | 0.17477 | 0.17477 | 0.99075 | -0.1775 | 0.99019 | -0.18823 | 48.0143
39 | -0.11633 | -0.029296 | 0.11654 | 0.029425 | 0.00020234 | 0.00012927 | 0.17477 | 0.17477 | 0.17477 | 0.99075 | -0.1775 | 0.99263 | -0.14119 | 48.0143
40 | 0.024219 | 0.0060734 | -0.024215 | -0.006071 | 4.0547e-06 | 2.49e-06 | 0.036396 | 0.036396 | 0.036396 | 0.99019 | -0.18823 | 0.99001 | -0.19174 | 9.999
41 | -0.12772 | -0.032227 | 0.12792 | 0.032355 | 0.00019958 | 0.00012754 | 0.19153 | 0.19153 | 0.19153 | 0.99263 | -0.14119 | 0.99432 | -0.10861 | 52.6188
42 | -0.025354 | -0.0063587 | 0.025357 | 0.0063609 | 3.6784e-06 | 2.2653e-06 | 0.037886 | 0.037886 | 0.037886 | 0.99583 | -0.080085 | 0.99599 | -0.077041 | 10.4082
43 | 0.025354 | 0.0063587 | -0.025344 | -0.006353 | 9.1986e-06 | 5.6648e-06 | 0.037886 | 0.037886 | 0.037886 | 0.99583 | -0.080085 | 0.99544 | -0.087699 | 10.4083
44 | -0.025357 | -0.0063609 | 0.025366 | 0.0063664 | 8.9752e-06 | 5.527e-06 | 0.037886 | 0.037886 | 0.037886 | 0.99599 | -0.077041 | 0.99637 | -0.069619 | 10.4082
45 | 0.015887 | 0.0039826 | -0.015884 | -0.003981 | 2.7698e-06 | 1.6025e-06 | 0.023748 | 0.023748 | 0.023748 | 0.99544 | -0.087699 | 0.99525 | -0.091359 | 6.5243
46 | -0.034381 | -0.0086257 | 0.034392 | 0.008633 | 1.1684e-05 | 7.324e-06 | 0.051348 | 0.051348 | 0.051348 | 0.99637 | -0.069619 | 0.99674 | -0.062494 | 14.1067
47 | -0.043413 | -0.010905 | 0.043427 | 0.010913 | 1.361e-05 | 8.5972e-06 | 0.064774 | 0.064774 | 0.064774 | 0.99744 | -0.048974 | 0.99779 | -0.042407 | 17.795
48 | 0.043413 | 0.010905 | -0.043385 | -0.010887 | 2.7989e-05 | 1.7681e-05 | 0.064774 | 0.064774 | 0.064774 | 0.99744 | -0.048974 | 0.99674 | -0.062494 | 17.795
49 | 0.14945 | 0.037662 | -0.14942 | -0.037642 | 3.0784e-05 | 1.9616e-05 | 0.22295 | 0.22295 | 0.22295 | 0.99779 | -0.042407 | 0.99756 | -0.046713 | 30.6253
50 | -0.19288 | -0.048575 | 0.19308 | 0.048706 | 0.0002054 | 0.00013068 | 0.28773 | 0.28773 | 0.28773 | 0.99779 | -0.042407 | 0.99895 | -0.020161 | 26.3485
51 | 0.037621 | 0.0094433 | -0.037601 | -0.0094309 | 1.9767e-05 | 1.2433e-05 | 0.056123 | 0.056123 | 0.056123 | 0.99756 | -0.046713 | 0.99699 | -0.057736 | 15.4183
52 | 0.1118 | 0.028199 | -0.11155 | -0.028041 | 0.00024683 | 0.00015766 | 0.16683 | 0.16683 | 0.16683 | 0.99756 | -0.046713 | 0.99516 | -0.092943 | 45.8323
53 | -0.20438 | -0.051538 | 0.20455 | 0.051641 | 0.00016101 | 0.0001025 | 0.30456 | 0.30456 | 0.30456 | 0.99895 | -0.020161 | 0.99981 | -0.0037165 | 27.8901
54 | 0.027866 | 0.0069898 | -0.027856 | -0.0069835 | 1.0045e-05 | 6.2296e-06 | 0.041714 | 0.041714 | 0.041714 | 0.9941 | -0.11321 | 0.99371 | -0.12077 | 11.4598
55 | 0.01931 | 0.0048416 | -0.019305 | -0.0048384 | 5.3135e-06 | 3.1812e-06 | 0.028916 | 0.028916 | 0.028916 | 0.99371 | -0.12077 | 0.99341 | -0.12655 | 7.944
56 | 0.0090831 | 0.0022767 | -0.0090819 | -0.0022761 | 1.1966e-06 | 5.4266e-07 | 0.013605 | 0.013606 | 0.013606 | 0.99341 | -0.12655 | 0.99327 | -0.12932 | 3.7378
57 | -0.058057 | -0.0146 | 0.058104 | 0.01463 | 4.7482e-05 | 3.0174e-05 | 0.087268 | 0.087268 | 0.087268 | 0.99013 | -0.1895 | 0.99102 | -0.17239 | 23.9747
58 | 0.14167 | 0.035876 | -0.14161 | -0.035841 | 5.4732e-05 | 3.4859e-05 | 0.21182 | 0.21182 | 0.21182 | 0.99582 | -0.079845 | 0.9954 | -0.087893 | 29.0959
59 | 0.083755 | 0.021142 | -0.083666 | -0.021085 | 8.9188e-05 | 5.6884e-05 | 0.12542 | 0.12542 | 0.12542 | 0.99411 | -0.11284 | 0.99295 | -0.13509 | 34.4564
60 | 0.018105 | 0.0045397 | -0.018099 | -0.0045364 | 5.5382e-06 | 3.2881e-06 | 0.027213 | 0.027213 | 0.027213 | 0.99001 | -0.19174 | 0.98968 | -0.19816 | 7.4761
61 | -0.13798 | -0.034877 | 0.13812 | 0.034964 | 0.00013724 | 8.7723e-05 | 0.20659 | 0.20659 | 0.20659 | 0.99432 | -0.10861 | 0.9954 | -0.087893 | 56.7559
62 | -0.009402 | -0.0023564 | 0.0094029 | 0.0023568 | 9.1122e-07 | 4.2343e-07 | 0.014059 | 0.014059 | 0.014059 | 0.99514 | -0.093393 | 0.99525 | -0.091359 | 3.8623
63 | -0.010184 | -0.0025523 | 0.010184 | 0.0025524 | 1.2519e-07 | 6.1606e-08 | 0.015266 | 0.015266 | 0.015266 | 0.99262 | -0.14185 | 0.99264 | -0.14159 | 4.194
64 | -0.01874 | -0.0046967 | 0.018748 | 0.0047013 | 7.7662e-06 | 4.631e-06 | 0.028092 | 0.028092 | 0.028092 | 0.99264 | -0.14159 | 0.99309 | -0.1329 | 7.7176
65 | -0.010057 | -0.0025204 | 0.010058 | 0.002521 | 1.1542e-06 | 5.6578e-07 | 0.015122 | 0.015122 | 0.015122 | 0.98956 | -0.20057 | 0.98968 | -0.19816 | 4.1544
66 | -0.0074011 | -0.0018549 | 0.0074013 | 0.001855 | 2.7642e-07 | 9.9824e-08 | 0.011106 | 0.011106 | 0.011106 | 0.99157 | -0.16219 | 0.99162 | -0.16141 | 3.0512
67 | -0.0074013 | -0.001855 | 0.0074018 | 0.0018551 | 4.5876e-07 | 1.6566e-07 | 0.011106 | 0.011106 | 0.011106 | 0.99162 | -0.16141 | 0.99168 | -0.1601 | 3.0512
68 | -0.0079708 | -0.0019977 | 0.0079715 | 0.001998 | 7.0727e-07 | 2.7955e-07 | 0.011909 | 0.011908 | 0.011909 | 0.99599 | -0.077067 | 0.99608 | -0.075205 | 3.2716
69 | -0.013267 | -0.0033252 | 0.013269 | 0.0033263 | 1.9661e-06 | 1.0845e-06 | 0.01982 | 0.019819 | 0.01982 | 0.99608 | -0.075205 | 0.99624 | -0.072094 | 5.4449
70 | 0.02908 | 0.0072952 | -0.029068 | -0.007288 | 1.168e-05 | 7.2599e-06 | 0.043404 | 0.043404 | 0.043404 | 0.99699 | -0.057736 | 0.99655 | -0.066165 | 11.9243
71 | 0.10511 | 0.026427 | -0.10502 | -0.026365 | 9.7338e-05 | 6.216e-05 | 0.1572 | 0.1572 | 0.1572 | 0.99516 | -0.092943 | 0.99415 | -0.11235 | 43.187
72 | 0.047735 | 0.011982 | -0.047705 | -0.011962 | 3.031e-05 | 1.9194e-05 | 0.071531 | 0.071531 | 0.071531 | 0.99309 | -0.1329 | 0.9924 | -0.14622 | 19.6515
73 | -0.066483 | -0.016683 | 0.066548 | 0.016724 | 6.5194e-05 | 4.1497e-05 | 0.099623 | 0.099623 | 0.099623 | 0.99309 | -0.1329 | 0.99415 | -0.11235 | 27.3691
74 | 0.039323 | 0.0098618 | -0.039323 | -0.0098614 | 7.2543e-07 | 4.5709e-07 | 0.058964 | 0.058964 | 0.058964 | 0.9924 | -0.14622 | 0.99238 | -0.14661 | 16.199
75 | 0.031214 | 0.0078291 | -0.031201 | -0.0078208 | 1.3293e-05 | 8.2987e-06 | 0.046806 | 0.046806 | 0.046806 | 0.99238 | -0.14661 | 0.99192 | -0.15554 | 12.8587
76 | 0.021252 | 0.0053291 | -0.021246 | -0.0053255 | 6.0041e-06 | 3.6355e-06 | 0.031734 | 0.031734 | 0.031734 | 0.99655 | -0.066165 | 0.99624 | -0.072094 | 8.7181
77 | 0.02325 | 0.0058283 | -0.02325 | -0.0058281 | 2.843e-07 | 1.7391e-07 | 0.034879 | 0.034879 | 0.034879 | 0.99192 | -0.15554 | 0.9919 | -0.1558 | 9.5822
78 | 0.074934 | 0.018896 | -0.074863 | -0.018851 | 7.1412e-05 | 4.5509e-05 | 0.11234 | 0.11234 | 0.11234 | 0.99295 | -0.13509 | 0.99192 | -0.15502 | 30.8615
79 | 0.015175 | 0.0038042 | -0.015172 | -0.0038024 | 3.1116e-06 | 1.7848e-06 | 0.022765 | 0.022765 | 0.022765 | 0.9919 | -0.1558 | 0.99168 | -0.1601 | 6.2541
80 | -0.066111 | -0.016636 | 0.066166 | 0.016671 | 5.4925e-05 | 3.4961e-05 | 0.09929 | 0.09929 | 0.09929 | 0.99102 | -0.17239 | 0.99192 | -0.15502 | 27.2775

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61265 | 0.15472

## res_load
| p_mw | q_mvar
0 | 0.0093907 | 0.0023535
1 | 0.0070513 | 0.0017672
2 | 0.0078828 | 0.0019756
3 | 0.012099 | 0.0030323
4 | 0.010263 | 0.0025722
5 | 0.015055 | 0.0037732
6 | 0.008036 | 0.002014
7 | 0.0069552 | 0.0017431
8 | 0.019292 | 0.0048351
9 | 0.011541 | 0.0028923
10 | 0.025656 | 0.00643
11 | 0.0063312 | 0.0015867
12 | 0.0066803 | 0.0016743
13 | 0.030231 | 0.0075766
14 | 0.0039083 | 0.00097952
15 | 0.014423 | 0.0036148
16 | 0.012819 | 0.0032127
17 | 0.012756 | 0.003197
18 | 0.010887 | 0.0027285
19 | 0.011181 | 0.0028021
20 | 0.0094578 | 0.0023703
21 | 0.0090144 | 0.0022592
22 | 0.0089931 | 0.0022539
23 | 0.011301 | 0.0028324
24 | 0.011181 | 0.0028021
25 | 0.0085464 | 0.0021419
26 | 0.010222 | 0.0025618
27 | 0.0090819 | 0.0022761
28 | 0.011312 | 0.0028351
29 | 0.0086845 | 0.0021765
30 | 0.0070783 | 0.001774
31 | 0.011178 | 0.0028014
32 | 0.0087482 | 0.0021925
33 | 0.011639 | 0.0029171
34 | 0.0061098 | 0.0015313
35 | 0.010063 | 0.002522
36 | 0.009402 | 0.0023564
37 | 0.0064808 | 0.0016243
38 | 0.010184 | 0.0025523
39 | 0.008556 | 0.0021443
40 | 0.010057 | 0.0025204
41 | 0.0080417 | 0.0020154
42 | 0.0074011 | 0.0018549
43 | 0.0079708 | 0.0019977
44 | 0.0052957 | 0.0013272
45 | 0.0085214 | 0.0021357
46 | 0.0064395 | 0.0016139
47 | 0.0083813 | 0.0021005
48 | 0.038468 | 0.0096409
49 | 0.0081089 | 0.0020323
50 | 0.007816 | 0.0019589
51 | 0.0079503 | 0.0019925
52 | 0.0034963 | 0.00087626
53 | 0.008732 | 0.0021884
54 | 0.0080753 | 0.0020239
55 | 0.0077698 | 0.0019473
56 | 0.0079769 | 0.0019992
57 | 0.0080067 | 0.0020067
58 | 0.0086965 | 0.0021796

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1