## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-710_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-710_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-710_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-710_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-710_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-710_0_5_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_261-710_0_5_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_261-710_0_5_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_261-710_0_5_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_261-710_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-710_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-710_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-710_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-710_0_5_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_261-710_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_261-710_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_261-710_0_5_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_261-710_0_5_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_261-710_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-710_0_5_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_261-710_0_5_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_261-710_0_5_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_261-710_0_5_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_261-710_0_5_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-710_0_5_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_261-710_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_261-710_0_5_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_261-710_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_261-710_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_261-710_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_261-710_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_261-710_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-710_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-710_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_261-710_0_5_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_261-710_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_261-710_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-710_0_5_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_261-710_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_261-710_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_261-710_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_261-710_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_261-710_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_261-710_0_5_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_261-710_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_261-710_0_5_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_261-710_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_261-710_0_5_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_261-710_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_261-710_0_5_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_261-710_0_5_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_261-710_0_5_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_261-710_0_5_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_261-710_0_5_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_261-710_0_5_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_261-710_0_5_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_261-710_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_261-710_0_5_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_261-710_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_261-710_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_261-710_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_261-710_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_261-710_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_261-710_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_261-710_0_5_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_261-710_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_261-710_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_261-710_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_261-710_0_5_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_261-710_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_261-710_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_261-710_0_5_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_261-710_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_261-710_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_MV_539_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-710_0_5_load_0 | 0 | 0.006216 | 0.0015579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-710_0_5_load_1 | 1 | 0.0050934 | 0.0012765 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-710_0_5_load_2 | 2 | 0.0052332 | 0.0013116 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-710_0_5_load_3 | 3 | 0.0044802 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-710_0_5_load_4 | 4 | 0.0069198 | 0.0017343 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-710_0_5_load_58 | 5 | 0.0046213 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-710_0_5_load_51 | 6 | 0.004503 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-710_0_5_load_52 | 8 | 0.0068387 | 0.0017139 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-710_0_5_load_5 | 9 | 0.017837 | 0.0044705 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-710_0_5_load_6 | 10 | 0.011932 | 0.0029905 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-710_0_5_load_9 | 12 | 0.014379 | 0.0036036 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-710_0_5_load_75 | 13 | 0.009145 | 0.002292 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-710_0_5_load_74 | 15 | 0.0068204 | 0.0017094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-710_0_5_load_28 | 16 | 0.0094948 | 0.0023796 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-710_0_5_load_73 | 17 | 0.0071147 | 0.0017831 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-710_0_5_load_72 | 19 | 0.0088899 | 0.002228 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-710_0_5_load_69 | 20 | 0.0039801 | 0.0009975 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-710_0_5_load_71 | 21 | 0.011615 | 0.002911 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-710_0_5_load_48 | 22 | 0.0092004 | 0.0023058 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-710_0_5_load_46 | 23 | 0.0065525 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-710_0_5_load_77 | 24 | 0.0040859 | 0.001024 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-710_0_5_load_27 | 25 | 0.0095132 | 0.0023842 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-710_0_5_load_70 | 26 | 0.0097799 | 0.0024511 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-710_0_5_load_14 | 27 | 0.012968 | 0.0032502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-710_0_5_load_16 | 29 | 0.015199 | 0.0038091 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-710_0_5_load_17 | 30 | 0.0075705 | 0.0018973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-710_0_5_load_19 | 31 | 0.018444 | 0.0046224 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-710_0_5_load_23 | 32 | 0.020997 | 0.0052623 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-710_0_5_load_18 | 33 | 0.021368 | 0.0053554 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-710_0_5_load_55 | 34 | 0.0090623 | 0.0022712 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-710_0_5_load_20 | 35 | 0.0083566 | 0.0020944 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-710_0_5_load_54 | 37 | 0.0091118 | 0.0022836 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-710_0_5_load_21 | 38 | 0.008518 | 0.0021348 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-710_0_5_load_35 | 40 | 0.0080256 | 0.0020114 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-710_0_5_load_33 | 41 | 0.0073015 | 0.0018299 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-710_0_5_load_36 | 42 | 0.0057108 | 0.0014313 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-710_0_5_load_50 | 43 | 0.0092506 | 0.0023184 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-710_0_5_load_78 | 45 | 0.0046768 | 0.0011721 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-710_0_5_load_25 | 46 | 0.013126 | 0.0032898 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-710_0_5_load_61 | 47 | 0.0085685 | 0.0021475 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-710_0_5_load_60 | 49 | 0.0067168 | 0.0016834 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-710_0_5_load_56 | 50 | 0.016592 | 0.0041583 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-710_0_5_load_62 | 51 | 0.0095215 | 0.0023863 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-710_0_5_load_63 | 52 | 0.0099154 | 0.002485 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-710_0_5_load_29 | 53 | 0.010307 | 0.0025831 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-710_0_5_load_34 | 54 | 0.0047624 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-710_0_5_load_79 | 55 | 0.007303 | 0.0018303 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-710_0_5_load_43 | 56 | 0.0048573 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-710_0_5_load_76 | 57 | 0.011445 | 0.0028684 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-710_0_5_load_37 | 58 | 0.0068409 | 0.0017145 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-710_0_5_load_38 | 59 | 0.014611 | 0.0036618 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-710_0_5_load_39 | 60 | 0.0036017 | 0.00090268 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-710_0_5_load_40 | 61 | 0.0047756 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-710_0_5_load_41 | 62 | 0.0093921 | 0.0023539 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-710_0_5_load_42 | 63 | 0.018835 | 0.0047205 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-710_0_5_load_47 | 64 | 0.0049731 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-710_0_5_load_45 | 65 | 0.011523 | 0.0028879 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-710_0_5_load_44 | 66 | 0.010045 | 0.0025175 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-710_0_5_load_59 | 67 | 0.004123 | 0.0010333 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-710_0_5_load_53 | 68 | 0.0046378 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-710_0_5_load_64 | 69 | 0.0061061 | 0.0015303 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-710_0_5_load_68 | 70 | 0.0057208 | 0.0014338 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-710_0_5_load_66 | 71 | 0.0085645 | 0.0021465 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-710_0_5_load_65 | 72 | 0.0081478 | 0.002042 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-710_0_5_load_67 | 73 | 0.0059624 | 0.0014943 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-710_0_5_line_0 |  | 0 | 1 | 0.0068988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-710_0_5_line_1 |  | 0 | 2 | 0.0090918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-710_0_5_line_2 |  | 1 | 3 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-710_0_5_line_3 |  | 2 | 4 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-710_0_5_line_4 |  | 3 | 5 | 0.018852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-710_0_5_line_5 |  | 4 | 6 | 0.003098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-710_0_5_line_6 |  | 5 | 7 | 0.00081948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-710_0_5_line_7 |  | 6 | 8 | 0.011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-710_0_5_line_8 |  | 7 | 50 | 0.032707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-710_0_5_line_9 |  | 7 | 67 | 0.0095188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-710_0_5_line_10 |  | 8 | 68 | 0.012679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-710_0_5_line_11 |  | 9 | 10 | 0.023857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-710_0_5_line_12 |  | 9 | 11 | 0.0053764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-710_0_5_line_13 |  | 11 | 12 | 0.021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-710_0_5_line_14 |  | 12 | 13 | 0.024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-710_0_5_line_15 |  | 13 | 21 | 0.01311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-710_0_5_line_16 |  | 14 | 15 | 0.025525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-710_0_5_line_17 |  | 14 | 16 | 0.017503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-710_0_5_line_18 |  | 14 | 17 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-710_0_5_line_19 |  | 15 | 24 | 0.0111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-710_0_5_line_20 |  | 16 | 25 | 0.020386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-710_0_5_line_21 |  | 17 | 19 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-710_0_5_line_22 |  | 18 | 19 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-710_0_5_line_23 |  | 18 | 20 | 0.0011118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-710_0_5_line_24 |  | 20 | 26 | 0.0064805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-710_0_5_line_25 |  | 21 | 26 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-710_0_5_line_26 |  | 22 | 23 | 0.0066777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-710_0_5_line_27 |  | 23 | 66 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-710_0_5_line_28 |  | 24 | 57 | 0.0015833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-710_0_5_line_29 |  | 27 | 28 | 0.030815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-710_0_5_line_30 |  | 28 | 29 | 0.015638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-710_0_5_line_31 |  | 28 | 30 | 0.024892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_261-710_0_5_line_32 |  | 29 | 31 | 0.0078962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_261-710_0_5_line_33 |  | 30 | 32 | 0.0041338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-710_0_5_line_34 |  | 31 | 35 | 0.014034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_261-710_0_5_line_35 |  | 32 | 36 | 0.031792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-710_0_5_line_36 |  | 33 | 34 | 0.0024945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-710_0_5_line_37 |  | 34 | 37 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-710_0_5_line_38 |  | 35 | 38 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_261-710_0_5_line_39 |  | 36 | 46 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_261-710_0_5_line_40 |  | 37 | 68 | 0.0067905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-710_0_5_line_41 |  | 38 | 39 | 0.014092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-710_0_5_line_42 |  | 39 | 40 | 0.041465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-710_0_5_line_43 |  | 39 | 41 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-710_0_5_line_44 |  | 39 | 42 | 0.01931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_261-710_0_5_line_45 |  | 40 | 43 | 0.0053855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_261-710_0_5_line_46 |  | 41 | 44 | 0.026634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-710_0_5_line_47 |  | 42 | 45 | 0.0095253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_261-710_0_5_line_48 |  | 43 | 56 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_261-710_0_5_line_49 |  | 44 | 54 | 0.00943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-710_0_5_line_50 |  | 44 | 53 | 0.015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-710_0_5_line_51 |  | 45 | 57 | 0.0069418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-710_0_5_line_52 |  | 46 | 47 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_261-710_0_5_line_53 |  | 47 | 51 | 0.0073597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_261-710_0_5_line_54 |  | 48 | 49 | 0.038911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_261-710_0_5_line_55 |  | 48 | 50 | 0.027952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-710_0_5_line_56 |  | 49 | 52 | 0.026409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_261-710_0_5_line_57 |  | 51 | 70 | 0.01151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_261-710_0_5_line_58 |  | 52 | 69 | 0.021325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_261-710_0_5_line_59 |  | 54 | 55 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-710_0_5_line_60 |  | 56 | 63 | 0.020827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-710_0_5_line_61 |  | 58 | 59 | 0.007488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-710_0_5_line_62 |  | 58 | 60 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-710_0_5_line_63 |  | 59 | 61 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-710_0_5_line_64 |  | 60 | 62 | 0.0011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-710_0_5_line_65 |  | 61 | 63 | 0.011745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-710_0_5_line_66 |  | 62 | 64 | 0.0097178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-710_0_5_line_67 |  | 64 | 65 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-710_0_5_line_68 |  | 65 | 66 | 0.0056056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-710_0_5_line_69 |  | 69 | 72 | 0.0041939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_261-710_0_5_line_70 |  | 70 | 71 | 0.0050731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_261-710_0_5_line_71 |  | 71 | 73 | 0.013796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_261-710_0_5_line_72 |  | 72 | 73 | 0.007546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-710_0_5_trafo_43 | 0.63 MVA 20/0.4 kV | 74 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2684656.7888 | 1246742.11 | 2684652.9396 | 1246747.8352
1 | 2684656.7888 | 1246742.11 | 2684661.8616 | 1246734.5649
2 | 2684652.9396 | 1246747.8352 | 2684644.7778 | 1246759.9747
3 | 2684671.4302 | 1246720.3329 | 2684661.8616 | 1246734.5649
4 | 2684634.2584 | 1246775.6183 | 2684637.6756 | 1246770.5382 | 2684644.7778 | 1246759.9747
5 | 2684673.1587 | 1246717.762 | 2684671.4302 | 1246720.3329
6 | 2684634.2584 | 1246775.6183 | 2684633.801 | 1246776.2982
7 | 2684673.1587 | 1246717.762 | 2684679.7401 | 1246707.973
8 | 2684633.801 | 1246776.2982 | 2684661.0745 | 1246794.3503
9 | 2684633.801 | 1246776.2982 | 2684628.4898 | 1246784.1976
10 | 2684686.8145 | 1246697.4509 | 2684679.7401 | 1246707.973
11 | 2684527.8636 | 1246683.2045 | 2684514.0137 | 1246702.6301
12 | 2684530.9847 | 1246678.8268 | 2684527.8636 | 1246683.2045
13 | 2684530.9847 | 1246678.8268 | 2684543.5909 | 1246661.1414
14 | 2684543.5909 | 1246661.1414 | 2684557.8361 | 1246641.1567
15 | 2684557.8361 | 1246641.1567 | 2684565.4456 | 1246630.4811
16 | 2684598.1914 | 1246584.5488 | 2684620.5548 | 1246593.9748 | 2684621.6952 | 1246594.5009
17 | 2684598.1914 | 1246584.5488 | 2684602.4501 | 1246567.5715
18 | 2684598.1914 | 1246584.5488 | 2684590.8647 | 1246594.8249
19 | 2684621.6952 | 1246594.5009 | 2684631.7742 | 1246599.1506
20 | 2684602.4501 | 1246567.5715 | 2684607.4102 | 1246547.7976
21 | 2684590.8647 | 1246594.8249 | 2684583.8492 | 1246604.6646
22 | 2684577.7317 | 1246613.2449 | 2684583.8492 | 1246604.6646
23 | 2684577.7317 | 1246613.2449 | 2684577.0863 | 1246614.1502
24 | 2684577.0863 | 1246614.1502 | 2684573.3248 | 1246619.4273
25 | 2684565.4456 | 1246630.4811 | 2684573.3248 | 1246619.4273
26 | 2684558.2773 | 1246765.6981 | 2684562.15 | 1246760.258
27 | 2684570.7026 | 1246748.244 | 2684562.15 | 1246760.258
28 | 2684633.2118 | 1246599.8138 | 2684631.7742 | 1246599.1506
29 | 2684724.7183 | 1246641.0743 | 2684730.2913 | 1246633.8374 | 2684745.5279 | 1246618.4126
30 | 2684724.7183 | 1246641.0743 | 2684710.432 | 1246634.7146
31 | 2684724.7183 | 1246641.0743 | 2684747.3299 | 1246651.4827
32 | 2684703.2183 | 1246631.5033 | 2684710.432 | 1246634.7146
33 | 2684751.085 | 1246653.2112 | 2684747.3299 | 1246651.4827
34 | 2684703.2183 | 1246631.5033 | 2684690.3973 | 1246625.7959
35 | 2684779.9643 | 1246666.5047 | 2684751.085 | 1246653.2112
36 | 2684700.8768 | 1246676.5352 | 2684702.2686 | 1246674.465
37 | 2684690.6032 | 1246691.8157 | 2684700.8768 | 1246676.5352
38 | 2684690.3973 | 1246625.7959 | 2684678.573 | 1246620.5321
39 | 2684779.9643 | 1246666.5047 | 2684768.5845 | 1246683.5628
40 | 2684690.6032 | 1246691.8157 | 2684686.8145 | 1246697.4509
41 | 2684665.6989 | 1246614.801 | 2684678.573 | 1246620.5321
42 | 2684665.6989 | 1246614.801 | 2684641.6517 | 1246648.5805
43 | 2684665.6989 | 1246614.801 | 2684673.3942 | 1246603.2295
44 | 2684665.6989 | 1246614.801 | 2684648.1644 | 1246606.7119
45 | 2684638.5284 | 1246652.9678 | 2684641.6517 | 1246648.5805
46 | 2684688.1426 | 1246581.0521 | 2684673.3942 | 1246603.2295
47 | 2684639.5152 | 1246602.7218 | 2684648.1644 | 1246606.7119
48 | 2684638.5284 | 1246652.9678 | 2684629.566 | 1246665.5575
49 | 2684688.1426 | 1246581.0521 | 2684682.9132 | 1246573.2049
50 | 2684688.1426 | 1246581.0521 | 2684696.9187 | 1246568.7239
51 | 2684633.2118 | 1246599.8138 | 2684639.5152 | 1246602.7218
52 | 2684768.5845 | 1246683.5628 | 2684759.9276 | 1246696.5392
53 | 2684755.8432 | 1246702.6616 | 2684759.9276 | 1246696.5392
54 | 2684684.3834 | 1246809.7783 | 2684705.9778 | 1246777.4088
55 | 2684684.3834 | 1246809.7783 | 2684661.0745 | 1246794.3503
56 | 2684705.9778 | 1246777.4088 | 2684720.6339 | 1246755.4396
57 | 2684755.8432 | 1246702.6616 | 2684749.4555 | 1246712.2367
58 | 2684720.6339 | 1246755.4396 | 2684732.4684 | 1246737.6999
59 | 2684682.9132 | 1246573.2049 | 2684667.4772 | 1246550.0412
60 | 2684617.4875 | 1246682.5244 | 2684629.566 | 1246665.5575
61 | 2684598.2848 | 1246709.4987 | 2684602.6274 | 1246703.3986
62 | 2684598.2848 | 1246709.4987 | 2684586.8512 | 1246725.5597
63 | 2684610.6761 | 1246692.0924 | 2684602.6274 | 1246703.3986
64 | 2684586.1817 | 1246726.5002 | 2684586.8512 | 1246725.5597
65 | 2684610.6761 | 1246692.0924 | 2684617.4875 | 1246682.5244
66 | 2684586.1817 | 1246726.5002 | 2684580.546 | 1246734.4168
67 | 2684573.9535 | 1246743.6774 | 2684580.546 | 1246734.4168
68 | 2684570.7026 | 1246748.244 | 2684573.9535 | 1246743.6774
69 | 2684734.7959 | 1246734.2111 | 2684732.4684 | 1246737.6999
70 | 2684746.6401 | 1246716.4569 | 2684749.4555 | 1246712.2367
71 | 2684746.6401 | 1246716.4569 | 2684738.9836 | 1246727.9338
72 | 2684734.7959 | 1246734.2111 | 2684738.9836 | 1246727.9338

## bus_geodata
| x | y | coords
0 | 2684656.7888 | 1246742.11
1 | 2684652.9396 | 1246747.8352
2 | 2684661.8616 | 1246734.5649
3 | 2684644.7778 | 1246759.9747
4 | 2684671.4302 | 1246720.3329
5 | 2684634.2584 | 1246775.6183
6 | 2684673.1587 | 1246717.762
7 | 2684633.801 | 1246776.2982
8 | 2684679.7401 | 1246707.973
9 | 2684527.8636 | 1246683.2045
10 | 2684514.0137 | 1246702.6301
11 | 2684530.9847 | 1246678.8268
12 | 2684543.5909 | 1246661.1414
13 | 2684557.8361 | 1246641.1567
14 | 2684598.1914 | 1246584.5488
15 | 2684621.6952 | 1246594.5009
16 | 2684602.4501 | 1246567.5715
17 | 2684590.8647 | 1246594.8249
18 | 2684577.7317 | 1246613.2449
19 | 2684583.8492 | 1246604.6646
20 | 2684577.0863 | 1246614.1502
21 | 2684565.4456 | 1246630.4811
22 | 2684558.2773 | 1246765.6981
23 | 2684562.15 | 1246760.258
24 | 2684631.7742 | 1246599.1506
25 | 2684607.4102 | 1246547.7976
26 | 2684573.3248 | 1246619.4273
27 | 2684745.5279 | 1246618.4126
28 | 2684724.7183 | 1246641.0743
29 | 2684710.432 | 1246634.7146
30 | 2684747.3299 | 1246651.4827
31 | 2684703.2183 | 1246631.5033
32 | 2684751.085 | 1246653.2112
33 | 2684702.2686 | 1246674.465
34 | 2684700.8768 | 1246676.5352
35 | 2684690.3973 | 1246625.7959
36 | 2684779.9643 | 1246666.5047
37 | 2684690.6032 | 1246691.8157
38 | 2684678.573 | 1246620.5321
39 | 2684665.6989 | 1246614.801
40 | 2684641.6517 | 1246648.5805
41 | 2684673.3942 | 1246603.2295
42 | 2684648.1644 | 1246606.7119
43 | 2684638.5284 | 1246652.9678
44 | 2684688.1426 | 1246581.0521
45 | 2684639.5152 | 1246602.7218
46 | 2684768.5845 | 1246683.5628
47 | 2684759.9276 | 1246696.5392
48 | 2684684.3834 | 1246809.7783
49 | 2684705.9778 | 1246777.4088
50 | 2684661.0745 | 1246794.3503
51 | 2684755.8432 | 1246702.6616
52 | 2684720.6339 | 1246755.4396
53 | 2684696.9187 | 1246568.7239
54 | 2684682.9132 | 1246573.2049
55 | 2684667.4772 | 1246550.0412
56 | 2684629.566 | 1246665.5575
57 | 2684633.2118 | 1246599.8138
58 | 2684598.2848 | 1246709.4987
59 | 2684602.6274 | 1246703.3986
60 | 2684586.8512 | 1246725.5597
61 | 2684610.6761 | 1246692.0924
62 | 2684586.1817 | 1246726.5002
63 | 2684617.4875 | 1246682.5244
64 | 2684580.546 | 1246734.4168
65 | 2684573.9535 | 1246743.6773
66 | 2684570.7026 | 1246748.244
67 | 2684628.4898 | 1246784.1976
68 | 2684686.8145 | 1246697.4509
69 | 2684732.4684 | 1246737.6999
70 | 2684749.4555 | 1246712.2367
71 | 2684746.6401 | 1246716.4569
72 | 2684734.7959 | 1246734.2111
73 | 2684738.9836 | 1246727.9338
74 | 2684665.6989 | 1246614.801

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97408 | -0.49984 | 0.006216 | 0.0015579
1 | 0.97456 | -0.49048 | 0.0050934 | 0.0012765
2 | 0.97351 | -0.51115 | 0.0052332 | 0.0013116
3 | 0.97564 | -0.4693 | 0.0044802 | 0.0011229
4 | 0.97251 | -0.53086 | 0.0069198 | 0.0017343
5 | 0.9771 | -0.44053 | 0.0046213 | 0.0011582
6 | 0.97235 | -0.53403 | 0.004503 | 0.0011286
7 | 0.97717 | -0.43921 | 0 | 0
8 | 0.97178 | -0.54514 | 0.0068387 | 0.0017139
9 | 0.98051 | -0.37532 | 0.017837 | 0.0044705
10 | 0.98025 | -0.38049 | 0.011932 | 0.0029905
11 | 0.98066 | -0.37242 | 0 | 0
12 | 0.98126 | -0.36071 | 0.014379 | 0.0036036
13 | 0.98226 | -0.34112 | 0.009145 | 0.002292
14 | 0.98709 | -0.24704 | 0 | 0
15 | 0.98977 | -0.19527 | 0.0068204 | 0.0017094
16 | 0.98679 | -0.25299 | 0.0094948 | 0.0023796
17 | 0.98599 | -0.26844 | 0.0071147 | 0.0017831
18 | 0.98425 | -0.30233 | 0 | 0
19 | 0.98501 | -0.28743 | 0.0088899 | 0.002228
20 | 0.98417 | -0.3039 | 0.0039801 | 0.0009975
21 | 0.98291 | -0.3285 | 0.011615 | 0.002911
22 | 0.99362 | -0.12281 | 0.0092004 | 0.0023058
23 | 0.99367 | -0.12172 | 0.0065525 | 0.0016422
24 | 0.991 | -0.1715 | 0.0040859 | 0.001024
25 | 0.98661 | -0.25646 | 0.0095132 | 0.0023842
26 | 0.98372 | -0.31262 | 0.0097799 | 0.0024511
27 | 0.98906 | -0.20887 | 0.012968 | 0.0032502
28 | 0.98942 | -0.20176 | 0 | 0
29 | 0.99026 | -0.18557 | 0.015199 | 0.0038091
30 | 0.98815 | -0.22614 | 0.0075705 | 0.0018973
31 | 0.99072 | -0.17688 | 0.018444 | 0.0046224
32 | 0.98795 | -0.23005 | 0.020997 | 0.0052623
33 | 0.97044 | -0.57179 | 0.021368 | 0.0053554
34 | 0.97049 | -0.57081 | 0.0090623 | 0.0022712
35 | 0.99158 | -0.1603 | 0.0083566 | 0.0020944
36 | 0.98654 | -0.25722 | 0 | 0
37 | 0.97101 | -0.56044 | 0.0091118 | 0.0022836
38 | 0.9924 | -0.14455 | 0.008518 | 0.0021348
39 | 0.99333 | -0.12691 | 0 | 0
40 | 0.99772 | -0.043163 | 0.0080256 | 0.0020114
41 | 0.99295 | -0.13419 | 0.0073015 | 0.0018299
42 | 0.99267 | -0.1394 | 0.0057108 | 0.0014313
43 | 0.9983 | -0.032151 | 0.0092506 | 0.0023184
44 | 0.9924 | -0.14473 | 0 | 0
45 | 0.99206 | -0.15126 | 0.0046768 | 0.0011721
46 | 0.98563 | -0.27479 | 0.013126 | 0.0032898
47 | 0.98499 | -0.28726 | 0.0085685 | 0.0021475
48 | 0.98093 | -0.36594 | 0 | 0
49 | 0.98192 | -0.34678 | 0.0067168 | 0.0016834
50 | 0.97998 | -0.38432 | 0.016592 | 0.0041583
51 | 0.9847 | -0.29286 | 0.0095215 | 0.0023863
52 | 0.98263 | -0.33301 | 0.0099154 | 0.002485
53 | 0.99226 | -0.1475 | 0.010307 | 0.0025831
54 | 0.9923 | -0.14675 | 0.0047624 | 0.0011936
55 | 0.99211 | -0.15035 | 0.007303 | 0.0018303
56 | 1 | 0 | -0.58608 | -0.14937
57 | 0.99119 | -0.168 | 0.011445 | 0.0028684
58 | 0.99583 | -0.080122 | 0.0068409 | 0.0017145
59 | 0.99625 | -0.071949 | 0.014611 | 0.0036618
60 | 0.99483 | -0.0993 | 0.0036017 | 0.00090268
61 | 0.99722 | -0.053264 | 0.0047756 | 0.0011969
62 | 0.99478 | -0.10035 | 0.0093921 | 0.0023539
63 | 0.9981 | -0.036498 | 0.018835 | 0.0047205
64 | 0.9944 | -0.10759 | 0.0049731 | 0.0012464
65 | 0.99402 | -0.11507 | 0.011523 | 0.0028879
66 | 0.99389 | -0.11762 | 0.010045 | 0.0025175
67 | 0.97713 | -0.43993 | 0.004123 | 0.0010333
68 | 0.97126 | -0.55548 | 0.0046378 | 0.0011623
69 | 0.98325 | -0.32094 | 0.0061061 | 0.0015303
70 | 0.98427 | -0.30114 | 0.0057208 | 0.0014338
71 | 0.98409 | -0.30466 | 0.0085645 | 0.0021465
72 | 0.98338 | -0.31845 | 0.0081478 | 0.002042
73 | 0.98362 | -0.3137 | 0.0059624 | 0.0014943
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.074069 | -0.018632 | 0.074102 | 0.018653 | 3.3135e-05 | 2.1121e-05 | 0.11317 | 0.11317 | 0.11317 | 0.97408 | -0.49984 | 0.97456 | -0.49048 | 31.0915
1 | 0.067853 | 0.017074 | -0.067816 | -0.017051 | 3.6648e-05 | 2.3342e-05 | 0.10368 | 0.10368 | 0.10368 | 0.97408 | -0.49984 | 0.97351 | -0.51115 | 28.4828
2 | -0.079195 | -0.019929 | 0.079276 | 0.019981 | 8.0248e-05 | 5.1176e-05 | 0.12095 | 0.12095 | 0.12095 | 0.97456 | -0.49048 | 0.97564 | -0.4693 | 33.228
3 | 0.062583 | 0.015739 | -0.062524 | -0.015702 | 5.8873e-05 | 3.7465e-05 | 0.095678 | 0.095678 | 0.095678 | 0.97351 | -0.51115 | 0.97251 | -0.53086 | 26.2853
4 | -0.083756 | -0.021103 | 0.083871 | 0.021177 | 0.00011543 | 7.364e-05 | 0.12778 | 0.12778 | 0.12778 | 0.97564 | -0.4693 | 0.9771 | -0.44053 | 35.1052
5 | 0.055604 | 0.013967 | -0.055596 | -0.013962 | 8.4116e-06 | 5.345e-06 | 0.085091 | 0.085091 | 0.085091 | 0.97251 | -0.53086 | 0.97235 | -0.53403 | 23.3765
6 | -0.088493 | -0.022335 | 0.088498 | 0.022339 | 5.5857e-06 | 3.5646e-06 | 0.13482 | 0.13482 | 0.13482 | 0.9771 | -0.44053 | 0.97717 | -0.43921 | 37.0386
7 | 0.051093 | 0.012833 | -0.051066 | -0.012816 | 2.705e-05 | 1.7166e-05 | 0.0782 | 0.0782 | 0.0782 | 0.97235 | -0.53403 | 0.97178 | -0.54514 | 21.4834
8 | -0.092621 | -0.023372 | 0.092866 | 0.023528 | 0.00024418 | 0.00015587 | 0.1411 | 0.1411 | 0.1411 | 0.97717 | -0.43921 | 0.97998 | -0.38432 | 38.7635
9 | 0.0041231 | 0.0010333 | -0.004123 | -0.0010333 | 1.4072e-07 | -2.9181e-08 | 0.0062786 | 0.0062786 | 0.0062786 | 0.97717 | -0.43921 | 0.97713 | -0.43993 | 1.7249
10 | 0.044227 | 0.011102 | -0.044205 | -0.011088 | 2.181e-05 | 1.3801e-05 | 0.067728 | 0.067728 | 0.067728 | 0.97178 | -0.54514 | 0.97126 | -0.55548 | 18.6066
11 | 0.011935 | 0.0029921 | -0.011932 | -0.0029905 | 2.9352e-06 | 1.5777e-06 | 0.018113 | 0.018113 | 0.018113 | 0.98051 | -0.37532 | 0.98025 | -0.38049 | 4.9761
12 | -0.029773 | -0.0074626 | 0.029777 | 0.0074651 | 4.116e-06 | 2.5664e-06 | 0.045183 | 0.045183 | 0.045183 | 0.98051 | -0.37532 | 0.98066 | -0.37242 | 12.4129
13 | -0.029777 | -0.0074651 | 0.029793 | 0.0074755 | 1.6627e-05 | 1.0367e-05 | 0.045183 | 0.045183 | 0.045183 | 0.98066 | -0.37242 | 0.98126 | -0.36071 | 12.4129
14 | -0.044172 | -0.011079 | 0.044213 | 0.011105 | 4.1298e-05 | 2.612e-05 | 0.066987 | 0.066987 | 0.066987 | 0.98126 | -0.36071 | 0.98226 | -0.34112 | 18.4031
15 | -0.053358 | -0.013397 | 0.05339 | 0.013418 | 3.2129e-05 | 2.0396e-05 | 0.080841 | 0.080841 | 0.080841 | 0.98226 | -0.34112 | 0.98291 | -0.3285 | 22.209
16 | -0.1141 | -0.02876 | 0.11439 | 0.028941 | 0.00028339 | 0.00018105 | 0.17207 | 0.17207 | 0.17207 | 0.98709 | -0.24704 | 0.98977 | -0.19527 | 47.2714
17 | 0.019015 | 0.0047678 | -0.01901 | -0.0047646 | 5.3935e-06 | 3.2282e-06 | 0.028665 | 0.028665 | 0.028665 | 0.98709 | -0.24704 | 0.98679 | -0.25299 | 7.8751
18 | 0.09509 | 0.023992 | -0.094993 | -0.02393 | 9.7325e-05 | 6.2127e-05 | 0.1434 | 0.1434 | 0.1434 | 0.98709 | -0.24704 | 0.98599 | -0.26844 | 39.3963
19 | -0.12121 | -0.03065 | 0.12135 | 0.030739 | 0.00013836 | 8.841e-05 | 0.18232 | 0.18232 | 0.18232 | 0.98977 | -0.19527 | 0.991 | -0.1715 | 50.0884
20 | 0.0095148 | 0.002385 | -0.0095132 | -0.0023842 | 1.5738e-06 | 7.4685e-07 | 0.014348 | 0.014348 | 0.014348 | 0.98679 | -0.25299 | 0.98661 | -0.25646 | 3.9417
21 | 0.087878 | 0.022147 | -0.087798 | -0.022096 | 7.9759e-05 | 5.0892e-05 | 0.13267 | 0.13267 | 0.13267 | 0.98599 | -0.26844 | 0.98501 | -0.28743 | 36.4465
22 | -0.078852 | -0.019832 | 0.078908 | 0.019868 | 5.6182e-05 | 3.5822e-05 | 0.11924 | 0.11924 | 0.11924 | 0.98425 | -0.30233 | 0.98501 | -0.28743 | 32.7571
23 | 0.078852 | 0.019832 | -0.078846 | -0.019828 | 5.9275e-06 | 3.7795e-06 | 0.11924 | 0.11924 | 0.11924 | 0.98425 | -0.30233 | 0.98417 | -0.3039 | 32.7571
24 | 0.074866 | 0.018831 | -0.074835 | -0.018811 | 3.1151e-05 | 1.9854e-05 | 0.11322 | 0.11322 | 0.11322 | 0.98417 | -0.3039 | 0.98372 | -0.31262 | 31.1039
25 | -0.065006 | -0.016329 | 0.065055 | 0.01636 | 4.9313e-05 | 3.1388e-05 | 0.098425 | 0.098425 | 0.098425 | 0.98291 | -0.3285 | 0.98372 | -0.31262 | 27.0398
26 | -0.0092004 | -0.0023058 | 0.0092009 | 0.0023061 | 4.7539e-07 | 2.1775e-07 | 0.013778 | 0.013778 | 0.013778 | 0.99362 | -0.12281 | 0.99367 | -0.12172 | 3.7852
27 | -0.015753 | -0.0039483 | 0.015756 | 0.00395 | 3.0776e-06 | 1.7786e-06 | 0.023591 | 0.02359 | 0.023591 | 0.99367 | -0.12172 | 0.99389 | -0.11762 | 6.4809
28 | -0.12543 | -0.031763 | 0.12545 | 0.031776 | 2.1087e-05 | 1.3475e-05 | 0.18846 | 0.18846 | 0.18846 | 0.991 | -0.1715 | 0.99119 | -0.168 | 51.7738
29 | -0.012968 | -0.0032502 | 0.012973 | 0.0032526 | 4.3988e-06 | 2.4196e-06 | 0.019511 | 0.01951 | 0.019511 | 0.98906 | -0.20887 | 0.98942 | -0.20176 | 5.3601
30 | -0.23477 | -0.059632 | 0.23495 | 0.059749 | 0.00018305 | 0.00011635 | 0.35335 | 0.35335 | 0.35335 | 0.98942 | -0.20176 | 0.99026 | -0.18557 | 24.2688
31 | 0.22179 | 0.05638 | -0.22153 | -0.056215 | 0.00026009 | 0.00016518 | 0.33384 | 0.33384 | 0.33384 | 0.98942 | -0.20176 | 0.98815 | -0.22614 | 22.9289
32 | -0.25015 | -0.063558 | 0.25025 | 0.063624 | 0.00010476 | 6.6642e-05 | 0.37619 | 0.37619 | 0.37619 | 0.99026 | -0.18557 | 0.99072 | -0.17688 | 25.8374
33 | 0.21396 | 0.054317 | -0.21392 | -0.054292 | 4.0293e-05 | 2.5576e-05 | 0.32244 | 0.32244 | 0.32244 | 0.98815 | -0.22614 | 0.98795 | -0.23005 | 22.1459
34 | -0.2687 | -0.068247 | 0.26891 | 0.068384 | 0.00021463 | 0.00013664 | 0.40389 | 0.40389 | 0.40389 | 0.99072 | -0.17688 | 0.99158 | -0.1603 | 27.7399
35 | 0.19293 | 0.049029 | -0.19267 | -0.04887 | 0.00025208 | 0.00015971 | 0.29082 | 0.29082 | 0.29082 | 0.98795 | -0.23005 | 0.98654 | -0.25722 | 19.9739
36 | -0.021368 | -0.0053554 | 0.021369 | 0.005356 | 1.0042e-06 | 6.1189e-07 | 0.032765 | 0.032765 | 0.032765 | 0.97044 | -0.57179 | 0.97049 | -0.57081 | 9.0013
37 | -0.030431 | -0.0076272 | 0.030446 | 0.0076366 | 1.5033e-05 | 9.3933e-06 | 0.04666 | 0.04666 | 0.04666 | 0.97049 | -0.57081 | 0.97101 | -0.56044 | 12.8186
38 | -0.27727 | -0.070478 | 0.27748 | 0.070612 | 0.00021042 | 0.000134 | 0.41643 | 0.41643 | 0.41643 | 0.99158 | -0.1603 | 0.9924 | -0.14455 | 28.6012
39 | 0.19267 | 0.04887 | -0.19251 | -0.048767 | 0.00016259 | 0.00010301 | 0.29082 | 0.29082 | 0.29082 | 0.98654 | -0.25722 | 0.98563 | -0.27479 | 19.974
40 | -0.039558 | -0.0099202 | 0.039568 | 0.0099261 | 9.3584e-06 | 5.9054e-06 | 0.060623 | 0.060623 | 0.060623 | 0.97101 | -0.56044 | 0.97126 | -0.55548 | 16.6546
41 | -0.286 | -0.072747 | 0.28624 | 0.072902 | 0.00024338 | 0.00015503 | 0.4292 | 0.4292 | 0.4292 | 0.9924 | -0.14455 | 0.99333 | -0.12691 | 29.4784
42 | -0.4635 | -0.11778 | 0.46538 | 0.11898 | 0.0018772 | 0.0011992 | 0.69491 | 0.69491 | 0.69491 | 0.99333 | -0.12691 | 0.99772 | -0.043163 | 47.7273
43 | 0.029699 | 0.0074519 | -0.029689 | -0.0074455 | 1.0316e-05 | 6.4225e-06 | 0.044492 | 0.044493 | 0.044493 | 0.99333 | -0.12691 | 0.99295 | -0.13419 | 12.2232
44 | 0.14757 | 0.037426 | -0.14748 | -0.03737 | 8.859e-05 | 5.5698e-05 | 0.22121 | 0.22121 | 0.22121 | 0.99333 | -0.12691 | 0.99267 | -0.1394 | 15.1932
45 | -0.47341 | -0.12099 | 0.47366 | 0.12115 | 0.00025228 | 0.00016118 | 0.70688 | 0.70688 | 0.70688 | 0.99772 | -0.043163 | 0.9983 | -0.032151 | 48.5494
46 | 0.022387 | 0.0056155 | -0.022376 | -0.0056087 | 1.1242e-05 | 6.8509e-06 | 0.033551 | 0.033551 | 0.033551 | 0.99295 | -0.13419 | 0.9924 | -0.14473 | 9.2172
47 | 0.14177 | 0.035939 | -0.14169 | -0.035887 | 8.0765e-05 | 5.1443e-05 | 0.21265 | 0.21265 | 0.21265 | 0.99267 | -0.1394 | 0.99206 | -0.15126 | 29.2106
48 | -0.48291 | -0.12347 | 0.48366 | 0.12395 | 0.00075245 | 0.00048076 | 0.72067 | 0.72067 | 0.72067 | 0.9983 | -0.032151 | 1 | 0 | 49.4963
49 | 0.012068 | 0.0030249 | -0.012067 | -0.0030243 | 1.1578e-06 | 6.1918e-07 | 0.018095 | 0.018095 | 0.018095 | 0.9924 | -0.14473 | 0.9923 | -0.14675 | 4.9711
50 | 0.010308 | 0.0025838 | -0.010307 | -0.0025831 | 1.3557e-06 | 6.7213e-07 | 0.015456 | 0.015456 | 0.015456 | 0.9924 | -0.14473 | 0.99226 | -0.1475 | 4.2462
51 | 0.13701 | 0.034715 | -0.1369 | -0.034645 | 0.00011008 | 7.0362e-05 | 0.20564 | 0.20564 | 0.20564 | 0.99206 | -0.15126 | 0.99119 | -0.168 | 56.494
52 | 0.17938 | 0.045477 | -0.17928 | -0.045409 | 0.0001074 | 6.7944e-05 | 0.271 | 0.271 | 0.271 | 0.98563 | -0.27479 | 0.98499 | -0.28726 | 18.6129
53 | 0.17071 | 0.043261 | -0.17066 | -0.043232 | 4.5949e-05 | 2.9033e-05 | 0.25806 | 0.25806 | 0.25806 | 0.98499 | -0.28726 | 0.9847 | -0.29286 | 17.7239
54 | -0.10955 | -0.027747 | 0.10966 | 0.02781 | 0.00010088 | 6.2594e-05 | 0.16629 | 0.16629 | 0.16629 | 0.98093 | -0.36594 | 0.98192 | -0.34678 | 11.4212
55 | 0.10955 | 0.027747 | -0.10946 | -0.027686 | 9.6621e-05 | 6.078e-05 | 0.16629 | 0.16629 | 0.16629 | 0.98093 | -0.36594 | 0.97998 | -0.38432 | 15.2282
56 | -0.11637 | -0.029493 | 0.11645 | 0.029541 | 7.7102e-05 | 4.8008e-05 | 0.17647 | 0.17647 | 0.17647 | 0.98192 | -0.34678 | 0.98263 | -0.33301 | 12.1202
57 | 0.16114 | 0.040846 | -0.16108 | -0.040806 | 6.4072e-05 | 4.042e-05 | 0.24367 | 0.24367 | 0.24367 | 0.9847 | -0.29286 | 0.98427 | -0.30114 | 16.7357
58 | -0.12636 | -0.032026 | 0.12644 | 0.032072 | 7.3304e-05 | 4.5833e-05 | 0.19148 | 0.19148 | 0.19148 | 0.98263 | -0.33301 | 0.98325 | -0.32094 | 13.1514
59 | 0.0073042 | 0.0018307 | -0.007303 | -0.0018303 | 1.2523e-06 | 4.4197e-07 | 0.010953 | 0.010953 | 0.010953 | 0.9923 | -0.14675 | 0.99211 | -0.15035 | 3.0091
60 | 0.10077 | 0.025419 | -0.1006 | -0.025306 | 0.00017575 | 0.0001122 | 0.15001 | 0.15001 | 0.15001 | 1 | 0 | 0.9981 | -0.036498 | 41.2109
61 | -0.062217 | -0.015626 | 0.062241 | 0.015642 | 2.4275e-05 | 1.5439e-05 | 0.092979 | 0.092979 | 0.092979 | 0.99583 | -0.080122 | 0.99625 | -0.071949 | 25.5437
62 | 0.055376 | 0.013912 | -0.055325 | -0.01388 | 5.0634e-05 | 3.2149e-05 | 0.082757 | 0.082757 | 0.082757 | 0.99583 | -0.080122 | 0.99483 | -0.0993 | 22.7355
63 | -0.076852 | -0.019303 | 0.07692 | 0.019347 | 6.8591e-05 | 4.3717e-05 | 0.1148 | 0.1148 | 0.1148 | 0.99625 | -0.071949 | 0.99722 | -0.053264 | 31.5389
64 | 0.051723 | 0.012977 | -0.051721 | -0.012975 | 2.5914e-06 | 1.6435e-06 | 0.07737 | 0.07737 | 0.07737 | 0.99483 | -0.0993 | 0.99478 | -0.10035 | 21.2554
65 | -0.081696 | -0.020544 | 0.081761 | 0.020586 | 6.5476e-05 | 4.1751e-05 | 0.12193 | 0.12193 | 0.12193 | 0.99722 | -0.053264 | 0.9981 | -0.036498 | 33.4965
66 | 0.042329 | 0.010621 | -0.042314 | -0.010612 | 1.4611e-05 | 9.2252e-06 | 0.063321 | 0.063321 | 0.063321 | 0.99478 | -0.10035 | 0.9944 | -0.10759 | 17.3958
67 | 0.037341 | 0.0093658 | -0.037328 | -0.0093575 | 1.3311e-05 | 8.3713e-06 | 0.055879 | 0.055879 | 0.055879 | 0.9944 | -0.10759 | 0.99402 | -0.11507 | 15.3514
68 | 0.025805 | 0.0064695 | -0.025801 | -0.0064676 | 3.1369e-06 | 1.9349e-06 | 0.03863 | 0.03863 | 0.03863 | 0.99402 | -0.11507 | 0.99389 | -0.11762 | 10.6125
69 | -0.13254 | -0.033602 | 0.13256 | 0.033612 | 1.5841e-05 | 9.9257e-06 | 0.20073 | 0.20072 | 0.20073 | 0.98325 | -0.32094 | 0.98338 | -0.31845 | 13.7861
70 | 0.15536 | 0.039372 | -0.15533 | -0.039355 | 2.627e-05 | 1.6555e-05 | 0.23502 | 0.23502 | 0.23502 | 0.98427 | -0.30114 | 0.98409 | -0.30466 | 16.1417
71 | 0.14677 | 0.037209 | -0.1467 | -0.037169 | 6.3787e-05 | 4.0123e-05 | 0.22207 | 0.22207 | 0.22207 | 0.98409 | -0.30466 | 0.98362 | -0.3137 | 15.2523
72 | -0.14071 | -0.035654 | 0.14074 | 0.035674 | 3.2112e-05 | 2.0169e-05 | 0.21305 | 0.21305 | 0.21305 | 0.98338 | -0.31845 | 0.98362 | -0.3137 | 14.6328

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59094 | 0.15059

## res_load
| p_mw | q_mvar
0 | 0.006216 | 0.0015579
1 | 0.0050934 | 0.0012765
2 | 0.0052332 | 0.0013116
3 | 0.0044802 | 0.0011229
4 | 0.0069198 | 0.0017343
5 | 0.0046213 | 0.0011582
6 | 0.004503 | 0.0011286
7 | 0.0068387 | 0.0017139
8 | 0.017837 | 0.0044705
9 | 0.011932 | 0.0029905
10 | 0.014379 | 0.0036036
11 | 0.009145 | 0.002292
12 | 0.0068204 | 0.0017094
13 | 0.0094948 | 0.0023796
14 | 0.0071147 | 0.0017831
15 | 0.0088899 | 0.002228
16 | 0.0039801 | 0.0009975
17 | 0.011615 | 0.002911
18 | 0.0092004 | 0.0023058
19 | 0.0065525 | 0.0016422
20 | 0.0040859 | 0.001024
21 | 0.0095132 | 0.0023842
22 | 0.0097799 | 0.0024511
23 | 0.012968 | 0.0032502
24 | 0.015199 | 0.0038091
25 | 0.0075705 | 0.0018973
26 | 0.018444 | 0.0046224
27 | 0.020997 | 0.0052623
28 | 0.021368 | 0.0053554
29 | 0.0090623 | 0.0022712
30 | 0.0083566 | 0.0020944
31 | 0.0091118 | 0.0022836
32 | 0.008518 | 0.0021348
33 | 0.0080256 | 0.0020114
34 | 0.0073015 | 0.0018299
35 | 0.0057108 | 0.0014313
36 | 0.0092506 | 0.0023184
37 | 0.0046768 | 0.0011721
38 | 0.013126 | 0.0032898
39 | 0.0085685 | 0.0021475
40 | 0.0067168 | 0.0016834
41 | 0.016592 | 0.0041583
42 | 0.0095215 | 0.0023863
43 | 0.0099154 | 0.002485
44 | 0.010307 | 0.0025831
45 | 0.0047624 | 0.0011936
46 | 0.007303 | 0.0018303
47 | 0.0048573 | 0.0012174
48 | 0.011445 | 0.0028684
49 | 0.0068409 | 0.0017145
50 | 0.014611 | 0.0036618
51 | 0.0036017 | 0.00090268
52 | 0.0047756 | 0.0011969
53 | 0.0093921 | 0.0023539
54 | 0.018835 | 0.0047205
55 | 0.0049731 | 0.0012464
56 | 0.011523 | 0.0028879
57 | 0.010045 | 0.0025175
58 | 0.004123 | 0.0010333
59 | 0.0046378 | 0.0011623
60 | 0.0061061 | 0.0015303
61 | 0.0057208 | 0.0014338
62 | 0.0085645 | 0.0021465
63 | 0.0081478 | 0.002042
64 | 0.0059624 | 0.0014943

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1