## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-716_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-716_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-716_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-716_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-716_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-716_0_4_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_261-716_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_261-716_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_261-716_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-716_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-716_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-716_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-716_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-716_0_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_261-716_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-716_0_4_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_261-716_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_261-716_0_4_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_261-716_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-716_0_4_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_261-716_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_261-716_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_261-716_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-716_0_4_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_261-716_0_4_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_261-716_0_4_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_261-716_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_261-716_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_261-716_0_4_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_261-716_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_261-716_0_4_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_261-716_0_4_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_261-716_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_261-716_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_261-716_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_261-716_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_261-716_0_4_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_261-716_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_261-716_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_261-716_0_4_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_261-716_0_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_261-716_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_261-716_0_4_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_261-716_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_261-716_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_261-716_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_261-716_0_4_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_261-716_0_4_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_261-716_0_4_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_261-716_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_261-716_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_261-716_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_261-716_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_261-716_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_261-716_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_261-716_0_4_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_261-716_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_261-716_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_261-716_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_261-716_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_261-716_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_261-716_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_261-716_0_4_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_261-716_0_4_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_261-716_0_4_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_261-716_0_4_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_261-716_0_4_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_261-716_0_4_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_261-716_0_4_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_261-716_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_261-716_0_4_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_261-716_0_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_261-716_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_261-716_0_4_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_261-716_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_261-716_0_4_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_261-716_0_4_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_261-716_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_261-716_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_261-716_0_4_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_261-716_0_4_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_261-716_0_4_node_50 | 0.4 | n |  | TRUE
82 | bus_LV_261-716_0_4_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_261-716_0_4_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_261-716_0_4_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_261-716_0_4_node_55 | 0.4 | n |  | TRUE
86 | bus_LV_261-716_0_4_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_261-716_0_4_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_261-716_0_4_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_261-716_0_4_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_261-716_0_4_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_261-716_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_MV_537_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-716_0_4_load_0 | 0 | 0.008016 | 0.002009 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-716_0_4_load_1 | 1 | 0.0079913 | 0.0020028 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-716_0_4_load_2 | 2 | 0.03196 | 0.00801 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-716_0_4_load_3 | 3 | 0.0084959 | 0.0021293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-716_0_4_load_4 | 4 | 0.023174 | 0.005808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-716_0_4_load_34 | 6 | 0.022647 | 0.0056758 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-716_0_4_load_5 | 9 | 0.031843 | 0.0079806 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-716_0_4_load_42 | 13 | 0.0071312 | 0.0017873 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-716_0_4_load_99 | 15 | 0.0080483 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-716_0_4_load_98 | 17 | 0.0062887 | 0.0015761 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-716_0_4_load_93 | 19 | 0.0070356 | 0.0017633 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-716_0_4_load_88 | 23 | 0.006742 | 0.0016897 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-716_0_4_load_56 | 24 | 0.007557 | 0.001894 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-716_0_4_load_70 | 25 | 0.0070904 | 0.001777 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-716_0_4_load_65 | 28 | 0.0076164 | 0.0019089 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-716_0_4_load_63 | 30 | 0.0045116 | 0.0011307 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-716_0_4_load_71 | 31 | 0.011436 | 0.0028661 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-716_0_4_load_58 | 32 | 0.0077578 | 0.0019443 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-716_0_4_load_36 | 33 | 0.0045473 | 0.0011397 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-716_0_4_load_35 | 34 | 0.0081138 | 0.0020335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-716_0_4_load_68 | 36 | 0.010737 | 0.0026908 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-716_0_4_load_76 | 39 | 0.0042504 | 0.0010653 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-716_0_4_load_89 | 42 | 0.01393 | 0.0034912 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-716_0_4_load_37 | 44 | 0.0062299 | 0.0015614 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-716_0_4_load_41 | 45 | 0.0060682 | 0.0015208 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-716_0_4_load_69 | 46 | 0.0057258 | 0.001435 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-716_0_4_load_79 | 47 | 0.0083807 | 0.0021004 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-716_0_4_load_78 | 48 | 0.0062366 | 0.001563 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-716_0_4_load_40 | 49 | 0.007156 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-716_0_4_load_47 | 50 | 0.011119 | 0.0027867 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-716_0_4_load_44 | 51 | 0.009164 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-716_0_4_load_33 | 53 | 0.0062286 | 0.001561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-716_0_4_load_43 | 54 | 0.010128 | 0.0025382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-716_0_4_load_54 | 56 | 0.0076714 | 0.0019226 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-716_0_4_load_64 | 57 | 0.0058166 | 0.0014578 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-716_0_4_load_62 | 58 | 0.0059161 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-716_0_4_load_57 | 59 | 0.0072867 | 0.0018262 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-716_0_4_load_38 | 60 | 0.004462 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-716_0_4_load_39 | 61 | 0.0049702 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-716_0_4_load_97 | 63 | 0.0094144 | 0.0023595 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-716_0_4_load_95 | 65 | 0.0069209 | 0.0017345 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-716_0_4_load_96 | 66 | 0.0041841 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-716_0_4_load_83 | 67 | 0.0047759 | 0.001197 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-716_0_4_load_84 | 68 | 0.0046389 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-716_0_4_load_52 | 69 | 0.0050904 | 0.0012758 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-716_0_4_load_81 | 70 | 0.0029503 | 0.00073943 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-716_0_4_load_77 | 71 | 0.0048386 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-716_0_4_load_74 | 72 | 0.0044691 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-716_0_4_load_100 | 73 | 0.0030341 | 0.00076041 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-716_0_4_load_67 | 74 | 0.0037546 | 0.000941 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-716_0_4_load_45 | 75 | 0.0069043 | 0.0017304 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-716_0_4_load_46 | 76 | 0.0058397 | 0.0014636 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-716_0_4_load_59 | 77 | 0.0044387 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-716_0_4_load_60 | 78 | 0.0043862 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-716_0_4_load_48 | 79 | 0.0034879 | 0.00087414 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-716_0_4_load_49 | 80 | 0.0015794 | 0.00039583 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-716_0_4_load_53 | 82 | 0.0027425 | 0.00068732 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-716_0_4_load_91 | 83 | 0.0025865 | 0.00064824 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-716_0_4_load_90 | 84 | 0.0024763 | 0.00062063 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-716_0_4_load_55 | 85 | 0.028395 | 0.0071164 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-716_0_4_load_61 | 86 | 0.011361 | 0.0028474 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-716_0_4_load_66 | 87 | 0.0037482 | 0.00093939 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-716_0_4_load_92 | 88 | 0.0018071 | 0.0004529 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-716_0_4_load_94 | 89 | 0.0044845 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-716_0_4_load_75 | 90 | 0.0041812 | 0.0010479 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_261-716_0_4_load_85 | 91 | 0.0033789 | 0.00084684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 85 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-716_0_4_line_0 |  | 0 | 1 | 0.01188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_261-716_0_4_line_1 |  | 0 | 2 | 0.024464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_261-716_0_4_line_2 |  | 1 | 3 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_261-716_0_4_line_3 |  | 2 | 4 | 0.012341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-716_0_4_line_4 |  | 3 | 5 | 0.023799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-716_0_4_line_5 |  | 4 | 6 | 0.010361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-716_0_4_line_6 |  | 5 | 7 | 0.018208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-716_0_4_line_7 |  | 6 | 8 | 0.02603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-716_0_4_line_8 |  | 7 | 22 | 0.026199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-716_0_4_line_9 |  | 7 | 23 | 0.022397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-716_0_4_line_10 |  | 8 | 9 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-716_0_4_line_11 |  | 9 | 10 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-716_0_4_line_12 |  | 10 | 11 | 0.038195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-716_0_4_line_13 |  | 11 | 12 | 0.026307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-716_0_4_line_14 |  | 11 | 13 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-716_0_4_line_15 |  | 12 | 49 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-716_0_4_line_16 |  | 13 | 54 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-716_0_4_line_17 |  | 14 | 15 | 0.0078881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-716_0_4_line_18 |  | 14 | 16 | 0.012293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-716_0_4_line_19 |  | 14 | 17 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-716_0_4_line_20 |  | 16 | 33 | 0.039006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-716_0_4_line_21 |  | 16 | 34 | 0.012859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-716_0_4_line_22 |  | 16 | 26 | 0.018532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-716_0_4_line_23 |  | 18 | 19 | 0.021742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-716_0_4_line_24 |  | 18 | 20 | 0.018226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-716_0_4_line_25 |  | 18 | 21 | 0.0092279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-716_0_4_line_26 |  | 19 | 55 | 0.039231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-716_0_4_line_27 |  | 20 | 32 | 0.028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-716_0_4_line_28 |  | 21 | 50 | 0.0073611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-716_0_4_line_29 |  | 21 | 51 | 0.026501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-716_0_4_line_30 |  | 22 | 24 | 0.025576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-716_0_4_line_31 |  | 22 | 25 | 0.054155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_261-716_0_4_line_32 |  | 23 | 41 | 0.0015686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-716_0_4_line_33 |  | 24 | 56 | 0.047483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-716_0_4_line_34 |  | 25 | 50 | 0.030667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_261-716_0_4_line_35 |  | 26 | 27 | 0.007599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-716_0_4_line_36 |  | 26 | 28 | 0.0023179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-716_0_4_line_37 |  | 27 | 35 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-716_0_4_line_38 |  | 27 | 36 | 0.027693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_261-716_0_4_line_39 |  | 28 | 57 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-716_0_4_line_40 |  | 29 | 30 | 0.0095317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-716_0_4_line_41 |  | 29 | 31 | 0.0055921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-716_0_4_line_42 |  | 30 | 58 | 0.0037465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-716_0_4_line_43 |  | 31 | 59 | 0.023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-716_0_4_line_44 |  | 32 | 69 | 0.031176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-716_0_4_line_45 |  | 33 | 61 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-716_0_4_line_46 |  | 34 | 52 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-716_0_4_line_47 |  | 35 | 47 | 0.026186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-716_0_4_line_48 |  | 35 | 48 | 0.0082497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-716_0_4_line_49 |  | 36 | 38 | 0.029669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_261-716_0_4_line_50 |  | 37 | 38 | 0.010009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-716_0_4_line_51 |  | 37 | 39 | 0.01821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-716_0_4_line_52 |  | 37 | 40 | 0.002644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-716_0_4_line_53 |  | 38 | 46 | 0.0099301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_261-716_0_4_line_54 |  | 39 | 72 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-716_0_4_line_55 |  | 40 | 73 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-716_0_4_line_56 |  | 41 | 42 | 0.025515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-716_0_4_line_57 |  | 43 | 44 | 0.0087279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-716_0_4_line_58 |  | 43 | 45 | 0.0032629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-716_0_4_line_59 |  | 44 | 52 | 0.0070691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-716_0_4_line_60 |  | 45 | 53 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-716_0_4_line_61 |  | 46 | 74 | 0.021428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_261-716_0_4_line_62 |  | 51 | 75 | 0.019016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_261-716_0_4_line_63 |  | 55 | 66 | 0.006704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-716_0_4_line_64 |  | 55 | 64 | 0.0094099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-716_0_4_line_65 |  | 56 | 85 | 0.023689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_261-716_0_4_line_66 |  | 57 | 58 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-716_0_4_line_67 |  | 60 | 61 | 0.011726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-716_0_4_line_68 |  | 62 | 63 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-716_0_4_line_69 |  | 62 | 64 | 0.005086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-716_0_4_line_70 |  | 64 | 65 | 0.040269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-716_0_4_line_71 |  | 65 | 89 | 0.0027741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-716_0_4_line_72 |  | 66 | 91 | 0.010105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-716_0_4_line_73 |  | 67 | 68 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-716_0_4_line_74 |  | 68 | 91 | 0.027054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-716_0_4_line_75 |  | 69 | 81 | 0.0089837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-716_0_4_line_76 |  | 70 | 71 | 0.021588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-716_0_4_line_77 |  | 71 | 90 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-716_0_4_line_78 |  | 72 | 90 | 0.021699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-716_0_4_line_79 |  | 74 | 87 | 0.0085695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_261-716_0_4_line_80 |  | 75 | 76 | 0.018324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_261-716_0_4_line_81 |  | 76 | 77 | 0.017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_261-716_0_4_line_82 |  | 77 | 78 | 0.011266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_261-716_0_4_line_83 |  | 78 | 86 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_261-716_0_4_line_84 |  | 79 | 80 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-716_0_4_line_85 |  | 79 | 81 | 0.013073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-716_0_4_line_86 |  | 81 | 82 | 0.017785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_261-716_0_4_line_87 |  | 82 | 83 | 0.0083614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-716_0_4_line_88 |  | 83 | 84 | 0.0082267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-716_0_4_line_89 |  | 86 | 87 | 0.021166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_261-716_0_4_line_90 |  | 88 | 89 | 0.0099002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-716_0_4_trafo_55 | 0.63 MVA 20/0.4 kV | 92 | 85 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2683698.7894 | 1249087.1374 | 2683703.1091 | 1249076.0708
1 | 2683698.7894 | 1249087.1374 | 2683689.8937 | 1249109.9271
2 | 2683707.5606 | 1249064.6665 | 2683703.1091 | 1249076.0708
3 | 2683689.8937 | 1249109.9271 | 2683685.4064 | 1249121.423
4 | 2683715.2362 | 1249042.2694 | 2683714.9376 | 1249045.7677 | 2683707.5606 | 1249064.6665
5 | 2683685.4064 | 1249121.423 | 2683681.6388 | 1249131.0752
6 | 2683715.2362 | 1249042.2694 | 2683718.4796 | 1249043.605 | 2683722.3986 | 1249045.2282 | 2683723.7725 | 1249045.7925 | 2683725.1915 | 1249046.3796 | 2683731.0777 | 1249048.7979 | 2683732.0687 | 1249049.2122
7 | 2683672.1739 | 1249155.3231 | 2683681.6388 | 1249131.0752
8 | 2683720.6723 | 1249072.8021 | 2683723.4729 | 1249066.9929 | 2683725.6816 | 1249062.4652 | 2683732.0687 | 1249049.2122
9 | 2683732.0687 | 1249049.2122 | 2683733.3243 | 1249055.479 | 2683734.7947 | 1249062.5717 | 2683736.6978 | 1249071.1242
10 | 2683672.1739 | 1249155.3231 | 2683667.3152 | 1249153.4087 | 2683668.7191 | 1249149.1809 | 2683664.5549 | 1249147.6709
11 | 2683646.2546 | 1249144.2937 | 2683662.0983 | 1249150.6553 | 2683663.5502 | 1249147.3066 | 2683664.5549 | 1249147.6709
12 | 2683660.3036 | 1249108.7655 | 2683646.2546 | 1249144.2937
13 | 2683660.3036 | 1249108.7655 | 2683635.5187 | 1249099.7425
14 | 2683660.3036 | 1249108.7655 | 2683669.2613 | 1249087.9442
15 | 2683635.5187 | 1249099.7425 | 2683639.7093 | 1249088.0279
16 | 2683674.1911 | 1249076.4855 | 2683669.2613 | 1249087.9442
17 | 2683615.172 | 1249296.8462 | 2683613.4402 | 1249302.3815 | 2683612.8624 | 1249304.3882
18 | 2683615.172 | 1249296.8462 | 2683617.2302 | 1249291.1933 | 2683619.3825 | 1249285.297
19 | 2683615.172 | 1249296.8462 | 2683609.9489 | 1249292.9363 | 2683604.9566 | 1249288.1846 | 2683602.8884 | 1249286.0915
20 | 2683619.3825 | 1249285.297 | 2683616.1243 | 1249284.4838 | 2683613.0513 | 1249282.8504 | 2683606.4667 | 1249278.0317 | 2683589.4486 | 1249261.0969
21 | 2683619.3825 | 1249285.297 | 2683622.6063 | 1249276.2469 | 2683623.794 | 1249273.2198
22 | 2683619.3825 | 1249285.297 | 2683620.3517 | 1249285.6443 | 2683621.2759 | 1249285.9687 | 2683624.2429 | 1249287.0891 | 2683624.5508 | 1249287.2047 | 2683625.7451 | 1249287.6552 | 2683626.3309 | 1249287.8858 | 2683627.5627 | 1249288.348 | 2683628.7945 | 1249288.8213 | 2683630.4019 | 1249289.4222 | 2683630.7475 | 1249289.5494 | 2683632.8504 | 1249290.3574 | 2683633.4288 | 1249290.5769 | 2683636.2079 | 1249291.6279 | 2683636.7262 | 1249291.8243
23 | 2683751.975 | 1249158.152 | 2683752.9592 | 1249159.0443 | 2683754.1938 | 1249159.8513 | 2683755.4395 | 1249160.4026 | 2683756.7287 | 1249160.5542 | 2683758.107 | 1249160.2735 | 2683759.362 | 1249159.6352 | 2683770.3003 | 1249151.7853
24 | 2683750.3053 | 1249172.6391 | 2683747.8117 | 1249158.8604 | 2683750.7941 | 1249158.3577 | 2683751.975 | 1249158.152
25 | 2683742.8765 | 1249159.6913 | 2683745.0943 | 1249159.3223 | 2683747.8117 | 1249158.8604 | 2683750.7941 | 1249158.3577 | 2683751.975 | 1249158.152
26 | 2683799.4479 | 1249126.8551 | 2683799.1889 | 1249128.6194 | 2683798.5742 | 1249130.4343 | 2683797.788 | 1249131.5573 | 2683796.1025 | 1249133.2681 | 2683770.3003 | 1249151.7853
27 | 2683750.3053 | 1249172.6391 | 2683755.2884 | 1249200.5791
28 | 2683742.8765 | 1249159.6913 | 2683741.6006 | 1249152.4416
29 | 2683742.8765 | 1249159.6913 | 2683744.7705 | 1249170.4705 | 2683744.791 | 1249173.2951 | 2683740.1548 | 1249185.153
30 | 2683720.6723 | 1249072.8021 | 2683716.6349 | 1249081.1624 | 2683710.4825 | 1249096.2483
31 | 2683720.6723 | 1249072.8021 | 2683724.5425 | 1249074.6692 | 2683726.5873 | 1249076.3883 | 2683728.3165 | 1249078.5365 | 2683729.5044 | 1249083.7127 | 2683736.2849 | 1249122.2387
32 | 2683737.0385 | 1249072.6553 | 2683736.6978 | 1249071.1242
33 | 2683710.4825 | 1249096.2483 | 2683708.961 | 1249099.9791 | 2683693.2915 | 1249140.0877 | 2683693.1506 | 1249140.4551
34 | 2683736.2849 | 1249122.2387 | 2683741.6006 | 1249152.4416
35 | 2683636.7262 | 1249291.8243 | 2683635.0874 | 1249296.6492 | 2683634.2386 | 1249299.0056
36 | 2683636.7262 | 1249291.8243 | 2683637.577 | 1249289.6682
37 | 2683629.2867 | 1249310.1218 | 2683631.8211 | 1249304.4311 | 2683634.2386 | 1249299.0056
38 | 2683634.2386 | 1249299.0056 | 2683636.2022 | 1249301.6575 | 2683639.1338 | 1249303.1444 | 2683658.8034 | 1249310.797
39 | 2683637.577 | 1249289.6682 | 2683644.4063 | 1249272.363
40 | 2683653.6969 | 1249248.8207 | 2683650.198 | 1249257.687
41 | 2683653.6969 | 1249248.8207 | 2683655.4047 | 1249243.4958
42 | 2683648.8227 | 1249261.1719 | 2683650.198 | 1249257.687
43 | 2683655.4047 | 1249243.4958 | 2683662.4333 | 1249221.5793 | 2683662.7368 | 1249220.769
44 | 2683760.7623 | 1249231.2707 | 2683755.2884 | 1249200.5791
45 | 2683581.0962 | 1249252.5314 | 2683588.2744 | 1249259.9284 | 2683589.4486 | 1249261.0969
46 | 2683630.2122 | 1249256.862 | 2683623.794 | 1249273.2198
47 | 2683629.2867 | 1249310.1218 | 2683630.9712 | 1249309.5452 | 2683633.1463 | 1249309.5203 | 2683653.846 | 1249317.6266
48 | 2683629.2867 | 1249310.1218 | 2683628.5599 | 1249311.8573 | 2683625.8041 | 1249317.5983
49 | 2683686.6623 | 1249320.1722 | 2683684.8379 | 1249320.4911 | 2683682.7591 | 1249320.1171 | 2683658.8034 | 1249310.797
50 | 2683686.6623 | 1249320.1722 | 2683684.7629 | 1249325.2714 | 2683689.0132 | 1249326.9438
51 | 2683689.0132 | 1249326.9438 | 2683695.6674 | 1249309.9926
52 | 2683688.0872 | 1249329.4214 | 2683689.0132 | 1249326.9438
53 | 2683686.6623 | 1249320.1722 | 2683687.8111 | 1249319.032 | 2683690.8376 | 1249311.2911
54 | 2683699.5902 | 1249299.9996 | 2683695.6674 | 1249309.9926
55 | 2683688.0872 | 1249329.4214 | 2683692.1208 | 1249347.1313
56 | 2683737.0385 | 1249072.6553 | 2683737.8617 | 1249076.9257 | 2683741.3741 | 1249097.798
57 | 2683635.9775 | 1249242.1546 | 2683632.7921 | 1249250.2805
58 | 2683635.9775 | 1249242.1546 | 2683637.2388 | 1249239.1454
59 | 2683630.2122 | 1249256.862 | 2683632.7921 | 1249250.2805
60 | 2683637.2388 | 1249239.1454 | 2683639.2206 | 1249234.4169 | 2683642.1974 | 1249228.7464
61 | 2683690.8376 | 1249311.2911 | 2683698.6403 | 1249291.3342
62 | 2683733.2305 | 1249202.8632 | 2683740.1548 | 1249185.153
63 | 2683799.4479 | 1249126.8551 | 2683799.2123 | 1249120.1553
64 | 2683799.4479 | 1249126.8551 | 2683803.2556 | 1249126.731 | 2683803.4709 | 1249132.3271
65 | 2683684.6678 | 1249162.573 | 2683693.1506 | 1249140.4551
66 | 2683648.8227 | 1249261.1719 | 2683644.4063 | 1249272.363
67 | 2683572.9299 | 1249244.1162 | 2683581.0962 | 1249252.5314
68 | 2683808.5703 | 1249132.1769 | 2683810.4741 | 1249132.1149 | 2683824.4374 | 1249133.4491
69 | 2683803.4709 | 1249132.3271 | 2683808.5703 | 1249132.1769
70 | 2683803.4709 | 1249132.3271 | 2683805.2082 | 1249172.5589
71 | 2683805.3279 | 1249175.3304 | 2683805.2082 | 1249172.5589
72 | 2683798.8571 | 1249110.0563 | 2683799.2123 | 1249120.1553
73 | 2683797.5179 | 1249071.98 | 2683797.9061 | 1249083.0192
74 | 2683797.9061 | 1249083.0192 | 2683798.8571 | 1249110.0563
75 | 2683762.3397 | 1249240.1148 | 2683760.7623 | 1249231.2707
76 | 2683719.9155 | 1249248.2219 | 2683712.027 | 1249268.3174
77 | 2683712.027 | 1249268.3174 | 2683707.5192 | 1249279.8009
78 | 2683699.5902 | 1249299.9996 | 2683707.5192 | 1249279.8009
79 | 2683701.7608 | 1249283.353 | 2683698.6403 | 1249291.3342
80 | 2683726.558 | 1249219.9295 | 2683733.2305 | 1249202.8632
81 | 2683720.3244 | 1249235.8732 | 2683726.558 | 1249219.9295
82 | 2683720.3244 | 1249235.8732 | 2683716.2219 | 1249246.366
83 | 2683709.4683 | 1249263.6397 | 2683716.2219 | 1249246.366
84 | 2683768.1087 | 1249272.804 | 2683764.6117 | 1249252.989
85 | 2683762.3397 | 1249240.1148 | 2683764.6117 | 1249252.989
86 | 2683762.3397 | 1249240.1148 | 2683779.8147 | 1249236.8064
87 | 2683779.8147 | 1249236.8064 | 2683788.0302 | 1249235.251
88 | 2683796.1134 | 1249233.7207 | 2683788.0302 | 1249235.251
89 | 2683709.4683 | 1249263.6397 | 2683701.7608 | 1249283.353
90 | 2683805.3279 | 1249175.3304 | 2683805.7549 | 1249185.2214

## bus_geodata
| x | y | coords
0 | 2683698.7894 | 1249087.1374
1 | 2683703.1091 | 1249076.0708
2 | 2683689.8937 | 1249109.9271
3 | 2683707.5606 | 1249064.6665
4 | 2683685.4064 | 1249121.423
5 | 2683715.2362 | 1249042.2694
6 | 2683681.6388 | 1249131.0752
7 | 2683732.0687 | 1249049.2122
8 | 2683672.1739 | 1249155.3231
9 | 2683664.5549 | 1249147.6709
10 | 2683646.2546 | 1249144.2937
11 | 2683660.3036 | 1249108.7655
12 | 2683635.5187 | 1249099.7425
13 | 2683669.2613 | 1249087.9442
14 | 2683615.172 | 1249296.8462
15 | 2683612.8624 | 1249304.3882
16 | 2683619.3825 | 1249285.297
17 | 2683602.8884 | 1249286.0915
18 | 2683751.975 | 1249158.152
19 | 2683770.3003 | 1249151.7853
20 | 2683750.3053 | 1249172.6391
21 | 2683742.8765 | 1249159.6913
22 | 2683720.6723 | 1249072.8021
23 | 2683736.6978 | 1249071.1242
24 | 2683710.4825 | 1249096.2483
25 | 2683736.2849 | 1249122.2387
26 | 2683636.7262 | 1249291.8243
27 | 2683634.2386 | 1249299.0056
28 | 2683637.577 | 1249289.6682
29 | 2683653.6969 | 1249248.8207
30 | 2683650.198 | 1249257.687
31 | 2683655.4047 | 1249243.4958
32 | 2683755.2884 | 1249200.5791
33 | 2683589.4486 | 1249261.0969
34 | 2683623.794 | 1249273.2198
35 | 2683629.2867 | 1249310.1218
36 | 2683658.8034 | 1249310.797
37 | 2683689.0132 | 1249326.9438
38 | 2683686.6623 | 1249320.1722
39 | 2683695.6674 | 1249309.9926
40 | 2683688.0872 | 1249329.4214
41 | 2683737.0385 | 1249072.6553
42 | 2683741.3741 | 1249097.798
43 | 2683635.9775 | 1249242.1546
44 | 2683632.7921 | 1249250.2805
45 | 2683637.2388 | 1249239.1454
46 | 2683690.8376 | 1249311.2911
47 | 2683653.846 | 1249317.6266
48 | 2683625.8041 | 1249317.5983
49 | 2683639.7093 | 1249088.0279
50 | 2683741.6006 | 1249152.4416
51 | 2683740.1548 | 1249185.153
52 | 2683630.2122 | 1249256.862
53 | 2683642.1974 | 1249228.7464
54 | 2683674.1911 | 1249076.4855
55 | 2683799.4479 | 1249126.8551
56 | 2683693.1506 | 1249140.4551
57 | 2683644.4063 | 1249272.363
58 | 2683648.8227 | 1249261.1719
59 | 2683662.7368 | 1249220.769
60 | 2683572.9299 | 1249244.1162
61 | 2683581.0962 | 1249252.5314
62 | 2683808.5703 | 1249132.1769
63 | 2683824.4374 | 1249133.4491
64 | 2683803.4709 | 1249132.3271
65 | 2683805.2082 | 1249172.5589
66 | 2683799.2123 | 1249120.1553
67 | 2683797.5179 | 1249071.98
68 | 2683797.9061 | 1249083.0192
69 | 2683760.7623 | 1249231.2707
70 | 2683719.9155 | 1249248.2219
71 | 2683712.027 | 1249268.3174
72 | 2683699.5902 | 1249299.9996
73 | 2683692.1208 | 1249347.1313
74 | 2683698.6403 | 1249291.3342
75 | 2683733.2305 | 1249202.8632
76 | 2683726.558 | 1249219.9295
77 | 2683720.3244 | 1249235.8732
78 | 2683716.2219 | 1249246.366
79 | 2683764.6117 | 1249252.989
80 | 2683768.1087 | 1249272.804
81 | 2683762.3397 | 1249240.1148
82 | 2683779.8147 | 1249236.8064
83 | 2683788.0302 | 1249235.251
84 | 2683796.1134 | 1249233.7207
85 | 2683684.6678 | 1249162.573
86 | 2683709.4683 | 1249263.6397
87 | 2683701.7608 | 1249283.353
88 | 2683805.7549 | 1249185.2214
89 | 2683805.3279 | 1249175.3304
90 | 2683707.5192 | 1249279.8009
91 | 2683798.8571 | 1249110.0563
92 | 2683673.2679 | 1249192.6462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98583 | -0.27073 | 0.008016 | 0.002009
1 | 0.98622 | -0.26316 | 0.0079913 | 0.0020028
2 | 0.98508 | -0.28544 | 0.03196 | 0.00801
3 | 0.98665 | -0.25493 | 0.0084959 | 0.0021293
4 | 0.98479 | -0.2911 | 0.023174 | 0.005808
5 | 0.98752 | -0.23806 | 0 | 0
6 | 0.9846 | -0.29477 | 0.022647 | 0.0056758
7 | 0.98818 | -0.22517 | 0 | 0
8 | 0.98426 | -0.30136 | 0 | 0
9 | 0.98408 | -0.30493 | 0.031843 | 0.0079806
10 | 0.98384 | -0.30972 | 0 | 0
11 | 0.98297 | -0.32653 | 0 | 0
12 | 0.9828 | -0.32993 | 0 | 0
13 | 0.98261 | -0.33359 | 0.0071312 | 0.0017873
14 | 0.97196 | -0.54106 | 0 | 0
15 | 0.9719 | -0.54223 | 0.0080483 | 0.0020171
16 | 0.97213 | -0.53781 | 0 | 0
17 | 0.97186 | -0.54296 | 0.0062887 | 0.0015761
18 | 0.98246 | -0.33555 | 0 | 0
19 | 0.98152 | -0.35388 | 0.0070356 | 0.0017633
20 | 0.98203 | -0.34402 | 0 | 0
21 | 0.98308 | -0.3235 | 0 | 0
22 | 0.98926 | -0.20424 | 0 | 0
23 | 0.98775 | -0.23343 | 0.006742 | 0.0016897
24 | 0.99206 | -0.15066 | 0.007557 | 0.001894
25 | 0.98558 | -0.27505 | 0.0070904 | 0.001777
26 | 0.97308 | -0.51904 | 0 | 0
27 | 0.97377 | -0.50541 | 0 | 0
28 | 0.97298 | -0.52086 | 0.0076164 | 0.0019089
29 | 0.9718 | -0.54421 | 0 | 0
30 | 0.97197 | -0.54092 | 0.0045116 | 0.0011307
31 | 0.9717 | -0.54615 | 0.011436 | 0.0028661
32 | 0.98135 | -0.35723 | 0.0077578 | 0.0019443
33 | 0.97162 | -0.54787 | 0.0045473 | 0.0011397
34 | 0.97181 | -0.54413 | 0.0081138 | 0.0020335
35 | 0.9736 | -0.50868 | 0 | 0
36 | 0.97522 | -0.4769 | 0.010737 | 0.0026908
37 | 0.97585 | -0.46456 | 0 | 0
38 | 0.97607 | -0.46021 | 0 | 0
39 | 0.9755 | -0.47146 | 0.0042504 | 0.0010653
40 | 0.97584 | -0.4647 | 0 | 0
41 | 0.98773 | -0.23382 | 0 | 0
42 | 0.98741 | -0.24018 | 0.01393 | 0.0034912
43 | 0.97128 | -0.55454 | 0 | 0
44 | 0.97138 | -0.55256 | 0.0062299 | 0.0015614
45 | 0.97124 | -0.55529 | 0.0060682 | 0.0015208
46 | 0.97641 | -0.45355 | 0.0057258 | 0.001435
47 | 0.9734 | -0.51272 | 0.0083807 | 0.0021004
48 | 0.97355 | -0.50963 | 0.0062366 | 0.001563
49 | 0.98272 | -0.33153 | 0.007156 | 0.0017935
50 | 0.98355 | -0.3144 | 0.011119 | 0.0027867
51 | 0.98183 | -0.34766 | 0.009164 | 0.0022967
52 | 0.9715 | -0.55014 | 0 | 0
53 | 0.97117 | -0.55661 | 0.0062286 | 0.001561
54 | 0.9825 | -0.33587 | 0.010128 | 0.0025382
55 | 0.98008 | -0.38204 | 0 | 0
56 | 0.99733 | -0.050409 | 0.0076714 | 0.0019226
57 | 0.97238 | -0.53285 | 0.0058166 | 0.0014578
58 | 0.97205 | -0.53931 | 0.0059161 | 0.0014827
59 | 0.97154 | -0.54936 | 0.0072867 | 0.0018262
60 | 0.97146 | -0.55092 | 0.004462 | 0.0011183
61 | 0.97151 | -0.54996 | 0.0049702 | 0.0012456
62 | 0.97984 | -0.38677 | 0 | 0
63 | 0.9797 | -0.38949 | 0.0094144 | 0.0023595
64 | 0.97989 | -0.3859 | 0 | 0
65 | 0.97939 | -0.39557 | 0.0069209 | 0.0017345
66 | 0.97998 | -0.3841 | 0.0041841 | 0.0010486
67 | 0.97957 | -0.39203 | 0.0047759 | 0.001197
68 | 0.97962 | -0.39107 | 0.0046389 | 0.0011626
69 | 0.98083 | -0.36737 | 0.0050904 | 0.0012758
70 | 0.97494 | -0.48238 | 0.0029503 | 0.00073943
71 | 0.975 | -0.48121 | 0.0048386 | 0.0012127
72 | 0.97533 | -0.47469 | 0.0044691 | 0.0011201
73 | 0.97579 | -0.46571 | 0.0030341 | 0.00076041
74 | 0.97717 | -0.43864 | 0.0037546 | 0.000941
75 | 0.98098 | -0.36425 | 0.0069043 | 0.0017304
76 | 0.98018 | -0.37969 | 0.0058397 | 0.0014636
77 | 0.97947 | -0.39368 | 0.0044387 | 0.0011124
78 | 0.97901 | -0.40267 | 0.0043862 | 0.0010993
79 | 0.98067 | -0.37066 | 0.0034879 | 0.00087414
80 | 0.98064 | -0.37124 | 0.0015794 | 0.00039583
81 | 0.98073 | -0.36946 | 0 | 0
82 | 0.9806 | -0.37198 | 0.0027425 | 0.00068732
83 | 0.98056 | -0.37275 | 0.0025865 | 0.00064824
84 | 0.98054 | -0.37312 | 0.0024763 | 0.00062063
85 | 1 | 0 | -0.49762 | -0.12777
86 | 0.97827 | -0.41712 | 0.011361 | 0.0028474
87 | 0.97748 | -0.43254 | 0.0037482 | 0.00093939
88 | 0.97936 | -0.39621 | 0.0018071 | 0.0004529
89 | 0.97938 | -0.39588 | 0.0044845 | 0.0011239
90 | 0.97509 | -0.47945 | 0.0041812 | 0.0010479
91 | 0.97986 | -0.38645 | 0.0033789 | 0.00084684
92 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14225 | -0.035722 | 0.1423 | 0.035754 | 5.1357e-05 | 3.2262e-05 | 0.21474 | 0.21474 | 0.21474 | 0.98583 | -0.27073 | 0.98622 | -0.26316 | 14.7485
1 | 0.13424 | 0.033713 | -0.13414 | -0.033654 | 9.4179e-05 | 5.9028e-05 | 0.20264 | 0.20264 | 0.20264 | 0.98583 | -0.27073 | 0.98508 | -0.28544 | 13.9176
2 | -0.15029 | -0.037757 | 0.15035 | 0.037794 | 5.9034e-05 | 3.7157e-05 | 0.2268 | 0.2268 | 0.2268 | 0.98622 | -0.26316 | 0.98665 | -0.25493 | 15.5766
3 | 0.10218 | 0.025644 | -0.10215 | -0.025627 | 2.7567e-05 | 1.7015e-05 | 0.15436 | 0.15436 | 0.15436 | 0.98508 | -0.28544 | 0.98479 | -0.2911 | 10.6018
4 | -0.15885 | -0.039923 | 0.15898 | 0.040004 | 0.00012809 | 8.0763e-05 | 0.23961 | 0.23961 | 0.23961 | 0.98665 | -0.25493 | 0.98752 | -0.23806 | 16.4566
5 | 0.078979 | 0.019819 | -0.078965 | -0.01981 | 1.3836e-05 | 8.3278e-06 | 0.11935 | 0.11935 | 0.11935 | 0.98479 | -0.2911 | 0.9846 | -0.29477 | 8.1969
6 | -0.15898 | -0.040004 | 0.15908 | 0.040066 | 9.8003e-05 | 6.179e-05 | 0.23961 | 0.23961 | 0.23961 | 0.98752 | -0.23806 | 0.98818 | -0.22517 | 16.4566
7 | 0.056319 | 0.014135 | -0.056301 | -0.014125 | 1.7681e-05 | 9.9924e-06 | 0.085121 | 0.085122 | 0.085122 | 0.9846 | -0.29477 | 0.98426 | -0.30136 | 5.8463
8 | -0.17976 | -0.045254 | 0.17994 | 0.045368 | 0.00018006 | 0.00011389 | 0.27076 | 0.27076 | 0.27076 | 0.98818 | -0.22517 | 0.98926 | -0.20424 | 18.5959
9 | 0.020685 | 0.0051883 | -0.020676 | -0.0051834 | 8.1488e-06 | 4.9284e-06 | 0.031149 | 0.031149 | 0.031149 | 0.98818 | -0.22517 | 0.98775 | -0.23343 | 8.5574
10 | 0.056301 | 0.014125 | -0.056292 | -0.014119 | 9.5824e-06 | 5.4157e-06 | 0.085122 | 0.085122 | 0.085122 | 0.98426 | -0.30136 | 0.98408 | -0.30493 | 5.8463
11 | 0.024449 | 0.0061386 | -0.024443 | -0.0061356 | 5.5854e-06 | 3.0211e-06 | 0.036973 | 0.036973 | 0.036973 | 0.98408 | -0.30493 | 0.98384 | -0.30972 | 5.0787
12 | 0.024443 | 0.0061356 | -0.024424 | -0.0061235 | 1.958e-05 | 1.2046e-05 | 0.036973 | 0.036973 | 0.036973 | 0.98384 | -0.30972 | 0.98297 | -0.32653 | 10.1574
13 | 0.0071577 | 0.0017941 | -0.0071565 | -0.0017937 | 1.1582e-06 | 4.0784e-07 | 0.010835 | 0.010835 | 0.010835 | 0.98297 | -0.32653 | 0.9828 | -0.32993 | 2.9768
14 | 0.017266 | 0.0043295 | -0.01726 | -0.004326 | 5.807e-06 | 3.4292e-06 | 0.026138 | 0.026138 | 0.026138 | 0.98297 | -0.32653 | 0.98261 | -0.33359 | 7.1807
15 | 0.0071565 | 0.0017937 | -0.007156 | -0.0017935 | 5.4777e-07 | 1.9293e-07 | 0.010835 | 0.010835 | 0.010835 | 0.9828 | -0.32993 | 0.98272 | -0.33153 | 2.9768
16 | 0.010129 | 0.0025388 | -0.010128 | -0.0025382 | 1.1006e-06 | 5.4637e-07 | 0.015339 | 0.015339 | 0.015339 | 0.98261 | -0.33359 | 0.9825 | -0.33587 | 4.2139
17 | 0.0080487 | 0.0020173 | -0.0080483 | -0.0020171 | 4.4913e-07 | 1.8969e-07 | 0.012322 | 0.012322 | 0.012322 | 0.97196 | -0.54106 | 0.9719 | -0.54223 | 3.3852
18 | -0.014338 | -0.0035935 | 0.01434 | 0.0035948 | 2.2211e-06 | 1.2691e-06 | 0.021951 | 0.021951 | 0.021951 | 0.97196 | -0.54106 | 0.97213 | -0.53781 | 6.0304
19 | 0.0062892 | 0.0015762 | -0.0062887 | -0.0015761 | 5.6873e-07 | 1.6126e-07 | 0.0096285 | 0.0096285 | 0.0096285 | 0.97196 | -0.54106 | 0.97186 | -0.54296 | 2.6452
20 | 0.013987 | 0.0035078 | -0.013981 | -0.003504 | 6.7056e-06 | 3.8083e-06 | 0.021411 | 0.021411 | 0.021411 | 0.97213 | -0.53781 | 0.97162 | -0.54787 | 5.8822
21 | 0.026658 | 0.0066872 | -0.02665 | -0.0066822 | 8.0298e-06 | 4.9797e-06 | 0.040807 | 0.040807 | 0.040807 | 0.97213 | -0.53781 | 0.97181 | -0.54413 | 11.2107
22 | -0.054985 | -0.01379 | 0.055035 | 0.013821 | 4.9232e-05 | 3.1279e-05 | 0.084169 | 0.084168 | 0.084169 | 0.97213 | -0.53781 | 0.97308 | -0.51904 | 23.1232
23 | 0.046752 | 0.011758 | -0.046711 | -0.011732 | 4.0897e-05 | 2.5899e-05 | 0.070824 | 0.070824 | 0.070824 | 0.98246 | -0.33555 | 0.98152 | -0.35388 | 19.4572
24 | 0.025759 | 0.0064687 | -0.025749 | -0.0064622 | 1.0405e-05 | 6.4288e-06 | 0.039019 | 0.039019 | 0.039019 | 0.98246 | -0.33555 | 0.98203 | -0.34402 | 10.7194
25 | -0.072511 | -0.018227 | 0.072553 | 0.018253 | 4.1752e-05 | 2.6604e-05 | 0.10984 | 0.10984 | 0.10984 | 0.98246 | -0.33555 | 0.98308 | -0.3235 | 30.1766
26 | 0.039675 | 0.0099688 | -0.039622 | -0.0099353 | 5.3241e-05 | 3.3579e-05 | 0.060158 | 0.060158 | 0.060158 | 0.98152 | -0.35388 | 0.98008 | -0.38204 | 16.527
27 | 0.025749 | 0.0064622 | -0.025732 | -0.0064522 | 1.6203e-05 | 1.0011e-05 | 0.039019 | 0.039019 | 0.039019 | 0.98203 | -0.34402 | 0.98135 | -0.35723 | 10.7195
28 | -0.27611 | -0.069886 | 0.27624 | 0.069963 | 0.00012068 | 7.6863e-05 | 0.41818 | 0.41818 | 0.41818 | 0.98308 | -0.3235 | 0.98355 | -0.3144 | 28.7212
29 | 0.20356 | 0.051633 | -0.20333 | -0.051483 | 0.00023621 | 0.00014983 | 0.30834 | 0.30834 | 0.30834 | 0.98308 | -0.3235 | 0.98183 | -0.34766 | 21.1771
30 | -0.47594 | -0.12088 | 0.47717 | 0.12167 | 0.0012308 | 0.00078641 | 0.71646 | 0.71646 | 0.71646 | 0.98926 | -0.20424 | 0.99206 | -0.15066 | 49.2075
31 | 0.296 | 0.075516 | -0.29499 | -0.074873 | 0.0010086 | 0.00064272 | 0.44571 | 0.44571 | 0.44571 | 0.98926 | -0.20424 | 0.98558 | -0.27505 | 30.6118
32 | 0.013934 | 0.0034937 | -0.013934 | -0.0034935 | 2.5921e-07 | 1.4582e-07 | 0.020992 | 0.020992 | 0.020992 | 0.98775 | -0.23343 | 0.98773 | -0.23382 | 5.7671
33 | -0.48472 | -0.12356 | 0.48708 | 0.12507 | 0.0023579 | 0.0015066 | 0.7278 | 0.7278 | 0.7278 | 0.99206 | -0.15066 | 0.99733 | -0.050409 | 49.986
34 | 0.2879 | 0.073096 | -0.28735 | -0.072749 | 0.00054404 | 0.00034662 | 0.435 | 0.435 | 0.435 | 0.98558 | -0.27505 | 0.98355 | -0.3144 | 29.8766
35 | -0.097658 | -0.024518 | 0.097722 | 0.024559 | 6.3565e-05 | 4.0587e-05 | 0.14935 | 0.14935 | 0.14935 | 0.97308 | -0.51904 | 0.97377 | -0.50541 | 41.0312
36 | 0.042624 | 0.010697 | -0.04262 | -0.010695 | 3.6933e-06 | 2.3349e-06 | 0.065185 | 0.065185 | 0.065185 | 0.97308 | -0.51904 | 0.97298 | -0.52086 | 17.908
37 | 0.014621 | 0.0036655 | -0.014619 | -0.0036642 | 2.2782e-06 | 1.3067e-06 | 0.022344 | 0.022344 | 0.022344 | 0.97377 | -0.50541 | 0.9736 | -0.50868 | 6.1383
38 | -0.11234 | -0.028224 | 0.1125 | 0.028322 | 0.00015307 | 9.7275e-05 | 0.1717 | 0.1717 | 0.1717 | 0.97377 | -0.50541 | 0.97522 | -0.4769 | 23.5847
39 | 0.035004 | 0.008786 | -0.034984 | -0.0087735 | 1.9996e-05 | 1.2567e-05 | 0.053537 | 0.053537 | 0.053537 | 0.97298 | -0.52086 | 0.97238 | -0.53285 | 14.708
40 | -0.018726 | -0.0046938 | 0.018728 | 0.0046956 | 2.9386e-06 | 1.7626e-06 | 0.028673 | 0.028673 | 0.028673 | 0.9718 | -0.54421 | 0.97197 | -0.54092 | 7.8771
41 | 0.018726 | 0.0046938 | -0.018724 | -0.0046928 | 1.724e-06 | 1.0341e-06 | 0.028673 | 0.028673 | 0.028673 | 0.9718 | -0.54421 | 0.9717 | -0.54615 | 7.8771
42 | -0.02324 | -0.0058263 | 0.023242 | 0.0058274 | 1.7785e-06 | 1.0918e-06 | 0.03558 | 0.03558 | 0.03558 | 0.97197 | -0.54092 | 0.97205 | -0.53931 | 9.7746
43 | 0.0072878 | 0.0018266 | -0.0072867 | -0.0018262 | 1.1154e-06 | 4.1809e-07 | 0.01116 | 0.01116 | 0.01116 | 0.9717 | -0.54615 | 0.97154 | -0.54936 | 3.066
44 | 0.017974 | 0.0045079 | -0.017966 | -0.0045028 | 8.685e-06 | 5.1647e-06 | 0.027256 | 0.027256 | 0.027256 | 0.98135 | -0.35723 | 0.98083 | -0.36737 | 7.4879
45 | 0.0094333 | 0.0023644 | -0.0094324 | -0.0023639 | 9.3641e-07 | 4.5115e-07 | 0.014447 | 0.014447 | 0.014447 | 0.97162 | -0.54787 | 0.97151 | -0.54996 | 3.969
46 | 0.018536 | 0.0046487 | -0.018531 | -0.0046455 | 5.3086e-06 | 3.1798e-06 | 0.028383 | 0.028383 | 0.028383 | 0.97181 | -0.54413 | 0.9715 | -0.55014 | 7.7976
47 | 0.0083823 | 0.0021011 | -0.0083807 | -0.0021004 | 1.6117e-06 | 7.0593e-07 | 0.012811 | 0.012811 | 0.012811 | 0.9736 | -0.50868 | 0.9734 | -0.51272 | 3.5196
48 | 0.0062369 | 0.0015631 | -0.0062366 | -0.001563 | 2.811e-07 | 7.7319e-08 | 0.0095323 | 0.0095323 | 0.0095323 | 0.9736 | -0.50868 | 0.97355 | -0.50963 | 2.6188
49 | -0.12323 | -0.031013 | 0.12333 | 0.031074 | 9.8391e-05 | 6.1488e-05 | 0.18808 | 0.18808 | 0.18808 | 0.97522 | -0.4769 | 0.97607 | -0.46021 | 12.9175
50 | -0.023737 | -0.0059528 | 0.023742 | 0.0059558 | 4.9176e-06 | 3.0222e-06 | 0.036196 | 0.036196 | 0.036196 | 0.97585 | -0.46456 | 0.97607 | -0.46021 | 9.9441
51 | 0.020703 | 0.0051925 | -0.020696 | -0.0051884 | 6.806e-06 | 4.1284e-06 | 0.03157 | 0.03157 | 0.03157 | 0.97585 | -0.46456 | 0.9755 | -0.47146 | 8.673
52 | 0.0030343 | 0.00076026 | -0.0030342 | -0.00076028 | 2.1224e-08 | -1.9448e-08 | 0.0046267 | 0.0046267 | 0.0046267 | 0.97585 | -0.46456 | 0.97584 | -0.4647 | 1.2711
53 | -0.14707 | -0.03703 | 0.14712 | 0.037059 | 4.6826e-05 | 2.9472e-05 | 0.22427 | 0.22427 | 0.22427 | 0.97607 | -0.46021 | 0.97641 | -0.45355 | 15.4035
54 | 0.016445 | 0.0041231 | -0.016443 | -0.0041216 | 2.5335e-06 | 1.4874e-06 | 0.025086 | 0.025086 | 0.025086 | 0.9755 | -0.47146 | 0.97533 | -0.47469 | 6.8918
55 | 0.0030342 | 0.00076028 | -0.0030341 | -0.00076041 | 1.4581e-07 | -1.3359e-07 | 0.0046267 | 0.0046268 | 0.0046268 | 0.97584 | -0.4647 | 0.97579 | -0.46571 | 1.2711
56 | 0.013934 | 0.0034935 | -0.01393 | -0.0034912 | 4.2164e-06 | 2.372e-06 | 0.020992 | 0.020992 | 0.020992 | 0.98773 | -0.23382 | 0.98741 | -0.24018 | 5.7671
57 | -0.012298 | -0.0030822 | 0.012299 | 0.0030828 | 1.1617e-06 | 6.3548e-07 | 0.01884 | 0.01884 | 0.01884 | 0.97128 | -0.55454 | 0.97138 | -0.55256 | 5.1759
58 | 0.012298 | 0.0030822 | -0.012297 | -0.003082 | 4.3432e-07 | 2.3758e-07 | 0.01884 | 0.01884 | 0.01884 | 0.97128 | -0.55454 | 0.97124 | -0.55529 | 5.1759
59 | -0.018529 | -0.0046442 | 0.018531 | 0.0046455 | 2.1356e-06 | 1.2793e-06 | 0.028383 | 0.028383 | 0.028383 | 0.97138 | -0.55256 | 0.9715 | -0.55014 | 7.7976
60 | 0.006229 | 0.0015611 | -0.0062286 | -0.001561 | 3.9383e-07 | 1.0936e-07 | 0.0095433 | 0.0095433 | 0.0095433 | 0.97124 | -0.55529 | 0.97117 | -0.55661 | 2.6218
61 | -0.15285 | -0.038494 | 0.15295 | 0.038563 | 0.00010906 | 6.8726e-05 | 0.233 | 0.233 | 0.233 | 0.97641 | -0.45355 | 0.97717 | -0.43864 | 16.0028
62 | 0.19416 | 0.049186 | -0.19401 | -0.049088 | 0.00015456 | 9.796e-05 | 0.29445 | 0.29445 | 0.29445 | 0.98183 | -0.34766 | 0.98098 | -0.36425 | 20.2233
63 | 0.016983 | 0.0042578 | -0.016982 | -0.0042568 | 1.6715e-06 | 9.853e-07 | 0.025785 | 0.025785 | 0.025785 | 0.98008 | -0.38204 | 0.97998 | -0.3841 | 7.0839
64 | 0.022639 | 0.0056774 | -0.022635 | -0.0056749 | 4.1692e-06 | 2.5497e-06 | 0.034373 | 0.034373 | 0.034373 | 0.98008 | -0.38204 | 0.97989 | -0.3859 | 9.4431
65 | -0.49475 | -0.12699 | 0.49597 | 0.12777 | 0.0012136 | 0.00077548 | 0.73924 | 0.73924 | 0.73924 | 0.99733 | -0.050409 | 1 | 0 | 50.772
66 | 0.029167 | 0.0073157 | -0.029158 | -0.0073101 | 8.9889e-06 | 5.6037e-06 | 0.044636 | 0.044636 | 0.044636 | 0.97238 | -0.53285 | 0.97205 | -0.53931 | 12.2626
67 | -0.004462 | -0.0011183 | 0.0044622 | 0.0011183 | 2.054e-07 | -1.3734e-08 | 0.0068346 | 0.0068345 | 0.0068346 | 0.97146 | -0.55092 | 0.97151 | -0.54996 | 1.8776
68 | 0.0094156 | 0.0023601 | -0.0094144 | -0.0023595 | 1.2215e-06 | 5.8113e-07 | 0.014299 | 0.014299 | 0.014299 | 0.97984 | -0.38677 | 0.9797 | -0.38949 | 3.9283
69 | -0.0094156 | -0.0023601 | 0.009416 | 0.0023602 | 3.8995e-07 | 1.8551e-07 | 0.014299 | 0.014299 | 0.014299 | 0.97984 | -0.38677 | 0.97989 | -0.3859 | 3.9283
70 | 0.013219 | 0.0033147 | -0.013213 | -0.0033113 | 6.0852e-06 | 3.3875e-06 | 0.020074 | 0.020074 | 0.020074 | 0.97989 | -0.3859 | 0.97939 | -0.39557 | 5.5149
71 | 0.0062917 | 0.0015767 | -0.0062916 | -0.0015767 | 9.5059e-08 | 2.5928e-08 | 0.0095591 | 0.0095591 | 0.0095591 | 0.97939 | -0.39557 | 0.97938 | -0.39588 | 2.6261
72 | 0.012797 | 0.0032082 | -0.012796 | -0.0032074 | 1.4309e-06 | 7.8849e-07 | 0.019432 | 0.019432 | 0.019432 | 0.97998 | -0.3841 | 0.97986 | -0.38645 | 5.3385
73 | -0.0047759 | -0.001197 | 0.0047761 | 0.001197 | 2.1801e-07 | 4.6583e-10 | 0.0072548 | 0.0072547 | 0.0072548 | 0.97957 | -0.39203 | 0.97962 | -0.39107 | 1.9931
74 | -0.009415 | -0.0023596 | 0.0094171 | 0.0023606 | 2.0749e-06 | 9.8723e-07 | 0.014301 | 0.014301 | 0.014301 | 0.97962 | -0.39107 | 0.97986 | -0.38645 | 3.9289
75 | 0.012875 | 0.003227 | -0.012874 | -0.0032263 | 1.2854e-06 | 7.0927e-07 | 0.019533 | 0.019533 | 0.019533 | 0.98083 | -0.36737 | 0.98073 | -0.36946 | 5.3663
76 | -0.0029503 | -0.00073943 | 0.0029505 | 0.00073926 | 1.6415e-07 | -1.6417e-07 | 0.004503 | 0.0045029 | 0.004503 | 0.97494 | -0.48238 | 0.975 | -0.48121 | 1.2371
77 | -0.0077891 | -0.0019519 | 0.0077898 | 0.0019522 | 6.5373e-07 | 2.6452e-07 | 0.011887 | 0.011887 | 0.011887 | 0.975 | -0.48121 | 0.97509 | -0.47945 | 3.2658
78 | 0.011974 | 0.0030016 | -0.011971 | -0.0030001 | 2.7155e-06 | 1.4672e-06 | 0.018268 | 0.018268 | 0.018268 | 0.97533 | -0.47469 | 0.97509 | -0.47945 | 5.0187
79 | -0.15671 | -0.039504 | 0.15676 | 0.039533 | 4.5782e-05 | 2.8871e-05 | 0.23872 | 0.23872 | 0.23872 | 0.97717 | -0.43864 | 0.97748 | -0.43254 | 16.3954
80 | 0.1871 | 0.047358 | -0.18696 | -0.04727 | 0.00013854 | 8.7739e-05 | 0.28398 | 0.28398 | 0.28398 | 0.98098 | -0.36425 | 0.98018 | -0.37969 | 19.504
81 | 0.18112 | 0.045806 | -0.181 | -0.04573 | 0.00012147 | 7.6879e-05 | 0.27511 | 0.27511 | 0.27511 | 0.98018 | -0.37969 | 0.97947 | -0.39368 | 18.8952
82 | 0.17656 | 0.044617 | -0.17649 | -0.044569 | 7.6071e-05 | 4.8119e-05 | 0.26837 | 0.26837 | 0.26837 | 0.97947 | -0.39368 | 0.97901 | -0.40267 | 18.432
83 | 0.1721 | 0.04347 | -0.17198 | -0.043394 | 0.00011909 | 7.5284e-05 | 0.2617 | 0.2617 | 0.2617 | 0.97901 | -0.40267 | 0.97827 | -0.41712 | 17.9742
84 | 0.0015794 | 0.00039561 | -0.0015794 | -0.00039583 | 4.3336e-08 | -2.2612e-07 | 0.0023965 | 0.0023966 | 0.0023966 | 0.98067 | -0.37066 | 0.98064 | -0.37124 | 0.6584
85 | -0.0050673 | -0.0012698 | 0.0050676 | 0.0012698 | 2.8982e-07 | 2.0532e-08 | 0.0076888 | 0.0076888 | 0.0076888 | 0.98067 | -0.37066 | 0.98073 | -0.36946 | 2.1123
86 | 0.0078065 | 0.0019565 | -0.0078055 | -0.0019561 | 9.3569e-07 | 3.7444e-07 | 0.011844 | 0.011845 | 0.011845 | 0.98073 | -0.36946 | 0.9806 | -0.37198 | 3.254
87 | 0.0050631 | 0.0012688 | -0.0050629 | -0.0012688 | 1.8509e-07 | 1.2979e-08 | 0.007683 | 0.007683 | 0.007683 | 0.9806 | -0.37198 | 0.98056 | -0.37275 | 2.1107
88 | 0.0024764 | 0.00062056 | -0.0024763 | -0.00062063 | 4.3567e-08 | -7.5888e-08 | 0.0037579 | 0.003758 | 0.003758 | 0.98056 | -0.37275 | 0.98054 | -0.37312 | 1.0324
89 | 0.16062 | 0.040547 | -0.1605 | -0.040472 | 0.00011855 | 7.481e-05 | 0.24442 | 0.24442 | 0.24442 | 0.97827 | -0.41712 | 0.97748 | -0.43254 | 16.7873
90 | -0.0018071 | -0.0004529 | 0.0018071 | 0.00045279 | 2.7987e-08 | -1.0667e-07 | 0.0027457 | 0.0027456 | 0.0027457 | 0.97936 | -0.39621 | 0.97938 | -0.39588 | 0.7543

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52601 | 0.13489

## res_load
| p_mw | q_mvar
0 | 0.008016 | 0.002009
1 | 0.0079913 | 0.0020028
2 | 0.03196 | 0.00801
3 | 0.0084959 | 0.0021293
4 | 0.023174 | 0.005808
5 | 0.022647 | 0.0056758
6 | 0.031843 | 0.0079806
7 | 0.0071312 | 0.0017873
8 | 0.0080483 | 0.0020171
9 | 0.0062887 | 0.0015761
10 | 0.0070356 | 0.0017633
11 | 0.006742 | 0.0016897
12 | 0.007557 | 0.001894
13 | 0.0070904 | 0.001777
14 | 0.0076164 | 0.0019089
15 | 0.0045116 | 0.0011307
16 | 0.011436 | 0.0028661
17 | 0.0077578 | 0.0019443
18 | 0.0045473 | 0.0011397
19 | 0.0081138 | 0.0020335
20 | 0.010737 | 0.0026908
21 | 0.0042504 | 0.0010653
22 | 0.01393 | 0.0034912
23 | 0.0062299 | 0.0015614
24 | 0.0060682 | 0.0015208
25 | 0.0057258 | 0.001435
26 | 0.0083807 | 0.0021004
27 | 0.0062366 | 0.001563
28 | 0.007156 | 0.0017935
29 | 0.011119 | 0.0027867
30 | 0.009164 | 0.0022967
31 | 0.0062286 | 0.001561
32 | 0.010128 | 0.0025382
33 | 0.0076714 | 0.0019226
34 | 0.0058166 | 0.0014578
35 | 0.0059161 | 0.0014827
36 | 0.0072867 | 0.0018262
37 | 0.004462 | 0.0011183
38 | 0.0049702 | 0.0012456
39 | 0.0094144 | 0.0023595
40 | 0.0069209 | 0.0017345
41 | 0.0041841 | 0.0010486
42 | 0.0047759 | 0.001197
43 | 0.0046389 | 0.0011626
44 | 0.0050904 | 0.0012758
45 | 0.0029503 | 0.00073943
46 | 0.0048386 | 0.0012127
47 | 0.0044691 | 0.0011201
48 | 0.0030341 | 0.00076041
49 | 0.0037546 | 0.000941
50 | 0.0069043 | 0.0017304
51 | 0.0058397 | 0.0014636
52 | 0.0044387 | 0.0011124
53 | 0.0043862 | 0.0010993
54 | 0.0034879 | 0.00087414
55 | 0.0015794 | 0.00039583
56 | 0.0027425 | 0.00068732
57 | 0.0025865 | 0.00064824
58 | 0.0024763 | 0.00062063
59 | 0.028395 | 0.0071164
60 | 0.011361 | 0.0028474
61 | 0.0037482 | 0.00093939
62 | 0.0018071 | 0.0004529
63 | 0.0044845 | 0.0011239
64 | 0.0041812 | 0.0010479
65 | 0.0033789 | 0.00084684

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1