## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-717_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-717_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-717_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-717_0_4_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_261-717_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-717_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-717_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_261-717_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_261-717_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_261-717_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-717_0_4_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_261-717_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_261-717_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-717_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-717_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_261-717_0_4_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_261-717_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-717_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_261-717_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_261-717_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_261-717_0_4_node_4 | 0.4 | n |  | TRUE
21 | bus_LV_261-717_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-717_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_261-717_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-717_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_261-717_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_261-717_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_261-717_0_4_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_261-717_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_261-717_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_261-717_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_261-717_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-717_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_261-717_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_261-717_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_261-717_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_261-717_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_261-717_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_261-717_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_261-717_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_261-717_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_261-717_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_261-717_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_MV_530_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-717_0_4_load_0 | 0 | 0.0068049 | 0.0017055 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-717_0_4_load_1 | 1 | 0.010045 | 0.0025175 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-717_0_4_load_19 | 3 | 0.0064229 | 0.0016097 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-717_0_4_load_3 | 6 | 0.020233 | 0.0050709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-717_0_4_load_18 | 8 | 0.024522 | 0.0061458 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-717_0_4_load_45 | 10 | 0.018022 | 0.0045168 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-717_0_4_load_24 | 11 | 0.027516 | 0.0068963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-717_0_4_load_40 | 15 | 0.031845 | 0.0079811 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-717_0_4_load_39 | 17 | 0.0071556 | 0.0017934 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-717_0_4_load_31 | 18 | 0.0086562 | 0.0021694 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-717_0_4_load_17 | 19 | 0.02319 | 0.0058118 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-717_0_4_load_4 | 20 | 0.031612 | 0.0079227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-717_0_4_load_36 | 22 | 0.016293 | 0.0040835 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-717_0_4_load_16 | 23 | 0.013054 | 0.0032716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-717_0_4_load_23 | 24 | 0.005466 | 0.0013699 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-717_0_4_load_33 | 25 | 0.0094183 | 0.0023605 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-717_0_4_load_30 | 26 | 0.0087599 | 0.0021954 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-717_0_4_load_43 | 27 | 0.010236 | 0.0025653 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-717_0_4_load_41 | 29 | 0.0082551 | 0.0020689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-717_0_4_load_20 | 31 | 0.0043101 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-717_0_4_load_21 | 32 | 0.0050273 | 0.00126 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-717_0_4_load_35 | 33 | 0.0025806 | 0.00064675 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-717_0_4_load_22 | 34 | 0.0054138 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-717_0_4_load_25 | 35 | 0.0070317 | 0.0017623 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-717_0_4_load_26 | 36 | 0.0072091 | 0.0018068 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-717_0_4_load_27 | 37 | 0.0068865 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-717_0_4_load_37 | 40 | 0.0082173 | 0.0020594 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-717_0_4_load_34 | 41 | 0.0040489 | 0.0010148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-717_0_4_load_44 | 42 | 0.0082545 | 0.0020688 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-717_0_4_line_0 |  | 0 | 1 | 0.00052394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-717_0_4_line_1 |  | 1 | 2 | 0.0055729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-717_0_4_line_2 |  | 2 | 3 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-717_0_4_line_3 |  | 3 | 19 | 0.014076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-717_0_4_line_4 |  | 4 | 5 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-717_0_4_line_5 |  | 4 | 6 | 0.028541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-717_0_4_line_6 |  | 5 | 7 | 0.002725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-717_0_4_line_7 |  | 5 | 8 | 0.016805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-717_0_4_line_8 |  | 6 | 20 | 0.0099836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-717_0_4_line_9 |  | 7 | 11 | 0.035481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-717_0_4_line_10 |  | 7 | 9 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-717_0_4_line_11 |  | 8 | 23 | 0.02128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-717_0_4_line_12 |  | 9 | 10 | 0.0042655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-717_0_4_line_13 |  | 10 | 13 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-717_0_4_line_14 |  | 11 | 24 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-717_0_4_line_15 |  | 12 | 13 | 0.005278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-717_0_4_line_16 |  | 12 | 14 | 0.02461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-717_0_4_line_17 |  | 12 | 15 | 0.013721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-717_0_4_line_18 |  | 14 | 25 | 0.01399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-717_0_4_line_19 |  | 14 | 26 | 0.039614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-717_0_4_line_20 |  | 16 | 17 | 0.023073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-717_0_4_line_21 |  | 16 | 18 | 0.019858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-717_0_4_line_22 |  | 17 | 21 | 0.01895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-717_0_4_line_23 |  | 18 | 26 | 0.029758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-717_0_4_line_24 |  | 19 | 23 | 0.021964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-717_0_4_line_25 |  | 21 | 22 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-717_0_4_line_26 |  | 22 | 33 | 0.0065408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-717_0_4_line_27 |  | 24 | 34 | 0.022295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-717_0_4_line_28 |  | 27 | 28 | 0.00066688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-717_0_4_line_29 |  | 28 | 39 | 0.010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-717_0_4_line_30 |  | 29 | 30 | 0.0071306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-717_0_4_line_31 |  | 30 | 42 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-717_0_4_line_32 |  | 31 | 32 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-717_0_4_line_33 |  | 32 | 34 | 0.0066663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-717_0_4_line_34 |  | 33 | 41 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-717_0_4_line_35 |  | 35 | 36 | 0.027362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-717_0_4_line_36 |  | 35 | 37 | 0.010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-717_0_4_line_37 |  | 36 | 38 | 0.015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-717_0_4_line_38 |  | 37 | 39 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-717_0_4_line_39 |  | 38 | 40 | 0.0055271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-717_0_4_line_40 |  | 38 | 41 | 0.016241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-717_0_4_line_41 |  | 40 | 42 | 0.028716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-717_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 43 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2682781.9909 | 1249611.332 | 2682782.3264 | 1249610.9296
1 | 2682785.8952 | 1249606.6493 | 2682782.3264 | 1249610.9296
2 | 2682785.8952 | 1249606.6493 | 2682798.9128 | 1249592.0043
3 | 2682798.9128 | 1249592.0043 | 2682808.2644 | 1249581.4837
4 | 2682847.3727 | 1249536.0002 | 2682858.7992 | 1249534.7812 | 2682866.1439 | 1249539.265
5 | 2682866.1439 | 1249539.265 | 2682864.7024 | 1249544.6154 | 2682863.5957 | 1249550.3153 | 2682871.2712 | 1249565.7007
6 | 2682848.8845 | 1249533.7307 | 2682847.3727 | 1249536.0002
7 | 2682847.3727 | 1249536.0002 | 2682843.6693 | 1249541.6526 | 2682836.994 | 1249549.1624
8 | 2682871.2712 | 1249565.7007 | 2682871.2712 | 1249565.7007 | 2682864.5487 | 1249573.0817
9 | 2682848.8845 | 1249533.7307 | 2682816.8342 | 1249533.4939 | 2682813.4043 | 1249533.4864
10 | 2682848.8845 | 1249533.7307 | 2682852.0604 | 1249525.8471 | 2682855.3772 | 1249517.6095
11 | 2682836.994 | 1249549.1624 | 2682822.8566 | 1249565.0672
12 | 2682855.3772 | 1249517.6095 | 2682851.1118 | 1249517.6286
13 | 2682838.5149 | 1249517.6851 | 2682851.1118 | 1249517.6286
14 | 2682813.4043 | 1249533.4864 | 2682802.6843 | 1249533.4629 | 2682796.0408 | 1249533.7965
15 | 2682833.2214 | 1249517.7111 | 2682838.5149 | 1249517.6851
16 | 2682808.5388 | 1249517.6107 | 2682833.2214 | 1249517.7111
17 | 2682833.2214 | 1249517.7111 | 2682833.223 | 1249503.9901
18 | 2682808.5388 | 1249517.6107 | 2682808.1788 | 1249503.625
19 | 2682808.5388 | 1249517.6107 | 2682805.2984 | 1249517.6877 | 2682796.5369 | 1249518.3992 | 2682786.2015 | 1249519.3556 | 2682774.8376 | 1249521.4985 | 2682769.4994 | 1249523.3159
20 | 2682726.8699 | 1249547.7595 | 2682709.4276 | 1249532.656
21 | 2682726.8699 | 1249547.7595 | 2682742.3864 | 1249535.3669
22 | 2682695.1023 | 1249520.2515 | 2682709.4276 | 1249532.656
23 | 2682769.4994 | 1249523.3159 | 2682763.4495 | 1249525.3757 | 2682751.1173 | 1249530.3517 | 2682742.3864 | 1249535.3669 | 2682742.3864 | 1249535.3669
24 | 2682822.8566 | 1249565.0672 | 2682808.2644 | 1249581.4837
25 | 2682695.1023 | 1249520.2515 | 2682709.4941 | 1249504.0011
26 | 2682709.4941 | 1249504.0011 | 2682713.8306 | 1249499.1046
27 | 2682796.0408 | 1249533.7965 | 2682791.2517 | 1249534.037 | 2682782.8426 | 1249535.4762 | 2682774.1797 | 1249537.7974
28 | 2682795.0394 | 1249460.9623 | 2682794.5992 | 1249461.4633
29 | 2682794.5992 | 1249461.4633 | 2682787.4816 | 1249469.3586
30 | 2682768.7453 | 1249437.0953 | 2682773.4724 | 1249431.7569
31 | 2682768.7453 | 1249437.0953 | 2682760.8281 | 1249446.0356
32 | 2682748.5228 | 1249549.7006 | 2682754.0297 | 1249546.193 | 2682762.8511 | 1249541.7239 | 2682767.863 | 1249539.9128
33 | 2682767.863 | 1249539.9128 | 2682772.3907 | 1249538.2768 | 2682774.1797 | 1249537.7974
34 | 2682727.3587 | 1249483.8294 | 2682713.8306 | 1249499.1046
35 | 2682749.5935 | 1249482.0501 | 2682754.7845 | 1249486.7484 | 2682768.1727 | 1249471.4086
36 | 2682775.2736 | 1249463.2725 | 2682775.2736 | 1249463.2725 | 2682768.1727 | 1249471.4086
37 | 2682738.1263 | 1249471.6713 | 2682749.5935 | 1249482.0501
38 | 2682787.4816 | 1249469.3586 | 2682785.4597 | 1249467.6069 | 2682782.9844 | 1249470.2076 | 2682775.2736 | 1249463.2725
39 | 2682738.1263 | 1249471.6713 | 2682741.7906 | 1249467.5335
40 | 2682738.1263 | 1249471.6713 | 2682727.3587 | 1249483.8294
41 | 2682760.8281 | 1249446.0356 | 2682741.7906 | 1249467.5335

## bus_geodata
| x | y | coords
0 | 2682781.9909 | 1249611.332
1 | 2682782.3264 | 1249610.9296
2 | 2682785.8952 | 1249606.6493
3 | 2682798.9128 | 1249592.0043
4 | 2682866.1439 | 1249539.265
5 | 2682847.3727 | 1249536.0002
6 | 2682871.2712 | 1249565.7007
7 | 2682848.8845 | 1249533.7307
8 | 2682836.994 | 1249549.1624
9 | 2682855.3772 | 1249517.6095
10 | 2682851.1118 | 1249517.6286
11 | 2682813.4043 | 1249533.4864
12 | 2682833.2214 | 1249517.7111
13 | 2682838.5149 | 1249517.6851
14 | 2682808.5388 | 1249517.6107
15 | 2682833.223 | 1249503.9901
16 | 2682726.8699 | 1249547.7595
17 | 2682709.4276 | 1249532.656
18 | 2682742.3864 | 1249535.3669
19 | 2682808.2644 | 1249581.4837
20 | 2682864.5487 | 1249573.0817
21 | 2682695.1023 | 1249520.2515
22 | 2682709.4941 | 1249504.0011
23 | 2682822.8566 | 1249565.0672
24 | 2682796.0408 | 1249533.7965
25 | 2682808.1788 | 1249503.625
26 | 2682769.4994 | 1249523.3159
27 | 2682795.0394 | 1249460.9623
28 | 2682794.5992 | 1249461.4633
29 | 2682773.4724 | 1249431.7569
30 | 2682768.7453 | 1249437.0953
31 | 2682748.5228 | 1249549.7006
32 | 2682767.863 | 1249539.9128
33 | 2682713.8306 | 1249499.1046
34 | 2682774.1797 | 1249537.7974
35 | 2682768.1727 | 1249471.4086
36 | 2682749.5935 | 1249482.0501
37 | 2682775.2736 | 1249463.2725
38 | 2682738.1263 | 1249471.6713
39 | 2682787.4816 | 1249469.3586
40 | 2682741.7906 | 1249467.5335
41 | 2682727.3587 | 1249483.8294
42 | 2682760.8281 | 1249446.0356
43 | 2682848.8845 | 1249533.7307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9906 | -0.18031 | 0.0068049 | 0.0017055
1 | 0.99061 | -0.18025 | 0.010045 | 0.0025175
2 | 0.99069 | -0.17858 | 0 | 0
3 | 0.99099 | -0.17272 | 0.0064229 | 0.0016097
4 | 0.99372 | -0.11989 | 0 | 0
5 | 0.99468 | -0.10152 | 0 | 0
6 | 0.99237 | -0.14604 | 0.020233 | 0.0050709
7 | 0.99502 | -0.094994 | 0 | 0
8 | 0.99339 | -0.12643 | 0.024522 | 0.0061458
9 | 0.99414 | -0.11162 | 0 | 0
10 | 0.99393 | -0.11571 | 0.018022 | 0.0045168
11 | 0.99826 | -0.032989 | 0.027516 | 0.0068963
12 | 0.99301 | -0.1332 | 0 | 0
13 | 0.99337 | -0.12644 | 0 | 0
14 | 0.99043 | -0.18249 | 0 | 0
15 | 0.99261 | -0.14093 | 0.031845 | 0.0079811
16 | 0.98241 | -0.3372 | 0 | 0
17 | 0.98056 | -0.37318 | 0.0071556 | 0.0017934
18 | 0.984 | -0.30635 | 0.0086562 | 0.0021694
19 | 0.99129 | -0.16691 | 0.02319 | 0.0058118
20 | 0.99208 | -0.15163 | 0.031612 | 0.0079227
21 | 0.97917 | -0.40036 | 0 | 0
22 | 0.97757 | -0.43159 | 0.016293 | 0.0040835
23 | 0.99223 | -0.14882 | 0.013054 | 0.0032716
24 | 1 | 0 | -0.34633 | -0.087798
25 | 0.99031 | -0.18483 | 0.0094183 | 0.0023605
26 | 0.98662 | -0.25568 | 0.0087599 | 0.0021954
27 | 0.9737 | -0.50786 | 0.010236 | 0.0025653
28 | 0.9737 | -0.50774 | 0 | 0
29 | 0.97449 | -0.49228 | 0.0082551 | 0.0020689
30 | 0.97454 | -0.4912 | 0 | 0
31 | 0.99956 | -0.0084552 | 0.0043101 | 0.0010802
32 | 0.99965 | -0.0068201 | 0.0050273 | 0.00126
33 | 0.97719 | -0.43908 | 0.0025806 | 0.00064675
34 | 0.9997 | -0.0057344 | 0.0054138 | 0.0013568
35 | 0.97413 | -0.49921 | 0.0070317 | 0.0017623
36 | 0.97475 | -0.48708 | 0.0072091 | 0.0018068
37 | 0.97396 | -0.50261 | 0.0068865 | 0.0017259
38 | 0.9752 | -0.47819 | 0 | 0
39 | 0.9738 | -0.50574 | 0 | 0
40 | 0.97507 | -0.48069 | 0.0082173 | 0.0020594
41 | 0.97605 | -0.46151 | 0.0040489 | 0.0010148
42 | 0.97463 | -0.48939 | 0.0082545 | 0.0020688
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0068049 | -0.0017055 | 0.0068049 | 0.0017055 | 2.0529e-08 | 6.3935e-09 | 0.010222 | 0.010222 | 0.010222 | 0.9906 | -0.18031 | 0.99061 | -0.18025 | 2.8082
1 | -0.01685 | -0.0042229 | 0.016851 | 0.0042237 | 1.3388e-06 | 7.8507e-07 | 0.02531 | 0.02531 | 0.02531 | 0.99061 | -0.18025 | 0.99069 | -0.17858 | 6.9534
2 | -0.016851 | -0.0042237 | 0.016856 | 0.0042265 | 4.7071e-06 | 2.7602e-06 | 0.02531 | 0.02531 | 0.02531 | 0.99069 | -0.17858 | 0.99099 | -0.17272 | 6.9534
3 | -0.023279 | -0.0058362 | 0.023285 | 0.0058402 | 6.4494e-06 | 3.9462e-06 | 0.034955 | 0.034954 | 0.034955 | 0.99099 | -0.17272 | 0.99129 | -0.16691 | 9.6029
4 | -0.051918 | -0.01304 | 0.051964 | 0.013069 | 4.556e-05 | 2.8898e-05 | 0.077753 | 0.077753 | 0.077753 | 0.99372 | -0.11989 | 0.99468 | -0.10152 | 21.3606
5 | 0.051918 | 0.01304 | -0.051853 | -0.012999 | 6.4705e-05 | 4.1042e-05 | 0.077753 | 0.077753 | 0.077753 | 0.99372 | -0.11989 | 0.99237 | -0.14604 | 21.3607
6 | -0.13622 | -0.034268 | 0.13626 | 0.034295 | 4.2453e-05 | 2.7135e-05 | 0.20383 | 0.20383 | 0.20383 | 0.99468 | -0.10152 | 0.99502 | -0.094994 | 55.9959
7 | 0.084255 | 0.021199 | -0.084154 | -0.021135 | 0.00010017 | 6.3888e-05 | 0.12607 | 0.12607 | 0.12607 | 0.99468 | -0.10152 | 0.99339 | -0.12643 | 34.6353
8 | 0.03162 | 0.007928 | -0.031612 | -0.0079227 | 8.4166e-06 | 5.2577e-06 | 0.047414 | 0.047414 | 0.047414 | 0.99237 | -0.14604 | 0.99208 | -0.15163 | 13.026
9 | -0.30098 | -0.076292 | 0.30188 | 0.076867 | 0.00089976 | 0.00057446 | 0.45041 | 0.45041 | 0.45041 | 0.99502 | -0.094994 | 0.99826 | -0.032989 | 41.2467
10 | 0.16472 | 0.041997 | -0.16459 | -0.041914 | 0.0001321 | 8.3866e-05 | 0.24659 | 0.24659 | 0.24659 | 0.99502 | -0.094994 | 0.99414 | -0.11162 | 22.5815
11 | 0.059632 | 0.01499 | -0.059569 | -0.014949 | 6.3693e-05 | 4.0489e-05 | 0.08934 | 0.089341 | 0.089341 | 0.99339 | -0.12643 | 0.99223 | -0.14882 | 24.5441
12 | 0.16459 | 0.041914 | -0.16456 | -0.041893 | 3.2421e-05 | 2.0584e-05 | 0.24659 | 0.24659 | 0.24659 | 0.99414 | -0.11162 | 0.99393 | -0.11571 | 22.5815
13 | 0.14653 | 0.037376 | -0.14646 | -0.037328 | 7.5941e-05 | 4.8113e-05 | 0.21961 | 0.21961 | 0.21961 | 0.99393 | -0.11571 | 0.99337 | -0.12644 | 20.1107
14 | -0.3294 | -0.083763 | 0.32992 | 0.084098 | 0.00052442 | 0.00033495 | 0.49143 | 0.49143 | 0.49143 | 0.99826 | -0.032989 | 1 | 0 | 45.0027
15 | -0.14641 | -0.037298 | 0.14646 | 0.037328 | 4.7728e-05 | 3.0409e-05 | 0.21961 | 0.21961 | 0.21961 | 0.99301 | -0.1332 | 0.99337 | -0.12644 | 30.1661
16 | 0.11455 | 0.029309 | -0.11428 | -0.029135 | 0.00027261 | 0.00017416 | 0.17187 | 0.17187 | 0.17187 | 0.99301 | -0.1332 | 0.99043 | -0.18249 | 47.2174
17 | 0.031857 | 0.0079885 | -0.031845 | -0.0079811 | 1.1726e-05 | 7.3273e-06 | 0.047738 | 0.047739 | 0.047739 | 0.99301 | -0.1332 | 0.99261 | -0.14093 | 13.115
18 | 0.0094194 | 0.0023609 | -0.0094183 | -0.0023605 | 1.0507e-06 | 4.9242e-07 | 0.014152 | 0.014152 | 0.014152 | 0.99043 | -0.18249 | 0.99031 | -0.18483 | 3.8878
19 | 0.10486 | 0.026774 | -0.10449 | -0.026538 | 0.00036954 | 0.000236 | 0.15772 | 0.15772 | 0.15772 | 0.99043 | -0.18249 | 0.98662 | -0.25568 | 43.3296
20 | 0.086715 | 0.021942 | -0.086565 | -0.021847 | 0.00014943 | 9.5345e-05 | 0.13142 | 0.13142 | 0.13142 | 0.98241 | -0.3372 | 0.98056 | -0.37318 | 36.104
21 | -0.086715 | -0.021942 | 0.086843 | 0.022024 | 0.00012861 | 8.2059e-05 | 0.13142 | 0.13142 | 0.13142 | 0.98241 | -0.3372 | 0.984 | -0.30635 | 36.104
22 | 0.07941 | 0.020054 | -0.079306 | -0.019988 | 0.00010328 | 6.5864e-05 | 0.12056 | 0.12056 | 0.12056 | 0.98056 | -0.37318 | 0.97917 | -0.40036 | 33.1209
23 | -0.095499 | -0.024194 | 0.095732 | 0.024343 | 0.00023304 | 0.00014876 | 0.14451 | 0.14451 | 0.14451 | 0.984 | -0.30635 | 0.98662 | -0.25568 | 39.7001
24 | -0.046475 | -0.011652 | 0.046515 | 0.011677 | 4.0088e-05 | 2.5373e-05 | 0.069764 | 0.069764 | 0.069764 | 0.99129 | -0.16691 | 0.99223 | -0.14882 | 19.1659
25 | 0.079306 | 0.019988 | -0.079188 | -0.019912 | 0.00011832 | 7.5449e-05 | 0.12056 | 0.12056 | 0.12056 | 0.97917 | -0.40036 | 0.97757 | -0.43159 | 33.1209
26 | 0.062895 | 0.015829 | -0.062872 | -0.015815 | 2.2492e-05 | 1.4313e-05 | 0.095759 | 0.095759 | 0.095759 | 0.97757 | -0.43159 | 0.97719 | -0.43908 | 26.3074
27 | 0.014756 | 0.0036994 | -0.014752 | -0.0036971 | 4.031e-06 | 2.2874e-06 | 0.021958 | 0.021958 | 0.021958 | 1 | 0 | 0.9997 | -0.0057344 | 6.0323
28 | -0.010236 | -0.0025653 | 0.010236 | 0.0025653 | 6.119e-08 | 3.0867e-08 | 0.015642 | 0.015642 | 0.015642 | 0.9737 | -0.50786 | 0.9737 | -0.50774 | 4.2973
29 | -0.010236 | -0.0025653 | 0.010237 | 0.0025658 | 9.7416e-07 | 4.9139e-07 | 0.015642 | 0.015642 | 0.015642 | 0.9737 | -0.50774 | 0.9738 | -0.50574 | 4.2973
30 | -0.0082551 | -0.0020689 | 0.0082555 | 0.0020691 | 4.2488e-07 | 1.8308e-07 | 0.012605 | 0.012605 | 0.012605 | 0.97449 | -0.49228 | 0.97454 | -0.4912 | 3.463
31 | -0.0082555 | -0.0020691 | 0.0082562 | 0.0020694 | 7.1156e-07 | 3.0659e-07 | 0.012605 | 0.012605 | 0.012605 | 0.97454 | -0.4912 | 0.97463 | -0.48939 | 3.463
32 | -0.0043101 | -0.0010802 | 0.0043105 | 0.0010802 | 3.3574e-07 | -7.0205e-08 | 0.0064164 | 0.0064163 | 0.0064164 | 0.99956 | -0.0084552 | 0.99965 | -0.0068201 | 1.7627
33 | -0.0093377 | -0.0023401 | 0.0093382 | 0.0023403 | 4.8297e-07 | 2.217e-07 | 0.0139 | 0.0139 | 0.0139 | 0.99965 | -0.0068201 | 0.9997 | -0.0057344 | 3.8186
34 | 0.060292 | 0.015168 | -0.060227 | -0.015127 | 6.4524e-05 | 4.104e-05 | 0.09183 | 0.09183 | 0.09183 | 0.97719 | -0.43908 | 0.97605 | -0.46151 | 25.2279
35 | -0.024159 | -0.0060565 | 0.024173 | 0.0060651 | 1.3974e-05 | 8.6028e-06 | 0.036904 | 0.036904 | 0.036904 | 0.97413 | -0.49921 | 0.97475 | -0.48708 | 10.1386
36 | 0.017127 | 0.0042941 | -0.017125 | -0.0042925 | 2.772e-06 | 1.6397e-06 | 0.026163 | 0.026163 | 0.026163 | 0.97413 | -0.49921 | 0.97396 | -0.50261 | 7.1877
37 | -0.031382 | -0.0078718 | 0.031396 | 0.0078802 | 1.3313e-05 | 8.3273e-06 | 0.047909 | 0.047909 | 0.047909 | 0.97475 | -0.48708 | 0.9752 | -0.47819 | 13.1619
38 | 0.010238 | 0.0025666 | -0.010237 | -0.0025658 | 1.5264e-06 | 7.6992e-07 | 0.015642 | 0.015642 | 0.015642 | 0.97396 | -0.50261 | 0.9738 | -0.50574 | 4.2973
39 | 0.024738 | 0.0062035 | -0.024735 | -0.0062016 | 2.9533e-06 | 1.8212e-06 | 0.037748 | 0.037748 | 0.037748 | 0.9752 | -0.47819 | 0.97507 | -0.48069 | 10.3702
40 | -0.056133 | -0.014084 | 0.056178 | 0.014112 | 4.4685e-05 | 2.8395e-05 | 0.085657 | 0.085657 | 0.085657 | 0.9752 | -0.47819 | 0.97605 | -0.46151 | 23.5321
41 | 0.016518 | 0.0041422 | -0.016511 | -0.0041382 | 6.8425e-06 | 4.0212e-06 | 0.025208 | 0.025208 | 0.025208 | 0.97507 | -0.48069 | 0.97463 | -0.48939 | 6.9252

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35179 | 0.089168

## res_load
| p_mw | q_mvar
0 | 0.0068049 | 0.0017055
1 | 0.010045 | 0.0025175
2 | 0.0064229 | 0.0016097
3 | 0.020233 | 0.0050709
4 | 0.024522 | 0.0061458
5 | 0.018022 | 0.0045168
6 | 0.027516 | 0.0068963
7 | 0.031845 | 0.0079811
8 | 0.0071556 | 0.0017934
9 | 0.0086562 | 0.0021694
10 | 0.02319 | 0.0058118
11 | 0.031612 | 0.0079227
12 | 0.016293 | 0.0040835
13 | 0.013054 | 0.0032716
14 | 0.005466 | 0.0013699
15 | 0.0094183 | 0.0023605
16 | 0.0087599 | 0.0021954
17 | 0.010236 | 0.0025653
18 | 0.0082551 | 0.0020689
19 | 0.0043101 | 0.0010802
20 | 0.0050273 | 0.00126
21 | 0.0025806 | 0.00064675
22 | 0.0054138 | 0.0013568
23 | 0.0070317 | 0.0017623
24 | 0.0072091 | 0.0018068
25 | 0.0068865 | 0.0017259
26 | 0.0082173 | 0.0020594
27 | 0.0040489 | 0.0010148
28 | 0.0082545 | 0.0020688

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1