## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-719_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-719_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-719_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-719_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-719_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-719_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-719_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-719_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-719_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-719_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_261-719_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_261-719_0_4_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_261-719_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_261-719_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_261-719_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-719_0_4_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_261-719_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_261-719_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_261-719_0_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_261-719_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_261-719_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_261-719_0_4_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_261-719_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_261-719_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-719_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_261-719_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-719_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_261-719_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_261-719_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_261-719_0_4_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_261-719_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_261-719_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_261-719_0_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_261-719_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_261-719_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_261-719_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_261-719_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_261-719_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_261-719_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_261-719_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_261-719_0_4_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_261-719_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_261-719_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_261-719_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_261-719_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_261-719_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_261-719_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_261-719_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_261-719_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_261-719_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_261-719_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_261-719_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_261-719_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_261-719_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_261-719_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_261-719_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_261-719_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_261-719_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_261-719_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_261-719_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_261-719_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_261-719_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_MV_359_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-719_0_4_load_0 | 0 | 0.0079289 | 0.0019872 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-719_0_4_load_1 | 1 | 0.0029459 | 0.00073832 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-719_0_4_load_5 | 5 | 0.019102 | 0.0047875 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-719_0_4_load_6 | 7 | 0.0089676 | 0.0022475 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-719_0_4_load_44 | 11 | 0.010341 | 0.0025917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-719_0_4_load_59 | 13 | 0.011009 | 0.0027592 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-719_0_4_load_57 | 15 | 0.009943 | 0.0024919 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-719_0_4_load_53 | 17 | 0.013079 | 0.0032779 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-719_0_4_load_42 | 18 | 0.0066007 | 0.0016543 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-719_0_4_load_48 | 19 | 0.016685 | 0.0041816 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-719_0_4_load_18 | 20 | 0.017579 | 0.0044057 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-719_0_4_load_54 | 21 | 0.0089405 | 0.0022407 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-719_0_4_load_26 | 22 | 0.0075578 | 0.0018942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-719_0_4_load_65 | 26 | 0.0081312 | 0.0020379 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-719_0_4_load_45 | 27 | 0.010063 | 0.0025221 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-719_0_4_load_60 | 28 | 0.011997 | 0.0030067 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-719_0_4_load_55 | 29 | 0.014957 | 0.0037485 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-719_0_4_load_40 | 30 | 0.0070497 | 0.0017668 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-719_0_4_load_43 | 33 | 0.0069329 | 0.0017376 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-719_0_4_load_31 | 34 | 0.0087368 | 0.0021896 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-719_0_4_load_64 | 35 | 0.010863 | 0.0027224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-719_0_4_load_19 | 36 | 0.0064562 | 0.0016181 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-719_0_4_load_58 | 40 | 0.022035 | 0.0055225 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-719_0_4_load_34 | 41 | 0.0042622 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-719_0_4_load_47 | 42 | 0.0060718 | 0.0015217 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-719_0_4_load_46 | 43 | 0.0026444 | 0.00066276 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-719_0_4_load_33 | 44 | 0.0069838 | 0.0017503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-719_0_4_load_49 | 45 | 0.0060443 | 0.0015149 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-719_0_4_load_50 | 46 | 0.0062172 | 0.0015582 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-719_0_4_load_27 | 47 | 0.0094045 | 0.002357 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-719_0_4_load_28 | 48 | 0.0096529 | 0.0024192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-719_0_4_load_30 | 50 | 0.012063 | 0.0030233 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-719_0_4_load_32 | 51 | 0.0080533 | 0.0020184 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-719_0_4_load_38 | 53 | 0.0079373 | 0.0019893 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-719_0_4_load_35 | 54 | 0.0095689 | 0.0023982 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-719_0_4_load_37 | 55 | 0.0080555 | 0.0020189 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-719_0_4_load_39 | 56 | 0.0064646 | 0.0016202 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-719_0_4_load_41 | 57 | 0.0058199 | 0.0014586 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-719_0_4_load_56 | 58 | 0.0043801 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-719_0_4_load_61 | 59 | 0.013897 | 0.003483 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-719_0_4_load_62 | 60 | 0.0083709 | 0.002098 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-719_0_4_load_63 | 61 | 0.014042 | 0.0035193 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-719_0_4_line_0 |  | 0 | 1 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-719_0_4_line_1 |  | 0 | 2 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-719_0_4_line_2 |  | 1 | 3 | 0.025869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-719_0_4_line_3 |  | 2 | 4 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-719_0_4_line_4 |  | 2 | 5 | 0.024024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-719_0_4_line_5 |  | 3 | 6 | 0.049297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-719_0_4_line_6 |  | 4 | 7 | 0.032938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-719_0_4_line_7 |  | 6 | 12 | 0.022418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-719_0_4_line_8 |  | 6 | 13 | 0.0091076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-719_0_4_line_9 |  | 8 | 9 | 0.006047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-719_0_4_line_10 |  | 8 | 10 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-719_0_4_line_11 |  | 8 | 11 | 0.012387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-719_0_4_line_12 |  | 9 | 21 | 0.028274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-719_0_4_line_13 |  | 9 | 22 | 0.019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-719_0_4_line_14 |  | 10 | 20 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-719_0_4_line_15 |  | 10 | 14 | 0.005874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-719_0_4_line_16 |  | 12 | 19 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-719_0_4_line_17 |  | 13 | 28 | 0.021847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-719_0_4_line_18 |  | 14 | 15 | 0.013293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-719_0_4_line_19 |  | 16 | 17 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-719_0_4_line_20 |  | 16 | 18 | 0.023314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-719_0_4_line_21 |  | 17 | 29 | 0.00094088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-719_0_4_line_22 |  | 18 | 30 | 0.018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-719_0_4_line_23 |  | 19 | 33 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-719_0_4_line_24 |  | 20 | 25 | 0.016499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-719_0_4_line_25 |  | 21 | 34 | 0.0098649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-719_0_4_line_26 |  | 23 | 24 | 0.011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-719_0_4_line_27 |  | 23 | 25 | 0.005377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-719_0_4_line_28 |  | 23 | 26 | 0.0091921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-719_0_4_line_29 |  | 24 | 27 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-719_0_4_line_30 |  | 26 | 35 | 0.020122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_261-719_0_4_line_31 |  | 27 | 31 | 0.014366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-719_0_4_line_32 |  | 28 | 59 | 0.024845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-719_0_4_line_33 |  | 30 | 56 | 0.010062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-719_0_4_line_34 |  | 31 | 32 | 0.040267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-719_0_4_line_35 |  | 32 | 58 | 0.003682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-719_0_4_line_36 |  | 32 | 46 | 0.051736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-719_0_4_line_37 |  | 33 | 57 | 0.0098455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-719_0_4_line_38 |  | 34 | 49 | 0.0026867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-719_0_4_line_39 |  | 35 | 61 | 0.02483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-719_0_4_line_40 |  | 36 | 37 | 0.038971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-719_0_4_line_41 |  | 37 | 38 | 0.010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-719_0_4_line_42 |  | 38 | 41 | 0.013396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-719_0_4_line_43 |  | 38 | 39 | 0.009251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-719_0_4_line_44 |  | 39 | 40 | 0.039691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-719_0_4_line_45 |  | 41 | 44 | 0.031519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-719_0_4_line_46 |  | 42 | 43 | 0.041492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-719_0_4_line_47 |  | 43 | 52 | 0.012421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-719_0_4_line_48 |  | 44 | 54 | 0.031417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-719_0_4_line_49 |  | 45 | 46 | 0.016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-719_0_4_line_50 |  | 47 | 48 | 0.0091391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-719_0_4_line_51 |  | 47 | 49 | 0.018898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-719_0_4_line_52 |  | 48 | 50 | 0.036477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-719_0_4_line_53 |  | 49 | 51 | 0.026989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-719_0_4_line_54 |  | 50 | 52 | 0.022195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-719_0_4_line_55 |  | 51 | 53 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-719_0_4_line_56 |  | 52 | 54 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-719_0_4_line_57 |  | 53 | 55 | 0.0035757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-719_0_4_line_58 |  | 56 | 57 | 0.0096757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-719_0_4_line_59 |  | 59 | 60 | 0.021875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_261-719_0_4_line_60 |  | 60 | 61 | 0.022277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-719_0_4_trafo_52 | 0.63 MVA 20/0.4 kV | 62 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2682202.8893 | 1245058.5242 | 2682202.6196 | 1245066.4137 | 2682202.771 | 1245069.701
1 | 2682203.4712 | 1245041.5074 | 2682202.8893 | 1245058.5242
2 | 2682203.9612 | 1245095.5424 | 2682202.771 | 1245069.701
3 | 2682197.9939 | 1245029.9676 | 2682203.4712 | 1245041.5074
4 | 2682203.4712 | 1245041.5074 | 2682212.2522 | 1245019.1462
5 | 2682203.9612 | 1245095.5424 | 2682206.7468 | 1245096.8375 | 2682208.9259 | 1245100.4481 | 2682211.8136 | 1245104.1797 | 2682214.8645 | 1245107.0463 | 2682218.6796 | 1245109.8345 | 2682223.7065 | 1245112.4283 | 2682227.9906 | 1245114.1 | 2682232.638 | 1245115.1763 | 2682237.8459 | 1245116.1603 | 2682242.4489 | 1245116.6245 | 2682244.3796 | 1245116.351 | 2682245.9045 | 1245115.9163
6 | 2682197.9939 | 1245029.9676 | 2682188.2319 | 1245009.1728 | 2682183.874 | 1245000.2099
7 | 2682245.9045 | 1245115.9163 | 2682245.0516 | 1245122.9318 | 2682254.0289 | 1245125.0911 | 2682260.0435 | 1245126.2087
8 | 2682245.9045 | 1245115.9163 | 2682247.4476 | 1245114.1697 | 2682249.8375 | 1245110.2111 | 2682250.6018 | 1245108.1984
9 | 2682305.2011 | 1244929.1694 | 2682306.168 | 1244923.2007
10 | 2682293.2626 | 1244927.447 | 2682297.011 | 1244927.9772 | 2682299.462 | 1244928.3336 | 2682302.5314 | 1244928.7765 | 2682305.2011 | 1244929.1694
11 | 2682305.2011 | 1244929.1694 | 2682303.0204 | 1244941.3628
12 | 2682306.168 | 1244923.2007 | 2682321.3754 | 1244927.3258 | 2682333.0177 | 1244931.9245
13 | 2682306.168 | 1244923.2007 | 2682308.3369 | 1244908.4979 | 2682308.8638 | 1244904.1457
14 | 2682293.2626 | 1244927.447 | 2682290.4502 | 1244943.8755 | 2682289.9762 | 1244946.1154
15 | 2682293.2626 | 1244927.447 | 2682294.2498 | 1244921.6565
16 | 2682260.0435 | 1245126.2087 | 2682262.3483 | 1245110.2787
17 | 2682250.6018 | 1245108.1984 | 2682251.7277 | 1245105.2337 | 2682252.9788 | 1245098.9353 | 2682255.2231 | 1245086.9466 | 2682255.2361 | 1245086.8907
18 | 2682294.2498 | 1244921.6565 | 2682290.5704 | 1244921.0606 | 2682287.9393 | 1244920.0678 | 2682286.1322 | 1244918.5083 | 2682284.767 | 1244916.1432 | 2682284.3284 | 1244914.5675
19 | 2682282.182 | 1245023.9969 | 2682299.9938 | 1245028.2849
20 | 2682282.182 | 1245023.9969 | 2682281.3358 | 1245027.2542 | 2682276.6005 | 1245046.6326
21 | 2682300.9086 | 1245028.5051 | 2682299.9938 | 1245028.2849
22 | 2682276.6005 | 1245046.6326 | 2682273.9811 | 1245057.3518 | 2682272.1476 | 1245064.6846
23 | 2682265.2921 | 1245093.4579 | 2682263.696 | 1245100.9632 | 2682262.3483 | 1245110.2787
24 | 2682286.5603 | 1244962.2571 | 2682289.9762 | 1244946.1154
25 | 2682341.7411 | 1244936.4626 | 2682336.4591 | 1244933.2839 | 2682333.0177 | 1244931.9245
26 | 2682285.4746 | 1244967.5237 | 2682288.4945 | 1244968.2661 | 2682290.7162 | 1244968.8084 | 2682293.8566 | 1244969.5859 | 2682296.7635 | 1244970.3045
27 | 2682286.5603 | 1244962.2571 | 2682285.4746 | 1244967.5237
28 | 2682285.4746 | 1244967.5237 | 2682283.1575 | 1244976.4189
29 | 2682296.7635 | 1244970.3045 | 2682292.7451 | 1244984.5029
30 | 2682278.1694 | 1244995.9122 | 2682280.0548 | 1244988.3303 | 2682283.1575 | 1244976.4189
31 | 2682288.833 | 1244998.326 | 2682292.7451 | 1244984.5029
32 | 2682255.2361 | 1245086.8907 | 2682259.2094 | 1245069.7783 | 2682261.018 | 1245062.7291
33 | 2682269.7069 | 1245074.4456 | 2682272.1476 | 1245064.6846
34 | 2682328.0547 | 1245007.9327 | 2682326.8497 | 1245007.6379 | 2682319.0173 | 1245005.7279 | 2682288.833 | 1244998.326
35 | 2682328.0547 | 1245007.9327 | 2682331.5285 | 1245009.1818
36 | 2682328.0547 | 1245007.9327 | 2682322.7743 | 1245023.0482 | 2682326.321 | 1245025.0321 | 2682331.3495 | 1245025.8803 | 2682333.442 | 1245031.3689 | 2682338.9064 | 1245032.3899 | 2682342.4953 | 1245036.7763 | 2682340.1308 | 1245045.9374
37 | 2682267.3598 | 1245083.8323 | 2682267.2207 | 1245084.3889 | 2682265.2921 | 1245093.4579
38 | 2682344.0431 | 1244937.848 | 2682341.7411 | 1244936.4626
39 | 2682272.0052 | 1245019.9653 | 2682277.3737 | 1244999.1121 | 2682278.1694 | 1244995.9122
40 | 2682422.8811 | 1244878.1659 | 2682403.0465 | 1244880.1919 | 2682391.6219 | 1244880.0998 | 2682386.1552 | 1244879.7793 | 2682384.0509 | 1244879.4332
41 | 2682422.8811 | 1244878.1659 | 2682420.3457 | 1244883.8793 | 2682419.3182 | 1244888.2126
42 | 2682419.3182 | 1244888.2126 | 2682416.5678 | 1244901.323
43 | 2682419.3182 | 1244888.2126 | 2682423.9952 | 1244889.3451 | 2682428.3108 | 1244890.3836
44 | 2682428.3108 | 1244890.3836 | 2682420.1763 | 1244929.2319
45 | 2682416.5678 | 1244901.323 | 2682410.0964 | 1244932.1705
46 | 2682398.4604 | 1244988.0727 | 2682395.9326 | 1245000.5696 | 2682389.9819 | 1245028.6892
47 | 2682400.9229 | 1244975.8987 | 2682398.4604 | 1244988.0727
48 | 2682403.646 | 1244962.9181 | 2682410.0964 | 1244932.1705
49 | 2682337.708 | 1245062.0949 | 2682337.708 | 1245062.0949 | 2682340.9211 | 1245050.0085 | 2682339.6442 | 1245047.8225 | 2682340.1308 | 1245045.9374
50 | 2682368.1411 | 1244951.8962 | 2682365.3258 | 1244951.242 | 2682360.0372 | 1244947.9137
51 | 2682344.0431 | 1244937.848 | 2682360.0372 | 1244947.9137
52 | 2682368.1411 | 1244951.8962 | 2682370.3649 | 1244952.4128 | 2682383.1553 | 1244955.3592 | 2682378.728 | 1244975.9572 | 2682378.728 | 1244975.9572
53 | 2682344.0431 | 1244937.848 | 2682343.8416 | 1244948.0081 | 2682342.6824 | 1244954.2077 | 2682340.1145 | 1244964.4092
54 | 2682400.9229 | 1244975.8987 | 2682378.728 | 1244975.9572
55 | 2682335.9542 | 1244980.9365 | 2682340.1145 | 1244964.4092
56 | 2682400.9229 | 1244975.8987 | 2682403.646 | 1244962.9181
57 | 2682335.9542 | 1244980.9365 | 2682335.0814 | 1244984.404
58 | 2682267.3598 | 1245083.8323 | 2682269.7069 | 1245074.4456
59 | 2682261.018 | 1245062.7291 | 2682266.4543 | 1245041.5399
60 | 2682266.4543 | 1245041.5399 | 2682267.4617 | 1245037.6138 | 2682272.0052 | 1245019.9653

## bus_geodata
| x | y | coords
0 | 2682202.8893 | 1245058.5242
1 | 2682202.771 | 1245069.701
2 | 2682203.4712 | 1245041.5074
3 | 2682203.9612 | 1245095.5424
4 | 2682197.9939 | 1245029.9676
5 | 2682212.2522 | 1245019.1462
6 | 2682245.9045 | 1245115.9163
7 | 2682183.874 | 1245000.2099
8 | 2682305.2011 | 1244929.1694
9 | 2682306.1681 | 1244923.2007
10 | 2682293.2626 | 1244927.447
11 | 2682303.0204 | 1244941.3628
12 | 2682260.0435 | 1245126.2087
13 | 2682250.6018 | 1245108.1984
14 | 2682294.2498 | 1244921.6565
15 | 2682284.3284 | 1244914.5675
16 | 2682282.182 | 1245023.9969
17 | 2682299.9938 | 1245028.2849
18 | 2682276.6005 | 1245046.6326
19 | 2682262.3483 | 1245110.2787
20 | 2682289.9762 | 1244946.1154
21 | 2682333.0177 | 1244931.9245
22 | 2682308.8638 | 1244904.1457
23 | 2682285.4746 | 1244967.5237
24 | 2682296.7635 | 1244970.3045
25 | 2682286.5603 | 1244962.2571
26 | 2682283.1575 | 1244976.4189
27 | 2682292.7451 | 1244984.5029
28 | 2682255.2361 | 1245086.8907
29 | 2682300.9086 | 1245028.5051
30 | 2682272.1476 | 1245064.6846
31 | 2682288.833 | 1244998.326
32 | 2682328.0547 | 1245007.9327
33 | 2682265.2921 | 1245093.4579
34 | 2682341.7411 | 1244936.4626
35 | 2682278.1694 | 1244995.9122
36 | 2682384.0509 | 1244879.4332
37 | 2682422.8811 | 1244878.1659
38 | 2682419.3182 | 1244888.2126
39 | 2682428.3108 | 1244890.3836
40 | 2682420.1763 | 1244929.2319
41 | 2682416.5678 | 1244901.323
42 | 2682389.9819 | 1245028.6892
43 | 2682398.4604 | 1244988.0727
44 | 2682410.0964 | 1244932.1705
45 | 2682337.708 | 1245062.0949
46 | 2682340.1308 | 1245045.9374
47 | 2682360.0372 | 1244947.9137
48 | 2682368.1411 | 1244951.8962
49 | 2682344.0431 | 1244937.848
50 | 2682378.728 | 1244975.9572
51 | 2682340.1145 | 1244964.4092
52 | 2682400.9229 | 1244975.8987
53 | 2682335.9542 | 1244980.9365
54 | 2682403.646 | 1244962.9181
55 | 2682335.0814 | 1244984.404
56 | 2682269.7069 | 1245074.4456
57 | 2682267.3598 | 1245083.8323
58 | 2682331.5285 | 1245009.1818
59 | 2682261.018 | 1245062.7291
60 | 2682266.4543 | 1245041.5399
61 | 2682272.0052 | 1245019.9653
62 | 2682282.182 | 1245023.9969

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97972 | -0.38996 | 0.0079289 | 0.0019872
1 | 0.98009 | -0.38265 | 0.0029459 | 0.00073832
2 | 0.97928 | -0.39865 | 0 | 0
3 | 0.98103 | -0.36439 | 0 | 0
4 | 0.97917 | -0.40073 | 0 | 0
5 | 0.97885 | -0.40699 | 0.019102 | 0.0047875
6 | 0.98281 | -0.32968 | 0 | 0
7 | 0.9789 | -0.4061 | 0.0089676 | 0.0022475
8 | 0.99237 | -0.14535 | 0 | 0
9 | 0.99159 | -0.16018 | 0 | 0
10 | 0.9932 | -0.12948 | 0 | 0
11 | 0.99225 | -0.14762 | 0.010341 | 0.0025917
12 | 0.98119 | -0.36112 | 0 | 0
13 | 0.98379 | -0.31054 | 0.011009 | 0.0027592
14 | 0.99314 | -0.13051 | 0 | 0
15 | 0.99302 | -0.13285 | 0.009943 | 0.0024919
16 | 0.97655 | -0.45214 | 0 | 0
17 | 0.97607 | -0.46153 | 0.013079 | 0.0032779
18 | 0.97716 | -0.4402 | 0.0066007 | 0.0016543
19 | 0.98003 | -0.38376 | 0.016685 | 0.0041816
20 | 0.99412 | -0.11178 | 0.017579 | 0.0044057
21 | 0.98818 | -0.226 | 0.0089405 | 0.0022407
22 | 0.99146 | -0.16276 | 0.0075578 | 0.0018942
23 | 0.9953 | -0.08913 | 0 | 0
24 | 0.99663 | -0.063855 | 0 | 0
25 | 0.99501 | -0.094692 | 0 | 0
26 | 0.99475 | -0.099641 | 0.0081312 | 0.0020379
27 | 0.99832 | -0.031873 | 0.010063 | 0.0025221
28 | 0.98637 | -0.26049 | 0.011997 | 0.0030067
29 | 0.97606 | -0.46179 | 0.014957 | 0.0037485
30 | 0.97775 | -0.42845 | 0.0070497 | 0.0017668
31 | 1 | 0 | -0.40505 | -0.10325
32 | 0.99939 | -0.011689 | 0 | 0
33 | 0.97907 | -0.40266 | 0.0069329 | 0.0017376
34 | 0.98707 | -0.2475 | 0.0087368 | 0.0021896
35 | 0.9936 | -0.12173 | 0.010863 | 0.0027224
36 | 0.97762 | -0.43173 | 0.0064562 | 0.0016181
37 | 0.97785 | -0.42714 | 0 | 0
38 | 0.97791 | -0.42588 | 0 | 0
39 | 0.97772 | -0.4296 | 0 | 0
40 | 0.97691 | -0.44556 | 0.022035 | 0.0055225
41 | 0.97827 | -0.41893 | 0.0042622 | 0.0010682
42 | 0.98066 | -0.37215 | 0.0060718 | 0.0015217
43 | 0.98089 | -0.36758 | 0.0026444 | 0.00066276
44 | 0.97923 | -0.40014 | 0.0069838 | 0.0017503
45 | 0.99872 | -0.02456 | 0.0060443 | 0.0015149
46 | 0.99882 | -0.022767 | 0.0062172 | 0.0015582
47 | 0.98523 | -0.28314 | 0.0094045 | 0.002357
48 | 0.98455 | -0.29624 | 0.0096529 | 0.0024192
49 | 0.98679 | -0.25294 | 0 | 0
50 | 0.98218 | -0.34232 | 0.012063 | 0.0030233
51 | 0.98619 | -0.26456 | 0.0080533 | 0.0020184
52 | 0.98099 | -0.36562 | 0 | 0
53 | 0.98594 | -0.26945 | 0.0079373 | 0.0019893
54 | 0.98038 | -0.37747 | 0.0095689 | 0.0023982
55 | 0.98591 | -0.26996 | 0.0080555 | 0.0020189
56 | 0.97814 | -0.42081 | 0.0064646 | 0.0016202
57 | 0.97858 | -0.41233 | 0.0058199 | 0.0014586
58 | 0.99938 | -0.01197 | 0.0043801 | 0.0010978
59 | 0.98958 | -0.19858 | 0.013897 | 0.003483
60 | 0.99114 | -0.16876 | 0.0083709 | 0.002098
61 | 0.99225 | -0.14746 | 0.014042 | 0.0035193
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036021 | -0.0090354 | 0.036034 | 0.0090433 | 1.2556e-05 | 7.8946e-06 | 0.054712 | 0.054712 | 0.054712 | 0.97972 | -0.38996 | 0.98009 | -0.38265 | 15.0309
1 | 0.028092 | 0.0070482 | -0.028081 | -0.007041 | 1.1625e-05 | 7.2259e-06 | 0.04267 | 0.04267 | 0.04267 | 0.97972 | -0.38996 | 0.97928 | -0.39865 | 11.7225
2 | -0.03898 | -0.0097816 | 0.039014 | 0.009803 | 3.398e-05 | 2.1421e-05 | 0.059185 | 0.059185 | 0.059185 | 0.98009 | -0.38265 | 0.98103 | -0.36439 | 16.2596
3 | 0.0089708 | 0.002249 | -0.0089699 | -0.0022486 | 8.8969e-07 | 4.0878e-07 | 0.013631 | 0.013631 | 0.013631 | 0.97928 | -0.39865 | 0.97917 | -0.40073 | 3.7449
4 | 0.01911 | 0.004792 | -0.019102 | -0.0047875 | 7.5966e-06 | 4.5597e-06 | 0.029038 | 0.029039 | 0.029039 | 0.97928 | -0.39865 | 0.97885 | -0.40699 | 7.9776
5 | -0.039014 | -0.009803 | 0.039078 | 0.0098439 | 6.4754e-05 | 4.0819e-05 | 0.059185 | 0.059185 | 0.059185 | 0.98103 | -0.36439 | 0.98281 | -0.32968 | 16.2595
6 | 0.0089699 | 0.0022486 | -0.0089676 | -0.0022475 | 2.2952e-06 | 1.0547e-06 | 0.013631 | 0.013632 | 0.013632 | 0.97917 | -0.40073 | 0.9789 | -0.4061 | 3.7449
7 | 0.077953 | 0.019677 | -0.077835 | -0.019602 | 0.0001172 | 7.4727e-05 | 0.11807 | 0.11807 | 0.11807 | 0.98281 | -0.32968 | 0.98119 | -0.36112 | 32.438
8 | -0.11703 | -0.029521 | 0.11714 | 0.029589 | 0.00010731 | 6.8564e-05 | 0.17726 | 0.17726 | 0.17726 | 0.98281 | -0.32968 | 0.98379 | -0.31054 | 48.6974
9 | 0.13965 | 0.035471 | -0.13955 | -0.035407 | 9.9589e-05 | 6.3659e-05 | 0.20957 | 0.20957 | 0.20957 | 0.99237 | -0.14535 | 0.99159 | -0.16018 | 57.573
10 | -0.14999 | -0.038063 | 0.15011 | 0.038136 | 0.00011457 | 7.3013e-05 | 0.22507 | 0.22507 | 0.22507 | 0.99237 | -0.14535 | 0.9932 | -0.12948 | 30.9167
11 | 0.010342 | 0.0025923 | -0.010341 | -0.0025917 | 1.1171e-06 | 5.5495e-07 | 0.015508 | 0.015508 | 0.015508 | 0.99237 | -0.14535 | 0.99225 | -0.14762 | 4.2605
12 | 0.13199 | 0.033512 | -0.13157 | -0.033246 | 0.00041661 | 0.00026627 | 0.19822 | 0.19822 | 0.19822 | 0.99159 | -0.16018 | 0.98818 | -0.226 | 54.4568
13 | 0.0075587 | 0.0018945 | -0.0075578 | -0.0018942 | 9.2857e-07 | 3.4606e-07 | 0.011343 | 0.011343 | 0.011343 | 0.99159 | -0.16018 | 0.99146 | -0.16276 | 3.1162
14 | -0.16005 | -0.040629 | 0.16019 | 0.040715 | 0.00013646 | 8.6597e-05 | 0.23997 | 0.23997 | 0.23997 | 0.9932 | -0.12948 | 0.99412 | -0.11178 | 21.9755
15 | 0.0099446 | 0.0024927 | -0.0099441 | -0.0024925 | 4.8898e-07 | 2.3693e-07 | 0.014899 | 0.014899 | 0.014899 | 0.9932 | -0.12948 | 0.99314 | -0.13051 | 4.0932
16 | 0.077835 | 0.019602 | -0.077751 | -0.019548 | 8.415e-05 | 5.3653e-05 | 0.11807 | 0.11807 | 0.11807 | 0.98119 | -0.36112 | 0.98003 | -0.38376 | 32.438
17 | -0.12815 | -0.032348 | 0.12846 | 0.032545 | 0.00030805 | 0.00019688 | 0.19391 | 0.19391 | 0.19391 | 0.98379 | -0.31054 | 0.98637 | -0.26049 | 53.2721
18 | 0.0099441 | 0.0024925 | -0.009943 | -0.0024919 | 1.1066e-06 | 5.3622e-07 | 0.014899 | 0.014899 | 0.014899 | 0.99314 | -0.13051 | 0.99302 | -0.13285 | 4.0932
19 | 0.028048 | 0.0070343 | -0.028036 | -0.0070265 | 1.255e-05 | 7.8031e-06 | 0.04274 | 0.042741 | 0.042741 | 0.97655 | -0.45214 | 0.97607 | -0.46153 | 11.7419
20 | -0.028048 | -0.0070343 | 0.028064 | 0.0070442 | 1.5971e-05 | 9.9294e-06 | 0.04274 | 0.04274 | 0.04274 | 0.97655 | -0.45214 | 0.97716 | -0.4402 | 11.7419
21 | 0.014957 | 0.0037486 | -0.014957 | -0.0037485 | 1.8345e-07 | 1.0565e-07 | 0.022802 | 0.022802 | 0.022802 | 0.97607 | -0.46153 | 0.97606 | -0.46179 | 6.2643
22 | -0.034665 | -0.0086985 | 0.034684 | 0.0087107 | 1.9432e-05 | 1.2203e-05 | 0.052792 | 0.052792 | 0.052792 | 0.97716 | -0.4402 | 0.97775 | -0.42845 | 14.5033
23 | 0.061066 | 0.015367 | -0.061011 | -0.015332 | 5.5107e-05 | 3.5054e-05 | 0.092741 | 0.092741 | 0.092741 | 0.98003 | -0.38376 | 0.97907 | -0.40266 | 25.4784
24 | -0.17777 | -0.045121 | 0.17791 | 0.045214 | 0.00014624 | 9.2951e-05 | 0.26628 | 0.26628 | 0.26628 | 0.99412 | -0.11178 | 0.99501 | -0.094692 | 24.385
25 | 0.12263 | 0.031005 | -0.12251 | -0.030925 | 0.00012628 | 8.0694e-05 | 0.18476 | 0.18476 | 0.18476 | 0.98818 | -0.226 | 0.98707 | -0.2475 | 50.7583
26 | -0.37505 | -0.095505 | 0.37551 | 0.095797 | 0.00045778 | 0.00029253 | 0.56125 | 0.56124 | 0.56125 | 0.9953 | -0.08913 | 0.99663 | -0.063855 | 51.3961
27 | 0.17796 | 0.045244 | -0.17791 | -0.045214 | 4.7659e-05 | 3.0292e-05 | 0.26628 | 0.26628 | 0.26628 | 0.9953 | -0.08913 | 0.99501 | -0.094692 | 24.385
28 | 0.19709 | 0.05026 | -0.19699 | -0.050197 | 9.9966e-05 | 6.362e-05 | 0.29496 | 0.29496 | 0.29496 | 0.9953 | -0.08913 | 0.99475 | -0.099641 | 27.0111
29 | -0.37551 | -0.095797 | 0.37609 | 0.096168 | 0.00058101 | 0.00037127 | 0.56124 | 0.56124 | 0.56124 | 0.99663 | -0.063855 | 0.99832 | -0.031873 | 51.3961
30 | 0.18886 | 0.048159 | -0.18866 | -0.048031 | 0.00020115 | 0.00012796 | 0.2828 | 0.2828 | 0.2828 | 0.99475 | -0.099641 | 0.9936 | -0.12173 | 25.8973
31 | -0.38615 | -0.09869 | 0.38675 | 0.099071 | 0.00059629 | 0.00038106 | 0.57624 | 0.57624 | 0.57624 | 0.99832 | -0.031873 | 1 | 0 | 52.7696
32 | -0.14045 | -0.035552 | 0.14087 | 0.03582 | 0.00041877 | 0.0002677 | 0.21201 | 0.21201 | 0.21201 | 0.98637 | -0.26049 | 0.98958 | -0.19858 | 58.2441
33 | -0.041734 | -0.010478 | 0.041749 | 0.010487 | 1.5224e-05 | 9.617e-06 | 0.063521 | 0.06352 | 0.063521 | 0.97775 | -0.42845 | 0.97814 | -0.42081 | 17.4507
34 | 0.016658 | 0.0041798 | -0.016649 | -0.0041743 | 9.279e-06 | 5.4106e-06 | 0.024789 | 0.024789 | 0.024789 | 1 | 0 | 0.99939 | -0.011689 | 6.8102
35 | 0.0043802 | 0.0010977 | -0.0043801 | -0.0010978 | 5.8727e-08 | -1.066e-08 | 0.0065217 | 0.0065217 | 0.0065217 | 0.99939 | -0.011689 | 0.99938 | -0.01197 | 1.7917
36 | 0.012269 | 0.0030766 | -0.012262 | -0.0030731 | 6.4743e-06 | 3.466e-06 | 0.018267 | 0.018268 | 0.018268 | 0.99939 | -0.011689 | 0.99882 | -0.022767 | 5.0186
37 | 0.054078 | 0.013594 | -0.054053 | -0.013578 | 2.4949e-05 | 1.5844e-05 | 0.082205 | 0.082205 | 0.082205 | 0.97907 | -0.40266 | 0.97858 | -0.41233 | 22.5837
38 | 0.11377 | 0.028735 | -0.11374 | -0.028716 | 2.9664e-05 | 1.8951e-05 | 0.17159 | 0.17159 | 0.17159 | 0.98707 | -0.2475 | 0.98679 | -0.25294 | 47.1399
39 | 0.17779 | 0.045308 | -0.17757 | -0.045168 | 0.00022049 | 0.00014015 | 0.26653 | 0.26653 | 0.26653 | 0.9936 | -0.12173 | 0.99225 | -0.14746 | 24.4076
40 | -0.0064562 | -0.0016181 | 0.0064576 | 0.0016185 | 1.4112e-06 | 4.1442e-07 | 0.0098268 | 0.0098267 | 0.0098268 | 0.97762 | -0.43173 | 0.97785 | -0.42714 | 2.6997
41 | -0.0064576 | -0.0016185 | 0.006458 | 0.0016186 | 3.8761e-07 | 1.1378e-07 | 0.0098267 | 0.0098266 | 0.0098267 | 0.97785 | -0.42714 | 0.97791 | -0.42588 | 2.6996
42 | -0.028514 | -0.0071537 | 0.028523 | 0.0071596 | 9.4573e-06 | 5.8845e-06 | 0.04339 | 0.043389 | 0.04339 | 0.97791 | -0.42588 | 0.97827 | -0.41893 | 11.9202
43 | 0.022056 | 0.0055351 | -0.022052 | -0.0055327 | 3.9079e-06 | 2.385e-06 | 0.033563 | 0.033563 | 0.033563 | 0.97791 | -0.42588 | 0.97772 | -0.4296 | 9.2206
44 | 0.022052 | 0.0055327 | -0.022035 | -0.0055225 | 1.6767e-05 | 1.0233e-05 | 0.033563 | 0.033563 | 0.033563 | 0.97772 | -0.4296 | 0.97691 | -0.44556 | 9.2206
45 | -0.032785 | -0.0082278 | 0.032815 | 0.0082462 | 2.9398e-05 | 1.8419e-05 | 0.049872 | 0.049872 | 0.049872 | 0.97827 | -0.41893 | 0.97923 | -0.40014 | 13.7012
46 | -0.0060718 | -0.0015217 | 0.0060731 | 0.0015221 | 1.3207e-06 | 3.2164e-07 | 0.0092132 | 0.009213 | 0.0092132 | 0.98066 | -0.37215 | 0.98089 | -0.36758 | 2.5311
47 | -0.0087176 | -0.0021848 | 0.0087184 | 0.0021852 | 8.1459e-07 | 3.6454e-07 | 0.013225 | 0.013225 | 0.013225 | 0.98089 | -0.36758 | 0.98099 | -0.36562 | 3.6331
48 | -0.039798 | -0.0099965 | 0.039841 | 0.010024 | 4.3101e-05 | 2.7189e-05 | 0.060485 | 0.060485 | 0.060485 | 0.97923 | -0.40014 | 0.98038 | -0.37747 | 16.6167
49 | -0.0060443 | -0.0015149 | 0.0060449 | 0.001515 | 5.1655e-07 | 1.0831e-07 | 0.0090056 | 0.0090055 | 0.0090056 | 0.99872 | -0.02456 | 0.99882 | -0.022767 | 2.4741
50 | 0.080143 | 0.020239 | -0.080093 | -0.020207 | 5.0258e-05 | 3.2049e-05 | 0.1211 | 0.1211 | 0.1211 | 0.98523 | -0.28314 | 0.98455 | -0.29624 | 33.2685
51 | -0.089548 | -0.022596 | 0.089677 | 0.022679 | 0.00012973 | 8.2787e-05 | 0.1353 | 0.1353 | 0.1353 | 0.98523 | -0.28314 | 0.98679 | -0.25294 | 37.1706
52 | 0.07044 | 0.017788 | -0.070285 | -0.017689 | 0.00015517 | 9.8848e-05 | 0.10651 | 0.10651 | 0.10651 | 0.98455 | -0.29624 | 0.98218 | -0.34232 | 29.2606
53 | 0.024063 | 0.006037 | -0.02405 | -0.0060288 | 1.3328e-05 | 8.1851e-06 | 0.036288 | 0.036288 | 0.036288 | 0.98679 | -0.25294 | 0.98619 | -0.26456 | 9.9694
54 | 0.058221 | 0.014666 | -0.058157 | -0.014625 | 6.4795e-05 | 4.1188e-05 | 0.088233 | 0.088233 | 0.088233 | 0.98218 | -0.34232 | 0.98099 | -0.36562 | 24.2398
55 | 0.015997 | 0.0040104 | -0.015993 | -0.0040083 | 3.7235e-06 | 2.1656e-06 | 0.024137 | 0.024137 | 0.024137 | 0.98619 | -0.26456 | 0.98594 | -0.26945 | 6.6311
56 | 0.049438 | 0.01244 | -0.04941 | -0.012422 | 2.7983e-05 | 1.7742e-05 | 0.075008 | 0.075008 | 0.075008 | 0.98099 | -0.36562 | 0.98038 | -0.37747 | 20.6066
57 | 0.0080557 | 0.002019 | -0.0080555 | -0.0020189 | 1.982e-07 | 8.1251e-08 | 0.012158 | 0.012158 | 0.012158 | 0.98594 | -0.26945 | 0.98591 | -0.26996 | 3.3401
58 | -0.048214 | -0.012107 | 0.048234 | 0.01212 | 1.9524e-05 | 1.2374e-05 | 0.073355 | 0.073355 | 0.073355 | 0.97814 | -0.42081 | 0.97858 | -0.41233 | 20.1524
59 | -0.15477 | -0.039303 | 0.15499 | 0.039445 | 0.00022249 | 0.00014183 | 0.23291 | 0.23291 | 0.23291 | 0.98958 | -0.19858 | 0.99114 | -0.16876 | 31.9925
60 | -0.16336 | -0.041542 | 0.16353 | 0.041649 | 0.00016779 | 0.00010653 | 0.24547 | 0.24547 | 0.24547 | 0.99114 | -0.16876 | 0.99225 | -0.14746 | 22.4792

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40505 | 0.10325

## res_load
| p_mw | q_mvar
0 | 0.0079289 | 0.0019872
1 | 0.0029459 | 0.00073832
2 | 0.019102 | 0.0047875
3 | 0.0089676 | 0.0022475
4 | 0.010341 | 0.0025917
5 | 0.011009 | 0.0027592
6 | 0.009943 | 0.0024919
7 | 0.013079 | 0.0032779
8 | 0.0066007 | 0.0016543
9 | 0.016685 | 0.0041816
10 | 0.017579 | 0.0044057
11 | 0.0089405 | 0.0022407
12 | 0.0075578 | 0.0018942
13 | 0.0081312 | 0.0020379
14 | 0.010063 | 0.0025221
15 | 0.011997 | 0.0030067
16 | 0.014957 | 0.0037485
17 | 0.0070497 | 0.0017668
18 | 0.0069329 | 0.0017376
19 | 0.0087368 | 0.0021896
20 | 0.010863 | 0.0027224
21 | 0.0064562 | 0.0016181
22 | 0.022035 | 0.0055225
23 | 0.0042622 | 0.0010682
24 | 0.0060718 | 0.0015217
25 | 0.0026444 | 0.00066276
26 | 0.0069838 | 0.0017503
27 | 0.0060443 | 0.0015149
28 | 0.0062172 | 0.0015582
29 | 0.0094045 | 0.002357
30 | 0.0096529 | 0.0024192
31 | 0.012063 | 0.0030233
32 | 0.0080533 | 0.0020184
33 | 0.0079373 | 0.0019893
34 | 0.0095689 | 0.0023982
35 | 0.0080555 | 0.0020189
36 | 0.0064646 | 0.0016202
37 | 0.0058199 | 0.0014586
38 | 0.0043801 | 0.0010978
39 | 0.013897 | 0.003483
40 | 0.0083709 | 0.002098
41 | 0.014042 | 0.0035193

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1