## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-71_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-71_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-71_0_5_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_261-71_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-71_0_5_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_261-71_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-71_0_5_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_261-71_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_261-71_0_5_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_261-71_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_261-71_0_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_261-71_0_5_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_261-71_0_5_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_261-71_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-71_0_5_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_261-71_0_5_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_261-71_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-71_0_5_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_261-71_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-71_0_5_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_261-71_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-71_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_261-71_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_261-71_0_5_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-71_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_261-71_0_5_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_261-71_0_5_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_261-71_0_5_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_261-71_0_5_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_261-71_0_5_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_261-71_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_261-71_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_261-71_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_261-71_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_261-71_0_5_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_261-71_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_261-71_0_5_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_261-71_0_5_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_261-71_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_261-71_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_261-71_0_5_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_261-71_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_261-71_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_261-71_0_5_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_261-71_0_5_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_261-71_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_261-71_0_5_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_261-71_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_261-71_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_261-71_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_261-71_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_261-71_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_261-71_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_261-71_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_261-71_0_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_261-71_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_MV_547_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-71_0_5_load_0 | 0 | 0.026581 | 0.0066618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-71_0_5_load_15 | 2 | 0.026416 | 0.0066206 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-71_0_5_load_62 | 4 | 0.020982 | 0.0052586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-71_0_5_load_61 | 6 | 0.024688 | 0.0061875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-71_0_5_load_18 | 8 | 0.011008 | 0.0027588 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-71_0_5_load_25 | 11 | 0.0049979 | 0.0012526 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-71_0_5_load_23 | 12 | 0.007135 | 0.0017882 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-71_0_5_load_22 | 14 | 0.010066 | 0.0025228 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-71_0_5_load_20 | 15 | 0.019227 | 0.0048188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-71_0_5_load_50 | 17 | 0.0057989 | 0.0014533 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-71_0_5_load_51 | 19 | 0.011612 | 0.0029102 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-71_0_5_load_49 | 21 | 0.0089112 | 0.0022334 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-71_0_5_load_21 | 22 | 0.010971 | 0.0027495 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-71_0_5_load_46 | 23 | 0.038422 | 0.0096295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-71_0_5_load_45 | 24 | 0.0086777 | 0.0021748 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-71_0_5_load_42 | 25 | 0.012085 | 0.0030289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-71_0_5_load_64 | 26 | 0.010019 | 0.0025111 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-71_0_5_load_60 | 27 | 0.020072 | 0.0050304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-71_0_5_load_58 | 28 | 0.013187 | 0.0033049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-71_0_5_load_59 | 29 | 0.020157 | 0.0050518 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-71_0_5_load_16 | 30 | 0.0096771 | 0.0024253 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-71_0_5_load_29 | 31 | 0.0089152 | 0.0022344 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-71_0_5_load_26 | 32 | 0.0037582 | 0.00094188 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-71_0_5_load_27 | 33 | 0.0037675 | 0.00094423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-71_0_5_load_53 | 34 | 0.0043058 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-71_0_5_load_31 | 35 | 0.0020849 | 0.00052254 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-71_0_5_load_48 | 36 | 0.01106 | 0.0027718 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-71_0_5_load_52 | 37 | 0.006055 | 0.0015175 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-71_0_5_load_35 | 38 | 0.012904 | 0.0032342 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-71_0_5_load_33 | 39 | 0.012704 | 0.003184 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-71_0_5_load_47 | 40 | 0.03344 | 0.0083808 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-71_0_5_load_36 | 41 | 0.0083879 | 0.0021022 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-71_0_5_load_43 | 42 | 0.0091235 | 0.0022866 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-71_0_5_load_17 | 43 | 0.0096721 | 0.002424 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-71_0_5_load_19 | 44 | 0.006935 | 0.0017381 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-71_0_5_load_54 | 45 | 0.0091096 | 0.0022831 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-71_0_5_load_55 | 46 | 0.00678 | 0.0016992 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-71_0_5_load_30 | 47 | 0.0030024 | 0.00075247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-71_0_5_load_28 | 48 | 0.0029898 | 0.00074932 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-71_0_5_load_32 | 49 | 0.010893 | 0.0027301 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-71_0_5_load_34 | 50 | 0.0037966 | 0.00095151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-71_0_5_load_37 | 51 | 0.0035506 | 0.00088987 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-71_0_5_load_57 | 54 | 0.0085052 | 0.0021316 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-71_0_5_load_44 | 55 | 0.0023751 | 0.00059526 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-71_0_5_line_0 |  | 0 | 1 | 0.01985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-71_0_5_line_1 |  | 1 | 2 | 0.0037967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-71_0_5_line_2 |  | 2 | 6 | 0.025507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-71_0_5_line_3 |  | 3 | 4 | 0.0059243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-71_0_5_line_4 |  | 3 | 5 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-71_0_5_line_5 |  | 3 | 6 | 0.011104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-71_0_5_line_6 |  | 4 | 27 | 0.015099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-71_0_5_line_7 |  | 5 | 7 | 0.004778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-71_0_5_line_8 |  | 5 | 8 | 0.0085397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-71_0_5_line_9 |  | 7 | 13 | 0.0083504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-71_0_5_line_10 |  | 8 | 30 | 0.020825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-71_0_5_line_11 |  | 9 | 10 | 0.009349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-71_0_5_line_12 |  | 9 | 11 | 0.011969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-71_0_5_line_13 |  | 9 | 12 | 0.045353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-71_0_5_line_14 |  | 10 | 34 | 0.0058704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-71_0_5_line_15 |  | 11 | 35 | 0.015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-71_0_5_line_16 |  | 13 | 14 | 0.024865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-71_0_5_line_17 |  | 13 | 15 | 0.0067624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-71_0_5_line_18 |  | 14 | 26 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-71_0_5_line_19 |  | 15 | 22 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_261-71_0_5_line_20 |  | 16 | 17 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-71_0_5_line_21 |  | 16 | 18 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-71_0_5_line_22 |  | 16 | 19 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-71_0_5_line_23 |  | 17 | 36 | 0.0094428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-71_0_5_line_24 |  | 18 | 24 | 0.017211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-71_0_5_line_25 |  | 18 | 25 | 0.0096387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-71_0_5_line_26 |  | 19 | 37 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-71_0_5_line_27 |  | 20 | 21 | 0.0053509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-71_0_5_line_28 |  | 20 | 22 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-71_0_5_line_29 |  | 20 | 23 | 0.028671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-71_0_5_line_30 |  | 21 | 31 | 0.015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-71_0_5_line_31 |  | 23 | 40 | 0.037413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_261-71_0_5_line_32 |  | 24 | 41 | 0.027352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_261-71_0_5_line_33 |  | 25 | 42 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-71_0_5_line_34 |  | 27 | 29 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-71_0_5_line_35 |  | 28 | 29 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-71_0_5_line_36 |  | 30 | 43 | 0.021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-71_0_5_line_37 |  | 32 | 33 | 0.0078861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-71_0_5_line_38 |  | 33 | 48 | 0.017736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-71_0_5_line_39 |  | 34 | 37 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-71_0_5_line_40 |  | 35 | 47 | 0.0038785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-71_0_5_line_41 |  | 36 | 40 | 0.02446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-71_0_5_line_42 |  | 38 | 39 | 0.027913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-71_0_5_line_43 |  | 39 | 49 | 0.027647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_261-71_0_5_line_44 |  | 41 | 50 | 0.0069993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_261-71_0_5_line_45 |  | 42 | 55 | 0.0042726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-71_0_5_line_46 |  | 43 | 44 | 0.018632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-71_0_5_line_47 |  | 44 | 45 | 0.011208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-71_0_5_line_48 |  | 45 | 46 | 0.0044259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-71_0_5_line_49 |  | 47 | 48 | 0.0094641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-71_0_5_line_50 |  | 49 | 50 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_261-71_0_5_line_51 |  | 51 | 52 | 0.074148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-71_0_5_line_52 |  | 52 | 53 | 0.014858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-71_0_5_line_53 |  | 53 | 54 | 0.011926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-71_0_5_line_54 |  | 54 | 55 | 0.003716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-71_0_5_trafo_33 | 0.63 MVA 20/0.4 kV | 56 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2681702.4364 | 1246464.2892 | 2681702.0073 | 1246467.4633 | 2681701.3184 | 1246471.4012 | 2681697.5321 | 1246483.4706
1 | 2681702.4364 | 1246464.2892 | 2681701.885 | 1246460.5327
2 | 2681688.9017 | 1246438.9412 | 2681698.8912 | 1246452.3761 | 2681700.6669 | 1246455.6362 | 2681701.725 | 1246459.4425 | 2681701.885 | 1246460.5327
3 | 2681682.2764 | 1246430.0309 | 2681678.7405 | 1246425.2775
4 | 2681682.2764 | 1246430.0309 | 2681683.3378 | 1246429.2116 | 2681686.2473 | 1246426.95 | 2681690.6232 | 1246423.5412 | 2681691.4251 | 1246422.9184
5 | 2681682.2764 | 1246430.0309 | 2681688.9017 | 1246438.9412
6 | 2681678.7405 | 1246425.2775 | 2681669.7288 | 1246413.1626
7 | 2681692.2509 | 1246418.3598 | 2681691.7639 | 1246419.1648 | 2681691.2233 | 1246421.1143 | 2681691.4251 | 1246422.9184
8 | 2681691.4251 | 1246422.9184 | 2681692.2492 | 1246424.5198 | 2681696.2557 | 1246429.938
9 | 2681687.3809 | 1246411.5767 | 2681688.0481 | 1246412.4976 | 2681689.6863 | 1246414.7774 | 2681691.7914 | 1246417.7197 | 2681692.2509 | 1246418.3598
10 | 2681708.6371 | 1246446.682 | 2681696.2557 | 1246429.938
11 | 2681845.8478 | 1246382.2841 | 2681843.3107 | 1246381.0927 | 2681844.0955 | 1246374.5877
12 | 2681844.0955 | 1246374.5877 | 2681833.7883 | 1246368.5028
13 | 2681844.0955 | 1246374.5877 | 2681844.883 | 1246375.01 | 2681848.4201 | 1246358.4911 | 2681842.2891 | 1246354.9484 | 2681834.4947 | 1246357.5205 | 2681833.0762 | 1246357.9346 | 2681831.5953 | 1246357.9475 | 2681829.6398 | 1246357.3089 | 2681823.3896 | 1246353.6124
14 | 2681845.8478 | 1246382.2841 | 2681844.5923 | 1246388.0188
15 | 2681833.7883 | 1246368.5028 | 2681820.5917 | 1246360.7124
16 | 2681687.3809 | 1246411.5767 | 2681685.8863 | 1246412.0342 | 2681684.3232 | 1246411.9793 | 2681682.8425 | 1246411.4252 | 2681681.6174 | 1246410.4187 | 2681670.6242 | 1246395.4501
17 | 2681687.3809 | 1246411.5767 | 2681692.8523 | 1246407.6025
18 | 2681661.4953 | 1246383.0199 | 2681670.6242 | 1246395.4501
19 | 2681692.8523 | 1246407.6025 | 2681705.529 | 1246398.3947
20 | 2681834.8795 | 1246433.0699 | 2681821.313 | 1246427.4564 | 2681819.3201 | 1246428.4407 | 2681817.3411 | 1246428.4134 | 2681812.8381 | 1246426.4996
21 | 2681832.208 | 1246445.998 | 2681833.4143 | 1246440.1548 | 2681834.8795 | 1246433.0699
22 | 2681834.8795 | 1246433.0699 | 2681836.9579 | 1246423.2659
23 | 2681804.1477 | 1246422.806 | 2681812.8381 | 1246426.4996
24 | 2681832.208 | 1246445.998 | 2681816.4068 | 1246439.1751
25 | 2681832.208 | 1246445.998 | 2681830.1947 | 1246455.4242
26 | 2681836.9579 | 1246423.2659 | 2681839.4696 | 1246411.4174 | 2681841.7174 | 1246401.1504
27 | 2681720.3412 | 1246390.3151 | 2681721.2844 | 1246386.0139 | 2681721.7582 | 1246385.1935
28 | 2681720.3412 | 1246390.3151 | 2681714.6817 | 1246392.5722 | 2681708.4584 | 1246396.2669 | 2681705.529 | 1246398.3947
29 | 2681720.3412 | 1246390.3151 | 2681724.0745 | 1246389.6772 | 2681725.8323 | 1246389.8571 | 2681727.6245 | 1246390.2821 | 2681747.2044 | 1246398.604
30 | 2681729.5014 | 1246371.7868 | 2681721.7582 | 1246385.1935
31 | 2681781.6366 | 1246413.2383 | 2681747.2044 | 1246398.604
32 | 2681816.4068 | 1246439.1751 | 2681815.4681 | 1246437.1273 | 2681813.9603 | 1246435.8055 | 2681792.7234 | 1246426.7325
33 | 2681826.6592 | 1246471.9777 | 2681830.1947 | 1246455.4242
34 | 2681669.7288 | 1246413.1626 | 2681660.8956 | 1246401.2877
35 | 2681651.4096 | 1246388.5351 | 2681660.8956 | 1246401.2877
36 | 2681708.6371 | 1246446.682 | 2681721.7022 | 1246464.3505
37 | 2681793.8284 | 1246344.9128 | 2681787.0373 | 1246340.9038
38 | 2681793.8284 | 1246344.9128 | 2681809.1019 | 1246353.9294
39 | 2681844.5923 | 1246388.0188 | 2681841.7174 | 1246401.1504
40 | 2681817.2518 | 1246358.7407 | 2681820.5917 | 1246360.7124
41 | 2681781.6366 | 1246413.2383 | 2681804.1477 | 1246422.806
42 | 2681750.2686 | 1246408.5944 | 2681731.6895 | 1246400.6568 | 2681728.5995 | 1246399.569 | 2681725.3581 | 1246399.0462 | 2681724.2084 | 1246399.0693
43 | 2681750.2686 | 1246408.5944 | 2681775.6921 | 1246419.4561
44 | 2681792.7234 | 1246426.7325 | 2681786.2869 | 1246423.9826
45 | 2681826.6592 | 1246471.9777 | 2681825.7667 | 1246476.1561
46 | 2681721.7022 | 1246464.3505 | 2681732.78 | 1246479.3314
47 | 2681739.4439 | 1246488.3433 | 2681732.78 | 1246479.3314
48 | 2681739.4439 | 1246488.3433 | 2681742.0754 | 1246491.902
49 | 2681817.2518 | 1246358.7407 | 2681809.1019 | 1246353.9294
50 | 2681786.2869 | 1246423.9826 | 2681775.6921 | 1246419.4561
51 | 2681836.9574 | 1246494.877 | 2681853.2638 | 1246422.5442
52 | 2681836.9574 | 1246494.877 | 2681836.1969 | 1246494.6997 | 2681832.0853 | 1246493.7312 | 2681830.4287 | 1246493.3414 | 2681829.8189 | 1246493.1884 | 2681826.0161 | 1246492.2909 | 2681822.4996 | 1246491.4528
53 | 2681822.4996 | 1246491.4528 | 2681824.9906 | 1246479.7901
54 | 2681824.9906 | 1246479.7901 | 2681825.7667 | 1246476.1561

## bus_geodata
| x | y | coords
0 | 2681697.5321 | 1246483.4706
1 | 2681702.4364 | 1246464.2892
2 | 2681701.885 | 1246460.5327
3 | 2681682.2764 | 1246430.0309
4 | 2681678.7405 | 1246425.2775
5 | 2681691.4251 | 1246422.9184
6 | 2681688.9017 | 1246438.9412
7 | 2681692.2509 | 1246418.3598
8 | 2681696.2557 | 1246429.938
9 | 2681844.0955 | 1246374.5877
10 | 2681845.8478 | 1246382.2841
11 | 2681833.7883 | 1246368.5028
12 | 2681823.3896 | 1246353.6124
13 | 2681687.3809 | 1246411.5767
14 | 2681670.6242 | 1246395.4501
15 | 2681692.8523 | 1246407.6025
16 | 2681834.8795 | 1246433.0699
17 | 2681812.8381 | 1246426.4996
18 | 2681832.208 | 1246445.998
19 | 2681836.9579 | 1246423.2659
20 | 2681720.3412 | 1246390.3151
21 | 2681721.7582 | 1246385.1935
22 | 2681705.529 | 1246398.3947
23 | 2681747.2044 | 1246398.604
24 | 2681816.4068 | 1246439.1751
25 | 2681830.1947 | 1246455.4242
26 | 2681661.4953 | 1246383.0199
27 | 2681669.7288 | 1246413.1626
28 | 2681651.4096 | 1246388.5351
29 | 2681660.8956 | 1246401.2877
30 | 2681708.6371 | 1246446.682
31 | 2681729.5014 | 1246371.7868
32 | 2681787.0373 | 1246340.9038
33 | 2681793.8284 | 1246344.9128
34 | 2681844.5923 | 1246388.0188
35 | 2681820.5917 | 1246360.7124
36 | 2681804.1477 | 1246422.806
37 | 2681841.7174 | 1246401.1504
38 | 2681724.2084 | 1246399.0693
39 | 2681750.2686 | 1246408.5944
40 | 2681781.6366 | 1246413.2383
41 | 2681792.7234 | 1246426.7325
42 | 2681826.6592 | 1246471.9777
43 | 2681721.7022 | 1246464.3505
44 | 2681732.78 | 1246479.3314
45 | 2681739.4439 | 1246488.3433
46 | 2681742.0754 | 1246491.902
47 | 2681817.2518 | 1246358.7407
48 | 2681809.1019 | 1246353.9294
49 | 2681775.6921 | 1246419.4561
50 | 2681786.2869 | 1246423.9826
51 | 2681853.2638 | 1246422.5442
52 | 2681836.9574 | 1246494.877
53 | 2681822.4996 | 1246491.4528
54 | 2681824.9906 | 1246479.7901
55 | 2681825.7667 | 1246476.1561
56 | 2681750.2686 | 1246408.5944

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97337 | -0.51352 | 0.026581 | 0.0066618
1 | 0.97387 | -0.50382 | 0 | 0
2 | 0.97396 | -0.50197 | 0.026416 | 0.0066206
3 | 0.97602 | -0.46136 | 0 | 0
4 | 0.97561 | -0.46943 | 0.020982 | 0.0052586
5 | 0.97684 | -0.44526 | 0 | 0
6 | 0.97522 | -0.47716 | 0.024688 | 0.0061875
7 | 0.97707 | -0.44078 | 0 | 0
8 | 0.97642 | -0.45355 | 0.011008 | 0.0027588
9 | 0.98696 | -0.24885 | 0 | 0
10 | 0.9872 | -0.24421 | 0 | 0
11 | 0.98673 | -0.25327 | 0.0049979 | 0.0012526
12 | 0.98666 | -0.25464 | 0.007135 | 0.0017882
13 | 0.97747 | -0.43296 | 0 | 0
14 | 0.97701 | -0.44207 | 0.010066 | 0.0025228
15 | 0.97782 | -0.42601 | 0.019227 | 0.0048188
16 | 0.98899 | -0.20933 | 0 | 0
17 | 0.987 | -0.24777 | 0.0057989 | 0.0014533
18 | 0.99025 | -0.18514 | 0 | 0
19 | 0.98854 | -0.21822 | 0.011612 | 0.0029102
20 | 0.97972 | -0.38888 | 0 | 0
21 | 0.97963 | -0.39061 | 0.0089112 | 0.0022334
22 | 0.97871 | -0.40856 | 0.010971 | 0.0027495
23 | 0.98154 | -0.35336 | 0.038422 | 0.0096295
24 | 0.99204 | -0.15098 | 0.0086777 | 0.0021748
25 | 0.98994 | -0.19125 | 0.012085 | 0.0030289
26 | 0.97686 | -0.4449 | 0.010019 | 0.0025111
27 | 0.97486 | -0.48421 | 0.020072 | 0.0050304
28 | 0.97421 | -0.49712 | 0.013187 | 0.0033049
29 | 0.9744 | -0.49327 | 0.020157 | 0.0050518
30 | 0.9756 | -0.46962 | 0.0096771 | 0.0024253
31 | 0.97951 | -0.39312 | 0.0089152 | 0.0022344
32 | 0.98622 | -0.26319 | 0.0037582 | 0.00094188
33 | 0.98625 | -0.26266 | 0.0037675 | 0.00094423
34 | 0.98735 | -0.2413 | 0.0043058 | 0.0010791
35 | 0.98651 | -0.25755 | 0.0020849 | 0.00052254
36 | 0.98621 | -0.26283 | 0.01106 | 0.0027718
37 | 0.98774 | -0.2336 | 0.006055 | 0.0015175
38 | 0.99967 | -0.0062803 | 0.012904 | 0.0032342
39 | 1 | 0 | -0.50247 | -0.12889
40 | 0.98425 | -0.30074 | 0.03344 | 0.0083808
41 | 0.99493 | -0.095901 | 0.0083879 | 0.0021022
42 | 0.98957 | -0.19835 | 0.0091235 | 0.0022866
43 | 0.97494 | -0.48271 | 0.0096721 | 0.002424
44 | 0.97454 | -0.49051 | 0.006935 | 0.0017381
45 | 0.97438 | -0.49378 | 0.0091096 | 0.0022831
46 | 0.97435 | -0.49433 | 0.00678 | 0.0016992
47 | 0.98647 | -0.25849 | 0.0030024 | 0.00075247
48 | 0.98637 | -0.26027 | 0.0029898 | 0.00074932
49 | 0.99693 | -0.057911 | 0.010893 | 0.0027301
50 | 0.99568 | -0.081598 | 0.0037966 | 0.00095151
51 | 0.98915 | -0.20663 | 0.0035506 | 0.00088987
52 | 0.98939 | -0.20194 | 0 | 0
53 | 0.98944 | -0.201 | 0 | 0
54 | 0.98948 | -0.20024 | 0.0085052 | 0.0021316
55 | 0.98952 | -0.19945 | 0.0023751 | 0.00059526
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026581 | -0.0066618 | 0.026593 | 0.0066694 | 1.2291e-05 | 7.6193e-06 | 0.040634 | 0.040634 | 0.040634 | 0.97337 | -0.51352 | 0.97387 | -0.50382 | 11.1633
1 | -0.026593 | -0.0066694 | 0.026595 | 0.0066708 | 2.3509e-06 | 1.4573e-06 | 0.040634 | 0.040634 | 0.040634 | 0.97387 | -0.50382 | 0.97396 | -0.50197 | 11.1633
2 | -0.053012 | -0.013291 | 0.053075 | 0.013331 | 6.2745e-05 | 3.9839e-05 | 0.080993 | 0.080993 | 0.080993 | 0.97396 | -0.50197 | 0.97522 | -0.47716 | 22.2509
3 | 0.074481 | 0.018698 | -0.074452 | -0.01868 | 2.8651e-05 | 1.8263e-05 | 0.11356 | 0.11356 | 0.11356 | 0.97602 | -0.46136 | 0.97561 | -0.46943 | 31.1986
4 | -0.1523 | -0.038254 | 0.15242 | 0.038329 | 0.00011718 | 7.4703e-05 | 0.23223 | 0.23223 | 0.23223 | 0.97602 | -0.46136 | 0.97684 | -0.44526 | 31.8992
5 | 0.077821 | 0.019556 | -0.077763 | -0.019519 | 5.863e-05 | 3.7385e-05 | 0.11866 | 0.11866 | 0.11866 | 0.97602 | -0.46136 | 0.97522 | -0.47716 | 32.5998
6 | 0.05347 | 0.013421 | -0.053432 | -0.013398 | 3.7665e-05 | 2.3917e-05 | 0.08156 | 0.081561 | 0.081561 | 0.97561 | -0.46943 | 0.97486 | -0.48421 | 22.4067
7 | -0.20569 | -0.051711 | 0.20573 | 0.051739 | 4.399e-05 | 2.7914e-05 | 0.31338 | 0.31338 | 0.31338 | 0.97684 | -0.44526 | 0.97707 | -0.44078 | 21.5232
8 | 0.053266 | 0.013382 | -0.053245 | -0.013368 | 2.1089e-05 | 1.339e-05 | 0.081151 | 0.081151 | 0.081151 | 0.97684 | -0.44526 | 0.97642 | -0.45355 | 22.2944
9 | -0.20573 | -0.051739 | 0.20581 | 0.051788 | 7.688e-05 | 4.8784e-05 | 0.31338 | 0.31338 | 0.31338 | 0.97707 | -0.44078 | 0.97747 | -0.43296 | 21.5232
10 | 0.042237 | 0.01061 | -0.042205 | -0.010589 | 3.2364e-05 | 2.0453e-05 | 0.064376 | 0.064377 | 0.064377 | 0.97642 | -0.45355 | 0.9756 | -0.46962 | 17.6859
11 | -0.027748 | -0.0069574 | 0.027754 | 0.0069612 | 6.136e-06 | 3.8076e-06 | 0.041836 | 0.041836 | 0.041836 | 0.98696 | -0.24885 | 0.9872 | -0.24421 | 11.4933
12 | 0.020611 | 0.0051686 | -0.020606 | -0.0051659 | 4.3345e-06 | 2.6211e-06 | 0.031075 | 0.031075 | 0.031075 | 0.98696 | -0.24885 | 0.98673 | -0.25327 | 8.5372
13 | 0.0071369 | 0.0017889 | -0.007135 | -0.0017882 | 1.9692e-06 | 6.8087e-07 | 0.01076 | 0.01076 | 0.01076 | 0.98696 | -0.24885 | 0.98666 | -0.25464 | 2.9562
14 | -0.027754 | -0.0069612 | 0.027758 | 0.0069636 | 3.8529e-06 | 2.3908e-06 | 0.041836 | 0.041836 | 0.041836 | 0.9872 | -0.24421 | 0.98735 | -0.2413 | 11.4933
15 | 0.015608 | 0.0039134 | -0.015605 | -0.0039115 | 3.184e-06 | 1.8421e-06 | 0.023538 | 0.023539 | 0.023539 | 0.98673 | -0.25327 | 0.98651 | -0.25755 | 6.4666
16 | 0.020096 | 0.0050398 | -0.020087 | -0.0050346 | 8.7271e-06 | 5.2738e-06 | 0.030593 | 0.030593 | 0.030593 | 0.97747 | -0.43296 | 0.97701 | -0.44207 | 8.4047
17 | -0.2259 | -0.056827 | 0.22598 | 0.056875 | 7.5009e-05 | 4.7667e-05 | 0.34397 | 0.34397 | 0.34397 | 0.97747 | -0.43296 | 0.97782 | -0.42601 | 23.6243
18 | 0.010021 | 0.0025117 | -0.010019 | -0.0025111 | 1.3471e-06 | 6.6905e-07 | 0.015262 | 0.015262 | 0.015262 | 0.97701 | -0.44207 | 0.97686 | -0.4449 | 4.1929
19 | -0.2452 | -0.061694 | 0.24541 | 0.061824 | 0.00020461 | 0.00013017 | 0.37323 | 0.37323 | 0.37323 | 0.97782 | -0.42601 | 0.97871 | -0.40856 | 25.6339
20 | 0.366 | 0.093238 | -0.36532 | -0.092805 | 0.00067728 | 0.00043224 | 0.55122 | 0.55122 | 0.55122 | 0.98899 | -0.20933 | 0.987 | -0.24777 | 37.8583
21 | -0.41579 | -0.10575 | 0.41628 | 0.10606 | 0.00048521 | 0.00030986 | 0.62614 | 0.62614 | 0.62614 | 0.98899 | -0.20933 | 0.99025 | -0.18514 | 43.0043
22 | 0.049791 | 0.012509 | -0.04977 | -0.012495 | 2.1098e-05 | 1.3374e-05 | 0.074925 | 0.074925 | 0.074925 | 0.98899 | -0.20933 | 0.98854 | -0.21822 | 20.5839
23 | 0.35953 | 0.091352 | -0.35927 | -0.091186 | 0.00026051 | 0.00016625 | 0.54248 | 0.54248 | 0.54248 | 0.987 | -0.24777 | 0.98621 | -0.26283 | 37.2579
24 | -0.45194 | -0.115 | 0.45268 | 0.11548 | 0.00074551 | 0.00047624 | 0.67973 | 0.67973 | 0.67973 | 0.99025 | -0.18514 | 0.99204 | -0.15098 | 46.6847
25 | 0.03566 | 0.0089436 | -0.03565 | -0.0089371 | 1.038e-05 | 6.519e-06 | 0.053588 | 0.053588 | 0.053588 | 0.99025 | -0.18514 | 0.98994 | -0.19125 | 14.7219
26 | 0.038158 | 0.0095853 | -0.03813 | -0.0095677 | 2.7995e-05 | 1.7627e-05 | 0.057446 | 0.057446 | 0.057446 | 0.98854 | -0.21822 | 0.98774 | -0.2336 | 15.782
27 | 0.017829 | 0.0044691 | -0.017827 | -0.0044682 | 1.4714e-06 | 8.7431e-07 | 0.027079 | 0.027079 | 0.027079 | 0.97972 | -0.38888 | 0.97963 | -0.39061 | 7.4393
28 | 0.25662 | 0.064727 | -0.25638 | -0.064574 | 0.0002416 | 0.00015377 | 0.38991 | 0.38991 | 0.38991 | 0.97972 | -0.38888 | 0.97871 | -0.40856 | 26.7794
29 | -0.27445 | -0.069196 | 0.27492 | 0.069494 | 0.00046737 | 0.00029767 | 0.41699 | 0.41699 | 0.41699 | 0.97972 | -0.38888 | 0.98154 | -0.35336 | 28.6392
30 | 0.0089163 | 0.0022348 | -0.0089152 | -0.0022344 | 1.0649e-06 | 4.8666e-07 | 0.013543 | 0.013544 | 0.013544 | 0.97963 | -0.39061 | 0.97951 | -0.39312 | 3.7207
31 | -0.31334 | -0.079124 | 0.31413 | 0.079629 | 0.00079216 | 0.00050508 | 0.47523 | 0.47523 | 0.47523 | 0.98154 | -0.35336 | 0.98425 | -0.30074 | 32.6397
32 | -0.46136 | -0.11765 | 0.46259 | 0.11844 | 0.0012306 | 0.00078614 | 0.69274 | 0.69274 | 0.69274 | 0.99204 | -0.15098 | 0.99493 | -0.095901 | 47.5786
33 | 0.023565 | 0.0059082 | -0.023557 | -0.0059034 | 7.9643e-06 | 4.8796e-06 | 0.035422 | 0.035422 | 0.035422 | 0.98994 | -0.19125 | 0.98957 | -0.19835 | 9.7313
34 | 0.033361 | 0.0083671 | -0.033346 | -0.0083581 | 1.4392e-05 | 9.0266e-06 | 0.050923 | 0.050923 | 0.050923 | 0.97486 | -0.48421 | 0.9744 | -0.49327 | 13.99
35 | -0.013187 | -0.0033049 | 0.013189 | 0.0033063 | 2.418e-06 | 1.3496e-06 | 0.020142 | 0.020142 | 0.020142 | 0.97421 | -0.49712 | 0.9744 | -0.49327 | 5.5334
36 | 0.032528 | 0.0081638 | -0.032508 | -0.0081511 | 2.0286e-05 | 1.2709e-05 | 0.049617 | 0.049617 | 0.049617 | 0.9756 | -0.46962 | 0.97494 | -0.48271 | 13.631
37 | -0.0037582 | -0.00094188 | 0.0037583 | 0.00094184 | 9.5083e-08 | -3.9779e-08 | 0.0056703 | 0.0056703 | 0.0056703 | 0.98622 | -0.26319 | 0.98625 | -0.26266 | 1.5578
38 | -0.0075258 | -0.0018861 | 0.0075266 | 0.0018864 | 8.575e-07 | 3.2244e-07 | 0.011355 | 0.011354 | 0.011355 | 0.98625 | -0.26266 | 0.98637 | -0.26027 | 3.1194
39 | -0.032063 | -0.0080428 | 0.032075 | 0.0080501 | 1.1772e-05 | 7.3622e-06 | 0.048325 | 0.048325 | 0.048325 | 0.98735 | -0.2413 | 0.98774 | -0.2336 | 13.276
40 | 0.01352 | 0.003389 | -0.01352 | -0.0033886 | 6.0491e-07 | 3.3762e-07 | 0.020394 | 0.020394 | 0.020394 | 0.98651 | -0.25755 | 0.98647 | -0.25849 | 5.6027
41 | 0.34821 | 0.088414 | -0.34757 | -0.088009 | 0.00063394 | 0.00040448 | 0.52579 | 0.52579 | 0.52579 | 0.98621 | -0.26283 | 0.98425 | -0.30074 | 36.1119
42 | -0.012904 | -0.0032342 | 0.012908 | 0.0032363 | 3.862e-06 | 2.1056e-06 | 0.019208 | 0.019208 | 0.019208 | 0.99967 | -0.0062803 | 1 | 0 | 5.277
43 | 0.48791 | 0.12565 | -0.48654 | -0.12478 | 0.0013707 | 0.00087581 | 0.72722 | 0.72722 | 0.72722 | 1 | 0 | 0.99693 | -0.057911 | 49.9466
44 | -0.47098 | -0.12054 | 0.47131 | 0.12075 | 0.00032641 | 0.00020854 | 0.70529 | 0.70529 | 0.70529 | 0.99493 | -0.095901 | 0.99568 | -0.081598 | 48.4402
45 | 0.014433 | 0.0036168 | -0.014432 | -0.0036164 | 7.5468e-07 | 4.2811e-07 | 0.021703 | 0.021703 | 0.021703 | 0.98957 | -0.19835 | 0.98952 | -0.19945 | 5.9623
46 | 0.022836 | 0.0057271 | -0.022827 | -0.0057219 | 8.4882e-06 | 5.2002e-06 | 0.034855 | 0.034855 | 0.034855 | 0.97494 | -0.48271 | 0.97454 | -0.49051 | 9.5755
47 | 0.015892 | 0.0039838 | -0.01589 | -0.0039824 | 2.4749e-06 | 1.4443e-06 | 0.024266 | 0.024266 | 0.024266 | 0.97454 | -0.49051 | 0.97438 | -0.49378 | 6.6665
48 | 0.0067801 | 0.0016993 | -0.00678 | -0.0016992 | 1.7794e-07 | 5.8756e-08 | 0.010354 | 0.010354 | 0.010354 | 0.97438 | -0.49378 | 0.97435 | -0.49433 | 2.8446
49 | 0.010517 | 0.0026362 | -0.010516 | -0.0026357 | 8.9327e-07 | 4.5088e-07 | 0.015865 | 0.015865 | 0.015865 | 0.98647 | -0.25849 | 0.98637 | -0.26027 | 4.3585
50 | 0.47565 | 0.12205 | -0.4751 | -0.1217 | 0.00054597 | 0.00034882 | 0.71096 | 0.71096 | 0.71096 | 0.99693 | -0.057911 | 0.99568 | -0.081598 | 48.8299
51 | -0.0035506 | -0.00088987 | 0.0035514 | 0.00088943 | 7.9324e-07 | -4.4433e-07 | 0.0053414 | 0.005341 | 0.0053414 | 0.98915 | -0.20663 | 0.98939 | -0.20194 | 1.4674
52 | -0.0035514 | -0.00088943 | 0.0035516 | 0.00088934 | 1.5894e-07 | -8.9099e-08 | 0.005341 | 0.0053409 | 0.005341 | 0.98939 | -0.20194 | 0.98944 | -0.201 | 1.4673
53 | -0.0035516 | -0.00088934 | 0.0035517 | 0.00088927 | 1.2757e-07 | -7.1531e-08 | 0.0053409 | 0.0053409 | 0.0053409 | 0.98944 | -0.201 | 0.98948 | -0.20024 | 1.4673
54 | -0.012057 | -0.0030209 | 0.012057 | 0.0030211 | 4.5811e-07 | 2.4546e-07 | 0.018131 | 0.018131 | 0.018131 | 0.98948 | -0.20024 | 0.98952 | -0.19945 | 4.9811

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51518 | 0.13207

## res_load
| p_mw | q_mvar
0 | 0.026581 | 0.0066618
1 | 0.026416 | 0.0066206
2 | 0.020982 | 0.0052586
3 | 0.024688 | 0.0061875
4 | 0.011008 | 0.0027588
5 | 0.0049979 | 0.0012526
6 | 0.007135 | 0.0017882
7 | 0.010066 | 0.0025228
8 | 0.019227 | 0.0048188
9 | 0.0057989 | 0.0014533
10 | 0.011612 | 0.0029102
11 | 0.0089112 | 0.0022334
12 | 0.010971 | 0.0027495
13 | 0.038422 | 0.0096295
14 | 0.0086777 | 0.0021748
15 | 0.012085 | 0.0030289
16 | 0.010019 | 0.0025111
17 | 0.020072 | 0.0050304
18 | 0.013187 | 0.0033049
19 | 0.020157 | 0.0050518
20 | 0.0096771 | 0.0024253
21 | 0.0089152 | 0.0022344
22 | 0.0037582 | 0.00094188
23 | 0.0037675 | 0.00094423
24 | 0.0043058 | 0.0010791
25 | 0.0020849 | 0.00052254
26 | 0.01106 | 0.0027718
27 | 0.006055 | 0.0015175
28 | 0.012904 | 0.0032342
29 | 0.012704 | 0.003184
30 | 0.03344 | 0.0083808
31 | 0.0083879 | 0.0021022
32 | 0.0091235 | 0.0022866
33 | 0.0096721 | 0.002424
34 | 0.006935 | 0.0017381
35 | 0.0091096 | 0.0022831
36 | 0.00678 | 0.0016992
37 | 0.0030024 | 0.00075247
38 | 0.0029898 | 0.00074932
39 | 0.010893 | 0.0027301
40 | 0.0037966 | 0.00095151
41 | 0.0035506 | 0.00088987
42 | 0.0085052 | 0.0021316
43 | 0.0023751 | 0.00059526

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1