## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-720_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-720_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-720_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-720_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-720_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-720_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-720_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-720_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_261-720_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-720_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_261-720_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_261-720_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-720_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-720_0_4_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_261-720_0_4_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_261-720_0_4_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_261-720_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-720_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-720_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-720_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-720_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-720_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_261-720_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_261-720_0_4_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_261-720_0_4_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_261-720_0_4_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_261-720_0_4_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_261-720_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_261-720_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_261-720_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_261-720_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_261-720_0_4_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_261-720_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-720_0_4_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_261-720_0_4_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_261-720_0_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_261-720_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-720_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_261-720_0_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_261-720_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_261-720_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_261-720_0_4_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_261-720_0_4_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_261-720_0_4_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_261-720_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_261-720_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_261-720_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_261-720_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_261-720_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_261-720_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_261-720_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_261-720_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_261-720_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_261-720_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_261-720_0_4_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_261-720_0_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_261-720_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_261-720_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_261-720_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_261-720_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_261-720_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_261-720_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_261-720_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_261-720_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_261-720_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_261-720_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_261-720_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_261-720_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_261-720_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_261-720_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_261-720_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_261-720_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_261-720_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_261-720_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_261-720_0_4_node_80 | 0.4 | n |  | TRUE
75 | bus_MV_539_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-720_0_4_load_0 | 0 | 0.0060291 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-720_0_4_load_4 | 3 | 0.0081843 | 0.0020512 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-720_0_4_load_5 | 4 | 0.011925 | 0.0029886 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-720_0_4_load_6 | 5 | 0.0056306 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-720_0_4_load_8 | 6 | 0.0074369 | 0.0018639 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-720_0_4_load_7 | 8 | 0.011975 | 0.0030011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-720_0_4_load_17 | 9 | 0.023612 | 0.0059177 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-720_0_4_load_18 | 10 | 0.01619 | 0.0040577 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-720_0_4_load_75 | 13 | 0.0043659 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-720_0_4_load_84 | 14 | 0.0059653 | 0.001495 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-720_0_4_load_68 | 15 | 0.0032309 | 0.00080974 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-720_0_4_load_11 | 16 | 0.0072484 | 0.0018166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-720_0_4_load_12 | 17 | 0.0041725 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-720_0_4_load_13 | 18 | 0.004245 | 0.0010639 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-720_0_4_load_14 | 19 | 0.0041126 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-720_0_4_load_15 | 20 | 0.004941 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-720_0_4_load_69 | 21 | 0.0073394 | 0.0018394 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-720_0_4_load_67 | 22 | 0.0058603 | 0.0014687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-720_0_4_load_70 | 23 | 0.0051341 | 0.0012867 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-720_0_4_load_65 | 24 | 0.0042179 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-720_0_4_load_83 | 25 | 0.00859 | 0.0021529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-720_0_4_load_82 | 26 | 0.0068491 | 0.0017165 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-720_0_4_load_56 | 31 | 0.004724 | 0.0011839 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-720_0_4_load_73 | 33 | 0.01596 | 0.0039999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-720_0_4_load_74 | 34 | 0.012852 | 0.0032211 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-720_0_4_load_71 | 35 | 0.011268 | 0.002824 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-720_0_4_load_76 | 38 | 0.011621 | 0.0029124 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-720_0_4_load_57 | 40 | 0.0032682 | 0.0008191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-720_0_4_load_77 | 42 | 0.0054309 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-720_0_4_load_78 | 43 | 0.0048531 | 0.0012163 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-720_0_4_load_35 | 45 | 0.0034015 | 0.00085249 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-720_0_4_load_33 | 47 | 0.0044497 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-720_0_4_load_51 | 48 | 0.0025244 | 0.00063268 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-720_0_4_load_37 | 49 | 0.0063344 | 0.0015875 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-720_0_4_load_38 | 50 | 0.0082805 | 0.0020753 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-720_0_4_load_55 | 51 | 0.0026245 | 0.00065775 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-720_0_4_load_54 | 52 | 0.0027422 | 0.00068727 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-720_0_4_load_79 | 54 | 0.0098047 | 0.0024573 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-720_0_4_load_72 | 55 | 0.01185 | 0.0029698 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-720_0_4_load_50 | 56 | 0.0022138 | 0.00055484 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-720_0_4_load_58 | 57 | 0.0025891 | 0.00064888 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-720_0_4_load_81 | 58 | 0.020286 | 0.0050843 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-720_0_4_load_41 | 59 | 0.0060444 | 0.0015149 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-720_0_4_load_42 | 60 | 0.0038994 | 0.00097727 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-720_0_4_load_45 | 61 | 0.0031993 | 0.00080182 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-720_0_4_load_52 | 62 | 0.0025093 | 0.00062889 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-720_0_4_load_43 | 63 | 0.0034094 | 0.00085448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-720_0_4_load_64 | 64 | 0.0035052 | 0.00087848 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-720_0_4_load_46 | 65 | 0.0023862 | 0.00059803 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-720_0_4_load_47 | 66 | 0.0022884 | 0.00057352 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-720_0_4_load_49 | 67 | 0.0024318 | 0.00060947 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-720_0_4_load_53 | 68 | 0.0024525 | 0.00061466 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-720_0_4_load_63 | 69 | 0.0021363 | 0.00053542 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-720_0_4_load_59 | 70 | 0.0036722 | 0.00092033 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-720_0_4_load_61 | 71 | 0.0021584 | 0.00054095 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-720_0_4_load_62 | 72 | 0.0031851 | 0.00079826 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-720_0_4_load_66 | 73 | 0.0043714 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-720_0_4_load_80 | 74 | 0.023382 | 0.0058602 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-720_0_4_line_0 |  | 0 | 1 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-720_0_4_line_1 |  | 1 | 2 | 0.030118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-720_0_4_line_2 |  | 1 | 3 | 0.019396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-720_0_4_line_3 |  | 1 | 4 | 0.017686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-720_0_4_line_4 |  | 2 | 5 | 0.013884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-720_0_4_line_5 |  | 3 | 6 | 0.0088627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-720_0_4_line_6 |  | 4 | 7 | 0.014749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-720_0_4_line_7 |  | 6 | 8 | 0.025566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-720_0_4_line_8 |  | 7 | 9 | 0.029638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-720_0_4_line_9 |  | 7 | 10 | 0.014998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-720_0_4_line_10 |  | 10 | 25 | 0.017916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-720_0_4_line_11 |  | 11 | 12 | 0.037548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-720_0_4_line_12 |  | 11 | 13 | 0.017345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-720_0_4_line_13 |  | 12 | 14 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-720_0_4_line_14 |  | 13 | 15 | 0.0088309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-720_0_4_line_15 |  | 14 | 36 | 0.011909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-720_0_4_line_16 |  | 15 | 73 | 0.0077771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-720_0_4_line_17 |  | 16 | 17 | 0.0029852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-720_0_4_line_18 |  | 16 | 18 | 0.004823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-720_0_4_line_19 |  | 17 | 19 | 0.007767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-720_0_4_line_20 |  | 18 | 20 | 0.0084952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-720_0_4_line_21 |  | 19 | 21 | 0.0026123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-720_0_4_line_22 |  | 20 | 22 | 0.00699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-720_0_4_line_23 |  | 21 | 23 | 0.0061029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-720_0_4_line_24 |  | 22 | 24 | 0.0014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-720_0_4_line_25 |  | 23 | 26 | 0.015143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-720_0_4_line_26 |  | 24 | 73 | 0.0079489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-720_0_4_line_27 |  | 25 | 26 | 0.00045551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-720_0_4_line_28 |  | 27 | 28 | 0.016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-720_0_4_line_29 |  | 27 | 29 | 0.005826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-720_0_4_line_30 |  | 27 | 30 | 0.017204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-720_0_4_line_31 |  | 27 | 31 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-720_0_4_line_32 |  | 28 | 42 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-720_0_4_line_33 |  | 28 | 43 | 0.027705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-720_0_4_line_34 |  | 28 | 38 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-720_0_4_line_35 |  | 29 | 50 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-720_0_4_line_36 |  | 30 | 51 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-720_0_4_line_37 |  | 30 | 52 | 0.010477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-720_0_4_line_38 |  | 30 | 53 | 0.004458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-720_0_4_line_39 |  | 32 | 33 | 0.011452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-720_0_4_line_40 |  | 32 | 34 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-720_0_4_line_41 |  | 32 | 35 | 0.026041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-720_0_4_line_42 |  | 33 | 54 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-720_0_4_line_43 |  | 35 | 55 | 0.013783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-720_0_4_line_44 |  | 36 | 37 | 0.00358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_261-720_0_4_line_45 |  | 37 | 38 | 0.0082485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-720_0_4_line_46 |  | 39 | 40 | 0.01164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-720_0_4_line_47 |  | 39 | 41 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-720_0_4_line_48 |  | 41 | 56 | 0.010679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-720_0_4_line_49 |  | 41 | 57 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-720_0_4_line_50 |  | 42 | 58 | 0.003307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_261-720_0_4_line_51 |  | 44 | 45 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-720_0_4_line_52 |  | 44 | 46 | 0.004851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-720_0_4_line_53 |  | 44 | 47 | 0.018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-720_0_4_line_54 |  | 45 | 61 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-720_0_4_line_55 |  | 46 | 48 | 0.010049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-720_0_4_line_56 |  | 48 | 62 | 0.0082042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-720_0_4_line_57 |  | 49 | 50 | 0.017905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-720_0_4_line_58 |  | 51 | 64 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-720_0_4_line_59 |  | 53 | 63 | 0.019663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-720_0_4_line_60 |  | 53 | 61 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-720_0_4_line_61 |  | 54 | 74 | 0.0087967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-720_0_4_line_62 |  | 57 | 70 | 0.0047125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-720_0_4_line_63 |  | 58 | 74 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-720_0_4_line_64 |  | 59 | 60 | 0.0037118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-720_0_4_line_65 |  | 60 | 63 | 0.020597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-720_0_4_line_66 |  | 62 | 68 | 0.016659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-720_0_4_line_67 |  | 64 | 69 | 0.0057007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-720_0_4_line_68 |  | 65 | 66 | 0.0077775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-720_0_4_line_69 |  | 66 | 67 | 0.016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-720_0_4_line_70 |  | 67 | 68 | 0.0079631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-720_0_4_line_71 |  | 69 | 72 | 0.0042365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-720_0_4_line_72 |  | 70 | 71 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-720_0_4_line_73 |  | 71 | 72 | 0.0037781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-720_0_4_trafo_81 | 0.63 MVA 20/0.4 kV | 75 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2684924.6637 | 1246588.0835 | 2684933.8759 | 1246579.21
1 | 2684898.7459 | 1246572.6122 | 2684924.6637 | 1246588.0835
2 | 2684924.6637 | 1246588.0835 | 2684911.7111 | 1246602.5211
3 | 2684924.6637 | 1246588.0835 | 2684940.0018 | 1246596.8887
4 | 2684898.7459 | 1246572.6122 | 2684907.6706 | 1246561.9765
5 | 2684905.7927 | 1246609.118 | 2684911.7111 | 1246602.5211
6 | 2684952.7927 | 1246604.2316 | 2684940.0018 | 1246596.8887
7 | 2684888.7198 | 1246628.1483 | 2684905.7927 | 1246609.118
8 | 2684952.7927 | 1246604.2316 | 2684978.3389 | 1246619.2581
9 | 2684952.7927 | 1246604.2316 | 2684945.1956 | 1246617.1629
10 | 2684936.1204 | 1246632.6103 | 2684945.1956 | 1246617.1629
11 | 2684872.4678 | 1246707.8581 | 2684878.1508 | 1246710.3635 | 2684901.0178 | 1246720.4316 | 2684906.8249 | 1246723.2279
12 | 2684872.4678 | 1246707.8581 | 2684883.978 | 1246694.8831
13 | 2684906.8249 | 1246723.2279 | 2684916.3819 | 1246717.0513
14 | 2684883.978 | 1246694.8831 | 2684889.8383 | 1246688.2769
15 | 2684926.3835 | 1246710.5874 | 2684916.3819 | 1246717.0513
16 | 2684889.8383 | 1246688.2769 | 2684894.9993 | 1246682.4591
17 | 2684914.7352 | 1246660.2114 | 2684916.7162 | 1246657.9783
18 | 2684914.7352 | 1246660.2114 | 2684911.5346 | 1246663.8194
19 | 2684921.8705 | 1246652.1681 | 2684916.7162 | 1246657.9783
20 | 2684911.5346 | 1246663.8194 | 2684905.8971 | 1246670.1744
21 | 2684921.8705 | 1246652.1681 | 2684923.6041 | 1246650.2138
22 | 2684905.8971 | 1246670.1744 | 2684901.2584 | 1246675.4034
23 | 2684927.6541 | 1246645.6484 | 2684923.6041 | 1246650.2138
24 | 2684900.2743 | 1246676.5128 | 2684901.2584 | 1246675.4034
25 | 2684927.6541 | 1246645.6484 | 2684930.042 | 1246642.9566 | 2684935.8897 | 1246633.003
26 | 2684900.2743 | 1246676.5128 | 2684894.9993 | 1246682.4591
27 | 2684936.1204 | 1246632.6103 | 2684935.8897 | 1246633.003
28 | 2684946.027 | 1246698.8823 | 2684949.248 | 1246705.0107 | 2684951.4101 | 1246703.852 | 2684955.4294 | 1246710.1586
29 | 2684960.5979 | 1246707.4418 | 2684955.4294 | 1246710.1586
30 | 2684963.9409 | 1246725.0916 | 2684962.3378 | 1246721.5104 | 2684959.0422 | 1246715.8368 | 2684955.4294 | 1246710.1586
31 | 2684955.4294 | 1246710.1586 | 2684947.6146 | 1246714.0829 | 2684944.81 | 1246715.6936
32 | 2684946.027 | 1246698.8823 | 2684955.8129 | 1246693.917
33 | 2684946.027 | 1246698.8823 | 2684942.0189 | 1246691.2637 | 2684931.7412 | 1246684.1224 | 2684926.4949 | 1246688.0959
34 | 2684946.027 | 1246698.8823 | 2684936.3374 | 1246704.2819
35 | 2684960.5979 | 1246707.4418 | 2684962.0821 | 1246706.6736 | 2684974.2492 | 1246700.4531
36 | 2684963.9409 | 1246725.0916 | 2684956.2339 | 1246728.3502 | 2684947.496 | 1246734.011
37 | 2684963.9409 | 1246725.0916 | 2684965.6722 | 1246728.6857 | 2684969.2199 | 1246734.1173
38 | 2684967.9137 | 1246723.047 | 2684963.9409 | 1246725.0916
39 | 2685003.6344 | 1246669.6527 | 2684993.4217 | 1246674.8345
40 | 2685003.6344 | 1246669.6527 | 2685013.8598 | 1246664.3248
41 | 2685003.6344 | 1246669.6527 | 2684987.9845 | 1246652.0377 | 2684985.8365 | 1246650.8016
42 | 2684980.1535 | 1246681.5668 | 2684993.4217 | 1246674.8345
43 | 2684985.8365 | 1246650.8016 | 2684973.8906 | 1246643.9274
44 | 2684926.3835 | 1246710.5874 | 2684929.543 | 1246708.887
45 | 2684929.543 | 1246708.887 | 2684932.2735 | 1246706.5466 | 2684936.3374 | 1246704.2819
46 | 2684887.5422 | 1246753.0072 | 2684896.6695 | 1246745.7836
47 | 2684897.983 | 1246767.7453 | 2684895.7251 | 1246764.5217 | 2684887.5422 | 1246753.0072
48 | 2684897.983 | 1246767.7453 | 2684903.8161 | 1246776.6903
49 | 2684897.983 | 1246767.7453 | 2684912.3847 | 1246757.4251
50 | 2684958.762 | 1246692.4206 | 2684955.8129 | 1246693.917
51 | 2684990.1323 | 1246757.2461 | 2684986.378 | 1246753.534 | 2684983.7749 | 1246749.4383
52 | 2684990.1323 | 1246757.2461 | 2684986.0749 | 1246759.9233
53 | 2684990.1323 | 1246757.2461 | 2685005.6102 | 1246747.2117
54 | 2684973.6422 | 1246733.4955 | 2684983.7749 | 1246749.4383
55 | 2684986.0749 | 1246759.9233 | 2684977.6147 | 1246765.3465
56 | 2684977.6147 | 1246765.3465 | 2684970.7078 | 1246769.774
57 | 2684974.2492 | 1246700.4531 | 2684990.1913 | 1246692.3025
58 | 2684947.496 | 1246734.011 | 2684938.0461 | 1246740.133
59 | 2684967.9137 | 1246723.047 | 2684985.4654 | 1246714.182
60 | 2684967.9137 | 1246723.047 | 2684968.8688 | 1246725.985 | 2684973.6422 | 1246733.4955
61 | 2684980.1535 | 1246681.5668 | 2684972.3088 | 1246685.5471
62 | 2684912.3847 | 1246757.4251 | 2684916.2152 | 1246754.6802
63 | 2684958.762 | 1246692.4206 | 2684972.3088 | 1246685.5471
64 | 2685006.4499 | 1246702.0638 | 2685003.147 | 1246703.7575
65 | 2685003.147 | 1246703.7575 | 2684999.5988 | 1246705.577 | 2684993.5811 | 1246710.0829 | 2684985.4654 | 1246714.182
66 | 2684956.6828 | 1246778.7645 | 2684970.7078 | 1246769.774
67 | 2684938.0461 | 1246740.133 | 2684933.2617 | 1246743.2325
68 | 2684929.517 | 1246796.1784 | 2684936.0647 | 1246791.9812
69 | 2684949.9788 | 1246783.0619 | 2684936.0647 | 1246791.9812
70 | 2684949.9788 | 1246783.0619 | 2684956.6828 | 1246778.7645
71 | 2684929.7061 | 1246745.536 | 2684933.2617 | 1246743.2325
72 | 2684926.5353 | 1246747.5901 | 2684922.0952 | 1246750.4666 | 2684916.2152 | 1246754.6802
73 | 2684929.7061 | 1246745.536 | 2684926.5353 | 1246747.5901

## bus_geodata
| x | y | coords
0 | 2684933.8759 | 1246579.21
1 | 2684924.6637 | 1246588.0835
2 | 2684898.7459 | 1246572.6122
3 | 2684911.7111 | 1246602.5211
4 | 2684940.0018 | 1246596.8887
5 | 2684907.6706 | 1246561.9765
6 | 2684905.7927 | 1246609.118
7 | 2684952.7927 | 1246604.2316
8 | 2684888.7198 | 1246628.1483
9 | 2684978.3389 | 1246619.2581
10 | 2684945.1956 | 1246617.1629
11 | 2684872.4678 | 1246707.8581
12 | 2684906.8249 | 1246723.2279
13 | 2684883.978 | 1246694.8831
14 | 2684916.3819 | 1246717.0513
15 | 2684889.8383 | 1246688.2769
16 | 2684914.7352 | 1246660.2114
17 | 2684916.7162 | 1246657.9783
18 | 2684911.5346 | 1246663.8194
19 | 2684921.8705 | 1246652.1681
20 | 2684905.8971 | 1246670.1744
21 | 2684923.6041 | 1246650.2138
22 | 2684901.2584 | 1246675.4034
23 | 2684927.6541 | 1246645.6484
24 | 2684900.2743 | 1246676.5128
25 | 2684936.1204 | 1246632.6103
26 | 2684935.8897 | 1246633.003
27 | 2684955.4294 | 1246710.1586
28 | 2684946.027 | 1246698.8823
29 | 2684960.5979 | 1246707.4418
30 | 2684963.9409 | 1246725.0916
31 | 2684944.81 | 1246715.6936
32 | 2685003.6344 | 1246669.6527
33 | 2684993.4217 | 1246674.8345
34 | 2685013.8598 | 1246664.3248
35 | 2684985.8365 | 1246650.8016
36 | 2684926.3835 | 1246710.5874
37 | 2684929.543 | 1246708.887
38 | 2684936.3374 | 1246704.2819
39 | 2684887.5422 | 1246753.0072
40 | 2684896.6695 | 1246745.7836
41 | 2684897.983 | 1246767.7453
42 | 2684955.8129 | 1246693.917
43 | 2684926.4949 | 1246688.0959
44 | 2684990.1323 | 1246757.2461
45 | 2684983.7749 | 1246749.4383
46 | 2684986.0749 | 1246759.9233
47 | 2685005.6102 | 1246747.2117
48 | 2684977.6147 | 1246765.3465
49 | 2684990.1913 | 1246692.3025
50 | 2684974.2492 | 1246700.4531
51 | 2684947.496 | 1246734.011
52 | 2684969.2199 | 1246734.1173
53 | 2684967.9137 | 1246723.047
54 | 2684980.1535 | 1246681.5668
55 | 2684973.8906 | 1246643.9274
56 | 2684903.8161 | 1246776.6903
57 | 2684912.3847 | 1246757.4251
58 | 2684958.762 | 1246692.4206
59 | 2685006.4499 | 1246702.0638
60 | 2685003.147 | 1246703.7575
61 | 2684973.6422 | 1246733.4955
62 | 2684970.7078 | 1246769.774
63 | 2684985.4654 | 1246714.182
64 | 2684938.0461 | 1246740.133
65 | 2684929.517 | 1246796.1784
66 | 2684936.0647 | 1246791.9812
67 | 2684949.9788 | 1246783.0619
68 | 2684956.6828 | 1246778.7645
69 | 2684933.2617 | 1246743.2325
70 | 2684916.2152 | 1246754.6802
71 | 2684926.5353 | 1246747.5901
72 | 2684929.7061 | 1246745.536
73 | 2684894.9993 | 1246682.4591
74 | 2684972.3088 | 1246685.5471
75 | 2684946.027 | 1246698.8823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98254 | -0.33641 | 0.0060291 | 0.001511
1 | 0.98261 | -0.33502 | 0 | 0
2 | 0.98245 | -0.33808 | 0 | 0
3 | 0.98211 | -0.34469 | 0.0081843 | 0.0020512
4 | 0.98325 | -0.3225 | 0.011925 | 0.0029886
5 | 0.98238 | -0.3395 | 0.0056306 | 0.0014112
6 | 0.98195 | -0.3478 | 0.0074369 | 0.0018639
7 | 0.98394 | -0.3089 | 0 | 0
8 | 0.98167 | -0.35333 | 0.011975 | 0.0030011
9 | 0.9833 | -0.3215 | 0.023612 | 0.0059177
10 | 0.98498 | -0.28872 | 0.01619 | 0.0040577
11 | 0.99444 | -0.10605 | 0 | 0
12 | 0.99635 | -0.069573 | 0 | 0
13 | 0.99356 | -0.12295 | 0.0043659 | 0.0010942
14 | 0.99692 | -0.058546 | 0.0059653 | 0.001495
15 | 0.99312 | -0.13133 | 0.0032309 | 0.00080974
16 | 0.99016 | -0.1884 | 0.0072484 | 0.0018166
17 | 0.98981 | -0.19515 | 0.0041725 | 0.0010457
18 | 0.99075 | -0.17688 | 0.004245 | 0.0010639
19 | 0.98892 | -0.21216 | 0.0041126 | 0.0010307
20 | 0.99184 | -0.15598 | 0.004941 | 0.0012383
21 | 0.98864 | -0.2177 | 0.0073394 | 0.0018394
22 | 0.9923 | -0.14709 | 0.0058603 | 0.0014687
23 | 0.98801 | -0.22985 | 0.0051341 | 0.0012867
24 | 0.99237 | -0.14578 | 0.0042179 | 0.0010571
25 | 0.98648 | -0.25948 | 0.00859 | 0.0021529
26 | 0.98652 | -0.25867 | 0.0068491 | 0.0017165
27 | 0.99747 | -0.048402 | 0 | 0
28 | 0.9988 | -0.022912 | 0 | 0
29 | 0.99739 | -0.049893 | 0 | 0
30 | 0.99642 | -0.068646 | 0 | 0
31 | 0.99742 | -0.049393 | 0.004724 | 0.0011839
32 | 0.99725 | -0.052795 | 0 | 0
33 | 0.99763 | -0.045578 | 0.01596 | 0.0039999
34 | 0.99712 | -0.055392 | 0.012852 | 0.0032211
35 | 0.99671 | -0.063351 | 0.011268 | 0.002824
36 | 0.99755 | -0.046605 | 0 | 0
37 | 0.99774 | -0.043018 | 0 | 0
38 | 0.99817 | -0.034759 | 0.011621 | 0.0029124
39 | 0.99523 | -0.091634 | 0 | 0
40 | 0.99519 | -0.092304 | 0.0032682 | 0.0008191
41 | 0.99528 | -0.090596 | 0 | 0
42 | 0.99972 | -0.0053811 | 0.0054309 | 0.0013611
43 | 0.99867 | -0.025262 | 0.0048531 | 0.0012163
44 | 0.99542 | -0.087947 | 0 | 0
45 | 0.99559 | -0.084553 | 0.0034015 | 0.00085249
46 | 0.99535 | -0.089193 | 0 | 0
47 | 0.99534 | -0.089391 | 0.0044497 | 0.0011152
48 | 0.99522 | -0.091773 | 0.0025244 | 0.00063268
49 | 0.99709 | -0.05581 | 0.0063344 | 0.0015875
50 | 0.99719 | -0.053822 | 0.0082805 | 0.0020753
51 | 0.99599 | -0.077009 | 0.0026245 | 0.00065775
52 | 0.99639 | -0.06915 | 0.0027422 | 0.00068727
53 | 0.99626 | -0.071699 | 0 | 0
54 | 0.99833 | -0.032056 | 0.0098047 | 0.0024573
55 | 0.99656 | -0.066217 | 0.01185 | 0.0029698
56 | 0.99526 | -0.091012 | 0.0022138 | 0.00055484
57 | 0.99537 | -0.088887 | 0.0025891 | 0.00064888
58 | 1 | 0 | -0.36941 | -0.093197
59 | 0.99582 | -0.080305 | 0.0060444 | 0.0015149
60 | 0.99584 | -0.07991 | 0.0038994 | 0.00097727
61 | 0.99598 | -0.0771 | 0.0031993 | 0.00080182
62 | 0.99513 | -0.093516 | 0.0025093 | 0.00062889
63 | 0.99602 | -0.076311 | 0.0034094 | 0.00085448
64 | 0.99575 | -0.081507 | 0.0035052 | 0.00087848
65 | 0.99485 | -0.099003 | 0.0023862 | 0.00059803
66 | 0.99486 | -0.098676 | 0.0022884 | 0.00057352
67 | 0.99493 | -0.097316 | 0.0024318 | 0.00060947
68 | 0.99499 | -0.096319 | 0.0024525 | 0.00061466
69 | 0.99565 | -0.083434 | 0.0021363 | 0.00053542
70 | 0.99541 | -0.088218 | 0.0036722 | 0.00092033
71 | 0.99554 | -0.08563 | 0.0021584 | 0.00054095
72 | 0.99559 | -0.084707 | 0.0031851 | 0.00079826
73 | 0.99274 | -0.13858 | 0.0043714 | 0.0010956
74 | 0.99882 | -0.022563 | 0.023382 | 0.0058602
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0060291 | -0.001511 | 0.0060295 | 0.0015111 | 3.999e-07 | 9.3927e-08 | 0.0091309 | 0.0091308 | 0.0091309 | 0.98254 | -0.33641 | 0.98261 | -0.33502 | 2.5085
1 | 0.0056318 | 0.0014114 | -0.005631 | -0.0014112 | 8.2152e-07 | 1.4433e-07 | 0.0085286 | 0.0085287 | 0.0085287 | 0.98261 | -0.33502 | 0.98245 | -0.33808 | 2.3431
2 | 0.027615 | 0.0069275 | -0.027602 | -0.0069196 | 1.2721e-05 | 7.8961e-06 | 0.041821 | 0.041821 | 0.041821 | 0.98261 | -0.33502 | 0.98211 | -0.34469 | 11.4892
3 | -0.039276 | -0.00985 | 0.039299 | 0.0098648 | 2.3464e-05 | 1.4793e-05 | 0.05948 | 0.05948 | 0.05948 | 0.98261 | -0.33502 | 0.98325 | -0.3225 | 16.3407
4 | 0.005631 | 0.0014112 | -0.0056306 | -0.0014112 | 3.7872e-07 | 6.6581e-08 | 0.0085287 | 0.0085288 | 0.0085288 | 0.98245 | -0.33808 | 0.98238 | -0.3395 | 2.3431
5 | 0.019418 | 0.0048684 | -0.019415 | -0.0048667 | 2.8767e-06 | 1.729e-06 | 0.029421 | 0.029421 | 0.029421 | 0.98211 | -0.34469 | 0.98195 | -0.3478 | 8.0826
6 | -0.051224 | -0.012853 | 0.051258 | 0.012875 | 3.3242e-05 | 2.1088e-05 | 0.077527 | 0.077527 | 0.077527 | 0.98325 | -0.3225 | 0.98394 | -0.3089 | 21.2985
7 | 0.011978 | 0.0030028 | -0.011975 | -0.0030011 | 3.1587e-06 | 1.6982e-06 | 0.018151 | 0.018151 | 0.018151 | 0.98195 | -0.3478 | 0.98167 | -0.35333 | 4.9866
8 | 0.023626 | 0.0059264 | -0.023612 | -0.0059177 | 1.419e-05 | 8.7054e-06 | 0.035731 | 0.035732 | 0.035732 | 0.98394 | -0.3089 | 0.9833 | -0.3215 | 9.8164
9 | -0.074884 | -0.018801 | 0.074956 | 0.018847 | 7.2144e-05 | 4.5981e-05 | 0.11326 | 0.11326 | 0.11326 | 0.98394 | -0.3089 | 0.98498 | -0.28872 | 31.1149
10 | -0.091146 | -0.022905 | 0.091274 | 0.022986 | 0.00012742 | 8.1322e-05 | 0.13772 | 0.13772 | 0.13772 | 0.98498 | -0.28872 | 0.98648 | -0.25948 | 37.8344
11 | -0.16694 | -0.04233 | 0.16723 | 0.042516 | 0.00029327 | 0.00018623 | 0.24997 | 0.24997 | 0.24997 | 0.99444 | -0.10605 | 0.99635 | -0.069573 | 22.891
12 | 0.16694 | 0.04233 | -0.1668 | -0.042244 | 0.00013547 | 8.6027e-05 | 0.24997 | 0.24997 | 0.24997 | 0.99444 | -0.10605 | 0.99356 | -0.12295 | 22.891
13 | -0.16723 | -0.042516 | 0.16732 | 0.042573 | 8.8877e-05 | 5.6437e-05 | 0.24997 | 0.24997 | 0.24997 | 0.99635 | -0.069573 | 0.99692 | -0.058546 | 22.8909
14 | 0.16244 | 0.04115 | -0.16237 | -0.041108 | 6.5413e-05 | 4.1521e-05 | 0.24343 | 0.24343 | 0.24343 | 0.99356 | -0.12295 | 0.99312 | -0.13133 | 22.2922
15 | -0.17328 | -0.044068 | 0.17338 | 0.044131 | 9.9756e-05 | 6.3378e-05 | 0.25887 | 0.25887 | 0.25887 | 0.99692 | -0.058546 | 0.99755 | -0.046605 | 23.7063
16 | 0.15914 | 0.040299 | -0.15908 | -0.040264 | 5.5339e-05 | 3.5115e-05 | 0.23859 | 0.23859 | 0.23859 | 0.99312 | -0.13133 | 0.99274 | -0.13858 | 21.8489
17 | 0.12786 | 0.032307 | -0.12782 | -0.032281 | 4.1372e-05 | 2.644e-05 | 0.19224 | 0.19224 | 0.19224 | 0.99016 | -0.1884 | 0.98981 | -0.19515 | 52.8144
18 | -0.13511 | -0.034124 | 0.13518 | 0.034171 | 7.4632e-05 | 4.7702e-05 | 0.20314 | 0.20314 | 0.20314 | 0.99016 | -0.1884 | 0.99075 | -0.17688 | 55.807
19 | 0.12365 | 0.031235 | -0.12355 | -0.031171 | 0.00010073 | 6.437e-05 | 0.18597 | 0.18597 | 0.18597 | 0.98981 | -0.19515 | 0.98892 | -0.21216 | 51.0912
20 | -0.13943 | -0.035235 | 0.13957 | 0.035325 | 0.00013984 | 8.9387e-05 | 0.20951 | 0.20951 | 0.20951 | 0.99075 | -0.17688 | 0.99184 | -0.15598 | 57.5585
21 | 0.11943 | 0.03014 | -0.1194 | -0.03012 | 3.1664e-05 | 2.0231e-05 | 0.17978 | 0.17978 | 0.17978 | 0.98892 | -0.21216 | 0.98864 | -0.2177 | 49.3911
22 | -0.14451 | -0.036563 | 0.14457 | 0.036602 | 6.1674e-05 | 3.9291e-05 | 0.21693 | 0.21693 | 0.21693 | 0.99184 | -0.15598 | 0.9923 | -0.14709 | 29.7975
23 | 0.11206 | 0.02828 | -0.112 | -0.028239 | 6.5161e-05 | 4.1625e-05 | 0.16874 | 0.16874 | 0.16874 | 0.98864 | -0.2177 | 0.98801 | -0.22985 | 46.3564
24 | -0.15043 | -0.038071 | 0.15044 | 0.038077 | 9.4436e-06 | 5.9864e-06 | 0.22571 | 0.22571 | 0.22571 | 0.9923 | -0.14709 | 0.99237 | -0.14578 | 20.6697
25 | 0.10686 | 0.026952 | -0.10672 | -0.026858 | 0.0001472 | 9.4015e-05 | 0.161 | 0.161 | 0.161 | 0.98801 | -0.22985 | 0.98652 | -0.25867 | 44.2321
26 | -0.15466 | -0.039134 | 0.15471 | 0.039168 | 5.3497e-05 | 3.393e-05 | 0.23204 | 0.23204 | 0.23204 | 0.99237 | -0.14578 | 0.99274 | -0.13858 | 21.2489
27 | -0.099864 | -0.025139 | 0.099868 | 0.025141 | 3.878e-06 | 2.4761e-06 | 0.15067 | 0.15067 | 0.15067 | 0.98648 | -0.25948 | 0.98652 | -0.25867 | 41.394
28 | -0.086555 | -0.021736 | 0.08666 | 0.021803 | 0.0001054 | 6.7239e-05 | 0.12914 | 0.12914 | 0.12914 | 0.99747 | -0.048402 | 0.9988 | -0.022912 | 35.4771
29 | 0.014619 | 0.0036651 | -0.014618 | -0.0036645 | 1.0392e-06 | 5.8903e-07 | 0.021809 | 0.021809 | 0.021809 | 0.99747 | -0.048402 | 0.99739 | -0.049893 | 5.9916
30 | 0.067211 | 0.016887 | -0.067146 | -0.016846 | 6.4877e-05 | 4.1297e-05 | 0.10028 | 0.10028 | 0.10028 | 0.99747 | -0.048402 | 0.99642 | -0.068646 | 27.5495
31 | 0.0047242 | 0.0011839 | -0.004724 | -0.0011839 | 2.2311e-07 | -1.3562e-08 | 0.0070475 | 0.0070475 | 0.0070475 | 0.99747 | -0.048402 | 0.99742 | -0.049393 | 1.9361
32 | -0.27672 | -0.070194 | 0.27696 | 0.070343 | 0.00023347 | 0.00014899 | 0.41256 | 0.41256 | 0.41256 | 0.9988 | -0.022912 | 0.99972 | -0.0053811 | 37.7804
33 | 0.0048537 | 0.0012163 | -0.0048531 | -0.0012163 | 5.4324e-07 | -1.4877e-08 | 0.007231 | 0.0072311 | 0.0072311 | 0.9988 | -0.022912 | 0.99867 | -0.025262 | 1.9866
34 | 0.18521 | 0.047174 | -0.1851 | -0.047107 | 0.00010577 | 6.7259e-05 | 0.27619 | 0.2762 | 0.2762 | 0.9988 | -0.022912 | 0.99817 | -0.034759 | 25.2926
35 | 0.014618 | 0.0036645 | -0.014616 | -0.003663 | 2.7355e-06 | 1.5506e-06 | 0.021809 | 0.021809 | 0.021809 | 0.99739 | -0.049893 | 0.99719 | -0.053822 | 5.9916
36 | 0.025374 | 0.0063658 | -0.025364 | -0.0063596 | 1.0112e-05 | 6.2274e-06 | 0.037894 | 0.037895 | 0.037895 | 0.99642 | -0.068646 | 0.99599 | -0.077009 | 10.4106
37 | 0.0027423 | 0.00068718 | -0.0027422 | -0.00068727 | 6.5891e-08 | -9.4294e-08 | 0.0040952 | 0.0040953 | 0.0040953 | 0.99642 | -0.068646 | 0.99639 | -0.06915 | 1.1251
38 | 0.03903 | 0.0097928 | -0.039025 | -0.0097893 | 5.6802e-06 | 3.5773e-06 | 0.05829 | 0.05829 | 0.05829 | 0.99642 | -0.068646 | 0.99626 | -0.071699 | 16.0138
39 | -0.035985 | -0.0090237 | 0.035997 | 0.0090315 | 1.2382e-05 | 7.7749e-06 | 0.053695 | 0.053695 | 0.053695 | 0.99725 | -0.052795 | 0.99763 | -0.045578 | 14.7514
40 | 0.012854 | 0.003222 | -0.012852 | -0.0032211 | 1.5906e-06 | 8.6756e-07 | 0.01918 | 0.01918 | 0.01918 | 0.99725 | -0.052795 | 0.99712 | -0.055392 | 5.2692
41 | 0.023131 | 0.0058017 | -0.023119 | -0.0057946 | 1.1634e-05 | 7.1059e-06 | 0.034515 | 0.034515 | 0.034515 | 0.99725 | -0.052795 | 0.99671 | -0.063351 | 9.4822
42 | -0.051957 | -0.013031 | 0.05199 | 0.013053 | 3.3511e-05 | 2.1253e-05 | 0.0775 | 0.077499 | 0.0775 | 0.99763 | -0.045578 | 0.99833 | -0.032056 | 21.2911
43 | 0.011851 | 0.0029706 | -0.01185 | -0.0029698 | 1.618e-06 | 8.5591e-07 | 0.017693 | 0.017693 | 0.017693 | 0.99671 | -0.063351 | 0.99656 | -0.066217 | 4.8608
44 | -0.17338 | -0.044131 | 0.17341 | 0.04415 | 2.9989e-05 | 1.9053e-05 | 0.25887 | 0.25887 | 0.25887 | 0.99755 | -0.046605 | 0.99774 | -0.043018 | 23.7062
45 | -0.17341 | -0.04415 | 0.17348 | 0.044194 | 6.9097e-05 | 4.3899e-05 | 0.25887 | 0.25887 | 0.25887 | 0.99774 | -0.043018 | 0.99817 | -0.034759 | 23.7062
46 | 0.0032683 | 0.00081901 | -0.0032682 | -0.0008191 | 1.0423e-07 | -8.4539e-08 | 0.0048866 | 0.0048867 | 0.0048867 | 0.99523 | -0.091634 | 0.99519 | -0.092304 | 1.3425
47 | -0.0032683 | -0.00081901 | 0.0032685 | 0.00081888 | 1.6158e-07 | -1.3107e-07 | 0.0048866 | 0.0048865 | 0.0048866 | 0.99523 | -0.091634 | 0.99528 | -0.090596 | 1.3425
48 | 0.0022139 | 0.00055473 | -0.0022138 | -0.00055484 | 4.3871e-08 | -1.107e-07 | 0.0033099 | 0.0033099 | 0.0033099 | 0.99528 | -0.090596 | 0.99526 | -0.091012 | 0.90931
49 | -0.0054824 | -0.0013736 | 0.0054828 | 0.0013737 | 4.4635e-07 | 5.5391e-08 | 0.0081964 | 0.0081963 | 0.0081964 | 0.99528 | -0.090596 | 0.99537 | -0.088887 | 2.2518
50 | -0.28239 | -0.071704 | 0.28246 | 0.07175 | 7.3143e-05 | 4.6682e-05 | 0.42065 | 0.42065 | 0.42065 | 0.99972 | -0.0053811 | 1 | 0 | 38.5206
51 | -0.019048 | -0.0047751 | 0.019051 | 0.0047769 | 3.0809e-06 | 1.84e-06 | 0.028475 | 0.028475 | 0.028475 | 0.99542 | -0.087947 | 0.99559 | -0.084553 | 7.8228
52 | 0.014598 | 0.0036599 | -0.014597 | -0.0036594 | 8.6633e-07 | 4.914e-07 | 0.021823 | 0.021823 | 0.021823 | 0.99542 | -0.087947 | 0.99535 | -0.089193 | 5.9953
53 | 0.0044501 | 0.0011152 | -0.0044497 | -0.0011152 | 3.061e-07 | -4.3863e-08 | 0.0066522 | 0.0066523 | 0.0066523 | 0.99542 | -0.087947 | 0.99534 | -0.089391 | 1.8275
54 | -0.022453 | -0.0056294 | 0.022461 | 0.0056343 | 7.9778e-06 | 4.86e-06 | 0.033559 | 0.033559 | 0.033559 | 0.99559 | -0.084553 | 0.99598 | -0.0771 | 9.2195
55 | 0.014597 | 0.0036594 | -0.014596 | -0.0036584 | 1.7947e-06 | 1.018e-06 | 0.021823 | 0.021823 | 0.021823 | 0.99535 | -0.089193 | 0.99522 | -0.091773 | 5.9953
56 | 0.012071 | 0.0030257 | -0.01207 | -0.0030252 | 1.0022e-06 | 5.348e-07 | 0.018048 | 0.018049 | 0.018049 | 0.99522 | -0.091773 | 0.99513 | -0.093516 | 4.9584
57 | -0.0063344 | -0.0015875 | 0.006335 | 0.0015877 | 6e-07 | 1.5045e-07 | 0.0094532 | 0.0094531 | 0.0094532 | 0.99709 | -0.05581 | 0.99719 | -0.053822 | 2.597
58 | 0.022739 | 0.0057018 | -0.022734 | -0.0056989 | 4.8735e-06 | 2.9725e-06 | 0.033974 | 0.033974 | 0.033974 | 0.99599 | -0.077009 | 0.99575 | -0.081507 | 9.3334
59 | 0.013358 | 0.0033491 | -0.013355 | -0.0033475 | 2.9354e-06 | 1.6226e-06 | 0.019952 | 0.019952 | 0.019952 | 0.99626 | -0.071699 | 0.99602 | -0.076311 | 5.4813
60 | 0.025667 | 0.0064402 | -0.02566 | -0.0064361 | 6.6079e-06 | 4.073e-06 | 0.038339 | 0.038339 | 0.038339 | 0.99626 | -0.071699 | 0.99598 | -0.0771 | 10.5326
61 | -0.061795 | -0.01551 | 0.061823 | 0.015528 | 2.799e-05 | 1.7798e-05 | 0.092113 | 0.092113 | 0.092113 | 0.99833 | -0.032056 | 0.99882 | -0.022563 | 25.3059
62 | -0.0080719 | -0.0020225 | 0.0080721 | 0.0020226 | 2.5731e-07 | 1.0343e-07 | 0.012067 | 0.012067 | 0.012067 | 0.99537 | -0.088887 | 0.99541 | -0.088218 | 3.3151
63 | 0.085297 | 0.021446 | -0.085205 | -0.021388 | 9.1804e-05 | 5.8555e-05 | 0.12695 | 0.12695 | 0.12695 | 1 | 0 | 0.99882 | -0.022563 | 34.8757
64 | -0.0060444 | -0.0015149 | 0.0060445 | 0.0015149 | 1.1355e-07 | 2.438e-08 | 0.009032 | 0.009032 | 0.009032 | 0.99582 | -0.080305 | 0.99584 | -0.07991 | 2.4813
65 | -0.0099439 | -0.0024922 | 0.0099456 | 0.002493 | 1.7053e-06 | 8.2335e-07 | 0.014859 | 0.014858 | 0.014859 | 0.99584 | -0.07991 | 0.99602 | -0.076311 | 4.082
66 | 0.0095608 | 0.0023963 | -0.0095596 | -0.0023957 | 1.2768e-06 | 6.0078e-07 | 0.014296 | 0.014296 | 0.014296 | 0.99513 | -0.093516 | 0.99499 | -0.096319 | 3.9276
67 | 0.019229 | 0.0048204 | -0.019227 | -0.0048193 | 1.7652e-06 | 1.0556e-06 | 0.028736 | 0.028736 | 0.028736 | 0.99575 | -0.081507 | 0.99565 | -0.083434 | 7.8944
68 | -0.0023862 | -0.00059803 | 0.0023862 | 0.00059795 | 3.7151e-08 | -7.7212e-08 | 0.003569 | 0.003569 | 0.003569 | 0.99485 | -0.099003 | 0.99486 | -0.098676 | 0.9805
69 | -0.0046746 | -0.0011715 | 0.0046749 | 0.0011715 | 3.0297e-07 | -2.0721e-08 | 0.0069917 | 0.0069916 | 0.0069917 | 0.99486 | -0.098676 | 0.99493 | -0.097316 | 1.9208
70 | -0.0071067 | -0.0017809 | 0.007107 | 0.001781 | 3.3734e-07 | 1.1248e-07 | 0.010629 | 0.010629 | 0.010629 | 0.99493 | -0.097316 | 0.99499 | -0.096319 | 2.92
71 | 0.017091 | 0.0042839 | -0.01709 | -0.0042833 | 1.0365e-06 | 6.0828e-07 | 0.025543 | 0.025543 | 0.025543 | 0.99565 | -0.083434 | 0.99559 | -0.084707 | 7.0173
72 | -0.011744 | -0.002943 | 0.011746 | 0.0029437 | 1.4476e-06 | 7.6363e-07 | 0.017556 | 0.017556 | 0.017556 | 0.99541 | -0.088218 | 0.99554 | -0.08563 | 4.8231
73 | -0.013904 | -0.0034847 | 0.013905 | 0.003485 | 6.1191e-07 | 3.425e-07 | 0.020782 | 0.020782 | 0.020782 | 0.99554 | -0.08563 | 0.99559 | -0.084707 | 5.7094

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38969 | 0.098281

## res_load
| p_mw | q_mvar
0 | 0.0060291 | 0.001511
1 | 0.0081843 | 0.0020512
2 | 0.011925 | 0.0029886
3 | 0.0056306 | 0.0014112
4 | 0.0074369 | 0.0018639
5 | 0.011975 | 0.0030011
6 | 0.023612 | 0.0059177
7 | 0.01619 | 0.0040577
8 | 0.0043659 | 0.0010942
9 | 0.0059653 | 0.001495
10 | 0.0032309 | 0.00080974
11 | 0.0072484 | 0.0018166
12 | 0.0041725 | 0.0010457
13 | 0.004245 | 0.0010639
14 | 0.0041126 | 0.0010307
15 | 0.004941 | 0.0012383
16 | 0.0073394 | 0.0018394
17 | 0.0058603 | 0.0014687
18 | 0.0051341 | 0.0012867
19 | 0.0042179 | 0.0010571
20 | 0.00859 | 0.0021529
21 | 0.0068491 | 0.0017165
22 | 0.004724 | 0.0011839
23 | 0.01596 | 0.0039999
24 | 0.012852 | 0.0032211
25 | 0.011268 | 0.002824
26 | 0.011621 | 0.0029124
27 | 0.0032682 | 0.0008191
28 | 0.0054309 | 0.0013611
29 | 0.0048531 | 0.0012163
30 | 0.0034015 | 0.00085249
31 | 0.0044497 | 0.0011152
32 | 0.0025244 | 0.00063268
33 | 0.0063344 | 0.0015875
34 | 0.0082805 | 0.0020753
35 | 0.0026245 | 0.00065775
36 | 0.0027422 | 0.00068727
37 | 0.0098047 | 0.0024573
38 | 0.01185 | 0.0029698
39 | 0.0022138 | 0.00055484
40 | 0.0025891 | 0.00064888
41 | 0.020286 | 0.0050843
42 | 0.0060444 | 0.0015149
43 | 0.0038994 | 0.00097727
44 | 0.0031993 | 0.00080182
45 | 0.0025093 | 0.00062889
46 | 0.0034094 | 0.00085448
47 | 0.0035052 | 0.00087848
48 | 0.0023862 | 0.00059803
49 | 0.0022884 | 0.00057352
50 | 0.0024318 | 0.00060947
51 | 0.0024525 | 0.00061466
52 | 0.0021363 | 0.00053542
53 | 0.0036722 | 0.00092033
54 | 0.0021584 | 0.00054095
55 | 0.0031851 | 0.00079826
56 | 0.0043714 | 0.0010956
57 | 0.023382 | 0.0058602

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1