## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-725_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-725_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-725_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-725_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_261-725_0_3_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_261-725_0_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_261-725_0_3_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_261-725_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_261-725_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_261-725_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_261-725_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-725_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_261-725_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_261-725_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_261-725_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-725_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-725_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-725_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_261-725_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_261-725_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_261-725_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_261-725_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_261-725_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_261-725_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_261-725_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_261-725_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_261-725_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_261-725_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_261-725_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_261-725_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_261-725_0_3_node_4 | 0.4 | n |  | TRUE
31 | bus_LV_261-725_0_3_node_6 | 0.4 | n |  | TRUE
32 | bus_LV_261-725_0_3_node_8 | 0.4 | n |  | TRUE
33 | bus_LV_261-725_0_3_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_261-725_0_3_node_10 | 0.4 | n |  | TRUE
35 | bus_LV_261-725_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_261-725_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_261-725_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_261-725_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_261-725_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_261-725_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_261-725_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_261-725_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_261-725_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_261-725_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_261-725_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-725_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_MV_539_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-725_0_3_load_0 | 0 | 0.023003 | 0.005765 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-725_0_3_load_51 | 4 | 0.011912 | 0.0029853 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-725_0_3_load_52 | 6 | 0.023112 | 0.0057923 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-725_0_3_load_33 | 9 | 0.010565 | 0.0026478 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-725_0_3_load_5 | 12 | 0.0050838 | 0.0012741 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-725_0_3_load_31 | 13 | 0.015164 | 0.0038005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-725_0_3_load_13 | 14 | 0.02237 | 0.0056064 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-725_0_3_load_9 | 15 | 0.0083309 | 0.0020879 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-725_0_3_load_40 | 17 | 0.013845 | 0.0034699 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-725_0_3_load_34 | 19 | 0.014152 | 0.0035467 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-725_0_3_load_32 | 20 | 0.013942 | 0.0034941 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-725_0_3_load_35 | 22 | 0.010271 | 0.0025741 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-725_0_3_load_44 | 25 | 0.012955 | 0.0032469 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-725_0_3_load_41 | 26 | 0.0063188 | 0.0015836 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-725_0_3_load_48 | 28 | 0.003765 | 0.0009436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-725_0_3_load_50 | 29 | 0.005208 | 0.0013052 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-725_0_3_load_4 | 30 | 0.0055271 | 0.0013852 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-725_0_3_load_6 | 31 | 0.0051755 | 0.0012971 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-725_0_3_load_8 | 32 | 0.005477 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-725_0_3_load_12 | 33 | 0.005262 | 0.0013188 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-725_0_3_load_10 | 34 | 0.008686 | 0.0021769 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-725_0_3_load_36 | 35 | 0.010962 | 0.0027474 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-725_0_3_load_42 | 36 | 0.0054775 | 0.0013728 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-725_0_3_load_38 | 37 | 0.025624 | 0.0064219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-725_0_3_load_39 | 38 | 0.0090357 | 0.0022646 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-725_0_3_load_30 | 39 | 0.0068317 | 0.0017122 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-725_0_3_load_49 | 40 | 0.0040784 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-725_0_3_load_27 | 41 | 0.0087159 | 0.0021844 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-725_0_3_load_28 | 42 | 0.031552 | 0.0079078 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-725_0_3_load_29 | 43 | 0.010676 | 0.0026756 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-725_0_3_load_37 | 44 | 0.0050296 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-725_0_3_load_43 | 45 | 0.011939 | 0.0029921 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-725_0_3_load_45 | 46 | 0.011989 | 0.0030048 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-725_0_3_line_0 |  | 0 | 1 | 0.0082117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-725_0_3_line_1 |  | 1 | 2 | 0.066505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-725_0_3_line_2 |  | 2 | 3 | 0.036297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-725_0_3_line_3 |  | 2 | 4 | 0.032645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-725_0_3_line_4 |  | 3 | 14 | 0.0088008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-725_0_3_line_5 |  | 3 | 15 | 0.035855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-725_0_3_line_6 |  | 4 | 25 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-725_0_3_line_7 |  | 5 | 6 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-725_0_3_line_8 |  | 5 | 7 | 0.01151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-725_0_3_line_9 |  | 5 | 8 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-725_0_3_line_10 |  | 7 | 9 | 0.0086985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-725_0_3_line_11 |  | 8 | 22 | 0.0021766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-725_0_3_line_12 |  | 8 | 16 | 0.0099995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-725_0_3_line_13 |  | 9 | 21 | 0.016168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-725_0_3_line_14 |  | 10 | 11 | 0.045233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-725_0_3_line_15 |  | 10 | 12 | 0.029902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-725_0_3_line_16 |  | 11 | 13 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-725_0_3_line_17 |  | 12 | 30 | 0.010256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-725_0_3_line_18 |  | 13 | 39 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-725_0_3_line_19 |  | 14 | 19 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-725_0_3_line_20 |  | 15 | 34 | 0.015715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-725_0_3_line_21 |  | 16 | 17 | 0.028653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-725_0_3_line_22 |  | 18 | 19 | 0.0083708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-725_0_3_line_23 |  | 18 | 20 | 0.0044164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-725_0_3_line_24 |  | 20 | 21 | 0.0028384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-725_0_3_line_25 |  | 22 | 35 | 0.021593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-725_0_3_line_26 |  | 23 | 24 | 0.030974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-725_0_3_line_27 |  | 23 | 25 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-725_0_3_line_28 |  | 23 | 26 | 0.0098328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-725_0_3_line_29 |  | 24 | 27 | 0.022236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-725_0_3_line_30 |  | 24 | 28 | 0.0097928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-725_0_3_line_31 |  | 26 | 36 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-725_0_3_line_32 |  | 27 | 29 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-725_0_3_line_33 |  | 28 | 40 | 0.022941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-725_0_3_line_34 |  | 30 | 31 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-725_0_3_line_35 |  | 31 | 32 | 0.010236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-725_0_3_line_36 |  | 32 | 33 | 0.010393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-725_0_3_line_37 |  | 33 | 34 | 0.018524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-725_0_3_line_38 |  | 35 | 44 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-725_0_3_line_39 |  | 36 | 45 | 0.0069182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-725_0_3_line_40 |  | 37 | 38 | 0.0021788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-725_0_3_line_41 |  | 38 | 44 | 0.021317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-725_0_3_line_42 |  | 39 | 42 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-725_0_3_line_43 |  | 41 | 42 | 0.0063334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-725_0_3_line_44 |  | 41 | 43 | 0.027454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-725_0_3_line_45 |  | 45 | 46 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-725_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 47 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684754.5425 | 1246364.3408 | 2684762.754 | 1246364.3915
1 | 2684754.5425 | 1246364.3408 | 2684748.4486 | 1246350.9216 | 2684752.2557 | 1246339.8679 | 2684752.9878 | 1246328.292 | 2684746.4524 | 1246321.9718 | 2684760.142 | 1246308.2461
2 | 2684760.142 | 1246308.2461 | 2684764.3044 | 1246304.5807 | 2684762.2342 | 1246297.7238 | 2684761.5822 | 1246294.1786 | 2684761.3275 | 1246291.384 | 2684765.6538 | 1246291.5793 | 2684767.4734 | 1246291.6609 | 2684768.7621 | 1246297.1723 | 2684771.4533 | 1246301.8142
3 | 2684760.142 | 1246308.2461 | 2684765.7499 | 1246311.8067 | 2684788.7299 | 1246323.9747
4 | 2684771.4533 | 1246301.8142 | 2684776.5634 | 1246294.6489
5 | 2684771.4533 | 1246301.8142 | 2684776.125 | 1246306.3843 | 2684787.3063 | 1246313.794 | 2684801.4685 | 1246321.0341
6 | 2684788.7299 | 1246323.9747 | 2684798.3569 | 1246329.0723
7 | 2684830.0201 | 1246266.9925 | 2684821.9409 | 1246248.7079
8 | 2684811.5929 | 1246253.8081 | 2684821.9409 | 1246248.7079
9 | 2684833.217 | 1246243.6877 | 2684825.4555 | 1246247.0236 | 2684821.9409 | 1246248.7079
10 | 2684811.5929 | 1246253.8081 | 2684806.2478 | 1246256.7005 | 2684804.1472 | 1246258.2681
11 | 2684833.217 | 1246243.6877 | 2684835.2086 | 1246242.8095
12 | 2684829.7778 | 1246234.2982 | 2684831.53 | 1246239.0935 | 2684833.217 | 1246243.6877
13 | 2684793.8483 | 1246270.5334 | 2684797.4266 | 1246264.9249 | 2684799.1119 | 1246262.7807 | 2684801.4672 | 1246260.2681 | 2684804.1472 | 1246258.2681
14 | 2684917.4818 | 1246331.0911 | 2684909.2363 | 1246351.8662 | 2684900.5245 | 1246373.0238
15 | 2684900.5245 | 1246373.0238 | 2684874.0968 | 1246359.0332
16 | 2684917.4818 | 1246331.0911 | 2684913.5225 | 1246327.4318 | 2684917.4078 | 1246313.0546 | 2684911.4745 | 1246311.769
17 | 2684865.0325 | 1246354.2346 | 2684874.0968 | 1246359.0332
18 | 2684911.4745 | 1246311.769 | 2684898.9424 | 1246309.0537
19 | 2684776.5634 | 1246294.6489 | 2684784.7185 | 1246283.2141
20 | 2684801.4685 | 1246321.0341 | 2684815.4612 | 1246328.1875
21 | 2684829.7778 | 1246234.2982 | 2684827.2778 | 1246234.7739 | 2684826.0082 | 1246234.2665 | 2684825.7148 | 1246233.1282 | 2684827.0417 | 1246230.1561 | 2684831.5659 | 1246220.7472 | 2684835.4134 | 1246211.658
22 | 2684789.5789 | 1246276.3989 | 2684784.7185 | 1246283.2141
23 | 2684789.5789 | 1246276.3989 | 2684792.178 | 1246272.8283
24 | 2684793.8483 | 1246270.5334 | 2684792.178 | 1246272.8283
25 | 2684835.2086 | 1246242.8095 | 2684852.78 | 1246235.0611 | 2684854.9584 | 1246234.0796
26 | 2684811.1594 | 1246335.8513 | 2684838.5798 | 1246350.4097
27 | 2684811.1594 | 1246335.8513 | 2684798.3569 | 1246329.0723
28 | 2684811.1594 | 1246335.8513 | 2684804.4324 | 1246343.0229
29 | 2684838.5798 | 1246350.4097 | 2684858.4252 | 1246360.5566
30 | 2684838.5798 | 1246350.4097 | 2684833.8851 | 1246359.0038
31 | 2684804.4324 | 1246343.0229 | 2684795.1606 | 1246352.9075
32 | 2684858.4252 | 1246360.5566 | 2684851.2613 | 1246373.1517
33 | 2684833.8851 | 1246359.0038 | 2684822.887 | 1246379.1371
34 | 2684865.0325 | 1246354.2346 | 2684856.9601 | 1246349.9612 | 2684850.1352 | 1246346.3697
35 | 2684841.0771 | 1246341.603 | 2684850.1352 | 1246346.3697
36 | 2684841.0771 | 1246341.603 | 2684831.88 | 1246336.7632
37 | 2684815.4612 | 1246328.1875 | 2684819.7522 | 1246330.3812 | 2684831.88 | 1246336.7632
38 | 2684854.9584 | 1246234.0796 | 2684870.7184 | 1246226.9785 | 2684871.3553 | 1246226.6868
39 | 2684795.1606 | 1246352.9075 | 2684790.4276 | 1246357.9533
40 | 2684893.3964 | 1246218.9299 | 2684891.2687 | 1246219.3992
41 | 2684871.3553 | 1246226.6868 | 2684883.5481 | 1246221.1022 | 2684891.2687 | 1246219.3992
42 | 2684887.832 | 1246306.6464 | 2684898.9424 | 1246309.0537
43 | 2684884.5918 | 1246310.8696 | 2684886.4148 | 1246306.3393 | 2684887.832 | 1246306.6464
44 | 2684863.8443 | 1246316.0791 | 2684880.8762 | 1246320.1036 | 2684884.5918 | 1246310.8696
45 | 2684783.2488 | 1246365.6065 | 2684790.4276 | 1246357.9533

## bus_geodata
| x | y | coords
0 | 2684762.754 | 1246364.3915
1 | 2684754.5425 | 1246364.3408
2 | 2684760.142 | 1246308.2461
3 | 2684771.4533 | 1246301.8142
4 | 2684788.7299 | 1246323.9747
5 | 2684821.9409 | 1246248.7079
6 | 2684830.0201 | 1246266.9925
7 | 2684811.5929 | 1246253.8081
8 | 2684833.217 | 1246243.6877
9 | 2684804.1472 | 1246258.2681
10 | 2684900.5245 | 1246373.0238
11 | 2684917.4818 | 1246331.0911
12 | 2684874.0968 | 1246359.0332
13 | 2684911.4745 | 1246311.769
14 | 2684776.5634 | 1246294.6489
15 | 2684801.4685 | 1246321.0341
16 | 2684829.7778 | 1246234.2982
17 | 2684835.4134 | 1246211.658
18 | 2684789.5789 | 1246276.3989
19 | 2684784.7185 | 1246283.2141
20 | 2684792.178 | 1246272.8283
21 | 2684793.8483 | 1246270.5334
22 | 2684835.2086 | 1246242.8095
23 | 2684811.1594 | 1246335.8513
24 | 2684838.5798 | 1246350.4097
25 | 2684798.3569 | 1246329.0723
26 | 2684804.4324 | 1246343.0229
27 | 2684858.4252 | 1246360.5566
28 | 2684833.8851 | 1246359.0038
29 | 2684851.2613 | 1246373.1517
30 | 2684865.0325 | 1246354.2346
31 | 2684850.1352 | 1246346.3697
32 | 2684841.0771 | 1246341.603
33 | 2684831.88 | 1246336.7632
34 | 2684815.4612 | 1246328.1875
35 | 2684854.9584 | 1246234.0796
36 | 2684795.1606 | 1246352.9075
37 | 2684893.3964 | 1246218.9299
38 | 2684891.2687 | 1246219.3992
39 | 2684898.9424 | 1246309.0537
40 | 2684822.887 | 1246379.1371
41 | 2684884.5918 | 1246310.8696
42 | 2684887.832 | 1246306.6464
43 | 2684863.8443 | 1246316.0791
44 | 2684871.3553 | 1246226.6868
45 | 2684790.4276 | 1246357.9533
46 | 2684783.2488 | 1246365.6065
47 | 2684821.9409 | 1246248.7079

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98694 | -0.2503 | 0.023003 | 0.005765
1 | 0.98711 | -0.24692 | 0 | 0
2 | 0.98852 | -0.21959 | 0 | 0
3 | 0.99174 | -0.15722 | 0 | 0
4 | 0.9863 | -0.26258 | 0.011912 | 0.0029853
5 | 0.99786 | -0.040597 | 0 | 0
6 | 1 | 0 | -0.35503 | -0.090289
7 | 0.99689 | -0.059029 | 0 | 0
8 | 0.99702 | -0.056729 | 0 | 0
9 | 0.99616 | -0.072982 | 0.010565 | 0.0026478
10 | 0.97872 | -0.40853 | 0 | 0
11 | 0.97565 | -0.46875 | 0 | 0
12 | 0.98076 | -0.36892 | 0.0050838 | 0.0012741
13 | 0.97385 | -0.50402 | 0.015164 | 0.0038005
14 | 0.99261 | -0.14061 | 0.02237 | 0.0056064
15 | 0.98786 | -0.23153 | 0.0083309 | 0.0020879
16 | 0.9969 | -0.059157 | 0 | 0
17 | 0.99654 | -0.066117 | 0.013845 | 0.0034699
18 | 0.99427 | -0.10884 | 0 | 0
19 | 0.99363 | -0.12113 | 0.014152 | 0.0035467
20 | 0.99461 | -0.10236 | 0.013942 | 0.0034941
21 | 0.99484 | -0.097968 | 0 | 0
22 | 0.9969 | -0.059054 | 0.010271 | 0.0025741
23 | 0.98503 | -0.28732 | 0 | 0
24 | 0.98466 | -0.29458 | 0 | 0
25 | 0.98568 | -0.27463 | 0.012955 | 0.0032469
26 | 0.98471 | -0.29363 | 0.0063188 | 0.0015836
27 | 0.98455 | -0.29667 | 0 | 0
28 | 0.98459 | -0.29596 | 0.003765 | 0.0009436
29 | 0.98448 | -0.29802 | 0.005208 | 0.0013052
30 | 0.9815 | -0.35443 | 0.0055271 | 0.0013852
31 | 0.98281 | -0.329 | 0.0051755 | 0.0012971
32 | 0.98366 | -0.31263 | 0.005477 | 0.0013727
33 | 0.98457 | -0.29501 | 0.005262 | 0.0013188
34 | 0.98628 | -0.26193 | 0.008686 | 0.0021769
35 | 0.9959 | -0.078256 | 0.010962 | 0.0027474
36 | 0.98434 | -0.3008 | 0.0054775 | 0.0013728
37 | 0.99453 | -0.1048 | 0.025624 | 0.0064219
38 | 0.99458 | -0.10382 | 0.0090357 | 0.0022646
39 | 0.97316 | -0.51764 | 0.0068317 | 0.0017122
40 | 0.9845 | -0.29765 | 0.0040784 | 0.0010221
41 | 0.97251 | -0.53057 | 0.0087159 | 0.0021844
42 | 0.97262 | -0.52831 | 0.031552 | 0.0079078
43 | 0.97224 | -0.53598 | 0.010676 | 0.0026756
44 | 0.99525 | -0.090809 | 0.0050296 | 0.0012605
45 | 0.98419 | -0.30377 | 0.011939 | 0.0029921
46 | 0.98407 | -0.30604 | 0.011989 | 0.0030048
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023003 | -0.005765 | 0.023006 | 0.0057673 | 3.7039e-06 | 2.2655e-06 | 0.034681 | 0.034681 | 0.034681 | 0.98694 | -0.2503 | 0.98711 | -0.24692 | 9.5279
1 | -0.023006 | -0.0057673 | 0.023036 | 0.0057856 | 2.9997e-05 | 1.8347e-05 | 0.034681 | 0.034681 | 0.034681 | 0.98711 | -0.24692 | 0.98852 | -0.21959 | 9.5279
2 | -0.096928 | -0.024399 | 0.097217 | 0.024584 | 0.00028992 | 0.00018508 | 0.14594 | 0.14594 | 0.14594 | 0.98852 | -0.21959 | 0.99174 | -0.15722 | 40.0943
3 | 0.073891 | 0.018613 | -0.07374 | -0.018516 | 0.00015155 | 9.6573e-05 | 0.11126 | 0.11126 | 0.11126 | 0.98852 | -0.21959 | 0.9863 | -0.26258 | 30.5665
4 | -0.21529 | -0.054793 | 0.21547 | 0.054904 | 0.0001725 | 0.00011018 | 0.32332 | 0.32332 | 0.32332 | 0.99174 | -0.15722 | 0.99261 | -0.14061 | 44.4128
5 | 0.11808 | 0.03021 | -0.11765 | -0.029939 | 0.00042305 | 0.00027029 | 0.17738 | 0.17738 | 0.17738 | 0.99174 | -0.15722 | 0.98786 | -0.23153 | 48.7314
6 | 0.061828 | 0.015531 | -0.061792 | -0.015508 | 3.5553e-05 | 2.2615e-05 | 0.093291 | 0.093291 | 0.093291 | 0.9863 | -0.26258 | 0.98568 | -0.27463 | 25.6295
7 | -0.35269 | -0.089847 | 0.35338 | 0.090289 | 0.00069225 | 0.00044225 | 0.52645 | 0.52645 | 0.52645 | 0.99786 | -0.040597 | 1 | 0 | 48.2095
8 | 0.27776 | 0.071005 | -0.27751 | -0.070848 | 0.00024742 | 0.0001579 | 0.41469 | 0.41469 | 0.41469 | 0.99786 | -0.040597 | 0.99689 | -0.059029 | 37.9752
9 | 0.074931 | 0.018842 | -0.074873 | -0.018805 | 5.7681e-05 | 3.6755e-05 | 0.11176 | 0.11176 | 0.11176 | 0.99786 | -0.040597 | 0.99702 | -0.056729 | 30.7031
10 | 0.27751 | 0.070848 | -0.27732 | -0.070728 | 0.00018698 | 0.00011933 | 0.41469 | 0.41469 | 0.41469 | 0.99689 | -0.059029 | 0.99616 | -0.072982 | 37.9753
11 | 0.061022 | 0.015331 | -0.061015 | -0.015327 | 6.7719e-06 | 4.3056e-06 | 0.091086 | 0.091086 | 0.091086 | 0.99702 | -0.056729 | 0.9969 | -0.059054 | 25.0237
12 | 0.013851 | 0.0034734 | -0.01385 | -0.0034725 | 1.6026e-06 | 8.9529e-07 | 0.020673 | 0.020673 | 0.020673 | 0.99702 | -0.056729 | 0.9969 | -0.059157 | 5.6795
13 | 0.26676 | 0.06808 | -0.26644 | -0.067875 | 0.0003216 | 0.00020519 | 0.39891 | 0.39891 | 0.39891 | 0.99616 | -0.072982 | 0.99484 | -0.097968 | 36.5301
14 | 0.073343 | 0.018536 | -0.073131 | -0.018402 | 0.00021112 | 0.00013455 | 0.11156 | 0.11156 | 0.11156 | 0.97872 | -0.40853 | 0.97565 | -0.46875 | 30.6493
15 | -0.073343 | -0.018536 | 0.073482 | 0.018625 | 0.00013957 | 8.8946e-05 | 0.11156 | 0.11156 | 0.11156 | 0.97872 | -0.40853 | 0.98076 | -0.36892 | 30.6493
16 | 0.073131 | 0.018402 | -0.073008 | -0.018324 | 0.00012301 | 7.8399e-05 | 0.11156 | 0.11156 | 0.11156 | 0.97565 | -0.46875 | 0.97385 | -0.50402 | 30.6494
17 | -0.078566 | -0.0199 | 0.078621 | 0.019934 | 5.4717e-05 | 3.4889e-05 | 0.11928 | 0.11928 | 0.11928 | 0.98076 | -0.36892 | 0.9815 | -0.35443 | 32.7683
18 | 0.057844 | 0.014523 | -0.057807 | -0.014499 | 3.7571e-05 | 2.3886e-05 | 0.088393 | 0.088393 | 0.088393 | 0.97385 | -0.50402 | 0.97316 | -0.51764 | 24.2839
19 | -0.23784 | -0.06051 | 0.23806 | 0.060653 | 0.00022357 | 0.00014254 | 0.35686 | 0.35686 | 0.35686 | 0.99261 | -0.14061 | 0.99363 | -0.12113 | 32.6794
20 | 0.10932 | 0.027852 | -0.10916 | -0.027749 | 0.00016012 | 0.00010228 | 0.16483 | 0.16483 | 0.16483 | 0.98786 | -0.23153 | 0.98628 | -0.26193 | 45.284
21 | 0.01385 | 0.0034725 | -0.013845 | -0.0034699 | 4.5922e-06 | 2.5656e-06 | 0.020673 | 0.020674 | 0.020674 | 0.9969 | -0.059157 | 0.99654 | -0.066117 | 5.6795
22 | 0.25236 | 0.064295 | -0.25221 | -0.064199 | 0.00014955 | 9.5385e-05 | 0.37805 | 0.37805 | 0.37805 | 0.99427 | -0.10884 | 0.99363 | -0.12113 | 34.6201
23 | -0.25236 | -0.064295 | 0.25244 | 0.064345 | 7.8901e-05 | 5.0325e-05 | 0.37805 | 0.37805 | 0.37805 | 0.99427 | -0.10884 | 0.99461 | -0.10236 | 34.6201
24 | -0.26638 | -0.067839 | 0.26644 | 0.067875 | 5.6458e-05 | 3.6023e-05 | 0.39891 | 0.39891 | 0.39891 | 0.99461 | -0.10236 | 0.99484 | -0.097968 | 36.5301
25 | 0.050744 | 0.012753 | -0.050698 | -0.012724 | 4.647e-05 | 2.946e-05 | 0.075755 | 0.075755 | 0.075755 | 0.9969 | -0.059054 | 0.9959 | -0.078256 | 20.8119
26 | 0.013058 | 0.0032737 | -0.013053 | -0.0032712 | 4.5195e-06 | 2.4984e-06 | 0.019726 | 0.019726 | 0.019726 | 0.98503 | -0.28732 | 0.98466 | -0.29458 | 5.4192
27 | -0.048807 | -0.012243 | 0.048837 | 0.012262 | 2.9534e-05 | 1.8717e-05 | 0.073734 | 0.073734 | 0.073734 | 0.98503 | -0.28732 | 0.98568 | -0.27463 | 20.2565
28 | 0.03575 | 0.0089692 | -0.035739 | -0.0089624 | 1.0755e-05 | 6.7583e-06 | 0.054008 | 0.054008 | 0.054008 | 0.98503 | -0.28732 | 0.98471 | -0.29363 | 14.8374
29 | 0.0052088 | 0.0013053 | -0.0052083 | -0.0013053 | 5.1667e-07 | 4.7859e-08 | 0.0078715 | 0.0078716 | 0.0078716 | 0.98466 | -0.29458 | 0.98455 | -0.29667 | 2.1625
30 | 0.0078443 | 0.0019659 | -0.0078438 | -0.0019657 | 5.1604e-07 | 2.0571e-07 | 0.011854 | 0.011854 | 0.011854 | 0.98466 | -0.29458 | 0.98459 | -0.29596 | 3.2567
31 | 0.02942 | 0.0073788 | -0.02941 | -0.0073725 | 1.0046e-05 | 6.257e-06 | 0.04446 | 0.04446 | 0.04446 | 0.98471 | -0.29363 | 0.98434 | -0.3008 | 12.2142
32 | 0.0052083 | 0.0013053 | -0.005208 | -0.0013052 | 3.3669e-07 | 3.1224e-08 | 0.0078716 | 0.0078717 | 0.0078717 | 0.98455 | -0.29667 | 0.98448 | -0.29802 | 2.1626
33 | 0.0040787 | 0.0010221 | -0.0040784 | -0.0010221 | 3.2689e-07 | -8.2531e-08 | 0.0061642 | 0.0061643 | 0.0061643 | 0.98459 | -0.29596 | 0.9845 | -0.29765 | 1.6935
34 | -0.084148 | -0.02132 | 0.084251 | 0.021385 | 0.00010295 | 6.5672e-05 | 0.12766 | 0.12766 | 0.12766 | 0.9815 | -0.35443 | 0.98281 | -0.329 | 35.0703
35 | -0.089426 | -0.022682 | 0.089497 | 0.022727 | 7.0466e-05 | 4.4968e-05 | 0.13549 | 0.13549 | 0.13549 | 0.98281 | -0.329 | 0.98366 | -0.31263 | 37.223
36 | -0.094974 | -0.0241 | 0.095054 | 0.024151 | 8.0564e-05 | 5.1429e-05 | 0.14378 | 0.14378 | 0.14378 | 0.98366 | -0.31263 | 0.98457 | -0.29501 | 39.4991
37 | -0.10032 | -0.02547 | 0.10048 | 0.025572 | 0.00015992 | 0.00010211 | 0.15173 | 0.15173 | 0.15173 | 0.98457 | -0.29501 | 0.98628 | -0.26193 | 41.6839
38 | 0.039736 | 0.0099762 | -0.039712 | -0.0099613 | 2.378e-05 | 1.4985e-05 | 0.059377 | 0.059377 | 0.059377 | 0.9959 | -0.078256 | 0.99525 | -0.090809 | 16.3123
39 | 0.023933 | 0.0059997 | -0.023929 | -0.0059976 | 3.3958e-06 | 2.0854e-06 | 0.036179 | 0.036179 | 0.036179 | 0.98434 | -0.3008 | 0.98419 | -0.30377 | 9.9394
40 | -0.025624 | -0.0064219 | 0.025625 | 0.0064227 | 1.201e-06 | 7.4034e-07 | 0.038338 | 0.038338 | 0.038338 | 0.99453 | -0.1048 | 0.99458 | -0.10382 | 10.5325
41 | -0.034661 | -0.0086872 | 0.034682 | 0.0087007 | 2.1497e-05 | 1.3481e-05 | 0.051857 | 0.051857 | 0.051857 | 0.99458 | -0.10382 | 0.99525 | -0.090809 | 14.2464
42 | 0.050975 | 0.012787 | -0.050949 | -0.012771 | 2.5902e-05 | 1.6436e-05 | 0.077947 | 0.077948 | 0.077948 | 0.97316 | -0.51764 | 0.97262 | -0.52831 | 21.4142
43 | -0.019395 | -0.0048615 | 0.019397 | 0.0048627 | 2.0915e-06 | 1.26e-06 | 0.029675 | 0.029675 | 0.029675 | 0.97251 | -0.53057 | 0.97262 | -0.52831 | 8.1526
44 | 0.010679 | 0.0026771 | -0.010676 | -0.0026756 | 2.7487e-06 | 1.4186e-06 | 0.016339 | 0.01634 | 0.01634 | 0.97251 | -0.53057 | 0.97224 | -0.53598 | 4.4889
45 | 0.011991 | 0.0030055 | -0.011989 | -0.0030048 | 1.2933e-06 | 6.9436e-07 | 0.018129 | 0.018129 | 0.018129 | 0.98419 | -0.30377 | 0.98407 | -0.30604 | 4.9805

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37814 | 0.096082

## res_load
| p_mw | q_mvar
0 | 0.023003 | 0.005765
1 | 0.011912 | 0.0029853
2 | 0.023112 | 0.0057923
3 | 0.010565 | 0.0026478
4 | 0.0050838 | 0.0012741
5 | 0.015164 | 0.0038005
6 | 0.02237 | 0.0056064
7 | 0.0083309 | 0.0020879
8 | 0.013845 | 0.0034699
9 | 0.014152 | 0.0035467
10 | 0.013942 | 0.0034941
11 | 0.010271 | 0.0025741
12 | 0.012955 | 0.0032469
13 | 0.0063188 | 0.0015836
14 | 0.003765 | 0.0009436
15 | 0.005208 | 0.0013052
16 | 0.0055271 | 0.0013852
17 | 0.0051755 | 0.0012971
18 | 0.005477 | 0.0013727
19 | 0.005262 | 0.0013188
20 | 0.008686 | 0.0021769
21 | 0.010962 | 0.0027474
22 | 0.0054775 | 0.0013728
23 | 0.025624 | 0.0064219
24 | 0.0090357 | 0.0022646
25 | 0.0068317 | 0.0017122
26 | 0.0040784 | 0.0010221
27 | 0.0087159 | 0.0021844
28 | 0.031552 | 0.0079078
29 | 0.010676 | 0.0026756
30 | 0.0050296 | 0.0012605
31 | 0.011939 | 0.0029921
32 | 0.011989 | 0.0030048

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1