## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-731_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-731_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-731_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-731_0_4_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_261-731_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_261-731_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-731_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-731_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-731_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_261-731_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-731_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_261-731_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_261-731_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_261-731_0_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_261-731_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_261-731_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_261-731_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_261-731_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-731_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_261-731_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_261-731_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-731_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_261-731_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_261-731_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_261-731_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_261-731_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_261-731_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_261-731_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_261-731_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_261-731_0_4_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_261-731_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_261-731_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_261-731_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_261-731_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_261-731_0_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_261-731_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_261-731_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_261-731_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_261-731_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_261-731_0_4_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_261-731_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_261-731_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_261-731_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_261-731_0_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_261-731_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_261-731_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_261-731_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_261-731_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_261-731_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_261-731_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_261-731_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_261-731_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_261-731_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_261-731_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_MV_539_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-731_0_4_load_0 | 0 | 0.016865 | 0.0042267 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-731_0_4_load_24 | 4 | 0.0036653 | 0.0009186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-731_0_4_load_39 | 8 | 0.010422 | 0.0026119 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-731_0_4_load_41 | 12 | 0.0090045 | 0.0022567 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-731_0_4_load_40 | 13 | 0.0099429 | 0.0024919 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-731_0_4_load_28 | 15 | 0.0097647 | 0.0024473 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-731_0_4_load_27 | 18 | 0.011857 | 0.0029715 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-731_0_4_load_43 | 21 | 0.023599 | 0.0059145 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-731_0_4_load_31 | 22 | 0.0073155 | 0.0018334 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-731_0_4_load_32 | 23 | 0.018908 | 0.0047387 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-731_0_4_load_25 | 25 | 0.00957 | 0.0023985 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-731_0_4_load_56 | 26 | 0.036943 | 0.0092588 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-731_0_4_load_55 | 29 | 0.070157 | 0.017583 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-731_0_4_load_58 | 34 | 0.0096333 | 0.0024143 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-731_0_4_load_54 | 35 | 0.0070441 | 0.0017654 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-731_0_4_load_52 | 36 | 0.0027052 | 0.00067798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-731_0_4_load_42 | 37 | 0.037563 | 0.0094141 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-731_0_4_load_38 | 38 | 0.0093692 | 0.0023481 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-731_0_4_load_51 | 39 | 0.014044 | 0.0035196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-731_0_4_load_57 | 40 | 0.0072523 | 0.0018176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-731_0_4_load_37 | 41 | 0.0095745 | 0.0023996 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-731_0_4_load_53 | 42 | 0.014626 | 0.0036657 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-731_0_4_load_49 | 43 | 0.017223 | 0.0043164 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-731_0_4_load_48 | 44 | 0.017039 | 0.0042704 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-731_0_4_load_33 | 45 | 0.0094012 | 0.0023562 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-731_0_4_load_34 | 46 | 0.006484 | 0.001625 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-731_0_4_load_35 | 47 | 0.0065656 | 0.0016455 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-731_0_4_load_36 | 48 | 0.0096764 | 0.0024251 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-731_0_4_load_44 | 50 | 0.015446 | 0.0038712 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-731_0_4_load_50 | 51 | 0.006863 | 0.00172 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-731_0_4_load_45 | 52 | 0.005285 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-731_0_4_load_47 | 53 | 0.016888 | 0.0042325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-731_0_4_line_0 |  | 0 | 1 | 0.016724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-731_0_4_line_1 |  | 1 | 2 | 0.025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-731_0_4_line_2 |  | 1 | 3 | 0.042823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-731_0_4_line_3 |  | 2 | 4 | 0.011115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-731_0_4_line_4 |  | 3 | 25 | 0.024443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-731_0_4_line_5 |  | 4 | 32 | 0.0078086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-731_0_4_line_6 |  | 5 | 6 | 0.012001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-731_0_4_line_7 |  | 5 | 7 | 0.0084799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-731_0_4_line_8 |  | 5 | 8 | 0.0056929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-731_0_4_line_9 |  | 6 | 12 | 0.023518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-731_0_4_line_10 |  | 6 | 13 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-731_0_4_line_11 |  | 6 | 9 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-731_0_4_line_12 |  | 7 | 14 | 0.011249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-731_0_4_line_13 |  | 7 | 15 | 0.0033093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-731_0_4_line_14 |  | 8 | 38 | 0.018348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-731_0_4_line_15 |  | 9 | 10 | 0.021854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-731_0_4_line_16 |  | 9 | 11 | 0.035098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-731_0_4_line_17 |  | 10 | 23 | 0.018542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-731_0_4_line_18 |  | 11 | 22 | 0.0074597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-731_0_4_line_19 |  | 12 | 39 | 0.0041986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-731_0_4_line_20 |  | 13 | 24 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-731_0_4_line_21 |  | 14 | 25 | 0.014192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-731_0_4_line_22 |  | 16 | 17 | 0.035169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-731_0_4_line_23 |  | 16 | 18 | 0.025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-731_0_4_line_24 |  | 17 | 22 | 0.0098036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-731_0_4_line_25 |  | 19 | 20 | 0.0099936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-731_0_4_line_26 |  | 19 | 21 | 0.044083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-731_0_4_line_27 |  | 20 | 26 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-731_0_4_line_28 |  | 20 | 24 | 0.026221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-731_0_4_line_29 |  | 21 | 37 | 0.035152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-731_0_4_line_30 |  | 27 | 28 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-731_0_4_line_31 |  | 27 | 29 | 0.029863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-731_0_4_line_32 |  | 28 | 37 | 0.02642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-731_0_4_line_33 |  | 30 | 31 | 0.024406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-731_0_4_line_34 |  | 30 | 32 | 0.026513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-731_0_4_line_35 |  | 31 | 33 | 0.022514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-731_0_4_line_36 |  | 31 | 34 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-731_0_4_line_37 |  | 33 | 35 | 0.022245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-731_0_4_line_38 |  | 33 | 36 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-731_0_4_line_39 |  | 34 | 40 | 0.017989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-731_0_4_line_40 |  | 36 | 42 | 0.0088008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-731_0_4_line_41 |  | 38 | 41 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-731_0_4_line_42 |  | 39 | 51 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-731_0_4_line_43 |  | 43 | 44 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-731_0_4_line_44 |  | 44 | 49 | 0.0049969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-731_0_4_line_45 |  | 45 | 46 | 0.009706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-731_0_4_line_46 |  | 45 | 47 | 0.0029783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-731_0_4_line_47 |  | 46 | 48 | 0.010734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-731_0_4_line_48 |  | 48 | 49 | 0.01867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-731_0_4_line_49 |  | 49 | 50 | 0.010272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-731_0_4_line_50 |  | 50 | 52 | 0.0062681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-731_0_4_line_51 |  | 51 | 53 | 0.0043944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-731_0_4_line_52 |  | 52 | 53 | 0.009256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-731_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 54 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2684506.3672 | 1245891.6856 | 2684508.5367 | 1245890.0264 | 2684513.7636 | 1245879.5376 | 2684514.8135 | 1245877.5208
1 | 2684504.1782 | 1245914.8603 | 2684501.7848 | 1245909.9671 | 2684499.8319 | 1245905.9807 | 2684504.4943 | 1245896.9294 | 2684505.305 | 1245894.6504 | 2684506.3672 | 1245891.6856
2 | 2684474.882 | 1245874.7914 | 2684479.1951 | 1245874.3413 | 2684482.5398 | 1245873.9887 | 2684483.5942 | 1245880.5864 | 2684484.7431 | 1245884.7947 | 2684486.1858 | 1245887.4728 | 2684488.1524 | 1245888.913 | 2684490.3425 | 1245890.045 | 2684494.4561 | 1245890.8708 | 2684506.3672 | 1245891.6856
3 | 2684504.1782 | 1245914.8603 | 2684502.9011 | 1245917.5218 | 2684502.5597 | 1245920.2746 | 2684503.1626 | 1245923.0296 | 2684503.922 | 1245925.4835
4 | 2684474.882 | 1245874.7914 | 2684475.0247 | 1245876.9728 | 2684473.1037 | 1245879.2249 | 2684471.3008 | 1245880.6113 | 2684468.7763 | 1245880.6754 | 2684455.4644 | 1245874.9343
5 | 2684506.4146 | 1245932.8832 | 2684504.2894 | 1245926.6706 | 2684503.922 | 1245925.4835
6 | 2684417.6176 | 1245868.4493 | 2684428.9147 | 1245872.5909
7 | 2684428.9147 | 1245872.5909 | 2684430.4256 | 1245868.8986 | 2684432.1243 | 1245864.7419
8 | 2684428.9147 | 1245872.5909 | 2684434.1588 | 1245874.8063
9 | 2684417.6176 | 1245868.4493 | 2684408.9022 | 1245890.2928
10 | 2684417.6176 | 1245868.4493 | 2684407.9332 | 1245864.4737
11 | 2684415.1404 | 1245858.2955 | 2684413.6617 | 1245861.8548 | 2684419.3021 | 1245864.2368 | 2684417.6176 | 1245868.4493
12 | 2684432.1243 | 1245864.7419 | 2684442.4331 | 1245869.3142
13 | 2684432.1243 | 1245864.7419 | 2684429.3537 | 1245863.5238 | 2684429.0951 | 1245863.4095
14 | 2684434.1588 | 1245874.8063 | 2684451.0605 | 1245881.9464
15 | 2684394.9675 | 1245849.7577 | 2684409.3467 | 1245856.067 | 2684415.1404 | 1245858.2955
16 | 2684415.1404 | 1245858.2955 | 2684422.1821 | 1245841.3277 | 2684423.9652 | 1245830.723 | 2684429.5051 | 1245828.4891
17 | 2684394.9675 | 1245849.7577 | 2684402.0733 | 1245832.6318
18 | 2684429.5051 | 1245828.4891 | 2684432.8687 | 1245829.4599 | 2684436.428 | 1245831.1931
19 | 2684407.3463 | 1245894.1925 | 2684408.9022 | 1245890.2928
20 | 2684394.6092 | 1245859.0039 | 2684407.9332 | 1245864.4737
21 | 2684442.4331 | 1245869.3142 | 2684455.4644 | 1245874.9343
22 | 2684464.7627 | 1245814.503 | 2684463.2489 | 1245814.1589 | 2684462.8546 | 1245817.4446 | 2684454.1178 | 1245816.0192 | 2684452.2355 | 1245818.7388 | 2684445.2421 | 1245835.4849
23 | 2684464.7627 | 1245814.503 | 2684466.9067 | 1245819.4038 | 2684468.8483 | 1245824.1905 | 2684472.6265 | 1245837.4207 | 2684472.7303 | 1245839.1396
24 | 2684445.2421 | 1245835.4849 | 2684436.428 | 1245831.1931
25 | 2684360.9058 | 1245845.5702 | 2684364.632 | 1245847.0687 | 2684370.1842 | 1245849.2826
26 | 2684360.9058 | 1245845.5702 | 2684345.1005 | 1245886.7226
27 | 2684370.1842 | 1245849.2826 | 2684363.8747 | 1245865.6931
28 | 2684370.1842 | 1245849.2826 | 2684394.6092 | 1245859.0039
29 | 2684332.4973 | 1245919.5378 | 2684345.1005 | 1245886.7226
30 | 2684322.8664 | 1245944.124 | 2684332.6551 | 1245947.5434 | 2684336.4932 | 1245937.9909
31 | 2684336.4932 | 1245937.9909 | 2684346.918 | 1245910.0064
32 | 2684322.8664 | 1245944.124 | 2684323.3849 | 1245943.264 | 2684332.4973 | 1245919.5378
33 | 2684486.3325 | 1245949.2758 | 2684492.6768 | 1245938.3137 | 2684489.7394 | 1245932.3564 | 2684487.4775 | 1245927.7875
34 | 2684487.4775 | 1245927.7875 | 2684489.7394 | 1245932.3564 | 2684492.6768 | 1245938.3137 | 2684499.9407 | 1245935.4484 | 2684506.4146 | 1245932.8832
35 | 2684486.3325 | 1245949.2758 | 2684478.9915 | 1245951.7175 | 2684473.1257 | 1245961.986 | 2684470.5005 | 1245960.6365
36 | 2684486.3325 | 1245949.2758 | 2684483.4895 | 1245954.1945 | 2684482.8384 | 1245956.9428 | 2684481.2831 | 1245959.7935
37 | 2684470.5005 | 1245960.6365 | 2684461.2801 | 1245977.2619 | 2684459.6673 | 1245980.065
38 | 2684470.5005 | 1245960.6365 | 2684465.3127 | 1245958.3165 | 2684459.7048 | 1245959.4931 | 2684452.4547 | 1245956.0873
39 | 2684472.6678 | 1245975.5851 | 2684481.2831 | 1245959.7935
40 | 2684453.564 | 1245948.2307 | 2684451.0323 | 1245953.5764 | 2684452.4547 | 1245956.0873
41 | 2684451.0605 | 1245881.9464 | 2684463.3725 | 1245887.1477 | 2684469.8204 | 1245889.8864
42 | 2684403.1531 | 1245904.702 | 2684407.3463 | 1245894.1925
43 | 2684384.3358 | 1245951.8553 | 2684390.1126 | 1245937.3835
44 | 2684391.9651 | 1245932.7427 | 2684390.1126 | 1245937.3835
45 | 2684419.3231 | 1245943.5183 | 2684428.3538 | 1245947.0753
46 | 2684431.125 | 1245948.1668 | 2684428.3538 | 1245947.0753
47 | 2684419.3231 | 1245943.5183 | 2684409.3359 | 1245939.5846
48 | 2684391.9651 | 1245932.7427 | 2684409.3359 | 1245939.5846
49 | 2684391.9651 | 1245932.7427 | 2684395.7717 | 1245923.2023
50 | 2684395.7717 | 1245923.2023 | 2684398.0945 | 1245917.3805
51 | 2684401.5246 | 1245908.7835 | 2684403.1531 | 1245904.702
52 | 2684401.5246 | 1245908.7835 | 2684398.0945 | 1245917.3805

## bus_geodata
| x | y | coords
0 | 2684514.8135 | 1245877.5208
1 | 2684506.3672 | 1245891.6856
2 | 2684504.1782 | 1245914.8603
3 | 2684474.882 | 1245874.7914
4 | 2684503.922 | 1245925.4835
5 | 2684428.9147 | 1245872.5909
6 | 2684417.6176 | 1245868.4493
7 | 2684432.1243 | 1245864.7419
8 | 2684434.1588 | 1245874.8063
9 | 2684415.1404 | 1245858.2955
10 | 2684394.9675 | 1245849.7577
11 | 2684429.5051 | 1245828.4891
12 | 2684408.9022 | 1245890.2928
13 | 2684407.9332 | 1245864.4737
14 | 2684442.4331 | 1245869.3142
15 | 2684429.0951 | 1245863.4095
16 | 2684464.7627 | 1245814.503
17 | 2684445.2421 | 1245835.4849
18 | 2684472.7303 | 1245839.1396
19 | 2684360.9058 | 1245845.5702
20 | 2684370.1842 | 1245849.2826
21 | 2684345.1005 | 1245886.7226
22 | 2684436.428 | 1245831.1931
23 | 2684402.0733 | 1245832.6318
24 | 2684394.6092 | 1245859.0039
25 | 2684455.4644 | 1245874.9343
26 | 2684363.8747 | 1245865.6931
27 | 2684336.4932 | 1245937.9909
28 | 2684322.8664 | 1245944.124
29 | 2684346.918 | 1245910.0064
30 | 2684487.4775 | 1245927.7875
31 | 2684486.3325 | 1245949.2758
32 | 2684506.4146 | 1245932.8832
33 | 2684470.5005 | 1245960.6365
34 | 2684481.2831 | 1245959.7935
35 | 2684459.6673 | 1245980.065
36 | 2684452.4547 | 1245956.0873
37 | 2684332.4973 | 1245919.5378
38 | 2684451.0605 | 1245881.9464
39 | 2684407.3463 | 1245894.1925
40 | 2684472.6678 | 1245975.5851
41 | 2684469.8204 | 1245889.8864
42 | 2684453.564 | 1245948.2307
43 | 2684384.3358 | 1245951.8553
44 | 2684390.1126 | 1245937.3835
45 | 2684428.3538 | 1245947.0753
46 | 2684419.3231 | 1245943.5183
47 | 2684431.125 | 1245948.1668
48 | 2684409.3359 | 1245939.5846
49 | 2684391.9651 | 1245932.7427
50 | 2684395.7717 | 1245923.2023
51 | 2684403.1531 | 1245904.702
52 | 2684398.0945 | 1245917.3805
53 | 2684401.5246 | 1245908.7835
54 | 2684391.9651 | 1245932.7427

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9884 | -0.22255 | 0.016865 | 0.0042267
1 | 0.98866 | -0.21752 | 0 | 0
2 | 0.9876 | -0.23808 | 0 | 0
3 | 0.99109 | -0.17044 | 0 | 0
4 | 0.98714 | -0.24701 | 0.0036653 | 0.0009186
5 | 0.99478 | -0.099477 | 0 | 0
6 | 0.996 | -0.076148 | 0 | 0
7 | 0.99415 | -0.1116 | 0 | 0
8 | 0.99463 | -0.10242 | 0.010422 | 0.0026119
9 | 0.9955 | -0.085865 | 0 | 0
10 | 0.99512 | -0.093135 | 0 | 0
11 | 0.99488 | -0.097709 | 0 | 0
12 | 0.99836 | -0.031242 | 0.0090045 | 0.0022567
13 | 0.99543 | -0.087081 | 0.0099429 | 0.0024919
14 | 0.99341 | -0.12577 | 0 | 0
15 | 0.99412 | -0.11217 | 0.0097647 | 0.0024473
16 | 0.99426 | -0.10963 | 0 | 0
17 | 0.99465 | -0.10228 | 0 | 0
18 | 0.99398 | -0.11506 | 0.011857 | 0.0029715
19 | 0.99143 | -0.16349 | 0 | 0
20 | 0.99264 | -0.14025 | 0 | 0
21 | 0.98607 | -0.2667 | 0.023599 | 0.0059145
22 | 0.99475 | -0.10023 | 0.0073155 | 0.0018334
23 | 0.9948 | -0.099308 | 0.018908 | 0.0047387
24 | 0.99468 | -0.1013 | 0 | 0
25 | 0.99248 | -0.14368 | 0.00957 | 0.0023985
26 | 0.99205 | -0.15174 | 0.036943 | 0.0092588
27 | 0.9795 | -0.3946 | 0 | 0
28 | 0.98084 | -0.36834 | 0 | 0
29 | 0.97756 | -0.43274 | 0.070157 | 0.017583
30 | 0.98583 | -0.27237 | 0 | 0
31 | 0.9849 | -0.29045 | 0 | 0
32 | 0.98684 | -0.25277 | 0 | 0
33 | 0.9844 | -0.30032 | 0 | 0
34 | 0.98472 | -0.29402 | 0.0096333 | 0.0024143
35 | 0.98425 | -0.30314 | 0.0070441 | 0.0017654
36 | 0.98409 | -0.30638 | 0.0027052 | 0.00067798
37 | 0.98256 | -0.33482 | 0.037563 | 0.0094141
38 | 0.99431 | -0.10855 | 0.0093692 | 0.0023481
39 | 0.99879 | -0.023027 | 0.014044 | 0.0035196
40 | 0.9846 | -0.29637 | 0.0072523 | 0.0018176
41 | 0.99414 | -0.11199 | 0.0095745 | 0.0023996
42 | 0.98397 | -0.30869 | 0.014626 | 0.0036657
43 | 0.99737 | -0.050643 | 0.017223 | 0.0043164
44 | 0.99761 | -0.045942 | 0.017039 | 0.0042704
45 | 0.99686 | -0.060394 | 0.0094012 | 0.0023562
46 | 0.997 | -0.057676 | 0.006484 | 0.001625
47 | 0.99684 | -0.060737 | 0.0065656 | 0.0016455
48 | 0.99722 | -0.053452 | 0.0096764 | 0.0024251
49 | 0.99777 | -0.042944 | 0 | 0
50 | 0.99839 | -0.031012 | 0.015446 | 0.0038712
51 | 1 | 0 | -0.45971 | -0.11643
52 | 0.99885 | -0.022047 | 0.005285 | 0.0013246
53 | 0.99958 | -0.0079698 | 0.016888 | 0.0042325
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016865 | -0.0042267 | 0.016869 | 0.0042291 | 4.0428e-06 | 2.373e-06 | 0.02539 | 0.02539 | 0.02539 | 0.9884 | -0.22255 | 0.98866 | -0.21752 | 6.9752
1 | 0.045099 | 0.011367 | -0.045054 | -0.011339 | 4.4323e-05 | 2.8038e-05 | 0.0679 | 0.0679 | 0.0679 | 0.98866 | -0.21752 | 0.9876 | -0.23808 | 18.6539
2 | -0.061967 | -0.015596 | 0.062107 | 0.015685 | 0.00013976 | 8.8894e-05 | 0.09329 | 0.09329 | 0.09329 | 0.98866 | -0.21752 | 0.99109 | -0.17044 | 25.6291
3 | 0.045054 | 0.011339 | -0.045035 | -0.011327 | 1.9217e-05 | 1.2157e-05 | 0.0679 | 0.0679 | 0.0679 | 0.9876 | -0.23808 | 0.98714 | -0.24701 | 18.654
4 | -0.062107 | -0.015685 | 0.062187 | 0.015736 | 7.9772e-05 | 5.0739e-05 | 0.09329 | 0.09329 | 0.09329 | 0.99109 | -0.17044 | 0.99248 | -0.14368 | 25.629
5 | 0.04137 | 0.010408 | -0.041358 | -0.010401 | 1.1393e-05 | 7.1916e-06 | 0.062375 | 0.062375 | 0.062375 | 0.98714 | -0.24701 | 0.98684 | -0.25277 | 17.1361
6 | -0.11106 | -0.028049 | 0.11118 | 0.028128 | 0.00012431 | 7.94e-05 | 0.1662 | 0.1662 | 0.1662 | 0.99478 | -0.099477 | 0.996 | -0.076148 | 45.6585
7 | 0.08168 | 0.020682 | -0.081632 | -0.020652 | 4.7527e-05 | 3.0307e-05 | 0.12225 | 0.12225 | 0.12225 | 0.99478 | -0.099477 | 0.99415 | -0.1116 | 33.5861
8 | 0.029377 | 0.0073663 | -0.029373 | -0.0073637 | 4.1224e-06 | 2.5645e-06 | 0.043944 | 0.043944 | 0.043944 | 0.99478 | -0.099477 | 0.99463 | -0.10242 | 12.0724
9 | -0.32956 | -0.083666 | 0.33027 | 0.084121 | 0.00071373 | 0.00045587 | 0.49273 | 0.49273 | 0.49273 | 0.996 | -0.076148 | 0.99836 | -0.031242 | 45.1221
10 | 0.18024 | 0.045963 | -0.18015 | -0.045903 | 9.5087e-05 | 6.0447e-05 | 0.26956 | 0.26956 | 0.26956 | 0.996 | -0.076148 | 0.99543 | -0.087081 | 24.6853
11 | 0.038131 | 0.0095743 | -0.038113 | -0.0095632 | 1.7667e-05 | 1.1118e-05 | 0.056974 | 0.056974 | 0.056974 | 0.996 | -0.076148 | 0.9955 | -0.085865 | 15.6521
12 | 0.071867 | 0.018205 | -0.071819 | -0.018174 | 4.8874e-05 | 3.1133e-05 | 0.10764 | 0.10764 | 0.10764 | 0.99415 | -0.1116 | 0.99341 | -0.12577 | 29.5708
13 | 0.009765 | 0.0024474 | -0.0097647 | -0.0024473 | 2.6511e-07 | 1.2676e-07 | 0.014616 | 0.014616 | 0.014616 | 0.99415 | -0.1116 | 0.99412 | -0.11217 | 4.0154
14 | 0.018951 | 0.0047518 | -0.018945 | -0.0047485 | 5.5308e-06 | 3.3017e-06 | 0.028352 | 0.028352 | 0.028352 | 0.99463 | -0.10242 | 0.99431 | -0.10855 | 7.7891
15 | 0.01892 | 0.0047459 | -0.018913 | -0.004742 | 6.555e-06 | 3.9112e-06 | 0.028282 | 0.028282 | 0.028282 | 0.9955 | -0.085865 | 0.99512 | -0.093135 | 7.7697
16 | 0.019194 | 0.0048173 | -0.019183 | -0.0048108 | 1.0835e-05 | 6.4785e-06 | 0.028692 | 0.028692 | 0.028692 | 0.9955 | -0.085865 | 0.99488 | -0.097709 | 7.8825
17 | 0.018913 | 0.004742 | -0.018908 | -0.0047387 | 5.5615e-06 | 3.3185e-06 | 0.028282 | 0.028282 | 0.028282 | 0.99512 | -0.093135 | 0.9948 | -0.099308 | 7.7697
18 | 0.019183 | 0.0048108 | -0.019181 | -0.0048094 | 2.3029e-06 | 1.377e-06 | 0.028692 | 0.028692 | 0.028692 | 0.99488 | -0.097709 | 0.99475 | -0.10023 | 7.8825
19 | -0.33927 | -0.086378 | 0.33941 | 0.086464 | 0.00013445 | 8.5886e-05 | 0.50615 | 0.50615 | 0.50615 | 0.99836 | -0.031242 | 0.99879 | -0.023027 | 46.3511
20 | 0.17021 | 0.043411 | -0.17009 | -0.043337 | 0.00011679 | 7.4188e-05 | 0.2547 | 0.2547 | 0.2547 | 0.99543 | -0.087081 | 0.99468 | -0.1013 | 23.3242
21 | 0.071819 | 0.018174 | -0.071757 | -0.018134 | 6.1658e-05 | 3.9278e-05 | 0.10764 | 0.10764 | 0.10764 | 0.99341 | -0.12577 | 0.99248 | -0.14368 | 29.5708
22 | -0.01186 | -0.0029732 | 0.011864 | 0.0029754 | 4.1549e-06 | 2.2028e-06 | 0.017749 | 0.017749 | 0.017749 | 0.99426 | -0.10963 | 0.99465 | -0.10228 | 4.8762
23 | 0.01186 | 0.0029732 | -0.011857 | -0.0029715 | 3.0712e-06 | 1.6285e-06 | 0.017749 | 0.01775 | 0.01775 | 0.99426 | -0.10963 | 0.99398 | -0.11506 | 4.8763
24 | -0.011864 | -0.0029754 | 0.011865 | 0.002976 | 1.1582e-06 | 6.1398e-07 | 0.017749 | 0.017749 | 0.017749 | 0.99465 | -0.10228 | 0.99475 | -0.10023 | 4.8762
25 | -0.13266 | -0.033766 | 0.13281 | 0.033862 | 0.00014884 | 9.5128e-05 | 0.19929 | 0.19929 | 0.19929 | 0.99143 | -0.16349 | 0.99264 | -0.14025 | 54.7496
26 | 0.13266 | 0.033766 | -0.132 | -0.033347 | 0.00065655 | 0.00041963 | 0.19929 | 0.19929 | 0.19929 | 0.99143 | -0.16349 | 0.98607 | -0.2667 | 54.7497
27 | 0.036963 | 0.0092715 | -0.036943 | -0.0092588 | 2.0244e-05 | 1.2729e-05 | 0.055412 | 0.055412 | 0.055412 | 0.99264 | -0.14025 | 0.99205 | -0.15174 | 15.2232
28 | -0.16977 | -0.043133 | 0.17009 | 0.043337 | 0.00031894 | 0.00020344 | 0.2547 | 0.2547 | 0.2547 | 0.99264 | -0.14025 | 0.99468 | -0.1013 | 34.9864
29 | 0.1084 | 0.027432 | -0.10805 | -0.027207 | 0.00035315 | 0.00022557 | 0.16368 | 0.16368 | 0.16368 | 0.98607 | -0.2667 | 0.98256 | -0.33482 | 44.9663
30 | -0.070285 | -0.017664 | 0.070373 | 0.017721 | 8.8241e-05 | 5.6214e-05 | 0.10679 | 0.10679 | 0.10679 | 0.9795 | -0.3946 | 0.98084 | -0.36834 | 29.3384
31 | 0.070285 | 0.017664 | -0.070157 | -0.017583 | 0.00012772 | 8.1363e-05 | 0.10679 | 0.10679 | 0.10679 | 0.9795 | -0.3946 | 0.97756 | -0.43274 | 29.3384
32 | -0.070373 | -0.017721 | 0.070486 | 0.017793 | 0.00011299 | 7.1979e-05 | 0.10679 | 0.10679 | 0.10679 | 0.98084 | -0.36834 | 0.98256 | -0.33482 | 29.3384
33 | 0.04132 | 0.010377 | -0.041284 | -0.010354 | 3.5609e-05 | 2.2479e-05 | 0.062376 | 0.062376 | 0.062376 | 0.98583 | -0.27237 | 0.9849 | -0.29045 | 17.1362
34 | -0.04132 | -0.010377 | 0.041358 | 0.010401 | 3.8682e-05 | 2.4418e-05 | 0.062376 | 0.062375 | 0.062376 | 0.98583 | -0.27237 | 0.98684 | -0.25277 | 17.1361
35 | 0.024395 | 0.0061204 | -0.024383 | -0.0061133 | 1.147e-05 | 7.0544e-06 | 0.036858 | 0.036859 | 0.036859 | 0.9849 | -0.29045 | 0.9844 | -0.30032 | 10.126
36 | 0.016889 | 0.0042339 | -0.016886 | -0.0042322 | 2.8697e-06 | 1.6871e-06 | 0.025517 | 0.025517 | 0.025517 | 0.9849 | -0.29045 | 0.98472 | -0.29402 | 7.0102
37 | 0.0070451 | 0.0017657 | -0.0070441 | -0.0017654 | 9.4605e-07 | 3.2271e-07 | 0.010649 | 0.010649 | 0.010649 | 0.9844 | -0.30032 | 0.98425 | -0.30314 | 2.9257
38 | 0.017338 | 0.0043476 | -0.017333 | -0.0043446 | 5.0033e-06 | 2.9553e-06 | 0.026209 | 0.026209 | 0.026209 | 0.9844 | -0.30032 | 0.98409 | -0.30638 | 7.2004
39 | 0.0072531 | 0.0018179 | -0.0072523 | -0.0018176 | 8.1036e-07 | 2.8982e-07 | 0.01096 | 0.01096 | 0.01096 | 0.98472 | -0.29402 | 0.9846 | -0.29637 | 3.0111
40 | 0.014628 | 0.0036667 | -0.014626 | -0.0036657 | 1.6147e-06 | 9.2158e-07 | 0.022119 | 0.022119 | 0.022119 | 0.98409 | -0.30638 | 0.98397 | -0.30869 | 6.0766
41 | 0.0095761 | 0.0024003 | -0.0095745 | -0.0023996 | 1.5689e-06 | 7.3992e-07 | 0.014331 | 0.014331 | 0.014331 | 0.99431 | -0.10855 | 0.99414 | -0.11199 | 3.9371
42 | -0.35345 | -0.089984 | 0.35384 | 0.090235 | 0.00039293 | 0.00025103 | 0.52708 | 0.52708 | 0.52708 | 0.99879 | -0.023027 | 1 | 0 | 48.267
43 | -0.017223 | -0.0043164 | 0.017226 | 0.0043186 | 3.858e-06 | 2.2657e-06 | 0.025695 | 0.025695 | 0.025695 | 0.99737 | -0.050643 | 0.99761 | -0.045942 | 7.0591
44 | -0.034265 | -0.008589 | 0.03427 | 0.0085921 | 4.8949e-06 | 3.0675e-06 | 0.05111 | 0.05111 | 0.05111 | 0.99761 | -0.045942 | 0.99777 | -0.042944 | 14.0412
45 | -0.015967 | -0.0040017 | 0.015969 | 0.0040029 | 2.0676e-06 | 1.1967e-06 | 0.023834 | 0.023834 | 0.023834 | 0.99686 | -0.060394 | 0.997 | -0.057676 | 6.5478
46 | 0.0065657 | 0.0016455 | -0.0065656 | -0.0016455 | 1.0728e-07 | 2.9831e-08 | 0.0098007 | 0.0098007 | 0.0098007 | 0.99686 | -0.060394 | 0.99684 | -0.060737 | 2.6925
47 | -0.022453 | -0.0056279 | 0.022458 | 0.0056307 | 4.5204e-06 | 2.753e-06 | 0.033511 | 0.033511 | 0.033511 | 0.997 | -0.057676 | 0.99722 | -0.053452 | 9.2064
48 | -0.032134 | -0.0080558 | 0.03215 | 0.0080659 | 1.6097e-05 | 1.0058e-05 | 0.04795 | 0.04795 | 0.04795 | 0.99722 | -0.053452 | 0.99777 | -0.042944 | 13.1731
49 | -0.06642 | -0.016658 | 0.066458 | 0.016682 | 3.7798e-05 | 2.4056e-05 | 0.09906 | 0.09906 | 0.09906 | 0.99777 | -0.042944 | 0.99839 | -0.031012 | 27.2143
50 | -0.081904 | -0.020553 | 0.08194 | 0.020576 | 3.5032e-05 | 2.2338e-05 | 0.12208 | 0.12208 | 0.12208 | 0.99839 | -0.031012 | 0.99885 | -0.022047 | 33.5389
51 | 0.10421 | 0.026195 | -0.10417 | -0.02617 | 3.9639e-05 | 2.5312e-05 | 0.15509 | 0.15509 | 0.15509 | 1 | 0 | 0.99958 | -0.0079698 | 42.6085
52 | -0.087225 | -0.0219 | 0.087283 | 0.021938 | 5.8619e-05 | 3.7395e-05 | 0.12995 | 0.12995 | 0.12995 | 0.99885 | -0.022047 | 0.99958 | -0.0079698 | 35.7018

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46657 | 0.11815

## res_load
| p_mw | q_mvar
0 | 0.016865 | 0.0042267
1 | 0.0036653 | 0.0009186
2 | 0.010422 | 0.0026119
3 | 0.0090045 | 0.0022567
4 | 0.0099429 | 0.0024919
5 | 0.0097647 | 0.0024473
6 | 0.011857 | 0.0029715
7 | 0.023599 | 0.0059145
8 | 0.0073155 | 0.0018334
9 | 0.018908 | 0.0047387
10 | 0.00957 | 0.0023985
11 | 0.036943 | 0.0092588
12 | 0.070157 | 0.017583
13 | 0.0096333 | 0.0024143
14 | 0.0070441 | 0.0017654
15 | 0.0027052 | 0.00067798
16 | 0.037563 | 0.0094141
17 | 0.0093692 | 0.0023481
18 | 0.014044 | 0.0035196
19 | 0.0072523 | 0.0018176
20 | 0.0095745 | 0.0023996
21 | 0.014626 | 0.0036657
22 | 0.017223 | 0.0043164
23 | 0.017039 | 0.0042704
24 | 0.0094012 | 0.0023562
25 | 0.006484 | 0.001625
26 | 0.0065656 | 0.0016455
27 | 0.0096764 | 0.0024251
28 | 0.015446 | 0.0038712
29 | 0.006863 | 0.00172
30 | 0.005285 | 0.0013246
31 | 0.016888 | 0.0042325

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1