## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-73_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-73_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-73_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_261-73_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-73_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-73_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_261-73_0_3_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_261-73_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-73_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_261-73_0_3_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_261-73_0_3_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_261-73_0_3_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_261-73_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-73_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-73_0_3_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_261-73_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_261-73_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_261-73_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-73_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_261-73_0_3_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_261-73_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-73_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_261-73_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-73_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_261-73_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_261-73_0_3_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_261-73_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-73_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_261-73_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_261-73_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_261-73_0_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_261-73_0_3_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_261-73_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_261-73_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_261-73_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_261-73_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_261-73_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_261-73_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-73_0_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_261-73_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_261-73_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_261-73_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_261-73_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_261-73_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_261-73_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_261-73_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_261-73_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_261-73_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_261-73_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_261-73_0_3_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_261-73_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_261-73_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_261-73_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_261-73_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_261-73_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_MV_545_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-73_0_3_load_0 | 0 | 0.011954 | 0.0029959 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-73_0_3_load_59 | 6 | 0.0063405 | 0.0015891 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-73_0_3_load_56 | 9 | 0.067754 | 0.016981 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-73_0_3_load_55 | 10 | 0.037035 | 0.009282 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-73_0_3_load_49 | 11 | 0.010283 | 0.0025773 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-73_0_3_load_54 | 14 | 0.0052777 | 0.0013227 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-73_0_3_load_31 | 15 | 0.03918 | 0.0098195 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-73_0_3_load_30 | 16 | 0.038953 | 0.0097625 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-73_0_3_load_47 | 19 | 0.0011641 | 0.00029174 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-73_0_3_load_41 | 21 | 0.010829 | 0.0027139 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-73_0_3_load_40 | 23 | 0.010297 | 0.0025807 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-73_0_3_load_27 | 24 | 0.0062027 | 0.0015545 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-73_0_3_load_57 | 25 | 0.0064485 | 0.0016162 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-73_0_3_load_43 | 28 | 0.0048265 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-73_0_3_load_52 | 30 | 0.0017707 | 0.00044378 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-73_0_3_load_53 | 31 | 0.0022986 | 0.00057607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-73_0_3_load_48 | 32 | 0.0011318 | 0.00028365 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-73_0_3_load_32 | 35 | 0.010742 | 0.0026922 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-73_0_3_load_50 | 36 | 0.040011 | 0.010028 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-73_0_3_load_58 | 38 | 0.0063284 | 0.001586 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-73_0_3_load_34 | 39 | 0.0035057 | 0.00087861 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-73_0_3_load_25 | 41 | 0.0062658 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-73_0_3_load_44 | 42 | 0.0028454 | 0.00071312 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-73_0_3_load_51 | 43 | 0.0046267 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-73_0_3_load_37 | 44 | 0.0020408 | 0.00051148 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-73_0_3_load_38 | 45 | 0.0020551 | 0.00051505 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-73_0_3_load_36 | 46 | 0.00628 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-73_0_3_load_42 | 47 | 0.010235 | 0.0025651 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-73_0_3_load_24 | 49 | 0.0063034 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-73_0_3_load_28 | 50 | 0.0035597 | 0.00089214 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-73_0_3_load_33 | 51 | 0.0035232 | 0.000883 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-73_0_3_load_29 | 52 | 0.0063371 | 0.0015882 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-73_0_3_load_35 | 53 | 0.0062174 | 0.0015582 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-73_0_3_load_39 | 54 | 0.0020468 | 0.00051298 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-73_0_3_line_0 |  | 0 | 1 | 0.014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-73_0_3_line_1 |  | 1 | 2 | 0.074898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-73_0_3_line_2 |  | 2 | 7 | 0.03616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-73_0_3_line_3 |  | 2 | 8 | 0.028841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-73_0_3_line_4 |  | 2 | 9 | 0.024279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-73_0_3_line_5 |  | 3 | 4 | 0.019382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-73_0_3_line_6 |  | 3 | 5 | 0.02973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-73_0_3_line_7 |  | 3 | 6 | 0.01166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-73_0_3_line_8 |  | 4 | 11 | 0.020282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-73_0_3_line_9 |  | 5 | 37 | 0.020297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-73_0_3_line_10 |  | 5 | 38 | 0.011723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-73_0_3_line_11 |  | 6 | 39 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-73_0_3_line_12 |  | 7 | 10 | 0.02177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-73_0_3_line_13 |  | 8 | 14 | 0.0096023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-73_0_3_line_14 |  | 10 | 12 | 0.071009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-73_0_3_line_15 |  | 12 | 13 | 0.1048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-73_0_3_line_16 |  | 13 | 15 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-73_0_3_line_17 |  | 13 | 16 | 0.023613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-73_0_3_line_18 |  | 15 | 35 | 0.018079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-73_0_3_line_19 |  | 17 | 18 | 0.011562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-73_0_3_line_20 |  | 17 | 19 | 0.0072912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-73_0_3_line_21 |  | 18 | 25 | 0.015647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-73_0_3_line_22 |  | 18 | 33 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-73_0_3_line_23 |  | 19 | 32 | 0.01065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-73_0_3_line_24 |  | 20 | 21 | 0.026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-73_0_3_line_25 |  | 20 | 22 | 0.022078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-73_0_3_line_26 |  | 20 | 23 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-73_0_3_line_27 |  | 21 | 40 | 0.021971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-73_0_3_line_28 |  | 22 | 24 | 0.012396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-73_0_3_line_29 |  | 22 | 25 | 0.023365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-73_0_3_line_30 |  | 23 | 37 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-73_0_3_line_31 |  | 24 | 41 | 0.014055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-73_0_3_line_32 |  | 26 | 27 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-73_0_3_line_33 |  | 26 | 28 | 0.028413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-73_0_3_line_34 |  | 27 | 30 | 0.029896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-73_0_3_line_35 |  | 28 | 42 | 0.017355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-73_0_3_line_36 |  | 29 | 30 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-73_0_3_line_37 |  | 29 | 31 | 0.018555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-73_0_3_line_38 |  | 29 | 32 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-73_0_3_line_39 |  | 33 | 34 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-73_0_3_line_40 |  | 33 | 35 | 0.0034914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-73_0_3_line_41 |  | 34 | 36 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-73_0_3_line_42 |  | 36 | 43 | 0.0034417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-73_0_3_line_43 |  | 38 | 46 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-73_0_3_line_44 |  | 39 | 51 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-73_0_3_line_45 |  | 40 | 48 | 0.030872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-73_0_3_line_46 |  | 41 | 49 | 0.013974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-73_0_3_line_47 |  | 42 | 54 | 0.0072208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-73_0_3_line_48 |  | 44 | 45 | 0.0075453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-73_0_3_line_49 |  | 45 | 54 | 0.0062489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-73_0_3_line_50 |  | 46 | 53 | 0.013678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-73_0_3_line_51 |  | 47 | 48 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-73_0_3_line_52 |  | 50 | 51 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-73_0_3_line_53 |  | 52 | 53 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-73_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 55 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2681535.8133 | 1246375.5095 | 2681534.6824 | 1246379.7303 | 2681529.7768 | 1246388.7494
1 | 2681471.2543 | 1246360.8562 | 2681476.8337 | 1246362.7675 | 2681484.7142 | 1246365.4666 | 2681487.6436 | 1246366.1518 | 2681496.9806 | 1246367.3143 | 2681503.5194 | 1246368.6829 | 2681513.787 | 1246368.6462 | 2681520.3046 | 1246368.2577 | 2681520.7474 | 1246372.8671 | 2681521.1044 | 1246376.5747 | 2681521.2564 | 1246378.1558 | 2681523.602 | 1246377.8989 | 2681528.308 | 1246377.3966 | 2681535.8133 | 1246375.5095
2 | 2681471.2543 | 1246360.8562 | 2681476.8337 | 1246362.7675 | 2681479.585 | 1246354.9774 | 2681476.0745 | 1246347.1012 | 2681472.5844 | 1246337.7353 | 2681471.3053 | 1246334.6044
3 | 2681471.2543 | 1246360.8562 | 2681476.8337 | 1246362.7675 | 2681484.7142 | 1246365.4666 | 2681483.2481 | 1246357.2516 | 2681488.9867 | 1246354.7286
4 | 2681471.2543 | 1246360.8562 | 2681448.5653 | 1246352.2142
5 | 2681584.8657 | 1246297.6716 | 2681589.9605 | 1246294.7284 | 2681585.0964 | 1246288.0455 | 2681588.856 | 1246284.4057
6 | 2681567.7334 | 1246273.3405 | 2681584.8657 | 1246297.6716
7 | 2681584.8657 | 1246297.6716 | 2681574.7755 | 1246303.514
8 | 2681588.856 | 1246284.4057 | 2681601.2173 | 1246268.3265
9 | 2681567.7334 | 1246273.3405 | 2681572.7215 | 1246270.4625 | 2681567.4616 | 1246262.8958 | 2681571.4389 | 1246259.359
10 | 2681567.7334 | 1246273.3405 | 2681557.5781 | 1246279.197
11 | 2681562.5768 | 1246310.5773 | 2681574.7755 | 1246303.514
12 | 2681471.3053 | 1246334.6044 | 2681463.5195 | 1246332.1623 | 2681450.8826 | 1246327.1073
13 | 2681488.9867 | 1246354.7286 | 2681491.2433 | 1246352.7026 | 2681491.0009 | 1246350.5532 | 2681489.3465 | 1246346.4689
14 | 2681395.0072 | 1246284.0534 | 2681422.1137 | 1246308.8658 | 2681436.5657 | 1246319.9055 | 2681444.0893 | 1246324.3899 | 2681450.8826 | 1246327.1073
15 | 2681395.0072 | 1246284.0534 | 2681436.0499 | 1246243.6206 | 2681446.2356 | 1246233.0639 | 2681448.7639 | 1246230.5078 | 2681458.1284 | 1246230.7811 | 2681470.6535 | 1246227.573 | 2681477.0532 | 1246225.8819
16 | 2681477.0532 | 1246225.8819 | 2681480.5489 | 1246224.9514 | 2681488.105 | 1246222.6758 | 2681490.7147 | 1246221.6617
17 | 2681477.0532 | 1246225.8819 | 2681484.7481 | 1246248.2054
18 | 2681490.7147 | 1246221.6617 | 2681496.8932 | 1246219.2607 | 2681507.4116 | 1246214.7358
19 | 2681527.2373 | 1246217.3985 | 2681531.9498 | 1246213.6939 | 2681536.3262 | 1246210.2516
20 | 2681536.3262 | 1246210.2516 | 2681531.9623 | 1246204.4105
21 | 2681527.2373 | 1246217.3985 | 2681531.2385 | 1246222.0124 | 2681536.4791 | 1246229.3454 | 2681536.7851 | 1246229.7744
22 | 2681527.2373 | 1246217.3985 | 2681525.8838 | 1246215.8343 | 2681522.8512 | 1246213.8579 | 2681519.227 | 1246212.596 | 2681514.0829 | 1246212.5253 | 2681510.6188 | 1246213.3561
23 | 2681531.9623 | 1246204.4105 | 2681525.5884 | 1246195.8788
24 | 2681552.2891 | 1246232.2871 | 2681567.4903 | 1246210.896
25 | 2681550.3546 | 1246248.7947 | 2681555.1537 | 1246245.9253 | 2681549.092 | 1246236.7797 | 2681552.2891 | 1246232.2871
26 | 2681552.2891 | 1246232.2871 | 2681558.7795 | 1246241.4626
27 | 2681580.2171 | 1246192.9869 | 2681567.4903 | 1246210.896
28 | 2681550.3546 | 1246248.7947 | 2681539.7078 | 1246255.1436
29 | 2681550.3546 | 1246248.7947 | 2681536.7851 | 1246229.7744
30 | 2681571.4389 | 1246259.359 | 2681558.7795 | 1246241.4626
31 | 2681539.7078 | 1246255.1436 | 2681527.6363 | 1246262.342
32 | 2681486.2365 | 1246167.3431 | 2681483.7254 | 1246159.3028 | 2681488.5059 | 1246156.1439 | 2681493.4618 | 1246152.8652
33 | 2681486.2365 | 1246167.3431 | 2681479.4488 | 1246171.4195 | 2681475.4875 | 1246172.6994 | 2681471.4877 | 1246172.3775 | 2681466.4745 | 1246171.0299 | 2681459.9288 | 1246168.2065
34 | 2681493.4618 | 1246152.8652 | 2681511.3509 | 1246176.8185
35 | 2681444.6852 | 1246159.9426 | 2681457.0486 | 1246166.9642 | 2681459.9288 | 1246168.2065
36 | 2681518.314 | 1246186.142 | 2681511.3509 | 1246176.8185
37 | 2681533.1031 | 1246174.8815 | 2681518.314 | 1246186.142
38 | 2681518.314 | 1246186.142 | 2681525.5884 | 1246195.8788
39 | 2681502.001 | 1246201.0843 | 2681506.1211 | 1246206.9452 | 2681510.6188 | 1246213.3561
40 | 2681510.6188 | 1246213.3561 | 2681507.4116 | 1246214.7358
41 | 2681502.001 | 1246201.0843 | 2681499.7232 | 1246204.0996 | 2681498.005 | 1246205.4326 | 2681495.8473 | 1246206.8595 | 2681493.2592 | 1246208.2694 | 2681486.2071 | 1246210.73
42 | 2681482.9575 | 1246211.8639 | 2681486.2071 | 1246210.73
43 | 2681557.5781 | 1246279.197 | 2681545.3274 | 1246286.2619
44 | 2681550.7238 | 1246317.4405 | 2681562.5768 | 1246310.5773
45 | 2681605.8705 | 1246210.2746 | 2681580.2171 | 1246192.9869
46 | 2681515.6346 | 1246269.4989 | 2681527.6363 | 1246262.342
47 | 2681444.6852 | 1246159.9426 | 2681438.4063 | 1246156.3766
48 | 2681432.9726 | 1246153.2906 | 2681432.2497 | 1246152.8801 | 2681426.2 | 1246149.9684
49 | 2681438.4063 | 1246156.3766 | 2681432.9726 | 1246153.2906
50 | 2681533.4787 | 1246293.0951 | 2681545.3274 | 1246286.2619
51 | 2681605.8705 | 1246210.2746 | 2681595.8497 | 1246224.5598
52 | 2681550.7238 | 1246317.4405 | 2681538.4399 | 1246324.5532
53 | 2681533.4787 | 1246293.0951 | 2681521.2426 | 1246300.1517

## bus_geodata
| x | y | coords
0 | 2681529.7768 | 1246388.7494
1 | 2681535.8133 | 1246375.5095
2 | 2681471.2543 | 1246360.8562
3 | 2681584.8657 | 1246297.6716
4 | 2681588.856 | 1246284.4057
5 | 2681567.7334 | 1246273.3405
6 | 2681574.7755 | 1246303.514
7 | 2681471.3053 | 1246334.6044
8 | 2681488.9867 | 1246354.7286
9 | 2681448.5653 | 1246352.2142
10 | 2681450.8826 | 1246327.1073
11 | 2681601.2173 | 1246268.3265
12 | 2681395.0072 | 1246284.0534
13 | 2681477.0532 | 1246225.8819
14 | 2681489.3465 | 1246346.4689
15 | 2681490.7147 | 1246221.6617
16 | 2681484.7481 | 1246248.2054
17 | 2681536.3262 | 1246210.2516
18 | 2681527.2373 | 1246217.3985
19 | 2681531.9623 | 1246204.4105
20 | 2681552.2891 | 1246232.2871
21 | 2681567.4903 | 1246210.896
22 | 2681550.3546 | 1246248.7947
23 | 2681558.7795 | 1246241.4626
24 | 2681539.7078 | 1246255.1436
25 | 2681536.7851 | 1246229.7744
26 | 2681486.2365 | 1246167.3431
27 | 2681493.4618 | 1246152.8652
28 | 2681459.9288 | 1246168.2065
29 | 2681518.314 | 1246186.142
30 | 2681511.3509 | 1246176.8185
31 | 2681533.1031 | 1246174.8815
32 | 2681525.5884 | 1246195.8788
33 | 2681510.6188 | 1246213.3561
34 | 2681502.001 | 1246201.0843
35 | 2681507.4116 | 1246214.7358
36 | 2681486.2071 | 1246210.73
37 | 2681571.4389 | 1246259.359
38 | 2681557.5781 | 1246279.197
39 | 2681562.5768 | 1246310.5773
40 | 2681580.2171 | 1246192.9869
41 | 2681527.6363 | 1246262.342
42 | 2681444.6852 | 1246159.9426
43 | 2681482.9575 | 1246211.8639
44 | 2681426.2 | 1246149.9684
45 | 2681432.9726 | 1246153.2906
46 | 2681545.3274 | 1246286.2619
47 | 2681595.8497 | 1246224.5598
48 | 2681605.8705 | 1246210.2746
49 | 2681515.6346 | 1246269.4989
50 | 2681538.4399 | 1246324.5532
51 | 2681550.7238 | 1246317.4405
52 | 2681521.2426 | 1246300.1517
53 | 2681533.4787 | 1246293.0951
54 | 2681438.4063 | 1246156.3766
55 | 2681550.3546 | 1246248.7947

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97085 | -0.56269 | 0.011954 | 0.0029959
1 | 0.97101 | -0.55945 | 0 | 0
2 | 0.97185 | -0.54291 | 0 | 0
3 | 0.99027 | -0.18643 | 0 | 0
4 | 0.99009 | -0.18998 | 0 | 0
5 | 0.99101 | -0.17206 | 0 | 0
6 | 0.99009 | -0.18994 | 0.0063405 | 0.0015891
7 | 0.97472 | -0.48637 | 0 | 0
8 | 0.97171 | -0.54572 | 0 | 0
9 | 0.97031 | -0.57332 | 0.067754 | 0.016981
10 | 0.97645 | -0.45248 | 0.037035 | 0.009282
11 | 0.9899 | -0.19369 | 0.010283 | 0.0025773
12 | 0.98454 | -0.29538 | 0 | 0
13 | 0.98852 | -0.21904 | 0 | 0
14 | 0.97166 | -0.54666 | 0.0052777 | 0.0013227
15 | 0.98923 | -0.20535 | 0.03918 | 0.0098195
16 | 0.98767 | -0.23546 | 0.038953 | 0.0097625
17 | 0.9918 | -0.15619 | 0 | 0
18 | 0.99201 | -0.15205 | 0 | 0
19 | 0.99166 | -0.1588 | 0.0011641 | 0.00029174
20 | 0.99368 | -0.12045 | 0 | 0
21 | 0.99318 | -0.13022 | 0.010829 | 0.0027139
22 | 0.99537 | -0.087871 | 0 | 0
23 | 0.99304 | -0.1329 | 0.010297 | 0.0025807
24 | 0.99677 | -0.061308 | 0.0062027 | 0.0015545
25 | 0.99334 | -0.12661 | 0.0064485 | 0.0016162
26 | 0.99048 | -0.18172 | 0 | 0
27 | 0.99073 | -0.17679 | 0 | 0
28 | 0.99012 | -0.1887 | 0.0048265 | 0.0012096
29 | 0.99128 | -0.16624 | 0 | 0
30 | 0.99111 | -0.16946 | 0.0017707 | 0.00044378
31 | 0.99124 | -0.167 | 0.0022986 | 0.00057607
32 | 0.99148 | -0.16239 | 0.0011318 | 0.00028365
33 | 0.99058 | -0.17953 | 0 | 0
34 | 0.98996 | -0.19143 | 0 | 0
35 | 0.99035 | -0.18389 | 0.010742 | 0.0026922
36 | 0.98919 | -0.20649 | 0.040011 | 0.010028
37 | 0.99198 | -0.15321 | 0 | 0
38 | 0.99074 | -0.1773 | 0.0063284 | 0.001586
39 | 0.98995 | -0.1926 | 0.0035057 | 0.00087861
40 | 0.99297 | -0.13419 | 0 | 0
41 | 0.99837 | -0.030772 | 0.0062658 | 0.0015704
42 | 0.98998 | -0.19148 | 0.0028454 | 0.00071312
43 | 0.98917 | -0.20677 | 0.0046267 | 0.0011596
44 | 0.9899 | -0.19299 | 0.0020408 | 0.00051148
45 | 0.98991 | -0.19272 | 0.0020551 | 0.00051505
46 | 0.9905 | -0.18203 | 0.00628 | 0.0015739
47 | 0.99252 | -0.14294 | 0.010235 | 0.0025651
48 | 0.99268 | -0.13978 | 0 | 0
49 | 1 | 0 | -0.3855 | -0.098318
50 | 0.98982 | -0.19522 | 0.0035597 | 0.00089214
51 | 0.98986 | -0.19432 | 0.0035232 | 0.000883
52 | 0.99026 | -0.18667 | 0.0063371 | 0.0015882
53 | 0.99034 | -0.18508 | 0.0062174 | 0.0015582
54 | 0.98994 | -0.19226 | 0.0020468 | 0.00051298
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011954 | -0.0029959 | 0.011956 | 0.0029969 | 1.8424e-06 | 9.9814e-07 | 0.018321 | 0.018321 | 0.018321 | 0.97085 | -0.56269 | 0.97101 | -0.55945 | 5.0334
1 | -0.011956 | -0.0029969 | 0.011965 | 0.003002 | 9.4277e-06 | 5.1065e-06 | 0.018321 | 0.018321 | 0.018321 | 0.97101 | -0.55945 | 0.97185 | -0.54291 | 5.0333
2 | -0.085096 | -0.021368 | 0.085326 | 0.021515 | 0.00023024 | 0.00014691 | 0.13031 | 0.13031 | 0.13031 | 0.97185 | -0.54291 | 0.97472 | -0.48637 | 35.7985
3 | 0.0052786 | 0.0013228 | -0.0052779 | -0.0013227 | 7.0649e-07 | 9.4835e-08 | 0.0080822 | 0.0080823 | 0.0080823 | 0.97185 | -0.54291 | 0.97171 | -0.54572 | 2.2204
4 | 0.067852 | 0.017043 | -0.067754 | -0.016981 | 9.8293e-05 | 6.2607e-05 | 0.1039 | 0.1039 | 0.1039 | 0.97185 | -0.54291 | 0.97031 | -0.57332 | 28.5449
5 | 0.010287 | 0.002579 | -0.010285 | -0.0025782 | 1.7367e-06 | 8.622e-07 | 0.015458 | 0.015458 | 0.015458 | 0.99027 | -0.18643 | 0.99009 | -0.18998 | 4.2467
6 | -0.027221 | -0.0068243 | 0.02724 | 0.0068359 | 1.8653e-05 | 1.1555e-05 | 0.040904 | 0.040904 | 0.040904 | 0.99027 | -0.18643 | 0.99101 | -0.17206 | 11.2373
7 | 0.016934 | 0.0042453 | -0.016931 | -0.0042436 | 2.8311e-06 | 1.6619e-06 | 0.025446 | 0.025446 | 0.025446 | 0.99027 | -0.18643 | 0.99009 | -0.18994 | 6.9907
8 | 0.010285 | 0.0025782 | -0.010283 | -0.0025773 | 1.8173e-06 | 9.0232e-07 | 0.015458 | 0.015458 | 0.015458 | 0.99009 | -0.18998 | 0.9899 | -0.19369 | 4.2467
9 | -0.052415 | -0.01315 | 0.052462 | 0.01318 | 4.715e-05 | 2.9914e-05 | 0.078707 | 0.078707 | 0.078707 | 0.99101 | -0.17206 | 0.99198 | -0.15321 | 21.6228
10 | 0.025176 | 0.0063139 | -0.025169 | -0.0063101 | 6.2825e-06 | 3.8698e-06 | 0.037803 | 0.037803 | 0.037803 | 0.99101 | -0.17206 | 0.99074 | -0.1773 | 10.3855
11 | 0.010591 | 0.0026545 | -0.010589 | -0.0026539 | 1.3392e-06 | 6.7583e-07 | 0.015917 | 0.015917 | 0.015917 | 0.99009 | -0.18994 | 0.98995 | -0.1926 | 4.3728
12 | -0.085326 | -0.021515 | 0.085464 | 0.021603 | 0.00013862 | 8.8445e-05 | 0.13031 | 0.13031 | 0.13031 | 0.97472 | -0.48637 | 0.97645 | -0.45248 | 35.7984
13 | 0.0052779 | 0.0013227 | -0.0052777 | -0.0013227 | 2.3522e-07 | 3.16e-08 | 0.0080823 | 0.0080823 | 0.0080823 | 0.97171 | -0.54572 | 0.97166 | -0.54666 | 2.2204
14 | -0.1225 | -0.030885 | 0.12343 | 0.031479 | 0.00092863 | 0.00059343 | 0.18674 | 0.18674 | 0.18674 | 0.97645 | -0.45248 | 0.98454 | -0.29538 | 51.3035
15 | -0.12343 | -0.031479 | 0.12389 | 0.031767 | 0.00045682 | 0.00028835 | 0.18674 | 0.18674 | 0.18674 | 0.98454 | -0.29538 | 0.98852 | -0.21904 | 17.1011
16 | -0.16287 | -0.041549 | 0.16298 | 0.041617 | 0.00010773 | 6.8399e-05 | 0.24543 | 0.24543 | 0.24543 | 0.98852 | -0.21904 | 0.98923 | -0.20535 | 22.4751
17 | 0.038983 | 0.0097817 | -0.038953 | -0.0097625 | 3.0496e-05 | 1.9215e-05 | 0.058686 | 0.058686 | 0.058686 | 0.98852 | -0.21904 | 0.98767 | -0.23546 | 16.1225
18 | -0.20216 | -0.051437 | 0.20237 | 0.05157 | 0.00020935 | 0.00013329 | 0.30436 | 0.30436 | 0.30436 | 0.98923 | -0.20535 | 0.99035 | -0.18389 | 27.8721
19 | -0.020205 | -0.0050717 | 0.020209 | 0.0050741 | 3.9853e-06 | 2.4013e-06 | 0.030317 | 0.030317 | 0.030317 | 0.9918 | -0.15619 | 0.99201 | -0.15205 | 8.329
20 | 0.020205 | 0.0050717 | -0.020203 | -0.0050702 | 2.5131e-06 | 1.5143e-06 | 0.030317 | 0.030317 | 0.030317 | 0.9918 | -0.15619 | 0.99166 | -0.1588 | 8.329
21 | -0.2784 | -0.070806 | 0.27874 | 0.071025 | 0.00034169 | 0.00021807 | 0.41797 | 0.41797 | 0.41797 | 0.99201 | -0.15205 | 0.99334 | -0.12661 | 38.2754
22 | 0.25819 | 0.065732 | -0.25785 | -0.065514 | 0.00034161 | 0.00021793 | 0.38765 | 0.38765 | 0.38765 | 0.99201 | -0.15205 | 0.99058 | -0.17953 | 35.4991
23 | 0.019039 | 0.0047785 | -0.019036 | -0.0047765 | 3.26e-06 | 1.949e-06 | 0.028571 | 0.028571 | 0.028571 | 0.99166 | -0.1588 | 0.99148 | -0.16239 | 7.8491
24 | 0.021079 | 0.005288 | -0.02107 | -0.0052821 | 9.8067e-06 | 5.9365e-06 | 0.031568 | 0.031568 | 0.031568 | 0.99368 | -0.12045 | 0.99318 | -0.13022 | 8.6725
25 | -0.083927 | -0.021104 | 0.084058 | 0.021188 | 0.00013082 | 8.3441e-05 | 0.1257 | 0.1257 | 0.1257 | 0.99368 | -0.12045 | 0.99537 | -0.087871 | 34.5341
26 | 0.062848 | 0.015816 | -0.06281 | -0.015793 | 3.7349e-05 | 2.3758e-05 | 0.094136 | 0.094136 | 0.094136 | 0.99368 | -0.12045 | 0.99304 | -0.1329 | 25.8617
27 | 0.010241 | 0.0025682 | -0.010239 | -0.0025672 | 1.9398e-06 | 9.5724e-07 | 0.015344 | 0.015344 | 0.015344 | 0.99318 | -0.13022 | 0.99297 | -0.13419 | 4.2155
28 | -0.36978 | -0.09417 | 0.37026 | 0.094473 | 0.00047442 | 0.00030315 | 0.55333 | 0.55333 | 0.55333 | 0.99537 | -0.087871 | 0.99677 | -0.061308 | 50.6713
29 | 0.28572 | 0.072982 | -0.28519 | -0.072641 | 0.00053407 | 0.00034089 | 0.42763 | 0.42763 | 0.42763 | 0.99537 | -0.087871 | 0.99334 | -0.12661 | 39.16
30 | 0.052513 | 0.013212 | -0.052462 | -0.01318 | 5.0924e-05 | 3.2308e-05 | 0.078707 | 0.078707 | 0.078707 | 0.99304 | -0.1329 | 0.99198 | -0.15321 | 21.6228
31 | -0.37646 | -0.096027 | 0.37701 | 0.096383 | 0.00055605 | 0.00035532 | 0.56259 | 0.56259 | 0.56259 | 0.99677 | -0.061308 | 0.99837 | -0.030772 | 51.5192
32 | -0.013821 | -0.0034653 | 0.013824 | 0.0034672 | 3.2489e-06 | 1.8206e-06 | 0.020764 | 0.020764 | 0.020764 | 0.99048 | -0.18172 | 0.99073 | -0.17679 | 5.7043
33 | 0.013821 | 0.0034653 | -0.013816 | -0.0034628 | 4.5937e-06 | 2.5744e-06 | 0.020764 | 0.020764 | 0.020764 | 0.99048 | -0.18172 | 0.99012 | -0.1887 | 5.7044
34 | -0.013824 | -0.0034672 | 0.013829 | 0.0034699 | 4.8334e-06 | 2.7082e-06 | 0.020764 | 0.020764 | 0.020764 | 0.99073 | -0.17679 | 0.99111 | -0.16946 | 5.7043
35 | 0.0089896 | 0.0022531 | -0.0089884 | -0.0022526 | 1.1879e-06 | 5.3708e-07 | 0.01351 | 0.01351 | 0.01351 | 0.99012 | -0.1887 | 0.98998 | -0.19148 | 3.7116
36 | 0.015602 | 0.003915 | -0.0156 | -0.0039136 | 2.3939e-06 | 1.3821e-06 | 0.023422 | 0.023422 | 0.023422 | 0.99128 | -0.16624 | 0.99111 | -0.16946 | 6.4346
37 | 0.0022986 | 0.00057589 | -0.0022986 | -0.00057607 | 8.2842e-08 | -1.8617e-07 | 0.0034504 | 0.0034505 | 0.0034505 | 0.99128 | -0.16624 | 0.99124 | -0.167 | 0.94794
38 | -0.017901 | -0.0044909 | 0.017904 | 0.0044929 | 3.2913e-06 | 1.9497e-06 | 0.026872 | 0.026872 | 0.026872 | 0.99128 | -0.16624 | 0.99148 | -0.16239 | 7.3825
39 | 0.044695 | 0.011224 | -0.04467 | -0.011208 | 2.5354e-05 | 1.6034e-05 | 0.067148 | 0.067148 | 0.067148 | 0.99058 | -0.17953 | 0.98996 | -0.19143 | 18.4472
40 | 0.21315 | 0.054291 | -0.21311 | -0.054262 | 4.4831e-05 | 2.8557e-05 | 0.3205 | 0.3205 | 0.3205 | 0.99058 | -0.17953 | 0.99035 | -0.18389 | 29.3501
41 | 0.04467 | 0.011208 | -0.044638 | -0.011187 | 3.2052e-05 | 2.027e-05 | 0.067148 | 0.067148 | 0.067148 | 0.98996 | -0.19143 | 0.98919 | -0.20649 | 18.4472
42 | 0.0046267 | 0.0011595 | -0.0046267 | -0.0011596 | 6.2518e-08 | -4.1688e-09 | 0.0069599 | 0.0069599 | 0.0069599 | 0.98919 | -0.20649 | 0.98917 | -0.20677 | 1.9121
43 | 0.018841 | 0.004724 | -0.018837 | -0.0047215 | 4.2468e-06 | 2.5359e-06 | 0.028299 | 0.028299 | 0.028299 | 0.99074 | -0.1773 | 0.9905 | -0.18203 | 7.7743
44 | 0.0070836 | 0.0017752 | -0.007083 | -0.0017751 | 5.8229e-07 | 1.9659e-07 | 0.010647 | 0.010648 | 0.010648 | 0.98995 | -0.1926 | 0.98986 | -0.19432 | 2.9252
45 | 0.010239 | 0.0025672 | -0.010236 | -0.0025659 | 2.7258e-06 | 1.3453e-06 | 0.015344 | 0.015344 | 0.015344 | 0.99297 | -0.13419 | 0.99268 | -0.13978 | 4.2155
46 | -0.38328 | -0.097953 | 0.38385 | 0.098318 | 0.00057135 | 0.00036512 | 0.57193 | 0.57193 | 0.57193 | 0.99837 | -0.030772 | 1 | 0 | 52.3744
47 | 0.0061431 | 0.0015395 | -0.0061428 | -0.0015394 | 2.3086e-07 | 5.4912e-08 | 0.0092335 | 0.0092335 | 0.0092335 | 0.98998 | -0.19148 | 0.98994 | -0.19226 | 2.5367
48 | -0.0020408 | -0.00051148 | 0.0020408 | 0.0005114 | 2.6628e-08 | -7.9958e-08 | 0.0030677 | 0.0030677 | 0.0030677 | 0.9899 | -0.19299 | 0.98991 | -0.19272 | 0.84279
49 | -0.0040959 | -0.0010264 | 0.004096 | 0.0010264 | 8.8829e-08 | -2.3487e-08 | 0.0061569 | 0.0061568 | 0.0061569 | 0.98991 | -0.19272 | 0.98994 | -0.19226 | 1.6914
50 | 0.012557 | 0.0031476 | -0.012555 | -0.0031466 | 1.8253e-06 | 9.9216e-07 | 0.018864 | 0.018864 | 0.018864 | 0.9905 | -0.18203 | 0.99034 | -0.18508 | 5.1825
51 | -0.010235 | -0.0025651 | 0.010236 | 0.0025659 | 1.5407e-06 | 7.605e-07 | 0.015345 | 0.015344 | 0.015345 | 0.99252 | -0.14294 | 0.99268 | -0.13978 | 4.2155
52 | -0.0035597 | -0.00089214 | 0.0035598 | 0.00089205 | 1.5243e-07 | -8.4901e-08 | 0.0053513 | 0.0053513 | 0.0053513 | 0.98982 | -0.19522 | 0.98986 | -0.19432 | 1.4701
53 | -0.0063371 | -0.0015882 | 0.0063376 | 0.0015884 | 4.8031e-07 | 1.2566e-07 | 0.0095225 | 0.0095224 | 0.0095225 | 0.99026 | -0.18667 | 0.99034 | -0.18508 | 2.6161

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39181 | 0.099898

## res_load
| p_mw | q_mvar
0 | 0.011954 | 0.0029959
1 | 0.0063405 | 0.0015891
2 | 0.067754 | 0.016981
3 | 0.037035 | 0.009282
4 | 0.010283 | 0.0025773
5 | 0.0052777 | 0.0013227
6 | 0.03918 | 0.0098195
7 | 0.038953 | 0.0097625
8 | 0.0011641 | 0.00029174
9 | 0.010829 | 0.0027139
10 | 0.010297 | 0.0025807
11 | 0.0062027 | 0.0015545
12 | 0.0064485 | 0.0016162
13 | 0.0048265 | 0.0012096
14 | 0.0017707 | 0.00044378
15 | 0.0022986 | 0.00057607
16 | 0.0011318 | 0.00028365
17 | 0.010742 | 0.0026922
18 | 0.040011 | 0.010028
19 | 0.0063284 | 0.001586
20 | 0.0035057 | 0.00087861
21 | 0.0062658 | 0.0015704
22 | 0.0028454 | 0.00071312
23 | 0.0046267 | 0.0011596
24 | 0.0020408 | 0.00051148
25 | 0.0020551 | 0.00051505
26 | 0.00628 | 0.0015739
27 | 0.010235 | 0.0025651
28 | 0.0063034 | 0.0015798
29 | 0.0035597 | 0.00089214
30 | 0.0035232 | 0.000883
31 | 0.0063371 | 0.0015882
32 | 0.0062174 | 0.0015582
33 | 0.0020468 | 0.00051298

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1