## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-743_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-743_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-743_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-743_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-743_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_261-743_0_6_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_261-743_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_261-743_0_6_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_261-743_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-743_0_6_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_261-743_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_261-743_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-743_0_6_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_261-743_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_261-743_0_6_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_261-743_0_6_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_261-743_0_6_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_261-743_0_6_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_261-743_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-743_0_6_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_261-743_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-743_0_6_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_261-743_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-743_0_6_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_261-743_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_261-743_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_261-743_0_6_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_261-743_0_6_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_261-743_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_261-743_0_6_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_261-743_0_6_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_261-743_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_261-743_0_6_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_261-743_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_261-743_0_6_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_261-743_0_6_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_261-743_0_6_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_261-743_0_6_node_92 | 0.4 | n |  | TRUE
38 | bus_LV_261-743_0_6_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_261-743_0_6_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_261-743_0_6_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_261-743_0_6_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_261-743_0_6_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_261-743_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_261-743_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_261-743_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_261-743_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_261-743_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_261-743_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_261-743_0_6_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_261-743_0_6_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_261-743_0_6_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_261-743_0_6_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_261-743_0_6_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_261-743_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_261-743_0_6_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_261-743_0_6_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_261-743_0_6_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_261-743_0_6_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_261-743_0_6_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_261-743_0_6_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_261-743_0_6_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_261-743_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_261-743_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_261-743_0_6_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_261-743_0_6_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_261-743_0_6_node_23 | 0.4 | n |  | TRUE
67 | bus_LV_261-743_0_6_node_24 | 0.4 | n |  | TRUE
68 | bus_LV_261-743_0_6_node_25 | 0.4 | n |  | TRUE
69 | bus_LV_261-743_0_6_node_26 | 0.4 | n |  | TRUE
70 | bus_LV_261-743_0_6_node_27 | 0.4 | n |  | TRUE
71 | bus_LV_261-743_0_6_node_28 | 0.4 | n |  | TRUE
72 | bus_LV_261-743_0_6_node_29 | 0.4 | n |  | TRUE
73 | bus_LV_261-743_0_6_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_261-743_0_6_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_261-743_0_6_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_261-743_0_6_node_31 | 0.4 | n |  | TRUE
77 | bus_LV_261-743_0_6_node_37 | 0.4 | n |  | TRUE
78 | bus_LV_261-743_0_6_node_38 | 0.4 | n |  | TRUE
79 | bus_LV_261-743_0_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_261-743_0_6_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_261-743_0_6_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_261-743_0_6_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_261-743_0_6_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_261-743_0_6_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_261-743_0_6_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_261-743_0_6_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_261-743_0_6_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_261-743_0_6_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_261-743_0_6_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_261-743_0_6_node_73 | 0.4 | n |  | TRUE
91 | bus_MV_542_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-743_0_6_load_0 | 0 | 0.0079981 | 0.0020045 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-743_0_6_load_1 | 1 | 0.0077627 | 0.0019455 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-743_0_6_load_22 | 5 | 0.0017188 | 0.00043077 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-743_0_6_load_81 | 9 | 0.0060955 | 0.0015277 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-743_0_6_load_53 | 12 | 0.011725 | 0.0029386 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-743_0_6_load_55 | 14 | 0.018546 | 0.0046481 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-743_0_6_load_54 | 15 | 0.0015266 | 0.00038261 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-743_0_6_load_84 | 16 | 0.035297 | 0.0088462 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-743_0_6_load_83 | 17 | 0.032666 | 0.0081868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-743_0_6_load_45 | 19 | 0.0017079 | 0.00042803 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-743_0_6_load_44 | 21 | 0.0053981 | 0.0013529 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-743_0_6_load_47 | 23 | 0.0012871 | 0.00032257 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-743_0_6_load_39 | 25 | 0.0036699 | 0.00091976 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-743_0_6_load_77 | 27 | 0.009591 | 0.0024037 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-743_0_6_load_78 | 29 | 0.030755 | 0.0077079 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-743_0_6_load_85 | 32 | 0.0071629 | 0.0017952 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-743_0_6_load_71 | 34 | 0.0012103 | 0.00030332 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-743_0_6_load_74 | 35 | 0.0039912 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-743_0_6_load_76 | 36 | 0.01678 | 0.0042055 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-743_0_6_load_92 | 37 | 0.0058925 | 0.0014768 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-743_0_6_load_91 | 38 | 0.0035716 | 0.00089514 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-743_0_6_load_80 | 39 | 0.005958 | 0.0014932 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-743_0_6_load_52 | 40 | 0.0024786 | 0.0006212 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-743_0_6_load_86 | 41 | 0.0021675 | 0.00054323 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-743_0_6_load_87 | 42 | 0.0053002 | 0.0013284 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-743_0_6_load_43 | 44 | 0.0034775 | 0.00087155 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-743_0_6_load_42 | 48 | 0.003486 | 0.00087367 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-743_0_6_load_89 | 49 | 0.0040209 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-743_0_6_load_88 | 50 | 0.039619 | 0.0099295 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-743_0_6_load_96 | 51 | 0.0058496 | 0.0014661 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-743_0_6_load_90 | 52 | 0.005947 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-743_0_6_load_97 | 53 | 0.0065151 | 0.0016328 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-743_0_6_load_48 | 54 | 0.0012869 | 0.00032253 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-743_0_6_load_30 | 55 | 0.0084704 | 0.0021229 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-743_0_6_load_79 | 56 | 0.013273 | 0.0033265 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-743_0_6_load_69 | 57 | 0.015444 | 0.0038707 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-743_0_6_load_64 | 58 | 0.016217 | 0.0040644 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-743_0_6_load_61 | 59 | 0.002286 | 0.00057292 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-743_0_6_load_68 | 60 | 0.003775 | 0.0009461 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-743_0_6_load_75 | 61 | 0.01404 | 0.0035188 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-743_0_6_load_60 | 62 | 0.001907 | 0.00047794 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-743_0_6_load_58 | 63 | 0.001601 | 0.00040124 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-743_0_6_load_95 | 64 | 0.018505 | 0.0046378 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-743_0_6_load_94 | 65 | 0.0069703 | 0.0017469 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-743_0_6_load_23 | 66 | 0.0068376 | 0.0017137 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-743_0_6_load_24 | 67 | 0.0068338 | 0.0017127 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-743_0_6_load_25 | 68 | 0.0050382 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-743_0_6_load_26 | 69 | 0.026989 | 0.0067642 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-743_0_6_load_27 | 70 | 0.0051489 | 0.0012904 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-743_0_6_load_28 | 71 | 0.0066248 | 0.0016603 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-743_0_6_load_29 | 72 | 0.0066984 | 0.0016788 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-743_0_6_load_49 | 73 | 0.0066248 | 0.0016603 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-743_0_6_load_50 | 74 | 0.0067004 | 0.0016793 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-743_0_6_load_51 | 75 | 0.0089273 | 0.0022374 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-743_0_6_load_31 | 76 | 0.0087879 | 0.0022025 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-743_0_6_load_59 | 79 | 0.0038224 | 0.000958 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-743_0_6_load_56 | 80 | 0.0021777 | 0.00054578 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-743_0_6_load_93 | 81 | 0.002807 | 0.0007035 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-743_0_6_load_46 | 82 | 0.0046993 | 0.0011778 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-743_0_6_load_62 | 83 | 0.0038225 | 0.000958 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-743_0_6_load_57 | 84 | 0.0017657 | 0.00044254 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-743_0_6_load_63 | 85 | 0.0049365 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-743_0_6_load_67 | 87 | 0.003777 | 0.0009466 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-743_0_6_load_70 | 88 | 0.0060237 | 0.0015097 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-743_0_6_load_72 | 89 | 0.0060225 | 0.0015094 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_261-743_0_6_load_73 | 90 | 0.005893 | 0.0014769 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-743_0_6_line_0 |  | 0 | 1 | 0.023204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-743_0_6_line_1 |  | 0 | 2 | 0.0072678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-743_0_6_line_2 |  | 2 | 3 | 0.038327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-743_0_6_line_3 |  | 3 | 7 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-743_0_6_line_4 |  | 3 | 8 | 0.036667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-743_0_6_line_5 |  | 3 | 9 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-743_0_6_line_6 |  | 4 | 5 | 0.0043536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-743_0_6_line_7 |  | 4 | 6 | 0.0082283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-743_0_6_line_8 |  | 5 | 36 | 0.0043908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-743_0_6_line_9 |  | 6 | 16 | 0.060988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-743_0_6_line_10 |  | 6 | 17 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-743_0_6_line_11 |  | 7 | 37 | 0.036552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-743_0_6_line_12 |  | 7 | 38 | 0.0054578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-743_0_6_line_13 |  | 8 | 14 | 0.010011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-743_0_6_line_14 |  | 8 | 13 | 0.009558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-743_0_6_line_15 |  | 9 | 39 | 0.019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-743_0_6_line_16 |  | 10 | 11 | 0.01091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-743_0_6_line_17 |  | 10 | 12 | 0.10927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-743_0_6_line_18 |  | 11 | 15 | 0.027588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-743_0_6_line_19 |  | 12 | 13 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-743_0_6_line_20 |  | 14 | 40 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-743_0_6_line_21 |  | 16 | 41 | 0.0061595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-743_0_6_line_22 |  | 18 | 19 | 0.021831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-743_0_6_line_23 |  | 18 | 20 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-743_0_6_line_24 |  | 18 | 21 | 0.010623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-743_0_6_line_25 |  | 20 | 27 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-743_0_6_line_26 |  | 20 | 22 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-743_0_6_line_27 |  | 21 | 25 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-743_0_6_line_28 |  | 22 | 23 | 0.026822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-743_0_6_line_29 |  | 23 | 54 | 0.0053418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-743_0_6_line_30 |  | 24 | 25 | 0.01489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_261-743_0_6_line_31 |  | 24 | 26 | 0.03427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-743_0_6_line_32 |  | 26 | 55 | 0.026911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-743_0_6_line_33 |  | 26 | 43 | 0.007701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-743_0_6_line_34 |  | 28 | 29 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-743_0_6_line_35 |  | 28 | 30 | 0.004118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-743_0_6_line_36 |  | 29 | 56 | 0.0317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-743_0_6_line_37 |  | 30 | 57 | 0.013692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-743_0_6_line_38 |  | 30 | 58 | 0.028191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-743_0_6_line_39 |  | 31 | 32 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-743_0_6_line_40 |  | 31 | 33 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-743_0_6_line_41 |  | 32 | 59 | 0.035061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-743_0_6_line_42 |  | 33 | 34 | 0.028995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-743_0_6_line_43 |  | 33 | 35 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-743_0_6_line_44 |  | 34 | 60 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-743_0_6_line_45 |  | 35 | 61 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-743_0_6_line_46 |  | 36 | 61 | 0.016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-743_0_6_line_47 |  | 37 | 90 | 0.0044248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-743_0_6_line_48 |  | 39 | 57 | 0.031808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-743_0_6_line_49 |  | 40 | 75 | 0.0086729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_261-743_0_6_line_50 |  | 41 | 42 | 0.00095414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-743_0_6_line_51 |  | 43 | 44 | 0.018206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-743_0_6_line_52 |  | 43 | 45 | 0.041128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_261-743_0_6_line_53 |  | 44 | 81 | 0.016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-743_0_6_line_54 |  | 45 | 51 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-743_0_6_line_55 |  | 45 | 52 | 0.015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-743_0_6_line_56 |  | 46 | 47 | 0.026987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-743_0_6_line_57 |  | 46 | 48 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-743_0_6_line_58 |  | 47 | 49 | 0.033062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_261-743_0_6_line_59 |  | 47 | 50 | 0.050571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-743_0_6_line_60 |  | 49 | 52 | 0.02033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_261-743_0_6_line_61 |  | 51 | 53 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-743_0_6_line_62 |  | 54 | 73 | 0.014458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_261-743_0_6_line_63 |  | 55 | 76 | 0.032189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-743_0_6_line_64 |  | 56 | 65 | 0.032009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-743_0_6_line_65 |  | 58 | 85 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-743_0_6_line_66 |  | 59 | 77 | 0.03873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-743_0_6_line_67 |  | 60 | 86 | 0.028041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_261-743_0_6_line_68 |  | 62 | 63 | 2.8868e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-743_0_6_line_69 |  | 63 | 84 | 2.2796e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-743_0_6_line_70 |  | 64 | 65 | 0.030393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-743_0_6_line_71 |  | 66 | 67 | 0.0081924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_261-743_0_6_line_72 |  | 66 | 68 | 0.0054703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_261-743_0_6_line_73 |  | 67 | 69 | 0.022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_261-743_0_6_line_74 |  | 68 | 70 | 0.0069381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_261-743_0_6_line_75 |  | 69 | 71 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_261-743_0_6_line_76 |  | 70 | 72 | 0.0054929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_261-743_0_6_line_77 |  | 71 | 73 | 0.0080686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_261-743_0_6_line_78 |  | 72 | 74 | 0.0080516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_261-743_0_6_line_79 |  | 74 | 75 | 0.01773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_261-743_0_6_line_80 |  | 77 | 78 | 0.003708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-743_0_6_line_81 |  | 78 | 79 | 0.015453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-743_0_6_line_82 |  | 78 | 80 | 0.037286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-743_0_6_line_83 |  | 79 | 83 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-743_0_6_line_84 |  | 80 | 84 | 0.00068228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-743_0_6_line_85 |  | 81 | 82 | 0.02447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-743_0_6_line_86 |  | 86 | 87 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_261-743_0_6_line_87 |  | 87 | 88 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_261-743_0_6_line_88 |  | 88 | 89 | 0.0044242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_261-743_0_6_line_89 |  | 89 | 90 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-743_0_6_trafo_70 | 0.63 MVA 20/0.4 kV | 91 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2682819.1717 | 1250774.1199 | 2682819.7397 | 1250775.0901 | 2682826.1879 | 1250785.2656 | 2682831.9491 | 1250793.4803
1 | 2682815.5001 | 1250767.8477 | 2682819.1717 | 1250774.1199
2 | 2682815.5001 | 1250767.8477 | 2682813.3325 | 1250764.1369 | 2682812.0721 | 1250760.8724 | 2682811.6016 | 1250757.2632 | 2682812.5231 | 1250753.451 | 2682816.2244 | 1250747.3648 | 2682825.2916 | 1250734.3707
3 | 2682839.3136 | 1250743.8849 | 2682825.2916 | 1250734.3707
4 | 2682798.9424 | 1250735.0476 | 2682809.2429 | 1250742.3858 | 2682818.3667 | 1250729.6705 | 2682825.2916 | 1250734.3707
5 | 2682825.2916 | 1250734.3707 | 2682833.9442 | 1250721.3394
6 | 2682861.6803 | 1250815.2618 | 2682866.0337 | 1250815.3082
7 | 2682861.452 | 1250823.4869 | 2682861.5743 | 1250819.0631 | 2682861.6803 | 1250815.2618
8 | 2682870.4242 | 1250815.3549 | 2682866.0337 | 1250815.3082
9 | 2682861.452 | 1250823.4869 | 2682860.4314 | 1250823.595 | 2682858.5359 | 1250824.7138 | 2682857.7305 | 1250826.704 | 2682857.6412 | 1250829.8495 | 2682863.7608 | 1250840.3095 | 2682869.8216 | 1250854.9607 | 2682869.1485 | 1250859.3657 | 2682873.5398 | 1250870.3242 | 2682876.4977 | 1250878.0056
10 | 2682861.452 | 1250823.4869 | 2682872.3614 | 1250823.9732 | 2682880.1853 | 1250824.3072
11 | 2682839.3136 | 1250743.8849 | 2682867.7365 | 1250743.3818 | 2682875.8536 | 1250743.74
12 | 2682839.3136 | 1250743.8849 | 2682840.4507 | 1250749.2229
13 | 2682798.9424 | 1250735.0476 | 2682803.5525 | 1250733.0772 | 2682807.2209 | 1250729.6835
14 | 2682798.9424 | 1250735.0476 | 2682796.6431 | 1250735.3601 | 2682793.4683 | 1250734.5707 | 2682790.5009 | 1250731.9051
15 | 2682844.618 | 1250705.2639 | 2682833.9442 | 1250721.3394
16 | 2682736.7101 | 1250620.1375 | 2682726.7057 | 1250624.5567
17 | 2682726.7057 | 1250624.5567 | 2682730.9242 | 1250633.867 | 2682747.5955 | 1250667.7693 | 2682762.463 | 1250689.7266 | 2682770.8831 | 1250703.0541 | 2682781.4391 | 1250718.8348
18 | 2682736.7101 | 1250620.1375 | 2682749.4224 | 1250644.6224
19 | 2682790.5009 | 1250731.9051 | 2682783.1439 | 1250721.3834 | 2682781.4391 | 1250718.8348
20 | 2682807.2209 | 1250729.6835 | 2682816.3404 | 1250721.247 | 2682819.5935 | 1250716.9782 | 2682824.5468 | 1250709.5534
21 | 2682876.4977 | 1250878.0056 | 2682876.7814 | 1250878.7424 | 2682878.7877 | 1250883.7234
22 | 2682936.4926 | 1250573.2501 | 2682935.9713 | 1250572.1976 | 2682935.6259 | 1250569.9133 | 2682936.4688 | 1250567.401 | 2682941.0208 | 1250560.4261 | 2682942.1785 | 1250557.5402 | 2682944.5409 | 1250553.9973
23 | 2682923.7826 | 1250584.8698 | 2682925.9026 | 1250583.3539 | 2682929.1419 | 1250582.2317 | 2682933.6429 | 1250576.7351 | 2682936.4926 | 1250573.2501
24 | 2682936.4926 | 1250573.2501 | 2682937.0506 | 1250574.381 | 2682938.9461 | 1250575.9531 | 2682944.5798 | 1250579.9351
25 | 2682923.7826 | 1250584.8698 | 2682922.9947 | 1250587.761 | 2682917.1306 | 1250596.5346
26 | 2682912.6753 | 1250577.4534 | 2682918.3224 | 1250581.2241 | 2682923.7826 | 1250584.8698
27 | 2682944.5798 | 1250579.9351 | 2682951.9462 | 1250585.1419 | 2682953.4835 | 1250586.4199 | 2682960.6185 | 1250592.3375
28 | 2682912.6753 | 1250577.4534 | 2682897.7897 | 1250599.7661
29 | 2682894.8252 | 1250604.2098 | 2682897.7897 | 1250599.7661
30 | 2682966.01 | 1250602.4627 | 2682968.7674 | 1250599.6325 | 2682961.8568 | 1250593.3645 | 2682960.6185 | 1250592.3375
31 | 2682990.3428 | 1250626.6658 | 2682973.0853 | 1250609.3669 | 2682966.01 | 1250602.4627
32 | 2682990.3428 | 1250626.6658 | 2683005.4348 | 1250604.3854
33 | 2682990.3428 | 1250626.6658 | 2682995.984 | 1250631.9265
34 | 2682872.0867 | 1250663.939 | 2682885.4542 | 1250672.9225
35 | 2682869.7965 | 1250667.3651 | 2682872.0867 | 1250663.939
36 | 2682885.4542 | 1250672.9225 | 2682885.7061 | 1250673.0918 | 2682894.9513 | 1250680.3154 | 2682902.9617 | 1250687.833 | 2682908.5746 | 1250694.4514
37 | 2682869.7965 | 1250667.3651 | 2682866.527 | 1250672.2675 | 2682862.2127 | 1250678.765
38 | 2682869.7965 | 1250667.3651 | 2682873.3145 | 1250669.527 | 2682889.5082 | 1250680.3059 | 2682892.923 | 1250683.4012
39 | 2682911.4333 | 1250827.967 | 2682921.9338 | 1250830.1182
40 | 2682911.4333 | 1250827.967 | 2682912.2417 | 1250823.6084 | 2682912.5195 | 1250822.1 | 2682913.3614 | 1250817.5084
41 | 2682921.9338 | 1250830.1182 | 2682931.5322 | 1250832.0846 | 2682945.2271 | 1250836.8909 | 2682955.1236 | 1250841.0864
42 | 2682913.3614 | 1250817.5084 | 2682915.1044 | 1250815.409 | 2682916.6348 | 1250812.3281 | 2682921.5863 | 1250790.0458
43 | 2682913.3614 | 1250817.5084 | 2682911.0419 | 1250818.1764 | 2682905.0347 | 1250818.0368 | 2682901.5017 | 1250817.5418
44 | 2682921.5863 | 1250790.0458 | 2682924.7561 | 1250775.7812 | 2682925.4208 | 1250771.6086
45 | 2682901.5017 | 1250817.5418 | 2682892.2486 | 1250816.2455 | 2682886.934 | 1250815.9376
46 | 2682886.934 | 1250815.9376 | 2682878.3315 | 1250815.4392 | 2682870.4242 | 1250815.3549
47 | 2682875.8536 | 1250743.74 | 2682880.2741 | 1250743.9351
48 | 2682844.618 | 1250705.2639 | 2682862.2127 | 1250678.765
49 | 2682829.36 | 1250702.3386 | 2682824.5468 | 1250709.5534
50 | 2682879.1442 | 1250884.6085 | 2682878.7877 | 1250883.7234
51 | 2682995.984 | 1250631.9265 | 2682998.9395 | 1250628.4319 | 2682998.4689 | 1250626.4572 | 2682998.3379 | 1250624.4984 | 2682999.0675 | 1250621.9956 | 2683002.9864 | 1250616.1604
52 | 2682967.1102 | 1250658.1195 | 2682990.9707 | 1250634.1135 | 2682992.8442 | 1250635.6408 | 2682995.984 | 1250631.9265
53 | 2683012.1154 | 1250602.5675 | 2683002.9864 | 1250616.1604
54 | 2682967.1102 | 1250658.1195 | 2682956.9619 | 1250647.4764
55 | 2682967.1102 | 1250658.1195 | 2682978.2247 | 1250668.6321
56 | 2683037.3782 | 1250673.9153 | 2683033.1225 | 1250671.0646 | 2683031.1444 | 1250673.2274 | 2683026.1381 | 1250675.9927 | 2683020.7186 | 1250681.3096 | 2683017.2592 | 1250685.7423
57 | 2683037.3782 | 1250673.9153 | 2683036.3884 | 1250667.5078 | 2683031.2879 | 1250663.7909
58 | 2683017.2592 | 1250685.7423 | 2683006.5244 | 1250695.3991 | 2682992.9945 | 1250682.602
59 | 2683017.2592 | 1250685.7423 | 2683014.2992 | 1250693.3287 | 2683012.965 | 1250700.1818 | 2683013.3363 | 1250704.935 | 2683016.3785 | 1250709.7923 | 2683020.5163 | 1250714.0534 | 2683024.3825 | 1250721.5243 | 2683033.1835 | 1250727.4231
60 | 2682992.9945 | 1250682.602 | 2682978.2247 | 1250668.6321
61 | 2682942.9227 | 1250632.7526 | 2682956.9619 | 1250647.4764
62 | 2682894.8252 | 1250604.2098 | 2682886.8013 | 1250616.2371
63 | 2683005.4348 | 1250604.3854 | 2683023.4869 | 1250577.7349
64 | 2682924.3404 | 1250722.1354 | 2682921.5193 | 1250715.2575 | 2682916.6975 | 1250705.9275 | 2682910.3291 | 1250696.5203 | 2682908.5746 | 1250694.4514
65 | 2682905.1819 | 1250695.7812 | 2682902.9511 | 1250692.9033 | 2682895.8002 | 1250686.0093 | 2682892.923 | 1250683.4012
66 | 2682990.0873 | 1250857.7232 | 2682987.471 | 1250856.4078 | 2682962.5329 | 1250844.2274 | 2682955.1236 | 1250841.0864
67 | 2682925.8247 | 1250743.6722 | 2682926.5367 | 1250754.8238 | 2682926.4528 | 1250765.1303 | 2682925.4208 | 1250771.6086
68 | 2682957.6411 | 1250837.6299 | 2682957.6436 | 1250837.6312
69 | 2682957.6436 | 1250837.6312 | 2682957.6641 | 1250837.6412
70 | 2682924.3404 | 1250722.1354 | 2682925.5928 | 1250725.1885 | 2682928.1811 | 1250734.9765 | 2682929.7256 | 1250743.8269 | 2682930.233 | 1250751.7955
71 | 2682853.6029 | 1250665.9999 | 2682858.1494 | 1250659.1848
72 | 2682853.6029 | 1250665.9999 | 2682850.567 | 1250670.5504
73 | 2682858.1494 | 1250659.1848 | 2682870.4534 | 1250640.7417
74 | 2682850.567 | 1250670.5504 | 2682846.7166 | 1250676.322
75 | 2682882.3235 | 1250622.9491 | 2682870.4534 | 1250640.7417
76 | 2682846.7166 | 1250676.322 | 2682843.6682 | 1250680.8914
77 | 2682882.3235 | 1250622.9491 | 2682886.8013 | 1250616.2371
78 | 2682839.1998 | 1250687.5893 | 2682843.6682 | 1250680.8914
79 | 2682829.36 | 1250702.3386 | 2682839.1998 | 1250687.5893
80 | 2682990.0873 | 1250857.7232 | 2682991.7343 | 1250854.3994
81 | 2682991.7343 | 1250854.3994 | 2682993.3269 | 1250851.1859 | 2682998.5991 | 1250840.5549
82 | 2682991.7343 | 1250854.3994 | 2682958.2763 | 1250837.9424
83 | 2683005.4146 | 1250826.812 | 2682998.5991 | 1250840.5549
84 | 2682957.6641 | 1250837.6412 | 2682958.2763 | 1250837.9424
85 | 2683012.1154 | 1250602.5675 | 2683025.7581 | 1250582.2537
86 | 2682925.8247 | 1250743.6722 | 2682919.8251 | 1250743.5215 | 2682912.0236 | 1250744.0046
87 | 2682912.0236 | 1250744.0046 | 2682899.4695 | 1250744.7821 | 2682898.4163 | 1250744.7357
88 | 2682893.9964 | 1250744.5406 | 2682898.4163 | 1250744.7357
89 | 2682893.9964 | 1250744.5406 | 2682880.2741 | 1250743.9351

## bus_geodata
| x | y | coords
0 | 2682819.1717 | 1250774.1199
1 | 2682831.9491 | 1250793.4803
2 | 2682815.5001 | 1250767.8477
3 | 2682825.2916 | 1250734.3707
4 | 2682861.6803 | 1250815.2618
5 | 2682866.0337 | 1250815.3082
6 | 2682861.452 | 1250823.4869
7 | 2682839.3136 | 1250743.8849
8 | 2682798.9424 | 1250735.0476
9 | 2682833.9442 | 1250721.3394
10 | 2682726.7057 | 1250624.5567
11 | 2682736.7101 | 1250620.1375
12 | 2682781.4391 | 1250718.8348
13 | 2682790.5009 | 1250731.9051
14 | 2682807.2209 | 1250729.6835
15 | 2682749.4224 | 1250644.6224
16 | 2682876.4977 | 1250878.0056
17 | 2682880.1853 | 1250824.3072
18 | 2682936.4926 | 1250573.2501
19 | 2682944.5409 | 1250553.9973
20 | 2682923.7826 | 1250584.8698
21 | 2682944.5798 | 1250579.9351
22 | 2682912.6753 | 1250577.4534
23 | 2682897.7897 | 1250599.7661
24 | 2682966.01 | 1250602.4627
25 | 2682960.6185 | 1250592.3375
26 | 2682990.3428 | 1250626.6658
27 | 2682917.1306 | 1250596.5346
28 | 2682872.0867 | 1250663.939
29 | 2682885.4542 | 1250672.9225
30 | 2682869.7965 | 1250667.3651
31 | 2682911.4333 | 1250827.967
32 | 2682921.9338 | 1250830.1182
33 | 2682913.3614 | 1250817.5084
34 | 2682921.5863 | 1250790.0458
35 | 2682901.5017 | 1250817.5418
36 | 2682870.4242 | 1250815.3549
37 | 2682875.8536 | 1250743.74
38 | 2682840.4507 | 1250749.2229
39 | 2682844.618 | 1250705.2639
40 | 2682824.5468 | 1250709.5534
41 | 2682878.7877 | 1250883.7234
42 | 2682879.1442 | 1250884.6085
43 | 2682995.984 | 1250631.9265
44 | 2683002.9864 | 1250616.1604
45 | 2682967.1102 | 1250658.1195
46 | 2683037.3782 | 1250673.9153
47 | 2683017.2592 | 1250685.7423
48 | 2683031.2879 | 1250663.7909
49 | 2682992.9945 | 1250682.602
50 | 2683033.1835 | 1250727.4231
51 | 2682956.962 | 1250647.4764
52 | 2682978.2247 | 1250668.6321
53 | 2682942.9227 | 1250632.7526
54 | 2682894.8252 | 1250604.2098
55 | 2683005.4348 | 1250604.3854
56 | 2682908.5746 | 1250694.4514
57 | 2682862.2127 | 1250678.765
58 | 2682892.923 | 1250683.4012
59 | 2682955.1236 | 1250841.0864
60 | 2682925.4208 | 1250771.6086
61 | 2682886.934 | 1250815.9376
62 | 2682957.6411 | 1250837.6299
63 | 2682957.6436 | 1250837.6312
64 | 2682930.233 | 1250751.7955
65 | 2682924.3404 | 1250722.1354
66 | 2682853.6029 | 1250665.9999
67 | 2682858.1494 | 1250659.1848
68 | 2682850.567 | 1250670.5504
69 | 2682870.4534 | 1250640.7417
70 | 2682846.7166 | 1250676.322
71 | 2682882.3235 | 1250622.9491
72 | 2682843.6682 | 1250680.8914
73 | 2682886.8013 | 1250616.2371
74 | 2682839.1998 | 1250687.5893
75 | 2682829.36 | 1250702.3386
76 | 2683023.4869 | 1250577.7349
77 | 2682990.0873 | 1250857.7232
78 | 2682991.7343 | 1250854.3994
79 | 2682998.5991 | 1250840.5549
80 | 2682958.2763 | 1250837.9424
81 | 2683012.1154 | 1250602.5675
82 | 2683025.7581 | 1250582.2537
83 | 2683005.4146 | 1250826.812
84 | 2682957.6641 | 1250837.6412
85 | 2682905.1819 | 1250695.7812
86 | 2682925.8247 | 1250743.6722
87 | 2682912.0236 | 1250744.0046
88 | 2682898.4163 | 1250744.7357
89 | 2682893.9965 | 1250744.5406
90 | 2682880.2741 | 1250743.9351
91 | 2682925.8247 | 1250743.6722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99048 | -0.18108 | 0.0079981 | 0.0020045
1 | 0.99032 | -0.18428 | 0.0077627 | 0.0019455
2 | 0.99059 | -0.17905 | 0 | 0
3 | 0.99114 | -0.16832 | 0 | 0
4 | 0.9862 | -0.26499 | 0 | 0
5 | 0.9865 | -0.25911 | 0.0017188 | 0.00043077
6 | 0.98563 | -0.27612 | 0 | 0
7 | 0.99308 | -0.13126 | 0 | 0
8 | 0.98845 | -0.21994 | 0 | 0
9 | 0.98943 | -0.20117 | 0.0060955 | 0.0015277
10 | 0.98799 | -0.22894 | 0 | 0
11 | 0.98797 | -0.22924 | 0 | 0
12 | 0.98814 | -0.22596 | 0.011725 | 0.0029386
13 | 0.98834 | -0.2222 | 0 | 0
14 | 0.98776 | -0.23329 | 0.018546 | 0.0046481
15 | 0.98794 | -0.22999 | 0.0015266 | 0.00038261
16 | 0.98322 | -0.32303 | 0.035297 | 0.0088462
17 | 0.98506 | -0.28712 | 0.032666 | 0.0081868
18 | 0.97764 | -0.42985 | 0 | 0
19 | 0.9776 | -0.43053 | 0.0017079 | 0.00042803
20 | 0.97821 | -0.41866 | 0 | 0
21 | 0.9773 | -0.43649 | 0.0053981 | 0.0013529
22 | 0.97868 | -0.40941 | 0 | 0
23 | 0.97963 | -0.39087 | 0.0012871 | 0.00032257
24 | 0.97625 | -0.45702 | 0 | 0
25 | 0.97668 | -0.44852 | 0.0036699 | 0.00091976
26 | 0.97525 | -0.47661 | 0 | 0
27 | 0.97809 | -0.42102 | 0.009591 | 0.0024037
28 | 0.98291 | -0.32779 | 0 | 0
29 | 0.98187 | -0.34801 | 0.030755 | 0.0077079
30 | 0.98317 | -0.32263 | 0 | 0
31 | 0.9907 | -0.17786 | 0 | 0
32 | 0.99046 | -0.18253 | 0.0071629 | 0.0017952
33 | 0.99094 | -0.17323 | 0 | 0
34 | 0.99458 | -0.10323 | 0.0012103 | 0.00030332
35 | 0.9897 | -0.19708 | 0.0039912 | 0.0010003
36 | 0.98681 | -0.25305 | 0.01678 | 0.0042055
37 | 0.99731 | -0.050876 | 0.0058925 | 0.0014768
38 | 0.99306 | -0.1316 | 0.0035716 | 0.00089514
39 | 0.98744 | -0.23975 | 0.005958 | 0.0014932
40 | 0.98606 | -0.26605 | 0.0024786 | 0.0006212
41 | 0.98318 | -0.32386 | 0.0021675 | 0.00054323
42 | 0.98318 | -0.32395 | 0.0053002 | 0.0013284
43 | 0.97507 | -0.48021 | 0 | 0
44 | 0.97488 | -0.48388 | 0.0034775 | 0.00087155
45 | 0.97423 | -0.49667 | 0 | 0
46 | 0.97293 | -0.52236 | 0 | 0
47 | 0.97302 | -0.52062 | 0 | 0
48 | 0.97289 | -0.52318 | 0.003486 | 0.00087367
49 | 0.97368 | -0.50751 | 0.0040209 | 0.0010077
50 | 0.97115 | -0.55758 | 0.039619 | 0.0099295
51 | 0.97406 | -0.50001 | 0.0058496 | 0.0014661
52 | 0.97398 | -0.50164 | 0.005947 | 0.0014905
53 | 0.97394 | -0.50245 | 0.0065151 | 0.0016328
54 | 0.97982 | -0.38714 | 0.0012869 | 0.00032253
55 | 0.97482 | -0.48513 | 0.0084704 | 0.0021229
56 | 0.98073 | -0.37024 | 0.013273 | 0.0033265
57 | 0.98432 | -0.30027 | 0.015444 | 0.0038707
58 | 0.98262 | -0.33339 | 0.016217 | 0.0040644
59 | 0.9899 | -0.19337 | 0.002286 | 0.00057292
60 | 0.99697 | -0.057621 | 0.003775 | 0.0009461
61 | 0.98824 | -0.2253 | 0.01404 | 0.0035188
62 | 0.98905 | -0.20979 | 0.001907 | 0.00047794
63 | 0.98905 | -0.20979 | 0.001601 | 0.00040124
64 | 0.97946 | -0.39525 | 0.018505 | 0.0046378
65 | 0.97998 | -0.38503 | 0.0069703 | 0.0017469
66 | 0.98301 | -0.32513 | 0.0068376 | 0.0017137
67 | 0.98259 | -0.3332 | 0.0068338 | 0.0017127
68 | 0.9833 | -0.31952 | 0.0050382 | 0.0012627
69 | 0.98152 | -0.35415 | 0.026989 | 0.0067642
70 | 0.98367 | -0.3122 | 0.0051489 | 0.0012904
71 | 0.98065 | -0.37093 | 0.0066248 | 0.0016603
72 | 0.98398 | -0.30624 | 0.0066984 | 0.0016788
73 | 0.98034 | -0.37694 | 0.0066248 | 0.0016603
74 | 0.98445 | -0.29719 | 0.0067004 | 0.0016793
75 | 0.98551 | -0.27658 | 0.0089273 | 0.0022374
76 | 0.97456 | -0.49032 | 0.0087879 | 0.0022025
77 | 0.98936 | -0.20378 | 0 | 0
78 | 0.98931 | -0.20478 | 0 | 0
79 | 0.9892 | -0.20688 | 0.0038224 | 0.000958
80 | 0.98906 | -0.20973 | 0.0021777 | 0.00054578
81 | 0.97477 | -0.48613 | 0.002807 | 0.0007035
82 | 0.97466 | -0.48824 | 0.0046993 | 0.0011778
83 | 0.98915 | -0.20792 | 0.0038225 | 0.000958
84 | 0.98905 | -0.20979 | 0.0017657 | 0.00044254
85 | 0.98254 | -0.33495 | 0.0049365 | 0.0012372
86 | 0.99879 | -0.022894 | 0 | 0
87 | 0.99939 | -0.011514 | 0.003777 | 0.0009466
88 | 1 | 0 | -0.54811 | -0.14026
89 | 0.99946 | -0.010099 | 0.0060225 | 0.0015094
90 | 0.99783 | -0.04104 | 0.005893 | 0.0014769
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0077639 | 0.001946 | -0.0077627 | -0.0019455 | 1.1838e-06 | 4.5904e-07 | 0.011664 | 0.011664 | 0.011664 | 0.99048 | -0.18108 | 0.99032 | -0.18428 | 3.2044
1 | -0.015762 | -0.0039505 | 0.015764 | 0.0039514 | 1.5282e-06 | 8.845e-07 | 0.02368 | 0.02368 | 0.02368 | 0.99048 | -0.18108 | 0.99059 | -0.17905 | 6.5054
2 | -0.015764 | -0.0039514 | 0.015772 | 0.003956 | 8.0589e-06 | 4.664e-06 | 0.02368 | 0.023679 | 0.02368 | 0.99059 | -0.17905 | 0.99114 | -0.16832 | 6.5054
3 | -0.37489 | -0.095355 | 0.37557 | 0.095784 | 0.00067083 | 0.00042867 | 0.56333 | 0.56333 | 0.56333 | 0.99114 | -0.16832 | 0.99308 | -0.13126 | 51.5873
4 | 0.24 | 0.061172 | -0.23941 | -0.060791 | 0.00059626 | 0.00038019 | 0.36068 | 0.36068 | 0.36068 | 0.99114 | -0.16832 | 0.98845 | -0.21994 | 33.0297
5 | 0.11912 | 0.030227 | -0.11893 | -0.030107 | 0.00018789 | 0.00012005 | 0.17897 | 0.17897 | 0.17897 | 0.99114 | -0.16832 | 0.98943 | -0.20117 | 49.1678
6 | -0.075583 | -0.019002 | 0.075605 | 0.019015 | 2.1241e-05 | 1.3539e-05 | 0.11406 | 0.11406 | 0.11406 | 0.9862 | -0.26499 | 0.9865 | -0.25911 | 31.3363
7 | 0.075583 | 0.019002 | -0.075543 | -0.018976 | 4.0146e-05 | 2.5588e-05 | 0.11406 | 0.11406 | 0.11406 | 0.9862 | -0.26499 | 0.98563 | -0.27612 | 31.3363
8 | -0.077323 | -0.019446 | 0.077346 | 0.01946 | 2.2408e-05 | 1.4285e-05 | 0.11666 | 0.11666 | 0.11666 | 0.9865 | -0.25911 | 0.98681 | -0.25305 | 32.0485
9 | 0.042861 | 0.010778 | -0.042765 | -0.010718 | 9.5798e-05 | 6.0535e-05 | 0.06472 | 0.06472 | 0.06472 | 0.98563 | -0.27612 | 0.98322 | -0.32303 | 17.7803
10 | 0.032683 | 0.0081975 | -0.032666 | -0.0081868 | 1.7121e-05 | 1.0719e-05 | 0.049344 | 0.049344 | 0.049344 | 0.98563 | -0.27612 | 0.98506 | -0.28712 | 13.5561
11 | -0.37914 | -0.096679 | 0.38061 | 0.097623 | 0.0014776 | 0.00094426 | 0.56869 | 0.56868 | 0.56869 | 0.99308 | -0.13126 | 0.99731 | -0.050876 | 52.0774
12 | 0.0035717 | 0.0008951 | -0.0035716 | -0.00089514 | 5.862e-08 | -3.3096e-08 | 0.0053518 | 0.0053518 | 0.0053518 | 0.99308 | -0.13126 | 0.99306 | -0.1316 | 1.4703
13 | 0.22615 | 0.05747 | -0.226 | -0.057377 | 0.00014528 | 9.2594e-05 | 0.34073 | 0.34073 | 0.34073 | 0.98845 | -0.21994 | 0.98776 | -0.23329 | 31.2023
14 | 0.013256 | 0.0033216 | -0.013254 | -0.0033208 | 1.4273e-06 | 7.9096e-07 | 0.019955 | 0.019955 | 0.019955 | 0.98845 | -0.21994 | 0.98834 | -0.2222 | 5.4822
15 | 0.11284 | 0.02858 | -0.11263 | -0.028446 | 0.00020864 | 0.00013328 | 0.1698 | 0.1698 | 0.1698 | 0.98943 | -0.20117 | 0.98744 | -0.23975 | 46.6494
16 | 0.0015267 | 0.00038217 | -0.0015267 | -0.00038229 | 2.1629e-08 | -1.2587e-07 | 0.0022992 | 0.0022993 | 0.0022993 | 0.98799 | -0.22894 | 0.98797 | -0.22924 | 0.63167
17 | -0.0015267 | -0.00038217 | 0.0015269 | 0.00038091 | 2.1657e-07 | -1.2609e-06 | 0.0022992 | 0.0022987 | 0.0022992 | 0.98799 | -0.22894 | 0.98814 | -0.22596 | 0.63166
18 | 0.0015267 | 0.00038229 | -0.0015266 | -0.00038261 | 5.4697e-08 | -3.1827e-07 | 0.0022993 | 0.0022994 | 0.0022994 | 0.98797 | -0.22924 | 0.98794 | -0.22999 | 0.6317
19 | -0.013252 | -0.0033195 | 0.013254 | 0.0033208 | 2.3751e-06 | 1.3163e-06 | 0.019955 | 0.019955 | 0.019955 | 0.98814 | -0.22596 | 0.98834 | -0.2222 | 5.4822
20 | 0.20746 | 0.052729 | -0.20713 | -0.052521 | 0.00032673 | 0.00020808 | 0.31279 | 0.31279 | 0.31279 | 0.98776 | -0.23329 | 0.98606 | -0.26605 | 28.6439
21 | 0.007468 | 0.0018717 | -0.0074677 | -0.0018716 | 2.9505e-07 | 1.1072e-07 | 0.011302 | 0.011302 | 0.011302 | 0.98322 | -0.32303 | 0.98318 | -0.32386 | 3.105
22 | 0.0017079 | 0.00042779 | -0.0017079 | -0.00042803 | 5.5322e-08 | -2.3833e-07 | 0.0025995 | 0.0025996 | 0.0025996 | 0.97764 | -0.42985 | 0.9776 | -0.43053 | 0.71417
23 | -0.10487 | -0.026436 | 0.10493 | 0.026472 | 5.6224e-05 | 3.5319e-05 | 0.15968 | 0.15968 | 0.15968 | 0.97764 | -0.42985 | 0.97821 | -0.41866 | 14.6226
24 | 0.10317 | 0.026009 | -0.10313 | -0.025988 | 3.2763e-05 | 2.0569e-05 | 0.15708 | 0.15708 | 0.15708 | 0.97764 | -0.42985 | 0.9773 | -0.43649 | 14.3846
25 | 0.009592 | 0.0024042 | -0.009591 | -0.0024037 | 1.0818e-06 | 5.2226e-07 | 0.014591 | 0.014591 | 0.014591 | 0.97821 | -0.41866 | 0.97809 | -0.42102 | 4.0086
26 | -0.11452 | -0.028876 | 0.11457 | 0.028908 | 5.0702e-05 | 3.1946e-05 | 0.17427 | 0.17427 | 0.17427 | 0.97821 | -0.41866 | 0.97868 | -0.40941 | 15.9588
27 | 0.097735 | 0.024635 | -0.097679 | -0.0246 | 5.6201e-05 | 3.5207e-05 | 0.14886 | 0.14886 | 0.14886 | 0.9773 | -0.43649 | 0.97668 | -0.44852 | 13.632
28 | -0.11457 | -0.028908 | 0.11467 | 0.028972 | 0.00010182 | 6.4156e-05 | 0.17427 | 0.17427 | 0.17427 | 0.97868 | -0.40941 | 0.97963 | -0.39087 | 15.9588
29 | -0.11596 | -0.029295 | 0.11598 | 0.029308 | 2.0736e-05 | 1.3069e-05 | 0.17622 | 0.17622 | 0.17622 | 0.97963 | -0.39087 | 0.97982 | -0.38714 | 16.1378
30 | -0.093971 | -0.023656 | 0.094009 | 0.02368 | 3.8205e-05 | 2.3892e-05 | 0.14327 | 0.14327 | 0.14327 | 0.97625 | -0.45702 | 0.97668 | -0.44852 | 13.12
31 | 0.093971 | 0.023656 | -0.093883 | -0.023601 | 8.793e-05 | 5.4991e-05 | 0.14327 | 0.14327 | 0.14327 | 0.97625 | -0.45702 | 0.97525 | -0.47661 | 13.12
32 | 0.017268 | 0.0043305 | -0.017261 | -0.0043263 | 7.0054e-06 | 4.1478e-06 | 0.026347 | 0.026348 | 0.026348 | 0.97525 | -0.47661 | 0.97482 | -0.48513 | 7.2383
33 | 0.076616 | 0.019271 | -0.076602 | -0.019263 | 1.316e-05 | 8.1342e-06 | 0.11692 | 0.11692 | 0.11692 | 0.97525 | -0.47661 | 0.97507 | -0.48021 | 10.7073
34 | 0.069639 | 0.017504 | -0.069571 | -0.017462 | 6.7151e-05 | 4.2773e-05 | 0.10544 | 0.10544 | 0.10544 | 0.98291 | -0.32779 | 0.98187 | -0.34801 | 28.9681
35 | -0.069639 | -0.017504 | 0.069656 | 0.017515 | 1.717e-05 | 1.0936e-05 | 0.10544 | 0.10544 | 0.10544 | 0.98291 | -0.32779 | 0.98317 | -0.32263 | 28.9681
36 | 0.038817 | 0.0097537 | -0.038775 | -0.0097278 | 4.1149e-05 | 2.5935e-05 | 0.058835 | 0.058835 | 0.058835 | 0.98187 | -0.34801 | 0.98073 | -0.37024 | 16.1636
37 | -0.090821 | -0.022824 | 0.090918 | 0.022885 | 9.7043e-05 | 6.1934e-05 | 0.13748 | 0.13748 | 0.13748 | 0.98317 | -0.32263 | 0.98432 | -0.30027 | 37.7687
38 | 0.021165 | 0.0053082 | -0.021154 | -0.0053016 | 1.0849e-05 | 6.5858e-06 | 0.032034 | 0.032034 | 0.032034 | 0.98317 | -0.32263 | 0.98262 | -0.33339 | 8.8007
39 | 0.024571 | 0.0061659 | -0.024565 | -0.0061625 | 5.4752e-06 | 3.3661e-06 | 0.036908 | 0.036908 | 0.036908 | 0.9907 | -0.17786 | 0.99046 | -0.18253 | 10.1394
40 | -0.024571 | -0.0061659 | 0.024576 | 0.0061692 | 5.4324e-06 | 3.3398e-06 | 0.036908 | 0.036907 | 0.036908 | 0.9907 | -0.17786 | 0.99094 | -0.17323 | 10.1394
41 | 0.017402 | 0.0043673 | -0.017393 | -0.004362 | 8.9883e-06 | 5.3015e-06 | 0.026146 | 0.026147 | 0.026147 | 0.99046 | -0.18253 | 0.9899 | -0.19337 | 7.1831
42 | -0.13713 | -0.034609 | 0.13759 | 0.034904 | 0.00046144 | 0.00029495 | 0.20601 | 0.20601 | 0.20601 | 0.99094 | -0.17323 | 0.99458 | -0.10323 | 56.5955
43 | 0.11256 | 0.02844 | -0.11243 | -0.028358 | 0.00012857 | 8.2131e-05 | 0.1691 | 0.1691 | 0.1691 | 0.99094 | -0.17323 | 0.9897 | -0.19708 | 46.4562
44 | -0.1388 | -0.035207 | 0.13911 | 0.035402 | 0.00030509 | 0.00019501 | 0.20782 | 0.20782 | 0.20782 | 0.99458 | -0.10323 | 0.99697 | -0.057621 | 57.093
45 | 0.10844 | 0.027358 | -0.10829 | -0.027264 | 0.00014631 | 9.3451e-05 | 0.1631 | 0.1631 | 0.1631 | 0.9897 | -0.19708 | 0.98824 | -0.2253 | 44.8076
46 | -0.094126 | -0.023666 | 0.094251 | 0.023745 | 0.00012488 | 7.9712e-05 | 0.14196 | 0.14196 | 0.14196 | 0.98681 | -0.25305 | 0.98824 | -0.2253 | 38.9999
47 | -0.38651 | -0.0991 | 0.38669 | 0.099218 | 0.00018445 | 0.00011787 | 0.57748 | 0.57748 | 0.57748 | 0.99731 | -0.050876 | 0.99783 | -0.04104 | 52.8825
48 | 0.10667 | 0.026953 | -0.10636 | -0.026756 | 0.00030852 | 0.00019705 | 0.16083 | 0.16083 | 0.16083 | 0.98744 | -0.23975 | 0.98432 | -0.30027 | 44.1828
49 | 0.20465 | 0.0519 | -0.20455 | -0.051834 | 0.00010355 | 6.5938e-05 | 0.30905 | 0.30905 | 0.30905 | 0.98606 | -0.26605 | 0.98551 | -0.27658 | 28.3014
50 | 0.0053002 | 0.0013284 | -0.0053002 | -0.0013284 | 2.3024e-08 | 2.6355e-09 | 0.0080217 | 0.0080217 | 0.0080217 | 0.98318 | -0.32386 | 0.98318 | -0.32395 | 2.2038
51 | 0.010987 | 0.0027541 | -0.010985 | -0.0027531 | 1.9194e-06 | 1.0014e-06 | 0.016767 | 0.016767 | 0.016767 | 0.97507 | -0.48021 | 0.97488 | -0.48388 | 4.6064
52 | 0.065615 | 0.016509 | -0.065564 | -0.016477 | 5.1571e-05 | 3.1468e-05 | 0.10016 | 0.10016 | 0.10016 | 0.97507 | -0.48021 | 0.97423 | -0.49667 | 9.1719
53 | 0.0075076 | 0.0018816 | -0.0075068 | -0.0018813 | 8.063e-07 | 3.119e-07 | 0.011459 | 0.011459 | 0.011459 | 0.97488 | -0.48388 | 0.97477 | -0.48613 | 3.1482
54 | 0.012368 | 0.0031002 | -0.012366 | -0.0030991 | 1.9678e-06 | 1.0763e-06 | 0.01889 | 0.01889 | 0.01889 | 0.97423 | -0.49667 | 0.97406 | -0.50001 | 5.1896
55 | 0.053196 | 0.013377 | -0.053184 | -0.013369 | 1.263e-05 | 7.5116e-06 | 0.081267 | 0.081267 | 0.081267 | 0.97423 | -0.49667 | 0.97398 | -0.50164 | 7.442
56 | -0.0034861 | -0.0008736 | 0.0034864 | 0.00087345 | 2.8768e-07 | -1.5106e-07 | 0.0053317 | 0.0053316 | 0.0053317 | 0.97293 | -0.52236 | 0.97302 | -0.52062 | 1.4648
57 | 0.0034861 | 0.0008736 | -0.003486 | -0.00087367 | 1.3639e-07 | -7.1592e-08 | 0.0053317 | 0.0053318 | 0.0053318 | 0.97293 | -0.52236 | 0.97289 | -0.52318 | 1.4648
58 | -0.043176 | -0.010847 | 0.043203 | 0.010864 | 2.7034e-05 | 1.648e-05 | 0.066037 | 0.066037 | 0.066037 | 0.97302 | -0.52062 | 0.97368 | -0.50751 | 9.071
59 | 0.039689 | 0.0099736 | -0.039619 | -0.0099295 | 6.9886e-05 | 4.41e-05 | 0.060705 | 0.060706 | 0.060706 | 0.97302 | -0.52062 | 0.97115 | -0.55758 | 16.6774
60 | -0.047223 | -0.011871 | 0.047237 | 0.011879 | 1.324e-05 | 7.715e-06 | 0.072182 | 0.072181 | 0.072182 | 0.97368 | -0.50751 | 0.97398 | -0.50164 | 6.61
61 | 0.0065159 | 0.0016331 | -0.0065151 | -0.0016328 | 7.5591e-07 | 2.3058e-07 | 0.009954 | 0.0099541 | 0.0099541 | 0.97406 | -0.50001 | 0.97394 | -0.50245 | 2.7346
62 | -0.11727 | -0.02963 | 0.11733 | 0.029667 | 5.7377e-05 | 3.6174e-05 | 0.17818 | 0.17818 | 0.17818 | 0.97982 | -0.38714 | 0.98034 | -0.37694 | 16.3168
63 | 0.0087901 | 0.0022035 | -0.0087879 | -0.0022025 | 2.1732e-06 | 9.8968e-07 | 0.013418 | 0.013418 | 0.013418 | 0.97482 | -0.48513 | 0.97456 | -0.49032 | 3.6863
64 | 0.025502 | 0.0064012 | -0.025485 | -0.0063901 | 1.7975e-05 | 1.11e-05 | 0.038697 | 0.038697 | 0.038697 | 0.98073 | -0.37024 | 0.97998 | -0.38503 | 10.6311
65 | 0.0049369 | 0.0012372 | -0.0049365 | -0.0012372 | 3.6591e-07 | 1.306e-08 | 0.0074761 | 0.0074762 | 0.0074762 | 0.98262 | -0.33339 | 0.98254 | -0.33495 | 2.0539
66 | 0.015107 | 0.0037891 | -0.0151 | -0.0037848 | 7.4907e-06 | 4.2964e-06 | 0.02271 | 0.02271 | 0.02271 | 0.9899 | -0.19337 | 0.98936 | -0.20378 | 6.2391
67 | -0.14288 | -0.036349 | 0.14312 | 0.036501 | 0.00023955 | 0.00015258 | 0.21345 | 0.21345 | 0.21345 | 0.99697 | -0.057621 | 0.99879 | -0.022894 | 29.3204
68 | -0.001907 | -0.00047794 | 0.001907 | 0.00047794 | 8.7003e-12 | -5.1867e-11 | 0.0028691 | 0.0028691 | 0.0028691 | 0.98905 | -0.20979 | 0.98905 | -0.20979 | 0.78821
69 | -0.003508 | -0.00087919 | 0.003508 | 0.00087919 | 2.3704e-10 | -1.4265e-10 | 0.0052777 | 0.0052777 | 0.0052777 | 0.98905 | -0.20979 | 0.98905 | -0.20979 | 1.4499
70 | -0.018505 | -0.0046378 | 0.018514 | 0.0046432 | 9.0082e-06 | 5.3825e-06 | 0.028114 | 0.028113 | 0.028114 | 0.97946 | -0.39525 | 0.97998 | -0.38503 | 7.7235
71 | 0.16476 | 0.041694 | -0.1647 | -0.041654 | 6.3774e-05 | 4.0504e-05 | 0.24955 | 0.24955 | 0.24955 | 0.98301 | -0.32513 | 0.98259 | -0.3332 | 22.8527
72 | -0.1716 | -0.043408 | 0.17165 | 0.043437 | 4.6189e-05 | 2.9353e-05 | 0.2599 | 0.2599 | 0.2599 | 0.98301 | -0.32513 | 0.9833 | -0.31952 | 23.8005
73 | 0.15787 | 0.039941 | -0.15771 | -0.03984 | 0.00015857 | 0.00010064 | 0.2392 | 0.2392 | 0.2392 | 0.98259 | -0.3332 | 0.98152 | -0.35415 | 21.905
74 | -0.17669 | -0.0447 | 0.17675 | 0.044739 | 6.207e-05 | 3.9461e-05 | 0.26753 | 0.26753 | 0.26753 | 0.9833 | -0.31952 | 0.98367 | -0.3122 | 24.4987
75 | 0.13072 | 0.033076 | -0.13061 | -0.03301 | 0.00010512 | 6.6466e-05 | 0.19829 | 0.19829 | 0.19829 | 0.98152 | -0.35415 | 0.98065 | -0.37093 | 18.1581
76 | -0.1819 | -0.04603 | 0.18195 | 0.046063 | 5.2044e-05 | 3.3099e-05 | 0.27531 | 0.27531 | 0.27531 | 0.98367 | -0.3122 | 0.98398 | -0.30624 | 25.212
77 | 0.12399 | 0.031349 | -0.12395 | -0.031327 | 3.5736e-05 | 2.2566e-05 | 0.18823 | 0.18823 | 0.18823 | 0.98065 | -0.37093 | 0.98034 | -0.37694 | 17.2376
78 | -0.18865 | -0.047742 | 0.18873 | 0.047794 | 8.2004e-05 | 5.2175e-05 | 0.28544 | 0.28544 | 0.28544 | 0.98398 | -0.30624 | 0.98445 | -0.29719 | 26.1396
79 | -0.19543 | -0.049473 | 0.19562 | 0.049596 | 0.00019362 | 0.00012324 | 0.29557 | 0.29557 | 0.29557 | 0.98445 | -0.29719 | 0.98551 | -0.27658 | 27.067
80 | 0.0151 | 0.0037848 | -0.015099 | -0.0037844 | 7.1717e-07 | 4.1138e-07 | 0.02271 | 0.02271 | 0.02271 | 0.98936 | -0.20378 | 0.98931 | -0.20478 | 6.2391
81 | 0.0076459 | 0.0019162 | -0.0076451 | -0.0019159 | 7.6638e-07 | 2.9209e-07 | 0.0115 | 0.0115 | 0.0115 | 0.98931 | -0.20478 | 0.9892 | -0.20688 | 3.1594
82 | 0.0074532 | 0.0018682 | -0.0074515 | -0.0018675 | 1.7572e-06 | 6.4598e-07 | 0.01121 | 0.011211 | 0.011211 | 0.98931 | -0.20478 | 0.98906 | -0.20973 | 3.0798
83 | 0.0038226 | 0.00095792 | -0.0038225 | -0.000958 | 1.9021e-07 | -7.5185e-08 | 0.0057502 | 0.0057503 | 0.0057503 | 0.9892 | -0.20688 | 0.98915 | -0.20792 | 1.5797
84 | 0.0052738 | 0.0013217 | -0.0052737 | -0.0013217 | 1.6107e-08 | 1.5521e-09 | 0.0079343 | 0.0079343 | 0.0079343 | 0.98906 | -0.20973 | 0.98905 | -0.20979 | 2.1797
85 | 0.0046998 | 0.0011778 | -0.0046993 | -0.0011778 | 4.7231e-07 | -2.7181e-09 | 0.0071743 | 0.0071744 | 0.0071744 | 0.97477 | -0.48613 | 0.97466 | -0.48824 | 1.971
86 | -0.14312 | -0.036501 | 0.1432 | 0.036551 | 7.8696e-05 | 4.9823e-05 | 0.21345 | 0.21345 | 0.21345 | 0.99879 | -0.022894 | 0.99939 | -0.011514 | 19.5469
87 | -0.14698 | -0.037498 | 0.14706 | 0.037549 | 8.1784e-05 | 5.1806e-05 | 0.21908 | 0.21908 | 0.21908 | 0.99939 | -0.011514 | 1 | 0 | 20.0619
88 | 0.39939 | 0.10271 | -0.3992 | -0.10258 | 0.00019594 | 0.00012522 | 0.59523 | 0.59523 | 0.59523 | 1 | 0 | 0.99946 | -0.010099 | 54.5083
89 | 0.39317 | 0.10107 | -0.39258 | -0.10069 | 0.00059013 | 0.00037714 | 0.58626 | 0.58626 | 0.58626 | 0.99946 | -0.010099 | 0.99783 | -0.04104 | 53.6872

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55413 | 0.14177

## res_load
| p_mw | q_mvar
0 | 0.0079981 | 0.0020045
1 | 0.0077627 | 0.0019455
2 | 0.0017188 | 0.00043077
3 | 0.0060955 | 0.0015277
4 | 0.011725 | 0.0029386
5 | 0.018546 | 0.0046481
6 | 0.0015266 | 0.00038261
7 | 0.035297 | 0.0088462
8 | 0.032666 | 0.0081868
9 | 0.0017079 | 0.00042803
10 | 0.0053981 | 0.0013529
11 | 0.0012871 | 0.00032257
12 | 0.0036699 | 0.00091976
13 | 0.009591 | 0.0024037
14 | 0.030755 | 0.0077079
15 | 0.0071629 | 0.0017952
16 | 0.0012103 | 0.00030332
17 | 0.0039912 | 0.0010003
18 | 0.01678 | 0.0042055
19 | 0.0058925 | 0.0014768
20 | 0.0035716 | 0.00089514
21 | 0.005958 | 0.0014932
22 | 0.0024786 | 0.0006212
23 | 0.0021675 | 0.00054323
24 | 0.0053002 | 0.0013284
25 | 0.0034775 | 0.00087155
26 | 0.003486 | 0.00087367
27 | 0.0040209 | 0.0010077
28 | 0.039619 | 0.0099295
29 | 0.0058496 | 0.0014661
30 | 0.005947 | 0.0014905
31 | 0.0065151 | 0.0016328
32 | 0.0012869 | 0.00032253
33 | 0.0084704 | 0.0021229
34 | 0.013273 | 0.0033265
35 | 0.015444 | 0.0038707
36 | 0.016217 | 0.0040644
37 | 0.002286 | 0.00057292
38 | 0.003775 | 0.0009461
39 | 0.01404 | 0.0035188
40 | 0.001907 | 0.00047794
41 | 0.001601 | 0.00040124
42 | 0.018505 | 0.0046378
43 | 0.0069703 | 0.0017469
44 | 0.0068376 | 0.0017137
45 | 0.0068338 | 0.0017127
46 | 0.0050382 | 0.0012627
47 | 0.026989 | 0.0067642
48 | 0.0051489 | 0.0012904
49 | 0.0066248 | 0.0016603
50 | 0.0066984 | 0.0016788
51 | 0.0066248 | 0.0016603
52 | 0.0067004 | 0.0016793
53 | 0.0089273 | 0.0022374
54 | 0.0087879 | 0.0022025
55 | 0.0038224 | 0.000958
56 | 0.0021777 | 0.00054578
57 | 0.002807 | 0.0007035
58 | 0.0046993 | 0.0011778
59 | 0.0038225 | 0.000958
60 | 0.0017657 | 0.00044254
61 | 0.0049365 | 0.0012372
62 | 0.003777 | 0.0009466
63 | 0.0060237 | 0.0015097
64 | 0.0060225 | 0.0015094
65 | 0.005893 | 0.0014769

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1