## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-754_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-754_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-754_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-754_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-754_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-754_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-754_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-754_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_261-754_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_261-754_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_261-754_0_4_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_261-754_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-754_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_261-754_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_261-754_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-754_0_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_261-754_0_4_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_261-754_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_261-754_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_261-754_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-754_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-754_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_261-754_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_261-754_0_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_261-754_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_261-754_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_261-754_0_4_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_261-754_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_261-754_0_4_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_261-754_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_261-754_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_261-754_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_261-754_0_4_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_261-754_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_261-754_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_261-754_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_261-754_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_261-754_0_4_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_261-754_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_261-754_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_261-754_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_261-754_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_261-754_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_261-754_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_261-754_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_261-754_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-754_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_261-754_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_261-754_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_261-754_0_4_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_261-754_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_261-754_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_261-754_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_261-754_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_261-754_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_261-754_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_261-754_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_261-754_0_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_261-754_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_261-754_0_4_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_261-754_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_261-754_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_261-754_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_261-754_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_261-754_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_261-754_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_261-754_0_4_node_76 | 0.4 | n |  | TRUE
67 | bus_MV_537_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-754_0_4_load_0 | 0 | 0.0093164 | 0.0023349 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-754_0_4_load_1 | 1 | 0.0089796 | 0.0022505 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-754_0_4_load_2 | 2 | 0.01627 | 0.0040777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-754_0_4_load_3 | 3 | 0.0091478 | 0.0022927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-754_0_4_load_5 | 5 | 0.012546 | 0.0031442 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-754_0_4_load_33 | 8 | 0.012507 | 0.0031344 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-754_0_4_load_65 | 9 | 0.0095165 | 0.0023851 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-754_0_4_load_60 | 13 | 0.0053938 | 0.0013518 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-754_0_4_load_38 | 15 | 0.01217 | 0.0030502 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-754_0_4_load_39 | 16 | 0.016585 | 0.0041566 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-754_0_4_load_58 | 18 | 0.0073495 | 0.001842 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-754_0_4_load_53 | 23 | 0.0047645 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-754_0_4_load_37 | 24 | 0.0094626 | 0.0023716 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-754_0_4_load_72 | 26 | 0.019818 | 0.0049668 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-754_0_4_load_54 | 28 | 0.0059807 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-754_0_4_load_67 | 29 | 0.0089052 | 0.0022319 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-754_0_4_load_57 | 32 | 0.017846 | 0.0044727 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-754_0_4_load_50 | 33 | 0.0099066 | 0.0024828 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-754_0_4_load_42 | 36 | 0.015217 | 0.0038136 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-754_0_4_load_59 | 37 | 0.0082489 | 0.0020674 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-754_0_4_load_40 | 38 | 0.010188 | 0.0025532 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-754_0_4_load_41 | 41 | 0.010113 | 0.0025346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-754_0_4_load_45 | 44 | 0.010471 | 0.0026242 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-754_0_4_load_43 | 45 | 0.010518 | 0.002636 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-754_0_4_load_46 | 46 | 0.0064177 | 0.0016084 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-754_0_4_load_51 | 47 | 0.0055373 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-754_0_4_load_48 | 48 | 0.0050561 | 0.0012672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-754_0_4_load_74 | 49 | 0.012949 | 0.0032453 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-754_0_4_load_64 | 50 | 0.0053893 | 0.0013507 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-754_0_4_load_62 | 51 | 0.0067917 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-754_0_4_load_61 | 52 | 0.009302 | 0.0023313 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-754_0_4_load_34 | 53 | 0.013531 | 0.0033911 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-754_0_4_load_52 | 54 | 0.0063184 | 0.0015835 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-754_0_4_load_35 | 55 | 0.0087437 | 0.0021914 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-754_0_4_load_55 | 56 | 0.0056557 | 0.0014174 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-754_0_4_load_56 | 58 | 0.0060961 | 0.0015278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-754_0_4_load_70 | 59 | 0.0032226 | 0.00080766 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-754_0_4_load_68 | 60 | 0.0047755 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-754_0_4_load_47 | 61 | 0.005845 | 0.0014649 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-754_0_4_load_49 | 62 | 0.0067219 | 0.0016847 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-754_0_4_load_69 | 63 | 0.0052104 | 0.0013058 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-754_0_4_load_73 | 64 | 0.01335 | 0.0033459 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-754_0_4_load_75 | 65 | 0.0067416 | 0.0016896 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-754_0_4_load_76 | 66 | 0.0070111 | 0.0017571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-754_0_4_line_0 |  | 0 | 1 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-754_0_4_line_1 |  | 0 | 2 | 0.028092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-754_0_4_line_2 |  | 1 | 3 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-754_0_4_line_3 |  | 2 | 4 | 0.0097644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-754_0_4_line_4 |  | 3 | 5 | 0.023148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-754_0_4_line_5 |  | 4 | 6 | 0.041929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-754_0_4_line_6 |  | 4 | 7 | 0.0088317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-754_0_4_line_7 |  | 5 | 8 | 0.013902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-754_0_4_line_8 |  | 6 | 9 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-754_0_4_line_9 |  | 6 | 10 | 0.006071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-754_0_4_line_10 |  | 7 | 18 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-754_0_4_line_11 |  | 7 | 19 | 0.001231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-754_0_4_line_12 |  | 9 | 49 | 0.025394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-754_0_4_line_13 |  | 10 | 50 | 0.025612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-754_0_4_line_14 |  | 10 | 51 | 0.025924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-754_0_4_line_15 |  | 11 | 12 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-754_0_4_line_16 |  | 11 | 13 | 0.013844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-754_0_4_line_17 |  | 12 | 37 | 0.017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-754_0_4_line_18 |  | 12 | 30 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-754_0_4_line_19 |  | 14 | 15 | 0.017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_261-754_0_4_line_20 |  | 14 | 16 | 0.032679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-754_0_4_line_21 |  | 14 | 17 | 0.005965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-754_0_4_line_22 |  | 15 | 52 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-754_0_4_line_23 |  | 17 | 53 | 0.0068843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-754_0_4_line_24 |  | 18 | 52 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-754_0_4_line_25 |  | 19 | 28 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-754_0_4_line_26 |  | 20 | 21 | 0.011545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-754_0_4_line_27 |  | 20 | 22 | 0.0077214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-754_0_4_line_28 |  | 20 | 23 | 0.0070441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-754_0_4_line_29 |  | 21 | 24 | 0.010997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-754_0_4_line_30 |  | 22 | 38 | 0.007118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-754_0_4_line_31 |  | 23 | 54 | 0.0082653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-754_0_4_line_32 |  | 24 | 55 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-754_0_4_line_33 |  | 25 | 26 | 0.025512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-754_0_4_line_34 |  | 25 | 27 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-754_0_4_line_35 |  | 27 | 29 | 0.023646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-754_0_4_line_36 |  | 28 | 56 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-754_0_4_line_37 |  | 29 | 57 | 0.022179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-754_0_4_line_38 |  | 30 | 31 | 0.030939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-754_0_4_line_39 |  | 30 | 32 | 0.01273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-754_0_4_line_40 |  | 31 | 33 | 0.0095768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-754_0_4_line_41 |  | 32 | 58 | 0.026991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-754_0_4_line_42 |  | 34 | 35 | 0.024202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-754_0_4_line_43 |  | 34 | 36 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-754_0_4_line_44 |  | 35 | 48 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-754_0_4_line_45 |  | 39 | 40 | 0.0074098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-754_0_4_line_46 |  | 39 | 41 | 0.0026958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-754_0_4_line_47 |  | 40 | 46 | 0.0013384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-754_0_4_line_48 |  | 40 | 47 | 0.010919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-754_0_4_line_49 |  | 42 | 43 | 0.005375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-754_0_4_line_50 |  | 42 | 44 | 0.0041236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-754_0_4_line_51 |  | 42 | 45 | 0.025908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-754_0_4_line_52 |  | 43 | 46 | 0.0089403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-754_0_4_line_53 |  | 43 | 61 | 0.0098737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-754_0_4_line_54 |  | 47 | 54 | 0.0085586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-754_0_4_line_55 |  | 48 | 62 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-754_0_4_line_56 |  | 49 | 64 | 0.027189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-754_0_4_line_57 |  | 50 | 57 | 0.014374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-754_0_4_line_58 |  | 53 | 55 | 0.013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-754_0_4_line_59 |  | 56 | 58 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-754_0_4_line_60 |  | 57 | 60 | 0.029659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-754_0_4_line_61 |  | 57 | 63 | 0.013686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-754_0_4_line_62 |  | 59 | 60 | 0.011241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-754_0_4_line_63 |  | 61 | 62 | 0.0084927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-754_0_4_line_64 |  | 64 | 65 | 0.0034735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-754_0_4_line_65 |  | 65 | 66 | 0.0099712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-754_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 67 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683299.8273 | 1248974.7193 | 2683305.1511 | 1248963.2023
1 | 2683299.8273 | 1248974.7193 | 2683288.04 | 1249000.2186
2 | 2683310.5037 | 1248951.6232 | 2683305.1511 | 1248963.2023
3 | 2683283.9429 | 1249009.0819 | 2683288.04 | 1249000.2186
4 | 2683310.5037 | 1248951.6232 | 2683320.2164 | 1248930.6118
5 | 2683313.2666 | 1249031.0324 | 2683281.5052 | 1249014.8853 | 2683282.5643 | 1249012.0647 | 2683283.9429 | 1249009.0819
6 | 2683276.1864 | 1249004.8587 | 2683280.1733 | 1249007.0274 | 2683283.9429 | 1249009.0819
7 | 2683320.2164 | 1248930.6118 | 2683326.0497 | 1248917.9926
8 | 2683313.2666 | 1249031.0324 | 2683320.1543 | 1249016.636
9 | 2683313.2666 | 1249031.0324 | 2683318.7419 | 1249033.689
10 | 2683276.1864 | 1249004.8587 | 2683287.3626 | 1248980.6969
11 | 2683275.6647 | 1249005.9744 | 2683276.1864 | 1249004.8587
12 | 2683320.1543 | 1249016.636 | 2683325.9173 | 1249004.5905 | 2683325.7799 | 1249000.9415 | 2683329.2164 | 1248993.2889
13 | 2683318.7419 | 1249033.689 | 2683341.7724 | 1249044.8956
14 | 2683318.7419 | 1249033.689 | 2683307.3454 | 1249056.9732
15 | 2683202.5663 | 1248972.5679 | 2683204.4946 | 1248972.3837 | 2683213.1928 | 1248977.3094
16 | 2683213.1928 | 1248977.3094 | 2683211.8763 | 1248991.0907
17 | 2683202.5663 | 1248972.5679 | 2683201.69 | 1248973.6675 | 2683198.6636 | 1248977.8393 | 2683193.8049 | 1248987.6513
18 | 2683209.4721 | 1248963.169 | 2683209.0846 | 1248963.8752 | 2683207.1927 | 1248967.3845 | 2683204.4946 | 1248972.3837 | 2683202.5663 | 1248972.5679
19 | 2683308.8195 | 1248934.3093 | 2683301.541 | 1248950.0446
20 | 2683308.8195 | 1248934.3093 | 2683280.4261 | 1248918.1318
21 | 2683311.3048 | 1248928.8847 | 2683308.8195 | 1248934.3093
22 | 2683301.541 | 1248950.0446 | 2683296.1563 | 1248961.6858
23 | 2683311.3048 | 1248928.8847 | 2683314.171 | 1248922.6254
24 | 2683287.3626 | 1248980.6969 | 2683296.1563 | 1248961.6858
25 | 2683275.6647 | 1249005.9744 | 2683273.2474 | 1249004.4171 | 2683270.4782 | 1249005.3344 | 2683264.6201 | 1249001.538
26 | 2683327.4633 | 1248880.7094 | 2683329.3239 | 1248882.1144 | 2683330.4718 | 1248883.1869 | 2683330.8597 | 1248884.6045 | 2683330.7277 | 1248886.4707 | 2683329.8627 | 1248888.371 | 2683328.9358 | 1248890.3817
27 | 2683327.4633 | 1248880.7094 | 2683328.7741 | 1248877.1808 | 2683330.1628 | 1248873.4753
28 | 2683327.4633 | 1248880.7094 | 2683321.1172 | 1248877.6523
29 | 2683328.9358 | 1248890.3817 | 2683324.3571 | 1248900.3806
30 | 2683330.1628 | 1248873.4753 | 2683323.6798 | 1248870.5366
31 | 2683313.6038 | 1248874.2079 | 2683321.02 | 1248877.6054 | 2683321.1172 | 1248877.6523
32 | 2683319.9359 | 1248910.0359 | 2683324.3571 | 1248900.3806
33 | 2683325.7763 | 1249110.189 | 2683302.8913 | 1249098.9127
34 | 2683325.7763 | 1249110.189 | 2683334.7405 | 1249092.4352
35 | 2683334.7405 | 1249092.4352 | 2683345.0386 | 1249071.15
36 | 2683264.6201 | 1249001.538 | 2683251.1489 | 1248992.808
37 | 2683354.6979 | 1249051.1852 | 2683345.0386 | 1249071.15
38 | 2683209.4721 | 1248963.169 | 2683207.1006 | 1248959.9666 | 2683218.5743 | 1248935.5763
39 | 2683209.4721 | 1248963.169 | 2683210.8734 | 1248963.9448 | 2683220.2074 | 1248970.0035
40 | 2683218.5743 | 1248935.5763 | 2683222.8771 | 1248927.0205
41 | 2683220.2074 | 1248970.0035 | 2683242.8474 | 1248984.6993
42 | 2683238.4211 | 1248898.4163 | 2683234.0783 | 1248895.7644 | 2683232.1988 | 1248894.6261 | 2683231.8281 | 1248888.761 | 2683230.1355 | 1248885.6127 | 2683227.0235 | 1248880.821 | 2683226.3894 | 1248879.1887
43 | 2683226.3894 | 1248879.1887 | 2683230.1041 | 1248867.9633
44 | 2683238.4211 | 1248898.4163 | 2683240.0928 | 1248898.2174 | 2683245.6243 | 1248897.9615 | 2683253.2627 | 1248896.0896 | 2683260.111 | 1248894.0175 | 2683261.6195 | 1248893.1914
45 | 2683295.8283 | 1248866.2542 | 2683297.5308 | 1248862.7978 | 2683299.1011 | 1248859.6064
46 | 2683299.1011 | 1248859.6064 | 2683301.5323 | 1248860.7711
47 | 2683295.8283 | 1248866.2542 | 2683294.4928 | 1248866.1659
48 | 2683295.8283 | 1248866.2542 | 2683298.8849 | 1248867.4647 | 2683305.8229 | 1248870.6432
49 | 2683286.4842 | 1248869.1251 | 2683282.0027 | 1248866.1377
50 | 2683282.0027 | 1248866.1377 | 2683278.5762 | 1248863.8434
51 | 2683282.0027 | 1248866.1377 | 2683278.7464 | 1248871.6182 | 2683270.9519 | 1248881.9053 | 2683265.6223 | 1248885.8433
52 | 2683286.4842 | 1248869.1251 | 2683287.9334 | 1248867.5665 | 2683289.8184 | 1248866.7034 | 2683293.0519 | 1248866.0706 | 2683294.4928 | 1248866.1659
53 | 2683286.4842 | 1248869.1251 | 2683280.5305 | 1248877.0018
54 | 2683305.8229 | 1248870.6432 | 2683313.6038 | 1248874.2079
55 | 2683261.6195 | 1248893.1914 | 2683266.7624 | 1248890.3749 | 2683272.9826 | 1248885.7144 | 2683275.1124 | 1248883.5219
56 | 2683337.0247 | 1248968.9639 | 2683330.5953 | 1248980.7164 | 2683332.7415 | 1248985.4389 | 2683329.2164 | 1248993.2889
57 | 2683354.6979 | 1249051.1852 | 2683341.7724 | 1249044.8956
58 | 2683319.9359 | 1248910.0359 | 2683314.171 | 1248922.6254
59 | 2683242.8474 | 1248984.6993 | 2683246.3821 | 1248986.9936 | 2683246.5911 | 1248989.8542 | 2683251.1489 | 1248992.808
60 | 2683354.6979 | 1249051.1852 | 2683369.4786 | 1249025.472
61 | 2683354.6979 | 1249051.1852 | 2683365.3549 | 1249059.7722
62 | 2683369.4786 | 1249025.472 | 2683375.0806 | 1249015.7265
63 | 2683275.1124 | 1248883.5219 | 2683277.3196 | 1248881.2498 | 2683280.5305 | 1248877.0018
64 | 2683337.0247 | 1248968.9639 | 2683338.6917 | 1248965.9166
65 | 2683338.6917 | 1248965.9166 | 2683343.4773 | 1248957.1689

## bus_geodata
| x | y | coords
0 | 2683299.8273 | 1248974.7193
1 | 2683305.1511 | 1248963.2023
2 | 2683288.04 | 1249000.2186
3 | 2683310.5037 | 1248951.6232
4 | 2683283.9429 | 1249009.0819
5 | 2683320.2164 | 1248930.6118
6 | 2683313.2666 | 1249031.0324
7 | 2683276.1864 | 1249004.8587
8 | 2683326.0497 | 1248917.9926
9 | 2683320.1543 | 1249016.636
10 | 2683318.7419 | 1249033.689
11 | 2683213.1928 | 1248977.3094
12 | 2683202.5663 | 1248972.5679
13 | 2683211.8763 | 1248991.0907
14 | 2683308.8195 | 1248934.3093
15 | 2683301.541 | 1248950.0446
16 | 2683280.4261 | 1248918.1318
17 | 2683311.3048 | 1248928.8847
18 | 2683287.3626 | 1248980.6969
19 | 2683275.6647 | 1249005.9744
20 | 2683327.4633 | 1248880.7094
21 | 2683328.9358 | 1248890.3817
22 | 2683330.1628 | 1248873.4753
23 | 2683321.1172 | 1248877.6523
24 | 2683324.3571 | 1248900.3806
25 | 2683325.7763 | 1249110.189
26 | 2683302.8913 | 1249098.9127
27 | 2683334.7405 | 1249092.4352
28 | 2683264.6201 | 1249001.538
29 | 2683345.0386 | 1249071.15
30 | 2683209.4721 | 1248963.169
31 | 2683218.5743 | 1248935.5763
32 | 2683220.2074 | 1248970.0035
33 | 2683222.8771 | 1248927.0205
34 | 2683226.3894 | 1248879.1887
35 | 2683238.4211 | 1248898.4163
36 | 2683230.1041 | 1248867.9633
37 | 2683193.8049 | 1248987.6513
38 | 2683323.6798 | 1248870.5366
39 | 2683299.1011 | 1248859.6064
40 | 2683295.8283 | 1248866.2542
41 | 2683301.5323 | 1248860.7711
42 | 2683282.0027 | 1248866.1377
43 | 2683286.4842 | 1248869.1251
44 | 2683278.5762 | 1248863.8434
45 | 2683265.6223 | 1248885.8433
46 | 2683294.4928 | 1248866.1659
47 | 2683305.8229 | 1248870.6432
48 | 2683261.6195 | 1248893.1914
49 | 2683329.2164 | 1248993.2889
50 | 2683341.7724 | 1249044.8956
51 | 2683307.3454 | 1249056.9732
52 | 2683296.1563 | 1248961.6858
53 | 2683314.171 | 1248922.6254
54 | 2683313.6038 | 1248874.2079
55 | 2683319.9359 | 1248910.0359
56 | 2683251.1489 | 1248992.808
57 | 2683354.6979 | 1249051.1852
58 | 2683242.8474 | 1248984.6993
59 | 2683375.0806 | 1249015.7265
60 | 2683369.4786 | 1249025.472
61 | 2683280.5305 | 1248877.0018
62 | 2683275.1124 | 1248883.5219
63 | 2683365.3549 | 1249059.7722
64 | 2683337.0247 | 1248968.9639
65 | 2683338.6917 | 1248965.9166
66 | 2683343.4773 | 1248957.1689
67 | 2683308.8195 | 1248934.3093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99075 | -0.17742 | 0.0093164 | 0.0023349
1 | 0.99025 | -0.18715 | 0.0089796 | 0.0022505
2 | 0.9921 | -0.15127 | 0.01627 | 0.0040777
3 | 0.98985 | -0.19491 | 0.0091478 | 0.0022927
4 | 0.99272 | -0.13939 | 0 | 0
5 | 0.98932 | -0.20523 | 0.012546 | 0.0031442
6 | 0.98872 | -0.21659 | 0 | 0
7 | 0.99342 | -0.12593 | 0 | 0
8 | 0.98916 | -0.20833 | 0.012507 | 0.0031344
9 | 0.98799 | -0.23071 | 0.0095165 | 0.0023851
10 | 0.98842 | -0.22245 | 0 | 0
11 | 0.98982 | -0.19553 | 0 | 0
12 | 0.98988 | -0.19438 | 0 | 0
13 | 0.98975 | -0.19686 | 0.0053938 | 0.0013518
14 | 0.99885 | -0.022008 | 0 | 0
15 | 1 | 0 | -0.39886 | -0.1009
16 | 0.99835 | -0.031481 | 0.016585 | 0.0041566
17 | 0.99814 | -0.035451 | 0 | 0
18 | 0.99624 | -0.071636 | 0.0073495 | 0.001842
19 | 0.99335 | -0.12721 | 0 | 0
20 | 0.99283 | -0.1376 | 0 | 0
21 | 0.99385 | -0.11779 | 0 | 0
22 | 0.99275 | -0.13899 | 0 | 0
23 | 0.99226 | -0.14844 | 0.0047645 | 0.0011941
24 | 0.99483 | -0.098948 | 0.0094626 | 0.0023716
25 | 0.98537 | -0.28177 | 0 | 0
26 | 0.9849 | -0.29085 | 0.019818 | 0.0049668
27 | 0.98573 | -0.2747 | 0 | 0
28 | 0.99266 | -0.14056 | 0.0059807 | 0.0014989
29 | 0.98616 | -0.2663 | 0.0089052 | 0.0022319
30 | 0.99003 | -0.19137 | 0 | 0
31 | 0.98975 | -0.19682 | 0 | 0
32 | 0.99031 | -0.18604 | 0.017846 | 0.0044727
33 | 0.98967 | -0.19851 | 0.0099066 | 0.0024828
34 | 0.98834 | -0.22459 | 0 | 0
35 | 0.98868 | -0.21802 | 0 | 0
36 | 0.98817 | -0.2278 | 0.015217 | 0.0038136
37 | 0.98975 | -0.19695 | 0.0082489 | 0.0020674
38 | 0.99269 | -0.14028 | 0.010188 | 0.0025532
39 | 0.99027 | -0.18698 | 0 | 0
40 | 0.99034 | -0.18565 | 0 | 0
41 | 0.99025 | -0.18746 | 0.010113 | 0.0025346
42 | 0.98972 | -0.19764 | 0 | 0
43 | 0.98983 | -0.19564 | 0 | 0
44 | 0.98968 | -0.19841 | 0.010471 | 0.0026242
45 | 0.98947 | -0.20249 | 0.010518 | 0.002636
46 | 0.99027 | -0.18708 | 0.0064177 | 0.0016084
47 | 0.99105 | -0.172 | 0.0055373 | 0.0013878
48 | 0.98901 | -0.21152 | 0.0050561 | 0.0012672
49 | 0.98706 | -0.24888 | 0.012949 | 0.0032453
50 | 0.9873 | -0.2441 | 0.0053893 | 0.0013507
51 | 0.98826 | -0.22559 | 0.0067917 | 0.0017022
52 | 0.99854 | -0.027789 | 0.009302 | 0.0023313
53 | 0.99733 | -0.050989 | 0.013531 | 0.0033911
54 | 0.99164 | -0.16048 | 0.0063184 | 0.0015835
55 | 0.99587 | -0.079026 | 0.0087437 | 0.0021914
56 | 0.99188 | -0.15567 | 0.0056557 | 0.0014174
57 | 0.98675 | -0.25488 | 0 | 0
58 | 0.99133 | -0.1662 | 0.0060961 | 0.0015278
59 | 0.9865 | -0.25978 | 0.0032226 | 0.00080766
60 | 0.98653 | -0.25913 | 0.0047755 | 0.0011969
61 | 0.98953 | -0.20141 | 0.005845 | 0.0014649
62 | 0.98932 | -0.20549 | 0.0067219 | 0.0016847
63 | 0.98668 | -0.25616 | 0.0052104 | 0.0013058
64 | 0.98638 | -0.26208 | 0.01335 | 0.0033459
65 | 0.98634 | -0.26293 | 0.0067416 | 0.0016896
66 | 0.98627 | -0.26418 | 0.0070111 | 0.0017571
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.043226 | 0.010851 | -0.043206 | -0.010838 | 2.0058e-05 | 1.2674e-05 | 0.064928 | 0.064928 | 0.064928 | 0.99075 | -0.17742 | 0.99025 | -0.18715 | 17.8375
1 | -0.052543 | -0.013186 | 0.052609 | 0.013228 | 6.5614e-05 | 4.1631e-05 | 0.078921 | 0.078921 | 0.078921 | 0.99075 | -0.17742 | 0.9921 | -0.15127 | 21.6815
2 | 0.034227 | 0.0085879 | -0.034214 | -0.0085799 | 1.2656e-05 | 7.9355e-06 | 0.051435 | 0.051435 | 0.051435 | 0.99025 | -0.18715 | 0.98985 | -0.19491 | 14.1305
3 | -0.068879 | -0.017305 | 0.068918 | 0.01733 | 3.9091e-05 | 2.4892e-05 | 0.10332 | 0.10332 | 0.10332 | 0.9921 | -0.15127 | 0.99272 | -0.13939 | 28.3857
4 | 0.025066 | 0.0062873 | -0.025054 | -0.0062797 | 1.2327e-05 | 7.5916e-06 | 0.037683 | 0.037684 | 0.037684 | 0.98985 | -0.19491 | 0.98932 | -0.20523 | 10.3526
5 | 0.10428 | 0.026363 | -0.10389 | -0.026118 | 0.00038456 | 0.00024558 | 0.15639 | 0.15639 | 0.15639 | 0.99272 | -0.13939 | 0.98872 | -0.21659 | 42.964
6 | -0.1732 | -0.043694 | 0.17331 | 0.043765 | 0.00011169 | 7.1256e-05 | 0.25971 | 0.25971 | 0.25971 | 0.99272 | -0.13939 | 0.99342 | -0.12593 | 35.6748
7 | 0.012508 | 0.0031354 | -0.012507 | -0.0031344 | 1.8453e-06 | 1.0025e-06 | 0.018814 | 0.018814 | 0.018814 | 0.98932 | -0.20523 | 0.98916 | -0.20833 | 5.1686
8 | 0.049654 | 0.012477 | -0.049621 | -0.012456 | 3.3432e-05 | 2.1192e-05 | 0.074741 | 0.074741 | 0.074741 | 0.98872 | -0.21659 | 0.98799 | -0.23071 | 20.5333
9 | 0.05424 | 0.013641 | -0.054225 | -0.013631 | 1.5177e-05 | 9.6353e-06 | 0.081648 | 0.081648 | 0.081648 | 0.98872 | -0.21659 | 0.98842 | -0.22245 | 22.4307
10 | -0.23259 | -0.058681 | 0.2332 | 0.059069 | 0.00060635 | 0.00038737 | 0.34853 | 0.34853 | 0.34853 | 0.99342 | -0.12593 | 0.99624 | -0.071636 | 47.8755
11 | 0.059284 | 0.014916 | -0.05928 | -0.014914 | 3.6418e-06 | 2.3148e-06 | 0.088821 | 0.088821 | 0.088821 | 0.99342 | -0.12593 | 0.99335 | -0.12721 | 24.4014
12 | 0.040105 | 0.010071 | -0.04007 | -0.010049 | 3.475e-05 | 2.1915e-05 | 0.060409 | 0.060409 | 0.060409 | 0.98799 | -0.23071 | 0.98706 | -0.24888 | 16.5958
13 | 0.047432 | 0.011929 | -0.047383 | -0.011898 | 4.8994e-05 | 3.1028e-05 | 0.071422 | 0.071422 | 0.071422 | 0.98842 | -0.22245 | 0.9873 | -0.2441 | 19.6214
14 | 0.0067927 | 0.0017025 | -0.0067917 | -0.0017022 | 1.0166e-06 | 3.1841e-07 | 0.010226 | 0.010226 | 0.010226 | 0.98842 | -0.22245 | 0.98826 | -0.22559 | 2.8094
15 | -0.0053942 | -0.0013519 | 0.0053945 | 0.0013519 | 2.9426e-07 | 3.4937e-08 | 0.0081092 | 0.0081091 | 0.0081092 | 0.98982 | -0.19553 | 0.98988 | -0.19438 | 2.2278
16 | 0.0053942 | 0.0013519 | -0.0053938 | -0.0013518 | 3.4139e-07 | 4.0557e-08 | 0.0081092 | 0.0081092 | 0.0081092 | 0.98982 | -0.19553 | 0.98975 | -0.19686 | 2.2278
17 | 0.0082499 | 0.0020678 | -0.0082489 | -0.0020674 | 1.0098e-06 | 4.2124e-07 | 0.012402 | 0.012402 | 0.012402 | 0.98988 | -0.19438 | 0.98975 | -0.19695 | 3.407
18 | -0.013644 | -0.0034197 | 0.013646 | 0.0034208 | 1.9578e-06 | 1.0934e-06 | 0.020511 | 0.020511 | 0.020511 | 0.98988 | -0.19438 | 0.99003 | -0.19137 | 5.6348
19 | -0.14636 | -0.037017 | 0.14651 | 0.037115 | 0.00015471 | 9.8557e-05 | 0.21815 | 0.21815 | 0.21815 | 0.99885 | -0.022008 | 1 | 0 | 29.9663
20 | 0.016592 | 0.0041609 | -0.016585 | -0.0041566 | 7.488e-06 | 4.3648e-06 | 0.024719 | 0.024719 | 0.024719 | 0.99885 | -0.022008 | 0.99835 | -0.031481 | 6.791
21 | 0.12977 | 0.032856 | -0.12968 | -0.032802 | 8.3698e-05 | 5.3489e-05 | 0.19344 | 0.19344 | 0.19344 | 0.99885 | -0.022008 | 0.99814 | -0.035451 | 53.1417
22 | 0.25069 | 0.06378 | -0.25036 | -0.063566 | 0.00033526 | 0.00021423 | 0.37337 | 0.37337 | 0.37337 | 1 | 0 | 0.99854 | -0.027789 | 51.2874
23 | 0.12968 | 0.032802 | -0.12959 | -0.03274 | 9.6597e-05 | 6.1732e-05 | 0.19344 | 0.19344 | 0.19344 | 0.99814 | -0.035451 | 0.99733 | -0.050989 | 53.1417
24 | -0.24055 | -0.060911 | 0.24106 | 0.061235 | 0.00050761 | 0.00032433 | 0.35951 | 0.35951 | 0.35951 | 0.99624 | -0.071636 | 0.99854 | -0.027789 | 49.3833
25 | 0.05928 | 0.014914 | -0.059243 | -0.01489 | 3.779e-05 | 2.402e-05 | 0.088821 | 0.088821 | 0.088821 | 0.99335 | -0.12721 | 0.99266 | -0.14056 | 24.4014
26 | -0.097412 | -0.024507 | 0.097504 | 0.024565 | 9.2323e-05 | 5.8937e-05 | 0.14603 | 0.14603 | 0.14603 | 0.99283 | -0.1376 | 0.99385 | -0.11779 | 40.1182
27 | 0.010189 | 0.0025539 | -0.010188 | -0.0025535 | 6.7523e-07 | 3.323e-07 | 0.015271 | 0.015271 | 0.015271 | 0.99283 | -0.1376 | 0.99275 | -0.13899 | 4.1953
28 | 0.087223 | 0.021953 | -0.087178 | -0.021924 | 4.5165e-05 | 2.8815e-05 | 0.13076 | 0.13076 | 0.13076 | 0.99283 | -0.1376 | 0.99226 | -0.14844 | 35.9229
29 | -0.097504 | -0.024565 | 0.097592 | 0.024622 | 8.7944e-05 | 5.6141e-05 | 0.14603 | 0.14603 | 0.14603 | 0.99385 | -0.11779 | 0.99483 | -0.098948 | 40.1182
30 | 0.010188 | 0.0025535 | -0.010188 | -0.0025532 | 6.2247e-07 | 3.0635e-07 | 0.015271 | 0.015271 | 0.015271 | 0.99275 | -0.13899 | 0.99269 | -0.14028 | 4.1953
31 | 0.082413 | 0.02073 | -0.082366 | -0.0207 | 4.7362e-05 | 3.0205e-05 | 0.12361 | 0.12361 | 0.12361 | 0.99226 | -0.14844 | 0.99164 | -0.16048 | 33.96
32 | -0.10705 | -0.026993 | 0.10716 | 0.027058 | 0.00010218 | 6.5258e-05 | 0.16018 | 0.16018 | 0.16018 | 0.99483 | -0.098948 | 0.99587 | -0.079026 | 44.0065
33 | 0.019826 | 0.004972 | -0.019818 | -0.0049668 | 8.5767e-06 | 5.1643e-06 | 0.029941 | 0.029941 | 0.029941 | 0.98537 | -0.28177 | 0.9849 | -0.29085 | 8.2256
34 | -0.019826 | -0.004972 | 0.019833 | 0.004976 | 6.6829e-06 | 4.0237e-06 | 0.029941 | 0.029941 | 0.029941 | 0.98537 | -0.28177 | 0.98573 | -0.2747 | 8.2256
35 | -0.019833 | -0.004976 | 0.019841 | 0.0049808 | 7.9491e-06 | 4.7858e-06 | 0.029941 | 0.029941 | 0.029941 | 0.98573 | -0.2747 | 0.98616 | -0.2663 | 8.2256
36 | 0.053262 | 0.013391 | -0.053224 | -0.013367 | 3.8388e-05 | 2.4361e-05 | 0.079856 | 0.079856 | 0.079856 | 0.99266 | -0.14056 | 0.99188 | -0.15567 | 21.9385
37 | -0.028746 | -0.0072127 | 0.028762 | 0.0072224 | 1.565e-05 | 9.7327e-06 | 0.043378 | 0.043378 | 0.043378 | 0.98616 | -0.2663 | 0.98675 | -0.25488 | 11.9171
38 | 0.00991 | 0.0024845 | -0.0099074 | -0.0024832 | 2.5741e-06 | 1.2497e-06 | 0.014895 | 0.014895 | 0.014895 | 0.99003 | -0.19137 | 0.98975 | -0.19682 | 4.0921
39 | -0.023556 | -0.0059052 | 0.023562 | 0.0059089 | 5.984e-06 | 3.666e-06 | 0.035406 | 0.035405 | 0.035406 | 0.99003 | -0.19137 | 0.99031 | -0.18604 | 9.7268
40 | 0.0099074 | 0.0024832 | -0.0099066 | -0.0024828 | 7.9678e-07 | 3.8687e-07 | 0.014895 | 0.014895 | 0.014895 | 0.98975 | -0.19682 | 0.98967 | -0.19851 | 4.0921
41 | -0.041409 | -0.010382 | 0.041448 | 0.010406 | 3.9186e-05 | 2.4731e-05 | 0.062221 | 0.062221 | 0.062221 | 0.99031 | -0.18604 | 0.99133 | -0.1662 | 17.0937
42 | -0.015219 | -0.003815 | 0.015224 | 0.0038177 | 4.7649e-06 | 2.7393e-06 | 0.022913 | 0.022913 | 0.022913 | 0.98834 | -0.22459 | 0.98868 | -0.21802 | 6.2949
43 | 0.015219 | 0.003815 | -0.015217 | -0.0038136 | 2.328e-06 | 1.3384e-06 | 0.022913 | 0.022914 | 0.022914 | 0.98834 | -0.22459 | 0.98817 | -0.2278 | 6.2949
44 | -0.015224 | -0.0038177 | 0.015228 | 0.0038204 | 4.7173e-06 | 2.7117e-06 | 0.022913 | 0.022913 | 0.022913 | 0.98868 | -0.21802 | 0.98901 | -0.21152 | 6.2949
45 | -0.010113 | -0.0025347 | 0.010114 | 0.002535 | 6.417e-07 | 3.1535e-07 | 0.015197 | 0.015197 | 0.015197 | 0.99027 | -0.18698 | 0.99034 | -0.18565 | 4.1749
46 | 0.010113 | 0.0025347 | -0.010113 | -0.0025346 | 2.3346e-07 | 1.1474e-07 | 0.015197 | 0.015197 | 0.015197 | 0.99027 | -0.18698 | 0.99025 | -0.18746 | 4.1749
47 | 0.060308 | 0.015137 | -0.060304 | -0.015135 | 4.122e-06 | 2.6209e-06 | 0.090623 | 0.090623 | 0.090623 | 0.99034 | -0.18565 | 0.99027 | -0.18708 | 24.8964
48 | -0.070422 | -0.017672 | 0.070468 | 0.017702 | 4.585e-05 | 2.9204e-05 | 0.10582 | 0.10582 | 0.10582 | 0.99034 | -0.18565 | 0.99105 | -0.172 | 29.0713
49 | -0.020991 | -0.0052616 | 0.020993 | 0.0052628 | 2.0076e-06 | 1.2158e-06 | 0.03156 | 0.03156 | 0.03156 | 0.98972 | -0.19764 | 0.98983 | -0.19564 | 8.6702
50 | 0.010471 | 0.0026244 | -0.010471 | -0.0026242 | 3.8324e-07 | 1.9228e-07 | 0.015743 | 0.015743 | 0.015743 | 0.98972 | -0.19764 | 0.98968 | -0.19841 | 4.3249
51 | 0.01052 | 0.0026372 | -0.010518 | -0.002636 | 2.4306e-06 | 1.2227e-06 | 0.015817 | 0.015817 | 0.015817 | 0.98972 | -0.19764 | 0.98947 | -0.20249 | 4.3453
52 | -0.053864 | -0.013512 | 0.053886 | 0.013526 | 2.1985e-05 | 1.3956e-05 | 0.080979 | 0.080979 | 0.080979 | 0.98983 | -0.19564 | 0.99027 | -0.18708 | 22.2471
53 | 0.032871 | 0.0082496 | -0.032862 | -0.0082439 | 9.0431e-06 | 5.6607e-06 | 0.04942 | 0.04942 | 0.04942 | 0.98983 | -0.19564 | 0.98953 | -0.20141 | 13.5769
54 | -0.076005 | -0.019089 | 0.076047 | 0.019116 | 4.1808e-05 | 2.6647e-05 | 0.11413 | 0.11413 | 0.11413 | 0.99105 | -0.172 | 0.99164 | -0.16048 | 31.3554
55 | -0.020284 | -0.0050876 | 0.02029 | 0.0050911 | 5.8309e-06 | 3.5175e-06 | 0.03052 | 0.03052 | 0.03052 | 0.98901 | -0.21152 | 0.98932 | -0.20549 | 8.3847
56 | 0.027121 | 0.0068037 | -0.027104 | -0.0067931 | 1.7046e-05 | 1.0562e-05 | 0.040888 | 0.040888 | 0.040888 | 0.98706 | -0.24888 | 0.98638 | -0.26208 | 11.233
57 | 0.041994 | 0.010547 | -0.041972 | -0.010533 | 2.1599e-05 | 1.3639e-05 | 0.063299 | 0.0633 | 0.0633 | 0.9873 | -0.2441 | 0.98675 | -0.25488 | 17.39
58 | 0.11606 | 0.029349 | -0.1159 | -0.02925 | 0.00015585 | 9.9565e-05 | 0.17325 | 0.17325 | 0.17325 | 0.99733 | -0.050989 | 0.99587 | -0.079026 | 47.5957
59 | 0.047568 | 0.011949 | -0.047544 | -0.011934 | 2.3903e-05 | 1.5137e-05 | 0.071371 | 0.071371 | 0.071371 | 0.99188 | -0.15567 | 0.99133 | -0.1662 | 19.6075
60 | 0.0079998 | 0.0020051 | -0.0079982 | -0.0020044 | 1.6187e-06 | 6.5717e-07 | 0.012064 | 0.012064 | 0.012064 | 0.98675 | -0.25488 | 0.98653 | -0.25913 | 3.3143
61 | 0.0052107 | 0.0013059 | -0.0052104 | -0.0013058 | 3.1689e-07 | 2.7995e-08 | 0.0078577 | 0.0078578 | 0.0078578 | 0.98675 | -0.25488 | 0.98668 | -0.25616 | 2.1587
62 | -0.0032226 | -0.00080766 | 0.0032227 | 0.00080758 | 9.9601e-08 | -7.9777e-08 | 0.0048609 | 0.0048609 | 0.0048609 | 0.9865 | -0.25978 | 0.98653 | -0.25913 | 1.3354
63 | 0.027017 | 0.006779 | -0.027012 | -0.0067758 | 5.2575e-06 | 3.2557e-06 | 0.04063 | 0.040631 | 0.040631 | 0.98953 | -0.20141 | 0.98932 | -0.20549 | 11.1622
64 | 0.013754 | 0.0034472 | -0.013753 | -0.0034469 | 5.6074e-07 | 3.1454e-07 | 0.020748 | 0.020748 | 0.020748 | 0.98638 | -0.26208 | 0.98634 | -0.26293 | 5.7001
65 | 0.0070115 | 0.0017573 | -0.0070111 | -0.0017571 | 4.1838e-07 | 1.4051e-07 | 0.010578 | 0.010578 | 0.010578 | 0.98634 | -0.26293 | 0.98627 | -0.26418 | 2.906

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41103 | 0.10395

## res_load
| p_mw | q_mvar
0 | 0.0093164 | 0.0023349
1 | 0.0089796 | 0.0022505
2 | 0.01627 | 0.0040777
3 | 0.0091478 | 0.0022927
4 | 0.012546 | 0.0031442
5 | 0.012507 | 0.0031344
6 | 0.0095165 | 0.0023851
7 | 0.0053938 | 0.0013518
8 | 0.01217 | 0.0030502
9 | 0.016585 | 0.0041566
10 | 0.0073495 | 0.001842
11 | 0.0047645 | 0.0011941
12 | 0.0094626 | 0.0023716
13 | 0.019818 | 0.0049668
14 | 0.0059807 | 0.0014989
15 | 0.0089052 | 0.0022319
16 | 0.017846 | 0.0044727
17 | 0.0099066 | 0.0024828
18 | 0.015217 | 0.0038136
19 | 0.0082489 | 0.0020674
20 | 0.010188 | 0.0025532
21 | 0.010113 | 0.0025346
22 | 0.010471 | 0.0026242
23 | 0.010518 | 0.002636
24 | 0.0064177 | 0.0016084
25 | 0.0055373 | 0.0013878
26 | 0.0050561 | 0.0012672
27 | 0.012949 | 0.0032453
28 | 0.0053893 | 0.0013507
29 | 0.0067917 | 0.0017022
30 | 0.009302 | 0.0023313
31 | 0.013531 | 0.0033911
32 | 0.0063184 | 0.0015835
33 | 0.0087437 | 0.0021914
34 | 0.0056557 | 0.0014174
35 | 0.0060961 | 0.0015278
36 | 0.0032226 | 0.00080766
37 | 0.0047755 | 0.0011969
38 | 0.005845 | 0.0014649
39 | 0.0067219 | 0.0016847
40 | 0.0052104 | 0.0013058
41 | 0.01335 | 0.0033459
42 | 0.0067416 | 0.0016896
43 | 0.0070111 | 0.0017571

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1