## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-755_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-755_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-755_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-755_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_261-755_0_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_261-755_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-755_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_261-755_0_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_261-755_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-755_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_261-755_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_261-755_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_261-755_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_261-755_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_261-755_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-755_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-755_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_261-755_0_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_261-755_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_261-755_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-755_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_261-755_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_261-755_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-755_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-755_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_261-755_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_261-755_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_261-755_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_261-755_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-755_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_261-755_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_261-755_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_261-755_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_261-755_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_261-755_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_261-755_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_261-755_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_261-755_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_MV_530_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-755_0_3_load_0 | 0 | 0.012144 | 0.0030436 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-755_0_3_load_1 | 1 | 0.013703 | 0.0034342 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-755_0_3_load_18 | 4 | 0.028901 | 0.0072433 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-755_0_3_load_40 | 7 | 0.0092904 | 0.0023284 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-755_0_3_load_26 | 9 | 0.0107 | 0.0026816 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-755_0_3_load_27 | 10 | 0.016386 | 0.0041067 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-755_0_3_load_25 | 11 | 0.014467 | 0.0036257 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-755_0_3_load_19 | 13 | 0.016864 | 0.0042266 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-755_0_3_load_28 | 16 | 0.013983 | 0.0035044 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-755_0_3_load_29 | 17 | 0.017654 | 0.0044245 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-755_0_3_load_21 | 18 | 0.015326 | 0.003841 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-755_0_3_load_24 | 20 | 0.018309 | 0.0045887 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-755_0_3_load_23 | 21 | 0.0074555 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-755_0_3_load_34 | 24 | 0.014864 | 0.0037253 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-755_0_3_load_31 | 25 | 0.022642 | 0.0056747 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-755_0_3_load_42 | 26 | 0.014766 | 0.0037006 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-755_0_3_load_35 | 27 | 0.011824 | 0.0029633 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-755_0_3_load_20 | 28 | 0.015006 | 0.0037608 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-755_0_3_load_41 | 29 | 0.013465 | 0.0033747 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-755_0_3_load_22 | 31 | 0.0049096 | 0.0012305 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-755_0_3_load_39 | 32 | 0.010392 | 0.0026044 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-755_0_3_load_37 | 33 | 0.012806 | 0.0032094 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-755_0_3_load_30 | 34 | 0.014072 | 0.0035269 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-755_0_3_load_36 | 35 | 0.010858 | 0.0027214 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-755_0_3_load_38 | 36 | 0.006173 | 0.0015471 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-755_0_3_load_32 | 37 | 0.0036403 | 0.00091235 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-755_0_3_line_0 |  | 0 | 1 | 0.020561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-755_0_3_line_1 |  | 1 | 2 | 0.0087276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-755_0_3_line_2 |  | 2 | 3 | 0.022401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-755_0_3_line_3 |  | 2 | 4 | 0.021936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-755_0_3_line_4 |  | 3 | 12 | 0.042444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-755_0_3_line_5 |  | 3 | 13 | 0.0087355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-755_0_3_line_6 |  | 4 | 14 | 0.037017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-755_0_3_line_7 |  | 5 | 6 | 0.025574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-755_0_3_line_8 |  | 5 | 7 | 0.028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-755_0_3_line_9 |  | 6 | 26 | 0.068429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-755_0_3_line_10 |  | 6 | 14 | 0.003275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-755_0_3_line_11 |  | 7 | 10 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-755_0_3_line_12 |  | 8 | 9 | 0.028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-755_0_3_line_13 |  | 8 | 10 | 0.015406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-755_0_3_line_14 |  | 8 | 11 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_261-755_0_3_line_15 |  | 9 | 27 | 0.0073569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-755_0_3_line_16 |  | 11 | 15 | 0.015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-755_0_3_line_17 |  | 12 | 18 | 0.016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-755_0_3_line_18 |  | 13 | 28 | 0.020027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-755_0_3_line_19 |  | 15 | 16 | 0.029558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-755_0_3_line_20 |  | 15 | 17 | 0.01195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-755_0_3_line_21 |  | 17 | 30 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-755_0_3_line_22 |  | 19 | 20 | 0.017599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-755_0_3_line_23 |  | 19 | 21 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-755_0_3_line_24 |  | 20 | 22 | 0.016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-755_0_3_line_25 |  | 21 | 31 | 0.024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-755_0_3_line_26 |  | 22 | 23 | 0.024788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-755_0_3_line_27 |  | 23 | 24 | 0.034151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-755_0_3_line_28 |  | 23 | 25 | 0.013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-755_0_3_line_29 |  | 25 | 34 | 0.00023111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-755_0_3_line_30 |  | 26 | 29 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-755_0_3_line_31 |  | 27 | 35 | 0.0069075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-755_0_3_line_32 |  | 30 | 36 | 0.028418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-755_0_3_line_33 |  | 30 | 37 | 0.020669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-755_0_3_line_34 |  | 32 | 33 | 0.0077195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-755_0_3_line_35 |  | 33 | 35 | 0.0084989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-755_0_3_line_36 |  | 34 | 37 | 0.014328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-755_0_3_trafo_25 | 0.63 MVA 20/0.4 kV | 38 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683122.3785 | 1249427.048 | 2683119.9723 | 1249431.2715 | 2683115.7924 | 1249444.4894 | 2683115.1653 | 1249446.216
1 | 2683111.692 | 1249454.1946 | 2683113.3654 | 1249451.1714 | 2683115.1653 | 1249446.216
2 | 2683111.692 | 1249454.1946 | 2683115.1505 | 1249456.3336 | 2683116.9248 | 1249457.426 | 2683120.2765 | 1249459.6413 | 2683124.4662 | 1249462.4132 | 2683127.0518 | 1249464.3397 | 2683130.3504 | 1249466.5765
3 | 2683111.692 | 1249454.1946 | 2683106.7723 | 1249463.0878 | 2683100.149 | 1249472.8213
4 | 2683130.3504 | 1249466.5765 | 2683136.0244 | 1249458.817 | 2683143.6037 | 1249464.8722 | 2683148.9489 | 1249471.9302 | 2683157.5633 | 1249483.315
5 | 2683130.3504 | 1249466.5765 | 2683127.4451 | 1249470.2163 | 2683125.0592 | 1249473.524
6 | 2683076.6739 | 1249501.3277 | 2683092.5321 | 1249484.0149 | 2683100.149 | 1249472.8213
7 | 2683048.8981 | 1249506.9538 | 2683052.8031 | 1249506.8751 | 2683057.35 | 1249506.7832 | 2683062.2644 | 1249505.262 | 2683066.4888 | 1249503.9425 | 2683070.4324 | 1249502.719 | 2683073.701 | 1249501.7085
8 | 2683048.8981 | 1249506.9538 | 2683054.1488 | 1249479.4505
9 | 2683073.701 | 1249501.7085 | 2683073.5108 | 1249500.7385 | 2683073.3206 | 1249495.9878 | 2683073.8115 | 1249487.9109 | 2683074.2957 | 1249478.6887 | 2683076.4586 | 1249476.295 | 2683084.4335 | 1249434.9234
10 | 2683076.6739 | 1249501.3277 | 2683075.5922 | 1249502.0019 | 2683074.6762 | 1249502.167 | 2683073.701 | 1249501.7085
11 | 2683057.074 | 1249466.6406 | 2683054.7902 | 1249476.0912 | 2683054.1488 | 1249479.4505
12 | 2683061.6969 | 1249452.0257 | 2683040.234 | 1249447.3883 | 2683034.1334 | 1249444.1115
13 | 2683061.6969 | 1249452.0257 | 2683059.5196 | 1249456.5208 | 2683057.074 | 1249466.6406
14 | 2683061.6969 | 1249452.0257 | 2683062.5446 | 1249450.2696 | 2683065.2504 | 1249436.0301
15 | 2683029.9901 | 1249438.0323 | 2683034.1334 | 1249444.1115
16 | 2683068.1373 | 1249420.8373 | 2683065.2504 | 1249436.0301
17 | 2683157.5633 | 1249483.315 | 2683171.0217 | 1249472.9886
18 | 2683125.0592 | 1249473.524 | 2683119.5287 | 1249481.1912 | 2683113.7033 | 1249490.015
19 | 2683068.1373 | 1249420.8373 | 2683069.7026 | 1249412.5975 | 2683073.7467 | 1249391.8161
20 | 2683068.1373 | 1249420.8373 | 2683056.3799 | 1249418.7006
21 | 2683043.3283 | 1249413.0284 | 2683047.982 | 1249417.1744 | 2683056.3799 | 1249418.7006
22 | 2682967.4866 | 1249423.73 | 2682979.25 | 1249410.6396
23 | 2682967.4866 | 1249423.73 | 2682977.1873 | 1249432.5267
24 | 2682990.1533 | 1249398.5064 | 2682979.25 | 1249410.6396
25 | 2682983.8454 | 1249449.4449 | 2682989.1323 | 1249443.3586 | 2682977.1873 | 1249432.5267
26 | 2682990.1533 | 1249398.5064 | 2682991.6183 | 1249396.8812 | 2683006.7965 | 1249380.1368
27 | 2683006.7965 | 1249380.1368 | 2683029.7332 | 1249354.8353
28 | 2683006.7965 | 1249380.1368 | 2683017.1481 | 1249389.4569
29 | 2683017.3198 | 1249389.6116 | 2683017.1481 | 1249389.4569
30 | 2683088.3074 | 1249414.8266 | 2683084.4335 | 1249434.9234
31 | 2683029.9901 | 1249438.0323 | 2683028.7544 | 1249436.2192 | 2683025.2441 | 1249433.0738
32 | 2683043.3283 | 1249413.0284 | 2683045.1039 | 1249402.1785 | 2683048.2216 | 1249400.621 | 2683050.9527 | 1249386.9529
33 | 2683043.3283 | 1249413.0284 | 2683027.9682 | 1249399.1989
34 | 2683018.9144 | 1249427.4022 | 2683013.1653 | 1249422.2507
35 | 2683018.9144 | 1249427.4022 | 2683025.2441 | 1249433.0738
36 | 2683027.9682 | 1249399.1989 | 2683017.3198 | 1249389.6116

## bus_geodata
| x | y | coords
0 | 2683122.3785 | 1249427.048
1 | 2683115.1653 | 1249446.216
2 | 2683111.692 | 1249454.1946
3 | 2683130.3504 | 1249466.5765
4 | 2683100.149 | 1249472.8213
5 | 2683048.8982 | 1249506.9538
6 | 2683073.701 | 1249501.7085
7 | 2683054.1488 | 1249479.4505
8 | 2683061.6969 | 1249452.0257
9 | 2683034.1334 | 1249444.1115
10 | 2683057.074 | 1249466.6406
11 | 2683065.2504 | 1249436.0301
12 | 2683157.5633 | 1249483.315
13 | 2683125.0592 | 1249473.524
14 | 2683076.6739 | 1249501.3277
15 | 2683068.1373 | 1249420.8373
16 | 2683073.7467 | 1249391.8161
17 | 2683056.3799 | 1249418.7006
18 | 2683171.0217 | 1249472.9886
19 | 2682967.4866 | 1249423.73
20 | 2682979.25 | 1249410.6396
21 | 2682977.1873 | 1249432.5267
22 | 2682990.1533 | 1249398.5064
23 | 2683006.7965 | 1249380.1368
24 | 2683029.7332 | 1249354.8353
25 | 2683017.1481 | 1249389.4569
26 | 2683084.4335 | 1249434.9234
27 | 2683029.9901 | 1249438.0323
28 | 2683113.7033 | 1249490.015
29 | 2683088.3074 | 1249414.8266
30 | 2683043.3283 | 1249413.0284
31 | 2682983.8454 | 1249449.4449
32 | 2683013.1653 | 1249422.2507
33 | 2683018.9144 | 1249427.4022
34 | 2683017.3198 | 1249389.6116
35 | 2683025.2441 | 1249433.0738
36 | 2683050.9527 | 1249386.9529
37 | 2683027.9682 | 1249399.1989
38 | 2683068.1373 | 1249420.8373

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98347 | -0.31794 | 0.012144 | 0.0030436
1 | 0.9837 | -0.31344 | 0.013703 | 0.0034342
2 | 0.98391 | -0.30938 | 0 | 0
3 | 0.98293 | -0.32844 | 0 | 0
4 | 0.98539 | -0.28058 | 0.028901 | 0.0072433
5 | 0.99224 | -0.148 | 0 | 0
6 | 0.98917 | -0.20712 | 0 | 0
7 | 0.9956 | -0.083688 | 0.0092904 | 0.0023284
8 | 0.9984 | -0.030494 | 0 | 0
9 | 0.99691 | -0.059112 | 0.0107 | 0.0026816
10 | 0.99729 | -0.05151 | 0.016386 | 0.0041067
11 | 1 | 0 | -0.34065 | -0.086068
12 | 0.98233 | -0.34018 | 0 | 0
13 | 0.98268 | -0.33346 | 0.016864 | 0.0042266
14 | 0.98887 | -0.21307 | 0 | 0
15 | 0.99825 | -0.033403 | 0 | 0
16 | 0.99788 | -0.040635 | 0.013983 | 0.0035044
17 | 0.99706 | -0.056365 | 0.017654 | 0.0044245
18 | 0.98209 | -0.34488 | 0.015326 | 0.003841
19 | 0.99117 | -0.16999 | 0 | 0
20 | 0.99137 | -0.16613 | 0.018309 | 0.0045887
21 | 0.99102 | -0.17286 | 0.0074555 | 0.0018685
22 | 0.99182 | -0.15726 | 0 | 0
23 | 0.99252 | -0.14379 | 0 | 0
24 | 0.99206 | -0.15278 | 0.014864 | 0.0037253
25 | 0.9931 | -0.13257 | 0.022642 | 0.0056747
26 | 0.9874 | -0.2416 | 0.014766 | 0.0037006
27 | 0.9966 | -0.065033 | 0.011824 | 0.0029633
28 | 0.9824 | -0.33889 | 0.015006 | 0.0037608
29 | 0.98715 | -0.24653 | 0.013465 | 0.0033747
30 | 0.99581 | -0.080235 | 0 | 0
31 | 0.99091 | -0.17497 | 0.0049096 | 0.0012305
32 | 0.99614 | -0.074033 | 0.010392 | 0.0026044
33 | 0.99621 | -0.072624 | 0.012806 | 0.0032094
34 | 0.99311 | -0.1323 | 0.014072 | 0.0035269
35 | 0.99639 | -0.069162 | 0.010858 | 0.0027214
36 | 0.99565 | -0.083319 | 0.006173 | 0.0015471
37 | 0.99419 | -0.11149 | 0.0036403 | 0.00091235
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012144 | -0.0030436 | 0.012147 | 0.003045 | 2.603e-06 | 1.405e-06 | 0.018374 | 0.018374 | 0.018374 | 0.98347 | -0.31794 | 0.9837 | -0.31344 | 5.0478
1 | -0.025849 | -0.0064792 | 0.025854 | 0.0064823 | 5.004e-06 | 3.0918e-06 | 0.039102 | 0.039102 | 0.039102 | 0.9837 | -0.31344 | 0.98391 | -0.30938 | 10.7422
2 | 0.047262 | 0.01187 | -0.047219 | -0.011842 | 4.2929e-05 | 2.719e-05 | 0.071486 | 0.071486 | 0.071486 | 0.98391 | -0.30938 | 0.98293 | -0.32844 | 19.6391
3 | -0.073117 | -0.018352 | 0.073217 | 0.018416 | 0.0001006 | 6.4107e-05 | 0.11059 | 0.11059 | 0.11059 | 0.98391 | -0.30938 | 0.98539 | -0.28058 | 30.3813
4 | 0.015338 | 0.003848 | -0.015329 | -0.003843 | 8.5824e-06 | 4.9551e-06 | 0.023221 | 0.023221 | 0.023221 | 0.98293 | -0.32844 | 0.98233 | -0.34018 | 6.3794
5 | 0.031881 | 0.0079944 | -0.031874 | -0.0079896 | 7.6312e-06 | 4.7733e-06 | 0.048265 | 0.048265 | 0.048265 | 0.98293 | -0.32844 | 0.98268 | -0.33346 | 13.2597
6 | -0.10212 | -0.025659 | 0.10245 | 0.02587 | 0.0003302 | 0.00021085 | 0.15423 | 0.15423 | 0.15423 | 0.98539 | -0.28058 | 0.98887 | -0.21307 | 42.3711
7 | 0.13113 | 0.033232 | -0.13076 | -0.032995 | 0.00037135 | 0.00023734 | 0.19678 | 0.19678 | 0.19678 | 0.99224 | -0.148 | 0.98917 | -0.20712 | 54.0602
8 | -0.13113 | -0.033232 | 0.13154 | 0.033492 | 0.00040658 | 0.00025985 | 0.19678 | 0.19678 | 0.19678 | 0.99224 | -0.148 | 0.9956 | -0.083688 | 54.0602
9 | 0.02828 | 0.0071059 | -0.028234 | -0.0070771 | 4.6457e-05 | 2.8855e-05 | 0.042549 | 0.042549 | 0.042549 | 0.98917 | -0.20712 | 0.9874 | -0.2416 | 11.6893
10 | 0.10248 | 0.025889 | -0.10245 | -0.02587 | 2.9213e-05 | 1.8655e-05 | 0.15423 | 0.15423 | 0.15423 | 0.98917 | -0.20712 | 0.98887 | -0.21307 | 42.371
11 | -0.14083 | -0.03582 | 0.14105 | 0.03596 | 0.00021872 | 0.00013981 | 0.21066 | 0.21066 | 0.21066 | 0.9956 | -0.083688 | 0.99729 | -0.05151 | 57.8748
12 | 0.056681 | 0.014244 | -0.056603 | -0.014195 | 7.732e-05 | 4.9108e-05 | 0.084491 | 0.084491 | 0.084491 | 0.9984 | -0.030494 | 0.99691 | -0.059112 | 23.2117
13 | 0.15759 | 0.040169 | -0.15743 | -0.040067 | 0.00015968 | 0.00010179 | 0.23511 | 0.23511 | 0.23511 | 0.9984 | -0.030494 | 0.99729 | -0.05151 | 32.2957
14 | -0.21427 | -0.054413 | 0.21459 | 0.054614 | 0.00031495 | 0.00020114 | 0.3196 | 0.3196 | 0.3196 | 0.9984 | -0.030494 | 1 | 0 | 43.9015
15 | 0.045904 | 0.011514 | -0.045891 | -0.011505 | 1.2953e-05 | 8.194e-06 | 0.06852 | 0.06852 | 0.06852 | 0.99691 | -0.059112 | 0.9966 | -0.065033 | 18.8243
16 | 0.12441 | 0.031454 | -0.12421 | -0.031327 | 0.00019896 | 0.00012713 | 0.18522 | 0.18522 | 0.18522 | 1 | 0 | 0.99825 | -0.033403 | 50.8859
17 | 0.015329 | 0.003843 | -0.015326 | -0.003841 | 3.4302e-06 | 1.9806e-06 | 0.023221 | 0.023221 | 0.023221 | 0.98233 | -0.34018 | 0.98209 | -0.34488 | 6.3794
18 | 0.01501 | 0.003763 | -0.015006 | -0.0037608 | 3.8798e-06 | 2.2294e-06 | 0.022729 | 0.022729 | 0.022729 | 0.98268 | -0.33346 | 0.9824 | -0.33889 | 6.2442
19 | 0.013987 | 0.0035071 | -0.013983 | -0.0035044 | 4.8189e-06 | 2.6978e-06 | 0.020851 | 0.020851 | 0.020851 | 0.99825 | -0.033403 | 0.99788 | -0.040635 | 5.7282
20 | 0.11023 | 0.02782 | -0.11011 | -0.027742 | 0.00012108 | 7.7334e-05 | 0.16437 | 0.16437 | 0.16437 | 0.99825 | -0.033403 | 0.99706 | -0.056365 | 45.1577
21 | 0.092451 | 0.023318 | -0.092346 | -0.02325 | 0.00010551 | 6.7333e-05 | 0.13803 | 0.13803 | 0.13803 | 0.99706 | -0.056365 | 0.99581 | -0.080235 | 37.9196
22 | -0.012367 | -0.0030999 | 0.01237 | 0.0031011 | 2.2751e-06 | 1.2292e-06 | 0.018567 | 0.018567 | 0.018567 | 0.99117 | -0.16999 | 0.99137 | -0.16613 | 5.1008
23 | 0.012367 | 0.0030999 | -0.012366 | -0.003099 | 1.6929e-06 | 9.1467e-07 | 0.018567 | 0.018567 | 0.018567 | 0.99117 | -0.16999 | 0.99102 | -0.17286 | 5.1008
24 | -0.030678 | -0.0076898 | 0.030691 | 0.0076979 | 1.2971e-05 | 8.091e-06 | 0.046048 | 0.046048 | 0.046048 | 0.99137 | -0.16613 | 0.99182 | -0.15726 | 12.6505
25 | 0.0049101 | 0.0012305 | -0.0049096 | -0.0012305 | 4.9299e-07 | 3.9054e-09 | 0.0073724 | 0.0073725 | 0.0073725 | 0.99102 | -0.17286 | 0.99091 | -0.17497 | 2.0254
26 | -0.030691 | -0.0076979 | 0.030711 | 0.0077102 | 1.971e-05 | 1.2294e-05 | 0.046048 | 0.046048 | 0.046048 | 0.99182 | -0.15726 | 0.99252 | -0.14379 | 12.6505
27 | 0.01487 | 0.0037289 | -0.014864 | -0.0037253 | 6.3656e-06 | 3.6329e-06 | 0.022295 | 0.022295 | 0.022295 | 0.99252 | -0.14379 | 0.99206 | -0.15278 | 6.125
28 | -0.045582 | -0.011439 | 0.045606 | 0.011455 | 2.4397e-05 | 1.5434e-05 | 0.068343 | 0.068343 | 0.068343 | 0.99252 | -0.14379 | 0.9931 | -0.13257 | 18.7755
29 | -0.068248 | -0.017129 | 0.068249 | 0.01713 | 9.0643e-07 | 5.7713e-07 | 0.10227 | 0.10227 | 0.10227 | 0.9931 | -0.13257 | 0.99311 | -0.1323 | 28.0957
30 | 0.013468 | 0.0033765 | -0.013465 | -0.0033747 | 3.1619e-06 | 1.7619e-06 | 0.020297 | 0.020297 | 0.020297 | 0.9874 | -0.2416 | 0.98715 | -0.24653 | 5.5762
31 | 0.034067 | 0.0085421 | -0.03406 | -0.0085379 | 6.7022e-06 | 4.1994e-06 | 0.050867 | 0.050867 | 0.050867 | 0.9966 | -0.065033 | 0.99639 | -0.069162 | 13.9743
32 | 0.0061739 | 0.0015473 | -0.006173 | -0.0015471 | 9.07e-07 | 2.1084e-07 | 0.0092255 | 0.0092257 | 0.0092257 | 0.99581 | -0.080235 | 0.99565 | -0.083319 | 2.5345
33 | 0.086172 | 0.021703 | -0.086043 | -0.021621 | 0.00012858 | 8.2025e-05 | 0.1288 | 0.1288 | 0.1288 | 0.99581 | -0.080235 | 0.99419 | -0.11149 | 35.3852
34 | -0.010392 | -0.0026044 | 0.010392 | 0.0026048 | 6.9754e-07 | 3.4593e-07 | 0.015523 | 0.015523 | 0.015523 | 0.99614 | -0.074033 | 0.99621 | -0.072624 | 4.2646
35 | -0.023198 | -0.0058142 | 0.023202 | 0.0058165 | 3.8266e-06 | 2.3384e-06 | 0.034651 | 0.034651 | 0.034651 | 0.99621 | -0.072624 | 0.99639 | -0.069162 | 9.5194
36 | -0.082321 | -0.020657 | 0.082403 | 0.020709 | 8.1758e-05 | 5.214e-05 | 0.12335 | 0.12335 | 0.12335 | 0.99311 | -0.1323 | 0.99419 | -0.11149 | 33.8883

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35512 | 0.089694

## res_load
| p_mw | q_mvar
0 | 0.012144 | 0.0030436
1 | 0.013703 | 0.0034342
2 | 0.028901 | 0.0072433
3 | 0.0092904 | 0.0023284
4 | 0.0107 | 0.0026816
5 | 0.016386 | 0.0041067
6 | 0.014467 | 0.0036257
7 | 0.016864 | 0.0042266
8 | 0.013983 | 0.0035044
9 | 0.017654 | 0.0044245
10 | 0.015326 | 0.003841
11 | 0.018309 | 0.0045887
12 | 0.0074555 | 0.0018685
13 | 0.014864 | 0.0037253
14 | 0.022642 | 0.0056747
15 | 0.014766 | 0.0037006
16 | 0.011824 | 0.0029633
17 | 0.015006 | 0.0037608
18 | 0.013465 | 0.0033747
19 | 0.0049096 | 0.0012305
20 | 0.010392 | 0.0026044
21 | 0.012806 | 0.0032094
22 | 0.014072 | 0.0035269
23 | 0.010858 | 0.0027214
24 | 0.006173 | 0.0015471
25 | 0.0036403 | 0.00091235

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1