## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-758_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-758_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-758_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-758_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-758_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-758_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-758_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-758_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-758_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_261-758_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_261-758_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_261-758_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_261-758_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-758_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_261-758_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-758_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_261-758_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-758_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_261-758_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_261-758_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-758_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-758_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_261-758_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_261-758_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_261-758_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_261-758_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_261-758_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_261-758_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_261-758_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_261-758_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_261-758_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_261-758_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_261-758_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_261-758_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-758_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_MV_494_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-758_0_4_load_0 | 0 | 0.025247 | 0.0063274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-758_0_4_load_1 | 1 | 0.029115 | 0.007297 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-758_0_4_load_2 | 2 | 0.029447 | 0.00738 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-758_0_4_load_3 | 3 | 0.025957 | 0.0065054 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-758_0_4_load_4 | 4 | 0.016001 | 0.0040102 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-758_0_4_load_5 | 5 | 0.062202 | 0.015589 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-758_0_4_load_6 | 6 | 0.029109 | 0.0072953 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-758_0_4_load_7 | 7 | 0.025968 | 0.0065082 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-758_0_4_load_8 | 9 | 0.061883 | 0.015509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-758_0_4_load_25 | 11 | 0.029199 | 0.007318 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-758_0_4_load_10 | 12 | 0.025171 | 0.0063085 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-758_0_4_load_11 | 13 | 0.0020992 | 0.00052611 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-758_0_4_load_24 | 18 | 0.022399 | 0.0056138 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-758_0_4_load_36 | 21 | 0.01066 | 0.0026715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-758_0_4_load_32 | 24 | 0.025805 | 0.0064674 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-758_0_4_load_37 | 27 | 0.001636 | 0.00041003 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-758_0_4_load_33 | 28 | 0.0061793 | 0.0015487 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-758_0_4_load_30 | 29 | 0.00044532 | 0.00011161 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-758_0_4_load_39 | 30 | 0.0021134 | 0.00052966 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-758_0_4_load_26 | 31 | 0.029452 | 0.0073815 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-758_0_4_load_27 | 32 | 0.0021837 | 0.00054728 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-758_0_4_load_29 | 33 | 0.002275 | 0.00057018 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-758_0_4_load_31 | 34 | 0.0031295 | 0.00078433 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-758_0_4_line_0 |  | 0 | 1 | 0.00091497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-758_0_4_line_1 |  | 0 | 2 | 0.007511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_261-758_0_4_line_2 |  | 1 | 3 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-758_0_4_line_3 |  | 2 | 4 | 0.0033241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-758_0_4_line_4 |  | 3 | 5 | 0.0046854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-758_0_4_line_5 |  | 4 | 6 | 0.02441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-758_0_4_line_6 |  | 5 | 7 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-758_0_4_line_7 |  | 6 | 8 | 0.0412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-758_0_4_line_8 |  | 7 | 9 | 0.0013607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-758_0_4_line_9 |  | 8 | 10 | 0.022343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-758_0_4_line_10 |  | 8 | 11 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-758_0_4_line_11 |  | 10 | 29 | 0.0065841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-758_0_4_line_12 |  | 11 | 19 | 0.0025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-758_0_4_line_13 |  | 12 | 13 | 0.030727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-758_0_4_line_14 |  | 12 | 14 | 0.0033769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-758_0_4_line_15 |  | 13 | 15 | 0.005608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-758_0_4_line_16 |  | 14 | 16 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-758_0_4_line_17 |  | 15 | 17 | 0.020892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-758_0_4_line_18 |  | 16 | 18 | 0.0062401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-758_0_4_line_19 |  | 17 | 30 | 0.008346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-758_0_4_line_20 |  | 17 | 26 | 0.040097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-758_0_4_line_21 |  | 18 | 19 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-758_0_4_line_22 |  | 20 | 21 | 0.008367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-758_0_4_line_23 |  | 20 | 22 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-758_0_4_line_24 |  | 21 | 24 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-758_0_4_line_25 |  | 22 | 28 | 0.019924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-758_0_4_line_26 |  | 23 | 24 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-758_0_4_line_27 |  | 23 | 25 | 0.009552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-758_0_4_line_28 |  | 25 | 29 | 0.0032915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-758_0_4_line_29 |  | 25 | 31 | 0.03699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-758_0_4_line_30 |  | 26 | 27 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-758_0_4_line_31 |  | 31 | 32 | 0.0049146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-758_0_4_line_32 |  | 32 | 33 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-758_0_4_line_33 |  | 33 | 34 | 0.0071817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-758_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 35 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2685955.7315 | 1245434.9469 | 2685956.573 | 1245434.5877
1 | 2685955.7315 | 1245434.9469 | 2685948.8235 | 1245437.8954
2 | 2685956.573 | 1245434.5877 | 2685970.7224 | 1245428.5484
3 | 2685948.8235 | 1245437.8954 | 2685945.7663 | 1245439.2003
4 | 2685975.0317 | 1245426.709 | 2685970.7224 | 1245428.5484
5 | 2685923.1 | 1245448.2318 | 2685927.1905 | 1245446.8904 | 2685942.6217 | 1245440.5425 | 2685945.7663 | 1245439.2003
6 | 2685985.9273 | 1245422.0585 | 2685975.0317 | 1245426.709
7 | 2685882.7134 | 1245453.7514 | 2685893.8859 | 1245454.4914 | 2685910.8898 | 1245452.236 | 2685923.1 | 1245448.2318
8 | 2685985.9273 | 1245422.0585 | 2685987.1788 | 1245421.5243
9 | 2685881.0143 | 1245470.3724 | 2685881.7961 | 1245469.0827 | 2685883.7636 | 1245465.7532 | 2685884.2809 | 1245464.9935 | 2685878.0223 | 1245460.9666 | 2685882.7134 | 1245453.7514
10 | 2685882.7134 | 1245453.7514 | 2685894.5897 | 1245435.1207
11 | 2685881.0143 | 1245470.3724 | 2685882.2207 | 1245471.0681 | 2685885.172 | 1245472.8566 | 2685886.6936 | 1245473.7015
12 | 2685892.6178 | 1245433.5354 | 2685894.5897 | 1245435.1207
13 | 2685915.6589 | 1245397.5478 | 2685927.4598 | 1245387.6506 | 2685938.7513 | 1245379.6638 | 2685939.9737 | 1245378.8042
14 | 2685913.0715 | 1245399.7178 | 2685915.6589 | 1245397.5478
15 | 2685944.5609 | 1245375.5783 | 2685939.9737 | 1245378.8042
16 | 2685899.9875 | 1245413.0381 | 2685913.0715 | 1245399.7178
17 | 2685944.5609 | 1245375.5783 | 2685951.4979 | 1245370.8642 | 2685961.8757 | 1245363.8872
18 | 2685899.9875 | 1245413.0381 | 2685898.7338 | 1245419.151
19 | 2685961.8757 | 1245363.8872 | 2685966.3755 | 1245370.9243
20 | 2685945.51 | 1245338.776 | 2685944.9516 | 1245356.9702 | 2685948.9341 | 1245356.4275 | 2685954.2358 | 1245359.2286 | 2685957.5826 | 1245357.1867 | 2685961.8757 | 1245363.8872
21 | 2685892.6178 | 1245433.5354 | 2685897.4182 | 1245425.5657 | 2685898.7338 | 1245419.151
22 | 2685849.3252 | 1245507.8302 | 2685857.596 | 1245509.0953
23 | 2685849.3252 | 1245507.8302 | 2685847.5877 | 1245509.8843 | 2685844.509 | 1245512.2082 | 2685837.0487 | 1245517.0705
24 | 2685857.596 | 1245509.0953 | 2685857.596 | 1245509.0953 | 2685866.1024 | 1245493.204
25 | 2685837.0487 | 1245517.0705 | 2685827.6321 | 1245534.6284
26 | 2685877.2758 | 1245472.3308 | 2685866.1024 | 1245493.204
27 | 2685877.2758 | 1245472.3308 | 2685885.7187 | 1245476.8452
28 | 2685885.7187 | 1245476.8452 | 2685886.6936 | 1245473.7015
29 | 2685885.7187 | 1245476.8452 | 2685892.9843 | 1245480.7311 | 2685900.3409 | 1245486.1638 | 2685908.1001 | 1245495.0939 | 2685912.9204 | 1245499.8227 | 2685913.6572 | 1245500.5315
30 | 2685945.51 | 1245338.776 | 2685946.6211 | 1245334.5891 | 2685948.2758 | 1245327.9296
31 | 2685917.1992 | 1245503.9385 | 2685913.6572 | 1245500.5315
32 | 2685917.1992 | 1245503.9385 | 2685920.6782 | 1245507.285 | 2685922.5818 | 1245510.4482 | 2685923.7639 | 1245515.4357 | 2685924.1343 | 1245519.8557
33 | 2685924.7341 | 1245527.0123 | 2685924.1343 | 1245519.8557

## bus_geodata
| x | y | coords
0 | 2685955.7315 | 1245434.9469
1 | 2685956.573 | 1245434.5877
2 | 2685948.8235 | 1245437.8954
3 | 2685970.7224 | 1245428.5484
4 | 2685945.7663 | 1245439.2003
5 | 2685975.0317 | 1245426.709
6 | 2685923.1 | 1245448.2318
7 | 2685985.9273 | 1245422.0585
8 | 2685882.7134 | 1245453.7514
9 | 2685987.1788 | 1245421.5243
10 | 2685881.0143 | 1245470.3724
11 | 2685894.5897 | 1245435.1207
12 | 2685915.6589 | 1245397.5478
13 | 2685939.9737 | 1245378.8042
14 | 2685913.0715 | 1245399.7178
15 | 2685944.5609 | 1245375.5783
16 | 2685899.9875 | 1245413.0381
17 | 2685961.8757 | 1245363.8872
18 | 2685898.7338 | 1245419.151
19 | 2685892.6178 | 1245433.5354
20 | 2685849.3252 | 1245507.8302
21 | 2685857.596 | 1245509.0953
22 | 2685837.0487 | 1245517.0705
23 | 2685877.2758 | 1245472.3308
24 | 2685866.1024 | 1245493.204
25 | 2685885.7187 | 1245476.8452
26 | 2685945.51 | 1245338.776
27 | 2685948.2758 | 1245327.9296
28 | 2685827.6321 | 1245534.6284
29 | 2685886.6936 | 1245473.7015
30 | 2685966.3755 | 1245370.9243
31 | 2685913.6572 | 1245500.5315
32 | 2685917.1992 | 1245503.9385
33 | 2685924.1343 | 1245519.8557
34 | 2685924.7341 | 1245527.0123
35 | 2685882.7134 | 1245453.7514

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99882 | -0.022632 | 0.025247 | 0.0063274
1 | 0.99874 | -0.024272 | 0.029115 | 0.007297
2 | 0.99961 | -0.0075295 | 0.029447 | 0.00738
3 | 0.9975 | -0.047959 | 0.025957 | 0.0065054
4 | 1 | 0 | -0.45524 | -0.11442
5 | 0.99718 | -0.054119 | 0.062202 | 0.015589
6 | 0.99786 | -0.040903 | 0.029109 | 0.0072953
7 | 0.99624 | -0.072378 | 0.025968 | 0.0065082
8 | 0.99479 | -0.099774 | 0 | 0
9 | 0.99616 | -0.073857 | 0.061883 | 0.015509
10 | 0.99316 | -0.13136 | 0 | 0
11 | 0.99313 | -0.13198 | 0.029199 | 0.007318
12 | 0.99143 | -0.16488 | 0.025171 | 0.0063085
13 | 0.99126 | -0.16807 | 0.0020992 | 0.00052611
14 | 0.99152 | -0.16303 | 0 | 0
15 | 0.99124 | -0.16845 | 0 | 0
16 | 0.99205 | -0.15278 | 0 | 0
17 | 0.99117 | -0.16984 | 0 | 0
18 | 0.99223 | -0.14935 | 0.022399 | 0.0056138
19 | 0.993 | -0.13437 | 0 | 0
20 | 0.99081 | -0.17674 | 0 | 0
21 | 0.99086 | -0.17583 | 0.01066 | 0.0026715
22 | 0.99072 | -0.17844 | 0 | 0
23 | 0.99206 | -0.15254 | 0 | 0
24 | 0.99114 | -0.17044 | 0.025805 | 0.0064674
25 | 0.99243 | -0.14533 | 0 | 0
26 | 0.99111 | -0.171 | 0 | 0
27 | 0.99109 | -0.17133 | 0.001636 | 0.00041003
28 | 0.99061 | -0.18062 | 0.0061793 | 0.0015487
29 | 0.99267 | -0.14069 | 0.00044532 | 0.00011161
30 | 0.99115 | -0.17015 | 0.0021134 | 0.00052966
31 | 0.99118 | -0.16961 | 0.029452 | 0.0073815
32 | 0.99115 | -0.17027 | 0.0021837 | 0.00054728
33 | 0.99106 | -0.172 | 0.002275 | 0.00057018
34 | 0.99104 | -0.1724 | 0.0031295 | 0.00078433
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.20546 | 0.051626 | -0.20545 | -0.051616 | 1.6079e-05 | 1.0266e-05 | 0.30614 | 0.30614 | 0.30614 | 0.99882 | -0.022632 | 0.99874 | -0.024272 | 42.0525
1 | -0.23071 | -0.057953 | 0.23088 | 0.05806 | 0.00016642 | 0.00010631 | 0.34375 | 0.34375 | 0.34375 | 0.99882 | -0.022632 | 0.99961 | -0.0075295 | 47.2189
2 | 0.17633 | 0.044319 | -0.17613 | -0.044192 | 0.00019916 | 0.00012706 | 0.26276 | 0.26276 | 0.26276 | 0.99874 | -0.024272 | 0.9975 | -0.047959 | 36.0939
3 | -0.26032 | -0.06544 | 0.26042 | 0.0655 | 9.3629e-05 | 5.9835e-05 | 0.38759 | 0.38759 | 0.38759 | 0.99961 | -0.0075295 | 1 | 0 | 53.2401
4 | 0.15018 | 0.037686 | -0.15013 | -0.037658 | 4.4097e-05 | 2.81e-05 | 0.22404 | 0.22404 | 0.22404 | 0.9975 | -0.047959 | 0.99718 | -0.054119 | 30.7751
5 | 0.19317 | 0.048916 | -0.19279 | -0.048674 | 0.0003786 | 0.00024167 | 0.28761 | 0.28761 | 0.28761 | 1 | 0 | 0.99786 | -0.040903 | 39.5073
6 | 0.087932 | 0.022069 | -0.087855 | -0.02202 | 7.6498e-05 | 4.8805e-05 | 0.13122 | 0.13122 | 0.13122 | 0.99718 | -0.054119 | 0.99624 | -0.072378 | 36.0506
7 | 0.16368 | 0.041379 | -0.16322 | -0.041085 | 0.00046069 | 0.00029377 | 0.24421 | 0.24421 | 0.24421 | 0.99786 | -0.040903 | 0.99479 | -0.099774 | 33.5449
8 | 0.061887 | 0.015512 | -0.061883 | -0.015509 | 4.3599e-06 | 2.7726e-06 | 0.092438 | 0.092438 | 0.092438 | 0.99624 | -0.072378 | 0.99616 | -0.073857 | 25.3949
9 | 0.080405 | 0.020256 | -0.080284 | -0.020179 | 0.00012127 | 7.7324e-05 | 0.12031 | 0.12031 | 0.12031 | 0.99479 | -0.099774 | 0.99316 | -0.13136 | 33.0515
10 | 0.082814 | 0.020829 | -0.082687 | -0.020748 | 0.00012719 | 8.1114e-05 | 0.1239 | 0.1239 | 0.1239 | 0.99479 | -0.099774 | 0.99313 | -0.13198 | 34.0383
11 | 0.080284 | 0.020179 | -0.080248 | -0.020156 | 3.5736e-05 | 2.2786e-05 | 0.12031 | 0.12031 | 0.12031 | 0.99316 | -0.13136 | 0.99267 | -0.14069 | 33.0515
12 | 0.053487 | 0.01343 | -0.053481 | -0.013426 | 6.095e-06 | 3.8681e-06 | 0.08015 | 0.08015 | 0.08015 | 0.99313 | -0.13198 | 0.993 | -0.13437 | 22.0192
13 | 0.00585 | 0.0014652 | -0.0058491 | -0.001465 | 8.8823e-07 | 1.723e-07 | 0.0087798 | 0.0087799 | 0.0087799 | 0.99143 | -0.16488 | 0.99126 | -0.16807 | 2.4121
14 | -0.031021 | -0.0077736 | 0.031024 | 0.0077753 | 2.7451e-06 | 1.7133e-06 | 0.046559 | 0.046559 | 0.046559 | 0.99143 | -0.16488 | 0.99152 | -0.16303 | 12.7908
15 | 0.0037499 | 0.00093888 | -0.0037498 | -0.00093891 | 6.6629e-08 | -2.9648e-08 | 0.0056288 | 0.0056288 | 0.0056288 | 0.99126 | -0.16807 | 0.99124 | -0.16845 | 1.5464
16 | -0.031024 | -0.0077753 | 0.031039 | 0.0077848 | 1.5157e-05 | 9.4599e-06 | 0.046559 | 0.046559 | 0.046559 | 0.99152 | -0.16303 | 0.99205 | -0.15278 | 12.7908
17 | 0.0037498 | 0.00093891 | -0.0037496 | -0.00093902 | 2.4823e-07 | -1.1043e-07 | 0.0056288 | 0.0056289 | 0.0056289 | 0.99124 | -0.16845 | 0.99117 | -0.16984 | 1.5464
18 | -0.031039 | -0.0077848 | 0.031044 | 0.007788 | 5.0725e-06 | 3.1658e-06 | 0.046559 | 0.046559 | 0.046559 | 0.99205 | -0.15278 | 0.99223 | -0.14935 | 12.7908
19 | 0.0021134 | 0.00052958 | -0.0021134 | -0.00052966 | 3.1506e-08 | -8.7403e-08 | 0.0031728 | 0.0031728 | 0.0031728 | 0.99117 | -0.16984 | 0.99115 | -0.17015 | 0.87165
20 | 0.0016362 | 0.00040944 | -0.0016361 | -0.0004099 | 9.0712e-08 | -4.587e-07 | 0.0024561 | 0.0024563 | 0.0024563 | 0.99117 | -0.16984 | 0.99111 | -0.171 | 0.6748
21 | -0.053443 | -0.013402 | 0.053481 | 0.013426 | 3.8187e-05 | 2.4235e-05 | 0.08015 | 0.08015 | 0.08015 | 0.99223 | -0.14935 | 0.993 | -0.13437 | 22.0192
22 | -0.0061804 | -0.001549 | 0.0061807 | 0.001549 | 2.7031e-07 | 6.5236e-08 | 0.0092819 | 0.0092819 | 0.0092819 | 0.99081 | -0.17674 | 0.99086 | -0.17583 | 2.55
23 | 0.0061804 | 0.001549 | -0.0061799 | -0.0015488 | 4.9832e-07 | 1.2029e-07 | 0.0092819 | 0.009282 | 0.009282 | 0.99081 | -0.17674 | 0.99072 | -0.17844 | 2.55
24 | -0.01684 | -0.0042206 | 0.016845 | 0.0042231 | 4.323e-06 | 2.5345e-06 | 0.02529 | 0.02529 | 0.02529 | 0.99086 | -0.17583 | 0.99114 | -0.17044 | 6.9477
25 | 0.0061799 | 0.0015488 | -0.0061793 | -0.0015487 | 6.437e-07 | 1.5544e-07 | 0.009282 | 0.0092821 | 0.0092821 | 0.99072 | -0.17844 | 0.99061 | -0.18062 | 2.55
26 | 0.042686 | 0.010713 | -0.04265 | -0.01069 | 3.6402e-05 | 2.2992e-05 | 0.064031 | 0.064032 | 0.064032 | 0.99206 | -0.15254 | 0.99114 | -0.17044 | 17.5911
27 | -0.042686 | -0.010713 | 0.042701 | 0.010723 | 1.4686e-05 | 9.2758e-06 | 0.064031 | 0.064031 | 0.064031 | 0.99206 | -0.15254 | 0.99243 | -0.14533 | 17.5911
28 | -0.079785 | -0.020033 | 0.079803 | 0.020044 | 1.7667e-05 | 1.1265e-05 | 0.11964 | 0.11964 | 0.11964 | 0.99243 | -0.14533 | 0.99267 | -0.14069 | 32.8681
29 | 0.037084 | 0.0093103 | -0.037041 | -0.0092833 | 4.2894e-05 | 2.6975e-05 | 0.055608 | 0.055609 | 0.055609 | 0.99243 | -0.14533 | 0.99118 | -0.16961 | 15.2771
30 | 0.0016361 | 0.0004099 | -0.001636 | -0.00041003 | 2.5327e-08 | -1.2805e-07 | 0.0024563 | 0.0024563 | 0.0024563 | 0.99111 | -0.171 | 0.99109 | -0.17133 | 0.67482
31 | 0.007589 | 0.0019019 | -0.0075887 | -0.0019018 | 2.3922e-07 | 8.9758e-08 | 0.011393 | 0.011393 | 0.011393 | 0.99118 | -0.16961 | 0.99115 | -0.17027 | 3.1299
32 | 0.0054051 | 0.0013545 | -0.0054046 | -0.0013545 | 4.4645e-07 | 5.2733e-08 | 0.0081146 | 0.0081147 | 0.0081147 | 0.99115 | -0.17027 | 0.99106 | -0.172 | 2.2293
33 | 0.0031296 | 0.00078427 | -0.0031295 | -0.00078433 | 5.9463e-08 | -5.4483e-08 | 0.0046989 | 0.0046989 | 0.0046989 | 0.99106 | -0.172 | 0.99104 | -0.1724 | 1.2909

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47124 | 0.11843

## res_load
| p_mw | q_mvar
0 | 0.025247 | 0.0063274
1 | 0.029115 | 0.007297
2 | 0.029447 | 0.00738
3 | 0.025957 | 0.0065054
4 | 0.016001 | 0.0040102
5 | 0.062202 | 0.015589
6 | 0.029109 | 0.0072953
7 | 0.025968 | 0.0065082
8 | 0.061883 | 0.015509
9 | 0.029199 | 0.007318
10 | 0.025171 | 0.0063085
11 | 0.0020992 | 0.00052611
12 | 0.022399 | 0.0056138
13 | 0.01066 | 0.0026715
14 | 0.025805 | 0.0064674
15 | 0.001636 | 0.00041003
16 | 0.0061793 | 0.0015487
17 | 0.00044532 | 0.00011161
18 | 0.0021134 | 0.00052966
19 | 0.029452 | 0.0073815
20 | 0.0021837 | 0.00054728
21 | 0.002275 | 0.00057018
22 | 0.0031295 | 0.00078433

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1