## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-76_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-76_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-76_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-76_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-76_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-76_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-76_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_261-76_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_261-76_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-76_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_261-76_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_261-76_0_4_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_261-76_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-76_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_261-76_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_261-76_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-76_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-76_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-76_0_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_261-76_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_261-76_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_261-76_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_261-76_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_261-76_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_261-76_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_261-76_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_261-76_0_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_261-76_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_261-76_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_261-76_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_261-76_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_261-76_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_261-76_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-76_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_261-76_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-76_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_261-76_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_261-76_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_MV_539_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-76_0_4_load_0 | 0 | 0.052777 | 0.013227 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-76_0_4_load_1 | 1 | 0.021195 | 0.005312 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-76_0_4_load_3 | 3 | 0.023233 | 0.0058226 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-76_0_4_load_17 | 6 | 0.0083829 | 0.0021009 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-76_0_4_load_18 | 7 | 0.017422 | 0.0043663 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-76_0_4_load_19 | 9 | 0.018773 | 0.0047049 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-76_0_4_load_27 | 10 | 0.0069593 | 0.0017442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-76_0_4_load_41 | 11 | 0.0095588 | 0.0023957 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-76_0_4_load_33 | 14 | 0.0083065 | 0.0020818 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-76_0_4_load_32 | 18 | 0.016522 | 0.0041408 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-76_0_4_load_29 | 19 | 0.014868 | 0.0037262 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-76_0_4_load_37 | 20 | 0.0030684 | 0.00076901 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-76_0_4_load_28 | 22 | 0.026436 | 0.0066255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-76_0_4_load_24 | 23 | 0.014144 | 0.0035448 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-76_0_4_load_20 | 24 | 0.016975 | 0.0042543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-76_0_4_load_39 | 25 | 0.0093621 | 0.0023464 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-76_0_4_load_40 | 26 | 0.0095927 | 0.0024042 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-76_0_4_load_31 | 27 | 0.0086859 | 0.0021769 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-76_0_4_load_21 | 28 | 0.015237 | 0.0038189 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-76_0_4_load_30 | 29 | 0.011283 | 0.0028277 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-76_0_4_load_35 | 30 | 0.0022879 | 0.0005734 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-76_0_4_load_22 | 31 | 0.027662 | 0.0069329 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-76_0_4_load_23 | 32 | 0.0098291 | 0.0024634 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-76_0_4_load_25 | 33 | 0.010927 | 0.0027386 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-76_0_4_load_26 | 34 | 0.013266 | 0.0033249 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-76_0_4_load_34 | 35 | 0.033596 | 0.0084201 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-76_0_4_load_36 | 36 | 0.0063532 | 0.0015923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-76_0_4_load_38 | 37 | 0.029595 | 0.0074173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-76_0_4_line_0 |  | 0 | 1 | 0.039886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-76_0_4_line_1 |  | 0 | 2 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-76_0_4_line_2 |  | 1 | 3 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-76_0_4_line_3 |  | 2 | 4 | 0.004734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-76_0_4_line_4 |  | 2 | 5 | 0.036996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-76_0_4_line_5 |  | 3 | 6 | 7.5763e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-76_0_4_line_6 |  | 4 | 7 | 0.016796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-76_0_4_line_7 |  | 4 | 8 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-76_0_4_line_8 |  | 5 | 9 | 0.012205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-76_0_4_line_9 |  | 6 | 16 | 0.045911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-76_0_4_line_10 |  | 8 | 10 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-76_0_4_line_11 |  | 8 | 11 | 0.0094025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-76_0_4_line_12 |  | 9 | 24 | 0.057269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-76_0_4_line_13 |  | 10 | 21 | 0.043473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-76_0_4_line_14 |  | 11 | 25 | 0.0016205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-76_0_4_line_15 |  | 12 | 13 | 0.034684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-76_0_4_line_16 |  | 12 | 14 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-76_0_4_line_17 |  | 13 | 20 | 0.014244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-76_0_4_line_18 |  | 13 | 15 | 0.11268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_261-76_0_4_line_19 |  | 14 | 27 | 0.024042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-76_0_4_line_20 |  | 15 | 16 | 0.010753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-76_0_4_line_21 |  | 17 | 18 | 0.020284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-76_0_4_line_22 |  | 17 | 19 | 0.030288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-76_0_4_line_23 |  | 19 | 29 | 0.014093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-76_0_4_line_24 |  | 20 | 30 | 0.0012251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-76_0_4_line_25 |  | 21 | 22 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-76_0_4_line_26 |  | 21 | 23 | 0.012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-76_0_4_line_27 |  | 23 | 31 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-76_0_4_line_28 |  | 24 | 28 | 0.0099917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-76_0_4_line_29 |  | 25 | 26 | 0.015181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-76_0_4_line_30 |  | 27 | 29 | 0.021713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-76_0_4_line_31 |  | 30 | 36 | 0.016282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-76_0_4_line_32 |  | 31 | 32 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-76_0_4_line_33 |  | 32 | 33 | 0.0078009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-76_0_4_line_34 |  | 33 | 34 | 0.0031501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-76_0_4_line_35 |  | 34 | 35 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-76_0_4_line_36 |  | 36 | 37 | 0.0025252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-76_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 38 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2684992.1834 | 1246217.1752 | 2685031.5039 | 1246223.867
1 | 2684969.8637 | 1246213.3767 | 2684992.1834 | 1246217.1752
2 | 2685031.5039 | 1246223.867 | 2685040.4987 | 1246225.3978 | 2685056.4053 | 1246228.1074
3 | 2684965.1916 | 1246212.5314 | 2684969.8637 | 1246213.3767
4 | 2684960.6159 | 1246177.5512 | 2684969.8637 | 1246213.3767
5 | 2685056.4053 | 1246228.1074 | 2685056.48 | 1246228.1201
6 | 2684965.1916 | 1246212.5314 | 2684948.6663 | 1246209.5274
7 | 2684962.9855 | 1246222.5405 | 2684963.9874 | 1246218.0071 | 2684965.1916 | 1246212.5314
8 | 2684960.6159 | 1246177.5512 | 2684972.8197 | 1246177.6938
9 | 2685101.6769 | 1246236.1832 | 2685065.875 | 1246229.7204 | 2685056.48 | 1246228.1201
10 | 2684962.9855 | 1246222.5405 | 2684968.4093 | 1246223.6524 | 2684982.2091 | 1246225.9608
11 | 2684962.9855 | 1246222.5405 | 2684953.7332 | 1246220.8668
12 | 2685030.0848 | 1246178.3627 | 2684972.8197 | 1246177.6938
13 | 2685024.9899 | 1246233.6816 | 2684993.8546 | 1246227.9089 | 2684982.2091 | 1246225.9608
14 | 2684952.1386 | 1246220.5784 | 2684953.7332 | 1246220.8668
15 | 2684998.5467 | 1246353.2797 | 2685018.1708 | 1246333.5353 | 2685022.9489 | 1246328.5668
16 | 2684998.5467 | 1246353.2797 | 2684989.0728 | 1246347.7088
17 | 2685022.9489 | 1246328.5668 | 2685012.5342 | 1246318.8501
18 | 2685022.9489 | 1246328.5668 | 2685036.7834 | 1246314.7882 | 2685059.0013 | 1246291.7342 | 2685068.6832 | 1246281.9992 | 2685093.8598 | 1246256.0079 | 2685095.9553 | 1246252.1351 | 2685099.2986 | 1246248.7027 | 2685099.3428 | 1246246.6796
19 | 2684968.3484 | 1246335.5223 | 2684989.0728 | 1246347.7088
20 | 2685099.3428 | 1246246.6796 | 2685100.6918 | 1246240.5945 | 2685101.6769 | 1246236.1832
21 | 2684917.4818 | 1246331.0911 | 2684913.5225 | 1246327.4318 | 2684917.4078 | 1246313.0546
22 | 2684917.4818 | 1246331.0911 | 2684931.1795 | 1246337.3919 | 2684938.2962 | 1246323.9488
23 | 2684938.2962 | 1246323.9488 | 2684938.6341 | 1246323.3105 | 2684942.2226 | 1246320.1595 | 2684949.6318 | 1246324.5164
24 | 2685011.6384 | 1246318.0144 | 2685012.5342 | 1246318.8501
25 | 2685024.9899 | 1246233.6816 | 2685038.355 | 1246236.0949
26 | 2685024.9899 | 1246233.6816 | 2685022.9123 | 1246245.9152
27 | 2685022.9123 | 1246245.9152 | 2685020.6327 | 1246259.3381 | 2685020.6327 | 1246259.3381
28 | 2685030.0848 | 1246178.3627 | 2685040.0758 | 1246178.4794
29 | 2684952.1386 | 1246220.5784 | 2684946.8969 | 1246219.6302 | 2684937.1629 | 1246218.0946
30 | 2684968.3484 | 1246335.5223 | 2684949.6318 | 1246324.5164
31 | 2685011.6384 | 1246318.0144 | 2684999.733 | 1246306.9069
32 | 2685020.6327 | 1246259.3381 | 2685010.0795 | 1246256.8951
33 | 2685002.4796 | 1246255.1357 | 2685010.0795 | 1246256.8951
34 | 2684999.4107 | 1246254.4253 | 2685002.4796 | 1246255.1357
35 | 2684989.3977 | 1246252.1073 | 2684999.4107 | 1246254.4253
36 | 2685001.422 | 1246305.0298 | 2684999.733 | 1246306.9069

## bus_geodata
| x | y | coords
0 | 2684992.1834 | 1246217.1752
1 | 2685031.5039 | 1246223.867
2 | 2684969.8637 | 1246213.3767
3 | 2685056.4053 | 1246228.1074
4 | 2684965.1916 | 1246212.5314
5 | 2684960.6159 | 1246177.5512
6 | 2685056.48 | 1246228.1201
7 | 2684948.6663 | 1246209.5274
8 | 2684962.9855 | 1246222.5405
9 | 2684972.8197 | 1246177.6938
10 | 2684982.2091 | 1246225.9608
11 | 2684953.7332 | 1246220.8668
12 | 2684998.5467 | 1246353.2797
13 | 2685022.9489 | 1246328.5668
14 | 2684989.0728 | 1246347.7088
15 | 2685099.3428 | 1246246.6796
16 | 2685101.6769 | 1246236.1832
17 | 2684917.4818 | 1246331.0911
18 | 2684917.4078 | 1246313.0546
19 | 2684938.2962 | 1246323.9488
20 | 2685012.5342 | 1246318.8501
21 | 2685024.9899 | 1246233.6816
22 | 2685038.355 | 1246236.0949
23 | 2685022.9123 | 1246245.9152
24 | 2685030.0848 | 1246178.3627
25 | 2684952.1386 | 1246220.5784
26 | 2684937.1629 | 1246218.0946
27 | 2684968.3484 | 1246335.5223
28 | 2685040.0758 | 1246178.4794
29 | 2684949.6318 | 1246324.5164
30 | 2685011.6384 | 1246318.0144
31 | 2685020.6328 | 1246259.3381
32 | 2685010.0795 | 1246256.8951
33 | 2685002.4796 | 1246255.1357
34 | 2684999.4107 | 1246254.4253
35 | 2684989.3977 | 1246252.1073
36 | 2684999.733 | 1246306.9069
37 | 2685001.422 | 1246305.0298
38 | 2684989.3977 | 1246252.1073

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98598 | -0.26805 | 0.052777 | 0.013227
1 | 0.98408 | -0.30479 | 0.021195 | 0.005312
2 | 0.98743 | -0.24014 | 0 | 0
3 | 0.98305 | -0.3249 | 0.023233 | 0.0058226
4 | 0.9878 | -0.23288 | 0 | 0
5 | 0.98569 | -0.27392 | 0 | 0
6 | 0.98304 | -0.32495 | 0.0083829 | 0.0021009
7 | 0.98754 | -0.23811 | 0.017422 | 0.0043663
8 | 0.98867 | -0.21611 | 0 | 0
9 | 0.98512 | -0.28509 | 0.018773 | 0.0047049
10 | 0.9905 | -0.18095 | 0.0069593 | 0.0017442
11 | 0.98843 | -0.22089 | 0.0095588 | 0.0023957
12 | 0.975 | -0.48191 | 0 | 0
13 | 0.97597 | -0.46296 | 0 | 0
14 | 0.97439 | -0.49394 | 0.0083065 | 0.0020818
15 | 0.98127 | -0.35942 | 0 | 0
16 | 0.9816 | -0.35287 | 0 | 0
17 | 0.97149 | -0.5511 | 0 | 0
18 | 0.97118 | -0.55729 | 0.016522 | 0.0041408
19 | 0.97196 | -0.54186 | 0.014868 | 0.0037262
20 | 0.97542 | -0.47373 | 0.0030684 | 0.00076901
21 | 0.99466 | -0.10135 | 0 | 0
22 | 0.99433 | -0.10768 | 0.026436 | 0.0066255
23 | 0.99595 | -0.076836 | 0.014144 | 0.0035448
24 | 0.98342 | -0.31828 | 0.016975 | 0.0042543
25 | 0.9884 | -0.22144 | 0.0093621 | 0.0023464
26 | 0.98827 | -0.22404 | 0.0095927 | 0.0024042
27 | 0.97324 | -0.51664 | 0.0086859 | 0.0021769
28 | 0.98328 | -0.32103 | 0.015237 | 0.0038189
29 | 0.97237 | -0.5337 | 0.011283 | 0.0028277
30 | 0.97537 | -0.47459 | 0.0022879 | 0.0005734
31 | 0.99742 | -0.048882 | 0.027662 | 0.0069329
32 | 0.99868 | -0.024954 | 0.0098291 | 0.0024634
33 | 0.99961 | -0.0073139 | 0.010927 | 0.0027386
34 | 1 | 0 | -0.44032 | -0.11212
35 | 0.99969 | -0.0060202 | 0.033596 | 0.0084201
36 | 0.97483 | -0.48532 | 0.0063532 | 0.0015923
37 | 0.97476 | -0.48669 | 0.029595 | 0.0074173
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1551 | 0.039377 | -0.15483 | -0.039203 | 0.0002736 | 0.00017358 | 0.23426 | 0.23426 | 0.23426 | 0.98598 | -0.26805 | 0.98408 | -0.30479 | 21.452
1 | -0.20788 | -0.052604 | 0.20816 | 0.052781 | 0.00027887 | 0.00017761 | 0.31391 | 0.3139 | 0.31391 | 0.98598 | -0.26805 | 0.98743 | -0.24014 | 28.7459
2 | 0.13363 | 0.033891 | -0.1335 | -0.033809 | 0.0001291 | 8.1664e-05 | 0.20221 | 0.20221 | 0.20221 | 0.98408 | -0.30479 | 0.98305 | -0.3249 | 18.5172
3 | -0.25931 | -0.065662 | 0.2594 | 0.06572 | 9.047e-05 | 5.7719e-05 | 0.391 | 0.391 | 0.391 | 0.98743 | -0.24014 | 0.9878 | -0.23288 | 35.8063
4 | 0.051148 | 0.012881 | -0.051065 | -0.012828 | 8.247e-05 | 5.2308e-05 | 0.0771 | 0.0771 | 0.0771 | 0.98743 | -0.24014 | 0.98569 | -0.27392 | 21.1814
5 | 0.11027 | 0.027987 | -0.11027 | -0.027986 | 2.6425e-07 | 1.6624e-07 | 0.16704 | 0.16704 | 0.16704 | 0.98305 | -0.3249 | 0.98304 | -0.32495 | 15.2968
6 | 0.017426 | 0.0043688 | -0.017422 | -0.0043663 | 4.3404e-06 | 2.5629e-06 | 0.026251 | 0.026251 | 0.026251 | 0.9878 | -0.23288 | 0.98754 | -0.23811 | 7.2118
7 | -0.27682 | -0.070089 | 0.27705 | 0.070231 | 0.00022305 | 0.00014236 | 0.41726 | 0.41726 | 0.41726 | 0.9878 | -0.23288 | 0.98867 | -0.21611 | 38.2102
8 | 0.051065 | 0.012828 | -0.051038 | -0.012811 | 2.7206e-05 | 1.7256e-05 | 0.0771 | 0.0771 | 0.0771 | 0.98569 | -0.27392 | 0.98512 | -0.28509 | 21.1814
9 | 0.10189 | 0.025886 | -0.10175 | -0.0258 | 0.00013673 | 8.5761e-05 | 0.15435 | 0.15435 | 0.15435 | 0.98304 | -0.32495 | 0.9816 | -0.35287 | 14.1349
10 | -0.30557 | -0.077382 | 0.30608 | 0.077712 | 0.00051693 | 0.00033008 | 0.46018 | 0.46018 | 0.46018 | 0.98867 | -0.21611 | 0.9905 | -0.18095 | 42.1413
11 | 0.028522 | 0.0071511 | -0.028515 | -0.0071471 | 6.4977e-06 | 4.038e-06 | 0.042928 | 0.042928 | 0.042928 | 0.98867 | -0.21611 | 0.98843 | -0.22089 | 11.7935
12 | 0.032266 | 0.0081063 | -0.032214 | -0.0080744 | 5.1027e-05 | 3.1929e-05 | 0.048744 | 0.048744 | 0.048744 | 0.98512 | -0.28509 | 0.98342 | -0.31828 | 13.3913
13 | -0.31304 | -0.079456 | 0.31425 | 0.080225 | 0.0012037 | 0.00076866 | 0.47064 | 0.47064 | 0.47064 | 0.9905 | -0.18095 | 0.99466 | -0.10135 | 43.0987
14 | 0.018957 | 0.0047514 | -0.018956 | -0.0047511 | 4.9491e-07 | 2.9597e-07 | 0.028538 | 0.028538 | 0.028538 | 0.98843 | -0.22089 | 0.9884 | -0.22144 | 7.8401
15 | -0.059814 | -0.015047 | 0.059868 | 0.015081 | 5.4217e-05 | 3.3833e-05 | 0.091307 | 0.091306 | 0.091307 | 0.975 | -0.48191 | 0.97597 | -0.46296 | 12.5421
16 | 0.059814 | 0.015047 | -0.05978 | -0.015026 | 3.436e-05 | 2.1853e-05 | 0.091307 | 0.091307 | 0.091307 | 0.975 | -0.48191 | 0.97439 | -0.49394 | 25.0843
17 | 0.041348 | 0.010379 | -0.041327 | -0.010366 | 2.1232e-05 | 1.341e-05 | 0.063047 | 0.063048 | 0.063048 | 0.97597 | -0.46296 | 0.97542 | -0.47373 | 17.3207
18 | -0.10122 | -0.02546 | 0.10172 | 0.02578 | 0.00050335 | 0.00031931 | 0.15435 | 0.15435 | 0.15435 | 0.97597 | -0.46296 | 0.98127 | -0.35942 | 21.2025
19 | 0.051473 | 0.012944 | -0.051417 | -0.012908 | 5.5729e-05 | 3.5368e-05 | 0.078622 | 0.078622 | 0.078622 | 0.97439 | -0.49394 | 0.97324 | -0.51664 | 21.5994
20 | -0.10172 | -0.02578 | 0.10175 | 0.0258 | 3.2023e-05 | 2.0087e-05 | 0.15435 | 0.15435 | 0.15435 | 0.98127 | -0.35942 | 0.9816 | -0.35287 | 14.1349
21 | 0.016527 | 0.0041437 | -0.016522 | -0.0041408 | 4.8745e-06 | 2.8686e-06 | 0.025314 | 0.025315 | 0.025315 | 0.97149 | -0.5511 | 0.97118 | -0.55729 | 6.9545
22 | -0.016527 | -0.0041437 | 0.016534 | 0.0041479 | 7.2784e-06 | 4.283e-06 | 0.025314 | 0.025314 | 0.025314 | 0.97149 | -0.5511 | 0.97196 | -0.54186 | 6.9545
23 | -0.031402 | -0.0078742 | 0.031414 | 0.0078818 | 1.2215e-05 | 7.6429e-06 | 0.048076 | 0.048076 | 0.048076 | 0.97196 | -0.54186 | 0.97237 | -0.5337 | 13.2077
24 | 0.038258 | 0.0095967 | -0.038257 | -0.0095957 | 1.5651e-06 | 9.8637e-07 | 0.058367 | 0.058367 | 0.058367 | 0.97542 | -0.47373 | 0.97537 | -0.47459 | 16.0348
25 | 0.026444 | 0.0066304 | -0.026436 | -0.0066255 | 7.971e-06 | 4.9252e-06 | 0.039561 | 0.039562 | 0.039562 | 0.99466 | -0.10135 | 0.99433 | -0.10768 | 10.8686
26 | -0.34069 | -0.086856 | 0.3411 | 0.087113 | 0.00040375 | 0.00025792 | 0.5102 | 0.5102 | 0.5102 | 0.99466 | -0.10135 | 0.99595 | -0.076836 | 46.7215
27 | -0.35524 | -0.090658 | 0.35572 | 0.090965 | 0.00048046 | 0.00030696 | 0.53133 | 0.53133 | 0.53133 | 0.99595 | -0.076836 | 0.99742 | -0.048882 | 48.6566
28 | 0.015239 | 0.00382 | -0.015237 | -0.0038189 | 1.9923e-06 | 1.1483e-06 | 0.023059 | 0.023059 | 0.023059 | 0.98342 | -0.31828 | 0.98328 | -0.32103 | 6.335
29 | 0.0095939 | 0.0024047 | -0.0095927 | -0.0024042 | 1.1876e-06 | 5.6555e-07 | 0.014444 | 0.014444 | 0.014444 | 0.9884 | -0.22144 | 0.98827 | -0.22404 | 3.968
30 | 0.042731 | 0.010731 | -0.042697 | -0.010709 | 3.4764e-05 | 2.1979e-05 | 0.065342 | 0.065342 | 0.065342 | 0.97324 | -0.51664 | 0.97237 | -0.5337 | 17.951
31 | 0.035969 | 0.0090223 | -0.03595 | -0.0090108 | 1.8387e-05 | 1.1565e-05 | 0.054876 | 0.054876 | 0.054876 | 0.97537 | -0.47459 | 0.97483 | -0.48532 | 15.0759
32 | -0.38338 | -0.097898 | 0.38383 | 0.098182 | 0.00044395 | 0.0002837 | 0.5726 | 0.5726 | 0.5726 | 0.99742 | -0.048882 | 0.99868 | -0.024954 | 52.4357
33 | -0.39366 | -0.10065 | 0.39399 | 0.10086 | 0.00033627 | 0.00021491 | 0.58724 | 0.58724 | 0.58724 | 0.99868 | -0.024954 | 0.99961 | -0.0073139 | 53.7768
34 | -0.40492 | -0.1036 | 0.40506 | 0.10369 | 0.00014342 | 9.1662e-05 | 0.60351 | 0.60351 | 0.60351 | 0.99961 | -0.0073139 | 1 | 0 | 55.2664
35 | 0.033606 | 0.0084261 | -0.033596 | -0.0084201 | 9.6384e-06 | 6.0338e-06 | 0.050008 | 0.050008 | 0.050008 | 1 | 0 | 0.99969 | -0.0060202 | 13.7384
36 | 0.029597 | 0.0074185 | -0.029595 | -0.0074173 | 1.9328e-06 | 1.2055e-06 | 0.045179 | 0.045179 | 0.045179 | 0.97483 | -0.48532 | 0.97476 | -0.48669 | 12.4117

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45358 | 0.11544

## res_load
| p_mw | q_mvar
0 | 0.052777 | 0.013227
1 | 0.021195 | 0.005312
2 | 0.023233 | 0.0058226
3 | 0.0083829 | 0.0021009
4 | 0.017422 | 0.0043663
5 | 0.018773 | 0.0047049
6 | 0.0069593 | 0.0017442
7 | 0.0095588 | 0.0023957
8 | 0.0083065 | 0.0020818
9 | 0.016522 | 0.0041408
10 | 0.014868 | 0.0037262
11 | 0.0030684 | 0.00076901
12 | 0.026436 | 0.0066255
13 | 0.014144 | 0.0035448
14 | 0.016975 | 0.0042543
15 | 0.0093621 | 0.0023464
16 | 0.0095927 | 0.0024042
17 | 0.0086859 | 0.0021769
18 | 0.015237 | 0.0038189
19 | 0.011283 | 0.0028277
20 | 0.0022879 | 0.0005734
21 | 0.027662 | 0.0069329
22 | 0.0098291 | 0.0024634
23 | 0.010927 | 0.0027386
24 | 0.013266 | 0.0033249
25 | 0.033596 | 0.0084201
26 | 0.0063532 | 0.0015923
27 | 0.029595 | 0.0074173

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1