## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-785_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-785_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-785_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-785_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-785_0_10_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-785_0_10_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-785_0_10_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_261-785_0_10_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_261-785_0_10_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_261-785_0_10_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_261-785_0_10_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_261-785_0_10_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_261-785_0_10_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_261-785_0_10_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-785_0_10_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_261-785_0_10_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-785_0_10_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_261-785_0_10_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_261-785_0_10_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_261-785_0_10_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_261-785_0_10_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-785_0_10_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_261-785_0_10_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-785_0_10_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_261-785_0_10_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_261-785_0_10_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_261-785_0_10_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-785_0_10_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_261-785_0_10_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_261-785_0_10_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_261-785_0_10_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_261-785_0_10_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_261-785_0_10_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_261-785_0_10_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_261-785_0_10_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_261-785_0_10_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_261-785_0_10_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-785_0_10_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_261-785_0_10_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_261-785_0_10_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_261-785_0_10_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_261-785_0_10_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_261-785_0_10_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_261-785_0_10_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_261-785_0_10_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-785_0_10_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_261-785_0_10_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_261-785_0_10_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_261-785_0_10_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_261-785_0_10_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_261-785_0_10_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_261-785_0_10_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_261-785_0_10_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_261-785_0_10_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_261-785_0_10_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_261-785_0_10_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_261-785_0_10_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_261-785_0_10_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_261-785_0_10_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_261-785_0_10_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_261-785_0_10_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_261-785_0_10_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_261-785_0_10_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_261-785_0_10_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_261-785_0_10_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_261-785_0_10_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_261-785_0_10_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_261-785_0_10_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_261-785_0_10_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_261-785_0_10_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_261-785_0_10_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_261-785_0_10_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_261-785_0_10_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_261-785_0_10_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_261-785_0_10_node_63 | 0.4 | n |  | TRUE
75 | bus_MV_494_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-785_0_10_load_0 | 0 | 0.01815 | 0.0045489 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-785_0_10_load_1 | 1 | 0.017213 | 0.0043139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-785_0_10_load_3 | 3 | 0.0049347 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-785_0_10_load_4 | 4 | 0.024879 | 0.0062351 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-785_0_10_load_5 | 5 | 0.0054898 | 0.0013759 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-785_0_10_load_21 | 6 | 0.0070198 | 0.0017593 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-785_0_10_load_38 | 7 | 0.0092044 | 0.0023068 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-785_0_10_load_56 | 8 | 0.0054511 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-785_0_10_load_19 | 9 | 0.007835 | 0.0019636 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-785_0_10_load_37 | 10 | 0.01088 | 0.0027268 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-785_0_10_load_57 | 11 | 0.019991 | 0.0050101 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-785_0_10_load_6 | 12 | 0.040376 | 0.010119 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-785_0_10_load_7 | 13 | 0.0044485 | 0.0011149 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-785_0_10_load_8 | 14 | 0.021252 | 0.0053263 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-785_0_10_load_9 | 15 | 0.043517 | 0.010907 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-785_0_10_load_16 | 17 | 0.0085557 | 0.0021443 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-785_0_10_load_41 | 18 | 0.023982 | 0.0060106 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-785_0_10_load_42 | 19 | 0.013325 | 0.0033395 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-785_0_10_load_43 | 21 | 0.01232 | 0.0030878 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-785_0_10_load_11 | 23 | 0.011092 | 0.00278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-785_0_10_load_12 | 24 | 0.028375 | 0.0071115 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-785_0_10_load_14 | 25 | 0.019388 | 0.0048591 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-785_0_10_load_67 | 27 | 0.0015505 | 0.00038858 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-785_0_10_load_69 | 29 | 0.014803 | 0.0037099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-785_0_10_load_50 | 32 | 0.0017557 | 0.00044003 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-785_0_10_load_75 | 34 | 0.0036039 | 0.00090322 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-785_0_10_load_26 | 37 | 0.010206 | 0.0025578 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-785_0_10_load_23 | 39 | 0.012695 | 0.0031818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-785_0_10_load_20 | 40 | 0.0049058 | 0.0012295 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-785_0_10_load_22 | 41 | 0.0088685 | 0.0022227 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-785_0_10_load_66 | 42 | 0.0018112 | 0.00045394 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-785_0_10_load_55 | 43 | 0.0049346 | 0.0012367 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-785_0_10_load_28 | 45 | 0.010175 | 0.00255 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-785_0_10_load_29 | 46 | 0.012447 | 0.0031194 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-785_0_10_load_73 | 48 | 0.00060263 | 0.00015103 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-785_0_10_load_33 | 50 | 0.0041258 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-785_0_10_load_31 | 51 | 0.010508 | 0.0026334 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-785_0_10_load_65 | 53 | 0.0056239 | 0.0014095 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-785_0_10_load_53 | 54 | 0.0048906 | 0.0012257 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-785_0_10_load_45 | 55 | 0.00074222 | 0.00018602 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-785_0_10_load_46 | 56 | 0.00076018 | 0.00019052 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-785_0_10_load_47 | 57 | 0.00067546 | 0.00016929 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-785_0_10_load_74 | 59 | 0.00077265 | 0.00019364 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-785_0_10_load_64 | 61 | 0.0053765 | 0.0013475 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-785_0_10_load_51 | 62 | 0.0033952 | 0.00085091 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-785_0_10_load_35 | 63 | 0.043649 | 0.010939 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-785_0_10_load_36 | 64 | 0.0053968 | 0.0013526 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-785_0_10_load_44 | 65 | 0.024866 | 0.0062321 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-785_0_10_load_58 | 67 | 0.016023 | 0.0040158 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-785_0_10_load_61 | 69 | 0.0048082 | 0.001205 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-785_0_10_load_52 | 70 | 0.0048908 | 0.0012258 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-785_0_10_load_54 | 71 | 0.0078316 | 0.0019628 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-785_0_10_load_59 | 72 | 0.0040441 | 0.0010135 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-785_0_10_load_63 | 74 | 0.0082885 | 0.0020773 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-785_0_10_line_0 |  | 0 | 1 | 0.049327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_261-785_0_10_line_1 |  | 0 | 2 | 0.0048066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_261-785_0_10_line_2 |  | 1 | 3 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-785_0_10_line_3 |  | 2 | 4 | 0.024801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_261-785_0_10_line_4 |  | 2 | 5 | 0.035986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-785_0_10_line_5 |  | 3 | 6 | 0.0024424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-785_0_10_line_6 |  | 4 | 7 | 0.00092798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_261-785_0_10_line_7 |  | 5 | 8 | 0.002896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-785_0_10_line_8 |  | 6 | 9 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-785_0_10_line_9 |  | 7 | 10 | 0.0010235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_261-785_0_10_line_10 |  | 8 | 11 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-785_0_10_line_11 |  | 9 | 40 | 0.00055784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-785_0_10_line_12 |  | 10 | 33 | 0.12827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_261-785_0_10_line_13 |  | 11 | 67 | 0.019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-785_0_10_line_14 |  | 12 | 13 | 0.019699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_261-785_0_10_line_15 |  | 12 | 14 | 0.0071417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_261-785_0_10_line_16 |  | 13 | 15 | 0.0038623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_261-785_0_10_line_17 |  | 14 | 16 | 0.00027545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_261-785_0_10_line_18 |  | 15 | 17 | 0.013238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_261-785_0_10_line_19 |  | 16 | 18 | 0.016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_261-785_0_10_line_20 |  | 16 | 19 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-785_0_10_line_21 |  | 17 | 20 | 0.031567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_261-785_0_10_line_22 |  | 18 | 21 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_261-785_0_10_line_23 |  | 19 | 22 | 0.018079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-785_0_10_line_24 |  | 20 | 23 | 0.017268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_261-785_0_10_line_25 |  | 21 | 46 | 0.003767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_261-785_0_10_line_26 |  | 22 | 31 | 0.00479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-785_0_10_line_27 |  | 23 | 24 | 0.031314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_261-785_0_10_line_28 |  | 24 | 25 | 0.0019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_261-785_0_10_line_29 |  | 25 | 26 | 0.10289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_261-785_0_10_line_30 |  | 26 | 33 | 0.13859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_261-785_0_10_line_31 |  | 27 | 28 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-785_0_10_line_32 |  | 27 | 29 | 0.012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-785_0_10_line_33 |  | 28 | 30 | 0.034238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-785_0_10_line_34 |  | 30 | 34 | 0.008286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-785_0_10_line_35 |  | 30 | 35 | 0.067142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-785_0_10_line_36 |  | 31 | 32 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-785_0_10_line_37 |  | 35 | 59 | 0.0020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-785_0_10_line_38 |  | 36 | 37 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-785_0_10_line_39 |  | 36 | 38 | 0.004919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-785_0_10_line_40 |  | 36 | 39 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-785_0_10_line_41 |  | 37 | 47 | 0.012871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-785_0_10_line_42 |  | 37 | 48 | 0.059314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-785_0_10_line_43 |  | 38 | 49 | 0.10882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-785_0_10_line_44 |  | 39 | 44 | 0.01598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-785_0_10_line_45 |  | 40 | 41 | 0.0099722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-785_0_10_line_46 |  | 41 | 42 | 0.0068901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-785_0_10_line_47 |  | 42 | 43 | 0.00075014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-785_0_10_line_48 |  | 43 | 71 | 0.016882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-785_0_10_line_49 |  | 44 | 45 | 0.0063677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-785_0_10_line_50 |  | 44 | 46 | 0.033813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_261-785_0_10_line_51 |  | 45 | 50 | 0.0070979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-785_0_10_line_52 |  | 47 | 51 | 0.021666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-785_0_10_line_53 |  | 49 | 56 | 0.0034853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-785_0_10_line_54 |  | 50 | 60 | 0.019776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-785_0_10_line_55 |  | 52 | 53 | 0.0037895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-785_0_10_line_56 |  | 52 | 54 | 0.0039802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-785_0_10_line_57 |  | 53 | 61 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-785_0_10_line_58 |  | 54 | 62 | 0.025984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-785_0_10_line_59 |  | 55 | 56 | 2.7177e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-785_0_10_line_60 |  | 55 | 57 | 0.0065399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-785_0_10_line_61 |  | 57 | 58 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-785_0_10_line_62 |  | 58 | 59 | 0.0042091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-785_0_10_line_63 |  | 60 | 63 | 0.002854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-785_0_10_line_64 |  | 60 | 64 | 0.025492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-785_0_10_line_65 |  | 61 | 74 | 0.0010668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-785_0_10_line_66 |  | 62 | 70 | 0.0026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-785_0_10_line_67 |  | 64 | 65 | 0.0018298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-785_0_10_line_68 |  | 66 | 67 | 0.026794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-785_0_10_line_69 |  | 66 | 68 | 0.1594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-785_0_10_line_70 |  | 68 | 69 | 0.031474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-785_0_10_line_71 |  | 69 | 73 | 0.009893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-785_0_10_line_72 |  | 70 | 71 | 0.0070916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-785_0_10_line_73 |  | 72 | 73 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-785_0_10_trafo_8 | 0.63 MVA 20/0.4 kV | 75 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2685179.3614 | 1244759.4308 | 2685205.7916 | 1244717.7824
1 | 2685176.786 | 1244763.4892 | 2685179.3614 | 1244759.4308
2 | 2685205.7916 | 1244717.7824 | 2685214.4642 | 1244704.1162
3 | 2685176.786 | 1244763.4892 | 2685168.3559 | 1244777.445 | 2685163.7342 | 1244784.5752
4 | 2685176.786 | 1244763.4892 | 2685208.2031 | 1244781.0375
5 | 2685214.4642 | 1244704.1162 | 2685215.7729 | 1244702.054
6 | 2685163.7342 | 1244784.5752 | 2685163.2294 | 1244785.3539
7 | 2685208.2031 | 1244781.0375 | 2685210.7314 | 1244782.4497
8 | 2685223.6032 | 1244689.7151 | 2685215.7729 | 1244702.054
9 | 2685162.6727 | 1244786.2127 | 2685163.2294 | 1244785.3539
10 | 2685215.186 | 1244790.1268 | 2685215.186 | 1244790.1268 | 2685210.3299 | 1244786.2319 | 2685211.1742 | 1244782.697 | 2685210.7314 | 1244782.4497
11 | 2685223.6032 | 1244689.7151 | 2685223.9021 | 1244689.244
12 | 2685098.9841 | 1244897.3487 | 2685128.8877 | 1244838.3344 | 2685162.6727 | 1244786.2127
13 | 2685215.186 | 1244790.1268 | 2685211.7864 | 1244803.7212 | 2685209.0705 | 1244808.3145
14 | 2685101.1291 | 1244694.121 | 2685105.1985 | 1244686.0607 | 2685113.9985 | 1244680.0269
15 | 2685117.1683 | 1244673.6272 | 2685113.9985 | 1244680.0269 | 2685113.9985 | 1244680.0269
16 | 2685101.1291 | 1244694.121 | 2685099.3885 | 1244697.5688
17 | 2685117.1683 | 1244673.6272 | 2685117.2906 | 1244673.3804
18 | 2685093.4221 | 1244709.3866 | 2685099.3885 | 1244697.5688
19 | 2685117.2906 | 1244673.3804 | 2685123.4865 | 1244657.7204
20 | 2685117.2906 | 1244673.3804 | 2685101.7163 | 1244666.3962
21 | 2685066.2892 | 1244693.2524 | 2685093.4221 | 1244709.3866
22 | 2685129.1783 | 1244643.3345 | 2685123.4865 | 1244657.7204
23 | 2685085.2203 | 1244658.9987 | 2685101.7163 | 1244666.3962
24 | 2685066.2892 | 1244693.2524 | 2685057.0761 | 1244707.8575
25 | 2685130.5642 | 1244639.8316 | 2685129.1783 | 1244643.3345
26 | 2685080.8193 | 1244657.0787 | 2685085.2203 | 1244658.9987
27 | 2685040.3693 | 1244734.3419 | 2685057.0761 | 1244707.8575
28 | 2685039.3329 | 1244735.9848 | 2685040.3693 | 1244734.3419
29 | 2684983.5758 | 1244822.4507 | 2684988.805 | 1244814.0305 | 2685023.0311 | 1244761.8271 | 2685039.3329 | 1244735.9848
30 | 2685098.9841 | 1244897.3487 | 2685091.1338 | 1244896.7357 | 2685048.1381 | 1244866.497 | 2685044.1717 | 1244863.7937 | 2684983.5758 | 1244822.4507
31 | 2684950.0884 | 1244661.7534 | 2684941.9514 | 1244657.3892 | 2684934.3656 | 1244652.9387
32 | 2684923.9428 | 1244646.8237 | 2684934.3656 | 1244652.9387
33 | 2684950.0884 | 1244661.7534 | 2684951.157 | 1244658.3773 | 2684952.4268 | 1244655.7269 | 2684955.1563 | 1244651.941 | 2684968.6275 | 1244633.1868
34 | 2684961.0042 | 1244629.8863 | 2684967.4483 | 1244632.6806 | 2684968.6275 | 1244633.1868
35 | 2684968.6275 | 1244633.1868 | 2684974.0636 | 1244626.1595 | 2684981.5306 | 1244621.9078 | 2684974.3222 | 1244609.6956 | 2684973.7864 | 1244602.2602 | 2684975.431 | 1244595.6122 | 2684978.4876 | 1244587.4612 | 2684985.0632 | 1244576.8587
36 | 2685080.8193 | 1244657.0787 | 2685085.6706 | 1244645.0801
37 | 2684985.0632 | 1244576.8587 | 2684986.4781 | 1244575.3462
38 | 2685110.8524 | 1244595.9535 | 2685116.3764 | 1244583.3457 | 2685119.1031 | 1244578.4302
39 | 2685106.2529 | 1244594.1751 | 2685110.8524 | 1244595.9535
40 | 2685110.8524 | 1244595.9535 | 2685128.1 | 1244602.6253
41 | 2685127.1095 | 1244568.4888 | 2685123.0116 | 1244572.2995 | 2685119.9684 | 1244576.8703 | 2685119.1031 | 1244578.4302
42 | 2685119.1031 | 1244578.4302 | 2685070.5616 | 1244544.3445
43 | 2685106.2529 | 1244594.1751 | 2685003.7642 | 1244557.5902
44 | 2685143.0039 | 1244608.3906 | 2685128.1 | 1244602.6253
45 | 2685223.9021 | 1244689.244 | 2685229.2453 | 1244680.8242
46 | 2685229.2453 | 1244680.8242 | 2685232.9371 | 1244675.0067
47 | 2685232.9371 | 1244675.0067 | 2685233.3391 | 1244674.3733
48 | 2685233.3391 | 1244674.3733 | 2685242.3846 | 1244660.1195
49 | 2685143.0039 | 1244608.3906 | 2685149.2909 | 1244607.38
50 | 2685143.0039 | 1244608.3906 | 2685130.5642 | 1244639.8316
51 | 2685149.2909 | 1244607.38 | 2685155.8014 | 1244610.2073
52 | 2685127.1095 | 1244568.4888 | 2685146.5901 | 1244577.9713
53 | 2685003.7642 | 1244557.5902 | 2685001.4729 | 1244560.2166
54 | 2685165.8023 | 1244624.8298 | 2685166.8615 | 1244622.6434 | 2685164.3122 | 1244620.1828 | 2685160.0158 | 1244612.0374 | 2685155.8014 | 1244610.2073
55 | 2685264.055 | 1244626.8646 | 2685266.1227 | 1244623.689
56 | 2685264.055 | 1244626.8646 | 2685261.8341 | 1244630.1676
57 | 2685266.1227 | 1244623.689 | 2685269.2481 | 1244618.889 | 2685278.6513 | 1244606.078
58 | 2685247.5989 | 1244651.9028 | 2685253.9695 | 1244641.864 | 2685261.8341 | 1244630.1676
59 | 2685001.4729 | 1244560.2166 | 2685001.4551 | 1244560.2371
60 | 2685001.4551 | 1244560.2371 | 2684999.1463 | 1244562.8835 | 2684996.9606 | 1244564.9791
61 | 2684989.3535 | 1244572.2723 | 2684996.9606 | 1244564.9791
62 | 2684989.3535 | 1244572.2723 | 2684986.4781 | 1244575.3462
63 | 2685165.8023 | 1244624.8298 | 2685164.5637 | 1244627.4028
64 | 2685165.8023 | 1244624.8298 | 2685169.2926 | 1244625.9585 | 2685175.1459 | 1244624.6305 | 2685178.192 | 1244624.0627 | 2685182.5277 | 1244625.7928 | 2685180.1088 | 1244631.6179 | 2685179.4544 | 1244633.2379
65 | 2685279.2825 | 1244605.218 | 2685278.6513 | 1244606.078
66 | 2685247.5989 | 1244651.9028 | 2685246.1843 | 1244654.1319
67 | 2685178.7689 | 1244634.9345 | 2685179.4544 | 1244633.2379
68 | 2685211.2143 | 1244828.8092 | 2685202.7548 | 1244823.2503 | 2685202.7245 | 1244819.0468 | 2685209.0705 | 1244808.3145
69 | 2685211.2143 | 1244828.8092 | 2685217.6554 | 1244829.1575 | 2685225.5552 | 1244834.2192 | 2685228.3932 | 1244836.039 | 2685248.439 | 1244852.528 | 2685253.4497 | 1244855.1241 | 2685262.5671 | 1244853.2871 | 2685272.0351 | 1244848.0972 | 2685285.8513 | 1244837.4435 | 2685300.0161 | 1244822.0025 | 2685322.9594 | 1244788.3744 | 2685328.0905 | 1244780.509
70 | 2685328.0905 | 1244780.509 | 2685340.5853 | 1244762.9759 | 2685345.4456 | 1244754.3002
71 | 2685350.2808 | 1244745.6693 | 2685345.4456 | 1244754.3002
72 | 2685246.1843 | 1244654.1319 | 2685242.3846 | 1244660.1195
73 | 2685350.2808 | 1244745.6693 | 2685356.1371 | 1244734.8509

## bus_geodata
| x | y | coords
0 | 2685179.3614 | 1244759.4308
1 | 2685205.7916 | 1244717.7824
2 | 2685176.786 | 1244763.4892
3 | 2685214.4642 | 1244704.1162
4 | 2685163.7342 | 1244784.5752
5 | 2685208.2031 | 1244781.0375
6 | 2685215.7729 | 1244702.054
7 | 2685163.2294 | 1244785.3539
8 | 2685210.7314 | 1244782.4497
9 | 2685223.6032 | 1244689.7151
10 | 2685162.6727 | 1244786.2127
11 | 2685215.186 | 1244790.1268
12 | 2685113.9985 | 1244680.0269
13 | 2685101.1291 | 1244694.121
14 | 2685117.1683 | 1244673.6272
15 | 2685099.3885 | 1244697.5688
16 | 2685117.2906 | 1244673.3804
17 | 2685093.4221 | 1244709.3866
18 | 2685123.4865 | 1244657.7204
19 | 2685101.7163 | 1244666.3962
20 | 2685066.2892 | 1244693.2524
21 | 2685129.1783 | 1244643.3345
22 | 2685085.2203 | 1244658.9987
23 | 2685057.0761 | 1244707.8575
24 | 2685040.3693 | 1244734.3419
25 | 2685039.3329 | 1244735.9848
26 | 2684983.5758 | 1244822.4507
27 | 2684934.3656 | 1244652.9387
28 | 2684950.0884 | 1244661.7534
29 | 2684923.9428 | 1244646.8237
30 | 2684968.6275 | 1244633.1868
31 | 2685080.8193 | 1244657.0787
32 | 2685085.6706 | 1244645.0801
33 | 2685098.9841 | 1244897.3487
34 | 2684961.0042 | 1244629.8863
35 | 2684985.0632 | 1244576.8587
36 | 2685110.8524 | 1244595.9535
37 | 2685119.1031 | 1244578.4302
38 | 2685106.2529 | 1244594.1751
39 | 2685128.1 | 1244602.6253
40 | 2685223.9021 | 1244689.244
41 | 2685229.2453 | 1244680.8242
42 | 2685232.9371 | 1244675.0067
43 | 2685233.3391 | 1244674.3733
44 | 2685143.0039 | 1244608.3906
45 | 2685149.2909 | 1244607.38
46 | 2685130.5642 | 1244639.8316
47 | 2685127.1095 | 1244568.4888
48 | 2685070.5616 | 1244544.3445
49 | 2685003.7642 | 1244557.5902
50 | 2685155.8014 | 1244610.2073
51 | 2685146.5901 | 1244577.9713
52 | 2685264.055 | 1244626.8646
53 | 2685266.1227 | 1244623.689
54 | 2685261.8341 | 1244630.1676
55 | 2685001.4551 | 1244560.2371
56 | 2685001.4729 | 1244560.2166
57 | 2684996.9606 | 1244564.9791
58 | 2684989.3535 | 1244572.2723
59 | 2684986.4781 | 1244575.3462
60 | 2685165.8023 | 1244624.8298
61 | 2685278.6513 | 1244606.078
62 | 2685247.5989 | 1244651.9028
63 | 2685164.5637 | 1244627.4028
64 | 2685179.4544 | 1244633.2379
65 | 2685178.7689 | 1244634.9345
66 | 2685211.2143 | 1244828.8092
67 | 2685209.0705 | 1244808.3145
68 | 2685328.0905 | 1244780.509
69 | 2685345.4456 | 1244754.3002
70 | 2685246.1843 | 1244654.1319
71 | 2685242.3846 | 1244660.1195
72 | 2685356.1371 | 1244734.8509
73 | 2685350.2808 | 1244745.6693
74 | 2685279.2825 | 1244605.218
75 | 2685117.281 | 1244673.3761

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97736 | -0.43446 | 0.01815 | 0.0045489
1 | 0.97646 | -0.45209 | 0.017213 | 0.0043139
2 | 0.97746 | -0.43243 | 0 | 0
3 | 0.97524 | -0.47597 | 0.0049347 | 0.0012368
4 | 0.97826 | -0.4169 | 0.024879 | 0.0062351
5 | 0.9756 | -0.46914 | 0.0054898 | 0.0013759
6 | 0.97507 | -0.47936 | 0.0070198 | 0.0017593
7 | 0.97829 | -0.41623 | 0.0092044 | 0.0023068
8 | 0.97546 | -0.47181 | 0.0054511 | 0.0013662
9 | 0.97414 | -0.49777 | 0.007835 | 0.0019636
10 | 0.97833 | -0.41546 | 0.01088 | 0.0027268
11 | 0.97503 | -0.48034 | 0.019991 | 0.0050101
12 | 0.99951 | -0.0092805 | 0.040376 | 0.010119
13 | 0.9983 | -0.032144 | 0.0044485 | 0.0011149
14 | 1 | 0 | -0.5895 | -0.14977
15 | 0.99807 | -0.036573 | 0.043517 | 0.010907
16 | 0.99999 | -0.00020067 | 0 | 0
17 | 0.99737 | -0.049751 | 0.0085557 | 0.0021443
18 | 0.99939 | -0.011591 | 0.023982 | 0.0060106
19 | 0.99976 | -0.0046886 | 0.013325 | 0.0033395
20 | 0.99575 | -0.080298 | 0 | 0
21 | 0.99891 | -0.02077 | 0.01232 | 0.0030878
22 | 0.99973 | -0.0052424 | 0 | 0
23 | 0.99487 | -0.09705 | 0.011092 | 0.00278
24 | 0.99333 | -0.12628 | 0.028375 | 0.0071115
25 | 0.99325 | -0.1279 | 0.019388 | 0.0048591
26 | 0.98909 | -0.20705 | 0 | 0
27 | 0.99007 | -0.19118 | 0.0015505 | 0.00038858
28 | 0.99034 | -0.18594 | 0 | 0
29 | 0.98991 | -0.19436 | 0.014803 | 0.0037099
30 | 0.99086 | -0.17599 | 0 | 0
31 | 0.99972 | -0.0053892 | 0 | 0
32 | 0.9997 | -0.0057855 | 0.0017557 | 0.00044003
33 | 0.9835 | -0.31473 | 0 | 0
34 | 0.99083 | -0.17652 | 0.0036039 | 0.00090322
35 | 0.99208 | -0.15223 | 0 | 0
36 | 0.99499 | -0.096185 | 0 | 0
37 | 0.99461 | -0.10346 | 0.010206 | 0.0025578
38 | 0.99489 | -0.09817 | 0 | 0
39 | 0.99574 | -0.081793 | 0.012695 | 0.0031818
40 | 0.97411 | -0.49839 | 0.0049058 | 0.0012295
41 | 0.97359 | -0.50864 | 0.0088685 | 0.0022227
42 | 0.97328 | -0.5146 | 0.0018112 | 0.00045394
43 | 0.97325 | -0.51523 | 0.0049346 | 0.0012367
44 | 0.99657 | -0.065813 | 0 | 0
45 | 0.99605 | -0.075677 | 0.010175 | 0.00255
46 | 0.99881 | -0.022844 | 0.012447 | 0.0031194
47 | 0.99449 | -0.10585 | 0 | 0
48 | 0.99458 | -0.10409 | 0.00060263 | 0.00015103
49 | 0.9926 | -0.14218 | 0 | 0
50 | 0.99555 | -0.085413 | 0.0041258 | 0.001034
51 | 0.99428 | -0.10986 | 0.010508 | 0.0026334
52 | 0.97168 | -0.54634 | 0 | 0
53 | 0.97161 | -0.54769 | 0.0056239 | 0.0014095
54 | 0.97175 | -0.54493 | 0.0048906 | 0.0012257
55 | 0.99253 | -0.14361 | 0.00074222 | 0.00018602
56 | 0.99253 | -0.14359 | 0.00076018 | 0.00019052
57 | 0.9924 | -0.14608 | 0.00067546 | 0.00016929
58 | 0.9922 | -0.14995 | 0 | 0
59 | 0.99212 | -0.1515 | 0.00077265 | 0.00019364
60 | 0.99422 | -0.11115 | 0 | 0
61 | 0.97133 | -0.55315 | 0.0053765 | 0.0013475
62 | 0.97233 | -0.53334 | 0.0033952 | 0.00085091
63 | 0.9941 | -0.11335 | 0.043649 | 0.010939
64 | 0.99351 | -0.12477 | 0.0053968 | 0.0013526
65 | 0.99347 | -0.12557 | 0.024866 | 0.0062321
66 | 0.97436 | -0.49352 | 0 | 0
67 | 0.97458 | -0.48917 | 0.016023 | 0.0040158
68 | 0.97304 | -0.51948 | 0 | 0
69 | 0.97278 | -0.52461 | 0.0048082 | 0.001205
70 | 0.9724 | -0.53199 | 0.0048908 | 0.0012258
71 | 0.97262 | -0.52775 | 0.0078316 | 0.0019628
72 | 0.9727 | -0.52626 | 0.0040441 | 0.0010135
73 | 0.97275 | -0.52535 | 0 | 0
74 | 0.97132 | -0.55331 | 0.0082885 | 0.0020773
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.098163 | 0.024731 | -0.09808 | -0.024681 | 8.2684e-05 | 4.983e-05 | 0.1495 | 0.1495 | 0.1495 | 0.97736 | -0.43446 | 0.97646 | -0.45209 | 8.2142
1 | -0.11631 | -0.02928 | 0.11632 | 0.029287 | 1.1311e-05 | 6.9377e-06 | 0.17713 | 0.17713 | 0.17713 | 0.97736 | -0.43446 | 0.97746 | -0.43243 | 9.7325
2 | 0.080867 | 0.020367 | -0.080775 | -0.020308 | 9.223e-05 | 5.8825e-05 | 0.12327 | 0.12327 | 0.12327 | 0.97646 | -0.45209 | 0.97524 | -0.47597 | 33.8651
3 | -0.17228 | -0.043365 | 0.17241 | 0.043445 | 0.00012801 | 8.0371e-05 | 0.26233 | 0.26233 | 0.26233 | 0.97746 | -0.43243 | 0.97826 | -0.4169 | 14.4139
4 | 0.055956 | 0.014078 | -0.055858 | -0.014015 | 9.7963e-05 | 6.2246e-05 | 0.085202 | 0.085202 | 0.085202 | 0.97746 | -0.43243 | 0.9756 | -0.46914 | 23.4071
5 | 0.075841 | 0.019072 | -0.075828 | -0.019064 | 1.2269e-05 | 7.8218e-06 | 0.11574 | 0.11574 | 0.11574 | 0.97524 | -0.47597 | 0.97507 | -0.47936 | 31.7966
6 | -0.19729 | -0.04968 | 0.19729 | 0.049684 | 6.2712e-06 | 3.9553e-06 | 0.30018 | 0.30018 | 0.30018 | 0.97826 | -0.4169 | 0.97829 | -0.41623 | 16.4932
7 | 0.050368 | 0.01264 | -0.050361 | -0.012636 | 6.4104e-06 | 4.0665e-06 | 0.076829 | 0.076829 | 0.076829 | 0.9756 | -0.46914 | 0.97546 | -0.47181 | 21.1068
8 | 0.068808 | 0.017304 | -0.068748 | -0.017266 | 6.045e-05 | 3.8506e-05 | 0.10503 | 0.10503 | 0.10503 | 0.97507 | -0.47936 | 0.97414 | -0.49777 | 28.8536
9 | -0.2065 | -0.051991 | 0.2065 | 0.051996 | 7.5767e-06 | 4.7848e-06 | 0.31418 | 0.31418 | 0.31418 | 0.97829 | -0.41623 | 0.97833 | -0.41546 | 17.2624
10 | 0.04491 | 0.011269 | -0.044892 | -0.011258 | 1.8248e-05 | 1.1549e-05 | 0.068513 | 0.068513 | 0.068513 | 0.97546 | -0.47181 | 0.97503 | -0.48034 | 18.8224
11 | 0.060913 | 0.015302 | -0.060911 | -0.015301 | 1.8116e-06 | 1.1525e-06 | 0.093059 | 0.093059 | 0.093059 | 0.97414 | -0.49777 | 0.97411 | -0.49839 | 25.5657
12 | -0.21739 | -0.054722 | 0.21844 | 0.055388 | 0.0010523 | 0.00066535 | 0.33072 | 0.33072 | 0.33072 | 0.97833 | -0.41546 | 0.9835 | -0.31473 | 18.1716
13 | 0.024901 | 0.0062477 | -0.024891 | -0.0062412 | 1.048e-05 | 6.4663e-06 | 0.038005 | 0.038005 | 0.038005 | 0.97503 | -0.48034 | 0.97458 | -0.48917 | 10.441
14 | 0.33747 | 0.086619 | -0.33709 | -0.086381 | 0.000374 | 0.00023807 | 0.50313 | 0.50313 | 0.50313 | 0.99951 | -0.0092805 | 0.9983 | -0.032144 | 27.6444
15 | -0.37784 | -0.096738 | 0.37801 | 0.096846 | 0.00016992 | 0.00010828 | 0.56324 | 0.56324 | 0.56324 | 0.99951 | -0.0092805 | 1 | 0 | 30.9471
16 | 0.33264 | 0.085266 | -0.33257 | -0.08522 | 7.1407e-05 | 4.5448e-05 | 0.4965 | 0.4965 | 0.4965 | 0.9983 | -0.032144 | 0.99807 | -0.036573 | 27.2801
17 | 0.20984 | 0.052922 | -0.20984 | -0.052921 | 2.0157e-06 | 1.2719e-06 | 0.31236 | 0.31236 | 0.31236 | 1 | 0 | 0.99999 | -0.00020067 | 17.1627
18 | 0.28906 | 0.074314 | -0.28887 | -0.074196 | 0.00018497 | 0.00011752 | 0.43162 | 0.43162 | 0.43162 | 0.99807 | -0.036573 | 0.99737 | -0.049751 | 23.7154
19 | 0.19475 | 0.04914 | -0.19465 | -0.049073 | 0.00010616 | 6.684e-05 | 0.28991 | 0.28992 | 0.28992 | 0.99999 | -0.00020067 | 0.99939 | -0.011591 | 15.9294
20 | 0.015084 | 0.003781 | -0.015081 | -0.0037791 | 3.2247e-06 | 1.8399e-06 | 0.022445 | 0.022445 | 0.022445 | 0.99999 | -0.00020067 | 0.99976 | -0.0046886 | 6.1663
21 | 0.28032 | 0.072052 | -0.2799 | -0.071788 | 0.00041536 | 0.00026378 | 0.41886 | 0.41886 | 0.41886 | 0.99737 | -0.049751 | 0.99575 | -0.080298 | 23.0141
22 | 0.17066 | 0.043062 | -0.17059 | -0.043015 | 7.4982e-05 | 4.6975e-05 | 0.25421 | 0.25421 | 0.25421 | 0.99939 | -0.011591 | 0.99891 | -0.02077 | 13.9675
23 | 0.0017558 | 0.00043962 | -0.0017558 | -0.00043983 | 4.6298e-08 | -2.0743e-07 | 0.0026132 | 0.0026133 | 0.0026133 | 0.99976 | -0.0046886 | 0.99973 | -0.0052424 | 0.71794
24 | 0.2799 | 0.071788 | -0.27967 | -0.071644 | 0.00022722 | 0.0001443 | 0.41886 | 0.41886 | 0.41886 | 0.99575 | -0.080298 | 0.99487 | -0.09705 | 23.0141
25 | 0.15827 | 0.039928 | -0.15825 | -0.039918 | 1.5716e-05 | 9.8119e-06 | 0.23586 | 0.23586 | 0.23586 | 0.99891 | -0.02077 | 0.99881 | -0.022844 | 12.9591
26 | 0.0017558 | 0.00043983 | -0.0017558 | -0.00043988 | 1.2267e-08 | -5.4956e-08 | 0.0026133 | 0.0026133 | 0.0026133 | 0.99973 | -0.0052424 | 0.99972 | -0.0053892 | 0.71794
27 | 0.26858 | 0.068864 | -0.2682 | -0.068623 | 0.00038003 | 0.00024119 | 0.40227 | 0.40227 | 0.40227 | 0.99487 | -0.09705 | 0.99333 | -0.12628 | 22.1025
28 | 0.23983 | 0.061511 | -0.23981 | -0.061499 | 1.8856e-05 | 1.1942e-05 | 0.35976 | 0.35976 | 0.35976 | 0.99333 | -0.12628 | 0.99325 | -0.1279 | 19.7671
29 | 0.22042 | 0.05664 | -0.21957 | -0.056107 | 0.000844 | 0.00053353 | 0.33072 | 0.33072 | 0.33072 | 0.99325 | -0.1279 | 0.98909 | -0.20705 | 18.1713
30 | 0.21957 | 0.056107 | -0.21844 | -0.055388 | 0.0011369 | 0.00071878 | 0.33072 | 0.33072 | 0.33072 | 0.98909 | -0.20705 | 0.9835 | -0.31473 | 18.1715
31 | -0.016356 | -0.0040998 | 0.01636 | 0.0041022 | 4.0851e-06 | 2.3826e-06 | 0.024582 | 0.024581 | 0.024582 | 0.99007 | -0.19118 | 0.99034 | -0.18594 | 6.7532
32 | 0.014805 | 0.0037112 | -0.014803 | -0.0037099 | 2.2437e-06 | 1.2806e-06 | 0.022251 | 0.022251 | 0.022251 | 0.99007 | -0.19118 | 0.98991 | -0.19436 | 6.113
33 | -0.01636 | -0.0041022 | 0.016367 | 0.0041067 | 7.7581e-06 | 4.5244e-06 | 0.024581 | 0.024581 | 0.024581 | 0.99034 | -0.18594 | 0.99086 | -0.17599 | 6.7531
34 | 0.003604 | 0.00090317 | -0.0036039 | -0.00090322 | 9.1019e-08 | -4.8473e-08 | 0.0054122 | 0.0054123 | 0.0054123 | 0.99086 | -0.17599 | 0.99083 | -0.17652 | 1.4869
35 | -0.019971 | -0.0050099 | 0.019994 | 0.0050235 | 2.2651e-05 | 1.363e-05 | 0.029994 | 0.029993 | 0.029994 | 0.99086 | -0.17599 | 0.99208 | -0.15223 | 8.24
36 | 0.0017558 | 0.00043988 | -0.0017557 | -0.00044003 | 3.3146e-08 | -1.4848e-07 | 0.0026133 | 0.0026134 | 0.0026134 | 0.99972 | -0.0053892 | 0.9997 | -0.0057855 | 0.71796
37 | -0.019994 | -0.0050235 | 0.019995 | 0.0050239 | 6.9867e-07 | 4.204e-07 | 0.029993 | 0.029993 | 0.029993 | 0.99208 | -0.15223 | 0.99212 | -0.1515 | 8.2399
38 | 0.021326 | 0.0053476 | -0.021319 | -0.0053431 | 7.3954e-06 | 4.4814e-06 | 0.031895 | 0.031895 | 0.031895 | 0.99499 | -0.096185 | 0.99461 | -0.10346 | 8.7624
39 | 0.023005 | 0.0058 | -0.023003 | -0.0057987 | 2.185e-06 | 1.3345e-06 | 0.034417 | 0.034417 | 0.034417 | 0.99499 | -0.096185 | 0.99489 | -0.09817 | 9.4551
40 | -0.044332 | -0.011148 | 0.044362 | 0.011167 | 3.0494e-05 | 1.9276e-05 | 0.066311 | 0.066311 | 0.066311 | 0.99499 | -0.096185 | 0.99574 | -0.081793 | 18.2174
41 | 0.010511 | 0.002635 | -0.01051 | -0.0026344 | 1.1935e-06 | 5.9683e-07 | 0.015725 | 0.015725 | 0.015725 | 0.99461 | -0.10346 | 0.99449 | -0.10585 | 4.3201
42 | 0.00060265 | 0.00015028 | -0.00060263 | -0.00015103 | 1.8076e-08 | -7.582e-07 | 0.00090134 | 0.00090161 | 0.00090161 | 0.99461 | -0.10346 | 0.99458 | -0.10409 | 0.2477
43 | 0.023003 | 0.0057987 | -0.022955 | -0.0057691 | 4.8339e-05 | 2.9527e-05 | 0.034417 | 0.034417 | 0.034417 | 0.99489 | -0.09817 | 0.9926 | -0.14218 | 9.4553
44 | -0.057058 | -0.014349 | 0.057101 | 0.014376 | 4.3585e-05 | 2.7686e-05 | 0.085283 | 0.085283 | 0.085283 | 0.99574 | -0.081793 | 0.99657 | -0.065813 | 23.4295
45 | 0.056005 | 0.014072 | -0.055978 | -0.014054 | 2.7379e-05 | 1.7398e-05 | 0.085565 | 0.085565 | 0.085565 | 0.97411 | -0.49839 | 0.97359 | -0.50864 | 23.5069
46 | 0.04711 | 0.011832 | -0.047096 | -0.011823 | 1.3398e-05 | 8.4892e-06 | 0.072011 | 0.072011 | 0.072011 | 0.97359 | -0.50864 | 0.97328 | -0.5146 | 19.7831
47 | 0.045285 | 0.011369 | -0.045284 | -0.011368 | 1.3487e-06 | 8.5383e-07 | 0.069242 | 0.069242 | 0.069242 | 0.97328 | -0.5146 | 0.97325 | -0.51523 | 19.0224
48 | 0.040349 | 0.010132 | -0.040325 | -0.010116 | 2.4098e-05 | 1.5213e-05 | 0.061697 | 0.061697 | 0.061697 | 0.97325 | -0.51523 | 0.97262 | -0.52775 | 16.9497
49 | 0.088406 | 0.022231 | -0.088365 | -0.022205 | 4.1625e-05 | 2.6557e-05 | 0.13203 | 0.13203 | 0.13203 | 0.99657 | -0.065813 | 0.99605 | -0.075677 | 36.2719
50 | -0.14551 | -0.036608 | 0.14581 | 0.036798 | 0.0002994 | 0.00019073 | 0.21731 | 0.21731 | 0.21731 | 0.99657 | -0.065813 | 0.99881 | -0.022844 | 29.8506
51 | 0.07819 | 0.019655 | -0.078154 | -0.019632 | 3.633e-05 | 2.3159e-05 | 0.11683 | 0.11683 | 0.11683 | 0.99605 | -0.075677 | 0.99555 | -0.085413 | 32.096
52 | 0.01051 | 0.0026344 | -0.010508 | -0.0026334 | 2.0091e-06 | 1.0048e-06 | 0.015725 | 0.015725 | 0.015725 | 0.99449 | -0.10585 | 0.99428 | -0.10986 | 4.3201
53 | 0.022955 | 0.0057691 | -0.022953 | -0.0057682 | 1.5482e-06 | 9.4579e-07 | 0.034417 | 0.034417 | 0.034417 | 0.9926 | -0.14218 | 0.99253 | -0.14359 | 9.4553
54 | 0.074028 | 0.018598 | -0.073937 | -0.01854 | 9.0819e-05 | 5.7868e-05 | 0.11066 | 0.11066 | 0.11066 | 0.99555 | -0.085413 | 0.99422 | -0.11115 | 30.4019
55 | 0.019294 | 0.004837 | -0.019292 | -0.0048363 | 1.2406e-06 | 7.4706e-07 | 0.029547 | 0.029547 | 0.029547 | 0.97168 | -0.54634 | 0.97161 | -0.54769 | 8.1172
56 | -0.019294 | -0.004837 | 0.019295 | 0.0048378 | 1.303e-06 | 7.8464e-07 | 0.029547 | 0.029547 | 0.029547 | 0.97168 | -0.54634 | 0.97175 | -0.54493 | 8.1172
57 | 0.013669 | 0.0034268 | -0.013665 | -0.0034248 | 3.5528e-06 | 2.0061e-06 | 0.020934 | 0.020934 | 0.020934 | 0.97161 | -0.54769 | 0.97133 | -0.55315 | 5.7511
58 | -0.024186 | -0.0060635 | 0.024199 | 0.0060717 | 1.3365e-05 | 8.2316e-06 | 0.037036 | 0.037035 | 0.037036 | 0.97175 | -0.54493 | 0.97233 | -0.53334 | 10.1746
59 | -0.022193 | -0.0055777 | 0.022193 | 0.0055777 | 1.1285e-08 | 6.8692e-09 | 0.033277 | 0.033277 | 0.033277 | 0.99253 | -0.14361 | 0.99253 | -0.14359 | 9.1422
60 | 0.021451 | 0.0053916 | -0.021448 | -0.0053901 | 2.5373e-06 | 1.5393e-06 | 0.032165 | 0.032165 | 0.032165 | 0.99253 | -0.14361 | 0.9924 | -0.14608 | 8.8365
61 | 0.020773 | 0.0052208 | -0.020769 | -0.0052185 | 3.8351e-06 | 2.3184e-06 | 0.031152 | 0.031152 | 0.031152 | 0.9924 | -0.14608 | 0.9922 | -0.14995 | 8.5582
62 | 0.020769 | 0.0052185 | -0.020767 | -0.0052176 | 1.5318e-06 | 9.2598e-07 | 0.031152 | 0.031152 | 0.031152 | 0.9922 | -0.14995 | 0.99212 | -0.1515 | 8.5582
63 | 0.043653 | 0.010942 | -0.043649 | -0.010939 | 4.5685e-06 | 2.8869e-06 | 0.065335 | 0.065335 | 0.065335 | 0.99422 | -0.11115 | 0.9941 | -0.11335 | 17.9492
64 | 0.030284 | 0.0075975 | -0.030264 | -0.0075853 | 1.9641e-05 | 1.224e-05 | 0.045328 | 0.045328 | 0.045328 | 0.99422 | -0.11115 | 0.99351 | -0.12477 | 12.4527
65 | 0.0082885 | 0.0020773 | -0.0082885 | -0.0020773 | 6.4497e-08 | 2.8074e-08 | 0.012697 | 0.012697 | 0.012697 | 0.97133 | -0.55315 | 0.97132 | -0.55331 | 3.4883
66 | -0.027594 | -0.0069226 | 0.027596 | 0.0069237 | 1.7657e-06 | 1.0973e-06 | 0.042231 | 0.042231 | 0.042231 | 0.97233 | -0.53334 | 0.9724 | -0.53199 | 11.602
67 | 0.024867 | 0.0062327 | -0.024866 | -0.0062321 | 9.5187e-07 | 5.855e-07 | 0.037245 | 0.037245 | 0.037245 | 0.99351 | -0.12477 | 0.99347 | -0.12557 | 10.2321
68 | -0.0088657 | -0.0022245 | 0.0088675 | 0.0022254 | 1.8422e-06 | 8.4519e-07 | 0.01354 | 0.01354 | 0.01354 | 0.97436 | -0.49352 | 0.97458 | -0.48917 | 3.7199
69 | 0.0088657 | 0.0022245 | -0.0088547 | -0.0022195 | 1.096e-05 | 5.0317e-06 | 0.01354 | 0.013541 | 0.013541 | 0.97436 | -0.49352 | 0.97304 | -0.51948 | 3.7201
70 | 0.0088547 | 0.0022195 | -0.0088526 | -0.0022185 | 2.1642e-06 | 9.9424e-07 | 0.013541 | 0.013541 | 0.013541 | 0.97304 | -0.51948 | 0.97278 | -0.52461 | 3.7201
71 | 0.0040444 | 0.0010135 | -0.0040442 | -0.0010135 | 1.4198e-07 | -3.1946e-08 | 0.0061864 | 0.0061865 | 0.0061865 | 0.97278 | -0.52461 | 0.97275 | -0.52535 | 1.6996
72 | -0.032487 | -0.0081495 | 0.032493 | 0.0081536 | 6.5729e-06 | 4.1186e-06 | 0.049715 | 0.049715 | 0.049715 | 0.9724 | -0.53199 | 0.97262 | -0.52775 | 13.6581
73 | -0.0040441 | -0.0010135 | 0.0040442 | 0.0010135 | 1.7656e-07 | -3.9709e-08 | 0.0061865 | 0.0061865 | 0.0061865 | 0.9727 | -0.52626 | 0.97275 | -0.52535 | 1.6996

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61075 | 0.15509

## res_load
| p_mw | q_mvar
0 | 0.01815 | 0.0045489
1 | 0.017213 | 0.0043139
2 | 0.0049347 | 0.0012368
3 | 0.024879 | 0.0062351
4 | 0.0054898 | 0.0013759
5 | 0.0070198 | 0.0017593
6 | 0.0092044 | 0.0023068
7 | 0.0054511 | 0.0013662
8 | 0.007835 | 0.0019636
9 | 0.01088 | 0.0027268
10 | 0.019991 | 0.0050101
11 | 0.040376 | 0.010119
12 | 0.0044485 | 0.0011149
13 | 0.021252 | 0.0053263
14 | 0.043517 | 0.010907
15 | 0.0085557 | 0.0021443
16 | 0.023982 | 0.0060106
17 | 0.013325 | 0.0033395
18 | 0.01232 | 0.0030878
19 | 0.011092 | 0.00278
20 | 0.028375 | 0.0071115
21 | 0.019388 | 0.0048591
22 | 0.0015505 | 0.00038858
23 | 0.014803 | 0.0037099
24 | 0.0017557 | 0.00044003
25 | 0.0036039 | 0.00090322
26 | 0.010206 | 0.0025578
27 | 0.012695 | 0.0031818
28 | 0.0049058 | 0.0012295
29 | 0.0088685 | 0.0022227
30 | 0.0018112 | 0.00045394
31 | 0.0049346 | 0.0012367
32 | 0.010175 | 0.00255
33 | 0.012447 | 0.0031194
34 | 0.00060263 | 0.00015103
35 | 0.0041258 | 0.001034
36 | 0.010508 | 0.0026334
37 | 0.0056239 | 0.0014095
38 | 0.0048906 | 0.0012257
39 | 0.00074222 | 0.00018602
40 | 0.00076018 | 0.00019052
41 | 0.00067546 | 0.00016929
42 | 0.00077265 | 0.00019364
43 | 0.0053765 | 0.0013475
44 | 0.0033952 | 0.00085091
45 | 0.043649 | 0.010939
46 | 0.0053968 | 0.0013526
47 | 0.024866 | 0.0062321
48 | 0.016023 | 0.0040158
49 | 0.0048082 | 0.001205
50 | 0.0048908 | 0.0012258
51 | 0.0078316 | 0.0019628
52 | 0.0040441 | 0.0010135
53 | 0.0082885 | 0.0020773

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1