## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-789_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-789_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-789_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-789_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-789_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-789_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-789_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_261-789_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_261-789_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-789_0_4_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_261-789_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_261-789_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_261-789_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_261-789_0_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_261-789_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_261-789_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_261-789_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_261-789_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_261-789_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-789_0_4_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_261-789_0_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_261-789_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_261-789_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_261-789_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_261-789_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_261-789_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_261-789_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_261-789_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_261-789_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_261-789_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_261-789_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_261-789_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_261-789_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_261-789_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_261-789_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_MV_538_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-789_0_4_load_0 | 0 | 0.0047145 | 0.0011816 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-789_0_4_load_2 | 2 | 0.0043315 | 0.0010856 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-789_0_4_load_3 | 3 | 0.010398 | 0.0026061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-789_0_4_load_4 | 4 | 0.0054454 | 0.0013648 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-789_0_4_load_12 | 6 | 0.0094884 | 0.002378 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-789_0_4_load_15 | 7 | 0.0046264 | 0.0011595 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-789_0_4_load_5 | 8 | 0.013914 | 0.0034871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-789_0_4_load_32 | 9 | 0.01792 | 0.0044913 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-789_0_4_load_13 | 11 | 0.012681 | 0.0031781 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-789_0_4_load_14 | 12 | 0.0035667 | 0.00089389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-789_0_4_load_28 | 13 | 0.024337 | 0.0060994 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-789_0_4_load_16 | 14 | 0.0021952 | 0.00055016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-789_0_4_load_7 | 15 | 0.0051143 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-789_0_4_load_8 | 16 | 0.0025721 | 0.00064464 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-789_0_4_load_9 | 17 | 0.0098675 | 0.002473 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-789_0_4_load_10 | 18 | 0.0028296 | 0.00070917 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-789_0_4_load_36 | 19 | 0.0075963 | 0.0019038 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-789_0_4_load_38 | 20 | 0.012594 | 0.0031563 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-789_0_4_load_17 | 21 | 0.0032028 | 0.00080269 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-789_0_4_load_31 | 24 | 0.03311 | 0.0082982 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-789_0_4_load_33 | 25 | 0.034011 | 0.0085239 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-789_0_4_load_29 | 26 | 0.066586 | 0.016688 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-789_0_4_load_30 | 27 | 0.027147 | 0.0068038 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-789_0_4_load_25 | 29 | 0.030434 | 0.0076276 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-789_0_4_load_34 | 30 | 0.026059 | 0.0065309 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-789_0_4_load_24 | 31 | 0.018354 | 0.0046 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-789_0_4_load_26 | 32 | 0.0069687 | 0.0017465 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-789_0_4_load_35 | 33 | 0.015162 | 0.0038 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-789_0_4_load_37 | 34 | 0.011807 | 0.002959 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-789_0_4_line_0 |  | 0 | 1 | 0.010292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-789_0_4_line_1 |  | 0 | 2 | 0.010203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_261-789_0_4_line_2 |  | 1 | 3 | 0.0071867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-789_0_4_line_3 |  | 1 | 4 | 0.0056566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-789_0_4_line_4 |  | 2 | 5 | 0.009319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-789_0_4_line_5 |  | 3 | 6 | 0.0056491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-789_0_4_line_6 |  | 4 | 7 | 0.0064525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-789_0_4_line_7 |  | 5 | 10 | 0.003052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-789_0_4_line_8 |  | 5 | 8 | 0.009201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-789_0_4_line_9 |  | 6 | 11 | 0.0027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-789_0_4_line_10 |  | 7 | 12 | 0.0043186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-789_0_4_line_11 |  | 8 | 9 | 0.017972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-789_0_4_line_12 |  | 9 | 13 | 0.0029256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-789_0_4_line_13 |  | 10 | 14 | 0.012614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-789_0_4_line_14 |  | 11 | 19 | 0.0038742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-789_0_4_line_15 |  | 12 | 18 | 0.0026329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-789_0_4_line_16 |  | 13 | 32 | 0.0047071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-789_0_4_line_17 |  | 14 | 21 | 0.0073482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-789_0_4_line_18 |  | 15 | 16 | 0.0023701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-789_0_4_line_19 |  | 15 | 17 | 0.0096073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-789_0_4_line_20 |  | 16 | 18 | 0.0053906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-789_0_4_line_21 |  | 19 | 20 | 0.0057272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-789_0_4_line_22 |  | 20 | 34 | 0.0019831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-789_0_4_line_23 |  | 22 | 23 | 0.004213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-789_0_4_line_24 |  | 22 | 24 | 0.0073562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-789_0_4_line_25 |  | 23 | 25 | 0.014155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-789_0_4_line_26 |  | 25 | 30 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-789_0_4_line_27 |  | 26 | 27 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-789_0_4_line_28 |  | 27 | 28 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-789_0_4_line_29 |  | 28 | 29 | 0.014783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-789_0_4_line_30 |  | 29 | 31 | 0.0080177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-789_0_4_line_31 |  | 30 | 33 | 0.0049412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-789_0_4_line_32 |  | 31 | 32 | 0.0084557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_261-789_0_4_line_33 |  | 33 | 34 | 0.0072608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-789_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 35 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2683612.9166 | 1247104.3381 | 2683606.5847 | 1247112.4514
1 | 2683600.3077 | 1247120.4945 | 2683606.5847 | 1247112.4514
2 | 2683612.9166 | 1247104.3381 | 2683607.1952 | 1247099.9891
3 | 2683612.9166 | 1247104.3381 | 2683617.5672 | 1247107.5583
4 | 2683594.9275 | 1247128.1131 | 2683600.3077 | 1247120.4945
5 | 2683602.6978 | 1247096.5707 | 2683607.1952 | 1247099.9891
6 | 2683622.872 | 1247111.2316 | 2683617.5672 | 1247107.5583
7 | 2683593.4246 | 1247130.7717 | 2683594.9275 | 1247128.1131
8 | 2683594.9275 | 1247128.1131 | 2683587.056 | 1247123.3097
9 | 2683602.6978 | 1247096.5707 | 2683600.523 | 1247094.9176
10 | 2683622.872 | 1247111.2316 | 2683626.4226 | 1247113.6901
11 | 2683587.056 | 1247123.3097 | 2683572.7089 | 1247112.486
12 | 2683570.2936 | 1247110.8476 | 2683571.1802 | 1247111.3328 | 2683572.7089 | 1247112.486
13 | 2683593.4246 | 1247130.7717 | 2683596.4798 | 1247132.6717 | 2683604.1514 | 1247137.4081
14 | 2683600.523 | 1247094.9176 | 2683597.4387 | 1247092.5731
15 | 2683628.5871 | 1247115.1889 | 2683626.4226 | 1247113.6901
16 | 2683570.2936 | 1247110.8476 | 2683566.1642 | 1247108.5882
17 | 2683604.1514 | 1247137.4081 | 2683610.4038 | 1247141.2684
18 | 2683634.9675 | 1247119.6069 | 2683633.019 | 1247118.2577
19 | 2683634.9675 | 1247119.6069 | 2683642.8661 | 1247125.0762
20 | 2683628.5871 | 1247115.1889 | 2683633.019 | 1247118.2577
21 | 2683592.8791 | 1247089.1074 | 2683597.4387 | 1247092.5731
22 | 2683591.3003 | 1247087.9073 | 2683592.8791 | 1247089.1074
23 | 2683559.6183 | 1247067.7044 | 2683562.5318 | 1247064.6543
24 | 2683559.6183 | 1247067.7044 | 2683554.4926 | 1247072.9808
25 | 2683562.5318 | 1247064.6543 | 2683573.4088 | 1247073.7131
26 | 2683573.4088 | 1247073.7131 | 2683581.586 | 1247080.5234 | 2683581.586 | 1247080.5234
27 | 2683525.4618 | 1247118.2725 | 2683532.3093 | 1247105.5453
28 | 2683538.7442 | 1247093.585 | 2683532.3093 | 1247105.5453
29 | 2683538.7442 | 1247093.585 | 2683551.7127 | 1247100.6809
30 | 2683551.7127 | 1247100.6809 | 2683558.7464 | 1247104.5294
31 | 2683581.586 | 1247080.5234 | 2683585.5198 | 1247083.5135
32 | 2683566.1642 | 1247108.5882 | 2683558.7464 | 1247104.5294
33 | 2683585.5198 | 1247083.5135 | 2683591.3003 | 1247087.9073

## bus_geodata
| x | y | coords
0 | 2683606.5847 | 1247112.4514
1 | 2683612.9166 | 1247104.3381
2 | 2683600.3077 | 1247120.4944
3 | 2683607.1952 | 1247099.9891
4 | 2683617.5672 | 1247107.5583
5 | 2683594.9275 | 1247128.1131
6 | 2683602.6978 | 1247096.5707
7 | 2683622.872 | 1247111.2316
8 | 2683587.056 | 1247123.3097
9 | 2683572.7089 | 1247112.486
10 | 2683593.4246 | 1247130.7717
11 | 2683600.523 | 1247094.9176
12 | 2683626.4226 | 1247113.6901
13 | 2683570.2936 | 1247110.8476
14 | 2683604.1514 | 1247137.4081
15 | 2683634.9675 | 1247119.6069
16 | 2683633.019 | 1247118.2577
17 | 2683642.8661 | 1247125.0762
18 | 2683628.5871 | 1247115.1889
19 | 2683597.4387 | 1247092.5731
20 | 2683592.8791 | 1247089.1074
21 | 2683610.4038 | 1247141.2684
22 | 2683559.6183 | 1247067.7044
23 | 2683562.5318 | 1247064.6543
24 | 2683554.4926 | 1247072.9808
25 | 2683573.4088 | 1247073.7131
26 | 2683525.4618 | 1247118.2725
27 | 2683532.3093 | 1247105.5453
28 | 2683538.7442 | 1247093.585
29 | 2683551.7127 | 1247100.6809
30 | 2683581.586 | 1247080.5234
31 | 2683558.7464 | 1247104.5294
32 | 2683566.1642 | 1247108.5882
33 | 2683585.5198 | 1247083.5135
34 | 2683591.3003 | 1247087.9073
35 | 2683587.056 | 1247123.3097

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99429 | -0.10943 | 0.0047145 | 0.0011816
1 | 0.99331 | -0.12822 | 0 | 0
2 | 0.99527 | -0.090412 | 0.0043315 | 0.0010856
3 | 0.99274 | -0.1392 | 0.010398 | 0.0026061
4 | 0.99314 | -0.13162 | 0.0054454 | 0.0013648
5 | 0.9962 | -0.072721 | 0 | 0
6 | 0.99232 | -0.14732 | 0.0094884 | 0.002378
7 | 0.99297 | -0.13488 | 0.0046264 | 0.0011595
8 | 0.99713 | -0.054851 | 0.013914 | 0.0034871
9 | 0.99906 | -0.017858 | 0.01792 | 0.0044913
10 | 0.99618 | -0.07301 | 0 | 0
11 | 0.99213 | -0.15102 | 0.012681 | 0.0031781
12 | 0.99287 | -0.13671 | 0.0035667 | 0.00089389
13 | 0.9994 | -0.011392 | 0.024337 | 0.0060994
14 | 0.99612 | -0.074206 | 0.0021952 | 0.00055016
15 | 0.9927 | -0.13996 | 0.0051143 | 0.0012818
16 | 0.99274 | -0.13933 | 0.0025721 | 0.00064464
17 | 0.99262 | -0.14163 | 0.0098675 | 0.002473
18 | 0.99282 | -0.13766 | 0.0028296 | 0.00070917
19 | 0.99163 | -0.16066 | 0.0075963 | 0.0019038
20 | 0.99093 | -0.17414 | 0.012594 | 0.0031563
21 | 0.9961 | -0.07462 | 0.0032028 | 0.00080269
22 | 0.98836 | -0.22411 | 0 | 0
23 | 0.98849 | -0.22162 | 0 | 0
24 | 0.98814 | -0.22846 | 0.03311 | 0.0082982
25 | 0.98892 | -0.21326 | 0.034011 | 0.0085239
26 | 0.99525 | -0.091401 | 0.066586 | 0.016688
27 | 0.99612 | -0.074483 | 0.027147 | 0.0068038
28 | 0.99728 | -0.052147 | 0 | 0
29 | 0.99855 | -0.027895 | 0.030434 | 0.0076276
30 | 0.98957 | -0.20054 | 0.026059 | 0.0065309
31 | 0.99945 | -0.010508 | 0.018354 | 0.0046
32 | 1 | 0 | -0.4241 | -0.1068
33 | 0.99 | -0.19235 | 0.015162 | 0.0038
34 | 0.99072 | -0.17837 | 0.011807 | 0.002959
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.20766 | 0.052327 | -0.20747 | -0.052208 | 0.00018649 | 0.00011909 | 0.31088 | 0.31088 | 0.31088 | 0.99429 | -0.10943 | 0.99331 | -0.12822 | 42.7028
1 | -0.21237 | -0.053509 | 0.21257 | 0.053632 | 0.00019336 | 0.00012349 | 0.31793 | 0.31793 | 0.31793 | 0.99429 | -0.10943 | 0.99527 | -0.090412 | 43.672
2 | 0.17344 | 0.043672 | -0.17334 | -0.043614 | 9.1011e-05 | 5.8061e-05 | 0.25989 | 0.25989 | 0.25989 | 0.99331 | -0.12822 | 0.99274 | -0.1392 | 35.6985
3 | 0.034038 | 0.0085362 | -0.034032 | -0.0085328 | 5.5155e-06 | 3.4567e-06 | 0.050992 | 0.050992 | 0.050992 | 0.99331 | -0.12822 | 0.99314 | -0.13162 | 14.0087
4 | -0.2169 | -0.054718 | 0.21708 | 0.054835 | 0.00018389 | 0.00011745 | 0.32441 | 0.32441 | 0.32441 | 0.99527 | -0.090412 | 0.9962 | -0.072721 | 44.5615
5 | 0.16295 | 0.041008 | -0.16288 | -0.040968 | 6.3216e-05 | 4.0312e-05 | 0.2443 | 0.2443 | 0.2443 | 0.99274 | -0.1392 | 0.99232 | -0.14732 | 33.5576
6 | 0.028587 | 0.007168 | -0.028582 | -0.0071653 | 4.4393e-06 | 2.7576e-06 | 0.042833 | 0.042833 | 0.042833 | 0.99314 | -0.13162 | 0.99297 | -0.13488 | 11.7672
7 | 0.0053984 | 0.0013528 | -0.0053983 | -0.0013528 | 7.4417e-08 | 7.8912e-09 | 0.0080636 | 0.0080636 | 0.0080636 | 0.9962 | -0.072721 | 0.99618 | -0.07301 | 2.2153
8 | -0.22248 | -0.056188 | 0.22267 | 0.05631 | 0.0001907 | 0.00012181 | 0.33247 | 0.33247 | 0.33247 | 0.9962 | -0.072721 | 0.99713 | -0.054851 | 45.6691
9 | 0.15339 | 0.038589 | -0.15337 | -0.038572 | 2.7112e-05 | 1.7281e-05 | 0.23007 | 0.23007 | 0.23007 | 0.99232 | -0.14732 | 0.99213 | -0.15102 | 31.6031
10 | 0.023956 | 0.0060058 | -0.023954 | -0.0060045 | 2.0872e-06 | 1.2799e-06 | 0.0359 | 0.0359 | 0.0359 | 0.99297 | -0.13488 | 0.99287 | -0.13671 | 9.8626
11 | -0.23659 | -0.059797 | 0.23701 | 0.060066 | 0.00042046 | 0.00026862 | 0.35323 | 0.35323 | 0.35323 | 0.99713 | -0.054851 | 0.99906 | -0.017858 | 48.5212
12 | -0.25493 | -0.064557 | 0.25501 | 0.064608 | 7.9179e-05 | 5.0598e-05 | 0.37993 | 0.37993 | 0.37993 | 0.99906 | -0.017858 | 0.9994 | -0.011392 | 52.1875
13 | 0.0053983 | 0.0013528 | -0.005398 | -0.0013528 | 3.0756e-07 | 3.2628e-08 | 0.0080636 | 0.0080636 | 0.0080636 | 0.99618 | -0.07301 | 0.99612 | -0.074206 | 2.2153
14 | 0.14069 | 0.035394 | -0.14062 | -0.035353 | 6.4714e-05 | 4.1367e-05 | 0.21105 | 0.21105 | 0.21105 | 0.99213 | -0.15102 | 0.99163 | -0.16066 | 57.9814
15 | 0.020387 | 0.0051106 | -0.020386 | -0.0051101 | 9.2175e-07 | 5.5587e-07 | 0.030554 | 0.030554 | 0.030554 | 0.99287 | -0.13671 | 0.99282 | -0.13766 | 8.3941
16 | -0.27934 | -0.070707 | 0.2795 | 0.070805 | 0.00015285 | 9.7703e-05 | 0.41616 | 0.41616 | 0.41616 | 0.9994 | -0.011392 | 1 | 0 | 57.1649
17 | 0.0032029 | 0.00080264 | -0.0032028 | -0.00080269 | 6.3077e-08 | -5.5284e-08 | 0.0047844 | 0.0047845 | 0.0047845 | 0.99612 | -0.074206 | 0.9961 | -0.07462 | 1.3144
18 | -0.014983 | -0.0037552 | 0.014983 | 0.0037554 | 4.4828e-07 | 2.5626e-07 | 0.022458 | 0.022458 | 0.022458 | 0.9927 | -0.13996 | 0.99274 | -0.13933 | 6.1698
19 | 0.0098682 | 0.0024734 | -0.0098675 | -0.002473 | 7.883e-07 | 3.8032e-07 | 0.014792 | 0.014792 | 0.014792 | 0.9927 | -0.13996 | 0.99262 | -0.14163 | 4.0638
20 | -0.017555 | -0.0044001 | 0.017557 | 0.0044009 | 1.3997e-06 | 8.2608e-07 | 0.026314 | 0.026314 | 0.026314 | 0.99274 | -0.13933 | 0.99282 | -0.13766 | 7.229
21 | 0.13303 | 0.033449 | -0.13294 | -0.033394 | 8.5611e-05 | 5.4717e-05 | 0.19965 | 0.19965 | 0.19965 | 0.99163 | -0.16066 | 0.99093 | -0.17414 | 54.8499
22 | 0.12035 | 0.030238 | -0.12032 | -0.030222 | 2.4294e-05 | 1.5523e-05 | 0.18074 | 0.18074 | 0.18074 | 0.99093 | -0.17414 | 0.99072 | -0.17837 | 49.6545
23 | -0.033117 | -0.0083025 | 0.033121 | 0.008305 | 3.9276e-06 | 2.4597e-06 | 0.04986 | 0.04986 | 0.04986 | 0.98836 | -0.22411 | 0.98849 | -0.22162 | 13.6978
24 | 0.033117 | 0.0083025 | -0.03311 | -0.0082982 | 6.8579e-06 | 4.2948e-06 | 0.04986 | 0.04986 | 0.04986 | 0.98836 | -0.22411 | 0.98814 | -0.22846 | 13.6978
25 | -0.033121 | -0.008305 | 0.033134 | 0.0083132 | 1.3196e-05 | 8.2641e-06 | 0.04986 | 0.04986 | 0.04986 | 0.98849 | -0.22162 | 0.98892 | -0.21326 | 13.6978
26 | -0.067145 | -0.016837 | 0.067186 | 0.016863 | 4.0738e-05 | 2.5935e-05 | 0.10104 | 0.10104 | 0.10104 | 0.98892 | -0.21326 | 0.98957 | -0.20054 | 27.7571
27 | -0.066586 | -0.016688 | 0.066639 | 0.016722 | 5.3714e-05 | 3.4189e-05 | 0.099554 | 0.099554 | 0.099554 | 0.99525 | -0.091401 | 0.99612 | -0.074483 | 27.3499
28 | -0.093787 | -0.023526 | 0.093887 | 0.02359 | 9.9976e-05 | 6.3808e-05 | 0.14011 | 0.14011 | 0.14011 | 0.99612 | -0.074483 | 0.99728 | -0.052147 | 38.4909
29 | -0.093887 | -0.02359 | 0.093996 | 0.023659 | 0.00010882 | 6.9452e-05 | 0.14011 | 0.14011 | 0.14011 | 0.99728 | -0.052147 | 0.99855 | -0.027895 | 38.4908
30 | -0.12443 | -0.031287 | 0.12453 | 0.031353 | 0.00010341 | 6.608e-05 | 0.18546 | 0.18546 | 0.18546 | 0.99855 | -0.027895 | 0.99945 | -0.010508 | 50.9503
31 | -0.093245 | -0.023394 | 0.093281 | 0.023417 | 3.6432e-05 | 2.3253e-05 | 0.14022 | 0.14022 | 0.14022 | 0.98957 | -0.20054 | 0.99 | -0.19235 | 38.522
32 | -0.14289 | -0.035953 | 0.14296 | 0.035999 | 7.1785e-05 | 4.5721e-05 | 0.21279 | 0.21279 | 0.21279 | 0.99945 | -0.010508 | 1 | 0 | 29.2288
33 | -0.10844 | -0.027217 | 0.10852 | 0.027263 | 7.2351e-05 | 4.6211e-05 | 0.16301 | 0.16301 | 0.16301 | 0.99 | -0.19235 | 0.99072 | -0.17837 | 44.7828

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43107 | 0.10855

## res_load
| p_mw | q_mvar
0 | 0.0047145 | 0.0011816
1 | 0.0043315 | 0.0010856
2 | 0.010398 | 0.0026061
3 | 0.0054454 | 0.0013648
4 | 0.0094884 | 0.002378
5 | 0.0046264 | 0.0011595
6 | 0.013914 | 0.0034871
7 | 0.01792 | 0.0044913
8 | 0.012681 | 0.0031781
9 | 0.0035667 | 0.00089389
10 | 0.024337 | 0.0060994
11 | 0.0021952 | 0.00055016
12 | 0.0051143 | 0.0012818
13 | 0.0025721 | 0.00064464
14 | 0.0098675 | 0.002473
15 | 0.0028296 | 0.00070917
16 | 0.0075963 | 0.0019038
17 | 0.012594 | 0.0031563
18 | 0.0032028 | 0.00080269
19 | 0.03311 | 0.0082982
20 | 0.034011 | 0.0085239
21 | 0.066586 | 0.016688
22 | 0.027147 | 0.0068038
23 | 0.030434 | 0.0076276
24 | 0.026059 | 0.0065309
25 | 0.018354 | 0.0046
26 | 0.0069687 | 0.0017465
27 | 0.015162 | 0.0038
28 | 0.011807 | 0.002959

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1