## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-791_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-791_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-791_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-791_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-791_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-791_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-791_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_261-791_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_261-791_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_261-791_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_261-791_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_261-791_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_261-791_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_261-791_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_261-791_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_261-791_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_261-791_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_261-791_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-791_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_261-791_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_261-791_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_261-791_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_261-791_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_261-791_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_MV_548_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-791_0_4_load_0 | 0 | 0.085816 | 0.021508 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-791_0_4_load_2 | 2 | 0.016016 | 0.004014 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-791_0_4_load_3 | 3 | 0.013778 | 0.003453 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-791_0_4_load_4 | 4 | 0.0093071 | 0.0023326 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-791_0_4_load_5 | 5 | 0.045537 | 0.011413 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-791_0_4_load_11 | 6 | 0.01661 | 0.0041628 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-791_0_4_load_12 | 7 | 0.0089024 | 0.0022311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-791_0_4_load_27 | 9 | 0.016454 | 0.0041239 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-791_0_4_load_26 | 10 | 0.01197 | 0.0030001 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-791_0_4_load_13 | 11 | 0.048428 | 0.012137 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-791_0_4_load_24 | 12 | 0.017474 | 0.0043794 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-791_0_4_load_23 | 13 | 0.0083151 | 0.002084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-791_0_4_load_25 | 14 | 0.023901 | 0.0059902 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-791_0_4_load_21 | 15 | 0.00995 | 0.0024937 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-791_0_4_load_22 | 16 | 0.0075125 | 0.0018828 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-791_0_4_load_14 | 17 | 0.0064737 | 0.0016225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-791_0_4_load_15 | 18 | 0.022106 | 0.0055402 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-791_0_4_load_16 | 19 | 0.026297 | 0.0065906 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-791_0_4_load_17 | 20 | 0.017964 | 0.0045022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-791_0_4_load_19 | 22 | 0.011233 | 0.0028152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-791_0_4_load_20 | 23 | 0.012222 | 0.0030631 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-791_0_4_line_0 |  | 0 | 1 | 0.019181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-791_0_4_line_1 |  | 0 | 2 | 0.076461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-791_0_4_line_2 |  | 1 | 3 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-791_0_4_line_3 |  | 1 | 4 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-791_0_4_line_4 |  | 1 | 5 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-791_0_4_line_5 |  | 3 | 6 | 0.011854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-791_0_4_line_6 |  | 4 | 7 | 0.0059305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-791_0_4_line_7 |  | 6 | 11 | 0.0087927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-791_0_4_line_8 |  | 8 | 9 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-791_0_4_line_9 |  | 8 | 10 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-791_0_4_line_10 |  | 10 | 16 | 0.0072668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-791_0_4_line_11 |  | 11 | 17 | 0.014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-791_0_4_line_12 |  | 11 | 18 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-791_0_4_line_13 |  | 12 | 13 | 0.0016078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-791_0_4_line_14 |  | 13 | 20 | 0.007601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-791_0_4_line_15 |  | 14 | 15 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-791_0_4_line_16 |  | 15 | 22 | 0.0077919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-791_0_4_line_17 |  | 16 | 23 | 0.00019125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-791_0_4_line_18 |  | 17 | 19 | 0.0018369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-791_0_4_line_19 |  | 18 | 20 | 0.0067132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-791_0_4_line_20 |  | 19 | 21 | 0.007142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-791_0_4_line_21 |  | 21 | 22 | 0.0066791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-791_0_4_line_22 |  | 21 | 23 | 0.0036003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-791_0_4_trafo_11 | 0.63 MVA 20/0.4 kV | 24 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2683635.3892 | 1246962.5283 | 2683645.2441 | 1246968.1159 | 2683652.1122 | 1246971.9217
1 | 2683663.1025 | 1247024.2869 | 2683673.3226 | 1247009.3534 | 2683680.2894 | 1247000.1227 | 2683683.3374 | 1246996.652 | 2683684.2192 | 1246993.5844 | 2683682.3595 | 1246991.0118 | 2683666.2467 | 1246979.754 | 2683652.1122 | 1246971.9217
2 | 2683635.3892 | 1246962.5283 | 2683631.3293 | 1246971.7127
3 | 2683635.3892 | 1246962.5283 | 2683623.0671 | 1246955.2534
4 | 2683635.3892 | 1246962.5283 | 2683643.039 | 1246948.2617
5 | 2683631.3293 | 1246971.7127 | 2683626.5369 | 1246982.5543
6 | 2683623.0671 | 1246955.2534 | 2683617.9602 | 1246952.2384
7 | 2683622.982 | 1246990.5963 | 2683626.5369 | 1246982.5543
8 | 2683595.4306 | 1247031.3935 | 2683609.9554 | 1247043.2958
9 | 2683595.4306 | 1247031.3935 | 2683602.3934 | 1247022.9743 | 2683604.7352 | 1247019.6444
10 | 2683608.9155 | 1247013.7004 | 2683604.7352 | 1247019.6444
11 | 2683622.982 | 1246990.5963 | 2683615.6832 | 1247002.8799
12 | 2683622.982 | 1246990.5963 | 2683613.1683 | 1246985.0999
13 | 2683600.6795 | 1246978.1053 | 2683599.2766 | 1246977.3197
14 | 2683600.6795 | 1246978.1053 | 2683607.3112 | 1246981.8196
15 | 2683598.0906 | 1247004.2544 | 2683585.8405 | 1246998.2785
16 | 2683598.0906 | 1247004.2544 | 2683605.0937 | 1247007.6706
17 | 2683609.0255 | 1247013.5439 | 2683608.9155 | 1247013.7004
18 | 2683615.6832 | 1247002.8799 | 2683614.7449 | 1247004.4591
19 | 2683607.3112 | 1246981.8196 | 2683613.1683 | 1246985.0999
20 | 2683611.0966 | 1247010.599 | 2683614.7449 | 1247004.4591
21 | 2683611.0966 | 1247010.599 | 2683605.0937 | 1247007.6706
22 | 2683611.0966 | 1247010.599 | 2683609.0255 | 1247013.5439

## bus_geodata
| x | y | coords
0 | 2683652.1122 | 1246971.9217
1 | 2683635.3892 | 1246962.5283
2 | 2683663.1025 | 1247024.2869
3 | 2683631.3293 | 1246971.7127
4 | 2683623.0671 | 1246955.2534
5 | 2683643.039 | 1246948.2617
6 | 2683626.5369 | 1246982.5543
7 | 2683617.9602 | 1246952.2384
8 | 2683595.4306 | 1247031.3935
9 | 2683609.9554 | 1247043.2958
10 | 2683604.7352 | 1247019.6444
11 | 2683622.982 | 1246990.5963
12 | 2683599.2766 | 1246977.3197
13 | 2683600.6795 | 1246978.1053
14 | 2683585.8405 | 1246998.2785
15 | 2683598.0906 | 1247004.2544
16 | 2683608.9155 | 1247013.7004
17 | 2683615.6832 | 1247002.8799
18 | 2683613.1683 | 1246985.0999
19 | 2683614.7449 | 1247004.4591
20 | 2683607.3112 | 1246981.8196
21 | 2683611.0966 | 1247010.599
22 | 2683605.0937 | 1247007.6706
23 | 2683609.0255 | 1247013.5439
24 | 2683622.982 | 1246990.5963

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9965 | -0.067298 | 0.085816 | 0.021508
1 | 0.99828 | -0.033075 | 0 | 0
2 | 0.99538 | -0.088818 | 0.016016 | 0.004014
3 | 0.99903 | -0.018546 | 0.013778 | 0.003453
4 | 0.99804 | -0.037634 | 0.0093071 | 0.0023326
5 | 0.99761 | -0.045976 | 0.045537 | 0.011413
6 | 1 | 0 | -0.42237 | -0.10585
7 | 0.99799 | -0.038557 | 0.0089024 | 0.0022311
8 | 0.99602 | -0.076579 | 0 | 0
9 | 0.99574 | -0.08201 | 0.016454 | 0.0041239
10 | 0.99624 | -0.072245 | 0.01197 | 0.0030001
11 | 0.99904 | -0.018431 | 0.048428 | 0.012137
12 | 0.9979 | -0.040436 | 0.017474 | 0.0043794
13 | 0.99792 | -0.039944 | 0.0083151 | 0.002084
14 | 0.99578 | -0.081097 | 0.023901 | 0.0059902
15 | 0.99608 | -0.075372 | 0.00995 | 0.0024937
16 | 0.99643 | -0.068618 | 0.0075125 | 0.0018828
17 | 0.9974 | -0.049926 | 0.0064737 | 0.0016225
18 | 0.99837 | -0.031376 | 0.022106 | 0.0055402
19 | 0.9972 | -0.053774 | 0.026297 | 0.0065906
20 | 0.9981 | -0.036514 | 0.017964 | 0.0045022
21 | 0.99659 | -0.065454 | 0 | 0
22 | 0.99632 | -0.07074 | 0.011233 | 0.0028152
23 | 0.99644 | -0.068497 | 0.012222 | 0.0030631
24 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10185 | -0.025531 | 0.10201 | 0.025637 | 0.00016637 | 0.00010623 | 0.15209 | 0.15209 | 0.15209 | 0.9965 | -0.067298 | 0.99828 | -0.033075 | 41.782
1 | 0.016032 | 0.0040235 | -0.016016 | -0.004014 | 1.6436e-05 | 9.5242e-06 | 0.023942 | 0.023942 | 0.023942 | 0.9965 | -0.067298 | 0.99538 | -0.088818 | 6.5776
2 | -0.16579 | -0.041634 | 0.16591 | 0.041707 | 0.00011502 | 7.3347e-05 | 0.24716 | 0.24716 | 0.24716 | 0.99828 | -0.033075 | 0.99903 | -0.018546 | 33.9502
3 | 0.018214 | 0.0045662 | -0.01821 | -0.0045639 | 3.9553e-06 | 2.3444e-06 | 0.02715 | 0.02715 | 0.02715 | 0.99828 | -0.033075 | 0.99804 | -0.037634 | 7.4587
4 | 0.045565 | 0.01143 | -0.045537 | -0.011413 | 2.8006e-05 | 1.7712e-05 | 0.067922 | 0.067922 | 0.067922 | 0.99828 | -0.033075 | 0.99761 | -0.045976 | 18.6598
5 | -0.17969 | -0.04516 | 0.17985 | 0.045262 | 0.00015925 | 0.00010161 | 0.26768 | 0.26768 | 0.26768 | 0.99903 | -0.018546 | 1 | 0 | 36.769
6 | 0.0089028 | 0.0022313 | -0.0089024 | -0.0022311 | 3.9183e-07 | 1.7327e-07 | 0.013273 | 0.013274 | 0.013274 | 0.99804 | -0.037634 | 0.99799 | -0.038557 | 3.6466
7 | 0.24088 | 0.060592 | -0.24067 | -0.060457 | 0.00021189 | 0.00013538 | 0.35851 | 0.35851 | 0.35851 | 1 | 0 | 0.99904 | -0.018431 | 49.2455
8 | 0.016459 | 0.0041263 | -0.016454 | -0.0041239 | 4.2578e-06 | 2.4807e-06 | 0.024589 | 0.024589 | 0.024589 | 0.99602 | -0.076579 | 0.99574 | -0.08201 | 6.7553
9 | -0.016459 | -0.0041263 | 0.016462 | 0.0041283 | 3.4002e-06 | 1.9809e-06 | 0.024589 | 0.024589 | 0.024589 | 0.99602 | -0.076579 | 0.99624 | -0.072245 | 6.7553
10 | -0.028433 | -0.0071284 | 0.028437 | 0.0071315 | 4.9148e-06 | 3.0508e-06 | 0.042469 | 0.042469 | 0.042469 | 0.99624 | -0.072245 | 0.99643 | -0.068618 | 11.6672
11 | 0.12632 | 0.031778 | -0.12613 | -0.031657 | 0.00018977 | 0.00012126 | 0.18819 | 0.18819 | 0.18819 | 0.99904 | -0.018431 | 0.9974 | -0.049926 | 51.7013
12 | 0.065915 | 0.016541 | -0.065874 | -0.016515 | 4.0662e-05 | 2.5876e-05 | 0.098184 | 0.098184 | 0.098184 | 0.99904 | -0.018431 | 0.99837 | -0.031376 | 26.9736
13 | -0.017474 | -0.0043794 | 0.017474 | 0.0043796 | 4.0936e-07 | 2.4098e-07 | 0.026056 | 0.026056 | 0.026056 | 0.9979 | -0.040436 | 0.99792 | -0.039944 | 7.1583
14 | -0.025789 | -0.0064636 | 0.025794 | 0.0064662 | 4.2151e-06 | 2.5984e-06 | 0.038455 | 0.038455 | 0.038455 | 0.99792 | -0.039944 | 0.9981 | -0.036514 | 10.5646
15 | -0.023901 | -0.0059902 | 0.023908 | 0.0059942 | 6.5201e-06 | 3.9955e-06 | 0.035716 | 0.035716 | 0.035716 | 0.99578 | -0.081097 | 0.99608 | -0.075372 | 9.8121
16 | -0.033858 | -0.0084879 | 0.033865 | 0.0084926 | 7.4753e-06 | 4.6828e-06 | 0.05058 | 0.05058 | 0.05058 | 0.99608 | -0.075372 | 0.99632 | -0.07074 | 13.8956
17 | -0.03595 | -0.0090143 | 0.03595 | 0.0090144 | 2.0672e-07 | 1.2981e-07 | 0.053687 | 0.053687 | 0.053687 | 0.99643 | -0.068618 | 0.99644 | -0.068497 | 14.7493
18 | 0.11966 | 0.030035 | -0.11964 | -0.030021 | 2.1957e-05 | 1.4028e-05 | 0.17853 | 0.17853 | 0.17853 | 0.9974 | -0.049926 | 0.9972 | -0.053774 | 49.0479
19 | 0.043768 | 0.010975 | -0.043758 | -0.010968 | 1.0714e-05 | 6.769e-06 | 0.065236 | 0.065236 | 0.065236 | 0.99837 | -0.031376 | 0.9981 | -0.036514 | 17.9221
20 | 0.09334 | 0.02343 | -0.093288 | -0.023397 | 5.1966e-05 | 3.3165e-05 | 0.13929 | 0.13929 | 0.13929 | 0.9972 | -0.053774 | 0.99659 | -0.065454 | 38.2678
21 | 0.045109 | 0.011315 | -0.045098 | -0.011308 | 1.1363e-05 | 7.1855e-06 | 0.067356 | 0.067356 | 0.067356 | 0.99659 | -0.065454 | 0.99632 | -0.07074 | 18.5044
22 | 0.048179 | 0.012082 | -0.048172 | -0.012077 | 6.987e-06 | 4.4248e-06 | 0.071939 | 0.071939 | 0.071939 | 0.99659 | -0.065454 | 0.99644 | -0.068497 | 19.7633

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43898 | 0.11002

## res_load
| p_mw | q_mvar
0 | 0.085816 | 0.021508
1 | 0.016016 | 0.004014
2 | 0.013778 | 0.003453
3 | 0.0093071 | 0.0023326
4 | 0.045537 | 0.011413
5 | 0.01661 | 0.0041628
6 | 0.0089024 | 0.0022311
7 | 0.016454 | 0.0041239
8 | 0.01197 | 0.0030001
9 | 0.048428 | 0.012137
10 | 0.017474 | 0.0043794
11 | 0.0083151 | 0.002084
12 | 0.023901 | 0.0059902
13 | 0.00995 | 0.0024937
14 | 0.0075125 | 0.0018828
15 | 0.0064737 | 0.0016225
16 | 0.022106 | 0.0055402
17 | 0.026297 | 0.0065906
18 | 0.017964 | 0.0045022
19 | 0.011233 | 0.0028152
20 | 0.012222 | 0.0030631

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1