## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-796_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-796_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-796_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-796_0_5_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_261-796_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_261-796_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-796_0_5_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_261-796_0_5_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_261-796_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-796_0_5_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_261-796_0_5_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_261-796_0_5_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_261-796_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-796_0_5_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_261-796_0_5_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_261-796_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-796_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_261-796_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_261-796_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_261-796_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-796_0_5_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_261-796_0_5_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_261-796_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-796_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_261-796_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_261-796_0_5_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_261-796_0_5_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_261-796_0_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_261-796_0_5_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_261-796_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_261-796_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_261-796_0_5_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_261-796_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_261-796_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_261-796_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_261-796_0_5_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_261-796_0_5_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_261-796_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_261-796_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_261-796_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_261-796_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-796_0_5_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_261-796_0_5_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_261-796_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_261-796_0_5_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_261-796_0_5_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_261-796_0_5_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_261-796_0_5_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_261-796_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_261-796_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_261-796_0_5_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_261-796_0_5_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_261-796_0_5_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_261-796_0_5_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_261-796_0_5_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_261-796_0_5_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_261-796_0_5_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_261-796_0_5_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_261-796_0_5_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_261-796_0_5_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_261-796_0_5_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_261-796_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_261-796_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_261-796_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_261-796_0_5_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_261-796_0_5_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_261-796_0_5_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_261-796_0_5_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_261-796_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_261-796_0_5_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_261-796_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_261-796_0_5_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_261-796_0_5_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_261-796_0_5_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_261-796_0_5_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_261-796_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_261-796_0_5_node_83 | 0.4 | n |  | TRUE
77 | bus_MV_543_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-796_0_5_load_0 | 0 | 0.008373 | 0.0020985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-796_0_5_load_67 | 6 | 0.01113 | 0.0027895 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-796_0_5_load_75 | 7 | 0.0060348 | 0.0015125 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-796_0_5_load_31 | 9 | 0.013254 | 0.0033217 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-796_0_5_load_30 | 11 | 0.015892 | 0.0039829 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-796_0_5_load_65 | 14 | 0.018408 | 0.0046135 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-796_0_5_load_62 | 18 | 0.025502 | 0.0063914 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-796_0_5_load_56 | 21 | 0.012827 | 0.0032146 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-796_0_5_load_58 | 25 | 0.011528 | 0.0028893 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-796_0_5_load_55 | 26 | 0.02649 | 0.006639 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-796_0_5_load_44 | 27 | 0.0041943 | 0.0010512 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-796_0_5_load_70 | 28 | 0.012169 | 0.00305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-796_0_5_load_79 | 31 | 0.0172 | 0.0043106 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-796_0_5_load_50 | 34 | 0.0061668 | 0.0015455 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-796_0_5_load_48 | 35 | 0.0096058 | 0.0024074 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-796_0_5_load_80 | 36 | 0.0028548 | 0.00071549 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-796_0_5_load_37 | 39 | 0.0091686 | 0.0022979 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-796_0_5_load_36 | 40 | 0.010078 | 0.0025258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-796_0_5_load_59 | 41 | 0.033177 | 0.008315 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-796_0_5_load_71 | 42 | 0.0033642 | 0.00084315 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-796_0_5_load_82 | 45 | 0.0060327 | 0.0015119 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-796_0_5_load_61 | 46 | 0.01064 | 0.0026667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-796_0_5_load_54 | 47 | 0.012756 | 0.003197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-796_0_5_load_78 | 50 | 0.0044322 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-796_0_5_load_66 | 51 | 0.0044904 | 0.0011254 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-796_0_5_load_73 | 52 | 0.0073186 | 0.0018342 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-796_0_5_load_72 | 53 | 0.0040264 | 0.0010091 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-796_0_5_load_84 | 54 | 0.0060384 | 0.0015134 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-796_0_5_load_74 | 55 | 0.0059573 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-796_0_5_load_81 | 56 | 0.0086657 | 0.0021718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-796_0_5_load_64 | 57 | 0.0050217 | 0.0012586 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-796_0_5_load_63 | 58 | 0.0071145 | 0.0017831 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-796_0_5_load_76 | 60 | 0.0086498 | 0.0021678 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-796_0_5_load_57 | 61 | 0.0054284 | 0.0013605 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-796_0_5_load_45 | 62 | 0.0054095 | 0.0013557 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-796_0_5_load_43 | 63 | 0.0042432 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-796_0_5_load_42 | 64 | 0.009613 | 0.0024092 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-796_0_5_load_69 | 65 | 0.008473 | 0.0021235 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-796_0_5_load_52 | 66 | 0.01156 | 0.0028972 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-796_0_5_load_35 | 67 | 0.012441 | 0.0031181 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-796_0_5_load_60 | 68 | 0.013447 | 0.0033701 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-796_0_5_load_38 | 69 | 0.011205 | 0.0028083 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-796_0_5_load_40 | 70 | 0.0043539 | 0.0010912 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-796_0_5_load_46 | 71 | 0.0061806 | 0.001549 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-796_0_5_load_47 | 72 | 0.003208 | 0.00080399 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-796_0_5_load_41 | 73 | 0.0038134 | 0.00095573 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-796_0_5_load_51 | 74 | 0.011432 | 0.0028652 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-796_0_5_load_53 | 75 | 0.010103 | 0.002532 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-796_0_5_load_83 | 76 | 0.0086644 | 0.0021715 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-796_0_5_line_0 |  | 0 | 1 | 0.057374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-796_0_5_line_1 |  | 1 | 2 | 0.03152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-796_0_5_line_2 |  | 2 | 3 | 0.031964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-796_0_5_line_3 |  | 3 | 9 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-796_0_5_line_4 |  | 4 | 5 | 0.002585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-796_0_5_line_5 |  | 4 | 6 | 0.015503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-796_0_5_line_6 |  | 5 | 7 | 0.016309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-796_0_5_line_7 |  | 6 | 51 | 0.02742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-796_0_5_line_8 |  | 7 | 55 | 0.020655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-796_0_5_line_9 |  | 8 | 9 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-796_0_5_line_10 |  | 8 | 10 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-796_0_5_line_11 |  | 8 | 11 | 0.022552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-796_0_5_line_12 |  | 10 | 36 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-796_0_5_line_13 |  | 11 | 30 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-796_0_5_line_14 |  | 12 | 13 | 0.002348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-796_0_5_line_15 |  | 12 | 14 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-796_0_5_line_16 |  | 13 | 42 | 0.036056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-796_0_5_line_17 |  | 13 | 16 | 0.013258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-796_0_5_line_18 |  | 14 | 51 | 0.022233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-796_0_5_line_19 |  | 15 | 16 | 0.007299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-796_0_5_line_20 |  | 15 | 17 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_261-796_0_5_line_21 |  | 15 | 18 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-796_0_5_line_22 |  | 16 | 28 | 0.023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-796_0_5_line_23 |  | 17 | 27 | 0.027377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-796_0_5_line_24 |  | 17 | 24 | 0.0098087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-796_0_5_line_25 |  | 18 | 58 | 0.0076016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-796_0_5_line_26 |  | 19 | 20 | 0.006685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-796_0_5_line_27 |  | 19 | 21 | 0.010803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-796_0_5_line_28 |  | 20 | 41 | 0.030463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-796_0_5_line_29 |  | 21 | 61 | 0.025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-796_0_5_line_30 |  | 22 | 23 | 0.014031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-796_0_5_line_31 |  | 22 | 24 | 0.010708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-796_0_5_line_32 |  | 22 | 25 | 0.027399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-796_0_5_line_33 |  | 23 | 30 | 0.006424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-796_0_5_line_34 |  | 23 | 40 | 0.02116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-796_0_5_line_35 |  | 24 | 26 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-796_0_5_line_36 |  | 25 | 61 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-796_0_5_line_37 |  | 26 | 33 | 0.018702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-796_0_5_line_38 |  | 27 | 64 | 0.0097556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-796_0_5_line_39 |  | 28 | 65 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-796_0_5_line_40 |  | 29 | 30 | 0.015289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-796_0_5_line_41 |  | 29 | 31 | 0.012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-796_0_5_line_42 |  | 32 | 33 | 0.002245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-796_0_5_line_43 |  | 32 | 34 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-796_0_5_line_44 |  | 32 | 35 | 0.017594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-796_0_5_line_45 |  | 33 | 66 | 0.0058398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-796_0_5_line_46 |  | 34 | 50 | 0.0068688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-796_0_5_line_47 |  | 37 | 38 | 0.051621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-796_0_5_line_48 |  | 37 | 39 | 0.026885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-796_0_5_line_49 |  | 38 | 46 | 0.027081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-796_0_5_line_50 |  | 38 | 47 | 0.025547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-796_0_5_line_51 |  | 40 | 67 | 0.015381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-796_0_5_line_52 |  | 41 | 68 | 0.033823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-796_0_5_line_53 |  | 42 | 53 | 0.012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-796_0_5_line_54 |  | 43 | 44 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-796_0_5_line_55 |  | 43 | 45 | 0.018463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-796_0_5_line_56 |  | 44 | 54 | 0.018036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-796_0_5_line_57 |  | 45 | 56 | 0.022763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-796_0_5_line_58 |  | 46 | 68 | 0.018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-796_0_5_line_59 |  | 48 | 49 | 0.005032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-796_0_5_line_60 |  | 48 | 50 | 0.032503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-796_0_5_line_61 |  | 49 | 70 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-796_0_5_line_62 |  | 49 | 69 | 0.0094896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-796_0_5_line_63 |  | 52 | 53 | 0.030187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-796_0_5_line_64 |  | 54 | 76 | 0.02372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-796_0_5_line_65 |  | 55 | 59 | 0.019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-796_0_5_line_66 |  | 57 | 58 | 0.0077031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-796_0_5_line_67 |  | 59 | 60 | 0.030535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-796_0_5_line_68 |  | 60 | 76 | 0.041467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-796_0_5_line_69 |  | 62 | 63 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-796_0_5_line_70 |  | 63 | 73 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-796_0_5_line_71 |  | 64 | 73 | 0.019639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-796_0_5_line_72 |  | 66 | 74 | 0.016017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-796_0_5_line_73 |  | 70 | 71 | 0.013083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-796_0_5_line_74 |  | 71 | 72 | 0.0018693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-796_0_5_line_75 |  | 74 | 75 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-796_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 77 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683735.5114 | 1251295.679 | 2683743.0732 | 1251293.6844 | 2683755.2122 | 1251286.1614 | 2683766.5588 | 1251269.5538 | 2683773.6037 | 1251256.1311
1 | 2683723.9158 | 1251266.3711 | 2683733.6499 | 1251290.6601 | 2683735.5114 | 1251295.679
2 | 2683723.9158 | 1251266.3711 | 2683720.1444 | 1251262.9597 | 2683717.4621 | 1251260.4644 | 2683729.4605 | 1251244.1995 | 2683726.8547 | 1251242.706
3 | 2683726.8547 | 1251242.706 | 2683731.3894 | 1251236.4432 | 2683735.0714 | 1251228.8334
4 | 2683846.7888 | 1251212.3454 | 2683846.0216 | 1251214.8142
5 | 2683846.7888 | 1251212.3454 | 2683833.3024 | 1251207.3176 | 2683832.3035 | 1251206.8331
6 | 2683846.0216 | 1251214.8142 | 2683830.7474 | 1251209.0976
7 | 2683808.0685 | 1251194.066 | 2683816.2534 | 1251199.048 | 2683832.3035 | 1251206.8331
8 | 2683812.2749 | 1251199.9636 | 2683815.9738 | 1251202.2687 | 2683825.92 | 1251207.2909 | 2683830.7474 | 1251209.0976
9 | 2683740.717 | 1251216.8825 | 2683737.6413 | 1251223.5218 | 2683735.0714 | 1251228.8334
10 | 2683740.717 | 1251216.8825 | 2683743.7816 | 1251217.96 | 2683746.9438 | 1251219.0833 | 2683750.2413 | 1251220.2418 | 2683753.3359 | 1251221.3419 | 2683753.9593 | 1251221.562
11 | 2683740.717 | 1251216.8825 | 2683744.5909 | 1251207.1744 | 2683747.8428 | 1251197.68 | 2683748.4277 | 1251195.7012
12 | 2683753.9593 | 1251221.562 | 2683752.6313 | 1251224.7234 | 2683749.5689 | 1251230.8688
13 | 2683752.2779 | 1251176.5824 | 2683752.2271 | 1251180.1733 | 2683750.1895 | 1251189.7405 | 2683748.4277 | 1251195.7012
14 | 2683771.3807 | 1251163.4759 | 2683772.9678 | 1251161.7415
15 | 2683771.3807 | 1251163.4759 | 2683790.5739 | 1251180.3955
16 | 2683772.9678 | 1251161.7415 | 2683781.2095 | 1251159.7231 | 2683808.0583 | 1251153.4567
17 | 2683772.151 | 1251148.5089 | 2683772.5927 | 1251155.7094 | 2683772.9678 | 1251161.7415
18 | 2683790.5739 | 1251180.3955 | 2683797.6477 | 1251186.6312 | 2683807.4069 | 1251193.6633 | 2683808.0685 | 1251194.066
19 | 2683772.151 | 1251148.5089 | 2683770.8912 | 1251147.9129 | 2683769.9665 | 1251146.0429 | 2683769.1058 | 1251142.3168
20 | 2683754.9158 | 1251140.0479 | 2683754.6974 | 1251142.1464 | 2683758.1995 | 1251142.1848 | 2683764.3282 | 1251142.2604 | 2683769.1058 | 1251142.3168
21 | 2683769.1058 | 1251142.3168 | 2683768.8833 | 1251138.8333 | 2683768.9873 | 1251125.4255
22 | 2683772.151 | 1251148.5089 | 2683774.8243 | 1251147.9018 | 2683778.4752 | 1251145.9631 | 2683781.3401 | 1251145.1585 | 2683795.0599 | 1251141.7967
23 | 2683754.9158 | 1251140.0479 | 2683755.5982 | 1251133.4304 | 2683755.7362 | 1251123.6695 | 2683755.8912 | 1251112.7079
24 | 2683753.0812 | 1251149.6736 | 2683753.6777 | 1251146.9912 | 2683754.6974 | 1251142.1464 | 2683754.9158 | 1251140.0479
25 | 2683768.9873 | 1251125.4255 | 2683769.0463 | 1251117.8241
26 | 2683680.5526 | 1251191.2803 | 2683677.3951 | 1251191.9584 | 2683673.9603 | 1251191.4318
27 | 2683680.5526 | 1251191.2803 | 2683681.8681 | 1251190.0646 | 2683690.0119 | 1251186.2065
28 | 2683673.9603 | 1251191.4318 | 2683671.6862 | 1251188.364 | 2683661.9698 | 1251163.5548
29 | 2683690.0119 | 1251186.2065 | 2683712.8232 | 1251175.3996
30 | 2683747.7204 | 1251172.704 | 2683747.7905 | 1251165.6108 | 2683747.8509 | 1251158.6731
31 | 2683753.0812 | 1251149.6736 | 2683752.6617 | 1251151.5802 | 2683751.2214 | 1251155.207 | 2683749.393 | 1251157.4496 | 2683747.8509 | 1251158.6731
32 | 2683747.8509 | 1251158.6731 | 2683745.4095 | 1251159.9618 | 2683723.1435 | 1251170.5104
33 | 2683752.2779 | 1251176.5824 | 2683751.5565 | 1251174.7486 | 2683749.9462 | 1251173.3137 | 2683747.7204 | 1251172.704
34 | 2683747.7204 | 1251172.704 | 2683744.1757 | 1251174.0772 | 2683741.2616 | 1251176.2265 | 2683728.8239 | 1251182.0595
35 | 2683753.0812 | 1251149.6736 | 2683751.4917 | 1251148.3724 | 2683750.5574 | 1251146.6468 | 2683748.6175 | 1251145.0293 | 2683739.655 | 1251139.2984 | 2683739.0372 | 1251138.8909
36 | 2683723.1435 | 1251170.5104 | 2683712.8232 | 1251175.3996
37 | 2683723.4252 | 1251128.5944 | 2683739.0372 | 1251138.8909
38 | 2683755.8912 | 1251112.7079 | 2683756.0292 | 1251102.9533
39 | 2683814.576 | 1251137.0146 | 2683795.0599 | 1251141.7967
40 | 2683752.2779 | 1251176.5824 | 2683756.0575 | 1251177.2808 | 2683759.7092 | 1251177.9551 | 2683763.0446 | 1251178.5694 | 2683766.2898 | 1251179.1601 | 2683767.3138 | 1251179.3525
41 | 2683767.3138 | 1251179.3525 | 2683766.0873 | 1251185.4731 | 2683764.689 | 1251191.0582
42 | 2683723.4252 | 1251128.5944 | 2683724.7792 | 1251126.8011
43 | 2683724.7792 | 1251126.8011 | 2683715.015 | 1251120.3605
44 | 2683724.7792 | 1251126.8011 | 2683727.3487 | 1251123.3904 | 2683738.557 | 1251130.5943
45 | 2683723.4252 | 1251128.5944 | 2683718.5509 | 1251125.3782
46 | 2683709.2813 | 1251116.5784 | 2683715.015 | 1251120.3605
47 | 2683636.9337 | 1251089.8443 | 2683627.9547 | 1251086.871 | 2683643.2526 | 1251126.1606
48 | 2683643.2526 | 1251126.1606 | 2683634.4634 | 1251129.528 | 2683628.1795 | 1251132.4304 | 2683621.442 | 1251136.9832 | 2683620.0222 | 1251138.9421
49 | 2683636.9337 | 1251089.8443 | 2683635.9617 | 1251091.3206 | 2683635.5609 | 1251093.5055 | 2683635.8299 | 1251095.8443 | 2683643.2139 | 1251115.2233
50 | 2683636.9337 | 1251089.8443 | 2683638.3029 | 1251088.5738 | 2683639.9446 | 1251087.7853 | 2683641.6484 | 1251087.409 | 2683644.1131 | 1251087.6774 | 2683653.9722 | 1251090.3407 | 2683660.9884 | 1251092.7603
51 | 2683714.8985 | 1251188.5903 | 2683728.8239 | 1251182.0595
52 | 2683661.9698 | 1251163.5548 | 2683649.6354 | 1251132.061
53 | 2683808.0583 | 1251153.4567 | 2683820.3276 | 1251150.5931
54 | 2683839.0059 | 1251280.6086 | 2683836.8691 | 1251268.3804 | 2683836.0719 | 1251256.9717
55 | 2683839.0059 | 1251280.6086 | 2683820.5492 | 1251281.0924
56 | 2683836.0719 | 1251256.9717 | 2683818.156 | 1251254.8983
57 | 2683797.7936 | 1251281.6889 | 2683820.5492 | 1251281.0924
58 | 2683643.2139 | 1251115.2233 | 2683649.4272 | 1251131.5296 | 2683649.6354 | 1251132.061
59 | 2683684.3881 | 1251094.5288 | 2683681.9854 | 1251098.9537
60 | 2683681.9854 | 1251098.9537 | 2683685.4686 | 1251100.871 | 2683709.2813 | 1251116.5784
61 | 2683684.3881 | 1251094.5288 | 2683689.2724 | 1251085.5248
62 | 2683684.3881 | 1251094.5288 | 2683678.638 | 1251091.701 | 2683675.8302 | 1251090.4308
63 | 2683849.618 | 1251143.3027 | 2683834.9765 | 1251147.174 | 2683820.3276 | 1251150.5931
64 | 2683818.156 | 1251254.8983 | 2683801.917 | 1251253.019 | 2683794.7127 | 1251251.4506
65 | 2683796.1374 | 1251188.8004 | 2683808.3788 | 1251197.5355 | 2683812.2749 | 1251199.9636
66 | 2683769.0463 | 1251117.8241 | 2683769.106 | 1251110.1213
67 | 2683796.1374 | 1251188.8004 | 2683787.5218 | 1251218.0945
68 | 2683787.5218 | 1251218.0945 | 2683783.8693 | 1251230.5137 | 2683783.8922 | 1251244.9026 | 2683783.9947 | 1251247.2613 | 2683785.5516 | 1251248.7289 | 2683787.7689 | 1251249.9389 | 2683794.7127 | 1251251.4506
69 | 2683756.3293 | 1251073.2541 | 2683755.9809 | 1251062.8166
70 | 2683756.3293 | 1251073.2541 | 2683756.4135 | 1251075.7766 | 2683756.3069 | 1251083.3163
71 | 2683756.3069 | 1251083.3163 | 2683756.0292 | 1251102.9533
72 | 2683705.1822 | 1251116.557 | 2683718.5509 | 1251125.3782
73 | 2683689.2724 | 1251085.5248 | 2683695.5106 | 1251074.025
74 | 2683696.4019 | 1251072.3818 | 2683695.5106 | 1251074.025
75 | 2683705.1822 | 1251116.557 | 2683698.4897 | 1251112.1411 | 2683691.6166 | 1251107.8413

## bus_geodata
| x | y | coords
0 | 2683773.6037 | 1251256.1311
1 | 2683735.5114 | 1251295.679
2 | 2683723.9158 | 1251266.3711
3 | 2683726.8547 | 1251242.706
4 | 2683846.7888 | 1251212.3454
5 | 2683846.0216 | 1251214.8142
6 | 2683832.3035 | 1251206.8331
7 | 2683830.7474 | 1251209.0976
8 | 2683740.717 | 1251216.8825
9 | 2683735.0714 | 1251228.8334
10 | 2683753.9593 | 1251221.562
11 | 2683748.4277 | 1251195.7012
12 | 2683771.3807 | 1251163.4759
13 | 2683772.9678 | 1251161.7415
14 | 2683790.5739 | 1251180.3955
15 | 2683769.1058 | 1251142.3168
16 | 2683772.151 | 1251148.5089
17 | 2683754.9158 | 1251140.0479
18 | 2683768.9873 | 1251125.4255
19 | 2683680.5526 | 1251191.2803
20 | 2683673.9603 | 1251191.4318
21 | 2683690.0119 | 1251186.2065
22 | 2683747.8509 | 1251158.6731
23 | 2683747.7204 | 1251172.704
24 | 2683753.0812 | 1251149.6736
25 | 2683723.1435 | 1251170.5104
26 | 2683739.0372 | 1251138.8909
27 | 2683755.8912 | 1251112.7079
28 | 2683795.0599 | 1251141.7967
29 | 2683767.3138 | 1251179.3525
30 | 2683752.2779 | 1251176.5824
31 | 2683764.689 | 1251191.0582
32 | 2683724.7792 | 1251126.8011
33 | 2683723.4252 | 1251128.5944
34 | 2683715.015 | 1251120.3605
35 | 2683738.557 | 1251130.5943
36 | 2683749.5689 | 1251230.8688
37 | 2683643.2526 | 1251126.1606
38 | 2683636.9337 | 1251089.8443
39 | 2683620.0222 | 1251138.9421
40 | 2683728.8239 | 1251182.0595
41 | 2683661.9698 | 1251163.5548
42 | 2683808.0583 | 1251153.4567
43 | 2683839.0059 | 1251280.6086
44 | 2683836.0719 | 1251256.9717
45 | 2683820.5492 | 1251281.0924
46 | 2683643.2139 | 1251115.2233
47 | 2683660.9884 | 1251092.7603
48 | 2683681.9854 | 1251098.9537
49 | 2683684.3881 | 1251094.5288
50 | 2683709.2813 | 1251116.5784
51 | 2683808.0685 | 1251194.066
52 | 2683849.618 | 1251143.3027
53 | 2683820.3276 | 1251150.5931
54 | 2683818.156 | 1251254.8983
55 | 2683812.2749 | 1251199.9636
56 | 2683797.7936 | 1251281.6889
57 | 2683769.106 | 1251110.1212
58 | 2683769.0463 | 1251117.8241
59 | 2683796.1374 | 1251188.8004
60 | 2683787.5218 | 1251218.0945
61 | 2683712.8233 | 1251175.3996
62 | 2683755.9809 | 1251062.8166
63 | 2683756.3293 | 1251073.2541
64 | 2683756.0292 | 1251102.9533
65 | 2683814.576 | 1251137.0146
66 | 2683718.5509 | 1251125.3782
67 | 2683714.8985 | 1251188.5903
68 | 2683649.6354 | 1251132.061
69 | 2683675.8302 | 1251090.4308
70 | 2683689.2724 | 1251085.5248
71 | 2683695.5106 | 1251074.025
72 | 2683696.4019 | 1251072.3818
73 | 2683756.3069 | 1251083.3163
74 | 2683705.1822 | 1251116.557
75 | 2683691.6166 | 1251107.8413
76 | 2683794.7127 | 1251251.4506
77 | 2683747.7905 | 1251165.6108

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99612 | -0.074728 | 0.008373 | 0.0020985
1 | 0.99655 | -0.066292 | 0 | 0
2 | 0.99679 | -0.06166 | 0 | 0
3 | 0.99704 | -0.056964 | 0 | 0
4 | 0.98957 | -0.20037 | 0 | 0
5 | 0.98945 | -0.20267 | 0 | 0
6 | 0.99028 | -0.18657 | 0.01113 | 0.0027895
7 | 0.9887 | -0.21721 | 0.0060348 | 0.0015125
8 | 0.99742 | -0.049577 | 0 | 0
9 | 0.99716 | -0.054587 | 0.013254 | 0.0033217
10 | 0.99739 | -0.050279 | 0 | 0
11 | 0.99792 | -0.039906 | 0.015892 | 0.0039829
12 | 0.99514 | -0.093021 | 0 | 0
13 | 0.99532 | -0.089547 | 0 | 0
14 | 0.99317 | -0.13096 | 0.018408 | 0.0046135
15 | 0.99732 | -0.051242 | 0 | 0
16 | 0.99652 | -0.06653 | 0 | 0
17 | 0.99851 | -0.028534 | 0 | 0
18 | 0.99674 | -0.062394 | 0.025502 | 0.0063914
19 | 0.99333 | -0.12769 | 0 | 0
20 | 0.99285 | -0.13705 | 0 | 0
21 | 0.99412 | -0.11259 | 0.012827 | 0.0032146
22 | 1 | 0 | -0.48251 | -0.12156
23 | 0.99898 | -0.01961 | 0 | 0
24 | 0.99906 | -0.018002 | 0 | 0
25 | 0.99727 | -0.052186 | 0.011528 | 0.0028893
26 | 0.99735 | -0.050836 | 0.02649 | 0.006639
27 | 0.99783 | -0.041597 | 0.0041943 | 0.0010512
28 | 0.99607 | -0.075221 | 0.012169 | 0.00305
29 | 0.9984 | -0.030669 | 0 | 0
30 | 0.99864 | -0.026072 | 0 | 0
31 | 0.99822 | -0.034279 | 0.0172 | 0.0043106
32 | 0.99592 | -0.078295 | 0 | 0
33 | 0.99602 | -0.076514 | 0 | 0
34 | 0.99554 | -0.085605 | 0.0061668 | 0.0015455
35 | 0.99577 | -0.081265 | 0.0096058 | 0.0024074
36 | 0.99736 | -0.050794 | 0.0028548 | 0.00071549
37 | 0.98769 | -0.23699 | 0 | 0
38 | 0.98813 | -0.22853 | 0 | 0
39 | 0.98747 | -0.24139 | 0.0091686 | 0.0022979
40 | 0.99855 | -0.027936 | 0.010078 | 0.0025258
41 | 0.99064 | -0.1798 | 0.033177 | 0.008315
42 | 0.99484 | -0.098883 | 0.0033642 | 0.00084315
43 | 0.98396 | -0.3094 | 0 | 0
44 | 0.98428 | -0.30309 | 0 | 0
45 | 0.98371 | -0.31428 | 0.0060327 | 0.0015119
46 | 0.98867 | -0.21794 | 0.01064 | 0.0026667
47 | 0.98783 | -0.23435 | 0.012756 | 0.003197
48 | 0.99462 | -0.10343 | 0 | 0
49 | 0.99451 | -0.10564 | 0 | 0
50 | 0.99536 | -0.089154 | 0.0044322 | 0.0011108
51 | 0.99182 | -0.1568 | 0.0044904 | 0.0011254
52 | 0.99451 | -0.10529 | 0.0073186 | 0.0018342
53 | 0.99471 | -0.1014 | 0.0040264 | 0.0010091
54 | 0.98453 | -0.29832 | 0.0060384 | 0.0015134
55 | 0.98786 | -0.23344 | 0.0059573 | 0.001493
56 | 0.98353 | -0.31784 | 0.0086657 | 0.0021718
57 | 0.99662 | -0.064691 | 0.0050217 | 0.0012586
58 | 0.99666 | -0.064012 | 0.0071145 | 0.0017831
59 | 0.98717 | -0.24679 | 0 | 0
60 | 0.9861 | -0.2676 | 0.0086498 | 0.0021678
61 | 0.99625 | -0.07171 | 0.0054284 | 0.0013605
62 | 0.99724 | -0.052864 | 0.0054095 | 0.0013557
63 | 0.9973 | -0.051874 | 0.0042432 | 0.0010634
64 | 0.99762 | -0.045539 | 0.009613 | 0.0024092
65 | 0.99592 | -0.078213 | 0.008473 | 0.0021235
66 | 0.99584 | -0.07991 | 0.01156 | 0.0028972
67 | 0.99837 | -0.031281 | 0.012441 | 0.0031181
68 | 0.98921 | -0.20748 | 0.013447 | 0.0033701
69 | 0.99441 | -0.10752 | 0.011205 | 0.0028083
70 | 0.99438 | -0.10812 | 0.0043539 | 0.0010912
71 | 0.99427 | -0.11029 | 0.0061806 | 0.001549
72 | 0.99426 | -0.1104 | 0.003208 | 0.00080399
73 | 0.99738 | -0.050172 | 0.0038134 | 0.00095573
74 | 0.99553 | -0.085974 | 0.011432 | 0.0028652
75 | 0.99538 | -0.08884 | 0.010103 | 0.002532
76 | 0.98498 | -0.28948 | 0.0086644 | 0.0021715
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.008373 | -0.0020985 | 0.0083764 | 0.0020999 | 3.3659e-06 | 1.407e-06 | 0.012508 | 0.012508 | 0.012508 | 0.99612 | -0.074728 | 0.99655 | -0.066292 | 3.4362
1 | -0.0083764 | -0.0020999 | 0.0083783 | 0.0021007 | 1.8491e-06 | 7.7264e-07 | 0.012508 | 0.012507 | 0.012508 | 0.99655 | -0.066292 | 0.99679 | -0.06166 | 3.4361
2 | -0.0083783 | -0.0021007 | 0.0083801 | 0.0021014 | 1.8751e-06 | 7.8329e-07 | 0.012507 | 0.012507 | 0.012507 | 0.99679 | -0.06166 | 0.99704 | -0.056964 | 3.4361
3 | -0.0083801 | -0.0021014 | 0.0083811 | 0.0021018 | 9.4949e-07 | 3.9655e-07 | 0.012507 | 0.012507 | 0.012507 | 0.99704 | -0.056964 | 0.99716 | -0.054587 | 3.4361
4 | 0.050232 | 0.01266 | -0.050227 | -0.012656 | 5.5344e-06 | 3.5088e-06 | 0.075559 | 0.075559 | 0.075559 | 0.98957 | -0.20037 | 0.98945 | -0.20267 | 20.7581
5 | -0.050232 | -0.01266 | 0.050265 | 0.012681 | 3.3192e-05 | 2.1044e-05 | 0.075559 | 0.075559 | 0.075559 | 0.98957 | -0.20037 | 0.99028 | -0.18657 | 20.7581
6 | 0.050227 | 0.012656 | -0.050192 | -0.012634 | 3.4917e-05 | 2.2137e-05 | 0.075559 | 0.075559 | 0.075559 | 0.98945 | -0.20267 | 0.9887 | -0.21721 | 20.7581
7 | -0.061396 | -0.01547 | 0.061483 | 0.015526 | 8.7571e-05 | 5.5692e-05 | 0.092284 | 0.092284 | 0.092284 | 0.99028 | -0.18657 | 0.99182 | -0.1568 | 25.3527
8 | 0.044157 | 0.011122 | -0.044123 | -0.0111 | 3.4229e-05 | 2.1642e-05 | 0.066477 | 0.066477 | 0.066477 | 0.9887 | -0.21721 | 0.98786 | -0.23344 | 18.2629
9 | 0.02164 | 0.0054266 | -0.021635 | -0.0054235 | 5.1664e-06 | 3.134e-06 | 0.032285 | 0.032285 | 0.032285 | 0.99742 | -0.049577 | 0.99716 | -0.054587 | 8.8695
10 | 0.002855 | 0.00071528 | -0.0028549 | -0.0007154 | 9.5544e-08 | -1.2215e-07 | 0.0042592 | 0.0042592 | 0.0042592 | 0.99742 | -0.049577 | 0.99739 | -0.050279 | 1.1701
11 | -0.024495 | -0.0061419 | 0.024506 | 0.0061489 | 1.1294e-05 | 6.9336e-06 | 0.036544 | 0.036544 | 0.036544 | 0.99742 | -0.049577 | 0.99792 | -0.039906 | 10.0396
12 | 0.0028549 | 0.0007154 | -0.0028548 | -0.00071549 | 7.0037e-08 | -8.9531e-08 | 0.0042592 | 0.0042593 | 0.0042593 | 0.99739 | -0.050279 | 0.99736 | -0.050794 | 1.1701
13 | -0.040398 | -0.010132 | 0.040425 | 0.010149 | 2.6657e-05 | 1.6805e-05 | 0.060241 | 0.060241 | 0.060241 | 0.99792 | -0.039906 | 0.99864 | -0.026072 | 16.5497
14 | -0.084617 | -0.021415 | 0.084631 | 0.021424 | 1.4112e-05 | 9.0014e-06 | 0.1266 | 0.1266 | 0.1266 | 0.99514 | -0.093021 | 0.99532 | -0.089547 | 34.7804
15 | 0.084617 | 0.021415 | -0.084463 | -0.021317 | 0.00015378 | 9.8089e-05 | 0.1266 | 0.1266 | 0.1266 | 0.99514 | -0.093021 | 0.99317 | -0.13096 | 34.7804
16 | 0.014719 | 0.0036914 | -0.014712 | -0.0036877 | 6.5473e-06 | 3.7219e-06 | 0.022005 | 0.022005 | 0.022005 | 0.99532 | -0.089547 | 0.99484 | -0.098883 | 6.0454
17 | -0.09935 | -0.025116 | 0.09946 | 0.025186 | 0.00010979 | 7.0095e-05 | 0.14861 | 0.14861 | 0.14861 | 0.99532 | -0.089547 | 0.99652 | -0.06653 | 40.8258
18 | 0.066055 | 0.016704 | -0.065974 | -0.016652 | 8.1749e-05 | 5.2032e-05 | 0.099021 | 0.099021 | 0.099021 | 0.99317 | -0.13096 | 0.99182 | -0.1568 | 27.2035
19 | 0.1202 | 0.030421 | -0.12011 | -0.030365 | 8.8137e-05 | 5.6312e-05 | 0.17944 | 0.17944 | 0.17944 | 0.99732 | -0.051242 | 0.99652 | -0.06653 | 49.298
20 | -0.15786 | -0.039867 | 0.15803 | 0.039977 | 0.00017198 | 0.00010963 | 0.23564 | 0.23564 | 0.23564 | 0.99732 | -0.051242 | 0.99851 | -0.028534 | 32.3676
21 | 0.037659 | 0.0094462 | -0.037639 | -0.0094336 | 2.0009e-05 | 1.2585e-05 | 0.056191 | 0.056191 | 0.056191 | 0.99732 | -0.051242 | 0.99674 | -0.062394 | 15.4372
22 | 0.020652 | 0.0051791 | -0.020644 | -0.005174 | 8.5511e-06 | 5.1605e-06 | 0.030839 | 0.030839 | 0.030839 | 0.99652 | -0.06653 | 0.99607 | -0.075221 | 8.4723
23 | 0.027299 | 0.0068506 | -0.027282 | -0.00684 | 1.6994e-05 | 1.0518e-05 | 0.040685 | 0.040685 | 0.040685 | 0.99851 | -0.028534 | 0.99783 | -0.041597 | 11.1772
24 | -0.18533 | -0.046828 | 0.18542 | 0.046887 | 9.3616e-05 | 5.9529e-05 | 0.27632 | 0.27632 | 0.27632 | 0.99851 | -0.028534 | 0.99906 | -0.018002 | 25.3041
25 | 0.012137 | 0.0030421 | -0.012136 | -0.0030416 | 9.3591e-07 | 4.9991e-07 | 0.01812 | 0.01812 | 0.01812 | 0.99674 | -0.062394 | 0.99666 | -0.064012 | 4.9779
26 | 0.079484 | 0.020033 | -0.079448 | -0.02001 | 3.5563e-05 | 2.2674e-05 | 0.11911 | 0.11911 | 0.11911 | 0.99333 | -0.12769 | 0.99285 | -0.13705 | 32.7216
27 | -0.079484 | -0.020033 | 0.079541 | 0.020069 | 5.7469e-05 | 3.664e-05 | 0.11911 | 0.11911 | 0.11911 | 0.99333 | -0.12769 | 0.99412 | -0.11259 | 32.7216
28 | 0.079448 | 0.02001 | -0.079286 | -0.019907 | 0.00016206 | 0.00010332 | 0.11911 | 0.11911 | 0.11911 | 0.99285 | -0.13705 | 0.99064 | -0.1798 | 32.7216
29 | -0.092368 | -0.023284 | 0.092549 | 0.023399 | 0.00018106 | 0.00011555 | 0.13831 | 0.13831 | 0.13831 | 0.99412 | -0.11259 | 0.99625 | -0.07171 | 37.996
30 | 0.080254 | 0.020173 | -0.080179 | -0.020125 | 7.5065e-05 | 4.7857e-05 | 0.11944 | 0.11944 | 0.11944 | 1 | 0 | 0.99898 | -0.01961 | 32.8132
31 | 0.29073 | 0.073499 | -0.29048 | -0.073339 | 0.00025077 | 0.00016007 | 0.43284 | 0.43284 | 0.43284 | 1 | 0 | 0.99906 | -0.018002 | 39.6371
32 | 0.10987 | 0.027883 | -0.1096 | -0.027708 | 0.00027505 | 0.00017567 | 0.16361 | 0.16361 | 0.16361 | 1 | 0 | 0.99727 | -0.052186 | 44.9491
33 | 0.057649 | 0.014474 | -0.057631 | -0.014463 | 1.7767e-05 | 1.1287e-05 | 0.08588 | 0.08588 | 0.08588 | 0.99898 | -0.01961 | 0.99864 | -0.026072 | 23.5933
34 | 0.02253 | 0.0056503 | -0.022521 | -0.0056449 | 8.9373e-06 | 5.4429e-06 | 0.033561 | 0.033561 | 0.033561 | 0.99898 | -0.01961 | 0.99855 | -0.027936 | 9.22
35 | 0.10506 | 0.026452 | -0.10489 | -0.026347 | 0.00016463 | 0.00010513 | 0.15652 | 0.15652 | 0.15652 | 0.99906 | -0.018002 | 0.99735 | -0.050836 | 42.9992
36 | 0.098069 | 0.024818 | -0.097977 | -0.02476 | 9.1802e-05 | 5.8604e-05 | 0.14641 | 0.14641 | 0.14641 | 0.99727 | -0.052186 | 0.99625 | -0.07171 | 40.2234
37 | 0.078403 | 0.019708 | -0.078307 | -0.019646 | 9.5994e-05 | 6.1193e-05 | 0.117 | 0.117 | 0.117 | 0.99735 | -0.050836 | 0.99602 | -0.076514 | 32.1415
38 | 0.023087 | 0.0057888 | -0.023083 | -0.0057862 | 4.3367e-06 | 2.6481e-06 | 0.03443 | 0.03443 | 0.03443 | 0.99783 | -0.041597 | 0.99762 | -0.045539 | 9.4588
39 | 0.0084742 | 0.002124 | -0.008473 | -0.0021235 | 1.2076e-06 | 5.1136e-07 | 0.012659 | 0.01266 | 0.01266 | 0.99607 | -0.075221 | 0.99592 | -0.078213 | 3.4779
40 | -0.017203 | -0.0043124 | 0.017206 | 0.0043146 | 3.7688e-06 | 2.2121e-06 | 0.025639 | 0.025639 | 0.025639 | 0.9984 | -0.030669 | 0.99864 | -0.026072 | 7.0437
41 | 0.017203 | 0.0043124 | -0.0172 | -0.0043106 | 2.958e-06 | 1.7362e-06 | 0.025639 | 0.025639 | 0.025639 | 0.9984 | -0.030669 | 0.99822 | -0.034279 | 7.0437
42 | -0.045195 | -0.011342 | 0.045198 | 0.011344 | 3.8393e-06 | 2.4279e-06 | 0.067531 | 0.067531 | 0.067531 | 0.99592 | -0.078295 | 0.99602 | -0.076514 | 18.5524
43 | 0.035587 | 0.0089337 | -0.035575 | -0.0089259 | 1.2404e-05 | 7.7862e-06 | 0.053177 | 0.053177 | 0.053177 | 0.99592 | -0.078295 | 0.99554 | -0.085605 | 14.609
44 | 0.0096071 | 0.0024081 | -0.0096058 | -0.0024074 | 1.3594e-06 | 6.4113e-07 | 0.014354 | 0.014354 | 0.014354 | 0.99592 | -0.078295 | 0.99577 | -0.081265 | 3.9435
45 | 0.033108 | 0.0083023 | -0.033103 | -0.0082989 | 5.3581e-06 | 3.3532e-06 | 0.049464 | 0.049464 | 0.049464 | 0.99602 | -0.076514 | 0.99584 | -0.07991 | 13.5891
46 | 0.029408 | 0.0073804 | -0.029403 | -0.0073773 | 4.9775e-06 | 3.0963e-06 | 0.043959 | 0.043959 | 0.043959 | 0.99554 | -0.085605 | 0.99536 | -0.089154 | 12.0768
47 | -0.0091706 | -0.0022988 | 0.0091743 | 0.0023005 | 3.6951e-06 | 1.7039e-06 | 0.013816 | 0.013816 | 0.013816 | 0.98769 | -0.23699 | 0.98813 | -0.22853 | 3.7956
48 | 0.0091706 | 0.0022988 | -0.0091686 | -0.0022979 | 1.9245e-06 | 8.8767e-07 | 0.013816 | 0.013816 | 0.013816 | 0.98769 | -0.23699 | 0.98747 | -0.24139 | 3.7957
49 | -0.021934 | -0.0054994 | 0.021945 | 0.0055061 | 1.108e-05 | 6.7442e-06 | 0.033031 | 0.033031 | 0.033031 | 0.98813 | -0.22853 | 0.98867 | -0.21794 | 9.0745
50 | 0.01276 | 0.0031989 | -0.012756 | -0.003197 | 3.5373e-06 | 1.9367e-06 | 0.019215 | 0.019215 | 0.019215 | 0.98813 | -0.22853 | 0.98783 | -0.23435 | 5.2789
51 | 0.012443 | 0.0031191 | -0.012441 | -0.0031181 | 1.9832e-06 | 1.0681e-06 | 0.018543 | 0.018543 | 0.018543 | 0.99855 | -0.027936 | 0.99837 | -0.031281 | 5.0942
52 | 0.046109 | 0.011592 | -0.046048 | -0.011553 | 6.0864e-05 | 3.8518e-05 | 0.069272 | 0.069272 | 0.069272 | 0.99064 | -0.1798 | 0.98921 | -0.20748 | 19.0309
53 | 0.011348 | 0.0028445 | -0.011346 | -0.0028438 | 1.3612e-06 | 7.0758e-07 | 0.016973 | 0.016974 | 0.016974 | 0.99484 | -0.098883 | 0.99471 | -0.1014 | 4.6631
54 | -0.014703 | -0.0036864 | 0.014708 | 0.0036889 | 4.4223e-06 | 2.5272e-06 | 0.022236 | 0.022236 | 0.022236 | 0.98396 | -0.3094 | 0.98428 | -0.30309 | 6.1088
55 | 0.014703 | 0.0036864 | -0.0147 | -0.0036844 | 3.4233e-06 | 1.9565e-06 | 0.022236 | 0.022236 | 0.022236 | 0.98396 | -0.3094 | 0.98371 | -0.31428 | 6.1088
56 | -0.014708 | -0.0036889 | 0.014711 | 0.0036908 | 3.344e-06 | 1.9109e-06 | 0.022236 | 0.022236 | 0.022236 | 0.98428 | -0.30309 | 0.98453 | -0.29832 | 6.1088
57 | 0.0086672 | 0.0021725 | -0.0086657 | -0.0021718 | 1.4673e-06 | 6.5014e-07 | 0.013111 | 0.013111 | 0.013111 | 0.98371 | -0.31428 | 0.98353 | -0.31784 | 3.6019
58 | -0.032585 | -0.0081728 | 0.032601 | 0.008183 | 1.6255e-05 | 1.0172e-05 | 0.049045 | 0.049045 | 0.049045 | 0.98867 | -0.21794 | 0.98921 | -0.20748 | 13.4739
59 | 0.024954 | 0.006256 | -0.024951 | -0.0062544 | 2.6301e-06 | 1.618e-06 | 0.037334 | 0.037334 | 0.037334 | 0.99462 | -0.10343 | 0.99451 | -0.10564 | 10.2565
60 | -0.024954 | -0.006256 | 0.024971 | 0.0062665 | 1.6988e-05 | 1.045e-05 | 0.037334 | 0.037333 | 0.037334 | 0.99462 | -0.10343 | 0.99536 | -0.089154 | 10.2565
61 | 0.013745 | 0.0034456 | -0.013744 | -0.0034446 | 1.6248e-06 | 9.0694e-07 | 0.020566 | 0.020566 | 0.020566 | 0.99451 | -0.10564 | 0.99438 | -0.10812 | 5.6501
62 | 0.011206 | 0.0028088 | -0.011205 | -0.0028083 | 1.0005e-06 | 5.1719e-07 | 0.016767 | 0.016767 | 0.016767 | 0.99451 | -0.10564 | 0.99441 | -0.10752 | 4.6064
63 | -0.0073186 | -0.0018342 | 0.00732 | 0.0018347 | 1.3574e-06 | 4.7696e-07 | 0.01095 | 0.01095 | 0.01095 | 0.99451 | -0.10529 | 0.99471 | -0.1014 | 3.0083
64 | -0.020749 | -0.0052042 | 0.020758 | 0.0052095 | 8.7492e-06 | 5.2977e-06 | 0.031362 | 0.031362 | 0.031362 | 0.98453 | -0.29832 | 0.98498 | -0.28948 | 8.616
65 | 0.038165 | 0.0096071 | -0.038141 | -0.0095918 | 2.434e-05 | 1.5327e-05 | 0.057504 | 0.057504 | 0.057504 | 0.98786 | -0.23344 | 0.98717 | -0.24679 | 15.7977
66 | -0.0050217 | -0.0012586 | 0.0050218 | 0.0012586 | 1.6238e-07 | 3.5448e-09 | 0.0074977 | 0.0074976 | 0.0074977 | 0.99662 | -0.064691 | 0.99666 | -0.064012 | 2.0598
67 | 0.038141 | 0.0095918 | -0.038103 | -0.009568 | 3.7863e-05 | 2.3843e-05 | 0.057504 | 0.057504 | 0.057504 | 0.98717 | -0.24679 | 0.9861 | -0.2676 | 15.7977
68 | 0.029453 | 0.0074001 | -0.029423 | -0.007381 | 3.0726e-05 | 1.9136e-05 | 0.044451 | 0.044452 | 0.044452 | 0.9861 | -0.2676 | 0.98498 | -0.28948 | 12.212
69 | -0.0054095 | -0.0013557 | 0.0054097 | 0.0013558 | 2.5515e-07 | 2.7032e-08 | 0.0080716 | 0.0080716 | 0.0080716 | 0.99724 | -0.052864 | 0.9973 | -0.051874 | 2.2175
70 | -0.0096529 | -0.0024192 | 0.0096537 | 0.0024196 | 7.8289e-07 | 3.6971e-07 | 0.014403 | 0.014403 | 0.014403 | 0.9973 | -0.051874 | 0.99738 | -0.050172 | 3.9568
71 | 0.01347 | 0.003377 | -0.013467 | -0.0033753 | 2.973e-06 | 1.6463e-06 | 0.020092 | 0.020092 | 0.020092 | 0.99762 | -0.045539 | 0.99738 | -0.050172 | 5.5197
72 | 0.021543 | 0.0054017 | -0.021537 | -0.0053979 | 6.2241e-06 | 3.7751e-06 | 0.032191 | 0.032191 | 0.032191 | 0.99584 | -0.07991 | 0.99553 | -0.085974 | 8.8437
73 | 0.0093896 | 0.0023534 | -0.0093886 | -0.002353 | 9.6861e-07 | 4.5021e-07 | 0.014051 | 0.014051 | 0.014051 | 0.99438 | -0.10812 | 0.99427 | -0.11029 | 3.8602
74 | 0.003208 | 0.00080398 | -0.003208 | -0.00080399 | 1.6158e-08 | -1.3902e-08 | 0.0048011 | 0.0048011 | 0.0048011 | 0.99427 | -0.11029 | 0.99426 | -0.1104 | 1.319
75 | 0.010104 | 0.0025327 | -0.010103 | -0.002532 | 1.3793e-06 | 6.7314e-07 | 0.015103 | 0.015103 | 0.015103 | 0.99553 | -0.085974 | 0.99538 | -0.08884 | 4.1492

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48251 | 0.12156

## res_load
| p_mw | q_mvar
0 | 0.008373 | 0.0020985
1 | 0.01113 | 0.0027895
2 | 0.0060348 | 0.0015125
3 | 0.013254 | 0.0033217
4 | 0.015892 | 0.0039829
5 | 0.018408 | 0.0046135
6 | 0.025502 | 0.0063914
7 | 0.012827 | 0.0032146
8 | 0.011528 | 0.0028893
9 | 0.02649 | 0.006639
10 | 0.0041943 | 0.0010512
11 | 0.012169 | 0.00305
12 | 0.0172 | 0.0043106
13 | 0.0061668 | 0.0015455
14 | 0.0096058 | 0.0024074
15 | 0.0028548 | 0.00071549
16 | 0.0091686 | 0.0022979
17 | 0.010078 | 0.0025258
18 | 0.033177 | 0.008315
19 | 0.0033642 | 0.00084315
20 | 0.0060327 | 0.0015119
21 | 0.01064 | 0.0026667
22 | 0.012756 | 0.003197
23 | 0.0044322 | 0.0011108
24 | 0.0044904 | 0.0011254
25 | 0.0073186 | 0.0018342
26 | 0.0040264 | 0.0010091
27 | 0.0060384 | 0.0015134
28 | 0.0059573 | 0.001493
29 | 0.0086657 | 0.0021718
30 | 0.0050217 | 0.0012586
31 | 0.0071145 | 0.0017831
32 | 0.0086498 | 0.0021678
33 | 0.0054284 | 0.0013605
34 | 0.0054095 | 0.0013557
35 | 0.0042432 | 0.0010634
36 | 0.009613 | 0.0024092
37 | 0.008473 | 0.0021235
38 | 0.01156 | 0.0028972
39 | 0.012441 | 0.0031181
40 | 0.013447 | 0.0033701
41 | 0.011205 | 0.0028083
42 | 0.0043539 | 0.0010912
43 | 0.0061806 | 0.001549
44 | 0.003208 | 0.00080399
45 | 0.0038134 | 0.00095573
46 | 0.011432 | 0.0028652
47 | 0.010103 | 0.002532
48 | 0.0086644 | 0.0021715

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1