## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-7_0_3_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_261-7_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-7_0_3_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_261-7_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-7_0_3_node_93 | 0.4 | n |  | TRUE
10 | bus_LV_261-7_0_3_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_261-7_0_3_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_261-7_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_261-7_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_261-7_0_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_261-7_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_261-7_0_3_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_261-7_0_3_node_105 | 0.4 | n |  | TRUE
18 | bus_LV_261-7_0_3_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_261-7_0_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_261-7_0_3_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_261-7_0_3_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_261-7_0_3_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_261-7_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_261-7_0_3_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_261-7_0_3_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_261-7_0_3_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_261-7_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_261-7_0_3_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_261-7_0_3_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_261-7_0_3_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_261-7_0_3_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_261-7_0_3_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_261-7_0_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_261-7_0_3_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_261-7_0_3_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_261-7_0_3_node_123 | 0.4 | n |  | TRUE
37 | bus_LV_261-7_0_3_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_261-7_0_3_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_261-7_0_3_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_261-7_0_3_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_261-7_0_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_261-7_0_3_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_261-7_0_3_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_261-7_0_3_node_122 | 0.4 | n |  | TRUE
45 | bus_LV_261-7_0_3_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_261-7_0_3_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_261-7_0_3_node_99 | 0.4 | n |  | TRUE
48 | bus_LV_261-7_0_3_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_261-7_0_3_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_261-7_0_3_node_102 | 0.4 | n |  | TRUE
51 | bus_MV_494_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-7_0_3_load_0 | 0 | 0.019364 | 0.004853 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-7_0_3_load_1 | 1 | 0.0067171 | 0.0016835 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-7_0_3_load_3 | 3 | 0.0017556 | 0.00043999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-7_0_3_load_96 | 7 | 0.080153 | 0.020088 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-7_0_3_load_92 | 10 | 0.051553 | 0.01292 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-7_0_3_load_97 | 11 | 0.00090801 | 0.00022757 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-7_0_3_load_58 | 14 | 0.0085713 | 0.0021482 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-7_0_3_load_105 | 17 | 0.0057766 | 0.0014477 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-7_0_3_load_73 | 19 | 0.0083342 | 0.0020887 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-7_0_3_load_72 | 21 | 0.0032279 | 0.00080899 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-7_0_3_load_70 | 22 | 0.003061 | 0.00076716 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-7_0_3_load_68 | 24 | 0.0043217 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-7_0_3_load_64 | 25 | 0.0035658 | 0.00089368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-7_0_3_load_84 | 29 | 0.0070131 | 0.0017576 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-7_0_3_load_81 | 30 | 0.0056813 | 0.0014239 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-7_0_3_load_85 | 31 | 0.028525 | 0.0071491 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-7_0_3_load_71 | 32 | 0.013311 | 0.0033361 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-7_0_3_load_76 | 33 | 0.0096867 | 0.0024277 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-7_0_3_load_82 | 34 | 0.0056661 | 0.0014201 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-7_0_3_load_123 | 36 | 0.0070131 | 0.0017577 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-7_0_3_load_94 | 42 | 0.0037488 | 0.00093954 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-7_0_3_load_91 | 43 | 0.001493 | 0.00037419 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-7_0_3_load_95 | 45 | 0.0020635 | 0.00051715 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-7_0_3_load_100 | 48 | 0.00077472 | 0.00019416 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-7_0_3_load_101 | 49 | 0.00047374 | 0.00011873 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-7_0_3_load_102 | 50 | 0.0015288 | 0.00038316 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-7_0_3_line_0 |  | 0 | 1 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-7_0_3_line_1 |  | 0 | 2 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-7_0_3_line_2 |  | 1 | 3 | 0.026903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-7_0_3_line_3 |  | 2 | 4 | 0.031954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-7_0_3_line_4 |  | 3 | 5 | 0.039379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-7_0_3_line_5 |  | 4 | 6 | 0.33333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-7_0_3_line_6 |  | 4 | 7 | 0.0048718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-7_0_3_line_7 |  | 5 | 16 | 0.002223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-7_0_3_line_8 |  | 6 | 11 | 0.043821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-7_0_3_line_9 |  | 7 | 41 | 0.038441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-7_0_3_line_10 |  | 8 | 9 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-7_0_3_line_11 |  | 8 | 10 | 0.028034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-7_0_3_line_12 |  | 9 | 45 | 0.077461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-7_0_3_line_13 |  | 9 | 42 | 0.038639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-7_0_3_line_14 |  | 11 | 46 | 0.023956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-7_0_3_line_15 |  | 12 | 13 | 0.028964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-7_0_3_line_16 |  | 12 | 14 | 0.026091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-7_0_3_line_17 |  | 13 | 18 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-7_0_3_line_18 |  | 13 | 15 | 0.051129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-7_0_3_line_19 |  | 15 | 16 | 0.074699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-7_0_3_line_20 |  | 15 | 17 | 0.14405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-7_0_3_line_21 |  | 16 | 19 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-7_0_3_line_22 |  | 18 | 33 | 0.032188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-7_0_3_line_23 |  | 18 | 21 | 0.0092162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-7_0_3_line_24 |  | 20 | 21 | 0.012093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-7_0_3_line_25 |  | 20 | 22 | 0.059188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-7_0_3_line_26 |  | 22 | 32 | 0.0094919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-7_0_3_line_27 |  | 23 | 24 | 0.038265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-7_0_3_line_28 |  | 23 | 25 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-7_0_3_line_29 |  | 25 | 26 | 0.040928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-7_0_3_line_30 |  | 26 | 27 | 0.010441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-7_0_3_line_31 |  | 27 | 31 | 0.0096423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-7_0_3_line_32 |  | 28 | 29 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-7_0_3_line_33 |  | 28 | 30 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-7_0_3_line_34 |  | 29 | 37 | 0.019648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-7_0_3_line_35 |  | 30 | 34 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-7_0_3_line_36 |  | 31 | 38 | 0.02122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-7_0_3_line_37 |  | 34 | 35 | 0.0173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-7_0_3_line_38 |  | 35 | 36 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-7_0_3_line_39 |  | 36 | 44 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-7_0_3_line_40 |  | 37 | 40 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-7_0_3_line_41 |  | 38 | 39 | 0.005299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-7_0_3_line_42 |  | 38 | 40 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-7_0_3_line_43 |  | 39 | 41 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-7_0_3_line_44 |  | 40 | 42 | 0.033957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-7_0_3_line_45 |  | 43 | 44 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-7_0_3_line_46 |  | 46 | 47 | 0.011402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-7_0_3_line_47 |  | 47 | 48 | 0.048933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-7_0_3_line_48 |  | 48 | 49 | 0.00086863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-7_0_3_line_49 |  | 49 | 50 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-7_0_3_trafo_2 | 0.63 MVA 20/0.4 kV | 51 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2685550.4336 | 1245795.2405 | 2685566.6328 | 1245798.3942
1 | 2685536.8731 | 1245794.15 | 2685548.1219 | 1245794.7905 | 2685550.4336 | 1245795.2405
2 | 2685566.6328 | 1245798.3942 | 2685593.0403 | 1245803.5351
3 | 2685512.3298 | 1245778.0621 | 2685513.6766 | 1245781.0726 | 2685534.4072 | 1245788.577 | 2685536.5065 | 1245790.2308 | 2685536.8731 | 1245794.15
4 | 2685623.8034 | 1245826.4947 | 2685611.1279 | 1245818.4391 | 2685604.3231 | 1245809.3453 | 2685599.8297 | 1245805.5221 | 2685596.4261 | 1245804.1942 | 2685593.0403 | 1245803.5351
5 | 2685438.7085 | 1245644.225 | 2685420.0104 | 1245680.2044 | 2685414.9046 | 1245690.027 | 2685400.2216 | 1245711.1423 | 2685381.7965 | 1245737.641 | 2685351.1641 | 1245769.2012 | 2685347.6797 | 1245772.9539 | 2685343.3185 | 1245775.1594 | 2685386.3123 | 1245781.3605 | 2685399.8315 | 1245783.3232 | 2685456.1173 | 1245781.0321 | 2685459.1786 | 1245780.9428 | 2685491.4702 | 1245779.4959 | 2685512.3298 | 1245778.0621
6 | 2685512.3298 | 1245778.0621 | 2685516.9133 | 1245776.4109
7 | 2685625.5592 | 1245827.8655 | 2685623.8034 | 1245826.4947
8 | 2685438.7085 | 1245644.225 | 2685454.9476 | 1245603.5243
9 | 2685553.5327 | 1245764.8909 | 2685539.217 | 1245768.376 | 2685516.9133 | 1245776.4109
10 | 2685503.4253 | 1245711.796 | 2685512.9958 | 1245696.8007
11 | 2685503.4253 | 1245711.796 | 2685526.4866 | 1245727.7352
12 | 2685512.9958 | 1245696.8007 | 2685556.8528 | 1245632.9516
13 | 2685512.9958 | 1245696.8007 | 2685545.0653 | 1245718.3528
14 | 2685463.8253 | 1245581.2737 | 2685454.9476 | 1245603.5243
15 | 2685550.98 | 1245904.0679 | 2685558.2127 | 1245896.6 | 2685564.0718 | 1245890.6023 | 2685571.4353 | 1245897.6359
16 | 2685571.4353 | 1245897.6359 | 2685563.5445 | 1245904.6273 | 2685558.0592 | 1245909.852 | 2685552.2846 | 1245915.3501
17 | 2685541.0658 | 1245901.5341 | 2685550.98 | 1245904.0679
18 | 2685550.98 | 1245904.0679 | 2685558.2127 | 1245896.6 | 2685555.8364 | 1245895.2981 | 2685552.8078 | 1245893.6421 | 2685569.7042 | 1245866.8104 | 2685571.2277 | 1245864.3862
19 | 2685571.2277 | 1245864.3862 | 2685569.7042 | 1245866.8104 | 2685578.6264 | 1245867.9289 | 2685581.9147 | 1245868.3433 | 2685598.98 | 1245852.3333 | 2685615.8002 | 1245836.5532 | 2685625.5592 | 1245827.8655
20 | 2685571.2277 | 1245864.3862 | 2685562.4023 | 1245868.0727 | 2685553.5512 | 1245869.3571 | 2685553.3701 | 1245869.3434 | 2685512.3994 | 1245865.4164 | 2685499.4151 | 1245862.0045 | 2685488.4964 | 1245857.3437 | 2685481.1805 | 1245853.2909 | 2685477.6517 | 1245851.7389 | 2685471.3705 | 1245851.3814 | 2685467.6187 | 1245852.7173 | 2685464.2404 | 1245855.4039 | 2685462.1451 | 1245858.7095 | 2685461.1583 | 1245862.1756 | 2685460.8569 | 1245867.3528 | 2685460.9086 | 1245880.5411 | 2685461.1763 | 1245886.7369
21 | 2685625.5592 | 1245827.8655 | 2685641.1467 | 1245813.9745
22 | 2685541.0658 | 1245901.5341 | 2685530.891 | 1245909.2042 | 2685529.7025 | 1245914.0795 | 2685518.9471 | 1245923.7649
23 | 2685541.0658 | 1245901.5341 | 2685532.8449 | 1245897.3681
24 | 2685536.3666 | 1245885.7992 | 2685532.8449 | 1245897.3681
25 | 2685536.3666 | 1245885.7992 | 2685509.4787 | 1245873.0466 | 2685502.9642 | 1245874.198 | 2685497.4738 | 1245878.2107 | 2685489.6272 | 1245887.9048 | 2685488.6803 | 1245891.3173
26 | 2685488.5455 | 1245900.0426 | 2685486.9015 | 1245897.7283 | 2685488.6803 | 1245891.3173
27 | 2685657.7798 | 1245790.0138 | 2685659.6213 | 1245774.996 | 2685662.8455 | 1245752.087
28 | 2685657.7798 | 1245790.0138 | 2685645.8909 | 1245784.5159 | 2685636.9839 | 1245780.4903
29 | 2685598.1393 | 1245767.7032 | 2685618.4603 | 1245773.7453 | 2685633.2344 | 1245778.7956 | 2685636.9839 | 1245780.4903
30 | 2685598.1393 | 1245767.7032 | 2685587.668 | 1245767.6298
31 | 2685587.668 | 1245767.6298 | 2685587.0552 | 1245762.9731 | 2685582.9712 | 1245760.1842
32 | 2685612.8712 | 1245749.002 | 2685596.7054 | 1245738.2323
33 | 2685612.8712 | 1245749.002 | 2685618.9531 | 1245739.0506
34 | 2685580.3539 | 1245727.339 | 2685596.7054 | 1245738.2323
35 | 2685618.9531 | 1245739.0506 | 2685623.6358 | 1245731.3888 | 2685628.0111 | 1245724.5113
36 | 2685565.4471 | 1245748.2172 | 2685582.9712 | 1245760.1842
37 | 2685637.2972 | 1245709.9146 | 2685628.0111 | 1245724.5113
38 | 2685637.2972 | 1245709.9146 | 2685622.9932 | 1245700.0557
39 | 2685607.192 | 1245689.1648 | 2685622.9932 | 1245700.0557
40 | 2685580.3539 | 1245727.339 | 2685573.2822 | 1245737.2443
41 | 2685565.4471 | 1245748.2172 | 2685562.3625 | 1245752.5314
42 | 2685565.4471 | 1245748.2172 | 2685573.2822 | 1245737.2443
43 | 2685553.5327 | 1245764.8909 | 2685562.3625 | 1245752.5314
44 | 2685573.2822 | 1245737.2443 | 2685561.0161 | 1245729.0725 | 2685545.0653 | 1245718.3528
45 | 2685607.192 | 1245689.1648 | 2685595.4018 | 1245706.1299
46 | 2685474.4173 | 1245585.5739 | 2685463.8253 | 1245581.2737
47 | 2685474.4173 | 1245585.5739 | 2685500.2701 | 1245604.705 | 2685494.3158 | 1245620.3839
48 | 2685494.0074 | 1245621.1959 | 2685494.3158 | 1245620.3839
49 | 2685488.8972 | 1245634.6521 | 2685494.0074 | 1245621.1959

## bus_geodata
| x | y | coords
0 | 2685550.4336 | 1245795.2405
1 | 2685566.6328 | 1245798.3942
2 | 2685536.8731 | 1245794.15
3 | 2685593.0403 | 1245803.5351
4 | 2685512.3298 | 1245778.0621
5 | 2685623.8034 | 1245826.4947
6 | 2685438.7085 | 1245644.225
7 | 2685516.9133 | 1245776.4109
8 | 2685503.4253 | 1245711.796
9 | 2685512.9958 | 1245696.8007
10 | 2685526.4866 | 1245727.7352
11 | 2685454.9476 | 1245603.5243
12 | 2685571.4353 | 1245897.6359
13 | 2685550.98 | 1245904.0679
14 | 2685552.2846 | 1245915.3501
15 | 2685571.2277 | 1245864.3862
16 | 2685625.5592 | 1245827.8655
17 | 2685461.1763 | 1245886.7369
18 | 2685541.0658 | 1245901.5341
19 | 2685641.1467 | 1245813.9745
20 | 2685536.3666 | 1245885.7992
21 | 2685532.8449 | 1245897.3681
22 | 2685488.6803 | 1245891.3173
23 | 2685657.7798 | 1245790.0138
24 | 2685662.8455 | 1245752.087
25 | 2685636.9839 | 1245780.4903
26 | 2685598.1393 | 1245767.7032
27 | 2685587.668 | 1245767.6298
28 | 2685612.8712 | 1245749.002
29 | 2685596.7054 | 1245738.2323
30 | 2685618.9531 | 1245739.0506
31 | 2685582.9712 | 1245760.1842
32 | 2685488.5455 | 1245900.0426
33 | 2685518.9471 | 1245923.7649
34 | 2685628.0111 | 1245724.5113
35 | 2685637.2972 | 1245709.9146
36 | 2685622.9932 | 1245700.0557
37 | 2685580.3539 | 1245727.339
38 | 2685565.4471 | 1245748.2172
39 | 2685562.3625 | 1245752.5314
40 | 2685573.2822 | 1245737.2443
41 | 2685553.5327 | 1245764.8909
42 | 2685545.0653 | 1245718.3528
43 | 2685595.4018 | 1245706.1299
44 | 2685607.192 | 1245689.1648
45 | 2685556.8528 | 1245632.9516
46 | 2685463.8253 | 1245581.2737
47 | 2685474.4173 | 1245585.5739
48 | 2685494.3158 | 1245620.3839
49 | 2685494.0074 | 1245621.1959
50 | 2685488.8972 | 1245634.6521
51 | 2685513.6766 | 1245781.0726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99901 | -0.018971 | 0.019364 | 0.004853
1 | 0.99809 | -0.036413 | 0.0067171 | 0.0016835
2 | 1 | 0 | -0.28827 | -0.072721
3 | 0.99677 | -0.061743 | 0.0017556 | 0.00043999
4 | 0.99701 | -0.057123 | 0 | 0
5 | 0.9949 | -0.097722 | 0 | 0
6 | 0.99589 | -0.078747 | 0 | 0
7 | 0.99656 | -0.065704 | 0.080153 | 0.020088
8 | 0.98442 | -0.29987 | 0 | 0
9 | 0.98527 | -0.2834 | 0 | 0
10 | 0.98309 | -0.32589 | 0.051553 | 0.01292
11 | 0.99574 | -0.081589 | 0.00090801 | 0.00022757
12 | 0.9898 | -0.19614 | 0 | 0
13 | 0.99003 | -0.19172 | 0 | 0
14 | 0.98959 | -0.20012 | 0.0085713 | 0.0021482
15 | 0.9918 | -0.15736 | 0 | 0
16 | 0.99479 | -0.099758 | 0 | 0
17 | 0.99104 | -0.17212 | 0.0057766 | 0.0014477
18 | 0.98975 | -0.19704 | 0 | 0
19 | 0.99463 | -0.10282 | 0.0083342 | 0.0020887
20 | 0.98941 | -0.20378 | 0 | 0
21 | 0.98959 | -0.20025 | 0.0032279 | 0.00080899
22 | 0.98852 | -0.22105 | 0.003061 | 0.00076716
23 | 0.98878 | -0.21538 | 0 | 0
24 | 0.98863 | -0.21833 | 0.0043217 | 0.0010831
25 | 0.98887 | -0.21362 | 0.0035658 | 0.00089368
26 | 0.98917 | -0.20786 | 0 | 0
27 | 0.98924 | -0.2064 | 0 | 0
28 | 0.98784 | -0.23362 | 0 | 0
29 | 0.98819 | -0.22673 | 0.0070131 | 0.0017576
30 | 0.98762 | -0.23776 | 0.0056813 | 0.0014239
31 | 0.98931 | -0.20504 | 0.028525 | 0.0071491
32 | 0.9884 | -0.2233 | 0.013311 | 0.0033361
33 | 0.98947 | -0.20259 | 0.0096867 | 0.0024277
34 | 0.9874 | -0.2421 | 0.0056661 | 0.0014201
35 | 0.98726 | -0.24473 | 0 | 0
36 | 0.98713 | -0.24737 | 0.0070131 | 0.0017577
37 | 0.98867 | -0.21732 | 0 | 0
38 | 0.99002 | -0.19129 | 0 | 0
39 | 0.99061 | -0.17993 | 0 | 0
40 | 0.98897 | -0.21149 | 0 | 0
41 | 0.99229 | -0.14746 | 0 | 0
42 | 0.98718 | -0.24627 | 0.0037488 | 0.00093954
43 | 0.98707 | -0.24844 | 0.001493 | 0.00037419
44 | 0.9871 | -0.24789 | 0 | 0
45 | 0.98512 | -0.28627 | 0.0020635 | 0.00051715
46 | 0.99568 | -0.08276 | 0 | 0
47 | 0.99565 | -0.083317 | 0 | 0
48 | 0.99553 | -0.085708 | 0.00077472 | 0.00019416
49 | 0.99553 | -0.085738 | 0.00047374 | 0.00011873
50 | 0.99551 | -0.086125 | 0.0015288 | 0.00038316
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.060876 | 0.015419 | -0.060825 | -0.015386 | 5.0946e-05 | 3.239e-05 | 0.090731 | 0.090731 | 0.090731 | 0.99901 | -0.018971 | 0.99809 | -0.036413 | 24.9261
1 | -0.080239 | -0.020272 | 0.080312 | 0.020318 | 7.3037e-05 | 4.6565e-05 | 0.11957 | 0.11957 | 0.11957 | 0.99901 | -0.018971 | 1 | 0 | 32.8497
2 | 0.054108 | 0.013703 | -0.054042 | -0.013661 | 6.573e-05 | 4.1716e-05 | 0.080717 | 0.080717 | 0.080717 | 0.99809 | -0.036413 | 0.99677 | -0.061743 | 22.175
3 | 0.20631 | 0.052403 | -0.20574 | -0.052042 | 0.00056556 | 0.00036112 | 0.30724 | 0.30724 | 0.30724 | 1 | 0 | 0.99701 | -0.057123 | 42.203
4 | 0.052286 | 0.013221 | -0.052196 | -0.013164 | 9.0066e-05 | 5.713e-05 | 0.078096 | 0.078096 | 0.078096 | 0.99677 | -0.061743 | 0.9949 | -0.097722 | 21.4551
5 | 0.0036902 | 0.00092053 | -0.0036864 | -0.00092245 | 3.7905e-06 | -1.9161e-06 | 0.005506 | 0.0055075 | 0.0055075 | 0.99701 | -0.057123 | 0.99589 | -0.078747 | 1.5131
6 | 0.20205 | 0.051121 | -0.20197 | -0.051068 | 8.3165e-05 | 5.3098e-05 | 0.30173 | 0.30173 | 0.30173 | 0.99701 | -0.057123 | 0.99656 | -0.065704 | 41.4467
7 | 0.052196 | 0.013164 | -0.052191 | -0.013161 | 5.0843e-06 | 3.2251e-06 | 0.078096 | 0.078096 | 0.078096 | 0.9949 | -0.097722 | 0.99479 | -0.099758 | 21.4551
8 | 0.0036864 | 0.00092245 | -0.0036859 | -0.0009227 | 4.9847e-07 | -2.5107e-07 | 0.0055075 | 0.0055077 | 0.0055077 | 0.99589 | -0.078747 | 0.99574 | -0.081589 | 1.5131
9 | 0.12182 | 0.03098 | -0.12134 | -0.030675 | 0.00047777 | 0.00030527 | 0.18205 | 0.18205 | 0.18205 | 0.99656 | -0.065704 | 0.99229 | -0.14746 | 50.0144
10 | -0.051617 | -0.012961 | 0.051657 | 0.012987 | 4.0588e-05 | 2.575e-05 | 0.078031 | 0.078031 | 0.078031 | 0.98442 | -0.29987 | 0.98527 | -0.2834 | 21.437
11 | 0.051617 | 0.012961 | -0.051553 | -0.01292 | 6.4009e-05 | 4.061e-05 | 0.078031 | 0.078031 | 0.078031 | 0.98442 | -0.29987 | 0.98309 | -0.32589 | 21.437
12 | 0.0020637 | 0.00051634 | -0.0020635 | -0.00051715 | 2.8216e-07 | -8.0578e-07 | 0.0031165 | 0.0031168 | 0.0031168 | 0.98527 | -0.2834 | 0.98512 | -0.28627 | 0.85627
13 | -0.053721 | -0.013503 | 0.053816 | 0.013564 | 9.5411e-05 | 6.057e-05 | 0.081147 | 0.081147 | 0.081147 | 0.98527 | -0.2834 | 0.98718 | -0.24627 | 22.2931
14 | 0.0027779 | 0.00069513 | -0.0027777 | -0.00069534 | 1.5478e-07 | -2.1254e-07 | 0.0041508 | 0.0041509 | 0.0041509 | 0.99574 | -0.081589 | 0.99568 | -0.08276 | 1.1404
15 | -0.0085729 | -0.0021489 | 0.0085747 | 0.0021497 | 1.8041e-06 | 7.8229e-07 | 0.012888 | 0.012888 | 0.012888 | 0.9898 | -0.19614 | 0.99003 | -0.19172 | 3.5407
16 | 0.0085729 | 0.0021489 | -0.0085713 | -0.0021482 | 1.6252e-06 | 7.0487e-07 | 0.012888 | 0.012888 | 0.012888 | 0.9898 | -0.19614 | 0.98959 | -0.20012 | 3.5408
17 | 0.029318 | 0.0073579 | -0.02931 | -0.0073533 | 7.4311e-06 | 4.6247e-06 | 0.044068 | 0.044068 | 0.044068 | 0.99003 | -0.19172 | 0.98975 | -0.19704 | 12.1066
18 | -0.037892 | -0.0095076 | 0.037954 | 0.0095467 | 6.2199e-05 | 3.9148e-05 | 0.056956 | 0.056956 | 0.056956 | 0.99003 | -0.19172 | 0.9918 | -0.15736 | 15.6473
19 | -0.043735 | -0.010995 | 0.043856 | 0.011071 | 0.00012065 | 7.6249e-05 | 0.065629 | 0.065628 | 0.065629 | 0.9918 | -0.15736 | 0.99479 | -0.099758 | 18.0298
20 | 0.0057806 | 0.0014485 | -0.0057766 | -0.0014477 | 4.0633e-06 | 7.4297e-07 | 0.0086727 | 0.0086733 | 0.0086733 | 0.9918 | -0.15736 | 0.99104 | -0.17212 | 2.3828
21 | 0.0083354 | 0.0020893 | -0.0083342 | -0.0020887 | 1.2172e-06 | 5.0797e-07 | 0.012468 | 0.012468 | 0.012468 | 0.99479 | -0.099758 | 0.99463 | -0.10282 | 3.4254
22 | 0.0096893 | 0.002429 | -0.0096867 | -0.0024277 | 2.5615e-06 | 1.2258e-06 | 0.014567 | 0.014567 | 0.014567 | 0.98975 | -0.19704 | 0.98947 | -0.20259 | 4.0021
23 | 0.019621 | 0.0049243 | -0.019618 | -0.0049225 | 3.0078e-06 | 1.8066e-06 | 0.029501 | 0.029501 | 0.029501 | 0.98975 | -0.19704 | 0.98959 | -0.20025 | 8.1046
24 | -0.016387 | -0.0041119 | 0.01639 | 0.0041135 | 2.7548e-06 | 1.6078e-06 | 0.024647 | 0.024647 | 0.024647 | 0.98941 | -0.20378 | 0.98959 | -0.20025 | 6.7712
25 | 0.016387 | 0.0041119 | -0.016374 | -0.0041041 | 1.3484e-05 | 7.87e-06 | 0.024647 | 0.024647 | 0.024647 | 0.98941 | -0.20378 | 0.98852 | -0.22105 | 6.7713
26 | 0.013313 | 0.0033369 | -0.013311 | -0.0033361 | 1.4294e-06 | 7.9318e-07 | 0.02004 | 0.02004 | 0.02004 | 0.98852 | -0.22105 | 0.9884 | -0.2233 | 5.5054
27 | 0.0043223 | 0.001083 | -0.0043217 | -0.0010831 | 6.0712e-07 | -1.0217e-07 | 0.0065045 | 0.0065047 | 0.0065047 | 0.98878 | -0.21538 | 0.98863 | -0.21833 | 1.787
28 | -0.0043223 | -0.001083 | 0.0043226 | 0.001083 | 3.6289e-07 | -6.1156e-08 | 0.0065045 | 0.0065044 | 0.0065045 | 0.98878 | -0.21538 | 0.98887 | -0.21362 | 1.787
29 | -0.0078885 | -0.0019766 | 0.0078906 | 0.0019775 | 2.1625e-06 | 8.588e-07 | 0.01187 | 0.01187 | 0.01187 | 0.98887 | -0.21362 | 0.98917 | -0.20786 | 3.261
30 | -0.0078906 | -0.0019775 | 0.0078912 | 0.0019777 | 5.5166e-07 | 2.1903e-07 | 0.01187 | 0.01187 | 0.01187 | 0.98917 | -0.20786 | 0.98924 | -0.2064 | 3.261
31 | -0.0078912 | -0.0019777 | 0.0078917 | 0.0019779 | 5.0946e-07 | 2.0225e-07 | 0.01187 | 0.01187 | 0.01187 | 0.98924 | -0.2064 | 0.98931 | -0.20504 | 3.261
32 | -0.019863 | -0.0049802 | 0.019869 | 0.0049842 | 6.5212e-06 | 3.9248e-06 | 0.029921 | 0.029921 | 0.029921 | 0.98784 | -0.23362 | 0.98819 | -0.22673 | 8.22
33 | 0.019863 | 0.0049802 | -0.019859 | -0.0049779 | 3.9154e-06 | 2.3566e-06 | 0.029921 | 0.029921 | 0.029921 | 0.98784 | -0.23362 | 0.98762 | -0.23776 | 8.22
34 | -0.026882 | -0.0067418 | 0.026894 | 0.0067493 | 1.2074e-05 | 7.4754e-06 | 0.040481 | 0.040481 | 0.040481 | 0.98819 | -0.22673 | 0.98867 | -0.21732 | 11.1211
35 | 0.014177 | 0.003554 | -0.014174 | -0.0035524 | 2.9312e-06 | 1.6568e-06 | 0.021361 | 0.021361 | 0.021361 | 0.98762 | -0.23776 | 0.9874 | -0.2421 | 5.8684
36 | -0.036417 | -0.009127 | 0.036441 | 0.0091421 | 2.3875e-05 | 1.5007e-05 | 0.054775 | 0.054775 | 0.054775 | 0.98931 | -0.20504 | 0.99002 | -0.19129 | 15.048
37 | 0.0085083 | 0.0021323 | -0.0085073 | -0.0021318 | 1.0666e-06 | 4.6137e-07 | 0.012822 | 0.012822 | 0.012822 | 0.9874 | -0.2421 | 0.98726 | -0.24473 | 3.5226
38 | 0.0085073 | 0.0021318 | -0.0085062 | -0.0021314 | 1.0711e-06 | 4.6337e-07 | 0.012822 | 0.012822 | 0.012822 | 0.98726 | -0.24473 | 0.98713 | -0.24737 | 3.5226
39 | 0.0014931 | 0.00037373 | -0.0014931 | -0.00037395 | 3.6452e-08 | -2.22e-07 | 0.0022505 | 0.0022506 | 0.0022506 | 0.98713 | -0.24737 | 0.9871 | -0.24789 | 0.61831
40 | -0.026894 | -0.0067493 | 0.026902 | 0.0067539 | 7.4724e-06 | 4.6264e-06 | 0.040481 | 0.040481 | 0.040481 | 0.98867 | -0.21732 | 0.98897 | -0.21149 | 11.1211
41 | -0.12109 | -0.030512 | 0.12115 | 0.030554 | 6.586e-05 | 4.2082e-05 | 0.18205 | 0.18205 | 0.18205 | 0.99002 | -0.19129 | 0.99061 | -0.17993 | 50.0145
42 | 0.084645 | 0.02137 | -0.084563 | -0.021318 | 8.1835e-05 | 5.2201e-05 | 0.12728 | 0.12728 | 0.12728 | 0.99002 | -0.19129 | 0.98897 | -0.21149 | 34.9665
43 | -0.12115 | -0.030554 | 0.12134 | 0.030675 | 0.00018862 | 0.00012052 | 0.18205 | 0.18205 | 0.18205 | 0.99061 | -0.17993 | 0.99229 | -0.14746 | 50.0144
44 | 0.057661 | 0.014564 | -0.057565 | -0.014503 | 9.5935e-05 | 6.0963e-05 | 0.086797 | 0.086798 | 0.086798 | 0.98897 | -0.21149 | 0.98718 | -0.24627 | 23.8455
45 | -0.001493 | -0.00037419 | 0.0014931 | 0.00037395 | 3.9245e-08 | -2.3897e-07 | 0.0022507 | 0.0022506 | 0.0022507 | 0.98707 | -0.24844 | 0.9871 | -0.24789 | 0.61833
46 | 0.0027777 | 0.00069534 | -0.0027776 | -0.00069544 | 7.3673e-08 | -1.0114e-07 | 0.0041509 | 0.004151 | 0.004151 | 0.99568 | -0.08276 | 0.99565 | -0.083317 | 1.1404
47 | 0.0027776 | 0.00069544 | -0.0027773 | -0.00069588 | 3.162e-07 | -4.3395e-07 | 0.004151 | 0.0041512 | 0.0041512 | 0.99565 | -0.083317 | 0.99553 | -0.085708 | 1.1404
48 | 0.0020026 | 0.00050171 | -0.0020026 | -0.00050172 | 2.9187e-09 | -9.4261e-09 | 0.0029932 | 0.0029932 | 0.0029932 | 0.99553 | -0.085708 | 0.99553 | -0.085738 | 0.82232
49 | 0.0015289 | 0.00038299 | -0.0015288 | -0.00038316 | 2.8187e-08 | -1.6911e-07 | 0.0022851 | 0.0022852 | 0.0022852 | 0.99553 | -0.085738 | 0.99551 | -0.086125 | 0.6278

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28827 | 0.072721

## res_load
| p_mw | q_mvar
0 | 0.019364 | 0.004853
1 | 0.0067171 | 0.0016835
2 | 0.0017556 | 0.00043999
3 | 0.080153 | 0.020088
4 | 0.051553 | 0.01292
5 | 0.00090801 | 0.00022757
6 | 0.0085713 | 0.0021482
7 | 0.0057766 | 0.0014477
8 | 0.0083342 | 0.0020887
9 | 0.0032279 | 0.00080899
10 | 0.003061 | 0.00076716
11 | 0.0043217 | 0.0010831
12 | 0.0035658 | 0.00089368
13 | 0.0070131 | 0.0017576
14 | 0.0056813 | 0.0014239
15 | 0.028525 | 0.0071491
16 | 0.013311 | 0.0033361
17 | 0.0096867 | 0.0024277
18 | 0.0056661 | 0.0014201
19 | 0.0070131 | 0.0017577
20 | 0.0037488 | 0.00093954
21 | 0.001493 | 0.00037419
22 | 0.0020635 | 0.00051715
23 | 0.00077472 | 0.00019416
24 | 0.00047374 | 0.00011873
25 | 0.0015288 | 0.00038316

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1