## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-7_1_3_node_118 | 0.4 | n |  | TRUE
1 | bus_LV_261-7_1_3_node_103 | 0.4 | n |  | TRUE
2 | bus_LV_261-7_1_3_node_107 | 0.4 | n |  | TRUE
3 | bus_LV_261-7_1_3_node_104 | 0.4 | n |  | TRUE
4 | bus_LV_261-7_1_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_261-7_1_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_261-7_1_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_261-7_1_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_261-7_1_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_261-7_1_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_261-7_1_3_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_261-7_1_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_261-7_1_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_261-7_1_3_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_261-7_1_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_261-7_1_3_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_261-7_1_3_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_261-7_1_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_261-7_1_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_261-7_1_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_261-7_1_3_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_261-7_1_3_node_121 | 0.4 | n |  | TRUE
22 | bus_LV_261-7_1_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_261-7_1_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_261-7_1_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_261-7_1_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_261-7_1_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_261-7_1_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_261-7_1_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_261-7_1_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_261-7_1_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_261-7_1_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_261-7_1_3_node_119 | 0.4 | n |  | TRUE
33 | bus_LV_261-7_1_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_261-7_1_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_261-7_1_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_261-7_1_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_261-7_1_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_261-7_1_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_261-7_1_3_node_117 | 0.4 | n |  | TRUE
40 | bus_LV_261-7_1_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_261-7_1_3_node_116 | 0.4 | n |  | TRUE
42 | bus_LV_261-7_1_3_node_120 | 0.4 | n |  | TRUE
43 | bus_LV_261-7_1_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_261-7_1_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_261-7_1_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_261-7_1_3_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_261-7_1_3_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_261-7_1_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_261-7_1_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_261-7_1_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_261-7_1_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_261-7_1_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_261-7_1_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_261-7_1_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_261-7_1_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_261-7_1_3_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_261-7_1_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_261-7_1_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_261-7_1_3_node_110 | 0.4 | n |  | TRUE
60 | bus_LV_261-7_1_3_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_261-7_1_3_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_261-7_1_3_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_261-7_1_3_node_115 | 0.4 | n |  | TRUE
64 | bus_MV_539_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-7_1_3_load_118 | 0 | 0.007676 | 0.0019238 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-7_1_3_load_107 | 2 | 0.0078042 | 0.0019559 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-7_1_3_load_9 | 4 | 0.0084097 | 0.0021077 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-7_1_3_load_17 | 6 | 0.0036653 | 0.00091862 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-7_1_3_load_18 | 7 | 0.012059 | 0.0030222 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-7_1_3_load_30 | 9 | 0.0078721 | 0.0019729 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-7_1_3_load_56 | 12 | 0.0029156 | 0.00073072 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-7_1_3_load_63 | 13 | 0.0067111 | 0.001682 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-7_1_3_load_79 | 15 | 0.0018851 | 0.00047246 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-7_1_3_load_77 | 16 | 0.0094348 | 0.0023646 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-7_1_3_load_57 | 18 | 0.0031562 | 0.00079101 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-7_1_3_load_80 | 20 | 0.01194 | 0.0029926 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-7_1_3_load_121 | 21 | 0.011967 | 0.0029992 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-7_1_3_load_54 | 25 | 0.0085346 | 0.002139 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-7_1_3_load_29 | 27 | 0.0089659 | 0.0022471 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-7_1_3_load_26 | 30 | 0.0065463 | 0.0016407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-7_1_3_load_119 | 32 | 0.010027 | 0.0025129 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-7_1_3_load_20 | 33 | 0.0075473 | 0.0018915 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-7_1_3_load_21 | 34 | 0.0090987 | 0.0022804 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-7_1_3_load_22 | 35 | 0.011922 | 0.0029879 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-7_1_3_load_24 | 37 | 0.0073609 | 0.0018448 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-7_1_3_load_44 | 38 | 0.0018155 | 0.00045501 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-7_1_3_load_117 | 39 | 0.010231 | 0.002564 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-7_1_3_load_43 | 40 | 0.0043293 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-7_1_3_load_116 | 41 | 0.0069511 | 0.0017421 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-7_1_3_load_120 | 42 | 0.0082297 | 0.0020626 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-7_1_3_load_25 | 43 | 0.0087188 | 0.0021851 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-7_1_3_load_27 | 44 | 0.0021088 | 0.00052853 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-7_1_3_load_78 | 45 | 0.0087631 | 0.0021962 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-7_1_3_load_111 | 46 | 0.0036515 | 0.00091514 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-7_1_3_load_108 | 48 | 0.0047423 | 0.0011885 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-7_1_3_load_52 | 49 | 0.0056884 | 0.0014256 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-7_1_3_load_49 | 50 | 0.0050308 | 0.0012608 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-7_1_3_load_45 | 51 | 0.0047298 | 0.0011854 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-7_1_3_load_46 | 52 | 0.0032376 | 0.00081141 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-7_1_3_load_47 | 53 | 0.0049719 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-7_1_3_load_48 | 54 | 0.011488 | 0.0028792 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-7_1_3_load_50 | 55 | 0.0054766 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-7_1_3_load_53 | 57 | 0.0075918 | 0.0019027 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-7_1_3_load_55 | 58 | 0.004186 | 0.0010491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-7_1_3_load_110 | 59 | 0.0040723 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-7_1_3_load_112 | 60 | 0.0078729 | 0.0019731 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-7_1_3_load_113 | 61 | 0.0092659 | 0.0023223 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-7_1_3_load_114 | 62 | 0.0059883 | 0.0015008 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-7_1_3_load_115 | 63 | 0.0096543 | 0.0024196 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-7_1_3_line_0 |  | 0 | 1 | 0.02767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-7_1_3_line_1 |  | 1 | 56 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-7_1_3_line_2 |  | 2 | 3 | 0.005704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-7_1_3_line_3 |  | 3 | 56 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-7_1_3_line_4 |  | 4 | 5 | 0.018907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-7_1_3_line_5 |  | 5 | 6 | 0.018222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-7_1_3_line_6 |  | 5 | 7 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-7_1_3_line_7 |  | 5 | 8 | 0.004322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-7_1_3_line_8 |  | 6 | 9 | 0.026924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-7_1_3_line_9 |  | 7 | 10 | 0.019652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-7_1_3_line_10 |  | 8 | 11 | 0.025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-7_1_3_line_11 |  | 8 | 12 | 0.035537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-7_1_3_line_12 |  | 10 | 17 | 0.001453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-7_1_3_line_13 |  | 11 | 18 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-7_1_3_line_14 |  | 13 | 14 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-7_1_3_line_15 |  | 14 | 22 | 0.085962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-7_1_3_line_16 |  | 15 | 16 | 0.035731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-7_1_3_line_17 |  | 16 | 45 | 0.023076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-7_1_3_line_18 |  | 17 | 29 | 0.019646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-7_1_3_line_19 |  | 17 | 30 | 0.019335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-7_1_3_line_20 |  | 19 | 20 | 0.02619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-7_1_3_line_21 |  | 19 | 21 | 0.0045191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-7_1_3_line_22 |  | 19 | 22 | 0.01605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-7_1_3_line_23 |  | 20 | 45 | 0.0030655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-7_1_3_line_24 |  | 21 | 24 | 0.014766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-7_1_3_line_25 |  | 23 | 24 | 0.023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-7_1_3_line_26 |  | 23 | 25 | 0.00059969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-7_1_3_line_27 |  | 23 | 26 | 0.014345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-7_1_3_line_28 |  | 24 | 28 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-7_1_3_line_29 |  | 25 | 49 | 0.012012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-7_1_3_line_30 |  | 26 | 27 | 0.01196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-7_1_3_line_31 |  | 27 | 44 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-7_1_3_line_32 |  | 28 | 50 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-7_1_3_line_33 |  | 29 | 31 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-7_1_3_line_34 |  | 29 | 32 | 0.0030039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-7_1_3_line_35 |  | 31 | 42 | 0.018187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_261-7_1_3_line_36 |  | 31 | 37 | 0.026685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-7_1_3_line_37 |  | 33 | 34 | 0.011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-7_1_3_line_38 |  | 33 | 35 | 0.010279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-7_1_3_line_39 |  | 34 | 36 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-7_1_3_line_40 |  | 35 | 37 | 0.00015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-7_1_3_line_41 |  | 36 | 38 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-7_1_3_line_42 |  | 36 | 39 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-7_1_3_line_43 |  | 38 | 40 | 0.00078311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-7_1_3_line_44 |  | 39 | 41 | 0.0066349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-7_1_3_line_45 |  | 40 | 51 | 0.0098592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-7_1_3_line_46 |  | 41 | 63 | 0.011024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-7_1_3_line_47 |  | 42 | 58 | 0.0096592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_261-7_1_3_line_48 |  | 43 | 44 | 0.013452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-7_1_3_line_49 |  | 46 | 47 | 0.028187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-7_1_3_line_50 |  | 47 | 59 | 0.001948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-7_1_3_line_51 |  | 47 | 48 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-7_1_3_line_52 |  | 49 | 57 | 0.020745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_261-7_1_3_line_53 |  | 50 | 53 | 0.0049063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-7_1_3_line_54 |  | 51 | 52 | 0.010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-7_1_3_line_55 |  | 53 | 54 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-7_1_3_line_56 |  | 54 | 55 | 0.0011209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-7_1_3_line_57 |  | 55 | 56 | 0.030953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-7_1_3_line_58 |  | 57 | 58 | 0.0089681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_261-7_1_3_line_59 |  | 59 | 60 | 0.0078528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-7_1_3_line_60 |  | 60 | 61 | 0.0078503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-7_1_3_line_61 |  | 61 | 62 | 0.010136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-7_1_3_line_62 |  | 62 | 63 | 0.0070949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-7_1_3_trafo_52 | 0.63 MVA 20/0.4 kV | 64 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2685384.235 | 1245937.6346 | 2685370.6913 | 1245941.0644 | 2685357.0024 | 1245941.5805
1 | 2685409.391 | 1245932.6709 | 2685393.9576 | 1245936.1624 | 2685384.235 | 1245937.6346
2 | 2685429.3194 | 1245927.6541 | 2685423.6292 | 1245928.2393
3 | 2685409.391 | 1245932.6709 | 2685413.5931 | 1245931.5417 | 2685418.8551 | 1245930.2609 | 2685423.6292 | 1245928.2393
4 | 2685405.3591 | 1246115.4921 | 2685413.4683 | 1246121.1019 | 2685421.7802 | 1246124.6737
5 | 2685405.3591 | 1246115.4921 | 2685416.1197 | 1246100.787
6 | 2685405.3591 | 1246115.4921 | 2685397.6013 | 1246110.1431 | 2685387.7673 | 1246102.824
7 | 2685402.8005 | 1246118.9801 | 2685405.3591 | 1246115.4921
8 | 2685432.0194 | 1246079.0589 | 2685416.1197 | 1246100.787
9 | 2685372.6901 | 1246090.2921 | 2685374.7874 | 1246092.6018 | 2685379.5785 | 1246096.7294 | 2685387.7673 | 1246102.824
10 | 2685387.8819 | 1246140.2588 | 2685402.8005 | 1246118.9801
11 | 2685402.8005 | 1246118.9801 | 2685411.8042 | 1246123.8577 | 2685435.2692 | 1246133.3102
12 | 2685373.8882 | 1246089.4643 | 2685372.6901 | 1246090.2921
13 | 2685387.8819 | 1246140.2588 | 2685401.4866 | 1246150.9724
14 | 2685517.4491 | 1245948.5172 | 2685528.6061 | 1245958.991
15 | 2685458.0966 | 1246007.9834 | 2685456.7447 | 1246006.3739 | 2685460.6211 | 1246002.6715 | 2685483.987 | 1245980.3695 | 2685517.4491 | 1245948.5172
16 | 2685492.1699 | 1245960.5642 | 2685518.1688 | 1245936.0541
17 | 2685492.1699 | 1245960.5642 | 2685475.3791 | 1245976.3936
18 | 2685363.2234 | 1246072.9653 | 2685365.1597 | 1246075.9621 | 2685366.7413 | 1246078.4089 | 2685370.237 | 1246083.8298 | 2685371.8186 | 1246086.2766 | 2685373.8882 | 1246089.4643
19 | 2685373.8882 | 1246089.4643 | 2685381.6435 | 1246083.4493 | 2685387.8533 | 1246077.2118 | 2685388.3269 | 1246076.6705
20 | 2685454.092 | 1245996.4617 | 2685473.1485 | 1245978.4964
21 | 2685454.092 | 1245996.4617 | 2685450.8508 | 1245993.3127
22 | 2685454.092 | 1245996.4617 | 2685450.5151 | 1245999.8238 | 2685456.7447 | 1246006.3739 | 2685458.0966 | 1246007.9834
23 | 2685473.1485 | 1245978.4964 | 2685475.3791 | 1245976.3936
24 | 2685439.5023 | 1246002.7562 | 2685444.5594 | 1245998.3925 | 2685450.8508 | 1245993.3127
25 | 2685439.5023 | 1246002.7562 | 2685434.849 | 1246007.4148 | 2685432.3279 | 1246011.9596 | 2685424.0543 | 1246019.8463
26 | 2685423.6253 | 1246020.2652 | 2685424.0543 | 1246019.8463
27 | 2685424.0543 | 1246019.8463 | 2685426.2515 | 1246022.0462 | 2685429.7372 | 1246025.5323 | 2685432.4265 | 1246028.1841 | 2685434.1987 | 1246029.9888
28 | 2685426.5752 | 1245989.627 | 2685439.5023 | 1246002.7562
29 | 2685423.6253 | 1246020.2652 | 2685415.0304 | 1246028.6567
30 | 2685434.1987 | 1246029.9888 | 2685425.7057 | 1246038.4102
31 | 2685425.7057 | 1246038.4102 | 2685415.888 | 1246048.1451
32 | 2685426.5752 | 1245989.627 | 2685429.5859 | 1245976.7942
33 | 2685363.2234 | 1246072.9653 | 2685366.2196 | 1246071.096 | 2685372.1584 | 1246066.8783
34 | 2685363.2234 | 1246072.9653 | 2685360.6778 | 1246074.5602
35 | 2685372.1584 | 1246066.8783 | 2685379.7576 | 1246061.7395 | 2685384.275 | 1246058.124 | 2685386.6784 | 1246055.9694
36 | 2685372.1584 | 1246066.8783 | 2685371.0333 | 1246062.6368 | 2685366.2312 | 1246040.8628
37 | 2685363.9834 | 1246030.6706 | 2685361.5579 | 1246019.6726
38 | 2685366.1971 | 1246040.7079 | 2685363.9834 | 1246030.6706
39 | 2685358.0577 | 1246003.5509 | 2685360.1253 | 1246013.1767 | 2685361.5579 | 1246019.6726
40 | 2685366.2312 | 1246040.8628 | 2685366.1971 | 1246040.7079
41 | 2685358.0577 | 1246003.5509 | 2685378.2248 | 1245998.875
42 | 2685358.0577 | 1246003.5509 | 2685341.6509 | 1246007.2317
43 | 2685378.2248 | 1245998.875 | 2685378.9876 | 1245998.6981
44 | 2685335.1769 | 1246008.6841 | 2685341.6509 | 1246007.2317
45 | 2685388.592 | 1245996.4712 | 2685378.9876 | 1245998.6981
46 | 2685335.1769 | 1246008.6841 | 2685324.4199 | 1246011.0974
47 | 2685386.6784 | 1246055.9694 | 2685391.2939 | 1246051.8315 | 2685393.7699 | 1246049.4141
48 | 2685406.3356 | 1246057.6169 | 2685415.888 | 1246048.1451
49 | 2685290.3839 | 1246018.7332 | 2685296.5778 | 1246046.2314
50 | 2685290.3839 | 1246018.7332 | 2685292.2846 | 1246018.3067
51 | 2685290.3839 | 1246018.7332 | 2685273.4816 | 1246022.5748
52 | 2685400.1868 | 1246043.1491 | 2685415.0304 | 1246028.6567
53 | 2685429.5859 | 1245976.7942 | 2685429.5859 | 1245976.7942 | 2685426.5996 | 1245972.9013
54 | 2685388.592 | 1245996.4712 | 2685398.6033 | 1245994.15
55 | 2685418.9675 | 1245962.952 | 2685426.5996 | 1245972.9013
56 | 2685418.9675 | 1245962.952 | 2685418.2853 | 1245962.0626
57 | 2685409.391 | 1245932.6709 | 2685409.9535 | 1245935.0585 | 2685412.8751 | 1245947.81 | 2685416.3034 | 1245959.4791 | 2685418.2853 | 1245962.0626
58 | 2685393.7699 | 1246049.4141 | 2685400.1868 | 1246043.1491
59 | 2685292.2846 | 1246018.3067 | 2685299.9469 | 1246016.5878
60 | 2685299.9469 | 1246016.5878 | 2685307.6068 | 1246014.8693
61 | 2685317.497 | 1246012.6505 | 2685307.6068 | 1246014.8693
62 | 2685317.497 | 1246012.6505 | 2685324.4199 | 1246011.0974

## bus_geodata
| x | y | coords
0 | 2685357.0024 | 1245941.5805
1 | 2685384.235 | 1245937.6346
2 | 2685429.3194 | 1245927.6541
3 | 2685423.6292 | 1245928.2393
4 | 2685421.7802 | 1246124.6737
5 | 2685405.3591 | 1246115.4921
6 | 2685416.1197 | 1246100.787
7 | 2685387.7673 | 1246102.824
8 | 2685402.8005 | 1246118.9801
9 | 2685432.0194 | 1246079.0589
10 | 2685372.6901 | 1246090.2921
11 | 2685387.8819 | 1246140.2588
12 | 2685435.2692 | 1246133.3102
13 | 2685528.6061 | 1245958.991
14 | 2685517.4491 | 1245948.5172
15 | 2685518.1688 | 1245936.0541
16 | 2685492.1699 | 1245960.5642
17 | 2685373.8882 | 1246089.4643
18 | 2685401.4866 | 1246150.9724
19 | 2685454.092 | 1245996.4617
20 | 2685473.1485 | 1245978.4964
21 | 2685450.8508 | 1245993.3127
22 | 2685458.0966 | 1246007.9834
23 | 2685424.0543 | 1246019.8463
24 | 2685439.5023 | 1246002.7562
25 | 2685423.6253 | 1246020.2652
26 | 2685434.1987 | 1246029.9888
27 | 2685425.7057 | 1246038.4102
28 | 2685426.5752 | 1245989.627
29 | 2685363.2234 | 1246072.9653
30 | 2685388.3269 | 1246076.6705
31 | 2685372.1584 | 1246066.8783
32 | 2685360.6778 | 1246074.5602
33 | 2685363.9834 | 1246030.6706
34 | 2685361.5579 | 1246019.6726
35 | 2685366.1971 | 1246040.7079
36 | 2685358.0577 | 1246003.5509
37 | 2685366.2312 | 1246040.8628
38 | 2685378.2248 | 1245998.875
39 | 2685341.6509 | 1246007.2317
40 | 2685378.9876 | 1245998.6981
41 | 2685335.1769 | 1246008.6841
42 | 2685386.6784 | 1246055.9694
43 | 2685406.3356 | 1246057.6169
44 | 2685415.888 | 1246048.1451
45 | 2685475.3791 | 1245976.3936
46 | 2685296.5778 | 1246046.2314
47 | 2685290.3839 | 1246018.7332
48 | 2685273.4816 | 1246022.5748
49 | 2685415.0304 | 1246028.6567
50 | 2685429.5859 | 1245976.7942
51 | 2685388.592 | 1245996.4712
52 | 2685398.6033 | 1245994.15
53 | 2685426.5996 | 1245972.9013
54 | 2685418.9675 | 1245962.952
55 | 2685418.2853 | 1245962.0626
56 | 2685409.391 | 1245932.6709
57 | 2685400.1868 | 1246043.1491
58 | 2685393.7699 | 1246049.4141
59 | 2685292.2846 | 1246018.3067
60 | 2685299.9469 | 1246016.5878
61 | 2685307.6068 | 1246014.8693
62 | 2685317.497 | 1246012.6505
63 | 2685324.4199 | 1246011.0974
64 | 2685424.0543 | 1246019.8463

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99405 | -0.11449 | 0.007676 | 0.0019238
1 | 0.99424 | -0.11074 | 0 | 0
2 | 0.99428 | -0.11012 | 0.0078042 | 0.0019559
3 | 0.99432 | -0.10933 | 0 | 0
4 | 0.99259 | -0.14236 | 0.0084097 | 0.0021077
5 | 0.99273 | -0.13954 | 0 | 0
6 | 0.99254 | -0.14326 | 0.0036653 | 0.00091862
7 | 0.99325 | -0.12957 | 0.012059 | 0.0030222
8 | 0.99271 | -0.14001 | 0 | 0
9 | 0.99235 | -0.14701 | 0.0078721 | 0.0019729
10 | 0.99393 | -0.11636 | 0 | 0
11 | 0.99263 | -0.14146 | 0 | 0
12 | 0.99261 | -0.14184 | 0.0029156 | 0.00073072
13 | 0.99508 | -0.094555 | 0.0067111 | 0.001682
14 | 0.99518 | -0.092747 | 0 | 0
15 | 0.99468 | -0.10233 | 0.0018851 | 0.00047246
16 | 0.99474 | -0.10114 | 0.0094348 | 0.0023646
17 | 0.99398 | -0.11538 | 0 | 0
18 | 0.99258 | -0.14242 | 0.0031562 | 0.00079101
19 | 0.9958 | -0.080703 | 0 | 0
20 | 0.99504 | -0.095456 | 0.01194 | 0.0029926
21 | 0.99596 | -0.077626 | 0.011967 | 0.0029992
22 | 0.9957 | -0.082597 | 0 | 0
23 | 0.99861 | -0.026654 | 0 | 0
24 | 0.99664 | -0.064478 | 0 | 0
25 | 0.99867 | -0.02547 | 0.0085346 | 0.002139
26 | 0.99835 | -0.031618 | 0 | 0
27 | 0.99814 | -0.035759 | 0.0089659 | 0.0022471
28 | 0.99593 | -0.078194 | 0 | 0
29 | 0.99478 | -0.099924 | 0 | 0
30 | 0.99386 | -0.11761 | 0.0065463 | 0.0016407
31 | 0.99532 | -0.089539 | 0 | 0
32 | 0.99475 | -0.10045 | 0.010027 | 0.0025129
33 | 0.99167 | -0.15975 | 0.0075473 | 0.0018915
34 | 0.99079 | -0.17686 | 0.0090987 | 0.0022804
35 | 0.99255 | -0.14279 | 0.011922 | 0.0029879
36 | 0.98963 | -0.19931 | 0 | 0
37 | 0.99257 | -0.14249 | 0.0073609 | 0.0018448
38 | 0.98936 | -0.20451 | 0.0018155 | 0.00045501
39 | 0.98867 | -0.21801 | 0.010231 | 0.002564
40 | 0.98935 | -0.20468 | 0.0043293 | 0.001085
41 | 0.98835 | -0.22419 | 0.0069511 | 0.0017421
42 | 0.99671 | -0.062835 | 0.0082297 | 0.0020626
43 | 0.99789 | -0.040431 | 0.0087188 | 0.0021851
44 | 0.998 | -0.038379 | 0.0021088 | 0.00052853
45 | 0.99498 | -0.09654 | 0.0087631 | 0.0021962
46 | 0.98704 | -0.24971 | 0.0036515 | 0.00091514
47 | 0.98713 | -0.24787 | 0 | 0
48 | 0.98706 | -0.24934 | 0.0047423 | 0.0011885
49 | 1 | 0 | -0.31224 | -0.078599
50 | 0.99542 | -0.088032 | 0.0050308 | 0.0012608
51 | 0.98928 | -0.20608 | 0.0047298 | 0.0011854
52 | 0.98925 | -0.20667 | 0.0032376 | 0.00081141
53 | 0.99525 | -0.091262 | 0.0049719 | 0.0012461
54 | 0.99488 | -0.098424 | 0.011488 | 0.0028792
55 | 0.99486 | -0.098838 | 0.0054766 | 0.0013726
56 | 0.99442 | -0.10728 | 0 | 0
57 | 0.99822 | -0.033894 | 0.0075918 | 0.0019027
58 | 0.99749 | -0.047987 | 0.004186 | 0.0010491
59 | 0.98715 | -0.24757 | 0.0040723 | 0.0010206
60 | 0.98724 | -0.24582 | 0.0078729 | 0.0019731
61 | 0.98738 | -0.24297 | 0.0092659 | 0.0023223
62 | 0.98766 | -0.2376 | 0.0059883 | 0.0015008
63 | 0.98789 | -0.23309 | 0.0096543 | 0.0024196
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007676 | -0.0019238 | 0.0076773 | 0.0019243 | 1.3699e-06 | 5.1798e-07 | 0.01149 | 0.01149 | 0.01149 | 0.99405 | -0.11449 | 0.99424 | -0.11074 | 3.1567
1 | -0.0076773 | -0.0019243 | 0.0076786 | 0.0019248 | 1.2666e-06 | 4.7879e-07 | 0.01149 | 0.01149 | 0.01149 | 0.99424 | -0.11074 | 0.99442 | -0.10728 | 3.1566
2 | -0.0078042 | -0.0019559 | 0.0078045 | 0.001956 | 2.9179e-07 | 1.1276e-07 | 0.01168 | 0.01168 | 0.01168 | 0.99428 | -0.11012 | 0.99432 | -0.10933 | 3.2087
3 | -0.0078045 | -0.001956 | 0.0078052 | 0.0019563 | 7.6281e-07 | 2.9476e-07 | 0.01168 | 0.011679 | 0.01168 | 0.99432 | -0.10933 | 0.99442 | -0.10728 | 3.2087
4 | -0.0084097 | -0.0021077 | 0.0084109 | 0.0021082 | 1.1269e-06 | 4.7682e-07 | 0.012607 | 0.012607 | 0.012607 | 0.99259 | -0.14236 | 0.99273 | -0.13954 | 3.4635
5 | 0.011541 | 0.0028932 | -0.011539 | -0.0028921 | 2.0449e-06 | 1.0732e-06 | 0.017299 | 0.017299 | 0.017299 | 0.99273 | -0.13954 | 0.99254 | -0.14326 | 4.7525
6 | -0.026024 | -0.0065225 | 0.026037 | 0.0065301 | 1.2372e-05 | 7.6376e-06 | 0.039008 | 0.039008 | 0.039008 | 0.99273 | -0.13954 | 0.99325 | -0.12957 | 10.7165
7 | 0.0060725 | 0.0015211 | -0.0060724 | -0.0015211 | 1.3427e-07 | 3.0055e-08 | 0.0091019 | 0.0091019 | 0.0091019 | 0.99273 | -0.13954 | 0.99271 | -0.14001 | 2.5005
8 | 0.0078735 | 0.0019735 | -0.0078721 | -0.0019729 | 1.4068e-06 | 5.5245e-07 | 0.011804 | 0.011804 | 0.011804 | 0.99254 | -0.14326 | 0.99235 | -0.14701 | 3.2429
9 | -0.038095 | -0.0095523 | 0.038119 | 0.0095674 | 2.4005e-05 | 1.5108e-05 | 0.057073 | 0.057073 | 0.057073 | 0.99325 | -0.12957 | 0.99393 | -0.11636 | 15.6795
10 | 0.0031565 | 0.00079068 | -0.0031563 | -0.00079088 | 2.1797e-07 | -1.9617e-07 | 0.0047313 | 0.0047314 | 0.0047314 | 0.99271 | -0.14001 | 0.99263 | -0.14146 | 1.2998
11 | 0.0029159 | 0.00073043 | -0.0029156 | -0.00073072 | 2.5458e-07 | -2.9648e-07 | 0.0043706 | 0.0043708 | 0.0043708 | 0.99271 | -0.14001 | 0.99261 | -0.14184 | 1.2008
12 | -0.038119 | -0.0095674 | 0.038121 | 0.0095685 | 1.7749e-06 | 1.1171e-06 | 0.057073 | 0.057073 | 0.057073 | 0.99393 | -0.11636 | 0.99398 | -0.11538 | 15.6795
13 | 0.0031563 | 0.00079088 | -0.0031562 | -0.00079101 | 1.4538e-07 | -1.308e-07 | 0.0047314 | 0.0047315 | 0.0047315 | 0.99263 | -0.14146 | 0.99258 | -0.14242 | 1.2999
14 | -0.0067111 | -0.001682 | 0.0067117 | 0.0016821 | 5.7795e-07 | 1.7108e-07 | 0.010036 | 0.010036 | 0.010036 | 0.99508 | -0.094555 | 0.99518 | -0.092747 | 2.757
15 | -0.0067117 | -0.0016821 | 0.0067149 | 0.0016831 | 3.2464e-06 | 9.6019e-07 | 0.010036 | 0.010035 | 0.010036 | 0.99518 | -0.092747 | 0.9957 | -0.082597 | 2.757
16 | -0.0018851 | -0.00047246 | 0.0018853 | 0.00047207 | 1.0656e-07 | -3.9562e-07 | 0.0028201 | 0.00282 | 0.0028201 | 0.99468 | -0.10233 | 0.99474 | -0.10114 | 0.77476
17 | -0.01132 | -0.0028367 | 0.011323 | 0.0028379 | 2.4813e-06 | 1.2884e-06 | 0.016933 | 0.016933 | 0.016933 | 0.99474 | -0.10114 | 0.99498 | -0.09654 | 4.652
18 | -0.044668 | -0.011209 | 0.044701 | 0.01123 | 3.2947e-05 | 2.0831e-05 | 0.066874 | 0.066874 | 0.066874 | 0.99398 | -0.11538 | 0.99478 | -0.099924 | 18.3721
19 | 0.006547 | 0.0016409 | -0.0065463 | -0.0016407 | 6.9652e-07 | 1.9518e-07 | 0.0098011 | 0.0098012 | 0.0098012 | 0.99398 | -0.11538 | 0.99386 | -0.11761 | 2.6926
20 | 0.03205 | 0.0080415 | -0.032027 | -0.0080274 | 2.2529e-05 | 1.4078e-05 | 0.047895 | 0.047895 | 0.047895 | 0.9958 | -0.080703 | 0.99504 | -0.095456 | 13.158
21 | -0.038765 | -0.0097247 | 0.038771 | 0.0097283 | 5.687e-06 | 3.5809e-06 | 0.05793 | 0.05793 | 0.05793 | 0.9958 | -0.080703 | 0.99596 | -0.077626 | 15.9148
22 | 0.0067155 | 0.0016833 | -0.0067149 | -0.0016831 | 6.0612e-07 | 1.7913e-07 | 0.010035 | 0.010035 | 0.010035 | 0.9958 | -0.080703 | 0.9957 | -0.082597 | 2.7569
23 | 0.020087 | 0.0050348 | -0.020086 | -0.0050342 | 1.0373e-06 | 6.2404e-07 | 0.030039 | 0.030039 | 0.030039 | 0.99504 | -0.095456 | 0.99498 | -0.09654 | 8.2524
24 | -0.050738 | -0.012728 | 0.05077 | 0.012748 | 3.1822e-05 | 2.0174e-05 | 0.075809 | 0.075809 | 0.075809 | 0.99596 | -0.077626 | 0.99664 | -0.064478 | 20.8267
25 | 0.093461 | 0.02354 | -0.093292 | -0.023432 | 0.00016872 | 0.00010768 | 0.13931 | 0.13931 | 0.13931 | 0.99861 | -0.026654 | 0.99664 | -0.064478 | 38.2708
26 | -0.11327 | -0.028507 | 0.11327 | 0.028511 | 6.409e-06 | 4.0939e-06 | 0.16882 | 0.16882 | 0.16882 | 0.99861 | -0.026654 | 0.99867 | -0.02547 | 46.3783
27 | 0.019804 | 0.0049669 | -0.0198 | -0.0049641 | 4.6851e-06 | 2.8108e-06 | 0.029511 | 0.029511 | 0.029511 | 0.99861 | -0.026654 | 0.99835 | -0.031618 | 8.1076
28 | 0.042522 | 0.010684 | -0.042494 | -0.010667 | 2.7818e-05 | 1.7564e-05 | 0.063497 | 0.063497 | 0.063497 | 0.99664 | -0.064478 | 0.99593 | -0.078194 | 17.4441
29 | -0.12181 | -0.03065 | 0.12195 | 0.030744 | 0.00014844 | 9.4847e-05 | 0.18153 | 0.18153 | 0.18153 | 0.99867 | -0.02547 | 1 | 0 | 49.8718
30 | 0.0198 | 0.0049641 | -0.019796 | -0.0049618 | 3.9063e-06 | 2.3436e-06 | 0.029511 | 0.029512 | 0.029512 | 0.99835 | -0.031618 | 0.99814 | -0.035759 | 8.1076
31 | 0.01083 | 0.0027147 | -0.010829 | -0.002714 | 1.3515e-06 | 6.8428e-07 | 0.016145 | 0.016145 | 0.016145 | 0.99814 | -0.035759 | 0.998 | -0.038379 | 4.4355
32 | 0.042494 | 0.010667 | -0.042475 | -0.010654 | 1.9929e-05 | 1.2583e-05 | 0.063497 | 0.063497 | 0.063497 | 0.99593 | -0.078194 | 0.99542 | -0.088032 | 17.4442
33 | -0.054728 | -0.013743 | 0.054755 | 0.01376 | 2.7133e-05 | 1.7225e-05 | 0.081873 | 0.081873 | 0.081873 | 0.99478 | -0.099924 | 0.99532 | -0.089539 | 22.4925
34 | 0.010027 | 0.002513 | -0.010027 | -0.0025129 | 2.534e-07 | 1.2318e-07 | 0.014998 | 0.014998 | 0.014998 | 0.99478 | -0.099924 | 0.99475 | -0.10045 | 4.1204
35 | -0.16786 | -0.042349 | 0.16807 | 0.042486 | 0.00021492 | 0.00013708 | 0.25105 | 0.25105 | 0.25105 | 0.99532 | -0.089539 | 0.99671 | -0.062835 | 34.4843
36 | 0.1131 | 0.028588 | -0.11281 | -0.028405 | 0.0002864 | 0.00018295 | 0.16917 | 0.16917 | 0.16917 | 0.99532 | -0.089539 | 0.99257 | -0.14249 | 46.4762
37 | 0.085907 | 0.021632 | -0.085837 | -0.021587 | 7.0216e-05 | 4.4793e-05 | 0.12894 | 0.12894 | 0.12894 | 0.99167 | -0.15975 | 0.99079 | -0.17686 | 35.4231
38 | -0.093454 | -0.023523 | 0.09353 | 0.023572 | 7.5833e-05 | 4.8401e-05 | 0.14026 | 0.14026 | 0.14026 | 0.99167 | -0.15975 | 0.99255 | -0.14279 | 38.5343
39 | 0.076738 | 0.019307 | -0.076656 | -0.019254 | 8.2209e-05 | 5.2401e-05 | 0.11528 | 0.11528 | 0.11528 | 0.99079 | -0.17686 | 0.98963 | -0.19931 | 31.6691
40 | -0.10545 | -0.02656 | 0.10545 | 0.026561 | 1.4872e-06 | 9.4979e-07 | 0.15814 | 0.15814 | 0.15814 | 0.99255 | -0.14279 | 0.99257 | -0.14249 | 43.4446
41 | 0.014116 | 0.003539 | -0.014113 | -0.003537 | 3.4977e-06 | 1.9726e-06 | 0.021226 | 0.021226 | 0.021226 | 0.98963 | -0.19931 | 0.98936 | -0.20451 | 5.8313
42 | 0.062539 | 0.015715 | -0.062484 | -0.01568 | 5.5774e-05 | 3.548e-05 | 0.094049 | 0.09405 | 0.09405 | 0.98963 | -0.19931 | 0.98867 | -0.21801 | 25.8378
43 | 0.012297 | 0.003082 | -0.012297 | -0.003082 | 1.0046e-07 | 5.4237e-08 | 0.018495 | 0.018495 | 0.018495 | 0.98936 | -0.20451 | 0.98935 | -0.20468 | 5.0812
44 | 0.052253 | 0.013116 | -0.052238 | -0.013106 | 1.5392e-05 | 9.7655e-06 | 0.078652 | 0.078652 | 0.078652 | 0.98867 | -0.21801 | 0.98835 | -0.22419 | 21.6076
45 | 0.007968 | 0.0019969 | -0.0079674 | -0.0019967 | 5.3098e-07 | 2.1323e-07 | 0.011984 | 0.011984 | 0.011984 | 0.98935 | -0.20468 | 0.98928 | -0.20608 | 3.2923
46 | 0.045286 | 0.011364 | -0.045267 | -0.011352 | 1.9221e-05 | 1.216e-05 | 0.068186 | 0.068186 | 0.068186 | 0.98835 | -0.22419 | 0.98789 | -0.23309 | 18.7325
47 | -0.1763 | -0.044548 | 0.17643 | 0.044629 | 0.00012559 | 8.0125e-05 | 0.26333 | 0.26333 | 0.26333 | 0.99671 | -0.062835 | 0.99749 | -0.047987 | 36.172
48 | -0.0087188 | -0.0021851 | 0.0087197 | 0.0021855 | 8.5269e-07 | 3.6996e-07 | 0.013001 | 0.013001 | 0.013001 | 0.99789 | -0.040431 | 0.998 | -0.038379 | 3.5717
49 | -0.0036515 | -0.00091514 | 0.0036518 | 0.00091499 | 3.203e-07 | -1.5531e-07 | 0.0055048 | 0.0055047 | 0.0055048 | 0.98704 | -0.24971 | 0.98713 | -0.24787 | 1.5123
50 | -0.0083944 | -0.0021035 | 0.0083945 | 0.0021036 | 1.1696e-07 | 4.9953e-08 | 0.012654 | 0.012654 | 0.012654 | 0.98713 | -0.24787 | 0.98715 | -0.24757 | 3.4763
51 | 0.0047426 | 0.0011885 | -0.0047423 | -0.0011885 | 3.3221e-07 | -8.9546e-09 | 0.007149 | 0.0071491 | 0.0071491 | 0.98713 | -0.24787 | 0.98706 | -0.24934 | 1.964
52 | 0.18863 | 0.047854 | -0.18833 | -0.047658 | 0.0003069 | 0.00019587 | 0.28089 | 0.28089 | 0.28089 | 1 | 0 | 0.99822 | -0.033894 | 38.5842
53 | 0.037444 | 0.0093933 | -0.037438 | -0.0093896 | 5.765e-06 | 3.6258e-06 | 0.055976 | 0.055976 | 0.055976 | 0.99542 | -0.088032 | 0.99525 | -0.091262 | 15.3782
54 | 0.0032376 | 0.00081133 | -0.0032376 | -0.00081141 | 9.1395e-08 | -7.3453e-08 | 0.0048698 | 0.0048699 | 0.0048699 | 0.98928 | -0.20608 | 0.98925 | -0.20667 | 1.3379
55 | 0.032466 | 0.0081436 | -0.032455 | -0.0081367 | 1.1081e-05 | 6.9287e-06 | 0.048543 | 0.048543 | 0.048543 | 0.99525 | -0.091262 | 0.99488 | -0.098424 | 13.336
56 | 0.020967 | 0.0052575 | -0.020967 | -0.0052572 | 4.1341e-07 | 2.5003e-07 | 0.031361 | 0.031361 | 0.031361 | 0.99488 | -0.098424 | 0.99486 | -0.098838 | 8.6156
57 | 0.01549 | 0.0038847 | -0.015484 | -0.0038811 | 6.2312e-06 | 3.5862e-06 | 0.023169 | 0.02317 | 0.02317 | 0.99486 | -0.098838 | 0.99442 | -0.10728 | 6.3653
58 | 0.18073 | 0.045756 | -0.18061 | -0.045678 | 0.0001222 | 7.7972e-05 | 0.26958 | 0.26958 | 0.26958 | 0.99822 | -0.033894 | 0.99749 | -0.047987 | 37.0297
59 | -0.012467 | -0.0031242 | 0.012468 | 0.0031247 | 1.04e-06 | 5.6517e-07 | 0.018792 | 0.018792 | 0.018792 | 0.98715 | -0.24757 | 0.98724 | -0.24582 | 5.1627
60 | -0.020341 | -0.0050979 | 0.020344 | 0.0050995 | 2.7671e-06 | 1.6706e-06 | 0.030659 | 0.030659 | 0.030659 | 0.98724 | -0.24582 | 0.98738 | -0.24297 | 8.4227
61 | -0.029609 | -0.0074218 | 0.029617 | 0.0074265 | 7.5685e-06 | 4.7142e-06 | 0.044623 | 0.044623 | 0.044623 | 0.98738 | -0.24297 | 0.98766 | -0.2376 | 12.259
62 | -0.035605 | -0.0089273 | 0.035613 | 0.0089321 | 7.6565e-06 | 4.8094e-06 | 0.053645 | 0.053645 | 0.053645 | 0.98766 | -0.2376 | 0.98789 | -0.23309 | 14.7375

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31793 | 0.080024

## res_load
| p_mw | q_mvar
0 | 0.007676 | 0.0019238
1 | 0.0078042 | 0.0019559
2 | 0.0084097 | 0.0021077
3 | 0.0036653 | 0.00091862
4 | 0.012059 | 0.0030222
5 | 0.0078721 | 0.0019729
6 | 0.0029156 | 0.00073072
7 | 0.0067111 | 0.001682
8 | 0.0018851 | 0.00047246
9 | 0.0094348 | 0.0023646
10 | 0.0031562 | 0.00079101
11 | 0.01194 | 0.0029926
12 | 0.011967 | 0.0029992
13 | 0.0085346 | 0.002139
14 | 0.0089659 | 0.0022471
15 | 0.0065463 | 0.0016407
16 | 0.010027 | 0.0025129
17 | 0.0075473 | 0.0018915
18 | 0.0090987 | 0.0022804
19 | 0.011922 | 0.0029879
20 | 0.0073609 | 0.0018448
21 | 0.0018155 | 0.00045501
22 | 0.010231 | 0.002564
23 | 0.0043293 | 0.001085
24 | 0.0069511 | 0.0017421
25 | 0.0082297 | 0.0020626
26 | 0.0087188 | 0.0021851
27 | 0.0021088 | 0.00052853
28 | 0.0087631 | 0.0021962
29 | 0.0036515 | 0.00091514
30 | 0.0047423 | 0.0011885
31 | 0.0056884 | 0.0014256
32 | 0.0050308 | 0.0012608
33 | 0.0047298 | 0.0011854
34 | 0.0032376 | 0.00081141
35 | 0.0049719 | 0.0012461
36 | 0.011488 | 0.0028792
37 | 0.0054766 | 0.0013726
38 | 0.0075918 | 0.0019027
39 | 0.004186 | 0.0010491
40 | 0.0040723 | 0.0010206
41 | 0.0078729 | 0.0019731
42 | 0.0092659 | 0.0023223
43 | 0.0059883 | 0.0015008
44 | 0.0096543 | 0.0024196

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1