## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-803_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-803_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-803_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-803_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-803_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-803_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_261-803_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_261-803_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-803_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_261-803_0_4_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_261-803_0_4_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_261-803_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-803_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-803_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_261-803_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_261-803_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_261-803_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-803_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_261-803_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_261-803_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_261-803_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_261-803_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_261-803_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-803_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_261-803_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_261-803_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_261-803_0_4_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_261-803_0_4_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_261-803_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-803_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_261-803_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_261-803_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_261-803_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-803_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_261-803_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_261-803_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_261-803_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_261-803_0_4_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_261-803_0_4_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_261-803_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_261-803_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_261-803_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_261-803_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_261-803_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_261-803_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_261-803_0_4_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_261-803_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_261-803_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_261-803_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_261-803_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_261-803_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_261-803_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_261-803_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_261-803_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_261-803_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_261-803_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_261-803_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_261-803_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_261-803_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_261-803_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_MV_539_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-803_0_4_load_0 | 0 | 0.0065067 | 0.0016307 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-803_0_4_load_2 | 2 | 0.011669 | 0.0029246 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-803_0_4_load_24 | 6 | 0.0096071 | 0.0024078 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-803_0_4_load_52 | 9 | 0.0095309 | 0.0023887 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-803_0_4_load_63 | 10 | 0.0022191 | 0.00055616 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-803_0_4_load_46 | 13 | 0.0074623 | 0.0018702 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-803_0_4_load_37 | 14 | 0.0078142 | 0.0019584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-803_0_4_load_34 | 15 | 0.0079017 | 0.0019804 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-803_0_4_load_38 | 17 | 0.019968 | 0.0050046 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-803_0_4_load_39 | 18 | 0.0062425 | 0.0015645 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-803_0_4_load_31 | 20 | 0.010225 | 0.0025627 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-803_0_4_load_47 | 23 | 0.003385 | 0.00084837 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-803_0_4_load_29 | 25 | 0.011769 | 0.0029496 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-803_0_4_load_57 | 26 | 0.002252 | 0.00056441 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-803_0_4_load_65 | 27 | 0.094163 | 0.0236 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-803_0_4_load_43 | 30 | 0.0063601 | 0.001594 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-803_0_4_load_28 | 31 | 0.0059496 | 0.0014911 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-803_0_4_load_27 | 33 | 0.016494 | 0.0041338 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-803_0_4_load_41 | 34 | 0.0058639 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-803_0_4_load_40 | 35 | 0.015739 | 0.0039447 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-803_0_4_load_25 | 36 | 0.0074449 | 0.0018659 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-803_0_4_load_53 | 37 | 0.0027369 | 0.00068594 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-803_0_4_load_62 | 38 | 0.0022828 | 0.00057212 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-803_0_4_load_26 | 39 | 0.0065897 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-803_0_4_load_42 | 40 | 0.0069184 | 0.0017339 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-803_0_4_load_35 | 41 | 0.0073008 | 0.0018298 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-803_0_4_load_48 | 42 | 0.002296 | 0.00057544 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-803_0_4_load_60 | 43 | 0.0022847 | 0.0005726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-803_0_4_load_61 | 44 | 0.0023364 | 0.00058555 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-803_0_4_load_64 | 45 | 0.017486 | 0.0043825 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-803_0_4_load_55 | 48 | 0.0024168 | 0.0006057 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-803_0_4_load_33 | 49 | 0.026298 | 0.0065908 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-803_0_4_load_36 | 50 | 0.0073763 | 0.0018487 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-803_0_4_load_45 | 51 | 0.0035179 | 0.00088167 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-803_0_4_load_44 | 52 | 0.006455 | 0.0016178 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-803_0_4_load_59 | 53 | 0.0093008 | 0.002331 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-803_0_4_load_49 | 54 | 0.0033035 | 0.00082793 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-803_0_4_load_50 | 55 | 0.0033493 | 0.00083941 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-803_0_4_load_51 | 56 | 0.0035613 | 0.00089255 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-803_0_4_load_54 | 57 | 0.0024095 | 0.00060389 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-803_0_4_load_56 | 58 | 0.0083162 | 0.0020842 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-803_0_4_load_58 | 59 | 0.0082051 | 0.0020564 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-803_0_4_line_0 |  | 0 | 1 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-803_0_4_line_1 |  | 1 | 2 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-803_0_4_line_2 |  | 1 | 3 | 0.028508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-803_0_4_line_3 |  | 3 | 4 | 0.02211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-803_0_4_line_4 |  | 3 | 5 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-803_0_4_line_5 |  | 3 | 6 | 0.020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-803_0_4_line_6 |  | 4 | 10 | 0.044867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-803_0_4_line_7 |  | 5 | 14 | 0.010537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-803_0_4_line_8 |  | 5 | 15 | 0.014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-803_0_4_line_9 |  | 6 | 36 | 0.028535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-803_0_4_line_10 |  | 7 | 8 | 0.019278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-803_0_4_line_11 |  | 7 | 9 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-803_0_4_line_12 |  | 8 | 31 | 0.0096173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-803_0_4_line_13 |  | 8 | 32 | 0.023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-803_0_4_line_14 |  | 8 | 33 | 0.035286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-803_0_4_line_15 |  | 8 | 28 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-803_0_4_line_16 |  | 9 | 37 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-803_0_4_line_17 |  | 10 | 38 | 0.0078691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-803_0_4_line_18 |  | 11 | 12 | 0.026225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_261-803_0_4_line_19 |  | 11 | 13 | 0.0064379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-803_0_4_line_20 |  | 12 | 19 | 0.030541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-803_0_4_line_21 |  | 12 | 20 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-803_0_4_line_22 |  | 13 | 29 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-803_0_4_line_23 |  | 14 | 40 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-803_0_4_line_24 |  | 15 | 41 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-803_0_4_line_25 |  | 16 | 17 | 0.040515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-803_0_4_line_26 |  | 16 | 18 | 0.008039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-803_0_4_line_27 |  | 18 | 35 | 0.0039455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-803_0_4_line_28 |  | 19 | 27 | 0.061109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-803_0_4_line_29 |  | 20 | 24 | 0.028701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-803_0_4_line_30 |  | 21 | 22 | 0.023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-803_0_4_line_31 |  | 21 | 23 | 0.037953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-803_0_4_line_32 |  | 22 | 26 | 0.04098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-803_0_4_line_33 |  | 23 | 42 | 0.0032904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-803_0_4_line_34 |  | 24 | 25 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-803_0_4_line_35 |  | 25 | 47 | 0.020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-803_0_4_line_36 |  | 26 | 48 | 0.0069341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-803_0_4_line_37 |  | 28 | 29 | 0.013098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_261-803_0_4_line_38 |  | 28 | 30 | 0.034847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-803_0_4_line_39 |  | 30 | 52 | 0.009992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-803_0_4_line_40 |  | 31 | 40 | 0.0088224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-803_0_4_line_41 |  | 32 | 34 | 0.015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-803_0_4_line_42 |  | 32 | 35 | 0.0037135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-803_0_4_line_43 |  | 34 | 53 | 0.0093713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-803_0_4_line_44 |  | 36 | 39 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-803_0_4_line_45 |  | 37 | 57 | 0.0079634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-803_0_4_line_46 |  | 38 | 44 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-803_0_4_line_47 |  | 41 | 50 | 0.0087131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-803_0_4_line_48 |  | 42 | 54 | 0.0050987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-803_0_4_line_49 |  | 43 | 44 | 0.0075373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-803_0_4_line_50 |  | 45 | 46 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-803_0_4_line_51 |  | 46 | 49 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-803_0_4_line_52 |  | 47 | 49 | 0.011638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-803_0_4_line_53 |  | 48 | 58 | 0.0025353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-803_0_4_line_54 |  | 51 | 52 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-803_0_4_line_55 |  | 54 | 55 | 0.019094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-803_0_4_line_56 |  | 55 | 56 | 0.0084448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-803_0_4_line_57 |  | 56 | 57 | 0.0032195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-803_0_4_line_58 |  | 58 | 59 | 0.011651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-803_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 60 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2685100.7759 | 1246719.8828 | 2685094.408 | 1246732.1973
1 | 2685089.5661 | 1246713.4839 | 2685100.7759 | 1246719.8828
2 | 2685100.7759 | 1246719.8828 | 2685108.7836 | 1246705.6872 | 2685116.7027 | 1246710.8157 | 2685118.8609 | 1246712.5591
3 | 2685118.8609 | 1246712.5591 | 2685122.8314 | 1246711.204 | 2685126.149 | 1246710.073 | 2685130.1741 | 1246711.2316 | 2685135.2826 | 1246712.6949 | 2685133.4871 | 1246717.2614
4 | 2685118.8609 | 1246712.5591 | 2685122.8314 | 1246711.204 | 2685126.149 | 1246710.073 | 2685125.7768 | 1246704.4301 | 2685125.5908 | 1246701.6031
5 | 2685118.8609 | 1246712.5591 | 2685120.0808 | 1246714.4113 | 2685120.2073 | 1246716.1255 | 2685119.8179 | 1246717.9879 | 2685113.9081 | 1246731.1048
6 | 2685133.4871 | 1246717.2614 | 2685127.1747 | 1246731.2366 | 2685114.9745 | 1246758.1309
7 | 2685125.5908 | 1246701.6031 | 2685123.3023 | 1246702.0929 | 2685120.6346 | 1246702.1546 | 2685117.7846 | 1246701.2353 | 2685115.6764 | 1246699.8297
8 | 2685125.5908 | 1246701.6031 | 2685127.4244 | 1246700.1728 | 2685128.9255 | 1246697.7037 | 2685132.7489 | 1246689.1212
9 | 2685113.9081 | 1246731.1048 | 2685102.1864 | 1246757.1213
10 | 2685084.2235 | 1246678.8594 | 2685082.1384 | 1246682.0208 | 2685090.9453 | 1246687.9292 | 2685087.5929 | 1246691.4838
11 | 2685087.5929 | 1246691.4838 | 2685081.3483 | 1246698.1102 | 2685075.3876 | 1246701.9746
12 | 2685084.2235 | 1246678.8594 | 2685092.2254 | 1246684.1945
13 | 2685088.8431 | 1246659.656 | 2685089.0487 | 1246663.7508 | 2685080.349 | 1246676.1574 | 2685084.2235 | 1246678.8594
14 | 2685084.2235 | 1246678.8594 | 2685095.916 | 1246661.1141 | 2685108.4255 | 1246654.7521
15 | 2685059.3437 | 1246672.7092 | 2685062.8186 | 1246669.0452 | 2685082.1384 | 1246682.0208 | 2685084.2235 | 1246678.8594
16 | 2685075.3876 | 1246701.9746 | 2685061.5081 | 1246710.9728
17 | 2685111.7237 | 1246765.2972 | 2685114.9745 | 1246758.1309
18 | 2685032.3185 | 1246670.7647 | 2685031.1718 | 1246668.5466 | 2685027.041 | 1246660.537 | 2685025.0564 | 1246656.6946 | 2685033.7799 | 1246651.0488
19 | 2685032.3185 | 1246670.7647 | 2685038.0536 | 1246667.8397
20 | 2685033.7799 | 1246651.0488 | 2685038.0807 | 1246648.264 | 2685043.5089 | 1246647.9861 | 2685049.5923 | 1246645.7494 | 2685061.6411 | 1246639.4954
21 | 2685033.7799 | 1246651.0488 | 2685020.7197 | 1246643.6484
22 | 2685048.3716 | 1246665.5354 | 2685045.8195 | 1246664.9095 | 2685043.8794 | 1246665.3375 | 2685041.0552 | 1246666.3089 | 2685038.0536 | 1246667.8397
23 | 2685099.5658 | 1246689.0885 | 2685115.6764 | 1246699.8297
24 | 2685139.2028 | 1246674.6341 | 2685132.7489 | 1246689.1212
25 | 2685082.0506 | 1246645.5036 | 2685118.2288 | 1246627.2655
26 | 2685082.0506 | 1246645.5036 | 2685085.5291 | 1246652.7511
27 | 2685085.5291 | 1246652.7511 | 2685087.2363 | 1246656.3081
28 | 2685061.6411 | 1246639.4954 | 2685087.6454 | 1246626.2586 | 2685116.0685 | 1246611.7113
29 | 2684995.7491 | 1246629.4989 | 2685020.7197 | 1246643.6484
30 | 2684990.1323 | 1246757.2461 | 2684992.7171 | 1246759.7962 | 2685003.3311 | 1246776.6607
31 | 2684990.1323 | 1246757.2461 | 2685021.978 | 1246736.6003
32 | 2685003.3311 | 1246776.6607 | 2685037.6809 | 1246754.3114
33 | 2685021.978 | 1246736.6003 | 2685024.7389 | 1246734.8104
34 | 2684995.7491 | 1246629.4989 | 2685002.9053 | 1246617.0402
35 | 2685012.9035 | 1246599.6339 | 2685002.9053 | 1246617.0402
36 | 2685043.493 | 1246750.5299 | 2685037.6809 | 1246754.3114
37 | 2685059.3437 | 1246672.7092 | 2685050.6661 | 1246666.7359 | 2685048.3716 | 1246665.5354
38 | 2685059.3437 | 1246672.7092 | 2685053.0768 | 1246679.3131 | 2685029.8623 | 1246690.4382
39 | 2685029.8623 | 1246690.4382 | 2685020.8516 | 1246694.7564
40 | 2685092.2254 | 1246684.1945 | 2685099.5658 | 1246689.0885
41 | 2685088.8431 | 1246659.656 | 2685102.8385 | 1246652.8243
42 | 2685088.8431 | 1246659.656 | 2685087.2363 | 1246656.3081
43 | 2685102.8385 | 1246652.8243 | 2685111.26 | 1246648.7135
44 | 2685102.1864 | 1246757.1213 | 2685093.9507 | 1246775.4004
45 | 2685054.826 | 1246715.3048 | 2685061.5081 | 1246710.9728
46 | 2685105.2834 | 1246779.4944 | 2685111.7237 | 1246765.2972
47 | 2685139.2028 | 1246674.6341 | 2685142.7486 | 1246666.675
48 | 2685029.0172 | 1246732.0368 | 2685024.7389 | 1246734.8104
49 | 2685102.1689 | 1246786.358 | 2685102.2177 | 1246786.2525 | 2685105.2834 | 1246779.4944
50 | 2685013.082 | 1246578.2317 | 2685019.8665 | 1246566.776
51 | 2685013.082 | 1246578.2317 | 2685022.5403 | 1246583.5157 | 2685018.8759 | 1246589.6447
52 | 2685012.9035 | 1246599.6339 | 2685018.8759 | 1246589.6447
53 | 2685043.493 | 1246750.5299 | 2685045.6181 | 1246749.1472
54 | 2685020.8516 | 1246694.7564 | 2685018.5415 | 1246695.8635 | 2685009.925 | 1246700.2818
55 | 2685029.0172 | 1246732.0368 | 2685045.0386 | 1246721.65
56 | 2685045.0386 | 1246721.65 | 2685052.1246 | 1246717.0561
57 | 2685052.1246 | 1246717.0561 | 2685054.826 | 1246715.3048
58 | 2685055.3841 | 1246742.793 | 2685045.6181 | 1246749.1472

## bus_geodata
| x | y | coords
0 | 2685094.408 | 1246732.1973
1 | 2685100.7759 | 1246719.8828
2 | 2685089.5661 | 1246713.4839
3 | 2685118.8609 | 1246712.5591
4 | 2685133.4871 | 1246717.2614
5 | 2685125.5908 | 1246701.6031
6 | 2685113.9081 | 1246731.1048
7 | 2685087.5929 | 1246691.4838
8 | 2685084.2235 | 1246678.8594
9 | 2685075.3876 | 1246701.9746
10 | 2685114.9745 | 1246758.131
11 | 2685032.3185 | 1246670.7647
12 | 2685033.7799 | 1246651.0488
13 | 2685038.0536 | 1246667.8397
14 | 2685115.6764 | 1246699.8297
15 | 2685132.7489 | 1246689.1212
16 | 2685082.0506 | 1246645.5036
17 | 2685118.2288 | 1246627.2655
18 | 2685085.5291 | 1246652.7511
19 | 2685061.6411 | 1246639.4954
20 | 2685020.7197 | 1246643.6484
21 | 2684990.1323 | 1246757.2461
22 | 2685003.3311 | 1246776.6607
23 | 2685021.978 | 1246736.6003
24 | 2684995.7491 | 1246629.499
25 | 2685002.9053 | 1246617.0402
26 | 2685037.6809 | 1246754.3114
27 | 2685116.0685 | 1246611.7113
28 | 2685059.3437 | 1246672.7092
29 | 2685048.3716 | 1246665.5354
30 | 2685029.8623 | 1246690.4382
31 | 2685092.2254 | 1246684.1945
32 | 2685088.8431 | 1246659.656
33 | 2685108.4255 | 1246654.7521
34 | 2685102.8385 | 1246652.8243
35 | 2685087.2363 | 1246656.3081
36 | 2685102.1864 | 1246757.1213
37 | 2685061.5081 | 1246710.9728
38 | 2685111.7237 | 1246765.2972
39 | 2685093.9507 | 1246775.4004
40 | 2685099.5658 | 1246689.0885
41 | 2685139.2028 | 1246674.6341
42 | 2685024.7389 | 1246734.8104
43 | 2685102.1689 | 1246786.358
44 | 2685105.2834 | 1246779.4944
45 | 2685019.8665 | 1246566.776
46 | 2685013.082 | 1246578.2317
47 | 2685012.9035 | 1246599.6339
48 | 2685043.493 | 1246750.5298
49 | 2685018.8759 | 1246589.6447
50 | 2685142.7486 | 1246666.675
51 | 2685009.925 | 1246700.2818
52 | 2685020.8516 | 1246694.7564
53 | 2685111.26 | 1246648.7135
54 | 2685029.0172 | 1246732.0368
55 | 2685045.0386 | 1246721.65
56 | 2685052.1246 | 1246717.0561
57 | 2685054.826 | 1246715.3048
58 | 2685045.6181 | 1246749.1472
59 | 2685055.3841 | 1246742.793
60 | 2685088.8431 | 1246659.656

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99206 | -0.15254 | 0.0065067 | 0.0016307
1 | 0.99214 | -0.15094 | 0 | 0
2 | 0.992 | -0.1536 | 0.011669 | 0.0029246
3 | 0.99261 | -0.14177 | 0 | 0
4 | 0.99243 | -0.14534 | 0 | 0
5 | 0.99337 | -0.12719 | 0 | 0
6 | 0.99218 | -0.15023 | 0.0096071 | 0.0024078
7 | 0.99614 | -0.073706 | 0 | 0
8 | 0.99705 | -0.056192 | 0 | 0
9 | 0.99538 | -0.088457 | 0.0095309 | 0.0023887
10 | 0.99206 | -0.15259 | 0.0022191 | 0.00055616
11 | 0.99369 | -0.12046 | 0 | 0
12 | 0.99176 | -0.15755 | 0 | 0
13 | 0.99401 | -0.1144 | 0.0074623 | 0.0018702
14 | 0.99408 | -0.11352 | 0.0078142 | 0.0019584
15 | 0.99307 | -0.13302 | 0.0079017 | 0.0019804
16 | 0.99976 | -0.0046018 | 0 | 0
17 | 0.99903 | -0.01872 | 0.019968 | 0.0050046
18 | 0.99991 | -0.0018028 | 0.0062425 | 0.0015645
19 | 0.98911 | -0.20865 | 0 | 0
20 | 0.99086 | -0.17506 | 0.010225 | 0.0025627
21 | 0.99262 | -0.14163 | 0 | 0
22 | 0.99216 | -0.15046 | 0 | 0
23 | 0.99336 | -0.12741 | 0.003385 | 0.00084837
24 | 0.98939 | -0.20341 | 0 | 0
25 | 0.98866 | -0.21763 | 0.011769 | 0.0029496
26 | 0.99137 | -0.16585 | 0.002252 | 0.00056441
27 | 0.98381 | -0.31171 | 0.094163 | 0.0236
28 | 0.99524 | -0.090737 | 0 | 0
29 | 0.99457 | -0.10361 | 0 | 0
30 | 0.99473 | -0.10076 | 0.0063601 | 0.001594
31 | 0.99623 | -0.072091 | 0.0059496 | 0.0014911
32 | 0.99959 | -0.0078002 | 0 | 0
33 | 0.99652 | -0.066402 | 0.016494 | 0.0041338
34 | 0.99938 | -0.011921 | 0.0058639 | 0.0014696
35 | 1 | 0 | -0.39252 | -0.099228
36 | 0.99181 | -0.15733 | 0.0074449 | 0.0018659
37 | 0.99474 | -0.10076 | 0.0027369 | 0.00068594
38 | 0.99201 | -0.15355 | 0.0022828 | 0.00057212
39 | 0.99169 | -0.15967 | 0.0065897 | 0.0016515
40 | 0.99551 | -0.085776 | 0.0069184 | 0.0017339
41 | 0.99285 | -0.13713 | 0.0073008 | 0.0018298
42 | 0.99343 | -0.12598 | 0.002296 | 0.00057544
43 | 0.99192 | -0.15513 | 0.0022847 | 0.0005726
44 | 0.99194 | -0.15483 | 0.0023364 | 0.00058555
45 | 0.98688 | -0.25221 | 0.017486 | 0.0043825
46 | 0.98709 | -0.24805 | 0 | 0
47 | 0.98785 | -0.23332 | 0 | 0
48 | 0.99125 | -0.16818 | 0.0024168 | 0.0006057
49 | 0.98738 | -0.24243 | 0.026298 | 0.0065908
50 | 0.9928 | -0.13827 | 0.0073763 | 0.0018487
51 | 0.9946 | -0.10327 | 0.0035179 | 0.00088167
52 | 0.99464 | -0.10251 | 0.006455 | 0.0016178
53 | 0.9993 | -0.013442 | 0.0093008 | 0.002331
54 | 0.99356 | -0.12356 | 0.0033035 | 0.00082793
55 | 0.99408 | -0.11339 | 0.0033493 | 0.00083941
56 | 0.99434 | -0.1084 | 0.0035613 | 0.00089255
57 | 0.99445 | -0.1063 | 0.0024095 | 0.00060389
58 | 0.99121 | -0.16892 | 0.0083162 | 0.0020842
59 | 0.99112 | -0.17061 | 0.0082051 | 0.0020564
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0065067 | -0.0016307 | 0.0065072 | 0.0016309 | 4.9518e-07 | 1.379e-07 | 0.0097595 | 0.0097595 | 0.0097595 | 0.99206 | -0.15254 | 0.99214 | -0.15094 | 2.6812
1 | 0.011671 | 0.0029253 | -0.011669 | -0.0029246 | 1.4797e-06 | 7.8072e-07 | 0.017504 | 0.017504 | 0.017504 | 0.99214 | -0.15094 | 0.992 | -0.1536 | 4.8087
2 | -0.018178 | -0.0045562 | 0.018186 | 0.0045609 | 7.9459e-06 | 4.717e-06 | 0.027263 | 0.027263 | 0.027263 | 0.99214 | -0.15094 | 0.99261 | -0.14177 | 7.4899
3 | 0.0091283 | 0.0022886 | -0.0091267 | -0.0022879 | 1.5526e-06 | 7.0794e-07 | 0.013684 | 0.013684 | 0.013684 | 0.99261 | -0.14177 | 0.99243 | -0.14534 | 3.7595
4 | -0.050971 | -0.012783 | 0.051006 | 0.012806 | 3.5446e-05 | 2.2476e-05 | 0.076413 | 0.076413 | 0.076413 | 0.99261 | -0.14177 | 0.99337 | -0.12719 | 20.9925
5 | 0.023657 | 0.0059339 | -0.023647 | -0.005928 | 9.5401e-06 | 5.8443e-06 | 0.035465 | 0.035465 | 0.035465 | 0.99261 | -0.14177 | 0.99218 | -0.15023 | 9.7432
6 | 0.0091267 | 0.0022879 | -0.0091236 | -0.0022864 | 3.1508e-06 | 1.437e-06 | 0.013684 | 0.013685 | 0.013685 | 0.99243 | -0.14534 | 0.99206 | -0.15259 | 3.7595
7 | -0.073594 | -0.01847 | 0.073643 | 0.018501 | 4.803e-05 | 3.0603e-05 | 0.11025 | 0.11025 | 0.11025 | 0.99337 | -0.12719 | 0.99408 | -0.11352 | 30.2885
8 | 0.022588 | 0.0056644 | -0.022582 | -0.0056606 | 6.2733e-06 | 3.8258e-06 | 0.033837 | 0.033837 | 0.033837 | 0.99337 | -0.12719 | 0.99307 | -0.13302 | 9.296
9 | 0.01404 | 0.0035203 | -0.014035 | -0.0035176 | 4.7447e-06 | 2.6682e-06 | 0.021057 | 0.021057 | 0.021057 | 0.99218 | -0.15023 | 0.99181 | -0.15733 | 5.7849
10 | -0.051908 | -0.013063 | 0.051951 | 0.013091 | 4.3486e-05 | 2.758e-05 | 0.077558 | 0.077558 | 0.077558 | 0.99614 | -0.073706 | 0.99705 | -0.056192 | 21.3071
11 | 0.051908 | 0.013063 | -0.051871 | -0.01304 | 3.6563e-05 | 2.3189e-05 | 0.077558 | 0.077558 | 0.077558 | 0.99614 | -0.073706 | 0.99538 | -0.088457 | 21.3072
12 | 0.094562 | 0.023836 | -0.094491 | -0.02379 | 7.1878e-05 | 4.5877e-05 | 0.14117 | 0.14117 | 0.14117 | 0.99705 | -0.056192 | 0.99623 | -0.072091 | 38.7842
13 | -0.34852 | -0.088239 | 0.34933 | 0.088758 | 0.00081182 | 0.00051862 | 0.52045 | 0.52045 | 0.52045 | 0.99705 | -0.056192 | 0.99959 | -0.0078002 | 47.6605
14 | 0.016502 | 0.0041385 | -0.016494 | -0.0041338 | 8.0264e-06 | 4.6769e-06 | 0.024629 | 0.024629 | 0.024629 | 0.99705 | -0.056192 | 0.99652 | -0.066402 | 6.7662
15 | 0.1855 | 0.047174 | -0.1852 | -0.046978 | 0.00030817 | 0.00019597 | 0.27709 | 0.27709 | 0.27709 | 0.99705 | -0.056192 | 0.99524 | -0.090737 | 25.3747
16 | 0.04234 | 0.010651 | -0.042316 | -0.010636 | 2.4862e-05 | 1.5697e-05 | 0.06331 | 0.06331 | 0.06331 | 0.99538 | -0.088457 | 0.99474 | -0.10076 | 17.3929
17 | 0.0069045 | 0.0017303 | -0.0069042 | -0.0017302 | 3.1649e-07 | 1.0096e-07 | 0.010356 | 0.010356 | 0.010356 | 0.99206 | -0.15259 | 0.99201 | -0.15355 | 2.8451
18 | 0.16115 | 0.040858 | -0.16087 | -0.040675 | 0.00028675 | 0.00018284 | 0.24149 | 0.24149 | 0.24149 | 0.99369 | -0.12046 | 0.99176 | -0.15755 | 33.1714
19 | -0.16115 | -0.040858 | 0.1612 | 0.040887 | 4.6929e-05 | 2.9784e-05 | 0.24149 | 0.24149 | 0.24149 | 0.99369 | -0.12046 | 0.99401 | -0.1144 | 22.1143
20 | 0.09486 | 0.024045 | -0.094628 | -0.023896 | 0.00023231 | 0.00014829 | 0.14242 | 0.14242 | 0.14242 | 0.99176 | -0.15755 | 0.98911 | -0.20865 | 39.1271
21 | 0.066007 | 0.01663 | -0.065951 | -0.016595 | 5.5245e-05 | 3.5163e-05 | 0.099066 | 0.099066 | 0.099066 | 0.99176 | -0.15755 | 0.99086 | -0.17506 | 27.2159
22 | -0.16866 | -0.042758 | 0.16875 | 0.042813 | 8.754e-05 | 5.5599e-05 | 0.25266 | 0.25266 | 0.25266 | 0.99401 | -0.1144 | 0.99457 | -0.10361 | 23.1372
23 | -0.081457 | -0.020459 | 0.081565 | 0.020528 | 0.00010798 | 6.8856e-05 | 0.12195 | 0.12195 | 0.12195 | 0.99408 | -0.11352 | 0.99551 | -0.085776 | 33.5019
24 | 0.01468 | 0.0036802 | -0.014678 | -0.0036786 | 2.8779e-06 | 1.6367e-06 | 0.021998 | 0.021998 | 0.021998 | 0.99307 | -0.13302 | 0.99285 | -0.13713 | 6.0433
25 | 0.019982 | 0.0050126 | -0.019968 | -0.0050046 | 1.344e-05 | 8.0707e-06 | 0.029742 | 0.029742 | 0.029742 | 0.99976 | -0.0046018 | 0.99903 | -0.01872 | 8.171
26 | -0.019982 | -0.0050126 | 0.019985 | 0.0050142 | 2.6667e-06 | 1.6013e-06 | 0.029742 | 0.029742 | 0.029742 | 0.99976 | -0.0046018 | 0.99991 | -0.0018028 | 8.1709
27 | -0.026227 | -0.0065788 | 0.026229 | 0.0065802 | 2.2541e-06 | 1.3909e-06 | 0.039032 | 0.039032 | 0.039032 | 0.99991 | -0.0018028 | 1 | 0 | 10.7231
28 | 0.094628 | 0.023896 | -0.094163 | -0.0236 | 0.00046483 | 0.00029671 | 0.14242 | 0.14242 | 0.14242 | 0.98911 | -0.20865 | 0.98381 | -0.31171 | 39.1271
29 | 0.055726 | 0.014032 | -0.055651 | -0.013984 | 7.542e-05 | 4.7899e-05 | 0.08371 | 0.08371 | 0.08371 | 0.99086 | -0.17506 | 0.98939 | -0.20341 | 22.9973
30 | 0.021218 | 0.0053274 | -0.021209 | -0.005322 | 8.9317e-06 | 5.4122e-06 | 0.031811 | 0.031811 | 0.031811 | 0.99262 | -0.14163 | 0.99216 | -0.15046 | 8.7392
31 | -0.021218 | -0.0053274 | 0.021232 | 0.0053362 | 1.4402e-05 | 8.7262e-06 | 0.031811 | 0.031811 | 0.031811 | 0.99262 | -0.14163 | 0.99336 | -0.12741 | 8.7392
32 | 0.021209 | 0.005322 | -0.021193 | -0.0053126 | 1.5551e-05 | 9.4239e-06 | 0.031811 | 0.031811 | 0.031811 | 0.99216 | -0.15046 | 0.99137 | -0.16585 | 8.7393
33 | -0.024617 | -0.0061845 | 0.024619 | 0.0061856 | 1.6784e-06 | 1.0316e-06 | 0.036881 | 0.036881 | 0.036881 | 0.99336 | -0.12741 | 0.99343 | -0.12598 | 10.1322
34 | 0.055651 | 0.013984 | -0.055613 | -0.01396 | 3.7755e-05 | 2.3979e-05 | 0.08371 | 0.08371 | 0.08371 | 0.98939 | -0.20341 | 0.98866 | -0.21763 | 22.9974
35 | 0.043844 | 0.011011 | -0.043811 | -0.01099 | 3.2787e-05 | 2.0727e-05 | 0.065997 | 0.065997 | 0.065997 | 0.98866 | -0.21763 | 0.98785 | -0.23332 | 18.1311
36 | 0.018941 | 0.0047482 | -0.018939 | -0.0047469 | 2.1018e-06 | 1.2558e-06 | 0.028431 | 0.028431 | 0.028431 | 0.99137 | -0.16585 | 0.99125 | -0.16818 | 7.8107
37 | 0.16885 | 0.04288 | -0.16875 | -0.042813 | 0.00010452 | 6.638e-05 | 0.25266 | 0.25266 | 0.25266 | 0.99524 | -0.090737 | 0.99457 | -0.10361 | 23.1372
38 | 0.016342 | 0.0040983 | -0.016334 | -0.0040938 | 7.8016e-06 | 4.5405e-06 | 0.024434 | 0.024434 | 0.024434 | 0.99524 | -0.090737 | 0.99473 | -0.10076 | 6.7127
39 | 0.0099739 | 0.0024998 | -0.0099731 | -0.0024994 | 8.3411e-07 | 4.0413e-07 | 0.01492 | 0.01492 | 0.01492 | 0.99473 | -0.10076 | 0.99464 | -0.10251 | 4.0989
40 | 0.088541 | 0.022299 | -0.088483 | -0.022262 | 5.7897e-05 | 3.6939e-05 | 0.13229 | 0.13229 | 0.13229 | 0.99623 | -0.072091 | 0.99551 | -0.085776 | 36.3428
41 | 0.015168 | 0.0038027 | -0.015165 | -0.0038009 | 2.9778e-06 | 1.7017e-06 | 0.02258 | 0.022581 | 0.022581 | 0.99959 | -0.0078002 | 0.99938 | -0.011921 | 6.2034
42 | -0.3645 | -0.09256 | 0.36464 | 0.092648 | 0.00013688 | 8.7458e-05 | 0.54303 | 0.54303 | 0.54303 | 0.99959 | -0.0078002 | 1 | 0 | 49.7282
43 | 0.0093015 | 0.0023313 | -0.0093008 | -0.002331 | 6.7406e-07 | 3.0862e-07 | 0.013849 | 0.013849 | 0.013849 | 0.99938 | -0.011921 | 0.9993 | -0.013442 | 3.8048
44 | 0.0065904 | 0.0016517 | -0.0065897 | -0.0016515 | 7.3503e-07 | 2.1171e-07 | 0.0098876 | 0.0098877 | 0.0098877 | 0.99181 | -0.15733 | 0.99169 | -0.15967 | 2.7164
45 | 0.039579 | 0.0099498 | -0.039568 | -0.0099432 | 1.0472e-05 | 6.5984e-06 | 0.059216 | 0.059216 | 0.059216 | 0.99474 | -0.10076 | 0.99445 | -0.1063 | 16.2681
46 | 0.0046214 | 0.001158 | -0.0046211 | -0.0011581 | 2.8093e-07 | -2.1462e-08 | 0.006932 | 0.0069321 | 0.0069321 | 0.99201 | -0.15355 | 0.99194 | -0.15483 | 1.9044
47 | 0.0073767 | 0.0018488 | -0.0073763 | -0.0018487 | 3.9937e-07 | 1.4292e-07 | 0.011056 | 0.011056 | 0.011056 | 0.99285 | -0.13713 | 0.9928 | -0.13827 | 3.0373
48 | -0.026915 | -0.006761 | 0.026918 | 0.0067629 | 3.1084e-06 | 1.9234e-06 | 0.04032 | 0.04032 | 0.04032 | 0.99343 | -0.12598 | 0.99356 | -0.12356 | 11.077
49 | -0.0022847 | -0.0005726 | 0.0022847 | 0.00057252 | 3.3201e-08 | -7.6045e-08 | 0.0034273 | 0.0034273 | 0.0034273 | 0.99192 | -0.15513 | 0.99194 | -0.15483 | 0.94158
50 | -0.017486 | -0.0043825 | 0.01749 | 0.0043845 | 3.4708e-06 | 2.0511e-06 | 0.026366 | 0.026366 | 0.026366 | 0.98688 | -0.25221 | 0.98709 | -0.24805 | 7.2434
51 | -0.01749 | -0.0043845 | 0.017495 | 0.0043873 | 4.6858e-06 | 2.7691e-06 | 0.026366 | 0.026366 | 0.026366 | 0.98709 | -0.24805 | 0.98738 | -0.24243 | 7.2434
52 | 0.043811 | 0.01099 | -0.043792 | -0.010978 | 1.901e-05 | 1.2017e-05 | 0.065997 | 0.065997 | 0.065997 | 0.98785 | -0.23332 | 0.98738 | -0.24243 | 18.1311
53 | 0.016523 | 0.0041413 | -0.016522 | -0.0041409 | 5.8488e-07 | 3.4164e-07 | 0.024803 | 0.024803 | 0.024803 | 0.99125 | -0.16818 | 0.99121 | -0.16892 | 6.814
54 | -0.0035179 | -0.00088167 | 0.003518 | 0.00088159 | 1.2719e-07 | -7.7514e-08 | 0.0052631 | 0.0052631 | 0.0052631 | 0.9946 | -0.10327 | 0.99464 | -0.10251 | 1.4459
55 | -0.030222 | -0.0075909 | 0.030236 | 0.0076 | 1.4672e-05 | 9.1429e-06 | 0.045268 | 0.045268 | 0.045268 | 0.99356 | -0.12356 | 0.99408 | -0.11339 | 12.4362
56 | -0.033586 | -0.0084394 | 0.033594 | 0.0084444 | 8.0063e-06 | 5.0145e-06 | 0.050281 | 0.050281 | 0.050281 | 0.99408 | -0.11339 | 0.99434 | -0.1084 | 13.8135
57 | -0.037155 | -0.009337 | 0.037159 | 0.0093393 | 3.7336e-06 | 2.3478e-06 | 0.055611 | 0.055611 | 0.055611 | 0.99434 | -0.1084 | 0.99445 | -0.1063 | 15.2776
58 | 0.0082058 | 0.0020567 | -0.0082051 | -0.0020564 | 6.6303e-07 | 2.7417e-07 | 0.012319 | 0.012319 | 0.012319 | 0.99121 | -0.16892 | 0.99112 | -0.17061 | 3.3843

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40826 | 0.10317

## res_load
| p_mw | q_mvar
0 | 0.0065067 | 0.0016307
1 | 0.011669 | 0.0029246
2 | 0.0096071 | 0.0024078
3 | 0.0095309 | 0.0023887
4 | 0.0022191 | 0.00055616
5 | 0.0074623 | 0.0018702
6 | 0.0078142 | 0.0019584
7 | 0.0079017 | 0.0019804
8 | 0.019968 | 0.0050046
9 | 0.0062425 | 0.0015645
10 | 0.010225 | 0.0025627
11 | 0.003385 | 0.00084837
12 | 0.011769 | 0.0029496
13 | 0.002252 | 0.00056441
14 | 0.094163 | 0.0236
15 | 0.0063601 | 0.001594
16 | 0.0059496 | 0.0014911
17 | 0.016494 | 0.0041338
18 | 0.0058639 | 0.0014696
19 | 0.015739 | 0.0039447
20 | 0.0074449 | 0.0018659
21 | 0.0027369 | 0.00068594
22 | 0.0022828 | 0.00057212
23 | 0.0065897 | 0.0016515
24 | 0.0069184 | 0.0017339
25 | 0.0073008 | 0.0018298
26 | 0.002296 | 0.00057544
27 | 0.0022847 | 0.0005726
28 | 0.0023364 | 0.00058555
29 | 0.017486 | 0.0043825
30 | 0.0024168 | 0.0006057
31 | 0.026298 | 0.0065908
32 | 0.0073763 | 0.0018487
33 | 0.0035179 | 0.00088167
34 | 0.006455 | 0.0016178
35 | 0.0093008 | 0.002331
36 | 0.0033035 | 0.00082793
37 | 0.0033493 | 0.00083941
38 | 0.0035613 | 0.00089255
39 | 0.0024095 | 0.00060389
40 | 0.0083162 | 0.0020842
41 | 0.0082051 | 0.0020564

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1